Copyright 2003 AIA
MASTERSPEC
08/03

Copyright 2003, The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 08710 - DOOR HARDWARE
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

See Editing Instruction No. 2 in the Evaluations before editing this Section.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Commercial door hardware for the following:

a. Swinging doors.

b. Non-fire-rated sliding doors.

c. Non-fire-rated folding doors.

d. Other doors to the extent indicated.

2. Cylinders for doors specified in other Sections.

3. Electrified door hardware.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 8 Section "Standard Steel Doors and Frames" [for astragals provided as part of fire-rated labeled assemblies] [and] [for door silencers provided as part of hollow-metal frames].

2. Division 8 Section "Custom Steel Doors and Frames" [for astragals provided as part of fire-rated labeled assemblies] [and] [for door silencers provided as part of hollow-metal frames].

3. Division 8 Section "Interior Aluminum Frames" for door silencers provided as part of frames.

4. Division 8 Section "Stainless-Steel Doors and Frames" [for astragals provided as part of fire-rated labeled assemblies] [and] [for door silencers provided as part of hollow-metal frames].

5. Division 8 Section "Flush Wood Doors" for [astragals] [and] [integral intumescent seals] provided as part of fire-rated labeled assemblies.

6. Division 8 Section "Stile and Rail Wood Doors" for [astragals] [and] [integral intumescent seals] provided as part of fire-rated labeled assemblies.

7. Division 8 Section "Access Doors and Frames" for access door hardware, [except] [including] cylinders.

8. Division 8 Section "Steel Detention Doors and Frames" for door silencers provided as part of hollow-metal detention frames.

9. Division 8 Section "Overhead Coiling Doors" for door hardware provided as part of overhead door assemblies.

10. Division 8 Section "Overhead Coiling Grilles" for door hardware provided as part of overhead grille assemblies.

11. Division 8 Section "ICU/CCU Entrance Doors" for entrance door hardware, [except] [including] cylinders.

12. Division 8 Section "Sound-Control Door Assemblies" for hinges and gasketing provided as part of sound-rated door assemblies.

13. Division 8 Section "Aluminum-Framed Entrances and Storefronts" for entrance door hardware, [except] [including] cylinders.

14. Division 8 Section "All-Glass Entrances and Storefronts" for entrance door hardware, [except] [including] cylinders.

15. Division 8 Section "Sliding Automatic Entrance Doors" for entrance door hardware, [except] [including] cylinders.

16. Division 8 Section "Swinging Automatic Entrance Doors" for entrance door hardware, [except] [including] cylinders.

17. Division 8 Section "Folding Automatic Entrance Doors" for entrance door hardware, [except] [including] cylinders.

18. Division 8 Section "Detention Door Hardware" for hardware for detention doors.

19. Division 10 Section "Impact-Resistant Wall Protection" for plastic door protection units that match wall protection units.

20. Division 10 Section "Wire Mesh Partitions" for door hardware for doors in wire mesh partitions, [except] [including] cylinders.

21. Division 13 Section "Radiation Protection" for lead-lined astragals provided as part of fire-rated labeled assemblies.

22. Division 13 Section "Metal Building Systems" for door hardware, [except] [including] cylinders.

23. Division 13 Section "Intrusion Detection" for detection devices installed at door openings and provided as part of an intrusion detection system.

24. Division 13 Section "Security Access" for access control devices installed at door openings and provided as part of a security access system.

25. Division 13 Section "Fire Alarm" for connections to building fire alarm system.

26. Division 16 Sections for connections to electrical power system and for low-voltage wiring work.

C. Products furnished, but not installed, under this Section include the following.  Coordinating, purchasing, delivering, and scheduling remain requirements of this Section.

1. [Pivots] [thresholds] [weather stripping] [and] [cylinders for locks] specified in other Sections.

Delete subparagraph below if removable-core key system is not specified.

2. Permanent cores to be installed by Owner.

1.3 DOOR HARDWARE ALLOWANCE

Delete this Article if specifying door hardware by naming manufacturers' products or by referencing BHMA standards.  See Editing Instruction No. 4 and "Door Hardware Allowance" Article in the Evaluations.  Coordinate with Division 1 Section "Allowances."

Revise first paragraph below if unit cost is used to establish allowance and Contractor is required to determine quantities.  See Evaluations.

A. Door Hardware Selection:  Furnish door hardware selected by Architect, in quantities specified in this Section and in Division 1 Section "Allowances."

B. Allowance Bidding:  After Architect selects door hardware and issues the door hardware sets, request bids for products and materials.

C. Allowance Award:  Architect will select bid from bids furnished by Contractor.  Award purchase order to bidder selected.

D. Allowance Adjustment:  A Change Order will be issued to adjust difference between door hardware allowance and selected bid from door hardware Installer.

Revise paragraph below if installation is included in door hardware allowance.

E. Installation:  General types and approximate quantities of door hardware are indicated in the list of door hardware sets to provide a basis for the cost of installation and other Work that is part of the Contract Sum but not included in door hardware allowance.

1.4 SUBMITTALS

A. Product Data:  Include construction and installation details, material descriptions, dimensions of individual components and profiles, and finishes.

Retain paragraph and subparagraphs below for electrified door hardware.

B. Shop Drawings:  Details of electrified door hardware, indicating the following:

Delete subparagraph and associated subparagraphs below if electrified door hardware is not complex (e.g., only electromagnetic locks or electric strikes are required).

1. Wiring Diagrams:  Power, signal, and control wiring.  Include the following:

a. System schematic.

b. Point-to-point wiring diagram.

c. Riser diagram.

d. Elevation of each door.

Select options in first subparagraph below to suit Project or delete if not required.

2. Detail interface between electrified door hardware and [fire alarm] [access control] [security] [building control] system.

3. Operation Narrative:  Describe the operation of doors controlled by electrified door hardware.

Retain one of first two paragraphs below.  First is usually for plastic-laminate or acrylic armor, kick, mop, and stretcher plates.

C. Samples for Initial Selection:  For each finish, color, and texture required for each type of door hardware indicated.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain one of two paragraphs and subparagraph below with or without above.

D. Samples for Verification:  Submit minimum 2-by-4-inch (51-by-102-mm) plate Samples of each type of finish required, except primed finish.

E. Samples for Verification:  For exposed door hardware of each type, in specified finish, full size.  Tag with full description for coordination with the door hardware sets.  Submit Samples before, or concurrent with, submission of the final door hardware sets.

Retain subparagraph below unless Samples are delivered to Owner as extra materials.

1. Samples will be returned to Contractor.  Units that are acceptable and remain undamaged through submittal, review, and field comparison process may, after final check of operation, be incorporated into the Work, within limitations of keying requirements.

Retain paragraph and subparagraph below for electrified door hardware.

F. Product Certificates:  For electrified door hardware, signed by product manufacturer.

1. Certify that door hardware approved for use on types and sizes of labeled fire doors complies with listed fire door assemblies.

Coordinate paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For [Installer] [Architectural Hardware Consultant].

Retain first paragraph below if retaining "Accessibility Requirements" paragraphs in Part 2.

H. Product Test Reports:  Based on evaluation of comprehensive tests performed by manufacturer and witnessed by a qualified testing agency, for [locks] [latches] [delayed-egress locks] [and] [closers].

I. Maintenance Data:  For each type of door hardware to include in maintenance manuals.  Include final [hardware] [and] [keying] schedule.

J. Warranty:  Special warranty specified in this Section.

K. Other Action Submittals:

1. Door Hardware Sets:  Prepared by or under the supervision of [Installer] [Architectural Hardware Consultant], detailing fabrication and assembly of door hardware, as well as procedures and diagrams.  Coordinate the final door hardware sets with doors, frames, and related work to ensure proper size, thickness, hand, function, and finish of door hardware.

Retain one of first two subparagraphs below.

a. Format:  Comply with scheduling sequence and vertical format in DHI's "Sequence and Format for the Hardware Schedule."  Double space entries, and number and date each page.

b. Format:  Use same scheduling sequence and format[ and use same door numbers] as in the Contract Documents.

c. Content:  Include the following information:

1) Identification number, location, hand, fire rating, and material of each door and frame.

2) Type, style, function, size, quantity, and finish of each door hardware item.[  Include description and function of each lockset and exit device.]

3) Complete designations of every item required for each door or opening including name and manufacturer.

4) Fastenings and other pertinent information.

5) Location of each door hardware set, cross-referenced to Drawings, both on floor plans and in door and frame schedule.

6) Explanation of abbreviations, symbols, and codes contained in schedule.

7) Mounting locations for door hardware.

8) Door and frame sizes and materials.

Retain subparagraph below for electrified door hardware.

9) Description of each electrified door hardware function, including location, sequence of operation, and interface with other building control systems.

Edit first subparagraph below for type of hardware and function.

a) Sequence of Operation:  Include description of component functions that occur in the following situations:  authorized person wants to enter; authorized person wants to exit; unauthorized person wants to enter; unauthorized person wants to exit.

10) List of related door devices specified in other Sections for each door and frame.

d. Submittal Sequence:  Submit the final door hardware sets at earliest possible date, particularly where approval of the door hardware sets must precede fabrication of other work that is critical in Project construction schedule.  Include Product Data, Samples, Shop Drawings of other work affected by door hardware, and other information essential to the coordinated review of the door hardware sets.

Delete subparagraph above or below, or both if early approval is not critical.  Sequence below fragments and extends review process.

e. Submittal Sequence:  Submit initial draft of final schedule along with essential Product Data to facilitate the fabrication of other work that is critical in Project construction schedule.  Submit the final door hardware sets after Samples, Product Data, coordination with Shop Drawings of other work, delivery schedules, and similar information has been completed and accepted.

Retain "Installer Qualifications" Paragraph in "Quality Assurance" Article with subparagraph below.

2. Keying Schedule:  Prepared by or under the supervision of [Installer] [Architectural Hardware Consultant], detailing Owner's final keying instructions for locks.  Include schematic keying diagram and index each key set to unique door designations.

1.5 QUALITY ASSURANCE

A. Installer Qualifications:  An employer of workers trained and approved by lock manufacturer.

1. Installer's responsibilities include supplying and installing door hardware and providing a qualified Architectural Hardware Consultant available during the course of the Work to consult with Contractor, Architect, and Owner about door hardware and keying.

2. Installer shall have warehousing facilities in Project's vicinity.

3. Scheduling Responsibility:  Preparation of door hardware and keying schedules.

Delete subparagraph below if not required.

4. Engineering Responsibility:  Preparation of data for electrified door hardware, including Shop Drawings, based on testing and engineering analysis of manufacturer's standard units in assemblies similar to those indicated for this Project.

B. Architectural Hardware Consultant Qualifications:  A person who is currently certified by DHI as an Architectural Hardware Consultant and who is experienced in providing consulting services for door hardware installations that are comparable in material, design, and extent to that indicated for this Project.

Delete subparagraph below if not required.

1. Electrified Door Hardware Consultant Qualifications:  A qualified Architectural Hardware Consultant who is experienced in providing consulting services for electrified door hardware installations.

C. Source Limitations:  Obtain each type and variety of door hardware from a single manufacturer, unless otherwise indicated.

Delete subparagraph below if not required.

1. Provide electrified door hardware from same manufacturer as mechanical door hardware, unless otherwise indicated.  Manufacturers that perform electrical modifications and that are listed by a testing and inspecting agency acceptable to authorities having jurisdiction are acceptable.

Delete first paragraph and subparagraph below if not applicable.

D. Fire-Rated Door Assemblies:  Assemblies complying with NFPA 80 that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire ratings indicated, based on testing according to [NFPA 252] [UBC Standard 7-2].

Delete subparagraph below if retaining UBC standard in paragraph above; UBC standard requires positive-pressure testing.  Second option below is based on positive-pressure testing requirement in the International Building Code.

1. Test Pressure:  [Test at atmospheric pressure] [After 5 minutes into the test, neutral pressure level in furnace shall be established at 40 inches (1016 mm) or less above the sill].

E. Electrified Door Hardware:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

Delete paragraph and subparagraphs below if keying is not extensive or complex enough to justify a keying conference.  Identify additional participants not mentioned.

F. Keying Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."  In addition to Owner[, Construction Manager,] Contractor, and Architect, conference participants shall also include Installer's Architectural Hardware Consultant[ and Owner's security consultant].  Incorporate keying conference decisions into final keying schedule after reviewing door hardware keying system including, but not limited to, the following:

1. Function of building, flow of traffic, purpose of each area, degree of security required, and plans for future expansion.

2. Preliminary key system schematic diagram.

3. Requirements for key control system.

4. Address for delivery of keys.

5. <Insert requirements to suit Project.>

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

G. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

Retain paragraph above if requirements in Division 1 are adequate for Project.  Retain paragraph below if additional requirements are necessary; include information about conference.  Identify specific participants not mentioned in Division 1.

H. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."  Review methods and procedures related to electrified door hardware including, but not limited to, the following:

Delete subparagraphs below if not required.  If retaining, revise to include product-specific requirements.  Insert additional requirements to suit Project.

1. Inspect and discuss electrical roughing-in and other preparatory work performed by other trades.

2. Review sequence of operation for each type of electrified door hardware.

3. Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

Coordinate subparagraph below with Division 1 Section "Quality Requirements" and with "Field Quality Control" Article in this Section.  Expand requirements to suit Project.

4. Review required testing, inspecting, and certifying procedures.

Insert agenda items below not listed in Division 1 Section "Project Management and Coordination."

1.6 DELIVERY, STORAGE, AND HANDLING

A. Inventory door hardware on receipt and provide secure lock-up for door hardware delivered to Project site.

B. Tag each item or package separately with identification related to the final door hardware sets, and include basic installation instructions, templates, and necessary fasteners with each item or package.

C. Deliver keys to manufacturer of key control system for subsequent delivery to Owner.

Delete paragraph above or paragraph and subparagraph below, or revise to suit Project.  Retain below for high-security cylinders.

D. Deliver keys[ and permanent cores] to Owner by registered mail or overnight package service.

1. <Insert name and address of Owner's representative.>

1.7 COORDINATION

A. Coordinate layout and installation of recessed [pivots] [and] [closers] with floor construction.  Cast anchoring inserts into concrete.  Concrete, reinforcement, and formwork requirements are specified in Division 3.

Delete first paragraph below only if all door hardware preparation and installation will be performed at Project site.

B. Templates:  Distribute door hardware templates for doors, frames, and other work specified to be factory prepared for installing door hardware.  Check Shop Drawings of other work to confirm that adequate provisions are made for locating and installing door hardware to comply with indicated requirements.

C. Electrical System Roughing-in:  Coordinate layout and installation of electrified door hardware with connections to [power supplies] [fire alarm system and detection devices] [access control system] [security system] [building control system].

D. Existing Openings:  Where new hardware components are scheduled for application to existing construction or where modifications to existing door hardware are required, field verify existing conditions and coordinate installation of door hardware to suit opening conditions and to provide for proper operation.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of door hardware that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures including excessive deflection, cracking, or breakage.

b. Faulty operation of operators and door hardware.

c. Deterioration of metals, metal finishes, and other materials beyond normal weathering and use.

Verify available warranties for units and components and insert number in five subparagraphs below.

2. Warranty Period:  [Three] <Insert number> years from date of Substantial Completion, except as follows:

a. [Electromagnetic] [Delayed-Egress] Locks:  [Five] <Insert number> years from date of Substantial Completion.

b. Exit Devices:  [Two] <Insert number> years from date of Substantial Completion.

Delete both subparagraphs below if no closers.  Verify with manufacturers selected.

c. Manual Closers:  [10] <Insert number> years from date of Substantial Completion.

d. Concealed Floor Closers:  [Five] [10] [25] <Insert number> years from date of Substantial Completion.

1.9 MAINTENANCE SERVICE

A. Maintenance Tools and Instructions:  Furnish a complete set of specialized tools and maintenance instructions as needed for Owner's continued adjustment, maintenance, and removal and replacement of door hardware.

Consider deleting paragraph below for light or residential use; normally retain for critical units.  Obtain a copy of maintenance agreement before retaining or editing below.  Revise starting date if required.

B. Maintenance Service:  Beginning at Substantial Completion, provide [six] <Insert number> months' full maintenance by skilled employees of door hardware Installer.  Include quarterly preventive maintenance, repair or replacement of worn or defective components, lubrication, cleaning, and adjusting as required for proper door hardware operation.  Provide parts and supplies same as those used in the manufacture and installation of original products.

1.10 EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A. Furnish full-size units of door hardware described below, before installation begins, that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

See Editing Instruction No. 5 in the Evaluations for discussion on specifying extra materials.

1. Door Hardware:  <Insert detailed descriptions and specific numbers of units.>

2. Electrical Parts:  <Insert detailed descriptions and specific numbers of units.>

PART 2 -  PRODUCTS

2.1 SCHEDULED DOOR HARDWARE

Delete this Article if door hardware allowance is used or if no door hardware sets.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. General:  Provide door hardware for each door to comply with requirements in this Section[ and door hardware sets indicated in door and frame schedule] [ and door hardware sets indicated in Part 3 "Door Hardware Sets" Article].

Retain manufacturers' or BHMA designations in first subparagraph below to coordinate with those indicated in Part 3 "Door Hardware Sets" Article.

1. Door Hardware Sets:  Provide quantity, item, size, finish or color indicated, and [named manufacturers' products] [products equivalent in function and comparable in quality to named products] [products complying with BHMA standard referenced].

2. Sequence of Operation:  Provide electrified door hardware function, sequence of operation, and interface with other building control systems indicated.

B. Designations:  Requirements for design, grade, function, finish, size, and other distinctive qualities of each type of door hardware are indicated in Part 3 "Door Hardware Sets" Article.  Products are identified by using door hardware designations, as follows:

Retain one of two subparagraphs below.

1. Named Manufacturers' Products:  Manufacturer and product designation are listed for each door hardware type required for the purpose of establishing minimum requirements.  Manufacturers' names are abbreviated in Part 3 "Door Hardware Sets" Article.

Retain subparagraph below for a nonproprietary specification based on referencing BHMA standards, with or without naming available manufacturers.

2. References to BHMA Standards:  Provide products complying with these standards and requirements for description, quality, and function.

Edit paragraph and subparagraphs below with other Part 2 articles in which manufacturers are named.  See Division 1 Section "Product Requirements" for an explanation of the terms "Available Manufacturers" and "Manufacturers" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

C. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

2. Manufacturers:  Subject to compliance with requirements, provide products by the manufacturers specified.

See Editing Instruction No. 3 in the Evaluations for selecting door hardware products.

Coordinate remaining Part 2 articles with Part 3 "Door Hardware Sets" Article.  Delete door hardware products not required.

2.2 HINGES, GENERAL

Delete paragraph and subparagraphs below if only continuous geared hinges are required or if quantity is included in door hardware sets.

A. Quantity:  Provide the following, unless otherwise indicated:

1. Two Hinges:  For doors with heights up to 60 inches (1524 mm).

2. Three Hinges:  For doors with heights 61 to 90 inches (1549 to 2286 mm).

3. Four Hinges:  For doors with heights 91 to 120 inches (2311 to 3048 mm).

4. For doors with heights more than 120 inches (3048 mm), provide 4 hinges, plus 1 hinge for every 30 inches (750 mm) of door height greater than 120 inches (3048 mm).

Insert sizes, including hinge height and metal thickness, only if they are not included in door hardware sets.

B. Template Requirements:  Except for hinges and pivots to be installed entirely (both leaves) into wood doors and frames, provide only template-produced units.

Delete first paragraph and subparagraphs below if requirements are indicated in door hardware sets.

C. Hinge Weight:  Unless otherwise indicated, provide the following:

1. Entrance Doors:  Heavy-weight hinges.

2. Doors with Closers:  Antifriction-bearing hinges.

3. Interior Doors:  Standard-weight hinges.

D. Hinge Base Metal:  Unless otherwise indicated, provide the following:

1. Exterior Hinges:  [Stainless steel, with stainless-steel pin] [Brass, with stainless-steel pin body and brass protruding heads].

2. Interior Hinges:  [Brass, with stainless-steel pin body and brass protruding heads] [Steel, with steel pin] [Stainless steel, with stainless-steel pin].

3. Hinges for Fire-Rated Assemblies:  [Steel, with steel pin] [Stainless steel, with stainless-steel pin].

Delete paragraph and subparagraphs below if only continuous geared hinges are required.  Retain subparagraphs to suit Project.

E. Hinge Options:  Where indicated in door hardware sets or on Drawings:

Hospital tips in first subparagraph below are used in locations where additional cleanliness and safety are required.

1. Hospital Tips:  Slope ends of hinge barrel.

2. Decorator Tips:  [Oval] [Ball] [Steeple] [Urn] [Acorn].

3. Safety Stud:  Designed for stud in one leaf to engage hole in opposing leaf.

4. Maximum Security Pin:  Fix pin in hinge barrel after it is inserted.

5. Nonremovable Pins:  Provide set screw in hinge barrel that, when tightened into a groove in hinge pin, prevents removal of pin while door is closed; for [outswinging exterior doors] [and] [outswinging corridor doors with locks].

6. Corners:  [Square] [5/32-inch (4-mm) radius] [1/4-inch (6-mm) radius] [5/8-inch (16-mm) radius].

Delete first paragraph and subparagraphs below if not required.  Electrified functions are available only for full-mortise, pivot-reinforced, and pivot hinges and for continuous geared hinges.

F. Electrified Functions for Hinges:  Comply with the following:

1. Power Transfer:  Concealed PTFE-jacketed wires, secured at each leaf and continuous through hinge knuckle.

2. Monitoring:  Concealed electrical monitoring switch.

3. Power Transfer and Monitoring:  Concealed PTFE-jacketed wires, secured at each leaf and continuous through hinge knuckle, and with concealed electrical monitoring switch.

G. Fasteners:  Comply with the following:

1. Machine Screws:  For metal doors and frames.  Install into drilled and tapped holes.

2. Wood Screws:  For wood doors and frames.

3. Threaded-to-the-Head Wood Screws:  For fire-rated wood doors.

4. Screws:  Phillips flat-head; [machine screws (drilled and tapped holes) for metal doors] [wood screws for wood doors and frames].  Finish screw heads to match surface of hinges.

2.3 HINGES

BHMA standards in two paragraphs below are used as basis for comparing products even if manufacturers' products are named in door hardware sets.

A. Butts and Hinges:  BHMA A156.1.[  Listed under Category A in BHMA's "Certified Product Directory."]

Paragraph below is only for hollow-metal doors.

B. Template Hinge Dimensions:  BHMA A156.7.

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

C. [Available ]Manufacturers:

1. Baldwin Hardware Corporation (BH).

2. Bommer Industries, Inc. (BI).

3. Cal-Royal Products, Inc. (CRP).

4. Hager Companies (HAG).

5. Lawrence Brothers, Inc. (LB).

6. McKinney Products Company; an ASSA ABLOY Group company (MCK).

7. PBB, Inc. (PBB).

8. Stanley Commercial Hardware; Div. of The Stanley Works (STH).

9. <Insert manufacturer's name.>

2.4 SPRING HINGES

BHMA standard in paragraph below is used as basis for comparing products even if manufacturers' products are named in door hardware sets.

A. Self-Closing Hinges:  BHMA A156.17.[  Listed under Category A in BHMA's "Certified Product Directory."]

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

B. [Available ]Manufacturers:

1. Baldwin Hardware Corporation (BH).

2. Bommer Industries, Inc. (BI).

3. Cal-Royal Products, Inc. (CRP).

4. Hager Companies (HAG).

5. Lawrence Brothers, Inc. (LB).

6. McKinney Products Company; an ASSA ABLOY Group company (MCK).

7. PBB, Inc. (PBB).

8. Stanley Commercial Hardware; Div. of The Stanley Works (STH).

9. <Insert manufacturer's name.>

2.5 PIVOTS AND PIVOT HINGES

BHMA standards in two paragraphs below are used as basis for comparing products even if manufacturers' products are named in door hardware sets.

A. Pivots:  BHMA A156.4.[  Listed under Category C in BHMA's "Certified Product Directory."]

B. Self-Closing Pivot Hinges:  BHMA A156.17.[  Listed under Category A in BHMA's "Certified Product Directory."]

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

C. [Available ]Manufacturers:

Manufacturers of pivot sets must be coordinated with manufacturers of floor closers.

1. Bommer Industries, Inc. (BI).

2. DORMA Architectural Hardware; Member of The DORMA Group North America (DAH).

3. Glynn-Johnson; an Ingersoll-Rand Company (GJ).

4. Hager Companies (HAG).

5. IVES Hardware; an Ingersoll-Rand Company (IVS).

6. McKinney Products Company; an ASSA ABLOY Group company (MCK).

7. Rixson Specialty Door Controls; an ASSA ABLOY Group company (RIX).

8. Stanley Commercial Hardware; Div. of The Stanley Works (STH).

9. <Insert manufacturer's name.>

2.6 CONTINUOUS HINGES

BHMA standard in first paragraph below is used as basis for comparing products even if manufacturers' products are named in door hardware sets.  Delete options if grade is indicated in door hardware sets.

A. Standard:  BHMA A156.26[, Grade 1-150] [, Grade 1-300] [, Grade 1-600] [, Grade 2-150] [, Grade 2-300] [, Grade 2-600] [, Grade 3-150] [, Grade 3-300].

Delete subparagraph below if not required.

1. Listed under Category N in BHMA's "Certified Product Directory."

B. General:  Minimum 0.120-inch- (3.0-mm-) thick, hinge leaves with minimum overall width of 4 inches (102 mm); fabricated to full height of door and frame and to template screw locations; with components finished after milling and drilling are complete.

Delete subparagraph below if not required.

1. Fire Pins:  Steel pins to hold labeled fire doors in place if required by tested listing.

C. Continuous, Barrel-Type Hinges:  Hinge with knuckles formed around a pin that extends entire length of hinge.

1. Base Metal for Exterior Hinges:  Stainless steel.

2. Base Metal for Interior Hinges:  [Stainless steel] [Steel] [Aluminum].

3. Base Metal for Hinges for Fire-Rated Assemblies:  [Stainless steel] [Steel].

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

4. [Available ]Manufacturers:

a. Hager Companies (HAG).

b. Markar Architectural Products, Inc.; a Subsidiary of Adams Rite Manufacturing Co. (MP).

c. McKinney Products Company; an ASSA ABLOY Group company (MCK).

d. Stanley Commercial Hardware; Div. of The Stanley Works (STH).

e. Zero International (ZRO).

f. <Insert manufacturer's name.>

D. Continuous, Gear-Type Hinges:  Extruded-aluminum, pinless, geared hinge leaves; joined by a continuous extruded-aluminum channel cap; with concealed, self-lubricating thrust bearings.

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Bommer Industries, Inc. (BI).

b. Hager Companies (HAG).

c. McKinney Products Company; an ASSA ABLOY Group company (MCK).

d. Pemko Manufacturing Co. (PEM).

e. Select Products Limited (SPL).

f. Zero International (ZRO).

g. <Insert manufacturer's name.>

2.7 LOCKS AND LATCHES, GENERAL

Generally retain first option in first paragraph below for private projects; retain third option for Federal, State, and local government projects.  Second option is often referenced by building codes.  Verify requirements with authorities having jurisdiction.

A. Accessibility Requirements:  Where indicated to comply with accessibility requirements, comply with [the U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA), Accessibility Guidelines for Buildings and Facilities (ADAAG)."] [ANSI A117.1.] [FED-STD-795, "Uniform Federal Accessibility Standards."] <Insert local regulation.>

1. Provide operating devices that do not require tight grasping, pinching, or twisting of the wrist and that operate with a force of not more than 5 lbf (22 N).

B. Latches and Locks for Means of Egress Doors:  Comply with NFPA 101.  Latches shall not require more than 15 lbf (67 N) to release the latch.  Locks shall not require use of a key, tool, or special knowledge for operation.

C. Electrified Locking Devices:  BHMA A156.25.

Revise first paragraph and subparagraphs below if more than one type of lock trim is needed.

D. Lock Trim:

Most levers in first subparagraph below are cast.

1. Levers:  [Wrought] [Forged] [Cast].

a. <Insert model number and description.>

Most knobs in first subparagraph below are wrought.

2. Knobs:  [Wrought] [Forged] [Cast].

3. Escutcheons (Roses):  [Wrought] [Forged] [Cast].

4. Dummy Trim:  Match [knob] [lever] lock trim and escutcheons.

Retain first option in subparagraph below if BHMA standards are used to specify door hardware and lock design is indicated on Drawings.

5. Lockset Designs:  [Provide design indicated on Drawings] <Insert name(s) of manufacturer(s) and product name(s) designating lockset design(s) that other manufacturers must match> or, if sets are provided by another manufacturer, provide designs that match those designated.

E. Lock Throw:  Comply with testing requirements for length of bolts required for labeled fire doors, and as follows:

1. Bored Locks:  Minimum 1/2-inch (13-mm) latchbolt throw.

2. Mortise Locks:  Minimum 3/4-inch (19-mm) latchbolt throw.

3. Deadbolts:  Minimum 1-inch (25-mm) bolt throw.

F. Rabbeted Meeting Doors:  Provide special rabbeted front and strike on locksets for rabbeted meeting stiles.

G. Backset:  2-3/4 inches (70 mm), unless otherwise indicated.

H. Strikes:  Manufacturer's standard strike with strike box for each latchbolt or lock bolt, with curved lip extended to protect frame, finished to match door hardware set, and as follows:

Retain subparagraphs below as basis for comparing products even if manufacturers' products are named in door hardware sets.

1. Strikes for Bored Locks and Latches:  BHMA A156.2.

2. Strikes for Mortise Locks and Latches:  BHMA A156.13.

3. Strikes for Interconnected Locks and Latches:  BHMA A156.12.

4. Strikes for Auxiliary Deadlocks:  BHMA A156.5.

Delete subparagraphs below if not required.

5. Flat-Lip Strikes:  For locks with three-piece antifriction latchbolts, as recommended by manufacturer.

6. Extra-Long-Lip Strikes:  For locks used on frames with applied wood casing trim.

7. Aluminum-Frame Strike Box:  Manufacturer's special strike box fabricated for aluminum framing.

2.8 MECHANICAL LOCKS AND LATCHES

A. Lock Functions:  Function numbers and descriptions indicated in door hardware sets comply with the following:

1. Bored Locks:  BHMA A156.2.

2. Mortise Locks:  BHMA A156.13.

3. Interconnected Locks:  BHMA A156.12.

BHMA standards in three paragraphs below are used as basis for comparing products even if manufacturers' products are named in door hardware sets.  Delete grade options if grade is indicated in door hardware sets.  Insert function requirements with each set if an allowance is used to specify door hardware.

B. Bored Locks:  BHMA A156.2[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated]; Series 4000.[  Listed under Category F in BHMA's "Certified Product Directory."]

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Arrow USA; an ASSA ABLOY Group company (ARW).

b. Best Access Systems; Div. of The Stanley Works (BAS).

c. Cal-Royal Products, Inc. (CRP).

d. Corbin Russwin Architectural Hardware; an ASSA ABLOY Group company (CR).

e. Falcon Lock; an Ingersoll-Rand Company (FAL).

f. Marks USA (MKS).

g. Medeco Security Locks, Inc.; an ASSA ABLOY Group company (MED).

h. PDQ Manufacturing (PDQ).

i. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

j. Schlage Commercial Lock Division; an Ingersoll-Rand Company (SCH).

k. Security Door Controls (SDC).

l. Weiser Lock; a Masco Company (WEI).

m. Yale Commercial Locks and Hardware; an ASSA ABLOY Group company (YAL).

n. <Insert manufacturer's name.>

C. Mortise Locks:  Stamped steel case with steel or brass parts; BHMA A156.13[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated]; Series 1000.[  Listed under Category F in BHMA's "Certified Product Directory."]

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Accurate Lock & Hardware Co. (ALH).

b. Adams Rite Manufacturing Co. (ARM).

c. Arrow USA; an ASSA ABLOY Group company (ARW).

d. Best Access Systems; Div. of The Stanley Works (BAS).

e. Cal-Royal Products, Inc. (CRP).

f. Corbin Russwin Architectural Hardware; an ASSA ABLOY Group company (CR).

g. Folger Adam Security Inc.; an ASSA ABLOY Group company (FAS).

h. Falcon Lock; an Ingersoll-Rand Company (FAL).

i. Marks USA (MKS).

j. PDQ Manufacturing (PDQ).

k. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

l. Schlage Commercial Lock Division; an Ingersoll-Rand Company (SCH).

m. Security Door Controls (SDC).

n. Yale Commercial Locks and Hardware; an ASSA ABLOY Group company (YAL).

o. <Insert manufacturer's name.>

D. Interconnected Locks:  BHMA A156.12[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated]; Series 5000.[  Listed under Category F in BHMA's "Certified Product Directory."]

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Arrow USA; an ASSA ABLOY Group company (ARW).

b. Cal-Royal Products, Inc. (CRP).

c. Falcon Lock; an Ingersoll-Rand Company (FAL).

d. Schlage Commercial Lock Division; an Ingersoll-Rand Company (SCH).

e. <Insert manufacturer's name.>

2.9 AUXILIARY LOCKS AND LATCHES

BHMA standard in this Article is used as basis for comparing products even if manufacturers' products are named in door hardware sets.

Delete grade options in first paragraph below if grade is indicated in door hardware sets.

A. Auxiliary Locks:  BHMA A156.5[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated].[  Listed under Category E in BHMA's "Certified Product Directory."]

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. ABLOY Security, Inc.; an ASSA ABLOY Group company (ABL).

b. Accurate Lock & Hardware Co. (ALH).

c. Adams Rite Manufacturing Co. (ARM).

d. Arrow USA; an ASSA ABLOY Group company (ARW).

e. Best Access Systems; Div. of The Stanley Works (BAS).

f. Cal-Royal Products, Inc. (CRP).

g. Falcon Lock; an Ingersoll-Rand Company (FAL).

h. Marks USA (MKS).

i. Medeco Security Locks, Inc.; an ASSA ABLOY Group company (MED).

j. PDQ Manufacturing (PDQ).

k. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

l. Schlage Commercial Lock Division; an Ingersoll-Rand Company (SCH).

m. Weiser Lock; a Masco Company (WEI).

n. Yale Commercial Locks and Hardware; an ASSA ABLOY Group company (YAL).

o. <Insert manufacturer's name.>

B. Push-Button Combination Locks:  BHMA A156.5, Grade [1 for cylindrical] [2 for mortise] locks.

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Kaba Ilco Inc.; a Kaba Group company (KAB).

b. <Insert manufacturer's name.>

2.10 ELECTROMAGNETIC LOCKS

Indicate configuration of electromagnetic locks - direct-hold or shear type - and mounting in door hardware sets or on Drawings.

A. General:  BHMA A156.23; electrically powered, of strength and configuration indicated; with electromagnet attached to frame and armature plate attached to door.[  Listed under Category E in BHMA's "Certified Product Directory."]

1. Type:  Full exterior or full interior, as required by application indicated.

2. Strength Ranking:  [1500 lbf (6672 N)] [1000 lbf (4448 N)] [500 lbf (2224 N)].

Retain one of two options in both subparagraphs below.  First value is from BHMA standard.  Second value is available from domestic manufacturers as standard.

3. Inductive Kickback Peak Voltage:  Not more than [53] [0] V.

4. Residual Magnetism:  Not more than [4 lbf (18 N)] [0 lbf (0 N)] to separate door from magnet.

B. Delayed-Egress Locks:  BHMA A156.24.[  Listed under Category G in BHMA's "Certified Product Directory."]

1. Means of Egress Doors:  Lock releases within 15 seconds after applying a force not more than 15 lbf (67 N) for not more than 3 seconds, as required by NFPA 101.

2. Security Grade:  Activated from secure side of door by initiating device.

3. Movement Grade:  Activated by door movement as initiating device.

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

C. [Available ]Manufacturers:

1. Door Controls International (DCI).

2. Doorguard Systems, Inc. (DGS).

3. Dortronics Systems, Inc. (DS).

4. DynaLock Corp. (DLC).

5. Locknetics; an Ingersoll-Rand Company (LSE).

6. Rutherford Controls Int'l. Corp. (RCI).

7. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

8. Securitron Magnalock Corporation; an ASSA ABLOY Group company (SMC).

9. Security Door Controls (SDC).

10. <Insert manufacturer's name.>

2.11 ELECTROMECHANICAL LOCKS

Select options in paragraph below as basis for comparing products even if manufacturers' lock and latch products are named in door hardware sets.

A. General:  Grade [1] [2] [1 unless Grade 2 is indicated] for type of lock indicated; motor or solenoid driven.

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

B. [Available ]Manufacturers:

1. ABLOY Security, Inc.; an ASSA ABLOY Group company (ABL).

2. Best Access Systems; Div. of The Stanley Works (BAS).

3. Brink, R. R. Locking Systems, Inc. (RRB).

4. DynaLock Corp. (DLC).

5. Folger Adam Security Inc.; an ASSA ABLOY Group company (FAS).

6. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

7. Schlage Commercial Lock Division; an Ingersoll-Rand Company (SCH).

8. Security Door Controls (SDC).

9. Yale Commercial Locks and Hardware; an ASSA ABLOY Group company (YAL).

10. <Insert manufacturer's name.>

2.12 SELF-CONTAINED ELECTRONIC LOCKS

A. General:  Internal, battery-powered, self-contained electronic locks; consisting of complete lockset, motor-driven lock mechanism, and actuating device; enclosed in zinc-dichromate-plated, wrought-steel case.  Provide key override, low-battery detection and warning, LED status indicators, and ability to program at the lock; type and function indicated.

1. Type:  [Bored] [Mortise].

2. Actuating Device:  [Digital keypad] [Magnetic-stripe card reader].

Retain first subparagraph below if retaining card reader option in subparagraph above.

a. Card:  [Manufacturer's standard] [0.030-inch- (0.76-mm-) thick PVC or polyester] [Custom].

3. Faceplate Material:  [Wrought brass] [Wrought bronze] [Stainless steel].

4. Trim:  [Lever] [Knob] [Match trim specified for mechanical locks].

Retain paragraph below if retaining card reader option above.

B. Accessory:  Card encoder and software.

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

C. [Available ]Manufacturers:

1. Best Access Systems; Div. of The Stanley Works (BAS).

2. Cypress Computer Systems, Inc. (CYP).

3. Kaba Ilco Inc.; a Kaba Group company (KAB).

4. Marks USA (MKS).

5. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

6. Schlage Commercial Lock Division; an Ingersoll-Rand Company (SCH).

7. Security Door Controls (SDC).

8. Yale Commercial Locks and Hardware; an ASSA ABLOY Group company (YAL).

9. <Insert manufacturer's name.>

2.13 EXIT LOCKS AND EXIT ALARMS

A. Exit Locks:  BHMA A156.29, Grade 1, surface mounted, battery powered, housed in metal case; with red-and-white lettering reading "EMERGENCY EXIT PUSH TO OPEN--ALARM WILL SOUND."[  Include the following features:]

1. Low-battery alert.

2. Outside key control.

3. Audible alarm that sounds when unauthorized use of door occurs.

4. Silent alarm with remote signal capability for connection to remote indicating panel.

B. Stand-Alone Exit Alarms:  BHMA A156.29, Grade 1, [surface mounted on door] [mounted separate from door and activated by door movement switch].[  Include the following features:]

1. Low-battery alert.

2. Outside key control.

3. Automatic rearming after authorized use[, with adjustable time delay].

4. Remote signal capability for connection to remote indicating panel.

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

C. [Available ]Manufacturers:

1. Arrow USA; an ASSA ABLOY Group company (ARW).

2. Detex Corporation (DTX).

3. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

4. <Insert manufacturer's name.>

2.14 DOOR BOLTS

A. Bolt Throw:  Comply with testing requirements for length of bolts required for labeled fire doors, and as follows:

1. Half-Round Surface Bolts:  Minimum 7/8-inch (22-mm) throw.

2. Interlocking Surface Bolts:  Minimum 15/16-inch (24-mm) throw.

3. Fire-Rated Surface Bolts:  Minimum 1-inch (25-mm) throw; listed and labeled for fire-rated doors.

4. Dutch-Door Bolts:  Minimum 3/4-inch (19-mm) throw.

5. Mortise Flush Bolts:  Minimum 3/4-inch (19-mm) throw.

Delete option in paragraph below if grade is indicated in door hardware sets.

B. Dustproof Strikes:  BHMA A156.16[, Grade 1].

Delete options in paragraph below if grade is indicated in door hardware sets.

C. Surface Bolts:  BHMA A156.16[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated].

1. Flush Bolt Heads:  Minimum of 1/2-inch- (13-mm-) diameter rods of brass, bronze, or stainless steel with minimum 12-inch- (305-mm-) long rod for doors up to 84 inches (2134 mm) in height.  Provide longer rods as necessary for doors exceeding 84 inches (2134 mm).

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. Burns Manufacturing Incorporated (BM).

b. Don-Jo Mfg., Inc. (DJO).

c. Door Controls International (DCI).

d. Glynn-Johnson; an Ingersoll-Rand Company (GJ).

e. Hager Companies (HAG).

f. IVES Hardware; an Ingersoll-Rand Company (IVS).

g. Stanley Commercial Hardware; Div. of The Stanley Works (STH).

h. Trimco (TBM).

i. <Insert manufacturer's name.>

Flush bolts in paragraph below are for inactive leaf of a pair of doors.  BHMA standard is used as basis for comparing products even if manufacturers' products are named in door hardware sets.  Delete options if grade is indicated in door hardware sets.

D. Manual Flush Bolts:  BHMA A156.16[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated]; designed for mortising into door edge.

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Adams Rite Manufacturing Co. (ARM).

b. Burns Manufacturing Incorporated (BM).

c. Don-Jo Mfg., Inc. (DJO).

d. Door Controls International (DCI).

e. Glynn-Johnson; an Ingersoll-Rand Company (GJ).

f. Hager Companies (HAG).

g. Hiawatha, Inc. (HIA).

h. IVES Hardware; an Ingersoll-Rand Company (IVS).

i. Stanley Commercial Hardware; Div. of The Stanley Works (STH).

j. Trimco (TBM).

k. <Insert manufacturer's name.>

Flush bolts in paragraph below are for inactive leaf of a pair of doors.  BHMA standard is used as basis for comparing products even if manufacturers' products are named in door hardware sets.  Delete options if grade is indicated in door hardware sets.

E. Automatic and Self-Latching Flush Bolts:  BHMA A156.3[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated]; designed for mortising into door edge.

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Cal-Royal Products, Inc. (CRP).

b. Door Controls International (DCI).

c. Glynn-Johnson; an Ingersoll-Rand Company (GJ).

d. Hager Companies (HAG).

e. IVES Hardware; an Ingersoll-Rand Company (IVS).

f. Trimco (TBM).

g. <Insert manufacturer's name.>

2.15 EXIT DEVICES

BHMA standard in paragraph below is used as basis for comparing products even if manufacturers' products are named in door hardware sets.  Delete grade options if grade is indicated in door hardware sets.

A. Exit Devices:  BHMA A156.3[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated].[  Listed under Category G in BHMA's "Certified Product Directory."]

Generally retain first option in first paragraph below for private projects; retain third option for Federal, State, and local government projects.  Second option is often referenced by building codes.  Verify requirements with authorities having jurisdiction.

B. Accessibility Requirements:  Where handles, pulls, latches, locks, and other operating devices are indicated to comply with accessibility requirements, comply with [the U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA), Accessibility Guidelines for Buildings and Facilities (ADAAG)."] [ANSI A117.1.] [FED-STD-795, "Uniform Federal Accessibility Standards."] <Insert local regulation.>

1. Provide operating devices that do not require tight grasping, pinching, or twisting of the wrist and that operate with a force of not more than 5 lbf (22 N).

C. Exit Devices for Means of Egress Doors:  Comply with NFPA 101.  Exit devices shall not require more than 15 lbf (67 N) to release the latch.  Locks shall not require use of a key, tool, or special knowledge for operation.

Retain one of two paragraphs below, or both.  Only fire exit devices may be used for fire doors.  NFPA 80 distinguishes between panic exit hardware and fire exit hardware.  See Evaluations.

D. Panic Exit Devices:  Listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for panic protection, based on testing according to UL 305.

UL test in paragraph below includes operational test of 100,000 cycles.  BHMA A156.3 requires 250,000 cycles for Grade 1 and 100,000 cycles for Grade 2.

E. Fire Exit Devices:  Devices complying with NFPA 80 that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire and panic protection, based on testing according to UL 305 and NFPA 252.

Delete first two paragraphs below if removable mullions are specified with door frames in other Division 8 Sections.

F. Removable Mullions:  BHMA A156.3.

G. Fire-Exit Removable Mullions:  Provide removable mullions for use with fire exit devices complying with NFPA 80 that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire and panic protection, based on testing according to UL 305 and NFPA 252.  Mullions shall be used only with exit devices for which they have been tested.

H. Dummy Push Bar:  Nonfunctioning push bar matching functional push bar.

1. Operation:  [Rigid] [Movable] [Movable with monitor switch].

Retain paragraph and subparagraph below if exit device levers, knobs, and pulls are required to match lockset and latchset designs.  Matching locksets to exit device trim and levers limits the design options available; coordinate with lock design selected in "Locks and Latches, General" Article.

I. Outside Trim:  [Lever] [Lever with cylinder] [Knob] [Knob with cylinder] [Pull] [Pull with cylinder] [Thumb turn with cylinder]; material and finish to match locksets, unless otherwise indicated.

1. Match design for locksets and latchsets, unless otherwise indicated.

Retain paragraph below if physical abuse is a design consideration.

J. Through Bolts:  For exit devices and trim on [metal doors] [non-fire-rated wood doors] [fire-rated wood doors].

Electronic exit bars in paragraph below can be used only with electrified locks.

K. Electronic Exit Bars:  Nonlatching electronic releasing device, activated by an adjustable capacitance sensor, with no moving parts; listed and labeled as panic exit hardware.  Fabricate bar from extruded aluminum, and provide door and frame transfer device and 16 feet (4.9 m) of cord to route wiring off the door frame.

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

L. [Available ]Manufacturers:

1. Adams Rite Manufacturing Co. (ARM).

2. Arrow USA; an ASSA ABLOY Group company (ARW).

3. Cal-Royal Products, Inc. (CRP).

4. Corbin Russwin Architectural Hardware; an ASSA ABLOY Group company (CR).

5. Detex Corporation (DTX).

6. Door Controls International (DCI).

7. DORMA Architectural Hardware; Member of The DORMA Group North America (DAH).

8. Dor-O-Matic; an Ingersoll-Rand Company (DOR).

9. Locknetics; an Ingersoll-Rand Company (LSE).

10. Monarch Exit Devices & Door Hardware; an Ingersoll-Rand Company (MON).

11. Precision Hardware, Inc. (PH).

12. Rutherford Controls Int'l. Corp. (RCI).

13. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

14. Von Duprin; an Ingersoll-Rand Company (VD).

15. Yale Commercial Locks and Hardware; an ASSA ABLOY Group company (YAL).

16. <Insert manufacturer's name.>

2.16 LOCK CYLINDERS

BHMA standards in two paragraphs and associated subparagraphs below are used as basis for comparing products even if manufacturers' products are named in door hardware sets.  Delete options if grade is indicated in door hardware sets.

A. Standard Lock Cylinders:  BHMA A156.5[, Grade 1] [, Grade 1A] [, Grade 2] [, Grade 1 unless Grade 1A is indicated] [, Grade 1 unless Grade 2 is indicated].

B. High-Security Lock Cylinders:  BHMA A156.30[, Grade 1] [, Grade 2] [, Grade 3]; [M, mechanical] [E, electrical].

1. Key Control Level:  Category [A] [B] [C].

2. Destructive Test Level:  Category [A] [B] [C].

3. Surreptitious Entry Resistance Level:  Category [A] [B] [C].

Revise first paragraph below to specify manufacturers' proprietary cylinder systems.

C. Cylinders:  Manufacturer's standard tumbler type, constructed from brass or bronze, stainless steel, or nickel silver, and complying with the following:

First option in subparagraph below is not available for high-security cylinders.

1. Number of Pins:  [Five] [Six] [Seven].

Select applicable types from three subparagraphs below.

2. Mortise Type:  Threaded cylinders with rings and straight- or clover-type cam.

3. Rim Type:  Cylinders with back plate, flat-type vertical or horizontal tailpiece, and raised trim ring.

4. Bored-Lock Type:  Cylinders with tailpieces to suit locks.

Retain subparagraph below with any of three subparagraphs above; high-security grade is not available with interchangeable core.

a. High-Security Grade:  BHMA A156.5, Grade 1A, listed and labeled as complying with pick- and drill-resistant testing requirements in UL 437 (Suffix A).

D. Permanent Cores:  Manufacturer's standard; finish face to match lockset; complying with the following:

Retain one of two subparagraphs below.  Second describes tumbler proprietary to cylinder manufacturer.

1. Interchangeable Cores:  Core insert, removable by use of a special key; usable with other manufacturers' cylinders.

2. Removable Cores:  Core insert, removable by use of a special key; for use only with core manufacturer's cylinder and door hardware.

E. Construction Keying:  Comply with the following:

Retain one of first two subparagraphs below.

1. Construction Master Keys:  Provide cylinders with feature that permits voiding of construction keys without cylinder removal.  Provide 10 construction master keys.

2. Construction Cores:  Provide construction cores that are replaceable by permanent cores.  Provide 10 construction master keys.

a. Replace construction cores with permanent cores as [indicated in keying schedule] [directed by Owner].

Retain subparagraph above or below.

b. Furnish permanent cores to Owner for installation.

F. Manufacturer:  Same manufacturer as for locks and latches.

Retain paragraph above or paragraph and list below.  Above significantly reduces competition and may result in higher costs.  Coordinate below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

G. [Available ]Manufacturers:

1. ABLOY Security, Inc.; an ASSA ABLOY Group company (ABL).

2. Arrow USA; an ASSA ABLOY Group company (ARW).

3. ASSA, Inc.; an ASSA ABLOY Group company (ASA).

4. Best Access Systems; Div. of The Stanley Works (BAS).

5. Corbin Russwin Architectural Hardware; an ASSA ABLOY Group company (CR).

6. Falcon Lock; an Ingersoll-Rand Company (FAL).

7. Medeco Security Locks, Inc.; an ASSA ABLOY Group company (MED).

8. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

9. Schlage Commercial Lock Division; an Ingersoll-Rand Company (SCH).

10. Yale Commercial Locks and Hardware; an ASSA ABLOY Group company (YAL).

11. <Insert manufacturer's name.>

2.17 KEYING

A. Keying System:  Factory registered, complying with guidelines in BHMA A156.28, Appendix A.  Incorporate decisions made in keying conference, and as follows:

Retain one of four subparagraphs below.

1. No Master Key System:  Cylinders are operated by change keys only.

2. Master Key System:  Cylinders are operated by a change key and a master key.

3. Grand Master Key System:  Cylinders are operated by a change key, a master key, and a grand master key.

4. Great-Grand Master Key System:  Cylinders are operated by a change key, a master key, a grand master key, and a great-grand master key.

Retain both subparagraphs below if required.

5. Existing System:  Master key or grand master key locks to Owner's existing system.

6. Existing System:  Re-key Owner's existing master key system into new keying system.

Retain subparagraph below if required.

7. Keyed Alike:  Key all cylinders to same change key.

B. Keys:  Nickel silver.

Delete first subparagraph and associated subparagraph below if key does not require special marking.

1. Stamping:  Permanently inscribe each key with a visual key control number and include the following notation:

a. Notation:  ["DO NOT DUPLICATE."] [Information to be furnished by Owner.]

2. Quantity:  In addition to one extra key blank for each lock, provide the following:

Retain subparagraphs below that correspond to type of keying system selected above.

a. Cylinder Change Keys:  Three.

b. Master Keys:  Five.

c. Grand Master Keys:  Five.

d. Great-Grand Master Keys:  Five.

2.18 KEY CONTROL SYSTEM

BHMA standard in paragraph below is used as basis for comparing products even if manufacturers' products are named in door hardware sets.

A. Key Control Cabinet:  BHMA A156.5, Grade [1] [2]; metal cabinet with baked-enamel finish; containing key-holding hooks, labels, 2 sets of key tags with self-locking key holders, key-gathering envelopes, and temporary and permanent markers; with key capacity of [150] <Insert number> percent of the number of locks.

Retain one of three subparagraphs below to suit Project.  First is for minimum of 600 hooks; second is for up to 1200 hooks.

1. Multiple-Drawer Cabinet:  Cabinet with drawers equipped with key-holding panels and key envelope storage, and progressive-type ball-bearing suspension slides.  Include single cylinder lock to lock all drawers.

2. Wall-Mounted Cabinet:  Cabinet with hinged-panel door equipped with key-holding panels and pin-tumbler cylinder door lock.

3. Portable Cabinet:  Tray for mounting in file cabinet, equipped with key-holding panels, envelopes, and cross-index system.

Revise two paragraphs below if index system is not prepared by manufacturer.

B. Cross-Index System:  [Multiple] [Single]-index system for recording key information.  Include three receipt forms for each key-holding hook.  Set up by [key control manufacturer] [Installer].

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Key Control Systems, Inc. (KCS).

b. Lund Equipment Co., Inc. (LUN).

c. MMF Industries (MMF).

d. Sunroc Corporation (SUN).

e. <Insert manufacturer's name.>

C. Key Control System Software:  BHMA A156.5, Grade 1; multiple-index system for recording and reporting key-holder listings, tracking keys and lock and key history, and printing receipts for transactions.  Include instruction manual.

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Best Access Systems; Div. of The Stanley Works (BAS).

b. Corbin Russwin Architectural Hardware; an ASSA ABLOY Group company (CR).

c. <Insert manufacturer's name.>

Boxes in paragraph below are used for entry by fire and medical emergency personnel into gated communities and apartment complexes.

D. Key Lock Boxes:  Designed for storage of [two] [10] <Insert number> keys[, with tamper switches to connect to intrusion detection system].

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. ABLOY Security, Inc.; an ASSA ABLOY Group company (ABL).

b. Knox Company (KNX).

c. Supra Products (SUP).

d. <Insert manufacturer's name.>

2.19 ELECTRIC STRIKES

BHMA standard in first paragraph below is used as basis for comparing products even if manufacturers' products are named in door hardware sets.  Delete options if grade is indicated in door hardware sets.

A. Standard:  BHMA A156.31[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated].

B. General:  Use fail-secure electric strikes with fire-rated devices.

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

C. [Available ]Manufacturers:

1. Adams Rite Manufacturing Co. (ARM).

2. Brink, R. R. Locking Systems, Inc. (RRB).

3. Folger Adam Security Inc.; an ASSA ABLOY Group company (FAS).

4. HES, Inc.; an ASSA ABLOY Group company (HES).

5. Locknetics; an Ingersoll-Rand Company (LSE).

6. Precision Hardware, Inc. (PH).

7. Rutherford Controls Int'l. Corp. (RCI).

8. Security Door Controls (SDC).

9. Trine Access Technology (TAT).

10. Von Duprin; an Ingersoll-Rand Company (VD).

11. <Insert manufacturer's name.>

2.20 OPERATING TRIM

BHMA standard in first paragraph below is used as basis for comparing products even if manufacturers' products are named in door hardware sets.  Delete option if naming manufacturers' products.

A. Standard:  BHMA A156.6[ and as illustrated on Drawings].

B. Materials:  Fabricate from [aluminum] [brass] [bronze] [stainless steel], unless otherwise indicated.

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

C. [Available ]Manufacturers:

1. Burns Manufacturing Incorporated (BM).

2. Don-Jo Mfg., Inc. (DJO).

3. Forms + Surfaces (FS).

4. Hager Companies (HAG).

5. Hiawatha, Inc. (HIA).

6. IVES Hardware; an Ingersoll-Rand Company (IVS).

7. Rockwood Manufacturing Company (RM).

8. Trimco (TBM).

9. <Insert manufacturer's name.>

2.21 ACCESSORIES FOR PAIRS OF DOORS

To prevent damage to astragal, retain paragraph and subparagraph below to push active leaf open when inactive leaf is opened first.

A. Carry-Open Bars:  Provide carry-open bars for inactive leaves of pairs of doors unless automatic or self-latching bolts are used.

1. Material:  Polished brass or bronze, with strike plate.

2.22 CLOSERS

Generally retain first option in first paragraph below for private projects; retain third option for Federal, State, and local government projects.  Second option is often referenced by building codes.  Verify requirements with authorities having jurisdiction.

A. Accessibility Requirements:  Where handles, pulls, latches, locks, and other operating devices are indicated to comply with accessibility requirements, comply with [the U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA), Accessibility Guidelines for Buildings and Facilities (ADAAG)."] [ANSI A117.1.] [FED-STD-795, "Uniform Federal Accessibility Standards."] <Insert local regulation.>

1. Comply with the following maximum opening-force requirements:

a. Interior, Non-Fire-Rated Hinged Doors:  5 lbf (22.2 N) applied perpendicular to door.

b. Sliding or Folding Doors:  5 lbf (22.2 N) applied parallel to door at latch.

c. Fire Doors:  Minimum opening force allowable by authorities having jurisdiction.

B. Door Closers for Means of Egress Doors:  Comply with NFPA 101.  Door closers shall not require more than 30 lbf (133 N) to set door in motion and not more than 15 lbf (67 N) to open door to minimum required width.

Delete first paragraph below if not required.

C. Hold-Open Closers/Detectors:  Coordinate and interface integral smoke detector and closer device with fire alarm system.

D. Flush Floor Plates:  Provide finish cover plates for floor closers unless thresholds are indicated.  Match door hardware finish, unless otherwise indicated.

Delete paragraph below if not required.  For floor closers with thresholds, coordinate requirements of closers with thresholds specified.

E. Recessed Floor Plates:  Provide recessed floor plates with insert of floor finish material for floor closers unless thresholds are indicated.  Provide extended closer spindle to accommodate thickness of floor finish.

Retain first paragraph below if needed.

F. Power-Assist Closers:  As specified in Division 8 Section "Automatic Door Operators" for access doors for people with disabilities or where listed in the door hardware sets.

G. Size of Units:  Unless otherwise indicated, comply with manufacturer's written recommendations for size of door closers depending on size of door, exposure to weather, and anticipated frequency of use.  Provide factory-sized closers, adjustable to meet field conditions and requirements for opening force.

BHMA standards in first three paragraphs below are used as basis for comparing products even if manufacturers' products are named in door hardware sets.  Delete grade options if grade is indicated in door hardware sets.

H. Surface Closers:  BHMA A156.4[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated].[  Listed under Category C in BHMA's "Certified Product Directory."] Provide type of arm required for closer to be located on non-public side of door, unless otherwise indicated.

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Arrow USA; an ASSA ABLOY Group company (ARW).

b. Corbin Russwin Architectural Hardware; an ASSA ABLOY Group company (CR).

c. DORMA Architectural Hardware; Member of The DORMA Group North America (DAH).

d. Dor-O-Matic; an Ingersoll-Rand Company (DOR).

e. LCN Closers; an Ingersoll-Rand Company (LCN).

f. Norton Door Controls; an ASSA ABLOY Group company (NDC).

g. Rixson Specialty Door Controls; an ASSA ABLOY Group company (RIX).

h. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

i. Yale Commercial Locks and Hardware; an ASSA ABLOY Group company (YAL).

j. <Insert manufacturer's name.>

I. Concealed Closers:  BHMA A156.4[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated].[  Listed under Category C in BHMA's "Certified Product Directory."]

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. DORMA Architectural Hardware; Member of The DORMA Group North America (DAH).

b. LCN Closers; an Ingersoll-Rand Company (LCN).

c. Norton Door Controls; an ASSA ABLOY Group company (NDC).

d. Rixson Specialty Door Controls; an ASSA ABLOY Group company (RIX).

e. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

f. <Insert manufacturer's name.>

J. Closer Holder Release Devices:  BHMA A156.15.[  Listed under Category C in BHMA's "Certified Product Directory."]

1. Life-Safety Type:  On release of hold open, door becomes self-closing.  Automatic release is activated by [smoke detection system] [loss of power].

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. Corbin Russwin Architectural Hardware; an ASSA ABLOY Group company (CR).

b. DORMA Architectural Hardware; Member of The DORMA Group North America (DAH).

c. LCN Closers; an Ingersoll-Rand Company (LCN).

d. Norton Door Controls; an ASSA ABLOY Group company (NDC).

e. Rixson Specialty Door Controls; an ASSA ABLOY Group company (RIX).

f. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

g. <Insert manufacturer's name.>

K. Coordinators:  BHMA A156.3.

2.23 PROTECTIVE TRIM UNITS

ADA's "Accessibility Guidelines" Appendix recommends that protection plates be sized 2 inches (51 mm) less than door width.

A. Size:  1-1/2 inches (38 mm) less than door width on push side and 1/2 inch (13 mm) less than door width on pull side, by height specified in door hardware sets.

B. Fasteners:  Manufacturer's standard machine or self-tapping screws.

BHMA standard in two paragraphs below is used as basis for comparing products even if manufacturers' products are named in door hardware sets.

C. Metal Protective Trim Units:  BHMA A156.6; beveled top and 2 sides; fabricated from [material indicated in door hardware sets.] [the following material:]

1. Material:  0.050-inch- (1.3-mm-) thick [aluminum] [brass] [bronze] [stainless steel].

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. American Floor Products Co., Inc. (AFP).

b. Baldwin Hardware Corporation (BH).

c. Burns Manufacturing Incorporated (BM).

d. Don-Jo Mfg., Inc. (DJO).

e. Hager Companies (HAG).

f. Hiawatha, Inc. (HIA).

g. IPC Door and Wall Protection Systems, Inc.; Div. of InPro Corporation (IPC).

h. IVES Hardware; an Ingersoll-Rand Company (IVS).

i. Pawling Corporation (PAW).

j. Rockwood Manufacturing Company (RM).

k. Trimco (TBM).

l. <Insert manufacturer's name.>

D. Plastic Protective Trim Units:  BHMA A156.6; beveled 4 sides; fabricated from [material indicated in door hardware sets.] [the following material:]

Select materials from four subparagraphs below to suit Project.  If retaining more than one material, indicate location of each on Drawings or by repeating material requirements with each type of protective plate.

1. Plastic Laminate:  1/8 inch (3.2 mm) thick; NEMA LD 3, Grade HGS.

2. Rigid Plastic:  0.060-inch- (1.5-mm-) thick, PVC or acrylic-modified vinyl plastic.

3. Acrylic:  1/8 inch (3.2 mm) thick.

4. Color and Texture:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

5. [Available ]Manufacturers:

a. American Floor Products Co., Inc. (AFP).

b. Balco Inc. (BAL).

c. Burns Manufacturing Incorporated (BM).

d. Construction Specialties, Inc.; a C/S Group company (CS).

e. Don-Jo Mfg., Inc. (DJO).

f. Hager Companies (HAG).

g. Hiawatha, Inc. (HIA).

h. IPC Door and Wall Protection Systems, Inc.; Div. of InPro Corporation (IPC).

i. IVES Hardware; an Ingersoll-Rand Company (IVS).

j. Korogard Wall Protection Systems, Inc.; Div. of RJF International Corporation (KWS).

k. Pawling Corporation (PAW).

l. Rockwood Manufacturing Company (RM).

m. Tepromark International, Inc. (TEP).

n. Trimco (TBM).

o. <Insert manufacturer's name.>

2.24 STOPS AND HOLDERS

BHMA standards in this Article are used as basis for comparing products even if manufacturers' products are named in door hardware sets.  Delete grade options if grade is indicated in door hardware sets.

A. Stops and Bumpers:  BHMA A156.16[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated].

1. Provide floor stops for doors unless wall or other type stops are scheduled or indicated.  Do not mount floor stops where they will impede traffic.  Where floor or wall stops are not appropriate, provide overhead holders.

B. Mechanical Door Holders:  BHMA A156.16[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated].

C. Combination Floor and Wall Stops and Holders:  BHMA A156.8[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated].

D. Combination Overhead Stops and Holders:  BHMA A156.8[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated].

E. Electromagnetic Door Holders:  BHMA A156.15.[  Listed under Category C in BHMA's "Certified Product Directory."]

1. Coordinate with fire detectors and interface with fire alarm system for labeled fire door assemblies.

Delete paragraph below if silencers are specified with wood door frames in Division 6 Section "Interior Architectural Woodwork."

F. Silencers for Wood Door Frames:  BHMA A156.16, Grade 1; neoprene or rubber, minimum 5/8 by 3/4 inch (16 by 19 mm); fabricated for drilled-in application to frame.

Delete paragraph below if silencers are specified with metal door frames in another Division 8 Section.

G. Silencers for Metal Door Frames:  BHMA A156.16, Grade 1; neoprene or rubber, minimum diameter 1/2 inch (13 mm); fabricated for drilled-in application to frame.

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

H. [Available ]Manufacturers:

1. Architectural Builders Hardware Mfg., Inc. (ABH).

2. Baldwin Hardware Corporation (BH).

3. Burns Manufacturing Incorporated (BM).

4. Cal-Royal Products, Inc. (CRP).

5. Don-Jo Mfg., Inc. (DJO).

6. Door Controls International (DCI).

7. DORMA Architectural Hardware; Member of The DORMA Group North America (DAH).

8. Dor-O-Matic; an Ingersoll-Rand Company (DOR).

9. Glynn-Johnson; an Ingersoll-Rand Company (GJ).

10. Hager Companies (HAG).

11. HES, Inc.; an ASSA ABLOY Group company (HES).

12. Hiawatha, Inc. (HIA).

13. IVES Hardware; an Ingersoll-Rand Company (IVS).

14. Rixson Specialty Door Controls; an ASSA ABLOY Group company (RIX).

15. Rockwood Manufacturing Company (RM).

16. SARGENT Manufacturing Company; an ASSA ABLOY Group company (SGT).

17. Stanley Commercial Hardware; Div. of The Stanley Works (STH).

18. Trimco (TBM).

19. <Insert manufacturer's name.>

2.25 DOOR GASKETING

BHMA standard in first paragraph below is used as basis for comparing products even if manufacturers' products are named in door hardware sets.

A. Standard:  BHMA A156.22.[  Listed under Category J in BHMA's "Certified Product Directory."]

B. General:  Provide continuous weather-strip gasketing on exterior doors and provide smoke, light, or sound gasketing on interior doors where indicated or scheduled.  Provide noncorrosive fasteners for exterior applications and elsewhere as indicated.

1. Perimeter Gasketing:  Apply to head and jamb, forming seal between door and frame.

2. Meeting Stile Gasketing:  Fasten to meeting stiles, forming seal when doors are closed.

3. Door Bottoms:  Apply to bottom of door, forming seal with threshold when door is closed.

C. Air Leakage:  Not to exceed 0.50 cfm per foot (0.000774 cu. m/s per m) of crack length for gasketing other than for smoke control, as tested according to ASTM E 283.

D. Smoke-Labeled Gasketing:  Assemblies complying with NFPA 105 that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for smoke-control ratings indicated, based on testing according to UL 1784.

1. Provide smoke-labeled gasketing on 20-minute-rated doors and on smoke-labeled doors.

E. Fire-Labeled Gasketing:  Assemblies complying with NFPA 80 that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire ratings indicated, based on testing according to [NFPA 252] [UBC Standard 7-2].

Delete subparagraph below if retaining UBC standard in paragraph above, because UBC standard requires positive-pressure testing.  Second option is based on positive-pressure testing requirement in the International Building Code.

1. Test Pressure:  [Test at atmospheric pressure] [After 5 minutes into the test, neutral pressure level in furnace shall be established at 40 inches (1016 mm) or less above the sill].

F. Sound-Rated Gasketing:  Assemblies that are listed and labeled by a testing and inspecting agency, for sound ratings indicated, based on testing according to ASTM E 1408.

G. Replaceable Seal Strips:  Provide only those units where resilient or flexible seal strips are easily replaceable and readily available from stocks maintained by manufacturer.

H. Gasketing Materials:  ASTM D 2000 and AAMA 701/702.

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

I. [Available ]Manufacturers:

1. Hager Companies (HAG).

2. M-D Building Products, Inc. (MD).

3. National Guard Products (NGP).

4. Pemko Manufacturing Co. (PEM).

5. Reese Enterprises (RE).

6. Sealeze; a unit of Jason Incorporated (SEL).

7. Zero International (ZRO).

8. <Insert manufacturer's name.>

2.26 THRESHOLDS

BHMA standard in paragraph below is used as basis for comparing products even if manufacturers' products are named in door hardware sets.

A. Standard:  BHMA A156.21.[  Listed under Category J in BHMA's "Certified Product Directory."]

Generally retain first option in first paragraph below for private projects; retain third option for Federal, State, and local government projects.  Second option is often referenced by building codes.  Verify requirements with authorities having jurisdiction.

B. Accessibility Requirements:  Where thresholds are indicated to comply with accessibility requirements, comply with [the U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA), Accessibility Guidelines for Buildings and Facilities (ADAAG)."] [ANSI A117.1.] [FED-STD-795, "Uniform Federal Accessibility Standards."] <Insert local regulation.>

1. Bevel raised thresholds with a slope of not more than 1:2.  Provide thresholds not more than [1/2 inch (13 mm) high] [3/4 inch (19 mm) high for exterior sliding doors].

C. Thresholds for Means of Egress Doors:  Comply with NFPA 101.  Maximum 1/2 inch (13 mm) high.

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

D. [Available ]Manufacturers:

1. Hager Companies (HAG).

2. M-D Building Products, Inc. (MD).

3. National Guard Products (NGP).

4. Pemko Manufacturing Co. (PEM).

5. Reese Enterprises (RE).

6. Rixson Specialty Door Controls; an ASSA ABLOY Group company (RIX).

7. Sealeze; a unit of Jason Incorporated (SEL).

8. Zero International (ZRO).

9. <Insert manufacturer's name.>

2.27 SLIDING DOOR HARDWARE

BHMA standard in first paragraph below is used as basis for comparing products even if manufacturers' products are named in door hardware sets.

A. General:  BHMA A156.14; consisting of complete sets including rails, hangers, supports, bumpers, floor guides, and accessories indicated.

1. Exterior Door Hardware:  Galvanized steel or anodized aluminum.

B. Horizontal Sliding Door Hardware:  Grade 1; rated for minimum door weight of [240 lb (109 kg)] [320 lb (145 kg)] [450 lb (205 kg)] [560 lb (254 kg)] [640 lb (290 kg)] [800 lb (363 kg)] [1000 lb (455 kg)] [1500 lb (681 kg)].

C. Bypassing Sliding Door Hardware:  Rated for doors weighing up to [200 lb (91 kg)] [125 lb (57 kg)] [75 lb (34 kg)].

D. Pocket Sliding Door Hardware:  Rated for doors weighing up to [200 lb (91 kg)] [125 lb (57 kg)] [75 lb (34 kg)].

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

E. [Available ]Manufacturers:

1. Cox, Arthur & Sons, Inc. (ACS).

2. Hager Companies (HAG).

3. Henderson, P. C. Inc.; Div. of Hepworth PLC (PCH).

4. Johnson, L. E. Products, Inc. (LEJ).

5. Lawrence Brothers, Inc. (LB).

6. Stanley Commercial Hardware; Div. of The Stanley Works (STH).

7. <Insert manufacturer's name.>

2.28 FOLDING DOOR HARDWARE

BHMA standard in first paragraph below is used as basis for comparing products even if manufacturers' products are named in door hardware sets.

A. General:  BHMA A156.14; consisting of complete sets including overhead rails, hangers, supports, bumpers, floor guides, and accessories indicated.

1. Interior Doors:  Provide door hardware for interior bifolding doors when not furnished as part of door package.

B. Bifolding Door Hardware:  Rated for door panels weighing up to [125 lb (57 kg)] [50 lb (23 kg)].

C. Multiple Folding Door Hardware:  Rated for door panels weighing up to [75 lb (34 kg)] [30 lb (14 kg)].

Coordinate paragraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

D. [Available ]Manufacturers:

1. Cox, Arthur & Sons, Inc. (ACS).

2. Hager Companies (HAG).

3. Henderson, P. C. Inc.; Div. of Hepworth PLC (PCH).

4. Johnson, L. E. Products, Inc. (LEJ).

5. Lawrence Brothers, Inc. (LB).

6. Stanley Commercial Hardware; Div. of The Stanley Works (STH).

7. <Insert manufacturer's name.>

2.29 MISCELLANEOUS DOOR HARDWARE

A. Boxed Power Supplies:  Modular unit in NEMA ICS 6, Type 4 enclosure; filtered and regulated; voltage rating and type matching requirements of door hardware served; and listed and labeled for use with fire alarm systems.

B. Monitor Strikes:  [Cast strike with toggle] [Dustbox monitor for installation under standard strike].

BHMA standard in paragraph below is used as basis for comparing products even if manufacturers' products are named in door hardware sets.  Delete options if grade is indicated in door hardware sets.

C. Auxiliary Hardware:  BHMA A156.16[, Grade 1] [, Grade 2] [, Grade 1 unless Grade 2 is indicated] [, Grade 3].

Coordinate subparagraph and list below with Part 2 "Scheduled Door Hardware" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Baldwin Hardware Corporation (BH).

b. Cal-Royal Products, Inc. (CRP).

c. Don-Jo Mfg., Inc. (DJO).

d. Hager Companies (HAG).

e. Lawrence Brothers, Inc. (LB).

f. Rockwood Manufacturing Company (RM).

g. Stanley Commercial Hardware; Div. of The Stanley Works (STH).

h. Trimco (TBM).

i. <Insert manufacturer's name.>

2.30 FABRICATION

Delete first paragraph and subparagraph below if cost is prime consideration or if visibility of manufacturer's name on items is not objectionable.

A. Manufacturer's Nameplate:  Do not provide products that have manufacturer's name or trade name displayed in a visible location except in conjunction with required fire-rated labels and as otherwise approved by Architect.

1. Manufacturer's identification is permitted on rim of lock cylinders only.

B. Base Metals:  Produce door hardware units of base metal, fabricated by forming method indicated, using manufacturer's standard metal alloy, composition, temper, and hardness.  Furnish metals of a quality equal to or greater than that of specified door hardware units and BHMA A156.18.  Do not furnish manufacturer's standard materials or forming methods if different from specified standard.

C. Fasteners:  Provide door hardware manufactured to comply with published templates generally prepared for machine, wood, and sheet metal screws.  Provide screws according to commercially recognized industry standards for application intended, except aluminum fasteners are not permitted.  Provide Phillips flat-head screws with finished heads to match surface of door hardware, unless otherwise indicated.

Delete or revise subparagraph below for low-cost work and where visual quality is unimportant.  Coordinate with Division 8 Section "Flush Wood Doors."

1. Concealed Fasteners:  For door hardware units that are exposed when door is closed, except for units already specified with concealed fasteners.  Do not use through bolts for installation where bolt head or nut on opposite face is exposed unless it is the only means of securely attaching the door hardware.  Where through bolts are used on hollow door and frame construction, provide sleeves for each through bolt.

NFPA 80 requires locks, latches, surface-mounted top and bottom bolts, and fire exit hardware to be secured with machine screws or through bolts.

2. Steel Machine or Wood Screws:  For the following fire-rated applications:

a. Mortise hinges to doors.

b. Strike plates to frames.

c. Closers to doors and frames.

3. Steel Through Bolts:  For the following fire-rated applications unless door blocking is provided:

a. Surface hinges to doors.

b. Closers to doors and frames.

c. Surface-mounted exit devices.

4. Spacers or Sex Bolts:  For through bolting of hollow-metal doors.

5. Fasteners for Wood Doors:  Comply with requirements in DHI WDHS.2, "Recommended Fasteners for Wood Doors."

2.31 FINISHES

A. Standard:  BHMA A156.18, as indicated in door hardware sets.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine doors and frames, with Installer present, for compliance with requirements for installation tolerances, labeled fire door assembly construction, wall and floor construction, and other conditions affecting performance.

B. Examine roughing-in for electrical power systems to verify actual locations of wiring connections before electrified door hardware installation.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

NFPA 80 restricts on-site door preparation to that required for surface-applied door hardware, function holes for mortise locks, holes for labeled viewers, undercutting of doors, and protection plates.

A. Steel Doors and Frames:  Comply with DHI A115 Series.

1. Surface-Applied Door Hardware:  Drill and tap doors and frames according to ANSI A250.6.

B. Wood Doors:  Comply with DHI A115-W Series.

3.3 INSTALLATION

A. Mounting Heights:  Mount door hardware units at heights indicated [on Drawings] [as follows] unless otherwise indicated or required to comply with governing regulations.

Retain subparagraphs below to suit Project.

1. Standard Steel Doors and Frames:  DHI's "Recommended Locations for Architectural Hardware for Standard Steel Doors and Frames."

2. Custom Steel Doors and Frames:  DHI's "Recommended Locations for Builders' Hardware for Custom Steel Doors and Frames."

3. Wood Doors:  DHI WDHS.3, "Recommended Locations for Architectural Hardware for Wood Flush Doors."

B. Install each door hardware item to comply with manufacturer's written instructions.  Where cutting and fitting are required to install door hardware onto or into surfaces that are later to be painted or finished in another way, coordinate removal, storage, and reinstallation of surface protective trim units with finishing work specified in Division 9 Sections.  Do not install surface-mounted items until finishes have been completed on substrates involved.

1. Set units level, plumb, and true to line and location.  Adjust and reinforce attachment substrates as necessary for proper installation and operation.

2. Drill and countersink units that are not factory prepared for anchorage fasteners.  Space fasteners and anchors according to industry standards.

C. Key Control System:  Tag keys and place them on markers and hooks in key control system cabinet, as determined by final keying schedule.

Delete first paragraph and subparagraphs below if electrified door hardware is not required.  Verify acceptable location for power supplies with authorities having jurisdiction.

D. Boxed Power Supplies:  Locate power supplies as indicated or, if not indicated, [above accessible ceilings] [in equipment room].  Verify location with Architect.

Retain one of two subparagraphs below.

1. Configuration:  Provide one power supply for each door opening.

2. Configuration:  Provide the least number of power supplies required to adequately serve doors with electrified door hardware.

E. Thresholds:  Set thresholds for exterior and acoustical doors in full bed of sealant complying with requirements specified in Division 7 Section "Joint Sealants."

3.4 FIELD QUALITY CONTROL

Delete this Article if not required.

Revise paragraph below if Contractor engages consultant.

A. Independent Architectural Hardware Consultant:  Owner will engage a qualified independent Architectural Hardware Consultant to perform inspections and to prepare inspection reports.

1. Independent Architectural Hardware Consultant will inspect door hardware and state in each report whether installed work complies with or deviates from requirements, including whether door hardware is properly installed and adjusted.

3.5 ADJUSTING

A. Initial Adjustment:  Adjust and check each operating item of door hardware and each door to ensure proper operation or function of every unit.  Replace units that cannot be adjusted to operate as intended.  Adjust door control devices to compensate for final operation of heating and ventilating equipment and to comply with referenced accessibility requirements.

1. Spring Hinges:  Adjust to achieve positive latching when door is allowed to close freely from an open position of 30 degrees.

2. Electric Strikes:  Adjust horizontal and vertical alignment of keeper to properly engage lock bolt.

Subparagraph below is from ADA's "Accessibility Guidelines."

3. Door Closers:  Unless otherwise required by authorities having jurisdiction, adjust sweep period so that, from an open position of 70 degrees, the door will take at least 3 seconds to move to a point 3 inches (75 mm) from the latch, measured to the leading edge of the door.

Requirements in paragraph below increase cost but are recommended as a good investment on substantial projects even though they may be difficult to monitor.

B. Occupancy Adjustment:  Approximately [three] [six] <Insert number> months after date of Substantial Completion, Installer's Architectural Hardware Consultant shall examine and readjust, including adjusting operating forces, each item of door hardware as necessary to ensure function of doors, door hardware, and electrified door hardware.

3.6 CLEANING AND PROTECTION

A. Clean adjacent surfaces soiled by door hardware installation.

B. Clean operating items as necessary to restore proper function and finish.

C. Provide final protection and maintain conditions that ensure that door hardware is without damage or deterioration at time of Substantial Completion.

3.7 DEMONSTRATION

Possibly delete this Article for small projects.

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain door hardware and door hardware finishes.  Refer to Division 1 Section "Demonstration and Training."

3.8 DOOR HARDWARE SETS

Delete this Article if list of door hardware sets is not required.

Coordinate door hardware in door hardware sets with materials and products specified in Part 2.

Develop list of sets to suit Project.  Do not duplicate requirements inserted in Part 2.  Insert quantities where indicated.  Refer to a completed example in the Evaluations for an explanation of how to use list of sets.

Revise item name and insert description below to suit Project.

Hanging devices below include hinges, pivot hinges, floor closers, and sliding and folding door tracks and hangers.

Securing devices (inactive leaf) below include flush bolts, surface bolts, removable mullions, exit devices, dummy trim, two-point locks, cremone bolts, door position switches, electric strikes, and magnetic locks.

Securing devices (active leaf) below include locksets, latchsets, deadlocks, exit devices, two- or three-point locks, cylinders, electric strikes, door position switches, magnetic locks, electronic locking devices, and Dutch-door bolts.

Operating trim below includes door pulls, push plates, and push and pull bars.

Accessories for pairs of doors below include coordinators, removable mullions, and astragals.

Closing devices below include door closers, mounting brackets, and overhead stops and holders.

Protective trim units below include armor, kick, mop, and stretcher plates; and door edge protection.

Stops and holders below include floor stops and holders, wall stops and holders, and electromagnetic holders.

Accessories below include thresholds, weather stripping, door gasketing, and astragals.

Miscellaneous items below include door silencers, room numbers, room nameplates, door knockers, cardholders, letter box plates, door viewers, and smoke- or fire-detection devices.

Miscellaneous items that should be added at end of door hardware sets include key control cabinets and software, electromechanical door hardware not otherwise listed (e.g., power supplies), computers, printers, and wire.

 PRIVATE tbl1
	Door Hardware Set No. <Insert number>

	Door No. <Insert designation(s)>; each to have the following:


 PRIVATE tbl2
	No.
	Item
	Description
	Manufacturer
	Finish

	*
	Hanging Devices
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Securing Devices (inactive leaf)
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Securing Devices (active leaf)
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Operating Trim
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Accessories for Pairs of Doors
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Closing Devices
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Protective Trim Units
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Stops and Holders
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Accessories
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	[#]
	Miscellaneous Items
	<Insert description.>
	<Insert manufacturer.>
	<Insert finish.>

	
	
	
	
	

	*
	Number of hinges, as specified.
	
	
	


Insert additional requirements and sequence of operation in door hardware set above for electrified door hardware if required.

END OF SECTION 08710

DOOR HARDWARE
08710 - 1

