Copyright 2002 AIA
MASTERSPEC Full Length
02/02 (R 05/06)

Copyright 2002 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 08800 - GLAZING
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes glazing for the following products and applications, including those specified in other Sections where glazing requirements are specified by reference to this Section:

Adjust list below to suit Project.

1. Windows.

2. Doors.

3. Glazed curtain walls.

4. Glazed entrances.

5. Interior borrowed lites.

6. Storefront framing.

7. Skylights.

8. Sloped glazing.

B. Related Sections include the following:

List below only products that the reader might expect to find in this Section but are specified elsewhere.

1. Division 5 Section "Ornamental Railings" for glass panels forming guards in railings.

2. Division 8 Section "All-Glass Entrances and Storefronts."

3. Division 8 Section "Revolving Entrance Doors."

4. Division 8 Section "Security Glazing" for glazing units resistant to [ballistic attacks] [blunt- and sharp-tool attacks] [chemical threats] [windborne debris] [and] [airblasts].

5. Division 8 Section "Decorative Glass."

6. Division 8 Section "Mirrored Glass."

7. Division 8 Section "Plastic Glazing" for acrylic and polycarbonate glazing in the form of monolithic and double-walled structured sheets.

8. Division 8 Section "Structural-Sealant-Glazed Curtain Walls" for structural-sealant glazing requirements.

1.3 DEFINITIONS

A. Manufacturers of Glass Products:  Firms that produce primary glass, fabricated glass, or both, as defined in referenced glazing publications.

ASTM C 1036 also includes traditional thickness designations in IP units, but all thicknesses in this Section are expressed in millimeters.

B. Glass Thicknesses:  Indicated by thickness designations in millimeters according to ASTM C 1036.

Delete definitions below if not applicable to products retained for Project.

C. Interspace:  Space between lites of an insulating-glass unit that contains dehydrated air or a specified gas.

D. Deterioration of Coated Glass:  Defects developed from normal use that are attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning coated glass contrary to manufacturer's written instructions.  Defects include peeling, cracking, and other indications of deterioration in metallic coating.

E. Deterioration of Insulating Glass:  Failure of hermetic seal under normal use that is attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning insulating glass contrary to manufacturer's written instructions.  Evidence of failure is the obstruction of vision by dust, moisture, or film on interior surfaces of glass.

F. Deterioration of Laminated Glass:  Defects developed from normal use that are attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning laminated glass contrary to manufacturer's written instructions.  Defects include edge separation, delamination materially obstructing vision through glass, and blemishes exceeding those allowed by referenced laminated-glass standard.

1.4 PERFORMANCE REQUIREMENTS

A. General:  Provide glazing systems capable of withstanding normal thermal movement and wind and impact loads (where applicable) without failure, including loss or glass breakage attributable to the following:  defective manufacture, fabrication, and installation; failure of sealants or gaskets to remain watertight and airtight; deterioration of glazing materials; or other defects in construction.

First paragraph and subparagraphs below assume glass thicknesses are indicated on Drawings or in Part 2 where glass units are specified.  If not, revise accordingly.

B. Glass Design:  Glass thickness designations indicated are minimums and are for detailing only.  Confirm glass thicknesses by analyzing Project loads and in-service conditions.  Provide glass lites in the thickness designations indicated for various size openings, but not less than thicknesses and in strengths (annealed or heat treated) required to meet or exceed the following criteria:

1. Glass Thicknesses:  Select minimum glass thicknesses to comply with ASTM E 1300, according to the following requirements:

Retain one of three subparagraphs below specifying design wind loads.

a. Specified Design Wind Loads:  <Insert design wind load> [As indicated].

b. Specified Design Wind Loads:  <Insert design wind load> [As indicated], but not less than wind loads applicable to Project as required by ASCE 7 "Minimum Design Loads for Buildings and Other Structures":  Section 6.0 "Wind Loads."

See Editing Instruction No. 2 in the Evaluations before retaining one of two subparagraphs above or subparagraph and associated subparagraphs below.  If retaining one subparagraph above, design wind loads must be indicated either here or, preferably, on Drawings if multiple loads apply.  If retaining below, basic wind speed, importance factor, and exposure category applicable to Project must be indicated either here or, preferably, on Drawings.

c. Design Wind Loads:  Determine design wind loads applicable to Project from basic wind speed indicated in miles per hour (meters per second) at 33 feet (10 m) above grade, according to ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 6.5, "Method 2-Analytical Procedure," based on mean roof heights above grade indicated on Drawings.

Delete three subparagraphs below if information is indicated on Drawings.  Other effects may need to be included such as topographic factor and gust effect factor as well as enclosure classification(s).

1) Basic Wind Speed:  <Insert value.>

2) Importance Factor:  <Insert factor>.

3) Exposure Category:  [A] [B] [C] [D].

Retain subparagraph below if sloped glazing is exposed to snow loads.  If retaining, insert snow loads here or, if multiple loads apply, on Drawings.

d. Specified Design Snow Loads:  <Insert design snow load> [As indicated], but not less than snow loads applicable to Project as required by ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 7.0, "Snow Loads."

Probability of breakage value specified in subparagraph below is based on a design factor of 2.5 and is the basis for load charts for loads of 60-second duration in the 2000 edition of ASTM E 1300.  A revision of ASTM E 1300 is under way that would change the duration to 3 seconds to make it consistent with the 1998 edition of ASCE 7.  Revise if other values and durations are required for Project.

e. Probability of Breakage for Vertical Glazing:  8 lites per 1000 for lites set vertically or not more than 15 degrees off vertical and under wind action.

1) Load Duration:  [60 seconds or less] [3 seconds] <Insert value>.

Probability of breakage value specified in subparagraph below is based on a design factor of 5.0.

f. Probability of Breakage for Sloped Glazing:  1 lite per 1000 for lites set more than 15 degrees off vertical and under wind and snow action.

Duration below is an example only and is defined in ASTM E 1300 as a long-duration load.  Snow loads are likely to be imposed on sloped glazing for long periods.

1) Load Duration:  [30] <Insert number> days.

Deflection requirements in first subparagraph below are examples only and apply only to glass supported on all four edges.  Revise to suit Project.  See Evaluations.

g. Maximum Lateral Deflection:  For the following types of glass supported on all 4 edges, provide thickness required that limits center deflection at design wind pressure to 1/50 times the short side length or 1 inch (25 mm), whichever is less.

1) For monolithic-glass lites heat treated to resist wind loads.

2) For insulating glass.

3) For laminated-glass lites.

Delete subparagraph below if glass thicknesses for each kind of glass are indicated comprehensively on Drawings or in Part 2 articles where glass units are specified and there is no need to specify a default thickness.  If retaining, revise if a different minimum thickness is required.

h. Minimum Glass Thickness for Exterior Lites:  Not less than [6.0] <Insert thickness designation> mm.

Revise subparagraph below if varying thicknesses of tinted and heat-absorbing glass are required for specific locations.

i. Thickness of Tinted and Heat-Absorbing Glass:  Provide the same thickness for each tint color indicated throughout Project.

C. Thermal Movements:  Provide glazing that allows for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures acting on glass framing members and glazing components.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

D. Thermal and Optical Performance Properties:  Provide glass with performance properties specified based on manufacturer's published test data, as determined according to procedures indicated below:

Retain subparagraph below if Part 2 "Monolithic Float-Glass Units" Article is retained and thermal and optical performance properties are specified.  If more than one thickness is required, indicate on Drawings or in referenced article.

1. For monolithic-glass lites, properties are based on units with lites [6.0 mm thick] [of thickness indicated].

Retain subparagraph below if Part 2 "Laminated-Glass Units" Article is retained and thermal and optical performance properties are specified.

2. For laminated-glass lites, properties are based on products of construction indicated.

Retain first subparagraph below if insulating-glass units are specified in Part 2 and thermal and optical performance properties are specified.

3. For insulating-glass units, properties are based on units of thickness indicated for overall unit and for each lite.

4. Center-of-Glass Values:  Based on using LBL-44789 WINDOW 5.0 computer program for the following methodologies:

Revise referenced methods in subparagraphs below to coordinate with performance values for fenestration specified in Sections that reference this Section for specifying glass.

a. U-Factors:  NFRC 100 expressed as Btu/ sq. ft. x h x deg F (W/sq. m x K).

b. Solar Heat Gain Coefficient:  NFRC 200.

c. Solar Optical Properties:  NFRC 300.

1.5 SUBMITTALS

A. Product Data:  For each glass product and glazing material indicated.

B. LEED Submittal:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for glazing sealants.

1. Product Data for Credit EQ 4.1:  For glazing sealants used inside of the weatherproofing system, including printed statement of VOC content.

C. Samples:  For the following products, in the form of 12-inch- (300-mm-) square Samples for glass and of 12-inch- (300-mm-) long Samples for sealants.  Install sealant Samples between two strips of material representative in color of the adjoining framing system.

Delete paragraph above or first paragraph and subparagraphs below.  Retain below if no sealant Samples are required.

D. Samples:  For the following products, in the form of 12-inch- (300-mm-) square Samples for glass.

Edit list below to coordinate with products selected that require Samples.

1. Each color of tinted float glass.

2. Each type of patterned glass.

3. Coated vision glass.

4. Ceramic-coated spandrel glass.

5. Each pattern and color of ceramic-coated vision glass.

6. Wired glass.

7. Fire-resistive glazing products.

8. Each type of laminated glass with colored interlayer.

9. Insulating glass for each designation indicated.

10. For each color (except black) of exposed glazing sealant indicated.

E. Glazing Schedule:  Use same designations indicated on Drawings for glazed openings in preparing a schedule listing glass types and thicknesses for each size opening and location.

Generally retain paragraph and subparagraph below unless types of glass selected do not require labeling by authorities having jurisdiction or if certification is required as well as labels.  See Evaluations.

F. Product Certificates:  Signed by manufacturers of glass and glazing products certifying that products furnished comply with requirements.

1. For solar-control low-e-coated glass, provide documentation demonstrating that manufacturer of coated glass is certified by coating manufacturer.

Coordinate paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For installers.

Delete first paragraph below if no glazing sealants are specified for installing insulating or laminated glass, or if neither of these glass types are specified.

H. Preconstruction Adhesion and Compatibility Test Report:  From glazing sealant manufacturer indicating glazing sealants were tested for adhesion to glass and glazing channel substrates and for compatibility with glass and other glazing materials.

I. Product Test Reports:  For each of the following types of glazing products:

1. Tinted float glass.

2. Coated float glass.

3. Insulating glass.

4. Glazing sealants.

5. Glazing gaskets.

J. Warranties:  Special warranties specified in this Section.

1.6 QUALITY ASSURANCE

If retaining paragraph below, verify with prospective installers that they can comply with glass installer certification requirements referenced below.

A. Installer Qualifications:  An experienced installer who has completed glazing similar in material, design, and extent to that indicated for this Project; whose work has resulted in glass installations with a record of successful in-service performance; and who employs glass installers for this Project who are certified under the National Glass Association's Certified Glass Installer Program.

Retain paragraph below if clear float glass specified in Part 2 is ultra-clear (low-iron) float glass, which has higher visible light transmittance than commercial float glass.

B. Source Limitations for Glass:  Obtain the following through one source from a single manufacturer for each glass type:  [clear float glass] [coated float glass] [laminated glass] [glass-clad polycarbonate] [and] [insulating glass].

Retain first paragraph below if glazing units retained in Part 2 are those specified with a sputtered solar-control low-e coating and products listed are those of a manufacturer with a certified fabricator program.  At the time this Section was updated, only Cardinal IG, Guardian Industries, and PPG Industries had certified fabricator programs for selected solar-control low-e coatings.

C. Source Limitations for Glass Sputter-Coated with Solar-Control Low-E Coatings:  Where solar-control low-e coatings of a primary glass manufacturer that has established a certified fabricator program is specified, obtain sputter-coated solar-control low-e-coated glass in fabricated units from a manufacturer that is certified by coated-glass manufacturer.

D. Source Limitations for Glazing Accessories:  Obtain glazing accessories through one source from a single manufacturer for each product and installation method indicated.

If retaining first paragraph and subparagraphs below, also retain "Product Test Reports" Paragraph in "Submittals" Article.

E. Glass Product Testing:  Obtain glass test results for product test reports in "Submittals" Article from a qualified testing agency based on testing glass products.

1. Glass Testing Agency Qualifications:  An independent testing agency with the experience and capability to conduct the testing indicated, as documented according to ASTM E 548.

Delete subparagraph above or below.  Retain below only if it is known that glass products specified have been tested by NFRC-accredited testing agencies.

2. Glass Testing Agency Qualifications:  An independent testing agency accredited according to the NFRC CAP 1 Certification Agency Program.

F. Elastomeric Glazing Sealant Product Testing:  Obtain sealant test results for product test reports in "Submittals" Article from a qualified testing agency based on testing current sealant formulations within a 36-month period.

1. Sealant Testing Agency Qualifications:  An independent testing agency qualified according to ASTM C 1021 to conduct the testing indicated, as documented according to ASTM E 548.

2. Test elastomeric glazing sealants for compliance with requirements specified by reference to ASTM C 920, and where applicable, to other standard test methods.

Delete testing requirements in first paragraph and subparagraphs below if no elastomeric glazing sealants are specified for Project.  Adhesion and compatibility testing is essential and usually done by sealant manufacturer.  Tests require large number of Samples, and some tests require four weeks to complete.  If retaining below, also retain "Preconstruction Adhesion and Compatibility Test Report" Paragraph in "Submittals" Article.

G. Preconstruction Adhesion and Compatibility Testing:  Submit to elastomeric glazing sealant manufacturers, for testing indicated below, samples of each glazing material type, tape sealant, gasket, glazing accessory, and glass-framing member that will contact or affect elastomeric glazing sealants:

1. Use ASTM C 1087 to determine whether priming and other specific joint preparation techniques are required to obtain rapid, optimum adhesion of glazing sealants to glass, tape sealants, gaskets, and glazing channel substrates.

2. Submit not fewer than [eight] <Insert number> pieces of each type of material, including joint substrates, shims, joint-sealant backings, secondary seals, and miscellaneous materials.

3. Schedule sufficient time for testing and analyzing results to prevent delaying the Work.

4. For materials failing tests, obtain sealant manufacturer's written instructions for corrective measures, including the use of specially formulated primers.

Delete subparagraph below if testing is required.

5. Testing will not be required if elastomeric glazing sealant manufacturers submit data based on previous testing of current sealant products for adhesion to, and compatibility with, glazing materials matching those submitted.

H. Glazing for Fire-Rated Door Assemblies:  Glazing for assemblies that comply with NFPA 80 and that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire-protection ratings indicated, based on testing according to NFPA 252.

Retain paragraph above for doors and paragraph below for windows if wired glass or another fire-resistive glazing product is specified in Part 2.

I. Glazing for Fire-Rated Window Assemblies:  Glazing for assemblies that comply with NFPA 80 and that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire ratings indicated, based on testing according to NFPA 257.

In Part 2 articles where glass units are specified, retain applicable requirements for monolithic-, laminated-, and insulating-glass units that are consistent with requirements specified below for safety glass.

J. Safety Glazing Products:  Comply with testing requirements in 16 CFR 1201[ and, for wired glass, ANSI Z97.1].

Delete subparagraph below if not applicable.  Not all manufacturers participate in third-party testing programs.

1. Subject to compliance with requirements, obtain safety glazing products permanently marked with certification label of [the Safety Glazing Certification Council or another certification agency] [or] [manufacturer] acceptable to authorities having jurisdiction.

Lites more than 9 sq. ft. (0.84 sq. m) in area and lites of any area in certain hazardous locations such as sliding glass doors, doors and enclosures for bathtubs, showers, hot tubs, whirlpools, saunas, and steam rooms are required to be Category II materials.

2. Where glazing units, including Kind FT glass and laminated glass, are specified in Part 2 articles for glazing lites more than 9 sq. ft. (0.84 sq. m) in exposed surface area of one side, provide glazing products that comply with Category II materials, for lites 9 sq. ft. (0.84 sq. m) or less in exposed surface area of one side, provide glazing products that comply with Category I or II materials, except for hazardous locations where Category II materials are required by 16 CFR 1201 and regulations of authorities having jurisdiction.

K. Glazing Publications:  Comply with published recommendations of glass product manufacturers and organizations below, unless more stringent requirements are indicated.  Refer to these publications for glazing terms not otherwise defined in this Section or in referenced standards.

Delete option in subparagraph below if no laminated glass is specified for Project.

1. GANA Publications:  [GANA Laminated Division's "Laminated Glass Design Guide" and ]GANA's "Glazing Manual."

Delete two subparagraphs below if no sloped glazing.

2. AAMA Publications:  AAMA GDSG-1, "Glass Design for Sloped Glazing," and AAMA TIR-A7, "Sloped Glazing Guidelines."

3. IGMA Publication for Sloped Glazing:  IGMA TB-3001, "Sloped Glazing Guidelines."

Delete subparagraph below if no insulating glass.

4. IGMA Publication for Insulating Glass:  SIGMA TM-3000, "Glazing Guidelines for Sealed Insulating Glass Units."

Delete paragraph and subparagraphs below if no insulating glass.  Not all manufacturers participate in program; refer to directories of certifying organizations for participants.

L. Insulating-Glass Certification Program:  Permanently marked either on spacers or on at least one component lite of units with appropriate certification label of the following testing and inspecting agency:

1. Insulating Glass Certification Council.

Retain subparagraph above with or without subparagraph below.  Participants in agency program below are primarily manufacturers of windows and doors.  Verify that types of units required are certified.

2. Associated Laboratories, Inc.

Delete paragraph and subparagraphs below if not required.  Revise if specific requirements for mockups are indicated on Drawings or if glazing is part of larger mockups specified in other Sections.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

M. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Build mockups in the location and of the size indicated or, if not indicated, as directed by Architect.

Retain subparagraph below for large-scale mockups or include in Division 1 Section "Quality Requirements."

2. Build glass mockups by installing the following kinds of glass in mockups specified in Division 8 Section "[Aluminum-Framed Entrances and Storefronts] [Aluminum Windows] [Glazed Aluminum Curtain Walls] <Insert Section title>" to match glazing systems required for Project, including glazing methods:

Edit subparagraphs below to suit Project.

a. Heat-strengthened coated glass.

b. Fully tempered glass.

c. Spandrel glass.

d. Laminated glass.

e. Coated insulating glass.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference or if glazing for the most part will be performed in the shop.  If retaining, coordinate with Division 1.

N. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

1.7 DELIVERY, STORAGE, AND HANDLING

A. Protect glazing materials according to manufacturer's written instructions and as needed to prevent damage to glass and glazing materials from condensation, temperature changes, direct exposure to sun, or other causes.

Delete paragraph below if no insulating glass or if no exposure to altitude changes.  Retain if there is a reasonable possibility that insulating glass might be air-freighted to Project site.

B. For insulating-glass units that will be exposed to substantial altitude changes, comply with insulating-glass manufacturer's written recommendations for venting and sealing to avoid hermetic seal ruptures.

1.8 PROJECT CONDITIONS

A. Environmental Limitations:  Do not proceed with glazing when ambient and substrate temperature conditions are outside limits permitted by glazing material manufacturers and when glazing channel substrates are wet from rain, frost, condensation, or other causes.

Delete subparagraph below if no liquid sealants are required or if requirements listed above are adequate.  Revise if another temperature range is required.

1. Do not install liquid glazing sealants when ambient and substrate temperature conditions are outside limits permitted by glazing sealant manufacturer or below 40 deg F (4.4 deg C).

1.9 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

Paragraphs and subparagraphs in this Article are examples only.  Verify available warranties and length of warranty period with manufacturers selected.  See Evaluations.

A. Manufacturer's Special Warranty for Coated-Glass Products:  Manufacturer's standard form, made out to Owner and signed by coated-glass manufacturer agreeing to replace coated-glass units that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below.

Revise subparagraph below, and subsequent subparagraphs specifying warranty periods, if glass manufacturers selected insist on warranty beginning on date of manufacture.

1. Warranty Period:  [10] <Insert number> years from date of Substantial Completion.

B. Manufacturer's Special Warranty on Laminated Glass:  Manufacturer's standard form, made out to Owner and signed by laminated-glass manufacturer agreeing to replace laminated-glass units that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below.

1. Warranty Period:  [Five] <Insert number> years from date of Substantial Completion.

C. Manufacturer's Special Warranty on Insulating Glass:  Manufacturer's standard form, made out to Owner and signed by insulating-glass manufacturer agreeing to replace insulating-glass units that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below.

1. Warranty Period:  [10] <Insert number> years from date of Substantial Completion.

Possibly insert glazier's warranty covering labor to replace insulating-glass units or, as an alternative, a maintenance contract that incorporates unit prices for replacement labor.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Editing Instructions No. 3 and No. 4 in the Evaluations about editing this Article with other Part 2 articles.

Edit this Article with other Part 2 articles in which manufacturers and products, or manufacturers only, are named.  See Division 1 Section "Product Requirements" for an explanation of the terms "Available Products," "Products," "Product," "Available Manufacturers," "Manufacturers," and "Basis-of-Design Product" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, products specified.

2. Products:  Subject to compliance with requirements, provide one of the products specified.

3. Product:  Subject to compliance with requirements, provide product specified.

4. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

5. Manufacturers:  Subject to compliance with requirements, provide products by one of the manufacturers specified.

6. Basis-of-Design Product:  The design for each glazing product is based on the product named.  Subject to compliance with requirements, provide either the named product or a comparable product by one of the other manufacturers specified.

2.2 GLASS PRODUCTS

See Editing Instruction No. 3 in the Evaluations about editing this Article with other Part 2 articles in which glass units are specified.

A. Annealed Float Glass:  ASTM C 1036, Type I (transparent flat glass), Quality-Q3; of class indicated.

1. Ultra-Clear (Low-Iron) Float Glass:  Class I (clear); with a minimum 91 percent visible light transmission and a minimum solar heat gain coefficient of 0.87.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

a. [Available ]Products:

1) AFG Industries Inc.; Krystal Klear.

2) Pilkington Building Products North America; Optiwhite.

3) PPG Industries, Inc.; Starphire.

4) <Insert manufacturer's name; product name or designation.>

B. Heat-Treated Float Glass:  ASTM C 1048; Type I (transparent flat glass); Quality-Q3; of class, kind, and condition indicated.

Delete first subparagraph below if ASTM compliance is all that is required.  See Evaluations.  Verify that glass sizes indicated can be manufactured with roll wave parallel with bottom edge.

1. Fabrication Process:  By horizontal (roller-hearth) process with roll-wave distortion parallel to bottom edge of glass as installed, unless otherwise indicated.

2. Provide Kind HS (heat-strengthened) float glass in place of annealed float glass where needed to resist thermal stresses induced by differential shading of individual glass lites and to comply with glass design requirements specified in Part 1 "Performance Requirements" Article.

3. For uncoated glass, comply with requirements for Condition A.

4. For coated vision glass, comply with requirements for Condition C (other uncoated glass).

Delete subparagraph below if locations of Kind FT float glass for safety glass applications are specified in other Part 2 articles or on Drawings.

5. Provide Kind FT (fully tempered) float glass in place of annealed or Kind HS (heat-strengthened) float glass where safety glass is indicated.

If statistical heat-soaking of fully tempered glass is needed, insert requirements here.

C. Ceramic-Coated Vision Glass:  Float glass with ceramic enamel applied by silk-screened process and complying with ASTM C 1048, Condition C (other coated glass), Type I (transparent flat glass), Quality-Q3, Specification No. 95-1-31 in GANA Tempering Division's "Engineering Standards Manual," and other requirements specified.

D. Ceramic-Coated Spandrel Glass:  ASTM C 1048, Condition B (spandrel glass, one surface ceramic coated), Type I (transparent flat glass), Quality-Q3, and complying with other requirements specified.

Although it is possible for unbacked heat-strengthened spandrel glass to pass test in subparagraph below, applying tape to back of spandrel glass is normally required.

1. Fallout Resistance:  Provide spandrel units identical to those passing the fallout-resistance test for spandrel glass specified in ASTM C 1048.

E. Pyrolytic-Coated Float Glass:  ASTM C 1376, float glass with metallic-oxide coating applied by pyrolytic deposition process during initial manufacture, and complying with other requirements specified.

Delete paragraph above or below unless both are used and specified elsewhere in Part 2.  Pyrolytic coatings may be used on either the first or the second surface of monolithic-glass lites as well as other surfaces of laminated and insulating glass.  Sputtered coatings may also be used with monolithic glass but only on the second surface if coating is recommended for such use by manufacturer.  Otherwise, sputtered coating must be used with either laminated or insulating glass and placed on the second or third surface.  Some sputter-coated products are heat treatable after coating is applied.

F. Sputter-Coated Float Glass:  ASTM C 1376, float glass with metallic-oxide or -nitride coating deposited by vacuum deposition process after manufacture and heat treatment (if any), and complying with other requirements specified.

Coating in paragraph below is available only on clear float glass and is applied pyrolytically on the float line.  Consequently, if a reflective or low-e coating is also required on the second surface (which was exposed to the molten tin bath on the float line) it must be a sputtered coating.

G. Pyrolytic-Coated Self-Cleaning, Low-Maintenance Glass:  Float glass with a coating on first surface having both photocatalytic and hydrophilic properties that act to loosen dirt and to cause water to sheet evenly over the glass instead of beading.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. PPG Industries, Inc.; SunClean.

b. Pilkington Building Products North America; Activ.

c. <Insert manufacturer's name; product name or designation.>

Delete paragraph and subparagraphs below if glass lites with pyrolytic or sputter coating on second surface are not used for spandrels.

H. Coated Spandrel Float Glass:  Float glass complying with other requirements specified and with the following:

1. Fallout Resistance:  Provide spandrel units identical to those passing the fallout-resistance test for spandrel glass specified in ASTM C 1048.

Delete subparagraph below if read-through is controlled by another means.  Opacifier below can be applied only over reflective coating; verify availability with glass manufacturers.

2. Factory apply manufacturer's standard opacifier of the following material to coated second surface of lites, with resulting products complying with Specification No. 89-1-6 in GANA Tempering Division's "Engineering Standards Manual."

Retain one of two subparagraphs below.  If retaining a specific material, coordinate with product listing and verify availability and suitability with glass manufacturer for installation indicated.  See Editing Instruction No. 7 in the Evaluations.

a. Manufacturer's standard opacifier material.

b. Polyester film laminated to glass with solvent-based adhesive.

If wired glass is retained below for use in fire-resistive applications, retain applicable "Glazing for Fire-Rated Door Assemblies" or "Glazing for Fire-Rated Window Assemblies" Paragraph in Part 1 "Quality Assurance" Article.

I. Wired Glass:  ASTM C 1036, Type II (patterned and wired flat glass), Class 1 (clear), Quality-Q-6; and of form and mesh pattern specified.

J. Patterned Glass:  ASTM C 1036, Type II (patterned and wired flat glass), Class 1 (clear), Form 3 (patterned); and of quality, finish, and pattern specified.

K. Tempered Patterned Glass:  ASTM C 1048, Kind FT (fully tempered), Type II (patterned flat glass), Class 1 (clear), Form 3 (patterned); and of quality, finish, and pattern specified.

L. Laminated Glass:  ASTM C 1172, and complying with other requirements specified and with the following:

If retaining "cured resin" option in first subparagraph below, only Glasslam N.G.I. offers a chemically cured, polyester-based, three-component system in pigmented formulations as well as clear.  UCB Chemicals Corporation offers a clear casting resin named "Uvekol."

1. Interlayer:  [Polyvinyl butyral] [or] [cured resin] of thickness indicated with a proven record of no tendency to bubble, discolor, or lose physical and mechanical properties after laminating glass lites and installation.

a. For polyvinyl butyral interlayers, laminate lites in autoclave with heat plus pressure.

Retain subparagraph above or first subparagraph below, or both.

b. For cured-resin interlayers, laminate lites with laminated-glass manufacturer's standard cast-in-place and cured-transparent-resin interlayer.

2. Laminating Process:  Fabricate laminated glass to produce glass free of foreign substances and air or glass pockets.

Coordinate requirements selected from paragraph and subparagraphs below with those in other paragraphs on glass products that specify lites making up insulating units.

M. Insulating-Glass Units, General:  Factory-assembled units consisting of sealed lites of glass separated by a dehydrated interspace, and complying with ASTM E 774 for Class CBA units and with requirements specified in this Article and in Part 2 "Insulating-Glass Units" Article.

Delete subparagraph below if no heat-treated units are required.  If retaining, indicate locations on Drawings or in other Part 2 articles where glass units are specified.

1. Provide Kind HS (heat-strengthened) float glass in place of annealed glass where needed to resist thermal stresses induced by differential shading of individual glass lites and to comply with glass design requirements specified in Part 1 "Performance Requirements" Article.

Delete first subparagraph below if locations of Kind FT float glass for safety glass applications are specified in other Part 2 articles or on Drawings.

2. Provide Kind FT (fully tempered) glass lites where safety glass is indicated.

3. Overall Unit Thickness and Thickness of Each Lite:  Dimensions indicated for insulating-glass units are nominal and the overall thicknesses of units are measured perpendicularly from outer surfaces of glass lites at unit's edge.

4. Sealing System:  Dual seal, with primary and secondary sealants as follows:

Select one sealant system from subparagraphs below or insert other combinations; coordinate with manufacturers and products selected.

a. Manufacturer's standard sealants.

b. Polyisobutylene and polysulfide.

c. Polyisobutylene and silicone.

d. Polyisobutylene and hot-melt butyl.

e. Polyisobutylene and polyurethane.

5. Spacer Specifications:  Manufacturer's standard spacer material and construction.

Delete subparagraph above or below.  Retain below if specifying a specific spacer material and construction.

6. Spacer Specifications:  Manufacturer's standard spacer material and construction complying with the following requirements:

Retain one of three subparagraphs below.  Verify availability with manufacturers of products named in Part 2 articles where insulating-glass units are specified.

a. Spacer Material:  [Aluminum with mill or clear anodic finish] [Aluminum with black, color anodic finish] [Aluminum with bronze, color anodic finish] [Aluminum with powdered metal paint finish in color selected by Architect] [Galvanized steel] [Stainless steel] <Insert material>.

b. Desiccant:  Molecular sieve or silica gel, or blend of both.

Revise subparagraph above and below if specific types of desiccant and corner construction are required.

c. Corner Construction:  Manufacturer's standard corner construction.

2.3 FIRE-RATED GLAZING PRODUCTS

If retaining one or more products in this Article, also retain applicable "Glazing for Fire-Rated Door Assemblies" or "Glazing for Fire-Rated Window Assemblies" Paragraph in Part 1 "Quality Assurance" Article.

Products described in first paragraph and associated subparagraphs below do not qualify as safety glazing.

A. Monolithic Ceramic Glazing Material:  Proprietary product in the form of clear flat sheets of 3/16-inch (5-mm) nominal thickness weighing 2.5 lb/sq. ft. (12.2 kg/sq. m), and as follows:

1. Fire-Protection Rating:  As indicated for the fire window in which glazing material is installed, and permanently labeled by a testing and inspecting agency acceptable to authorities having jurisdiction.

2. Product:  ["Obscure FireLite" (textured on one surface)] ["Premium FireLite" (polished on both surfaces)] ["Standard FireLite" (unpolished on both surfaces)] by Nippon Electric Glass Co., Ltd., and distributed by Technical Glass Products.

B. Film-Faced Ceramic Glazing Material:  Proprietary Category II safety glazing product in the form of a 3/16-inch- (5-mm-) thick, ceramic glazing material [textured on one surface] [polished on both surfaces] [unpolished on both surfaces], faced on one surface with a clear glazing film, and as follows:

1. Fire-Protection Rating:  As indicated for the assembly in which glazing material is installed, and permanently labeled by a testing and inspecting agency acceptable to authorities having jurisdiction.

2. Product:  "FireLite NT" by Nippon Electric Glass Co., Ltd., and distributed by Technical Glass Products.

C. Laminated Ceramic Glazing Material:  Proprietary Category II safety glazing product in the form of 2 lites of clear ceramic glazing material laminated together to produce a laminated lite of 5/16-inch (8-mm) nominal thickness; polished on both surfaces; weighing 4 lb/sq. ft. (19.5 kg/sq. m); and as follows:

1. Fire-Protection Rating:  As indicated for the assembly in which glazing material is installed, and permanently labeled by a testing and inspecting agency acceptable to authorities having jurisdiction.

2. Polished on both surfaces, transparent.

3. Product:  "FireLite Plus" by Nippon Electric Glass Co., Ltd., and distributed by Technical Glass Products.

Product in first paragraph and subparagraphs below does not pass hose-stream test.

D. Specially Tempered Monolithic Glass:  Proprietary Category II safety glazing product in the form of a specially tempered [1/4-inch- (6.4-mm-)] [3/8-inch- (9.5-mm-)] [1/2-inch- (12.7-mm-)] thick monolithic lite, and as follows:

1. Fire-Protection Rating:  20 minutes, and permanently labeled by a testing and inspecting agency acceptable to authorities having jurisdiction.

2. Product:  Subject to compliance with requirements, "SuperLite" by SAFTI; a Division of O'Keeffe's Inc.

E. Laminated Glass with Intumescent Interlayers:  Proprietary Category II safety glazing product in the form of multiple lites of Condition A (uncoated surfaces), Type I (transparent glass, flat), Class 1 (clear), Kind FT (fully tempered) float glass laminated with intumescent interlayers; and as follows:

1. Fire-Protection Rating:  [60 minutes] [90 minutes] [120 minutes] [As indicated for the assembly in which glazing material is installed], and permanently labeled by a testing and inspecting agency acceptable to authorities having jurisdiction.

2. Product:  Subject to compliance with requirements, "PyroStop" by Pilkington Building Products North America and distributed by Technical Glass Products.

F. Gel-Filled, Dual-Glazed Units:  Proprietary Category II safety glazing product in the form of two lites of Condition A (uncoated surfaces), Type I (transparent flat glass), Class 1 (clear), Kind FT (fully tempered) float glass; with a perimeter metal spacer separating lites and dual-edge seal enclosing a cavity completely filled with clear, fully transparent, heat-absorbing gel.

1. Fire-Protection Rating:  [20 minutes] [45 minutes] [60 minutes] [90 minutes] [120 minutes] [As indicated for the assembly in which glazing material is installed], and permanently labeled by a testing and inspecting agency acceptable to authorities having jurisdiction.

If fire-protection ratings are specified above or indicated on Drawings, delete options in subparagraph below.

2. Product:  Subject to compliance with requirements, "SuperLite II[-20] [-45] [-60] [-90] [-120]" by SAFTI; a Division of O'Keeffe's Inc.

2.4 GLAZING GASKETS

Gaskets in paragraph below are for drive-in wedges or for use with pressurized stops.

A. Dense Compression Gaskets:  Molded or extruded gaskets of material indicated below, complying with standards referenced with name of elastomer indicated below, and of profile and hardness required to maintain watertight seal:

Select one or more materials from subparagraphs below.  Neoprene is not compatible with silicone glazing sealants.

1. Neoprene, ASTM C 864.

2. EPDM, ASTM C 864.

3. Silicone, ASTM C 1115.

4. Thermoplastic polyolefin rubber, ASTM C 1115.

5. Any material indicated above.

Gaskets in first paragraph below are for use between glass and frame (or fixed stop) where they will be compressed by inserting dense compression gaskets.

B. Soft Compression Gaskets:  Extruded or molded, closed-cell, integral-skinned gaskets of material indicated below; complying with ASTM C 509, Type II, black; and of profile and hardness required to maintain watertight seal:

Select one or more materials from subparagraphs below.  Neoprene is not compatible with silicone glazing sealants.

1. Neoprene.

2. EPDM.

3. Silicone.

4. Thermoplastic polyolefin rubber.

5. Any material indicated above.

C. Lock-Strip Gaskets:  Neoprene extrusions in size and shape indicated, fabricated into frames with molded corner units and zipper lock-strips, complying with ASTM C 542, black.

If needed, insert other types of proprietary or special gasket systems by naming manufacturer and product, if not specified in the Section where the window or glazed curtain wall system is specified.

2.5 GLAZING SEALANTS

A. General:  Provide products of type indicated, complying with the following requirements:

1. Compatibility:  Select glazing sealants that are compatible with one another and with other materials they will contact, including glass products, seals of insulating-glass units, and glazing channel substrates, under conditions of service and application, as demonstrated by sealant manufacturer based on testing and field experience.

2. Suitability:  Comply with sealant and glass manufacturers' written instructions for selecting glazing sealants suitable for applications indicated and for conditions existing at time of installation.

Retain first subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.

3. VOC Content:  For sealants used inside of the weatherproofing system, not more than 250 g/L when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

4. Colors of Exposed Glazing Sealants:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

B. Elastomeric Glazing Sealants:  Comply with ASTM C 920 and other requirements indicated for each liquid-applied chemically curing sealant specified, including those referencing ASTM C 920 classifications for type, grade, class, and uses related to exposure and joint substrates.

1. Single-Component [Neutral- and Basic-Curing] [Neutral-Curing] Silicone Glazing Sealants GS-<#>:

Coordinate first subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

a. [Available ]Products:

Products listed in four subparagraphs below are Class 100/50 neutral-curing sealants except for Tremco's "Spectrem 1," which is basic curing.  Their respective manufacturers characterize them as either low-modulus or ultra low-modulus sealants.

1) Dow Corning Corporation; 790.

2) GE Silicones; SilPruf LM SCS2700.

3) Tremco; Spectrem 1 (Basic).

4) <Insert manufacturer's name; product name or designation.>

Products listed in first seven subparagraphs below are Class 50 neutral-curing sealants.  Their respective manufacturers classify them as low-modulus sealants.

5) GE Silicones; SilPruf SCS2000.

6) Pecora Corporation; 864.

7) Pecora Corporation; 890.

8) Polymeric Systems Inc.; PSI-641.

9) Sonneborn, Div. of ChemRex, Inc.; Omniseal.

10) Tremco; Spectrem 3.

11) <Insert manufacturer's name; product name or designation.>

b. Type and Grade:  S (single component) and NS (nonsag).

c. Class:  [50] [100/50].

d. Use Related to Exposure:  NT (nontraffic).

e. Uses Related to Glazing Substrates:  M, G, A, and, as applicable to glazing substrates indicated, O.

Options in first subparagraph below are examples of Use O substrates.  Retain only those that apply or insert others.

1) Use O Glazing Substrates:  [Coated glass] [color anodic aluminum] [aluminum coated with a high-performance coating] [galvanized steel] [and] [wood] <Insert other Use O substrates>.

f. Applications:  <Describe types of glazing applications where this sealant is required.>

Products listed in subparagraph and associated subparagraphs below are Class 50 neutral-curing sealants.  Their respective manufacturers characterize them as medium-modulus sealants.

2. Neutral-Curing Silicone Glazing Sealants GS-<#>:

Coordinate first subparagraph and list of manufacturers below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

a. [Available ]Products:

1) Dow Corning Corporation; 791.

2) Dow Corning Corporation; 795.

3) GE Silicones; SilPruf NB SCS9000.

4) GE Silicones; UltraPruf II SCS2900.

5) Pecora Corporation; 865.

6) Pecora Corporation; 895.

7) Pecora Corporation; 898.

8) <Insert manufacturer's name; product name or designation.>

b. Type and Grade:  S (single component) and NS (nonsag).

c. Class:  50.

d. Use Related to Exposure:  NT (nontraffic).

e. Uses Related to Glazing Substrates:  M, G, A, and, as applicable to glazing substrates indicated, O.

Options in first subparagraph below are examples of Use O substrates.  Retain only those that apply or insert others.

1) Use O Glazing Substrates: [Coated glass] [color anodic aluminum] [aluminum coated with a high-performance coating] [galvanized steel] [and] [wood] <Insert other Use O substrates>.

f. Applications:  <Describe types of glazing applications where this sealant is required.>

Products listed in first subparagraph and associated subparagraphs below are Class 25 sealants that manufacturers characterize as high- or medium-modulus sealants.  They are suitable for use only with nonporous joint substrates including Uses G and A except for Tremco's "Spectrem 2," which is suitable for Use M substrate.  GE's "UltraGlaze SSG4000AC" is a fast-curing sealant.

3. Class 25 Neutral-Curing Silicone Glazing Sealant GS-<#>:

Coordinate first subparagraph and list of manufacturers below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

a. [Available ]Products:

1) Dow Corning Corporation; 799.

2) GE Silicones; UltraGlaze SSG4000.

3) GE Silicones; UltraGlaze SSG4000AC.

4) Polymeric Systems Inc.; PSI-631.

5) Schnee-Morehead, Inc.; SM5731 Poly-Glaze Plus.

6) Tremco; Proglaze SG.

7) Tremco; Spectrem 2.

8) Tremco; Tremsil 600.

9) <Insert manufacturer's name; product name or designation.>

b. Type and Grade:  S (single component) and NS (nonsag).

c. Class:  25.

d. Use Related to Exposure:  NT (nontraffic).

e. Uses Related to Glazing Substrates:  [M, ]G, A, and, as applicable to glazing substrates indicated, O.

Options in first subparagraph below are examples of Use O substrates.  Retain only those that apply or insert others.

1) Use O Glazing Substrates:  [Coated glass] [color anodic aluminum] [aluminum coated with a high-performance coating] [galvanized steel] [and] [wood] <Insert other Use O substrates>.

f. Applications:  <Describe types of glazing applications where this sealant is required.>

4. Acid-Curing Silicone Glazing Sealants GS-<#>:

Coordinate first subparagraph and list of manufacturers below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

a. [Available ]Products:

1) Bostik Findley; Chem-Calk 1200.

2) Dow Corning Corporation; 999-A.

3) Dow Corning Corporation; Trademate Glazing.

4) GE Silicones; Construction SCS1200.

5) GE Silicones; Contractors SCS1000.

6) GE Silicones; Sanitary SCS1700.

7) Pecora Corporation; 860.

8) Polymeric Systems Inc.; PSI-601.

9) Polymeric Systems Inc.; PSI-613.

10) Schnee-Morehead, Inc.; SM5732 Polyglaze.

11) Sonneborn, Div. of ChemRex, Inc.; OmniPlus.

12) Tremco; Proglaze.

13) Tremco; Tremsil 200.

14) <Insert manufacturer's name; product name or designation.>

b. Type and Grade:  S (single component) and NS (nonsag).

c. Class:  25.

d. Use Related to Exposure:  NT (nontraffic).

e. Uses Related to Glazing Substrates:  G, A, and, as applicable to glazing substrates indicated, O.

Options in first subparagraph below are examples of Use O substrates.  Retain only those options that apply or insert others.

1) Use O Glazing Substrates:  [Coated glass] [color anodic aluminum] [aluminum coated with a high-performance coating] [galvanized steel] [and] [wood] <Insert other Use O substrates>.

f. Applications:  <Describe types of glazing applications where this sealant is required.>

C. Glazing Sealants for Fire-Resistive Glazing Products:  Identical to products used in test assemblies to obtain fire-protection rating.

2.6 GLAZING TAPES

A. Back-Bedding Mastic Glazing Tapes:  Preformed, butyl-based elastomeric tape with a solids content of 100 percent; nonstaining and nonmigrating in contact with nonporous surfaces; with or without spacer rod as recommended in writing by tape and glass manufacturers for application indicated; packaged on rolls with a release paper backing; and complying with ASTM C 1281 and AAMA 800 for products indicated below:

Select one or more back-bedding tapes from subparagraphs below.  AAMA 804.3 tape is for less-severe back-bedding and drop-in residential and light-commercial glazing applications.  AAMA 806.3 tape is for high-performance commercial glazing applications involving continuous pressure from gaskets or pressure-generating stop designs.  AAMA 807.3 tape is for commercial glazing applications not involving continuous pressure from gaskets and stop designs.

1. AAMA 804.3 tape, where indicated.

2. AAMA 806.3 tape, for glazing applications in which tape is subject to continuous pressure.

3. AAMA 807.3 tape, for glazing applications in which tape is not subject to continuous pressure.

B. Expanded Cellular Glazing Tapes:  Closed-cell, PVC foam tapes; factory coated with adhesive on both surfaces; packaged on rolls with release liner protecting adhesive; and complying with AAMA 800 for the following types:

1. Type 1, for glazing applications in which tape acts as the primary sealant.

2. Type 2, for glazing applications in which tape is used in combination with a full bead of liquid sealant.

2.7 MISCELLANEOUS GLAZING MATERIALS

A. General:  Provide products of material, size, and shape complying with referenced glazing standard, requirements of manufacturers of glass and other glazing materials for application indicated, and with a proven record of compatibility with surfaces contacted in installation.

B. Cleaners, Primers, and Sealers:  Types recommended by sealant or gasket manufacturer.

C. Setting Blocks:  Elastomeric material with a Shore, Type A durometer hardness of 85, plus or minus 5.

D. Spacers:  Elastomeric blocks or continuous extrusions with a Shore, Type A durometer hardness required by glass manufacturer to maintain glass lites in place for installation indicated.

E. Edge Blocks:  Elastomeric material of hardness needed to limit glass lateral movement (side walking).

Delete first paragraph below if not applicable in glazing channels.

F. Cylindrical Glazing Sealant Backing:  ASTM C 1330, Type O (open-cell material), of size and density to control glazing sealant depth and otherwise produce optimum glazing sealant performance.

G. Perimeter Insulation for Fire-Resistive Glazing:  Identical to product used in test assembly to obtain fire-resistance rating.

2.8 FABRICATION OF GLAZING UNITS

A. Fabricate glazing units in sizes required to glaze openings indicated for Project, with edge and face clearances, edge and surface conditions, and bite complying with written instructions of product manufacturer and referenced glazing publications, to comply with system performance requirements.

Delete paragraph below if no butt-glazed lites.

B. Clean-cut or flat-grind vertical edges of butt-glazed monolithic lites in a manner that produces square edges with slight kerfs at junctions with outdoor and indoor faces.

Delete paragraph below if no exposed edges and corners.

C. Grind smooth and polish exposed glass edges and corners.

Edit the following articles to suit Project.  Retain requirements in Part 2 "Glass Products" Article that reference glass standards, but do not duplicate requirements retained in that Article.  See Editing Instruction No. 3 in the Evaluations.

Copy paragraphs and subparagraphs in articles below if needed and re-edit them to suit Project.

Insert a number in place of <#> to complete drawing designations for each glass type below.  Use these designations on Drawings to show where each glass type is required.

In articles below where options are presented to retain subparagraphs titled "Available Manufacturers," "Manufacturers," "Available Products," "Products," or "Basis-of-Design Product" for the different types of glass units, coordinate selection with Part 2 "Manufacturers" Article.  See Editing Instructions No. 4 and No. 5 in the Evaluations about use of these subparagraph titles.

See Editing Instruction No. 8 in the Evaluations about specifying proprietary tint colors for tinted float glass.

2.9 MONOLITHIC FLOAT-GLASS UNITS

If thicknesses for each type of monolithic-glass units are specified below, retain "Thickness" subparagraphs and insert or retain thickness designations in millimeters per ASTM C 1036.  If thickness designations are indicated on Drawings or determined based on compliance with Part 1 "Performance Requirements" Article, delete "Thickness" subparagraphs.

A. Uncoated Clear Float-Glass Units MG-<#>:  Class 1 (clear) [ultra-clear (low-iron) float glass] [annealed or Kind HS (heat-strengthened) float glass where heat strengthening is required to resist thermal stresses induced by differential shading of individual glass lites and to comply with system performance requirements] [Kind HS (heat-strengthened) float glass] [Kind FT (fully tempered) float glass].

1. Thickness:  [6.0 mm] <Insert thickness designation>.

Retain subparagraph below only with clear float glass and only after verifying availability.

2. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

B. Uncoated Tinted Float-Glass Units MG-<#>:  Class 2 (tinted) [annealed] [Kind HS (heat-strengthened)] [Kind FT (fully tempered)] float glass.

1. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

2. Thickness:  [6.0 mm] <Insert thickness designation>.

3. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

Insert performance properties below to suit product(s) selected.

4. Visible Light Transmittance:  <Insert single percentage> percent minimum.

5. Solar Heat Gain Coefficient:  <Insert single value> maximum.

6. Outdoor Visible Reflectance:  <Insert single percentage> percent maximum.

C. Coated Clear Float-Glass Units MG-<#>:  Class 1 (clear) [ultra-clear (low-iron) float glass] [annealed or Kind HS (heat-strengthened) float glass where heat strengthening is required to resist thermal stresses induced by differential shading of individual glass lites and to comply with system performance requirements] [Kind HS (heat-strengthened) float glass] [Kind FT (fully tempered) float glass].

1. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

2. Thickness:  [6.0 mm] <Insert thickness designation>.

3. Reflective Coating:  [Pyrolytic] [Sputtered].

Select one coating type from options in subparagraph above and one color and one location from options in two subparagraphs below.  Only silver and gold are available with pyrolytic coating.  Not all sputtered coating colors are suitable for monolithic applications and must be on second surface.

a. Color:  [Gold] [Pewter] [Silver] <Insert color>.

b. Location:  [First] [Second] surface.

Retain first subparagraph below only with clear float glass and only after verifying availability.

4. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

5. Visible Light Transmittance:  <Insert single percentage> percent minimum.

6. Winter Nighttime U-Factor:  <Insert single value> maximum.

7. Summer Daytime U-Factor:  <Insert single value> maximum.

8. Solar Heat Gain Coefficient:  <Insert single value> maximum.

9. Outdoor Visible Reflectance:  <Insert single percentage> percent maximum.

D. Coated Tinted Float-Glass Units MG-<#>:  Class 2 (tinted) [annealed] [Kind HS (heat-strengthened)] [Kind FT (fully tempered)] float glass.

1. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

2. Thickness:  [6.0 mm] <Insert thickness designation>.

Delete first subparagraph below if color choice is limited to colors of proprietary product(s) named in subparagraphs above.

3. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

4. Reflective Coating:  [Pyrolytic] [Sputtered].

Select one coating type from options in subparagraph above and one color and one location from options in two subparagraphs below.  Only silver and gold are available with pyrolytic coating.  Not all sputtered coating colors are suitable for monolithic applications and must be on second surface.

a. Color:  [Gold] [Pewter] [Silver] <Insert color>.

b. Location:  [First] [Second] surface.

Insert performance properties below to suit product(s) selected.

5. Visible Light Transmittance:  <Insert single percentage> percent minimum.

6. Winter Nighttime U-Factor:  <Insert single value> maximum.

7. Summer Daytime U-Factor:  <Insert single value> maximum.

8. Solar Heat Gain Coefficient:  <Insert single value> maximum.

9. Outdoor Visible Reflectance:  <Insert single percentage> percent maximum.

Retain paragraph and subparagraph below if spandrels have same reflective coating on second surface as vision lites.  Ceramic coatings cannot be applied to lites with reflective coatings.

E. Coated Tinted Heat-Strengthened Spandrel Glass MG-<#>:  Condition C (other coated glass), Kind HS (heat strengthened), with the same reflective coating as coated tinted float glass and with the opacifier on the second surface.

1. Thickness:  [6.0 mm] <Insert thickness designation>.

2.10 MONOLITHIC CERAMIC-COATED VISION-GLASS UNITS

A. Ceramic-Coated Vision-Glass Units CVG-<#>:  Class [1 (clear)] [1 (clear) ultra-clear (low-iron)] [2 (tinted)] [Kind HS (heat-strengthened] [Kind FT (fully tempered] float glass.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

Delete first subparagraph below if Class 1 (clear) float glass is retained in introductory paragraph.

b. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] <Insert color>.

3. Thickness:  [6.0 mm] <Insert thickness designation>.

Select one requirement from options in first subparagraph below.

4. Ceramic Coating Color and Pattern:  [As selected by Architect from manufacturer's full range] [Match] [Provide] <Insert one manufacturer's color and pattern designation if matching is required; otherwise, insert color and pattern designation for each product named above>.

a. Coating Location:  Second surface.

Retain subparagraph below only with clear float glass and only after verifying availability.

5. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

2.11 MONOLITHIC CERAMIC-COATED SPANDREL-GLASS UNITS

A. Ceramic-Coated Spandrel-Glass Units CSG-<#>:

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

3. Class [1 (clear)] [1 (clear) ultra-clear (low-iron)] [2 (tinted)] float glass.

Retain first subparagraph below only if Class 2 (tinted) float glass is retained in subparagraph above.

a. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

4. Kind [HS (heat strengthened)] [FT (fully tempered)].

5. Thickness:  [6.0 mm] <Insert thickness designation>.

Select one requirement from options in first subparagraph below.

6. Ceramic Coating Color:  [As selected by Architect from manufacturer's full range] [Match] [Provide] <Insert one manufacturer's color designation if matching is required; otherwise, insert color designation for each product named above>.

7. Coating Location:  Second surface.

Retain subparagraph below only with clear float glass and only after verifying availability.

8. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

2.12 MONOLITHIC WIRED-GLASS UNITS

Select one mesh from options in first paragraph below or delete both and insert another.  Verify availability with manufacturers.

A. Polished Wired-Glass Units WG-<#>:  Form 1 (wired glass, polished both sides), Quality-Q6, Mesh [1 (M1) (Diamond)] [2 (M2) (Square)], 6.0 mm thick.

1. [Available ]Manufacturers:

a. Asahi/AMA Glass Corp.; affiliated with AFG Industries, Inc.

b. Central Glass Co., Ltd.; distributed by Northwestern Industries Inc.

c. Pilkington Sales (North America) Ltd.

d. <Insert manufacturer's name.>

B. Patterned Wired-Glass Units WG-<#>:  Form 2 (wired glass, patterned surfaces), Quality-Q6, Mesh 1 M1 (diamond), 6.0 mm thick.

1. [Available ]Manufacturers:

a. AFG Industries Inc.

b. Central Glass Co., Ltd.; distributed by Northwestern Industries Inc.

c. Pilkington Sales (North America) Ltd.

d. <Insert manufacturer's name.>

2.13 MONOLITHIC PATTERNED-GLASS UNITS

Edit classifications for thickness, quality, finish, and pattern in this Article to suit products named in lists retained.  Refer to manufacturers' product data to determine thicknesses available for each patterned product.  Only AFG Industries offers Quality-Q5, and then only when specially ordered.

A. Patterned-Glass Units PG-<#>:  Annealed, Quality-Q [5] [6], Finish F [1 (patterned one side)] [2 (patterned both sides)], Pattern P [1 (linear)] [2 (geometric)] [3 (random)] [4 (special)], [4.0] [5.0] [6.0] mm thick.

1. [Available ]Products:

Products listed in two subparagraphs below are classified Finish F1 (patterned one side) and Pattern P1 (linear).

a. AFG Industries Inc.; Krystal Flutes.

b. Pilkington Building Products North America; [Cotswold] [Reeded].

Products listed in subparagraph below are classified Finish F1 (patterned one side) and Pattern P2 (geometric).

c. Pilkington Building Products North America; [Matrix] [Strata] [Staccato].

Products listed in subparagraph below are classified Finish F1 (patterned one side) and Pattern P3 (random).

d. Pilkington Building Products North America; [Arctic] [Charcoal Sticks] [Contour] [Flemish] [Minister] [Stippolyte] [Warwick].

Products listed in subparagraph below are classified Finish F1 (patterned one side) and Pattern P4 (special).

e. Pilkington Building Products North America; [Autumn] [Chantilly] [Digital] [Everglade] [Florielle] [Linkon] [Oak] [Pelerine] [Sycamore] [Taffeta].

Product listed in subparagraph below is classified Finish F2 (patterned both sides) and Pattern P1 (linear).

f. AFG Industries Inc.; Textured Flutex.

Products listed in subparagraph below are classified Finish F2 (patterned both sides) and Pattern P3 (random).

g. AFG Industries Inc.; [Aquatex] [Flax] [Hammered] [Industrex] [Pattern 62] [Rain] [Crystal 70] [Crystal 73] [Solite].

Products listed in first two subparagraphs below are classified Finish F2 (patterned both sides) and Pattern P4 (special).

h. AFG Industries Inc.; [Florex] [Pattern 122] [Old English (Pattern 124)] [Solatex].

i. Guardian Industries Corp.; [P-516] [Spraylite] [Smooth Rough] [Niagara] [J-3] [Non-Glare] [Floralite] [Radiance] [Privata] [Glue Chip Pattern].

j. <Insert manufacturer's name; product name or designation.>

B. Tempered Patterned-Glass Units PG-<#>:  Quality-Q [5] [6], Finish F [1 (patterned one side)] [2 (patterned both sides)], Pattern P [1 (linear)] [2 (geometric)] [3 (random)] [4 (special)], [4.0] [5.0] [6.0] mm thick.

1. [Available ]Products:

Product listed in subparagraph below is classified Finish F1 (patterned one side) and Pattern P1 (linear).

a. AFG Industries Inc.; Krystal Flutes.

Product listed in subparagraph below is classified Finish F2 (patterned both sides) and Pattern P1 (linear).

b. AFG Industries Inc.; Textured Flutex.

Products listed in subparagraph below are classified Finish F2 (patterned both sides) and Pattern P3 (random).

c. AFG Industries Inc.; [Aquatex] [Flax] [Hammered] [Industrex] [Pattern 62] [Rain].

Products listed in subparagraphs below are classified Finish F2 (patterned both sides) and Pattern P4 (special).

d. AFG Industries Inc.; [Florex] [Old English (Pattern 124)].

e. Guardian Industries Inc.; [P-516] [Spraylite] [Smooth Rough] [Niagara] [J-3] [Floralite] [Radiance] [Privata] [Glue Chip Pattern].

f. <Insert manufacturer's name; product name or designation.>

2.14 LAMINATED-GLASS UNITS

This Article contains two sets of requirements for specifying laminated glass.  First set applies only to units consisting of annealed lites; second set applies to units consisting of heat-treated lites.

A. Laminated-Glass Units LG-<#>:

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

Retain first subparagraph below.  Revise if more than two lites are required.  For other kind designations, refer to ASTM C 1172.

3. Kind LA, consisting of two lites of annealed float glass.

4. Outer Lite:  Class [1 (clear)] [2 (tinted)] float glass.

Retain first subparagraph below if Class 2 (tinted) float glass is retained in subparagraph above.

a. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

b. Thickness:  [3.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

Retain first subparagraph below only with clear float glass and only after verifying availability.

c. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

5. Plastic Interlayer:

a. Thickness:  [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)] [, but not less than that required to comply as a Type II safety glass material].

b. Interlayer Color:  [Clear] [Blue-green] [Bronze light] [Gray] <Insert color>.

If a color is selected, insert light-transmittance value below.

c. Visible Light Transmittance of Interlayer:  <Insert single percentage> percent minimum.

6. Inner Lite:  Class 1 (clear) float glass.

a. Thickness:  [3.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

7. Visible Light Transmittance:  <Insert single percentage> percent minimum.

8. Winter Nighttime U-Factor:  <Insert single value> maximum.

9. Summer Daytime U-Factor:  <Insert single value> maximum.

10. Solar Heat Gain Coefficient:  <Insert single value> maximum.

11. Outdoor Visible Reflectance:  <Insert single percentage> percent maximum.

Paragraph and subparagraphs below introduce requirements that apply only to units with both lites heat treated.

B. Heat-Treated Laminated-Glass Units LG-<#>:

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

Select one kind from options in first subparagraph below; delete others.  Revise if more than two lites are required.  For other kind designations, refer to ASTM C 1172.

3. Kind [LHS, consisting of two lites of heat-strengthened float glass] [LR, consisting of two lites of heat-treated float glass, one of which is reflective] [LT, consisting of two lites of fully tempered float glass] [LD, consisting of two lites of float glass, one of which is ceramic-coated vision glass].

4. Outer Lite:  Class [1 clear)] [2 tinted)] float glass.

Retain first subparagraph below only if Class 2 (tinted) float glass is retained in subparagraph above.

a. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

b. Kind [HS (heat strengthened)] [FT (fully tempered)].

c. Thickness:  [3.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

Retain first subparagraph below only with clear float glass and only after verifying availability.

d. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

5. Inner Lite:  Class 1 (clear) float glass.

a. Kind [HS (heat strengthened)] [FT (fully tempered)].

b. Thickness:  [3.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

6. Reflective Coating:  [Pyrolytic] [Sputtered].

Select one coating type from options in subparagraph above and one color and one location from options in first two subparagraphs below.  Only silver and gold are available with pyrolytic coating.

a. Color:  [Blue] [Copper] [Gold] [Pewter] [Silver] <Insert color>.

b. Location:  [Second] [Third] surface.

7. Silk-Screened Coating:  Ceramic enamel on [second] [third] [fourth] surface.

Select one requirement from options in first subparagraph below.

a. Color and Pattern:  [As selected by Architect from manufacturer's full range] [Match] [Provide] <Insert one manufacturer's color and pattern designation if matching is required; otherwise, insert color and pattern designation for each product named above>.

8. Plastic Interlayer:

a. Thickness:  [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)] [, but not less than that required to comply as a Type II safety glass material].

b. Interlayer Color:  [Clear] [Blue-green] [Bronze light] [Gray] <Insert color>.

If a color is selected, insert light-transmittance value below.

c. Visible Light Transmittance of Interlayer:  <Insert single percentage> percent minimum.

9. Visible Light Transmittance:  <Insert single percentage> percent minimum.

10. Winter Nighttime U-Factor:  <Insert single value> maximum.

11. Summer Daytime U-Factor:  <Insert single value> maximum.

12. Solar Heat Gain Coefficient:  <Insert single value> maximum.

13. Outdoor Visible Reflectance:  <Insert single percentage> percent maximum.

2.15 INSULATING-GLASS UNITS

This Article contains six sets of requirements for specifying insulating-glass units.  See Editing Instruction No. 6 in the Evaluations before editing.

A. [Clear] [Tinted] Insulating-Glass Units IG-<#>:

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

3. Overall Unit Thickness and Thickness of Each Lite:  [25 and 6.0 mm] [As indicated] <Insert overall thickness and glass lite thickness designation>.

4. Interspace Content:  [Air] [Argon].

5. Outdoor Lite:  Class [1 (clear)] [2 (tinted)] float glass.

Retain first subparagraph below only if Class 2 (tinted) float glass is retained in subparagraph above.

a. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

b. [Annealed] [Kind HS (heat strengthened)] [Kind FT (fully tempered)].

Retain first subparagraph below only with clear float glass and only after verifying availability.

c. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

6. Indoor Lite:  Class 1 (clear)[ ultra-clear (low-iron)] float glass.

a. [Annealed] [Kind HS (heat strengthened)] [Kind FT (fully tempered)].

7. Visible Light Transmittance:  <Insert single percentage> percent minimum.

8. Winter Nighttime U-Factor:  <Insert single value> maximum.

9. Summer Daytime U-Factor:  <Insert single value or range> maximum.

10. Solar Heat Gain Coefficient:  <Insert single percentage> percent maximum.

B. Passive Solar Low-E Insulating-Glass Units IG-<#>:

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

3. Overall Unit Thickness and Thickness of Each Lite:  [25 and 6.0 mm] [As indicated] <Insert overall unit thickness and glass lite thickness designation>.

4. Interspace Content:  [Air] [Argon].

Retain reference to ceramic-coated vision glass in last option in subparagraph below only if silk-screened coating is specified for outdoor lite.

5. Outdoor Lite:  Class [1 (clear)] [2 (tinted)] float glass[ complying with ceramic-coated vision-glass requirements].

Retain first subparagraph below only if Class 2 (tinted) float glass is retained in subparagraph above.

a. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

b. [Annealed] [Kind HS (heat strengthened)] [Kind FT (fully tempered)].

Retain first subparagraph below only with clear float glass and only after verifying availability.

c. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

6. Indoor Lite:  Class 1 (clear)[ ultra-clear (low-iron)] float glass.

a. [Annealed] [Kind HS (heat strengthened)] [Kind FT (fully tempered)].

Retain one of three subparagraphs below to specify low-e coating or film or both.  Low-e film applies to "Heat Mirror" by Southwall Technologies.

7. Low-E Coating:  [Pyrolytic on second] [Pyrolytic on third] [Sputtered on second] [Sputtered on third] [Pyrolytic or sputtered on second or third] surface.

8. Low-E-Coated Film:  Suspended in the interspace.

9. Low-E Coating or Film:  [Pyrolytic on second] [Pyrolytic on third] [Sputtered on second] [Sputtered on third] [Pyrolytic or sputtered on second or third] surface or low-e-coated film suspended in the interspace.

Retain subparagraph below with a ceramic-coated vision-glass outdoor lite.

10. Silk-Screened Coating:  Ceramic enamel on second surface.

Select one requirement from options in first subparagraph below.

a. Color and Pattern:  [As selected by Architect from manufacturer's full range] [Match] [Provide] <Insert one manufacturer's color and pattern designation if matching is required; otherwise, insert color and pattern designation for each product named above>.

11. Visible Light Transmittance:  <Insert single percentage> percent minimum.

12. Winter Nighttime U-Factor:  [0.35] <Insert single value> maximum.

13. Summer Daytime U-Factor:  [0.38] <Insert single value> maximum.

14. Solar Heat Gain Coefficient:  [0.61] <Insert single value> maximum.

15. Outdoor Visible Reflectance:  <Insert single percentage>percent maximum.

C. Solar-Control Low-E Insulating-Glass Units IG-<#>:

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

3. Overall Unit Thickness and Thickness of Each Lite:  [25 and 6.0 mm] [As indicated] <Insert overall unit thickness and glass lite thickness designation>.

4. Interspace Content:  [Air] [Argon].

Retain reference to ceramic-coated vision glass in last option in subparagraph below only if silk-screened coating is specified for outdoor lite.

5. Outdoor Lite:  Class [1 (clear)] [1 (clear) ultra-clear (low-iron)] [2 (tinted)] float glass[ complying with ceramic-coated vision-glass requirements].

Retain first subparagraph below only if Class 2 (tinted) float glass is retained in subparagraph above.

a. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

b. [Annealed] [Kind HS (heat strengthened)] [Kind FT (fully tempered)].

Retain first subparagraph below only with clear float glass and only after verifying availability.

c. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

6. Indoor Lite:  Class 1 (clear)[ ultra-clear (low-iron)] float glass.

a. [Annealed] [Kind HS (heat strengthened)] [Kind FT (fully tempered)].

Retain one of three subparagraphs below to specify low-e coating or film or both.  Low-e film applies to "Heat Mirror" by Southwall Technologies.

7. Low-E Coating:  [Pyrolytic on second] [Sputtered on second] [Sputtered on third] [Sputtered on second or third] surface.

8. Low-E-Coated Film:  Suspended in the interspace.

9. Low-E Coating or Film:  [Pyrolytic on second] [Sputtered on second] [Sputtered on third] surface or low-e-coated film suspended in the interspace.

Retain subparagraph below with a ceramic-coated vision-glass outdoor lite.

10. Silk-Screened Coating:  Ceramic enamel on second surface.

Select one requirement from options in subparagraph below.

a. Color and Pattern:  [As selected by Architect from manufacturer's full range] [Match] [Provide] <Insert one manufacturer's color and pattern designation if matching is required; otherwise, insert color and pattern designation for each product named above>.

Solar-control low-e-coating performance values below are based on insulating-glass units having clear glass for both lites and with coating on second surface.

11. Visible Light Transmittance:  [40] <Insert single percentage> percent minimum.

12. Winter Nighttime U-Factor:  [0.31] <Insert single value> maximum.

13. Summer Daytime U-Factor:  [0.32] <Insert single value> maximum.

14. Solar Heat Gain Coefficient:  [0.40] <Insert single value> maximum.

15. Outdoor Visible Reflectance:  [0.34] <Insert single percentage>percent maximum.

D. Reflective Insulating-Glass Units IG-<#>:

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

3. Overall Unit Thickness and Thickness of Each Lite:  [25 and 6.0 mm] [As indicated] <Insert overall unit thickness and glass lite thickness designation>.

4. Interspace Content:  [Air] [Argon].

5. Outdoor Lite:  Class [1 (clear)] [2 (tinted)] float glass.

Retain first subparagraph below only if Class 2 (tinted) float glass is retained in subparagraph above.

a. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

b. [Annealed] [Kind HS (heat strengthened)] [Kind FT (fully tempered)].

Retain first subparagraph below only with clear float glass and only after verifying availability.

c. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

6. Indoor Lite:  Class 1 (clear) float glass.

a. [Annealed] [Kind HS (heat strengthened)] [Kind FT (fully tempered)].

7. Reflective Coating:  [Pyrolytic] [Sputtered].

Select one coating type from options in subparagraph above and one color and one location from options in first two subparagraphs below.  Only silver and gold are available with pyrolytic coating.

a. Color:  [Blue] [Copper] [Gold] [Pewter] [Silver] <Insert color>.

b. Location:  [Second] [Third] surface.

8. Visible Light Transmittance:  <Insert single percentage> percent minimum.

9. Winter Nighttime U-Factor:  <Insert single value> maximum.

10. Summer Daytime U-Factor:  <Insert single value> maximum.

11. Solar Heat Gain Coefficient:  <Insert single value> maximum.

12. Outdoor Visible Reflectance:  <Insert single percentage> percent maximum.

E. Reflective and Low-E Insulating-Glass Units IG-<#>:

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

3. Overall Unit Thickness and Thickness of Each Lite:  [25 and 6.0 mm] [As indicated] <Insert overall unit thickness and glass lite thickness designation>.

4. Interspace Content:  [Air] [Argon].

5. Outdoor Lite:  Class [1 (clear)] [2 (tinted)] float glass.

Retain first subparagraph below only if Class 2 (tinted) float glass is retained in subparagraph above.

a. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

b. [Annealed] [Kind HS (heat strengthened)] [Kind FT (fully tempered)].

6. Low-E Coating:  [Sputtered on second] [Sputtered on second or third] [Pyrolytic on third] surface.

7. Reflective Coating:  [Pyrolytic] [Sputtered].

Select one coating type from options in subparagraph above and one color and one location from options in two subparagraphs below.  Only silver and gold are available with pyrolytic coating.  With a low-e coating, reflective coating is limited to first (only with pyrolytic coating) or second surface.

a. Color:  [Blue] [Copper] [Gold] [Pewter] [Silver].

b. Location:  [First] [Second] [Third] surface.

Retain first subparagraph below only with clear float glass and only after verifying availability.

8. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

9. Indoor Lite:  Class 1 (clear) float glass.

a. [Annealed] [Kind HS (heat strengthened)] [Kind FT (fully tempered)].

10. Visible Light Transmittance:  <Insert single percentage> percent minimum.

11. Winter Nighttime U-Factor:  <Insert single value> maximum.

12. Summer Daytime U-Factor:  <Insert single value> maximum.

13. Solar Heat Gain Coefficient:  <Insert single value> maximum.

14. Outdoor Visible Reflectance:  <Insert single percentage> percent maximum.

F. Ceramic-Coated Spandrel Insulating-Glass Units IG-<#>:

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

In first subparagraph below, insert a number in place of <#> (or descriptive title, if designation is not used) to designate insulating-glass units for vision lites that spandrel-glass construction must match.

3. Construction:  Provide units that comply with requirements specified for insulating-glass units designated IG-<#> except for indoor lite.

4. Indoor Lite:  Ceramic-coated spandrel glass.

a. Kind [HS (heat strengthened)] [FT (fully tempered)].

b. Ceramic Coating Location:  Fourth surface.

Retain one option in subparagraph below.

c. Color:  [As selected by Architect from manufacturer's full range] [Match] [Provide] <Insert one manufacturer's color designation if matching is required; otherwise, insert color designation for each product named above>.

2.16 INSULATING-GLASS UNITS FOR SLOPED GLAZING

This Article contains three sets of requirements for specifying insulating-glass units.  See Editing Instruction No. 6 in the Evaluations before editing.

A. [Clear] [Tinted] Insulating-Glass Units for Sloped Glazing IG-<#>:

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

3. Thickness of Outdoor Lite:  [6 mm] [As indicated] <Insert thickness>.

4. Thickness of Indoor Lite:  [As indicated] <Insert thickness>.

5. Overall Unit Thickness:  [As indicated] <Insert thickness>.

6. Interspace Content:  [Air] [Argon].

7. Outdoor Lite:  Class [1 (clear)] [1 (clear) ultra-clear (low-iron)] [2 (tinted)] float glass.

Retain first subparagraph below only if Class 2 (tinted) float glass is retained in subparagraph above.

a. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

b. Kind [HS (heat strengthened)] [FT (fully tempered)].

In first subparagraph below, insert a number in place of <#> (or descriptive title, if designation is not used) to designate the laminated-glass units for indoor lites that are specified by reference to requirements in Part 2 "Laminated-Glass Units" Article.  As an alternative, insert requirements for laminated-glass lites by copying applicable requirements from Part 2 "Laminated-Glass Units" Article.

8. Indoor Lite:  Complying with requirements specified for heat-treated laminated-glass units LG-<#>.

9. Visible Light Transmittance:  <Insert single percentage> percent minimum.

10. Winter Nighttime U-Factor: <Insert single value> maximum.

11. Summer Daytime U-Factor:  <Insert single value or range> maximum.

12. Solar Heat Gain Coefficient:  <Insert single percentage> percent maximum.

B. Passive Solar Low-E Insulating-Glass Units for Sloped Glazing IG-<#>:

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

3. Thickness of Outdoor Lite:  [6 mm] [As indicated] <Insert thickness>.

4. Thickness of Indoor Lite:  [As indicated] <Insert thickness>.

5. Overall Unit Thickness:  [As indicated] <Insert thickness>.

6. Interspace Content:  [Air] [Argon].

Retain reference to ceramic-coated vision glass in last option in subparagraph below only if silk-screened coating is specified for outdoor lite.

7. Outdoor Lite:  Class [1 (clear)] [1 ultra-clear (low-iron)] [2 (tinted)] float glass[ complying with ceramic-coated vision-glass requirements].

Retain first subparagraph below only if Class 2 (tinted) float glass is retained in subparagraph above.

a. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

b. Kind [HS (heat strengthened)] [FT (fully tempered)].

Retain subparagraph below only with clear float glass and only after verifying availability.

c. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

In first subparagraph below, insert a number in place of <#> (or descriptive title, if designation is not used) to designate the laminated-glass units for indoor lites that are specified by reference to requirements in Part 2 "Laminated-Glass Units" Article.  As an alternative, insert requirements for laminated-glass lites by copying applicable requirements from Part 2 "Laminated-Glass Units" Article.

8. Indoor Lite:  Complying with requirements specified for heat-treated laminated-glass units LG-<#>.

9. Low-E Coating:  [Pyrolytic on second] [Pyrolytic on third] [Sputtered on second] [Sputtered on third] [Pyrolytic or sputtered on second or third] surface.

Retain subparagraph below with a ceramic-coated vision-glass outdoor lite.

10. Silk-Screened Coating:  Ceramic enamel on second surface.

Select one requirement from options in first subparagraph below.

a. Color and Pattern:  [As selected by Architect from manufacturer's full range] [Match] [Provide] <Insert one manufacturer's color and pattern designation if matching is required; otherwise, insert color and pattern designation for each product named above>.

11. Visible Light Transmittance:  <Insert single percentage> percent minimum.

12. Winter Nighttime U-Factor:  [0.35] <Insert single value> maximum.

13. Summer Daytime U-Factor:  [0.38] <Insert single value> maximum.

14. Solar Heat Gain Coefficient:  [0.61] <Insert single value> maximum.

15. Outdoor Visible Reflectance:  <Insert single percentage> percent maximum.

C. Solar-Control Low-E Insulating-Glass Units for Sloped Glazing IG-<#>:

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. [Available ]Products:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation.>

3. Thickness of Outdoor Lite:  [6 mm] [As indicated] <Insert thickness>.

4. Thickness of Indoor Lite:  [As indicated] <Insert thickness>.

5. Overall Unit Thickness:  [As indicated] <Insert thickness>.

6. Interspace Content:  [Air] [Argon].

Retain reference to ceramic-coated vision glass in last option in first subparagraph below only if silk-screened coating is specified for outdoor lite.

7. Outdoor Lite:  Class [1 (clear)] [1 (clear) ultra-clear (low-iron)] [2 (tinted)] float glass[ complying with ceramic-coated vision-glass requirements].

a. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

b. [Annealed] [Kind HS (heat strengthened)] [Kind FT (fully tempered)].

Retain subparagraph below only with clear float glass and only after verifying availability.

c. Self-Cleaning, Low-Maintenance Coating:  Pyrolytic coating on first surface.

In first subparagraph below, insert a number in place of <#> (or descriptive title, if designation is not used) to designate the laminated-glass units for indoor lites that are specified by reference to requirements in Part 2 "Laminated-Glass Units" Article.  As an alternative, insert requirements for laminated-glass lites by copying applicable requirements from Part 2 "Laminated-Glass Units" Article.

8. Indoor Lite:  Complying with requirements specified for heat-treated laminated-glass units LG-<#>.

9. Low-E Coating:  [Sputtered on second] [Sputtered on third] [Sputtered on second or third] [Pyrolytic on second] surface.

Retain subparagraph below with a ceramic-coated vision-glass outdoor lite.

10. Silk-Screened Coating:  Ceramic enamel on second surface.

Select one requirement from options in subparagraph below.

a. Color and Pattern:  [As selected by Architect from manufacturer's full range] [Match] [Provide] <Insert one manufacturer's color and pattern designation if matching is required; otherwise, insert color and pattern designation for each product named above>.

Solar-control low-e-coating performance values below are based on insulating-glass units having clear glass for both lites and with coating on second surface.

11. Visible Light Transmittance:  [40] <Insert single percentage> percent minimum.

12. Winter Nighttime U-Factor:  [0.31] <Insert single value> maximum.

13. Summer Daytime U-Factor:  [0.32] <Insert single value> maximum.

14. Solar Heat Gain Coefficient:  [0.40] <Insert single value> maximum.

15. Outdoor Visible Reflectance:  [0.34] <Insert single percentage> percent maximum.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine framing glazing, with Installer present, for compliance with the following:

1. Manufacturing and installation tolerances, including those for size, squareness, and offsets at corners.

2. Presence and functioning of weep system.

3. Minimum required face or edge clearances.

4. Effective sealing between joints of glass-framing members.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Clean glazing channels and other framing members receiving glass immediately before glazing.  Remove coatings not firmly bonded to substrates.

3.3 GLAZING, GENERAL

A. Comply with combined written instructions of manufacturers of glass, sealants, gaskets, and other glazing materials, unless more stringent requirements are indicated, including those in referenced glazing publications.

B. Glazing channel dimensions, as indicated on Drawings, provide necessary bite on glass, minimum edge and face clearances, and adequate sealant thicknesses, with reasonable tolerances.  Adjust as required by Project conditions during installation.

C. Protect glass edges from damage during handling and installation.  Remove damaged glass from Project site and legally dispose of off Project site.  Damaged glass is glass with edge damage or other imperfections that, when installed, could weaken glass and impair performance and appearance.

D. Apply primers to joint surfaces where required for adhesion of sealants, as determined by preconstruction sealant-substrate testing.

E. Install setting blocks in sill rabbets, sized and located to comply with referenced glazing publications, unless otherwise required by glass manufacturer.  Set blocks in thin course of compatible sealant suitable for heel bead.

F. Do not exceed edge pressures stipulated by glass manufacturers for installing glass lites.

G. Provide spacers for glass lites where length plus width is larger than 50 inches (1270 mm) as follows:

1. Locate spacers directly opposite each other on both inside and outside faces of glass.  Install correct size and spacing to preserve required face clearances, unless gaskets and glazing tapes are used that have demonstrated ability to maintain required face clearances and to comply with system performance requirements.

2. Provide 1/8-inch (3-mm) minimum bite of spacers on glass and use thickness equal to sealant width.  With glazing tape, use thickness slightly less than final compressed thickness of tape.

H. Provide edge blocking where indicated or needed to prevent glass lites from moving sideways in glazing channel, as recommended in writing by glass manufacturer and according to requirements in referenced glazing publications.

I. Set glass lites in each series with uniform pattern, draw, bow, and similar characteristics.

Delete two paragraphs below if no glazing with wedge-shaped gaskets is required for Project.

J. Where wedge-shaped gaskets are driven into one side of channel to pressurize sealant or gasket on opposite side, provide adequate anchorage so gasket cannot walk out when installation is subjected to movement.

K. Square cut wedge-shaped gaskets at corners and install gaskets in a manner recommended by gasket manufacturer to prevent corners from pulling away; seal corner joints and butt joints with sealant recommended by gasket manufacturer.

3.4 TAPE GLAZING

A. Position tapes on fixed stops so that, when compressed by glass, their exposed edges are flush with or protrude slightly above sightline of stops.

B. Install tapes continuously, but not necessarily in one continuous length.  Do not stretch tapes to make them fit opening.

C. Cover vertical framing joints by applying tapes to heads and sills first and then to jambs.  Cover horizontal framing joints by applying tapes to jambs and then to heads and sills.

D. Place joints in tapes at corners of opening with adjoining lengths butted together, not lapped.  Seal joints in tapes with compatible sealant approved by tape manufacturer.

E. Do not remove release paper from tape until just before each glazing unit is installed.

Delete first paragraph below if not required, or qualify by adding "where indicated" and show locations on Drawings.

F. Apply heel bead of elastomeric sealant.

G. Center glass lites in openings on setting blocks and press firmly against tape by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops.  Start gasket applications at corners and work toward centers of openings.

Delete paragraph below if not applicable or revise; it assumes fixed stop is located on exterior.

H. Apply cap bead of elastomeric sealant over exposed edge of tape.

3.5 GASKET GLAZING (DRY)

A. Fabricate compression gaskets in lengths recommended by gasket manufacturer to fit openings exactly, with allowance for stretch during installation.

B. Insert soft compression gasket between glass and frame or fixed stop so it is securely in place with joints miter cut and bonded together at corners.

C. Center glass lites in openings on setting blocks and press firmly against soft compression gasket by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops.  Start gasket applications at corners and work toward centers of openings.  Compress gaskets to produce a weathertight seal without developing bending stresses in glass.  Seal gasket joints with sealant recommended by gasket manufacturer.

D. Install gaskets so they protrude past face of glazing stops.

3.6 SEALANT GLAZING (WET)

A. Install continuous spacers, or spacers combined with cylindrical sealant backing, between glass lites and glazing stops to maintain glass face clearances and to prevent sealant from extruding into glass channel and blocking weep systems until sealants cure.  Secure spacers or spacers and backings in place and in position to control depth of installed sealant relative to edge clearance for optimum sealant performance.

B. Force sealants into glazing channels to eliminate voids and to ensure complete wetting or bond of sealant to glass and channel surfaces.

C. Tool exposed surfaces of sealants to provide a substantial wash away from glass.

3.7 LOCK-STRIP GASKET GLAZING

A. Comply with ASTM C 716 and gasket manufacturer's written instructions.  Provide supplementary wet seal and weep system, unless otherwise indicated.

3.8 CLEANING AND PROTECTION

A. Protect exterior glass from damage immediately after installation by attaching crossed streamers to framing held away from glass.  Do not apply markers to glass surface.  Remove nonpermanent labels, and clean surfaces.

B. Protect glass from contact with contaminating substances resulting from construction operations, including weld splatter.  If, despite such protection, contaminating substances do come into contact with glass, remove substances immediately as recommended by glass manufacturer.

C. Examine glass surfaces adjacent to or below exterior concrete and other masonry surfaces at frequent intervals during construction, but not less than once a month, for buildup of dirt, scum, alkaline deposits, or stains; remove as recommended in writing by glass manufacturer.

D. Remove and replace glass that is broken, chipped, cracked, or abraded or that is damaged from natural causes, accidents, and vandalism, during construction period.

Retain paragraph below to suit Project.  Delete if covered in Division 1 Section "Closeout Procedures."

E. Wash glass on both exposed surfaces in each area of Project not more than four days before date scheduled for inspections that establish date of Substantial Completion.  Wash glass as recommended in writing by glass manufacturer.

END OF SECTION 08800END OF SECTION 08800

GLAZING
08800 - 1

