Copyright 2011 AIA
MasterSpec Professional
05/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 316219 - TIMBER PILES
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes round timber piles.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

B. Shop Drawings: Show fabrication and installation details for piles, including details of driving shoes, tips or boots, and pile butt protection.

1.3 INFORMATIONAL SUBMITTALS

A. Round timber pile treatment data.

B. Pile-Driving Equipment Data: Include type, make, and rated energy range; weight of striking part of hammer; weight of drive cap; and, type, size, and properties of hammer cushion.

C. Pile-driving records.

D. Field quality-control reports.

PART 2 -  PRODUCTS

2.1 TIMBER PILES

Retain one option in paragraph below if applicable. AWPA C3 is the basic standard for preservative treatment of piles. AWPA C18 augments AWPA C3 for marine construction. AWPA C14 augments AWPA C3 for highway construction.

A. Pressure-treated round timber piles conforming to ASTM D25, shall have a minimum tip diameter and a minimum butt diameter as indicated on drawings, measured three feet from the butt:
Retain one option in first subparagraph below. AWPA C3 sets retention rates of preservative treatments for different species according to service conditions, which are represented in AWPA C3 and AWPA C14. AWPA C18 applies only to marine construction. Revise subparagraph if minimum retention rates for preservative treatment are required.

1. Service Condition: Foundation.
Retain one option in subparagraph below. Oil-borne preservatives such as pentachlorophenol are not permitted by AWPA C3 for marine service. Last two options reflect provisions in AWPA C3, AWPA C14, and AWPA C18 for higher retentions of waterborne treatments or dual treatment of tropical water marine piles subject to severe borer hazard. Verify whether local restrictions of preservatives' VOCs apply.

2. Treatment: In accordance with the latest revision of AWPA Standard for treatment of Foundation Piles.  
2.2 PILE ACCESSORIES

A. Driving Shoes: Fabricate from ASTM A 1011/A 1011M, hot-rolled carbon-steel strip to suit pile-tip diameter.

2.3 FABRICATION

A. Pile Tips: Cut and shape pile tips to accept driving shoes. Fit and fasten driving shoes to pile tips according to manufacturer's written instructions.

B. Pile Butt: Trim pile butt and cut perpendicular to longitudinal axis of pile. Chamfer and shape butt to fit tightly to driving cap of hammer.

C. Field-Applied Wood Preservative: Treat field cuts, holes, and other penetrations according to AWPA M4.

D. Pile-Length Markings: Mark each pile with horizontal lines at 12-inch intervals; label the distance from pile tip at 60-inch intervals.

PART 3 -  E
QUIPMENT

3.1 Equipment for Driving Piles520.20 Equipment for Driving Piles - Provide pile driving equipment meeting the following requirements:

A. Impact Pile Hammers - Provide a striking part of the hammer not less than one-third the mass (weight) of the helmet and pile being driven, but never less than 1250 kg (2,750 pounds).
1. Air-Steam Hammers - Provide power plant and equipment for air-steam hammers with sufficient capacity under working conditions to maintain the volume and pressure at the hammer specified by the manufacturer and with accurate pressure gauges easily accessible to the Engineer.

2. Open-End Diesel Hammers - Provide open-end (single‑acting) diesel hammers equipped with a device which allows the Engineer to visually determine hammer stroke at all times during pile driving operations.  Provide the Engineer with the hammer manufacturer's chart equating stroke and blows per minute.

3. Closed-End Diesel Hammers - Provide closed-end (double-acting) diesel hammers equipped with a bounce chamber pressure gauge, mounted near ground level so the Engineer can easily read it.  Before driving, provide the Engineer a chart calibrated within six months before first use on the Project to actual hammer performance, equating bounce chamber pressure to either equivalent energy or stroke.

4. Gravity Hammers - Provide gravity hammers that have a ram weighing between 900 kg (2,000 pounds) and 2200 kg (5,000 pounds) and a drop height of not more than 3 m (10 feet).  The mass (weight) of gravity hammers shall not be less than the combined mass (weight) of helmet and pile.

5. Hydraulic Hammers - Provide either single or double acting hydraulic hammers equipped with monitoring systems to measure impact velocity and determine equivalent energy and stroke. Locate monitoring systems for easy access by the Engineer.

B. Vibratory Hammers - Control installation of production piles with vibratory hammers according to the power consumption, rate of penetration, specified tip elevation, or other acceptable means which assure the pile resistance equals or exceeds the required nominal pile bearing resistance. After driving piles with a vibratory hammer, verify pile resistance (see 00520.42) by driving them with an impact hammer of suitable energy.  Do not use vibratory hammers to drive test piles or when preboring or jetting.

C. Driving Components:

1. Pile Cushion - Protect the heads of prestressed concrete piles with a pile cushion made of wood or other approved material.

The pile cushion shall be:

a. Equal to or greater in cross-sectional contact area than the pile head.

b. In full contact with the pile head.

c. No less than 4 inches thick, before driving begins, if made of plywood.

Provide a pile cushion for each pile.  Replace the pile cushion if, during the driving, the cushion is either compressed to less than one-half the original thickness or begins to burn.

2. Helmet - Equip piles driven with impact hammers with an adequate metal helmet.  The helmet shall:

a. Fit around the pile top.

b. Be axially aligned with the hammer and pile.

c. Distribute the hammer energy to the total cross section of the pile head.

d. Be guided by leads.

3. Hammer Cushion - Equip impact pile driving equipment with a suitable thickness of hammer cushion material to prevent damage to the hammer or pile and to insure uniform driving performance.  Provide hammer cushions of durable manufactured materials according to the hammer manufacturer's guidelines.  Do not use wood, wire rope, or asbestos hammer cushions.  Place a striker plate, as recommended by the hammer manufacturer, on the hammer cushion to insure uniform compression of the cushion material.

Inspect the hammer cushion in the presence of the Engineer at the beginning of pile driving at each structure or after each 100 hours of use during pile driving, whichever is less.  Replace the hammer cushion when its thickness becomes less than 75% of its original thickness.

4. Followers - Use a follower between the pile hammer and the pile to transmit energy when the pile head is below the reach of the hammer, if approved in writing.  If a follower is allowed, drive the first pile in each bent, and every tenth pile driven after that, full length without a follower.  Before additional piles are installed, verify that the first two piles installed with followers in each substructure unit meet the position and alignment criteria of 4.1C.
5. Leads - Support piles in line and position while driving.  Construct pile hammer leads to give the hammer freedom of movement while maintaining alignment of the hammer and the pile to insure concentric impact for each blow.  Leads shall be fixed unless the Engineer approves the use of swinging leads.  Fit swinging leads, when used, with a pile gate at the bottom of the leads.  To maintain alignment of batter piles, use horizontally braced swinging leads, adequately embedded in the ground, or rigidly attached to prevent movement during pile driving.

PART 4 -  EXECUTION

4.1 DRIVING PILES

Indicate tip elevations and limiting penetration resistance on Drawings or insert here.

A. General: Continuously drive piles to elevations or penetration resistance indicated. Establish and maintain axial alignment of leads and piles before and during driving.

B. Heaved Piles: Redrive heaved piles to tip elevation at least as deep as original tip elevation with a driving resistance at least as great as original driving resistance.

C. Driving Tolerances: Drive piles without exceeding the following tolerances, measured at pile heads:

Review tolerances in three subparagraphs below and revise to suit Project or office standards.

1. Location: 4 inches from location indicated after initial driving, and 6 inches after pile driving is completed.

2. Plumb: Maintain 1 inch in 4 feet from vertical, or a maximum of 4 inches, measured when pile is aboveground in leads.

3. Batter Angle: Maximum 1 inch in 4 feet from required angle, measured when pile is aboveground in leads.

D. Withdraw damaged or defective piles and piles that exceed driving tolerances and install new piles within driving tolerances. Fill holes left by withdrawn piles as directed by Architect.

E. Cutting Off: Cut off butts of driven piles square with pile axis and at elevations indicated.

F. Pile-Driving Records: Maintain accurate driving records for each pile, compiled and attested to by the President/Owner of the pile driving company.
4.2 FIELD QUALITY CONTROL

A. Special Inspections: Engage a qualified inspector to perform the following special inspections:

1. Pile foundations.

END OF SECTION 316219

	TIMBER PILES
	316219 - 1



