Elevator Notes:

1. Provide complete operating elevator system equal to Otis LVM Series Holeless Hydraulic LVM2100L.

2. General Contractor to co-ordinate with system installer, provide all proper preparatory work. Verify and co-ordinate all dimensions. Verify elevator wiring diagram requirements.

3. All elevator work to comply with Fire Fighter’s Service Requirements of ASME/ANSI A 17.1, Safety Code for Elevators and Escalators, and ADA requirements, and NFPA 101:9.4.

4. Provide all review and co-ordination documents required.

5. Provide Class “C” wall-mounted fire extinguisher in elevator equipment rooms.

6. Provide elevator telephone service.

7. Provide elevator pit sump pump, equal to Hydromatic Model #SW25A 20 GPM @ 16” head, ¼ hp, 120V-1 phase, 1550 rpm, float switch control, with 2” discharge.

