SECTION 01300PRIVATE 

SUBMITTALS

1 GENERAL

1.01
SECTION INCLUDES

A.
Submittal procedures.

B.
Shop drawings.

C.
Product data.

1.02
RELATED SECTIONS

A. Section 01000 - General Conditions: 1.08 Submittals

B. Section 01400 ‑ Quality Control: Manufacturers' field services and reports.

C. Section 01700 ‑ Contract Closeout: Contract warranty and closeout submittals.

1.03  SUBMITTAL PROCEDURES

A. See Section 01000 General Conditions: 1.08 Submittals.

B. Sequentially number the transmittal forms.  Re-submittals to have original number with an alphabetic suffix.

C. Identify Project, Contractor, Subcontractor or supplier; pertinent Drawing sheet and detail number(s), and specification Section number, as appropriate.

D. Apply Contractor's stamp, signed or initialed certifying that review, verification of Products required, field dimensions, adjacent construction Work, and coordination of information, is in accordance with the requirements of the Work and Contract Documents.

E. Identify variations from Contract Documents and Product or system limitations which may be detrimental to successful performance of the completed Work.

F. Revise and resubmit submittals as required, identify all changes made since previous submittal.

1.04  SHOP DRAWINGS

A. See Section 01000 General Conditions: 1.08 Shop Drawings.

B. After review, reproduce and distribute in accordance with Article on Procedures above and for Record Documents described in Section 01700 ‑ Contract Closeout.

1.05
PRODUCT DATA

A. See Section 01000 General Conditions: 1.08 Brochures, Cut Sheets, and Technical Data.

B. Mark each copy to identify applicable products, models, options, and other data.  Supplement manufacturers' standard data to provide information unique to this Project.

C. After review, distribute in accordance with Article on Procedures above and provide copies for Record Documents described in Section 01700 ‑ Contract Closeout.


END OF SECTION

1
Section 01300 Page 2 of 2
Error! Main Document Only.

