Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 05521 - PIPE AND TUBE RAILINGS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Steel pipe and tube railings at loading dock area.
a. Provide removable railing as required at loading dock.

b. Provide handrails to comply with code requirements.
Delete first paragraph below if railings for metal stairs are specified in this Section.

B. See Division 05 Section "Metal Stairs" for steel tube railings associated with metal stairs.

1.2 PERFORMANCE REQUIREMENTS

Delete first paragraph and subparagraphs below if requirements are indicated on Drawings or if authorities having jurisdiction require structural engineer of record to take full responsibility for structural design.

A. Structural Performance:  Provide railings capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Subparagraphs and associated subparagraphs below are examples only and are based on typical requirements of model codes.

1. Handrails:

a. Uniform load of 50 lbf/ ft. (0.73 kN/m) applied in any direction.

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

2. Top Rails of Guards:

a. Uniform load of 50 lbf/ ft. (0.73 kN/m) applied in any direction.

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

3. Infill of Guards:

a. Normal load of 50 lbf (0.22 kN) applied horizontally on an area of 1 sq. ft. (0.093 sq. m).

b. Infill load and other loads need not be assumed to act concurrently.

B. Control of Corrosion:  Prevent galvanic action and other forms of corrosion by insulating metals and other materials from direct contact with incompatible materials.

1.3 SUBMITTALS

A. Product Data:  For mechanically connected railings, grout, anchoring cement, and paint products.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

1. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Paragraph below may be used for verification of performance requirements if authorities having jurisdiction do not allow Contractor to provide engineering calculations.

C. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, according to ASTM E 894 and ASTM E 935.

PART 2 -  PRODUCTS

2.1 METALS

A. Brackets, Flanges, and Anchors:  Cast or formed metal of same type of material and finish as supported rails, unless otherwise indicated.

Select from materials below.  Delete those not required or revise to suit Project.

B. Steel and Iron:

Usually retain all three options in first subparagraph below unless structural engineer of record has designed railings.

1. Tubing:  ASTM A 500 (cold formed) or ASTM A 513, Type 5 (mandrel drawn).

2. Pipe:  ASTM A 53/A 53M, Type F or Type S, Grade A, Standard Weight (Schedule 40), unless another grade and weight are required by structural loads.

3. Plates, Shapes, and Bars:  ASTM A 36/A 36M.

4. Castings:  Either gray or malleable iron, unless otherwise indicated.

a. Gray Iron:  ASTM A 48/A 48M, Class 30, unless another class is indicated or required by structural loads.

b. Malleable Iron:  ASTM A 47/A 47M.

2.2 MISCELLANEOUS MATERIALS

A. Fasteners:  Provide concealed fasteners, unless unavoidable or standard for railings indicated.

1. Steel Railings:  Plated steel fasteners complying with ASTM B 633, Class Fe/Zn 25 for electrodeposited zinc coating.

Delete first paragraph below if not applicable.  If retaining, select acceptable types and verify safety factors with Project's structural engineer.

B. Anchors:  Provide cast-in-place, chemical or torque-controlled expansion anchors, fabricated from corrosion-resistant materials with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and equal to four times the load imposed when installed in concrete, as determined by testing per ASTM E 488.

C. Welding Rods and Bare Electrodes:  Select according to AWS specifications for metal alloy welded.

D. Shop Primer for Galvanized Steel:  Zinc-dust, zinc-oxide primer compatible with finish paint systems indicated, and complying with SSPC-Paint 5.

E. Grout and Anchoring Cement:  Factory-packaged, nonshrink, nonmetallic grout complying with ASTM C 1107; or water-resistant, nonshrink anchoring cement; recommended by manufacturer for exterior use.

2.3 FABRICATION

A. General:  Fabricate railings to comply with design, dimensions, and details required, but not less than that required to support structural loads.

Delete paragraph below if only nonwelded connections are acceptable or are compatible with metals and finishes retained.  Connections below are generally applicable to exposed welding of steel and stainless steel.

B. Welded Connections:  Cope components at connections to provide close fit, or use fittings designed for this purpose.  Weld all around at connections, including at fittings.

First paragraph below describes CraneVeyor's system.

C. Form changes in direction by bending .

Retain first paragraph below unless all bends are made with elbow fittings.

D. Form curves by bending in jigs to produce uniform curvature; maintain cross section of member throughout bend without cracking or otherwise deforming exposed surfaces.

E. Close exposed ends of railing members with prefabricated end fittings.

F. Provide wall returns at ends of wall-mounted handrails, unless otherwise indicated.

G. Brackets, Flanges, Fittings, and Anchors:  Provide wall brackets, flanges, miscellaneous fittings, and anchors to interconnect railing members to other work, unless otherwise indicated.

2.4 FINISHES

Retain or revise finishes below to suit Project.  If retaining more than one finish for each metal, indicate location of each on Drawings or by inserts.

A. Steel and Iron:

Retain first subparagraph below if any steel and iron railings are galvanized.

1. Galvanized Railings:  Hot-dip galvanized exterior railings, after fabrication, to comply with ASTM A 123/A 123M.  Provide hot-dip galvanized fittings, brackets, fasteners, sleeves, and other ferrous components.

2. Shop-Primed Galvanized Railings:  After galvanizing, clean railings, treat with metallic-phosphate process, and apply primer to comply with SSPC-PA 1.

Retain subparagraph above for shop-primed galvanized railings, below for nongalvanized railings.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General:  Perform cutting, drilling, and fitting required for installing railings.  Set railings accurately in location, alignment, and elevation.

1. Set posts plumb within a tolerance of 1/16 inch in 3 feet (2 mm in 1 m).

Revise subparagraph above and below if closer tolerances are required.  Both are from NAAMM's "Pipe Railing Systems Manual."

2. Align rails so variations from level for horizontal members and variations from parallel with rake of steps and ramps for sloping members do not exceed 1/4 inch in 12 feet (5 mm in 3 m).

Delete paragraph below if no aluminum.

Retain type(s) of anchorage in first four paragraphs and associated subparagraphs below to suit Project.

B. Anchor posts in concrete by inserting into preset steel pipe sleeves  and grouting annular space.

Revise first paragraph below if posts are welded directly to supports.

C. Anchor railing ends to concrete and masonry with round flanges connected to railing ends and anchored to wall construction with anchors and bolts.

Revise first paragraph and subparagraphs below if end return fittings are also used to support handrails.

D. Attach handrails to wall with wall brackets.

1. Use type of bracket with flange tapped for concealed anchorage to threaded hanger bolt.

E. Adjusting and Cleaning:

1. Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with the same material as used for shop painting.

2. Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

END OF SECTION 05521


PIPE AND TUBE RAILINGS

05521 - 3

