Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc (ARCOM) for the AIA

SECTION 05721 - ORNAMENTAL RAILINGS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Aluminum ornamental railings for Atrium Lobby stair and landings, handrails at Classroom 118 and for exterior railings at entrance steps and ramps.

B. See Division 05 Section "Metal Stairs" for steel tube railings associated with metal stairs.

C. See Division 05 Section “Pipe and Tube Railings” for steel tube railings at loading dock area.

1.2 PERFORMANCE REQUIREMENTS

Delete first paragraph below if requirements are indicated on Drawings or if authorities having jurisdiction require structural engineer of record to take full responsibility for structural design.

A. Structural Performance:  Provide railings capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Subparagraphs and associated subparagraphs below are examples only and are based on typical requirements of model codes.

1. Handrails:

a. Uniform load of 50 lbf/ ft. (0.73 kN/m) applied in any direction.

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

2. Top Rails of Guards:

a. Uniform load of 50 lbf/ ft. (0.73 kN/m) applied in any direction.

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

3. Infill of Guards:

a. Normal load of 50 lbf (0.22 kN) applied horizontally on an area of 1 sq. ft. (0.093 sq. m).

Select subparagraph above or first subparagraph below.  Above applies to 1996 and 1999 BOCA Code and 2000 International Building Code.  Below applies to 1997 Uniform Building Code.

b. Infill load and other loads need not be assumed to act concurrently.

B. Control of Corrosion:  Prevent galvanic action and other forms of corrosion by insulating metals and other materials from direct contact with incompatible materials.

1.3 SUBMITTALS

A. Product Data:  For railings assembled from standard components, grout, anchoring cement, and paint products.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other Work.

Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

1. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

C. Samples:  For each exposed finish required.

Paragraph below may be used for verification of performance requirements.  Retain only for manufacturers' standard products that have been previously tested.

D. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, according to ASTM E 894 and ASTM E 935.

1.4 QUALITY ASSURANCE

A. Product Options:  Information on Drawings and in Specifications establishes requirements for system's aesthetic effects and performance characteristics.  Retain paragraph and subparagraph below if testing is required to establish structural performance and it is known that manufacturers selected have not tested railings.

Delete paragraph and subparagraph below if mockups are not required.

B. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for fabrication and installation.

1. Build mockups for each form and finish of railing consisting of two posts, top rail, infill area, and anchorage system components for interior and exterior locations.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

A. Basis-of-Design Product:  Subject to compliance with requirements, provide Livers Bronze Co., “Panel Rail” System, Style #18 or 19 or a comparable product from another manufacturer.  This rail system design is selected based on aesthetic and performance requirements.  Comparable products from another manufacturer meeting the aesthetic and performance requirements are acceptable.
See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

2.2 METALS

A. Brackets, Flanges, and Anchors:  Same metal and finish as supported rails, unless otherwise indicated.

Select from the following materials.  Delete those not required or revise to suit Project.

B. Aluminum:  Provide alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, and with strength and durability properties for each aluminum form required not less than that of alloy and temper designated below.

Alloys and tempers in first six subparagraphs below are typical for products listed when used in railings; revise to suit structural performance requirements of railing designs indicated and to establish minimum strength properties.

1. Extruded Bars and Shapes, Including Extruded Tubing:  ASTM B 221 (ASTM B 221M), Alloy 6063-T5/T52.

2. Extruded Structural Pipe and Round Tubing:  ASTM B 429, Alloy 6063-T6.

Note that 6061-T6 is not suitable for bending, is somewhat less corrosion resistant than 6063, and does not anodize as well as 6063; however, 6063 is not available in plate and sheet form.

3. Castings:  ASTM B 26/B 26M, Alloy A356.0-T6.

2.3 MISCELLANEOUS MATERIALS

A. Fasteners:  Provide concealed fasteners, unless exposed fasteners are unavoidable.

1. Aluminum Components:  Type  316 stainless-steel fasteners.

2. Dissimilar Metals:  Type  316 stainless-steel fasteners.

Delete paragraph below if not applicable.  If retaining, select acceptable types and verify safety factors with Project's structural engineer.

B. Anchors:  Provide  chemical or torque-controlled expansion anchors, fabricated from corrosion-resistant materials with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and equal to four times the load imposed when installed in concrete, as determined by testing per ASTM E 488.

Retain paragraph below if wood rails are supplied by railing manufacturer rather than by architectural woodworker.

C. Wood Rail Caps:  At interior locations provide hardwood rail caps of red oak and profile “CH”, with manufacturer's standard transparent finish and secured to metal subrail.

D. Grout and Anchoring Cement:  Factory-packaged, nonshrink, nonmetallic grout complying with ASTM C 1107, or water-resistant, nonshrink, anchoring cement; recommended by manufacturer for exterior use.

2.4 FABRICATION

A. General:  Fabricate railings to comply with design, dimensions, and details indicated, but not less than that required to support structural loads.

Delete paragraph below if only nonwelded connections are acceptable or are compatible with metals and finishes retained.  Connections below are generally applicable to exposed welding of steel and stainless steel.

B. Welded Connections:  Cope components at connections to provide close fit, or use fittings designed for this purpose.  Weld all around at connections, including at fittings.

C. Mechanical Connections:  Connect members with concealed mechanical fasteners and fittings.

D. Form changes in direction by bending or by inserting prefabricated elbow fittings.

Retain first paragraph below unless all bends are made with elbow fittings.

E. Form curves by bending in jigs to produce uniform curvature; maintain cross section of member throughout bend without cracking or otherwise deforming exposed surfaces.

F. Close exposed ends of hollow railing members with prefabricated end fittings.

G. Provide wall returns at ends of wall-mounted handrails, unless otherwise indicated.

H. Brackets, Flanges, Fittings, and Anchors:  Provide wall brackets, flanges, miscellaneous fittings, and anchors to interconnect railing members to other work, unless otherwise indicated.

2.5 FINISHES

Retain finishes below to suit Project.  If retaining more than one for each type of metal, indicate location of each on Drawings or by inserts.

A. Aluminum:

1. High-Performance Organic Coating Finish:  Fluoropolymer  three-coat system containing not less than 70 percent polyvinylidene fluoride resin by weight and complying with AAMA  2605.

Retain one color and gloss from options below with paragraph above; second option can affect cost.

a. Color and Gloss:  As selected by Architect from manufacturer's full range.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General:  Perform cutting, drilling, and fitting required for installing railings.  Set railings accurately in location, alignment, and elevation.

1. Set posts plumb within a tolerance of 1/16 inch in 3 feet (2 mm in 1 m).

Revise subparagraph above and below if closer tolerances are required.  Both are from NAAMM's "Pipe Railing Systems Manual."

2. Align rails so variations from level for horizontal members and variations from parallel with rake of steps and ramps for sloping members do not exceed 1/4 inch in 12 feet (5 mm in 3 m).

Delete paragraph below if no aluminum.

B. Coat concealed surfaces of aluminum that will be in contact with grout, concrete, masonry, wood, or dissimilar metals, with a heavy coat of bituminous paint.

Retain type(s) of anchorage in first four paragraphs and associated subparagraphs below to suit Project.

C. Anchor posts in concrete by inserting into preset steel pipe sleeves or formed or core-drilled holes and grouting annular space.

Revise first paragraph below if posts are welded directly to supports.

D. Anchor posts to metal surfaces as indicated using fittings designed and engineered for this purpose.

E. Anchor railing ends to concrete and masonry with sleeves concealed within railing ends   and anchored to wall construction with anchors and bolts.

Revise first paragraph and subparagraphs below if end return fittings are also used to support handrails.

F. Attach handrails to wall with wall brackets in manner to achieve design loads.

Select one of three subparagraphs below if steel studs are used.

END OF SECTION 05721

ORNAMENTAL RAILINGS

05721 - 4

