Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications

Copyright 2002 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 08830 - MIRRORS
Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1.  Film-backed glass mirrors qualifying as safety glazing.

1.2 SUBMITTALS

A. Product Data:  For mirror hardware.

B. Shop Drawings:  Include mirror elevations, edge details, mirror hardware, and attachments to other work.

C. Samples:  For each type of mirror product required, in the form indicated below:

1. Mirrors, 12 inches (300 mm) square, including edge treatment on 2 adjoining edges.

2. Mirror clips.

3. Mirror trim, 12 inches (300 mm) long.

D. Product Certificates:  For each type of mirror, signed by product manufacturer.

1.3 QUALITY ASSURANCE

A. Glazing Publications:  Comply with GANA's "Glazing Manual" and GANA Mirror Division's "Mirrors, Handle with Extreme Care:  Tips for the Professional on the Care and Handling of Mirrors" unless more stringent requirements are indicated

Delete paragraph below if mirrors required for Project do not need safety glass.

B. Safety Glazing Products:  For film-backed mirrors, provide products complying with testing requirements in 16 CFR 1201 for Category II materials.

Delete paragraph below if no adhesive applications of mirrors.

1.4 DELIVERY, STORAGE, AND HANDLING

A. Comply with mirror manufacturer's written instructions for shipping, storing, and handling mirrors as needed to prevent deterioration of silvering, damage to edges, and abrasion of glass surfaces and applied coatings.  Store indoors, protected from moisture including condensation.

1.5 WARRANTY

A. Special Warranty:  Manufacturer's standard form, made out to Owner and signed by mirror manufacturer agreeing to replace mirrors that deteriorate, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated in second subparagraph below.

1. Deterioration of Mirrors:  Defects developed from normal use that are attributable to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning mirrors contrary to mirror manufacturer's written instructions.  Defects include discoloration, black spots, and clouding of the silver film.

Before retaining requirement that warranty begins on date of Substantial Completion, verify warranty availability and extent of warranty periods with manufacturers selected.

2. Warranty Period:  Fiveyears from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 SILVERED FLAT GLASS MIRROR MATERIALS

See ASTM C 1503 for intended use recommendations based on thickness.  Mirror Select Quality may only be available in 6-mm thickness.

A. Clear Glass Mirrors:  ASTM C 1503, Mirror Select Quality.

1. Nominal Thickness:  6.0 mm.

2.2 MISCELLANEOUS MATERIALS

A. Setting Blocks:  Elastomeric material with a Type A Shore durometer hardness of 85, plus or minus 5.

B. Edge Sealer:  Coating compatible with glass coating and approved by mirror manufacturer for use in protecting against silver deterioration at mirrored glass edges.

2.3 MIRROR HARDWARE

A. Top and Bottom Aluminum J-Channels:  Aluminum extrusions with a return deep enough to produce a glazing channel to accommodate mirrors of thickness indicated and in lengths required to cover bottom and top edges of each mirror in a single piece.

Two subparagraphs below are examples of product descriptions, which vary slightly in dimensions, from different manufacturers.  As an alternative, delete descriptions and either retain product designations and manufacturers' names or insert others.

1. Bottom Trim:  J-channels formed with front leg and back leg not less than 3/8 and 7/8 inch (9.5 and 22 mm) in height, respectively, and a thickness of not less than 0.05 inch (1.3 mm).

2. Top Trim:  J-channels formed with front leg and back leg not less than 5/8 and 1 inch (16 and 25 mm) in height, respectively, and a thickness of not less than  0.062 inch (1.57 mm).

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

B. Fasteners:  Fabricated of same basic metal and alloy as fastened metal and matching it in finished color and texture where fasteners are exposed.

C. Anchors and Inserts:  Provide devices as required for mirror hardware installation.  Provide toothed or lead-shield expansion-bolt devices for drilled-in-place anchors.  Provide galvanized anchors and inserts for applications on inside face of exterior walls and where indicated.

2.4 FABRICATION

A. Mirror Sizes:  To suit Project conditions, cut mirrors to final sizes and shapes.

B. Cutouts:  Fabricate cutouts for notches and holes in mirrors without marring visible surfaces.  Locate and size cutouts so they fit closely around penetrations in mirrors.

Paragraph and subparagraphs below do not apply to tempered glass mirrors.

C. Mirror Edge Treatment:  Flat polished edge .

1. Seal edges of mirrors after edge treatment to prevent chemical or atmospheric penetration of glass coating.

Retain subparagraph below if cutting to size and edge treatment must be performed in factory.  Verify availability because not all manufacturers will do this.

2. Require mirror manufacturer to perform edge treatment and sealing in factory immediately after cutting to final sizes.

Revise paragraph and subparagraphs below if coating is to be applied on other surfaces or if laminated mirrors will be exposed on both sides with glass coating applied to second surface of each lite.  See Evaluations.

Glass in paragraph below is an alternative to laminated units for door and wall applications where back is concealed.

D. Film-Backed Safety Mirrors:  Apply film backing with pressure-sensitive adhesive coating over mirror backing paint as recommended in writing by film-backing manufacturer to produce a surface free of bubbles, blisters, and other imperfections.  Use adhesives and film backing compatible with mirror backing paint as certified by mirror manufacturer.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General:  Install mirrors to comply with mirror manufacturer's written instructions and with referenced GANA publications.  Mount mirrors accurately in place in a manner that avoids distorting reflected images.

B. Provide a minimum air space of 1/8 inch (3 mm) between back of mirrors and mounting surface for air circulation between back of mirrors and face of mounting surface.

Where mastic applications are specified for wall mirrors, GANA Mirror Division recommends use of mirror hardware, with or without mastic.

C. For wall-mounted mirrors, install with mirror hardware.

1. Attach mirror hardware securely to mounting surfaces with mechanical fasteners installed with anchors or inserts as applicable.  Install fasteners so heads do not impose point loads on backs of mirrors.

Revise three subparagraphs below to suit mirror hardware specified in "Mirror Hardware" Article.

2. For mirror hardware in the form of continuous J-channels at bottom, provide setting blocks 1/8 inch (3 mm) thick by 4 inches (100 mm) long at quarter points.  To prevent trapping water, provide, between setting blocks, 2 slotted weeps not less than 1/4 inch (6.4 mm) wide by 3/8 inch (9.5 mm) long.

3. For mirror hardware in the form of a continuous J-channel at bottom and continuous top trim at top, fasten J-channel directly to wall and attach top trim to continuous cleat fastened directly to wall.

Retain one or more of four subparagraphs and associated subparagraphs below to suit types of installations required.  If more than one type of installation is required, indicate location of each here and on Drawings.

4. Install mirror hardware in the form of J-channels that are fabricated in single lengths to fit and cover top and bottom edges of mirrors.

D. Protect mirrors from breakage and contaminating substances resulting from construction operations.

E. Do not permit edges of mirrors to be exposed to standing water.

F. Maintain environmental conditions that will prevent mirrors from being exposed to moisture from condensation or other sources for continuous periods of time.

END OF SECTION 08830


MIRRORS

08830 - 3

