Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


Copyright 2003 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 10801 – TOILET AND BATH ACCESSORIES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Public-use washroom accessories.

2. Public-use shower room accessories.

3. Childcare accessories.

4. Underlavatory guards.

5. Custodial accessories.

For large industrial projects, campus-type projects with multiple buildings, or similar situations, Owner may have separate service contracts for furnishing various accessories and corresponding supplies.  If Owner will furnish accessories to Contractor for installation, insert requirements in paragraph below.

1.2 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Product Schedule:

1. Identify locations using room designations indicated on Drawings.

Delete subparagraph below if product designations are not indicated on Drawings.  Coordinate with Part 2 Articles that specify products.

2. Identify products using designations indicated on Drawings.

PART 2 -  PRODUCTS

Articles that specify products in the remainder of Part 2 include sample paragraphs and subparagraphs as examples only.  Use samples as guides for developing paragraphs and subparagraphs for other types of accessories.  For nonproprietary specifications, expand product descriptions to fully describe requirements; see "Specification Methods" Article in the Evaluations.

Products offered by manufacturers vary.  Verify products offered by manufacturers selected in each Article in the remainder of Part 2, and revise product characteristics accordingly.

2.1 PUBLIC-USE WASHROOM ACCESSORIES

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Delete "Basis-of-Design Product" subparagraphs in remainder of this Article if not applicable.  Coordinate with specification method selected above.

Copy and re-edit paragraphs and subparagraphs in remainder of this Article if more than one of each type of accessory is required.  Insert a unique drawing designation for each product.

A. Toilet Tissue (Roll) Dispenser:

1. Description:  Roll-in-reserve dispenser with hinged front secured with tumbler lockset.

2. Mounting:  Partition mounted serving two adjacent toilet compartments or surface mounted where partition mounted not practical.

Controlled-delivery units cannot be used at accessible toilets.

3. Operation:  Noncontrol delivery with theft-resistant spindle.

4. Capacity:  Designed for 4-1/2- or 5-inch- (114- or 127-mm-) diameter tissue rolls.

5. Material and Finish:  Stainless steel, No. 4 finish (satin).

B. Combination Towel (Folded) Dispenser/Waste Receptacle:

1. Description:  Combination unit for dispensing C-fold or multifold towels, with removable waste receptacle.

2. Mounting:  Semirecessed.

Delete first subparagraph below for surface-mounted unit.

a. Designed for nominal 4-inch (100-mm) wall depth.

3. Minimum Towel-Dispenser Capacity:  600 C-fold or 800 multifold paper towels.

4. Minimum Waste-Receptacle Capacity: 12 gal. (45.4 L).

5. Material and Finish:  Stainless steel, No. 4 finish (satin).

6. Liner:  Reusable, vinyl waste-receptacle liner.

7. Lockset:  Tumbler type for towel-dispenser compartment and waste receptacle.

Coordinate requirements for soap dispensers with other Sections; dispensers are often specified in Division 22, especially if a central soap storage tank is included.

C. Liquid-Soap Dispenser:

1. Description:  Designed for dispensing soap in liquid or lotion form.

2. Mounting:  Deck mounted on vanity.

D. Grab Bar:

1. Mounting:  Flanges with concealed fasteners.

2. Material:  Stainless steel, 0.05 inch (1.3 mm) thick.

a. Finish:  Smooth, No. 4, satin finish.

Select first option in first subparagraph below for medium-duty applications, second option for heavy-duty.

3. Outside Diameter:  1-1/2 inches (38 mm).

4. Configuration and Length:  As required to meet ADA requirements.

E. Vendor:

1. Type:  Sanitary napkin and tampon.

2. Mounting:  Semirecessed.

3. Exposed Material and Finish:  Stainless steel, No. 4 finish (satin) 

4. Lockset:  Tumbler type with separate lock and key for coin box.

F. Sanitary-Napkin Disposal Unit:

1. Mounting:  Partition mounted, dual access or surface mounted where partition mounted not practical.

2. Door or Cover:  Self-closing disposal-opening cover and hinged face panel with tumbler lockset.

3. Receptacle:  Removable.

4. Material and Finish:  Stainless steel, No. 4 finish (satin).

G. Seat-Cover Dispenser:

1. Mounting:  Recessed.

2. Exposed Material and Finish:  Stainless steel, No. 4 finish (satin).

3. Lockset:  Tumbler type.

H. Mirror Unit:

1. Refer to Division 8 Section, “Mirrors”.

2. Provide mirrors across full length of vanity top, from top of splash to underside of ceiling or soffit

2.2 PUBLIC-USE SHOWER ROOM ACCESSORIES

Delete "Basis-of-Design Product" subparagraphs in remainder of this Article if not applicable.  Coordinate with specification method selected above.

Copy and re-edit paragraphs and subparagraphs in remainder of this Article if more than one of each type of accessory is required.  Insert a unique drawing designation for each product.

A. Shower Curtain Rod:

Select first option in first subparagraph below for normal-duty applications, second option for heavy-duty.

1. Description:  1-1/4-inch (32-mm) OD; fabricated from nominal 0.05-inch- (1.3-mm-) thick stainless steel.

2. Mounting Flanges:  Stainless-steel flanges designed for exposed fasteners.

3. Finish:  No. 4 (satin).

B. Shower Curtain:

Curtains that are 12 inches (305 mm) wider than opening are recommended for shower openings 48 inches (1219 mm) wide and wider.

1. Size:  Minimum 6 inches (152 mm) wider than opening by 72 inches (1828 mm) high.

2. Material:  Nylon-reinforced vinyl, minimum 10-oz. (284-g) or 0.008-inch- (0.2-mm-) thick vinyl, with integral antibacterial agent.

Antibacterial shower curtains are available in green.

3. Color:  White.

4. Grommets:  Corrosion resistant at minimum 6 inches (152 mm) o.c. through top hem.

5. Shower Curtain Hooks:  Chrome-plated or stainless-steel, spring wire curtain hooks with snap fasteners, sized to accommodate specified curtain rod.  Provide one hook per curtain grommet.

C. Folding Shower Seat:

1. Configuration:  L-shaped seat, designed for wheelchair access.

2. Seat:  Phenolic or polymeric composite of slat-type or one-piece construction.

3. Mounting Mechanism:  Stainless steel, No. 4 finish (satin).

D. Grab Bar:

1. Mounting:  Flanges with concealed fasteners.

2. Material:  Stainless steel, 0.05 inch (1.3 mm) thick.

1) Finish:  Smooth, No. 4, satin finish on ends and slip-resistant texture in grip area.

Select first option in first subparagraph below for medium-duty applications, second option for heavy-duty.

3. Outside Diameter:  1-1/2 inches (38 mm).

4. Configuration and Length:  As required to meet ADA requirements.

E. Soap Dish:

1. Description:  With washcloth bar.

2. Mounting:  Surface mounted.

3. Material and Finish:  Stainless steel, No. 4 finish (satin).

2.3 CHILDCARE ACCESSORIES

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Diaper-Changing Station:

1. Description:  Horizontal or vertical unit that opens by folding down from stored position and with child-protection strap.

a. Engineered to support a minimum of 300-lb (136-kg) static load when opened.

2. Mounting:  Surface mounted, with unit projecting not more than 4 inches (100 mm) from wall when closed.

3. Operation:  By pneumatic shock-absorbing mechanism.

4. Material and Finish:  High-density polyethylene with plastic laminate insert in color selected by Architect Stainless steel, No. 4 finish (satin), exterior shell with rounded plastic corners; high-density polyethylene interior in manufacturer's standard color.

5. Liner Dispenser:  Built in.

2.4 UNDERLAVATORY GUARDS

Delete this Article if piping insulation is specified in Division 22 or architectural woodwork is used to prevent direct contact with and burns from piping.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Copy and re-edit paragraph and subparagraphs below if more than one type of underlavatory guard is required.  Insert a unique drawing designation for each product.

A. Underlavatory Guard:

Delete first subparagraph below if not applicable.  Coordinate with specification method selected at the beginning of this Article.

1. Description:  Insulating pipe covering for supply and drain piping assemblies, that prevent direct contact with and burns from piping, and allow service access without removing coverings.

2. Material and Finish:  Antimicrobial, molded-plastic, white.

2.5 CUSTODIAL ACCESSORIES

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Delete "Basis-of-Design Product" subparagraphs in remainder of this Article if not applicable.  Coordinate with specification method selected above.

Copy and re-edit paragraphs and subparagraphs in remainder of this Article if more than one of each type of accessory is required.  Insert a unique drawing designation for each product.

A. Mop and Broom Holder:

1. Description:  Unit with shelf, hooks, and holders.

2. Length:  34 inches (865 mm).

3. Hooks:  Four.

4. Mop/Broom Holders:  Three, spring-loaded, rubber hat, cam type.

5. Material and Finish:  Stainless steel, No. 4 finish (satin).

a. Shelf:  Not less than nominal 0.05-inch- (1.2-mm-) thick stainless steel.

If the same paper towel dispensers and soap dispensers that are used in washrooms are also used in custodial areas, delete three paragraphs and associated subparagraphs below.

B. Paper Towel (Folded) Dispenser:

1. Mounting:  Surface mounted.

Single-fold towels usually require 6-inch- (152.4-mm-) deep dispensers.  Dispensers 4 inches (101.6 mm) in depth accommodate C-fold or multifold towels.  C-fold towels are the highest quality and softest folded towels; single-fold towels are the least expensive.

2. Minimum Capacity:  400 C-fold or 525 multifold towels.

3. Material and Finish:  Stainless steel, No. 4 finish (satin).

4. Lockset:  Tumbler type.

Delete subparagraph below if not required.

5. Refill Indicators:  Pierced slots at sides or front.

C. Liquid-Soap Dispenser:

1. Description:  Designed for dispensing soap in liquid or lotion form.

2. Mounting:  Horizontally or vertically oriented, surface mounted.

3. Lockset:  Tumbler type.

Delete subparagraph above and below if not required.

4. Refill Indicator:  Window type.

2.6 FABRICATION

A. Keys:  Provide universal keys for internal access to accessories for servicing and resupplying.  Provide minimum of six keys to Owner's representative.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Install accessories according to manufacturers' written instructions, using fasteners appropriate to substrate indicated and recommended by unit manufacturer.  Install units level, plumb, and firmly anchored in locations and at heights indicated.

END OF SECTION 10801

TOILET AND BATH ACCESSORIES

10801 - 4

