Louisiana Army National Guard

Preliminary Review Documents

141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


SECTION 02513 - ASPHALTIC CEMENT CONCRETE PAVEMENT

PART 1 - General

1.1 DESCRIPTION

A.
Work included:

1.
Designing, Mixing, Hauling, spreading and compacting the asphaltic cement concrete.

2.
LaDOTD Section 501, "Asphaltic Concrete Mixtures"

3.
LaDOTD Section 503, "Asphaltic Concrete Equipment and Processes"

4.
LaDOTD Section 504, "Asphaltic Tack Coat"

5.
LaDOTD Section 505, "Asphaltic Prime Coat"

6.
LaDOTD Section 506, "Asphaltic Curing Membrane"

7.
LaDOTD Section 506, "Asphaltic Surface Treatment"

8.
LaDOTD Section 509, "Cold Planing Asphaltic Pavement"

B. Work not included:

1.
Base repair and drainage.

2. Curbs & gutters.

1.2

QUALITY ASSURANCE

A.
Codes and Standards: Perform excavation  work in compliance with applicable requirements of authorities having jurisdiction.


B.
Testing and Inspection Service: The Owner shall employ and pay for a qualified independent testing laboratory to perform testing and inspection.

PART 2 - MATERIALS

A.
Unless otherwise noted on the plans Asphaltic cement concrete shall conform with all of the requirements of "Louisiana Standard Specifications for Roads and Bridges", 2000 Edition and the Supplemental Specifications approved by of L. D.O.T.D. for the various types shown on the plans.

PART 3 - EXECUTION

A. All work shall be in conformance with the requirements of L.D.O.T.D., unless otherwise noted.

B. Testing shall include plant and field inspection and testing including field cores for thickness and density.

END OF SECTION 02513


ASPHALTIC CEMENT CONCRETE PAVEMENT


02513-1


