Louisiana Army National Guard

Preliminary Review Documents


141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


SECTION 02300 - EARTHWORK
PART 1 – GENERAL

1.1
SUMMARY

A. 
Scope:  The work included in this section of the specifications includes all labor, materials, equipment, and services necessary for preparing of subgrades for building foundations, slabs, as shown on the drawings. 

B.
Excavating and Backfilling for Mechanical/Electrical Work:  Refer to Divisions 15 and 16  sections for excavation and backfill required in conjunction with underground mechanical and electrical utilities  and buried mechanical and electrical appurtenances.

C.
Excavation consists of removal of material encountered to subgrade elevations indicated and subsequent disposal of materials removed. 

D.
Unauthorized excavation consists of removal of materials beyond indicated subgrade elevations or dimensions without specific  direction of Architect.  Unauthorized excavation, as well as remedial work directed by Architect, shall be at Contractor's expense.
1.
Backfill and compact unauthorized excavations as specified for authorized excavations of same classification, unless otherwise directed by Architect.

1.2
QUALITY ASSURANCE
A.
Codes and Standards: Perform excavation  work in compliance with applicable requirements of authorities having jurisdiction.

B.
Testing and Inspection Service:  The Contractor shall employ and pay for a qualified independent 

geotechnical testing laboratory to perform soil testing and inspection service during earthwork 

operations.
1.3


PROJECT CONDITIONS

A.

Site Information:  Data in subsurface investigation reports was used for the basis of the design and 

are available to the Contractor for information only.  Conditions are not intended as representations  or warranties of accuracy or continuity between  soil borings.  The Owner will not be responsible for interpretations or conclusions drawn from this data by Contractor.  
    

1.
Additional test borings and other exploratory operations may be performed by Contractor, at 



the Contractor's option; however, no change in the Contract Sum will be authorized for such 



additional exploration. 

 
B.
Existing Utilities: Locate existing underground utilities in areas  of excavation work.  If utilities are indicated to remain in place, provide adequate means of support and protection during earthwork operations.

1.
Should uncharted, or incorrectly charted, piping or other utilities be encountered during 

excavation, consult utility owner immediately for directions.   Cooperate with Owner and 

utility companies in keeping respective service and facilities in operation.  Repair damaged 

utilities to satisfaction of utility owner.

2.
Demolish and completely remove from site existing underground  utilities indicated to be 

removed.  Coordinate with utility  companies for shutoff of services if lines are active.

  C.
Use of Explosives:  Use of explosives is not permitted.

  D.
Protection of Persons and Property: Barricade open excavations  occurring as part of this work and post with warning lights.

1.

Operate warning lights as recommended by authorities having jurisdiction.

2.
Protect utilities, sidewalks, pavements, and other facilities from damage caused by settlement, lateral movement, undermining, washout, and other hazards created by earthwork operations.

PART 2 - PRODUCTS
2.1 
SOIL  MATERIALS

A.

Backfill and Fill Materials: Mississippi River pumped sand (sugar sand) free from organic matter.

PART 3 - EXECUTION

3.1 

SITE  PREPARATION 

    A.

Site preparation shall include removal of all existing surficial features such as buildings, pavements,  utilities, etc., limited tree removal, stripping of existing surficial soils, some limited cutting and filling in some areas to establish final grades.

    B.
All existing structures shall be removed including all underground foundation elements.  Existing 


asphalt and concrete pavement slabs as indicated on the drawings shall also be removed.  


Trees, including their entire root systems shall be removed. 

3.2 

EXCAVATION

A. 
Excavation is unclassified and includes excavation to subgrade elevations indicated, regardless of character of materials and obstructions encountered.

3.3 
STABILITY OF EXCAVATIONS

A.
General: Comply with local codes, ordinances, and requirements of agencies having jurisdiction.

B.
Slope sides of excavations to comply with local codes, ordinances, and requirements of agencies having jurisdiction.  Shore and brace where sloping is not possible because of space restrictions or stability of material excavated.  Maintain sides and slopes of excavations in safe condition until completion of backfilling.

C.
Shoring and Bracing:  Provide materials for shoring and bracing, such as sheet piling, uprights,

stringers, and cross braces, in good serviceable condition. Maintain shoring and bracing in excavations regardless of time period excavations will be open.  Extend shoring and bracing as excavation progresses.

D.
Provide permanent steel sheet piling or pressure-creosoted timber sheet piling wherever subsequent removal of sheet piling might permit lateral movement of soil under adjacent structures. Cut off tops a minimum of 2'-6" below final grade and leave permanently in place.

3.4  
DEWATERING

A.
Prevent surface water and subsurface or ground water from flowing  into excavations  and from flooding project site and surrounding area.

1.
Do not allow water to accumulate in excavations.  Remove water to prevent softening of foundation  bottoms, undercutting  footings, and soil changes detrimental to stability of subgrades and foundations.  Provide and maintain pumps, well points, sumps, suction and discharge lines,  and  other   dewatering  system components necessary to convey water away from excavations.

2.
Establish and maintain  temporary  drainage ditches and other diversions outside excavation limits to convey rain water and water removed from excavations to collecting or runoff areas. 




  Do not trench excavations as temporary drainage ditches.

3.5 

  
EXCAVATION FOR STRUCTURES


A.


Conform to elevations and dimensions shown within a tolerance of plus or minus 0.10 foot, and extending a sufficient distance from footings and foundations to permit placing and removal of concrete formwork, installation of services, and other construction and for inspection.


1. 

Excavations  for  footings  and  foundations:   Do not disturb  bottom of excavation. 



Excavate by hand to final grade just before concrete reinforcement is placed.  Trim 



bottoms to required lines and grades to leave solid base to receive other  work.


2. 

Excavation for  Underground Tanks, Basins, and  Mechanical  or  Electrical Structures:   Conform to elevations and dimensions indicated within a tolerance of plus or minus 0.10 foot; plus a sufficient distance to permit placing and removal of concrete formwork, installation of services, and other construction and for inspection.  Do not disturb bottom of excavations, intended  for bearing surface. 
3.6 
 
BACKFILL AND FILL

A.
General:  Place select soil material in layers to required subgrade  elevations,  using  materials specified in Part 2 of this Section.

1.

Do not backfill trenches until tests and inspections have been made and backfilling is authorized by Architect.  Use care in backfilling to avoid damage or displacement of pipe systems.

      B.

Backfill excavations as promptly as work permits, but not until completion of the following:

1.
Acceptance of construction below finish grade including, where applicable, dampproofing, 

waterprofing, and perimeter insulation.



2.
Inspection, testing, approval, and recording locations of underground utilities have been 

performed and recorded.


3.
Removal of concrete formwork.


4.
Removal of shoring and bracing, and backfilling of voids with  satisfactory materials.  Cut off temporary sheet piling driven  below bottom of structures and remove in manner to prevent  settlement of the structure or utilities, or leave in place if required.

5.
Removal of trash and debris from excavation.


6.
Permanent or temporary horizontal bracing is in place on  horizontally supported walls.

3.7  
     PLACEMENT AND COMPACTION

A.

Ground Surface Preparation:  Remove vegetation, debris,  unsatisfactory soil materials, obstructions, and deleterious  materials from ground surface prior to placement of fills.  Plow  strip, or break up sloped surfaces steeper than 1 vertical to 4  horizontal so that fill material will bond with existing surface.

  
B.
Place backfill and fill materials evenly adjacent to structures, piping, or conduit to required elevations.  Prevent wedging action of backfill against structures or displacement of piping or conduit by carrying material uniformly around structure, piping, or conduit to approximately same elevation in each lift. 

     C. 
Control soil and fill compaction, providing minimum percentage of density specified. Correct improperly compacted areas or lifts as directed by Architect if soil density tests indicate inadequate compaction.

     D.
 
Percentage of Maximum Density Requirements:

1.
Fill materials shall be compacted from lifts not exceeding 8 in. in loose thickness to not less than 95 percent of standard Proctor (ASTM D 698) maximum dry density at moisture contents within 3 percentage points of the optimum water content.  Fill and backfill materials placed in confined areas such as utility trenches and compacted using hand operated tampers will require the same compactive effort but the loose lifts shall not exceed 5 in. in thickness.  Stability must be evident during compaction of each lift before any subsequent lifts of fill materials are added.

2.
Fill soils adjacent to within about 3 ft of retaining or subgrade walls shall be hand compacted as required to prevent imposition of excessive lateral pressures on the walls by heavy compaction equipment.  These backfill soils shall be placed in loose lifts having a 5-in maximum thickness and compacted to not less than 95 percent of standard Proctor maximum dry density (ASTM D 698).  The remainder of the backfill shall be compacted as indicated above.

3.8       
GRADING

A.
General:  Uniformly grade areas within limits of grading under this section, including adjacent transition areas.   Smooth  finished surface within specified tolerances, compact with uniform levels or slopes between points where elevations are indicated, or between such points and existing grades. 

B.
Grading Outside Building Lines:  Grade areas adjacent to building lines to drain away from structures and to prevent ponding. Finish surfaces free from irregular surface changes.

C.

Grading Surface of Fill Under Building Slabs: Grade smooth and even, free of voids,  compacted as specified, and to required elevation.  

D.
Compaction:  After grading, compact subgrade surfaces to the depth and indicated percentage of maximum or relative density.

3.9

FIELD QUALITY CONTROL

A.

Quality  Control  Testing  During  Construction:  Allow testing service to inspect and approve each subgrade and fill layer before further backfill or construction work is performed as required by Architect.

1.
Perform field density tests in accordance with ASTM D 1556 (sand cone method).

2.
Confirm  suitability  of  select fill material by Atterberg Limit tests at the rate of at least one test per 500 cubic yards.

B.

Building Slab Subgrade:  Perform at least one field density test of subgrade for every 5,000 sq. ft. of building slab.

1.
In each compacted fill layer, perform field density test, as indicated above.

2.
If  in  opinion of Architect, based on testing  service reports and inspection, subgrade or  fills that have been placed are below specified density, perform additional compactio and testing until specified density is obtained.

3.10 

MAINTENANCE
    A.

Protection of Graded Areas: Protect newly graded areas from traffic and erosion.  Keep free of trash and debris.
    B.

Repair and reestablish grades in settled, eroded, and rutted areas to specified tolerances.

    C.

Reconditioning Compacted Areas: Where completed compacted areas are disturbed by subsequent construction operations or adverse weather, scarify surface, reshape, and compact to required density prior to further construction.

3.11 

DISPOSAL OF EXCESS AND WASTE MATERIALS

A.
Removal from Owner's Property: Remove waste materials, including excavated material, trash,

and debris, and dispose of it off Owner's property.

END OF SECTION 02300



EARTHWORK

02300 - 3

