Louisiana Army National Guard

Preliminary Review Documents
141st Readiness Center (RC)

Jackson Barracks, New Orleans, Louisiana

Technical Specifications


SECTION 05120 - STRUCTURAL STEEL
PART 1 - GENERAL
1.1 
SUMMARY

A.
Scope:  This Section includes fabrication and erection of structural steel work, as shown on drawings including schedules, notes, and details showing size and location of members, typical connections, and types of steel required.

B.
Structural steel is that work defined in American Institute of Steel Construction (AISC) "Code of Standard Practice" and as otherwise shown on drawings.

C.
Miscellaneous Metal Fabrications are specified elsewhere in Division 5.

1.2
SUBMITTALS

    A.
General:  Submit the following in accordance with Conditions of Contract and Division 1 Specification Sections.

 B.
Product data or manufacturer's specifications and installation instructions for following products.  Include laboratory test reports and other data to show compliance with specifications (including specified standards).

1.

Structural steel (each type), including certified copies of mill reports covering chemical and 


physical properties.


2
.
High-strength bolts (each type), including nuts and washers.


3.

Structural steel primer paint.


4.

Shrinkage-resistant grout.

    C.
Shop drawings prepared under supervision of a Louisiana licensed Structural Engineer, including complete details and schedules for fabrication and assembly of structural steel members, procedures, and diagrams.

1.

Include details of cuts, connections, camber, holes, and other pertinent data.  Indicate welds by standard AWS symbols and show size, length, and type of each weld.
  2.
Provide setting drawings, templates, and directions for installation of anchor bolts and 


other anchorages to be installed as work of other sections.


3.

See Section Submittals for shop drawings requirements.  Reproductions made from contract drawings will not be accepted.  Submit one sepia and two blueline prints with each submittal. Review of shop drawings by the Architect/Engineer will be for general compliance with contract documents.  No responsibility will be assumed for correctness of dimensions, quantities or details.


4.

Miscellaneous Metal Fabrications are specified elsewhere in Division 5.


5.

All shop drawings used in the field must bear the Architect/Engineer shop drawings review stamp with "Approved" indicated.

    D.
Mill Test Reports:  Submit manufacturer's certified test reports to the testing laboratory and architect 


showing chemical analysis and results of tensile and bending tests.  Tests shall meet the 


requirements of ASTM A6/A6M.

 E.

 Test reports conducted on shop- and field-bolted and welded connections.  Include data on type(s) of





tests conducted and test results.

1.3 
QUALITY ASSURANCE

A.
Standard Specifications:  Except as modified or supplemented by these specifications, materials, 

design, fabrication, and erection of Structural Steel shall be in accordance with the American 

Institute of Steel Construction's "Specifications for Structural Steel for Buildings, Allowable Stress 

Design and Plastic Design", June 1, 1989, and the A.I.S.C. "Code of Standard Practice for Steel 

Buildings and Bridges", September 1, 1986.  A.I.S.C. "Manual of Steel Construction, Allowable 

Stress Design", Ninth Edition.

B.
 Codes and Standards:  Comply with provisions of following, except as otherwise indicated:

 1.

American Institute of Steel Construction (AISC) "Code of Standard Practice for Steel Buildings and Bridges."

a.


Paragraph 4.2.1 of the above code is hereby modified by deletion of the following 




sentence:



"This approval constitutes the Owner's acceptance of all responsibility for the 

design adequacy of any detail configuration of connections developed by the 

fabricator as a part of his preparation of these shop drawings."





2.

AISC "Specifications for Structural Steel Buildings," including "Commentary."



3.

 "Specifications for Structural Joints using ASTM A 325 or A 490 Bolts" approved by the 


 Research Council on Structural Connections.




 4.

   American Welding Society (AWS) D1.1 "Structural Welding Code - Steel."



 5.
       ASTM A 6 "General Requirements for Delivery of Rolled Steel Plates, Shapes, Sheet Piling      and Bars for Structural Use."

 C.

Qualifications for Welding Work:  Qualify welding procedures and welding operators in accordancewith AWS "Qualification" requirements.

1.

Provide certification that welders to be employed in work have satisfactorily passed AWS qualification tests.


2.

If re-certification of welders is required, retesting will be Contractor's responsibility.

1.4 
DELIVERY, STORAGE, AND HANDLING

A.
Deliver materials to site at such intervals to ensure uninterrupted progress of work.

B.
Deliver anchor bolts and anchorage devices, which are to be embedded in cast-in-place concrete or 

masonry, in ample time to not to delay work.

C.
Store materials to permit easy access for inspection and identification.  Keep steel members off 

ground by using pallets, platforms, or other supports.  Protect steel members and packaged materials 

from erosion and deterioration.  If bolts and nuts become dry or rusty, clean and relubricate before 

use.

PART 2 – PRODUCTS
2.1 
MATERIALS

A.
Metal Surfaces, General:  For fabrication of work that will be exposed to view, use only materials that 

are smooth and free of surface blemishes including pitting, rust and scale seam marks, roller marks, 

rolled trade names, and roughness.  Remove such blemishes by grinding, or by welding and grinding, 

prior to cleaning, treating, and applying surface finishes.

B.
Structural Steel Shapes, Plates, and Bars:  ASTM A 572 Grade 50.
C.
Cold-Formed Steel Tubing:  ASTM A 500, Grade B, min. fy = 46 ksi.

D.
Steel Pipe:  ASTM A 53, Type E or S, Grade B; or ASTM A 501, min. fy = 35 ksi.

E.
Anchor Bolts:  ASTM A 307, non-headed type unless otherwise indicated.

F.
Unfinished Threaded Fasteners:  ASTM A 307, Grade A, regular low-carbon steel bolts and nuts.


1. 

Provide hexagonal heads and nuts for all connections.

G.
High-Strength Threaded Fasteners:  Heavy hexagon structural bolts, heavy hexagon nuts, and 

hardened washers, as follows.


1.

Quenched and tempered medium-carbon steel bolts, nuts, and washers, complying with 



ASTM A 325.


2.

Where indicated as galvanized, provide units that are zinc coated, either mechanically deposited complying with ASTM B 695, Class 50, or hot-dip galvanized complying with ASTM A 153.

H.
Electrodes for Welding:  Comply with AWS Code.


 1.

Welding electrodes for manual shielded metal-arc welding shall conform to AWS A5.1 or A5.5 E70XXX welding electrodes and flux used in submerged arc process shall conform to AWS A5.17 F7X-EXXX.  Use low hydrogen electrodes for A572 steel.

    I.
Structural Steel Primer Paint:  Rust-inhibitive conforming to Fed. Spec. TT-P-664 and be compatible 


with finish paint systems.

 J.
Cement Grout:  Portland cement (ASTM C 150, Type I or Type III) and clean, uniformly graded, 

natural sand (ASTM C 404, Size No. 2).  Mix at a ratio of 1.0 part cement to 2.0 parts sand, by 

volume, with minimum water required for placement and hydration.

    K.
Nonmetallic Shrinkage-Resistant Grout: Premixed, nonmetallic, non-corrosive, non-staining product 


containing selected silica sands, Portland cement, shrinkage compensating agents, plasticizing and 


water-reducing agents, complying with CE-CRD-C621.
2.2  
FABRICATION

A.
Shop Fabrication and Assembly:  Fabricate and assemble structural assemblies in shop to greatest 

extent possible.  Fabricate items of structural steel in accordance with AISC Specifications and as 

indicated on final shop drawings.  Provide camber in structural members where indicated.

1.

Properly mark and match-mark materials for field assembly.  Fabricate for delivery 

sequence that will expedite erection and minimize field handling of materials.

2.

Where finishing is required, complete assembly, including welding of units, before start of 



finishing operations.  Provide finish surfaces of members exposed in final structure free of 



markings, burrs, and other defects.

B.
Connections:  Weld or bolt shop connections, as indicated.


1.

Bolt field connections, except where welded connections or other connections are indicated.

C.
Welded Construction:  Comply with AWS Code for procedures, appearance and quality of welds, and 

methods used in correcting welding work.

D.
Holes for Other Work:  Provide holes required for securing other work to structural steel framing and 

for passage of other work through steel framing members, as shown on final shop drawings.

1.

Provide threaded nuts welded to framing and other specialty items as indicated to receive 



other work.


2.

Cut, drill, or punch holes perpendicular to metal surfaces.  Do not flame-cut holes or enlarge holes by burning.  Drill holes in bearing plates.

2.3  
SHOP PAINTING

A.
General:  Shop-paint structural steel, except those members or portions of members to be embedded 

in concrete or mortar.  Paint embedded steel that is partially exposed on exposed portions and initial 2 

inches of embedded areas only. 


1.

Do not paint surfaces to be welded or high-strength bolted with friction-type connections.  



2.

Do not paint surfaces scheduled to receive sprayed-on fireproofing.



3.

Apply 2 coats of paint to surfaces that are inaccessible after assembly or erection.  Change color of second coat to distinguish it from first.

B.
Painting:  Immediately after surface preparation, apply structural steel primer paint in accordance with 

manufacturer's instructions and at a rate to provide dry film thickness of not less than 1.5 mils.  Use 

painting methods that result in full coverage of joints, corners, edges, and exposed surfaces.

2.4  
GALVANIZING

A.
Items shown on the plans to be galvanized and bolts for same shall be hot dip zinc coated after 

fabrications.  Galvanizing shall be done in accordance with A.S.T.M. Serial Designation A123 and 

A153.  Any zinc coating that is damaged shall be touched up with Galvacon as manufactured by 

Southern Coatings in accordance with the manfacturer's recommendations.

2.5  
SOURCE QUALITY CONTROL

A.
General:  Materials and fabrication procedures are subject to inspection and tests in mill, shop, and 

field, conducted by a qualified inspection agency.  Such inspections and tests will not relieve 

Contractor of responsibility for providing materials and fabrication procedures in compliance with 

specified requirements.

1.

Promptly remove and replace materials or fabricated components that do not comply.

B.
Design of  Members and Connections:  Details shown are typical; similar details apply to similar 

conditions, unless otherwise indicated.  Verify dimensions at site whenever possible without causing 

delay in the work.

1.

Promptly notify Architect whenever design of members and connections for any portion 

of structure are not clearly indicated.

PART 3 - EXECUTION

3.1  
ERECTION

   A.
Temporary Shoring and Bracing:  Provide temporary shoring and bracing members with connections 


of sufficient strength to bear imposed loads.  Remove temporary Members and connections when 


permanent members are in place and final connections are made.  Provide temporary guy lines to 


achieve proper alignment of structures as erection proceeds.

  B.
Temporary Planking:  Provide temporary planking and working platforms as necessary to effectively 

complete work.

  C.
Setting Bases and Bearing Plates:  Clean concrete and masonry bearing surfaces of bond-reducing 

materials and roughen to improve bond to surfaces.  Clean bottom surface of base and bearing 

plates.

1.

Set loose and attached base plates and bearing plates for structural members on wedges or other adjusting devices.


2.

Tighten anchor bolts after supported members have been positioned and plumbed. Do not 

remove wedges or shims, but if protruding, cut off flush with edge of base or bearing plate 

prior to packing with grout.



3.

Pack grout solidly between bearing surfaces and bases or plates to ensure that no voids remain.  Finish exposed surfaces, protect installed materials, and allow to cure.


4.

For proprietary grout materials, comply with manufacturer's instructions.

 D.
Field Assembly:  Set structural frames accurately to lines and elevations indicated.  Align and adjust various members forming part of complete frame or structure before permanently fastening.  Clean bearing surfaces and other surfaces that will be in permanent contact before assembly.  Perform necessary adjustments to compensate for discrepancies in elevations and alignment.

1.

Level and plumb individual members of structure within specified AISC tolerances.


2.

Splice members only where indicated and accepted on shop drawings.
 E.

Erection Bolts:  On exposed welded construction, remove erection bolts, fill holes with plug welds, and grind smooth at exposed surfaces.

1.

Comply with AISC Specifications for bearing, adequacy of temporary connections, alignment, and removal of paint on surfaces adjacent to field welds.


2.

Do not enlarge unfair holes in members by burning or by using drift pins, except in secondary bracing members.  Ream holes that must be enlarged to admit bolts.

F.

Gas Cutting:  Do not use gas cutting torches in field for correcting fabrication errors in primary structural framing.  Cutting will be permitted only on secondary members that are not under stress, as acceptable to Architect.  Finish gas-cut sections equal to a sheared appearance when permitted.

G.

Touch-Up Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint.  Apply paint to exposed areas using same material as used for shop painting.


1.

Apply by brush or spray to provide minimum dry film thickness of 1.5 mils.

3.2. 
QUALITY CONTROL


A.
The Contractor shall engage an independent testing and inspection agency to inspect high-strength bolted  welded connections and to perform tests and prepare test reports.

1.

Testing agency shall conduct and interpret tests, state in each report whether test 

specimens comply with requirements, and specifically state any deviations therefrom.


2.

Provide access for testing agency to places where structural steel work is being 

fabricated or produced so that required inspection and testing can be accomplished.



3.

Testing agency may inspect structural steel at plant before shipment.


 B.
Correct deficiencies in structural steel work that inspections and laboratory test reports have indicated to be not in compliance with requirements.  Perform additional tests, at Contractor's expense, as necessary to reconfirm any noncompliance of original work and to show compliance of corrected work.

  C.
Shop-Bolted Connections:  Inspect or test in accordance with AISC specifications.
Verify that gaps of installed Direct Tension Indicators are less than gaps specified in ASTM F 959, Table 2.
  D.
Shop Welding:  Inspect and test during fabrication of structural steel assemblies, as follows:



1.

Certify welders and conduct inspections and tests as required.  Record types and locations of defects found in work.  Record work required and performed to correct deficiencies.   


2.

Perform visual inspection of all welds.

3.

Perform tests of welds as follows.



Ultrasonic Inspection:  ASTM E 164.
  E.

Field-Bolted Connections:  Inspect in accordance with AISC specifications.
  F.

Field Welding:  Inspect and test during erection of structural steel as follows:


1.

Certify welders and conduct inspections and tests as required.  Record types and locations of defects found in work.  Record work required and performed to correct deficiencies.


2.

Perform visual inspection of all welds.


3.

Perform tests of welds as follows:



Ultrasonic Inspection:  ASTM E 164.

END OF SECTION 05120

STRUCTURAL STEEL
05120 - 1

