FireSteel™ – Protected Secondary Containment Generator Base Tank

	Phoenix Products invented the fire-rated generator base tank and holds three patents issued by the U.S. Patent & Trademark Office (No. 6,026,975; 6,257,437; 6,349,873)


	· UL Listed Special Purpose Tank - Protected Secondary Containment Generator Base Tank 

· UL 142, UL 2085, NFPA 30, 37 and 110 

· Full scale fire tested – limited primary tank temperature to average 260° F rise 

· Vehicle impact tested – 12,000 lb. vehicle at 10 mph 

· Projectile tested – 150-grain, 30-caliber bullet, muzzle velocity 2700 fps from 100’ 

· Load tested – 1000 lbs. per square foot 

1. Double-walled rectangular steel tank is a UL listed special purpose tank, secondarily contained and protected, and vaulted with special light-weight concrete. 

2. Tank supports generators weighing up to 60,000 pounds. 

3. 30-year warranty covers primary tank, secondary tank, and concrete vaulting. 

4. Concrete vaulting between inner and outer tank provides minimum two-hour firewall rating per Uniform Building Code. 

5. Includes earthquake/hurricane restraint tie-downs. 

6. Coated with proprietary high-build polyester glass flake and a finish coat of polyurethane. 

[image: image1.jpg]



[image: image2.jpg]





	MODEL
	CAPACITY IN GALLONS
	WIDTH
	LENGTH
	HEIGHT

	GSEV-0300
	300
	SIZED PER USER REQUIREMENTS

	GSEV-0400
	400
	SIZED PER USER REQUIREMENTS

	GSEV-0500
	500
	SIZED PER USER REQUIREMENTS

	GSEV-0600
	600
	SIZED PER USER REQUIREMENTS

	GSEV-1000
	1000
	SIZED PER USER REQUIREMENTS

	GSEV-1500
	1500
	SIZED PER USER REQUIREMENTS

	GSEV-2000
	2000
	SIZED PER USER REQUIREMENTS

	GSEV-3000
	3000
	SIZED PER USER REQUIREMENTS

	GSEV-4000
	4000
	SIZED PER USER REQUIREMENTS

	GSEV-5000
	5000
	SIZED PER USER REQUIREMENTS

	GSEV-6000
	6000
	SIZED PER USER REQUIREMENTS

	GSEV-8000
	8000
	SIZED PER USER REQUIREMENTS

	GSEV-10000
	10000
	SIZED PER USER REQUIREMENTS

	GSEV-12000
	12000
	SIZED PER USER REQUIREMENTS

	GSEV-13500
	13500
	SIZED PER USER REQUIREMENTS


