Copyright 2003 and 2005 AIA
MASTERSPEC Full Length
02/03 (R 05/05)

Copyright 2003 and 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 116143 - STAGE CURTAINS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes stage curtains and rigging.

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

1. Division 05 Section "Metal Fabrications" for supplementary metal members supporting stage-curtain systems to structure.

2. Division 26 Sections for electrical wiring and connections and for installation of remote-control switches for draw-curtain machines.

1.3 DEFINITIONS

Retain definitions and terms that remain after this Section has been edited.

A. Batten:  Steel pipe supporting curtain by means of cables [or chains] from overhead structural support.

B. Overlap:  Track that extends beyond curtain centerline to ensure closure of biparting curtain.

C. Rigging:  General term for hardware used to move scenery, lights, or curtains on or over the stage.

D. Scrim:  Loosely woven fabric curtain that appears opaque when lit from the front and transparent when backlit.

E. Trim:  Adjustment of height or level of curtain or equipment.

1.4 PERFORMANCE REQUIREMENTS

Revise paragraph and subparagraph below to suit Project or delete Article.  Consult a structural engineer experienced in engineering assemblies of type indicated to quantify design loads applicable to Project.  Verify compliance with codes.  See Evaluations.

A. Structural Performance:  Provide rigging capable of withstanding the effects of the following design loads and the weight of stage curtains.

1. Design Loads:  [As indicated] <Insert design loads>.

1.5 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. Shop Drawings:  Show fabrication and installation details for stage curtains.  Include plans, elevations, sections, details, attachments to other work, and the following:

1. Operating clearances.

2. Requirements for supporting curtains, track, and equipment.  Verify capacity of each track and rigging component to support loads.

3. Locations of equipment components, switches, and controls.  Differentiate between manufacturer-installed and field-installed wiring.

Retain subparagraph below if Architect has either delegated design responsibility to Contractor or wants to review structural data.  Professional engineer qualifications are specified in Division 01 Section "Quality Requirements."

4. Include structural analysis data for rigging signed and sealed by the qualified professional engineer responsible for their preparation.

C. Samples for Initial Selection:  For each type of stage curtain indicated; include color charts showing the full range of colors, textures, and patterns available, together with a 12-inch- (300-mm-) square sample (any color) of each type fabric.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph and subparagraph below with or without above.

D. Samples for Verification:  For each type of fabric from dye lot to be used for the Work, with specified treatments applied, and showing complete pattern and texture repeat, if any.  Mark top and face of fabric.  Prepare Samples of size indicated below.

1. Size:  Not less than [36 inches (900 mm)] <Insert size> square.

E. Product Certificates:  For each type of [product] [fabric], signed by product manufacturer.

Delete subparagraph below if labels alone are sufficient.

1. Fabric:  Give name of flame-retardant chemical used, identification of applicator, treatment method, application date, allowable life span for treatment, and details of any restrictions and limitations.

Delete subparagraph below if not required.

2. Rigging:  Suspended [battens and] tracks comply with requirements.

Coordinate first paragraph below with qualification requirements retained in Division 01 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

F. Qualification Data:  For Installer.  Include lists of completed projects with project names and addresses, names and addresses of architects and owners, and other information specified.

G. Maintenance Data:  For stage curtains and rigging to include in maintenance manuals.

H. Warranties:  Special warranties specified in this Section.

1.6 QUALITY ASSURANCE

A. Installer Qualifications:  A firm or individual experienced in installing stage curtains and rigging similar in material, design, and extent to those indicated for this Project, whose work has resulted in applications with a record of successful in-service performance.

B. Fire-Test-Response Characteristics:  Provide stage curtains with the fire-test-response characteristics indicated, as determined by testing identical products per test method indicated below by UL or a testing and inspecting agency acceptable to authorities having jurisdiction.

1. Flame-Resistance Ratings:  NFPA 701.

Retain subparagraph above and below if stage curtain is considered by authorities having jurisdiction to be a vertical hanging subject to vertical ignition tests.  See Evaluations for explanation of tests per NFPA 701.  Revise if required by authorities having jurisdiction.

2. Permanently attach label to each fabric of curtain assembly indicating whether fabric is inherently and permanently flame resistant or treated with flame-retardant chemicals, and whether it will require retreatment after designated time period or cleaning.

Retain paragraph below if draw-curtain machine is specified.

C. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 01.

D. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 01 Section "Project Management and Coordination."

1.7 PROJECT CONDITIONS

A. Field Measurements:  Verify stage-curtain openings and the dimensions of other construction by field measurements before fabrication and indicate measurements on Shop Drawings.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 01 Section "Product Requirements."

A. Special Warranty for Rigging Equipment:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of rigging equipment that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to faulty operation of rigging equipment.

Verify available warranties for units and components and insert number below.

B. Warranty Period:  [Two] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 CURTAIN FABRICS

Copy paragraphs and subparagraphs below and re-edit them to suit Project.

A. General:  Provide fabrics inherently and permanently flame resistant or chemically flame resistant by immersion treatment to comply with requirements indicated.  Provide fabrics from the same dye lot.

Paragraph below is an example description of woven cotton velour fabric suitable for front curtain, valance, and tormentors.  Revise or insert another description to suit Project; delete if not applicable.

B. Woven Cotton Velour:  Napped fabric of 100 percent cotton; 54-inch (1372-mm) minimum width.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

Heavyweight velour in first subparagraph below is an example of fabric suitable for front-setting curtains.

a. Heavyweight:  Fabric weighing not less than 25 oz./linear yard (775 g/linear meter) before flame-retardant treatment, with pile height not less than 79 mils (2 mm).

1) Frankel Associates, Inc.; 950.

2) JB Martin Ltd.; #2703 Overture.

3) J. L. de Ball America, Inc.; #31010 Metro.

4) KM Fabrics, Inc.; Memorable.

5) Valley Forge Fabrics, Inc.; 2525 Velour.

6) <Insert manufacturer's name; product name or designation.>

b. Colors[, Textures, and Patterns]:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Medium-weight velour in first subparagraph below is an example of fabric suitable for front-, intermediate-, or cyclorama-setting curtains, borders, and side legs.  Intermediate-setting curtain fabric is usually at least one step down in weight from front-setting fabric.  Currently, fabrics for cyclorama-setting curtains are often used for intermediate-setting curtains.

c. Medium Weight:  Fabric weighing not less than 20 oz./ linear yard (620 g/linear meter) before flame-retardant treatment, with pile height not less than 75 mils (1.9 mm).

1) Frankel Associates, Inc.; 650.

2) JB Martin Ltd.; #2603 Concertino.

3) J. L. de Ball America, Inc.; # 31138 Sydney.

4) KM Fabrics, Inc.; Marvel.

5) Valley Forge Fabrics, Inc.; 2020 Velour.

6) <Insert manufacturer's name; product name or designation.>

d. Colors[, Textures, and Patterns]:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Lightweight velour in first subparagraph below is an example of fabric suitable for intermediate- or cyclorama-setting curtains.

e. Lightweight:  Fabric weighing not less than 15 oz./linear yard (465 g/linear meter) before flame-retardant treatment, with pile height not less than 59 mils (1.5 mm).

1) JB Martin Ltd.; #2503 Melody.

2) KM Fabrics, Inc.; Princess.

3) Valley Forge Fabrics, Inc.; 16 oz. Velvet.

4) <Insert manufacturer's name; product name or designation.>

f. Colors[, Textures, and Patterns]:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

First paragraph below is an example description of polyester velour fabric suitable for front-, intermediate-, or cyclorama-setting curtains.  Consider retaining polyester velour for curtains in locations outdoors or with humid ambient conditions.  See Evaluations.

C. Polyester Velour:  Napped fabric of 100 percent polyester weighing not less than 23 oz./linear yard (715 g/linear meter), with pile height approximately 75 mils (1.9 mm); inherently and permanently flame resistant; 54-inch (1372-mm) minimum width.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

a. J. L. de Ball America, Inc.; Diablo.

b. KM Fabrics, Inc.; Prestige.

c. <Insert manufacturer's name; product name or designation.>

3. Colors[, Textures, and Patterns]:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

D. Lining:  Yarn-dyed denim cloth of 100 percent cotton; woven in a warp-faced twill; 54-inch (1372-mm) minimum width.

Retain one or more of eight paragraphs and associated subparagraphs below, which are example descriptions of fabrics that are suitable for intermediate- or cyclorama-setting curtains.

E. Commando:  100 percent cotton, short-napped fabric weighing not less than 16 oz./linear yard (495 g/linear meter) before flame-retardant treatment; twill weave with soft uniform texture; 54-inch (1372-mm) minimum width.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Dazian; Duvetyne Heavy Weight.

b. Fred Krieger & Co., Inc.; Heavy Commando.

c. Rose Brand; Black Commando.

d. Valley Forge Fabrics, Inc.; Commando.

e. <Insert manufacturer's name; product name or designation.>

Duvetyn in first paragraph below may weigh 8 or 12 oz./linear yard (250 or 370 g/linear meter).  Verify weight with manufacturer.

F. Duvetyn:  100 percent cotton, short-napped fabric weighing not less than [8 oz./linear yard (250 g/linear meter)] <Insert weight> before flame-retardant treatment; twill weave with soft uniform texture; 54-inch (1372-mm) minimum width.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Dazian; Duvetyne Light Weight.

b. Frankel Associates, Inc.; Duvetyne.

c. Fred Krieger & Co., Inc.; Duvetyne.

d. Rose Brand; Duvetyn.

e. <Insert manufacturer's name; product name or designation.>

G. Synthetic Boucle:  100 percent synthetic, polyester yarn, or consisting of SEF modacrylic, saran, and rayon fibers, weighing not less than 14 oz./linear yard (435 g/linear meter); inherently and permanently flame resistant; 48-inch (1219-mm) minimum width.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Frankel Associates, Inc.; Bolero Boucle.

b. Fred Krieger & Co., Inc.; Nevada.

c. Rose Brand; Vegas/Reno.

d. Valley Forge Fabrics, Inc.; Austin.

e. <Insert manufacturer's name; product name or designation.>

H. Repp, Atlas Oxford:  100 percent heavyweight cotton woven fabric; 54-inch (1372-mm) minimum width:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Fred Krieger & Co., Inc.; Atlas Oxford.

b. Rose Brand; Atlas Oxford.

c. <Insert manufacturer's name; product name or designation.>

I. Repp, Nassau Chevron:  100 percent heavyweight cotton woven fabric; 54-inch (1372-mm) minimum width:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Frankel Associates, Inc.; Nassau Chevron.

b. Fred Krieger & Co., Inc.; Nassau Chevron.

c. Rose Brand; Nassau Chevron.

d. Valley Forge Fabrics, Inc.; Nassau Chevron.

e. <Insert manufacturer's name; product name or designation.>

3. Colors[, Textures, and Patterns]:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

J. Polyester:  Woven fabric of 100 percent polyester yarn weighing not less than 13 oz./linear yard (400 g/linear meter); inherently and permanently flame resistant; 54-inch (1372-mm) minimum width.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Dazian; PD Cloth.

b. Frankel Associates, Inc.; Cyc-Clone.

c. Rose Brand; Cyc Cloth.

d. Valley Forge Fabrics, Inc.; Wiz Key.

e. <Insert manufacturer's name; product name or designation.>

3. Colors[, Textures, and Patterns]:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Paragraph and subparagraphs below are example descriptions of scrim fabric.

K. Sharkstooth Scrim:  Open-weave, seamless, lightweight gauze fabric.

Retain one of first three subparagraphs below or insert another.  First fabric is also available in 15-, 19-, and 35-foot (4.6-, 5.8-, and 10.7-m) widths.  Third is also available in 40-foot (12.2-m) width.

1. Fabric:  100 percent cotton or 95 percent cotton/5 percent polyester weighing not less than 29 oz./linear yard (899 g/linear meter); [30-foot (9-m)] <Insert dimension> minimum width.

2. Fabric:  100 percent polyester weighing not less than 37 oz./linear yard (1147 g/linear meter); inherently and permanently flame resistant; 36-foot (11-m) minimum width.

Fabric in subparagraph below is for indoor or outdoor use; it can be painted.

3. Fabric:  100 percent polyester/modacrylic blend weighing not less than 40 oz./linear yard (1240 g/linear meter); inherently and permanently flame resistant; suitable for all weather applications; [36 foot (11-m)]<Insert dimension> minimum width.

Select one color in subparagraph below or insert another.  Not all colors are available for all fabric types.

4. Color:  [White] [Black] [Gray] [Blue] <Insert color>.

Paragraph and subparagraphs below are example descriptions of sky-drop fabric.

L. Muslin:  Sheer, plain-woven fabric.

Muslin in subparagraph below is available in 12-, 16-, 19-, 25-, 33-, and 40-foot (3.7-, 4.9-, 5.8-, 7.6-, 10.0-, and 12.2-m) widths for seamless sky drops but is progressively more expensive.

1. Fabric:  100 percent cotton weighing not less than 16 oz./linear yard (495 g/linear meter); [100-inch (2540-mm)] <Insert dimension> minimum width.

Retain subparagraph above or below or insert another.  Revise below for heavier weight of 17 oz./linear yard (527 g/linear meter) if required to suit Project.

2. Fabric:  100 percent polyester weighing not less than [11.75 oz./linear yard (364 g/linear meter)] <Insert weight>; inherently and permanently flame resistant; [106-inch (2692-mm)] <Insert dimension> minimum width.

Select one color in subparagraph below or insert another.  Not all colors are available for all fabric types.

3. Color:  [White] [Black] [Gray] [Blue] <Insert color>.

2.2 CURTAIN FABRICATION

A. General:  Affix permanent label, stating compliance with requirements of authorities having jurisdiction, in accessible location on curtain not visible to audience.  Provide vertical seams, unless otherwise indicated.  Arrange vertical seams so they do not fall on faces of pleats.  Do not use fabric cuts less than one-half width.

If required for professional theater installations, select option in subparagraph below.

1. Vertical Hems:  Provide vertical hems not less than 2 inches (50 mm) wide, [and not less than 4 inches (102 mm) wide at borders, valance, and tormentors,] with not less than a 1-inch (25-mm) tuck, and machine-sewn with no selvage material visible from front of curtain.  Sew open ends of hems closed.

If required for professional theater installations, revise first subparagraph below to turnbacks formed by one-half width of face fabric.

2. Leading Edge Turnbacks:  Provide turnbacks formed by folding not less than [12 inches (300 mm)] [one-half width] of face fabric back, with not less than a 1-inch (25-mm) tuck, and secured by sewing turnbacks vertically.

3. Top Hems:  Reinforce top hems by double-stitching 3-1/2-inch- (89-mm-) wide, heavy jute webbing to top edge with not less than 2 inches (50 mm) of face fabric turned under.

4. Pleats:  Provide 50 percent fullness in curtains, exclusive of turnbacks and hems, by sewing additional material into 3-inch (75-mm) double-stitched box pleats spaced at 12 inches (300 mm) o.c. along top hem reinforcement.

Retain subparagraph above or first subparagraph below or revise if more than one fullness is required for different curtains or if plain pleating or another style fullness is required.  6-inch (150-mm) pleats on 12-inch (300-mm) centers are typical for biparting front curtains.  See Evaluations.

5. Pleats:  Provide 100 percent fullness in curtains, exclusive of turnbacks and hems, by sewing additional material into 6-inch (150-mm) double-stitched box pleats spaced at 12 inches (300 mm) o.c. along top hem reinforcement.

6. Grommets:  Brass, No. 3, centered on each box pleat and 1 inch (25 mm) from corner of curtain, for snaps or S-hooks.

a. For black curtains, provide brass or aluminum grommets with black finish.

7. Bottom Hems:

a. For curtains that do not hang to the floor, provide hems not less than 3 inches (75 mm) deep with 3/4-inch (19-mm) weight tape.

b. For floor-length curtains, provide hems not less than 6 inches (150 mm) deep with 1-inch (25-mm) weight tape.  Sew open ends of hems closed.

Delete subparagraph above or first subparagraph below.  Retain below for professional theater installations.

c. For floor-length curtains, provide hems not less than 6 inches (150 mm) deep with separate, interior, 100 percent cotton, heavy canvas chain pocket equipped with proof coil chain.  Stitch chain pockets so chain will ride 2 inches (50 mm) above finished bottom edge of curtain.

1) Proof Coil Chain:  Grade 30, No. 8, zinc plated, 3/16 inch (4.7 mm), ASTM A 413/A 413M.

8. Velour Curtains:  Fabricate with the fabric nap down.

Delete subparagraph above or below if not applicable.

9. Lining:  Provide lining for each curtain in same fullness as face fabric, and finished 2 inches (50 mm) shorter than face fabric.  Attach lining to face fabric along bottom and side seams with 4-inch- (100-mm-) long strips of heavy woven cotton tape.

Retain only applicable paragraphs in remainder of this Article.

B. Scrim:  Fabricate from scrim curtain fabric, sewn flat.  Provide a continuous 6-inch (150-mm) pipe pocket at bottom with a 6-inch (150-mm) flap of same fabric in front of pocket.  Provide, double-stitched, 3-1/2-inch (89-mm) jute webbing at top with not less than No. 2 brass grommets spaced at 12 inches (300 mm) o.c. and 1 inch (25 mm) from corner of curtain.  Provide not less than a 2-inch (50-mm) double-folded side hem and a 4-inch (100-mm) bottom hem.

C. Sky Drop:  Fabricate from muslin fabric, sewn flat with either horizontal or vertical seams to suit Project, and selvage to the rear.  Provide 6-inch (150-mm) pipe pocket at bottom with a 6-inch (150-mm) flap of same fabric in front of pocket.  Provide double-stitched, 3-1/2-inch (89-mm) jute webbing at top with not less than No. 2 brass grommets spaced at 12 inches (300 mm) o.c. and 1 inch (25 mm) from corner of curtain.  Provide not less than a 2-inch (50-mm) double-folded side hem and a 4-inch (100-mm) bottom hem.

Retain paragraph below for batten-hung curtains, scrims, and sky drops.

D. Tie Lines:  Braided soft cotton, black or white to best match curtain; not less than 5/8 inch (16 mm) wide by 36 inches (900 mm) long.

2.3 RIGGING

Retain first paragraph below for battens as stiffener for suspended track and as support for fixed valances and ceiling borders.  Insert galvanizing requirements if desired.  Possibly change pipe to 1-1/4 inches (32 mm) for small or lightweight installations.

A. Curtain Battens:  Fabricate battens from steel pipe with a minimum number of joints.  As necessary for required lengths, connect pipe with a drive-fit pipe sleeve not less than 18 inches (450 mm) long, and secure with four flush rivets, plug welds, threaded couplings, or another equally secure method.  Shop-paint completed pipe battens with black paint and with 1-inch- (25-mm-) wide yellow stripe at the center of each batten.

1. Steel Pipe:  ASTM A 53/ A 53M, Grade A, standard weight (Schedule 40), black, 1-1/2-inch (40-mm) nominal diameter, unless otherwise indicated.

B. S-Hooks:  Track manufacturer's heavy-duty plated-wire hooks.

Retain paragraph above or first paragraph below for track-mounted curtains.

C. Snap Hooks:  Track manufacturer's heavy-duty hooks.

D. Supports, Clamps, and Anchors:  Sheet steel in manufacturer's standard thicknesses, galvanized after fabrication according to ASTM A 153/A 153M, Class B.

Retain one or both of first two paragraphs below for suspending and leveling pipe battens and curtain tracks.  See Evaluations for cautions about trim and support using cable or chain.  Design calculations in "Submittals" Article should include breaking strength and loading requirements of trim cable or chain.

E. Trim and Support Cable:  1/4-inch- (6-mm-) diameter, 7x19 galvanized steel aircraft cable with a breaking strength of 7000 lb (3175 kg).  Provide fittings complying with cable manufacturer's written recommendations for size, number, and method of installation, including a drop-forged galvanized turnbuckle to allow for leveling.

F. Trim and Support Chain:  Grade 80 hardened alloy steel chain rated for overhead lifting, ASTM A 391/A 391M.

G. Inserts, Bolts, Rivets, and Fasteners:  Manufacturer's standard corrosion-resistant units.

Products listed in remainder of this Article are examples only and not necessarily similar or comparable to all possible variables included in the Section Text.

Insert splicing clamps in first paragraph below if required.  24- to 26-foot (7.3- to 7.9-m) track length is available without splice, depending on manufacturer.  Verify manufacturer's published working load for curtain weight per unit of length.  Some track is available with black finish and can be inserted below to suit Project.

H. Aluminum [Curved] Track:  Fabricate of extruded aluminum, ASTM B 221 (ASTM B 221M), alloy and temper recommended by manufacturer for strength and corrosion resistance, mill finish, not less than 0.08-inch (2.03-mm) nominal thickness.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Automatic Devices Company; [Flex-I-Track 100 series] [Rig-I-Flex 140 series] [Patriarc 500 series].

b. H & H Specialties, Inc.; [300 series] [500 series].

c. Tru-Roll, Inc.; Tru-Roll Model No. 2300.

d. <Insert manufacturer's name; product name or designation.>

I. Steel Track:  Fabricate of roll-formed, galvanized, commercial-quality, zinc-coated steel sheet; complying with ASTM A 653/A 653M, G60 (Z180) coating designation, with continuous bottom slot, and with each half of track in one continuous piece.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Automatic Devices Company; [Besteel 100 series] [Silent Steel 200 series].

b. H & H Specialties Inc.; [200 series] [400 series].

c. <Insert manufacturer's name; product name or designation.>

First option in subparagraph below is for medium-duty track; second option is for heavy-duty track.  Manufacturers offer straight steel track only.

3. Minimum Base-Metal Thickness:  Not less than [0.0528 inch (1.35 mm)] [0.0677 inch (1.7 mm)].

2.4 DRAW-CURTAIN MACHINES

Retain this Article for draw-type action; revise for lift, roll-up, and masking actions.  Use galvanized wire cable with synthetic-fiber jacket cover for operating lines with machine-operated curtains.  Products listed are examples only and not necessarily similar or comparable to all possible variables included in the Section Text.

Motor and control type and switch location are safety issues when children will be backstage, such as for school and church projects.  Insert requirements in first paragraph below for wall- or track-mounting machines and sheet metal machine enclosures available from manufacturers.

A. General:  Provide operating machine of size and capacity recommended and provided by track manufacturer for curtain specified, with electric motor and factory-prewired motor controls, starter, gear-reduction unit, and remote controls.  Coordinate wiring requirements and electrical characteristics with building electrical system.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 01 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

Models in subparagraphs below are for 1/2-hp cable drum and 1/3-hp traction machines, and are examples only.  Consult machine manufacturers for recommendations for specific installations.  Different-sized machines may be required for different curtain settings.

a. Automatic Devices Company; [Autodrape Model No. 1454] [Silver Service Model No. 2904].

b. H & H Specialties Inc.; Atlas Silk Model No. [454] [459].

c. Tru-Roll, Inc.; Tru-Roll Traction Drive.

d. <Insert manufacturer's name; product name or designation.>

B. Operator Type:  Cable drum with grooved drum and cable tension device to automatically take up cable slack and retain cable in grooves.

Retain paragraph above or below.  Above is suitable for large curtains but requires floor space for installation.  Below is for medium and long curtains and can be located off floor.  Coordinate machine, track, and curtain selection and verify with track manufacturer.

C. Operator Type:  Traction drive.

Limit switches are not available for nonautomatic draw-curtain machines that use momentary contact switches.

1. Limit Switches:  Fully closed and fully opened preset stops.

Motor characteristics such as NEMA designation, service factor, and enclosure type are discussed in the Evaluations and Section Text in Division 11 Section "Common Motor Requirements for Equipment."  If different characteristics are required, add subparagraphs below to suit Project.  Verify electrical characteristics with electrical engineer.

D. Motor Characteristics:  Sufficient to start, accelerate, and operate connected loads at designated speeds within installed environment and with indicated operating sequence, and without exceeding nameplate rating or considering service factor.  Comply with NEMA MG-1, and the following:

1. Voltage:  [120 V] [208-220 V] [NEMA standard voltage selected to operate on nominal circuit voltage to which motor is connected.] <Insert voltage>.

2. Horsepower:  [1/3] [1/2] <Insert horsepower>.

3. Enclosure:  [Open dripproof.] [Totally enclosed.] [Manufacturer's standard.]

4. Duty:  Continuous duty at ambient temperature of 105 deg F (40 deg C) and at altitude of 3300 feet (1005 m) above sea level.

5. Service Factor:  1.15 for open dripproof motors; 1.0 for totally enclosed motors.

6. Phase:  [One] [Polyphase].

Revise paragraph and subparagraphs below if machine selected has toggle-type switch.  Insert requirements for multiple control stations, if any.

E. Remote-Control Station:  Provide momentary-contact, three-button control station with push-button controls labeled "Open," "Close," and "Stop."

1. Provide key-operated switches, keyed alike, with one key per switch plus one extra key.

Revise subparagraph above or below to suit Project, or delete both and insert another.  Key operation or other safety precaution is recommended for school installations.

2. Provide key-accessed control enclosures, keyed alike, with one key per switch plus one extra key.

Insert requirements for accessories such as pivot arms to rotate curtain position and switching devices for switching curtains to another track.

2.5 STEEL-CURTAIN-TRACK FABRICATION

Retain one of two paragraphs and associated subparagraphs below for track duty or insert another system.  Use heavy duty for tracks 30 feet (9 m) long and longer, and medium duty for tracks less than 30 feet (9 m) long.  Verify that track can support weight of curtain selected.  Revise carrier wheel material to nylon for heavy curtains.

A. Heavy-Duty Track System:  Equip track with heavy-duty, live-end, double-wheel pulley; heavy-duty, dead-end, single-wheel pulley; and adjustable, heavy-duty floor block; each with not less than 5-inch (125-mm) molded-nylon- or glass-filled-nylon-tired ball-bearing wheels, enclosed in steel housings.  Provide single curtain carriers of [plated steel] [molded nylon] with a pair of [nylon] [neoprene]-tired ball-bearing wheels riveted parallel to body.  Provide one master carrier, for each leading curtain edge, of plated steel with two pairs of [nylon] [neoprene]-tired ball-bearing wheels and with two line guides per carrier.  Equip carriers with neoprene or rubber bumper to reduce noise, and heavy-duty, plated-steel swivel eye and manufacturer's standard trim chain for attaching curtain snap or S-hook.  Provide end stops for track.  Design adjustable floor block to maintain proper tension on operating line.

1. Operating Line:  Manufacturer's standard 3/8-inch (9-mm) stretch-resistant operating cord consisting of braided synthetic-fiber jacket over solid, synthetic-fiber, linear, center filaments.

Retain subparagraph above for manual operation; retain subparagraph below for drum-driven machine operation or revise to suit pulleys, floor blocks, and curtain machine selected.  Delete both for walk-along curtains.

2. Operating Line:  Manufacturer's standard 3/16-inch (4.7-mm) stretch-resistant operating cable consisting of braided synthetic-fiber jacket over galvanized wire-center cable.

Retain subparagraph below if draw-curtain track is rigged for biparting, overlapping curtain closure; delete if one-way draw.

3. Track Lap Clamp:  Metal to match track channel for attaching double-sectioned track at center overlap.

If curtain-pleat spacing is revised in "Curtain Fabrication" Article, revise carrier spacing in subparagraph below to match.

4. Curtain Carriers:  For track spaced at 12 inches (300 mm) o.c.

Delete subparagraph below if not required.  See Evaluations.

5. Fold Guide:  Equip carriers with rear-fold or backpack guide and rubber spacers to permit offstage curtain folding, sized for use with operating line if any.

Revise paragraph below, deleting requirements for pulleys and floor blocks, to combine straight track with walk-along operation and curved track sections in "Aluminum-Curtain-Track Fabrication" Article.

B. Medium-Duty Track System:  Equip track with adjustable, single- and double-end pulley and floor blocks containing guarded ball-bearing wheels.  Provide single curtain carriers of plated steel with a pair of [nylon] [neoprene] wheels riveted parallel to body.  Provide one master carrier, for each leading curtain edge, of plated steel with two pairs of [nylon] [neoprene] wheels and with two line clamps per carrier.  Equip carriers with plated-steel swivel eye for attaching curtain snap or S-hook.  Provide end stops for track and an adjustable floor block designed for maintaining proper tension on 1/4-inch (6-mm) stretch-resistant operating cord consisting of braided synthetic-fiber jacket over solid, synthetic-fiber, linear, center filaments.

1. Operating Line:  Manufacturer's standard 3/8-inch (9-mm) stretch-resistant operating cord consisting of braided synthetic-fiber jacket over solid, synthetic-fiber, linear, center filaments.

Retain subparagraph above for manual operation; retain subparagraph below for drum-driven machine operation or revise to suit pulleys, floor blocks, and curtain machine selected.  Delete both for walk-along curtains.

2. Operating Line:  Manufacturer's standard 3/16-inch (4.7-mm) stretch-resistant operating cable consisting of braided synthetic-fiber jacket over galvanized wire-center cable.

Retain subparagraph below if draw-curtain track is rigged for biparting, overlapping curtain closure; delete if one-way draw.

3. Track Lap Clamp:  Metal to match track channel for attaching double-sectioned track at center overlap.

If curtain-pleat spacing is revised in "Curtain Fabrication" Article, revise carrier spacing in subparagraph below to match.

4. Curtain Carriers:  For track spaced at 12 inches (300 mm) o.c.

Delete subparagraph below if not required.  See Evaluations.

5. Fold Guide:  Equip carriers with rear-fold or backpack guide and rubber spacers to permit offstage curtain folding, sized for use with operating line if any.

2.6 ALUMINUM-CURTAIN-TRACK FABRICATION

Products listed in this Article are examples only and not necessarily similar or comparable to all possible variables included in the Section Text.

A. General:  Fabricate [straight] [and] [curved] aluminum curtain tracks for walk-along operation, without cord, cable, pulleys, or floor block, designed for rigid attachment to ceiling or hanging clamps.

Revise subparagraph below or delete if fabrication at site is acceptable.  Aluminum track is usually bent in the field.

1. Shop-fabricate curved portions of track.

If required, insert splicing clamps in paragraph below.

B. Aluminum Track System:  Fabricate track of 0.125-inch- (3.1-mm-) thick extruded aluminum consisting of an I-beam with intermediate flange or of parallel aluminum channels with steel tubing strongback.  Provide single curtain carriers of two nylon-tired ball-bearing wheels riveted parallel to plated-steel body.  Provide one master carrier, for each leading curtain edge, of plated steel with two pairs of nylon-tired ball-bearing wheels riveted parallel to plated-steel body.  Equip carriers with rubber or neoprene bumpers and nylon glide strips to reduce noise, and heavy-duty, plated-steel swivel eye for attaching curtain snap or S-hook.  Provide end stops for track.

Retain first subparagraph below if required to support load; delete if track is mounted directly to ceiling.

1. Suspended Track:  1-1/2-inch (40-mm) steel pipe stiffener for supporting both straight and curved sections of suspended curved tracks.

2. Operating Line:  Manufacturer's standard 3/8-inch (9-mm) stretch-resistant operating cord consisting of braided synthetic-fiber jacket over solid, synthetic-fiber, linear, center filaments.

Retain subparagraph below if draw-curtain track is rigged for biparting, overlapping curtain closure; delete if one-way draw.

3. Track Lap Clamp:  Metal to match track channel for attaching double-sectioned track at center overlap.

If curtain-pleat spacing is revised in "Curtain Fabrication" Article, revise carrier spacing in subparagraph below to match.

4. Curtain Carriers:  For track spaced at 12 inches (300 mm) o.c.

Delete subparagraph below if not required.  See Evaluations.

5. Fold Guide:  Equip carriers with rear-fold or backpack guide and rubber spacers to permit offstage curtain folding, sized for use with operating line if any.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine areas and conditions, with Installer present, for compliance with requirements for supporting members, blocking, installation tolerances, clearances, and other conditions affecting performance of stage-curtain work.  Proceed with installation only after unsatisfactory conditions have been corrected.

B. Examine inserts, clips, blocking, or other supports required to be installed by others to support tracks and battens.  Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION, GENERAL

A. Install stage-curtain system according to track manufacturer's and curtain fabricator's written instructions.

3.3 BATTEN INSTALLATION

Revise spacing in paragraph below for batten pipe smaller than 1-1/2 inches (40 mm).

A. Install battens by suspending at heights indicated with trim and support [cable] [chain] spaced to support load, but do not exceed [10 feet (3 m)] <Insert number> o.c.

Retain one of two subparagraphs below for cable or chain suspension, or retain both if chain is used with cable.

1. Cable:  Secure cables either directly to structures or to inserts, eye screws, or other devices that are secure and appropriate to substrate and that will not deteriorate or fail with age or elevated temperatures.  Attach other cable end to pipe clamps with turnbuckles, moused or fixed with nuts after adjustment, to prevent loosening.

2. Chain:  Secure chain with load-rated terminations.

3.4 TRACK INSTALLATION

Retain one or more of first four paragraphs below.

A. Ceiling-Mounted Tracks:  Drill track at intervals not greater than manufacturer's written instructions for spacing, and fasten directly to structure.

B. Beam-Mounted Tracks:  Install tracks by suspending from manufacturer's special beam clamps securely mounted to I-beam structure at spacing, according to manufacturer's written instructions.

C. Wall-Mounted Tracks:  Install tracks by suspending from manufacturer's special bracket clamps securely mounted to wall construction at spacing, according to manufacturer's written instructions.

D. Batten-Hung Tracks:  Install track by suspending from pipe batten with manufacturer's track clamp hangers attached to batten pipe clamps at spacing, according to manufacturer's written instructions.

E. Spacing:  Do not exceed the following dimensions between supports:

Retain one of three subparagraphs below with any track-mounting paragraph above.

1. Heavy-Duty Track:  72 inches (1829 mm).

2. Medium-Duty Track:  48 inches (1219 mm).

3. Curved Walk-Along Track:  48 inches (1219 mm).  Provide additional supports at curves and splices.

Retain or revise paragraph below to suit Project.

F. Install track for center-parting curtains with not less than 24-inch (600-mm) overlap of track sections at center, supported by special lap clamps.

3.5 CURTAIN INSTALLATION

A. Track Hung:  Secure curtains to track carriers with track manufacturer's special heavy-duty S-hooks or snap hooks.

B. Batten Hung:  Secure curtains to pipe battens with trim and support [cable tie lines] [or] [chains].

3.6 DRAW-CURTAIN-MACHINE INSTALLATION

Delete this Article if not applicable.

A. Install draw-curtain machines by securely mounting to [floor] [wall] construction according to manufacturer's written instructions.

3.7 DEMONSTRATION

Retain this Article for complex installations or for systems with complicated controls.  Revise to suit Project.

A. Engage a factory-authorized service representative to test system and to train Owner's personnel to rig, adjust, operate, and maintain stage curtains, tracks, and draw-curtain machines.  Refer to Division 01 Section "Demonstration and Training."

END OF SECTION 116143

	STAGE CURTAINS
	116143 - 1



