Copyright 2002 AIA
MASTERSPEC
11/02

Copyright 2002, The American Institute of Architects (AIA)

SECTION 01782 - OPERATION AND MAINTENANCE DATA
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes administrative and procedural requirements for preparing operation and maintenance manuals, including the following:

Adjust list below to suit Project.

1. Operation and maintenance documentation directory.

2. Emergency manuals.

3. Operation manuals for systems, subsystems, and equipment.

4. Maintenance manuals for the care and maintenance of [products, materials, and finishes] [systems and equipment].

B. Related Sections include the following:

List below only procedures that the reader might expect to find in this Section but are specified elsewhere.

Retain first subparagraph below to reference the Section that specifies preparation of material frequently included in operation and maintenance manuals.

1. Division 1 Section "Summary of Multiple Contracts" for coordinating operation and maintenance manuals covering the Work of multiple contracts.

2. Division 1 Section "Submittal Procedures" for submitting copies of submittals for operation and maintenance manuals.

3. Division 1 Section "Closeout Procedures" for submitting operation and maintenance manuals.

4. Division 1 Section "Project Record Documents" for preparing Record Drawings for operation and maintenance manuals.

5. Divisions 2 through 16 Sections for specific operation and maintenance manual requirements for the Work in those Sections.

1.3 DEFINITIONS

Definition in first paragraph below is from ASHRAE's "Technology Handbook."

A. System:  An organized collection of parts, equipment, or subsystems united by regular interaction.

B. Subsystem:  A portion of a system with characteristics similar to a system.

1.4 SUBMITTALS

Usually retain first paragraph below, which gives Architect an opportunity to review contents before Substantial Completion.

A. Initial Submittal:  Submit [2] <Insert number> draft copies of each manual at least [15] <Insert number> days before requesting inspection for Substantial Completion.  Include a complete operation and maintenance directory.  Architect will return [one copy] [<Insert number> copies] of draft and mark whether general scope and content of manual are acceptable.

B. Final Submittal:  Submit [one copy] [<Insert number> copies] of each manual in final form at least [15] <Insert number> days before final inspection.  Architect will return copy with comments within [15] <Insert number> days after final inspection.

1. Correct or modify each manual to comply with Architect's comments.  Submit [3] <Insert number> copies of each corrected manual within [15] <Insert number> days of receipt of Architect's comments.

1.5 COORDINATION

A. Where operation and maintenance documentation includes information on installations by more than one factory-authorized service representative, assemble and coordinate information furnished by representatives and prepare manuals.

PART 2 -  PRODUCTS

2.1 OPERATION AND MAINTENANCE DOCUMENTATION DIRECTORY

A. Organization:  Include a section in the directory for each of the following:

1. List of documents.

2. List of systems.

3. List of equipment.

4. Table of contents.

B. List of Systems and Subsystems:  List systems alphabetically.  Include references to operation and maintenance manuals that contain information about each system.

C. List of Equipment:  List equipment for each system, organized alphabetically by system.  For pieces of equipment not part of system, list alphabetically in separate list.

D. Tables of Contents:  Include a table of contents for each emergency, operation, and maintenance manual.

E. Identification:  In the documentation directory and in each operation and maintenance manual, identify each system, subsystem, and piece of equipment with same designation used in the Contract Documents.  If no designation exists, assign a designation according to ASHRAE Guideline 4, "Preparation of Operating and Maintenance Documentation for Building Systems."

2.2 MANUALS, GENERAL

A. Organization:  Unless otherwise indicated, organize each manual into a separate section for each system and subsystem, and a separate section for each piece of equipment not part of a system.  Each manual shall contain the following materials, in the order listed:

1. Title page.

2. Table of contents.

3. Manual contents.

B. Title Page:  Enclose title page in transparent plastic sleeve.  Include the following information:

Revise list below to suit Project.

1. Subject matter included in manual.

2. Name and address of Project.

3. Name and address of Owner.

4. Date of submittal.

5. Name, address, and telephone number of Contractor.

6. Name and address of Architect.

7. Cross-reference to related systems in other operation and maintenance manuals.

C. Table of Contents:  List each product included in manual, identified by product name, indexed to the content of the volume, and cross-referenced to Specification Section number in Project Manual.

1. If operation or maintenance documentation requires more than one volume to accommodate data, include comprehensive table of contents for all volumes in each volume of the set.

Paragraph and subparagraphs below describe typical requirements for binding copies of operation and maintenance manuals.  Revise to suit Project.

D. Manual Contents:  Organize into sets of manageable size.  Arrange contents alphabetically by system, subsystem, and equipment.  If possible, assemble instructions for subsystems, equipment, and components of one system into a single binder.

Revise five subparagraphs and associated subparagraphs below to suit Project.  An alternate binding is a post-type fastener.

1. Binders:  Heavy-duty, 3-ring, vinyl-covered, loose-leaf binders, in thickness necessary to accommodate contents, sized to hold 8-1/2-by-11-inch (215-by-280-mm) paper; with clear plastic sleeve on spine to hold label describing contents and with pockets inside covers to hold folded oversize sheets.

Revise first two subparagraphs below to suit Project.

a. If two or more binders are necessary to accommodate data of a system, organize data in each binder into groupings by subsystem and related components.  Cross-reference other binders if necessary to provide essential information for proper operation or maintenance of equipment or system.

In first subparagraph below, insert special requirements such as indicating five-digit Section number on bottom of spine for identification.

b. Identify each binder on front and spine, with printed title "OPERATION AND MAINTENANCE MANUAL," Project title or name, and subject matter of contents.  Indicate volume number for multiple-volume sets.

2. Dividers:  Heavy-paper dividers with plastic-covered tabs for each section.  Mark each tab to indicate contents.  Include typed list of products and major components of equipment included in the section on each divider, cross-referenced to Specification Section number and title of Project Manual.

Subparagraph below provides protection for troubleshooting software diskettes used in some operation systems.  Delete requirements if unnecessary.

3. Protective Plastic Sleeves:  Transparent plastic sleeves designed to enclose diagnostic software diskettes for computerized electronic equipment.

Requirements in two subparagraphs and associated subparagraphs below are normal.  Insert unique requirements, such as special paper or plastic lamination of important items for permanent preservation, if needed.

4. Supplementary Text:  Prepared on 8-1/2-by-11-inch (215-by-280-mm) white bond paper.

5. Drawings:  Attach reinforced, punched binder tabs on drawings and bind with text.

a. If oversize drawings are necessary, fold drawings to same size as text pages and use as foldouts.

Avoid placing loose, oversize drawings in binder pockets.  Use reduced drawings or place folded drawings in labeled envelopes bound in manual.

b. If drawings are too large to be used as foldouts, fold and place drawings in labeled envelopes and bind envelopes in rear of manual.  At appropriate locations in manual, insert typewritten pages indicating drawing titles, descriptions of contents, and drawing locations.

Consider other special requirements, such as using photographs instead of drawings to demonstrate unusual installations.

2.3 EMERGENCY MANUALS

In this Article, include emergency information that must be immediately available during emergency situations to protect life and property and to minimize disruptions to building occupants.

A. Content:  Organize manual into a separate section for each of the following:

1. Type of emergency.

2. Emergency instructions.

3. Emergency procedures.

B. Type of Emergency:  Where applicable for each type of emergency indicated below, include instructions and procedures for each system, subsystem, piece of equipment, and component:

Revise list below to suit Project.

1. Fire.

2. Flood.

3. Gas leak.

4. Water leak.

5. Power failure.

6. Water outage.

7. System, subsystem, or equipment failure.

8. Chemical release or spill.

C. Emergency Instructions:  Describe and explain warnings, trouble indications, error messages, and similar codes and signals.  Include responsibilities of Owner's operating personnel for notification of Installer, supplier, and manufacturer to maintain warranties.

D. Emergency Procedures:  Include the following, as applicable:

Revise list below to suit Project.

1. Instructions on stopping.

2. Shutdown instructions for each type of emergency.

3. Operating instructions for conditions outside normal operating limits.

4. Required sequences for electric or electronic systems.

5. Special operating instructions and procedures.

2.4 OPERATION MANUALS

In this Article, include information needed for daily operations and management of systems and equipment.

A. Content:  In addition to requirements in this Section, include operation data required in individual Specification Sections and the following information:

Revise list below to suit Project.

1. System, subsystem, and equipment descriptions.

2. Performance and design criteria if Contractor is delegated design responsibility.

3. Operating standards.

4. Operating procedures.

5. Operating logs.

6. Wiring diagrams.

7. Control diagrams.

8. Piped system diagrams.

9. Precautions against improper use.

10. License requirements including inspection and renewal dates.

B. Descriptions:  Include the following:

Revise list below to suit Project.

1. Product name and model number.

2. Manufacturer's name.

3. Equipment identification with serial number of each component.

4. Equipment function.

5. Operating characteristics.

6. Limiting conditions.

7. Performance curves.

8. Engineering data and tests.

9. Complete nomenclature and number of replacement parts.

C. Operating Procedures:  Include the following, as applicable:

Revise list below to suit Project.

1. Startup procedures.

2. Equipment or system break-in procedures.

3. Routine and normal operating instructions.

4. Regulation and control procedures.

5. Instructions on stopping.

6. Normal shutdown instructions.

7. Seasonal and weekend operating instructions.

8. Required sequences for electric or electronic systems.

9. Special operating instructions and procedures.

D. Systems and Equipment Controls:  Describe the sequence of operation, and diagram controls as installed.

E. Piped Systems:  Diagram piping as installed, and identify color-coding where required for identification.

2.5 PRODUCT MAINTENANCE MANUAL

Revise first paragraph below to suit Project.  For simple projects that require few manuals, this information may be included on title page.

A. Content:  Organize manual into a separate section for each product, material, and finish.  Include source information, product information, maintenance procedures, repair materials and sources, and warranties and bonds, as described below.

B. Source Information:  List each product included in manual, identified by product name and arranged to match manual's table of contents.  For each product, list name, address, and telephone number of Installer or supplier and maintenance service agent, and cross-reference Specification Section number and title in Project Manual.

C. Product Information:  Include the following, as applicable:

Revise list below to suit Project.

1. Product name and model number.

2. Manufacturer's name.

3. Color, pattern, and texture.

4. Material and chemical composition.

5. Reordering information for specially manufactured products.

D. Maintenance Procedures:  Include manufacturer's written recommendations and the following:

Revise list below to suit Project.

1. Inspection procedures.

2. Types of cleaning agents to be used and methods of cleaning.

3. List of cleaning agents and methods of cleaning detrimental to product.

4. Schedule for routine cleaning and maintenance.

5. Repair instructions.

E. Repair Materials and Sources:  Include lists of materials and local sources of materials and related services.

Paragraph and subparagraph below provide information if product fails.  For specific products, additional information may be necessary.

F. Warranties and Bonds:  Include copies of warranties and bonds and lists of circumstances and conditions that would affect validity of warranties or bonds.

1. Include procedures to follow and required notifications for warranty claims.

2.6 SYSTEMS AND EQUIPMENT MAINTENANCE MANUAL

A. Content:  For each system, subsystem, and piece of equipment not part of a system, include source information, manufacturers' maintenance documentation, maintenance procedures, maintenance and service schedules, spare parts list and source information, maintenance service contracts, and warranty and bond information, as described below.

Revise first paragraph below to suit Project.  For simple projects that require few manuals, this information may be included on title page.

B. Source Information:  List each system, subsystem, and piece of equipment included in manual, identified by product name and arranged to match manual's table of contents.  For each product, list name, address, and telephone number of Installer or supplier and maintenance service agent, and cross-reference Specification Section number and title in Project Manual.

C. Manufacturers' Maintenance Documentation:  Manufacturers' maintenance documentation including the following information for each component part or piece of equipment:

Revise list below to suit Project.

1. Standard printed maintenance instructions and bulletins.

2. Drawings, diagrams, and instructions required for maintenance, including disassembly and component removal, replacement, and assembly.

3. Identification and nomenclature of parts and components.

4. List of items recommended to be stocked as spare parts.

D. Maintenance Procedures:  Include the following information and items that detail essential maintenance procedures:

Revise list below to suit Project.

1. Test and inspection instructions.

2. Troubleshooting guide.

3. Precautions against improper maintenance.

4. Disassembly; component removal, repair, and replacement; and reassembly instructions.

5. Aligning, adjusting, and checking instructions.

6. Demonstration and training videotape, if available.

E. Maintenance and Service Schedules:  Include service and lubrication requirements, list of required lubricants for equipment, and separate schedules for preventive and routine maintenance and service with standard time allotment.

1. Scheduled Maintenance and Service:  Tabulate actions for daily, weekly, monthly, quarterly, semiannual, and annual frequencies.

2. Maintenance and Service Record:  Include manufacturers' forms for recording maintenance.

F. Spare Parts List and Source Information:  Include lists of replacement and repair parts, with parts identified and cross-referenced to manufacturers' maintenance documentation and local sources of maintenance materials and related services.

Delete paragraph below if not applicable.

G. Maintenance Service Contracts:  Include copies of maintenance agreements with name and telephone number of service agent.

Paragraph and subparagraph below provide information if product fails.  For specific products, additional information may be necessary.

H. Warranties and Bonds:  Include copies of warranties and bonds and lists of circumstances and conditions that would affect validity of warranties or bonds.

1. Include procedures to follow and required notifications for warranty claims.

PART 3 -  EXECUTION

3.1 MANUAL PREPARATION

Delete directory in first paragraph below for less-complex projects.

A. Operation and Maintenance Documentation Directory:  Prepare a separate manual that provides an organized reference to emergency, operation, and maintenance manuals.

B. Emergency Manual:  Assemble a complete set of emergency information indicating procedures for use by emergency personnel and by Owner's operating personnel for types of emergencies indicated.

C. Product Maintenance Manual:  Assemble a complete set of maintenance data indicating care and maintenance of each product, material, and finish incorporated into the Work.

D. Operation and Maintenance Manuals:  Assemble a complete set of operation and maintenance data indicating operation and maintenance of each system, subsystem, and piece of equipment not part of a system.

1. Engage a factory-authorized service representative to assemble and prepare information for each system, subsystem, and piece of equipment not part of a system.

2. Prepare a separate manual for each system and subsystem, in the form of an instructional manual for use by Owner's operating personnel.

E. Manufacturers' Data:  Where manuals contain manufacturers' standard printed data, include only sheets pertinent to product or component installed.  Mark each sheet to identify each product or component incorporated into the Work.  If data include more than one item in a tabular format, identify each item using appropriate references from the Contract Documents.  Identify data applicable to the Work and delete references to information not applicable.

1. Prepare supplementary text if manufacturers' standard printed data are not available and where the information is necessary for proper operation and maintenance of equipment or systems.

F. Drawings:  Prepare drawings supplementing manufacturers' printed data to illustrate the relationship of component parts of equipment and systems and to illustrate control sequence and flow diagrams.  Coordinate these drawings with information contained in Record Drawings to ensure correct illustration of completed installation.

Retain first subparagraph below.  Including Record Drawings in operation and maintenance manuals is not recommended.  See Evaluations in Division 1 Section "Project Record Documents."

1. Do not use original Project Record Documents as part of operation and maintenance manuals.

2. Comply with requirements of newly prepared Record Drawings in Division 1 Section "Project Record Documents."

G. Comply with Division 1 Section "Closeout Procedures" for schedule for submitting operation and maintenance documentation.

END OF SECTION 01782

OPERATION AND MAINTENANCE DATA
01782 - 9

