Copyright 2004 AIA
MASTERSPEC
05/04

Copyright 2004 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 02221 - BUILDING DEMOLITION
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.  Retain option in first subparagraph if demolition and removal of site improvements are part of Project and are specified in this Section.  Demolition of site improvements may also be specified in Division 2 Section "Site Clearing."

1. Demolition and removal of buildings[ and site improvements].

2. [Abandoning in place] [Removing] below-grade construction.

3. Disconnecting, capping or sealing, and [abandoning in-place] [removing] site utilities.

4. Salvaging items for reuse by Owner.

B. Related Sections include the following:

List below only procedures that the reader might expect to find in this Section but are specified elsewhere.

1. Division 1 Section "Summary" for use of the premises and phasing requirements.

2. Division 1 Section "[Construction Progress Documentation] [Photographic Documentation]" for preconstruction photographs taken before building demolition.

3. Division 1 Section "Temporary Facilities and Controls" for temporary construction, protection facilities, and environmental-protection measures for building demolition operations.

4. Division 1 Section "Construction Waste Management" for recycling and disposal of nonhazardous demolition wastes and for removal and storage of refrigerant.

5. Division 1 Section "Selective Demolition" for partial demolition of buildings, structures, and site improvements.

6. Division 2 Section "Site Clearing" for site clearing and removal of above- and below-grade site improvements not part of building demolition.

7. Division 15 Sections for demolishing or relocating site mechanical items.

8. Division 16 Sections for demolishing or relocating site electrical items.

1.3 DEFINITIONS

Retain definitions and terms that remain after this Section has been edited.

A. Demolish:  Completely remove and legally dispose of off-site.

B. Recycle:  Recovery of demolition waste for subsequent processing in preparation for reuse.

C. Salvage:  Carefully detach from existing construction, in a manner to prevent damage, and deliver to Owner[ ready for reuse].  Include fasteners or brackets needed for reattachment elsewhere.

1.4 MATERIALS OWNERSHIP

A. Unless otherwise indicated, demolition waste becomes property of Contractor.

B. Historic items, relics, antiques, and similar objects including, but not limited to, cornerstones and their contents, commemorative plaques and tablets, and other items of interest or value to Owner that may be uncovered during demolition remain the property of Owner.

1. Carefully salvage in a manner to prevent damage and promptly return to Owner.

1.5 SUBMITTALS

Coordinate paragraph below with qualification requirements retained in "Quality Assurance" Article.  Delete if no refrigerant recovery or if refrigerant recovery is specified in Division 1 Section "Construction Waste Management."

A. Qualification Data:  For refrigerant recovery technician.

Retain paragraph below if building demolition operations occur adjacent to occupied buildings.  Unless specific requirements are indicated, architects may not want to review these measures because they involve Contractor's "means and methods."

B. Proposed Protection Measures:  Submit informational report, including drawings, that indicates the measures proposed for protecting individuals and property [, for environmental protection] [, for dust control] [and] [, for noise control].  Indicate proposed locations and construction of barriers.

Retain subparagraph below if existing buildings to remain are immediately adjacent to demolished buildings.

1. Adjacent Buildings:  Detail special measures proposed to protect adjacent buildings to remain.

Schedule in first paragraph and subparagraphs below may be used to track Contractor's progress; it may also be used to determine that building demolition will not interfere with Owner's operations.

C. Schedule of Building Demolition Activities:  Indicate the following:

1. Detailed sequence of demolition work, with starting and ending dates for each activity.

2. Temporary interruption of utility services.

3. Shutoff and capping[ or re-routing] of utility services.

D. Building Demolition Plans:  Drawings indicating the following:

1. Locations of temporary protection[ and means of egress for adjacent occupied buildings].

E. Inventory:  Submit a list of items to be removed and salvaged and deliver to Owner prior to start of demolition.

F. Predemolition [Photographs] [or] [Video]:  Show existing conditions of adjoining construction and site improvements, including finish surfaces, that might be misconstrued as damage caused by building demolition operations.  Comply with Division 1 Section "Photographic Documentation."  Submit before the Work begins.

Retain record submittal in paragraph below if applicable.  Landfill records may be required by Owner when demolished materials contain hazardous wastes or, in rare circumstances, where recycling is not allowed.

G. Landfill Records:  Indicate receipt and acceptance of hazardous wastes by a landfill facility licensed to accept hazardous wastes.

Delete paragraph below if no refrigerant recovery or if refrigerant recovery is specified in Division 1 Section "Construction Waste Management."

H. Statement of Refrigerant Recovery:  Signed by refrigerant recovery technician responsible for recovering refrigerant, stating that all refrigerant that was present was recovered and that recovery was performed according to EPA regulations.  Include name and address of technician and date refrigerant was recovered.

1.6 QUALITY ASSURANCE

Retain first paragraph below if retaining refrigerant removal in Part 3.  Delete if no refrigerant recovery or if refrigerant recovery is specified in Division 1 Section "Construction Waste Management."

A. Refrigerant Recovery Technician Qualifications:  Certified by EPA-approved certification program.

B. Regulatory Requirements:  Comply with governing EPA notification regulations before beginning demolition.  Comply with hauling and disposal regulations of authorities having jurisdiction.

C. Standards:  Comply with ANSI A10.6 and NFPA 241.

Delete both paragraphs below if the Work of this Section is not extensive or complex enough to justify a predemolition conference.  Retain first paragraph if requirements in Division 1 are adequate for Project.  Retain second paragraph if additional requirements are necessary.

D. Predemolition Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

E. Predemolition Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."  Review methods and procedures related to building demolition including, but not limited to, the following:

Delete subparagraphs below if not required.  If retaining, revise to include Project-specific requirements.  Insert additional requirements to suit Project.

1. Inspect and discuss condition of construction to be demolished.

2. Review structural load limitations of existing structures.

3. Review and finalize building demolition schedule and verify availability of demolition personnel, equipment, and facilities needed to make progress and avoid delays.

4. Review and finalize protection requirements.

5. Review procedures for [noise control] [and] [dust control].

6. Review procedures for protection of adjacent buildings.

7. Review items to be salvaged and returned to Owner.

1.7 PROJECT CONDITIONS

Retain, revise, or delete paragraphs and subparagraphs in this Article to suit Project.  Add other limitations if necessary.

A. Buildings to be demolished will be vacated and their use discontinued before start of the Work.

B. Buildings immediately adjacent to demolition area will be occupied.  Conduct building demolition so operations of occupied buildings will not be disrupted.

1. Provide not less than [72] <Insert number> hours' notice of activities that will affect operations of adjacent occupied buildings.

2. Maintain access to existing walkways, exits, and other facilities used by occupants of adjacent buildings.

a. Do not close or obstruct walkways, exits, or other facilities used by occupants of adjacent buildings without written permission from authorities having jurisdiction.

C. Owner assumes no responsibility for buildings and structures to be demolished.

Review first subparagraph below and revise if necessary.  In second subparagraph, include list of items that will be removed by Owner.

1. Conditions existing at time of inspection for bidding purpose will be maintained by Owner as far as practical.

2. Before building demolition, Owner will remove the following items:

a. <Insert items to be removed by Owner.>

Retain one of first two paragraphs and associated subparagraphs below, or remove all references to hazardous materials.  Expand scope of Article to include asbestos, PCBs, and other materials if required.  Coordinate statements with the General and Supplementary Conditions.  See Evaluations.

D. Hazardous Materials:  It is not expected that hazardous materials will be encountered in the Work.

1. Hazardous materials will be removed by Owner before start of the Work.

Retain subparagraph below to cover instances where hazardous materials are unexpectedly found and must be remediated.  See the General Conditions for additional requirements on hazardous materials.

2. If materials suspected of containing hazardous materials are encountered, do not disturb; immediately notify Architect and Owner.  Hazardous materials will be removed by Owner under a separate contract.

Retain first paragraph and subparagraphs below if hazardous material remediation is part of the Work of this Contract.  Consult a professional liability insurance carrier for current recommendations.  Indemnification and a waiver of claims may be required from Owner as a condition for providing services related to hazardous material remediation.

E. Hazardous Materials:  Hazardous materials are present in buildings and structures to be demolished.  A report on the presence of hazardous materials is on file for review and use.  Examine report to become aware of locations where hazardous materials are present.

If retaining first subparagraph below, see discussion in Evaluations about Sections dealing with remediation.

1. Hazardous material remediation is specified elsewhere in the Contract Documents.

2. Do not disturb hazardous materials or items suspected of containing hazardous materials except under procedures specified elsewhere in the Contract Documents.

Delete subparagraph below if no materials are known to be present or if Owner does not have, or will not provide, material safety data sheets for these materials.

3. Owner will provide material safety data sheets for materials that are known to be present in buildings and structures to be demolished because of building operations or processes performed there.

F. On-site storage or sale of removed items or materials is not permitted.

1.8 COORDINATION

Add phasing requirements to this Article if applicable.  Delete Article if demolition will not interfere with Owner's operations.

A. Arrange demolition schedule so as not to interfere with [Owner's on-site operations] [operations of adjacent occupied buildings].

PART 2 -  PRODUCTS[ (Not Used)]

Delete "(Not Used)" option in Part 2 title above if retaining "Soil Materials" Article for backfilling voids that result from demolition operations in below-grade areas.  Coordinate with requirements in Part 3.

2.1 SOIL MATERIALS

A. Satisfactory Soils:  Comply with requirements in Division 2 Section "Earthwork."

PART 3 -  EXECUTION

3.1 DEMOLITION CONTRACTORS

Usually delete this Article; consider retaining for controlled explosive demolition.

A. Qualified Demolition Contractor:

1. <Insert, in separate subparagraphs, name of contractor prequalified to perform the Work of this Section.>

3.2 EXAMINATION

Retain paragraph below if disconnection of utilities is not the Work of this Section.  If retaining, then delete both "Existing Utilities" paragraphs in "Preparation" Article.

A. Verify that utilities have been disconnected and capped before starting demolition operations.

Retain first paragraph below if available.

B. Review Project Record Documents of existing construction provided by Owner.  Owner does not guarantee that existing conditions are same as those indicated in Project Record Documents.

C. Inventory and record the condition of items to be removed and salvaged.  Provide [photographs] [or] [video] of conditions that might be misconstrued as damage caused by salvage operations.  Comply with Division 1 Section "Photographic Documentation."

Usually retain first option in paragraph below.  OSHA regulations require that a "competent person" perform an engineering survey before building demolition begins.  See Evaluations.

D. [Perform] [Engage a professional engineer to perform] an engineering survey of condition of building to determine whether removing any element might result in structural deficiency or unplanned collapse of any portion of structure or adjacent structures during building demolition operations.

Retain subparagraph below if demolition includes prestressed or post-tensioned concrete slabs.

1. Steel Tendons:  Locate tensioned steel tendons and include recommendations for de-tensioning.

Retain paragraph below if hazardous material remediation is part of the Work of this Contract.

E. Verify that hazardous materials have been remediated before proceeding with building demolition operations.

3.3 PREPARATION

Refrigerant in paragraph below may be part of equipment such as air-conditioning units, chillers, refrigerators, freezers, icemakers, heat pumps, dehumidifiers, and drinking water coolers.  Delete if no refrigerant recovery or if refrigerant recovery is specified in Division 1 Section "Construction Waste Management."

A. Refrigerant:  Remove refrigerant from mechanical equipment according to 40 CFR 82 and regulations of authorities having jurisdiction before starting demolition.

Retain one of two "Existing Utilities" paragraphs below if applicable.  Delete both if Owner arranges and performs work.

B. Existing Utilities:  Locate, identify, disconnect, and seal or cap off indicated utilities serving buildings and structures to be demolished.

Retain subparagraph below if shutting off utilities is responsibility of Owner.  Delete if it is responsibility of Contractor.

1. Owner will arrange to shut off indicated utilities when requested by Contractor.

Retain first subparagraph below if shutting off utilities is responsibility of Contractor.  Delete if it is responsibility of Owner.

2. Arrange to shut off indicated utilities with utility companies.

3. If removal, relocation, or abandonment of utility services will affect adjacent occupied buildings, then provide temporary utilities that bypass buildings and structures to be demolished and that maintain continuity of service to other buildings and structures.

4. Cut off pipe or conduit a minimum of 24 inches (610 mm) below grade.  Cap, valve, or plug and seal remaining portion of pipe or conduit after bypassing according to requirements of authorities having jurisdiction.

Coordinate first paragraph below with requirements specified in Divisions 15 and 16.

C. Existing Utilities:  Refer to Division 15 and 16 Sections for shutting off, disconnecting, removing, and sealing or capping utilities.  Do not start demolition work until utility disconnecting and sealing have been completed and verified in writing.

D. Temporary Shoring:  Provide and maintain interior and exterior shoring, bracing, or structural support to preserve stability and prevent unexpected movement or collapse of construction being demolished.

1. Strengthen or add new supports when required during progress of demolition.

E. Salvaged Items:  Comply with the following:

1. Clean salvaged items of dirt and demolition debris.

2. Pack or crate items after cleaning.  Identify contents of containers.

3. Store items in a secure area until delivery to Owner.

4. Transport items to storage area [designated by Owner] [indicated on Drawings].

5. Protect items from damage during transport and storage.

Insert here requirement to engage a pest exterminator only if it is known that rodents are present in building to be demolished; it is usually not necessary.

3.4 PROTECTION

A. Existing Facilities:  Protect adjacent walkways, loading docks, building entries, and other building facilities during demolition operations.  Maintain exits from existing buildings.

B. Existing Utilities:  Maintain utility services to remain and protect from damage during demolition operations.

Retain two subparagraphs and associated subparagraph below if required.  Limit hours of interruption if applicable.

1. Do not interrupt existing utilities serving adjacent occupied or operating facilities unless authorized in writing by Owner and authorities having jurisdiction.

2. Provide temporary services during interruptions to existing utilities, as acceptable to Owner and authorities having jurisdiction.

a. Provide at least [72] <Insert number> hours' notice to occupants of affected buildings if shutdown of service is required during changeover.

Revise paragraph and subparagraphs below to suit Project.  Delete if adequately covered in Division 1 Section "Temporary Facilities and Controls."

C. Temporary Protection:  Erect temporary protection, such as walks, fences, railings, canopies, and covered passageways, where required by authorities having jurisdiction and as indicated.  Comply with requirements in Division 1 Section "Temporary Facilities and Controls."

1. Protect adjacent buildings and facilities from damage due to demolition activities.

2. Protect existing site improvements, appurtenances, and landscaping to remain.

3. Erect a plainly visible fence around drip line of individual trees or around perimeter drip line of groups of trees to remain.

4. Provide temporary barricades and other protection required to prevent injury to people and damage to adjacent buildings and facilities to remain.

5. Provide protection to ensure safe passage of people around building demolition area and to and from occupied portions of adjacent buildings and structures.

6. Protect walls, windows, roofs, and other adjacent exterior construction that are to remain and that are exposed to building demolition operations.

7. Erect and maintain dustproof partitions and temporary enclosures to limit dust, noise, and dirt migration to occupied portions of adjacent buildings.

D. Remove temporary barriers and protections where hazards no longer exist.  Where open excavations or other hazardous conditions remain, leave temporary barriers and protections in place.

3.5 DEMOLITION, GENERAL

A. General:  Demolish indicated existing buildings[ and site improvements] completely.  Use methods required to complete the Work within limitations of governing regulations and as follows:

1. Do not use cutting torches until work area is cleared of flammable materials.  Maintain portable fire-suppression devices during flame-cutting operations.

2. Maintain fire watch during and for at least <Insert number> hours after flame cutting operations.

3. Maintain adequate ventilation when using cutting torches.

4. Locate building demolition equipment and remove debris and materials so as not to impose excessive loads on supporting walls, floors, or framing.

Retain first paragraph below if engineers need to be on hand during the course of demolition work, for example, when prestressed tendons may be cut.  Revise to suit Project or delete.

B. Engineering Surveys:  During demolition, perform surveys to detect hazards that may result from building demolition activities.

C. Site Access and Temporary Controls:  Conduct building demolition and debris-removal operations to ensure minimum interference with roads, streets, walks, walkways, and other adjacent occupied and used facilities.

1. Do not close or obstruct streets, walks, walkways, or other adjacent occupied or used facilities without permission from Owner and authorities having jurisdiction.  Provide alternate routes around closed or obstructed traffic ways if required by authorities having jurisdiction.

Revise subparagraph below to suit Project.

2. Use water mist and other suitable methods to limit spread of dust and dirt.  Comply with governing environmental-protection regulations.  Do not use water when it may damage adjacent construction or create hazardous or objectionable conditions, such as ice, flooding, and pollution.

Delete paragraph below if retaining "Demolition by Explosives" Article.

D. Explosives:  Use of explosives is not permitted.

3.6 DEMOLITION BY MECHANICAL MEANS

A. Proceed with demolition of structural framing members systematically, from higher to lower level.  Complete building demolition operations above each floor or tier before disturbing supporting members on the next lower level.

B. Remove debris from elevated portions of the building by chute, hoist, or other device that will convey debris to grade level in a controlled descent.

1. Remove structural framing members and lower to ground by method suitable to minimize ground impact and dust generation.

C. Salvage:  Items to be salvaged are indicated [on Drawings.] [below:]

Retain list below, revised to suit Project, if salvaged items are not indicated on Drawings.

1. Doors and door hardware.

2. Windows.

3. Cabinets.

4. Mirrors.

5. Chalkboards.

6. Tackboards.

7. Marker boards.

8. Plumbing fixtures.

9. <Insert items to be salvaged.>

Retain one of three "Below-Grade Construction" paragraphs and associated subparagraph below.  Coordinate with other Division 2 Sections.  Revise to suit Project.

D. Below-Grade Construction:  Abandon foundation walls and other below-grade construction.  Cut below-grade construction flush with grade.

E. Below-Grade Construction:  Demolish foundation walls and other below-grade construction that are within footprint of new construction and extending [5 feet (1.5 m)] <Insert dimension> outside footprint indicated for new construction.  Abandon below-grade construction outside this area.

1. Remove below-grade construction, including basements, foundation walls, and footings, [completely] [to at least 6 inches (150 mm) below grade] [to at least 12 inches (300 mm) below grade] [to depths indicated].

F. Below-Grade Construction:  Demolish foundation walls and other below-grade construction.

1. Remove below-grade construction, including basements, foundation walls, and footings, [completely] [to at least 6 inches (150 mm) below grade] [to at least 12 inches (300 mm) below grade] [to depths indicated].

Retain one of three "Existing Utilities" paragraphs and associated subparagraphs below.  Coordinate with other Division 2 Sections.  Revise to suit Project.

G. Existing Utilities:  Abandon existing utilities and below-grade utility structures.  Cut utilities flush with grade.

H. Existing Utilities:  Demolish existing utilities and below-grade utility structures that are within [5 feet (1.5 m)] <Insert dimension> outside footprint indicated for new construction.  Abandon utilities outside this area.

1. Fill abandoned utility structures with [satisfactory soil materials] [recycled pulverized concrete] according to backfill requirements in Division 2 Section "Earthwork."

Retain both subparagraphs below if recycling materials.

2. Piping:  Disconnect piping at unions, flanges, valves, or fittings.

3. Wiring Ducts:  Disassemble into unit lengths and remove plug-in and disconnecting devices.

I. Existing Utilities:  Demolish and remove existing utilities and below-grade utility structures.

Retain both subparagraphs below if recycling materials.

1. Piping:  Disconnect piping at unions, flanges, valves, or fittings.

2. Wiring Ducts:  Disassemble into unit lengths and remove plug-in and disconnecting devices.

3.7 DEMOLITION BY EXPLOSIVES

When controlled demolition with explosives is proposed, coordinate this Article with Explosives Consultant's recommendations and with applicable Division 1 Sections.

A. Explosives:  Perform explosive demolition according to governing regulations.

1. Obtain written permission from authorities having jurisdiction before bringing explosives to, or using explosives on, Project site.

2. Do not damage adjacent structures, property, or site improvements when using explosives.

B. Comply with recommendation in Explosives Consultant's report.

3.8 SITE RESTORATION

Retain one of first two paragraphs below; coordinate with Division 2 Section "Earthwork."

A. Below-Grade Areas:  Rough grade below-grade areas ready for further excavation or new construction.

B. Below-Grade Areas:  Completely fill below-grade areas and voids resulting from building demolition operations with [satisfactory soil materials] [recycled pulverized concrete] [recycled pulverized masonry] according to backfill requirements in Division 2 Section "Earthwork."

C. Site Grading:  Uniformly rough grade area of demolished construction to a smooth surface, free from irregular surface changes.  Provide a smooth transition between adjacent existing grades and new grades.

3.9 REPAIRS

A. Promptly repair damage to adjacent buildings caused by demolition operations.

3.10 DISPOSAL OF DEMOLISHED MATERIALS

Retain one of first two paragraphs below.  Add other specific disposal, cleanup, or removal requirements to suit Project.

A. Remove demolition waste materials from Project site.  See Division 1 Section "Construction Waste Management" for recycling and disposal of demolition waste.

B. Remove demolition waste materials from Project site and legally dispose of them in an EPA-approved landfill acceptable to authorities having jurisdiction.

Retain two subparagraphs below with either paragraph above.

1. Do not allow demolished materials to accumulate on-site.

2. Remove and transport debris in a manner that will prevent spillage on adjacent surfaces and areas.

C. Do not burn demolished materials.

3.11 CLEANING

A. Clean adjacent structures and improvements of dust, dirt, and debris caused by building demolition operations.  Return adjacent areas to condition existing before building demolition operations began.

END OF SECTION 02221

BUILDING DEMOLITION
02221 - 1

