Copyright 2005 AIA
MASTERSPEC Full Length
08/05

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 02260 - EXCAVATION SUPPORT AND PROTECTION
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section includes temporary excavation support and protection systems.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 1 Section "[Construction Progress Documentation] [Photographic Documentation]" for recording preexisting conditions and excavation support and protection system progress.

2. Division 1 Section "Temporary Facilities and Controls" for temporary utilities and support facilities.

3. Division 2 Section "Dewatering" for dewatering system for excavations.

1.3 PERFORMANCE REQUIREMENTS

A. [Design, ]furnish, install, monitor, and maintain excavation support and protection system capable of supporting excavation sidewalls and of resisting soil and hydrostatic pressure and superimposed and construction loads.

Retain option in paragraph above and retain first subparagraph below if Contractor is required to assume responsibility for design.  If necessary, revise subparagraph to meet requirements of authorities having jurisdiction or to follow customary practice in Project's location.

1. Delegated Design:  Design excavation support and protection system, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

2. Prevent surface water from entering excavations by grading, dikes, or other means.

3. Install excavation support and protection systems without damaging existing buildings, structures, and site improvements adjacent to excavation.

4. Monitor vibrations, settlements, and movements.

1.4 SUBMITTALS

First paragraph below is defined in Division 1 Section "Submittal Procedures" as an "Action Submittal."  Retain if Contractor is not required to assume responsibility for design.

A. Shop Drawings:  For excavation support and protection system.

Retain paragraph above or first paragraph below; do not retain both.

First paragraph below is defined in Division 1 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

B. Delegated-Design Submittal:  For excavation support and protection system indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Remaining paragraphs are defined in Division 1 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements."

C. Qualification Data:  For qualified [land surveyor] [and] [professional engineer].

D. Other Informational Submittals:

Usually retain first subparagraph below for determining the effect of excavation support and protection system on permanent construction.  As Informational Submittals, these records of existing conditions do not require Architect's approval.

1. [Photographs] [or] [Videotape]:  Show existing conditions of adjacent construction and site improvements that might be misconstrued as damage caused by the absence of, the installation of, or the performance of excavation support and protection systems.  Submit before Work begins.

Revise subparagraph below to suit Project.  Coordinate with Division 1 Section "Closeout Procedures."

2. Record Drawings:  Identifying and locating capped utilities and other subsurface structural, electrical, or mechanical conditions.

a. Note locations and capping depth of wells and well points.

1.5 QUALITY ASSURANCE

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

A. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

Retain subparagraphs below if additional requirements are necessary; include information about conference.

1. Review methods and procedures related to excavation support and protection system including, but not limited to, the following:

a. Geotechnical report.

b. Existing utilities and subsurface conditions.

c. Proposed excavations.

d. Proposed equipment.

e. Monitoring of excavation support and protection system.

f. Working area location and stability.

g. Coordination with waterproofing.

h. Abandonment or removal of excavation support and protection system.

i. <Insert agenda items>.

1.6 PROJECT CONDITIONS

Retain first paragraph below if interruption of existing utility service is required.

A. Interruption of Existing Utilities:  Do not interrupt any utility serving facilities occupied by Owner or others unless permitted under the following conditions and then only after arranging to provide temporary utility according to requirements indicated:

1. Notify [Architect] [Construction Manager] [Owner] no fewer than [two] <Insert number> days in advance of proposed interruption of utility.

2. Do not proceed with interruption of utility without [Architect's] [Construction Manager's] [Owner's] written permission.

If office practice differs from first paragraph below, revise to suit Project or delete.

B. Project-Site Information:  A geotechnical report has been prepared for this Project and is available for information only.  The opinions expressed in this report are those of geotechnical engineer and represent interpretations of subsoil conditions, tests, and results of analyses conducted by geotechnical engineer.  Owner will not be responsible for interpretations or conclusions drawn from the data.

1. Make additional test borings and conduct other exploratory operations necessary for excavation support and protection.

2. The geotechnical report is [included] [referenced] elsewhere in the Project Manual.

C. Survey Work:  Engage a qualified land surveyor or professional engineer to survey adjacent existing buildings, structures, and site improvements; establish exact elevations at fixed points to act as benchmarks.  Clearly identify benchmarks and record existing elevations.

1. During installation of excavation support and protection systems, regularly resurvey benchmarks, maintaining an accurate log of surveyed elevations and positions for comparison with original elevations and positions.  Promptly notify Architect if changes in elevations or positions occur or if cracks, sags, or other damage is evident in adjacent construction.

PART 2 -  PRODUCTS

2.1 MATERIALS

Delete this article if Contractor selects temporary excavation support and protection.  Revise materials if prescribing excavation support and protection system requirements.

A. General:  Provide materials that are either new or in serviceable condition.

Paragraphs below are examples of materials commonly used.

B. Structural Steel:  ASTM A 36/A 36M, ASTM A 690/A 690M, or ASTM A 992/A 992M.

C. Steel Sheet Piling:  ASTM A 328/A 328M, ASTM A 572/A 572M, or ASTM A 690/A 690M; with continuous interlocks.

Verify availability, with sheet piling manufacturer, of corners to fit sheet piling.

1. Corners:  [Site-fabricated mechanical interlock] [Roll-formed corner shape with continuous interlock].

D. Wood Lagging:  Lumber, mixed hardwood, nominal rough thickness of [size and strength required for application] [3 inches (75 mm)] [4 inches (100 mm)] <Insert dimension>.

Retain first paragraph below if using shotcrete as lagging between soldier piles.

E. Shotcrete:  Comply with Division 3 Section "Shotcrete" for shotcrete materials and mixes, reinforcement, and shotcrete application.

Retain first two paragraphs below if miscellaneous concrete is required for structural-steel soldier pile toe and bracing heel blocks.

F. Cast-in-Place Concrete:  ACI 301, of compressive strength required for application.

G. Reinforcing Bars:  ASTM A 615/A 615M, Grade 60 (Grade 420), deformed.

Retain one of two paragraphs below for tieback materials.

H. Tiebacks:  Steel bars, ASTM A 722/A 722M.

I. Tiebacks:  Steel strand, ASTM A 416/A 416M.

PART 3 -  EXECUTION

3.1 PREPARATION

A. Protect structures, utilities, sidewalks, pavements, and other facilities from damage caused by settlement, lateral movement, undermining, washout, and other hazards that could develop during excavation support and protection system operations.

1. Shore, support, and protect utilities encountered.

B. Install excavation support and protection systems to ensure minimum interference with roads, streets, walks, and other adjacent occupied and used facilities.

1. Do not close or obstruct streets, walks, or other adjacent occupied or used facilities without permission from Owner and authorities having jurisdiction.  Provide alternate routes around closed or obstructed traffic ways if required by authorities having jurisdiction.

C. Locate excavation support and protection systems clear of permanent construction so that forming and finishing of concrete surfaces are not impeded.

D. Monitor excavation support and protection systems daily during excavation progress and for as long as excavation remains open.  Promptly correct bulges, breakage, or other evidence of movement to ensure that excavation support and protection systems remain stable.

E. Promptly repair damages to adjacent facilities caused by installing excavation support and protection systems.

3.2 SOLDIER PILES AND LAGGING

A. Install steel soldier piles before starting excavation.  Extend soldier piles below excavation grade level to depths adequate to prevent lateral movement.  Space soldier piles at regular intervals not to exceed allowable flexural strength of wood lagging.  Accurately align exposed faces of flanges to vary not more than [2 inches (50 mm) from a horizontal line and not more than 1:120 out of vertical alignment] <Insert tolerances>.

B. Install wood lagging within flanges of soldier piles as excavation proceeds.  Trim excavation as required to install lagging.  Fill voids behind lagging with soil, and compact.

C. Install wales horizontally at locations indicated on Drawings and secure to soldier piles.

3.3 SHEET PILING

Retain this article if driven sheet piling is required.

A. Before starting excavation, install one-piece sheet piling lengths and tightly interlock to form a continuous barrier.  Accurately place the piling, using templates and guide frames unless otherwise recommended in writing by the sheet piling manufacturer.  Limit vertical offset of adjacent sheet piling to 60 inches (1500 mm).  Accurately align exposed faces of sheet piling to vary not more than [2 inches (50 mm) from a horizontal line and not more than 1:120 out of vertical alignment] <Insert tolerances>.  Cut tops of sheet piling to uniform elevation at top of excavation.

3.4 TIEBACKS

Most tieback systems are proprietary.  Insert material requirements in Part 2 if a particular tieback is required.  If tiebacks are permanent, consider level of corrosion protection of tendons and anchorage connections.

A. Tiebacks:  Drill, install, grout, and tension tiebacks.  Test load-carrying capacity of each tieback and replace and retest deficient tiebacks.

1. Test loading shall be observed by a qualified professional engineer responsible for design of excavation support and protection system.

2. Maintain tiebacks in place until permanent construction is able to withstand lateral soil and hydrostatic pressures.

3.5 BRACING

Bracing of wales may be required for soldier piles and lagging systems and for sheet piling.

A. Bracing:  Locate bracing to clear columns, floor framing construction, and other permanent work.  If necessary to move brace, install new bracing before removing original brace.

1. Do not place bracing where it will be cast into or included in permanent concrete work unless otherwise approved by Architect.

2. Install internal bracing, if required, to prevent spreading or distortion of braced frames.

3. Maintain bracing until structural elements are supported by other bracing or until permanent construction is able to withstand lateral earth and hydrostatic pressures.

3.6 REMOVAL AND REPAIRS

Retain first paragraph below if removal of excavation support and protection systems is required.

A. Remove excavation support and protection systems when construction has progressed sufficiently to support excavation and bear soil and hydrostatic pressures.  Remove in stages to avoid disturbing underlying soils or damaging structures, pavements, facilities, and utilities.

Retain first subparagraph below if required.  Some jurisdictions require removing excavation support and protection systems within 48 inches (1200 mm) of finish grade.

1. Remove excavation support and protection systems to a minimum depth of 48 inches (1200 mm) below overlaying construction and abandon remainder.

2. Fill voids immediately with approved backfill compacted to density specified in Division 2 Section "Earthwork."

3. Repair or replace, as approved by Architect, adjacent work damaged or displaced by removing excavation support and protection systems.

Retain paragraph below if excavation support and protection systems, on which support or stability of existing buildings or site improvements depends, must be left in place.

B. Leave excavation support and protection systems permanently in place.

END OF SECTION 02260

EXCAVATION SUPPORT AND PROTECTION
02260 - 1

