Copyright 2002 AIA
MASTERSPEC Full Length
11/02 (R 05/06)

Copyright 2002 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 03381 - UNBONDED POST-TENSIONED CONCRETE
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.  Select one or both options in first subparagraph.

1. Furnishing post-tensioning reinforcement and accessories including [non-encapsulated] [and] [encapsulated] prestressing tendons, pocket formers, support bars, bar chairs, and slab bolsters.

2. Installing post-tensioning tendons.

3. Performing post-tensioning operations including stressing and finishing tendons.

Delete first subparagraph below if Owner will engage a special inspector to record elongations.

4. Recording tendon elongations and gage pressures.

5. Finishing tendon ends and patching stressing pockets.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 3 Section "Cast-in-Place Concrete" for cast-in-place concrete, steel reinforcement, placement of nonprestressed steel reinforcement, and concrete strength testing of laboratory- and field-cured cylinders.

1.3 DEFINITIONS

Retain terms that remain after this Section has been edited.

See Evaluations for discussion of terms defined in ACI 423.6.

A. Strand Tail:  Excess strand length extending past the anchorage device.

B. Stressing Blockout:  Opening created in the slab to allow access to stressing-end anchorages.

C. Stressing Pocket:  Void formed by pocket former at stressing-end anchorage to provide required cover over wedges and strand tail.

D. Wedge Cavity:  Cone-shaped hole in anchorage device designed to hold the wedges that anchor the strand.

1.4 PERFORMANCE REQUIREMENTS

Retain applicable paragraphs and subparagraphs in this Article if delegating design responsibility for post-tensioned reinforcement to post-tensioning supplier.  AIA Document A201 requires Owner or Architect to specify performance and design criteria.

A. Structural Performance:  Design cast-in-place, post-tensioned concrete reinforcement as indicated in this Section.  Show final effective forces, tendon profiles, and nonprestressed reinforcement on design Shop Drawings.

Revise Engineer's qualifications below as necessary for the Work of Project.

B. Employ professional Engineer, registered in <Insert State>, and acceptable to Owner, to perform design.  Sign and seal design Shop Drawings and design calculations submitted to Owner for review.  Prepare and seal drawings and calculations for submittal to authorities having jurisdiction.  Comply with design intent, criteria, and requirements of the Contract Documents.

C. Design structure to withstand the following loads according to governing codes, within limits and under conditions indicated:

Revise list of loads below to suit Project.

1. Dead Loads:  <Insert applicable dead loads.>

2. Live Loads:  <Insert applicable live loads.>

3. Wind Loads:  <Insert applicable wind loads or wind-loading criteria including basic wind speed, importance factor, and exposure category.>

4. Seismic Loads:  <Insert applicable earthquake design data including seismic coefficient and importance factor.>

5. Vehicle Bumper Loads:  <Insert applicable design criteria.>

6. Snow and Snowdrift Loads:  <Insert applicable design criteria.>

7. Temperature Differentials:  <Insert applicable design criteria.>

Revise first paragraph and subparagraphs below if more stringent stress limits are required.

D. Average Precompression:

1. Minimum Average Slab Precompression:  [125 psi (0.86 MPa)] [200 psi (1.4 MPa)] <Insert value>.

2. Maximum Average Slab Precompression:  [300 psi (2.1 MPa)] [500 psi (3.4 MPa)] <Insert value>.

Retain subparagraph below for one-way slab and beam construction.

3. Minimum Average Precompression in T-, L-, and Rectangular-Beam Cross Sections:  [200 psi (1.4 MPa)] <Insert value>.

Retain subparagraph below if Project is one-way slab and beam design and prestressing tendons will be used for temperature and shrinkage stresses.

4. Minimum Precompression in Slab Section Not Included in T- or L-Beam Section:  [100 psi (0.7 MPa)] <Insert value>.

Retain subparagraph below if design will include transfer girders.

5. Maximum Precompression in Transfer Girders:  [1000 psi (6.9 MPa)] <Insert value>.  Specify stage-stressing sequence to avoid overstress.

E. Comply with ACI 318 (ACI 318M) limits on stresses at transfer of prestress and under service load.

F. Comply with ACI 318 (ACI 318M) requirements for minimum bonded reinforcement.

G. Comply with ACI 318 (ACI 318M) requirements for concrete cover over reinforcement.

H. Design members such that thickness and concrete cover over reinforcement comply with fire-resistance requirements of authorities having jurisdiction.

Retain paragraph above or first paragraph and subparagraphs below.  Revise as necessary to identify fire-resistance requirements of post-tensioned elements.

I. Design members such that thickness and concrete cover over reinforcement comply with the following fire-resistance requirements:

1. Slabs:  [Two hours] <Insert value>.

2. Beam:  [Two hours] <Insert value>.

J. Deflection Limits Including Creep and Shrinkage Effects:

1. Total Dead Load:  [L/600] <Insert value>.

2. Total Dead Plus Live Load:  [L/360] <Insert value>.

K. Slab Design:

1. Minimum Slab Thickness:  [5-1/2 inches (140 mm)] <Insert value>.

a. Minimum Thickness if Conduit Is Embedded:  [6 inches (150 mm)] <Insert value>.

b. Maximum Span/Depth Ratio:  [45] <Insert value>.

2. Locate closure strips at midspan and adjust tendon forces and profiles accordingly.  Calculate moments in spans with closure strips assuming a continuous slab.  Provide only nonprestressed reinforcement within closure strips.  Design reinforcement in closure strip to carry ultimate moment at midspan.

1.5 SUBMITTALS

A. Product Data:  For the following:

1. Post-tensioning coating.

2. Tendon sheathing.

3. Anchorage devices.

4. Tendon couplers.

5. Bar and tendon supports.

6. Pocket formers.

7. Sheathing repair tape.

8. Stressing-pocket patching material.

Retain subparagraph below if an encapsulated system is specified for part or all of structure.

9. Encapsulation system.

B. LEED Submittal:

Retain subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  An alternative method of complying with Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 1 Section "LEED Requirements" that gives Contractor the option and responsibility for determining how Credit MR 4.1 and MR 4.2 requirements will be met.

1. Product Data for Credit MR 4.1[ and Credit MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a. Include statement indicating costs for each product having recycled content.

C. Shop Drawings:  Installation drawings including plans, elevations, sections, details, and notes prepared by or under the supervision of a registered professional engineer detailing tendon layout and installation procedures, including the following:

1. Numbers, arrangement, and designation of post-tensioning tendons.

2. Tendon profiles and method of tendon support including chair heights and locations.  Show tendon profiles at sufficient scale to clearly indicate all support points, with their associated heights.

3. Construction joint locations, pour sequence, locations of anchorages and blockouts required for stressing.

4. Stressing procedures and jacking force to result in final effective forces used in determining number of tendons required.

5. Sealed calculations prepared by a registered structural engineer indicating method of elongation calculation including values used for friction coefficients, anchorage seating loss, elastic shortening, creep, relaxation, and shrinkage.

6. Calculated elongations for each tendon.

7. Details for horizontal curvature around openings and at anchorages.

8. Details for corners and other locations where tendon layouts may conflict with one another or nonprestressed reinforcing steel.

9. Diagrams and notes as necessary for positioning of nonprestressed reinforcement required for installing post-tensioning tendons including, but not limited to, the following:

a. Support bars.

b. Backup bars and hairpins at anchorages.

c. Hairpins at locations of horizontal curvature.

d. Supplemental reinforcement at blockouts.

Retain first paragraph below if delegating design responsibility for post-tensioned reinforcement to post-tensioning supplier.

D. Design Shop Drawings and calculations.

E. Samples for Verification:  For the following products:

1. Each anchorage device assembly with a minimum of 24 inches (610 mm) of coated, sheathed strand.

Retain first subparagraph below if an encapsulated system is specified.  See Evaluations for discussion of encapsulated systems for aggressive environments.

a. Include components of encapsulation system.

2. Each coupler assembly with a minimum of 24 inches (610 mm) of coated, sheathed strand.

Retain subparagraph below if an encapsulated system is specified.

a. Include components of encapsulation system.

Retain subparagraph below if an encapsulated system is specified.

3. All components of encapsulation system, unassembled and clearly marked as to usage.

F. Product Certificates:

1. For each type of anchorage device and coupler, signed by product manufacturer.

Retain subparagraph below if an encapsulated system is specified.

2. For each type of encapsulation system, signed by product manufacturer.

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For [Installer] [manufacturer] [testing agency].  Include resume of individual supervising installation and stressing of post-tensioning tendons.

H. Mill Test Reports:  Certified mill test reports for prestressing strand used on Project indicating that strand is low-relaxation and including the following:

1. Coil numbers or identification.

The breaking load (breaking strength) shown on the mill test report is the equivalent tensile strength of the strand.  ACI 423.6 refers to this value as the tensile strength of the strand.

2. Breaking load.

3. Load at 1 percent extension.

4. Elongation at failure.

5. Modulus of elasticity.

6. Diameter and net area of strand.

Retain first paragraph below if Contractor is responsible for field quality-control testing.

I. Field quality-control test reports.

J. Procedures Statement:  Procedures for cutting excess strand tail and patching stressing pocket.

K. Stressing Jack Calibration:  Calibration certificates for jacks and gages to be used on Project.  Calibrate each jack-and-gage set as a pair.

Retain paragraph and subparagraphs below if Contractor will engage testing agency responsible for marking and measuring elongations.

L. Stressing Records:  Filled out by testing agency during stressing operation with the following information recorded:

1. Name of Project.

2. Date of approved installation drawings used for installation and stressing.

3. Floor number and concrete placement area.

4. Date of stressing operation.

5. Weather conditions including temperature and rainfall.

6. Name and signature of inspector.

7. Name of individual in charge of stressing operation.

8. Serial or identification numbers of jack and gage.

9. Date of jack-and-gage calibration certificates.

10. Gage pressure to achieve required stressing force per supplied calibration chart.

11. Tendon identification mark.

12. Calculated tendon elongation.

13. Actual tendon elongation.

14. Actual gage pressure.

1.6 QUALITY ASSURANCE

A. Installer Qualifications:  A qualified installer whose full-time Project superintendent has successfully completed PTI's Level 1 - Field Fundamentals course or has equivalent verifiable experience and knowledge acceptable to Architect.

1. Superintendent must have received training from post-tensioning supplier in the operation of stressing equipment to be used on Project.

B. Manufacturer Qualifications:  Fabricating plant certified by PTI according to procedures set forth in PTI's "Manual for Certification of Plants Producing Unbonded Single Strand Tendons."

Retain first paragraph and subparagraph below if Contractor selects testing agency for field quality control.

C. Testing Agency Qualifications:  An independent agency qualified according to ASTM E 329 for testing indicated, as documented according to ASTM E 548.

1. Testing Agency Inspector:  Personnel performing field inspections and measuring elongations shall have successfully completed PTI's Level 1 - Field Fundamentals course or shall have equivalent qualifications acceptable to Architect.

D. Source Limitations:  Obtain post-tensioning materials and equipment from the same supplier.

1. Stressing jacks not provided by post-tensioning supplier must be calibrated and approved for use on Project by post-tensioning supplier.

E. ACI Publications:  Comply with ACI 423.6, "Specification for Unbonded Single Strand Tendons," unless otherwise indicated in the Contract Documents.

F. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination." Review methods and procedures related to installation and stressing of post-tensioning tendons including, but not limited to, the following:

Retain subparagraphs below if required.  If retaining, revise to include product-specific requirements.  Insert additional requirements to suit Project.

1. Construction schedule and availability of materials, personnel, and equipment needed to make progress and avoid delays.

2. Storage of post-tensioning materials on-site.

3. Structural load limitations.

4. Coordination of post-tensioning installation drawings and nonprestressed reinforcing steel placing drawings.

5. Horizontal and vertical tolerances on tendon and nonprestressed reinforcement placement.

6. Marking and measuring of elongations.

7. Submittal of stressing records and requirements for tendon finishing.

8. Removal of formwork.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Deliver, store, and handle post-tensioning materials according to PTI's "Field Procedures Manual for Unbonded Single Strand Tendons."

B. Inspect tendons and accessory items at time of their delivery to Project site, prior to off-loading.  Notify post-tensioning supplier of observed damage prior to off-loading.

C. Keep accurate and current records of materials delivered and used.

D. Immediately remove from Project site any tendons with damaged strand.

1.8 COORDINATION

Revise this Article on slab penetrations and fasteners to suit Project.

A. Attachments and Penetrations:

1. Attach permanent fixtures such as curtain-wall systems, handrails, fire-protection equipment, lights, and security devices to the slab using embedded anchors.  Drilled anchors are not allowed unless authorized in writing by Architect.

2. Power-driven fasteners are not allowed unless authorized in writing by Architect.

3. Core drilling for sleeves or other penetrations is not allowed unless authorized in writing by Architect.

4. Protect penetrations within [18 inches (460 mm)] <Insert value> of an anchorage with ASTM A 53/A 53M, Schedule 40 steel pipe.

PART 2 -  PRODUCTS

2.1 PRESTRESSING TENDONS

A. Prestressing Strand:  ASTM A 416/A 416M, Grade 270 (Grade 1860), uncoated, 7-wire, low-relaxation, [0.5-inch- (12.7-mm-)] [0.6-inch- (15.2-mm-)] <Insert diameter> diameter strand.

B. Post-Tensioning Coating:  Compound with friction-reducing, moisture-displacing, and corrosion-inhibiting properties specified in ACI 423.6; chemically stable and nonreactive with prestressing steel, nonprestressed reinforcement, sheathing material, and concrete.

1. Minimum Coating Weight:  [2.5 lb (1.14 kg) for 0.5-inch- (12.7-mm-) diameter strand] [3 lb (1.36 kg) for 0.6-inch- (15.2-mm-) diameter strand] <Insert value> per 100 feet (30 m) of strand.

2. Completely fill annular space between strand and sheathing over entire tendon length with post-tensioning coating.

C. Tendon Sheathing:  Comply with ACI 423.6.

1. Minimum Thickness:  [0.050 inch (1.25 mm)] <Insert value> for polyethylene or polypropylene with a minimum density of 0.034 lb/cu. in. (0.9 g/cu. cm).

Retain first option in subparagraph below if an encapsulated system is specified.  Retain second option if a non-encapsulated system is specified.  Revise as necessary if an encapsulated system is specified only for certain portions of structure.

2. Continuous over the entire length of tendon [to provide watertight encapsulation of strand] [and] [between anchorages to prevent intrusion of cement paste or loss of coating for a non-encapsulated system].

D. Anchorage Device and Coupler Assembly:  Assembly of strand, wedges, and anchorage device or coupler complying with static and fatigue testing requirements in ACI 423.6 and capable of developing 95 percent of actual breaking strength of strand.

1. Anchorage Bearing Stresses:  Comply with ACI 423.6 for stresses at transfer load and service load.

2. Fixed-End Anchorage Device Assemblies:  Plant fabricated with wedges seated at a load of not less than 80 percent and not more than 85 percent of breaking strength of strand.

Retain paragraph and subparagraphs below if an encapsulated system is specified.  See Evaluations for discussion of encapsulated systems for aggressive environments.

E. Encapsulation System:  Watertight encapsulation of prestressing strand consisting of the following:

1. Wedge-Cavity Caps:  Attached to anchorages with a positive mechanical connection and completely filled with post-tensioning coating.

a. Caps for Fixed and Stressing-End Anchorages Devices:  Designed to provide watertight encapsulation of wedge cavity.  Sized to allow required extension of strand past the wedges.

1) Attach cap for fixed-end anchorage device in fabricating plant.

b. Caps at Intermediate Anchorages:  Open to allow passage of strand.

2. Sleeves:  Attached to anchorage device with positive mechanical connection; overlapped a minimum of 4 inches (100 mm) with sheathing and completely filled with post-tensioning coating.

2.2 NONPRESTRESSED STEEL BARS

Retain first paragraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  USGBC allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that reinforcing bars are made by the electric arc furnace method, which typically has 57.5 percent postconsumer recycled content and 6.5 percent preconsumer recycled content.

A. Recycled Content of Steel Products:  Provide products with an average recycled content of steel products so postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] [60] <Insert number> percent.

Retain requirements for support bars, reinforcing bars, and hairpins in first four paragraphs and subparagraphs below or delete suit Project.

B. Support Bars, Reinforcing Bars, Hairpins:  ASTM A 615/A 615M, Grade 60 (Grade 420), deformed.  Minimum support bar size is 1/2 inch (13 mm).

Retain paragraph below if bars will be welded or if additional ductility is required.

C. Low-Alloy-Steel Support Bars, Reinforcing Bars, Hairpins:  ASTM A 706/A 706M, deformed.

Retain paragraph below for galvanized steel bars.  Select type of steel from first set of options and zinc-coating class from second set of options.  Class I has at least 50 percent more weight of zinc than Class II.

D. Galvanized Support Bars, Reinforcing Bars, Hairpins:  [ASTM A 615/A 615M, Grade 60 (Grade 420)] [ASTM A 706/A 706M], deformed bars, ASTM A 767/A 767M, Class [I] [II] zinc coated after fabrication and bending.

1. Zinc Repair Material:  ASTM A 780, zinc-based solder, paint containing zinc dust, or sprayed zinc.

Retain first paragraph below for epoxy-coated bars.  Select type of steel from options.

E. Epoxy-Coated Support Bars, Reinforcing Bars, Hairpins:  [ASTM A 615/A 615M, Grade 60 (Grade 420)] [ASTM A 706/A 706M], deformed bars, ASTM A 775/A 775M epoxy coated with less than 2 percent damaged coating in each 12-inch (300-mm) bar length.

1. Epoxy Repair Coating:  Liquid, two-part, epoxy repair coating; compatible with epoxy coating on bars and complying with ASTM A 775/A 755M.  Repair damaged areas according to ASTM D 3963/D 3963M.

F. Supports:  Bolsters, chairs, spacers, and other devices for spacing, supporting, and fastening tendons and tendon support bars in place.  Manufacture bar supports, according to CRSI's "Manual of Standard Practice," from steel wire, plastic, or precast concrete of greater compressive strength than concrete, and as follows:

1. For uncoated bars, use [all-plastic] [CRSI Class 1 plastic-protected] [CRSI Class 2 stainless-steel] bar supports.

2. For epoxy-coated bars, use [CRSI Class 1A epoxy-coated or other dielectric-polymer-coated wire] [all-plastic] bar supports.

3. For zinc-coated bars, use [galvanized wire or dielectric-polymer-coated wire] [all-plastic] bar supports.

2.3 ACCESSORIES

A. Pocket Formers:  Capable of completely sealing wedge cavity; sized to provide the required cover over the anchorage and allow access for cutting strand tail.

Delete first paragraph below if tendons are not intended for use in an aggressive environment.

B. Anchorage Fasteners:  [Stainless-steel] [Galvanized steel] [Uncoated steel] nails, wires, and screws used to attach anchorage devices to formwork.

C. Sheathing Repair Tape:  Elastic, self-adhesive, moistureproof tape with minimum width of 2 inches (50 mm), in contrasting color to tendon sheathing; nonreactive with sheathing, coating, or prestressing steel.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Adhesive Tape Products, Inc.; PWT-20.

b. 3M; Tape 226.

c. Tyco Adhesives; Polyken 826.

d. <Insert manufacturer's name; product name or designation.>

2.4 PATCHING MATERIAL

A. Patching Material:  One component, polymer-modified, premixed patching material containing selected silica aggregates and portland cement, suitable for vertical and overhead application.  Do not use material containing chlorides or other chemicals known to be deleterious to prestressing steel or material that is reactive with prestressing steel, anchorage device material, or concrete.

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Euclid Chemical Company (The); Verticoat Supreme.

b. Fox Industries, Inc.; FX-228.

c. Kaufman Products, Inc.; Patchwell Kit HB.

d. Master Builders, Inc.; Emaco R350 CI.

e. Sika Corporation, Inc.; SikaMonoTop 612.

f. <Insert manufacturer's name; product name or designation.>

PART 3 -  EXECUTION

3.1 FORMWORK

A. Provide formwork for post-tensioned elements as specified in Division 3 Section "Cast-in-Place Concrete." Design formwork to support load redistribution that may occur during stressing operation.  Ensure that formwork does not restrain elastic shortening, camber, or deflection resulting from application of prestressing force.

B. Do not remove forms supporting post-tensioned elements until tendons have been fully stressed and elongations have been approved by Architect, unless authorized in writing by Architect.

C. Do not place concrete in supported floors until tendons on supporting floors have been stressed and elongations have been approved by Architect, unless authorized in writing by Architect.

3.2 NONPRESTRESSED STEEL REINFORCEMENT PLACEMENT

A. Placement of nonprestressed steel reinforcement is specified in Division 3 Section "Cast-in-Place Concrete." Coordinate placement of nonprestressed steel reinforcement with installation of post-tensioning tendons.

3.3 TENDON INSTALLATION

A. Install tendons according to approved installation drawings and procedures stated in PTI's "Field Procedures Manual for Unbonded Single Strand Tendons."

B. Tendon Supports:  Provide continuous slab bolsters or bars supported on individual high chairs spaced at a maximum of 42 inches (1070 mm) o.c. to ensure tendons remain in their designated positions during construction operations and concrete placement.

1. Support tendons as required to provide profiles shown on installation drawings.  Position supports at high and low points and at intervals not exceeding 48 inches (1220 mm).  Ensure that tendon profiles between high and low points are smooth parabolic curves.

2. Attach tendons to supporting chairs and reinforcement without damaging tendon sheathing.

3. Support slab tendons independent of beam reinforcement.

C. Maintain tendon profile within maximum allowable deviations from design profile as follows:

1. 1/4 inch (6.3 mm) for member depth less than or equal to 8 inches (200 mm).

2. 3/8 inch (10 mm) for member depth greater than 8 inches (200 mm) and less than or equal to 24 inches (610 mm).

3. 1/2 inch (13 mm) for member depth greater than 24 inches (610 mm).

D. Maintain minimum radius of curvature of 480-strand diameters for lateral deviations to avoid openings, ducts, and embedded items.  Maintain a minimum of 2 inches (50 mm) of separation between tendons at locations of curvature.

E. Limit tendon bundles to [five] <Insert number> tendons.  Do not twist or entwine tendons within a bundle.  Maintain a minimum distance of 12 inches (300 mm) between center of adjacent bundles.

F. If tendon locations conflict with nonprestressed reinforcement or embedded items, tendon placement governs unless changes are authorized in writing by Architect.  Obtain Architect's approval before relocating tendons or tendon anchorages that interfere with one another.

G. Deviations in horizontal spacing and location of slab tendons are permitted when required to avoid openings and inserts.

H. Installation of Anchorage Devices:

1. Place anchorage devices at locations shown on approved installation drawings.

Retain first subparagraph below if switching fixed and stressing-end anchorage locations may compromise quality of installation.  Switching fixed and stressing-end anchorages has no effect on the structural system but may affect the durability of the system or cause conflicts with work of other trades.  Stressing-end anchorages are typically more vulnerable to corrosion and should not be located where there is potential for leakage, either during construction or in service.  If there are tendons whose anchorages cannot be switched, this should be noted on the post-tensioning installation drawings.

2. Do not switch fixed and stressing-end anchorage locations unless authorized in writing by Architect.

3. Attach pocket formers, intermediate anchorage devices, and stressing-end anchorage devices securely to bulkhead forms.  Install stressing-end and intermediate anchorage devices perpendicular to tendon axis.

4. Install tendons straight, without vertical or horizontal curvature, for a minimum of 12 inches (300 mm) behind stressing-end and intermediate anchorages.

5. Embed intermediate anchorage devices at construction joints in first concrete placed at joint.

6. Minimum splice length in reinforcing bars at anchorages is 24 inches (600 mm).  Stagger splices a minimum of 60 inches (1500 mm).

7. Place fixed-end anchorage devices in formwork at locations shown on installation drawings.  Support anchorages firmly to avoid movement during concrete placement.

Retain subparagraph below if an encapsulated system is specified.  Revise as necessary if an encapsulated system is specified only for certain portions of structure.

8. Remove loose caps on fixed-end anchorages, refill with post-tensioning coating, and re-attach caps to achieve a watertight enclosure.

I. Maintain minimum concrete cover as follows:

ACI 423.6 requires that cover to wedge cavity be a minimum of 1-1/2 inches (38 mm) for non-aggressive environments and 2 inches (50 mm) for aggressive environments.

1. From Exterior Edge of Concrete to Wedge Cavity:  [1-1/2 inches (38 mm)] [2 inches (50 mm)] <Insert dimension>.

Retain subparagraph below if a non-encapsulated system is specified.  Revise as necessary if an encapsulated system is specified only for certain portions of structure.

2. From Exterior Edge of Concrete to Strand Tail:  [3/4 inch (19 mm)] <Insert dimension>.

Retain subparagraph below if an encapsulated system is specified.  Revise as necessary if an encapsulated system is specified only for certain portions of structure.

3. From Exterior Edge of Concrete to Wedge-Cavity Cap:  [1 inch (25 mm)] <Insert dimension>.

A minimum of 1-inch (25-mm) top and edge concrete cover is recommended for anchorage devices in aggressive environments.

4. Top, Bottom, and Edge Cover for Anchorage Devices:  [3/4 inch (19 mm)] [1-1/2 inches (38 mm)] <Insert value>.

J. Maintain minimum clearance of 6 inches (150 mm) between tendons and openings.

Paint markings on formwork will be transferred to concrete, allowing tendon locations to be determined by examination of slab soffit.  Delete first paragraph below or use alternate method of marking tendon locations if soffit is to be exposed or such markings are not desired.

K. Prior to concrete placement, mark tendon locations on formwork with spray paint.

L. Do not install sleeves within [36 inches (914 mm)] <Insert value> of anchorages after tendon layout has been inspected unless authorized in writing by Architect.

M. Do not install conduit, pipe, or embeds requiring movement of tendons after tendon layout has been inspected unless authorized in writing by Architect.

N. Do not use couplers unless location has been approved by Architect.

3.4 SHEATHING INSPECTION AND REPAIR

Small areas of unrepaired damage may be acceptable for tendons not intended for use in an aggressive environment; revise paragraph and subparagraphs below if this is permitted.

A. Inspect sheathing for damage after installing tendons.  Repair damaged areas by restoring post-tensioning coating and repairing or replacing tendon sheathing.

1. Ensure that sheathing is watertight and there are no air voids.

2. Follow tape repair procedures in PTI's "Field Procedures Manual for Unbonded Single Strand Tendons."

Retain paragraph and subparagraphs below if a non-encapsulated system is specified.  With non-encapsulated systems, Architect can specify length of exposed strand that is allowed.  General practice is to allow up to 12 inches (300 mm) of exposed strand at fixed-end anchorage.  The Commentary for ACI 423.6 indicates that a maximum of 1 inch (25 mm) of exposed strand is normally allowed at stressing-end anchorages.  Many architects, however, require that exposed strand at intermediate and stressing-end be taped to avoid problems during stressing.  In an encapsulated system, no exposed strand is allowed at anchorages.  Revise below if an encapsulated system is specified for certain portions of structure.

B. Maximum length of exposed strand behind anchorages is as follows:

1. Fixed End:  [12 inches (300 mm)] <Insert length>.

2. Intermediate and Stressing End:  [0 inches (0 mm)] [1 inch (25 mm)] <Insert length>.

Retain subparagraph below if retaining first option in subparagraph above for maximum length of exposed strand at intermediate and stressing-end anchorages.

a. Cover exposed strand with sheathing repair tape to prevent contact with concrete.

C. Immediately remove and replace tendons that have damaged strand.

3.5 CONCRETE PLACEMENT

Some codes and jurisdictions require that inspector be hired by Owner; this inspector is referred to as a "special inspector."

A. Do not place concrete until placement of tendons and nonprestressed steel reinforcement has been inspected by [special inspector] [testing agency].

B. Provide Architect and [special inspector] [testing agency] a minimum of 48 hours' notice before concrete placement.

C. Place concrete as specified in Division 3 Section "Cast-in-Place Concrete." Ensure compaction of concrete around anchorages.

D. Ensure that position of tendon and nonprestressed steel reinforcement does not change during concrete placement.  Reposition tendons and nonprestressed steel reinforcement moved during concrete placement.

E. Ensure that method of concrete placement does not damage tendon sheathing.  Do not support pump lines, chutes, or other concrete placing equipment on tendons.

3.6 TENDON STRESSING

Revise first paragraph below to suit Project.  It is typically not necessary to calibrate the jack for small jobs lasting less than a few months if the jack has been calibrated within the last six months.

A. Calibrate stressing jacks and gages at start of job and at least every six months thereafter.  Keep copies of calibration certificates for each jack-and-gage pair on Project site and available for inspection.  Exercise care in handling stressing equipment to ensure that proper calibration is maintained.

B. Stress tendons only under supervision of qualified post-tensioning superintendent.

Coordinate concrete strength required with requirements of post-tensioning supplier.

C. Do not begin stressing operations until concrete strength has reached [3000 psi (20.7 MPa)] <Insert strength> as indicated by compression tests of field-cured cylinders.

D. Complete stressing within [96 hours] <Insert time> of concrete placement.

E. If concrete has not reached required strength, obtain Architect's approval to partially stress tendons and delay final stressing until concrete has reached required strength.

Retain first paragraph below if stage stressing will be required; revise to suit Project.

F. Stage stress [transfer girders] [foundation mats] <Insert work> according to schedule shown on the Contract Drawings.

G. If detensioning and restressing of tendon is required, discard wedges used in original stressing and provide new wedges.

Retain paragraph below if Contractor will engage testing agency responsible for marking and measuring elongations.

H. Mark and measure elongations according to PTI's "Field Procedures Manual for Unbonded Single Strand Tendons." Measure elongations to closest [1/8 inch (3.2 mm)] <Insert value>.

ACI 318 requires that the cause of any difference between the jacking force and the force corresponding to measured elongation that exceeds 7 percent be ascertained and corrected.

I. Submit stressing records within one day of completion of stressing.  If discrepancies between measured and calculated elongations exceed plus or minus 7 percent, resolve these discrepancies to satisfaction of Architect.

J. Prestressing will be considered acceptable if gage pressures shown on stressing record correspond to required stressing force and calculated and measured elongations agree within 7 percent.

K. If measured elongations deviate from calculated elongations by more than 7 percent, additional testing, restressing, strengthening, or replacement of affected elements may be required.

3.7 TENDON FINISHING

A. Do not cut strand tails or cover anchorages until stressing records have been reviewed and approved by Architect.

B. Cut strand tails as soon as possible after approval of elongations.

C. Cut strand tail between 1/2 and 3/4 inch (13 and 19 mm) from wedges.  Do not damage tendon or concrete during removal of strand tail.  Acceptable methods of cutting strand tail include the following:

1. Oxyacetylene flame.

2. Abrasive wheel.

3. Hydraulic shears.

4. Plasma cutting.

Retain first two paragraphs below if an encapsulated system is specified.  Revise as necessary if an encapsulated system is specified only for certain portions of structure.

D. Install caps and sleeves on intermediate anchorages within one day of stressing.

E. Cut strand tails and install caps on stressing-end anchorages within one day of Architect's acceptance of elongations.

F. Patch stressing pockets within one day of cutting strand tail.  Clean inside surface of pocket to remove laitance or post-tensioning coating before installing patch material.  Finish patch material flush with adjacent concrete.

3.8 FIELD QUALITY CONTROL

Retain first option in paragraph below if Owner engages agency; retain second option if Contractor engages agency.  If retaining second option, retain requirement for field quality-control test reports in Part 1 "Submittals" Article.

A. Testing Agency:  [Owner will engage] [Engage] a qualified independent testing and inspecting agency to perform field tests and inspections and prepare test reports.  Cooperate with testing agency to facilitate the execution of its duties.

1. Before concrete placement, [special inspector] [testing agency] will inspect the following for compliance with post-tensioning installation drawings and the Contract Documents:

a. Location and number of tendons.

b. Tendon profiles and cover.

c. Installation of backup bars, hairpins, and other nonprestressed reinforcement shown on post-tensioning installation drawings.

d. Installation of pocket formers and anchorage devices.

e. Repair of damaged sheathing.

Retain first subparagraph below if an encapsulated system is specified.  Revise as necessary if an encapsulated system is specified only for certain portions of structure.

f. Connections between sheathing and anchorage devices.

2. [Special inspector] [Testing agency] will record tendon elongations during stressing.

3. [Special inspector] [Testing agency] will immediately report deviations from the Contract Documents to Architect.

3.9 PROTECTION

A. Do not expose tendons to electric ground currents, welding sparks, or temperatures that would degrade component.

Retain first paragraph below, a requirement of ACI 423.6, if the Work will be exposed to an aggressive environment.  See Evaluations for discussion of aggressive environments.

B. Protect exposed components within one workday of their exposure during installation.

C. Prevent water from entering tendons during installation and stressing.

D. Provide weather protection to stressing-end anchorages if strand tails are not cut within 10 days of stressing the tendons.

3.10 REPAIRS

A. Submit repair procedure to Architect for evaluation and approval.

B. Do not proceed with repairs requiring removal of concrete unless authorized in writing by Architect.

END OF SECTION 03381END OF SECTION 03381

UNBONDED POST-TENSIONED CONCRETE
03381 - 1

