Copyright 2002 AIA
MASTERSPEC
11/02

Copyright 2002, The American Institute of Architects (AIA)

SECTION 04720 - CAST STONE
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.  Items are examples only.

1. Cast stone trim[.] [including the following:]

a. Window sills.

b. Lintels.

c. Surrounds.

d. Coping.

e. Wall caps.

f. Belt courses.

g. Water tables.

h. Quoins.

i. Pilasters.

j. Column covers.

k. Medallions.

2. Cast stone steps.

3. Cast stone bollards.

4. Cast stone benches.

5. Cast stone curbing.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 3 Section "Plant-Precast Architectural Concrete."

Delete subparagraph below if installation of cast stone is specified in this Section.

2. Division 4 Section "Unit Masonry Assemblies" for installing cast stone units in unit masonry.

1.3 DEFINITIONS

A. Cast Stone:  Architectural precast concrete building units intended to simulate natural cut stone.

1.4 SUBMITTALS

A. Product Data:  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for cast stone units.

Usually retain paragraph above for cast stone items that are manufacturer's stock units, paragraph and subparagraph below for custom-made units.

B. Shop Drawings:  Show fabrication and installation details for cast stone units.  Include dimensions, details of reinforcement and anchorages if any, and indication of finished faces.

1. Include building elevations showing layout of units and locations of joints and anchors.

Delete first paragraph below if installation of cast stone is specified in Division 4 Section "Unit Masonry Assemblies."

C. Samples for Initial Selection:  For colored mortar.

D. Samples for Verification:

1. For each color and texture of cast stone required, 10 inches (250 mm) square in size.

Delete subparagraph below if installation of cast stone is specified in Division 4 Section "Unit Masonry Assemblies."

2. For colored mortar.  Make Samples using same sand and mortar ingredients to be used on Project.[  Label Samples to indicated types and amounts of pigments used.]

Retain first paragraph below for units installed in mockups if installation is specified in Division 4 Section "Unit Masonry Assemblies."  Select second option and detail mockups on Drawings if full-size units are required for mockups.

E. Mockup Samples:  Furnish sample units [for each color and texture of cast stone required, 10 inches (250 mm) square in size] [as indicated on Drawings] for installation in mockups.

F. Full-Size Samples:  For each type of cast stone unit required.

1. Make available for Architect's review at Project site[ or at manufacturing plant, if acceptable to Architect].

Option in first subparagraph below may present timing problems.  If Samples are not made far enough in advance, changing materials may not be possible (although adjustment of mixes and finishing techniques may be possible).  However, if Samples are made too far in advance, they may not be made from materials from same lot used for production of units for Project.

2. Make Samples from materials to be used for units used on Project[ immediately before beginning production of units for Project].

3. Approved Samples may be installed in the Work.

Usually retain paragraph below unless manufacturers are limited to those known to produce only acceptable products.  Coordinate with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For [manufacturer] [and] [testing agency].

Consider deleting subparagraph below.  Unless testing to verify compliance with ASTM C 1364 was required for previous projects, manufacturers may not be able to supply test reports.

1. Include copies of material test reports for completed projects, indicating compliance of cast stone with ASTM C 1364.

Delete paragraph and subparagraph below if a written quality-control plan is not required in "Quality Assurance" Article.

H. Quality-Control Plan:  Manufacturer's written quality-control plan that includes all elements of the Cast Stone Institute's "Quality Control Procedures Required for Plant Inspection."

1. Provide copies of documentation showing compliance with quality-control plan as requested by Architect.

Consider deleting paragraph and subparagraph below if only a few units are required or if tests are considered unnecessary.  Delete option if resistance to freezing and thawing is not required or if field performance of similar units is acceptable for establishing freeze-thaw resistance.  Some consider testing for freeze-thaw resistance unnecessary because compressive-strength and water-absorption requirements in ASTM C 1364 tend to ensure a durable product.  Freeze-thaw testing is expensive.

I. Material Test Reports:  For each mix required to produce cast stone, based on testing according to ASTM C 1364[, including test for resistance to freezing and thawing].

1. Provide test reports based on testing within previous two years.

1.5 QUALITY ASSURANCE

A. Manufacturer Qualifications:  A qualified manufacturer of cast stone units similar to those indicated for this Project, with sufficient production capacity to manufacture required units.

Subparagraph below should help ensure obtaining a high-quality product but may limit competition.  Second option may be required for public work and should prevent subparagraph from severely limiting competition but may make requirement difficult to enforce.

1. Manufacturer is a producing member of the Cast Stone Institute[.][or has on file and follows a written quality-control plan approved by Architect that includes all elements of the Cast Stone Institute's "Quality Control Procedures Required for Plant Inspection."]

Retain first paragraph below if Contractor is required to retain an independent testing agency for testing required by ASTM C 1364.

B. Testing Agency Qualifications:  An independent testing agency qualified according to ASTM E 329 for testing indicated, as documented according to ASTM E 548.

C. Source Limitations for Cast Stone:  Obtain cast stone units through one source from a single manufacturer.

Delete paragraph below if installation of cast stone is specified in Division 4 Section "Unit Masonry Assemblies."

D. Source Limitations for Mortar Materials:  Obtain mortar ingredients of a uniform quality, including color, from one manufacturer for each cementitious component and from one source or producer for each aggregate.

Delete paragraph and subparagraph below and retain "Mockup Samples" Paragraph in "Submittals" Article instead if installation of cast stone is specified in Division 4 Section "Unit Masonry Assemblies."  Retain below if cast stone is used without unit masonry and mockup is required.

E. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects[ and set quality standards for materials and execution].

Retain subparagraph below for mockup of masonry wall that includes cast stone units or include in Division 1 Section "Quality Requirements."  Indicate on Drawings' portion of wall represented by mockup or draw mockup as separate element.

1. Build mockup of typical wall area as shown on Drawings.

1.6 DELIVERY, STORAGE, AND HANDLING

Delete option in first paragraph below if Project does not have unit masonry work.

A. Coordinate delivery of cast stone[ with unit masonry work] to minimize the need for on-site storage and to avoid delaying the Work.

B. Pack, handle, and ship cast stone units in suitable packs or pallets.

1. Lift with wide-belt slings; do not use wire rope or ropes that might cause staining.  Move cast stone units, if required, using dollies with wood supports.

2. Store cast stone units on wood skids or pallets with nonstaining, waterproof covers.  Arrange to distribute weight evenly and to prevent damage to units.  Ventilate under covers to prevent condensation.

C. Store installation materials on elevated platforms, under cover, and in a dry location.

Delete paragraph above and below if installation of cast stone is specified in Division 4 Section "Unit Masonry Assemblies."

D. Store mortar aggregates where grading and other required characteristics can be maintained and contamination can be avoided.

1.7 PROJECT CONDITIONS

Delete this Article if installation of cast stone is specified in Division 4 Section "Unit Masonry Assemblies."

A. Cold-Weather Requirements:  Do not use frozen materials or materials mixed or coated with ice or frost.  Do not build on frozen substrates.  Comply with cold-weather construction requirements contained in ACI 530.1/ASCE 6/TMS 602.

1. Cold-Weather Cleaning:  Use liquid cleaning methods only when air temperature is 40 deg F (4 deg C) and above and will remain so until cast stone has dried, but not less than 7 days after completing cleaning.

B. Hot-Weather Requirements:  Comply with hot-weather construction requirements contained in ACI 530.1/ASCE 6/TMS 602.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which manufacturers and products are named.  See Division 1 Section "Product Requirements" for an explanation of the terms "Available Products" "Products" "Available Manufacturers" and "Manufacturers" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, products specified.

2. Products:  Subject to compliance with requirements, provide one of the products specified.

3. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

4. Manufacturers:  Subject to compliance with requirements, provide products by one of the manufacturers specified.

2.2 CAST STONE MATERIALS

Delete this Article if material requirements in ASTM C 1364 are sufficient or if only stock units are required.

A. General:  Comply with ASTM C 1364 and the following:

First paragraph below is more restrictive than requirements in ASTM C 1364.

B. Portland Cement:  ASTM C 150, Type I, containing not more than 0.60 percent total alkali when tested according to ASTM C 114.

C. Coarse Aggregates:  Granite, quartz, or limestone complying with ASTM C 33; gradation as needed to produce required textures and colors as needed to produce required cast stone colors.

Revise paragraph above and first paragraph below if specific aggregates and gradations are required to produce selected colors and textures.

D. Fine Aggregates:  Natural sand or crushed stone complying with ASTM C 33, gradation as needed to produce required textures and colors as needed to produce required cast stone colors.

E. Color Pigment:  ASTM C 979, synthetic mineral-oxide pigments or colored water-reducing admixtures; color stable,[ free of carbon black,] nonfading, and resistant to lime and other alkalis.

F. Admixtures:  Do not use admixtures unless specified or approved in writing by Architect.

1. Do not use admixtures that contain more than 0.1 percent water-soluble chloride ions by mass of cementitious materials.  Do not use admixtures containing calcium chloride.

2. Use only admixtures that are certified by manufacturer to be compatible with cement and other admixtures used.

Delete option in first subparagraph below if air entrainment for exterior units is not required (for freeze-thaw resistance).

3. Air-Entraining Admixture:  ASTM C 260.[  Add to mixes for units exposed to the exterior at manufacturer's prescribed rate to result in an air content of 4 to 6 percent, except do not add to zero-slump concrete mixes.]

4. Water-Reducing Admixture:  ASTM C 494/C 494M, Type A.

5. Water-Reducing, Retarding Admixture:  ASTM C 494/C 494M, Type D.

6. Water-Reducing, Accelerating Admixture:  ASTM C 494/C 494M, Type E.

Revise paragraph below if a specific grade is required for structural purposes.  ASTM C 1364 states that reinforcement "shall be noncorrosive" where exposed faces have less than 1-1/2 inches (38 mm) of cover.

G. Reinforcement:  Deformed steel bars complying with ASTM A 615/A 615M.  Use galvanized or epoxy-coated reinforcement when covered with less than 1-1/2 inches (38 mm) of cast stone material.

1. Epoxy Coating:  ASTM A 775/A 775M.

2. Galvanized Coating:  ASTM A 767/A 767M.

Retain paragraph below and select material from two options if embedded items are required.

H. Embedded Anchors and Other Inserts:  Fabricated from [stainless steel complying with ASTM A 240/A 240M, ASTM A 276, or ASTM A 666, Type 304] [steel complying with ASTM A 36/A 36M, and hot-dip galvanized to comply with ASTM A 123/A 123M].

2.3 CAST STONE UNITS

Coordinate paragraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

A. [Available ]Manufacturers:

1. Advanced Cast Stone, Inc.

2. AHI Supply, Inc.

3. American Artstone Co., Inc.

4. Arban Associates, Inc.

5. Architectural Art Stone, Inc.

6. Architectural Cast Stone Corp.

7. Architectural Cast Stone, Inc.

8. Architectural Concrete Company, Inc.

9. Architectural Molded Composites, Inc.

10. Architectural Ornamental Castings, Inc.

11. Architectural Ornaments, Inc.

12. Artisan Stone Company, Inc.

13. Cast Stone Systems, Inc.

14. Classic Cast Stone of Dallas, Inc.

15. ConArt, Inc.

16. Continental Cast Stone East; Russell, Inc.

17. Continental Cast Stone Manufacturing, Inc.

18. Custom Cast Stone, Inc.

19. Cut Art Castings Co.

20. Dallas Cast Stone Co., Inc.

21. Dura Art Stone.

22. DuraStone.

23. Edwards Cast Stone Company.

24. Fritchman & Associates Cast Stone.

25. Hoyle Stone Products.

26. Kerckhoff, D. C. Co.

27. Miller Precast, Inc.

28. Olde World Cast Stone.

29. Olympian Precast, Inc.

30. Pineapple Grove Designs.

31. Plasticrete Architectural Concrete Products.

32. Precision Development.

33. Siteworks, Inc.

34. Southern Cast Stone Manufacturing, Inc.

35. Steps Plus, Inc.

36. Stonco.

37. Stone Castle Industries, Inc.

38. Stone Legends Div.; C.S.C.S., Inc.

39. Sun Precast Co., Inc.

40. Techcrete Architectural Precast.

41. Thunderstone.

42. Towne House Restorations, Inc.

43. <Insert manufacturer's name.>

Retain one of two methods in first paragraph below or retain both and the word "or" to allow either method.  See Evaluations.  If retaining only one method, eliminate from list of manufacturers those that do not comply.

B. Provide cast stone units complying with ASTM C 1364 using the [vibrant dry tamp] [or] [wet-cast] method.

Retain option in subparagraph below if field performance of similar units is acceptable for establishing freeze-thaw resistance.  Delete subparagraph if freeze-thaw resistance is not required.  Some consider testing for freeze-thaw resistance unnecessary because compressive-strength and water-absorption requirements in ASTM C 1364 tend to ensure a durable product.  Freeze-thaw testing is expensive.

1. Provide units that are resistant to freezing and thawing as determined by laboratory testing according to ASTM C 666, Procedure A, as modified by ASTM C 1364[, or are made from cast stone that has a history of successful resistance to freezing and thawing].

C. Fabricate units with sharp arris and details accurately reproduced with indicated texture on all exposed surfaces, unless otherwise indicated.

1. Slope exposed horizontal surfaces 1:12, unless otherwise indicated.

2. Provide raised fillets at backs of sills and at ends indicated to be built into jambs.

3. Provide drips on projecting elements, unless otherwise indicated.

D. Fabrication Tolerances:

Tolerances in subparagraphs below are based on recommendations of the Cast Stone Institute.

1. Variation in Cross Section:  Do not vary from indicated dimensions by more than 1/8 inch (3 mm).

2. Variation in Length:  Do not vary from indicated dimensions by more than 1/360 of the length of unit or 1/8 inch (3 mm), whichever is greater, but in no case by more than 1/4 inch (6 mm).

3. Warp, Bow, and Twist:  Not to exceed 1/360 of the length of unit or 1/8 inch (3 mm), whichever is greater.

4. Location of Grooves, False Joints, Holes, Anchorages, and Similar Features:  Do not vary from indicated position by more than 1/8 inch (3 mm) on formed surfaces of units and 3/8 inch (10 mm) on unformed surfaces.

E. Cure units by one of the following methods:

1. Cure units with steam in enclosed curing room at temperature of 105 deg F (41 deg C) or above and 95 to 100 percent relative humidity for 6 hours.

2. Cure units with dense fog and water spray in enclosed warm curing room at 95 to 100 percent relative humidity for 24 hours.

3. Cure units to comply with one of the following:

a. Not less than 5 days at mean daily temperature of 70 deg F (21 deg C) or above.

b. Not less than 6 days at mean daily temperature of 60 deg F (16 deg C) or above.

c. Not less than 7 days at mean daily temperature of 50 deg F (10 deg C) or above.

d. Not less than 8 days at mean daily temperature of 45 deg F (7 deg C) or above.

Method in first paragraph below is standard for finishing cast stone units; revise if another method is required.

F. Acid etch units after curing to remove cement film from surfaces to be exposed to view.

G. Colors and Textures:  [Match Architect's samples] [Match existing units] [As selected by Architect from manufacturer's full range].

Select one of three options in paragraph above or provide description of colors and textures required as in example paragraphs below.  A description is always somewhat imprecise and subject to interpretation; therefore, it may not be the best method of specifying appearance characteristics.  For public work, especially if there is little control over the appearance of other building materials, a description may be necessary and adequate.

H. Color and Texture:  Provide units with fine-grained texture and buff color resembling Indiana limestone.

I. Color and Texture:  Provide units with fine texture and red-brown color resembling brownstone on adjacent buildings.

2.4 MORTAR MATERIALS

Delete this Article if installation is specified in Division 4 Section "Unit Masonry Assemblies."

A. Provide mortar materials that comply with Division 4 Section "Unit Masonry Assemblies."

Retain paragraph above or select from remaining paragraphs below.  Coordinate selection of paragraphs below with requirements in "Mortar Mixes" Article.

Retain one or more of first five paragraphs and associated subparagraphs below.  Delete masonry cement and mortar cement if not allowed by "Mortar Mixes" Article.  See Evaluations in Division 4 Section "Unit Masonry Assemblies" for discussion of masonry cement and mortar cement.

B. Portland Cement:  ASTM C 150, Type I or II, except Type III may be used for cold-weather construction.  Provide natural color or white cement as required to produce mortar color indicated.

C. Hydrated Lime:  ASTM C 207, Type S.

Mix in first paragraph below allows better control of color than job-mixed, portland cement-lime mortar.

D. Portland Cement-Lime Mix:  Packaged blend of portland cement complying with ASTM C 150, Type I or Type III, and hydrated lime complying with ASTM C 207, Type S.

E. Masonry Cement:  ASTM C 91.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. Capital Materials Corporation; Flamingo Color Masonry Cement.

b. Essroc, Italcementi Group; [Brixment] [or] [Velvet].

c. Holcim (US) Inc.; [Mortamix Masonry Cement] [Rainbow Mortamix Custom Buff Masonry Cement] [White Mortamix Masonry Cement].

d. Lafarge North America Inc.; [Magnolia Masonry Cement] [Lafarge Masonry Cement] [Florida Super Masonry] [Trinity Super White Masonry Type S] [Trinity White Masonry Type N].

e. Lehigh Cement Company; [Lehigh Masonry Cement] [Lehigh White Masonry Cement].

f. National Cement Company, Inc.; Coosa Masonry Cement.

g. <Insert manufacturer's name; product name or designation.>

F. Mortar Cement:  ASTM C 1329.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. Lafarge North America Inc.; [Lafarge Mortar Cement] [or] [Magnolia Superbond Mortar Cement].

b. <Insert manufacturer's name; product name or designation.>

Retain first paragraph and subparagraphs below for colored cement or for pigments added at Project site.

G. Mortar Pigments:  Natural and synthetic iron oxides and chromium oxides, compounded for use in mortar mixes.  Use only pigments with a record of satisfactory performance in masonry mortar.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. Bayer Corporation, Industrial Chemicals Div.; Bayferrox Iron Oxide Pigments.

b. Davis Colors; True Tone Mortar Colors.

c. Solomon Grind-Chem Services, Inc.; SGS Mortar Colors.

d. <Insert manufacturer's name; product name or designation.>

H. Colored Cement Product:  Packaged blend made from [portland cement and lime] [masonry cement] [or] [mortar cement] and mortar pigments, all complying with specified requirements and containing no other ingredients.

1. Formulate blend as required to produce color indicated or, if not indicated, as selected from manufacturer's standard colors.

Retain applicable subparagraphs below to suit types of cement retained above.  Percentages below are for pigments containing only metallic oxides.  If pigments containing carbon black are used, carbon black must be limited to 2 percent of portland cement by weight or 1 percent of masonry or mortar cement.

2. Pigments shall not exceed 10 percent of portland cement by weight.

3. Pigments shall not exceed 5 percent of [masonry cement] [or] [mortar cement] by weight.

Coordinate subparagraph and lists below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

4. [Available ]Products:

a. Colored Portland Cement-Lime Mix:

1) Capital Materials Corporation; Riverton Portland Cement Lime Custom Color.

2) Holcim (US) Inc.; Rainbow Mortamix Custom Color Cement/Lime.

3) Lafarge North America Inc.; Eaglebond.

4) Lehigh Cement Company; Lehigh Custom Color Portland/Lime Cement.

5) <Insert manufacturer's name; product name or designation.>

b. Colored Masonry Cement:

1) Capital Materials Corporation; Flamingo Color Masonry Cement.

2) Essroc, Italcementi Group; Brixment-in-Color.

3) Holcim (US) Inc.; Rainbow Mortamix Custom Color Masonry Cement.

4) Lafarge North America Inc.; [Florida Custom Color Masonry] [or] [Magnolia Masonry Cement].

5) Lehigh Cement Company; Lehigh Custom Color Masonry Cement.

6) National Cement Company, Inc.; Coosa Masonry Cement.

7) <Insert manufacturer's name; product name or designation.>

c. Colored Mortar Cement:

1) Lafarge North America Inc.; Magnolia Superbond Mortar Cement.

2) <Insert manufacturer's name; product name or designation.>

I. Aggregate for Mortar:  ASTM C 144.

1. For mortar that is exposed to view, use washed aggregate consisting of natural sand or crushed stone.

Delete subparagraph below if not required.

2. For joints less than 1/4 inch (6 mm) thick, use aggregate graded with 100 percent passing the No. 16 (1.18-mm) sieve.

Retain subparagraph below for white mortar.

3. White-Mortar Aggregates:  Natural white sand or crushed white stone.

Retain subparagraph below for colored-aggregate mortar.

4. Colored-Mortar Aggregates:  Natural sand or crushed stone of color necessary to produce required mortar color.

J. Water:  Potable.

2.5 ACCESSORIES

A. Anchors:  Type and size indicated, fabricated from stainless steel complying with ASTM A 240/A 240M, ASTM A 276, or ASTM A 666, Type 304.

Retain paragraph above or first paragraph below if applicable.  Revise above to Type 316 if required for increased corrosion resistance.

B. Anchors:  Type and size indicated, fabricated from steel complying with ASTM A 36/A 36M, and hot-dip galvanized to comply with ASTM A 123/A 123M.

C. Dowels:  Round stainless-steel bars complying with ASTM A 276, Type 304, and 1/2-inch (12-mm) diameter.

Retain paragraph above or below if applicable.  Revise above to Type 316 if required for increased corrosion resistance.

D. Dowels:  Round steel bars complying with ASTM A 36/A 36M or ASTM A 615/A 615M, 1/2-inch (12-mm) diameter, and hot-dip galvanized to comply with ASTM A 123/A 123M.

Delete paragraph and subparagraphs below if cleaning is specified in Division 4 Section "Unit Masonry Assemblies."  Before retaining below, verify compatibility with surrounding masonry.

E. Proprietary Acidic Cleaner:  Manufacturer's standard-strength, general-purpose cleaner designed for removing mortar/grout stains, efflorescence, and other construction stains from new masonry surfaces without discoloring or damaging masonry surfaces; expressly approved for intended use by cast stone manufacturer and expressly approved by cleaner manufacturer for use on cast stone and adjacent masonry materials.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. Diedrich Technologies, Inc.

b. EaCo Chem, Inc.

c. ProSoCo, Inc.

d. <Insert manufacturer's name.>

2.6 MORTAR MIXES

A. Comply with requirements in Division 4 Section "Unit Masonry Assemblies" for mortar mixes.

Retain paragraph above or first paragraph and subparagraphs below.  Revise below if another type is required.

B. Do not use admixtures, including pigments, air-entraining agents, accelerators, retarders, water-repellent agents, antifreeze compounds, or other admixtures, unless otherwise indicated.

1. Do not use calcium chloride in mortar.

Delete subparagraph below if masonry cement or mortar cement is acceptable.

2. Limit cementitious materials in mortar to portland cement[, mortar cement,] and lime.

C. Comply with ASTM C 270, Proportion Specification.

Select one mortar type in each subparagraph below.  The Cast Stone Institute recommends Type N; other types may be required by special circumstances.

1. For setting mortar, use Type [S] [N].

2. For pointing mortar, use Type [N] [O].

Delete paragraph and subparagraphs below if pigmented mortar is not required.

D. Pigmented Mortar:  Use colored cement product[ or select and proportion pigments with other ingredients to produce color required.  Do not add pigments to colored cement products].

Delete three subparagraphs below if not retaining option in paragraph above.  Percentages in first two subparagraphs are for pigments containing only metallic oxides.  If pigments containing carbon black are used, carbon black must be limited to 2 percent of portland cement by weight or 1 percent of masonry cement or mortar cement.

1. Pigments shall not exceed 10 percent of portland cement by weight.

2. Pigments shall not exceed 5 percent of [masonry cement] [or] [mortar cement] by weight.

3. Mix to match Architect's sample.

Insert materials and proportions used for sample if known.

E. Colored-Aggregate Mortar:  Produce required mortar color by using colored aggregates and natural color or white cement as necessary to produce required mortar color.

1. Mix to match Architect's sample.

Insert materials and proportions used for sample if known.

2.7 SOURCE QUALITY CONTROL

Consider deleting this Article if only a few units are required or if testing is considered unnecessary.  Revise if Owner employs testing agency.

A. Employ an independent testing agency to sample and test cast stone units according to ASTM C 1364.

Delete subparagraph below if freeze-thaw resistance is not required or if field performance of similar units is allowed for establishing freeze-thaw resistance.  Some consider testing for freeze-thaw resistance unnecessary because compressive-strength and water-absorption requirements in ASTM C 1364 tend to ensure a durable product.  Freeze-thaw testing is expensive.

1. Include one test for resistance to freezing and thawing.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of cast stone.

1. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 SETTING CAST STONE IN MORTAR

Delete paragraph below if considered unnecessary or if Division 4 Section "Unit Masonry Assemblies" is not used.

A. Install cast stone units to comply with requirements in Division 4 Section "Unit Masonry Assemblies."

Retain applicable paragraphs and subparagraphs remaining in this Article, with or without paragraph above.

B. Set cast stone as indicated on Drawings.  Set units accurately in locations indicated with edges and faces aligned according to established relationships and indicated tolerances.

1. Install anchors, supports, fasteners, and other attachments indicated or necessary to secure units in place.

C. Wet joint surfaces thoroughly before applying mortar or setting in mortar.

D. Set units in full bed of mortar with full head joints, unless otherwise indicated.

Delete subparagraphs below not applicable.

1. If not indicated, set units with joints [1/4 to 3/8 inch (6 to 10 mm)] [3/8 to 1/2 inch (10 to 13 mm)] <Insert width> wide.

2. Build anchors and ties into mortar joints as units are set.

3. Fill dowel holes and anchor slots with mortar.

4. Fill collar joints solid as units are set.

5. Build concealed flashing into mortar joints as units are set.

6. Keep head joints in coping and other units with exposed horizontal surfaces open to receive sealant.

7. Keep joints at shelf angles open to receive sealant.

Delete two paragraphs below if cast stone is set in mortar without pointing.

E. Rake out joints for pointing with mortar to depths of not less than 3/4 inch (19 mm).  Rake joints to uniform depths with square bottoms and clean sides.  Scrub faces of units to remove excess mortar as joints are raked.

F. Point mortar joints by placing and compacting mortar in layers not greater than 3/8 inch (10 mm).  Compact each layer thoroughly and allow it to become thumbprint hard before applying next layer.

Revise first paragraph below if another joint profile is required.

G. Tool exposed joints slightly concave when thumbprint hard, using a jointer larger than joint thickness, unless otherwise indicated.

H. Provide expansion, control, and pressure-relieving joints of widths and at locations indicated.  Keep joints free of mortar and other rigid materials.

1. Form open joint of width indicated, but not less than [3/8 inch (10 mm)] [1/2 inch (13 mm)] <Insert minimum width>.

I. Prepare joints indicated to receive sealant and apply sealant of type and at locations indicated to comply with applicable requirements in Division 7 Section "Joint Sealants."

1. Prime cast stone surfaces to receive sealant and install compressible backer rod in joints before applying sealant, unless otherwise indicated.

3.3 SETTING ANCHORED CAST STONE WITH SEALANT-FILLED JOINTS

A. Set cast stone as indicated on Drawings.  Set units accurately in locations indicated with edges and faces aligned according to established relationships and indicated tolerances.

1. Install anchors, supports, fasteners, and other attachments indicated or necessary to secure units in place.

2. Shim and adjust anchors, supports, and accessories to set cast stone in locations indicated with uniform joints.

Cavities in first paragraph below are recommended, but local codes may require space to be grouted solid.

B. Keep cavities open where unfilled space is indicated between back of cast stone units and backup wall; do not fill cavities with mortar or grout.

C. Fill anchor holes with sealant.

1. Where dowel holes occur at pressure-relieving joints, provide compressible material at ends of dowels.

D. Set cast stone supported on clip or continuous angles on resilient setting shims.  Use material of thickness required to maintain uniform joint widths.  Hold shims back from face of cast stone a distance at least equal to width of joint.

E. Keep joints free of mortar and other rigid materials.  Remove temporary shims and spacers from joints after anchors and supports are secured in place and cast stone units are anchored.  Do not begin sealant installation until temporary shims and spacers are removed.

1. Form open joint of width indicated, but not less than [3/8 inch (10 mm)] [1/2 inch (13 mm)] <Insert minimum width>.

F. Prepare joints and apply sealant of type and at locations indicated to comply with applicable requirements in Division 7 Section "Joint Sealants."

1. Prime cast stone surfaces to receive sealant and install compressible backer rod in joints before applying sealant, unless otherwise indicated.

3.4 INSTALLATION TOLERANCES

Delete this Article if tolerances in Division 4 Section "Unit Masonry Assemblies" govern.  Tolerances below are based on those included in Division 4 Section "Unit Masonry Assemblies."  If retaining, revise to suit Project.

A. Variation from Plumb:  Do not exceed 1/8 inch in 10 feet (3 mm in 3 m), 1/4 inch in 20 feet (6 mm in 6 m), or 1/2 inch (12 mm) maximum.

B. Variation from Level:  Do not exceed 1/8 inch in 10 feet (3 mm in 3 m), 1/4 inch in 20 feet (6 mm in 6 m), or 1/2 inch (12 mm) maximum.

C. Variation in Joint Width:  Do not vary joint thickness more than 1/8 inch in 36 inches (3 mm in 900 mm) or one-fourth of nominal joint width, whichever is less.

D. Variation in Plane between Adjacent Surfaces (Lipping):  Do not vary from flush alignment with adjacent units or adjacent surfaces indicated to be flush with units by more than 1/16 inch (1.5 mm), except due to warpage of units within tolerances specified.

3.5 ADJUSTING AND CLEANING

A. Remove and replace stained and otherwise damaged units and units not matching approved Samples.  Cast stone may be repaired if methods and results are approved by Architect.

B. Replace units in a manner that results in cast stone matching approved Samples, complying with other requirements, and showing no evidence of replacement.

C. In-Progress Cleaning:  Clean cast stone as work progresses.

1. Remove mortar fins and smears before tooling joints.

2. Remove excess sealant immediately, including spills, smears, and spatter.

Delete paragraph and subparagraphs above and below if installation and cleaning are specified in Division 4 Section "Unit Masonry Assemblies."

D. Final Cleaning:  After mortar is thoroughly set and cured, clean exposed cast stone as follows:

1. Remove large mortar particles by hand with wooden paddles and nonmetallic scrape hoes or chisels.

2. Test cleaning methods on sample; leave one sample uncleaned for comparison purposes.  Obtain Architect's approval of sample cleaning before proceeding with cleaning of cast stone.

3. Protect adjacent surfaces from contact with cleaner by covering them with liquid strippable masking agent or polyethylene film and waterproof masking tape.

Delete subparagraph above and first subparagraph below if no cleaners are allowed or specified in Part 2.

4. Wet surfaces with water before applying cleaners; remove cleaners promptly by rinsing thoroughly with clear water.

5. Clean cast stone by bucket-and-brush hand-cleaning method described in BIA Technical Notes No. 20.

Retain subparagraph above or below.  Coordinate with products retained in Part 2.  If high-pressure water cleaning or other methods are acceptable, delete or revise below and insert applicable requirements.

6. Clean cast stone with proprietary acidic cleaner applied according to manufacturer's written instructions.

END OF SECTION 04720

CAST STONE
04720 - 16

