Copyright 2003 AIA
MASTERSPEC Full Length
08/03 (R 05/06)

Copyright 2003 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 04815 - GLASS UNIT MASONRY ASSEMBLIES
This Section uses the term "Architect."  Change this term as necessary to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

Revise options in first paragraph below to suit Project.

A. This Section includes [glass block set in mortar] [and] [glass block set in glass-block grid systems].

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

1. Division 5 Section "Metal Fabrications" for steel channel frames and loose steel lintels at glass unit masonry assemblies.

Delete subparagraph below if not applicable.

2. Division 8 Section "Aluminum Windows" for aluminum windows installed within glass unit masonry assemblies.

1.3 PERFORMANCE REQUIREMENTS

Retain this Article if glass-block grid systems are used and manufacturer designs system.

A. Structural Performance:  Provide glass-block grid systems capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Select one or more of three subparagraphs below depending on application of glass-block grid system.  Insert design loads required by local building code.

1. Wind Load:  Uniform pressure of <Insert wind-load pressure>, acting inward or outward.

2. Floor Live Load:  <Insert load.>

3. Roof Live Load:  <Insert load.>

1.4 SUBMITTALS

A. Product Data:  For each type of product indicated.  Include glass block[, glass-block grid systems,] [, cementitious materials,] [, waterproofing admixtures for mortar,] and accessories.

B. LEED Submittal:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for sealants.

1. Product Data for Credit EQ 4.1:  For sealants used inside the weatherproofing system, including printed statement of VOC content.

C. Shop Drawings:  Show fabrication and installation details for [glass unit masonry, including vertical and horizontal coursing, anchors, reinforcement, and expansion strips] [glass-block grid systems].

Retain subparagraph below if glass-block grid systems are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify products' compliance with performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

1. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

D. Samples for Initial Selection:  [Manufacturer's actual glass-block units] [glass-block grid material] [and] [joint materials involving color selection].

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain either of two paragraphs below with or without above.

E. Samples for Verification:  [Glass-block units] [glass-block grid material] [and] [joint materials involving color selection].

Delete paragraph above or below.

F. Samples for Verification:  Panels consisting of four full-size glass-block units with [glass-block grid and] [mortar] [and] [sealant] joints.

Retain subparagraph below with either of two paragraphs above if more than one color, etc., is required.

1. Provide Samples for each form, pattern, and color of glass block and color of joint material[ and glass-block grid material] indicated or selected by Architect.

Insert requirement here for submittal showing compliance with "Performance Requirements" Article if one was inserted into Section Text.

1.5 QUALITY ASSURANCE

A. Source Limitations for Glass Block:  Obtain[ each type and pattern of] glass block through one source from a single manufacturer.

B. Source Limitations for Accessory Materials:  Obtain each [cementitious material] [admixture] [and] [accessory component] through one source from a single manufacturer[ and each aggregate from one source or producer].

Delete paragraph and subparagraph below if not applicable.  Mulia, Pittsburgh Corning, Solaris Glasstein, and J. Weck GmbH offer units listed for fire-rated assemblies of up to 120 sq. ft. (11 sq. m) in area.  Glass unit masonry assemblies are tested as windows, not as walls.  See Evaluations.

C. Fire-Rated Glass Unit Masonry Assemblies:  Assemblies listed by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire-protection ratings indicated, based on testing according to [NFPA 257] [UBC Standard 7-4].

Delete subparagraph below if referencing UBC standard in paragraph above because UBC standard requires positive-pressure testing.  Second option below is based on positive-pressure testing requirement in the International Building Code.

1. Test Pressure:  [Test at atmospheric pressure] [After 10 minutes into the test, neutral pressure level in furnace shall be located so that at least two-thirds of test specimen is above the neutral pressure plane].

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

D. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Select one or more of three subparagraphs below.  Revise if more mockups are needed because of variety of patterns, colors, etc., required.  Revise size in first subparagraph to suit size of units indicated or to suit Project.

1. Build mockup of typical [exterior] [and] [interior] panel, 48 by 48 inches (1200 by 1200 mm) in size.

If retaining subparagraph below, show area of wall to be mocked up on Drawings.

2. Build mockup of typical [exterior wall area] [and] [interior partition] with glass unit masonry assembly as shown on Drawings.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Store glass block in unopened cartons on elevated platforms, under cover, and in a dry location.  If units are not stored in an enclosed location, cover tops and sides of stacks with waterproof sheeting, securely tied.

B. Store glass-block grid materials in unopened cartons in an enclosed, dry location.

C. Store cementitious materials on elevated platforms, under cover, and in a dry location.  Do not use cementitious materials that have become damp.

D. Store aggregates where grading and other required characteristics can be maintained and contamination avoided.

E. Store accessories, including metal items, to prevent corrosion and accumulation of dirt and oil.

1.7 PROJECT CONDITIONS

A. Weather Limitations:  Proceed with installation of glass unit masonry assemblies only when ambient and material temperatures are 40 deg F (5 deg C) or higher.

1. Maintain temperature in installation areas at 40 deg F (5 deg C) or above for 48 hours after installing.

1.8 SEQUENCING AND SCHEDULING

Delete this Article if glass block is not set with mortar and pointed with sealant.

A. Sequence and coordinate completion of glass unit masonry assemblies so sealants can be installed immediately after mortar has attained final set.

PART 2 -  PRODUCTS

2.1 GLASS BLOCK

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

If more than one type of hollow glass block is used, copy and re-edit paragraph and subparagraphs below for each.  Include glass-block designation (number) as shown on Drawings for each type and category (hollow, solid, paver, etc.); glass color if any; edge-coating color if other than white; pattern; size; and any other required characteristics.

A. Hollow Glass Block:  Hollow units made from transparent glass, with manufacturer's standard edge coating.

If naming manufacturers or products, retain one of three subparagraphs and list below.  Refer to Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

3. Basis-of-Design Product:  The design for hollow glass block is based on [manufacturer's designations indicated on Drawings] <Insert manufacturer's name and product>.  Subject to compliance with requirements, provide the named product or a comparable product by one of the following:

See Evaluations for names and addresses of U.S. distributors for foreign manufacturers listed below.

a. Fidenza Vetraria SpA.

b. K.I.G.

c. Mulia.

d. Nippon Electric Glass Co., Ltd.

e. Oberland Glas AG, Bauglas Div.; Solaris Glasstein.

f. Pittsburgh Corning Corporation.

g. J. Weck GmbH.

h. <Insert manufacturer's name.>

Select one of four options in subparagraph below.  If more than one color is used, edit subparagraph to make terms plural where appropriate.

4. Glass Color:  [Colorless] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Select one or more of first nine subparagraphs below if patterns are not specified by referencing manufacturer's product designations using "Basis-of-Design Product" Subparagraph.

Five subparagraphs below may be used to specify salient characteristics with "Basis-of-Design Product" Subparagraph or may be used without naming manufacturers as generic specifications of patterns.

5. Pattern:  Smooth, undistorted inner and outer faces.

6. Pattern:  Wavy, light-diffusive design on inner faces, and smooth outer faces.

7. Pattern:  Fluted, light-diffusive design, horizontal on one inner face, vertical on other; and smooth outer faces.

8. Pattern:  Linear prismatic design, horizontal on one inner face, vertical on other; and smooth outer faces.

9. Pattern:  Prismatic pyramid, light-diffusive design on inner faces, and smooth outer faces.

If retaining one of first four subparagraphs below and more than one pattern is required, edit subparagraph to make terms plural where appropriate.

Retain first subparagraph below for proprietary specification if patterns are indicated on Drawings or in a schedule by manufacturer's trade names or catalog numbers.

10. Pattern:  As indicated by manufacturer's designation.

11. Pattern:  Manufacturer's standard decorative pattern to match Architect's sample.

12. Pattern:  As selected by Architect from manufacturer's full range.

Before retaining subparagraph below, verify availability of custom patterns with manufacturers selected.

13. Pattern:  Custom decorative pattern to match Architect's design.

If third option in subparagraph below requires a custom color, manufacturer may impose limitations on production run and delivery of material.  If retaining second option in subparagraph below, insert manufacturer's name and color designation or indicate on Drawings or in a separate schedule.

14. Edge-Coating Color:  [White] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

Retain either of first two subparagraphs below with any of last three options in subparagraph above.

a. Provide one color throughout for each pattern indicated.

b. Provide multiple colors as indicated for each size and pattern.

15. Unit Sizes:  Manufacturer's standard sizes corresponding to nominal sizes indicated on Drawings.

Select subparagraph above or 1 or more of 13 subparagraphs below.  Select from or revise sizes to suit products selected.

16. Square Unit Size:  [5-3/4 inches (146 mm)] [7-3/4 inches (197 mm)] square by 3-1/8 inches (79 mm) thick.

17. Square Unit Size:  [5-3/4 inches (146 mm)] [7-3/4 inches (197 mm)] [11-3/4 inches (299 mm)] square by 3-7/8 inches (98 mm) thick.

Select from two subparagraphs above for IP products or from first three subparagraphs below for products manufactured to metric sizes.

18. Square Unit Size:  [4-1/2 inches (115 mm)] [7-1/2 inches (190 mm)] [9-13/16 inches (240 mm)] [11-13/16 inches (300 mm)] square by 3-1/8 inches (80 mm) thick.

19. Square Unit Size:  7-1/2 inches (190 mm) square by 3-3/4 inches (95 mm) thick.

20. Square Unit Size:  [7-1/2 inches (190 mm)] [11-13/16 inches (300 mm)] square by 3-15/16 inches (100 mm) thick.

21. Rectangular Unit Size:  [3-3/4 by 7-3/4 inches (95 by 197 mm)] [5-3/4 by 7-3/4 inches (146 by 197 mm)] by [3-1/8 inches (79 mm)] [3-7/8 inches (98 mm)] thick.

Select from subparagraph above for IP products with equivalent metric dimensions or from subparagraph below for products manufactured to metric sizes.

22. Rectangular Unit Size:  4-1/2 by 9-13/16 inches (115 by 240 mm) by 3-1/8 inches (80 mm) thick.

Corner units in first subparagraph below are available in limited patterns and sizes.  Not all angles are offered by all manufacturers.  Verify availability in selected patterns and sizes before retaining.

23. Corner Unit Sizes and Shapes:  Manufacturer's standard units designed to form [90] [45] [22.5]-degree corners when joined with straight units of same height.

24. End-Block Unit Size:  7-3/4 inches (197 mm) square by 3-7/8 inches (98 mm) thick, actual size.

End-block units in subparagraph above and below are available from some manufacturers in limited patterns.  Verify availability in selected patterns before retaining either.

25. End-Block Unit Size:  3-3/4 by 7-3/4 inches (95 by 197 mm) by 3-1/8 inches (79 mm) thick, actual size.

Top corner unit in subparagraph below is available from Pittsburgh Corning as "Encurve" in "DECORA" pattern and from Weck as "DoublEnd" in "Clarity" and "Nubio" patterns.

26. Top Corner Unit Sizes and Shapes:  End unit with top matching finished end and with rounded finished corner in manufacturer's standard size to match end units.

Thick-faced units in subparagraph below are available in size 5-3/4 inches (146 mm) square from Pittsburgh Corning in "DECORA" and "VUE" patterns; in size 7-3/4 inches (197 mm) square from Pittsburgh Corning in "DECORA," "ENDURA," and "VUE" patterns and from Weck in "Clarity," "Nubio," and "Arctic" patterns.

27. Thick-Faced Units:  [5-3/4 inches (146 mm)] [7-3/4 inches (197 mm)] square by 3-7/8 inches (98 mm) thick, actual size, with faces at least 3/4 inch (19 mm) thick.

Metric size in subparagraph below is available from Solaris in "Clearview," "Flemish," and "Orsa" patterns.

28. Thick-Faced Units:  7-1/2 inches (190 mm) square by 3-1/8 inches (80 mm) thick, actual size, with faces at least 3/4 inch (19 mm) mm thick.

Solid glass block in paragraph below is available only from Pittsburgh Corning.

B. Solid Glass Block:  Colorless, transparent, solid glass blocks with [smooth] [stippled] faces and manufacturer's standard edge coating.

If naming manufacturers or products, retain one of first three subparagraphs and list below.  Refer to Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

3. Basis-of-Design Product:  The design for solid glass block is based on [manufacturer's designations indicated on Drawings] <Insert manufacturer's name and product>.  Subject to compliance with requirements, provide the named product or a comparable product by one of the following:

a. Pittsburgh Corning Corporation.

b. <Insert manufacturer's name.>

4. Square Size:  [5-3/4 inches (146 mm)] [7-3/4 inches (197 mm)] [11-3/4 inches (299 mm)] square by [1-1/2 inches (38 mm)] [3 inches (76 mm)] thick, actual size.

5. Rectangular Size:  [3 by 7-3/4 inches (76 by 197 mm)] [5-3/4 by 7-3/4 inches (146 by 197 mm)] by [1-1/2 inches (38 mm)] [3 inches (76 mm)] thick, actual size.

Select one option for size in paragraph below.  First option fits glass-block floor grid system.  Insert other requirements, such as pattern designation, if applicable.  Solid glass blocks in paragraph above can also be used as pavers, and some companies make hollow glass block that they say are horizontal load bearing.

C. Glass Paver Block:  Transparent, colorless, pressed glass units, with a smooth top surface and a decorative, light-diffusing, patterned bottom surface; [6 inches (152 mm) square by 1 inch (25 mm) thick] [4-3/4 inches (120 mm) square by 1-9/16 inches (40 mm) thick] [6-5/16 inches (160 mm) square by 1-3/16 inches (30 mm) thick] [7-1/2 inches (190 mm) square by 1-1-15/16 inches (50 mm) thick] [7-1/2 inches (190 mm) square by 2-3/4 inches (70 mm) thick] [7-7/8 inches (200 mm) square by 7/8 inch (22 mm) thick] [7-7/8 inches (200 mm) square by 1-15/16 inches (50 mm) thick] [4-5/8 inches (117 mm) in diameter by 2-3/8 inches (60 mm) thick], actual size.

If naming manufacturers or products, retain one of three subparagraphs and list below.  Refer to Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

3. Basis-of-Design Product:  The design for glass paver block is based on [manufacturer's designations indicated on Drawings] <Insert manufacturer's name and product>.  Subject to compliance with requirements, provide the named product or a comparable product by one of the following:

See Evaluations for names and addresses of U.S. distributors for foreign manufacturers listed below.

a. Oberland Glas AG, Bauglas Div.; Solaris Glasstein.

b. Pittsburgh Corning Corporation.

c. Smith, L. E. Glass Company.

d. <Insert manufacturer's name.>

2.2 GLASS-BLOCK GRID SYSTEMS

Descriptive requirements in this Article are based on Innovative Building Products' systems.  Coordinate glass-block sizes in "Glass Block" Article with this Article.

A. General:  Aluminum extrusions complying with ASTM B 221 (ASTM B 221M), Alloy 6063-T6 or Alloy 6463-T6, forming a grid system and frame designed for application indicated.

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain subparagraph above for nonproprietary or subparagraph below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. IBP; a Berkshire Hathaway Company.

b. <Insert manufacturer's name.>

Delete paragraph and subparagraphs below if not required.

B. Window and Wall System:  Aluminum T-bar grid with tubular frame and vinyl glass-block boots.

Select one of first four subparagraphs below.

1. Finish:  As selected by Architect from manufacturer's full range.

Finishes in first three subparagraphs below are not standard but are available at extra cost.

2. Finish:  Custom-color, thermosetting, modified-acrylic-enamel system; complying with AAMA 2603 and matching Architect's sample.

3. Finish:  Custom-color, polyester powder-coat finish; complying with AAMA 2604 and matching Architect's sample.

4. Finish:  Dark bronze, Class I, color-anodized finish; complying with AAMA 611.

5. Glass-Block Size:  7-3/4 inches (197 mm) square by 3-1/8 inches (79 mm) thick.

6. Provide[ self-flashing] aluminum exterior frame covers with vinyl thermal break.

Retain subparagraph above for exterior windows and subparagraph below for shower enclosures.

7. Provide extruded-aluminum frame receivers (corner starters) at heads, jambs, and sills.

Delete subparagraph below if not applicable.

8. Provide extruded-aluminum mullions where indicated.

Usually retain subparagraph below.

9. Provide aluminum trim and closures as indicated.

Delete paragraph and subparagraphs below if not required.

C. Skylight System:  Aluminum T-bar grid with tubular frame; vinyl thermal break; extruded-aluminum, curb-mounting frame and counterflashing; and vinyl glass-block boots.

Select one of first four subparagraphs below.

1. Finish:  As selected by Architect from manufacturer's full range.

Finishes in first three subparagraphs below are not standard but are available at extra cost.

2. Finish:  Custom-color, thermosetting, modified-acrylic-enamel system; complying with AAMA 2603 and matching Architect's sample.

3. Finish:  Custom-color, polyester powder-coat finish; complying with AAMA 2604 and matching Architect's sample.

4. Finish:  Dark bronze, Class I, color-anodized finish; complying with AAMA 611.

5. Glass-Block Size:  7-3/4 inches (197 mm) square by 3-1/8 inches (79 mm) thick.

Delete first paragraph and subparagraphs below if not required.

D. Floor System:  Aluminum tubular grid and frame with glass-block boots made from UV- and oil-resistant EPDM.

1. Finish:  Class II, clear-anodized finish; complying with AAMA 611.

Coordinate size in subparagraph below with size specified in "Glass Paver Block" Paragraph in "Glass Block" Article.

2. Glass-Paver-Block Size:  6 inches (152 mm) square by 1 inch (25 mm) thick.

E. Sealant:  Product recommended by glass-block grid system manufacturer.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.

1. Provide sealants for use inside the weatherproofing system that have a VOC content of [250] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

2.3 MORTAR MATERIALS

A. Portland Cement:  ASTM C 150, Type I or Type II, natural color, white, or a blend to produce mortar color indicated.

Delete subparagraph below if joints are not pointed.

1. Where joints are indicated to be raked out and pointed, gray cement may be used for setting mortar.

B. Hydrated Lime:  ASTM C 207, Type S.

Mix in paragraph below gives better control of color than job-mixed, portland cement-lime mortar.  If retaining, delete two paragraphs and associated subparagraph above.

C. Portland Cement-Lime Mix:  Packaged blend of portland cement complying with ASTM C 150, Type I or Type III, and hydrated lime complying with ASTM C 207, Type S.

Usually delete paragraph and subparagraphs below unless required by UL listing for fire-rated assemblies.

D. Masonry Cement:  ASTM C 91.

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain subparagraph above for nonproprietary or subparagraph below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Capital Materials Corporation; Flamingo Color Masonry Cement.

b. Essroc, Italcementi Group; [Brixment] [or] [Velvet].

c. Holcim (US) Inc.; [Mortamix Masonry Cement] [Rainbow Mortamix Custom Buff Masonry Cement] [White Mortamix Masonry Cement].

d. Lafarge North America Inc.; [Magnolia Masonry Cement] [Lafarge Masonry Cement] [Florida Super Masonry] [Trinity Super White Masonry Type S] [Trinity White Masonry Type N].

e. Lehigh Cement Company; [Lehigh Masonry Cement] [Lehigh White Masonry Cement].

f. National Cement Company, Inc.; Coosa Masonry Cement.

g. <Insert manufacturer's name; product name or designation.>

Retain first paragraph and subparagraphs below for colored cement or for pigments added at Project site.

E. Mortar Pigments:  Natural and synthetic iron oxides and chromium oxides, compounded for use in mortar mixes.  Use only pigments with a record of satisfactory performance in masonry mortar.

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain subparagraph above for nonproprietary or subparagraph below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Bayer Corporation, Industrial Chemicals Div.; Bayferrox Iron Oxide Pigments.

b. Davis Colors; True Tone Mortar Colors.

c. Solomon Grind-Chem Services, Inc.; SGS Mortar Colors.

d. <Insert manufacturer's name; product name or designation.>

F. Colored Cement Product:  Packaged blend made from [portland cement and lime] [or] [masonry cement] and mortar pigments, all complying with specified requirements, and containing no other ingredients.

1. Formulate blend as required to produce color indicated or, if not indicated, as selected from manufacturer's standard colors.

Select applicable options in first subparagraph below to suit types of cement retained above.  Percentages below are for pigments containing only metallic oxides.  If pigments containing carbon black are used, carbon black must be limited to 2 percent of portland cement by weight or 1 percent of masonry cement.

2. Pigments shall not exceed [10 percent of portland cement] [or] [5 percent of masonry cement] by weight.

3. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain subparagraph above for nonproprietary or subparagraph below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

4. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Colored Portland Cement-Lime Mix:

1) Capital Materials Corporation; Riverton Portland Cement Lime Custom Color.

2) Holcim (US) Inc.; Rainbow Mortamix Custom Color Cement/Lime.

3) Lafarge North America Inc.; Eaglebond.

4) Lehigh Cement Company; Lehigh Custom Color Portland/Lime Cement.

5) <Insert manufacturer's name; product name or designation.>

b. Colored Masonry Cement:

1) Capital Materials Corporation; Flamingo Color Masonry Cement.

2) Essroc, Italcementi Group; Brixment-in-Color.

3) Holcim (US) Inc.; Rainbow Mortamix Custom Color Masonry Cement.

4) Lafarge North America Inc.; [Florida Custom Color Masonry] [or] [Magnolia Masonry Cement].

5) Lehigh Cement Company; Lehigh Custom Color Masonry Cement.

6) National Cement Company, Inc.; Coosa Masonry Cement.

7) <Insert manufacturer's name; product name or designation.>

G. Aggregate:  ASTM C 144, with 100 percent passing No. 8 (2.36-mm) sieve.

1. For [pointing mortar] [and] [joints narrower than 1/4 inch (6 mm)], use aggregate graded with 100 percent passing No. 16 (1.18-mm) sieve.

2. White Aggregates:  Natural white sand or crushed white stone.

Retain subparagraph below for colored-aggregate mortar.

3. Colored Aggregates:  Natural sand or crushed stone of color necessary to produce required mortar color.

Admixture in paragraph below is recommended by Pittsburgh Corning.  See Evaluations for its use versus pointing joints with mortar or sealant.

H. Water-Repellent Admixture:  Manufacturer's standard dry mixture of stearates, water-reducing agents, and fine aggregates intended to reduce capillarity in mortar.

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain subparagraph above for nonproprietary or subparagraph below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Sonneborn, Div. of ChemRex, Inc.; Hydrocide Powder.

b. <Insert manufacturer's name; product name or designation.>

Admixture below is made for mortar used with water-repellent-treated concrete masonry units.

I. Water-Repellent Admixture:  Liquid polymeric water-repellent mortar admixture that does not reduce flexural bond strength of mortar.

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain subparagraph above for nonproprietary or subparagraph below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Grace Construction Products, a unit of W. R. Grace & Co. - Conn.; [Dry-Block Mortar Admixture] [Mortar Tite].

First product in first subparagraph below is listed in Weck's sample specifications.

b. Laticrete International, Inc.; Laticrete 8510 Bonding Admix.

c. Master Builders, Inc.; [Color Cure Mortar Admix] [or] [Rheomix Rheopel].

d. <Insert manufacturer's name; product name or designation.>

J. Water:  Potable.

2.4 GLASS UNIT MASONRY ACCESSORIES

A. Panel Reinforcement:  Ladder-type units, butt welded, not lapped and welded; complying with ASTM A 951 in straight lengths of not less than 10 feet (3 m), and as follows:

1. Interior Walls:  Hot-dip galvanized, carbon-steel wire.

2. Exterior Walls:  [Hot-dip galvanized, carbon] [Stainless]-steel wire.

3. Wire Size:  W1.7 or 0.148-inch (3.8-mm) diameter.

Select second option in first subparagraph below with 3-inch (76-mm), 3-1/8-inch (79-mm), and 80-mm units per manufacturer's written instructions.

4. Width:  [2 inches (50 mm)] [1-5/8 inches (40 mm)].

5. Spacing of Cross Rods:  Not more than 16 inches (407 mm) apart.

Revise first paragraph below if stainless-steel panel anchors are required and their availability is verified.

B. Panel Anchors:  Glass-block manufacturer's standard perforated steel strips, 0.0359 inch (0.9 mm) by 1-3/4 inches (44 mm) wide by 24 inches (600 mm) long, hot-dip galvanized after fabrication to comply with ASTM A 153/A 153M.

C. Fasteners, General:  Unless otherwise indicated, provide Type 304 or Type 316 stainless-steel fasteners at exterior walls and zinc-plated fasteners with coating complying with ASTM B 633, Class Fe/Zn 5, at interior walls.  Select fasteners for type, grade, and class required.

Delete two paragraphs below and insert requirements for proprietary drill screws if acceptable for connecting panel anchors to structural-steel members.

D. Carbon-Steel Bolts:  ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6) with hex nuts, ASTM A 563 (ASTM A 563M), if applicable.

E. Stainless-Steel Bolts:  ASTM F 593 (ASTM F 738M), Alloy Group 1 or 2 (A1 or A4) with hex nuts, ASTM F 594 (ASTM F 836M), if applicable.

Retain paragraph above for attaching panel anchors to steel members; retain first paragraph below for attaching to masonry and concrete.

F. Postinstalled Anchors:  Provide [powder-actuated fasteners] [metal expansion sleeve anchors] [or] [metal impact expansion anchors] of type and size necessary for installation indicated, as recommended by manufacturer, unless otherwise indicated.

Insert other anchors as required.

G. Asphalt Emulsion:  Cold-applied asphalt emulsion complying with ASTM D 1187 or ASTM D 1227.

Expansion strips in paragraph below are required by some glass-block manufacturers' listings for fire-rated assemblies.  Note that the term "mineral fiber" includes products made from glass fibers.

H. Mineral-Fiber Expansion Strips:  Mineral-fiber strips, complying with requirements of fire-rated assembly listing and glass-block manufacturer.

1. Use for fire-rated assemblies.

Retain paragraph and subparagraph above if required for fire-rated installations.  Pittsburgh Corning's UL listing allows plastic foam described in paragraph below.

I. Plastic-Foam Expansion Strips:  Polyethylene foam complying with requirements of glass-block manufacturer; 3/8 inch (9 mm) thick by [4 inches (100 mm)] [3-1/2 inches (89 mm)] [2-1/2 inches (63 mm)] wide.

Delete subparagraph below and "Mineral-Fiber Expansion Strips" Paragraph above if no fire-rated assemblies are required.  Delete option in subparagraph below if mineral-fiber expansion strips are required for fire-rated assemblies.

1. Use plastic-foam expansion strips for[ fire-rated and] non-fire-rated assemblies.

J. Sealants:  Manufacturer's standard chemically curing, elastomeric sealants of base polymer and characteristics indicated below that comply with applicable requirements in Division 7 Section "Joint Sealants."

Retain one or more sealant types in three subparagraphs below; if retaining more than one type, indicate applications of each type, such as "sealant for pointing joints," "perimeter sealant," etc.  Coordinate types of joint sealant retained below with applicable subparagraph titles used in Part 2 "Elastomeric Joint Sealants" Article in Division 7 Section "Joint Sealants" in which various elastomeric-elastomeric-sealant types are specified.  Retain designations such as "ES-# " if they are retained in Part 2 "Elastomeric Joint Sealants" Article in the "Joint Sealants" Section.

1. Single-component, [neutral] [acid]-curing silicone sealant[ ES-<#>].

2. Single-component, nonsag urethane sealant[ ES-<#>].

3. Multicomponent, nonsag polysulfide sealant[ ES-<#>].

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.

4. Provide sealants for use inside the weatherproofing system that have a VOC content of [250] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

K. Sealant Accessories:  Provide sealant accessories, including primers, bond-breaker tape, and cylindrical sealant backing, that comply with applicable requirements in Division 7 Section "Joint Sealants."

2.5 MORTAR MIXES

A. General:  Do not use admixtures, including pigments, air-entraining agents, accelerators, retarders, or antifreeze compounds, unless otherwise indicated.

1. Do not use calcium chloride in mortar.

2. For mortar in exterior panels, use water-repellent admixture according to admixture manufacturer's written instructions.

Retain subparagraph above or subparagraph below if required.  Retain above if no pointing is required.  Retain below if pointing is required and mortar is used for pointing.  Delete both if no exterior panels or if joints are pointed with sealant.

3. For pointing mortar in exterior panels, use water-repellent admixture according to admixture manufacturer's written instructions.

Delete subparagraph below if masonry cement is acceptable.

4. Limit cementitious materials in mortar to portland cement and lime.

B. Mortar for Glass Unit Masonry Assemblies:  Provide mortar, mixed according to glass-block manufacturer's listing with testing and inspecting agency, for fire-resistance rating indicated.

Select paragraph above or below.  Mortar mixes in UL listings vary by manufacturer.

C. Mortar for Glass Unit Masonry Assemblies:  Comply with ASTM C 270, Proportion Specification for Type S mortar.

Retain subparagraph below with either of last two paragraphs above.

1. Combine and thoroughly mix cementitious materials, water, and aggregates in a mechanical batch mixer, unless otherwise indicated.  Mix mortar to produce a stiff but workable consistency that is drier than mortar for brick or concrete masonry.  Discard mortar when it has reached initial set.

Select one of two paragraphs and associated subparagraphs below unless joints are pointed with sealant.

D. Pigmented Mortar:  Use colored cement product[ or select and proportion pigments with other ingredients to produce color required.  Do not add pigments to colored cement products].

Delete three subparagraphs below if not retaining option in paragraph above.  Percentages in first two subparagraphs are for pigments containing only metallic oxides.  If pigments containing carbon black are used, carbon black must be limited to 2 percent of portland cement by weight or 1 percent of masonry cement.

1. Pigments shall not exceed 10 percent of portland cement by weight.

2. Pigments shall not exceed 5 percent of masonry cement by weight.

3. Mix to match Architect's sample.

Insert, in paragraph below, materials and proportions used for sample if known.

E. Colored-Aggregate Mortar:  Produce required mortar color by using colored aggregates and natural color or white cement as necessary to produce required mortar color.

1. Mix to match Architect's sample.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine sills, jambs, and heads surrounding glass unit masonry assemblies for compliance with requirements for installation tolerances and other conditions affecting performance.

1. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLING GLASS BLOCK WITH MORTAR

Delete this Article if glass-block grid systems are used exclusively.

Preparation in paragraph below provides bond break at sill and expansion joints at head and jambs, and isolates glass unit masonry assembly from rest of wall.

A. Apply a heavy coat of asphalt emulsion to sill and adhere expansion strips to jambs and heads with asphalt emulsion.  Allow asphalt emulsion to dry before placing mortar.  Trim expansion strips to width required to fit glass block and to full lengths of heads and jambs.

Joint widths in remaining paragraphs and subparagraphs are examples only.  Generally, joint width should be twice the diameter of panel reinforcement.  Spacers are available to help control joint thickness.

B. Set glass block with completely filled bed and head joints, with no furrowing, accurately spaced and coordinated with other construction.  Maintain [1/4-inch (6-mm)] [3/8-inch (10-mm)] exposed joint widths, unless otherwise indicated.

C. Install panel reinforcement in horizontal joints at spacing indicated and continuously from end to end of panels; comply with the following requirements:

Spacings in first two subparagraphs below are examples only.  Verify with manufacturers selected, to suit unit sizes selected.

1. Vertical Spacing of Panel Reinforcement for Exterior Panels:  [Every other course but not more than 16 inches (407 mm) o.c., starting with first course above sill] [As indicated on Drawings].

2. Vertical Spacing of Panel Reinforcement for Interior Panels:  [Not more than 16 inches (407 mm) o.c.] [As indicated on Drawings].

3. Do not bridge expansion joints with panel reinforcement.

4. Place panel reinforcement in joints immediately above and below all openings within glass unit masonry assemblies.

5. Lap panel reinforcement not less than 6 inches (150 mm) if more than 1 length is necessary.

6. Embed panel reinforcement in mortar bed by placing lower half of mortar bed first, pressing panel reinforcement into place and covering with upper half of mortar bed.

Delete first paragraph and subparagraphs below if panel anchors are not required.  See Evaluations.

D. Install panel anchors at locations indicated and in same horizontal joints where panel reinforcement occurs.  Extend panel anchors at least 12 inches (300 mm) into joints, and bend within expansion joints at edges of panels and across the head.  Attach panel anchors as follows:

Revise or delete subparagraphs below to suit Project.

1. For in-place unit masonry assemblies and concrete, attach panel anchors with 1/4-inch- (6-mm-) diameter bolt-size, postinstalled anchors, 2 per panel anchor.

2. For new unit masonry assemblies, embed other ends of panel anchors, after bending portions crossing expansion joint, in horizontal mortar joints closest in elevation to joints in glass unit masonry assemblies containing panel anchors.

3. For steel members, attach panel anchors with 1/4-inch- (6-mm-) diameter through bolts and nuts or bolts in tapped holes in steel members.

E. Use rubber mallet to tap units into position.  Do not use steel tools, and do not allow units to come into contact with metal accessories and frames.

Plastic spacers or wedges help keep joints uniform and keep mortar from being squeezed out of joints by weight of glass block above.  When glass block is laid, mortar does not stiffen immediately after being placed, because glass blocks do not absorb water from mortar as other masonry units do.

F. Use [plastic spacers] [or] [temporary wedges] in mortar joints to produce uniform joint widths and to prevent mortar from being squeezed out of joints.

Retain subparagraph below if joints are not pointed; delete if joints are pointed.

1. If temporary wedges are used, remove them after mortar has set and fill voids with mortar.

G. Keep expansion joints free of mortar.

Delete first paragraph and subparagraphs below if pointing is not required.  See Evaluations.

H. Rake out joints indicated to be pointed to a uniform depth sufficient to accommodate pointing material, but not less than joint width.

1. If temporary wedges are used, remove them before raking out and pointing joints.

2. Point joints at [exterior face] [both faces] of exterior panels with mortar.

For pointing with mortar, select one of two options in subparagraph above.  For pointing with sealant, select one of two options in first subparagraph below or select second subparagraph.

3. Point joints at [exterior face] [both faces] of exterior panels with sealant.

4. Point joints at both faces of exterior and interior panels with sealant.

I. Point joints with mortar by filling raked joints and voids.  Place and compact pointing mortar in layers not more than 3/8 inch (10 mm) thick.  Compact each layer thoroughly and allow to become thumbprint hard before applying next layer.

1. Tool exposed joints slightly concave when pointing mortar is thumbprint hard.  Use a smooth plastic jointer larger than joint width.

Delete paragraph above and retain first paragraph below if joints are pointed with sealant.  See Evaluations for sealant considerations.

J. Point joints by filling with sealant to comply with requirements in Division 7 Section "Joint Sealants."

K. Clean glass unit masonry assemblies as work progresses.  Remove mortar fins and smears immediately, using a clean, wet sponge or a scrub brush with stiff fiber bristles.  Do not use harsh cleaners, acids, abrasives, steel wool, or wire brushes when removing mortar or cleaning glass unit masonry assemblies.

L. Install sealant at jambs, heads, mullions and other locations indicated.  Prepare joints, including installation of primer and bond-breaker tape or cylindrical sealant backing, and apply elastomeric sealants to comply with requirements in Division 7 Section "Joint Sealants."

M. Construction Tolerances:  Set glass block to comply with the following tolerances:

Tolerances in three subparagraphs below are from BIA's "Guide Specifications for Brick Masonry." Retain or revise to suit Project.

1. Variation from Plumb:  For lines and surfaces of vertical elements and arris, do not exceed 1/4 inch in 10 feet (6 mm in 3 m), 3/8 inch in 20 feet (9 mm in 6 m), or 1/2 inch in 40 feet (12 mm in 12 m) or more.

2. Variation from Level:  For bed joints, and other conspicuous lines, do not exceed 1/4 inch in 20 feet (6 mm in 6 m) or 1/2 inch in 40 feet (12 mm in 12 m) or more.

3. Variation of Linear Building Line:  For positions shown in plan and related portions of walls and partitions, do not exceed 1/2 inch in 20 feet (12 mm in 6 m) or 3/4 inch in 40 feet (19 mm in 12 m) or more.

Tolerance in subparagraph below is only half of BIA's; it should easily be attained because glass block varies less in size than brick.

4. Variation in Mortar-Joint Thickness:  Do not vary from joint thickness indicated by more than plus or minus 1/16 inch (1.5 mm).

3.3 GLASS-BLOCK GRID SYSTEM INSTALLATION

A. General:  Install glass-block grid systems according to manufacturer's written instructions.

B. Window and Wall System Installation:  Assemble grid system, apply continuous sealant bead to back of window Z-bar, place in position, adjust as needed to make grid level and plumb, and fasten to substrate.

1. Insert glass blocks into vinyl glass-block boots and carefully insert into grid from exterior side.  Install blocks firmly against T-bars without deforming boots.

2. Apply sealant to completely fill channel around each glass block, and tool flush with exterior surface.  Remove excess sealant and smears.

C. Skylight System Installation:  Assemble grid system, apply continuous sealant bead to top of supporting curb, place in position, adjust as needed to bring grid true to line, and fasten to substrate.

1. Insert glass blocks into vinyl glass-block boots and carefully insert into grid from exterior side.  Install blocks firmly against T-bars without deforming boots.

2. Apply sealant to completely fill channel around each glass block, and tool flush with exterior surface.  Remove excess sealant and smears.

D. Floor System Installation:  Assemble grid system in position, adjusting supports as needed to level grid as system is assembled, and fasten to substrate.

1. Insert glass blocks into glass-block boots and install in grid.  Install blocks flush with adjoining floor surfaces and aluminum grid.

2. Apply sealant to completely fill channel around each glass block and joints of aluminum grid.  Tool sealant flush with exterior surface and remove excess sealant and smears.

3.4 CLEANING

A. On surfaces adjacent to glass unit masonry assemblies, remove mortar, sealants, and other residue resulting from glass-block installation, in a manner approved by manufacturers of materials involved.

B. Remove excess sealants with commercial solvents of type recommended by sealant manufacturer.  Exercise care not to damage sealant in joints.

C. Perform final cleaning of glass unit masonry assemblies when surface is not exposed to direct sunlight.  Start at top of panel using generous amounts of clean water.  Remove water with clean, dry, soft cloths; change cloths frequently to eliminate dried mortar particles and aggregate.

END OF SECTION 04815END OF SECTION 04815

GLASS UNIT MASONRY ASSEMBLIES
04815 - 1

