Copyright 2005 AIA
MASTERSPEC Full Length
08/05

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 04901 - CLAY MASONRY RESTORATION AND CLEANING
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section includes maintenance of unit masonry consisting of [brick] [and] [terra cotta] clay masonry restoration and cleaning as follows:

1. Unused anchor removal.

2. Repairing unit masonry, including replacing units.

3. Painting steel uncovered during the work.

4. Reanchoring veneers.

5. Repointing joints.

6. Preliminary cleaning, including removing plant growth.

7. Cleaning exposed unit masonry surfaces.

Retain first paragraph below if salvaged brick is available from Owner for reuse.

B. Owner-Furnished Material:  Salvaged brick.

C. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 1 Section "Special Procedures for Historic Treatment."

2. Division 4 Section "Unit Masonry Assemblies" for new clay masonry construction.

3. Division 4 Section "Stone Restoration and Cleaning."

4. Division 7 Section "Water Repellents" for water repellents applied to clay masonry.

5. Division 7 Section "Sheet Metal Flashing and Trim" for metal flashing installed in or on restored clay masonry.

1.3 ALLOWANCES

Retain products and work included in this Section that are covered by cash or quantity allowance.  Do not include amounts.  Insert descriptions of items in Part 2 or 3 to provide information affecting the cost of the Work that is not included under the allowance.  Delete this article if all work is done by lump-sum price.

Quantity allowances will require a Schedule of Quantity Allowances coordinated with a Unit-Price Schedule.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning."

A. Allowances for clay masonry restoration and cleaning are specified in Division 1 Section "Allowances."

If quantity allowances are used, retain three subparagraphs below or include similar language in Division 1 Section "Allowances" to clarify how work covered by quantity allowances is to be authorized.

1. Perform clay masonry restoration and cleaning work under quantity allowances and only as authorized.  Authorized work includes [work required by Drawings and the Specifications and] [only] work authorized in writing by Architect.

Retain first subparagraph below if retaining first option in subparagraph above.

2. Notify Architect [weekly] <Insert time interval> of extent of work performed that is attributable to quantity allowances.

3. Perform work that exceeds quantity allowances only as authorized by Change Orders.

Remaining paragraphs are examples only; revise to suit Project.  Insert additional allowances according to retained types of work and allowances established.  If there are multiple drawing designations for types of work, establish separate allowances for each drawing designation.

B. Provide preconstruction testing as part of testing and inspecting allowance.

C. Remove unused anchors as part of <Insert name of allowance>.

D. Remove and replace brick as part of brick removal and replacement allowance.

E. Remove and replace terra cotta as part of terra cotta removal and replacement allowance.

F. Reanchor veneers as part of reanchoring veneers allowance.

G. Patch masonry units as part of masonry unit patching allowance.

H. Clean [brickwork] [and] [terra cotta] [, including preliminary cleaning,] [, including preliminary and final cleaning,] as part of masonry cleaning allowance.

I. Repoint masonry as part of repointing masonry allowance.

1.4 UNIT PRICES

Retain products and work included in this Section that are covered by unit prices.  Do not include amounts.  Insert descriptions of items in Part 2 or 3 to provide information affecting the cost of the Work that is not included under the unit price.

Retain this article with article above for unit-price adjustments to quantity allowances.  This will require a Unit-Price Schedule coordinated with a Schedule of Quantity Allowances.

Retain this article with or without article above to establish unit prices during bidding that can be used for unforeseen changes.

Retain this article without article above if using a single Unit-Price Schedule with a column of estimated quantities on which bids are priced and evaluated.

A. Work of this Section is affected by unit prices specified in Division 1 Section "Unit Prices."

1. Unit prices apply to authorized work covered by [quantity allowances] [estimated quantities].

2. Unit prices apply to additions to and deletions from Work as authorized by Change Orders.

1.5 DEFINITIONS

Retain definition(s) remaining after this Section has been edited.  Revise pressures if preferred; e.g., BIA generally assumes values 100 psi (690 kPa) lower than those listed.  If abrasives are used, revise values because these pressures are too high.

A. Very Low-Pressure Spray:  Under [100 psi (690 kPa)] <Insert value>.

B. Low-Pressure Spray:  [100 to 400 psi (690 to 2750 kPa); 4 to 6 gpm (0.25 to 0.4 L/s)] <Insert range of values>.

C. Medium-Pressure Spray:  [400 to 800 psi (2750 to 5510 kPa); 4 to 6 gpm (0.25 to 0.4 L/s)] <Insert range of values>.

D. High-Pressure Spray:  [800 to 1200 psi (5510 to 8250 kPa); 4 to 6 gpm (0.25 to 0.4 L/s)] <Insert range of values>.

Saturation coefficient in paragraph below is also called "C/B ratio."

E. Saturation Coefficient:  Ratio of the weight of water absorbed during immersion in cold water to weight absorbed during immersion in boiling water; used as an indication of resistance of masonry units to freezing and thawing.

1.6 PRECONSTRUCTION TESTING

A. Preconstruction Testing Service:  [Owner will engage] [Engage] a qualified testing agency to perform preconstruction testing on masonry units as follows.

Retain applicable subparagraphs below; revise tests and insert others if required.

1. Provide test specimens as indicated and representative of proposed materials and construction.

Usually delete first three subparagraphs below and test existing brick, terra cotta, and mortar before preparing the Specifications.

2. Existing [Brick] [and] [Terra Cotta]:  Test each type of existing masonry unit indicated for replacement, according to testing methods in ASTM C 67 for compressive strength, 24-hour cold-water absorption, 5-hour boil absorption, saturation coefficient, and initial rate of absorption (suction).  Carefully remove [five] <Insert number> existing units from locations designated by Architect.  Take testing samples from these units.

3. Existing Mortar:  Test according to ASTM C 295, modified as agreed by testing service and Architect for Project requirements, to determine proportional composition of original ingredients, sizes and colors of aggregates, and approximate strength.  Use X-ray diffraction, infrared spectroscopy, and differential thermal analysis as necessary to supplement microscopical methods.  Carefully remove existing mortar from within joints at [five] <Insert number> locations designated by [Architect] [or] [testing service].

4. Temporary Patch:  As directed by Architect, provide temporary materials at locations from which existing samples were taken.

5. Replacement [Brick] [and] [Terra Cotta]:  Test each proposed type of replacement masonry unit, according to sampling and testing methods in ASTM C 67 for compressive strength, 24-hour cold-water absorption, 5-hour boil absorption, saturation coefficient, and initial rate of absorption (suction).

1.7 SUBMITTALS

First four paragraphs below are defined in Division 1 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include recommendations for application and use.  Include test data substantiating that products comply with requirements.

Retain first paragraph below if required for Project.

B. Shop Drawings:  For the following:

1. Full-size patterns with complete dimensions for new [terra cotta units] [specially molded brick shapes] [and] [brick arches] and their jointing, showing relation of existing to new units.

2. Setting number of each new terra cotta unit and its location on the structure in annotated plans and elevations.

3. Provisions for expansion joints or other sealant joints.

4. Provisions for flashing, lighting fixtures, conduits, and weep holes as required.

5. Replacement and repair anchors.  Include details of anchors within individual masonry units, with locations of anchors and dimensions of holes and recesses in units required for anchors.

C. Samples for Initial Selection:  For the following:

Retain and revise four subparagraphs below and insert others to suit Project.  Revise optional joint width in first subparagraph to approximate existing joint widths.

1. Pointing Mortar:  Submit sets of mortar for pointing in the form of sample mortar strips, 6 inches (150 mm) long by [1/4 inch (6 mm)] [1/2 inch (13 mm)] wide, set in aluminum or plastic channels.

a. Have each set contain a close color range of at least [three] [six] <Insert number> Samples of different mixes of colored sands and cements that produce a mortar matching the cleaned masonry when cured and dry.

b. Submit with precise measurements on ingredients, proportions, gradations, and sources of colored sands from which each Sample was made.

2. Patching Compound:  Submit sets of patching compound Samples in the form of plugs (patches in drilled holes) in sample units of masonry representative of the range of masonry colors on the building.

a. Have each set contain a close color range of at least [three] [six] <Insert number> Samples of different mixes of patching compound that matches the variations in existing masonry when cured and dry.

3. Sealant Materials:  See Division 7 Section "Joint Sealants."

4. Include similar Samples of accessories involving color selection.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

D. Samples for Verification:  For the following:

Retain and revise six subparagraphs below and insert others to suit Project.

1. Each type of masonry unit to be used for replacing existing units.  Include sets of Samples as necessary to show the full range of shape, color, and texture to be expected.

a. For each brick type, provide straps or panels containing at least four bricks.  Include multiple straps for brick with a wide range.

Retain first subparagraph below and option in second subparagraph for tight control of appearance and unit size (accommodating shrinkage).  If retaining, consider limiting this requirement to specific, highly visible units.  It will add to Project time and cost.

b. Patterns for Terra Cotta:  Before manufacturing terra cotta units, submit the actual patterns from which molds will be made for casting new units.  Package and ship to prevent loss or damage or make patterns available for inspection by Architect at fabrication plant.

c. For terra cotta, provide one of each shape, color, and texture of unit, suitable and ready for installation.[  Make this submittal after acceptance of patterns for terra cotta.]

2. Each type of sand used for pointing mortar; minimum 1 lb (0.5 kg) of each in plastic screw-top jars.

a. For blended sands, provide Samples of each component and blend.

b. Identify sources, both supplier and quarry, of each type of sand.

Samples in first subparagraph below are of limited value because they are not cured under same conditions as mortar used in actual work.  A mockup provides a better sample.

3. Each type, color, and texture of pointing mortar in the form of sample mortar strips, 6 inches (150 mm) long by [1/4 inch (6 mm)] [1/2 inch (13 mm)] wide, set in aluminum or plastic channels.

a. Include with each Sample a list of ingredients with proportions of each.  Identify sources, both supplier and quarry, of each type of sand and brand names of cementitious materials and pigments if any.

Samples in first subparagraph below are of limited value because they are not cured under same conditions as patching compound used in actual work.  A mockup provides a better sample.

4. Each type of masonry patching compound in the form of briquettes, at least 3 inches (75 mm) long by 1-1/2 inches (38 mm) wide.  Document each Sample with manufacturer and stock number or other information necessary to order additional material.

5. Sealant Materials:  See Division 7 Section "Joint Sealants."

6. Accessories:  Each type of anchor, accessory, and miscellaneous support.

Remaining paragraphs are defined in Division 1 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For [restoration specialists] [including field supervisors and restoration workers] [terra cotta manufacturer] [chemical-cleaner manufacturer] [and] [testing service].

Retain first paragraph below if preconstruction testing is specified in "Preconstruction Testing" Article as Contractor's responsibility.

F. Preconstruction Test Reports:  For [existing] [and] [replacement] masonry units.

Retain one or more of three paragraphs below if programs are retained in "Quality Assurance" Article.

G. Quality-Control Program.

H. Restoration Program.

I. Cleaning Program.

1.8 QUALITY ASSURANCE

Retain option in first paragraph below if work must be done by firms that are approved before bidding.  If retaining option, include procedure for approving firms in Instructions to Bidders.

A. Restoration Specialist Qualifications:  Engage an experienced[, preapproved] masonry restoration and cleaning firm to perform work of this Section.  Firm shall have completed work similar in material, design, and extent to that indicated for this Project with a record of successful in-service performance.  Experience installing standard unit masonry is not sufficient experience for masonry restoration work.

Retain first subparagraph below if required or customary in Project area.  Firms often specialize in and compete for either masonry repair or cleaning work, and they typically have different crews for each.

1. At Contractor's option, work may be divided between two specialist firms:  one for cleaning work and one for repair work.

2. Field Supervision:  Restoration specialist firms shall maintain experienced full-time supervisors on Project site during times that clay masonry restoration and cleaning work is in progress.  Supervisors shall not be changed during Project except for causes beyond the control of restoration specialist firm.

Insert in subparagraph below specific conditions for demonstrating skills of personnel.

3. Restoration Worker Qualifications:  Persons who are experienced[ and specialize] in restoration work of types they will be performing.[  When masonry units are being patched, assign at least one worker among those performing patching work who is trained and certified by manufacturer of patching compound to apply its products.]

B. Terra Cotta Manufacturer Qualifications:  A firm regularly engaged in manufacturing custom architectural terra cotta units for building restoration purposes, of same type and of similar size, complexity, and tolerances as those required for the Work.

If retaining first paragraph below, verify that manufacturers of products listed in Part 2 comply with requirements.

C. Chemical-Cleaner Manufacturer Qualifications:  A firm regularly engaged in producing masonry cleaners that have been used for similar applications with successful results, and with factory-trained representatives who are available for consultation and Project-site inspection and assistance at no additional cost.

D. Source Limitations:  Obtain each type of material for masonry restoration (face brick, cement, sand, etc.) from one source with resources to provide materials of consistent quality in appearance and physical properties.

E. Quality-Control Program:  Prepare a written quality-control program for this Project to systematically demonstrate the ability of personnel to properly follow methods and use materials and tools without damaging masonry.  Include provisions for supervising performance and preventing damage due to worker fatigue.

F. Restoration Program:  Prepare a written, detailed description of materials, methods, equipment, and sequence of operations to be used for each phase of restoration work including protection of surrounding materials and Project site.

Retain first subparagraph below if high-lime-content mortar is used.

1. Include methods for keeping pointing mortar damp during curing period.

2. If materials and methods other than those indicated are proposed for any phase of restoration work, add to the Quality-Control Program a written description of such materials and methods, including evidence of successful use on comparable projects, and demonstrations to show their effectiveness for this Project and worker's ability to use such materials and methods properly.

G. Cleaning Program:  Prepare a written cleaning program that describes cleaning process in detail, including materials, methods, and equipment to be used, protection of surrounding materials, and control of runoff during operations.

1. If materials and methods other than those indicated are proposed for any phase of restoration work, add to the Quality-Control Program a written description of such materials and methods, including evidence of successful use on comparable projects, and demonstrations to show their effectiveness for this Project and worker's ability to use such materials and methods properly.

Retain first paragraph below to control overall appearance from a distance.

H. Cleaning and Repair Appearance Standard:  Cleaned and repaired surfaces are to have a uniform appearance as viewed from [20 feet (6 m)] [50 feet (15 m)] <Insert distance> away by Architect.  Perform additional paint and stain removal, general cleaning, and spot cleaning of small areas that are noticeably different, so that surface blends smoothly into surrounding areas.

Retain required mockups in first paragraph below; insert others to suit Project.  Revise or delete paragraph if test areas were prepared or are required as part of a separate contract to evaluate and establish restoration and cleaning materials and processes.

I. Mockups:  Prepare mockups of restoration and cleaning to demonstrate aesthetic effects and set quality standards for materials and execution and for fabrication and installation.

1. Masonry Repair:  Prepare sample areas for each type of masonry material indicated to have repair work performed.  If not otherwise indicated, size each mockup not smaller than 2 adjacent whole units or approximately 48 inches (1200 mm) in least dimension.  Erect sample areas in existing walls unless otherwise indicated, to demonstrate quality of materials, workmanship, and blending with existing work.  Include the following as a minimum:

a. Replacement:

1) [Four] <Insert number> brick units replaced.

2) [Four] <Insert number> terra cotta units replaced.

b. Reanchoring Veneers:  Install three masonry repair anchors in mockup wall assembly of each anchor type required.

c. Patching:  Three small holes [at least 1 inch (25 mm) in diameter] [as directed] <Insert size> for each type of masonry material indicated to be patched, so as to leave no evidence of repair.

Retain first subparagraph below only if there is a known need to widen some joints.

d. Widening Joints:  Widen a joint in 2 separate locations [, each approximately 12 inches (300 mm) long] [as directed] <Insert length>.

2. Repointing:  Rake out joints in 2 separate areas [, each approximately 36 inches (900 mm) high by 48 inches (1200 mm) wide] [as indicated] <Insert dimensions> for each type of repointing required and repoint one of the areas.

3. Cleaning:  Clean an area [approximately 25 sq. ft. (2.3 sq. m)] [as indicated] <Insert dimension> for each type of masonry and surface condition.

Retain first subparagraph below for chemical and other cleaning processes.

a. Test cleaners and methods on samples of adjacent materials for possible adverse reactions.  Do not use cleaners and methods known to have deleterious effect.

Revise minimum waiting period in first subparagraph below to suit processes and conditions.  See the Evaluations in Division 4 Section "Masonry Restoration and Cleaning."

b. Allow a waiting period of not less than seven days after completion of sample cleaning to permit a study of sample panels for negative reactions.

Retain first subparagraph below if mockups are not only for establishing appearance factors.

4. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

5. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

J. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

Retain subparagraphs below if additional requirements are necessary; include information about conference.

1. Review methods and procedures related to masonry restoration and cleaning including, but not limited to, the following:

a. Construction schedule.  Verify availability of materials, Restoration Specialist's personnel, equipment, and facilities needed to make progress and avoid delays.

b. Materials, material application, sequencing, tolerances, and required clearances.

c. <Insert agenda items>.

1.9 DELIVERY, STORAGE, AND HANDLING

Retain paragraphs below that are applicable to products retained in Part 2.

A. Deliver masonry units to Project site strapped together in suitable packs or pallets or in heavy-duty cartons.

B. Deliver each piece of terra cotta with code mark or setting number on unexposed face, corresponding to Shop Drawings, using nonstaining paint.

C. Deliver other materials to Project site in manufacturer's original and unopened containers, labeled with manufacturer's name and type of products.

D. Store cementitious materials on elevated platforms, under cover, and in a dry location.  Do not use cementitious materials that have become damp.

E. Store hydrated lime in manufacturer's original and unopened containers.  Discard lime if containers have been damaged or have been opened for more than two days.

F. Store lime putty covered with water in sealed containers.

G. Store sand where grading and other required characteristics can be maintained and contamination avoided.

1.10 PROJECT CONDITIONS

Usually retain this article; revise to suit Project.

A. Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit masonry restoration and cleaning work to be performed according to manufacturers' written instructions and specified requirements.

B. Repair masonry units and repoint mortar joints only when air temperature is between 40 and 90 deg F (4 and 32 deg C) and is predicted to remain so for at least 7 days after completion of the Work unless otherwise indicated.

Retain last paragraph above or first paragraph below.  Retain below if cold-weather construction is allowed for pointing and repair work.

C. Cold-Weather Requirements:  Comply with the following procedures for masonry repair and mortar-joint pointing unless otherwise indicated:

1. When air temperature is below 40 deg F (4 deg C), heat mortar ingredients, masonry repair materials, and existing masonry walls to produce temperatures between 40 and 120 deg F (4 and 49 deg C).

2. When mean daily air temperature is below 40 deg F (4 deg C), provide enclosure and heat to maintain temperatures above 32 deg F (0 deg C) within the enclosure for 7 days after repair and pointing.

D. Hot-Weather Requirements:  Protect masonry repair and mortar-joint pointing when temperature and humidity conditions produce excessive evaporation of water from mortar and repair materials.  Provide artificial shade and wind breaks and use cooled materials as required to minimize evaporation.  Do not apply mortar to substrates with temperatures of 90 deg F (32 deg C) and above unless otherwise indicated.

E. For manufactured repair materials, perform work within the environmental limits set by each manufacturer.

Extend period in paragraph below if necessary to ensure that masonry does not freeze before it dries out.

F. Clean masonry surfaces only when air temperature is 40 deg F (4 deg C) and above and is predicted to remain so for at least 7 days after completion of cleaning.

1.11 COORDINATION

Retain this article only for special or unusual situations that are not specified elsewhere and that will have a significant impact on the Work.  Paragraph below is an example only; revise to suit Project or insert other requirements.

A. Coordinate masonry restoration and cleaning with public circulation patterns at Project site.  Some work is near public circulation patterns [and active railroad track] <Insert item of concern>.  Public circulation patterns cannot be closed off entirely, and in places can be only temporarily redirected around small areas of work.[  Railroad traffic will not be stopped.] Plan and execute the Work accordingly.

1.12 SEQUENCING AND SCHEDULING

A. Order replacement materials at earliest possible date to avoid delaying completion of the Work.

Procedure in first paragraph below may be required to ensure consistency of sand and gray portland cement, if any, throughout Project.  Coordinate use of gray portland cement with "Mortar Materials" Article.  Gray portland cement can vary from plant to plant and from batch to batch.

B. Order sand[ and gray portland cement] for pointing mortar immediately after approval of [Samples] [mockups].  Take delivery of and store at Project site a sufficient quantity to complete Project.

First paragraph below is an example only; revise to suit Project.

C. Perform masonry restoration work in the following sequence:

Retain and revise 13 subparagraphs below and insert others to suit Project.  Insert other sequences for different areas of building if needed.

1. Remove plant growth.

Retain first three subparagraphs below only if cleaning precedes repairs and repointing.  For this, masonry and joints must be sufficiently sound to prevent water and chemicals from penetrating into building.

2. Inspect for open mortar joints and repair before cleaning to prevent the intrusion of water and other cleaning materials into the wall.

3. Remove paint.

4. Clean masonry surfaces.

Retain first subparagraph below if water repellents are part of Project.

5. Where water repellents, specified in Division 7, are to be used on or near masonry work, delay application of these chemicals until after pointing.

6. Rake out mortar from joints surrounding masonry to be replaced and from joints adjacent to masonry repairs along joints.

7. Repair masonry, including replacing existing masonry with new masonry materials.

8. Rake out mortar from joints to be repointed.

9. Point mortar[ and sealant] joints.

10. After repairs and repointing have been completed and cured, perform a final cleaning to remove residues from this work.

Retain three subparagraphs below and delete last subparagraph above only if cleaning follows repairs and repointing.

11. Inspect for open mortar joints and repair before cleaning to prevent the intrusion of water and other cleaning materials into the wall.

12. Remove paint.

13. Clean masonry surfaces.

If windows are to be replaced, insert subparagraph in the sequence to ensure that new windows will not be damaged by cleaning process.

Retain paragraph below if scaffolding anchor holes in existing masonry are acceptable and required.

D. As scaffolding is removed, patch anchor holes used to attach scaffolding.  Patch holes in masonry units to comply with "Masonry Unit Patching" Article.  Patch holes in mortar joints to comply with "Repointing Masonry" Article.

If required, insert "Extra Materials" Article for extra materials that match products applied or installed.

1.13 TERRA COTTA MOLDS

Retain this article only if future need for molds can be reasonably expected and Owner has space and takes responsibility for their storage and protection.  Often, terra cotta manufacturer stores molds for long or indefinite periods.  Patterns from which molds were made might be useful for display purposes, but they are less useful for fabrication than are molds.  If any of the patterns are required, revise this article accordingly.

A. On completion of the manufacturing of units, deliver one unused mold of each shape and size of unit delivered to Project site.  Deliver to a location and at a time determined by Owner, to become property of Owner.

B. Have molds delivered carefully packed; protected from dirt, moisture, and breakage; so as to arrive in usable, undamaged condition and enable long-term storage and possible future use.

PART 2 -  PRODUCTS

2.1 MASONRY MATERIALS

Revise this article to suit Project.  Insert other materials and properties if required.

A. Face Brick:  Provide face brick, including specially molded, ground, cut, or sawed shapes where required to complete masonry restoration work.

Retain one of first two subparagraphs below.  Retain first option in first subparagraph below, revising percentage if required, if properties are unknown.  Retain second option if required properties are known.

1. Provide units with colors, color variation within units, surface texture, size, and shape to match existing brickwork and with physical properties [within 10 percent of those determined from preconstruction testing of selected existing units.] [as listed below:]

Retain first subparagraph below if required properties are known.

a. Physical Properties per ASTM C 67:

1) Compressive Strength:  <Insert requirement>.

2) 24-Hour Cold-Water Submersion Absorption:  <Insert requirement>.

3) 5-Hour Boil Absorption:  <Insert requirement>.

4) Saturation Coefficient:  <Insert requirement>.

5) Initial Rate of Absorption:  <Insert requirement>.

b. For existing brickwork that exhibits a range of colors or color variation within units, provide brick that proportionally matches that range and variation rather than brick that matches an individual color within that range.

2. Provide units with colors, color variation within units, surface texture, and physical properties to match Architect's sample.  Match existing units in size and shape.

Retain first subparagraph below if required properties are known.

a. Physical Properties per ASTM C 67:

1) Compressive Strength:  <Insert requirement>.

2) 24-Hour Cold-Water Submersion Absorption:  <Insert requirement>.

3) 5-Hour Boil Absorption:  <Insert requirement>.

4) Saturation Coefficient:  <Insert requirement>.

5) Initial Rate of Absorption:  <Insert requirement>.

b. For Architect's sample that exhibits a range of colors or color variation within units, provide brick that proportionally matches that range rather than brick that matches an individual color within that range.

3. Special Shapes:

a. Provide specially molded, 100 percent solid shapes for applications where core holes or "frogs" could be exposed to view or weather when in final position and where shapes produced by sawing would result in sawed surfaces being exposed to view.

b. Provide specially ground units, shaped to match patterns, for arches and where indicated.

c. Mechanical chopping or breaking brick, or bonding pieces of brick together by adhesive, are not acceptable procedures for fabricating special shapes.

4. Tolerances as Fabricated:  [Comply with tolerance requirements in ASTM C 216, Type FBX] [Comply with tolerance requirements in ASTM C 216, Type FBS] <Insert requirement>.

Retain subparagraph below for restoration projects where differentiation of new units from original units is required.

5. Date Identification:  Emboss in the clay body on an interior surface of each unit in easily read 1/2-inch- (13-mm-) high characters, "MADE <Insert year>."  Manufacturer's name may also be embossed.

Retain first paragraph below if rebuilding backup wythes is required.

B. Building Brick:  Provide building brick complying with ASTM C 62, of same vertical dimension as face brick, for masonry work concealed from view.

Retain either or both of first two subparagraphs below to suit Project.

1. Grade SW where in contact with earth.

2. Grade SW, MW, or NW for concealed backup.

Retain subparagraph below for restoration projects where differentiation of new units from original units is required.

3. Date Identification:  Emboss in the clay body on an interior surface of each unit in easily read 1/2-inch- (13-mm-) high characters, "MADE <Insert year>."  Manufacturer's name may also be embossed.

Retain first paragraph below if salvaged brick is available from Owner for reuse.  Indicate on Drawings where salvaged brick is stored.

C. Salvaged Brick:  Obtain salvaged brick from Owner from location shown on Drawings.  Clean off residual mortar.

Terra cotta types in two paragraphs below are examples only.  Revise if precast concrete units, fiberglass, or other materials are used to simulate terra cotta in replacement units.

D. Glazed Terra Cotta:  Provide new terra cotta units to match existing terra cotta units in body composition, physical properties, color, gloss, surface texture, thickness, profile, dimensions, and composition of surface glaze.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Boston Valley Terra Cotta.

b. Gladding, McBean; a Division of PABCO Building Products, LLC.

c. Studio S Pottery.

d. Superior Clay Corporation.

e. <Insert manufacturer's name>.

Retain first option in first subparagraph below, revising percentage if required, if properties are unknown.  Retain second option if required properties are known.

2. Physical Properties:  Provide units with tested physical properties [within 10 percent of those determined from preconstruction testing of selected existing units.] [as listed below:]

Retain first subparagraph below if required properties are known.

a. Physical Properties per ASTM C 67:

1) Compressive Strength:  <Insert requirement>.

2) 24-Hour Cold-Water Submersion Absorption:  <Insert requirement>.

3) 5-Hour Boil Absorption:  <Insert requirement>.

4) Saturation Coefficient:  <Insert requirement>.

5) Initial Rate of Absorption:  <Insert requirement>.

3. Tolerances as Fabricated:  [Comply with tolerance requirements in ASTM C 212, Type FTX] <Insert requirement>.

Retain subparagraph below for restoration projects where differentiation of new units from original units is required.

4. Date Identification:  Emboss in the clay body on an interior surface of each unit in easily read 1/2-inch- (13-mm-) high characters, "MADE <Insert year>."  Manufacturer's name may also be embossed.

E. Brownstone Terra Cotta:  Provide new, unglazed, brownstone terra cotta units to match existing terra cotta units in body composition, physical properties, colors, color variation within units, surface texture, unit profile, and dimensions.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Boston Valley Terra Cotta.

b. Studio S Pottery.

c. Superior Clay Corporation.

d. <Insert manufacturer's name>.

Retain first option in first subparagraph below, revising percentage if required, if properties are unknown.  Retain second option if required properties are known.

2. Physical Properties:  Provide units with tested physical properties [within 10 percent of those determined from preconstruction testing of selected existing units.] [as listed below:]

Retain first subparagraph below if required properties are known.

a. Physical Properties per ASTM C 67:

1) Compressive Strength:  <Insert requirement>.

2) 24-Hour Cold-Water Submersion Absorption:  <Insert requirement>.

3) 5-Hour Boil Absorption:  <Insert requirement>.

4) Saturation Coefficient:  <Insert requirement>.

5) Initial Rate of Absorption:  <Insert requirement>.

3. Tolerances as Fabricated:  [Comply with tolerance requirements in ASTM C 212, Type FTX] <Insert requirement>.

4. For existing terra cotta that exhibits a range of colors or color variation within units, provide terra cotta that proportionally matches that range and variation rather than terra cotta that matches an individual color within that range.

Retain subparagraph below for restoration projects where differentiation of new units from original units is required.

5. Date Identification:  Emboss in the clay body on an interior surface of each unit in easily read 1/2-inch- (13-mm-) high characters, "MADE <Insert year>."  Manufacturer's name may also be embossed.

2.2 MORTAR MATERIALS

In first paragraph below, gray portland cement is sometimes used to help obtain correct mortar color.

A. Portland Cement:  ASTM C 150, Type I or Type II, white[ or gray or both] where required for color matching of exposed mortar.

Retain subparagraph below if required.

1. Provide cement containing not more than 0.60 percent total alkali when tested according to ASTM C 114.

B. Hydrated Lime:  ASTM C 207, Type S.

Usually retain paragraph above and delete first two paragraphs below.  See the Evaluations in Division 4 Section "Masonry Restoration and Cleaning."

C. Factory-Prepared Lime Putty:  ASTM C 1489.

If hydrated lime is not used, usually retain paragraph above and delete first paragraph below to ensure that lime is properly slaked.  Product below must be slaked before it is used.  If retaining above, also delete "Preparing Lime Putty" Paragraph in "Mortar Mixes" Article.

D. Quicklime:  ASTM C 5, pulverized lime.

E. Mortar Sand:  ASTM C 144 unless otherwise indicated.

Revise first subparagraph below to produce mortar quality and appearance required for Project.  See the Evaluations in Division 4 Section "Masonry Restoration and Cleaning."

1. Color:  Provide natural sand[ or ground marble, granite, or other sound stone] of color necessary to produce required mortar color.

Retain first subparagraph below if required.

2. For pointing mortar, provide sand with rounded edges.

3. Match size, texture, and gradation of existing mortar sand as closely as possible.  Blend several sands if necessary to achieve suitable match.

If known, indicate source of sand and size and gradation.  Insert requirements for other special aggregates, such as seashell fragments, if any.

Retain first paragraph below if pigmented mortar is allowed.  See the Evaluations in Division 4 Section "Masonry Restoration and Cleaning."

F. Mortar Pigments:  Natural and synthetic iron oxides, compounded for mortar mixes.  Use only pigments with a record of satisfactory performance in masonry mortars.

G. Water:  Potable.

2.3 MANUFACTURED REPAIR MATERIALS

A. Masonry Patching Compound:  Factory-mixed cementitious product that is custom manufactured for patching masonry.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Cathedral Stone Products, Inc.; Jahn M100 Terra Cotta and Brick Repair Mortar.

b. Conproco Corporation; [Mimic] [Matrix].

c. Edison Coatings, Inc.; Custom System 45.

d. <Insert manufacturer's name; product name or designation>.

2. Use formulation that is vapor- and water permeable (equal to or more than the masonry unit), exhibits low shrinkage, has lower modulus of elasticity than the masonry units being repaired, and develops high bond strength to all types of masonry.

3. Use formulation having working qualities and retardation control to permit forming and sculpturing where necessary.

4. Formulate patching compound used for patching [brick] [and] [terra cotta] in colors and textures to match each masonry unit being patched.  Provide [sufficient number of] [not less than three] <Insert number> colors to enable matching the color, texture, and variation of each unit.

Retain paragraph below only for repairing glazed terra cotta units.

B. Terra Cotta Glaze Replacement:  A high-solids, nonyellowing, fade-resistant, waterborne polyurethane or epoxy coating intended for exterior use as terra cotta glaze replacement.  Product shall be custom mixed by manufacturer to match color and gloss of existing terra cotta glaze.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Cathedral Stone Products, Inc.; Jahn M100 TerraCoat with SpanCoat primer.

b. Conproco Corporation; Terra Cotta Finish.

c. Edison Coatings, Inc.; [Aquathane UA-210] [Aqua-Spex 220 Multi-Color Finish System].

d. <Insert manufacturer's name; product name or designation>.

2.4 PAINT REMOVERS

Retain one or more of four paragraphs below.  Insert other types if required.  First and second paragraphs describe caustic materials that require neutralizing afterwash.

A. Alkaline Paste Paint Remover:  Manufacturer's standard alkaline paste formulation for removing paint coatings from masonry.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; 800 Brush Grade.

b. Diedrich Technologies Inc.; 606 Multi-Layer Paint Remover or 606X Extra Thick Multi-Layer Paint Remover.

c. Hydroclean, Hydrochemical Techniques, Inc.; Hydroclean HT-716 Heavy Duty Paint Remover.

d. Price Research, Ltd.; Price Heavy Duty Paint Stripper.

e. PROSOCO; [Enviro Klean Safety Peel 2] [Sure Klean Heavy-Duty Paint Stripper] [or] [Sure Klean Heavy-Duty Paint Stripper D].

f. <Insert manufacturer's name; product name or designation>.

B. Covered or Skin-Forming Alkaline Paint Remover:  Manufacturer's standard covered or skin-forming alkaline formulation for removing paint coatings from masonry.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; Grip 'N Strip 800 Fast Acting.

b. Diedrich Technologies Inc.; 606 Multi-Layer Paint Remover or 606X Extra Thick Multi-Layer Paint Remover with pull-off removal system.

c. Dumond Chemicals, Inc.; Peel Away 1 System.

d. PROSOCO; [Enviro Klean Safety Peel 1] [or] [Enviro Klean Safety Peel 3] with Enviro Klean Overcoat.

e. <Insert manufacturer's name; product name or designation>.

C. Solvent-Type Paint Remover:  Manufacturer's standard water-rinsable, solvent-type gel formulation for removing paint coatings from masonry.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; Super Bio Strip Gel.

b. Diedrich Technologies Inc.; 505 Special Coatings Stripper.

c. Dumond Chemicals, Inc.; Peel Away 2.

d. Hydroclean, Hydrochemical Techniques, Inc.; Hydroclean HT-300 Solvent Paint Remover.

e. Price Research, Ltd.; Price Strip-All.

f. PROSOCO; Sure Klean Fast Acting Stripper.

g. <Insert manufacturer's name; product name or designation>.

D. Low-Odor, Solvent-Type Paint Remover:  Manufacturer's standard low-odor, water-rinsable solvent-type gel formulation, containing no methanol or methylene chloride, for removing paint coatings from masonry.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; Super Bio Strip Gel.

b. Cathedral Stone Products, Inc.; [S-301] [S-303] [or] [S-305].

c. Dumond Chemicals, Inc.; [Peel Away 6] [Peel Away 7] [or] [Peel Away 21].

d. PROSOCO; [Enviro Klean Safety Peel 1] [or] [Enviro Klean Safety Peel 3].

e. <Insert manufacturer's name; product name or designation>.

2.5 CLEANING MATERIALS

If local water is known to be unsuitable, consider informing Contractor of this in first paragraph below.  Hard or softened water may be unsuitable even though potable.

A. Water:  Potable.

Retain first paragraph below if heated water is required.

B. Hot Water:  Water heated to a temperature of 140 to 160 deg F (60 to 71 deg C).

Retain remaining paragraphs if required.

C. Job-Mixed Detergent Solution:  Solution prepared by mixing 2 cups (0.5 L) of tetrasodium polyphosphate, 1/2 cup (125 mL) of laundry detergent, and 20 quarts (20 L) of hot water for every 5 gal. (20 L) of solution required.

D. Job-Mixed Mold, Mildew, and Algae Remover:  Solution prepared by mixing 2 cups (0.5 L) of tetrasodium polyphosphate, 5 quarts (5 L) of 5 percent sodium hypochlorite (bleach), and 15 quarts (15 L) of hot water for every 5 gal. (20 L) of solution required.

In first paragraph below, other products are available with much higher pH values for removing heavy carbon dirt and crusts.  If these are required, retain "Two-Part Chemical Cleaner" Paragraph below.  Chelating agents are used in detergents to tie up hard-water ions (calcium and magnesium) and to remove soap scum and hard-water film from surfaces.

E. Nonacidic Gel Cleaner:  Manufacturer's standard gel formulation, with pH between 6 and 9, that contains detergents with chelating agents and is specifically formulated for cleaning masonry surfaces.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Price Research, Ltd.; Price Marble Cleaner-Gel.

b. PROSOCO; Sure Klean 942 Limestone and Marble Cleaner.

c. <Insert manufacturer's name; product name or designation>.

F. Nonacidic Liquid Cleaner:  Manufacturer's standard mildly alkaline liquid cleaner formulated for removing mold, mildew, and other organic soiling from ordinary building materials, including polished stone, brick, aluminum, plastics, and wood.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Diedrich Technologies Inc.; Diedrich 910PM Polished Marble Cleaner.

b. Dominion Restoration Products, Inc.; Bio-Cleanse.

c. Dumond Chemicals, Inc.; Safe n' Easy Architectural Cleaner/Restorer.

d. Price Research, Ltd.; Price Non-Acid Masonry Cleaner.

e. PROSOCO; Enviro Klean 2010 All Surface Cleaner.

f. <Insert manufacturer's name; product name or designation>.

Products in paragraph below are phosphoric, oxalic, or citric acid-based products and, although not as corrosive as muriatic (hydrochloric), hydrofluoric, or sulfuric acid or ammonium bifluoride, may attack certain metals and other building materials.

G. Mild Acidic Cleaner:  Manufacturer's standard mildly acidic cleaner containing no muriatic (hydrochloric), hydrofluoric, or sulfuric acid; or ammonium bifluoride or chlorine bleaches.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; X-190 Limestone & Concrete Cleaner.

b. Diedrich Technologies Inc.; Envirorestore 100.

c. Dominion Restoration Products, Inc.; DR-60 Stone and Masonry Cleaner.

d. PROSOCO; Enviro Klean BioWash.

e. <Insert manufacturer's name; product name or designation>.

Products in first paragraph below contain hydrofluoric acid or ammonium bifluoride, which will attack metals, glass, and ceramic glazes.

H. Acidic Cleaner:  Manufacturer's standard acidic masonry cleaner composed of hydrofluoric acid or ammonium bifluoride blended with other acids, detergents, wetting agents, and inhibitors.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; 801 Heavy Duty Masonry Cleaner.

b. Diedrich Technologies Inc.; [Diedrich 101 Masonry Restorer] [or] [Diedrich 101G Granite, Terra Cotta, and Brick Cleaner].

c. Dumond Chemicals, Inc.; [Safe n' Easy Ultimate Stone and Masonry Cleaner] [or] [Safe n' Easy Heavy Duty Restoration Cleaner].

d. EaCo Chem, Inc.; [GS-Restoration] [or] [HD-Acid]

e. Hydroclean, Hydrochemical Techniques, Inc.; Hydroclean Brick, Granite, Sandstone and Terra Cotta Cleaner (HT-626).

f. Price Research, Ltd.; [Price Heavy Duty Restoration Cleaner] [or] [Price Restoration Cleaner].

g. PROSOCO; [Enviro Klean Restoration Cleaner] [Sure Klean Restoration Cleaner] [or] [Sure Klean Heavy-Duty Restoration Cleaner].

h. <Insert manufacturer's name; product name or designation>.

Products in paragraph below are often used to remove heavy carbon dirt and crusts from masonry.  They have pH values up to 14 and must be tested and used with great care to prevent chemical reactions with minerals in the masonry.

I. Two-Part Chemical Cleaner:  Manufacturer's standard system consisting of potassium or sodium hydroxide based, alkaline prewash cleaner and acidic afterwash cleaner that does not contain hydrofluoric acid.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; 500 Limestone Prewash Cleaner followed by 500 Limestone Afterwash.

b. Diedrich Technologies Inc.; [Diedrich 808 Limestone Pre-Wash] [or] [Diedrich 808X Black Encrustation Remover - Super Strong] followed by 707N Limestone Neutralizer After-Rinse.

c. PROSOCO; [Enviro Klean BioKlean followed by Sure Klean Limestone & Masonry Afterwash] [or] [Sure Klean 766 Limestone Prewash followed by SureKlean Limestone & Masonry Afterwash].

d. <Insert manufacturer's name; product name or designation>.

2.6 ACCESSORY MATERIALS

Product in paragraph below does not protect against paint removers.

A. Liquid Strippable Masking Agent:  Manufacturer's standard liquid, film-forming, strippable masking material for protecting glass, metal, and polished stone surfaces from damaging effects of acidic and alkaline masonry cleaners.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; Rubber Mask.

b. Price Research, Ltd.; Price Mask.

c. PROSOCO; Sure Klean Strippable Masking.

d. <Insert manufacturer's name; product name or designation>.

Insert other types of masking products, including tapes, sheets, etc., to suit Project.

Revise first four paragraphs below if type other than stainless steel is required.  Type 304 stainless steel is typical, but some jurisdictions may require Type 316.  Indicate type on Drawings.

B. Terra Cotta Anchors:  Type and size indicated or, if not indicated, to match existing anchors in size and type.  Fabricate anchors from [Type 304] [Type 316] stainless steel.

In first three paragraphs below, if specifying Type 316 stainless steel, verify availability with manufacturers.

C. Masonry Repair Anchors, Expansion Type:  Mechanical fasteners designed for masonry veneer stabilization consisting of 1/4-inch- (6-mm-) diameter, [Type 304] [Type 316] stainless-steel rod with brass expanding shells at each end and water-shedding washer in the middle.  Expanding shells shall be designed to provide positive mechanical anchorage to veneer on one end and backup masonry on the other.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. BLOK-LOK Limited; Torq-Lok.

b. Dur-O-Wal, a division of Dayton Superior; [Dur-O-Wal Repair Anchor] [Dur-O-Wal Panel Anchor].

c. Hohmann & Barnard, Inc.; #521RA-B Restoration Anchor.

d. <Insert manufacturer's name; product name or designation>.

D. Masonry Repair Anchors, Spiral Type:  [Type 304] [Type 316] stainless-steel spiral rods designed to anchor to backing and veneer.  Anchors are flexible in plane of veneer but rigid perpendicular to it.

1. Provide adhesive-installed anchors complete with manufacturer's standard epoxy adhesive and injection tubes, or other devices required for installation.

Retain subparagraph above or first subparagraph below.  Anchors above require larger holes.

2. Provide driven-in anchors designed to be installed in drilled holes and relying on screw effect rather than adhesive to secure them to backup and veneer.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

3. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. BLOK-LOK Limited; Spira-Lok.

b. Dur-O-Wal, a division of Dayton Superior; [Dur-O-Pair Resin Anchor] [or] [Dur-O-Flex Friction Pin Anchor].

c. Heckmann Building Products Inc.; #391 Remedial Tie.

d. Hohmann & Barnard, Inc.; Helix Spiro-Ties.

e. <Insert manufacturer's name; product name or designation>.

E. Masonry Repair Anchors, Rod/Screen Tube Type:  Stainless-steel screen tube with or without [Type 304] [Type 316] stainless-steel rod, adhesive installed by injection with manufacturer's standard epoxy adhesive, complete with other devices required for installation.

See Editing Instruction No. 1 in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. BLOK-LOK Limited; Chem-Lok.

b. Hohmann & Barnard, Inc.; #520RA.

c. <Insert manufacturer's name; product name or designation>.

Retain first two paragraphs below if sealant joints are required unless all sealant work, including sealant within masonry repairs, is specified in Division 7 Section "Joint Sealants."

F. Sealant Materials:

1. Provide manufacturer's standard chemically curing, elastomeric sealant(s) of base polymer and characteristics indicated below that comply with applicable requirements in Division 7 Section "Joint Sealants."

Retain and coordinate type(s) of joint sealant required in first subparagraph below with applicable subparagraph titles used in Division 7 Section "Joint Sealants" in which various sealant types are specified.  Revise sealant type or insert others if required.

a. [Single-component, nonsag urethane sealant] <Insert type>.

2. Colors:  Provide colors of exposed sealants to match colors of masonry adjoining installed sealant unless otherwise indicated.

Retain subparagraph below if retaining requirement in Part 3 for dressing exposed sealant joints with ground-mortar aggregate.

3. Ground-Mortar Aggregate:  Custom crushed and ground pointing mortar sand or existing mortar retrieved from joints.  Grind to a particle size that matches the adjacent mortar aggregate and color.  Remove all fines passing the [100] <Insert number> sieve.

In first paragraph below, verify with joint-sealant manufacturers the suitability of each material for sealant selected.  See the Evaluations in Division 7 Section "Joint Sealants."

G. Joint-Sealant Backing:

1. Cylindrical Sealant Backings:  ASTM C 1330, [Type C (closed-cell material with a surface skin)] [or] [Type B (bicellular material with a surface skin)], and of size and density to control sealant depth and otherwise contribute to producing optimum sealant performance.

2. Bond-Breaker Tape:  Polyethylene tape or other plastic tape recommended by sealant manufacturer for preventing sealant from adhering to rigid, inflexible joint-filler materials or joint surfaces at back of joint where such adhesion would result in sealant failure.  Provide self-adhesive tape where acceptable.

Insert other joint materials such as lead wool or lead T-cap if acceptable and required.

Retain first paragraph below to ensure equal joint spacing.

H. Setting Buttons:  Resilient plastic buttons, nonstaining to masonry, sized to suit joint thicknesses and bed depths of masonry units without intruding into required depths of pointing materials.

I. Masking Tape:  Nonstaining, nonabsorbent material, compatible with pointing mortar, joint primers, sealants, and surfaces adjacent to joints; that will easily come off entirely, including adhesive.

Retain first paragraph below if retaining requirement in Part 3 for coating existing anchors within wall.

J. Antirust Coating:  Fast-curing, lead- and chromate-free, self-curing, universal modified-alkyd primer complying with [MPI #79, Alkyd Anticorrosive Metal Primer] [or] [SSPC-Paint 20 or SSPC-Paint 29 zinc-rich coating] <Insert manufacturer's name; product name or designation>.

Coordinate surface preparation standard in first subparagraph below with surface preparation standard in "Painting Steel Uncovered during the Work" Article.

1. Use coating requiring no better than [SSPC-SP 2, "Hand Tool Cleaning"] [SSPC-SP 3, "Power Tool Cleaning"] [or] [SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning"] <Insert surface preparation standard> surface preparation according to manufacturer's literature or certified statement.

VOC limit in subparagraph below is the EPA limit for rust-preventive architectural coatings.

2. Use coating with a VOC content of [420 g/L (3.5 lb/gal.)] <Insert VOC limit> or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

K. Miscellaneous Products:  Select materials and methods of use based on the following, subject to approval of a mockup:

1. Previous effectiveness in performing the work involved.

2. Little possibility of damaging exposed surfaces.

3. Consistency of each application.

4. Uniformity of the resulting overall appearance.

5. Do not use products or tools that could do the following:

a. Remove, alter, or in any way harm the present condition or future preservation of existing surfaces, including surrounding surfaces not in contract.

b. Leave a residue on surfaces.

2.7 MORTAR MIXES

Retain first paragraph below unless hydrated lime or factory-prepared lime putty is used.

A. Preparing Lime Putty:  Slake quicklime and prepare lime putty according to appendix to ASTM C 5 and manufacturer's written instructions.

B. Measurement and Mixing:  Measure cementitious materials and sand in a dry condition by volume or equivalent weight.  Do not measure by shovel; use known measure.  Mix materials in a clean, mechanical batch mixer.

Retain subparagraph below if pointing mortar is used and prehydration is required.

1. Mixing Pointing Mortar:  Thoroughly mix cementitious materials and sand together before adding any water.  Then mix again adding only enough water to produce a damp, unworkable mix that will retain its form when pressed into a ball.  Maintain mortar in this dampened condition for 15 to 30 minutes.  Add remaining water in small portions until mortar reaches desired consistency.  Use mortar within one hour of final mixing; do not retemper or use partially hardened material.

C. Colored Mortar:  Produce mortar of color required by using specified ingredients.  Do not alter specified proportions without Architect's approval.

Retain subparagraph below if pigments are used.

1. Mortar Pigments:  Where mortar pigments are indicated, do not exceed a pigment-to-cement ratio of 1:10 by weight.

D. Do not use admixtures in mortar unless otherwise indicated.

E. Mortar Proportions:  Mix mortar materials in the following proportions:

Proportions in first subparagraph below are examples only; retain one and revise to suit Project or insert another.  See the Evaluations in Division 4 Section "Masonry Restoration and Cleaning."

1. Pointing Mortar for Brick:  [1 part portland cement, 2 parts lime, and 6 parts sand] [1 part portland cement, 6 parts lime, and 12 parts sand] <Insert proportions>.

Retain first subparagraph below if pigments are used.

a. Add mortar pigments to produce mortar colors required.

2. Pointing Mortar for Terra Cotta:  1 part white portland cement, 1 part lime, and 6 parts sand.

Retain first subparagraph below if pigments are used.

a. Add mortar pigments to produce mortar colors required.

Retain one of three subparagraphs below or revise to indicate specific proportions for each type of masonry unit indicated.  Option in first subparagraph assumes that pointing will be performed separately.

3. Rebuilding (Setting) Mortar:  Same as pointing mortar[ except mortar pigments are not required].

Two subparagraphs below assume that pointing will be performed separately.  Insert a requirement for adding mortar pigments to setting mortar if the amount of Work is small enough for setting and pointing to be performed at same time.

Proportions in first subparagraph below are examples only; retain one and revise to suit Project or insert another.  See the Evaluations in Division 4 Section "Masonry Restoration and Cleaning."

4. Rebuilding (Setting) Mortar:  [1 part portland cement, 2 parts lime, and 6 parts sand] [1 part portland cement, 6 parts lime, and 12 parts sand] <Insert proportions>.

5. Rebuilding (Setting) Mortar:  Comply with ASTM C 270, Proportion Specification, Type N unless otherwise indicated; with cementitious material limited to portland cement and lime.

2.8 CHEMICAL CLEANING SOLUTIONS

Retain this article if using chemical cleaners.  Coordinate with selection in "Cleaning Materials" Article and with cleaning methods in Part 3.  Paragraphs below are examples only; revise to suit Project materials and soil conditions.

A. Dilute chemical cleaners with water to produce solutions not exceeding concentration recommended by chemical-cleaner manufacturer.

B. Acidic Cleaner Solution for [Brick] [and] [Brownstone Terra Cotta]:  Dilute with water to produce hydrofluoric acid content of 3 percent or less, but not greater than that recommended by chemical-cleaner manufacturer.

C. Acidic Cleaner Solution for Glazed Terra Cotta:  Dilute with water to concentration demonstrated by testing that does not etch or otherwise damage terra cotta surface, but not greater than that recommended by chemical-cleaner manufacturer.

PART 3 -  EXECUTION

3.1 RESTORATION SPECIALISTS

Retain this article if list of preapproved firms is used as quality-control procedure.  See the Evaluations in Division 4 Section "Masonry Restoration and Cleaning."

If retaining second option in paragraph below, include procedure for approving other firms in Instructions to Bidders.

A. Restoration Specialist Firms:  Subject to compliance with requirements, [provide masonry restoration and cleaning by one of the following] [firms that may provide masonry restoration and cleaning include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of preapproved restoration specialist firms>.

3.2 PROTECTION

A. Protect persons, motor vehicles, surrounding surfaces of building being restored, building site, plants, and surrounding buildings from harm resulting from masonry restoration work.

1. Erect temporary protective covers over walkways and at points of pedestrian and vehicular entrance and exit that must remain in service during course of restoration and cleaning work.

Retain first paragraph below if using chemical cleaners.

B. Comply with chemical-cleaner manufacturer's written instructions for protecting building and other surfaces against damage from exposure to its products.  Prevent chemical-cleaning solutions from coming into contact with people, motor vehicles, landscaping, buildings, and other surfaces that could be harmed by such contact.

1. Cover adjacent surfaces with materials that are proven to resist chemical cleaners used unless chemical cleaners being used will not damage adjacent surfaces.  Use materials that contain only waterproof, UV-resistant adhesives.  Apply masking agents to comply with manufacturer's written instructions.  Do not apply liquid masking agent to painted or porous surfaces.  When no longer needed, promptly remove masking to prevent adhesive staining.

2. Keep wall wet below area being cleaned to prevent streaking from runoff.

3. Do not clean masonry during winds of sufficient force to spread cleaning solutions to unprotected surfaces.

4. Neutralize and collect alkaline and acid wastes for disposal off Owner's property.

5. Dispose of runoff from cleaning operations by legal means and in a manner that prevents soil erosion, undermining of paving and foundations, damage to landscaping, and water penetration into building interiors.

C. Prevent mortar from staining face of surrounding masonry and other surfaces.

1. Cover sills, ledges, and projections to protect from mortar droppings.

2. Keep wall area wet below rebuilding and pointing work to discourage mortar from adhering.

3. Immediately remove mortar in contact with exposed masonry and other surfaces.

4. Clean mortar splatters from scaffolding at end of each day.

Retain paragraph below if applicable.

D. Remove[ gutters and] downspouts adjacent to masonry and store[ where indicated] during masonry restoration and cleaning.  Reinstall when masonry restoration and cleaning are complete.

1. Provide temporary rain drainage during work[ as indicated] to direct water away from building.

3.3 UNUSED ANCHOR REMOVAL <Insert drawing designation>

Copy this article and re-edit for significantly different types of anchors to be removed.  Insert number to complete drawing designation.  Use these designations on Drawings to identify locations.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of these designations.

A. Remove masonry anchors, brackets, wood nailers, and other extraneous items no longer in use unless identified as historically significant or indicated to remain.

1. Remove items carefully to avoid spalling or cracking masonry.

2. Where directed, if an item cannot be removed without damaging surrounding masonry, do the following:

a. Cut or grind off item approximately [3/4 inch (20 mm)] <Insert dimension> beneath surface and core drill a recess of same depth in surrounding masonry as close around item as practical.

b. Immediately paint exposed end of item with two coats of antirust coating, following coating manufacturer's written instructions and without exceeding manufacturer's recommended dry film thickness per coat.  Keep paint off sides of recess.

3. Patch the hole where each item was removed unless directed to remove and replace the masonry unit.

3.4 BRICK REMOVAL AND REPLACEMENT <Insert drawing designation>

Copy this article and re-edit for significantly different shapes and sizes of bricks to be removed and replaced.  Insert number to complete drawing designation.  Use these designations on Drawings to identify locations.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of these designations.

A. At locations indicated, remove bricks that are damaged, spalled, or deteriorated[ or are to be reused].  Carefully demolish or remove entire units from joint to joint, without damaging surrounding masonry, in a manner that permits replacement with full-size units.

1. When removing single bricks, remove material from center of brick and work toward outside edges.

B. Support and protect remaining masonry that surrounds removal area.  Maintain flashing, reinforcement, lintels, and adjoining construction in an undamaged condition.

C. Notify Architect of unforeseen detrimental conditions including voids, cracks, bulges, and loose units in existing masonry backup, rotted wood, rusted metal, and other deteriorated items.

D. Remove in an undamaged condition as many whole bricks as possible.

1. Remove mortar, loose particles, and soil from brick by cleaning with hand chisels, brushes, and water.

2. Remove sealants by cutting close to brick with utility knife and cleaning with solvents.

3. Store brick for reuse.  Store off ground, on skids, and protected from weather.

4. Deliver cleaned brick not required for reuse to Owner unless otherwise indicated.

E. Clean bricks surrounding removal areas by removing mortar, dust, and loose particles in preparation for replacement.

Retain option in first paragraph below if salvaged brick is available.

F. Replace removed damaged brick with other removed brick[ and salvaged brick] in good quality, where possible, or with new brick matching existing brick, including size.  Do not use broken units unless they can be cut to usable size.

G. Install replacement brick into bonding and coursing pattern of existing brick.  If cutting is required, use a motor-driven saw designed to cut masonry with clean, sharp, unchipped edges.

1. Maintain joint width for replacement units to match existing joints.

Retain subparagraph below especially for narrow joints and where multiple courses are laid.

2. Use setting buttons or shims to set units accurately spaced with uniform joints.

H. Lay replacement brick with completely filled bed, head, and collar joints.  Butter ends with sufficient mortar to fill head joints and shove into place.  Wet both replacement and surrounding bricks that have ASTM C 67 initial rates of absorption (suction) of more than 30 g/30 sq. in. per min. (30 g/194 sq. cm per min.).  Use wetting methods that ensure that units are nearly saturated but surface is dry when laid.

1. Tool exposed mortar joints in repaired areas to match joints of surrounding existing brickwork.

Retain subparagraph above or first subparagraph below.  Coordinate with mortar mixes in Part 2.

2. Rake out mortar used for laying brick before mortar sets and point new mortar joints in repaired area to comply with requirements for repointing existing masonry, and at same time as repointing of surrounding area.

3. When mortar is sufficiently hard to support units, remove shims and other devices interfering with pointing of joints.

3.5 TERRA COTTA REMOVAL AND REPLACEMENT <Insert drawing designation>

Copy this article and re-edit for significantly different shapes and sizes of terra cotta to be removed and replaced.  Insert number to complete drawing designation.  Use these designations on Drawings to identify locations.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of these designations.

A. At locations indicated, remove terra cotta units that are damaged, spalled, or deteriorated.  Carefully demolish or remove entire units from joint to joint, without damaging surrounding masonry, in a manner that permits replacement with full-size units.

B. Support and protect remaining masonry that was supported by removed units.  Maintain flashing, reinforcement, lintels, and adjoining construction in an undamaged condition.

C. Notify Architect of unforeseen detrimental conditions including voids, cracks, bulges, and loose units in existing masonry backup, rotted wood, rusted metal, and other deteriorated items.

D. Clean masonry surrounding removal areas by removing mortar, dust, and loose particles in preparation for replacement.

E. Install replacement units into bonding and coursing pattern of existing units.

Retain first subparagraph below for glazed terra cotta and second for brownstone terra cotta.

1. Do not cut or grind glazed terra cotta.

2. If minor cutting of replacement brownstone terra cotta is required, use a motor-driven grinder or saw designed to cut masonry with clean, sharp, unchipped edges.  Do not cut or grind more than [1/8 inch (3 mm)] <Insert dimension> along any edge.

Retain subparagraph below especially for narrow joints.

3. Use setting buttons or shims to set units accurately spaced with uniform joints.

F. Set replacement units in a full bed of mortar.  Replace existing anchors with new anchors of size and type indicated.

First subparagraph below is an example only; revise to suit Project.  See the Evaluations in Division 4 Section "Masonry Restoration and Cleaning."

1. Embed anchors in mortar and fill voids behind units with mortar.

2. Tool exposed mortar joints in repaired areas to match joints of surrounding existing terra cotta.

Retain last subparagraph above or first subparagraph below.  Coordinate with mortar mixes in Part 2.

3. Rake out mortar used for laying terra cotta before mortar sets and point new mortar joints in repaired area to comply with requirements for repointing existing masonry, and at same time as repointing of surrounding area.

4. When mortar is sufficiently hard to support units, remove shims and other devices interfering with pointing of joints.

3.6 REANCHORING VENEERS <Insert drawing designation>

Copy this article and re-edit for significantly different types of veneer reanchoring.  Insert number to complete drawing designation.  Use these designations on Drawings to identify locations.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of these designations.

A. Install masonry repair anchors in horizontal mortar joints and according to manufacturer's written instructions.  Install at not more than 16 inches (400 mm) o.c. vertically and 32 inches (800 mm) o.c. horizontally unless otherwise indicated.  Install at locations to avoid penetrating flashing.

B. Recess anchors at least 5/8 inch (16 mm) from surface of mortar joint and fill recess with pointing mortar.

3.7 PAINTING STEEL UNCOVERED DURING THE WORK <Insert drawing designation>

Retain this article if steel may be uncovered during the Work.  Revise to accommodate another method or methods if required.  Insert number to complete drawing designation.  Use these designations on Drawings to identify locations.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of these designations.

A. Inspect steel exposed during masonry removal.  Where Architect determines that it is structural, or for other reasons cannot be totally removed, prepare and paint it as follows:

Coordinate surface preparation standard in first subparagraph below with surface preparation standard in "Accessory Materials" Article.

1. Remove paint, rust, and other contaminants according to [SSPC-SP 2, "Hand Tool Cleaning"] [SSPC-SP 3, "Power Tool Cleaning"] [or] [SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning"] <Insert surface preparation standard>, as applicable to meet paint manufacturer's recommended preparation.

2. Immediately paint exposed steel with two coats of antirust coating, following coating manufacturer's written instructions and without exceeding manufacturer's recommended rate of application (dry film thickness per coat).

B. If on inspection and rust removal, the cross section of a steel member is found to be reduced from rust by more than [1/16 inch (1.6 mm)] <Insert dimension>, notify Architect before proceeding.

3.8 MASONRY UNIT PATCHING <Insert drawing designation>

Copy this article and re-edit for significantly different types and sizes of masonry unit patching.  Insert number to complete drawing designation.  Use these designations on Drawings to identify locations.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of these designations.

It is usually much less expensive to patch rather than replace slightly to moderately damaged masonry units.  For historic restoration projects, it is also important to retain as much of original fabric of building as possible.

A. Patch the following masonry units unless another type of replacement or repair is indicated:

1. Units indicated to be patched.

Usually retain subparagraph above and indicate units that require patching on Drawings.  Retain three subparagraphs below with or without above and revise to suit Project.

2. Units with holes.

3. Units with chipped edges or corners.

4. Units with small areas of deep deterioration.

Retain first paragraph below if there are existing patches in unsatisfactory condition.

B. Remove and replace existing patches unless otherwise indicated or approved by Architect.

C. Patching Bricks:

1. Remove loose material from masonry surface.  Carefully remove additional material so patch will not have feathered edges but will have square or slightly undercut edges on area to be patched and will be at least 1/4 inch (6 mm) thick, but not less than recommended by patching compound manufacturer.

2. Mask adjacent mortar joint or rake out for repointing if patch will extend to edge of masonry unit.

Retain first subparagraph below for masonry unit that exhibits a variation in color.

3. Mix patching compound in individual batches to match each unit being patched.  Combine one or more colors of patching compound, as needed, to produce exact match.

4. Rinse surface to be patched and leave damp, but without standing water.

5. Brush-coat surfaces with slurry coat of patching compound according to manufacturer's written instructions.

6. Place patching compound in layers as recommended by patching compound manufacturer, but not less than 1/4 inch (6 mm) or more than 2 inches (50 mm) thick.  Roughen surface of each layer to provide a key for next layer.

7. Trowel, scrape, or carve surface of patch to match texture and surrounding surface plane or contour of the masonry unit.  Shape and finish surface before or after curing, as determined by testing, to best match existing masonry unit.

8. Keep each layer damp for 72 hours or until patching compound has set.

D. Patching Terra Cotta:

1. Remove deteriorated material as determined by sounding gently with a small hammer.  Carefully remove additional material so patch will not have feathered edges but will have square or slightly undercut edges on area to be patched and will be at least 1/4 inch (6 mm) thick, but not less than recommended by patching compound manufacturer.

2. Where mortar joints adjacent to patch are open, fill back of joints with pointing mortar and allow to cure before patching terra cotta.  Leave space for pointing joints according to "Repointing Masonry" Article.

3. Mask adjacent mortar joint or rake out for repointing if patch will extend to edge of unit.

4. Rinse surface to be patched and leave damp, but without standing water.

5. Brush-coat surfaces with slurry coat of patching compound according to manufacturer's written instructions.

6. Place patching compound in layers as recommended by patching compound manufacturer, but not less than 1/4 inch (6 mm) or more than 2 inches (50 mm) thick.  Roughen surface of each layer to provide a key for next layer.

7. Do not apply patching compound over mortar joints.  If patching compound bridges mortar joints, cut out joints after patching compound hardens.

8. Trowel, scrape, or carve surface of patch to match texture, details, and surrounding surface plane or contour of terra cotta.  Shape and finish surface before or after curing, as determined by testing to best match existing terra cotta.

9. Keep each layer damp for 72 hours or until patching compound has set.

Retain subparagraph below for glazed terra cotta.

10. After final layer of patching compound has cured, apply glaze replacement according to manufacturer's written instructions.  Apply two or more coats, as needed, to match glaze of adjacent terra cotta units.

3.9 WIDENING JOINTS <Insert drawing designation>

Retain this article only for very few locations on a building if required.  See "Repointing Masonry" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of joint widening.

Insert number to complete drawing designation.  Use these designations on Drawings to identify locations.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of these designations.

A. Do not widen a joint, except where indicated or approved by Architect.

B. Location Guideline:  Where an existing masonry unit abuts another or the joint is less than [1/8 inch (3 mm)] <Insert dimension>, widen the joint for length indicated and to depth required for repointing after obtaining Architect's approval.

C. Carefully perform widening by cutting, grinding, routing, or filing procedures demonstrated in an approved mockup.

D. Widen joint to width equal to or less than predominant width of other joints on building.  Make sides of widened joint uniform and parallel.  Ensure that edges of units along widened joint are in alignment with joint edges at unaltered joints.

3.10 CLEANING MASONRY, GENERAL

Revise first paragraph below to suit building configuration and Project conditions.  In determining the direction of cleaning, the goal is to prevent dirty residues and rinse water from washing over cleaned, dry surfaces, where they could be reabsorbed.  Although bottom to top is most common, such a procedure in a tall building could result in resoiling already cleaned surfaces.

A. Proceed with cleaning in an orderly manner; work from [bottom to top] [top to bottom] of each scaffold width and from one end of each elevation to the other.  Ensure that dirty residues and rinse water will not wash over cleaned, dry surfaces.

B. Use only those cleaning methods indicated for each masonry material and location.

Retain first subparagraph below if applicable.

1. Do not use wire brushes or brushes that are not resistant to chemical cleaner being used.  Do not use plastic-bristle brushes if natural-fiber brushes will resist chemical cleaner being used.

2. Use spray equipment that provides controlled application at volume and pressure indicated, measured at spray tip.  Adjust pressure and volume to ensure that cleaning methods do not damage masonry.

a. Equip units with pressure gages.

Retain first subparagraph below unless spray application of chemical cleaners is not acceptable.  Wind drift of chemical cleaners is often a problem with spray application.

3. For chemical-cleaner spray application, use low-pressure tank or chemical pump suitable for chemical cleaner indicated, equipped with cone-shaped spray tip.

Spray tip in first subparagraph below is considered efficient for low and medium pressure and less harmful than tips with narrower angles.  Never use tip with an angle of less than 15 degrees.

4. For water-spray application, use fan-shaped spray tip that disperses water at an angle of 25 to 50 degrees.

Retain first subparagraph below if high-pressure spray is used or revise subparagraph above.

5. For high-pressure water-spray application, use fan-shaped spray tip that disperses water at an angle of at least 40 degrees.

Retain first subparagraph below if heated water is required.  Revise temperature range to suit Project.

6. For heated water-spray application, use equipment capable of maintaining temperature between 140 and 160 deg F (60 and 71 deg C) at flow rates indicated.

Retain subparagraph below if steam cleaning is required.  Usually retain for supplemental cleaning if chemical cleaning is specified.

7. For steam application, use steam generator capable of delivering live steam at nozzle.

C. Perform each cleaning method indicated in a manner that results in uniform coverage of all surfaces, including corners, moldings, and interstices, and that produces an even effect without streaking or damaging masonry surfaces.

D. Water Application Methods:

Retain method in first subparagraph below if required.  See the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for advantages and disadvantages.

1. Water-Soak Application:  Soak masonry surfaces by applying water continuously and uniformly to limited area for time indicated.  Apply water at low pressures and low volumes in multiple fine sprays using perforated hoses or multiple spray nozzles.  Erect a protective enclosure constructed of polyethylene sheeting to cover area being sprayed.

2. Water-Spray Applications:  Unless otherwise indicated, hold spray nozzle at least 6 inches (150 mm) from surface of masonry and apply water in horizontal back and forth sweeping motion, overlapping previous strokes to produce uniform coverage.

Retain first paragraph below if required.  Steam cleaning may be used to supplement other methods.  See the Evaluations in Division 4 Section "Masonry Restoration and Cleaning."

E. Steam Cleaning:  Apply steam to masonry surfaces at the very low pressures indicated for each type of masonry material.  Hold nozzle at least 6 inches (150 mm) from surface of masonry and apply steam in horizontal back and forth sweeping motion, overlapping previous strokes to produce uniform coverage.

Retain both options in first paragraph below if spray application of chemical cleaners is acceptable.  Wind drift of chemical cleaners is often a problem with spray application.

F. Chemical-Cleaner Application Methods:  Apply chemical cleaners to masonry surfaces to comply with chemical-cleaner manufacturer's written instructions; use brush[ or spray] application.[  Do not spray apply at pressures exceeding 50 psi (345 kPa).] Do not allow chemicals to remain on surface for periods longer than those indicated or recommended by manufacturer.

Bottom to top rinsing helps ensure thorough and uniform rinse; rinse water leaving bottom of wall while top is being rinsed will be clear only if entire wall is thoroughly rinsed.  Entire wall will be wet when rinsing is completed, resulting in more uniform drying and less streaking.

G. Rinse off chemical residue and soil by working upward from bottom to top of each treated area at each stage or scaffold setting.  Periodically during each rinse, test pH of rinse water running off of cleaned area to determine that chemical cleaner is completely removed.

1. Apply neutralizing agent and repeat rinse if necessary to produce tested pH of between 6.7 and 7.5.

H. After cleaning is complete, remove protection no longer required.  Remove tape and adhesive marks.

3.11 PRELIMINARY CLEANING

Retain first paragraph below if plant removal is part of the Work; revise to suit Project conditions.

A. Removing Plant Growth:  Completely remove visible plant, moss, and shrub growth from masonry surfaces.  Carefully remove plants, creepers, and vegetation by cutting at roots and allowing to dry as long as possible before removal.  Remove loose soil and debris from open masonry joints to whatever depth they occur.

Insert requirements if herbicide application is required.

B. Preliminary Cleaning:  Before beginning general cleaning, remove extraneous substances that are resistant to cleaning methods being used.  Extraneous substances include paint, calking, asphalt, and tar.

1. Carefully remove heavy accumulations of material from surface of masonry with a sharp chisel.  Do not scratch or chip masonry surface.

2. Remove paint and calking with alkaline paint remover.

a. Comply with requirements in "Paint Removal" Article.

b. Repeat application up to two times if needed.

3. Remove asphalt and tar with solvent-type paint remover.

a. Comply with requirements in "Paint Removal" Article.

b. Apply paint remover only to asphalt and tar by brush without prewetting.

c. Allow paint remover to remain on surface for 10 to 30 minutes.

d. Repeat application if needed.

3.12 PAINT REMOVAL <Insert drawing designation>

Copy this article and re-edit for significantly different types of paint removal.  Insert number to complete drawing designation.  Use these designations on Drawings to identify locations.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of these designations.

Retain one or more of three paragraphs below depending on paint removers retained in Part 2 and in "Preliminary Cleaning" Article.

A. Paint Removal with Alkaline Paste Paint Remover:

Retain first subparagraph below only if loose and peeling paint is significant.

1. Remove loose and peeling paint using [low] [medium] [high]-pressure spray, scrapers, stiff brushes, or a combination of these.  Let surface dry thoroughly.

2. Apply paint remover to dry, painted masonry with brushes.

3. Allow paint remover to remain on surface for period recommended by manufacturer.

Retain one of first two options and one of last three options in first subparagraph below.  Alkaline cleaners work better with hot water.

4. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove chemicals and paint residue.

5. Repeat process if necessary to remove all paint.

6. Apply acidic cleaner or manufacturer's recommended afterwash to masonry, while surface is still wet, using low-pressure spray equipment or soft-fiber brush.  Let cleaner or afterwash remain on surface as a neutralizing agent for period recommended by chemical cleaner or afterwash manufacturer.

Retain one of three options in subparagraph below.

7. Rinse with cold water applied by [low] [medium] [high]-pressure spray to remove chemicals and soil.

B. Paint Removal with Covered or Skin-Forming Alkaline Paint Remover:

Retain first subparagraph below only if loose and peeling paint is significant.

1. Remove loose and peeling paint using [low] [medium] [high]-pressure spray, scrapers, stiff brushes, or a combination of these.  Let surface dry thoroughly.

2. Apply paint remover to dry, painted masonry with trowel, spatula, or as recommended by manufacturer.

3. Apply cover, if required by manufacturer, per manufacturer's written instructions.

4. Allow paint remover to remain on surface for period recommended by manufacturer or as determined in test panels.

5. Scrape off paint and remover and collect for disposal.

Retain one of first two options and one of last three options in first subparagraph below.  Alkaline cleaners work better with hot water.

6. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove chemicals and paint residue.

7. Use alkaline paste paint remover, according to "Paint Removal with Alkaline Paste Paint Remover" Paragraph, if necessary to remove remaining paint.

8. Apply acidic cleaner or manufacturer's recommended afterwash to masonry, while surface is still wet, using low-pressure spray equipment or soft-fiber brush.  Let cleaner or afterwash remain on surface as a neutralizing agent for period recommended by chemical-cleaner or afterwash manufacturer.

Retain one of three options in subparagraph below.

9. Rinse with cold water applied by [low] [medium] [high]-pressure spray to remove chemicals and soil.

C. Paint Removal with Solvent-Type Paint Remover:

Retain first subparagraph below only if loose and peeling paint is significant.

1. Remove loose and peeling paint using [low] [medium] [high]-pressure spray, scrapers, stiff brushes, or a combination of these.  Let surface dry thoroughly.

2. Apply thick coating of paint remover to painted masonry with natural-fiber cleaning brush, deep-nap roller, or large paint brush.

Delete option in first subparagraph below if retaining listed products by Cathedral Stone.

3. Allow paint remover to remain on surface for period recommended by manufacturer.[  Agitate periodically with stiff-fiber brush.]

Retain one of first two options and one of last three options in subparagraph below.  Some manufacturers advise that heated water may improve stripping efficiency.

4. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove chemicals and paint residue.

3.13 CLEANING BRICKWORK <Insert drawing designation>

Copy this article and re-edit for significantly different types of brickwork cleaning.  Insert number to complete drawing designation.  Use these designations on Drawings to identify locations.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of these designations.

Paragraphs below are examples of cleaning methods.  Retain one or more, and coordinate with cleaners retained in Part 2.  If more than one method is required, insert location or develop a schedule describing location, materials, and cleaning process.

Procedure in first paragraph below may cause efflorescence after wall dries out and may result in water infiltration.  See the Evaluations in Division 4 Section "Masonry Restoration and Cleaning."

A. Cold-Water Soak:

1. Apply cold water by intermittent spraying to keep surface moist.

2. Use perforated hoses or other means that will apply a fine water mist to entire surface being cleaned.

3. Apply water in cycles with at least [30 minutes] <Insert time> between cycles.

4. Continue spraying until surface encrustation has softened sufficiently to permit its removal by water wash, as indicated by cleaning tests.

Retain last subparagraph above or first subparagraph below.  Time below is an example only; revise to suit Project.

5. Continue spraying for 72 hours.

6. Remove soil and softened surface encrustation from masonry with cold water applied by low-pressure spray.

B. Cold-Water Wash:  Use cold water applied by [low] [medium] [high]-pressure spray.

C. Hot-Water Wash:  Use hot water applied by [low] [medium] [high]-pressure spray.

D. Steam Cleaning:  Apply steam at very low pressures not exceeding [30 psi (207 kPa)] [80 psi (550 kPa)] <Insert pressure>.  Remove dirt softened by steam with wood scrapers, stiff-nylon or -fiber brushes, or cold-water wash, as indicated by cleaning tests.

E. Detergent Cleaning:

1. Wet masonry with [cold] [hot] water applied by low-pressure spray.

2. Scrub masonry with detergent solution using medium-soft brushes until soil is thoroughly dislodged and can be removed by rinsing.  Use small brushes to remove soil from mortar joints and crevices.  Dip brush in solution often to ensure that adequate fresh detergent is used and that masonry surface remains wet.

Retain one of first two options and one of last three options in first subparagraph below.

3. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove detergent solution and soil.

Retain subparagraph below if mockup is used.

4. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.

F. Mold, Mildew, and Algae Removal:

1. Wet masonry with [cold] [hot] water applied by low-pressure spray.

2. Apply mold, mildew, and algae remover by brush[ or low-pressure spray].

3. Scrub masonry with medium-soft brushes until mold, mildew, and algae are thoroughly dislodged and can be removed by rinsing.  Use small brushes for mortar joints and crevices.  Dip brush in mold, mildew, and algae remover often to ensure that adequate fresh cleaner is used and that masonry surface remains wet.

Retain one of first two options and one of last three options in first subparagraph below.

4. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove mold, mildew, and algae remover and soil.

Retain subparagraph below if mockup is used.

5. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.

G. Nonacidic Gel Chemical Cleaning:

1. Wet masonry with [cold] [hot] water applied by low-pressure spray.

2. Apply nonacidic gel cleaner in 1/8-inch (3-mm) thickness by brush, working into joints and crevices.  Apply quickly and do not brush out excessively so area will be uniformly covered with fresh cleaner and dwell time will be uniform throughout area being cleaned.

3. Let cleaner remain on surface for period indicated below:

Retain one of first two subparagraphs below; revise to suit Project.

a. As recommended by chemical-cleaner manufacturer.

b. As established by mockup.

4. Remove bulk of nonacidic gel cleaner by squeegeeing into containers for disposal.

Retain one of first two options and one of last three options in first subparagraph below.

5. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

6. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.  Do not repeat more than once.  If additional cleaning is required, use steam cleaning.

H. Nonacidic Liquid Chemical Cleaning:

Retain one of two options in first subparagraph below.  Alkaline cleaners work better with hot water.

1. Wet masonry with [cold] [hot] water applied by low-pressure spray.

2. Apply cleaner to masonry[ in two applications] by brush[ or low-pressure spray].  Let cleaner remain on surface for period indicated below:

Retain one of first three subparagraphs below.  Third subparagraph is an example only; revise to suit Project.

a. As recommended by chemical-cleaner manufacturer.

b. As established by mockup.

c. Two to three minutes.

Retain one of first two options and one of last three options in first subparagraph below.

3. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

4. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.  Do not repeat more than once.  If additional cleaning is required, use steam cleaning.

I. [Mild Acidic] [Acidic] Chemical Cleaning:

1. Wet masonry with cold water applied by low-pressure spray.

2. Apply cleaner to masonry[ in two applications] by brush[ or low-pressure spray].  Let cleaner remain on surface for period indicated below:

Retain one of first three subparagraphs below.  Third subparagraph is an example only; revise to suit Project.

a. As recommended by chemical-cleaner manufacturer.

b. As established by mockup.

c. Two to three minutes.

Retain one of three options in first subparagraph below.

3. Rinse with cold water applied by [low] [medium] [high]-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

4. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.  Do not repeat more than once.  If additional cleaning is required, use a steam cleaning.

Insert cleaning procedures for removing minor stains (cuprous, ferrous, etc.) if any.

3.14 CLEANING BROWNSTONE TERRA COTTA <Insert drawing designation>

Copy this article and re-edit for significantly different types of brownstone terra cotta cleaning.  Insert number to complete drawing designation.  Use these designations on Drawings to identify locations.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of these designations.

Paragraphs below are examples of cleaning methods.  Retain one or more, and coordinate with cleaners retained in Part 2.  If more than one method is required, insert location or develop a schedule describing location, materials, and cleaning process.

Procedure in first paragraph below may cause efflorescence after wall dries out and may result in water infiltration, but may be best method for highly ornamented terra cotta.  See the Evaluations in Division 4 Section "Masonry Restoration and Cleaning."

A. Cold-Water Soak:

1. Apply cold water by intermittent spraying to keep surface moist.

2. Use perforated hoses or other means that will apply a fine water mist to entire surface being cleaned.

3. Apply water in cycles with at least [30 minutes] <Insert time> between cycles.

4. Continue spraying until surface encrustation has softened sufficiently to permit its removal by water wash, as indicated by cleaning tests.

Retain last subparagraph above or first subparagraph below.  Time below is an example only; revise to suit Project.

5. Continue spraying for 72 hours.

6. Remove soil and softened surface encrustation from masonry with cold water applied by low-pressure spray.

B. Cold-Water Wash:  Use cold water applied by [low] [medium] [high]-pressure spray.

C. Hot-Water Wash:  Use hot water applied by [low] [medium] [high]-pressure spray.

D. Steam Cleaning:  Apply steam at very low pressures not exceeding [30 psi (207 kPa)] [80 psi (550 kPa)] <Insert pressure>.  Remove dirt softened by steam with wood scrapers, stiff-nylon or -fiber brushes, or cold-water wash, as indicated by cleaning tests.

E. Detergent Cleaning:

1. Wet masonry with [cold] [hot] water applied by low-pressure spray.

2. Scrub masonry with detergent solution using medium-soft brushes until soil is thoroughly dislodged and can be removed by rinsing.  Use small brushes to remove soil from mortar joints and crevices.  Dip brush in solution often to ensure that adequate fresh detergent is used and that masonry surface remains wet.

Retain one of first two options and one of last three options in first subparagraph below.

3. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove detergent solution and soil.

Retain subparagraph below if mockup is used.

4. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.

F. Mold, Mildew, and Algae Removal:

1. Wet masonry with [cold] [hot] water applied by low-pressure spray.

2. Apply mold, mildew, and algae remover by brush[ or low-pressure spray].

3. Scrub masonry with medium-soft brushes until mold, mildew, and algae are thoroughly dislodged and can be removed by rinsing.  Use small brushes for mortar joints and crevices.  Dip brush in mold, mildew, and algae remover often to ensure that adequate fresh cleaner is used and that masonry surface remains wet.

Retain one of first two options and one of last three options in first subparagraph below.

4. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove mold, mildew, and algae remover and soil.

Retain subparagraph below if mockup is used.

5. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.

G. Nonacidic Gel Chemical Cleaning:

1. Wet masonry with [cold] [hot] water applied by low-pressure spray.

2. Apply nonacidic gel cleaner in 1/8-inch (3-mm) thickness by brush, working into joints and crevices.  Apply quickly and do not brush out excessively so area will be uniformly covered with fresh cleaner and dwell time will be uniform throughout area being cleaned.

3. Let cleaner remain on surface for period indicated below:

Retain one of first two subparagraphs below; revise to suit Project.

a. As recommended by chemical-cleaner manufacturer.

b. As established by mockup.

4. Remove bulk of nonacidic gel cleaner by squeegeeing into containers for disposal.

Retain one of first two options and one of last three options in first subparagraph below.

5. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

6. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.  Do not repeat more than once.  If additional cleaning is required, use steam cleaning.

H. Nonacidic Liquid Chemical Cleaning:

Retain one of two options in first subparagraph below.  Alkaline cleaners work better with hot water.

1. Wet masonry with [cold] [hot] water applied by low-pressure spray.

2. Apply cleaner to masonry[ in two applications] by brush[ or low-pressure spray].  Let cleaner remain on surface for period indicated below:

Retain one of first three subparagraphs below.  Third subparagraph is an example only; revise to suit Project.

a. As recommended by chemical-cleaner manufacturer.

b. As established by mockup.

c. Two to three minutes.

Retain one of first two options and one of last three options in first subparagraph below.

3. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

4. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.  Do not repeat more than once.  If additional cleaning is required, use steam cleaning.

I. [Mild Acidic] [Acidic] Chemical Cleaning:

1. Wet masonry with cold water applied by low-pressure spray.

2. Apply cleaner to masonry[ in two applications] by brush[ or low-pressure spray].  Let cleaner remain on surface for period indicated below:

Retain one of first three subparagraphs below.  Third subparagraph is an example only; revise to suit Project.

a. As recommended by chemical-cleaner manufacturer.

b. As established by mockup.

c. Two to three minutes.

Retain one of three options in first subparagraph below.

3. Rinse with cold water applied by [low] [medium] [high]-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

4. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.  Do not repeat more than once.  If additional cleaning is required, use a steam cleaning.

Insert cleaning procedures for removing minor stains (cuprous, ferrous, etc.) if any.

3.15 CLEANING GLAZED TERRA COTTA <Insert drawing designation>

Copy this article and re-edit for significantly different types of terra cotta cleaning.  Insert number to complete drawing designation.  Use these designations on Drawings to identify locations.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of these designations.

Paragraphs below are examples of several cleaning methods suitable for glazed terra cotta.  Retain one or more, and coordinate with cleaners retained in Part 2.  If more than one method is required, insert location or develop a schedule describing location, materials, and cleaning process.

A. Hot-Water Wash:  Use hot water applied by [low] [medium] [high]-pressure spray.

B. Steam Cleaning:  Apply steam at very low pressures not exceeding [30 psi (207 kPa)] [80 psi (550 kPa)] <Insert pressure>.  Remove dirt softened by steam with wood scrapers, stiff-nylon or -fiber brushes, or cold-water wash, as indicated by cleaning tests.

C. Nonacidic Gel Chemical Cleaning:

1. Wet terra cotta with [cold] [hot] water applied by low-pressure spray.

2. Apply nonacidic gel cleaner in 1/8-inch (3-mm) thickness by brush, working into joints and crevices.  Apply quickly and do not brush out excessively so area will be uniformly covered with fresh cleaner and dwell time will be uniform throughout area being cleaned.

3. Let cleaner remain on surface for period indicated below:

Retain one of first two subparagraphs below; revise to suit Project.

a. As recommended by chemical-cleaner manufacturer.

b. As established by mockup.

4. Remove bulk of nonacidic gel cleaner by squeegeeing into containers for disposal.

Retain one of first two options and one of last three options in first subparagraph below.

5. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

6. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.  Do not repeat more than once.  If additional cleaning is required, use steam cleaning.

D. Nonacidic Liquid Chemical Cleaning:

Retain one of two options in first subparagraph below.  Alkaline cleaners work better with hot water.

1. Wet terra cotta with [cold] [hot] water applied by low-pressure spray.

2. Apply cleaner to terra cotta[ in two applications].  Let cleaner remain on surface for period indicated below:

Retain one of first three subparagraphs below.  Third subparagraph is an example only; revise to suit Project.

a. As recommended by chemical-cleaner manufacturer.

b. As established by mockup.

c. Two to three minutes.

Retain one of first two options and one of last three options in first subparagraph below.

3. Rinse with [cold] [hot] water applied by [low] [medium] [high]-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

4. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.  Do not repeat more than once.  If additional cleaning is required, use steam cleaning.

E. Mild Acidic Chemical Cleaning:

1. Wet terra cotta with cold water applied by low-pressure spray.

2. Apply cleaner to terra cotta[ in two applications].  Let cleaner remain on surface for period indicated below:

Retain one of first three subparagraphs below.  Third subparagraph is an example only; revise to suit Project.

a. As recommended by chemical-cleaner manufacturer.

b. As established by mockup.

c. Two to three minutes.

Retain one of three options in first subparagraph below.

3. Rinse with cold water applied by [low] [medium] [high]-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

4. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.  Do not repeat more than once.  If additional cleaning is required, use steam cleaning.

Generally avoid method in paragraph below, especially with high-gloss terra cotta; most acidic cleaners will etch glazes.

F. Two-Part Chemical Cleaning:

Retain one of two options in first subparagraph below.  Alkaline cleaners work better with hot water.

1. Wet terra cotta with [cold] [hot] water applied by low-pressure spray.

A specific time should be inserted in first subparagraph below as determined by preliminary testing.  Time will vary depending on temperature and relative humidity.

2. Apply alkaline prewash cleaner to terra cotta by brush or roller.  Let cleaner remain on surface for period recommended by chemical-cleaner manufacturer unless otherwise indicated.

Retain one of two options in first subparagraph below.  Alkaline cleaners work better with hot water.  Revise subparagraph if different pressure is required.

3. Rinse with [cold] [hot] water applied by medium-pressure spray to remove chemicals and soil.

Use only acidic cleaners that manufacturer recommends for use as afterwash for alkaline prewash cleaner.  With glazed terra cotta, use only acidic cleaners that do not contain hydrofluoric acid or ammonium bifluoride, which will etch the glaze.

4. Apply acidic afterwash cleaner to terra cotta[ in two applications], while surface is still wet, using[ low-pressure spray equipment,] deep-nap roller or soft-fiber brush.  Let neutralizer remain on surface for period recommended by manufacturer unless otherwise indicated.

5. Rinse with cold water applied by medium-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

6. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.  Do not repeat more than once.  If additional cleaning is required, use steam cleaning.

Insert cleaning procedures for removing minor stains (cuprous, ferrous, etc.) if any.

3.16 REPOINTING MASONRY <Insert drawing designation>

Copy this article and re-edit for significantly different types and sizes of joints to be repointed.  Insert number to complete drawing designation.  Use these designations on Drawings to identify locations.  See "General Comments" Article in the Evaluations in Division 4 Section "Masonry Restoration and Cleaning" for discussion of these designations.

A. Rake out and repoint joints to the following extent:

1. All joints in areas indicated.

Retain subparagraph above if complete repointing of selected areas is indicated on Drawings.  The Department of the Interior's "The Secretary of the Interior's Standards for the Treatment of Historic Properties with Guidelines for Preserving, Rehabilitating, Restoring, and Reconstructing Historic Buildings" prohibits removing sound mortar and replacing it solely to achieve uniform appearance.  Retain seven subparagraphs below with or without subparagraph above if spot repointing of missing and deteriorated joints is required.

2. Joints where mortar is missing or where they contain holes.

3. Cracked joints where cracks can be penetrated at least 1/4 inch (6 mm) by a knife blade 0.027 inch (0.7 mm) thick.

4. Cracked joints where cracks are [1/16 inch (1.6 mm)] [1/8 inch (3 mm)] <Insert dimension> or more in width and of any depth.

5. Joints where they sound hollow when tapped by metal object.

6. Joints where they are worn back 1/4 inch (6 mm) or more from surface.

7. Joints where they are deteriorated to point that mortar can be easily removed by hand, without tools.

8. Joints where they have been filled with substances other than mortar.

9. Joints indicated as sealant-filled joints.

B. Do not rake out and repoint joints where not required.

C. Rake out joints as follows, according to procedures demonstrated in approved mockup:

Investigate depth required to rake out joints for Project and revise first subparagraph below accordingly.

1. Remove mortar from joints to depth of [joint width plus 1/8 inch (3 mm)] [2 times joint width] [2-1/2 times joint width] <Insert dimension>, but not less than 1/2 inch (13 mm) or not less than that required to expose sound, unweathered mortar.

2. Remove mortar from masonry surfaces within raked-out joints to provide reveals with square backs and to expose masonry for contact with pointing mortar.  Brush, vacuum, or flush joints to remove dirt and loose debris.

3. Do not spall edges of masonry units or widen joints.  Replace or patch damaged masonry units as directed by Architect.

a. Cut out mortar by hand with chisel and resilient mallet.  Do not use power-operated grinders without Architect's written approval based on approved quality-control program.

Retain last subparagraph above or subparagraph below.

b. Cut out center of mortar bed joints using angle grinders with diamond-impregnated metal blades.  Remove remaining mortar by hand with chisel and resilient mallet.  Strictly adhere to approved quality-control program.

D. Notify Architect of unforeseen detrimental conditions including voids in mortar joints, cracks, loose masonry units, rotted wood, rusted metal, and other deteriorated items.

E. Pointing with Mortar:

1. Rinse joint surfaces with water to remove dust and mortar particles.  Time rinsing application so, at time of pointing, joint surfaces are damp but free of standing water.  If rinse water dries, dampen joint surfaces before pointing.

2. Apply pointing mortar first to areas where existing mortar was removed to depths greater than surrounding areas.  Apply in layers not greater than 3/8 inch (9 mm) until a uniform depth is formed.  Fully compact each layer thoroughly and allow it to become thumbprint hard before applying next layer.

3. After low areas have been filled to same depth as remaining joints, point all joints by placing mortar in layers not greater than 3/8 inch (9 mm).  Fully compact each layer and allow to become thumbprint hard before applying next layer.  Where existing masonry units have worn or rounded edges, slightly recess finished mortar surface below face of masonry to avoid widened joint faces.  Take care not to spread mortar beyond joint edges onto exposed masonry surfaces or to featheredge the mortar.

4. When mortar is thumbprint hard, tool joints to match original appearance of joints as demonstrated in approved mockup.  Remove excess mortar from edge of joint by brushing.

5. Cure mortar by maintaining in thoroughly damp condition for at least 72 consecutive hours including weekends and holidays.

Retain last subparagraph above for all mortars.  Proper moist curing is critical for high-lime-content mortars.  Lime sets by carbonation rather than by hydration and requires more time to set than does portland cement mortar.  Thorough dampness aids in carbonation; surface dampness can result in mortar curing only on surface of joint with weak, uncured mortar behind it.  First two subparagraphs below may be deleted for mortars with high portland cement content.

a. Acceptable curing methods include covering with wet burlap and plastic sheeting, periodic hand misting, and periodic mist spraying using system of pipes, mist heads, and timers.

b. Adjust curing methods to ensure that pointing mortar is damp throughout its depth without eroding surface mortar.

Retain and revise subparagraph below to suit Project.

6. Hairline cracking within the mortar or mortar separation at edge of a joint is unacceptable.  Completely remove such mortar and repoint.

Retain first paragraph below if sealant joints are required unless all sealant work, including sealant within masonry repairs, is specified in Division 7 Section "Joint Sealants."

F. Pointing with Sealant:

1. After raking out, keep joints dry and free of mortar and debris.

Option in first subparagraph below establishes priming as default requirement rather than relying on Contractor's judgment.

2. Clean and prepare joint surfaces according to Division 7 Section "Joint Sealants."[  Prime joint surfaces unless sealant manufacturer recommends against priming.] Do not allow primer to spill or migrate onto adjoining surfaces.

3. Fill sealant joints with specified joint sealant according to Division 7 Section "Joint Sealants" and the following:

a. Install cylindrical sealant backing beneath the sealant, except where space is insufficient.  There, install bond-breaker tape.

b. Install sealant using only proven installation techniques that will ensure that sealant will be deposited in a uniform, continuous ribbon, without gaps or air pockets, and with complete wetting of the joint bond surfaces equally on both sides.  Fill joint flush with surrounding masonry and matching the contour of adjoining mortar joints.

c. Install sealant as recommended by sealant manufacturer but within the following general limitations, measured at the center (thin) section of the bead:

1) Fill joints to a depth equal to joint width, but not more than 1/2 inch (13 mm) deep or less than 1/4 inch (6 mm) deep.

Retain first subparagraph below to dull the surface of sealant and blend it better with mortar joints.  Sealant manufacturers generally do not recommend this procedure because their sealants are not performance tested with this treatment.

d. Immediately after first tooling, apply ground-mortar aggregate to sealant, gently pushing aggregate into the surface of sealant.  Retool sealant to form smooth, uniform beads, slightly concave.  Remove excess sealant and aggregate from surfaces adjacent to joint.

e. Do not allow sealant to overflow or spill onto adjoining surfaces, or to migrate into the voids of adjoining surfaces, particularly rough textures.  Remove excess and spillage of sealant promptly as the work progresses.  Clean adjoining surfaces by the means necessary to eliminate evidence of spillage, without damage to adjoining surfaces or finishes, as demonstrated in an approved mockup.

4. Cure sealant according to Division 7 Section "Joint Sealants."

G. Where repointing work precedes cleaning of existing masonry, allow mortar to harden at least 30 days before beginning cleaning work.

Insert installation of other joint-pointing materials such as lead wool or lead T-cap if acceptable and required.

3.17 FINAL CLEANING

Retain this article only if overall cleaning of existing masonry occurs before pointing work is completed.

Revise first paragraph below if chemical cleaning of rebuilt masonry work is required or if overall cleaning of rebuilt and existing masonry can be accomplished using new-masonry chemical cleaning techniques.  See Division 4 Section "Unit Masonry Assemblies."

A. After mortar has fully hardened, thoroughly clean exposed masonry surfaces of excess mortar and foreign matter; use wood scrapers, stiff-nylon or -fiber brushes, and clean water, spray applied at low pressure.

1. Do not use metal scrapers or brushes.

2. Do not use acidic or alkaline cleaners.

Paragraphs below are examples only; revise to suit Project.

B. Wash adjacent woodwork and other nonmasonry surfaces.  Use detergent and soft brushes or cloths.

C. Clean mortar and debris from roof; remove debris from gutters and downspouts.  Rinse off roof and flush gutters and downspouts.

D. Sweep and rake adjacent pavement and grounds to remove mortar and debris.  Where necessary, pressure wash pavement surfaces to remove mortar, dust, dirt, and stains.

3.18 FIELD QUALITY CONTROL

A. Inspectors:  Owner will engage qualified independent inspectors to perform inspections and prepare test reports.  Allow inspectors use of lift devices and scaffolding, as needed, to perform inspections.

Full-time inspection and observation are effective means of quality control for restoration work.  Retain paragraph above if Owner will retain full-time inspectors or first paragraph below if Architect's representatives will be on-site daily to make observations.

B. Architect's Project Representatives:  Architect will assign Project representatives to help carry out Architect's responsibilities at the site, including observing progress and quality of portion of the Work completed.  Allow Architect's Project representatives use of lift devices and scaffolding, as needed, to observe progress and quality of portion of the Work completed.

C. Notify [inspectors] [and] [Architect's Project representatives] in advance of times when lift devices and scaffolding will be relocated.  Do not relocate lift devices and scaffolding until [inspectors] [and] [Architect's Project representatives] have had reasonable opportunity to make [inspections] [and] [observations] of work areas at lift device or scaffold location.

END OF SECTION 04901

CLAY MASONRY RESTORATION AND CLEANING
04901 - 1

