Copyright 2001 AIA
MASTERSPEC Full Length
02/01 (R 05/06)

Copyright 2001 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 05120 - STRUCTURAL STEEL
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Structural steel.

2. Architecturally exposed structural steel.

3. Prefabricated building columns.

4. Grout.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 1 Section "Quality Requirements" for independent testing agency procedures and administrative requirements.

2. Division 5 Section "Steel Deck" for field installation of shear connectors.

3. Division 5 Section "Metal Fabrications" for [steel lintels or shelf angles not attached to structural-steel frame] [miscellaneous steel fabrications] [and] [other metal items] not defined as structural steel.

4. [Division 9 painting Sections] [and] [Division 9 Section "High-Performance Coatings"] for surface preparation and priming requirements.

5. Division 13 Section "Metal Building Systems" for structural steel.

1.3 DEFINITIONS

Retain terms that remain after this Section has been edited.

A. Structural Steel:  Elements of structural-steel frame, as classified by AISC's "Code of Standard Practice for Steel Buildings and Bridges," that support design loads.

B. Architecturally Exposed Structural Steel:  Structural steel designated as architecturally exposed structural steel in the Contract Documents.

1.4 PERFORMANCE REQUIREMENTS

Retain paragraph and subparagraphs below if fabricator is responsible for selecting or completing details of structural-steel connections required to withstand specific design loads.

A. Connections:  Provide details of[ simple shear] connections required by the Contract Documents to be selected or completed by structural-steel fabricator to withstand [ASD-service] [LRFD] loads indicated and comply with other information and restrictions indicated.

Revise subparagraph below if design of complex connections is delegated to fabricator's qualified professional engineer.

1. Select and complete connections using [schematic details indicated] [and] [AISC's "Manual of Steel Construction, Load and Resistance Factor Design," Volume 2, Part 9] [AISC's "Manual of Steel Construction, Allowable Stress Design," Part 4] <Insert source>.

Retain subparagraph below if a qualified professional engineer is required to select or complete structural-steel connections.  AISC's "Code of Standard Practice for Steel Buildings and Bridges" commentary anticipates an experienced steel detailer, not necessarily a qualified professional engineer, selecting and completing connections.

2. Engineering Responsibility:  Fabricator's responsibilities include using a qualified professional engineer to prepare structural analysis data for structural-steel connections.

AISC's "Load and Resistance Factor Design Specification for Structural Steel Buildings" requires that the basic type of construction, identified in options in paragraph below, be indicated.

B. Construction:  Type [PR, partially] [FR, fully] restrained.

AISC's "Specification for Structural Steel Buildings--Allowable Stress Design and Plastic Design" recognizes three basic types of construction, identified in options below.

C. Construction:  Type [1, rigid frame] [2, simple framing] [3, semirigid framing].

1.5 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. LEED Submittal:

Retain subparagraph and associated subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  An alternative method of complying with Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 1 Section "LEED Requirements" that gives Contractor the option and responsibility for determining how Credit MR 4.1 and MR 4.2 requirements will be met.

1. Product Data for Credit MR 4.1[ and Credit MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a. Include statement indicating costs for each product having recycled content.

C. Shop Drawings:  Show fabrication of structural-steel components.

1. Include details of cuts, connections, splices, camber, holes, and other pertinent data.

2. Include embedment drawings.

3. Indicate welds by standard AWS symbols, distinguishing between shop and field welds, and show size, length, and type of each weld.

4. Indicate type, size, and length of bolts, distinguishing between shop and field bolts.  Identify pretensioned and slip-critical high-strength bolted connections.

Retain subparagraph below if structural-steel connections are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify that structural-steel connections comply with performance requirements.  Retain option for jurisdictions that require deferred connection design to be signed and sealed by a specialty structural engineer.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

5. For structural-steel connections indicated to comply with design loads, include structural analysis data [signed and sealed] [prepared] by the qualified professional engineer responsible for their preparation.

Retain paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

D. Welding certificates.

Coordinate first paragraph below with qualification requirements in Division 1Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For [Installer] [fabricator] [professional engineer] [testing agency].

F. Mill Test Reports:  Signed by manufacturers certifying that the following products comply with requirements:

Edit list below to suit Project.  Add alternative design bolts if required.

1. Structural steel including chemical and physical properties.

2. Bolts, nuts, and washers including mechanical properties and chemical analysis.

3. Direct-tension indicators.

4. Tension-control, high-strength bolt-nut-washer assemblies.

5. Shear stud connectors.

6. Shop primers.

7. Nonshrink grout.

8. <Insert product.>

G. Source quality-control test reports.

1.6 QUALITY ASSURANCE

Retain paragraph below if AISC certification of Installer (erector) is required.  Because this is a recently established program, verify availability of certified erectors.  Select category from two options:  CASE for certified advanced steel erectors, CSE for certified steel erectors.

A. Installer Qualifications:  A qualified installer who participates in the AISC Quality Certification Program and is designated an AISC-Certified Erector, Category [CASE] [CSE].

Retain paragraph below if AISC certification of fabricator is required.  Select category from two options or revise to name another category.  Cbd is for complex steel-building structures; Sbd is for conventional steel-building structures.  Category Cbd certification automatically includes Category Sbd.

B. Fabricator Qualifications:  A qualified fabricator who participates in the AISC Quality Certification Program and is designated an AISC-Certified Plant, Category [Cbd] [Sbd].

Retain paragraph below if qualifying shop-painting applicators, usually for high-performance coatings rather than customary shop priming.  Before retaining, verify that fabricators or shop-painting applicators serving Project area are qualified.  AISC's program qualifies fabricators as an endorsement to plant certification; SSPC's program usually qualifies paint shops rather than steel fabricators.

C. Shop-Painting Applicators:  Qualified according to AISC's Sophisticated Paint Endorsement [P1] [P2] [P3] or SSPC-QP 3, "Standard Procedure for Evaluating Qualifications of Shop Painting Applicators."

Delete first paragraph below if no welding.  Retain "Welding certificates" Paragraph in "Submittals" Article if retaining below.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

D. Welding:  Qualify procedures and personnel according to AWS D1.1, "Structural Welding Code--Steel."

E. Comply with applicable provisions of the following specifications and documents:

Delete references below if not applicable.  Add others to suit Project.

1. AISC's "Code of Standard Practice for Steel Buildings and Bridges."

2. AISC's "Seismic Provisions for Structural Steel Buildings" and "Supplement No. 2."

3. AISC's "[Specification for Structural Steel Buildings--Allowable Stress Design and Plastic Design] [Load and Resistance Factor Design Specification for Structural Steel Buildings]."

4. AISC's "Specification for the Design of Steel Hollow Structural Sections."

5. AISC's "[Specification for Allowable Stress Design of Single-Angle Members] [Specification for Load and Resistance Factor Design of Single-Angle Members]."

6. RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts."

Retain paragraph and subparagraphs below if required for architecturally exposed structural steel.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.

F. Mockups:  Build mockups of architecturally exposed structural steel to set quality standards for fabrication and installation.

1. Coordinate finish painting requirements with Division 9 painting Sections.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

2. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

G. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

1.7 DELIVERY, STORAGE, AND HANDLING

A. Store materials to permit easy access for inspection and identification.  Keep steel members off ground and spaced by using pallets, dunnage, or other supports and spacers.  Protect steel members and packaged materials from erosion and deterioration.

1. Store fasteners in a protected place.  Clean and relubricate bolts and nuts that become dry or rusty before use.

2. Do not store materials on structure in a manner that might cause distortion, damage, or overload to members or supporting structures.  Repair or replace damaged materials or structures as directed.

1.8 COORDINATION

A. Furnish anchorage items to be embedded in or attached to other construction without delaying the Work.  Provide setting diagrams, sheet metal templates, instructions, and directions for installation.

PART 2 -  PRODUCTS

2.1 STRUCTURAL-STEEL MATERIALS

Retain one of two paragraphs and subparagraphs below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  USGBC allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that hollow structural shapes, pipe, and steel plates are made by the basic oxygen furnace method, which typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content, and rolled structural shapes are made by the electric arc furnace method, which typically has 57.5 percent postconsumer recycled content and 6.5 percent preconsumer recycled content.

A. Recycled Content of Steel Products:  Provide products with an average recycled content of steel products so postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] [50] [60] <Insert number> percent.

B. Recycled Content of Steel Products:  Provide products with an average recycled content of steel products so postconsumer recycled content plus one-half of preconsumer recycled content is not less than the following:

1. W-Shapes:  [60] <Insert number> percent.

2. Channels, Angles[, M] [, S]-Shapes:  [60] <Insert number> percent.

3. Plate and Bar:  [25] <Insert number> percent.

4. Cold-Formed Hollow Structural Sections:  [25] <Insert number> percent.

5. Steel Pipe:  [25] <Insert number> percent.

6. <Insert Category Name>:  <Insert number> percent.

7. All Other Steel Materials:  [25] <Insert number> percent.

Select from options in paragraph below.  Materials complying with first and second options are widely available.  Third and fourth options include specialty-steel materials; verify availability if required.

C. W-Shapes:  [ASTM A 992/A 992M] [ASTM A 572/A 572M, Grade 50 (345)] [ASTM A 529/A 529M, Grade 50 (345)] [ASTM A 913/A 913M, Grade 50 (345)].

Select from options in paragraph below.  Materials complying with first and second options are widely available.  Third and fourth options include specialty-steel materials; verify availability if required.

D. Channels, Angles[, M] [, S]-Shapes:  [ASTM A 36/A 36M] [ASTM A 572/A 572M, Grade 50 (345)] [ASTM A 529/A 529M, Grade 50 (345)] [ASTM A 913/A 913M, Grade 50 (345)].

Select from options in paragraph below.  Materials complying with first option are widely available; those complying with second option are less so.  Third option is a specialty-steel material; verify availability if required.

E. Plate and Bar:  [ASTM A 36/A 36M] [ASTM A 572/A 572M, Grade 50 (345)] [ASTM A 529/A 529M, Grade 50 (345)].

Select first paragraph below for corrosion-resisting (weathering) structural steel and indicate locations on Drawings.

F. Corrosion-Resisting Structural Steel:  ASTM A 588/A 588M, Grade 50 (345).

G. Cold-Formed Hollow Structural Sections:  ASTM A 500, Grade [B] [C], structural tubing.

Select first paragraph below for corrosion-resisting (weathering) hollow structural sections and indicate locations on Drawings.

H. Corrosion-Resisting Cold-Formed Hollow Structural Sections:  ASTM A 847, structural tubing.

I. Steel Pipe:  ASTM A 53/A 53M, Type E or S, Grade B.

Delete subparagraph below if weight of steel pipe is shown on Drawings.  Relationship between weight class and schedule number of wall thickness varies as pipe diameter increases.  See ASTM A 53/A 53M tables for further information.

1. Weight Class:  [Standard] [Extra strong] [Double-extra strong].

Select finish from options in subparagraph below.

2. Finish:  [Black] [Galvanized] [Black, except where indicated to be galvanized].

J. Medium-Strength Steel Castings:  ASTM A 27/A 27M, Grade 65-35 (Grade 450-240), carbon steel.

Select paragraph above or first paragraph below if castings are required.

K. High-Strength Steel Castings:  ASTM A 148/A 148M,Grade 80-50 (Grade 550-345), carbon or alloy steel.

L. Welding Electrodes:  Comply with AWS requirements.

2.2 BOLTS, CONNECTORS, AND ANCHORS

If corrosion-resisting (weathering) steel is used, change Type 1 bolts to Type 3 in paragraph below and delete "Finish" Subparagraph.  Indicate locations if using bolts below for some connections and ASTM A 490 (ASTM A 490M) bolts for others.

A. High-Strength Bolts, Nuts, and Washers:  ASTM A 325 (ASTM A 325M), Type 1, heavy hex steel structural bolts; ASTM A 563 (ASTM A 563M) heavy hex carbon-steel nuts; and ASTM F 436 (ASTM F 436M) hardened carbon-steel washers.

Select one finish from options in subparagraph below.

1. Finish:  [Plain] [Hot-dip zinc coating, ASTM A 153/A 153M, Class C] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

Retain subparagraph below if applicable.

2. Direct-Tension Indicators:  ASTM F 959, Type 325 (ASTM F 959M, Type 8.8,) compressible-washer type.

Select one finish from options in subparagraph below.

a. Finish:  [Plain] [Mechanically deposited zinc coating, ASTM B 695, Class 50] [Mechanically deposited zinc coating, ASTM B 695, Class 50, baked epoxy coated].

If corrosion-resisting (weathering) steel is used, change Type 1 bolts to Type 3 in paragraph below. Retain option if applicable.  Indicate locations if using bolts below for some connections and ASTM A 325 (ASTM A 325M) bolts in paragraph above for others.

B. High-Strength Bolts, Nuts, and Washers:  ASTM A 490 (ASTM A 490M), Type 1, heavy hex steel structural bolts[ or tension-control, bolt-nut-washer assemblies with splined ends]; ASTM A 563 (ASTM A 563M) heavy hex carbon-steel nuts; and ASTM F 436 (ASTM F 436M) hardened carbon-steel washers, plain.

Retain subparagraph below if applicable.

1. Direct-Tension Indicators:  ASTM F 959, Type 490 (ASTM F 959M,) Type 10.9, compressible-washer type, plain.

Tension-control (twist-off) bolt assemblies in paragraph below correspond to strength of ASTM A 325 (ASTM A 325M) bolts.  If corrosion-resisting (weathering) steel is used, change Type 1 assemblies to Type 3 below and delete "Finish" Subparagraph.

C. Tension-Control, High-Strength Bolt-Nut-Washer Assemblies:  ASTM F 1852, Type 1, [heavy hex] [round] head steel structural bolts with splined ends; ASTM A 563 (ASTM A 563M) heavy hex carbon-steel nuts; and ASTM F 436 (ASTM F 436M) hardened carbon-steel washers.

Select one finish from options in subparagraph below.

1. Finish:  [Plain] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

Retain shear connectors below if shop or field welding to steel framing is required.

D. Shear Connectors:  ASTM A 108, Grades 1015 through 1020, headed-stud type, cold-finished carbon steel; AWS D1.1, Type B.

Select appropriate materials from paragraph and subparagraphs below or revise if other materials are required.  AISC uses the generic term "anchor rods" to include unheaded rods and headed bolts.  Verify availability of ASTM F 1554, Grade 55, weldable, before specifying.  Plate washers are used with oversized base-plate holes to resist nut pull-through and transfer shear from base plate to anchor rod.

E. Unheaded Anchor Rods:  [ASTM F 1554, Grade 36] [ASTM F 1554, Grade 55, weldable] [ASTM A 354] [ASTM A 449] [ASTM A 572/A 572M, Grade 50 (345)] [ASTM A 36/A 36M] [ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6)].

1. Configuration:  [Straight] [Hooked].

2. Nuts:  ASTM A 563 (ASTM A 563M) [heavy ]hex carbon steel.

3. Plate Washers:  ASTM A 36/A 36M carbon steel.

4. Washers:  ASTM F 436 (ASTM F 436M) hardened carbon steel.

Select one finish from options in subparagraph below.

5. Finish:  [Plain] [Hot-dip zinc coating, ASTM A 153/A 153M, Class C] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

Select appropriate materials from first paragraph and subparagraphs below or revise if other materials are required.  AISC uses the generic term "anchor rods" to include unheaded rods and headed bolts.  Verify availability of ASTM F 1554, Grade 55, weldable, before specifying.  Plate washers are used with oversized base-plate holes to resist nut pull-through and transfer shear from base plate to anchor rod.

F. Headed Anchor Rods:  [ASTM F 1554, Grade 36] [ASTM F 1554, Grade 55, weldable] [ASTM A 354] [ASTM A 449] [ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6)], straight.

1. Nuts:  ASTM A 563 (ASTM A 563M) [heavy ]hex carbon steel.

2. Plate Washers:  ASTM A 36/A 36M carbon steel.

3. Washers:  ASTM F 436 (ASTM F 436M) hardened carbon steel.

Select one finish from options in subparagraph below.

4. Finish:  [Plain] [Hot-dip zinc coating, ASTM A 153/A 153M, Class C] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

G. Threaded Rods:  [ASTM A 193/A 193M] [ASTM A 354] [ASTM A 449] [A 572/A 572M, Grade 50 (345)] [ASTM A 36/A 36M] [ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6)].

1. Nuts:  ASTM A 563 (ASTM A 563M) [heavy ]hex carbon steel.

2. Washers:  [ASTM F 436 (ASTM F 436M) hardened] [ASTM A 36/A 36M] carbon steel.

Select one finish from options in subparagraph below.

3. Finish:  [Plain] [Hot-dip zinc coating, ASTM A 153/A 153M, Class C] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

H. [Clevises] [Turnbuckles]:  ASTM A 108, Grade 1035, cold-finished carbon steel.

I. Eye Bolts and Nuts:  ASTM A 108, Grade 1030, cold-finished carbon steel.

J. Sleeve Nuts:  ASTM A 108, Grade 1018, cold-finished carbon steel.

2.3 PRIMER

Delete this Article if shop painting is not required.  Add proprietary primers if required as part of special coating or painting system.  Coordinate primer selection with surface preparation and topcoats, requirements for slip-critical joints, and limitations of sprayed fire-resistive materials.  Add color if required.

Primer in paragraph below requires SSPC-SP 2 surface preparation or better and 24 hours' drying before recoating.  Type II contains fewer VOCs than Type I.

A. Primer:  SSPC-Paint 25, Type [I] [II], iron oxide, zinc oxide, raw linseed oil, and alkyd.

Primer in paragraph below requires SSPC-SP 6/NACE No. 3 commercial blast cleaning surface preparation or better and 24 hours' drying before recoating.  Type II contains fewer VOCs than Type I.

B. Primer:  SSPC-Paint 25 BCS, Type [I] [II], iron oxide, zinc oxide, raw linseed oil, and alkyd.

Primer in paragraph below requires SSPC-SP 6/NACE No. 3 commercial blast cleaning surface preparation or better and 24 hours' drying before recoating.  SSPC recommends two primer coats before exposing steel to exterior, and one or two topcoats.

C. Primer:  SSPC-Paint 23, latex primer.

Verify that fabricators offer primers meeting limitations and characteristics in first paragraph below.  Fabricator's standard primer requires SSPC-SP 2 surface preparation or better and usually provides minimal protection.

D. Primer:  Fabricator's standard lead- and chromate-free, nonasphaltic, rust-inhibiting primer.

E. Galvanizing Repair Paint:  [MPI#18, MPI#19, or SSPC-Paint 20] [ASTM A 780].

2.4 GROUT

Delete this Article if grouting is specified elsewhere.

Cement grout in paragraph below has limited compressive strength.

A. Cement Grout:  Portland cement, ASTM C 150, Type I; and clean, natural sand, ASTM C 404, Size No. 2.  Mix at ratio of 1 part cement to 2-1/2 parts sand, by volume, with minimum water required for placement and hydration.

Shrinkage-resistant grouts in two paragraphs below have high compressive strength.  Retain first paragraph if metallic-aggregate grout is required; retain second if nonmetallic-aggregate grout is required.  For critical installations, require grout manufacturer to provide field assistance to Contractor.

B. Metallic, Shrinkage-Resistant Grout:  ASTM C 1107, factory-packaged, metallic aggregate grout, mixed with water to consistency suitable for application and a 30-minute working time.

C. Nonmetallic, Shrinkage-Resistant Grout:  ASTM C 1107, factory-packaged, nonmetallic aggregate grout, noncorrosive, nonstaining, mixed with water to consistency suitable for application and a 30-minute working time.

2.5 FABRICATION

Retain paragraph and subparagraphs below for structural steel and architecturally exposed structural steel.

A. Structural Steel:  Fabricate and assemble in shop to greatest extent possible.  Fabricate according to AISC's "Code of Standard Practice for Steel Buildings and Bridges" and AISC's "[Specification for Structural Steel Buildings--Allowable Stress Design and Plastic Design] [Load and Resistance Factor Design Specification for Structural Steel Buildings]."

1. Camber structural-steel members where indicated.

2. Identify high-strength structural steel according to ASTM A 6/ A 6M and maintain markings until structural steel has been erected.

3. Mark and match-mark materials for field assembly.

Delete below if shop priming is not required.

4. Complete structural-steel assemblies, including welding of units, before starting shop-priming operations.

Retain first paragraph and subparagraphs below if required.  Tolerance limits for architecturally exposed structural steel are generally half of those permitted by AISC for structural steel.  Revise if stricter limits are required.

B. Architecturally Exposed Structural Steel:  Comply with fabrication requirements, including tolerance limits, of AISC's "Code of Standard Practice for Steel Buildings and Bridges" for structural steel identified as architecturally exposed structural steel.

Retain option in first subparagraph below if required.  Removal of seam marks, roller marks, and rolled trade names is not required by AISC's "Code of Standard Practice for Steel Buildings and Bridges" for architecturally exposed structural steel.

1. Fabricate with exposed surfaces smooth, square, and free of surface blemishes including pitting, rust, scale,[ seam marks, roller marks, rolled trade names,] and roughness.

2. Remove blemishes by filling or grinding or by welding and grinding, before cleaning, treating, and shop priming.

C. Thermal Cutting:  Perform thermal cutting by machine to greatest extent possible.

1. Plane thermally cut edges to be welded to comply with requirements in AWS D1.1.

Retain option in first paragraph below if permitted.  RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts" permits thermally cut bolt holes if approved by engineer of record.  Revise standard bolt holes to oversized, short-slotted, or long-slotted bolt holes if permitted, and indicate locations of each type.

D. Bolt Holes:  Cut, drill, [mechanically thermal cut, ]or punch standard bolt holes perpendicular to metal surfaces.

E. Finishing:  Accurately finish ends of columns and other members transmitting bearing loads.

Retain paragraph below for unpainted structural steel.  Delete if shop coating is required and retain applicable requirements in "Shop Priming" Article.  Default cleaning in AISC's "Code of Standard Practice for Steel Buildings and Bridges" describes SSPC-SP 1 solvent cleaning and approximates SSPC-SP 2 hand cleaning.

F. Cleaning:  Clean and prepare steel surfaces that are to remain unpainted according to [SSPC-SP 1, "Solvent Cleaning] [SSPC-SP 2, "Hand Tool Cleaning] [SSPC-SP 3, "Power Tool Cleaning]."

Retain paragraph below if shear connectors are shop installed to structural steel.

G. Shear Connectors:  Prepare steel surfaces as recommended by manufacturer of shear connectors.  Use automatic end welding of headed-stud shear connectors according to AWS D1.1 and manufacturer's written instructions.

Retain paragraph below if steel wall-opening framing is required and included in this Section.

H. Steel Wall-Opening Framing:  Select true and straight members for fabricating steel wall-opening framing to be attached to structural steel.  Straighten as required to provide uniform, square, and true members in completed wall framing.

Retain first paragraph below if structural-steel-welded door frames, usually for industrial buildings, are required and included in this Section.  Coordinate requirements with Drawings.

I. Welded Door Frames:  Build up welded door frames attached to structural steel.  Weld exposed joints continuously and grind smooth.  Plug-weld fixed steel bar stops to frames.  Secure removable stops to frames with countersunk, cross-recessed head machine screws, uniformly spaced not more than 10 inches (250 mm) o.c., unless otherwise indicated.

J. Holes:  Provide holes required for securing other work to structural steel and for passage of other work through steel framing members.

Delete option in first subparagraph below if allowing thermally cut holes.

1. Cut, drill, or punch holes perpendicular to steel surfaces.[ Do not thermally cut bolt holes or enlarge holes by burning.]

2. Base-Plate Holes:  Cut, drill, mechanically thermal cut, or punch holes perpendicular to steel surfaces.

3. Weld threaded nuts to framing and other specialty items indicated to receive other work.

2.6 SHOP CONNECTIONS

Retain first paragraph and subparagraph below for high-strength bolts.

A. High-Strength Bolts:  Shop install high-strength bolts according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts" for type of bolt and type of joint specified.

RCSC requires that joint types be specified in the Contract Documents for most loading conditions.  See Evaluations for a discussion of the joint types in subparagraph below, which are the three types now recognized by RCSC.  Insert particular bolt pretensioning method for pretensioned or slip-critical joints if required; RCSC states that each type can provide satisfactory results.

1. Joint Type:  [Snug tightened] [Pretensioned] [Slip critical].

B. Weld Connections:  Comply with AWS D1.1 for welding procedure specifications, tolerances, appearance, and quality of welds and for methods used in correcting welding work.

Retain subparagraph below if required, usually for architecturally exposed structural steel.  Indicate locations if limited to certain areas.  AISC's "Code of Standard Practice for Steel Buildings and Bridges" permits backing bars and runoff tabs to remain in place.

1. Remove backing bars or runoff tabs, back gouge, and grind steel smooth.

Delete subparagraph below if built-up sections are not required.

2. Assemble and weld built-up sections by methods that will maintain true alignment of axes without exceeding tolerances of AISC's "Code of Standard Practice for Steel Buildings and Bridges" for mill material.

Retain subparagraph and associated subparagraphs below if architecturally exposed structural steel is required.  Retain option if required.  Revise to add special requirements because AISC's "Code of Standard Practice for Steel Buildings and Bridges" requires that visual acceptance criteria be specified, noting that weld show-through is a function of weld size and material thickness.

3. Verify that weld sizes, fabrication sequence, and equipment used for architecturally exposed structural steel will limit distortions to allowable tolerances.[ Prevent weld show-through on exposed steel surfaces.]

a. Grind butt welds flush.

b. Grind or fill exposed fillet welds to smooth profile.  Dress exposed welds.

2.7 PREFABRICATED BUILDING COLUMNS

Delete this Article unless proprietary fire-rated building columns are required.

A. General:  Prefabricated building columns consisting of load-bearing structural-steel members encased in manufacturer's standard insulating concrete for fire protection and enclosed in an outer non-load-bearing steel shell.

Retain structural concrete fill in subparagraph below if using structural-steel pipe or tube members.

1. Concrete Fill:  Manufacturer's standard-mix structural concrete, with a minimum 28-day compressive strength of 5000 psi (34.5 MPa), machine mixed and mechanically vibrated during placement to produce concrete fill free of voids.

B. Fire-Resistance Ratings:  Provide prefabricated building column listed and labeled by UL or another testing and inspecting agency acceptable to authorities having jurisdiction for ratings indicated, based on testing according to ASTM E 119.

Select one option in subparagraph below.  Insert UL or other design designation here or indicate on Drawings if required.

1. Fire-Resistance Rating:  [4] [3] [2] hours.

C. Column Configuration:  Provide columns of sizes and shapes indicated.  Fabricate connections to comply with details shown or as required to suit type of structure indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

D. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering prefabricated building columns that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

E. Manufacturers:  Subject to compliance with requirements, provide prefabricated building columns by one of the following:

1. Black Rock Column, Inc.

2. Dean, George H. Inc.

3. Fire-Trol Division; Dean Lally L.P.

2.8 SHOP PRIMING

Retain this Article if shop priming is required.

A. Shop prime steel surfaces except the following:

Retain, revise, or delete five subparagraphs below to suit Project.

1. Surfaces embedded in concrete or mortar.  Extend priming of partially embedded members to a depth of 2 inches (50 mm).

2. Surfaces to be field welded.

3. Surfaces to be high-strength bolted with slip-critical connections.

4. Surfaces to receive sprayed fire-resistive materials.

5. Galvanized surfaces.

B. Surface Preparation:  Clean surfaces to be painted.  Remove loose rust and mill scale and spatter, slag, or flux deposits.  Prepare surfaces according to the following specifications and standards:

Select surface-preparation standards from nine subparagraphs below or revise to suit Project.  Coordinate minimum surface-preparation requirements with selection of primers, paint, or coating systems.  See Evaluations.

1. SSPC-SP 2, "Hand Tool Cleaning."

Cleaning in subparagraph above and first subparagraph below removes loose rust, mill scale, and paint.  Cleaning above is minimum surface preparation accepted by AISC for painted steel.

2. SSPC-SP 3, "Power Tool Cleaning."

3. SSPC-SP 5/NACE No. 1, "White Metal Blast Cleaning."

Cleaning in subparagraph above removes visible rust, mill scale, paint, and foreign matter; cleaning in first subparagraph below requires that two-thirds of surface area be free of visible residue.

4. SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

5. SSPC-SP 7/NACE No. 4, "Brush-Off Blast Cleaning."

Cleaning in subparagraph above permits tight residues of rust, mill scale, and coatings to remain; cleaning in first subparagraph below requires complete removal of rust and mill scale by acid, duplex, or electrolytic pickling.  Pickling is not widely available.

6. SSPC-SP 8, "Pickling."

7. SSPC-SP 10/NACE No. 2, "Near-White Blast Cleaning."

Cleaning in subparagraph above requires that 90 percent of surface area be free of visible residue; cleaning in subparagraph below requires complete removal of rust, mill scale, and paint by power tools.  SSPC-SP 11 uses nonabrasive methods and bridges the gap between the marginal cleaning required in SSPC-SP 2, SSPC-SP 3, and SSPC-SP 7/NACE No. 4 and the more thorough cleaning required in SSPC-SP 6/NACE No. 3, SSPC-SP 10/NACE No. 2, and SSPC-SP 5/NACE No. 1.

8. SSPC-SP 11, "Power Tool Cleaning to Bare Metal."

Cleaning in subparagraph below exceeds SSPC-SP 7/NACE No. 4 but is less than cleaning specified in SSPC-SP 6/NACE No. 3.

9. SSPC-SP 14/NACE No. 8, "Industrial Blast Cleaning."

C. Priming:  Immediately after surface preparation, apply primer according to manufacturer's written instructions and at rate recommended by SSPC to provide a dry film thickness of not less than 1.5 mils (0.038 mm).  Use priming methods that result in full coverage of joints, corners, edges, and exposed surfaces.

Delete first subparagraph below if paragraph above suffices.  Stripe painting adds cost but helps ensure that hard-to-reach areas, such as crevices, inside corners, and welds, are thoroughly coated and that sharp edges receive adequate coverage.

1. Stripe paint corners, crevices, bolts, welds, and sharp edges.

2. Apply two coats of shop paint to inaccessible surfaces after assembly or erection.  Change color of second coat to distinguish it from first.

Delete "Surface Preparation" and "Priming" paragraphs and subparagraphs above if retaining paragraph below.  SSPC-PS Guide 7.00 includes either SSPC-SP 2 or SSPC-SP 3 surface preparation and a limited choice of nonlead primers.  SSPC sets minimum dry film thickness of 1.5 mils (0.038 mm).  These one-coat shop-painting systems are not expected to protect weather-exposed steel beyond six months, less in severe environments.  Revise below to AISC's "Code of Standard Practice for Steel Buildings and Bridges" default thickness of 1 mil (0.025 mm) if permitted.

D. Painting:  Apply a 1-coat, nonasphaltic primer complying with SSPC-PS Guide 7.00, "Painting System Guide 7.00:  Guide for Selecting One-Coat Shop Painting Systems," to provide a dry film thickness of not less than 1.5 mils (0.038 mm).

2.9 GALVANIZING

Delete this Article if galvanizing of structural steel is not required.

A. Hot-Dip Galvanized Finish:  Apply zinc coating by the hot-dip process to structural steel according to ASTM A 123/ A 123M.

1. Fill vent holes and grind smooth after galvanizing.

Revise locations below where galvanizing is required to suit Project.  Subparagraph is an example only; delete and indicate items to be galvanized on Drawings if preferred.

2. Galvanize [lintels] [shelf angles] attached to structural-steel frame and located in exterior walls.

2.10 SOURCE QUALITY CONTROL

Retain this Article if fabricator's shop testing is required and revise to suit local practices and requirements of authorities having jurisdiction.  Consider deleting if requiring AISC-certified fabricators and if authorities having jurisdiction approve fabrication work without special inspections.  Coordinate with "Fabricator Qualifications" Paragraph in Part 1 "Quality Assurance" Article.

A. Owner will engage an independent testing and inspecting agency to perform shop tests and inspections and prepare test reports.

1. Provide testing agency with access to places where structural-steel work is being fabricated or produced to perform tests and inspections.

B. Correct deficiencies in Work that test reports and inspections indicate does not comply with the Contract Documents.

RCSC prescribes inspection for snug-tightened joints and testing and inspection for each method of pretensioning joints.

C. Bolted Connections:  Shop-bolted connections will be[ tested and] inspected according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts."

D. Welded Connections:  In addition to visual inspection, shop-welded connections will be tested and inspected according to AWS D1.1 and the following inspection procedures, at testing agency's option:

Select applicable nondestructive testing methods from four subparagraphs below.  Revise to indicate extent of weld inspections if applicable and to add alternative acceptance criteria to AWS D1.1 if required.

1. Liquid Penetrant Inspection:  ASTM E 165.

2. Magnetic Particle Inspection:  ASTM E 709; performed on root pass and on finished weld.  Cracks or zones of incomplete fusion or penetration will not be accepted.

3. Ultrasonic Inspection:  ASTM E 164.

4. Radiographic Inspection:  ASTM E 94.

Retain paragraph and subparagraphs below if shop-welded shear connectors are required.

E. In addition to visual inspection, shop-welded shear connectors will be tested and inspected according to requirements in AWS D1.1 for stud welding and as follows:

1. Bend tests will be performed if visual inspections reveal either a less-than- continuous 360-degree flash or welding repairs to any shear connector.

Revise below if an actual amount or percentage of shear connectors requires testing.

2. Tests will be conducted on additional shear connectors if weld fracture occurs on shear connectors already tested, according to requirements in AWS D1.1.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Verify elevations of concrete- and masonry-bearing surfaces and locations of anchor rods, bearing plates, and other embedments, with steel erector present, for compliance with requirements.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Provide temporary shores, guys, braces, and other supports during erection to keep structural steel secure, plumb, and in alignment against temporary construction loads and loads equal in intensity to design loads.  Remove temporary supports when permanent structural steel, connections, and bracing are in place, unless otherwise indicated.

Retain below if design of composite or diaphragm construction is based on shoring.  Revise to suit Project.

1. Do not remove temporary shoring supporting composite deck construction until cast-in-place concrete has attained its design compressive strength.

3.3 ERECTION

A. Set structural steel accurately in locations and to elevations indicated and according to AISC's "Code of Standard Practice for Steel Buildings and Bridges" and "[Specification for Structural Steel Buildings--Allowable Stress Design and Plastic Design] [Load and Resistance Factor Design Specification for Structural Steel Buildings]."

Add leveling plates to paragraph below if required.  Delete options in paragraph and subparagraphs if no bearing plates.

B. Base[ and Bearing] Plates:  Clean concrete- and masonry-bearing surfaces of bond-reducing materials, and roughen surfaces prior to setting base[ and bearing] plates.  Clean bottom surface of base[ and bearing] plates.

Revise requirements in subparagraphs below to suit Project.

1. Set base[ and bearing] plates for structural members on wedges, shims, or setting nuts as required.

2. Weld plate washers to top of base plate.

3. [Snug-tighten] [Pretension] anchor rods after supported members have been positioned and plumbed.  Do not remove wedges or shims but, if protruding, cut off flush with edge of base[ or bearing] plate before packing with grout.

4. Promptly pack grout solidly between bearing surfaces and base[ or bearing] plates so no voids remain.  Neatly finish exposed surfaces; protect grout and allow to cure.[ Comply with manufacturer's written installation instructions for shrinkage-resistant grouts.]

Retain option in first paragraph below if architecturally exposed structural steel is also required.

C. Maintain erection tolerances of structural steel[ and architecturally exposed structural steel] within AISC's "Code of Standard Practice for Steel Buildings and Bridges."

D. Align and adjust various members forming part of complete frame or structure before permanently fastening.  Before assembly, clean bearing surfaces and other surfaces that will be in permanent contact with members.  Perform necessary adjustments to compensate for discrepancies in elevations and alignment.

1. Level and plumb individual members of structure.

Review subparagraph below with structural engineer and revise to suit Project.  Delete temperature allowances if not required.

2. Make allowances for difference between temperature at time of erection and mean temperature when structure is completed and in service.

E. Splice members only where indicated.

Retain paragraph below if welded, architecturally exposed structural steel is required.

F. Remove erection bolts on welded, architecturally exposed structural steel; fill holes with plug welds; and grind smooth at exposed surfaces.

If thermal cutting is permitted, retain option in first paragraph below.

G. Do not use thermal cutting during erection[ unless approved by Architect.  Finish thermally cut sections within smoothness limits in AWS D1.1].

H. Do not enlarge unfair holes in members by burning or using drift pins.  Ream holes that must be enlarged to admit bolts.

I. Shear Connectors:  Prepare steel surfaces as recommended by manufacturer of shear connectors.  Use automatic end welding of headed-stud shear connectors according to AWS D1.1 and manufacturer's written instructions.

3.4 FIELD CONNECTIONS

Retain first paragraph and subparagraph below for high-strength bolts.

A. High-Strength Bolts:  Install high-strength bolts according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts" for type of bolt and type of joint specified.

RCSC requires that joint types be specified in the Contract Documents for most loading conditions.  See Evaluations for a discussion of the joint types in subparagraph below, which are the three types now recognized by RCSC.  Insert particular bolt pretensioning method for pretensioned or slip-critical joints if required; RCSC states that each type can provide satisfactory results.

1. Joint Type:  [Snug tightened] [Pretensioned] [Slip critical].

B. Weld Connections:  Comply with AWS D1.1 for welding procedure specifications, tolerances, appearance, and quality of welds and for methods used in correcting welding work.

1. Comply with AISC's "Code of Standard Practice for Steel Buildings and Bridges" and "[Specification for Structural Steel Buildings--Allowable Stress Design and Plastic Design] [Load and Resistance Factor Design Specification for Structural Steel Buildings]" for bearing, adequacy of temporary connections, alignment, and removal of paint on surfaces adjacent to field welds.

Retain subparagraph below if required, usually for architecturally exposed structural steel.  Indicate locations if limited to certain areas.  AISC's "Code of Standard Practice for Steel Buildings and Bridges" permits backing bars and runoff tabs to remain in place.

2. Remove backing bars or runoff tabs, back gouge, and grind steel smooth.

Delete subparagraph below if built-up sections are not required.

3. Assemble and weld built-up sections by methods that will maintain true alignment of axes without exceeding tolerances of AISC's "Code of Standard Practice for Steel Buildings and Bridges" for mill material.

Retain subparagraph and associated subparagraphs below if architecturally exposed structural steel is required.  Retain option if required.  Revise to add special requirements because AISC's "Code of Standard Practice for Steel Buildings and Bridges" requires that visual acceptance criteria be specified, noting that weld show-through is a function of weld size and material thickness.

4. Verify that weld sizes, fabrication sequence, and equipment used for architecturally exposed structural steel will limit distortions to allowable tolerances.[ Prevent weld show-through on exposed steel surfaces.]

a. Grind butt welds flush.

b. Grind or fill exposed fillet welds to smooth profile.  Dress exposed welds.

3.5 PREFABRICATED BUILDING COLUMNS

A. Install prefabricated building columns to comply with AISC's "[Specification for Structural Steel Buildings--Allowable Stress Design and Plastic Design] [Load and Resistance Factor Design Specification for Structural Steel Buildings]," manufacturer's written recommendations, and requirements of testing and inspecting agency that apply to the fire-resistance rating indicated.

3.6 FIELD QUALITY CONTROL

Delete this Article if not required.

A. Testing Agency:  Owner will engage a qualified independent testing and inspecting agency to inspect [field welds] [and] [high-strength bolted connections].

RCSC prescribes inspection for snug-tightened joints and testing and inspection for each method of pretensioning joints.

B. Bolted Connections:  Shop-bolted connections will be[ tested and] inspected according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts."

C. Welded Connections:  Field welds will be visually inspected according to AWS D1.1.

Retain subparagraph and applicable associated subparagraphs below if required.

1. In addition to visual inspection, field welds will be tested according to AWS D1.1 and the following inspection procedures, at testing agency's option:

Select applicable nondestructive testing methods from four subparagraphs below.  Revise to indicate extent of weld inspections if applicable and to add alternative acceptance criteria to AWS D1.1 if required.

a. Liquid Penetrant Inspection:  ASTM E 165.

b. Magnetic Particle Inspection:  ASTM E 709; performed on root pass and on finished weld.  Cracks or zones of incomplete fusion or penetration will not be accepted.

c. Ultrasonic Inspection:  ASTM E 164.

d. Radiographic Inspection:  ASTM E 94.

Retain first paragraph and subparagraphs below if field-welded shear connectors are required.

D. In addition to visual inspection, test and inspect field-welded shear connectors according to requirements in AWS D1.1 for stud welding and as follows:

1. Perform bend tests if visual inspections reveal either a less-than- continuous 360-degree flash or welding repairs to any shear connector.

Revise subparagraph below if an actual amount or percentage of shear connectors requires testing.

2. Conduct tests on additional shear connectors if weld fracture occurs on shear connectors already tested, according to requirements in AWS D1.1.

E. Correct deficiencies in Work that test reports and inspections indicate does not comply with the Contract Documents.

3.7 REPAIRS AND PROTECTION

Retain paragraph below if galvanizing repair is required.

A. Repair damaged galvanized coatings on galvanized items with galvanized repair paint according to ASTM A 780 and manufacturer's written instructions.

Retain paragraph and subparagraphs below if on-site paint repair is in this Section.  Touchup painting may be unnecessary if building is immediately enclosed and building in-service conditions require no permanent paint protection.

B. Touchup Painting:  After installation, promptly clean, prepare, and prime or reprime field connections, rust spots, and abraded surfaces of prime-painted joists and accessories[, bearing plates,] and abutting structural steel.

1. Clean and prepare surfaces by SSPC-SP 2 hand-tool cleaning or SSPC-SP 3 power-tool cleaning.

2. Apply a compatible primer of same type as shop primer used on adjacent surfaces.

Delete paragraph and subparagraphs above and retain below if touchup painting is required for Project but is not part of the Work of this Section.

C. Touchup Painting:  Cleaning and touchup painting are specified in Division 9 painting Sections.

END OF SECTION 05120END OF SECTION 05120

STRUCTURAL STEEL
05120 - 1

