Copyright 2003 AIA
MASTERSPEC Full Length
05/03 (R 05/06)

Copyright 2003 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 05310 - STEEL DECK
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Roof deck.

2. Acoustical roof deck.

3. Cellular roof deck.

4. Acoustical cellular roof deck.

5. Composite floor deck.

6. Electrified cellular floor deck.

7. Noncomposite form deck.

8. Noncomposite vented form deck.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 3 Section "Cast-in-Place Concrete" for concrete fill.

2. Division 3 Section "Lightweight Insulating Concrete" for lightweight insulating concrete fill.

3. Division 5 Section "Structural Steel" for shop- and field-welded shear connectors.

4. Division 5 Section "Metal Fabrications" for framing deck openings with miscellaneous steel shapes.

5. Division 9 painting Sections for repair painting of primed deck.

6. Division 16 Section "Underfloor Raceways" for preset inserts, activation kits, afterset inserts, service fittings, header ducts, and trench header ducts used with cellular floor-deck systems.

1.3 SUBMITTALS

A. Product Data:  For each type of deck, accessory, and product indicated.

B. LEED Submittal:

Retain subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  An alternative method of complying with Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 1 Section "LEED Requirements" that gives Contractor the option and responsibility for determining how Credit MR 4.1 and MR 4.2 requirements will be met.

1. Product Data for Credit MR 4.1[ and Credit MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a. Include statement indicating costs for each product having recycled content.

C. Shop Drawings:  Show layout and types of deck panels, anchorage details, reinforcing channels, pans, cut deck openings, special jointing, accessories, and attachments to other construction.

Retain paragraph below if required.

D. Product Certificates:  For each type of steel deck, signed by product manufacturer.

Retain paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

E. Welding certificates.

Retain paragraph below if Contractor is responsible for field quality-control testing and inspections.

F. Field quality-control test and inspection reports.

Delete paragraph and subparagraphs below if not required.  List other product test reports if required.

G. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, indicating that each of the following complies with requirements:

1. Power-actuated mechanical fasteners.

2. Acoustical roof deck.

Insert specific model code organization in paragraph below or revise if report must be from another source.

H. Research/Evaluation Reports:  For steel deck.

1.4 QUALITY ASSURANCE

Delete paragraph below if test reports from qualified testing agencies are not required.  Retain below if Contractor or manufacturer selects testing agency.

A. Testing Agency Qualifications:  An independent agency qualified according to ASTM E 329 for testing indicated.

Delete paragraph below if not using electrified cellular floor deck.

B. Source Limitations for Electrified Cellular Floor Deck:  Obtain cellular floor-deck units and compatible electrical components, such as preset inserts, activation kits, afterset inserts, service fittings, header ducts, and trench header ducts, from same manufacturer.

Delete paragraph below if no welding.  Retain "Welding certificates" Paragraph in "Submittals" Article if retaining below.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

C. Welding:  Qualify procedures and personnel according to AWS D1.3, "Structural Welding Code - Sheet Steel."

Delete first paragraph below if no fire-resistance-rated steel deck units are required.

D. Fire-Test-Response Characteristics:  Where indicated, provide steel deck units identical to those tested for fire resistance per ASTM E 119 by a testing and inspecting agency acceptable to authorities having jurisdiction.

Revise first subparagraph below if only assemblies tested by one or more specifically named testing and inspecting agencies are acceptable.  Indicate rating, testing agency, and testing agency's design designation on Drawings.

1. Fire-Resistance Ratings:  Indicated by design designations of applicable testing and inspecting agency.

2. Steel deck units shall be identified with appropriate markings of applicable testing and inspecting agency.

E. AISI Specifications:  Comply with calculated structural characteristics of steel deck according to AISI's "North American Specification for the Design of Cold-Formed Steel Structural Members."

Delete paragraph below if not using cellular floor-deck systems as raceways.

F. Electrical Raceway Units:  Provide UL-labeled cellular floor-deck units complying with UL 209 and listed in UL's "Electrical Construction Equipment Directory" for use with standard header ducts and outlets for electrical distribution systems.

Delete paragraph below if FMG compliance is not required for roof deck.  Several manufacturers have products listed in FMG's "Approval Guide, Building Materials."

G. FMG Listing:  Provide steel roof deck evaluated by FMG and listed in its "Approval Guide, Building Materials" for Class 1 fire rating and Class 1-90 windstorm ratings.

Retain paragraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  USGBC allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that steel sheet is made by the basic oxygen furnace method, which typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

H. Recycled Content of Steel Products:  Provide products with an average recycled content of steel products so postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] <Insert number> percent.

1.5 DELIVERY, STORAGE, AND HANDLING

A. Protect steel deck from corrosion, deformation, and other damage during delivery, storage, and handling.

B. Stack steel deck on platforms or pallets and slope to provide drainage.  Protect with a waterproof covering and ventilate to avoid condensation.

Retain subparagraph below if acoustical cellular roof deck with insulation is required.

1. Protect and ventilate acoustical cellular roof deck with factory-installed insulation to maintain insulation free of moisture.

1.6 COORDINATION

Retain paragraph below if acoustical insulation is specified in this Section to be placed in topside ribs.  Revise to maintain protection if site installation of sound-absorbing insulation in cells of cellular acoustical deck is specified.

A. Coordinate installation of sound-absorbing insulation strips in topside ribs of acoustical deck with roofing installation specified in Division 7 Section "<Insert title of applicable roofing Section>" to ensure protection of insulation strips against damage from effects of weather and other causes.

Delete paragraph below if electrified cellular metal floor deck is not required for Project.

B. Coordinate layout and installation of trench headers, preset inserts, duct fittings, and other components specified in Division 16 Section "Underfloor Raceways" with installation of electrified cellular metal floor deck.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Steel Deck:

a. ASC Profiles, Inc.

b. Canam Steel Corp.;The Canam Manac Group.

c. Consolidated Systems, Inc.

d. DACS, Inc.

e. D-Mac Industries Inc.

f. Epic Metals Corporation.

g. Marlyn Steel Decks, Inc.

h. New Millennium Building Systems, LLC.

i. Nucor Corp.; Vulcraft Division.

j. Roof Deck, Inc.

k. United Steel Deck, Inc.

l. Valley Joist; Division of EBSCO Industries, Inc.

m. Verco Manufacturing Co.

n. Wheeling Corrugating Company; Div. of Wheeling-Pittsburgh Steel Corporation.

o. <Insert manufacturer's name.>

2. Electrified Cellular Floor Deck:

a. ASC Profiles, Inc.

b. CENTRIA.

c. United Steel Deck, Inc.

d. Walker Systems Inc.; Div. of The Wiremold Company.

e. <Insert manufacturer's name.>

2.2 ROOF DECK

Retain this Article if roof deck is required.

A. Steel Roof Deck:  Fabricate panels, without top-flange stiffening grooves, to comply with "SDI Specifications and Commentary for Steel Roof Deck," in SDI Publication No. 30, and with the following:

Select one or more of first four subparagraphs and associated subparagraphs below to suit Project.

Select steel grade from options in subparagraph below.

1. Prime-Painted Steel Sheet:  ASTM A 1008/A 1008M, Structural Steel (SS), Grade [33 (230)] [40 (275)] [80 (550)] minimum, shop primed with manufacturer's standard baked-on, rust-inhibitive primer.

Select color from options in subparagraph below.

a. Color:  [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

Select one of two subparagraphs below for galvanized steel sheet.

Select steel grade and zinc-coating weight from options in subparagraph below.

2. Galvanized Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grade [33 (230)] [40 (275)] [80 (550)], [G60 (Z180)] [G90 (Z275)] zinc coating.

Select steel grade from options in subparagraph below.

3. Galvanized and Shop-Primed Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grade [33 (230)] [40 (275)] [80 (550)], G60 (Z180) zinc coating; cleaned, pretreated, and primed with manufacturer's standard baked-on, rust-inhibitive primer.

Select color from options in subparagraph below.

a. Color:  [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

Verify availability of aluminum-zinc alloy-coated steel sheet with deck manufacturers.  Revise steel grade and coating weight, if required, to suit Project.

4. Aluminum-Zinc Alloy-Coated Steel Sheet:  ASTM A 792/A 792M, Structural Steel (SS), Grade 33 (230) minimum, AZ50 (AZ150) aluminum-zinc alloy coating.

Select roof-deck category and profile type from two subparagraphs below.  Categories and profiles are based on SDI nomenclature; manufacturers may identify same categories and profiles with other designations.  Insert different proprietary profiles, if required, to suit Project.

5. Deck Profile:  [As indicated] [Type NR, narrow rib] [Type IR, intermediate rib] [Type WR, wide rib] [Type 3DR, deep rib] [Long span].

6. Cellular Deck Profile:  [As indicated] [Type WR, wide rib] [Type 3DR, deep rib] [Long span], with bottom plate.

Select one profile depth from subparagraph below or revise to suit Project.  Indicate locations on Drawings if various depths are required.  FMG approval, if required, is limited to roof deck 1-1/2 inches (38 mm) deep.

7. Profile Depth:  [As indicated] [1-1/2 inches (38 mm)] [2 inches (51 mm)] [3 inches (76 mm)] [4-1/2 inches (114 mm)] [6 inches (152 mm)] [7-1/2 inches (190 mm)].

Select one steel thickness from subparagraph below or revise to suit Project.

8. Design Uncoated-Steel Thickness:  [As indicated] [0.0295 inch (0.75 mm)] [0.0358 inch (0.91 mm)] [0.0474 inch (1.20 mm)] [0.0598 inch (1.52 mm)] [0.0747 inch (1.90 mm)].

Select one steel thickness from subparagraph below if cellular roof deck, combining a roof-deck profile with a bottom plate, is required.  Thickness combinations are based on deck unit (first) and bottom plate (second).

9. Design Uncoated-Steel Thicknesses; Deck Unit/Bottom Plate:  [As indicated] [0.0358/0.0358 inch (0.91/0.91 mm)] [0.0358/0.0474 inch (0.91/1.20 mm)] [0.0474/0.0474 inch (1.20/1.20 mm)] [0.0474/0.0598 inch (1.20/1.52 mm)] [0.0598/0.0474 inch (1.52/1.20 mm)] [0.0598/0.0598 inch (1.52/1.52 mm)].

Select span used in design from subparagraph below.

10. Span Condition:  [As indicated] [Simple span] [Double span] [Triple span or more].

Select side-lap configuration from subparagraph below.  Interlocking seams may be fastened by welding or button punching.

11. Side Laps:  [Overlapped] [Interlocking seam] [Overlapped or interlocking seam at Contractor's option].

2.3 ACOUSTICAL ROOF DECK

Retain this Article if acoustical roof deck is required.

A. Acoustical Steel Roof Deck:  Fabricate panels, without top-flange stiffening grooves, to comply with "SDI Specifications and Commentary for Steel Roof Deck," in SDI Publication No. 30, and with the following:

Select one or more of first four subparagraphs and associated subparagraphs below to suit Project.

Select steel grade from options in subparagraph below.

1. Prime-Painted Steel Sheet:  ASTM A 1008/A 1008M, Structural Steel (SS), Grade [33 (230)] [40 (275)] [80 (550)] minimum, shop primed with manufacturer's standard baked-on, rust-inhibitive primer.

Select color from options in subparagraph below.

a. Color:  [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

Select one of two subparagraphs below for galvanized steel sheet.

Select steel grade and zinc-coating weight from options in subparagraph below.

2. Galvanized Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grade [33 (230)] [40 (275)] [80 (550)], [G60 (Z180)] [G90 (Z275)] zinc coating.

Select steel grade from options in subparagraph below.

3. Galvanized and Shop-Primed Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grade [33 (230)] [40 (275)] [80 (550)], G60 (Z180) zinc coating; cleaned, pretreated, and primed with manufacturer's standard baked-on, rust-inhibitive primer.

Select color from options in subparagraph below.

a. Color:  [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

Verify availability of aluminum-zinc alloy-coated steel sheet with deck manufacturers.  Revise steel grade and coating weight, if required, to suit Project.

4. Aluminum-Zinc Alloy-Coated Steel Sheet:  ASTM A 792/A 792M, Structural Steel (SS), Grade 33 (230) minimum, AZ50 (AZ150) aluminum-zinc alloy coating.

Select acoustical roof-deck category and profile type from two subparagraphs below.  Categories and profiles are based on SDI nomenclature; manufacturers may identify same categories and profiles with other designations.  Insert different proprietary profiles, if required, to suit Project.

5. Deck Profile:  [As indicated] [Type WR, wide rib] [Type 3DR, deep rib] [Long span].

6. Cellular Deck Profile:  [As indicated] [Type WR, wide rib] [Type 3DR, deep rib] [Long span], with bottom plate.

Select one profile depth from subparagraph below for standard and cellular acoustical roof deck or revise to suit Project.  Indicate locations on Drawings if various depths are required.

7. Profile Depth:  [As indicated] [1-1/2 inches (38 mm)] [2 inches (51 mm)] [3 inches (76 mm)] [4-1/2 inches (114 mm)] [6 inches (152 mm)] [7-1/2 inches (190 mm)].

Select one steel thickness from subparagraph below if noncellular acoustical roof deck is required or revise to suit Project.

8. Design Uncoated-Steel Thickness:  [As indicated] [0.0295 inch (0.75 mm)] [0.0358 inch (0.91 mm)] [0.0474 inch (1.20 mm)] [0.0598 inch (1.52 mm)].

Select one steel thickness from subparagraph below if cellular acoustical roof deck, combining a roof-deck profile with a bottom plate, is required.  Thickness combinations are based on deck unit (first) and bottom plate (second).

9. Design Uncoated-Steel Thicknesses; Deck Unit/Bottom Plate:  [As indicated] [0.0358/0.0358 inch (0.91/0.91 mm)] [0.0358/0.0474 inch (0.91/1.20 mm)] [0.0474/0.0358 inch (1.20/0.91 mm)] [0.0474/0.0474 inch (1.20/1.20 mm)] [0.0474/0.0598 inch (1.20/1.52 mm)] [0.0598/0.0474 inch (1.52/1.20 mm)] [0.0598/0.0598 inch (1.52/1.52 mm)].

Select span used in design from subparagraph below.

10. Span Condition:  [As indicated] [Simple span] [Double span] [Triple span or more].

Select side-lap configuration from subparagraph below.  Interlocking seams may be fastened by welding or button punching.

11. Side Laps:  [Overlapped] [Interlocking seam] [Overlapped or interlocking seam at Contractor's option].

Select one of two subparagraphs and associated subparagraphs below.

12. Acoustical Perforations:  [Deck units with manufacturer's standard perforated vertical webs] [Cellular deck units with manufacturer's standard perforated flat-bottom plate welded to ribbed deck].

Retain subparagraph and associated subparagraphs below if sound-absorbing insulation is required.

13. Sound-Absorbing Insulation:  Manufacturer's standard premolded roll or strip of glass or mineral fiber.  <Insert actual physical properties and thicknesses of insulation.>

Retain subparagraph below if cellular acoustical roof deck requires factory-installed sound-absorbing insulation.

a. Factory install sound-absorbing insulation into cells of cellular deck.

Retain subparagraph below if sound-absorbing insulation is to be field installed in topside deck ribs at same time roofing system is installed.

b. Installation of sound-absorbing insulation is specified in Division 7 Section "<Insert title of applicable roofing Section>"

Retain one noise reduction coefficient (NRC) requirement from options in subparagraph below or revise to suit Project.  Consult deck manufacturer to verify tested NRC values for proposed roof-deck assembly.  Published NRC values usually rely on a specific roof insulation above the deck.

14. Acoustical Performance:  NRC [0.65] [0.75] [0.80] [0.85] [0.90], tested according to ASTM C 423.

2.4 COMPOSITE FLOOR DECK

Retain this Article if composite floor deck is required.  Insert minimum section properties here or indicate on Drawings.

A. Composite Steel Floor Deck:  Fabricate panels, with integrally embossed or raised pattern ribs and interlocking side laps, to comply with "SDI Specifications and Commentary for Composite Steel Floor Deck," in SDI Publication No. 30, with the minimum section properties indicated, and with the following:

Select one or more of first three subparagraphs below to suit Project.

Select steel grade and color, if applicable, from options in subparagraph below.

1. Prime-Painted Steel Sheet:  ASTM A 1008/A 1008M, Structural Steel (SS), Grade [33 (230)] [40 (275)] [80 (550)] minimum, with top surface phosphatized and unpainted and underside surface shop primed with manufacturers' standard [gray] [or] [white] baked-on, rust-inhibitive primer.

Select one of two subparagraphs below for galvanized steel sheet.  A lightweight coating, G30 (Z90), is the minimum recommended by SDI for composite deck because it is the positive bending reinforcement for slab and must last the life of the structure.

Select zinc-coating weight from options in subparagraph below.

2. Galvanized Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grade 33 (230), [G30 (Z90)] [G60 (Z180)] [G90 (Z275)] zinc coating.

Select zinc-coating weight and color, if applicable, from options in subparagraph below.

3. Galvanized and Shop-Primed Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grade 33 (230), [G30 (Z90)] [G60 (Z180)] zinc coating; with unpainted top surface and cleaned and pretreated bottom surface primed with manufacturer's standard [gray] [white] baked-on, rust-inhibitive primer.

Select one profile depth from subparagraph below or revise to suit Project.  Indicate locations on Drawings if various depths are required.

4. Profile Depth:  [1-1/2 inches (38 mm)] [2 inches (51 mm)] [3 inches (76 mm)] [As indicated].

Select one steel thickness from subparagraph below or revise to suit Project.

5. Design Uncoated-Steel Thickness:  [0.0295 inch (0.75 mm)] [0.0358 inch (0.91 mm)] [0.0474 inch (1.20 mm)] [0.0598 inch (1.52 mm)].

Select span used in design from subparagraph below.

6. Span Condition:  [As indicated] [Simple span] [Double span] [Triple span or more].

2.5 ELECTRIFIED CELLULAR FLOOR DECK

Retain this Article if electrified cellular floor deck is required.  Usually retain this Article with "Composite Floor Deck" Article if a blended combination of cellular and noncellular floor deck is required.

A. Electrified Cellular Floor Deck:  Fabricate steel sheet cellular floor-deck panels, consisting of a ribbed top section welded to a lower flat-bottom sheet with interlocking side laps, to comply with "SDI Specifications and Commentary for Composite Steel Floor Deck" in SDI Publication No. 30.  Fabricate deck to the minimum section properties, width of panel, number and area of cells per panel indicated, and the following:

Select one cellular deck type from subparagraph below.

1. Cellular Deck Type:  [Composite] [Noncomposite].

Select one of two subparagraphs below for galvanized steel sheet.  Electrified cellular metal floor deck is required by UL to be galvanized.

Select zinc-coating weight from options in subparagraph below.

2. Galvanized Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grade 33 (230), [G60 (Z180)] [G90 (Z275)] zinc coating.

Select color, if applicable, from options in subparagraph below.

3. Galvanized and Shop-Primed Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grade 33 (230), G60 (Z180) zinc coating; with underside surface cleaned, pretreated, and primed with manufacturer's standard [gray] [white] baked-on, rust-inhibitive primer.

Select one profile depth from subparagraph below or revise to suit Project.  Indicate locations on Drawings if various depths are required.

4. Profile Depth:  [1-1/2 inches (38 mm)] [2 inches (51 mm)] [3 inches (76 mm)] [As indicated].

Select one steel thickness from subparagraph below if cellular deck, combining a floor-deck profile with a bottom plate, is required.  Thickness combinations are based on deck unit (first) and bottom plate (second).

5. Design Uncoated-Steel Thicknesses; Deck Unit/Bottom Plate:  [0.0358/0.0358 inch (0.91/0.91 mm)] [0.0358/0.0474 inch (0.91/1.20 mm)] [0.0358/0.0598 inch (0.91/1.52 mm)] [0.0474/0.0358 inch (1.20/0.91 mm)] [0.0474/0.0474 inch (1.20/1.20 mm)] [0.0474/0.0598 inch (1.20/1.52 mm)] [0.0598/0.0474 inch (1.52/1.20 mm)] [0.0598/0.0598 inch (1.52/1.52 mm)].

Select span used in design from first subparagraph below.

6. Span Condition:  [As indicated] [Simple span] [Double span] [Triple span or more].

7. Factory punch holes, of size and arrangement indicated, into each deck cell at preset inserts and header duct locations.

2.6 NONCOMPOSITE FORM DECK

Retain this Article if noncomposite form deck is required.  Form deck may be used as roof deck, floor deck, or both.  Insert minimum section properties here or indicate on Drawings.

A. Noncomposite Steel Form Deck:  Fabricate ribbed-steel sheet noncomposite form-deck panels to comply with "SDI Specifications and Commentary for Noncomposite Steel Form Deck," in SDI Publication No. 30, with the minimum section properties indicated, and with the following:

Select one or more of first four subparagraphs and associated subparagraphs below to suit Project.

Select steel grade from options in subparagraph below.

1. Uncoated Steel Sheet:  ASTM A 1008/A 1008M, Structural Steel (SS), Grade [33 (230)] [40 (275)] [80 (550)] minimum.

Select steel grade from options in subparagraph below.

2. Prime-Painted Steel Sheet:  ASTM A 1008/A 1008M, Structural Steel (SS), Grade [33 (230)] [40 (275)] [80 (550)] minimum, with [ top and] underside surface shop primed with manufacturer's standard baked-on, rust-inhibitive primer.

Select color from options in subparagraph below.

a. Color:  [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

Select one of two subparagraphs below for galvanized steel sheet.  A lightweight coating, G30 (Z90), is the minimum recommended by SDI for noncomposite form deck.

Select steel grade and zinc-coating weight from options in subparagraph below.

3. Galvanized Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grade [33 (230)] [40 (275)] [80 (550)], [G30 (Z90)] [G60 (Z180)] [G90 (Z275)] zinc coating.

Select steel grade from options in subparagraph below.

4. Galvanized and Shop-Primed Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grade [33 (230)] [80 (550)], G60 (Z180) zinc coating; cleaned, pretreated, and primed with manufacturer's standard baked-on, rust-inhibitive primer.

Select color from options in subparagraph below.

a. Color:  [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

Select one profile depth from subparagraph below or revise to suit Project.  Indicate locations on Drawings if various profile depths are required.

5. Profile Depth:  [9/16 inch (14 mm)] [15/16 inch (24 mm)] [1-5/16 inches (33 mm)] [1-1/2 inches (38 mm)].

Select one steel thickness from subparagraph below or revise to suit Project.

6. Design Uncoated-Steel Thickness:  [0.0149 inch (0.38 mm)] [0.0179 inch (0.45 mm)] [0.0239 inch (0.61 mm)] [0.0295 inch (0.75 mm)] [0.0358 inch (0.91 mm)] [0.0474 inch (1.20 mm)] [0.0598 inch (1.52 mm)].

Select span used in design from subparagraph below.

7. Span Condition:  [As indicated] [Simple span] [Double span] [Triple span or more].

Select side-lap configuration from subparagraph below.  Interlocking seams may be fastened by welding or button punching.

8. Side Laps:  [Overlapped] [Interlocking seam] [Overlapped or interlocking seam at Contractor's option].

2.7 NONCOMPOSITE VENTED FORM DECK

Retain this Article if noncomposite vented form deck is required.

A. Noncomposite Vented Steel Form Deck:  Fabricate ribbed- and vented-steel sheet noncomposite form-deck panels to comply with "SDI Specifications and Commentary for Noncomposite Steel Form Deck," in SDI Publication No. 30, and with the following:

Select one of two subparagraphs below for galvanized steel sheet.  A lightweight coating, G30 (Z90), is the minimum recommended by SDI for noncomposite form deck.

1. Galvanized Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grade [33 (230)] [40 (275)] [80 (550)], [G30 (Z90)] [G60 (Z180)] [G90 (Z275)] zinc coating.

Select steel grade and zinc-coating weight from options in subparagraph above or below.

2. Galvanized and Shop-Primed Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grade [33 (230)] [80 (550)], [G30 (Z90)] [G60 (Z180)] zinc coating; cleaned, pretreated, and primed with manufacturer's standard baked-on, rust-inhibitive primer.

Select color from options in subparagraph below.

a. Color:  [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

Select one profile depth from subparagraph below or revise to suit Project.  Indicate locations on Drawings if various profile depths are required.

3. Profile Depth:  [9/16 inch (14 mm)] [15/16 inch (24 mm)] [1-5/16 inches (33 mm)] [1-1/2 inches (38 mm)].

Select one steel thickness from subparagraph below or revise to suit Project.

4. Design Uncoated-Steel Thickness:  [0.0149 inch (0.38 mm)] [0.0179 inch (0.45 mm)] [0.0239 inch (0.61 mm)] [0.0295 inch (0.75 mm)] [0.0358 inch (0.91 mm)] [0.0474 inch (1.20 mm)] [0.0598 inch (1.52 mm)].

Select span used in design from subparagraph below.

5. Span Condition:  [As indicated] [Simple span] [Double span] [Triple span or more].

Select side-lap configuration from subparagraph below.  Interlocking seams may be fastened by welding or button punching.

6. Side Laps:  [Overlapped] [Interlocking seam] [Overlapped or interlocking seam at Contractor's option].

Revise vent area, after consulting deck manufacturer, to suit Project.

7. Vent Slot Area:  Manufacturer's standard vent slots providing [1-1/2] <Insert number> percent open area.

2.8 ACCESSORIES

A. General:  Provide manufacturer's standard accessory materials for deck that comply with requirements indicated.

B. Mechanical Fasteners:  Corrosion-resistant, low-velocity, power-actuated or pneumatically driven carbon-steel fasteners; or self-drilling, self-threading screws.

C. Side-Lap Fasteners:  Corrosion-resistant, hexagonal washer head; self-drilling, carbon-steel screws, No. 10 (4.8-mm) minimum diameter.

D. Flexible Closure Strips:  Vulcanized, closed-cell, synthetic rubber.

E. Miscellaneous Sheet Metal Deck Accessories:  Steel sheet, minimum yield strength of 33,000 psi (230 MPa), not less than 0.0359-inch (0.91-mm) design uncoated thickness, of same material and finish as deck; of profile indicated or required for application.

Pour-stop thickness and profile guidelines are presented in SDI Publication No. 30.  Revise first paragraph below to suit Project.

F. Pour Stops and Girder Fillers:  Steel sheet, minimum yield strength of 33,000 psi (230 MPa), of same material and finish as deck, and of thickness and profile [indicated] [recommended by SDI Publication No. 30 for overhang and slab depth].

G. Column Closures, End Closures, Z-Closures, and Cover Plates:  Steel sheet, of same material, finish, and thickness as deck, unless otherwise indicated.

Piercing hanger tabs in paragraph below are designed for embedment in deck slab; delete if not permitted or required.  See Evaluations for discussion.  Rolled-in hanger tabs are available for floor deck but improper use could result in overstressing the tabs or overloading the deck slab.  If allowed, insert rolled-in hanger tabs here; verify load limits, availability, limitations, and recommendations with deck manufacturers.

H. Piercing Hanger Tabs:  Piercing steel sheet hanger attachment devices for use with floor deck.

Usually retain weld washers in first paragraph below if weld-fastening deck with an uncoated minimum steel thickness of less than 0.028 inch (0.71 mm).  Select weld washer thickness.

I. Weld Washers:  Uncoated steel sheet, shaped to fit deck rib, [0.0598 inch (1.52 mm)] [0.0747 inch (1.90 mm)] thick, with factory-punched hole of 3/8-inch (9.5-mm) minimum diameter.

J. Recessed Sump Pans:  Single-piece steel sheet, 0.0747 inch (1.90 mm) thick, of same material and finish as deck, with 3-inch- (76-mm-) wide flanges and [level] [sloped] recessed pans of 1-1/2-inch (38-mm) minimum depth.  For drains, cut holes in the field.

Retain paragraph above or first paragraph below if required.  Select level or sloped sump pans.  Recessed sump pans are seldom used.  Coordinate with choice of roof drain if recessed sump pans are required.  Delete above and retain below if flat sump plates are required.

K. Flat Sump Plate:  Single-piece steel sheet, 0.0747 inch (1.90 mm) thick, of same material and finish as deck.  For drains, cut holes in the field.

L. Galvanizing Repair Paint:  [ASTM A 780] [SSPC-Paint 20 or DOD-P-21035, with dry film containing a minimum of 94 percent zinc dust by weight].

M. Repair Paint:  Manufacturer's standard rust-inhibitive primer of same color as primer.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine supporting frame and field conditions for compliance with requirements for installation tolerances and other conditions affecting performance.

3.2 INSTALLATION, GENERAL

A. Install deck panels and accessories according to applicable specifications and commentary in SDI Publication No. 30, manufacturer's written instructions, and requirements in this Section.

B. Install temporary shoring before placing deck panels, if required to meet deflection limitations.

C. Locate deck bundles to prevent overloading of supporting members.

D. Place deck panels on supporting frame and adjust to final position with ends accurately aligned and bearing on supporting frame before being permanently fastened.  Do not stretch or contract side-lap interlocks.

Retain subparagraph below if either long-span cellular roof deck or electrified cellular floor deck is required.

1. Align cellular deck panels over full length of cell runs and align cells at ends of abutting panels.

E. Place deck panels flat and square and fasten to supporting frame without warp or deflection.

F. Cut and neatly fit deck panels and accessories around openings and other work projecting through or adjacent to deck.

Coordinate reinforcing requirements of openings in first paragraph below with other Division 5 Sections.

G. Provide additional reinforcement and closure pieces at openings as required for strength, continuity of deck, and support of other work.

H. Comply with AWS requirements and procedures for manual shielded metal arc welding, appearance and quality of welds, and methods used for correcting welding work.

Retain paragraph below if mechanical fastening is permitted.

I. Mechanical fasteners may be used in lieu of welding to fasten deck.  Locate mechanical fasteners and install according to deck manufacturer's written instructions.

3.3 ROOF-DECK INSTALLATION

This Article includes installation requirements for classes of roof deck and form deck used in roof applications.  Revise paragraph below and insert requirements if mechanical fastening to supports is permitted.

A. Fasten roof-deck panels to steel supporting members by arc spot (puddle) welds of the surface diameter indicated or arc seam welds with an equal perimeter that is not less than 1-1/2 inches (38 mm) long, and as follows:

Select one weld diameter from subparagraph below or revise to suit Project.

1. Weld Diameter:  [5/8 inch (16 mm)] [3/4 inch (19 mm)], nominal.

Select one weld spacing from options in subparagraph below.  First option is based on SDI specifications for roof deck; second, on FMG Loss Prevention Data Sheet 1-28 for roof decks subject to Wind Exposure 1 and 2.  Select third if showing requirements on Drawings.  Revise if diaphragm requirements or FMG approval requires closer weld spacings.

2. Weld Spacing:  Weld edge and interior ribs of deck units with a minimum of two welds per deck unit at each support.  Space welds [18 inches (450 mm) apart, maximum] [12 inches (305 mm) apart in the field of roof and 6 inches (150 mm) apart in roof corners and perimeter, based on roof-area definitions in FMG Loss Prevention Data Sheet 1-28] [as indicated].

Retain subparagraph below if minimum uncoated steel thickness is less than 0.028 inch (0.71 mm).  See installation considerations in the Evaluations.

3. Weld Washers:  Install weld washers at each weld location.

SDI requires side-lap and perimeter edge fastening if deck spans exceed 60 inches (1524 mm).  Revise fastener spacing if required.

B. Side-Lap and Perimeter Edge Fastening:  Fasten side laps and perimeter edges of panels between supports, at intervals not exceeding the lesser of 1/2 of the span or [18 inches (450 mm)] [36 inches (910 mm)], and as follows:

Select acceptable fastening method(s) from three subparagraphs below.  Coordinate with choice of side lap.

1. Mechanically fasten with self-drilling, No. 10 (4.8-mm-) diameter or larger, carbon-steel screws.

2. Mechanically clinch or button punch.

FMG accepts welding of side laps to deck that is a minimum of 0.0474 inch (1.20 mm) thick.

3. Fasten with a minimum of 1-1/2-inch- (38-mm-) long welds.

C. End Bearing:  Install deck ends over supporting frame with a minimum end bearing of 1-1/2 inches (38 mm), with end joints as follows:

Select one of three options in subparagraph below.  SDI allows lapped or butted ends for roof deck.  FMG recommends ends lap a minimum of 2 inches (51 mm).

1. End Joints:  [Lapped 2 inches (51 mm) minimum] [Butted] [Lapped 2 inches (51 mm) minimum or butted at Contractor's option].

D. Roof Sump Pans and Sump Plates:  Install over openings provided in roof deck and [weld] [mechanically fasten] flanges to top of deck.  Space [welds] [mechanical fasteners] not more than 12 inches (305 mm) apart with at least one [weld] [fastener] at each corner.

1. Install reinforcing channels or zees in ribs to span between supports and [weld] [or] [mechanically fasten].

E. Miscellaneous Roof-Deck Accessories:  Install ridge and valley plates, finish strips, end closures, and reinforcing channels according to deck manufacturer's written instructions.  [Weld] [or] [mechanically fasten] to substrate to provide a complete deck installation.

1. Weld cover plates at changes in direction of roof-deck panels, unless otherwise indicated.

Delete paragraph below if flexible closures are not required or permitted.  Usually delete if fire-resistance-rated partitions are required.

F. Flexible Closure Strips:  Install flexible closure strips over partitions, walls, and where indicated.  Install with adhesive according to manufacturer's written instructions to ensure complete closure.

Retain paragraph below if installation of sound-absorbing insulation is specified in applicable low-slope roofing Section.  Coordinate with roofing installation to prevent exposure to weather.

G. Sound-Absorbing Insulation:  Installation into topside ribs of deck as specified in in Division 7 Section "<Insert title of applicable roofing Section>"

3.4 FLOOR-DECK INSTALLATION

This Article includes installation requirements for classes of floor deck and form deck used in floor applications.  Revise paragraph below and insert requirements if mechanical fastening to supports is permitted.

A. Fasten floor-deck panels to steel supporting members by arc spot (puddle) welds of the surface diameter indicated and as follows:

Select one weld diameter from subparagraph below or revise to suit Project.

1. Weld Diameter:  [5/8 inch (16 mm)] [3/4 inch (19 mm)], nominal.

Retain one of two subparagraphs below.  First subparagraph is based on SDI specifications.  Select second subparagraph if showing requirements on Drawings.

2. Weld Spacing:  Weld edge ribs of panels at each support.  Space additional welds an average of 12 inches (305 mm) apart, but not more than 18 inches (457 mm) apart.

3. Weld Spacing:  Space and locate welds as indicated.

Retain subparagraph below if minimum uncoated steel thickness is less than 0.028 inch (0.71 mm).  See installation considerations in the Evaluations.

4. Weld Washers:  Install weld washers at each weld location.

SDI requires side-lap and perimeter edge fastening if deck spans exceed 60 inches (1524 mm).  Revise fastener spacing if required.

B. Side-Lap and Perimeter Edge Fastening:  Fasten side laps and perimeter edges of panels between supports, at intervals not exceeding the lesser of half of the span or 36 inches (910 mm), and as follows:

Select acceptable fastening method(s) from subparagraphs below.  Welding may be mandatory for diaphragm deck.  Revise fastening requirements as required.

1. Mechanically fasten with self-drilling, No. 10 (4.8-mm-) diameter or larger, carbon-steel screws.

2. Mechanically clinch or button punch.

3. Fasten with a minimum of 1-1/2-inch- (38-mm-) long welds.

C. End Bearing:  Install deck ends over supporting frame with a minimum end bearing of [1-1/2 inches (38 mm)] <Insert dimension>, with end joints as follows:

Select one of three options in subparagraph below or indicate locations of each choice on Drawings.  SDI requires butted end joints for composite floor deck and allows lapped or butted ends for noncomposite floor deck.

1. End Joints:  [Lapped] [Butted] [Lapped or butted at Contractor's option].

D. Pour Stops and Girder Fillers:  Weld steel sheet pour stops and girder fillers to supporting structure according to SDI recommendations, unless otherwise indicated.

Revise paragraph below to suit Project.  Sealing cellular deck openings, butt joints, and junctions with trench headers with tape is not included in this Section.  Coordinate with Division 16 Sections.

E. Floor-Deck Closures:  Weld steel sheet column closures, cell closures, and Z-closures to deck, according to SDI recommendations, to provide tight-fitting closures at open ends of ribs and sides of deck.

Delete paragraph below unless electrified cellular floor-deck units are required.

F. Electrified Cellular Floor Deck:  Install cellular floor system with deck assembled from [all-cellular units] [alternating cellular units with noncellular composite units] [units indicated].

Revise spacing of hanger tabs in paragraph below to suit Project.

G. Install piercing hanger tabs at [14 inches (355 mm)] <Insert spacing> apart in both directions, within 9 inches (228 mm) of walls at ends, and not more than 12 inches (305 mm) from walls at sides, unless otherwise indicated.

3.5 FIELD QUALITY CONTROL

Delete this Article if not required.  Retain first option in first paragraph below if Owner engages agency; retain second option if Contractor engages agency.  If retaining second option, retain requirement for field quality-control test and inspection reports in Part 1 "Submittals" Article.

A. Testing Agency:  [Owner will engage] [Engage] a qualified independent testing and inspecting agency to perform field tests and inspections and prepare test reports.

B. Field welds will be subject to inspection.

C. Testing agency will report inspection results promptly and in writing to Contractor and Architect.

D. Remove and replace work that does not comply with specified requirements.

E. Additional inspecting, at Contractor's expense, will be performed to determine compliance of corrected work with specified requirements.

3.6 REPAIRS AND PROTECTION

Retain one or more of first three paragraphs and associated subparagraphs below if repairs to galvanized or painted surfaces are required.  If limiting repairs to roof deck, revise below accordingly.

A. Galvanizing Repairs:  Prepare and repair damaged galvanized coatings on both surfaces of deck with galvanized repair paint according to ASTM A 780 and manufacturer's written instructions.

Usually retain paragraph below for prime-painted deck and select surface(s) requiring repair painting.  Because shop primer protects for a limited time, repair painting is best applied during or immediately after deck installation.

B. Repair Painting:  Wire brush and clean rust spots, welds, and abraded areas on [both surfaces] [top surface] of prime-painted deck immediately after installation, and apply repair paint.

Retain one of two subparagraphs below if appearance is important.  Retain first subparagraph if retaining first option in paragraph above.  Retain second subparagraph if preparation and repair painting of bottom surface are specified in a Division 9 Section.

1. Apply repair paint, of same color as adjacent shop-primed deck, to bottom surfaces of deck exposed to view.

2. Wire brushing, cleaning, and repair painting of bottom deck surfaces are included in Division 9 Section "<Insert title of applicable field-painting Section>."

Delete paragraph and subparagraphs above and retain first paragraph below if repair-painting requirements are included in Division 9.  Coordinate field-painting requirements with applicable Division 9 Section.

C. Repair Painting:  Wire brushing, cleaning, and repair painting of rust spots, welds, and abraded areas of both deck surfaces are included in Division 9 Section "<Insert title of applicable field-painting Section>."

D. Provide final protection and maintain conditions to ensure that steel deck is without damage or deterioration at time of Substantial Completion.

END OF SECTION 05310END OF SECTION 05310

STEEL DECK
05310 - 1

