Copyright 2002 AIA
MASTERSPEC Full Length
02/02 (R 05/06)

Copyright 2002 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 05511 - METAL STAIRS
Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Preassembled steel stairs with [concrete-filled] [precast concrete] [epoxy-resin-filled] [and] [abrasive-coating-finished formed-metal] treads.

2. Industrial-type stairs with steel [floor plate] [grating] treads.

3. Ornamental steel-framed stairs.

Delete three subparagraphs below if railings are specified in another Section.

4. [Steel tube ]railings attached to metal stairs.

5. [Steel tube ]handrails attached to walls adjacent to metal stairs.

Delete subparagraph below if not required.

6. Railing gates at the level of exit discharge.

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

1. Division 3 Section "Cast-in-Place Concrete" for concrete fill for stair treads and platforms.

2. Division 5 Section "Metal Fabrications" for metal treads and nosings not installed in metal stairs.

3. Division 5 Section "Pipe and Tube Railings" for pipe and tube railings.

Retain subparagraph above and delete first subparagraph below if railing Section is referenced for stair railing requirements or if railings are deleted entirely from this Section.  Retain below if stair railings are specified entirely in this Section and pipe or tube railings are used for locations other than metal stairs.

4. Division 5 Section "Pipe and Tube Railings" for pipe and tube railings not attached to metal stairs or to walls adjacent to metal stairs.

5. Division 5 Section "Ornamental Railings" for ornamental metal railings.

6. Division 6 Section "[Rough Carpentry] [Miscellaneous Carpentry]" for wood blocking for anchoring railings.

7. Division 9 Section "[Gypsum Plaster] [Gypsum Veneer Plaster] [Gypsum Board Assemblies] [Gypsum Board Shaft-Wall Assemblies]" for metal backing for anchoring railings.

Subparagraphs below are examples of referenced Sections for materials that might be used for ornamental steel-framed stairs.  Select one or revise if ornamental stairs are required.

8. Division 9 Section "Ceramic Tile" for ceramic-tile treads and landings[ for ornamental steel-framed stairs].

9. Division 9 Section "[Cementitious Terrazzo] [Epoxy Terrazzo]" for terrazzo treads and landings[ for ornamental steel-framed stairs].

10. Division 9 Section "Wood Flooring" for wood treads and landings[ for ornamental steel-framed stairs].

11. Division 9 Section "Stone Paving and Flooring" for stone treads and landings[ for ornamental steel-framed stairs].

12. Division 10 Section "Wire Mesh Partitions" for wire mesh security partitions and doors.

1.3 PERFORMANCE REQUIREMENTS

Delete this Article if requirements are indicated on Drawings or if authorities having jurisdiction require structural engineer of record to take full responsibility for structural design.

A. Structural Performance of Stairs:  Provide metal stairs capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Subparagraphs below are examples only; revise to suit Project and to comply with requirements of authorities having jurisdiction.

1. Uniform Load:  100 lbf/sq. ft. (4.79 kN/sq. m).

2. Concentrated Load:  300 lbf (1.33 kN) applied on an area of 4 sq. in. (2580 sq. mm).

3. Uniform and concentrated loads need not be assumed to act concurrently.

4. Stair Framing:  Capable of withstanding stresses resulting from railing loads in addition to loads specified above.

Select one of two options in subparagraph below or insert other requirements.  Preassembled steel stair manufacturers usually design stairs to L/240; selecting L/360 will decrease bounce and may be required to prevent cracking of plaster or gypsum board soffits.  If brittle materials such as marble, granite, or ceramic tiles are used on treads and platforms, deflection limit should be reduced to L/720.

5. Limit deflection of treads, platforms, and framing members to [L/240] [L/360] <Insert deflection ratio> or 1/4 inch (6.4 mm), whichever is less.

See Evaluations in Division 5 Section "Pipe and Tube Railings" for information about performance requirements for railings.

B. Structural Performance of Railings:  Provide railings capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Subparagraphs and associated subparagraphs below are examples only and are based on typical requirements of model codes.  For some occupancy categories under certain circumstances, model codes have less-stringent provisions; revise to suit Project and to comply with requirements of authorities having jurisdiction.

1. Handrails:

a. Uniform load of 50 lbf/ ft. (0.73 kN/m) applied in any direction.

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

2. Top Rails of Guards:

First option in first subparagraph below applies to 1996 and 1999 BOCA Codes, 2000 International Building Code, and 1997 Uniform Building Code; second option applies to 1993 BOCA Code.

a. Uniform load of [50 lbf/ ft. (0.73 kN/m) applied in any direction] [50 lbf/ ft. (0.73 kN/m) applied horizontally and concurrently with 100 lbf/ ft. (1.46 kN/m) applied vertically downward].

b. Concentrated load of 200 lbf (0.89 kN) applied in any direction.

c. Uniform and concentrated loads need not be assumed to act concurrently.

3. Infill of Guards:

a. Concentrated load of [50 lbf (0.22 kN)] [200 lbf (0.89 kN)] applied horizontally on an area of 1 sq. ft. (0.093 sq. m).

Select subparagraph above or first subparagraph below.  First option above applies to 1996 and 1999 BOCA Codes and 2000 International Building Code; second option applies to 1993 BOCA Code.  Below applies to 1997 Uniform Building Code.

b. Uniform load of 25 lbf/sq. ft. (1.2 kN/sq. m) applied horizontally.

c. Infill load and other loads need not be assumed to act concurrently.

Revise paragraph below to indicate specific loads determined by Project's structural engineer or refer to loads indicated on Drawings.  Model building codes and ASCE 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

C. Seismic Performance:  Provide metal stairs capable of withstanding the effects of earthquake motions determined according to [ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 9, "Earthquake Loads."] <Insert applicable code requirement.>

1.4 SUBMITTALS

A. Product Data:  For metal stairs and the following:

Delete items below for which Product Data are not required.

1. Prefilled metal-pan stair treads.

2. Precast concrete treads.

3. Epoxy-resin-filled stair treads.

4. Nonslip aggregates and nonslip-aggregate finishes.

5. Abrasive nosings.

6. Metal floor plate treads.

7. Paint products.

8. Grout.

B. LEED Submittal:

Retain subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  An alternative method of complying with Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 1 Section "LEED Requirements" that gives Contractor the option and responsibility for determining how Credit MR 4.1 and MR 4.2 requirements will be met.

1. Product Data for Credit MR 4.1[ and Credit MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a. Include statement indicating costs for each product having recycled content.

C. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

1. Provide templates for anchors and bolts specified for installation under other Sections.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify products' compliance with performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

2. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Delete paragraph below if colors, textures, and designs are preselected and specified or scheduled or if none are required.

D. Samples for Initial Selection:  For products involving selection of color, texture, or design.

Retain paragraph above or paragraph and subparagraphs below, or both, if required.

E. Samples for Verification:  For the following products, in manufacturer's standard sizes:

Retain applicable subparagraphs below.

1. Precast concrete treads.

2. Epoxy-resin-filled stair treads.

3. Stair treads with nonslip-aggregate surface finish.

4. Metal floor plate treads.

5. Grating treads.

6. Abrasive nosings.

Retain paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

F. Welding certificates.

Coordinate paragraph below with Division 1 Section "Quality Requirements."

G. Qualification Data:  For [professional engineer] [testing agency].

Paragraph and subparagraph below may be used for verification of performance requirements if authorities having jurisdiction do not allow Contractor to provide engineering calculations.

H. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for [stairs] [and] [railings].

1. Test railings according ASTM E 894 and ASTM E 935.

1.5 QUALITY ASSURANCE

A. Installer Qualifications:  Fabricator of products.

NAAMM standard below establishes minimum requirements only.

B. NAAMM Stair Standard:  Comply with "Recommended Voluntary Minimum Standards for Fixed Metal Stairs" in NAAMM AMP 510, "Metal Stairs Manual," for class of stair designated, unless more stringent requirements are indicated.

First option in subparagraph below is typical enclosed stair; second is economy enclosed stair.

1. Preassembled Stairs:  [Commercial] [Service] class.

Subparagraph below is typical for exposed locations in industrial facilities or for exterior stairs.

2. Industrial-Type Stairs:  Industrial class.

Subparagraph below is for ornamental stairs in exposed locations.

3. Ornamental Stairs:  Architectural class.

Delete paragraph and subparagraphs below if no welding.  Retain "Welding certificates" Paragraph in "Submittals" Article if retaining below.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

C. Welding:  Qualify procedures and personnel according to the following:

Retain applicable standards below.

1. AWS D1.1, "Structural Welding Code--Steel."

2. AWS D1.3, "Structural Welding Code--Sheet Steel."

1.6 COORDINATION

A. Coordinate installation of anchorages for metal stairs.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

B. Coordinate locations of hanger rods and struts with other work so that they will not encroach on required stair width and will be within the fire-resistance-rated stair enclosure.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which manufacturers and products are named.  See Division 1 Section "Product Requirements" for an explanation of the terms "Available Products," "Products," "Available Manufacturers," and "Manufacturers" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, products specified.

2. Products:  Subject to compliance with requirements, provide one of the products specified.

3. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

4. Manufacturers:  Subject to compliance with requirements, provide products by one of the manufacturers specified.

2.2 METALS, GENERAL

A. Metal Surfaces, General:  Provide materials with smooth, flat surfaces, unless otherwise indicated.  For components exposed to view in the completed Work, provide materials without seam marks, roller marks, rolled trade names, or blemishes.

Retain paragraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  USGBC allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that steel plate, sheet, and hollow structural shapes, which are typical components of steel stairs, are made by the basic oxygen furnace method, which typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

B. Recycled Content of Steel Products:  Provide products with an average recycled content of steel products so postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] <Insert number> percent.

2.3 FERROUS METALS

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings.  Add or delete items to suit Project.

A. Steel Plates, Shapes, and Bars:  ASTM A 36/A 36M.

Usually retain all three options in subparagraph below unless structural engineer of record has designed railings.

B. Steel Tubing:  [ASTM A 500 (cold formed)] [or] [ASTM A 513, Type 5 (mandrel drawn)].

First paragraph below specifies minimum yield point of 30 ksi (205 MPa); revise if higher strength is required.

C. Rolled-Steel Floor Plate:  ASTM A 786/A 786M, rolled from plate complying with ASTM A 36/A 36M or ASTM A 283/A 283M, Grade C or D.

D. Abrasive-Surface Floor Plate:  Steel plate [with abrasive granules rolled into surface] [or] [with abrasive material metallically bonded to steel by a proprietary process].

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

Products in list below have abrasive material metallically bonded to steel by a proprietary process.

a. IKG Industries, a Harsco company; Mebac.

b. W. S. Molnar Company; SlipNOT.

c. <Insert manufacturer's name; product name or designation.>

E. Steel Bars for Grating Treads:  ASTM A 36/A 36M.

Delete paragraph above and first paragraph below if grating treads are not required.

F. Wire Rod for Grating Crossbars:  ASTM A 510 (ASTM A 510M).

G. Iron Castings:  Either gray or malleable iron, unless otherwise indicated.

1. Gray Iron:  ASTM A 48/A 48M, Class 30, unless another class is indicated or required by structural loads.

2. Malleable Iron:  ASTM A 47/A 47M.

H. Uncoated, Cold-Rolled Steel Sheet:  ASTM A 1008/A 1008M,[ either commercial steel, Type B, or] structural steel, Grade 25 (Grade 170), unless another grade is required by design loads; exposed.

Delete paragraph above or below, or both, if all steel sheet is galvanized.  Cold-rolled sheet has smoother surface finish than hot-rolled sheet.  Most manufacturers use hot-rolled sheet.  Delete option in either paragraph to specify only structural steel if required.  Revise grade, if necessary, to suit structural requirements; grades indicated are lowest in referenced standards.

I. Uncoated, Hot-Rolled Steel Sheet:  ASTM A 1011/A 1011M,[ either commercial steel, Type B, or] structural steel, Grade 30 (Grade 205), unless another grade is required by design loads.

Delete first paragraph below if galvanized sheet is not used; if retaining, delete option to specify only structural steel.  Revise grade, if necessary, to suit structural requirements; grade indicated is lowest in referenced standard.

J. Galvanized Steel Sheet:  ASTM A 653/A 653M, G90 (Z275) coating,[ either commercial steel, Type B, or] structural steel, Grade 33 (Grade 230), unless another grade is required by design loads.

K. Expanded Metal, Carbon Steel:  ASTM F 1267, Type [I (expanded)] [II (expanded and flattened)], Class 1 (uncoated).

Style designations in subparagraph below indicate size.  3/4 number 13 has openings approximately 3/4 by 1-1/2 inches (20 by 40 mm) and is 0.09 to 0.10 inch (2.3 to 2.5 mm) thick; 1-1/2 number 10 has openings approximately 1 by 2-1/2 inches (25 by 65 mm) and is 0.13 to 0.142 inch (3.3 to 3.6 mm) thick.

1. Style Designation:  [3/4 number 13] [1-1/2 number 10] <Insert designation>.

Revise pattern and wire size in paragraph below if required.

L. Woven-Wire Mesh:  Intermediate-crimp, [diamond] [square] pattern, 2-inch (50-mm) woven-wire mesh, made from 0.135-inch (3.5-mm) nominal diameter wire complying with ASTM A 510 (ASTM A 510M).

2.4 NONFERROUS METALS

Retain material types, qualities, and grades in this Article that are indicated in Specifications or on Drawings.  Add or delete items to suit Project.

A. Aluminum Extrusions:  ASTM B 221 (ASTM B 221M), Alloy 6063-T6.

B. Aluminum Castings:  ASTM B 26/B 26M, Alloy 443.0-F.

C. Bronze Extrusions:  ASTM B 455, Alloy UNS No. C38500 (extruded architectural bronze).

D. Bronze Castings:  ASTM B 584, Alloy UNS No. C83600 (leaded red brass) or No. C84400 (leaded semired brass).

E. Nickel Silver Castings:  ASTM B 584, Alloy UNS No. C97600 (20 percent leaded nickel bronze).

2.5 ABRASIVE NOSINGS

A. Cast-Metal Units:  Cast [gray iron, Class 20] [aluminum] [bronze (leaded red or semired brass)] [nickel silver (leaded nickel bronze)], with an integral abrasive finish consisting of aluminum oxide, silicon carbide, or a combination of both.  Fabricate units in sizes and configurations indicated and in lengths necessary to accurately fit openings or conditions.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. American Safety Tread Co., Inc.

b. Balco Inc.

c. Barry Pattern & Foundry Co., Inc.

d. Granite State Casting Co.

e. Safe-T-Metal Co.

f. Wooster Products Inc.

g. <Insert manufacturer's name.>

Subparagraph below is typical description; delete if configurations are shown on Drawings.

2. Configuration:  Cross-hatched units, [3 inches (75 mm)] [4 inches (100 mm)] wide without lip.

Delete subparagraph below if industrial-type stairs with bar-grating treads are not used.

3. Configuration:  Cross-hatched angle-shaped units, same depth as bar-grating treads and 1 to 1-1/2 inches (25 to 38 mm) wide.

B. Extruded Units:  Extruded-[aluminum] [bronze] units with abrasive filler consisting of aluminum oxide, silicon carbide, or a combination of both, in an epoxy-resin binder.  Fabricate units in sizes and configurations indicated and in lengths necessary to accurately fit openings or conditions.

Coordinate first subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Manufacturers:

a. ACL Industries, Inc.

b. American Safety Tread Co., Inc.

c. Amstep Products.

d. Armstrong Products, Inc.

e. Balco Inc.

f. Granite State Casting Co.

g. Wooster Products Inc.

h. <Insert manufacturer's name.>

2. Provide ribbed units, with abrasive filler strips projecting 1/16 inch (1.5 mm) above aluminum extrusion.

Select subparagraph above or below.

3. Provide solid-abrasive-type units without ribs.

Two subparagraphs below are typical descriptions; delete both if configurations are shown on Drawings.

4. Nosings:  Square-back units, [1-7/8 inches (48 mm)] [3 inches (75 mm)] [4 inches (100 mm)] wide, without lip.

5. Nosings:  Two-piece units, 3 inches (75 mm) wide, with subchannel for casting into concrete.

Delete first paragraph below if not required.

C. Provide anchors for embedding units in concrete, either integral or applied to units, as standard with manufacturer.

D. Apply bituminous paint to concealed bottoms, sides, and edges of cast-metal units set into concrete.

E. Apply clear lacquer to concealed bottoms, sides, and edges of extruded units set into concrete.

2.6 FASTENERS

A. General:  Provide zinc-plated fasteners with coating complying with ASTM B 633, Class Fe/Zn 25 for exterior use, and Class Fe/Zn 5 where built into exterior walls.  Select fasteners for type, grade, and class required.

Delete remainder of this Article unless there are specific requirements for these types of fasteners.

B. Bolts and Nuts:  Regular hexagon-head bolts, ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6); with hex nuts, ASTM A 563 (ASTM A 563M); and, where indicated, flat washers.

C. Anchor Bolts:  ASTM F 1554, Grade 36.

1. Provide hot-dip or mechanically deposited, zinc-coated anchor bolts for [exterior stairs] [stairs indicated to be galvanized] [stairs indicated to be shop primed with zinc-rich primer].

D. Machine Screws:  ASME B18.6.3 (ASME B18.6.7M).

E. Lag Bolts:  ASME B18.2.1 (ASME B18.2.3.8M).

F. Plain Washers:  Round, ASME B18.22.1 (ASME B18.22M).

G. Lock Washers:  Helical, spring type, ASME B18.21.1 (ASME B18.21.2M).

Verify safety factors in paragraph and subparagraphs below with Project's structural engineer.

H. Expansion Anchors:  Anchor bolt and sleeve assembly with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and four times the load imposed when installed in concrete, as determined by testing according to ASTM E 488, conducted by a qualified independent testing agency.

1. Material for Anchors in Interior Locations:  Carbon-steel components zinc-plated to comply with ASTM B 633, Class Fe/Zn 5.

Subparagraph above and below are examples only.  Material above protects against corrosion in an indoor atmosphere; revise to suit other conditions after verifying availability of thicker coatings.

2. Material for Anchors in Exterior Locations:  Alloy Group 1 (A1) stainless-steel bolts complying with ASTM F 593 (ASTM F 738M) and nuts complying with ASTM F 594 (ASTM F 836M).

2.7 MISCELLANEOUS MATERIALS

A. Welding Rods and Bare Electrodes:  Select according to AWS specifications for metal alloy welded.

B. Shop Primers:  Provide primers that comply with Division 9 [painting Sections.] [Section "High-Performance Coatings."]

Select paragraph above or one or both primer paragraphs and associated subparagraphs below.  First paragraph below specifies a typical primer for painted finishes that provides minimum protection to steel.  Second paragraph specifies a typical primer for high-performance coating.  If retaining both, indicate on Drawings or in a schedule where each is required.

C. Universal Shop Primer:  Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#79.

VOC limit in optional text below is the EPA limit for rust-preventive architectural coatings.

1. Use primer with a VOC content of [420 g/L (3.5 lb/gal.)] <Insert VOC limit> or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Delete subparagraph below if zinc-rich primer is not used.

2. Use primer containing pigments that make it easily distinguishable from zinc-rich primer.

D. Zinc-Rich Primer:  Complying with SSPC-Paint 20 or SSPC-Paint 29 and compatible with topcoat.

VOC limit in optional text below is the EPA limit for rust-preventive architectural coatings.

1. Use primer with a VOC content of [420 g/L (3.5 lb/gal.)] <Insert VOC limit> or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.  Edit list to suit local VOC regulations.

2. [Available ]Products:

a. Carboline Company; Carbozinc 621.

b. ICI Devoe Coatings; Catha-Coat 313.

c. International Coatings Limited; Interzinc 315 Epoxy Zinc-Rich Primer.

d. Moore, Benjamin, & Co.; Epoxy Zinc-Rich Primer CM18/19.

e. PPG Architectural Finishes, Inc.; Aquapon Zinc-Rich Primer 97-670.

f. Sherwin-Williams Company (The); Corothane I GalvaPac Zinc Primer.

g. Tnemec Company, Inc.; Tneme-Zinc 90-97.

h. <Insert manufacturer's name; product name or designation.>

Delete first paragraph below if no galvanized stairs.

E. Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

F. Bituminous Paint:  Cold-applied asphalt emulsion complying with ASTM D 1187.

Usually delete paragraph below; retain for stairs having stringers with grouted baseplates.

G. Nonshrink, Nonmetallic Grout:  Factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with ASTM C 1107.  Provide grout specifically recommended by manufacturer for interior and exterior applications.

Delete three paragraphs below if not required for prefilled stair treads.

H. Concrete Materials and Properties:  Comply with requirements in Division 3 Section "Cast-in-Place Concrete" for normal-weight, air-entrained, ready-mix concrete with a minimum 28-day compressive strength of 3000 psi (20 MPa), unless otherwise indicated.

Delete or revise first paragraph below if another finish is required or if concrete fill is to be covered with resilient stair treads.

I. Nonslip-Aggregate Concrete Finish:  Factory-packaged abrasive aggregate made from fused, aluminum-oxide grits or crushed emery; rustproof and nonglazing; unaffected by freezing, moisture, or cleaning materials.

J. Welded Wire Fabric:  ASTM A 185, 6 by 6 inches (152 by 152 mm)--W1.4 by W1.4, unless otherwise indicated.

2.8 PRECAST CONCRETE TREADS

A. Concrete Materials and Properties:  Comply with requirements in Division 3 Section "Cast-in-Place Concrete" for normal-weight, ready-mixed concrete with a minimum 28-day compressive strength of 5000 psi (35 MPa) and a total air content of not less than 4 percent or more than 6 percent.

B. Reinforcing Wire Fabric:  Galvanized, welded wire fabric, 2 by 2 inches (50 by 50 mm) by 0.062-inch- (1.6-mm-) diameter wire; comply with ASTM A 185 and ASTM A 82, except for minimum wire size.

2.9 FABRICATION, GENERAL

A. Provide complete stair assemblies, including metal framing, hangers, struts,[ railings,] clips, brackets, bearing plates, and other components necessary to support and anchor stairs and platforms on supporting structure.

Delete two subparagraphs below if not required.

1. Join components by welding, unless otherwise indicated.

2. Use connections that maintain structural value of joined pieces.

Delete subparagraph below if no exterior stairs or if not applicable.

3. Fabricate treads and platforms of exterior stairs so finished walking surfaces slope to drain.

Delete first paragraph below if preassembled stairs are not required.

B. Preassembled Stairs:  Assemble stairs in shop to greatest extent possible.  Disassemble units only as necessary for shipping and handling limitations.  Clearly mark units for reassembly and coordinated installation.

C. Cut, drill, and punch metals cleanly and accurately.  Remove burrs and ease edges to a radius of approximately 1/32 inch (1 mm), unless otherwise indicated.  Remove sharp or rough areas on exposed surfaces.

D. Form bent-metal corners to smallest radius possible without causing grain separation or otherwise impairing work.

E. Form exposed work true to line and level with accurate angles and surfaces and straight edges.

F. Weld connections to comply with the following:

1. Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

2. Obtain fusion without undercut or overlap.

3. Remove welding flux immediately.

Delete first subparagraph below if appearance is not important or if economy is more important.

4. Weld exposed corners and seams continuously, unless otherwise indicated.

5. At exposed connections, finish exposed welds and surfaces smooth and blended so no roughness shows after finishing and contour of welded surface matches that of adjacent surface.

G. Form exposed connections with hairline joints, flush and smooth, using concealed fasteners where possible.  Where exposed fasteners are required, use Phillips flat-head (countersunk) screws or bolts unless otherwise indicated.  Locate joints where least conspicuous.

H. Fabricate joints that will be exposed to weather in a manner to exclude water.  Provide weep holes where water may accumulate.

2.10 STEEL-FRAMED STAIRS

Delete paragraph and list below if industrial-type stairs are used and can be fabricated by local ironworks.  Coordinate with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

A. [Available ]Manufacturers:

Local and regional manufacturers also fabricate metal stairs and may be added to list below.

1. Alfab, Inc.

2. American Stair, Inc.

3. Sharon Companies Ltd. (The).

4. <Insert manufacturer's name.>

Usually retain paragraph and applicable subparagraphs below for all types of stairs.

B. Stair Framing:

Steel plate stringers are less expensive than channels, except for longer spans, and allow railing posts to be welded to face of stringer.  Tube stringers provide a more finished look but are generally used only for ornamental stairs.

1. Fabricate stringers of steel [plates] [channels] [plates or channels] [tubes].

a. Provide closures for exposed ends of [channel] [tube] stringers.

2. Construct platforms of steel [plate] [channel] [plate or channel] [tube] headers and miscellaneous framing members as [needed to comply with performance requirements] [indicated].

3. Weld[ or bolt] stringers to headers; weld[ or bolt] framing members to stringers and headers.[  If using bolts, fabricate and join so bolts are not exposed on finished surfaces.]

Delete subparagraph below if not required.

4. Where stairs are enclosed by gypsum board[ shaft-wall] assemblies, provide hanger rods or struts to support landings from floor construction above or below.  Locate hanger rods and struts where they will not encroach on required stair width and will be within the fire-resistance-rated stair enclosure.

Delete subparagraph below if not required.

5. Where masonry walls support metal stairs, provide temporary supporting struts designed for erecting steel stair components before installing masonry.

Delete paragraph and subparagraphs below if concrete-filled, epoxy-resin-filled, or precast concrete tread metal-pan stairs are not required.

C. Metal-Pan Stairs:  Form risers, subtread pans, and subplatforms to configurations shown from steel sheet of thickness [needed to comply with performance requirements but not less than 0.0677 inch (1.7 mm)] [indicated].

Select first option in subparagraph below for best appearance.  Select second option if appearance is less important than cost.

1. Steel Sheet:  Uncoated [cold] [hot]-rolled steel sheet[, unless otherwise indicated].

If both uncoated and galvanized pans are required, retain option in subparagraph below and indicate locations on Drawings.

2. Steel Sheet:  Galvanized steel sheet[, where indicated].

Retain subparagraph below for best appearance.

3. Directly weld metal pans to stringers; locate welds on top of subtreads where they will be concealed by concrete fill.  Do not weld risers to stringers.

Retain subparagraph below and delete subparagraph above if appearance is less important than cost.  Below also allows risers and subtreads to be replaced if damaged during shipment or erection.

4. Attach risers and subtreads to stringers with brackets made of steel angles or bars.  Weld brackets to stringers and attach metal pans to brackets by welding, riveting, or bolting.

Delete subparagraph below if cast or extruded nosings or precast or epoxy-resin-filled treads are used.

5. Shape metal pans to include nosing integral with riser.

Delete subparagraph below if no abrasive nosings or if nosings are installed at Project site.

6. Attach abrasive nosings to risers.

Delete subparagraph below if not permitted or revise if required.

7. At Contractor's option, provide stair assemblies with metal-pan subtreads filled with reinforced concrete during fabrication.

Treads below are an alternative to prefilled concrete treads.

8. Provide epoxy-resin-filled treads, reinforced with glass fibers, with slip-resistant, abrasive surface.

9. Provide subplatforms of configuration indicated or, if not indicated, the same as subtreads.  Weld subplatforms to platform framing.

Delete subparagraph below if not applicable or retain and qualify if only applicable to selected metal stairs and if locations are indicated on Drawings.

a. Smooth Soffit Construction:  Construct subplatforms with smooth soffits.

Delete paragraph and subparagraphs below if not required.  Be aware that abrasive-coating-finished, formed-metal stairs are noisy.

D. Abrasive-Coating-Finished, Formed-Metal Stairs:  Form risers, treads, and platforms to configurations shown from steel sheet of thickness [needed to comply with performance requirements but not less than 0.0966 inch (2.5 mm)] [indicated].

1. Steel Sheet:  Uncoated hot-rolled steel sheet, unless otherwise indicated.

2. Directly weld risers and treads to stringers; locate welds on underside of stairs.

3. Provide platforms of configuration indicated or, if not indicated, the same as treads.  Weld platforms to platform framing.

4. Finish tread and platform surfaces with manufacturer's standard epoxy-bonded abrasive finish.

Delete paragraph and subparagraphs below if not required.

E. Metal Floor Plate Stairs:  Form treads and platforms to configurations shown from [rolled-steel] [abrasive-surface] floor plate of thickness [needed to comply with performance requirements but not less than 1/4 inch (6.4 mm)] [needed to comply with performance requirements but not less than 3/16 inch (4.8 mm)] [needed to comply with performance requirements but not less than 1/8 inch (3.2 mm)] [indicated].

Select one of first three subparagraphs below.

1. Form treads with integral nosing and back edge stiffener.  Form risers of same material as treads.

2. Form treads with integral nosing and back edge stiffener.  Form risers from steel sheet not less than 0.0966 inch (2.5 mm) thick, welded to tread nosings and stiffeners and to platforms.

3. Form treads with integral nosing and back edge stiffener, and with open risers.

4. Weld steel supporting brackets to stringers and weld treads to brackets.

5. Fabricate platforms with integral nosings matching treads and weld to platform framing.

Revise paragraph and subparagraphs below if other types of gratings are required, or delete if not required.  See Division 5 Section "Gratings" for additional grating types.

F. Metal Bar-Grating Stairs:  Form treads and platforms to configurations shown from metal bar grating; fabricate to comply with NAAMM MBG 531, "Metal Bar Grating Manual."

1. Fabricate treads and platforms from welded steel grating with 1-1/4-by-3/16-inch (32-by-5-mm) bearing bars at 15/16 inch (24 mm) o.c. and crossbars at 4 inches (100 mm) o.c., NAAMM designation:  W-15-4 (1-1/4 x 3/16) STEEL.

Subparagraph above and below are examples only.  Revise to suit Project or allow fabricator to size for loads given in Part 1 of this Section.

2. Fabricate treads and platforms from pressure-locked steel grating with 1-by-3/16-inch (25-by-5-mm) bearing bars at 11/16 inch (17 mm) o.c. and crossbars at 4 inches (100 mm) o.c., NAAMM designation:  P-11-4 (1 x 3/16) STEEL.

Select one of two surfaces in subparagraph below.

3. Surface:  [Plain] [Serrated].

Select one of three finishes in first subparagraph below.

4. Finish:  [Shop primed] [Painted] [Galvanized].

5. Fabricate grating treads with [rolled-steel floor plate] [cast abrasive] nosing and with steel angle or steel plate carrier at each end for stringer connections.  Secure treads to stringers with bolts.

6. Fabricate grating platforms with nosing matching that on grating treads.  Provide toeplates at open-sided edges of grating platforms.  Weld grating to platform framing.

2.11 STEEL TUBE RAILINGS

Usually retain this Article for railings included with preassembled stairs.  Square or round tube railings, rather than pipe railings, are typical for preassembled stairs.  For steel-framed ornamental and industrial-type stairs, usually delete this Article and specify railings in another Section.

A. General:  Fabricate railings to comply with requirements indicated for design, dimensions, details, finish, and member sizes, including wall thickness of tube, post spacings, and anchorage, but not less than that needed to withstand indicated loads.

Select one configuration from five subparagraphs and associated subparagraphs below or revise depending on style of railing used and code requirements.  Delete all if configuration is shown on Drawings.

1. Configuration:  [1-5/8-inch- (41-mm-) diameter] [1-1/2-inch- (38-mm-) square] top and bottom rails, 1-1/2-inch- (38-mm-) square posts, and 1/2-inch- (13-mm-) square pickets spaced less than 4 inches (100 mm) clear.

2. Configuration:  1-1/2-inch- (38-mm-) square top and bottom rails and posts with infill panels made from expanded metal.

a. Edge panels with U-shaped channels made from steel sheet not less than 0.0428 inch (1.1 mm) thick.

b. Orient expanded metal with long dimension of diamonds [parallel to top rail] [perpendicular to top rail] [vertical].

3. Configuration:  1-1/2-inch- (38-mm-) square top and bottom rails and posts with infill panels made from woven wire mesh crimped into 1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) steel channel frames.

Coordinate selection in subparagraph below with wire mesh pattern selected.

a. Orient wire mesh with [diamonds vertical] [wires perpendicular and parallel to top rail] [wires horizontal and vertical].

Model codes allow configurations in two subparagraphs below only for certain occupancies and applications.  Verify required rail spacing before retaining.

4. Configuration:  1-1/2-inch- (38-mm-) square top, bottom, and intermediate rails and posts.  Space intermediate rails less than [12 inches (305 mm)] [21 inches (533 mm)] clear.

5. Configuration:  1-5/8-inch- (41-mm-) diameter top, bottom, and intermediate rails and 1-1/2-inch- (38-mm-) square posts.  Space intermediate rails less than [12 inches (305 mm)] [21 inches (533 mm)] clear.

Delete subparagraph below if not required.

6. Gates:  Form gates from steel tube of same size and shape as top rails, with infill to match guards.  Provide with [cam-type self-closing] [spring] hinges for fastening to wall and overlapping stop with rubber bumper to prevent gate from opening in direction opposite egress.

B. Welded Connections:  Fabricate railings with welded connections.  Cope components at connections to provide close fit, or use fittings designed for this purpose.  Weld all around at connections, including at fittings.

C. Form changes in direction of railings as follows:

Retain one of five subparagraphs below.

1. As detailed.

Retain one of three subparagraphs below if bending is used.  First subparagraph allows fabricator to choose radius of bends.  Second is for flush (zero-radius) bends.  Third is for radii that are shown on Drawings.

2. By bending[ or by inserting prefabricated elbow fittings].

3. By flush bends[ or by inserting prefabricated flush-elbow fittings].

4. By radius bends of radius indicated[ or by inserting prefabricated elbow fittings of radius indicated].

Retain subparagraph and one of three options below if bending is not used.  First option allows fabricator to choose radius of fittings.  Second is for flush (zero-radius) fittings.  Third is for radii that are shown on Drawings.

5. By inserting prefabricated [elbow fittings] [flush-elbow fittings] [elbow fittings of radius indicated].

Retain first paragraph below unless all bends are made with standard elbow fittings.

D. Form simple and compound curves by bending members in jigs to produce uniform curvature for each repetitive configuration required; maintain cross section of member throughout entire bend without buckling, twisting, cracking, or otherwise deforming exposed surfaces of components.

E. Close exposed ends of railing members with prefabricated end fittings.

F. Provide wall returns at ends of wall-mounted handrails, unless otherwise indicated.  Close ends of returns unless clearance between end of rail and wall is 1/4 inch (6 mm) or less.

G. Brackets, Flanges, Fittings, and Anchors:  Provide wall brackets, end closures, flanges, miscellaneous fittings, and anchors for interconnecting components and for attaching to other work.  Furnish inserts and other anchorage devices for connecting to concrete or masonry work.

1. Connect posts to stair framing by direct welding, unless otherwise indicated.

Delete inapplicable requirements in subparagraphs below or revise to suit Project.

2. For galvanized railings, provide galvanized fittings, brackets, fasteners, sleeves, and other ferrous-metal components.

3. For nongalvanized railings, provide nongalvanized ferrous-metal fittings, brackets, fasteners, and sleeves, except galvanize anchors embedded in exterior masonry and concrete construction.

Retain paragraph below if any railings are supported from plaster or gypsum board walls.

H. Fillers:  Provide fillers made from steel plate, or other suitably crush-resistant material, where needed to transfer wall bracket loads through wall finishes to structural supports.  Size fillers to suit wall finish thicknesses and to produce adequate bearing area to prevent bracket rotation and overstressing of substrate.

2.12 STAIR RAILINGS

Delete this Article if railings are specified in "Steel Tube Railings" Article.

A. Comply with applicable requirements in "Division 5 Section [Pipe and Tube Railings] [Ornamental Railings]" for railings, and as follows:

Delete or revise any of three subparagraphs below to suit type of railing required.  Coordinate with Section that specifies railings.

1. Fabricate newels of square steel tubing and provide newel caps of [pressed steel] [gray-iron castings], as shown.

2. Rails may be bent at corners, rail returns, and wall returns, instead of using prefabricated fittings.

3. Connect posts to stair framing by direct welding, unless otherwise indicated.

2.13 FINISHES

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Finish metal stairs after assembly.

C. Galvanizing:  Hot-dip galvanize items as indicated to comply with applicable standard listed below:

1. ASTM A 123/A 123M, for galvanizing steel and iron products.

2. ASTM A 153/A 153M, for galvanizing steel and iron hardware.

Generally retain subparagraph below for railings hot-dip galvanized after fabrication.

3. Fill vent and drain holes that will be exposed in finished Work, unless indicated to remain as weep holes, by plugging with zinc solder and filing off smooth.

D. Preparation for Shop Priming:  Prepare uncoated ferrous-metal surfaces to comply with minimum requirements indicated below for SSPC surface preparation specifications and environmental exposure conditions of installed products:

Retain one or more of three subparagraphs below to suit Project service conditions of installed work.  Insert other exposures and preparation requirements where applicable.  Refer to SSPC's painting manual.  Two subparagraphs below apply to locations that would normally remain dry in service.

1. Exterior Stairs (SSPC Zone 1B):  SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

2. Interior Stairs (SSPC Zone 1A):  SSPC-SP 3, "Power Tool Cleaning."

Delete subparagraph above and option in subparagraph below if all interior stairs are to receive zinc-rich primer.

3. Interior Stairs [Indicated to Receive Zinc-Rich Primer ](SSPC Zone 1A):  SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

E. Apply shop primer to uncoated surfaces of metal stair components, except those with galvanized finishes and those to be embedded in concrete or masonry unless otherwise indicated.  Comply with SSPC-PA 1, "Paint Application Specification No. 1: Shop, Field, and Maintenance Painting of Steel," for shop painting.

Delete subparagraph below if not required.  Stripe painting adds cost but helps ensure that hard-to-reach areas, such as crevices, inside corners, and welds, are thoroughly coated and that sharp edges (which are vulnerable to chipping and are where the film may be thinner due to surface tension) receive adequate coverage.

1. Stripe paint corners, crevices, bolts, welds, and sharp edges.

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Fastening to In-Place Construction:  Provide anchorage devices and fasteners where necessary for securing metal stairs to in-place construction.  Include threaded fasteners for concrete and masonry inserts, through-bolts, lag bolts, and other connectors.

B. Cutting, Fitting, and Placement:  Perform cutting, drilling, and fitting required for installing metal stairs.  Set units accurately in location, alignment, and elevation, measured from established lines and levels and free of rack.

Delete first paragraph below if other fastening methods are acceptable.

C. Install metal stairs by welding stair framing to steel structure or to weld plates cast into concrete, unless otherwise indicated.

D. Provide temporary bracing or anchors in formwork for items that are to be built into concrete, masonry, or similar construction.

E. Fit exposed connections accurately together to form hairline joints.  Weld connections that are not to be left as exposed joints but cannot be shop welded because of shipping size limitations.  Do not weld, cut, or abrade surfaces of exterior units that have been hot-dip galvanized after fabrication and are for bolted or screwed field connections.

F. Field Welding:  Comply with the following requirements:

1. Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

2. Obtain fusion without undercut or overlap.

3. Remove welding flux immediately.

4. At exposed connections, finish exposed welds and surfaces smooth and blended so no roughness shows after finishing and contour of welded surface matches that of adjacent surface.

Delete paragraph and subparagraph below if concrete-filled metal-pan treads are not used.

G. Place and finish concrete fill for treads and platforms to comply with Division 3 Section "Cast-in-Place Concrete."

1. Install abrasive nosings with anchors fully embedded in concrete.  Center nosings on tread width.

Delete paragraph below if precast concrete treads are not used.

H. Install precast concrete treads with adhesive supplied by manufacturer.

3.2 INSTALLING METAL STAIRS WITH GROUTED BASEPLATES

Delete this Article if not applicable; it generally applies to industrial-type stairs set on sloping concrete floor or pavement.

A. Clean concrete and masonry bearing surfaces of bond-reducing materials, and roughen to improve bond to surfaces.  Clean bottom surface of baseplates.

B. Set steel stair baseplates on wedges, shims, or leveling nuts.  After stairs have been positioned and aligned, tighten anchor bolts.  Do not remove wedges or shims but, if protruding, cut off flush with edge of bearing plate before packing with grout.

1. Use nonmetallic, nonshrink grout, unless otherwise indicated.

2. Pack grout solidly between bearing surfaces and plates to ensure that no voids remain.

3.3 INSTALLING STEEL TUBE RAILINGS

A. Adjust railing systems before anchoring to ensure matching alignment at abutting joints.  Space posts at spacing indicated or, if not indicated, as required by design loads.  Plumb posts in each direction.  Secure posts and rail ends to building construction as follows:

1. Anchor posts to steel by welding directly to steel supporting members.

2. Anchor handrail ends to concrete and masonry with steel round flanges welded to rail ends and anchored with postinstalled anchors and bolts.

B. Attach handrails to wall with wall brackets.  Provide bracket with 1-1/2-inch (38-mm) clearance from inside face of handrail and finished wall surface.  Locate brackets as indicated or, if not indicated, at spacing required to support structural loads.  Secure wall brackets to building construction as follows:

1. Use type of bracket with flange tapped for concealed anchorage to threaded hanger bolt.

Retain subparagraph above or below.

2. Use type of bracket with predrilled hole for exposed bolt anchorage.

Delete four subparagraphs below if not applicable or revise to suit Project.

3. For concrete and solid masonry anchorage, use drilled-in expansion shields and hanger or lag bolts.

4. For hollow masonry anchorage, use toggle bolts.

5. For wood stud partitions, use hanger or lag bolts set into wood backing between studs.  Coordinate with carpentry work to locate backing members.

6. For steel-framed gypsum board assemblies, use hanger or lag bolts set into wood backing between studs.  Coordinate with stud installation to locate backing members.

Select subparagraph above or below if steel studs are used.  Revise if plaster is used instead of gypsum board.

7. For steel-framed gypsum board assemblies, fasten brackets directly to steel framing or concealed steel reinforcements using self-tapping screws of size and type required to support structural loads.

3.4 ADJUSTING AND CLEANING

A. Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with the same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

1. Apply by brush or spray to provide a minimum 2.0-mil (0.05-mm) dry film thickness.

Retain paragraph and subparagraph above if touchup painting is included in this Section; retain first paragraph below if specified in Division 9 painting Sections.  Revise reference if another Division 9 Section, such as "High-Performance Coatings," is used.

B. Touchup Painting:  Cleaning and touchup painting of field welds, bolted connections, and abraded areas of shop paint are specified in Division 9 painting Sections.

C. Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

END OF SECTION 05511END OF SECTION 05511

METAL STAIRS
05511 - 1

