Copyright 2003 AIA
MASTERSPEC Full Length
11/03 (R 05/06)

Copyright 2003 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 06100 - ROUGH CARPENTRY
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Framing with dimension lumber.

Retain first subparagraph below for timber incidental to conventional framing.  For extensive timber framing, use Division 6 Section "Heavy Timber Construction."

2. Framing with timber.

3. Framing with engineered wood products.

Delete first subparagraph below if bases and curbs are exclusively metal.

4. Rooftop equipment bases and support curbs.

5. Wood blocking[, cants,] and nailers.

6. Wood furring[ and grounds].

7. Wood sleepers.

8. Utility shelving.

9. Plywood backing panels.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

Borate treatment in Section referenced in first subparagraph below may be an acceptable substitute for borate-treated wood specified in this Section.  Delete if borate treatment is specified in this Section.

1. Division 2 Section "Termite Control" for site application of borate treatment to wood framing.

2. Division 6 Section "Heavy Timber Construction."

3. Division 6 Section "Sheathing."

4. Division 6 Section "Metal-Plate-Connected Wood Trusses."

1.3 DEFINITIONS

Delete first paragraph below if no exposed framing.

A. Exposed Framing:  Framing not concealed by other construction.

B. Dimension Lumber:  Lumber of 2 inches nominal (38 mm actual) or greater but less than 5 inches nominal (114 mm actual) in least dimension.

Delete first paragraph below if no timber.

C. Timber:  Lumber of 5 inches nominal (114 mm actual) or greater in least dimension.

Delete paragraph and list below if lumber grading agencies are not referenced with products.

D. Lumber grading agencies, and the abbreviations used to reference them, include the following:

Coordinate list below with product lists; delete those not required.  See Evaluations.

1. NeLMA:  Northeastern Lumber Manufacturers' Association.

2. NLGA:  National Lumber Grades Authority.

3. RIS:  Redwood Inspection Service.

4. SPIB:  The Southern Pine Inspection Bureau.

5. WCLIB:  West Coast Lumber Inspection Bureau.

6. WWPA:  Western Wood Products Association.

1.4 SUBMITTALS

A. Product Data:  For each type of process and factory-fabricated product.  Indicate component materials and dimensions and include construction and application details.

1. Include data for wood-preservative treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements.  Indicate type of preservative used and net amount of preservative retained.

Delete subparagraph below if fire-retardant-treated wood is not required.

2. Include data for fire-retardant treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements.  Include physical properties of treated materials based on testing by a qualified independent testing agency.

Delete first subparagraph below if not applicable.

3. For fire-retardant treatments specified to be High-Temperature (HT) type, include physical properties of treated lumber both before and after exposure to elevated temperatures, based on testing by a qualified independent testing agency according to ASTM D 5664.

4. For products receiving a waterborne treatment, include statement that moisture content of treated materials was reduced to levels specified before shipment to Project site.

5. Include copies of warranties from chemical treatment manufacturers for each type of treatment.

Delete first paragraph below if no exposed framing or if fastener patterns are shown on Drawings.

B. Fastener Patterns:  Full-size templates for fasteners in exposed framing.

C. LEED Submittals:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for construction adhesive.

1. Product Data for Credit EQ 4.1:  For adhesives, including printed statement of VOC content.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.  Delete if no composite-wood products are used.

2. Product Data for Credit EQ 4.4:  For composite-wood products, documentation indicating that product contains no urea formaldehyde.

Retain subparagraph and associated subparagraph below and "Forest Certification" Paragraph in "Quality Assurance" Article if lumber or other wood products are required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

3. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that products specified to be made from certified wood comply with forest certification requirements.  Include evidence that mill is certified for chain of custody by an FSC-accredited certification body.

a. Include statement indicating costs for each certified wood product.

Retain paragraph below if applicable; delete if species and grade are indicated for each use.

D. Material Certificates:  For dimension lumber specified to comply with minimum allowable unit stresses.  Indicate species and grade selected for each use and design values approved by the ALSC Board of Review.

Insert specific model code organization in paragraph below or revise if report must be from another source.

E. Research/Evaluation Reports:  For the following, showing compliance with building code in effect for Project:

Edit list below to retain only those products retained in Part 2.

1. Wood-preservative-treated wood.

2. Fire-retardant-treated wood.

3. Engineered wood products.

4. Power-driven fasteners.

5. Powder-actuated fasteners.

6. Expansion anchors.

7. Metal framing anchors.

1.5 QUALITY ASSURANCE

A. Source Limitations for Engineered Wood Products:  Obtain each type of engineered wood product through one source from a single manufacturer.

Paragraph and subparagraphs below may be retained to specify lumber and other wood products made from certified wood for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.  An alternative method of complying with Credit MR 7 requirement is to retain requirement in Division 1 Section "LEED Requirements" that gives Contractor the option and responsibility for determining how Credit MR 7 requirement will be met.

B. Forest Certification:  For the following wood products, provide materials produced from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship":

Coordinate list below with products retained in Part 2.  Delete items not required to be made from certified wood; verify that certified wood is available for each item before retaining.

1. Dimension lumber framing.

2. Timber.

3. Laminated-veneer lumber.

4. Parallel-strand lumber.

5. Prefabricated wood I-joists.

6. Rim boards.

7. Miscellaneous lumber.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Stack lumber flat with spacers between each bundle to provide air circulation.  Provide for air circulation around stacks and under coverings.

PART 2 -  PRODUCTS

2.1 WOOD PRODUCTS, GENERAL

A. Lumber:  DOC PS 20 and applicable rules of grading agencies indicated.  If no grading agency is indicated, provide lumber that complies with the applicable rules of any rules-writing agency certified by the ALSC Board of Review.  Provide lumber graded by an agency certified by the ALSC Board of Review to inspect and grade lumber under the rules indicated.

1. Factory mark each piece of lumber with grade stamp of grading agency.

Select only first option in subparagraph below if authorities having jurisdiction require grade stamps on all materials.

2. For exposed lumber indicated to receive a stained or natural finish, [mark grade stamp on end or back of each piece] [or] [omit grade stamp and provide certificates of grade compliance issued by grading agency].

In DOC PS 20, dressed sizes of green lumber are larger than dry lumber.

3. Where nominal sizes are indicated, provide actual sizes required by DOC PS 20 for moisture content specified.  Where actual sizes are indicated, they are minimum dressed sizes for dry lumber.

Revise subparagraph below if rough lumber is acceptable for all work.

4. Provide dressed lumber, S4S, unless otherwise indicated.

Delete paragraph and subparagraph below if engineered wood products are not used.

B. Engineered Wood Products:  Provide engineered wood products acceptable to authorities having jurisdiction and for which current model code research or evaluation reports exist that show compliance with building code in effect for Project.

1. Allowable Design Stresses:  Provide engineered wood products with allowable design stresses, as published by manufacturer, that meet or exceed those indicated.  Manufacturer's published values shall be determined from empirical data or by rational engineering analysis and demonstrated by comprehensive testing performed by a qualified independent testing agency.

2.2 WOOD-PRESERVATIVE-TREATED LUMBER

Delete this Article if not applicable.  See Evaluations for discussion of formulations.

A. Preservative Treatment by Pressure Process:  AWPA C2[, except that lumber that is not in contact with the ground and is continuously protected from liquid water may be treated according to AWPA C31 with inorganic boron (SBX)].

See Evaluations for information about treatment chemicals.

1. Preservative Chemicals:  Acceptable to authorities having jurisdiction[ and containing no arsenic or chromium].

Delete subparagraph below if no exposed framing or if considered unnecessary.

2. For exposed items indicated to receive a stained or natural finish, use chemical formulations that do not require incising, contain colorants, bleed through, or otherwise adversely affect finishes.

B. Kiln-dry lumber after treatment to a maximum moisture content of 19 percent.  Do not use material that is warped or does not comply with requirements for untreated material.

C. Mark lumber with treatment quality mark of an inspection agency approved by the ALSC Board of Review.

Select only first option in subparagraph below if authorities having jurisdiction require quality mark on all materials.

1. For exposed lumber indicated to receive a stained or natural finish, [mark end or back of each piece] [or] [omit marking and provide certificates of treatment compliance issued by inspection agency].

Select first option in paragraph below and delete subparagraphs if total treatment is required; otherwise, select second option and retain appropriate subparagraphs.

D. Application:  Treat [all rough carpentry, unless otherwise indicated.] [items indicated on Drawings, and the following:]

Retain subparagraph below if Project includes wood adjacent to roofing or waterproofing.

1. Wood cants, nailers, curbs, equipment support bases, blocking, stripping, and similar members in connection with roofing, flashing, vapor barriers, and waterproofing.

Retain applicable items below.  Insert other items that require treatment but are not likely to be indicated on Drawings.

2. Wood sills, sleepers, blocking, [furring,] [stripping,] and similar concealed members in contact with masonry or concrete.

3. Wood framing and furring attached directly to the interior of below-grade exterior masonry or concrete walls.

4. Wood framing members that are less than 18 inches (460 mm) above the ground in crawlspaces or unexcavated areas.

5. Wood floor plates that are installed over concrete slabs-on-grade.

2.3 FIRE-RETARDANT-TREATED MATERIALS

Delete this Article if not applicable.

A. General:  Comply with performance requirements in [AWPA C20 (lumber)] [and] [AWPA C27 (plywood)].

Exterior type is suitable for both exterior and interior applications.  Interior type is only for interior applications.  See Evaluations.

1. Use Exterior type for exterior locations and where indicated.

Delete first subparagraph below if not applicable.  Revise description of locations to suit Project requirements.

2. Use Interior Type A, High Temperature (HT) for enclosed roof framing, framing in attic spaces, and where indicated.

3. Use Interior Type A, unless otherwise indicated.

B. Identify fire-retardant-treated wood with appropriate classification marking of testing and inspecting agency acceptable to authorities having jurisdiction.

Select only first option in subparagraph below if authorities having jurisdiction require classification marking on all materials.

1. For exposed lumber indicated to receive a stained or natural finish, [mark end or back of each piece] [or] [omit marking and provide certificates of treatment compliance issued by inspection agency].

Delete or revise paragraph below if no exposed framing or if staining will hide colorants.

C. For exposed items indicated to receive a stained or natural finish, use chemical formulations that do not bleed through, contain colorants, or otherwise adversely affect finishes.

Select first option in paragraph below and delete subparagraphs if all wood is required to be fire-retardant treated; otherwise, select second option and retain appropriate subparagraphs.

D. Application:  Treat [all rough carpentry, unless otherwise indicated.] [items indicated on Drawings, and the following:]

Edit list below suit local code and Project.

1. Framing for raised platforms.

2. Concealed blocking.

3. Framing for non-load-bearing partitions.

4. Framing for non-load-bearing exterior walls.

5. Roof construction.

6. Plywood backing panels.

7. <Insert category of rough carpentry items required to be treated.>

2.4 DIMENSION LUMBER FRAMING

Select one of five options in paragraph below, or delete paragraph if green lumber is acceptable in all thicknesses.  Verify availability of lumber with 15 percent maximum moisture content before retaining.  Lumber more than 2 inches nominal (38 mm actual) in thickness is often shipped green.  See Evaluations.

A. Maximum Moisture Content:  [15 percent] [19 percent] [15 percent for 2-inch nominal (38-mm actual) thickness or less, 19 percent for more than 2-inch nominal (38-mm actual) thickness] [15 percent for 2-inch nominal (38-mm actual) thickness or less, no limit for more than 2-inch nominal (38-mm actual) thickness] [19 percent for 2-inch nominal (38-mm actual) thickness or less, no limit for more than 2-inch nominal (38-mm actual) thickness].

First 10 paragraphs below provide several choices for specifying different categories of framing.  Edit to retain no more than four paragraphs (usually two or three), and select paragraph titles so that together they describe all the framing required.  For simple projects, two paragraphs titled "Interior Partitions" and "Framing Other Than Interior Partitions" might be retained; for other projects, three paragraphs titled "Non-Load-Bearing Interior Partitions," "Exterior and Load-Bearing Walls," and "Joists, Rafters, and Other Framing Not Listed Above" might be retained.  If retaining titles that refer to non-load-bearing or load-bearing construction, indicate load-bearing walls and framing on Drawings.  In each paragraph where grade designations are used, grades are listed in order of decreasing quality (and cost).

B. [Non-Load-Bearing ]Interior Partitions:  [Construction or No. 2] [Construction, Stud, or No. 3] [Standard, Stud, or No. 3] grade of any species.

Delete paragraph above or below.  Select one of three options for grade in either paragraph.

C. [Non-Load-Bearing ]Interior Partitions:  [Construction or No. 2] [Construction, Stud, or No. 3] [Standard, Stud, or No. 3] grade and[ any of] the following species:

Edit list below; usually retain all species that meet requirements except those not available in Project's location.  Species groups are listed in order of decreasing modulus of elasticity.  Some species groups below overlap others; delete subparagraphs as necessary to eliminate duplication.

1. Hem-fir (north); NLGA.

2. Mixed southern pine; SPIB.

3. Spruce-pine-fir; NLGA.

4. Hem-fir; WCLIB, or WWPA.

5. Spruce-pine-fir (south); NeLMA, WCLIB, or WWPA.

Species group below includes hem-fir (north) and spruce-pine-fir.

6. Northern species; NLGA.

Species group below includes spruce-pine-fir (south).

7. Eastern softwoods; NeLMA.

Species group below includes hem-fir and spruce-pine-fir (south).

8. Western woods; WCLIB or WWPA.

If retaining paragraph below, select one of three options for grade or revise to suit Project; verify with structural requirements.

D. [Exterior and Load-Bearing Walls] [Framing Other Than Non-Load-Bearing Interior Partitions] [Framing Other Than Interior Partitions]:  [No. 2] [Construction or No. 2] [Construction, Stud, or No. 3] grade and[ any of] the following species:

Edit list below; usually retain all species that meet requirements except those not available in Project's location.  Species groups are listed in order of decreasing strength (extreme fiber in bending).

1. Hem-fir (north); NLGA.

2. Southern pine; SPIB.

3. Douglas fir-larch; WCLIB or WWPA.

Species group below includes "Southern pine" above; delete above if retaining below.

4. Mixed southern pine; SPIB.

5. Spruce-pine-fir; NLGA.

6. Douglas fir-south; WWPA.

7. Hem-fir; WCLIB or WWPA.

8. Douglas fir-larch (north); NLGA.

9. Spruce-pine-fir (south); NeLMA, WCLIB, or WWPA.

Paragraph below is an example for machine stress-rated lumber that can be used instead of paragraph above.  If retaining, select one of two titles and select or insert a grade to suit structural requirements of Project.  Three grades listed are most commonly available.

E. [Exterior and Load-Bearing Walls] [Framing Other Than Non-Load-Bearing Interior Partitions] [Framing Other Than Interior Partitions]:  Any species of machine stress-rated dimension lumber with a grade of not less than [2400f-2.0E] [2100f-1.8E] [1650f-1.5E] <Insert grade>.

First paragraph below is an example of a performance requirement that can be used instead of last two paragraphs above.  If retaining, select one of two titles, then select or revise values and insert other properties to suit structural requirements of Project.

F. [Exterior and Load-Bearing Walls] [Framing Other Than Non-Load-Bearing Interior Partitions] [Framing Other Than Interior Partitions]:  Any species and grade with a modulus of elasticity of at least [1,500,000 psi (10 350 MPa)] [1,300,000 psi (8970 MPa)] [1,100,000 psi (7590 MPa)] [1,000,000 psi (6900 MPa)] [900,000 psi (6210 MPa)] and an extreme fiber stress in bending of at least [1000 psi (6.9 MPa)] [850 psi (5.86 MPa)] [700 psi (4.83 MPa)] [600 psi (4.14 MPa)] [500 psi (3.45 MPa)] for 2-inch nominal (38-mm actual) thickness and 12-inch nominal (286-mm actual) width for single-member use.

G. Ceiling Joists (Non-Load-Bearing):  [Construction or No. 2] [Construction, Stud, or No. 3] [Standard, Stud, or No. 3] grade of any species.

Delete paragraph above and below if non-load-bearing ceiling framing is not required.  If retaining either, select one of three options for grade or revise to suit Project.

H. Ceiling Joists (Non-Load-Bearing):  [Construction or No. 2] [Construction, Stud, or No. 3] [Standard, Stud, or No. 3] grade and[ any of] the following species:

Edit list below; usually retain all species that meet requirements except those not available in Project's location.  Species groups are listed in order of decreasing modulus of elasticity.  Some species groups below overlap others; delete subparagraphs as necessary to eliminate duplication.

1. Hem-fir (north); NLGA.

2. Southern pine; SPIB.

3. Douglas fir-larch; WCLIB or WWPA.

4. Douglas fir-larch (north); NLGA.

Species group below includes "Southern pine" above; delete above if retaining below.

5. Mixed southern pine; SPIB.

6. Spruce-pine-fir; NLGA.

7. Hem-fir; WCLIB or WWPA.

8. Douglas fir-south; WWPA.

9. Spruce-pine-fir (south); NeLMA, WCLIB, or WWPA.

Species group below includes hem-fir (north), spruce-pine-fir, and Douglas fir-larch (north).

10. Northern species; NLGA.

Species group below includes spruce-pine-fir (south).

11. Eastern softwoods; NeLMA.

Species group below includes hem-fir, Douglas fir-larch, spruce-pine-fir (south), and Douglas fir-south.

12. Western woods; WCLIB or WWPA.

If retaining paragraph below, select one of five options for grade; verify with structural requirements.  Generally select "No. 2" or "Construction or No. 2" option for best economy if grades meet structural requirements.

I. Joists, Rafters, and Other Framing Not Listed Above:  [Select Structural] [No. 1] [No. 2] [Construction or No. 2] [Construction, Stud, or No. 3] grade and[ any of] the following species:

Edit list below; usually retain all species that meet requirements except those not available in Project's location.  Species groups are listed in order of decreasing strength (extreme fiber in bending).

1. Hem-fir (north); NLGA.

2. Southern pine; SPIB.

3. Douglas fir-larch; WCLIB or WWPA.

Species group below includes "Southern pine" above; delete above if retaining below.

4. Mixed southern pine; SPIB.

5. Spruce-pine-fir; NLGA.

6. Douglas fir-south; WWPA.

7. Hem-fir; WCLIB or WWPA.

8. Douglas fir-larch (north); NLGA.

9. Spruce-pine-fir (south); NeLMA, WCLIB, or WWPA.

Paragraph below is an example for machine stress-rated lumber that can be used instead of paragraph above or performance requirement in second paragraph below.  If retaining, select or insert grade to suit structural requirements of Project.  Three grades listed are most commonly available.

J. Joists, Rafters, and Other Framing Not Listed Above:  Any species of machine stress-rated dimension lumber with a grade of not less than [2400f-2.0E] [2100f-1.8E] [1650f-1.5E] <Insert grade>.

Paragraph below is an example of a performance requirement that can be used instead of last two paragraphs above.  If retaining, select or revise values and insert other properties to suit structural requirements of Project.

K. Joists, Rafters, and Other Framing Not Listed Above:  Any species and grade with a modulus of elasticity of at least [1,500,000 psi (10 350 MPa)] [1,300,000 psi (8970 MPa)] [1,100,000 psi (7590 MPa)] [1,000,000 psi (6900 MPa)] [900,000 psi (6210 MPa)] and an extreme fiber stress in bending of at least [1000 psi (6.9 MPa)] [850 psi (5.86 MPa)] [700 psi (4.83 MPa)] [600 psi (4.14 MPa)] [500 psi (3.45 MPa)] for 2-inch nominal (38-mm actual) thickness and 12-inch nominal (286-mm actual) width for single-member use.

Retain paragraph and subparagraphs below for high-quality appearance for exposed work.  Delete if not applicable or if grade and species selected above are suitable.  See Evaluations.  Copy and re-edit if both exterior and interior exposed framing are required but are not same species and grades.

L. Exposed [Exterior] [Interior] Framing[ Indicated to Receive a Stained or Natural Finish]:  Provide material hand-selected for uniformity of appearance and freedom from characteristics, on exposed surfaces and edges, that would impair finish appearance, including decay, honeycomb, knot-holes, shake, splits, torn grain, and wane.

1. Species and Grade:  As indicated above for load-bearing construction of same type.

Retain subparagraph above or retain (or insert) one or more species groups below.  10 species groups below are listed in order of decreasing strength (extreme fiber stress in bending).

2. Species and Grade:  Hem-fir (north), [Select Structural] [No. 1] grade; NLGA.

3. Species and Grade:  Southern pine, [Select Structural] [No. 1] [No. 2] grade; SPIB.

4. Species and Grade:  Douglas fir-larch; [Select Structural] [No. 1] grade; WCLIB, or WWPA.

5. Species and Grade:  Mixed southern pine, [Select Structural] [No. 1] [No. 2] grade; SPIB.

6. Species and Grade:  Spruce-pine-fir, [Select Structural] [No. 1] grade; NLGA.

7. Species and Grade:  Douglas fir-south; [Select Structural] [No. 1] grade; WWPA.

8. Species and Grade:  Hem-fir; [Select Structural] [No. 1] grade; WCLIB, or WWPA.

9. Species and Grade:  Douglas fir-larch (north); [Select Structural] [No. 1] grade; NLGA.

10. Species and Grade:  Spruce-pine-fir (south), [Select Structural] [No. 1] grade; NeLMA, WCLIB, or WWPA.

11. Species and Grade:  Eastern hemlock-balsam fir or eastern hemlock-tamarack; [Select Structural] [No. 1] grade; NeLMA.

Retain one or more of species groups below, if desired for their appearance, only after verifying availability.  Species groups are listed in order of decreasing strength (extreme fiber in bending).

12. Species and Grade:  Beech-birch-hickory, [Select Structural] [No. 1] grade; NeLMA.

13. Species and Grade:  Northern red oak, [Select Structural] [No. 1] grade; NeLMA.

14. Species and Grade:  Redwood, [Clear Heart Structural] [Clear Structural] [Select Structural] [No. 1] grade; RIS.

15. Species and Grade:  Mixed oak, [Select Structural] [No. 1] grade; NeLMA.

16. Species and Grade:  Mixed maple, [Select Structural] [No. 1] grade; NeLMA.

17. Species and Grade:  Western cedars, [Select Structural] [No. 1] grade; WCLIB, or WWPA.

2.5 TIMBER FRAMING

Delete this Article if not applicable.  Use Division 6 Section "Heavy Timber Construction" if timber framing is extensive.

A. Provide timber framing complying with the following requirements, according to grading rules of grading agency indicated:

Subparagraphs below are examples only.  Revise or insert other requirements to suit Project.  As an alternative, delete species and grade and specify stress values.  See examples in "Dimension Lumber Framing" Article.  Douglas fir-larch (north) and Douglas fir-south are not as strong as Douglas fir-larch; Eastern hemlock and eastern hemlock-tamarack are not as strong as eastern hemlock-tamarack (north); and hem-fir (north) is not as strong as hem-fir.

1. Species and Grade:  Douglas fir-larch, Douglas fir-larch (north), or Douglas fir-south; [Select Structural] [No. 1] grade; NLGA, WCLIB, or WWPA.

2. Species and Grade:  Eastern hemlock, eastern hemlock-tamarack, or eastern hemlock-tamarack (north); [Select Structural] [No. 1] grade; NeLMA or NLGA.

3. Species and Grade:  Hem-fir or hem-fir (north), [Select Structural] [No. 1] grade; NLGA, WCLIB, or WWPA.

4. Species and Grade:  Mixed maple, [Select Structural] [No. 1] grade; NeLMA.

5. Species and Grade:  Mixed oak, [Select Structural] [No. 1] grade; NeLMA.

6. Species and Grade:  Southern pine, [Select Structural] [No. 1] grade; SPIB.

Options in subparagraph below are values in SPIB rules for kiln-dried and air-dried timber, respectively.

7. Maximum Moisture Content:  [20] [23] <Insert value> percent.

Retain subparagraph below if minimum twist and seasoning check are required, which increases cost; availability is limited.

8. Additional Restriction:  Free of heart centers.

2.6 ENGINEERED WOOD PRODUCTS

Paragraphs and subparagraphs in this Article are examples of descriptive and property requirements based on product data of various manufacturers.  Verify that current products comply or revise.  See Evaluations.  Retain option in paragraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.  Laminated-veneer lumber usually contains no urea formaldehyde.

A. Laminated-Veneer Lumber:  Structural composite lumber made from wood veneers with grain primarily parallel to member lengths, evaluated and monitored according to ASTM D 5456 and manufactured with an exterior-type adhesive complying with ASTM D 2559[ and containing no urea formaldehyde].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Boise Cascade Corporation.

b. Finnforest USA.

c. Georgia-Pacific.

d. Louisiana-Pacific Corporation.

e. Pacific Woodtech Corporation.

f. Roseburg Forest Products Co.

g. Weldwood of Canada Limited; Subsidiary of International Paper Corporation.

h. Weyerhaeuser Company.

i. <Insert manufacturer's name.>

3. Extreme Fiber Stress in Bending, Edgewise:  [3100 psi (21.3 MPa)] [2900 psi (20.0 MPa)] [2600 psi (17.9 MPa)] [2250 psi (15.5 MPa)] <Insert value> for 12-inch nominal- (286-mm actual-) depth members.

4. Modulus of Elasticity, Edgewise:  [2,000,000 psi (13 700 MPa)] [1,800,000 psi (12 400 MPa)] [1,500,000 psi (10 300 MPa)] <Insert value>.

Insert other properties of laminated-veneer lumber here if critical.  Retain option in paragraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.  Structural composite lumber usually contains no urea formaldehyde.

B. Parallel-Strand Lumber:  Structural composite lumber made from wood strand elements with grain primarily parallel to member lengths, evaluated and monitored according to ASTM D 5456 and manufactured with an exterior-type adhesive complying with ASTM D 2559[ and containing no urea formaldehyde].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Weyerhaeuser Company.

b. <Insert manufacturer's name.>

3. Extreme Fiber Stress in Bending, Edgewise:  2900 psi (20 MPa) for 12-inch nominal- (286-mm actual-) depth members.

4. Modulus of Elasticity, Edgewise:  2,200,000 psi (15 100 MPa).

Insert other properties of parallel-strand lumber here if critical.

C. Wood I-Joists:  Prefabricated units, I-shaped in cross section, made with solid or structural composite lumber flanges and wood-based structural panel webs, let into and bonded to flanges.  Provide units complying with material requirements of and with structural capacities established and monitored according to ASTM D 5055.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Anthony-Domtar Inc.

b. Boise Cascade Corporation.

c. Georgia-Pacific.

d. Huber, J. M. Corporation.

e. International Beams Inc.

f. International Paper Corporation.

g. Jager Building Systems Inc.

h. Louisiana-Pacific Corporation.

i. Nascor Incorporated.

j. Pacific Woodtech Corporation.

k. Roseburg Forest Products Co.

l. Standard Structures Inc.

m. Stark Truss Company, Inc.

n. Superior Wood Systems.

o. Weyerhaeuser Company.

p. <Insert manufacturer's name.>

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.  Wood I-joists are usually made without urea formaldehyde.

3. Provide I-joists manufactured without urea formaldehyde.

Select one option for web material in first subparagraph below.  Flange material is determined by performance rating.  See the Evaluations in Division 6 Section "Sheathing" for information about durability classifications of plywood and oriented strand board.

4. Web Material:  [Either oriented strand board or plywood, complying with DOC PS 1 or DOC PS 2, Exposure 1] [Plywood, complying with DOC PS 1 or DOC PS 2, Exposure 1] [Plywood, complying with DOC PS 1, Exterior grade].

5. Structural Properties:  Provide units with depths and design values not less than those indicated.

APA ratings referenced in subparagraph below are easy to designate structural properties required, but retaining below may reduce competition by eliminating manufacturers that do not participate in APA program.  See Evaluations.

6. Provide units complying with APA PRI-400, factory marked with APA trademark indicating nominal joist depth, joist class, span ratings, mill identification, and compliance with APA standard.

Retain paragraph and subparagraphs below if required for use with wood I-joists.  I-joist blocking can also be used, but rim board is stronger and requires less labor.

D. Rim Boards:  Product designed to be used as a load-bearing member and to brace wood I-joists at bearing ends, complying with research/evaluation report for I-joists.

1. Manufacturer:  Provide products by same manufacturer as I-joists.

Select acceptable materials from options in first subparagraph below; usually retain all.  Retain last option below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.  Rim boards are usually made without urea formaldehyde.

2. Material:  [All-veneer product] [glued-laminated wood] [or] [product made from any combination solid lumber, wood strands, and veneers].[  Provide rim boards made without urea formaldehyde.]

3. Thickness:  [1 inch (25 mm)] [1-1/8 inches (28 mm)] [1-1/4 inches (32 mm)].

Referencing APA standard may reduce competition by eliminating manufacturers that do not participate in APA program.  See Evaluations.

4. Provide performance-rated product complying with APA PRR-401, [rim board] [rim board plus] grade, factory marked with APA trademark indicating thickness, grade, and compliance with APA standard.

2.7 MISCELLANEOUS LUMBER

A. General:  Provide miscellaneous lumber indicated and lumber for support or attachment of other construction, including the following:

1. Blocking.

2. Nailers.

Delete subparagraph below if prefabricated metal units are used.  Prefabricated metal units may still require blocking or nailers.

3. Rooftop equipment bases and support curbs.

Delete subparagraph below if roof membrane used does not require cants or if cants of another material are used.

4. Cants.

Delete any or all of three items below if not required.

5. Furring.

6. Grounds.

7. Utility shelving.

B. For items of dimension lumber size, provide [Construction or No. 2] [Standard, Stud, or No. 3] grade lumber with [15] [19] percent maximum moisture content of any species.

Delete paragraph above or below.  Select one of two options for grade in either paragraph.  19 percent moisture is usually adequate for untreated support and attachment items.  Select 15 percent if required and available.

C. For items of dimension lumber size, provide [Construction or No. 2] [Standard, Stud, or No. 3] grade lumber with [15] [19] percent maximum moisture content and[ any of] the following species:

Edit list below; usually retain all species that meet requirements except those not available in Project's location.  Species groups are listed in order of decreasing strength (extreme fiber stress in bending).  Some species groups below overlap others; delete subparagraphs as necessary to eliminate duplication.

1. Hem-fir (north); NLGA.

2. Mixed southern pine; SPIB.

3. Spruce-pine-fir; NLGA.

4. Hem-fir; WCLIB, or WWPA.

5. Spruce-pine-fir (south); NeLMA, WCLIB, or WWPA.

Species group below includes hem-fir and spruce-pine-fir (south).

6. Western woods; WCLIB or WWPA.

Species group below includes hem-fir (north) and spruce-pine-fir.

7. Northern species; NLGA.

Species group below includes spruce-pine-fir (south).

8. Eastern softwoods; NeLMA.

Usually delete paragraph and subparagraphs below because exposed boards are normally finish carpentry.  Retain for utility shelving if necessary.

D. For exposed boards, provide lumber with [15] [19] percent maximum moisture content and[ any of] the following species and grades:

Edit list below; usually retain all species that meet requirements except those not available in Project's location.  Species groups below are not necessarily of equal quality even when of same grade.

1. Eastern white pine, Idaho white, lodgepole, ponderosa, or sugar pine; [Premium or 2 Common (Sterling)] [Standard or No. 3 Common] grade; NeLMA, NLGA, WCLIB, or WWPA.

2. Mixed southern pine, No. [1] [2] grade; SPIB.

3. Hem-fir or hem-fir (north), [Select Merchantable or No. 1 Common] [Construction or No. 2 Common] grade; NLGA, WCLIB, or WWPA.

4. Spruce-pine-fir (south) or spruce-pine-fir, [Select Merchantable or No. 1 Common] [Construction or No. 2 Common] grade; NeLMA, NLGA, WCLIB, or WWPA.

Retain paragraph and subparagraphs below for furring, grounds, and nailing strips if required, and for truss bracing specified by reference to this Section.

E. For concealed boards, provide lumber with [15] [19] percent maximum moisture content and [any of ]the following species and grades:

Edit list below; usually retain all species that meet requirements except those not available in Project's location.  Species groups below are not necessarily of equal quality even when of same grade.

1. Mixed southern pine, No. [2] [3] grade; SPIB.

2. Hem-fir or hem-fir (north), [Construction or 2 Common] [Standard or 3 Common] grade; NLGA, WCLIB, or WWPA.

3. Spruce-pine-fir (south) or spruce-pine-fir, [Construction or 2 Common] [Standard or 3 Common] grade; NeLMA, NLGA, WCLIB, or WWPA.

Three species groups below include last two above; if retaining any of three below, delete either or both of above to eliminate duplication.

4. Eastern softwoods, No. [2] [3] Common grade; NeLMA.

5. Northern species, No. [2] [3] Common grade; NLGA.

6. Western woods, [Construction or No. 2 Common] [Standard or No. 3 Common] grade; WCLIB or WWPA.

Delete first paragraph below if not acceptable.

F. For blocking not used for attachment of other construction, Utility, Stud, or No. 3 grade lumber of any species may be used provided that it is cut and selected to eliminate defects that will interfere with its attachment and purpose.

G. For blocking and nailers used for attachment of other construction, select and cut lumber to eliminate knots and other defects that will interfere with attachment of other work.

H. For furring strips for installing plywood or hardboard paneling, select boards with no knots capable of producing bent-over nails and damage to paneling.

2.8 PLYWOOD BACKING PANELS

A. Telephone and Electrical Equipment Backing Panels:  DOC PS 1, Exposure 1, C-D Plugged,[ fire-retardant treated,] in thickness indicated or, if not indicated, not less than 1/2-inch (13-mm) nominal thickness.

2.9 FASTENERS

A. General:  Provide fasteners of size and type indicated that comply with requirements specified in this Article for material and manufacture.

1. Where rough carpentry is exposed to weather, in ground contact, pressure-preservative treated, or in area of high relative humidity, provide fasteners[ with hot-dip zinc coating complying with ASTM A 153/A 153M] [of Type 304 stainless steel].

B. Nails, Brads, and Staples:  ASTM F 1667.

Standard in first paragraph below covers power-driven staples, nails, P-nails, and allied fasteners.

C. Power-Driven Fasteners:  NES NER-272.

D. Wood Screws:  ASME B18.6.1.

E. Lag Bolts:  ASME B18.2.1 (ASME B18.2.3.8M).

F. Bolts:  Steel bolts complying with ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6); with ASTM A 563 (ASTM A 563M) hex nuts and, where indicated, flat washers.

G. Expansion Anchors:  Anchor bolt and sleeve assembly of material indicated below with capability to sustain, without failure, a load equal to 6 times the load imposed when installed in unit masonry assemblies and equal to 4 times the load imposed when installed in concrete as determined by testing per ASTM E 488 conducted by a qualified independent testing and inspecting agency.

1. Material:  Carbon-steel components, zinc plated to comply with ASTM B 633, Class Fe/Zn 5.

Subparagraph above and below are examples only.  Above protects against corrosion in an indoor atmosphere; revise to suit other service conditions after verifying availability of thicker coatings.

2. Material:  Stainless steel with bolts and nuts complying with ASTM F 593 and ASTM F 594, Alloy Group 1 or 2 (ASTM F 738M and ASTM F 836M, Grade A1 or A4).

2.10 METAL FRAMING ANCHORS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming manufacturers or products, retain one of three subparagraphs and list of manufacturers below.  Refer to Division 1 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Products:  Subject to compliance with requirements, provide [products indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable products by one of the following:

1. Alpine Engineered Products, Inc.

2. Cleveland Steel Specialty Co.

3. Harlen Metal Products, Inc.

4. KC Metals Products, Inc.

5. Simpson Strong-Tie Co., Inc.

6. Southeastern Metals Manufacturing Co., Inc.

7. USP Structural Connectors.

8. <Insert manufacturer's name.>

If retaining first option in first paragraph below, indicate design loads for metal framing anchors on Drawings.

D. Allowable Design Loads:  Provide products with allowable design loads, as published by manufacturer, that meet or exceed those [indicated] [of basis-of-design products] [of products of manufacturers listed].  Manufacturer's published values shall be determined from empirical data or by rational engineering analysis and demonstrated by comprehensive testing performed by a qualified independent testing agency.

E. Galvanized Steel Sheet:  Hot-dip, zinc-coated steel sheet complying with ASTM A 653/A 653M, G60 (Z180) coating designation.

1. Use for interior locations where stainless steel is not indicated.

Paragraph above is typical for most manufacturers and is suitable for most applications.  Delete paragraph and subparagraph below if not required.  Type 304 is usually standard for stainless steel; Type 316 gives better corrosion resistance for exposed applications in coastal environments.

F. Stainless-Steel Sheet:  ASTM A 666, Type [304] [316].

1. Use for exterior locations and where indicated.

12 paragraphs below are examples only.  Revise to suit Project or delete all if "Basis-of-Design Products" Paragraph is used and they are not needed to provide salient characteristics for products.

G. Joist Hangers:  U-shaped joist hangers with 2-inch- (50-mm-) long seat and 1-1/4-inch- (32-mm-) wide nailing flanges at least 85 percent of joist depth.

1. Thickness:  [0.050 inch (1.3 mm)] [0.062 inch (1.6 mm)].

H. I-Joist Hangers:  U-shaped joist hangers with 2-inch- (50-mm-) long seat and 1-1/4-inch- (32-mm-) wide nailing flanges full depth of joist.  Nailing flanges provide lateral support at joist top chord.

1. Thickness:  [0.050 inch (1.3 mm)] [0.062 inch (1.6 mm)].

I. Top Flange Hangers:  U-shaped joist hangers, full depth of joist, formed from metal strap with tabs bent to extend over and be fastened to supporting member.

1. Strap Width:  [1-1/2 inches (38 mm)] [2 inches (50 mm)].

2. Thickness:  [0.050 inch (1.3 mm)] [0.062 inch (1.6 mm)].

J. Bridging:  Rigid, V-section, nailless type, 0.050 inch (1.3 mm) thick, length to suit joist size and spacing.

K. Post Bases:  Adjustable-socket type for bolting in place with standoff plate to raise post 1 inch (25 mm) above base and with 2-inch- (50-mm-) minimum side cover, socket 0.062 inch (1.6 mm) thick, and standoff and adjustment plates 0.108 inch (2.8 mm) thick.

L. Joist Ties:  Flat straps, with holes for fasteners, for tying joists together over supports.

1. Width:  [3/4 inch (19 mm)] [1-1/4 inches (32 mm)].

2. Thickness:  [0.050 inch (1.3 mm)] [0.062 inch (1.6 mm)].

3. Length:  [16 inches (400 mm)] [24 inches (600 mm)] [As indicated].

M. Rafter Tie-Downs:  Bent strap tie for fastening rafters or roof trusses to wall studs below, 1-1/2 inches (38 mm) wide by 0.050 inch (1.3 mm) thick.[  Tie fastens to side of rafter or truss, face of top plates, and side of stud below.]

N. Rafter Tie-Downs (Hurricane or Seismic Ties):  Bent strap tie for fastening rafters or roof trusses to wall studs below, 2-1/4 inches (57 mm) wide by 0.062 inch (1.6 mm) thick.  Tie fits over top of rafter or truss and fastens to both sides of rafter or truss, face of top plates, and side of stud below.

O. Floor-to-Floor Ties:  Flat straps, with holes for fasteners, for tying upper floor wall studs to band joists and lower floor studs, 1-1/4 inches (32 mm) wide by 0.050 inch (1.3 mm) thick by 36 inches (914 mm) long.

P. Hold-Downs:  Brackets for bolting to wall studs and securing to foundation walls with anchor bolts or to other hold-downs with threaded rods and designed with first of two bolts placed seven bolt diameters from reinforced base.

1. Bolt Diameter:  [5/8 inch (15.8 mm)] [3/4 inch (19 mm)].

2. Width:  [2-1/2 inches (64 mm)] [3-3/16 inches (81 mm)].

3. Body Thickness:  [0.108 inch (2.8 mm)] [0.138 inch (3.5 mm)].

4. Base Reinforcement Thickness:  [0.108 inch (2.8 mm)] [0.239 inch (6.1 mm)].

Q. Wall Bracing:  T-shaped bracing made for letting into studs in saw kerf, 1-1/8 inches (29 mm) wide by 9/16 inch (14 mm) deep by 0.034 inch (0.85 mm) thick with hemmed edges.

R. Wall Bracing:  Angle bracing made for letting into studs in saw kerf, 15/16 by 15/16 by 0.040 inch (24 by 24 by 1 mm) thick with hemmed edges.

2.11 MISCELLANEOUS MATERIALS

A. Sill-Sealer Gaskets:  Glass-fiber-resilient insulation, fabricated in strip form, for use as a sill sealer; 1-inch (25-mm) nominal thickness, compressible to 1/32 inch (0.8 mm); selected from manufacturer's standard widths to suit width of sill members indicated.

Delete paragraph above or first paragraph below, or both.  Above is suitable for dry masonry.  Below is more suitable for applications close to the ground or likely to remain damp.

B. Sill-Sealer Gaskets:  Closed-cell neoprene foam, 1/4 inch (6.4 mm) thick, selected from manufacturer's standard widths to suit width of sill members indicated.

C. Adhesives for Gluing [Furring] [and] [Sleepers] to Concrete or Masonry:  Formulation complying with ASTM D 3498 that is approved for use indicated by adhesive manufacturer.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for multipurpose construction adhesives.

1. Use adhesives that have a VOC content of [70] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Treatment below is for exposed ends of posts and beams, not for treating cuts in preservative-treated lumber.

D. Water-Repellent Preservative:  NWWDA-tested and -accepted formulation containing 3-iodo-2-propynyl butyl carbamate, combined with an insecticide containing chloropyrifos as its active ingredient.

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Set rough carpentry to required levels and lines, with members plumb, true to line, cut, and fitted.  Fit rough carpentry to other construction; scribe and cope as needed for accurate fit.  Locate [furring, ]nailers, blocking, [grounds, ]and similar supports to comply with requirements for attaching other construction.

B. Framing Standard:  Comply with AF&PA's "Details for Conventional Wood Frame Construction," unless otherwise indicated.

Delete paragraph below if engineered wood products are not used.

C. Framing with Engineered Wood Products:  Install engineered wood products to comply with manufacturer's written instructions.

Delete first paragraph below if metal framing anchors are not used.

D. Metal Framing Anchors:  Install metal framing to comply with manufacturer's written instructions.

E. Do not splice structural members between supports, unless otherwise indicated.

F. Provide blocking and framing as indicated and as required to support facing materials, fixtures, specialty items, and trim.

1. Provide metal clips for fastening gypsum board or lath at corners and intersections where framing or blocking does not provide a surface for fastening edges of panels.  Space clips not more than 16 inches (406 mm) o.c.

G. Provide fire blocking in furred spaces, stud spaces, and other concealed cavities as indicated and as follows:

Delete first subparagraph below if no furred walls.

1. Fire block furred spaces of walls, at each floor level, at ceiling, and at not more than 96 inches (2438 mm) o.c. with solid wood blocking or noncombustible materials accurately fitted to close furred spaces.

2. Fire block concealed spaces of wood-framed walls and partitions at each floor level, at ceiling line of top story, and at not more than 96 inches (2438 mm) o.c.  Where fire blocking is not inherent in framing system used, provide closely fitted solid wood blocks of same width as framing members and 2-inch nominal- (38-mm actual-) thickness.

Delete subparagraph below if floors supported on sleepers are not used.

3. Fire block concealed spaces between floor sleepers with same material as sleepers to limit concealed spaces to not more than 100 sq. ft. (9.3 sq. m) and to solidly fill space below partitions.

Usually show and describe fire blocking for cornices and trim on Drawings.

4. Fire block concealed spaces behind combustible cornices and exterior trim at not more than 20 feet (6 m) o.c.

H. Sort and select lumber so that natural characteristics will not interfere with installation or with fastening other materials to lumber.  Do not use materials with defects that interfere with function of member or pieces that are too small to use with minimum number of joints or optimum joint arrangement.

I. Comply with AWPA M4 for applying field treatment to cut surfaces of preservative-treated lumber.

1. Use inorganic boron for items that are continuously protected from liquid water.

2. Use copper naphthenate for items not continuously protected from liquid water.

J. Securely attach rough carpentry work to substrate by anchoring and fastening as indicated, complying with the following:

If retaining subparagraph below, verify that this is acceptable to authorities having jurisdiction.  Also retain one of the other subparagraphs that references a model code fastener schedule complying with local requirements.  Fasteners covered by NES NER-272 are manufactured by member companies of the International Staple, Nail and Tool Association.

1. NES NER-272 for power-driven fasteners.

Retain one of six subparagraphs below, with or without subparagraph above, as required to comply with requirements of Project and local codes.

2. Table 2304.9.1, "Fastening Schedule," in ICC's International Building Code.

3. Table 23-II-B-1, "Nailing Schedule," and Table 23-II-B-2, "Wood Structural Panel Roof Sheathing Nailing Schedule," in ICBO's Uniform Building Code.

4. Table 2305.2, "Fastening Schedule," in BOCA's BOCA National Building Code.

5. Table 2306.1, "Fastening Schedule," in SBCCI's Standard Building Code.

6. Table R602.3(1), "Fastener Schedule for Structural Members," and Table R602.3(2), "Alternate Attachments," in ICC's International Residential Code for One- and Two-Family Dwellings.

7. Table 602.3(1), "Fastener Schedule for Structural Members," and Table 602.3(2), "Alternate Attachments," in ICC's International One- and Two-Family Dwelling Code.

Revise paragraph below to include other kinds of nails if required.

K. Use common wire nails, unless otherwise indicated.  Select fasteners of size that will not fully penetrate members where opposite side will be exposed to view or will receive finish materials.  Make tight connections between members.  Install fasteners without splitting wood; do not countersink nail heads, unless otherwise indicated.

Delete paragraph and subparagraphs below if no exposed framing.

L. For exposed work, arrange fasteners in straight rows parallel with edges of members, with fasteners evenly spaced, and with adjacent rows staggered.

Select first option in subparagraph below if Contractor is required to submit fastener patterns for approval; select second option if fastener patterns are shown on Drawings.  Fastener patterns help ensure a good appearance.

1. Comply with [approved] [indicated] fastener patterns where applicable.[  Before fastening, mark fastener locations, using a template made of sheet metal, plastic, or cardboard.]

Delete subparagraph below if finishing nails will not comply with structural requirements or if appearance of common nails, lag screws, etc., is desired.

2. Use finishing nails, unless otherwise indicated.  [Do not countersink nail heads] [Countersink nail heads and fill holes with wood filler].

Indicate locations of other fasteners, such as wood screws, bolts, and lag screws, on Drawings.

3.2 WOOD [GROUND,] [SLEEPER,] BLOCKING, AND NAILER INSTALLATION

A. Install where indicated and where required for[ screeding or] attaching other work.  Form to shapes indicated and cut as required for true line and level of attached work.  Coordinate locations with other work involved.

B. Attach items to substrates to support applied loading.  Recess bolts and nuts flush with surfaces, unless otherwise indicated.

Retain paragraph below for conventional, not veneer, plaster.

C. Provide permanent grounds of dressed, pressure-preservative-treated, key-beveled lumber not less than 1-1/2 inches (38 mm) wide and of thickness required to bring face of ground to exact thickness of finish material.  Remove temporary grounds when no longer required.

Insert other specific requirements as needed for work.

3.3 WOOD FURRING INSTALLATION

A. Install level and plumb with closure strips at edges and openings.  Shim with wood as required for tolerance of finish work.

Retain applicable types from two paragraphs below; revise if closer spacing is required for material fastened.

B. Furring to Receive Plywood or Hardboard Paneling:  Install 1-by-3-inch nominal- (19-by-63-mm actual-) size furring [horizontally] [and] [vertically] at [24 inches (610 mm)] [600 mm] o.c.

C. Furring to Receive [Gypsum Board] [Plaster Lath]:  Install 1-by-2-inch nominal- (19-by-38-mm actual-) size furring vertically at [16 inches (406 mm)] [400 mm] o.c.

If framing is minor in scope and importance, delete remaining framing installation articles.  Review framing requirements for compliance with local building code.

3.4 WALL AND PARTITION FRAMING INSTALLATION

A. General:  Provide single bottom plate and double top plates using members of 2-inch nominal (38-mm actual) thickness whose widths equal that of studs, except single top plate may be used for non-load-bearing partitions[ and for load-bearing partitions where framing members bearing on partition are located directly over studs].  Fasten plates to supporting construction, unless otherwise indicated.

Select one of two stud sizes and one of four spacings in subparagraph below; third and fourth stud spacings are for metric module.

1. For exterior walls, provide [2-by-6-inch nominal- (38-by-140-mm actual-)] [2-by-4-inch nominal- (38-by-89-mm actual-)] size wood studs spaced [24 inches (610 mm)] [16 inches (406 mm)] [600 mm] [400 mm] o.c., unless otherwise indicated.

Select one of three stud sizes and one of four spacings in subparagraph below; third and fourth stud spacings are for metric module.

2. For interior partitions and walls, provide [2-by-6-inch nominal- (38-by-140-mm actual-)] [2-by-4-inch nominal- (38-by-89-mm actual-)] [2-by-3-inch nominal- (38-by-64-mm actual-)] size wood studs spaced [24 inches (610 mm)] [16 inches (406 mm)] [600 mm] [400 mm] o.c., unless otherwise indicated.

Delete subparagraph below if not applicable or required.

3. Provide continuous horizontal blocking at midheight of partitions more than 96 inches (2438 mm) high, using members of 2-inch nominal (38-mm actual) thickness and of same width as wall or partitions.

B. Construct corners and intersections with three or more studs[, except that two studs may be used for interior non-load-bearing partitions].

C. Frame openings with multiple studs and headers.  Provide nailed header members of thickness equal to width of studs.  Support headers on jamb studs.

Two subparagraphs below refer to load-bearing and non-load-bearing construction.  Designate load-bearing walls on Drawings if retaining this distinction.

1. For non-load-bearing partitions, provide double-jamb studs and headers not less than 4-inch nominal (89-mm actual) depth for openings 48 inches (1200 mm) and less in width, 6-inch nominal (140-mm actual) depth for openings 48 to 72 inches (1200 to 1800 mm) in width, 8-inch nominal (184-mm actual) depth for openings 72 to 120 inches (1800 to 3000 mm) in width, and not less than 10-inch nominal (235-mm actual) depth for openings 10 to 12 feet (3 to 3.6 m) in width.

Retain subparagraph above or below if applicable.  Revise if single-jamb studs are acceptable.

2. For load-bearing walls, provide double-jamb studs for openings 60 inches (1500 mm) and less in width, and triple-jamb studs for wider openings.  Provide headers of depth indicated[ or, if not indicated, according to Table R502.5(1) or Table R502.5(2), as applicable, in ICC's International Residential Code for One- and Two-Family Dwellings].

Retain paragraph below unless sheathing provides required bracing.  If retaining second option below, indicate locations on Drawings.  Change "bracing" to "wind bracing," "seismic bracing," etc., to match term used in code, where applicable.

D. Provide diagonal bracing in [exterior walls, at both walls of each external corner] [walls, at locations indicated], at 45-degree angle, full-story height, unless otherwise indicated.  Use [1-by-4-inch nominal- (19-by-89-mm actual-) size boards, let-in flush with faces of studs] [metal wall bracing, let into studs in saw kerf].

Insert requirements for framing gables, bays, and other special conditions or show on Drawings.

3.5 FLOOR JOIST FRAMING INSTALLATION

A. General:  Install floor joists with crown edge up and support ends of each member with not less than 1-1/2 inches (38 mm) of bearing on wood or metal, or 3 inches (76 mm) on masonry.  Attach floor joists as follows:

1. Where supported on wood members, by[ toe nailing or by] using metal framing anchors.

2. Where framed into wood supporting members, by using wood ledgers as indicated or, if not indicated, by using metal joist hangers.

B. Fire Cuts:  At joists built into masonry, bevel cut ends 3 inches (76 mm) and do not embed more than 4 inches (102 mm).

C. Frame openings with headers and trimmers supported by metal joist hangers; double headers and trimmers where span of header exceeds 48 inches (1200 mm).

D. Do not notch in middle third of joists; limit notches to one-sixth depth of joist, one-third at ends.  Do not bore holes larger than 1/3 depth of joist; do not locate closer than 2 inches (50 mm) from top or bottom.

E. Provide solid blocking of 2-inch nominal (38-mm actual) thickness by depth of joist at ends of joists unless nailed to header or band.

Retain applicable requirements in first paragraph below.

F. Lap members framing from opposite sides of beams, girders, or partitions not less than 4 inches (102 mm) or securely tie opposing members together.  Provide solid blocking of 2-inch nominal (38-mm actual) thickness by depth of joist over supports.

G. Anchor members paralleling masonry with 1/4-by-1-1/4-inch (6.4-by-32-mm) metal strap anchors spaced not more than 96 inches (2438 mm) o.c., extending over and fastening to 3 joists.  Embed anchors at least 4 inches (102 mm) into grouted masonry with ends bent at right angles and extending 4 inches (102 mm) beyond bend.

H. Provide solid blocking between joists under jamb studs for openings.

I. Under non-load-bearing partitions, provide double joists separated by solid blocking equal to depth of studs above.

Delete subparagraph below if not applicable.

1. Provide triple joists separated as above, under partitions receiving ceramic tile and similar heavy finishes or fixtures.

Revise paragraph and subparagraphs below to suit various building code requirements.  Below is based on the 2000 International Building Code.

J. Provide bridging of type indicated below, at intervals of 96 inches (2438 mm) o.c., between joists.

1. Diagonal wood bridging formed from bevel-cut, 1-by-3-inch nominal- (19-by-64-mm actual-) size lumber, double-crossed and nailed at both ends to joists.

2. Steel bridging installed to comply with bridging manufacturer's written instructions.

3.6 CEILING JOIST AND RAFTER FRAMING INSTALLATION

A. Ceiling Joists:  Install ceiling joists with crown edge up and complying with requirements specified above for floor joists.  Face nail to ends of parallel rafters.

Delete subparagraph below if not applicable.  This condition requires subflooring or stringers, as specified, to provide cross-tie.

1. Where ceiling joists are at right angles to rafters, provide additional short joists parallel to rafters from wall plate to first joist; nail to ends of rafters and to top plate and nail to first joist or anchor with framing anchors or metal straps.  Provide 1-by-8-inch nominal- (19-by-184-mm actual-) size or 2-by-4-inch nominal- (38-by-89-mm actual-) size stringers spaced 48 inches (1200 mm) o.c. crosswise over main ceiling joists.

B. Rafters:  Notch to fit exterior wall plates and[ toe nail or] use metal framing anchors.  Double rafters to form headers and trimmers at openings in roof framing, if any, and support with metal hangers.  Where rafters abut at ridge, place directly opposite each other and nail to ridge member or use metal ridge hangers.

1. At valleys, provide double-valley rafters of size indicated or, if not indicated, of same thickness as regular rafters and 2 inches (50 mm) deeper.  Bevel ends of jack rafters for full bearing against valley rafters.

Delete subparagraph above or below, or both if not applicable.

2. At hips, provide hip rafter of size indicated or, if not indicated, of same thickness as regular rafters and 2 inches (50 mm) deeper.  Bevel ends of jack rafters for full bearing against hip rafter.

First paragraph below is recommended.  Delete if not required.

C. Provide collar beams (ties) as indicated or, if not indicated, provide 1-by-6-inch nominal- (19-by-140-mm actual-) size boards between every third pair of rafters, but not more than 48 inches (1219 mm) o.c.  Locate below ridge member, at third point of rafter span.  Cut ends to fit roof slope and nail to rafters.

D. Provide special framing as indicated for eaves, overhangs, dormers, and similar conditions, if any.

3.7 TIMBER FRAMING INSTALLATION

Retain this Article if any timber beams, girders, posts, or columns are indicated.  Edit to suit Project.

A. Install timber with crown edge up and provide not less than 4 inches (102 mm) of bearing on supports.  Provide continuous members, unless otherwise indicated; tie together over supports as indicated if not continuous.

Delete first paragraph below if not applicable.

B. Where beams or girders are framed into pockets of exterior concrete or masonry walls, provide 1/2-inch (13-mm) air space at sides and ends of wood members.

C. Install wood posts using metal anchors indicated.

D. Treat ends of timber beams and posts exposed to weather by dipping in water-repellent preservative for 15 minutes.

3.8 STAIR FRAMING INSTALLATION

A. Provide stair framing members of size, space, and configuration indicated or, if not indicated, to comply with the following requirements:

Subparagraphs below are examples only.  Revise to suit Project and design loads required by building code.  Treads and risers are finish carpentry.

1. Stringer Size:  2-by-12-inch nominal- (38-by-286-mm actual-) size, minimum.

2. Stringer Material:  [Laminated-veneer lumber] [parallel-strand lumber] [or] [solid lumber].

3. Notching:  Notch stringers to receive treads, risers, and supports; leave at least 3-1/2 inches (89 mm) of effective depth.

4. Stringer Spacing:  At least 3 stringers for each 36-inch (914-mm) clear width of stair.

Below is an example only based on NFPA 101 requirements.  Revise if more stringent tolerances are required.  Coordinate with installation requirements for treads and risers in Division 6 Section "Finish Carpentry."

B. Provide stair framing with no more than 3/16-inch (4.7-mm) variation between adjacent treads and risers and no more than 3/8-inch (9.5-mm) variation between largest and smallest treads and risers within each flight.

3.9 PROTECTION

Delete this Article if site-applied boron treatment is specified in Division 2 Section "Termite Control."

Delete paragraph below if option allowing inorganic boron treatment is not retained in Part 2.

A. Protect wood that has been treated with inorganic boron (SBX) from weather.  If, despite protection, inorganic boron-treated wood becomes wet, apply EPA-registered borate treatment.  Apply borate solution by spraying to comply with EPA-registered label.

Retain paragraph below instead of above if boron-treated wood is not used, but borate treatment of wood that has become wet is used to help prevent mold and mildew.  Delete if site-applied boron treatment is specified in Division 2 Section "Termite Control."

B. Protect rough carpentry from weather.  If, despite protection, rough carpentry becomes wet, apply EPA-registered borate treatment.  Apply borate solution by spraying to comply with EPA-registered label.

END OF SECTION 06100END OF SECTION 06100

ROUGH CARPENTRY
06100 - 1

