Copyright 2006 AIA
MASTERSPEC Full Length
05/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 06185 - STRUCTURAL GLUED-LAMINATED TIMBER
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section includes framing using structural glued-laminated timber.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 6 Section "Rough Carpentry" for dimension lumber items associated with structural glued-laminated timber.

2. Division 6 Section "Heavy Timber Construction" for framing using [timbers] [and] [round wood poles].

Note that Section in subparagraph below contains tongue-and-groove wood decking, not wood patio decking.

3. Division 6 Section "Wood Decking" for wood [roof] [and] [floor] decking.

1.3 DEFINITIONS

Retain definition remaining after this Section has been edited.

A. Structural Glued-Laminated (Glulam) Timber:  An engineered, stress-rated timber product assembled from selected and prepared wood laminations bonded together with adhesives and with the grain of the laminations approximately parallel longitudinally.

1.4 PERFORMANCE REQUIREMENTS

Retain first paragraph below if Contractor is required to assume responsibility for design.

A. Delegated Design:  Design structural glued-laminated timber and connectors, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

B. Structural Performance:  Structural glued-laminated timber and connectors shall withstand the effects of structural loads shown on Drawings without exceeding allowable design working stresses listed in AITC 117 or determined according to ASTM D 3737 and acceptable to authorities having jurisdiction.

Retain paragraph below for projects requiring seismic design.  Model building codes and SEI/ASCE 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.  If retaining paragraph, show seismic design criteria on Drawings.

C. Seismic Performance:  Structural glued-laminated timber and connectors shall withstand the effects of earthquake motions determined according to [SEI/ASCE 7] <Insert requirement>.

1.5 SUBMITTALS

First four paragraphs below are defined in Division 1 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.

1. Include data on lumber, adhesives, fabrication, and protection.

Delete first subparagraph below if preservative treatment is not required.

2. For preservative-treated wood products, include chemical treatment manufacturer's written instructions for handling, storing, installing, and finishing treated material.

3. For connectors, include installation instructions.

B. LEED Submittals:

Retain first subparagraph below and "Forest Certification" Paragraph in "Quality Assurance" Article if glulams are required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

1. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that wood used for structural glued-laminated timber complies with forest certification requirements.  Include evidence that manufacturer is certified for chain of custody by an FSC-accredited certification body.

a. Include statement indicating costs for each certified wood product.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

2. Product Data for Credit EQ 4.4:  For laminating adhesive used for structural glued-laminated timber, indicating that product contains no urea formaldehyde.

Usually delete first paragraph below except for high-quality exposed work or where glulam construction is required to meet structural performance requirements.

C. Shop Drawings:

1. Show layout of structural glued-laminated timber system and full dimensions of each member.

2. Indicate species and laminating combination, adhesive type, and other variables in required work.

Usually delete subparagraph below and show connection details on Drawings.

3. Include large-scale details of connections.

Usually delete first paragraph below if typical appearance of glulam is acceptable; consider retaining for high-quality exposed work.

D. Samples:  Full width and depth, 24 inches (600 mm) long, showing the range of variation to be expected in appearance of structural glued-laminated timber[, including variations due to specified treatment].

Retain subparagraph below only if a factory finish is required.

1. Apply specified factory finish to three sides of half length of each Sample.

First paragraph below is defined in Division 1 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

E. Delegated-Design Submittal:  For structural glued-laminated timber and timber connectors indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Remaining paragraphs are defined in Division 1 Section "Submittal Procedures" as "Informational Submittals."

Retain first paragraph below unless only stock beams are used.

F. Certificates of Conformance:  Issued by a qualified testing and inspecting agency indicating that structural glued-laminated timber complies with requirements in AITC A190.1.

G. Material Certificates:  For preservative-treated wood products, from manufacturer.  Indicate type of preservative used and net amount of preservative retained.[  For products receiving a waterborne treatment, include statement that moisture content of treated materials was reduced to levels specified before shipment to Project site.]

H. Research/Evaluation Reports:  For [structural glued-laminated timber] [and] [timber connectors], from <Insert applicable model code organization>.

1.6 QUALITY ASSURANCE

Usually retain first paragraph below unless work is nonstructural or of unusual species and design.  Revise if other certification is required.  Retain option if required for LEED-NC or LEED-CI Credit MR 7.  Before retaining, verify that manufacturers selected comply.

A. Manufacturer Qualifications:  Provide factory-glued structural units produced by an AITC- or APA-licensed firm[ that is certified for chain of custody by an FSC-accredited certification body].

1. Factory mark each piece of structural glued-laminated timber with AITC Quality Mark or APA-EWS trademark.  Place mark on surfaces that will not be exposed in the completed Work.

B. Quality Standard:  Comply with AITC A190.1.

Retain paragraph below if glulams are required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.  An alternative method of meeting Credit MR 7 requirement is to retain requirement in Division 1 Section "LEED Requirements" that gives Contractor option and responsibility for determining how Credit MR 7 requirement will be met.

C. Forest Certification:  Provide structural glued-laminated timber produced from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship."

1.7 DELIVERY, STORAGE, AND HANDLING

A. General:  Comply with provisions in AITC 111.

Usually retain paragraph below.

B. Individually wrap members using plastic-coated paper covering with water-resistant seams.

PART 2 -  PRODUCTS

2.1 STRUCTURAL GLUED-LAMINATED TIMBER

A. General:  Provide structural glued-laminated timber that complies with AITC 117 or research/evaluation reports acceptable to authorities having jurisdiction.

If selecting more than one species or "Any species" option in first two paragraphs below, and if uniform appearance is critical, retain first subparagraph below.

1. Provide structural glued-laminated timber made from single species.

Retain first subparagraph below if appearance is critical and use of laminated veneer lumber in tension laminations is objectionable.

2. Provide structural glued-laminated timber made from solid lumber laminations; do not use laminated veneer lumber.

Usually retain first subparagraph below, even for dry-use applications, because it is not affected by wetting during delivery and construction.

3. Provide structural glued-laminated timber made with wet-use adhesive complying with ASTM D 2559.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4; wet-use adhesives generally do not contain urea formaldehyde.

a. Use adhesive that contains no urea-formaldehyde resins.

B. Species and Grades for Structural Glued-Laminated Timber:  [Alaska cedar] [Douglas fir-larch] [Southern pine] [Any species] <Insert species> in grades needed to comply with "Performance Requirements" Article.

Retain paragraph above if manufacturer designs glulam.  Retain one or more of first four paragraphs below if engineer of record designs glulam.

Retain first paragraph below if structural properties, combination symbols, or beam stress classifications are indicated on Drawings.

C. Species and Grades for Structural Glued-Laminated Timber:  [Alaska cedar] [Douglas fir-larch] [Southern pine] [Any species] <Insert species> that complies with [structural properties] [combination symbols] [beam stress classifications] indicated.

Retain one or more of first three paragraphs below if beam stress classifications or combination symbols are to be included in the Specifications.  Copy and revise first paragraph if separate requirements are needed for beams and for purlins.

D. Species and Grades for [Beams] [and] [Purlins]:

Usually retain first two subparagraphs below and delete third.  First subparagraph includes examples of typical beam stress classifications.  Douglas fir-larch and southern pine are also available in 26F-1.9E; southern pine is also available in 28F-2.1E.

1. Species and Beam Stress Classification:  [Ponderosa pine, 16F-1.3E] [Alaska cedar, 20F-1.5E] [Eastern spruce, 20F-1.5E] [Any species, 20F-1.5E] [Any species, 24F-1.7E] [Douglas fir-larch, 24F-1.8E] [Southern pine, 24F-1.8E] [Douglas fir-larch or southern pine, 24F-1.8E] [Southern pine, 30F-2.1E] <Insert species and beam stress classification>.

Retain one of two options in first subparagraph below.  Balanced lay-ups are for cantilevered and continuous span applications but can be used for simple spans; unbalanced lay-ups are for simple spans.

2. Lay-up:  [Balanced] [Either balanced or unbalanced].

If a specific glulam combination is required for appearance or structural reasons, delete both subparagraphs above and retain subparagraph below.  Review lay-up combinations in referenced publications and insert acceptable combination symbols if retaining below.

3. Species and Combination Symbol:  <Insert species and combination symbol>.

E. Species and Grades for Arches:

Usually retain first two subparagraphs below and delete third.  First subparagraph includes examples of typical beam stress classifications.

1. Species and Beam Stress Classification:  [Alaska cedar, 20F-1.5E] [Eastern spruce, 20F-1.5E] [Any species, 20F-1.5E] [Any species, 24F-1.7E] [Douglas fir-larch, 24F-1.8E] [Southern pine, 24F-1.8E] [Douglas fir-larch or southern pine, 24F-1.8E] <Insert species and beam stress classification>.

Retain one of two options in first subparagraph below.

2. Lay-up:  [Balanced] [Either balanced or unbalanced].

If a specific glulam combination is required for appearance or structural reasons, delete both subparagraphs above and retain subparagraph below, which includes examples of typical combinations.  First three options are balanced; last three are unbalanced.  All use No. 1 grade lumber in the outer tension and compression zones; southern pine combinations use No. 2 grade lumber in core, and others use No. 3 grade lumber in core.

3. Species and Combination Symbol:  [Alaska cedar, 20F-V13 WS] [Douglas fir-larch, 24F-V8 WS] [Southern pine, 24F-V5 SP] [Alaska cedar, 20F-V12 WS] [Douglas fir-larch, 24F-V4 WS] [Southern pine, 24F-V3 SP] <Insert species and combination symbol>.

F. Species and Grades for [Columns] [and] [Truss Members]:

Retain one of two subparagraphs below.  First subparagraph includes examples of typical visually graded combinations.  First option is made from No. 2 lumber, second from No. 3, third from No. 2 dense, fourth from No. 2, and fifth from No. 1 dense.

1. Species and Combination Symbol:  [Alaska cedar, 70] [Douglas fir-larch, 1] [Douglas fir-larch, 3] [Southern pine, 47] [Southern pine, 50] <Insert species and combination symbol>.

Subparagraph below includes examples of options for either visually graded or E-rated combinations.

2. Species and Combination Symbol:  [Douglas fir-larch, 1 or 27] [Douglas fir-larch, 3 or 30] [Douglas fir-larch, 3 or 31] [Southern pine, 47 or 53] [Southern pine, 47 or 54] [Southern pine, 47 or 55] [Southern pine, 50 or 56] [Southern pine, 50 or 57] <Insert species and combination symbol>.

Usually retain first paragraph below.  Premium grade is the best for appearance and may require longer lead time, Architectural grade is for transparent or painted finish, and Industrial and Framing grades are for use where appearance is not important.  Framing grade is hit or miss, surfaced on two sides only so it is the full width of lumber used for laminations.  Appearance grades do not determine number or size of knots and other defects allowed; these requirements are determined by combination symbol or structural properties specified.

G. Appearance Grade:  [Premium] [Architectural] [Industrial] [Framing], complying with AITC 110.

Retain subparagraph below with Premium grade if putty-type filler is unacceptable for larger holes.  Verify availability with manufacturers.

1. Use clear wood inserts, of matching grain and color, for filling voids and knot holes more than 1/4 inch (6 mm) wide.

Retain one of first two paragraphs below if treated glulams are required.  Consult fabricators for available treatments.  See Evaluations.

H. Preservative Treatment after Fabrication:  Where preservative-treated structural glued-laminated timber is indicated, pressure treat after fabrication according to AWPA C28.

Treatment in first subparagraph below is listed in AWPA C28 for aboveground use with southern pine, western hemlock, and hem-fir; is oil borne rather than waterborne; is a water repellent; does not discolor wood; and can be used in contact with agricultural food products.

1. Use oxine copper (copper-8-quinolinolate) in a light petroleum solvent.

Treatment in first subparagraph below is listed in AWPA C28 for ground contact and aboveground use with southern pine, coastal Douglas fir, western hemlock, and hem-fir; is oil borne rather than waterborne; and discolors wood.

2. Use copper naphthenate in a light petroleum solvent.

Usually retain first subparagraph below if glued-laminated timber is to receive a finish.  Water repellents and oil-borne treatments may interfere with application of water-based finishes.

3. Use preservative solution without[ water repellents or] substances that might interfere with application of indicated finishes.

Retain subparagraph below if the appearance of incising is objectionable.  Incising is not required for southern pine; failure to incise other species may make it difficult to obtain adequate retention levels and may lead to surface-appearance problems.

4. Do not incise structural glued-laminated timber.

I. Preservative Treatment before Fabrication:  Where preservative-treated structural glued-laminated timber is indicated, pressure treat lumber before gluing according to AWPA C28.

Treatment in first subparagraph below is listed in AWPA C28 only for aboveground use with southern pine, is oil borne rather than waterborne, is a water repellent, does not discolor wood, and can be used in contact with agricultural food products.

1. Use oxine copper (copper-8-quinolinolate) in a light petroleum solvent.

Treatment in first subparagraph below is listed in AWPA C28 for ground contact and aboveground use with southern pine, coastal Douglas fir, western hemlock, and hem-fir; is oil borne rather than waterborne; and discolors wood.

2. Use copper naphthenate in a light petroleum solvent.

Treatments in first subparagraph below are listed in AWPA C28 for ground contact and aboveground use; they discolor wood and some can promote galvanic corrosion of timber connectors.

3. Use a waterborne preservative that is acceptable to authorities having jurisdiction[ and that contains no arsenic or chromium].

Usually retain first subparagraph below if glued-laminated timber is to receive a finish.  Water repellents and oil-borne treatments may interfere with application of water-based finishes.

4. Use preservative solution without[ water repellents or] substances that might interfere with application of indicated finishes.

Retain first subparagraph below if the appearance of incising is objectionable.  Incising is not required for southern pine; failure to incise other species may make it difficult to obtain adequate retention levels and may lead to surface appearance problems.  Surfacing during fabrication will reduce the appearance of incising.

5. Do not incise wood used for producing structural glued-laminated timber.

Subparagraph below may be deleted for southern pine used in aboveground applications.

6. After dressing and fabricating members, apply a field-treatment preservative to comply with AWPA M4 to surfaces cut to a depth of more than 1/16 inch (1.5 mm).

If retaining subparagraph above, usually retain one or both subparagraphs below; standard referenced above also allows creosote.  Treatment in first subparagraph below is waterborne and does not discolor wood; treatment in second is oil borne and discolors wood.

a. Use inorganic boron (SBX) treatment for members not in contact with the ground and continuously protected from liquid water.

b. Use copper naphthenate treatment for members in contact with the ground or not continuously protected from liquid water.

J. End Sealer:  Manufacturer's standard, transparent, colorless wood sealer that is effective in retarding the transmission of moisture at cross-grain cuts and is compatible with indicated finish.

K. Penetrating Sealer:  Manufacturer's standard, transparent, penetrating wood sealer that is compatible with indicated finish.

2.2 TIMBER CONNECTORS

A. General:  Unless otherwise indicated, fabricate from the following materials:

1. Structural-steel shapes, plates, and flat bars complying with ASTM A 36/A 36M.

2. Round steel bars complying with ASTM A 575, Grade M 1020.

3. Hot-rolled steel sheet complying with ASTM A 1011/A 1011M, Structural Steel, Type SS, Grade 33.

Type 304 stainless steel is usually standard; Type 316 gives better corrosion resistance in coastal environments.  Type 316 is more expensive and cannot be distinguished from Type 304 except by chemical tests.

4. Stainless-steel plate and flat bars complying with ASTM A 666, [Type 304] [Type 316].

5. Stainless-steel bars and shapes complying with ASTM A 276, [Type 304] [Type 316].

6. Stainless-steel sheet complying with ASTM A 666, [Type 304] [Type 316].

Paragraphs below are example descriptions of typical timber connectors.  Delete types not required and revise descriptions to suit products selected.  Thicknesses of steel sheet and plate may have to be adjusted for connector sizes.  Show details of connectors on Drawings.

B. Fabricate beam seats from [steel] [stainless steel] with [0.239-inch (6-mm)] [3/16-inch (5-mm)] [3/8-inch (9.5-mm)] bearing plates, 3/4-inch- (19-mm-) diameter-by-12-inch- (300-mm-) long deformed bar anchors, and 0.239-inch (6-mm) side plates.

C. Fabricate arch base shoes from [steel] [stainless steel] with 1-inch (25-mm) base plates and 3/8-inch (9.5-mm) side plates.

D. Fabricate beam hangers from [steel] [stainless steel] with 0.179-inch (4.6-mm) stirrups and 0.239-inch (6-mm) top plates.

E. Fabricate hinge connectors from [steel] [stainless steel] with 0.179-inch (4.6-mm) side plates and [3/4-inch (19-mm)] [1-inch (25-mm)] top and bottom plates.

F. Fabricate strap ties from [steel] [stainless steel], [2-1/2 inches (63 mm) wide by 0.179 inch (4.6 mm)] [3 inches (75 mm) wide by 0.239 inch (6 mm)] thick.

G. Fabricate tie rods from round steel bars with upset threads connected with forged-steel turnbuckles complying with ASTM A 668/A 668M.

H. Provide bolts, 3/4 inch (19 mm) unless otherwise indicated, complying with ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6); nuts complying with ASTM A 563 (ASTM A 563M); and, where indicated, flat washers.

I. Provide shear plates, [2-5/8 inches (66.7 mm)] [4 inches (102 mm)] in diameter, complying with ASTM D 5933.

J. Finish steel assemblies and fasteners with rust-inhibitive primer, 2-mil (0.05-mm) dry film thickness.

Usually retain last paragraph above for dry use and mild moisture exposure.  Delete above and retain paragraph below for more severe wet use.

K. Hot-dip galvanize steel assemblies and fasteners after fabrication to comply with ASTM A 123/A 123M or ASTM A 153/A 153M.

2.3 FABRICATION

It is often advisable to allow Contractor to order glulams slightly long, cut them to length, and machine them for connections at Project site to ensure a proper fit.  Delete first paragraph below if Project-site fitting is allowed.

A. Shop fabricate for connections to greatest extent possible, including cutting to length and drilling bolt holes.

1. Dress exposed surfaces to remove planing or surfacing marks and to provide a finish equivalent to that produced by machine sanding with No. 120 grit sandpaper.

B. Camber:  Fabricate horizontal and inclined members of less than 1:1 slope with either circular or parabolic camber equal to 1/500 of span.

Usually retain first paragraph below.

C. End-Cut Sealing:  Immediately after end cutting each member to final length[ and after preservative treatment], apply a saturation coat of end sealer to ends and other cross-cut surfaces, keeping surfaces flood coated for not less than 10 minutes.

Usually retain paragraph below regardless of whether glulams are to remain unfinished or are factory or job finished.  If seal coat is applied off-site, VOC limit for LEED-NC or LEED-CI Credit EQ 4.2 is not applicable.

D. Seal Coat:  After fabricating, sanding, and end-coat sealing, apply a heavy saturation coat of penetrating sealer on surfaces of each unit[, except for preservative-treated wood where treatment included a water repellent].

2.4 FACTORY FINISHING

Retain this article for factory finishing.  If finish is applied off-site, VOC limit for LEED-NC or LEED-CI Credit EQ 4.2 is not applicable.

Finish in first paragraph below is an example of a typical general-use stain finish.  Consult manufacturers for other types; use caution in selecting transparent coatings, particularly for exterior and wet-use exposures.

A. Wiped Stain Finish:  Manufacturer's standard, dry-appearance, penetrating acrylic stain and sealer; oven dried and resistant to mildew and fungus.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

Finish in paragraph below is an example of a typical general-use clear finish.  Verify availability with manufacturers.  Clear coatings are not recommended for exterior and wet-use exposures.

B. Clear Finish:  Manufacturer's standard, two-coat, clear conversion varnish finish; oven dried and resistant to mildew and fungus.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates in areas to receive structural glued-laminated timber, with Installer present, for compliance with requirements, installation tolerances, and other conditions affecting performance of structural glued-laminated timber.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. General:  Erect structural glued-laminated timber true and plumb, and with uniform, close-fitting joints.  Provide temporary bracing to maintain lines and levels until permanent supporting members are in place.

1. Lift with padded slings and protect corners with wood blocking.

Retain first subparagraph below if Shop Drawings are required.

2. Install structural glued-laminated timber to comply with Shop Drawings.

3. Install timber connectors as indicated.

B. Framing Built into Masonry:  Provide 1/2-inch (13-mm) clearance at tops, sides, and ends of members built into masonry; bevel cut ends 3 inches (76 mm); and do not embed more than 4 inches (102 mm) unless otherwise indicated.

Delete first paragraph below if glulams are shop fabricated.

C. Fit structural glued-laminated timber by cutting and restoring exposed surfaces to match specified surfacing[ and finishing].

1. Predrill for fasteners using timber connectors as templates.

2. Dress exposed surfaces to remove planing or surfacing marks and to provide a finish equivalent to that produced by machine sanding with No. 120 grit sandpaper.

3. Coat cross cuts with end sealer.

Subparagraph below may be deleted for southern pine used in aboveground applications.

4. Where preservative-treated members must be cut during erection, apply a field-treatment preservative to comply with AWPA M4.

If retaining subparagraph above, usually retain one or both subparagraphs below; standard referenced above also allows creosote.  Treatment in first subparagraph below is waterborne and does not discolor wood; treatment in second is oil borne and discolors wood.

a. Use inorganic boron (SBX) treatment for members not in contact with the ground and continuously protected from liquid water.

b. Use copper naphthenate treatment for members in contact with the ground or not continuously protected from liquid water.

Retain paragraph below if glulams are shop fabricated.

D. Cutting:  Avoid cutting after fabrication.  Where field fitting is unavoidable, comply with requirements for shop fabrication.

Delete subparagraph below if treated wood is not used.  Subparagraph may also be deleted for preservative-treated southern pine used in aboveground applications.

1. Where preservative-treated members must be cut during erection, apply a field-treatment preservative to comply with AWPA M4.

If retaining subparagraph above, usually retain one or both subparagraphs below; standard referenced above also allows creosote.  Treatment in first subparagraph below is waterborne and does not discolor wood; treatment in second is oil borne and discolors wood.

a. Use inorganic boron (SBX) treatment for members not in contact with the ground and continuously protected from liquid water.

b. Use copper naphthenate treatment for members in contact with the ground or not continuously protected from liquid water.

Insert specific erection tolerances and procedures here to suit Project.

3.3 ADJUSTING

A. Repair damaged surfaces[ and finishes] after completing erection.  Replace damaged structural glued-laminated timber if repairs are not approved by Architect.

3.4 PROTECTION

A. Do not remove wrappings on individually wrapped members until they no longer serve a useful purpose including protection from weather, sunlight, soiling, and damage from work of other trades.

1. Coordinate wrapping removal with finishing work specified in Division 9.  Retain wrapping where it can serve as a painting shield.

END OF SECTION 06185

STRUCTURAL GLUED-LAMINATED TIMBER
06185 - 1

