Copyright 2004 AIA
MASTERSPEC Full Length
08/04 (R 05/06)

Copyright 2004 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 06202 - INTERIOR FINISH CARPENTRY
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project and to distinguish interior finish carpentry from items made from wood but specified in other Division 6 Sections, such as "Paneling" or architectural woodwork Sections.

1. Interior standing and running trim.

2. Fire-rated interior door[ and sidelight] frames.

3. [Plywood] [Hardboard] [Board] paneling.

4. Shelving[ and clothes rods].

5. Interior [stairs] [and] [railings].

6. Interior ornamental wood columns.

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

Delete option in first subparagraph below if structural wood is not exposed to view.

1. Division 6 Section "Rough Carpentry" for furring, blocking, and other carpentry work not exposed to view[ and for structural wood decking and framing exposed to view].

2. Division 6 Section "Interior Architectural Woodwork" for [shop-fabricated interior woodwork] [interior woodwork not specified in this Section].

3. Division 6 Section "[Interior Architectural Woodwork] [Paneling]" for architectural paneling.

4. Division 9 Section "Interior Painting" for priming and backpriming of interior finish carpentry.

1.3 DEFINITIONS

A. Lumber grading agencies, and the abbreviations used to reference them, include the following:

Coordinate list below with product lists and delete those not required.  See the Evaluations in Division 6 Section "Finish Carpentry."

1. NeLMA:  Northeastern Lumber Manufacturers' Association.

2. NHLA:  National Hardwood Lumber Association.

3. NLGA:  National Lumber Grades Authority.

4. SPIB:  The Southern Pine Inspection Bureau.

5. WCLIB:  West Coast Lumber Inspection Bureau.

6. WWPA:  Western Wood Products Association.

Retain abbreviations that remain after this Section has been edited.

B. MDF:  Medium-density fiberboard.

C. MDO Plywood:  Plywood with a medium-density overlay on the face.

1.4 SUBMITTALS

Delete paragraph and subparagraphs below if not required, or supplement with list of products.

A. Product Data:  For each type of process and factory-fabricated product.  Indicate component materials, dimensions, profiles, textures, and colors and include construction and application details.

1. Include data for wood-preservative treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements.  Indicate type of preservative used and net amount of preservative retained.  Include chemical treatment manufacturer's written instructions for finishing treated material.

Delete first subparagraph below if fire-retardant-treated wood is not required.

2. Include data for fire-retardant treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements.

3. For products receiving a waterborne treatment, include statement that moisture content of treated materials was reduced to levels specified before shipment to Project site.

4. Include copies of warranties from chemical treatment manufacturers for each type of treatment.

Delete paragraph below if colors, profiles, and textures are specified or scheduled.

B. Samples for Initial Selection:  For each type of paneling indicated.

Retain first paragraph and subparagraphs below with or without paragraph above.  If retaining below, delete items not needed for control of grain character, color, and finish, or expand to include other items.  Revise if other sizes are required.

C. Samples for Verification:

1. For each species and cut of lumber and panel products with non-factory-applied finish, with 1/2 of exposed surface finished, 50 sq. in. (300 sq. cm) for lumber and 8 by 10 inches (200 by 250 mm) for panels.

2. For each finish system and color of lumber and panel products with factory-applied finish, 50 sq. in. (300 sq. cm) for lumber and 8 by 10 inches (200 by 250 mm) for panels.

3. For interior wood columns, include[ quarter-section] Samples of cap, base, plinth, and 6-inch- (150-mm-) long[ quarter-section] Sample of shaft.[  Samples need not be same diameter as required columns.]

D. LEED Submittals:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives and glues.

1. Product Data for Credit EQ 4.1:  For adhesives and glues used at Project site, including printed statement of VOC content.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

2. Product Data for Credit EQ 4.4:  For composite-wood products, documentation indicating that product contains no urea formaldehyde.

Retain subparagraph and associated subparagraph below and "Forest Certification" Paragraph in "Quality Assurance" Article if lumber or other wood products are required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

3. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that products specified to be made from certified wood comply with forest certification requirements.  Include evidence that mill is certified for chain of custody by an FSC-accredited certification body.

a. Include statement indicating costs for each certified wood product.

Insert specific model code organization in first paragraph below or revise if report must be from another source.

E. Research/Evaluation Reports:  Showing that fire-retardant-treated wood complies with building code in effect for Project.

F. Warranty:  Special warranty specified in this Section.

1.5 QUALITY ASSURANCE

Paragraph and subparagraphs in this Article may be retained to specify lumber and other wood products made from certified wood for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.  An alternative method of complying with Credit MR 7 requirement is to retain requirement in Division 1 Section "LEED Requirements" that gives Contractor the option and responsibility for determining how Credit MR 7 requirement will be met.

A. Forest Certification:  For the following wood products, provide materials produced from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship":

Coordinate list below with products retained in Part 2.  Delete items not required to be made from certified wood; verify that certified wood is available for each item before retaining.

1. Interior standing and running trim.

2. Interior [plywood] [hardboard] [board] paneling.

3. Shelving[ and clothes rods].

4. Interior [stairs] [and] [railings].

5. Interior ornamental wood columns.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Protect materials against weather and contact with damp or wet surfaces.  Stack lumber, plywood, and other panels flat with spacers between each bundle to provide air circulation.  Provide for air circulation within and around stacks and under temporary coverings.

B. Deliver interior finish carpentry materials only when environmental conditions meet requirements specified for installation areas.  If interior finish carpentry materials must be stored in other than installation areas, store only where environmental conditions meet requirements specified for installation areas.

1.7 PROJECT CONDITIONS

A. Environmental Limitations:  Do not deliver or install interior finish carpentry materials until building is enclosed and weatherproof, wet work in space is completed and nominally dry, and HVAC system is operating and maintaining temperature and relative humidity at occupancy levels during the remainder of the construction period.

B. Do not install finish carpentry materials that are wet, moisture damaged, or mold damaged.

1. Indications that materials are wet or moisture damaged include, but are not limited to, discoloration, sagging, or irregular shape.

2. Indications that materials are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

1.8 WARRANTY

Delete this Article if not applicable.  When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

A. Special Warranty for Columns:  Manufacturer's standard form, signed by manufacturer, Installer, and Contractor, in which manufacturer agrees to repair or replace columns that fail in materials or workmanship within specified warranty period.

Subparagraph below is an example only.  Verify terms of warranties with manufacturers selected and revise to suit Project.

1. Warranty Period for Columns:  [Five] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MATERIALS, GENERAL

Delete standards in this Article for materials not used.

A. Lumber:  DOC PS 20 and applicable grading rules of inspection agencies certified by ALSC's Board of Review.

1. Factory mark each piece of lumber with grade stamp of inspection agency indicating grade, species, moisture content at time of surfacing, and mill.

Delete option in subparagraph below if authorities having jurisdiction require grade stamps on all materials.

2. For exposed lumber, mark grade stamp on end or back of each piece[, or omit grade stamp and provide certificates of grade compliance issued by inspection agency].

B. Softwood Plywood:  DOC PS 1.

C. Hardboard:  AHA A135.4.

Grades for MDF changed with the 2002 edition of ANSI A208.2.  Grade 130 is approximately equivalent to the previous Grade MD.  If retaining paragraph below and low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4, retain option for binder containing no urea formaldehyde.  Specifying products without urea formaldehyde will decrease competition and may increase costs.  ANSI A208.2 requires products to comply with formaldehyde emission limits established by HUD.  See the Evaluations in Division 6 Section "Finish Carpentry." SierraPine's "Medex/Medex NC" MDF and its "Medite II" are made without urea formaldehyde, as is CraftMaster Manufacturing's "Extira." Also, Panel Source International distributes MDF made without urea formaldehyde.

D. MDF:  ANSI A208.2, Grade [130] <Insert grade> [, made with binder containing no urea-formaldehyde resin].

If retaining paragraph below and low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4, retain option for binder containing no urea formaldehyde or option requiring exterior-type glue.  Specifying products without urea formaldehyde or with exterior-type glue will decrease competition and may increase costs.  ANSI A208.1 requires products to comply with formaldehyde emission limits established by HUD.  See the Evaluations in Division 6 Section "Finish Carpentry." Rodman Industries makes particleboard with exterior-type glue.  Panel Source also distributes particleboard made without urea formaldehyde.

E. Particleboard:  ANSI A208.1, Grade [M-2] [M-2-Exterior Glue] [M-2, made with binder containing no urea-formaldehyde resin].

Retain paragraph and subparagraph below if required for shelving.  Product below contains urea formaldehyde.

F. Melamine-Faced Particleboard:  Particleboard complying with ANSI A208.1, Grade M-2, finished on both faces with thermally fused, melamine-impregnated decorative paper complying with LMA SAT-1.

1. Color:  [White] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

2.2 WOOD-PRESERVATIVE-TREATED MATERIALS

Delete this Article if not applicable.  See the Evaluations in Division 6 Section "Finish Carpentry" for discussion of preservative formulations.

A. Lumber:  AWPA C2[ or AWPA C31 (treated with inorganic boron)].  Kiln dry after treatment to a maximum moisture content of 19 percent.

Maximum moisture contents specified in paragraph above and below are standard limits for preservative-treated lumber and plywood that are kiln dried after treatment.

B. Plywood:  AWPA C9.  Kiln dry after treatment to a maximum moisture content of 18 percent.

See the Evaluations in Division 6 Section "Finish Carpentry" for information about treatment chemicals.

C. Preservative Chemicals:  Acceptable to authorities having jurisdiction[ and containing no arsenic or chromium].

D. For exposed items indicated to receive transparent finish, do not use chemical formulations that contain colorants or that bleed through or otherwise adversely affect finishes.

E. Do not use material that is warped or does not comply with requirements for untreated material.

F. Mark lumber with treatment quality mark of an inspection agency approved by ALSC's Board of Review.

Select only first option in subparagraph below if authorities having jurisdiction require classification marking on all materials.

1. For exposed lumber indicated to receive a stained or natural finish, [mark end or back of each piece] [or] [omit marking and provide certificates of treatment compliance issued by inspection agency].

G. Mark plywood with appropriate classification marking of an inspection agency acceptable to authorities having jurisdiction.

1. For exposed plywood indicated to receive a stained or natural finish, mark back of each piece.

H. Application:  [Where indicated] <Insert application>.

2.3 FIRE-RETARDANT-TREATED MATERIALS

Delete this Article if not applicable.

A. Lumber:  Comply with performance requirements in AWPA C20, [Exterior type] [Interior Type A].  Kiln dry after treatment to a maximum moisture content of 19 percent.

Maximum moisture contents specified in paragraph above and below are standard limits for fire-retardant-treated lumber and plywood that are kiln dried after treatment.

B. Plywood:  Comply with performance requirements in AWPA C27, [Exterior type] [Interior Type A].  Kiln dry after treatment to a maximum moisture content of 15 percent.

Delete first paragraph below if no items are to receive a stained or natural finish.

C. For exposed items indicated to receive a stained or natural finish, use chemical formulations that do not contain colorants and provide materials that do not have marks from spacer sticks on the exposed face.

D. Do not use material that does not comply with requirements for untreated material or is warped or discolored.

E. Identify fire-retardant-treated wood with appropriate classification marking of testing and inspecting agency acceptable to authorities having jurisdiction.

Select only first option in first subparagraph below if authorities having jurisdiction require classification marking on all materials.

1. For exposed lumber indicated to receive a stained or natural finish, [mark end or back of each piece] [or] [omit marking and provide certificates of treatment compliance issued by inspection agency].

2. For exposed plywood indicated to receive a stained or natural finish, mark back of each piece.

Unless all interior lumber and plywood is required to be fire-retardant treated, insert list of items to be treated in paragraph below or indicate on Drawings or in other Part 2 articles where they are specified.

F. Application:  [Where indicated] [All interior lumber and plywood] <Insert application>.

2.4 STANDING AND RUNNING TRIM

Delete this Article if no interior trim.

A. Softwood Lumber Trim for Transparent Finish (Stain or Clear Finish):

Select one or more of seven subparagraphs below and edit, if required, to suit Project.  Other species and grades are available.

1. Species and Grade:  Eastern white pine, [C Select] [D Select] [Finish or 1 Common] [Premium or 2 Common]; NeLMA or NLGA.

2. Species and Grade:  Idaho white, lodgepole, ponderosa, radiata, or sugar pine; [C Select (Choice)] [D Select (Quality)] [1 Common (Colonial)] [2 Common (Sterling)]; NLGA or WWPA.

Grading rules for eastern white pine are not the same as those for western pines, so requirements in first subparagraph below will vary somewhat among species.

3. Species and Grade:  Eastern white, Idaho white, lodgepole, ponderosa, radiata, or sugar pine; [C Select (Choice)] [D Select (Quality)] [Finish or 1 Common (Colonial)] [Premium or 2 Common (Sterling)]; NeLMA, NLGA, or WWPA.

4. Species and Grade:  White woods, [C Select] [D Select] [1 Common] [2 Common]; WWPA.

5. Species and Grade:  Douglas fir-larch or Douglas fir south, [Superior or C & Btr] [Prime or D] finish; NLGA, WCLIB, or WWPA.

6. Species and Grade:  Southern pine, [B & B] [C & Btr] finish; SPIB.

7. Species and Grade:  Western red cedar, [Clear Heart] [Grade A] [Grade B]; NLGA, WCLIB, or WWPA.

Maximum moisture content for seasoned or kiln-dried, board-size lumber varies depending on species, grade, and grading agency.  See the Evaluations in Division 6 Section "Finish Carpentry."

8. Maximum Moisture Content: [19] [15] percent[ with at least 85 percent of shipment at 12 percent or less].

9. Finger Jointing:  [Allowed] [Not allowed].

10. Face Surface:  [Surfaced (smooth)] [Saw textured].

B. Hardwood Lumber Trim for Transparent Finish (Stain or Clear Finish):

Edit subparagraph below to suit Project.  Fourth option includes light-colored, closed-grain species that will take stain; if retaining, delete undesirable species, if any, from list.

1. Species and Grade:  [Red oak] [White maple] [Alder] [Aspen, basswood, cottonwood, sap gum, sycamore, white maple, or yellow poplar] <Insert species>; [Clear] [A finish] [B finish]; NHLA.

NHLA does not define any maximum moisture content values for kiln-dried hardwood lumber; purchaser must specify the value.  Maximum moisture content values in first subparagraph below are based on ranges given for optimum moisture content in AWI's "Architectural Woodwork Quality Standards Illustrated." First option applies to damp coastal areas of the southern U.S. and the Maritime Provinces.  Second option applies to Ontario, Quebec, and most of the U.S.  Third option applies to the dry southwestern U.S. and to Alberta, Manitoba, and Saskatchewan.

2. Maximum Moisture Content:  [13] [10] [9] <Insert value> percent.

3. Finger Jointing:  Not allowed.

4. Gluing for Width:  [Allowed] [Not allowed] [Use for lumber trim wider than 6 inches (150 mm)].

5. Veneered Material:  [Allowed] [Not allowed] [Use for lumber trim wider than 6 inches (150 mm)].

6. Face Surface:  [Surfaced (smooth)] [Saw textured].

7. Matching:  Selected for compatible grain and color.

C. Lumber Trim for Opaque Finish (Painted):

Select one or more of seven subparagraphs below and edit, if required, to suit Project.  Other species and grades are available.

1. Species and Grade:  Eastern white pine, [D Select] [Finish or 1 Common] [Premium or 2 Common]; NeLMA or NLGA.

2. Species and Grade:  Idaho white, lodgepole, ponderosa, radiata, or sugar pine; [D Select (Quality)] [1 Common (Colonial)] [2 Common (Sterling)]; NLGA or WWPA.

Grading rules for eastern white pine are not the same as those for western pines, so requirements in first subparagraph below will vary somewhat among species.

3. Species and Grade:  Eastern white, Idaho white, lodgepole, ponderosa, radiata, or sugar pine; [D Select (Quality)] [Finish or 1 Common (Colonial)] [Premium or 2 Common (Sterling)]; NeLMA, NLGA, or WWPA.

4. Species and Grade: White woods, [D Select] [1 Common] [2 Common]; WWPA.

5. Species and Grade:  Douglas fir-larch or Douglas fir south, [Superior or C & Btr] [Prime or D] finish; NLGA, WCLIB, or WWPA.

6. Species and Grade:  Spruce-pine-fir, [1] [2] Common; NeLMA, NLGA, WCLIB, or WWPA.

7. Species and Grade:  Alder, aspen, basswood, cottonwood, gum, magnolia, soft maple, sycamore, tupelo, or yellow poplar; [A] [B] finish; NHLA.

Subparagraph below is for softwood boards.  Maximum moisture content for seasoned or kiln-dried, board-size lumber varies depending on species, grade, and grading agency.  See the Evaluations in Division 6 Section "Finish Carpentry."

8. Maximum Moisture Content: [19] [15] percent[ with at least 85 percent of shipment at 12 percent or less].

First subparagraph below is for hardwood boards.  NHLA does not define any maximum moisture content values for kiln-dried hardwood lumber; purchaser must specify the value.  Maximum moisture content values in subparagraph are based on ranges given for optimum moisture content in AWI's "Architectural Woodwork Quality Standards Illustrated." First option applies to damp coastal areas of the southern U.S. and the Maritime Provinces.  Second option applies to Ontario, Quebec, and most of the U.S.  Third option applies to the dry southwestern U.S. and to Alberta, Manitoba, and Saskatchewan.

9. Maximum Moisture Content:  [13] [10] [9] <Insert value> percent.

10. Finger Jointing:  [Allowed] [Not allowed].

11. Face Surface:  [Surfaced (smooth)] [Saw textured].

Delete subparagraph below if not allowed.

12. Optional Material:  Primed MDF of same actual dimensions as lumber indicated may be used in lieu of lumber.

D. Softwood Moldings for Transparent Finish (Stain or Clear Finish):  WMMPA WM 4, N-grade wood moldings.  Made to patterns included in WMMPA WM 12.

Edit subparagraph below to suit Project.

1. Species:  [Eastern white, Idaho white, lodgepole, ponderosa, radiata, or sugar pine] [Southern pine] [Western red cedar] [Douglas fir] <Insert species>.

Requirement in first subparagraph below is typical requirement of grading agencies for kiln-dried softwood moldings and molding stock.

2. Maximum Moisture Content:  15 percent with at least 85 percent of shipment at 12 percent or less.

3. Finger Jointing:  Not allowed.

4. Matching:  Selected for compatible grain and color.

Six subparagraphs below are examples of molding patterns that might be specified.  All can be deleted if moldings are sufficiently detailed on Drawings; otherwise, delete those not required and revise or add others to suit Project.  See WMMPA WM 12 for additional patterns.

5. Base Pattern:  [WM 623, 9/16-by-3-1/4-inch (14-by-83-mm) ogee] [WM 713, 9/16-by-3-1/4-inch (14-by-83-mm) ranch] [WM 753, 9/16-by-3-1/4-inch (14-by-83-mm) beaded-edge] [WM 620, 9/16-by-4-1/4-inch (14-by-108-mm) ogee] [WM 750, 9/16-by-4-1/4-inch (14-by-108-mm) beaded-edge] base.

6. Shoe-Mold Pattern:  [WM 129, 7/16-by-11/16-inch (11-by-17-mm) quarter-round] [WM 126, 1/2-by-3/4-inch (13-by-19-mm) quarter-round] [WM 131, 1/2-by-3/4-inch (13-by-19-mm) ogee] shoe mold.

7. Casing Pattern:  [WM 327, 11/16-by-2-1/4-inch (17-by-57-mm) clamshell] [WM 366, 11/16-by-2-1/4-inch (17-by-57-mm) featheredge] [WM 376, 11/16-by-2-1/4-inch (17-by-57-mm) beaded-edge] casing.

8. Mull-Casing Pattern:  [WM 957, 3/8-by-1-3/4-inch (9.5-by-44-mm) beaded-edge] [WM 973, 3/8-by-1-3/4-inch (9.5-by-44-mm) bullnose] [WM 983, 3/8-by-1-3/4-inch (9.5-by-44-mm) featheredge] casing.

9. Stop Pattern:  [WM 856, 3/8-by-1-3/8-inch (9.5-by-35-mm) ranch] [WM 946, 3/8-by-1-3/8-inch (9.5-by-35-mm) ogee] [WM 886, 3/8-by-1-3/8-inch (9.5-by-35-mm) bullnose] stop.

10. Chair-Rail Pattern:  WM 297, 11/16-by-3-inch (17-by-76-mm) chair rail.

E. Hardwood Moldings for Transparent Finish (Stain or Clear Finish):  WMMPA HWM 2, N-grade wood moldings made to patterns included in WMMPA HWM 1.

Edit subparagraph below to suit Project.  Third option includes light-colored, closed-grain hardwood species that will take stain; if retaining, delete undesirable species, if any, from list.

1. Species:  [Red oak] [White maple] [Aspen, basswood, cottonwood, sap gum, sycamore, white maple, or yellow poplar] <Insert species>.

Delete subparagraph below if not allowed.

2. Kiln-dried softwood or MDF, with exposed surfaces veneered with species indicated, may be used in lieu of solid wood.

Requirement in first subparagraph below is from WMMPA HWM 2.

3. Maximum Moisture Content:  9 percent.

4. Finger Jointing:  Not allowed.

5. Matching:  Selected for compatible grain and color.

Six subparagraphs below are examples of molding patterns that might be specified.  All can be deleted if moldings are sufficiently detailed on Drawings; otherwise, delete those not required and revise or add others to suit Project.  See WMMPA HWM 1 for additional patterns.

6. Base Pattern:  [HWM 633, 7/16-by-3-1/4-inch (11-by-83-mm) ogee] [HWM 713, 7/16-by-3-1/4-inch (11-by-83-mm) ranch] [HWM 753, 7/16-by-3-1/4-inch (11-by-83-mm) beaded-edge] [WM 620, 7/16-by-4-1/4-inch (11-by-108-mm) ogee] base.

7. Shoe-Mold Pattern:  [HWM 129, 7/16-by-11/16-inch (11-by-17-mm) quarter-round] [HWM 126, 1/2-by-3/4-inch (13-by-19-mm) quarter-round] [HWM 131, 1/2-by-3/4-inch (13-by-19-mm) ogee] shoe mold.

8. Casing Pattern:  [HWM 328, 1/2-by-2-1/4-inch (13-by-57-mm) clamshell] [HWM 366, 1/2-by-2-1/4-inch (13-by-57-mm) featheredge] [HWM 376, 1/2-by-2-1/4-inch (13-by-57-mm) beaded-edge] casing.

9. Mull-Casing Pattern:  [HWM 989, 3/16-by-2-inch (5-by-51-mm) square-edge] [HWM 988, 3/8-by-1-1/2-inch (9.5-by-38-mm) featheredge] [HWM 987, 3/8-by-2-inch (9.5-by-51-mm) featheredge] casing.

10. Stop Pattern:  [HWM 856, 3/8-by-1-3/8-inch (9.5-by-35-mm) ranch] [HWM 946, 3/8-by-1-3/8-inch (9.5-by-35-mm) ogee] [HWM 886, 3/8-by-1-3/8-inch (9.5-by-35-mm) bullnose] stop.

11. Chair-Rail Pattern:  HWM 297, 11/16-by-3-inch (17-by-76-mm) chair rail.

F. Moldings for Opaque Finish (Painted):  Made to patterns included in WMMPA WM 12.

1. Softwood Moldings:  WMMPA WM 4, P-grade.

a. Species:  [Eastern white, Idaho white, lodgepole, ponderosa, radiata, or sugar pine] <Insert species>.

Requirement in first subparagraph below is typical requirement of grading agencies for kiln-dried softwood moldings and molding stock.

b. Maximum Moisture Content:  15 percent with at least 85 percent of shipment at 12 percent or less.

2. Hardwood Moldings:  WMMPA HWM 2, P-grade.

a. Species:  [Aspen, basswood, cottonwood, gum, magnolia, soft maple, tupelo, or yellow poplar] <Insert species>.

Requirement in subparagraph below is from WMMPA HWM 2.

b. Maximum Moisture Content:  9 percent.

Delete first subparagraph below if not allowed.

3. Optional Material:  Primed MDF.

4. Finger Jointing:  [Allowed] [Not allowed].

Six subparagraphs below are examples of molding patterns that might be specified.  All can be deleted if moldings are sufficiently detailed on Drawings; otherwise, delete those not required and revise or add others to suit Project.  See WMMPA WM 12 for additional patterns.

5. Base Pattern:  [WM 623, 9/16-by-3-1/4-inch (14-by-83-mm) ogee] [WM 713, 9/16-by-3-1/4-inch (14-by-83-mm) ranch] [WM 753, 9/16-by-3-1/4-inch (14-by-83-mm) beaded-edge] [WM 620, 9/16-by-4-1/4-inch (14-by-108-mm) ogee] [WM 750, 9/16-by-4-1/4-inch (14-by-108-mm) beaded-edge] base.

6. Shoe-Mold Pattern:  [WM 129, 7/16-by-11/16-inch (11-by-17-mm) quarter-round] [WM 126, 1/2-by-3/4-inch (13-by-19-mm) quarter-round] [WM 131, 1/2-by-3/4-inch (13-by-19-mm) ogee] shoe mold.

7. Casing Pattern:  [WM 327, 11/16-by-2-1/4-inch (17-by-57-mm) clamshell] [WM 366, 11/16-by-2-1/4-inch (17-by-57-mm) featheredge] [WM 376, 11/16-by-2-1/4-inch (17-by-57-mm) beaded-edge] casing.

8. Mull-Casing Pattern:  [WM 957, 3/8-by-1-3/4-inch (9.5-by-44-mm) beaded-edge] [WM 973, 3/8-by-1-3/4-inch (9.5-by-44-mm) bullnose] [WM 983, 3/8-by-1-3/4-inch (9.5-by-44-mm) featheredge] casing.

9. Stop Pattern:  [WM 856, 3/8-by-1-3/8-inch (9.5-by-35-mm) ranch] [WM 946, 3/8-by-1-3/8-inch (9.5-by-35-mm) ogee] [WM 886, 3/8-by-1-3/8-inch (9.5-by-35-mm) bullnose] stop.

10. Chair-Rail Pattern:  WM 297, 11/16-by-3-inch (17-by-76-mm) chair rail.

G. PVC-Wrapped Moldings:  WMMPA WM 2 and made to patterns included in WMMPA WM 12.

First six subparagraphs below are examples of molding patterns that might be specified; verify availability before retaining.  All can be deleted if moldings are sufficiently detailed on Drawings; otherwise, delete those not required and revise or add others to suit Project.  See WMMPA WM 12 for additional patterns.

1. Base Pattern:  [WM 623, 9/16-by-3-1/4-inch (14-by-83-mm) ogee] [WM 713, 9/16-by-3-1/4-inch (14-by-83-mm) ranch] base.

2. Shoe-Mold Pattern:  [WM 129, 7/16-by-11/16-inch (11-by-17-mm) quarter-round] [WM 126, 1/2-by-3/4-inch (13-by-19-mm) quarter-round] shoe mold.

3. Casing Pattern:  [WM 327, 11/16-by-2-1/4-inch (17-by-57-mm) clamshell] [WM 366, 11/16-by-2-1/4-inch (17-by-57-mm) featheredge] casing.

4. Mull-Casing Pattern:  [WM 973, 3/8-by-1-3/4-inch (9.5-by-44-mm) bullnose] [WM 983, 3/8-by-1-3/4-inch (9.5-by-44-mm) featheredge] casing.

5. Stop Pattern:  [WM 856, 3/8-by-1-3/8-inch (9.5-by-35-mm) ranch] [WM 886, 3/8-by-1-3/8-inch (9.5-by-35-mm) bullnose] stop.

6. Chair-Rail Pattern:  WM 297, 11/16-by-3-inch (17-by-76-mm) chair rail.

7. Colors, Textures, and Grain Patterns:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

H. Foam Plastic Moldings:  Molded product of shapes indicated, with a tough outer skin on exposed surfaces; factory primed.  Exposed surfaces shall not be shaped after molding.

See Editing Instruction No. 1 in the Evaluations in Division 6 Section "Finish Carpentry" for cautions about naming manufacturers and products.  Retain one of three subparagraphs and list below if naming manufacturers.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

3. Basis-of-Design Product:  Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Before retaining manufacturers, verify that their products comply with specified requirements, including those of authorities having jurisdiction.

a. Architectural Moldings Ltd.; Balmer Architectural Mouldings Division.

b. Century Architectural Specialties LLC.

c. Focal Point Architectural Products.

d. Fypon Ltd.

e. <Insert manufacturer's name.>

Requirements in four subparagraphs below are based on requirements in the 2003 IBC.  Note that 2003 IBC restricts such trim to not more than 10 percent of the wall and ceiling area of room or space in which it is installed.

4. Density:  Not less than 20 lb/cu. ft. (320 kg/cu. m).

5. Flame-Spread Index:  Not more than [75] <Insert number> when tested according to ASTM E 84.

6. Thickness:  Not more than 1/2 inch (12.7 mm).

7. Width:  Not more than 8 inches (204 mm).

Retain subparagraph below or insert subparagraphs for various types of moldings required (such as crown molding, picture molding, etc.).

8. Patterns:  [As indicated by manufacturer's designations] [Match Architect's samples].

2.5 FIRE-RATED INTERIOR DOOR[ AND SIDELIGHT] FRAMES

See Editing Instruction No. 1 in the Evaluations in Division 6 Section "Finish Carpentry" for cautions about naming manufacturers and products.  Retain one of two paragraphs and list below if naming manufacturers.  See Division 1 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

For names of manufacturers offering fire-rated interior wood door frames see UL's "Online Certifications Directory" at www.ul.com under Category Code "GVTV." Using Category Code "GVTV" and keyword "wood" can refine search.

1. <Insert, in separate subparagraphs, manufacturer's name.>

Products included in this Article primarily apply to office suite entry doors that require only a 20-minute fire rating.  Steel frames trimmed with wood may be a more practical alternative where a wood appearance is desired if fire ratings longer than 20 minutes are required.

C. Frames, complete with casings, fabricated from fire-retardant particleboard or fire-retardant MDF with veneered exposed surfaces, or from solid fire-retardant-treated wood.  Frames shall comply with NFPA 80 and be listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, based on testing according to [NFPA 252] [UBC Standard 7-2].

1. Species:  [Red oak] [White oak] [White maple] [Cherry] <Insert species>.

2. Fire Rating:  [20 minutes] [30 minutes] [45 minutes] [60 minutes] [90 minutes] [As indicated].

2.6 PANELING

Delete this Article if no paneling.

Revise first paragraph below for softwood veneer if required.  If low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4, verify availability of products made without urea formaldehyde before retaining paragraph.

A. Hardwood Veneer Plywood Paneling:  Manufacturer's stock hardwood plywood panels complying with HPVA HP-1[, made without urea-formaldehyde adhesive].

See Editing Instruction No. 1 in the Evaluations in Division 6 Section "Finish Carpentry" for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list below if naming manufacturers.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Chesapeake Hardwood Products, Inc.

b. Davidson Plywood; a division of Do+Able Products, Inc.

c. Georgia-Pacific Corp.

d. <Insert manufacturer's name.>

Subparagraphs below are examples only.  Select one or revise to suit Project.

3. Face Veneer Species and Cut:  [Rotary-cut white birch] [Plain-sliced red oak] [Plain-sliced hickory] <Insert species and cut>.

4. Veneer Matching:  [Random match] [Selected for similar color and grain].

5. Backing Veneer Species:  [Same species as face veneer] [Any hardwood compatible with face species].

6. Construction:  Veneer core.

7. Thickness:  [1/8 inch (3.2 mm)] [5/32 inch (4 mm)] [5 mm] [1/4 inch (6.4 mm)] [5/16 inch (7.9 mm)] [7/16 inch (11 mm)].

8. Panel Size:  [48 by 96 inches (1219 by 2438 mm)] [48 by 120 inches (1219 by 3048 mm)].

Options in subparagraph below are true metric sizes; verify availability before specifying.  Panel width must be coordinated with stud spacing and will affect groove spacing.

9. Panel Size:  [1200 by 2400 mm] [1200 by 3000 mm].

Type II bond is typical for interior paneling.

10. Glue Bond:  Type [II (interior)] [I (exterior)].

Patterns in subparagraph below are typical; others are available.  Select either option or revise to suit product selected.

11. Face Pattern:  Manufacturer's standard [V] [channel]-grooved pattern, with grooves at edges, center, and third points of panels, and at other locations to provide pattern resembling random width boards.

Select one of four options in subparagraph below or revise if unfinished paneling is required.

12. Finish:  [Manufacturer's standard, transparent, UV-resistant, protective finish] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

B. Hardboard Paneling:  Interior factory-finished hardboard paneling complying with AHA 135.5.

See Editing Instruction No. 1 in the Evaluations in Division 6 Section "Finish Carpentry" for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list below if naming manufacturers.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Chesapeake Hardwood Products, Inc.

b. Georgia-Pacific Corp.

c. Louisiana-Pacific Corporation.

d. <Insert manufacturer's name.>

3. Thickness:  [1/8 inch (3.2 mm)] [5/32 inch (4 mm)] [1/4 inch (6.4 mm)].

Class I finishes have greater resistance to abrasion, fading, heat, humidity, scrape adhesion, and steam than Class II.

4. Finish:  Class [I] [II].

First subparagraph and associated subparagraphs below are examples only.  Retain or revise to suit finish class and products selected above.

5. Surface-Burning Characteristics:  As follows, tested per ASTM E 84:

a. Flame-Spread Index:  25 or less.

b. Smoke-Developed Index:  450 or less.

6. Colors, Textures, and Patterns:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Paragraph below is a generic specification for wood board paneling.  Delete and retain following paragraph if other grades and patterns, such as SPIB's or WWPA's, are used.

C. Board Paneling:  Interior wood board paneling complying with WMMPA WM 9.

Select one species from subparagraph below or revise to suit Project.

1. Species: [Eastern white, Idaho white, lodgepole, ponderosa, radiata, or sugar pine] [Southern pine] [Western red cedar] [Figured red gum] <Insert species>.

Select one of five grades in subparagraph below.

2. Grade:  [Clear No. 1] [Clear No. 2] [Knotty No. 1] [Knotty No. 2] [Finger jointed].

First option in subparagraph below is typical requirement of grading agencies for kiln-dried softwood moldings and molding stock.  Second option is based on WMMPA requirement for hardwood moldings.

3. Maximum Moisture Content:  [15 percent with at least 85 percent of shipment at 12 percent or less] [9 percent].

Select one of four patterns in subparagraph below or revise to suit Project.  See referenced standard.

4. Pattern:  [V-joint, tongue-and-groove, PT 82] [Beaded ceiling, PT 85] [Beveled-edge channel, shiplapped, PT 82] [As indicated].

Sizes in subparagraph below represent 6-, 8-, and 10-inch nominal widths.

5. Net Coverage Width:  Not less than [5-1/16 inches (128 mm)] [6-3/4 inches (171 mm)] [8-3/4 inches (222 mm)].

Retain paragraph and subparagraphs below for softwood paneling graded according to and made to patterns of lumber grading agencies.

D. Board Paneling:

1. Species and Grade:  Eastern white pine, [C Select] [D Select] [Finish or 1 Common] [Premium or 2 Common]; NeLMA or NLGA.

2. Species and Grade:  Idaho white, lodgepole, ponderosa, radiata, or sugar pine; [C Select (Choice)] [D Select (Quality)] [1 Common (Colonial)] [2 Common (Sterling)]; NLGA or WWPA.

Grading rules for eastern white pine are not the same as those for western pines, so requirements in first subparagraph below will vary somewhat among species.

3. Species and Grade:  Eastern white, Idaho white, lodgepole, ponderosa, radiata, or sugar pine; [C Select (Choice)] [D Select (Quality)] [Finish or 1 Common (Colonial)] [Premium or 2 Common (Sterling)]; NeLMA, NLGA, or WWPA.

4. Species and Grade:  Southern pine, [B & B] [C & Btr] [No. 2] Paneling; SPIB.

5. Species and Grade:  Western red cedar, [Clear Heart] [Grade A] [Grade B]; NLGA, WCLIB, or WWPA.

Maximum moisture content for seasoned or kiln-dried, board-size lumber varies depending on species, grade, and grading agency.  See the Evaluations in Division 6 Section "Finish Carpentry."

6. Maximum Moisture Content: [19] [15] percent[ with at least 85 percent of shipment at 12 percent or less].

7. Pattern:  V-joint, tongue-and-groove, [NeLMA EWP 4] [SPIB SPP 54] [or] [WWPA WP 4].

8. Pattern:  Pickwick, tongue-and-groove, [NeLMA EWP 2] [SPIB SPP 52] [or] [WWPA WP 2].

9. Pattern:  Rounded-edge channel groove, tongue-and-groove, [SPIB SPP 60] [or] [WWPA WP 6].

10. Pattern:  Edge and center bead, tongue-and-groove, [NeLMA E & CB] [or] [WWPA E & CB Ceiling].

Sizes in subparagraph below represent 6-, 8-, and 10-inch nominal widths.

11. Net Coverage Width:  Not less than [5-1/16 inches (128 mm)] [6-3/4 inches (171 mm)] [8-3/4 inches (222 mm)].

2.7 SHELVING AND CLOTHES RODS

Copy and edit first paragraph below as needed to describe different categories of shelving required.  Retain last option in paragraph if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4 and if particleboard or MDF is retained in subparagraphs; consider specifying only wood board or plywood shelving instead of particleboard or MDF as a way of eliminating urea formaldehyde.

A. [Exposed] [Closet] [Utility] Shelving:  Made from [the following material] [one of the following materials], 3/4 inch (19 mm) thick.[  Do not use particleboard or MDF that contains urea formaldehyde.]

1. Particleboard with [radiused and filled] [or] [solid-wood] front edge.

2. MDF with [radiused] [or] [solid-wood] front edge.

3. MDO softwood plywood with solid-wood edge.

4. Melamine-faced particleboard with [radiused and filled] [applied PVC] front edge.

5. Wood boards as specified above for [lumber trim for opaque] [softwood lumber trim for transparent] [hardwood lumber trim for transparent] finish.

If not retaining paragraphs for lumber trim, first subparagraph below can be used to specify board shelving.  Replace species and grade requirements below by copying from paragraphs for lumber trim if desired.

6. Softwood Boards:  Eastern white, Idaho white, lodgepole, ponderosa, radiata, or sugar pine; [C Select (Choice)] [D Select (Quality)] [Finish or 1 Common (Colonial)] [Premium or 2 Common (Sterling)]; NeLMA, NLGA, or WWPA; kiln dried.

7. Softwood Boards:  Douglas fir-larch, Douglas fir south, or hem-fir; [Superior or C & Btr] [Prime or D] finish; NLGA, WCLIB, or WWPA; or southern pine, [B & B] [C] finish; SPIB; kiln dried.

B. Shelf Cleats:  [3/4-by-3-1/2-inch (19-by-89-mm) boards] [3/4-by-5-1/2-inch (19-by-140-mm) boards] [3/4-by-5-1/2-inch (19-by-140-mm) boards with hole and notch to receive clothes rods], as specified above for [shelving] [lumber trim for opaque finish] [softwood lumber trim for transparent finish] [hardwood lumber trim for transparent finish].

C. Shelf Brackets with Rod Support:  BHMA A156.16, B04051; prime-painted formed steel.

D. Shelf Brackets without Rod Support:  BHMA A156.16, B04041; prime-painted formed steel.

E. Standards for Adjustable Shelf Brackets:  BHMA A156.9, B04102; [powder-coat finished] [brass-finished] [zinc-plated] steel.

F. Adjustable Shelf Brackets:  BHMA A156.9, B04112; [powder-coat finished steel] [brass-finished steel] [zinc-plated steel] [bronze-anodized aluminum] [black-anodized aluminum] [natural aluminum].

G. Standards for Adjustable Shelf Supports:  BHMA A156.9, B04071; [powder-coat finished] [brass-finished] [zinc-plated] steel.

H. Adjustable Shelf Supports:  BHMA A156.9, B04081 or B04091; [powder-coat finished] [brass-finished] [zinc-plated] steel.

I. Clothes Rods:  1-1/2-inch- (38-mm-) diameter, [clear, kiln-dried hardwood] [clear, kiln-dried softwood; either Douglas fir or southern pine].

J. Clothes Rods:  1-5/16-inch- (33-mm-) diameter, [aluminum tubes] [chrome-plated steel tubes] [chrome-plated steel telescoping tubes with end brackets for mounting on shelf cleats].

K. Rod Flanges:  Clear, kiln-dried, [Douglas fir or southern pine] [eastern white, Idaho white, lodgepole, ponderosa, radiata, or sugar pine] [red oak] [white maple] [aspen, basswood, cottonwood, sap gum, white maple, or yellow poplar] <Insert species> turnings.

Retain paragraph above or below if applicable.

L. Rod Flanges:  [Aluminum] [Chrome-plated steel] [Stainless steel].

2.8 STAIRS AND RAILINGS

A. Treads:  1-1/16-inch (27-mm), clear, kiln-dried, edge-glued, [rift-sawn red oak] [red oak] [hard maple] [poplar] <Insert species> stepping with half-round nosing.

B. Risers:  13/16-inch (21-mm), clear, kiln-dried, edge-glued [red oak] [hard maple] [poplar] <Insert species> stock.

Select paragraph above for clear-finished risers; paragraph below for painted risers.

C. Risers:  3/4-inch (19-mm) finish boards as specified above for interior lumber trim for opaque finish.

Revise first paragraph below if clear-finished trim is used.

D. Finished Stringers:  3/4-inch (19-mm) finish boards as specified above for interior lumber trim for opaque finish.

E. Interior Railings:  Clear, kiln-dried [red oak] [hard maple] [yellow poplar] <Insert species>, of pattern indicated, either solid or laminated.

F. Balusters:  Clear, kiln-dried, [red oak] [hard maple] [yellow poplar] <Insert species>, turned balusters of pattern and size indicated.

Select paragraph above or first paragraph below.  Revise size below to suit Project.

G. Balusters:  1-1/16-inch- (27-mm-) square, clear, kiln-dried [red oak] [hard maple] [yellow poplar] <Insert species>.

H. Newel Posts:  Clear, kiln-dried, [red oak] [hard maple] [yellow poplar] <Insert species>, turned newel posts of pattern and size indicated.

Select paragraph above or below.  Revise size below to suit Project.

I. Newel Posts:  2-3/4-inch- (70-mm-) square, clear, kiln-dried [red oak] [hard maple] [yellow poplar] <Insert species>, either solid or laminated.

2.9 ORNAMENTAL WOOD COLUMNS

See Editing Instruction No. 1 in the Evaluations in Division 6 Section "Finish Carpentry" for cautions about naming manufacturers and products.  Retain one of first two paragraphs and list below if naming manufacturers.  See Division 1 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Chadsworth's Incorporated.

2. Colonial Columns, Inc.

3. Hartmann-Sanders.

4. Melton Classics Incorporated.

5. Schwerd, A. F. Manufacturing Co. Inc.

6. Somerset Door & Column Company.

7. Turncraft Div.; Cascade Wood Products, Inc.

8. Worthington.

9. <Insert manufacturer's name.>

C. Factory fabricate columns for transparent finish from clear, kiln-dried [eastern white, Idaho white, lodgepole, ponderosa, radiata, or sugar pine] [aspen, basswood, cottonwood, sap gum, white maple, or yellow poplar] [red oak] [white maple] [mahogany] <Insert species>.

Select paragraph above or below, or retain both and indicate locations of each on Drawings.

D. Factory fabricate columns for opaque finish from clear, kiln-dried [eastern white, Idaho white, lodgepole, ponderosa, radiata, or sugar pine] [aspen, basswood, cottonwood, sap gum, white maple, or yellow poplar] <Insert species>.  Column staves may be finger jointed.

Delete option in paragraph below if no columns are fluted.  If retaining, show flutes on Drawings.

E. Shafts:  Built up from tongue-and-groove staves joined with waterproof glue.  Lathe turn shafts to provide indicated base diameter and true architectural entasis taper.[  Precisely mill flutes as indicated.]

Select one of two options in paragraph below; first is less expensive.  Detail capital and base on Drawings.

F. Capital and Base:  [Molded glass-fiber-reinforced plastic] [Built up from wood components with waterproof glue.  Turn circular elements on lathes].

Delete paragraph below if opaque-finished columns are not used.

G. Prime columns for opaque finish with one coat of interior wood primer compatible with specified topcoats.

2.10 MISCELLANEOUS MATERIALS

Delete materials in this Article not required.

A. Fasteners for Interior Finish Carpentry:  Nails, screws, and other anchoring devices of type, size, material, and finish required for application indicated to provide secure attachment, concealed where possible.

Delete subparagraph below if not required.

1. Where galvanized finish is indicated, provide fasteners and anchorages with hot-dip galvanized coating complying with ASTM A 153/A 153M.

Delete paragraph below if not required; this glue is primarily used for stair construction.  Aliphatic-resin glues are sold as "carpenter's wood glue"; polyurethane, as "gorilla glue"; and resorcinol glues, as "waterproof plastic resin glue."

B. Glue:  Aliphatic-resin, polyurethane, or resorcinol wood glue recommended by manufacturer for general carpentry use.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for wood glues.

1. Use wood glue that has a VOC content of 30 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Delete first paragraph below if not required.

C. Installation Adhesive for Foam Plastic Moldings:  Product recommended for indicated use by foam plastic molding manufacturer.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for plastic foam adhesives.

1. Use adhesive that has a VOC content of 50 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

D. Paneling Adhesive:  Comply with paneling manufacturer's written recommendations for adhesives.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for gypsum board and panel adhesives.

1. Use adhesive that has a VOC content of 50 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Delete paragraph below if not required.

E. Multipurpose Construction Adhesive:  Formulation complying with ASTM D 3498 that is recommended for indicated use by adhesive manufacturer.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for multipurpose construction adhesives.

1. Use adhesive that has a VOC content of 70 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

2.11 FABRICATION

A. Back out or kerf backs of the following members except those with ends exposed in finished work:

1. Interior standing and running trim except shoe and crown molds.

2. Wood board paneling.

Revise paragraph below to describe conditions where eased edges are required.  Delete if eased edges are not required.

B. Ease edges of lumber less than 1 inch (25 mm) in nominal thickness to 1/16-inch (1.5-mm) radius and edges of lumber 1 inch (25 mm) or more in nominal thickness to 1/8-inch (3-mm) radius.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance.

B. Examine finish carpentry materials before installation.  Reject materials that are wet, moisture damaged, and mold damaged.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Clean substrates of projections and substances detrimental to application.

B. Before installing interior finish carpentry, condition materials to average prevailing humidity in installation areas for a minimum of 24 hours[ unless longer conditioning is recommended by manufacturer].

3.3 INSTALLATION, GENERAL

A. Do not use materials that are unsound, warped, improperly treated or finished, inadequately seasoned, or too small to fabricate with proper jointing arrangements.

Delete subparagraph below if no manufactured units.

1. Do not use manufactured units with defective surfaces, sizes, or patterns.

B. Install interior finish carpentry level, plumb, true, and aligned with adjacent materials.  Use concealed shims where necessary for alignment.

1. Scribe and cut interior finish carpentry to fit adjoining work.  Refinish and seal cuts as recommended by manufacturer.

2. Countersink fasteners, fill surface flush, and sand where face fastening is unavoidable.

Revise tolerances in subparagraph below to suit Project.

3. Install to tolerance of 1/8 inch in 96 inches (3 mm in 2438 mm) for level and plumb.  Install adjoining interior finish carpentry with 1/32-inch (0.8-mm) maximum offset for flush installation and 1/16-inch (1.5-mm) maximum offset for reveal installation.

First subparagraph below, which is based on NFPA 101 requirements, is an example only.  Revise if more stringent tolerances are required.  Coordinate with framing requirements for stairs in Division 6 Section "Rough Carpentry."

4. Install stairs with no more than 3/16-inch (4.7-mm) variation between adjacent treads and risers and with no more than 3/8-inch (9.5-mm) variation between largest and smallest treads and risers within each flight.

5. Coordinate interior finish carpentry with materials and systems in or adjacent to it.  Provide cutouts for mechanical and electrical items that penetrate interior finish carpentry.

3.4 STANDING AND RUNNING TRIM INSTALLATION

A. Install with minimum number of joints practical, using full-length pieces from maximum lengths of lumber available.  Do not use pieces less than 24 inches (610 mm) long, except where necessary.  Stagger joints in adjacent and related standing and running trim.  Cope at returns and miter at corners to produce tight-fitting joints with full-surface contact throughout length of joint.  Use scarf joints for end-to-end joints.  Plane backs of casings to provide uniform thickness across joints where necessary for alignment.

Consider deleting subparagraph below.  Match of color and grain is subject to interpretation; below may be difficult to enforce.

1. Match color and grain pattern of trim for transparent finish (stain or clear finish) across joints.

Delete subparagraphs below if no interior finish carpentry.

2. Install trim after gypsum board joint finishing operations are completed.

3. Drill pilot holes in hardwood before fastening to prevent splitting.  Fasten to prevent movement or warping.  Countersink fastener heads on exposed carpentry work and fill holes.

3.5 PANELING INSTALLATION

Delete paneling types in this Article not required.

A. Plywood Paneling:  Select and arrange panels on each wall to minimize noticeable variations in grain character and color between adjacent panels.  Leave 1/4-inch (6-mm) gap to be covered with trim at top, bottom, and openings.  Install with uniform tight joints between panels.

1. Attach panels to supports with manufacturer's recommended panel adhesive and fasteners.  Space fasteners as recommended by panel manufacturer.

2. Conceal fasteners to greatest practical extent.

Delete subparagraph below if no grooved panels.

3. Arrange panels with grooves and joints over supports.  Fasten to supports with nails of type and at spacing recommended by panel manufacturer.  Use fasteners with prefinished heads matching groove color.

B. Hardboard Paneling:  Install according to manufacturer's written recommendations.  Leave 1/4-inch (6-mm) gap to be covered with trim at top, bottom, and openings.  Butt adjacent panels with moderate contact.  Use fasteners with prefinished heads matching paneling color.

Delete substrate in first two subparagraphs below that is not required.

1. Wood Stud or Furring Substrate:  Install with 1-inch (25-mm) annular-ring shank hardboard nails.

2. Plaster or Gypsum Board Substrate:  Install with 1-5/8-inch (41-mm) annular-ring shank hardboard nails.

3. Nailing:  Space nails 4 inches (100 mm) o.c. at panel perimeter and 8 inches (200 mm) o.c. at intermediate supports unless otherwise required by manufacturer.

C. Board Paneling:  Install according to manufacturer's written instructions.  Arrange in random-width pattern suggested by manufacturer unless boards or planks are of uniform width.

1. Install in full lengths without end joints.

Select subparagraph above if end joints are unacceptable; subparagraph below if acceptable.

2. Stagger end joints in random pattern to uniformly distribute joints on each wall.

Retain one of first two subparagraphs below if retaining first subparagraph above.  First is for tongue-and-groove pattern; second is for other patterns.

3. Install with uniform end joints with only end-matched (tongue-and-groove) joints within each field of paneling.

4. Install with uniform end joints.  Locate end joints only over furring or blocking.

5. Select and arrange boards on each wall to minimize noticeable variations in grain character and color between adjacent boards.  Install with uniform tight joints between boards.

Select one of five subparagraphs below.

6. Fasten paneling by face nailing, setting nails, and filling over nail heads.

7. Fasten paneling with trim screws, set below face and filled.

8. Fasten paneling by blind nailing through tongues.

9. Fasten paneling with paneling system manufacturer's concealed clips.

10. Fasten paneling to gypsum wallboard with panel adhesive.

3.6 SHELVING AND CLOTHES ROD INSTALLATION

A. Cut shelf cleats at ends of shelves about 1/2 inch (13 mm) less than width of shelves and sand exposed ends smooth.

B. Install shelf cleats by fastening to framing or backing with finish nails or trim screws, set below face and filled.  Space fasteners not more than 16 inches (400 mm) o.c.[  Use 2 fasteners at each framing member or fastener location for cleats 4 inches nominal (89 mm actual) in width and wider.]

Delete subparagraph below if not required.

1. Apply a bead of multipurpose construction adhesive to back of shelf cleats right before installing.  Remove adhesive that is squeezed out immediately after fastening shelf cleats in place.

C. Install shelf brackets according to manufacturer's written instructions, spaced not more than 36 inches (900 mm) o.c.  Fasten to framing members, blocking, or metal backing, or use toggle bolts or hollow wall anchors.

D. Install standards for adjustable shelf supports according to manufacturer's written instructions.  Fasten to framing members, blocking, or metal backing, or use toggle bolts or hollow wall anchors.  Space fasteners not more than 12 inches (300 mm) o.c.

E. Install standards for adjustable shelf brackets according to manufacturer's written instructions, spaced not more than 36 inches (900 mm) o.c. and within 6 inches (150 mm) of end of shelves.  Fasten to framing members, blocking, or metal backing, or use toggle bolts or hollow wall anchors.

F. Cut shelves to neatly fit openings with only enough gap to allow shelves to be removed and reinstalled.  Install shelves, fully seated on cleats, brackets, and supports.

Consider deleting subparagraph below so shelves can be removed for painting.

1. Fasten shelves to cleats with finish nails or trim screws, set flush.

Usually retain subparagraph below so shelves will provide lateral support for shelf brackets.

2. Fasten shelves to brackets to comply with bracket manufacturer's written instructions.

G. Install rod flanges for rods as indicated.  Fasten to shelf cleats, framing members, blocking, or metal backing, or use toggle bolts or hollow wall anchors.  Install rods in rod flanges.

3.7 STAIR AND RAILING INSTALLATION

Descriptive requirements in this Article cover basic stair and railing installation only; for best results, supplement with complete details.

A. Treads and Risers at Interior Stairs:  Secure treads and risers by gluing and nailing to rough carriages.

1. Closed Stringers:  [House treads and risers into wall stringers, glue, and wedge into place] [Cope wall stringers to fit tightly over treads and risers].

Delete subparagraph below if no open-string stairs.

2. Open Stringers:  Miter risers and stringer at open stringers.  Extend tread over open stringers and finish with bullnose edge[ cut from tread stock and fitted to tread with mitered return at nosing].

B. Balusters:  Dovetail or mortise balusters into treads, glue, and nail in place.  Let into railings and glue in place.

C. Newel Posts:  Secure newel posts to stringers, rough carriages, and risers with countersunk-head wood screws and glue.

D. Railings:  Secure wall rails with metal brackets.  Fasten freestanding railings to newel posts and to trim at walls with countersunk-head wood screws or rail bolts, and glue.  Assemble railings at goosenecks, easements, and splices with rail bolts and glue.

3.8 ORNAMENTAL COLUMN INSTALLATION

A. Install columns to comply with manufacturer's written instructions.  Comply with requirements below unless manufacturer's written instructions state otherwise.

B. Lay out column locations on ceiling and plumb down to locate column locations at floor.

C. Set plinths in location, shim to temporarily level, and scribe and trim as required so that tops of plinths will sit level without use of shims.  Seal cut surfaces with wood sealer or primer and fasten plinths to floor using pins or fasteners as recommended by manufacturer.

Retain paragraph above if plinths are used, or first paragraph below if plinths are not used.

D. Set columns in location, shim as required to temporarily plumb, scribe and trim as required so that columns will sit plumb without shims.

E. Scribe and trim tops of columns to fit to ceiling.

F. Seal ends of columns with wood sealer or primer.

G. Install column caps on columns and fasten to columns.

H. Secure columns in place at top and bottom with fasteners recommended by manufacturer.

3.9 ADJUSTING

A. Replace interior finish carpentry that is damaged or does not comply with requirements.  Interior finish carpentry may be repaired or refinished if work complies with requirements and shows no evidence of repair or refinishing.  Adjust joinery for uniform appearance.

3.10 CLEANING

A. Clean interior finish carpentry on exposed and semiexposed surfaces.  Touch up factory-applied finishes to restore damaged or soiled areas.

3.11 PROTECTION

A. Protect installed products from damage from weather and other causes during remainder of the construction period.

B. Remove and replace finish carpentry materials that are wet, moisture damaged, and mold damaged.

1. Indications that materials are wet or moisture damaged include, but are not limited to, discoloration, sagging, or irregular shape.

2. Indications that materials are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

END OF SECTION 06202END OF SECTION 06202

INTERIOR FINISH CARPENTRY
06202 - 1

