Copyright 2004 AIA
MASTERSPEC Full Length
11/04 (R 05/06)

Copyright 2004 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 07115 - BITUMINOUS DAMPPROOFING
Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Hot-applied asphalt dampproofing.

2. Cold-applied, cut-back asphalt dampproofing.

3. Cold-applied, emulsified-asphalt dampproofing.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 7 Section "[Self-Adhering Sheet Waterproofing] [Elastomeric Sheet Waterproofing] [Thermoplastic Sheet Waterproofing] [Cold Fluid-Applied Waterproofing] [Hot Fluid-Applied Waterproofing]" for waterproofing.

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated.  Include recommendations for method of application, primer, number of coats, coverage or thickness, and protection course.

B. Material Certificates:  For each product, signed by manufacturers.

Retain paragraph and subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.2 and dampproofing is used inside the weatherproofing system.

C. LEED Submittal:

1. Product Data for Credit EQ 4.2:  For dampproofing, including printed statement of VOC content.

1.4 QUALITY ASSURANCE

A. Source Limitations:  Obtain primary dampproofing materials and primers through one source from a single manufacturer.  Provide secondary materials recommended by manufacturer of primary materials.

1.5 PROJECT CONDITIONS

Delete paragraph below if all applications are interior.

A. Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit dampproofing to be performed according to manufacturers' written instructions.

Delete paragraph below if no enclosed or interior applications are included in Project.

B. Ventilation:  Provide adequate ventilation during application of dampproofing in enclosed spaces.  Maintain ventilation until dampproofing has cured.

PART 2 -  PRODUCTS

2.1 HOT-APPLIED ASPHALT DAMPPROOFING

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two paragraphs and list below if naming manufacturers.  See Division 1 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Owens Corning; Trumbull Division.

2. <Insert manufacturer's name.>

Select asphalt type from options in first paragraph below to suit Project.  Type I is suitable for foundations and below-grade applications subject to uniformly moderate temperatures.  Type II is suitable for below-grade retaining walls and other vertical applications, and Type III can be used above grade on vertical surfaces subject to direct sunlight or temperatures above 122 deg F (50 deg C).  See Evaluations.

C. Hot-Applied Asphalt Dampproofing:  ASTM D 449, Type [I] [II] [III].

Before retaining first option in paragraph below, verify availability of products that comply.  LEED-NC and LEED-CI Credit EQ 4.2 seem to require a VOC content limit of 250 g/L for dampproofing used inside of the weatherproofing system.

D. VOC Content:  [250 g/L] [2.5 lb/gal. (300 g/L)] [4.2 lb/gal. (500 g/L)] or less.

2.2 COLD-APPLIED, CUT-BACK ASPHALT DAMPPROOFING

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two paragraphs and list below if naming manufacturers.  See Division 1 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

Before retaining list below, verify that manufacturers' products comply with local VOC regulations if any.

1. ChemMasters Corp.

2. Degussa Building Systems; Sonneborn Brand Products.

3. Gardner Gibson, Inc.

4. Henry Company.

5. Karnak Corporation.

6. Koppers Inc.

7. Malarkey Roofing Products.

8. Meadows, W. R., Inc.

9. Tamms Industries, Inc.

10. <Insert manufacturer's name.>

Select one or both of first two paragraphs below; coordinate with applications selected in Part 3.

C. Trowel Coats:  ASTM D 4586, Type I, Class 1, fibered.

In paragraph below, only W. R. Meadows offers a nonfibered spray coat.

D. Brush and Spray Coats:  ASTM D 4479, Type I, fibered[ or nonfibered].

Before retaining first option below, verify availability of products that comply.  LEED-NC and LEED-CI Credit EQ 4.2 seem to require a VOC content limit of 250 g/L for dampproofing used inside the weatherproofing system.

E. VOC Content:  [250 g/L] [2.5 lb/gal. (300 g/L)] [4.2 lb/gal. (500 g/L)] or less.

2.3 COLD-APPLIED, EMULSIFIED-ASPHALT DAMPPROOFING

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two paragraphs and list below if naming manufacturers.  See Division 1 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

Before retaining list below, verify that manufacturers' products comply with local VOC regulations if any.

1. ChemMasters Corp.

2. Degussa Building Systems; Sonneborn Brand Products.

3. Gardner Gibson, Inc.

4. Henry Company.

5. Karnak Corporation.

6. Koppers Inc.

7. Malarkey Roofing Products.

8. Meadows, W. R., Inc.

9. Tamms Industries, Inc.

10. <Insert manufacturer's name.>

Select one or more of first three paragraphs below; coordinate with applications selected in Part 3.

C. Trowel Coats:  ASTM D 1227, Type II, Class 1.

D. Fibered Brush and Spray Coats:  ASTM D 1227, Type II, Class 1.

E. Brush and Spray Coats:  ASTM D 1227, Type III, Class 1.

F. VOC Content:  [Zero] [0.25 lb/gal. (30 g/L) or less].

2.4 PROTECTION COURSE

A. Protection Course, Asphalt-Board Type:  ASTM D 6506, premolded, 1/8-inch- (3-mm-) thick, multi-ply, semirigid board consisting of a mineral-stabilized asphalt core sandwiched between layers of asphalt-saturated felt, and faced on 1 side with polyethylene film.

Film-faced, fan-folded, extruded-polystyrene protection course in paragraph below describes Dow Chemical Company's "Protection Board III" (first option) and Pactiv's "Green Guard PB4" (last option).

B. Protection Course:  Fan folded, with a core of extruded-polystyrene board insulation faced on [one] [or] [both] side(s) with plastic film, nominal thickness 1/4 inch (6 mm), with compressive strength of not less than 8 psi (55 kPa) per ASTM D 1621, and maximum water absorption by volume of 0.6 percent per ASTM C 272.

Unfaced, fan-folded, extruded-polystyrene protection course in paragraph below describes Owens Corning's "Fanfold DWB."

C. Protection Course:  Unfaced, fan-folded, extruded-polystyrene board insulation, nominal thickness 1/4 inch (6 mm) with compressive strength of not less than 8 psi (55 kPa) per ASTM D 1621.

Roll roofing in paragraph below is for minimum protection where backfilling is used.

D. Protection Course, Roll-Roofing Type:  Smooth-surfaced roll roofing complying with ASTM D 6380, Class S, Type III.

2.5 MISCELLANEOUS MATERIALS

Product in paragraph below is solvent based.  Delete if solvent release is not allowed due to VOC limitations.

A. Cut-Back Asphalt Primer:  ASTM D 41.

Product in paragraph below is water based and generally contains little or no VOCs.  Product can be used with either cut-back or emulsion topcoats and is generally more tolerant of damp substrates than product above.

B. Emulsified-Asphalt Primer:  ASTM D 1227, Type III, Class 1, except diluted with water as recommended by manufacturer.

Retain paragraph below if required for flashings and corner protection stripping at internal and external corners, changes in plane, construction joints, etc.

C. Asphalt-Coated Glass Fabric:  ASTM D 1668, Type I.

Retain first or second option in paragraph below to suit Project.

D. Patching Compound:  [Epoxy or latex-modified repair mortar] [Manufacturer's fibered mastic] of type recommended by dampproofing manufacturer.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, with Installer present, for compliance with requirements for surface smoothness and other conditions affecting performance of work.

1. Proceed with dampproofing application only after substrate construction and penetrating work have been completed and unsatisfactory conditions have been corrected.

Retain subparagraph below for substrates that must be completely dry before hot asphalts are applied.

2. Test for surface moisture according to ASTM D 4263.

3.2 PREPARATION

A. Protection of Other Work:  Mask or otherwise protect adjoining exposed surfaces from being stained, spotted, or coated with dampproofing.  Prevent dampproofing materials from entering and clogging weep holes and drains.

B. Clean substrates of projections and substances detrimental to work; fill voids, seal joints, and apply bond breakers if any, as recommended by prime material manufacturer.

C. Apply patching compound for filling and patching tie holes, honeycombs, reveals, and other imperfections[; cover with asphalt-coated glass fabric].

3.3 APPLICATION, GENERAL

A. Comply with manufacturer's written recommendations unless more stringent requirements are indicated or required by Project conditions to ensure satisfactory performance of dampproofing.

1. Apply additional coats if recommended by manufacturer or if required to achieve coverages indicated.

2. Allow each coat of dampproofing to cure [six] [12] [24] hours before applying subsequent coats.

3. Allow [24] [36] [48] hours drying time prior to backfilling.

B. Apply dampproofing to footings and foundation walls where opposite side of wall faces [building interior] [occupied space].

1. Apply from finished-grade line to top of footing, extend over top of footing, and down a minimum of 6 inches (150 mm) over outside face of footing.

2. Extend 12 inches (300 mm) onto intersecting walls and footings, but do not extend onto surfaces exposed to view when Project is completed.

Usually retain subparagraph below.  Corners are generally the weakest link in dampproofing protection.

3. Install flashings and corner protection stripping at internal and external corners, changes in plane, construction joints, cracks, and where shown as "reinforced," by embedding an 8-inch- (200-mm-) wide strip of asphalt-coated glass fabric in a heavy coat of dampproofing.  Dampproofing coat for embedding fabric is in addition to other coats required.

C. Apply dampproofing to provide continuous plane of protection on exterior face of inner wythe of exterior masonry cavity walls.

Two subparagraphs below include some general requirements for providing continuity of plane of protection; for best results, supplement with details on Drawings.

1. Lap dampproofing at least 1/4 inch (6 mm) onto flashing, masonry reinforcement, veneer ties, and other items that penetrate inner wythe.

2. Extend dampproofing over outer face of structural members and concrete slabs that interrupt inner wythe, and lap dampproofing at least 1/4 inch (6 mm) onto shelf angles supporting veneer.

D. Apply dampproofing to provide continuous plane of protection on interior face of above-grade, exterior [concrete] [and] [masonry] [single-wythe masonry] walls unless walls are indicated to receive direct application of paint.

If retaining subparagraph below, coordinate with Division 4 Section "Unit Masonry Assemblies."

1. Continue dampproofing through intersecting walls by keeping vertical mortar joints at intersection temporarily open or by delaying construction of intersecting walls until dampproofing is applied.

3.4 HOT-APPLIED ASPHALT DAMPPROOFING

A. Do not apply hot asphalt when substrate condition causes foaming.

Kettle temperatures for dampproofing mopping applications are not published, but flash points of 450 deg F (232 deg C) for Types I and II, and 475 deg F (246 deg C) for Type III, are stated in Table 1 of ASTM D 449.

B. Kettle Temperature:  Comply with dampproofing material manufacturer's written recommendations, and keep at least 25 deg F (14 deg C) below the flash point.

Delete first paragraph below if not applicable.

C. Prime masonry and other porous substrates.

D. Apply a uniform coat of hot asphalt by mopping or spraying at not less than 20 lb or 2.5 gal./100 sq. ft. (98 kg or 1 L/sq. m).

Retain paragraph below for best results and if substrate is rough or porous, such as lightweight concrete unit masonry.  Delete if second coat is not needed.

E. Apply a second coat [to below-grade foundation walls ]as specified above.  Apply double thickness of second coat where first application has failed to produce a smooth, shiny, impervious coat.

3.5 COLD-APPLIED, CUT-BACK ASPHALT DAMPPROOFING

If retaining this Article, coordinate paragraphs below with applications required.

A. On Concrete Foundations[ and Parged Masonry Foundation Walls]:  Apply 2 brush or spray coats at not less than 1.25 gal./100 sq. ft. (0.5 L/sq. m) for first coat and 1 gal./100 sq. ft. (0.4 L/sq. m) for second coat, or 1 trowel coat at not less than 4 gal./100 sq. ft. (1.6 L/sq. m).

B. On Unparged Masonry Foundation Walls:  Apply primer and 2 brush or spray coats at not less than 1.25 gal./100 sq. ft. (0.5 L/sq. m) for first coat and 1 gal./100 sq. ft. (0.4 L/sq. m) for second coat, or primer and 1 trowel coat at not less than 4 gal./100 sq. ft. (1.6 L/sq. m).

Select paragraph above or first paragraph below if dampproofing is applied to unparged masonry foundation walls.  Trowel grade is better for rough exterior, below-grade surfaces and where thick film is required.

C. On Unparged Masonry Foundation Walls:  Apply primer and 1 trowel coat at not less than 4 gal./100 sq. ft. (1.6 L/sq. m).

D. On Unexposed Face of Concrete Retaining Walls:  Apply 1 brush or spray coat at not less than 1.25 gal./100 sq. ft. (0.5 L/sq. m).

E. On Unexposed Face of Masonry Retaining Walls:  Apply primer and 1 brush or spray coat at not less than 1.25 gal./100 sq. ft. (0.5 L/sq. m).

F. On Concrete Backup for [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]:  Apply 1 brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

G. On Masonry Backup for [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]:  Apply primer and 1 brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

H. On Exterior Face of Inner Wythe of Cavity Walls:  Apply primer and 1 brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

3.6 COLD-APPLIED, EMULSIFIED-ASPHALT DAMPPROOFING

If retaining this Article, coordinate paragraphs below with applications required.

A. On Concrete Foundations[ and Parged Masonry Foundation Walls]:  Apply 2 brush or spray coats at not less than 1.5 gal./100 sq. ft. (0.6 L/sq. m) for first coat and 1 gal./100 sq. ft. (0.4 L/sq. m) for second coat, 1 fibered brush or spray coat at not less than 3 gal./100 sq. ft. (1.2 L/sq. m), or 1 trowel coat at not less than 4 gal./100 sq. ft. (1.6 L/sq. m).

B. On Unparged Masonry Foundation Walls:  Apply primer and 2 brush or spray coats at not less than 1.5 gal./100 sq. ft. (0.6 L/sq. m) for first coat and 1 gal./100 sq. ft. (0.4 L/sq. m) for second coat, primer and 1 fibered brush or spray coat at not less than 3 gal./100 sq. ft. (1.2 L/sq. m), or primer and 1 trowel coat at not less than 5 gal./100 sq. ft. (2 L/sq. m).

Select paragraph above or first paragraph below if dampproofing is applied to unparged masonry foundation walls.  Trowel grade is better for rough exterior, below-grade surfaces and where thick film is required.

C. On Unparged Masonry Foundation Walls:  Apply primer and 1 trowel coat at not less than 5 gal./100 sq. ft. (2 L/sq. m).

D. On Unexposed Face of Concrete Retaining Walls:  Apply 1 brush or spray coat at not less than 1.25 gal./100 sq. ft. (0.5 L/sq. m).

E. On Unexposed Face of Masonry Retaining Walls:  Apply primer and 1 brush or spray coat at not less than 1.25 gal./100 sq. ft. (0.5 L/sq. m).

F. On Concrete Backup for [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]:  Apply 1 brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

G. On Masonry Backup for [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]:  Apply primer and 1 brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

H. On Exterior Face of Inner Wythe of Cavity Walls:  Apply primer and 1 brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

Retain one or both paragraphs below if applicable.  Dampproofing the interior face of exterior concrete or masonry walls where the wall will be furred and finished can result in moisture being trapped between the dampproofing membrane and wall finish.  Consider ventilation requirements for the space behind the furring and wall finish.

I. On Interior Face of Exterior Concrete Walls:  Where above grade and indicated to be furred and finished, apply 1 brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

J. On Interior Face of [Single-Wythe ]Exterior Masonry Walls:  Where above grade and indicated to be furred and finished, apply primer and 1 brush or spray coat at not less than 1 gal./100 sq. ft. (0.4 L/sq. m).

3.7 INSTALLATION OF PROTECTION COURSE

A. Where indicated, install protection course over completed-and-cured dampproofing.  Comply with dampproofing material manufacturer's written recommendations for attaching protection course.

1. Support protection course with spot application of adhesive of type recommended by protection board manufacturer over cured coating.

Retain subparagraph above for extruded-polystyrene board protection course; retain subparagraph below for asphalt-board-type protection course.

2. Install protection course [on same day] [within 24 hours] of installation of dampproofing (while coating is tacky) to ensure adhesion.

3.8 CLEANING

A. Remove dampproofing materials from surfaces not intended to receive dampproofing.

END OF SECTION 07115END OF SECTION 07115

BITUMINOUS DAMPPROOFING
07115 - 1

