Copyright 2006 AIA
MASTERSPEC Full Length
05/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 07311 - ASPHALT SHINGLES
Revise this Section by deleting and inserting text to meet Project-specific criteria.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Asphalt shingles.

2. Underlayment.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 6 Section "[Rough Carpentry] [Miscellaneous Carpentry]" for wood framing.

2. Division 6 Section "Sheathing" for [roof-deck wood structural panels and ]roof sheathing.

Retain subparagraphs below if not specified in this Section.

3. Division 7 Section "Sheet Metal Flashing and Trim" for metal [roof penetration flashings] [counterflashings] [and] [flashings].

4. Division 7 Section "Roof Accessories" for ridge vents.

1.3 DEFINITION

A. Roofing Terminology:  See ASTM D 1079 and glossary of NRCA's "The NRCA Roofing and Waterproofing Manual" for definitions of terms related to roofing work in this Section.

1.4 SUBMITTALS

First three paragraphs below are defined in Division 1 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.

B. Samples for Initial Selection:  For each type of asphalt shingle [ridge and hip cap shingles] [ridge vent] [and] [exposed valley lining] indicated.

1. Include similar Samples of trim and accessories involving color selection.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

C. Samples for Verification:  For the following products, of sizes indicated, to verify color selected:

1. Asphalt Shingle:  Full size.

2. Ridge and Hip Cap Shingles:  Full size.

3. Ridge Vent:  12-inch- (300-mm-) long Sample.

4. Exposed Valley Lining:  12 inches (300 mm) square.

5. Self-Adhering Underlayment:  12 inches (300 mm) square.

Remaining paragraphs are defined in Division 1 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

D. Qualification Data:  For qualified Installer.

Retain first paragraph below for product test reports from manufacturers.

E. Product Test Reports:  Based on evaluation of comprehensive tests performed by manufacturer and witnessed by a qualified testing agency, for asphalt shingles.

F. Research/Evaluation Reports:  For each type of asphalt shingle required, from [the ICC] <Insert applicable code organization>.

G. Maintenance Data:  For each type of asphalt shingle to include in maintenance manuals.

H. Warranties:  Sample of special warranties.

1.5 QUALITY ASSURANCE

Usually delete first paragraph below because asphalt shingle manufacturers rarely certify Installer.  Retain paragraph if required for workmanship component of manufacturer's special material-and-workmanship warranty.

A. Installer Qualifications:  Manufacturer's authorized representative who is trained and approved for installation of units required for this Project.

Revise options in first paragraph below to suit Project or to comply with manufacturer's special warranty.  Manufacturers offering long-term warranties may impose source limitations on ridge vents and underlayment.  Consult manufacturers' literature for requirements.

B. Source Limitations:  Obtain ridge and hip cap shingles [ridge vents] [felt underlayment] [and] [self-adhering sheet underlayment] from single source from single manufacturer.

Retain first paragraph below only if products specified in Part 2 are part of a fire-resistance-rated assembly.  Indicate rating, testing agency, and testing agency's design designation on Drawings.

C. Fire-Resistance Characteristics:  Where indicated, provide asphalt shingles and related roofing materials identical to those of assemblies tested for fire resistance per test method below by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.  Identify products with appropriate markings of applicable testing agency.

Retain one of two options in subparagraph below based on fire classification of roof assembly with asphalt shingles as roof covering.  Glass-fiber-reinforced asphalt shingles generally comply with Class A; organic-felt-reinforced asphalt shingles generally comply with Class C.  Asphalt shingles generally do not comply with Class B.

1. Exterior Fire-Test Exposure:  [Class A] [Class C]; ASTM E 108 or UL 790, for application and roof slopes indicated.

Retain first paragraph below if required; mockups are rare.

D. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Build mockups for asphalt shingles including related roofing materials.

a. Size:  [48 inches (1200 mm) long by 48 inches (1200 mm) wide] <Insert dimension>.

Retain first subparagraph below if mockups are not only for establishing appearance factors.

2. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

E. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Store roofing materials in a dry, well-ventilated, weathertight location according to asphalt shingle manufacturer's written instructions.  Store underlayment rolls on end on pallets or other raised surfaces.  Do not double stack rolls.

1. Handle, store, and place roofing materials in a manner to avoid significant or permanent damage to roof deck or structural supporting members.

B. Protect unused underlayment from weather, sunlight, and moisture when left overnight or when roofing work is not in progress.

1.7 PROJECT CONDITIONS

A. Environmental Limitations:  Do not deliver or install asphalt shingles until spaces are enclosed and weathertight, wet work in spaces is complete and dry, and temporary HVAC system is operating and maintaining ambient temperature and humidity conditions at occupancy levels during the remainder of the construction period.

1. Install self-adhering sheet underlayment within the range of ambient and substrate temperatures recommended by manufacturer.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty:  Standard form in which manufacturer agrees to repair or replace asphalt shingles that fail in materials[ or workmanship] within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Manufacturing defects.

b. Structural failures including failure of asphalt shingles to self-seal after a reasonable time.

Verify available prorated and nonprorated warranty periods for asphalt shingles with manufacturers listed in Part 2 articles.

2. Material Warranty Period:  [25] [30] [35] [40] <Insert number> years from date of Substantial Completion, prorated, with first [three] [five] [12] <Insert number> years nonprorated.

Retain first subparagraph below if wind-speed warranty is required.  Verify wind speed and warranty period with manufacturers listed in Part 2 articles.  Building codes may establish other wind speeds.

3. Wind-Speed Warranty Period:  Asphalt shingles will resist blow-off or damage caused by wind speeds up to [60 mph (27 m/s)] [75 mph (33 m/s)] [80 mph (36 m/s)] [100 mph (45 m/s)] <Insert value> for [five] [10] <Insert number> years from date of Substantial Completion.

Retain first subparagraph below if algae-discoloration warranty is required.

4. Algae-Discoloration Warranty Period:  Asphalt shingles will not discolor [five] [10] <Insert number> years from date of Substantial Completion.

Retain subparagraph below if manufacturer's special warranty covers defective installation.  Retain "or workmanship" option in "Special Warranty" Paragraph above.  CertainTeed Corporation and GAF Materials Corporation offer conditional special warranties covering workmanship, or misapplication of roofing system, for a period of 10 and 12 years, respectively.  Verify terms of workmanship warranties offered by manufacturers.

5. Workmanship Warranty Period:  [10] [12] <Insert number> years from date of Substantial Completion.

If retaining paragraph below, use or revise sample Roofing Installer's Warranty form at end of this Section.  Alternatively, insert copy of local roofing contractor association's warranty form or use another form as advised by Owner's counsel.  Revise paragraph to reflect scope of special Project warranty.

B. Special Project Warranty:  Roofing Installer's Warranty, or warranty form at end of this Section, signed by roofing Installer, covering the Work of this Section, in which roofing Installer agrees to repair or replace components of asphalt shingle roofing that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods with manufacturers listed in Part 2 articles.

1. Warranty Period:  [Two] [Five] <Insert number> years from date of Substantial Completion.

1.9 EXTRA MATERIALS

A. Furnish extra materials that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. Asphalt Shingles:  [100 sq. ft (9.3 sq. m)] <Insert dimension> of each type, in unbroken bundles.

PART 2 -  PRODUCTS

2.1 GLASS-FIBER-REINFORCED ASPHALT SHINGLES

Basic product descriptions in this article correspond to types recognized in ARMA's "Residential Asphalt Roofing Manual."  Revise to suit Project; delete types not required.  See tables at end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, types, and designations of asphalt shingles.

A. Laminated-Strip Asphalt Shingles:  ASTM D 3462, laminated, multi-ply overlay construction, glass-fiber reinforced, mineral-granule surfaced, and self-sealing.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Atlas Roofing Corporation.

b. CertainTeed Corporation.

c. Elk Premium Building Products, Inc.; an ElkCorp company.

d. Emco Building Products Corp.

e. GAF Materials Corporation.

f. IKO.

g. Malarkey Roofing Products.

h. Owens Corning.

i. PABCO Roofing Products.

j. TAMKO Roofing Products, Inc.

k. <Insert manufacturer's name>.

Retain characteristics in subparagraphs below if further description of asphalt shingles is required.

3. Butt Edge:  [Straight] [Notched] [Crenelated] cut.

4. Strip Size:  [Manufacturer's standard] <Insert strip size>.

Retain first subparagraph below if required.  Manufacturers usually have a range of asphalt shingles with granules treated for algae resistance, particularly in algae-prone regions of the U.S.

5. Algae Resistance:  Granules treated to resist algae discoloration.

Asphalt shingles are produced in many standard colors.  Some manufacturers also offer tablike standard color tone variations on exposed portions of asphalt shingle strips.

6. Color and Blends:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and blends>.

Asphalt shingle impact-resistance test criteria are set by UL 2218, which simulates hailstones falling at peak velocity.  Retain option in first paragraph below if required.

B. Laminated-Strip, SBS-Modified Asphalt Shingles:  ASTM D 3462, laminated, multi-ply overlay construction, glass-fiber reinforced, mineral-granule surfaced, and self-sealing[; complying with UL 2218, Class IV].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Atlas Roofing Corporation.

b. Malarkey Roofing Products.

c. <Insert manufacturer's name>.

Retain characteristics in subparagraphs below if further description of asphalt shingles is required.

3. Butt Edge:  [Straight] [Notched] [Crenelated] cut.

4. Strip Size:  [Manufacturer's standard] <Insert strip size>.

Retain first subparagraph below if required.  Manufacturers usually have a range of asphalt shingles with granules treated for algae resistance, particularly in algae-prone regions of the U.S.

5. Algae Resistance:  Granules treated to resist algae discoloration.

Asphalt shingles are produced in many standard colors.  Some manufacturers also offer tablike standard color tone variations on exposed portions of asphalt shingle strips.

6. Color and Blends:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and blends>.

C. Multitab-Strip Asphalt Shingles:  ASTM D 3462, glass-fiber reinforced, mineral-granule surfaced, and self-sealing.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Atlas Roofing Corporation.

b. CertainTeed Corporation.

c. GAF Materials Corporation.

d. IKO.

e. Malarkey Roofing Products.

f. Owens Corning.

g. PABCO Roofing Products.

h. TAMKO Roofing Products, Inc.

i. <Insert manufacturer's name>.

Retain characteristics in subparagraphs below if further description of asphalt shingles is required.

3. Tab Arrangement:  [Three tabs, regularly spaced] [Four tabs, regularly spaced] [Five tabs, randomly spaced] <Insert number of tabs and spacing>.

4. Cutout Shape:  [Square] [Tapered].

5. Butt Edge:  [Straight] [Stagger] cut.

6. Strip Size:  [Manufacturer's standard] <Insert strip size>.

Retain first subparagraph below if required.  Manufacturers usually have a range of asphalt shingles with granules treated for algae resistance, particularly in algae-prone regions of the U.S.

7. Algae Resistance:  Granules treated to resist algae discoloration.

Asphalt shingles are produced in many standard colors.  Some manufacturers also offer tablike standard color tone variations on exposed portions of asphalt shingle strips.

8. Color and Blends:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and blends>.

Asphalt shingle impact-resistance test criteria are set by UL 2218, which simulates hailstones falling at peak velocity.  Retain option in first paragraph below if required.

D. Three-Tab-Strip, SBS-Modified Asphalt Shingles:  ASTM D 3462, glass-fiber reinforced, mineral-granule surfaced, and self-sealing[; complying with UL 2218, Class IV].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Atlas Roofing Corporation.

b. Malarkey Roofing Products.

c. <Insert manufacturer's name>.

Retain characteristics in subparagraphs below if further description of asphalt shingles is required.

3. Strip Size:  [Manufacturer's standard] <Insert strip size>.

Retain first subparagraph below if required.  Manufacturers usually have a range of asphalt shingles with granules treated for algae resistance, particularly in algae-prone regions of the U.S.

4. Algae Resistance:  Granules treated to resist algae discoloration.

Asphalt shingles are produced in many standard colors.  Some manufacturers also offer tablike standard color tone variations on exposed portions of asphalt shingle strips.

5. Color and Blends:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and blends>.

E. No-Cutout-Strip Asphalt Shingles:  ASTM D 3462, glass-fiber reinforced, mineral-granule surfaced, self-sealing, square, and single tab.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Atlas Roofing Corporation.

b. CertainTeed Corporation.

c. IKO.

d. <Insert manufacturer's name>.

Retain characteristics in subparagraphs below if further description of asphalt shingles is required.

3. Butt Edge:  [Stagger] [Straight] cut.

4. Strip Size:  [Manufacturer's standard] <Insert strip size>.

Retain first subparagraph below if required.  Manufacturers usually have a range of asphalt shingles with granules treated for algae resistance, particularly in algae-prone regions of the U.S.

5. Algae Resistance:  Granules treated to resist algae discoloration.

Asphalt shingles are produced in many standard colors.  Some manufacturers also offer tablike standard color tone variations on exposed portions of asphalt shingle strips.

6. Color and Blends:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and blends>.

Retain one of two options in paragraph below based on type of shingle selected and roof configuration.

F. Hip and Ridge Shingles:  [Manufacturer's standard units to match asphalt shingles] [Site-fabricated units cut from asphalt shingle strips.  Trim each side of lapped portion of unit to taper approximately 1 inch (25 mm)].

2.2 ORGANIC-FELT-REINFORCED ASPHALT SHINGLES

Basic product descriptions in this article correspond to types recognized in ARMA's "Residential Asphalt Roofing Manual."  Revise to suit Project; delete types not required.  See tables at end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, types, and designations of asphalt shingles.

A. Laminated-Strip Asphalt Shingles:  ASTM D 225, laminated, multi-ply overlay construction, organic-felt reinforced, mineral-granule surfaced, and self-sealing; complying with requirements in ASTM D 3161 for wind resistance.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Emco Building Products Corp.

b. IKO.

c. <Insert manufacturer's name>.

Retain characteristics in subparagraphs below if further description of asphalt shingles is required.

3. Butt Edge:  [Straight] [Notched] [Crenelated] cut.

4. Strip Size:  [Manufacturer's standard] <Insert strip size>.

Verify availability of treatment in first subparagraph below before specifying; laminated-strip asphalt shingles with algae-resisting granules are seldom produced.

5. Algae Resistance:  Granules treated to resist algae discoloration.

Asphalt shingles are produced in many standard colors.  Some manufacturers also offer tablike standard color tone variations on exposed portions of asphalt shingle strips.

6. Color and Blends:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and blends>.

B. Multitab-Strip Asphalt Shingles:  ASTM D 225, organic-felt reinforced, mineral-granule surfaced, and self-sealing; complying with requirements in ASTM D 3161 for wind resistance.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Atlas Roofing Corporation.

b. Emco Building Products Corp.

c. IKO.

d. TAMKO Roofing Products, Inc.

e. <Insert manufacturer's name>.

Retain characteristics in subparagraphs below if further description of asphalt shingles is required.

3. Tab Arrangement:  [Three tabs, regularly spaced] [Four tabs, regularly spaced] [Six tabs, regularly spaced, scalloped edge].

4. Strip Size:  [Manufacturer's standard] <Insert strip size>.

Verify availability of treatment in first subparagraph below before specifying; multitab-strip, organic-felt-reinforced asphalt shingles with algae-resisting granules are seldom produced.

5. Algae Resistance:  Granules treated to resist algae discoloration.

Asphalt shingles are produced in many standard colors.  Some manufacturers also offer tablike standard color tone variations on exposed portions of asphalt shingle strips.

6. Color and Blends:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and blends>.

C. No-Cutout-Strip Asphalt Shingles:  ASTM D 225, organic-felt reinforced, mineral-granule surfaced, self-sealing, square, and single tab; complying with requirements in ASTM D 3161 for wind resistance.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Emco Building Products Corp.

b. IKO.

c. <Insert manufacturer's name>.

Retain characteristics in subparagraphs below if further description of asphalt shingles is required.

3. Butt Edge:  [Stagger] [Straight] cut.

4. Strip Size:  [Manufacturer's standard] <Insert strip size>.

Asphalt shingles are produced in many standard colors.  Some manufacturers also offer tablike standard color tone variations on exposed portions of asphalt shingle strips.

5. Color and Blends:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and blends>.

Retain one of two options in paragraph below based on type of shingle selected and roof configuration.

D. Hip and Ridge Shingles:  [Manufacturer's standard units to match asphalt shingles] [Site-fabricated units cut from asphalt shingle strips.  Trim each side of lapped portion of unit to taper approximately 1 inch (25 mm)].

2.3 UNDERLAYMENT MATERIALS

Retain first paragraph below for felt underlayment.  Retain one or both product standard options.  Type I felt predominates and is the minimum accepted by the IBC and the IRC.  Type II felt is more than twice the weight of Type I felt.  Buckling of Type II felt is more likely to telegraph through asphalt shingles.  See "Felt Underlayment" Article in the Evaluations.

A. Felt:  [ASTM D 226] [or] [ASTM D 4869], [Type I] [Type II], asphalt-saturated organic felts, nonperforated.

Self-adhering, polymer-modified underlayment in first three paragraphs below is used to resist leaks from roof areas forming ice dams and other roof areas vulnerable to leakage.  Retain first paragraph if granular-surfaced sheet is required.

B. Self-Adhering Sheet Underlayment, Granular Surfaced:  ASTM D 1970, minimum of 55-mil- (1.4-mm-) thick sheet; glass-fiber-mat-reinforced, SBS-modified asphalt; mineral-granule surfaced; with release paper backing; cold applied.[  Provide primer for adjoining concrete or masonry surfaces to receive underlayment.]

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. ALCO-NVC Inc.

b. Atlas Roofing Corporation.

c. Carlisle Coatings & Waterproofing, Inc.

d. CertainTeed Corporation.

e. GAF Materials Corporation.

f. Henry Company.

g. IKO.

h. Johns Manville.

i. Owens Corning.

j. <Insert manufacturer's name>.

Retain first paragraph below if polyethylene-faced sheet is required.  A polyester-fabric-faced, SBS-modified asphalt sheet, reinforced internally with polyester or glass-fiber mats, is also produced that may comply with ASTM D 1970; verify availability with manufacturers and insert revised description of products in paragraph.

C. Self-Adhering Sheet Underlayment, Polyethylene Faced:  ASTM D 1970, minimum of 40-mil- (1.0-mm-) thick, slip-resisting, polyethylene-film-reinforced top surface laminated to SBS-modified asphalt adhesive, with release paper backing; cold applied.[  Provide primer for adjoining concrete or masonry surfaces to receive underlayment.]

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Carlisle Coatings & Waterproofing, Inc.

b. Grace, W. R. & Co. - Conn.

c. Henry Company.

d. Johns Manville.

e. Owens Corning.

f. Polyguard Products, Inc.

g. Protecto Wrap Company.

h. <Insert manufacturer's name>.

Retain first paragraph below if underlayment is subject to high temperatures.  Most products use a butyl-based adhesive; some use SBS-modified asphalt.

D. Self-Adhering Sheet Underlayment, High Temperature:  Minimum of 30- to 40-mil- (0.76- to 1.0-mm-) thick, slip-resisting, polyethylene-film-reinforced top surface laminated to layer of butyl or SBS-modified asphalt adhesive, with release paper backing; cold applied.[  Provide primer for adjoining concrete or masonry surfaces to receive underlayment.]

1. Thermal Stability:  Stable after testing at 240 deg F (116 deg C); ASTM D 1970.

2. Low-Temperature Flexibility:  Passes after testing at minus 20 deg F (29 deg C); ASTM D 1970.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

3. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

4. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Carlisle Coatings & Waterproofing, Inc.

b. Grace, W. R. & Co. - Conn.

c. Henry Company.

d. <Insert manufacturer's name>.

Delete paragraph below if using metal open-valley flashings.  Retain second option if Class A, fire-test response is required.

E. Granular-Surfaced Valley Lining:  [ASTM D 6380, Class M, organic] [ASTM D 3909, mineral-granular-surfaced, glass]-felt-based, asphalt roll roofing; 36 inches (914 mm) wide.

2.4 RIDGE VENTS

Retain this article if ridge venting is required or if it is not specified in Division 7 Section "Roof Accessories."

Design and venting areas of rigid ridge vents vary widely.  Many ridge vents incorporate nonwoven geotextile filter strips to prevent insect infestation and block rain and snow entry.  Some ridge vents add an external deflector baffle to further limit wind-blown rain and snow entry.

A. Rigid Ridge Vent:  Manufacturer's standard, rigid section high-density polypropylene or other UV-stabilized plastic ridge vent with [nonwoven geotextile filter strips] [and] [external deflector baffles]; for use under ridge shingles.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Air Vent, Inc.; a Gibraltar Industries company.

b. Cor-A-Vent, Inc.

c. GAF Materials Corporation.

d. Lomanco, Inc.

e. Mid-America Building Products.

f. Obdyke, Benjamin Incorporated.

g. Owens Corning.

h. RGM Products, Inc.

i. Trimline Building Products.

j. <Insert manufacturer's name>.

3. Minimum Net Free Area:  <Insert area>.

4. Width:  <Insert width>.

5. Thickness:  <Insert thickness>.

B. Flexible Ridge Vent:  Manufacturer's standard, compression-resisting, three-dimensional, open-nylon or polyester-mat filter[ bonded to a nonwoven, nonwicking, geotextile fabric cover].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. GAF Materials Corporation.

b. Obdyke, Benjamin Incorporated.

c. TAMKO Roofing Products, Inc.

d. <Insert manufacturer's name>.

3. Minimum Net Free Area:  <Insert area>.

4. Width:  <Insert width>.

5. Thickness:  <Insert thickness>.

2.5 ACCESSORIES

A. Asphalt Roofing Cement:  ASTM D 4586, Type II, asbestos free.

NRCA recommends barbed- or deformed-shank nails for added pull-out resistance.  ARMA recommends smooth-shank nails, but allows barbed or deformed-shank nails.  Some asphalt shingle manufacturers recommend barbed or deformed-shank nails.

B. Roofing Nails:  ASTM F 1667; aluminum, stainless-steel, copper, or hot-dip galvanized-steel wire shingle nails, minimum 0.120-inch- (3-mm-) diameter, [barbed] [smooth] shank, sharp-pointed, with a minimum 3/8-inch- (9.5-mm-) diameter flat head and of sufficient length to penetrate 3/4 inch (19 mm) into solid wood decking or extend at least 1/8 inch (3 mm) through OSB or plywood sheathing.

1. Where nails are in contact with metal flashing, use nails made from same metal as flashing.

C. Felt Underlayment Nails:  Aluminum, stainless-steel, or hot-dip galvanized-steel wire with low-profile capped heads or disc caps, 1-inch (25-mm) minimum diameter.

2.6 METAL FLASHING AND TRIM

A. General:  Comply with requirements in Division 7 Section "Sheet Metal Flashing and Trim."

1. Sheet Metal:  [Copper] [Stainless steel] [Zinc-tin alloy-coated stainless steel] [Zinc-tin alloy-coated steel] [Zinc-tin alloy-coated copper] [Anodized aluminum] [Aluminum, mill finished] <Insert sheet material>.

B. Fabricate sheet metal flashing and trim to comply with recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to design, dimensions, metal, and other characteristics of the item.

Retain detailed fabrication requirements for flashings in first four subparagraphs below.  Delete if Drawings fully detail these flashing conditions.  Dimensions of flashings are those recommended by ARMA or in NRCA's "NRCA Steep Roofing Manual"; revise to suit Project.

1. Apron Flashings:  Fabricate with lower flange a minimum of [4 inches (100 mm)] [5 inches (125 mm)] over and [4 inches (100 mm)] beyond each side of downslope asphalt shingles and[ 6 inches (150 mm)] up the vertical surface.

Retain first subparagraph below for interleaving metal step flashings between succeeding courses of asphalt shingles that abut vertical surfaces such as chimneys, sidewalls, and skylights.

2. Step Flashings:  Fabricate with a headlap of 2 inches (50 mm) and a minimum extension of [4 inches (100 mm)] [5 inches (125 mm)] over the underlying asphalt shingle and up the vertical surface.

Retain first subparagraph below if cricket or backer flashings are required.  Revise dimensions to suit Project.

3. [Cricket] [Backer] Flashings:  Fabricate with concealed flange extending a minimum of [18 inches (450 mm)] [24 inches (600 mm)] beneath upslope asphalt shingles and[ 6 inches (150 mm)] beyond each side of [chimney] [skylight] and[ 6 inches (150 mm)] above the roof plane.

Retain first subparagraph below if metal open-valley flashings are required.  Revise dimensions to suit Project.

4. Open-Valley Flashings:  Fabricate in lengths not exceeding [10 feet (3 m)] <Insert dimension> with 1-inch- (25-mm-) high, inverted-V profile at center of valley and equal flange widths of [10 inches (250 mm)] [12 inches (300 mm)] <Insert dimension>.

Retain subparagraph below for eaves or rake drip edges.

5. Drip Edges:  Fabricate in lengths not exceeding [10 feet (3 m)] <Insert dimension> with 2-inch (50-mm) roof-deck flange and 1-1/2-inch (38-mm) fascia flange with 3/8-inch (9.6-mm) drip at lower edge.

Retain paragraph below for plumbing vents that penetrate roof.  Revise to another flashing material if required, or delete and include requirements in Division 7 Section "Sheet Metal Flashing and Trim" or Division 15 Section "Storm Drainage Piping Specialties."

C. Vent Pipe Flashings:  ASTM B 749, Type L51121, at least 1/16 inch (1.6 mm) thick.  Provide lead sleeve sized to slip over and turn down into pipe, soldered to skirt at slope of roof, and extending at least 4 inches (100 mm) from pipe onto roof.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

1. Examine roof sheathing to verify that sheathing joints are supported by framing and blocking or metal clips and that installation is within flatness tolerances.

2. Verify that substrate is sound, dry, smooth, clean, sloped for drainage, and completely anchored; and that provision has been made for flashings and penetrations through asphalt shingles.

B. Prepare written report, endorsed by Installer, listing conditions detrimental to performance of the Work.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 UNDERLAYMENT INSTALLATION

A. General:  Comply with underlayment manufacturer's written installation instructions applicable to products and applications indicated unless more stringent requirements apply.

Retain first paragraph below if single layer of felt underlayment is required.  Roofs with a slope of 4:12 or greater are usually installed with a single underlayment layer.  Verify requirements of authorities having jurisdiction.

B. Single-Layer Felt Underlayment:  Install on roof deck parallel with and starting at the eaves.  Lap sides a minimum of 2 inches (50 mm) over underlying course.  Lap ends a minimum of 4 inches (100 mm).  Stagger end laps between succeeding courses at least 72 inches (1830 mm).  Fasten with [felt underlayment] [roofing] nails.

Retain first subparagraph below if combining self-adhering sheet and felt underlayment.

1. Install felt underlayment on roof deck not covered by self-adhering sheet underlayment.  Lap sides of felt over self-adhering sheet underlayment not less than 3 inches (75 mm) in direction to shed water.  Lap ends of felt not less than 6 inches (150 mm) over self-adhering sheet underlayment.

Retain subparagraph below for areas subject to high wind speeds.  The IBC and the IRC both mandate that the underlayment should be fastened at no more than 36 inches (900 mm) o.c. where the basic wind speed is equal to or greater than 110 mph (176 km/h).

2. Install fasteners at no more than 36 inch (900 mm) o.c.

Retain first paragraph below if double layers of felt underlayment are required.  Roofs with slopes of 2:12, but less than 4:12, are usually installed with a second underlayment layer.  Side lap and starter course dimensions are based on 36-inch- (914-mm-) wide rolls of felt underlayment.  Objective is to maintain double-layer felt underlayment coverage with 2 inches (50 mm) to spare.  Verify requirements of authorities having jurisdiction.

C. Double-Layer Felt Underlayment:  Install on roof deck parallel with and starting at the eaves.  Install a 19-inch- (485-mm-) wide starter course at eaves and completely cover with full-width second course.  Install succeeding courses lapping previous courses 19 inches (485 mm) in shingle fashion.  Lap ends a minimum of 6 inches (150 mm).  Stagger end laps between succeeding courses at least 72 inches (1830 mm).  Fasten with [felt underlayment] [roofing] nails.

Retain first subparagraph below if cemented double layers of felt underlayment serve as ice-dam membrane or if required for additional protection for low-slope underlayment.  Versatile self-adhered sheet underlayment has largely replaced cemented double layers of felt as ice-dam protection.

1. Apply a continuous layer of asphalt roofing cement over starter course and on felt underlayment surface to be concealed by succeeding courses as each felt course is installed.  Apply [over entire roof] [at locations indicated on Drawings].

Retain first subparagraph below if applicable.

2. Install felt underlayment on roof sheathing not covered by self-adhering sheet underlayment.  Lap edges over self-adhering sheet underlayment not less than 3 inches (75 mm) in direction to shed water.

Retain first option in first subparagraph below if felt is covered with self-adhering sheet underlayment against walls and other roof projections.

3. Terminate felt underlayment [flush] [extended up not less than 4 inches (100 mm)] against sidewalls, curbs, chimneys, and other roof projections.

Retain subparagraph below for areas subject to high wind speeds.  The IBC and the IRC both mandate that the underlayment should be fastened at no more than 36 inches (900 mm) o.c. where the basic wind speed is equal to or greater than 110 mph (176 km/h).

4. Install fasteners at no more than 36 inch (900 mm) o.c.

Retain first paragraph below for installing a single, self-adhering sheet underlayment.

D. Self-Adhering Sheet Underlayment:  Install, wrinkle free, on roof deck.  Comply with low-temperature installation restrictions of underlayment manufacturer if applicable.  Install at locations indicated [below] [on Drawings], lapped in direction to shed water.  Lap sides not less than 3-1/2 inches (89 mm).  Lap ends not less than 6 inches (150 mm) staggered 24 inches (600 mm) between courses.  Roll laps with roller.  Cover underlayment within seven days.

Retain first subparagraph below if primer is required to enhance adhesion to concrete or masonry surfaces such as chimneys or walls.

1. Prime concrete and masonry surfaces to receive self-adhering sheet underlayment.

Revise subparagraphs below to suit Project or delete if indicated on Drawings.

2. Eaves:  Extend from edges of eaves [24 inches (600 mm)] [36 inches (914 mm)] <Insert dimension> beyond interior face of exterior wall.

3. Rakes:  Extend from edges of rake [24 inches (600 mm)] [36 inches (914 mm)] <Insert dimension> beyond interior face of exterior wall.

4. Valleys:  Extend from lowest to highest point [18 inches (450 mm)] <Insert dimension> on each side.

5. Hips:  Extend [18 inches (450 mm)] <Insert dimension> on each side.

6. Ridges:  Extend [36 inches (914 mm)] <Insert dimension> on each side[ without obstructing continuous ridge vent slot].

7. Sidewalls:  Extend beyond sidewall [18 inches (450 mm)] <Insert dimension>, and return vertically against sidewall not less than [4 inches (100 mm)] <Insert dimension>.

8. Dormers, Chimneys, Skylights, and Other Roof-Penetrating Elements:  Extend beyond penetrating element [18 inches (450 mm)] <Insert dimension>, and return vertically against penetrating element not less than [4 inches (100 mm)] <Insert dimension>.

9. Roof Slope Transitions:  Extend [18 inches (450 mm)] <Insert dimension> on each roof slope.

Retain first paragraph below for lining woven or closed-cut valleys with granular-surfaced valley lining.

E. Concealed, [Woven] [Closed-Cut] Valley Lining:  Comply with NRCA's recommendations.  Install a 36-inch- (914-mm-) wide felt underlayment centered in valley.  Fasten to roof deck with [felt underlayment] [roofing] nails.

1. Lap roof-deck felt underlayment over valley felt underlayment at least 6 inches (150 mm).

2. Install a 36-inch- (914-mm-) wide strip of granular-surfaced valley lining centered in valley, with granular-surface face up.  Lap ends of strips at least 12 inches (300 mm) in direction to shed water, and seal with asphalt roofing cement.  Fasten to roof deck with roofing nails.

Retain first paragraph below for felt underlayment at open valleys to be covered with metal valley flashing.

F. Metal-Flashed, Open-Valley Underlayment:  Install two layers of 36-inch- (914-mm-) wide felt underlayment centered in valley.  Stagger end laps between layers at least 72 inches (1830 mm).  Lap ends of each layer at least 12 inches (300 mm) in direction to shed water, and seal with asphalt roofing cement.  Fasten each layer to roof deck with [felt underlayment] [roofing] nails.

1. Lap roof-deck felt underlayment over first layer of valley felt underlayment at least 6 inches (150 mm).

Retain paragraph below for open valleys lined with exposed granular-surfaced valley lining.

G. Granular-Surfaced, Open-Valley Lining:  Comply with NRCA's recommendations.  Install a 36-inch- (914-mm-) wide felt underlayment centered in valley.  Fasten to roof deck with [felt underlayment] [roofing] nails.

1. Lap roof-deck felt underlayment over valley felt underlayment at least 6 inches (150 mm).

2. Install an 18-inch- (450-mm-) wide strip of valley lining centered in valley, with granular-surface face down.  Install a second 36-inch- (914-mm-) wide strip of valley lining centered in valley, with granular-surface face up.  Lap ends of each strip at least 12 inches (300 mm) in direction to shed water, and seal with asphalt roofing cement.  Stagger end laps between succeeding strips at least 72 inches (1830 mm).  Fasten each strip to roof deck with roofing nails.

3.3 METAL FLASHING INSTALLATION

A. General:  Install metal flashings and other sheet metal to comply with requirements in Division 7 Section "Sheet Metal Flashing and Trim."

1. Install metal flashings according to recommendations in ARMA's "Residential Asphalt Roofing Manual" and asphalt shingle recommendations in NRCA's "The NRCA Roofing and Waterproofing Manual."

Retain first paragraph below for apron flashings.  Apron flashings provide a weatherproofing transition material where a roof area intersects a head wall.  Common locations for apron flashings are the front downslope side of a dormer or chimney, curbed roof penetrations, and clerestory transitions.

B. Apron Flashings:  Extend lower flange over and beyond each side of downslope asphalt shingles and up the vertical surface.

Retain first paragraph below for interleaving metal step flashings between succeeding courses of asphalt shingles that abut vertical surfaces such as chimneys, sidewalls, and skylights.

C. Step Flashings:  Install with a headlap of 2 inches (50 mm) and extend over the underlying asphalt shingle and up the vertical surface.  Fasten to roof deck only.

Retain first paragraph below if cricket or backer flashings are required.

D. [Cricket] [Backer] Flashings:  Install against the roof-penetrating element extending concealed flange beneath upslope asphalt shingles and beyond each side.

Retain first paragraph below if metal open-valley flashings are required.  Revise dimensions to suit Project.

E. Open-Valley Flashings:  Install centered in valleys, lapping ends at least 8 inches (200 mm) in direction to shed water.  Fasten upper end of each length to roof deck beneath overlap.

Retain first subparagraph below if securing flange edges with cleats.

1. Secure hemmed flange edges into metal cleats spaced [12 inches (300 mm)] <Insert dimension> apart and fastened to roof deck.

NRCA advises stripping-in flashing at open valleys in areas subject to snow and ice accumulation and frequent freeze-thaw cycles.  Retain subparagraph below if applicable.

2. Adhere [9-inch- (225-mm-)] <Insert dimension> wide strip of self-adhering sheet to metal flanges and to self-adhering sheet underlayment.

Retain one or both of first two paragraphs below if applicable.

F. Rake Drip Edges:  Install rake drip edge flashings over underlayment and fasten to roof deck.

G. Eave Drip Edges:  Install eave drip edge flashings below underlayment and fasten to roof sheathing.

H. Pipe Flashings:  Form flashing around pipe penetrations and asphalt shingles.  Fasten and seal to asphalt shingles as recommended by manufacturer.

3.4 ASPHALT SHINGLE INSTALLATION

A. General:  Install asphalt shingles according to manufacturer's written instructions, recommendations in ARMA's "Residential Asphalt Roofing Manual," and asphalt shingle recommendations in NRCA's "The NRCA Roofing and Waterproofing Manual."

B. Install starter strip along lowest roof edge, consisting of an asphalt shingle strip [with tabs removed] [at least 7 inches (175 mm) wide] with self-sealing strip face up at roof edge.

1. Extend asphalt shingles [1/2 inch (13 mm)] [3/4 inch (19 mm)] <Insert dimension> over fasciae at eaves and rakes.

2. Install starter strip along rake edge.

Retain one offset pattern option in first paragraph below for three-tab- and other multitab-strip asphalt shingles.  Diagonal installation is recommended by NRCA.  Confirm that offset pattern retained is approved by manufacturer for asphalt shingle specified.  Insert a particular offset pattern if required.

C. Install first and remaining courses of asphalt shingles stair-stepping diagonally across roof deck with [4-inch (100-mm)] [5-inch (125-mm)] [6-inch (150-mm)] [1/2-tab] [1/3-tab] [manufacturer's recommended] offset pattern at succeeding courses, maintaining uniform exposure.

Retain first paragraph below for laminated-strip and no-cutout-strip asphalt shingles.  Diagonal installation is recommended by NRCA.  Insert a particular offset pattern if required.

D. Install first and remaining courses of asphalt shingles stair-stepping diagonally across roof deck with manufacturer's recommended offset pattern at succeeding courses, maintaining uniform exposure.

Retain first paragraph below if manufacturer recommends racking method for specified asphalt shingles.

E. Install asphalt shingles by single-strip column or racking method, maintaining uniform exposure.  Install full-length first course followed by cut second course, repeating alternating pattern in succeeding courses.

The IBC and the IRC both state that asphalt shingles have the minimum number of fasteners required by manufacturer and comply with wind-resistance requirements based on Project location.  Basic fastening for most asphalt shingles requires four roofing nails; some asphalt shingles require five.  The IBC and the IRC both require special methods of fastening where roof slope exceeds 20:12 and for locations where the basic wind speed is equal to or greater than 110 mph (176 km/h).  Verify requirements of authorities having jurisdiction.

F. Fasten asphalt shingle strips with a minimum of [four] [five] [six] <Insert number> roofing nails located according to manufacturer's written instructions.

Retain first subparagraph below for steep-sloped roofs.  Retain option if manufacturer requires more roofing nails than in paragraph above.

1. Where roof slope exceeds 20:12, seal asphalt shingles with asphalt roofing cement spots[ after fastening with additional roofing nails].

Retain first subparagraph below for low-sloped roofs.

2. Where roof slope is less than 4:12, seal asphalt shingles with asphalt roofing cement spots.

Retain subparagraph below if asphalt shingles are installed in cold weather and could be subject to high winds.  Factory-applied, self-sealing strips do not activate at lower temperatures.

3. When ambient temperature during installation is below [50 deg F (10 deg C)] <Insert temperature>, seal asphalt shingles with asphalt roofing cement spots.

Retain first paragraph below if woven valleys are required.  They are generally limited to three-tab-strip shingles and some laminated-strip shingles.  Verify, with manufacturers, acceptance of valley treatment.

G. Woven Valleys:  Extend succeeding asphalt shingle courses from both sides of valley [12 inches (300 mm)] <Insert dimension> beyond center of valley, weaving intersecting shingle-strip courses over each other.  Use one-piece shingle strips without joints in valley.

1. Do not nail asphalt shingles within 6 inches (150 mm) of valley center.

Retain first paragraph below if closed-cut valleys are required.  They are the preferred form of valley treatment among roofing contractors for most types of multitab- and laminated-strip shingles.  Verify, with manufacturers, acceptance of valley treatment.

H. Closed-Cut Valleys:  Extend asphalt shingle strips from one side of valley [12 inches (300 mm)] <Insert dimension> beyond center of valley.  Use one-piece shingle strips without joints in valley.  Fasten with extra nail in upper end of shingle.  Install asphalt shingle courses from other side of valley and cut back to a straight line 2 inches (50 mm) short of valley centerline.  Trim upper concealed corners of cut-back shingle strips.

1. Do not nail asphalt shingles within 6 inches (150 mm) of valley center.

2. Set trimmed, concealed-corner asphalt shingles in a 3-inch- (75-mm-) wide bed of asphalt roofing cement.

Retain first paragraph below if open valleys are required.  Some manufacturers do not recommend open valleys, but they will accept them.  Verify, with manufacturers, acceptance of valley treatment.

I. Open Valleys:  Cut and fit asphalt shingles at open valleys, trimming upper concealed corners of shingle strips.  [Maintain uniform width of exposed open valley] [Widen exposed portion of open valley 1/8 inch in 12 inches (1:96)] from highest to lowest point.

1. Set valley edge of asphalt shingles in a 3-inch- (75-mm-) wide bed of asphalt roofing cement.

2. Do not nail asphalt shingles to metal open-valley flashings.

Retain first paragraph below for ridge vents.

J. Ridge Vents:  Install continuous ridge vents over asphalt shingles according to manufacturer's written instructions.  Fasten with roofing nails of sufficient length to penetrate sheathing.

K. Ridge[ and Hip] Cap Shingles:  Maintain same exposure of cap shingles as roofing shingle exposure.  Lap cap shingles at ridges to shed water away from direction of prevailing winds.  Fasten with roofing nails of sufficient length to penetrate sheathing.

Retain subparagraph below if retaining ridge vents.

1. Fasten ridge cap asphalt shingles to cover ridge vent without obstructing airflow.

3.5 ROOFING INSTALLER'S WARRANTY

Retain or delete this article or include another Roofing Installer's Warranty form if required.  Coordinate with Part 1 "Warranty" Article.  Another sample layout of this warranty is included in the Evaluations.

A. WHEREAS <Insert name> of <Insert address>, herein called the "Roofing Installer," has performed roofing and associated work ("work") on the following project:

1. Owner:  <Insert name of Owner>.

2. Address:  <Insert address>.

3. Building Name/Type:  <Insert information>.

4. Address:  <Insert address>.

5. Area of Work:  <Insert information>.

6. Acceptance Date:  <Insert date>.

7. Warranty Period:  <Insert time>.

8. Expiration Date:  <Insert date>.

B. AND WHEREAS Roofing Installer has contracted (either directly with Owner or indirectly as a subcontractor) to warrant said work against leaks and faulty or defective materials and workmanship for designated Warranty Period,

C. NOW THEREFORE Roofing Installer hereby warrants, subject to terms and conditions herein set forth, that during Warranty Period he will, at his own cost and expense, make or cause to be made such repairs to or replacements of said work as are necessary to correct faulty and defective work and as are necessary to maintain said work in a watertight condition.

D. This Warranty is made subject to the following terms and conditions:

1. Specifically excluded from this Warranty are damages to work and other parts of the building, and to building contents, caused by:

a. Lightning;

Insert required wind speed below.

b. Peak gust wind speed exceeding <Insert wind speed> mph (m/sec);

c. Fire;

d. Failure of roofing system substrate, including cracking, settlement, excessive deflection, deterioration, and decomposition;

e. Faulty construction of parapet walls, copings, chimneys, skylights, vents, equipment supports, and other edge conditions and penetrations of the work;

f. Vapor condensation on bottom of roofing; and

g. Activity on roofing by others, including construction contractors, maintenance personnel, other persons, and animals, whether authorized or unauthorized by Owner.

2. When work has been damaged by any of foregoing causes, Warranty shall be null and void until such damage has been repaired by Roofing Installer and until cost and expense thereof have been paid by Owner or by another responsible party so designated.

3. Roofing Installer is responsible for damage to work covered by this Warranty but is not liable for consequential damages to building or building contents resulting from leaks or faults or defects of work.

4. During Warranty Period, if Owner allows alteration of work by anyone other than Roofing Installer, including cutting, patching, and maintenance in connection with penetrations, attachment of other work, and positioning of anything on roof, this Warranty shall become null and void on date of said alterations, but only to the extent said alterations affect work covered by this Warranty.  If Owner engages Roofing Installer to perform said alterations, Warranty shall not become null and void unless Roofing Installer, before starting said work, shall have notified Owner in writing, showing reasonable cause for claim, that said alterations would likely damage or deteriorate work, thereby reasonably justifying a limitation or termination of this Warranty.

5. During Warranty Period, if original use of roof is changed and it becomes used for, but was not originally specified for, a promenade, work deck, spray-cooled surface, flooded basin, or other use or service more severe than originally specified, this Warranty shall become null and void on date of said change, but only to the extent said change affects work covered by this Warranty.

6. Owner shall promptly notify Roofing Installer of observed, known, or suspected leaks, defects, or deterioration and shall afford reasonable opportunity for Roofing Installer to inspect work and to examine evidence of such leaks, defects, or deterioration.

7. This Warranty is recognized to be the only warranty of Roofing Installer on said work and shall not operate to restrict or cut off Owner from other remedies and resources lawfully available to Owner in cases of roofing failure.  Specifically, this Warranty shall not operate to relieve Roofing Installer of responsibility for performance of original work according to requirements of the Contract Documents, regardless of whether Contract was a contract directly with Owner or a subcontract with Owner's General Contractor.

E. IN WITNESS THEREOF, this instrument has been duly executed this <Insert day> day of <Insert month>, <Insert year>.

1. Authorized Signature:  <Insert signature>.

2. Name:  <Insert name>.

3. Title:  <Insert title>.

END OF SECTION 07311

ASPHALT SHINGLES
07311 - 1

