Copyright 2001 AIA
MASTERSPEC Full Length
05/01 (R 05/06)

Copyright 2001 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 07322 - CONCRETE ROOF TILES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Concrete roof tiles.

2. Tile accessories.

3. Felt underlayment.

4. Self-adhering sheet underlayment.

5. Snow guards.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 6 Section "Rough Carpentry" for wood [roof battens] [beveled cant strips] [and] [wood nailers].

Delete both subparagraphs below if these products are specified in this Section.

2. Division 7 Section "Sheet Metal Flashing and Trim" for metal [roof-penetration flashings] [counterflashings] [and] [flashings] not part of this Section.

3. Division 7 Section "Roof Accessories" for ridge vents.

1.3 DEFINITIONS

A. Roofing Terminology:  Refer to ASTM D 1079, glossaries in RTI/WSRCA's "Concrete and Clay Roof Tile Design Criteria Installation Manual for Moderate Climate Regions," and NRCA's "The NRCA Roofing and Waterproofing Manual" for definitions of terms related to roofing work in this Section.

1.4 SUBMITTALS

A. Product Data:  For each type of product indicated.

B. LEED Submittal:

Retain subparagraph below if roof materials are required to comply with requirements for LEED-NC Credit SS 7.2; coordinate with requirements selected in Part 2 for roof tiles.

1. Product Test Reports for Credit SS 7.2:  For roof tile, documentation indicating compliance with Solar Reflectance Index requirement.

C. Samples for Initial Selection:  For each type of concrete tile and concrete tile accessory indicated.

1. Include similar Samples of trim involving color selection.

Delete paragraph and subparagraph above if colors and other characteristics are preselected and specified or scheduled.  Retain paragraph and subparagraphs below with or without above.

D. Samples for Verification:  For the following products, of sizes indicated, to verify color selected.

1. Concrete Tile:  Full size.

2. Concrete Tile Accessories:  Full size.

3. Fastenings:  Wire-tie system components, 12 inches (300 mm) long.

4. Self-Adhering Underlayment:  12 inches (300 mm) square.

5. Snow Guard:  Full size.

Delete test reports below if not required.

E. Material Test Reports:  For each type of tile.

Insert specific model code organization in first paragraph below or revise if report must be from another source.

F. Research/Evaluation Reports:  For concrete tiles, fasteners, and fastener systems.

G. Maintenance Data:  For concrete tile roofing to include in maintenance manuals.

Retain below if required.  Submittal of sample warranties provides Architect or Owner an opportunity to further verify that warranty coverage complies with requirements.

H. Warranties:  Special warranties specified in this Section.

1.5 QUALITY ASSURANCE

A. Source Limitations:  Obtain concrete tiles and concrete tile accessories through one source from a single manufacturer.

Retain paragraph and subparagraph below if fire-test-exposure classification is required for roofing.  Testing of other components in roofing assembly is also required for fire-test-exposure classification.

B. Fire-Test-Response Characteristics:  Provide concrete tiles and related roofing materials with the fire-test-response characteristics indicated, as determined by testing identical products per test method indicated below by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.  Identify materials with appropriate markings of applicable testing and inspecting agency.

Retain one of three options in subparagraph below based on fire classification of roof assembly.  Revise to include other standards of authorities having jurisdiction if applicable.

1. Exterior Fire-Test Exposure:  Class [A] [B] [C]; UL 790 or ASTM E 108 for application and roof slopes indicated.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  To simulate roof conditions, blended tile mockups may be part of the roof.  Revise wording if only one mockup is required.

C. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Delete subparagraphs below if mockups are only for establishing appearance factors.

1. Approval of mockups is also for other material and construction qualities specifically approved by Architect in writing.

2. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless such deviations are specifically approved by Architect in writing.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

D. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

1.6 DELIVERY, STORAGE, AND HANDLING

A. Store underlayment rolls on end on pallets or other raised surfaces.  Do not double-stack rolls.

1. Handle, store, and place roofing materials in a manner to avoid significant or permanent damage to roof deck or structural supporting members.

B. Protect unused underlayment from weather, sunlight, and moisture when left overnight or when roofing work is not in progress.

1.7 PROJECT CONDITIONS

A. Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit roofing to be performed according to manufacturer's written instructions and warranty requirements.

1. Install self-adhering sheet underlayment within the range of ambient and substrate temperatures recommended by manufacturer.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

A. Special Concrete Roof Tile Manufacturer's Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace tile that fails in materials within specified warranty period.  Material failures include manufacturing defects that result in leaks.

Verify available warranty periods for concrete tiles and insert number below.

1. Material Warranty Period:  [50] <Insert number> years from date of Substantial Completion.

Retain paragraph and subparagraph below if applicable.  If retaining special Project warranty, use or revise sample roofing Installer's warranty form at end of this Section.  Alternatively, insert copy of local roofing contractor association's warranty form or use another form as advised by Owner's counsel.  Revise below to reflect scope of special Project warranty.

B. Special Roofing Installer's Warranty:  Roofing Installer's warranty, on warranty form at end of this Section, signed by roofing Installer, covering Work of this Section, in which roofing Installer agrees to repair or replace components of concrete tile roofing that fail in materials or workmanship within the following warranty period:

Verify available roofing Installer's warranty periods and insert number below.

1. Warranty Period:  [Two] [Five] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations in Division 7 Section "Roof Tiles" for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which manufacturers and products, or manufacturers only, are named.  See Division 1 Section "Product Requirements" for an explanation of the terms "Available Products," "Products," "Available Manufacturers," and "Manufacturers" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, products specified.

2. Products:  Subject to compliance with requirements, provide one of the products specified.

3. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

4. Manufacturers:  Subject to compliance with requirements, provide products by one of the manufacturers specified.

2.2 CONCRETE TILE

Coordinate first paragraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

A. [Available ]Products:

1. Bartile; <Insert product name and color>.

2. Dectile; <Insert product name and color>.

3. Eagle Roofing Products; <Insert product name and color>.

4. Entegra Roof Tile Corp.; <Insert product name and color>.

5. Hanson Roof Tile, Inc.; <Insert product name and color>.

6. MonierLifetile; <Insert product name and color>.

7. Staco Roof Tile; <Insert product name and color>.

8. Vande Hey-Raleigh Mfg., Inc.; <Insert product name and color>.

9. Westile Roofing Products; <Insert product name and color>.

10. <Insert manufacturer's name; product name and color.>

B. Concrete Tile:  ASTM C 1492, molded- or extruded-concrete roof tile units of shape and configuration indicated, with integral color, and free of surface imperfections.  Provide with fastening holes predrilled at factory when manufactured.

Retain concrete tile characteristics from options in nine subparagraphs below.  Consider deleting characteristics if they are clearly represented in product named in list of manufacturers above.

1. Weight:  [Normal weight] [Medium weight] [Lightweight].

Retain one of first three subparagraphs below to describe shape in lieu of, or to supplement, product named in list of manufacturers above.  Select appropriate option.  Although shape nomenclature may vary among manufacturers, traditional terms used here predominate.

2. High-Profile Shape:  Type I, [Spanish or S] <Insert shape>.

3. Medium-Profile Shape:  Type II, [French interlocking] <Insert shape>.

4. Low-Profile Shape:  Type III, [flat shingle] [flat interlocking] <Insert shape>.

5. Side Configuration:  [Interlocking] [Noninterlocking].

Insert tile size(s) if required in lieu of, or to supplement, product named in list of manufacturers above.

6. Size:  <Insert length and width dimensions.>

Retain subparagraph below if required for LEED-NC Credit SS 7.2.  Requirement is that for roofs with slopes steeper than 2:12.  Note that uncoated tile will probably not comply unless it is white.

7. Solar Reflectance Index:  Provide concrete tile with Solar Reflectance Index not less than 29 when calculated according to ASTM E 1980 based on testing identical products by a qualified testing agency.

Retain one of three options in subparagraph below.  If retaining first, indicate colors, textures, and patterns in a separate schedule.

8. Colors, Blends, and Patterns:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Select finish and texture from options in subparagraph below.

9. Finish and Texture:  [Matte, smooth] [Matte, striated] [Glazed, smooth] <Insert finish and texture>.

Options in subparagraph below are examples only.

10. Color:  [Brown] [White] [Red] [Pale red] [Green] [Gray] [Buff] <Insert color(s) if blending>.

Select concrete tile accessories from options in two subparagraphs below.  Revise to add other special concrete tile accessories if required.

11. [High] [Medium]-Profile-Shape Concrete Tile Accessories:  [Ridge] [ridge vent] [ridge end] [hip and hip starter] [header course] [L-shaped rake edge] [roll rake edge] [starter] [end band] [and] [terminal] <Insert accessory> units, color to match roof tile.

12. Low-Profile-Shape Concrete Tile Accessories:  [Ridge and closed ridge end] [hip and hip starter] [header course] [L-shaped rake edge] [starter] [end band] [and] [terminal] <Insert accessory> units, color to match roof tile.

2.3 ACCESSORIES

A. Asphalt Roofing Cement:  ASTM D 4586, Type II, asbestos free.

B. Butyl Sealant:  ASTM C 1311, single-component, solvent-release butyl rubber sealant; polyisobutylene plasticized; heavy bodied.

Revise paragraph below if elastomeric sealant of another type, grade, class, and a specific use related to substrate is required.

C. Elastomeric Sealant:  ASTM C 920, [polyurethane] [polysulfide] [silicone]-based joint sealant; of Type [M] [or] [S], Grade NS, Class 25, Use NT related to exposure, and, as applicable to joint substrates indicated, Use O.

Retain paragraph below if adhering top-layer underlayment to the anchor or first layer.

D. Roofing Asphalt:  ASTM D 312, Type IV.

Retain first paragraph below if adhering underlayments with cold-applied adhesives.

E. Cold-Applied Adhesive:  Manufacturer's standard asphalt-based, one- or two-part, asbestos-free, cold-applied adhesive specially formulated for compatibility and use with underlayments.

F. Foam Adhesive:  Two-component polyurethane expanding adhesive recommended for application by tile manufacturer.

Retain paragraph above or paragraph and subparagraph below if required for tile application in areas not subject to freeze-thaw conditions.

G. Mortar:  ASTM C 270, Type M[, natural color for concealed-from-view mortar].

1. Mortar Pigment:  ASTM C 979.  Produce mortar matching the color of tile selected for exposed-to-view mortar.

Retain first paragraph below if required and if not using a concrete tile eave closure.

H. Eave Closure:  Manufacturer's standard [EPDM] [stainless-steel] [zinc-tin alloy-coated, stainless-steel] [coil-coated aluminum] <Insert material> eave closure formed to shape of tile.

I. Ridge Closure:  Manufacturer's standard EPDM ridge closure formed to shape of tile.

Retain paragraph below if above-deck wood components are required.  Revise to add material requirements here if preferred.

J. Wood Nailers[, Beveled Cant Strips] [and] [Battens]:  Comply with requirements in Division 6 Section "[Rough Carpentry] [Miscellaneous Carpentry]" for pressure-preservative-treated wood.

Retain below for insect screen materials used to seal roof-deck openings at sheet metal ridge vents.

K. Mesh Fabric:  18-by-14 (1.1-by-1.4-mm) mesh of PVC coated, glass-fiber thread.

2.4 FASTENERS

If direct deck installation method is used, retain first paragraph below and select nail materials from first set of options and substrate from second set of options.  Brass and stainless-steel nails may also be available.

A. Roofing Nails:  ASTM F 1667, [copper, 0.135-inch- (3.4-mm-)] [aluminum, 0.1055-inch- (2.7-mm-)] [hot-dip galvanized steel, 0.1055-inch- (2.7-mm-)] diameter shank, sharp-pointed, conventional roofing nails with barbed shanks; minimum 3/8-inch- (10-mm-) diameter head; and of sufficient length to penetrate 3/4 inch (19 mm) into [wood battens] [solid wood decking] [roof deck sheathing].

Delete subparagraph below if not applicable or revise to suit Project.

1. Where nails are in contact with metal flashing, use nails made from same metal as flashing.

B. Felt Underlayment Nails:  Aluminum, stainless-steel, or hot-dip galvanized steel wire with low-profile capped heads or disc caps, 1-inch (25-mm) minimum diameter.

C. Wood Batten Nails:  ASTM F 1667, common or box, steel wire, flat head, and smooth shank.

Retain paragraph below for miscellaneous wiring of valley or other cut tile.

D. Wire Ties:  [Copper] [Brass] [Stainless steel], 0.083-inch (2.1-mm) minimum diameter.

Retain paragraph below for twisted-wire-tie system, an alternative to direct deck installation method.  Revise twisted-wire tie to flat metal strip if required.

E. Twisted-Wire-Tie System:  Continuously twisted two-wire unit with loops formed 6 inches (150 mm) apart, minimum [0.1-inch- (2.5-mm-) diameter brass wire and 0.06-inch- (1.5-mm-) diameter brass tie wires] [0.1-inch- (2.5-mm-) diameter copper wire and 0.06-inch- (1.5-mm-) diameter brass tie wires] [0.083-inch- (2.1-mm-) diameter stainless-steel wire and 0.037-inch- (0.94-mm-) diameter stainless-steel tie wires] [0.083-inch- (2.1-mm-) diameter galvanized steel wire and 0.037-inch- (0.94-mm-) diameter galvanized steel tie wires], with matching-metal folding clip anchors.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. Newport Fastener Company, Inc.; Twisted Wire Tyle Tye.

b. Wire Works, Inc. (The); Twisted Wire Works System.

c. <Insert manufacturer's name; product name or designation.>

Hook nails, also called "wind locks," are used in high wind areas and on roofs steeper than 7:12.

F. Hook Nails:  One-piece wind lock and tile fastener system, minimum [0.1-inch- (2.5-mm-) diameter brass] [0.09-inch- (2.3-mm-) diameter galvanized steel] wire, for direct deck nailing.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. Newport Fastener Company, Inc.; TileNail Tyle-Tye System.

b. Wire Works, Inc. (The); McHook Nails.

c. <Insert manufacturer's name; product name or designation.>

Tile locks below may be used with direct deck twisted-wire-tie system; also called "butt hooks," "nose clips," "nose hooks," and "wind locks," they help reduce wind-induced chatter of tiles and limit stress on the primary fastener at top of the tile.

G. Tile Locks:  [Brass] [Copper] [Stainless-steel] [Hot-dip galvanized steel], 0.1-inch- (2.5-mm-) diameter wire device designed to secure butt edges of cover tiles.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. Newport Fastener Company, Inc.; Wind Lock Nose Clips.

b. <Insert manufacturer's name; product name or designation.>

Retain paragraph and subparagraphs below if additional wind-uplift resistance is required.  Storm clips are also called "hurricane clips," "storm lock side clips," or "grip clips."

H. Storm Clips:  [Brass] [Stainless-steel] [Hot-dip galvanized steel] strap-type, 0.04-by-1/2-inch (1.0-by-13-mm) L-shaped retainer clips designed to secure side edges of tiles.  Provide with two fastener holes in base flange.

Coordinate below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. Newport Fastener Company, Inc.; Storm Lock Side Clips.

b. Wire Works, Inc. (The); Grip McClips.

c. <Insert manufacturer's name; product name or designation.>

2.5 UNDERLAYMENT MATERIALS

Retain applicable underlayment products from first three paragraphs below.  Retain one or more based on whether a single or double underlayment is required.  Underlayment described in the first paragraph, commonly referred to as "No. 30 felt," is the lightest underlayment used with tile.

A. Roof Felt Underlayment:  ASTM D 226, Type II, asphalt-saturated organic felt, unperforated.

Retain paragraph below for coated roof felt underlayment.  Commonly referred to as "No. 40," "No. 42," or "No. 43" felt, this medium-heavy tile underlayment is widely used.

B. Roof Felt Underlayment:  ASTM D 2626, asphalt-saturated and -coated organic felt, dusted with fine mineral surfacing on both sides, unperforated.

Retain paragraph below for roll roofing used as an underlayment.  Commonly referred to as "ninety pound" or "No. 74" roll roofing, this is a heavyweight tile underlayment.

C. Roll Roofing Underlayment:  ASTM D 249, Type I, asphalt-saturated and -coated organic felt, mineral-granule surfaced.

Self-adhering, polymer-modified underlayment in two paragraphs below is used to resist leaks from ice dams and to protect other roof areas vulnerable to leakage.

D. Self-Adhering Sheet Underlayment, Granular Surfaced:  ASTM D 1970, minimum of 55 mils (1.4 mm) thick; glass-fiber-mat-reinforced, SBS-modified asphalt; mineral-granule surfaced; with release-paper backing; cold applied.[ Provide primer for adjoining concrete or masonry surfaces to receive underlayment.]

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. ALCO-NVC, Inc.; ALCO Shield.

b. Atlas Roofing Corporation; StormMaster DG.

c. Carlisle Coatings & Waterproofing, Div. of Carlisle Companies Inc.; Dri-Start "G."

d. Celotex Corporation; Celo-Guard.

e. CertainTeed Corporation; WinterGuard.

f. GAF Materials Corporation; Weather Watch.

g. Henry Company; Eaveguard.

h. IKO; ArmourGuard.

i. Johns Manville International, Inc.; Roof Defender.

j. NEI Advanced Composite Technology; AC [Granular Ice and StormSeal] [Sand Ice and StormSeal].

k. Owens Corning; WeatherLock G.

l. <Insert manufacturer's name; product name or designation.>

Retain paragraph and subparagraphs below if polyethylene-faced sheet is required.  A polyester-fabric-faced, SBS-modified asphalt sheet, reinforced internally with polyester or glass-fiber mats, is also produced that may comply with ASTM D 1970; verify availability with manufacturers selected and add revised description of products to paragraph.  These products include Protecto Wrap Company's "Rainproof II" and "Rainproof-40," Royston Laboratories' "Ice and Water Gard," and SafSeal Innovations' "SafSeal 7740-R."

E. Self-Adhering Sheet Underlayment, Polyethylene Faced:  ASTM D 1970, minimum of 40 mils (1.0 mm) thick; slip-resisting, polyethylene-film-reinforced top surface laminated to SBS-modified asphalt adhesive, with release-paper backing; cold applied.[ Provide primer for adjoining concrete or masonry surfaces to receive underlayment.]

Coordinate below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. Carlisle Coatings & Waterproofing, Div. of Carlisle Companies Inc.; Dri-Start "A."

b. Grace, W. R. & Co.; Grace Ice and Water Shield.

c. Henry Company; Perma-Seal PE.

d. Johns Manville International, Inc.; Roof Defender.

e. NEI Advanced Composite Technology; AC Poly Ice and StormSeal.

f. Owens Corning; WeatherLock M.

g. Polyguard Products, Inc.; Polyguard Deck Guard.

h. Protecto Wrap Company; Rainproof TM.

i. SafSeal Innovations; SafSeal 7740.

j. <Insert manufacturer's name; product name or designation.>

2.6 SNOW GUARDS

Retain this Article if snow guards are needed.

A. Snow Guard Pads:  Fabricated [copper] [cast-bronze] [lead-coated copper] [stainless-steel] [aluminum] units, designed to be installed without penetrating slate shingles, and complete with predrilled holes or hooks for anchoring.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. Alpine SnowGuards, a division of Vermont Slate & Copper Services, Inc.; <Insert product name or designation>.

b. Berger Bros. Co.; <Insert product name or designation>.

c. M. J. Mullane Company, Inc.; <Insert product name or designation>.

d. Sieger Snow Guards, Inc.; <Insert product name or designation>.

e. Snow Management Systems, a division of Contek, Inc.; <Insert product name or designation>.

f. Zaleski Snow-Guards & Roofing Specialties; <Insert product name or designation>.

g. <Insert manufacturer's name; product name or designation.>

B. Snow-Guard Rails:  Unit fabricated from metal base plate anchored to [adjustable] [fixed] bracket and equipped with [two] [three] bars.

Coordinate first subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. [Available ]Products:

a. Alpine SnowGuards, a division of Vermont Slate & Copper Services, Inc.; <Insert product name or designation>.

b. M. J. Mullane Company, Inc.; <Insert product name or designation>.

c. Sieger Snow Guards, Inc.; <Insert product name or designation>.

d. Snow Management Systems, a division of Contek, Inc.; <Insert product name or designation>.

e. <Insert manufacturer's name; product name or designation.>

2. Brackets and Base Plate:  [Aluminum] [Bronze or brass] [Stainless steel].

3. Bars:  [Aluminum, mill finished] [Aluminum, clear anodized] [Stainless steel, mill finished].

2.7 SHEET METAL FLASHING AND TRIM

A. Sheet Metal Flashing and Trim:  Comply with requirements in Division 7 Section "Sheet Metal Flashing and Trim."

1. Sheet Metal:  [Copper] [Lead-coated copper] [Stainless steel] [Zinc-tin alloy-coated stainless steel] [Coil-coated aluminum] [Anodized aluminum] [Aluminum, mill finished] <Insert sheet material>.

B. Fabricate sheet metal flashing and trim to comply with recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to design, dimensions, metal, and other characteristics of item.

Retain detailed fabrication requirements for flashings from first four subparagraphs below.  Delete if Drawings fully detail these flashing conditions.  Dimensions of flashings are those recommended in NRCA's "The NRCA Roofing and Waterproofing Manual"; revise to suit tile manufacturer's recommendations if preferred.

1. Apron Flashings:  Fabricate with lower flange extending a minimum of [4 inches (100 mm)] [6 inches (150 mm)] over and[ 4 inches (100 mm)] beyond each side of downslope tile roofing and[ 6 inches (150 mm)] up the vertical surface.

Retain subparagraph below for interleaving metal step flashings between succeeding courses of flat tile that abut vertical surfaces such as chimneys, sidewalls, and skylights.

2. Step Flashings:  Fabricate with a 3-inch (75-mm) headlap extending a minimum of [4 inches (100 mm)] [5 inches (125 mm)] over the underlying tile roofing and [4 inches (100 mm)] [5 inches (125 mm)] up the vertical surface.

Retain subparagraph below for metal pan or channel flashings acting as an internal gutter under sloping high-profile tile abutting vertical surfaces such as chimneys, sidewalls, and skylights.  Revise dimensions to suit Project.

3. Channel Flashings:  Fabricate with vertical surface extending a minimum of [4 inches (100 mm)] [5 inches (125 mm)] <Insert dimension> above the tile and [4 inches (100 mm)] [6 inches (150 mm)] <Insert dimension> beneath the tile roofing and with a [1-inch- (25-mm-)] <Insert dimension> high vertical return to form a runoff channel.

Retain subparagraph below for metal pan or channel flashings acting as an internal gutter at rake edge fasciae.  Revise dimensions to suit Project.

4. Rake Pan Flashings:  Fabricate with vertical surface extending over fasciae and [6 inches (150 mm)] <Insert dimension> beneath the tile roofing, with a [1-inch- (25-mm-)] <Insert dimension> high vertical return to form a runoff channel.

Retain subparagraph below if cricket or backer flashings are required.  Revise dimensions to suit Project.

5. [Cricket] [Backer] Flashings:  Fabricate with concealed flange extending a minimum of [18 inches (450 mm)] [24 inches (600 mm)] beneath upslope tile roofing, [ 6 inches (150 mm)] beyond each side of [chimney] [skylight], and[ 6 inches (150 mm)] above the roof plane.

Retain subparagraph below for metal valley flashings.  Revise dimensions to suit Project.

6. [Closed] [Open]-Valley Flashings:  Fabricate in lengths not exceeding [10 feet (3 m)] <Insert length>, with [1-inch- (25-mm-)] <Insert dimension> high, inverted-V profile at center of valley and with equal flange widths of [10 inches (250 mm)] [12 inches (300 mm)] <Insert width>.

Retain subparagraph below if eave or rake drip edges are required.

7. Drip Edges:  Fabricate in lengths not exceeding [10 feet (3 m)] <Insert length>, with 2-inch (50-mm) roof-deck flange and 1-1/2-inch (38-mm) fascia flange with 3/8-inch (9.6-mm) drip at lower edge.

Retain below if plumbing vents penetrate roof.  Revise to specify another flashing material or include requirements in Division 7 Section "Sheet Metal Flashing and Trim" or Division 15 Section "Sanitary Waste and Vent Piping."

C. Vent-Pipe Flashings:  ASTM B 749, Type L51121, at least 1/16 inch (1.6 mm) thick.  Provide lead sleeve sized to slip over and turn down into pipe, soldered to skirt at slope of roof and extending at least 4 inches (100 mm) from pipe onto roof.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of work.

1. Examine roof sheathing to verify that sheathing joints are supported by framing and blocking or metal clips and that installation is within flatness tolerances.

2. Verify that substrate is sound, dry, smooth, clean, sloped for drainage, and completely anchored; and that provision has been made for flashings and penetrations through roof.

Delete subparagraph below if not required.

3. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of work.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 UNDERLAYMENT INSTALLATION

Underlayments installed parallel to eaves are installed perpendicular to sloped roof deck.  In some instances, underlayments installed parallel to the rake are installed parallel to sloped roof deck.  Roofing convention bases directions viewed from roof plan slope.

A. General:  Install underlayments according to tile manufacturer's written recommendations and recommendations in NRCA's "The NRCA Roofing and Waterproofing Manual."

1. Cover [ridge] [hip] wood nailers with underlayment strips.

Retain paragraph and subparagraph below if single layer of roof felt underlayment is required.

B. Single-Layer Roof Felt Underlayment:  Install perpendicular to roof slope in parallel courses.  Lap sides a minimum of 2 inches (50 mm) over underlying course.  Lap ends a minimum of 4 inches (100 mm).  Stagger end laps between succeeding courses at least 72 inches (1830 mm).  Fasten with [felt underlayment] [roofing] nails.

Retain subparagraph below if combining self-adhering sheet and roof felt underlayment.

1. Install felt underlayment on roof deck not covered by self-adhering sheet underlayment.  Lap sides not less than 3 inches (75 mm) over self-adhering sheet underlayment in direction to shed water.  Lap ends not less than 6 inches (150 mm) over self-adhering sheet underlayment.

Retain paragraph and subparagraphs below if shingling double layers of roof felt underlayment.  Side lap and starter course dimensions are based on 36-inch- (914-mm-) wide rolls of roof felt underlayment.  Objective is to maintain double layer of coverage with 2 inches (50 mm) to spare.

C. Double-Layer Roof Felt Underlayment:  Install perpendicular to roof slope in parallel courses.  Install a 19-inch- (485-mm-) wide starter course at eaves and completely cover with full-width second course.  Install succeeding courses lapping previous courses 19 inches (485 mm) in shingle fashion.  Lap ends a minimum of 6 inches (150 mm).  Stagger end laps between succeeding courses at least 72 inches (1830 mm).  Fasten with [felt underlayment] [roofing] nails.

Retain subparagraph below if cemented double layers of roof felt underlayment serve as a secondary roofing membrane or as an ice-dam membrane.  Versatile self-adhering sheet underlayment has largely replaced cemented double layers of roof felt as ice-dam protection.

1. Apply a continuous layer of asphalt roofing cement over starter course and on roof felt underlayment surface to be concealed by succeeding courses as each roof felt course is installed.  Apply [over entire roof] [at locations indicated on Drawings].

Retain subparagraph below if applicable.

2. Install roof felt underlayment on roof sheathing not covered by self-adhering sheet underlayment.  Lap edges not less than 3 inches (75 mm) over self-adhering sheet underlayment in direction to shed water.

Retain paragraph and subparagraphs below if double layer of roof felt/roll roofing underlayment is required.

D. Double-Layer Roof Felt/Roll Roofing Underlayment:

1. Install single layer of roof felt underlayment on roof deck perpendicular to roof slope in parallel courses.  Lap sides a minimum of 2 inches (50 mm) over underlying course.  Lap ends a minimum of 4 inches (100 mm).  Stagger end laps between succeeding courses at least 72 inches (1830 mm).  Fasten with [felt underlayment] [roofing] nails

2. Install roll roofing underlayment in same direction as roof felt underlayment in parallel courses.  Lap ends a minimum of 6 inches (150 mm).  Stagger end laps between succeeding courses at least 72 inches (1830 mm).

a. Mechanically fasten over felt underlayment.

b. Adhere to felt underlayment with [solid mopping of hot roofing asphalt, applied within plus or minus 25 deg F (14 deg C) of equiviscous temperature] [uniform coating of cold-applied adhesive] [uniform coating of asphalt roofing cement].

Retain first option in subparagraph below if felt is covered with self-adhering sheet underlayment against walls and other roof projections.

3. Terminate roof felt underlayment [flush] [extended up not less than 4 inches (100 mm)] against sidewalls, curbs, chimneys, and other projections.

Retain paragraph and subparagraphs below for installing single layer of self-adhering sheet underlayment.

E. Self-Adhering Sheet Underlayment:  Install wrinkle free, complying with low-temperature installation restrictions of underlayment manufacturer if applicable.  Install at locations indicated [below] [on Drawings], lapped in direction to shed water.  Lap sides not less than 3-1/2 inches (89 mm).  Lap ends not less than 6 inches (150 mm), staggered 24 inches (600 mm) between succeeding courses.  Roll laps with roller.  Cover underlayment within seven days.

Retain subparagraph below if primer is required to enhance adhesion to concrete or masonry surfaces such as chimneys or walls.

1. Prime concrete and masonry surfaces to receive self-adhering sheet underlayment.

Retain subparagraph below and delete remaining subparagraphs below if extending self-adhering sheet underlayment over entire roof deck

2. Extend self-adhering sheet underlayment over entire roof deck.

Edit subparagraphs below to suit Project or delete if indicated on Drawings.

a. Eaves:  Extend from edges of eaves [24 inches (600 mm)] [36 inches (914 mm)] <Insert dimension> beyond interior face of exterior wall.

b. Rakes:  Extend from edges of rakes [24 inches (600 mm)] [36 inches (914 mm)] <Insert dimension> beyond interior face of exterior wall.

c. Valleys:  Extend from lowest to highest point [18 inches (450 mm)] <Insert dimension> on each side.

d. Hips:  Extend [18 inches (450 mm)] <Insert dimension> on each side.

e. Ridges:  Extend [36 inches (914 mm)] <Insert dimension> on each side[ without obstructing continuous ridge vent slot].

f. Sidewalls:  Extend [18 inches (450 mm)] <Insert dimension> beyond sidewalls and return vertically against sidewalls not less than [4 inches (100 mm)] <Insert dimension>.

g. Dormers, Chimneys, Skylights, and Other Roof-Penetrating Elements:  Extend [18 inches (450 mm)] <Insert dimension> beyond penetrating elements and return vertically against penetrating elements not less than [4 inches (100 mm)] <Insert dimension>.

h. Roof Slope Transitions:  Extend [18 inches (450 mm)] <Insert dimension> on each roof slope.

Retain paragraph and subparagraph below if double layer of roof felt/self-adhering sheet underlayment is required.

F. Double-Layer Roof Felt/Self-Adhering Sheet Underlayment:

1. Install roof felt underlayment perpendicular to roof slope in parallel courses.  Lap sides a minimum of 2 inches (50 mm) over underlying course.  Lap ends a minimum of 4 inches (100 mm).  Stagger end laps between succeeding courses at least 72 inches (1830 mm).  Fasten with [felt underlayment] [roofing] nails.

2. Install self-adhering sheet underlayment, wrinkle free, on roof felt underlayment.  Comply with low-temperature installation restrictions of underlayment manufacturer if applicable.  Lap sides not less than 3-1/2 inches (89 mm) in direction to shed water.  Lap ends not less than 6 inches (150 mm), staggered 24 inches (600 mm) between succeeding courses.  Roll laps with roller.  Cover underlayment within seven days.

Retain below for felt underlayment at open valleys to be covered with metal valley flashing.

G. Metal-Flashed Open-Valley Underlayment:  Install 2 layers of 36-inch- (914-mm-) wide roof felt underlayment centered in valley.  Stagger end laps between layers at least 72 inches (1830 mm).  Lap ends of each layer at least 12 inches (300 mm) in direction to shed water, and seal with asphalt roofing cement.  Fasten each layer to roof deck with felt underlayment nails.

1. Lap roof-deck underlayment over first layer of valley underlayment at least 6 inches (150 mm).

3.3 METAL FLASHING INSTALLATION

A. General:  Install metal flashings and other sheet metal to comply with requirements in Division 7 Section "Sheet Metal Flashing and Trim."

1. Install metal flashings according to tile manufacturer's written recommendations and recommendations in NRCA's "The NRCA Roofing and Waterproofing Manual."

Retain paragraph below for apron flashings.

B. Apron Flashings:  Extend lower flange over and beyond each side of downslope tile roofing and up the vertical surface.

Retain paragraph below for interleaving metal step flashings between succeeding flat tile courses that abut vertical surfaces such as chimneys, sidewalls, and skylights.

C. Step Flashings:  Install with 3-inch (75-mm) headlap extending over the underlying tile and up the vertical surface.  Install with lower edge of flashing just upslope of, and concealed by, butt of overlying tile.  Fasten to roof deck only.

Retain paragraph below if cricket or backer flashings are required.

D. [Cricket] [Backer] Flashings:  Install against roof-penetrating elements, extending concealed flange beneath upslope tile roofing and beyond each side.

Retain paragraph and subparagraphs below if metal open-valley flashings are required.  Revise dimensions to suit Project.  CSSB recognizes open valleys only; NRCA recognizes both closed or mitered valleys and closed fanned or swept valleys.  All valley types require sheet metal flashings.

E. Open-Valley Flashings:  Install centrally in valleys, lapping ends at least 8 inches (200 mm) in direction to shed water.  Fasten upper end of each length to roof deck beneath overlap.

Retain subparagraph below if securing flange edges with cleats.

1. Secure hemmed flange edges into metal cleats spaced [12 inches (300 mm)] <Insert spacing> apart and fastened to roof deck.

NRCA advises stripping-in flashing at open valleys in areas subject to snow and ice accumulation and frequent freeze-thaw cycles.  Retain subparagraph below if applicable.

2. Adhere [9-inch- (225-mm-)] <Insert width> wide strips of self-adhering sheet to metal flanges and to self-adhering sheet underlayment.

Retain one or both paragraphs below if applicable.

F. Channel Flashings:  Install over underlayment and fasten to roof deck.

G. Rake Pan Flashings:  Install over underlayment and fasten to roof deck.

Retain one or both of first two paragraphs below if applicable.

H. Rake Drip Edges:  Install over underlayment and fasten to roof deck.

I. Eave Drip Edges:  Install beneath underlayment and fasten to roof deck.

J. Pipe Flashings:  Form flashing around pipe penetrations and tile roofing.  Fasten and seal to tile roofing.

Retain below if sheet metal ridge vents are used with concrete tile.

K. Ridge Vent Sheet Metal:  Install centrally and mechanically fasten to wood ridge.  Adhere each side to roof tile in elastomeric sealant.

1. Install fabric mesh over roof deck air ventilation gaps to prevent insect entry.

3.4 WOOD NAILERS[ AND BATTENS]

Retain first paragraph below for high-profile concrete tile, selecting options as applicable.

A. Install wood nailers at [ridges] [hips] [rakes] and securely fasten to roof deck.

B. Install beveled wood cant at eaves and securely fasten to roof deck.

Retain paragraph below if battens are required.  Wood battens installed perpendicular to sloped roof deck are installed horizontally or parallel to eaves.  Counter battens installed parallel to sloped roof deck are installed vertically or parallel to rakes.  This Section specifies conventional roof tile installation with battens installed horizontally and counter battens installed vertically.

C. Install nominal 1-by-2-inch (25-by-50-mm) <Insert dimensions> wood battens horizontally [over 1/2-inch- (13-mm-) high, pressure-preservative-treated wood lath strips] [48 inches (1200 mm) long with ends separated by 1/2 inch (13 mm)] at spacing required by roof tile manufacturer and securely fasten to roof deck.

Retain below if counter battens are required.

1. Install nominal 1-by-2-inch (25-by-50-mm) <Insert dimensions> wood counter battens vertically spaced [24 inches (600 mm)] <Insert spacing> apart and securely fasten to roof deck.

3.5 CONCRETE TILE INSTALLATION

A. General:  Install roof tiles according to manufacturer's written instructions and recommendations in RTI/WSRCA's "Concrete and Clay Roof Tile Design Criteria Installation Manual for Moderate Climate Regions," and to NRCA's "The NRCA Roofing and Waterproofing Manual."

1. Maintain uniform exposure and coursing of tiles throughout roof.

2. Extend tiles 2 inches (50 mm) over eave fasciae.

Select one or more of three subparagraphs and associated subparagraph below.

3. Nail Fastening:  Drive nails to clear the tile so the tile hangs from the nail and is not drawn up.

a. Install wire through nail holes of cut tiles that cannot be nailed directly to roof deck, and fasten to nails driven into deck.

4. Wire-Tie Fastening:  Install wire-tie systems and fasten tile according to manufacturer's written instructions.

5. [Foam-Adhesive] [Mortar] Setting:  Install tile according to FRSA/NTRMA's "Concrete and Clay Roof Tile Installation Manual."

Retain subparagraph below for auxiliary side fastening of tile.

6. Install storm clips to capture edges of longitudinal sides of tiles and securely fasten to roof deck.

Retain first subparagraph below for locking butt edge of overlying tile to head of underlying tile.

7. Install tile locks to support and lock overlying tile butts to underlying tiles.

8. Cut and fit tiles neatly around roof vents, pipes, ventilators, and other projections through roof.  Fill voids with mortar.

9. Install tiles with color blend approved by Architect.

Retain paragraph and subparagraphs below for flat shingle tile installation.

B. Flat Shingle Tile Installation:

1. Maintain 2-inch (50-mm) head lap between succeeding tile courses.

2. Offset joints by half the tile width in succeeding courses.

3. Extend tiles 1 inch (25 mm) over fasciae at rakes.

4. Install ridge tiles in [V-ridge] [saddle] [mitered] configuration with laps facing away from prevailing wind.  Seal laps with [asphalt roofing cement] [butyl sealant] [elastomeric sealant].

Retain first subparagraph below for closing void at junction of ridge tiles with high-profile roof tiles.  Special ridge closure tiles may also be called "top fixture tiles."

a. Close voids where ridge tiles meet roof tiles with [ridge closure tiles] [mortar struck with face of ridge cover tiles].

5. Install hip tiles in [V-ridge] [saddle] [mitered] configuration.  Seal laps with [asphalt roofing cement] [butyl sealant] [elastomeric sealant].

Retain subparagraph below for mortar-filling voids at junction of hip tiles with high-profile tiles.

a. Fill voids with mortar where hip tiles meet roof tiles and strike mortar flush with face of hip cover tiles.

Retain paragraph and subparagraphs below for flat interlocking tile installation.

C. Flat Interlocking Tile Installation:

1. Provide minimum 3-inch (75-mm) lap between succeeding tile courses.

2. Offset joints by half the tile width in succeeding courses.

3. Install L-shaped rake tile.

4. Install ridge tiles in [V-ridge] [saddle] [mitered] configuration with laps facing away from prevailing wind.  Seal laps with [asphalt roofing cement] [butyl sealant] [elastomeric sealant].

Retain first subparagraph below for closing void at junction of ridge tiles with high-profile roof tiles.  Special ridge closure tiles may also be called "top fixture tiles."

a. Close voids where ridge tiles meet roof tiles with [ridge closure tiles] [mortar struck with face of ridge cover tiles].

5. Install hip tiles in [V-ridge] [saddle] [mitered] configuration.  Seal laps with [asphalt roofing cement] [butyl sealant] [elastomeric sealant].

Retain subparagraph below for mortar-filling voids at junction of hip tiles with high-profile tiles.

a. Fill voids with mortar where hip tiles meets roof tiles and strike mortar flush with face of hip cover tiles.

Retain paragraph and subparagraphs below for low-profile interlocking tile installation.

D. Low-Profile Interlocking Tile Installation:

1. Provide minimum 3-inch (75-mm) lap between succeeding courses of tile.

2. Install L-shaped rake tiles.

3. Install ridge tiles with laps facing away from prevailing wind.  Seal laps with [asphalt roofing cement] [butyl sealant] [elastomeric sealant].

Retain paragraph and subparagraphs below for high-profile tile installation, including interlocking and overlapped tiles.

E. High-Profile Tile Installation:

1. Install [tile] [sheet metal] [EPDM] eave closure

2. Provide minimum 3-inch (75-mm) lap between succeeding courses of tile.

3. Install [L-shaped] [roll] rake tiles.

4. Install ridge tiles with laps facing away from prevailing wind.  Seal laps with [asphalt roofing cement] [butyl sealant] [elastomeric sealant].

Retain paragraph and subparagraph below for open valleys.

F. Open Valleys:  Cut tiles at open valleys to form straight lines.  [Maintain uniform width of exposed open valley] [Widen exposed portion of open valley 1/8 inch in 12 inches (1:96)] from highest to lowest point.

1. Drill or notch cut valley tiles and wire tie to fastener placed clear of metal flashings.  Do not nail tiles to metal flashings.

Retain below for closed valleys.

G. Closed Valleys:  Cut tiles at closed valleys to form straight lines, trimming upper concealed corners of tiles.  Maintain uniform gap of [1/2 to 3/4 inch (13 to 19 mm)] [3/4 to 1 inch (19 to 25 mm)] at centerline of valley.

1. Drill or notch cut valley tiles and wire tie to fastener placed clear of valley metal flashing.  Do not nail tiles to metal flashings.

3.6 SNOW-GUARD INSTALLATION

Retain paragraph below for snow-guard pads.  Consider roof layout recommendations of snow-guard pad manufacturers.

A. Snow-Guard Pads:  Install <Insert number> rows of snow-guard pads at locations indicated according to manufacturer's written installation instructions.  Space rows <Insert dimension> apart horizontally, beginning <Insert dimension> from gutter.  Space snow guards <Insert dimension> apart in each row, offsetting by half this dimension between succeeding rows.

Retain below for snow-guard rails.  Consider roof layout recommendations of snow-guard rail manufacturers.

B. Snow-Guard Rails:  Install <Insert number> rows of snow-guard rails at locations indicated according to manufacturer's written installation instructions.  Space rows <Insert dimension> apart horizontally, beginning <Insert dimension> from gutter.

3.7 ADJUSTING AND CLEANING

A. Remove and replace damaged or broken tiles.

B. Remove excess tile and debris from Project site.

3.8 ROOFING INSTALLER'S WARRANTY

Delete this Article, retain this warranty, or include another roofing Installer's warranty form if required.  Coordinate with Part 1 "Warranty" Article.  Another sample layout of this warranty is included in the Evaluations in Division 7 Section "Roof Tiles."

A. WHEREAS <Insert name> of <Insert address>, herein called the "Roofing Installer," has performed roofing and associated work ("work") on the following project:

1. Owner:  <Insert name of Owner.>

2. Address:  <Insert address.>

3. Building Name/Type:  <Insert information.>

4. Address:  <Insert address.>

5. Area of Work:  <Insert information.>

6. Acceptance Date:  <Insert date.>

7. Warranty Period:  <Insert time.>

8. Expiration Date:  <Insert date.>

B. AND WHEREAS Roofing Installer has contracted (either directly with Owner or indirectly as a subcontractor) to warrant said work against leaks and faulty or defective materials and workmanship for designated Warranty Period,

C. NOW THEREFORE Roofing Installer hereby warrants, subject to terms and conditions herein set forth, that during Warranty Period he will, at his own cost and expense, make or cause to be made such repairs to or replacements of said work as are necessary to correct faulty and defective work and as are necessary to maintain said work in a watertight condition.

D. This Warranty is made subject to the following terms and conditions:

1. Specifically excluded from this Warranty are damages to work and other parts of the building, and to building contents, caused by:

a. lightning;

Insert required wind speed below.

b. peak gust wind speed exceeding <Insert wind speed> mph (m/sec);

c. fire;

d. failure of roofing system substrate, including cracking, settlement, excessive deflection, deterioration, and decomposition;

e. faulty construction of parapet walls, copings, chimneys, skylights, vents, equipment supports, and other edge conditions and penetrations of the work;

f. vapor condensation on bottom of roofing; and

g. activity on roofing by others, including construction contractors, maintenance personnel, other persons, and animals, whether authorized or unauthorized by Owner.

2. When work has been damaged by any of foregoing causes, Warranty shall be null and void until such damage has been repaired by Roofing Installer and until cost and expense thereof have been paid by Owner or by another responsible party so designated.

3. Roofing Installer is responsible for damage to work covered by this Warranty but is not liable for consequential damages to building or building contents resulting from leaks or faults or defects of work.

4. During Warranty Period, if Owner allows alteration of work by anyone other than Roofing Installer, including cutting, patching, and maintenance in connection with penetrations, attachment of other work, and positioning of anything on roof, this Warranty shall become null and void on date of said alterations, but only to the extent said alterations affect work covered by this Warranty.  If Owner engages Roofing Installer to perform said alterations, Warranty shall not become null and void unless Roofing Installer, before starting said work, shall have notified Owner in writing, showing reasonable cause for claim, that said alterations would likely damage or deteriorate work, thereby reasonably justifying a limitation or termination of this Warranty.

5. During Warranty Period, if original use of roof is changed, this Warranty shall become null and void on date of said change, but only to the extent said change affects work covered by this Warranty.

6. Owner shall promptly notify Roofing Installer of observed, known, or suspected leaks, defects, or deterioration and shall afford reasonable opportunity for Roofing Installer to inspect work and to examine evidence of such leaks, defects, or deterioration.

7. This Warranty is recognized to be the only warranty of Roofing Installer on said work and shall not operate to restrict or cut off Owner from other remedies and resources lawfully available to Owner in cases of roofing failure.  Specifically, this Warranty shall not operate to relieve Roofing Installer of responsibility for performance of original work according to requirements of the Contract Documents, regardless of whether Contract was a contract directly with Owner or a subcontract with Owner's General Contractor.

E. IN WITNESS THEREOF, this instrument has been duly executed this <Insert day> day of <Insert month>, <Insert year>.

1. Authorized Signature:  <Insert signature.>

2. Name:  <Insert name.>

3. Title:  <Insert title.>

END OF SECTION 07322END OF SECTION 07322

CONCRETE ROOF TILES
07322 - 1

