Copyright 2006 AIA
MASTERSPEC Full Length
05/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 07411 - METAL ROOF PANELS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Exposed-fastener, lap-seam metal roof panels.

2. Concealed-fastener, lap-seam metal roof panels.

3. Standing-seam metal roof panels.

4. Batten-seam metal roof panels.

5. Horizontal-seam (Bermuda-type) metal roof panels.

6. Foamed-insulation-core metal roof panels.

7. Metal soffit panels.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 5 Section "Steel Deck" for steel roof deck supporting metal roof panels.

2. Division 5 Section "Cold-Formed Metal Framing" for cold-formed metal framing supporting metal wall panels.

Retain first subparagraph below if metal soffit panels are not retained in this Section.

3. Division 7 Section "Metal Wall Panels" for factory-formed metal soffit panels.

4. Division 7 Section "Sheet Metal Roofing" for custom-fabricated and on-site, roll-formed sheet metal roofing.

Retain one of first two subparagraphs below for fasciae, copings, flashing, and roof drainage systems not part of metal roof panel assemblies.

5. Division 7 Section "Sheet Metal Flashing and Trim" for field-formed [fasciae,] [copings,] [flashings,] [roof drainage systems,] and other sheet metal work not part of metal roof panel assemblies.

6. Division 7 Section "Manufactured Roof Specialties" for manufactured [fasciae,] [copings,] [roof drainage systems,] and other roof specialties not part of metal roof panel assemblies.

7. Division 7 Section "Joint Sealants" for field-applied sealants not otherwise specified in this Section.

If alternates apply to work of this Section, insert brief paragraphs here to alert Contractor and reference appropriate Division 1 Section for specific details.

1.3 DEFINITIONS

Retain definition remaining after this Section has been edited.

A. Metal Roof Panel Assembly:  Metal roof panels, attachment system components, miscellaneous metal framing, thermal insulation, and accessories necessary for a complete weathertight roofing system.

1.4 PERFORMANCE REQUIREMENTS

A. General Performance:  Metal roof panels shall comply with performance requirements without failure due to defective manufacture, fabrication, installation, or other defects in construction.

Retain first paragraph below if Contractor is required to assume responsibility for design.

B. Delegated Design:  Design metal roof panel assembly, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

Revise rate of air leakage in first paragraph below to suit Project.  ASTM E 1680 is for roof panels spanning structural supports that are of single-skin construction (not composite panels or panels with multiple-layer construction).

C. Air Infiltration:  Air leakage through assembly of not more than [0.06 cfm/sq. ft. (0.3 L/s per sq. m)] <Insert rate> of roof area when tested according to ASTM E 1680 at the following test-pressure difference:

Retain first subparagraph below for roofs with slopes of 30 degrees or less.  Retain second subparagraph below for roofs with slopes steeper than 30 degrees.  Values in both subparagraphs are ASTM E 1680 defaults; revise to suit Project.

1. Test-Pressure Difference:  Negative [1.57 lbf/sq. ft. (75 Pa)] <Insert pressure>.

2. Test-Pressure Difference:  Positive and negative [1.57 lbf/sq. ft. (75 Pa)] <Insert pressure>.

Preloading in two subparagraphs below works the side seams of the test specimen prior to imposing test pressures.  Values for test-pressure differences in both subparagraphs are ASTM E 1680 defaults; revise to suit Project.

3. Positive Preload Test-Pressure Difference:  [Greater than or equal to 15.0 lbf/sq. ft. (720 Pa) and the greater of 75 percent of building live load or 50 percent of building design positive wind-pressure difference] <Insert pressure>.

4. Negative Preload Test-Pressure Difference:  [50 percent of design wind-uplift-pressure difference] <Insert pressure>.

ASTM E 1646 in first paragraph below is for roof panels spanning structural supports that are of single-skin construction (not composite panels or panels with multiple-layer construction).

D. Water Penetration:  No water penetration when tested according to ASTM E 1646 at the following test-pressure difference:

Retain first subparagraph below for roofs with slopes of 30 degrees or less.  Retain second subparagraph below for roofs with slopes steeper than 30 degrees.  Values are ASTM E 1646 default; revise to suit Project.

1. Test-Pressure Difference:  [2.86 lbf/sq. ft. (137 Pa)] <Insert pressure>.

2. Test-Pressure Difference:  [20 percent of positive design wind pressure, but not less than 6.24 lbf/sq. ft. (300 Pa) and not more than 12.0 lbf/sq. ft. (575 Pa)] <Insert pressure>.

Preloading in two subparagraphs below works the side seams of the test specimen prior to imposing test pressures.  Values for test-pressure differences in both subparagraphs are ASTM E 1646 defaults; revise to suit Project.

3. Positive Preload Test-Pressure Difference:  [Greater than or equal to 15.0 lbf/sq. ft. (720 Pa) and the greater of 75 percent of building live load or 50 percent of building design positive wind-pressure difference] <Insert pressure>.

4. Negative Preload Test-Pressure Difference:  [50 percent of design wind-uplift-pressure difference] <Insert pressure>.

Retain first paragraph below for water-barrier (not water-shedding) roof systems.

E. Hydrostatic-Head Resistance:  No water penetration when tested according to ASTM E 2140.

Retain first paragraph below if UL-class roof is required.  Verify that product is listed in UL's "Roofing Materials & Systems Directory."

F. Wind-Uplift Resistance:  Provide metal roof panel assemblies that comply with UL 580 for wind-uplift-resistance class indicated.

1. Uplift Rating:  [UL 30] [UL 60] [UL 90].

Retain first paragraph below if Project is FMG insured or if FMG requirements will set a minimum quality standard.  Coordinate requirements of FMG classification with other requirements in this Section.  Verify availability of metal roof panel systems that meet these classifications.

G. FMG Listing:  Provide metal roof panels and component materials that comply with requirements in FMG 4471 as part of a panel roofing system and that are listed in FMG's "Approval Guide" for Class 1 or noncombustible construction, as applicable.  Identify materials with FMG markings.

Retain one option in first subparagraph below based on windstorm classification of Project.  FMG Loss Prevention Data Sheet 1-28 multiplies the actual field-of-roof uplift pressure by a factor of 2 to obtain the factored pressure, the number that establishes the minimum FMG approval rating.  Verify availability of roofing systems that meet these classifications.  Other options for classifications increase in increments of 15; e.g., Classes 1A-135, 1A-150, 1A-165, and higher.  "Class 1A" signifies complying with ASTM E 108, Class A fire performance for FMG-approved, Class 1 panel roofs.

1. Fire/Windstorm Classification:  [Class 1A-60] [Class 1A-75] [Class 1A-90] [Class 1A-105] [Class 1A-120] <Insert number>.

Retain one option in subparagraph below.  For areas having three or more hailstorms annually, FMG recommends roofing systems rated SH (severe hail) instead of MH (moderate hail).

2. Hail Resistance:  [MH] [SH].

ASTM E 1592 in first paragraph below is for roof panels spanning structural supports that are of single-skin construction (not composite panels or panels with multiple-layer construction).

H. Structural Performance:  Provide metal roof panel assemblies capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated, based on testing according to ASTM E 1592:

Requirements under each set of performance criteria below are examples only.  Insert design loads to suit Project.  Consult a structural engineer experienced in engineering metal roof panel assemblies of type indicated to quantify design loads.  Verify compliance with codes.

1. Wind Loads:  Determine loads based on the following minimum design wind pressures:

Retain one of first two subparagraphs below.  If retaining second, indicate pressures on appropriate elevation Drawings.

a. Uniform pressure of [20 lbf/sq. ft. (957 Pa)] [30 lbf/sq. ft. (1436 Pa)] <Insert design wind pressure>, acting inward or outward.

b. Uniform pressure as indicated on Drawings.

2. Snow Loads:  [25 lbf/sq. ft. (1197 Pa)] [30 lbf/sq. ft. (1436 Pa)] [35 lbf/sq. ft. (1676 Pa)] <Insert load>.

3. Deflection Limits:  Metal roof panel assemblies shall withstand wind and snow loads with vertical deflections no greater than [1/180] [1/240] of the span.

I. Thermal Movements:  Allow for thermal movements resulting from ambient and surface temperature changes.  Base calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change (Range):  [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

J. Thermal Performance:  Provide insulated metal roof panel assemblies with thermal-resistance value (R-value) indicated when tested according to ASTM C 518.

Retain one of three paragraphs below to specify "cool-roof" performance if required.

Retain first paragraph below if required for LEED-NC Credit SS 7.2.  First option is minimum for roofs with slopes of 2:12 or less; second option is minimum for roofs with slopes steeper than 2:12.

K. Energy Performance:  Provide roof panels with solar reflectance index not less than [78] [29] when calculated according to ASTM E 1980 based on testing identical products by a qualified testing agency.

Retain first paragraph below for roofs that must comply with ENERGY STAR requirements.  ENERGY STAR Roof Products Qualified Product List is available in PDF at www.energystar.gov.

L. Energy Performance:  Provide roof panels that are listed on the U.S. Department of Energy's ENERGY STAR Roof Products Qualified Product List for [low-slope] [steep-slope] roof products.

Usually retain paragraph below for roofs that must comply with CEC-Title 24.  Options are values required for low-slope roofs by prescriptive approach; insert other values if required for building envelope trade-off approach or whole building performance approach.  A list of products tested according to CRRC-1 with their test values is available in PDF at www.coolroofs.org.

M. Energy Performance:  Provide roof panels with initial solar reflectance not less than [0.70] <insert value> and emissivity not less than [0.75] <insert value> when tested according to CRRC-1.

1.5 SUBMITTALS

First five paragraphs below are defined in Division 1 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for each type of roof panel and accessory.

B. LEED Submittals:

Retain first subparagraph below if roof materials are required to comply with requirements for LEED-NC Credit SS 7.2; coordinate with requirements selected in Part 2 for roof finishes.

1. Product Test Reports for Credit SS 7.2:  For roof panels, indicating that panels comply with solar reflectance index requirement.

Retain subparagraph below if recycled content is required for LEED-NC Credits MR 4.1 and MR 4.2.

2. Product Data for Credit MR 4.1[ and Credit MR 4.2]:  Indicating percentages by weight of postconsumer and preconsumer recycled content for products having recycled content.

a. Include statement indicating costs for each product having recycled content.

C. Shop Drawings:  Show fabrication and installation layouts of metal roof panels; details of edge conditions, side-seam and endlap joints, panel profiles, corners, anchorages, trim, flashings, closures, and accessories; and special details.  Distinguish between factory- and field-assembled work.

Revise subparagraph below to suit Project.  Delete requirement for large-scale details if manufacturer's product data are adequate.  Metal roof panel manufacturers may not manufacture all types of accessories.

1. Accessories:  Include details of the following items, at a scale of not less than 1-1/2 inches per 12 inches (1:10):

a. Flashing and trim.

b. Gutters.

c. Downspouts.

d. Roof curbs.

e. Snow guards.

D. Samples for Initial Selection:  For each type of metal roof panel indicated with factory-applied color finishes.

1. Include similar Samples of trim and accessories involving color selection.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

E. Samples for Verification:  For each type of exposed finish required, prepared on Samples of size indicated below:

If custom color is specified, Sample in first subparagraph below may be difficult to obtain.

1. Metal [Roof] [and] [Soffit] Panels:  12 inches (300 mm) long by actual panel width.  Include fasteners, [clips,] [battens,] closures, and other metal roof panel accessories.

2. Trim and Closures:  12 inches (300 mm) long.  Include fasteners and other exposed accessories.

3. Accessories:  12-inch- (300-mm-) long Samples for each type of accessory.

First paragraph below is defined in Division 1 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

F. Delegated-Design Submittal:  For metal roof panel assembly indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

1. Snow Retention System Calculations:  Include calculation of number and location of snow guards based on snow load, roof slope, panel length and finish, and seam type and spacing.

Remaining paragraphs are defined in Division 1 Section "Submittal Procedures" as "Informational Submittals."

Retain first paragraph below if Drawings do not include detailed plans or if Project involves unusual coordination requirements.

G. Coordination Drawings:  Roof plans, drawn to scale, on which the following are shown and coordinated with each other, based on input from installers of the items involved:

Revise subparagraphs below to suit Project.

1. Roof panels and attachments.

2. Purlins and rafters.

3. Roof-mounted items including roof hatches, equipment supports, pipe supports and penetrations, lighting fixtures, snow guards, and items mounted on roof curbs.

Retain first paragraph below if "Performance Requirements" Article and "Energy Performance" Paragraph are retained.

H. Manufacturer Certificates:  Signed by manufacturer certifying that roof panels comply with energy performance requirements specified in "Performance Requirements" Article.

1. Submit evidence of meeting performance requirements.

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

I. Qualification Data:  For qualified [Installer] [professional engineer] [and] [testing agency].

Retain first paragraph below for material or product certificates from manufacturers.

J. Material Certificates:  For [thermal insulation] [and] [vapor retarders], from manufacturer.

K. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for each product.

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

L. Field quality-control reports.

M. Maintenance Data:  For metal roof panels to include in maintenance manuals.

N. Warranties:  Samples of special warranties.

1.6 QUALITY ASSURANCE

A. Installer Qualifications:  An employer of workers trained and approved by manufacturer.

Retain first paragraph below if Contractor selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.  Qualification requirements are in addition to those specified in Division 1 Section "Quality Requirements," which also includes the definition for "NRTL" (nationally recognized testing laboratory).

B. Testing Agency Qualifications:  Qualified according to ASTM E 329 for testing indicated.

C. Source Limitations:  Obtain each type of metal roof panels from single source from single manufacturer.

Retain first paragraph below for insulated metal roof panels.

D. Surface-Burning Characteristics: Provide metal roof panels having insulation core material with the following surface-burning characteristics as determined by testing identical products according to ASTM E 84 by a qualified testing agency.  Identify products with appropriate markings of applicable testing agency.

1. Flame-Spread Index:  [25] <Insert value> or less.

2. Smoke-Developed Index:  [450] <Insert value> or less.

Retain first paragraph below only if products specified in Part 2 are part of a fire-resistance-rated assembly.  Indicate rating, testing agency, and testing agency's design designation on Drawings.

E. Fire-Resistance Ratings:  Where indicated, provide metal roof panels identical to those of assemblies tested for fire resistance per ASTM E 119 by a qualified testing agency.  Identify products with appropriate markings of applicable testing agency.

1. Indicate design designations from UL's "Fire Resistance Directory" or from the listings of another qualified testing agency.

Subparagraph below is a pass-fail test for measuring combustibility that is referenced in codes to determine if elementary products are noncombustible.  Retain for mineral-fiber insulation in field-assembled metal roof panels; only some unfaced materials pass this test.

2. Combustion Characteristics:  ASTM E 136.

F. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for fabrication and installation.

First subparagraph below is an example only; revise to suit Project.

1. Build mockup of typical roof eave[, including fascia,] [and soffit] as shown on Drawings; approximately [four panels wide] <Insert size> by full eave width, including insulation,[ underlayment,] attachments, and accessories.

Retain first subparagraph below if mockups are not only for establishing appearance factors.

2. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

G. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

Retain subparagraphs below if additional requirements are necessary; revise to include more specific information about conference.

1. Meet with Owner, Architect, Owner's insurer if applicable, testing and inspecting agency representative, metal roof panel Installer, metal roof panel manufacturer's representative, [deck] [purlin and rafter] Installer, and installers whose work interfaces with or affects metal roof panels including installers of roof accessories and roof-mounted equipment.

2. Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

3. Review methods and procedures related to metal roof panel installation, including manufacturer's written instructions.

4. Examine [deck substrate] [purlin and rafter] conditions for compliance with requirements, including flatness and attachment to structural members.

5. Review structural loading limitations of [deck] [purlins and rafters] during and after roofing.

6. Review flashings, special roof details, roof drainage, roof penetrations, equipment curbs, and condition of other construction that will affect metal roof panels.

7. Review governing regulations and requirements for insurance, certificates, and testing and inspecting if applicable.

8. Review temporary protection requirements for metal roof panel assembly during and after installation.

9. Review roof observation and repair procedures after metal roof panel installation.

10. Document proceedings, including corrective measures and actions required, and furnish copy of record to each participant.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Deliver components, sheets, metal roof panels, and other manufactured items so as not to be damaged or deformed.  Package metal roof panels for protection during transportation and handling.

B. Unload, store, and erect metal roof panels in a manner to prevent bending, warping, twisting, and surface damage.

C. Stack metal roof panels on platforms or pallets, covered with suitable weathertight and ventilated covering.  Store metal roof panels to ensure dryness.  Do not store metal roof panels in contact with other materials that might cause staining, denting, or other surface damage.

D. Protect strippable protective covering on metal roof panels from exposure to sunlight and high humidity, except to extent necessary for period of metal roof panel installation.

E. Protect foam-plastic insulation as follows:

1. Do not expose to sunlight, except to extent necessary for period of installation and concealment.

2. Protect against ignition at all times.  Do not deliver foam-plastic insulation materials to Project site before installation time.

3. Complete installation and concealment of plastic materials as rapidly as possible in each area of construction.

1.8 PROJECT CONDITIONS

A. Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit metal roof panel work to be performed according to manufacturer's written instructions and warranty requirements.

B. Field Measurements:  Verify actual dimensions of construction contiguous with metal roof panels by field measurements before fabrication.

1.9 COORDINATION

A. Coordinate sizes and locations of roof curbs, equipment supports, and roof penetrations with actual equipment provided.

B. Coordinate metal roof panels with rain drainage work, flashing, trim, and construction of [decks,] [purlins and rafters,] parapets, walls, and other adjoining work to provide a leakproof, secure, and noncorrosive installation.

1.10 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace metal roof panel assemblies that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures including rupturing, cracking, or puncturing.

b. Deterioration of metals, metal finishes, and other materials beyond normal weathering.

c. <Insert failure modes>.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2 articles.

2. Warranty Period:  [Two] <Insert number> years from date of Substantial Completion.

Retain first paragraph below if metal roof panels are not left unfinished.

B. Special Warranty on Panel Finishes:  Manufacturer's standard form in which manufacturer agrees to repair finish or replace metal roof panels that show evidence of deterioration of factory-applied finishes within specified warranty period.

Coordinate first subparagraph below with finishes retained in Part 2.

1. Exposed Panel Finish:  Deterioration includes, but is not limited to, the following:

a. Color fading more than 5 Hunter units when tested according to ASTM D 2244.

b. Chalking in excess of a No. 8 rating when tested according to ASTM D 4214.

c. Cracking, checking, peeling, or failure of paint to adhere to bare metal.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2 articles.  20-year or longer periods are for fluoropolymer finish and are included with manufacturers' published data; 10-year period is usually available for siliconized polyester.  Longer periods for premium finishes may be available.

2. Finish Warranty Period:  [10] [20] <Insert number> years from date of Substantial Completion.

Verify availability of warranty in two paragraphs below; only a few manufacturers, for a limited number of products, offer a weathertightness warranty.  See Evaluations.

C. Special Weathertightness Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace metal roof panel assemblies that fail to remain weathertight, including leaks, within specified warranty period.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2 articles.

1. Weathertight Warranty Period:  [Five] [10] <Insert number> years from date of Substantial Completion.

D. Special Weathertightness Warranty for Standing-Seam Metal Roof Panels:  Manufacturer's standard form in which manufacturer agrees to repair or replace standing-seam metal roof panel assemblies that fail to remain weathertight, including leaks, within specified warranty period.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2 articles.

1. Warranty Period:  [20] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 PANEL MATERIALS

Finishes for panel materials in this article are specified with materials below rather than in a separate "Finishes " Article because coil-coated materials are finished prior to forming panels.

A. Metallic-Coated Steel Sheet:  Restricted flatness steel sheet metallic coated by the hot-dip process and prepainted by the coil-coating process to comply with ASTM A 755/A 755M.

Retain first subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  USGBC allows a default value of 25 percent to be used for steel without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that steel sheet is made by the basic oxygen furnace method, which typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

1. Recycled Content:  Provide steel sheet with average recycled content such that postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] <Insert number> percent.

Retain one of first two subparagraphs below.  Coordinate with products specified.

2. Zinc-Coated (Galvanized) Steel Sheet:  ASTM A 653/A 653M, G90 (Z275) coating designation; structural quality.

3. Aluminum-Zinc Alloy-Coated Steel Sheet:  ASTM A 792/A 792M, Class AZ50 coating designation, Grade 40 (Class AZM150 coating designation, Grade 275); structural quality.

4. Surface:  [Smooth, flat] [Embossed] finish.

5. Exposed Coil-Coated Finish:

Retain one exposed finish from eight subparagraphs below.  Verify availability of finishes for products specified.  If retaining more than one, indicate location of each on Drawings or by inserts.  To obtain a proprietary finish system, insert names of coating manufacturers and products.

Revise or insert additional testing requirements in first six subparagraphs below if performance levels indicated in AAMA 621 are insufficient.  See Evaluations.

a. 2-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

b. 3-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

c. 4-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat and clear coats.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

d. Mica Fluoropolymer:  AAMA 621.  2-coat fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

e. Metallic Fluoropolymer:  AAMA 621.  3-coat fluoropolymer finish with suspended metallic flakes containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

f. FEVE Fluoropolymer:  AAMA 621.  2-coat fluoropolymer finish containing 100 percent fluorinated ethylene vinyl ether resin in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Finish in first subparagraph below is usually an economy system, though newer, more expensive formulations can provide performance approaching that of high-performance organic coatings.

g. Siliconized Polyester:  Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

Finish in first subparagraph below is used for industrial applications where high corrosion resistance is needed.

h. Plastisol:  Epoxy primer and vinyl plastisol topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 3.8 mil (0.97 mm) for topcoat.

Finish in subparagraph below is frequently retained as a factory finish for interior surfaces.

6. Concealed Finish:  Apply pretreatment and manufacturer's standard white or light-colored acrylic or polyester backer finish, consisting of prime coat and wash coat with a minimum total dry film thickness of 0.5 mil (0.013 mm).

B. Aluminum Sheet:  Coil-coated sheet, ASTM B 209 (ASTM B 209M), alloy as standard with manufacturer, with temper as required to suit forming operations and structural performance required.

1. Surface:  [Smooth, flat] [Embossed] finish.

2. Exposed Coil-Coated Finish:

Retain one exposed finish from first eight subparagraphs below.  Verify availability of finishes for products specified.  If retaining more than one, indicate location of each on Drawings or by inserts.  To obtain a proprietary finish system, insert names of coating manufacturers and products.

Revise or insert additional testing requirements in first six subparagraphs below if performance levels indicated in AAMA 620 are insufficient.  See Evaluations.

a. 2-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

b. 3-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

c. 4-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat and clear coats.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

d. Mica Fluoropolymer:  AAMA 620.  2-coat fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

e. Metallic Fluoropolymer:  AAMA 620.  3-coat fluoropolymer finish with suspended metallic flakes containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

f. FEVE Fluoropolymer:  AAMA 620.  2-coat fluoropolymer finish containing 100 percent fluorinated ethylene vinyl ether resin in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Finish in first subparagraph below is usually an economy system, though newer, more expensive formulations can provide performance approaching that of high-performance organic coatings.

g. Siliconized Polyester:  Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

Finish in first subparagraph below is used for industrial applications where high corrosion resistance is needed.

h. Plastisol:  Epoxy primer and vinyl plastisol topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 3.8 mil (0.97 mm) for topcoat.

Finish in subparagraph below is frequently retained as a factory finish for interior surfaces.

3. Concealed Finish:  Apply pretreatment and manufacturer's standard white or light-colored acrylic or polyester backer finish, consisting of prime coat and wash coat with a minimum total dry film thickness of 0.5 mil (0.013 mm).

C. Copper Sheet:  ASTM B 370, cold-rolled copper sheet, H00 temper.

1. Exposed Finish:  Apply the following finish, as specified or indicated on Drawings:

Retain one of first four subparagraphs below.

a. Natural finish.

b. Brushed Satin:  CDA M32-06x (Mechanical Finish:  directionally textured, medium satin; Coating:  clear organic, air drying, as specified below):

c. Mirror Polished:  CDA M22-06x (Mechanical Finish:  buffed, specular; Coating:  clear organic, air drying, as specified below):

Retain first subparagraph below with one of last two subparagraphs above.

1) Clear, Organic Coating:  Clear, air-drying, acrylic lacquer specially developed for coating copper-alloy products, applied by air spray in two coats per manufacturer's written instructions, with interim drying, to a total thickness of 1 mil (0.025 mm).

d. Pre-patinated:  ASTM B 882.  Copper sheets artificially aged by chemical reaction to convert surface to inorganic crystalline structure with color range and durability of naturally formed patina.

Insert requirements for stainless steel, zinc-tin alloy-coated (terne-coated) stainless steel and zinc; only a few manufacturers produce these materials, which are available for a limited number of metal roof panel profiles.

D. Panel Sealants:

1. Sealant Tape:  Pressure-sensitive, 100 percent solids, gray polyisobutylene compound sealant tape with release-paper backing.  Provide permanently elastic, nonsag, nontoxic, nonstaining tape 1/2 inch (13 mm) wide and 1/8 inch (3 mm) thick.

2. Joint Sealant:  ASTM C 920; elastomeric polyurethane, polysulfide, or silicone sealant; of type, grade, class, and use classifications required to seal joints in metal roof panels and remain weathertight; and as recommended in writing by metal roof panel manufacturer.

3. Butyl-Rubber-Based, Solvent-Release Sealant:  ASTM C 1311.

2.2 FIELD-INSTALLED THERMAL INSULATION

Retain this article if required.  If retaining, indicate thicknesses on Drawings.

Retain first paragraph below and delete remainder of article if building insulation is included in Division 7 Section "Building Insulation."

A. Refer to Division 7 Section "Building Insulation."

Retain first paragraph below if required.

B. Polyethylene Vapor Retarders:  ASTM D 4397, 6 mils (0.15 mm) thick, with maximum permeance rating of 0.13 perm (7.5 ng/Pa x s x sq. m).

Board insulations in first four paragraphs below are typically used over metal deck and solid sheathing.  Unfaced board insulation and insulation with foil or asphalt felt/glass-fiber mat facing require Z-shaped furring or channels for metal roof panel support; oriented-strand-board-faced board insulation does not.

C. Unfaced, Polyisocyanurate Board Insulation:  ASTM C 591, Type II, compressive strength of 35 psi (240 kPa), with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, based on tests performed.

D. Faced, Polyisocyanurate Board Insulation:  ASTM C 1289, [Type I, Class 1 aluminum foil] [Type II, Class 1 or 2 felt or glass-fiber mat, Grade 3] [Type V, oriented-strand-board facing], with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, based on tests performed on unfaced core.

Polystyrene insulation in first two paragraphs below may not be suitable for higher temperatures associated with metal roofing.  Verify acceptability with metal roof panel manufacturer.

E. Extruded-Polystyrene Board Insulation:  ASTM C 578, Type IV, 1.60-lb/cu. ft. (26-kg/cu. m) minimum density unless otherwise indicated; with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively.

F. Molded-Polystyrene Board Insulation:  ASTM C 578, [Type I, 0.9 lb/cu. ft. (15 kg/cu. m)] [Type II, 1.35 lb/cu. ft. (22 kg/cu. m)], with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively.

G. Unfaced, Glass-Fiber Board Insulation:  ASTM C 612, Type IA or Types IA and IB; with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively; and with a nominal density of 3 lb/cu. ft. (48 kg/cu. m).

Verify type of insulation required to obtain a fire-resistance rating if required.

H. Mineral-Fiber-Blanket Insulation:  ASTM C 665, type indicated below; consisting of fibers manufactured from [glass, slag wool, or rock wool] [glass] [slag or rock wool].

1. Type I (blankets without membrane covering), passing ASTM E 136 for combustion characteristics.

2. Type II (blankets with nonreflective membrane covering), Category 1 (membrane is a vapor retarder), Class A (membrane-faced surface with a flame-spread index of 25 or less).

3. Type III (blankets with reflective membrane covering), Category 1 (membrane is a vapor retarder), Class A (membrane-faced surface with a flame-spread index of 25 or less).

Metal building insulation in paragraph below is commonly used with metal roof panels installed over purlins, especially if it is to be exposed on the interior.  Type I insulation is unfaced; Type II is faced.

I. Metal Building Insulation:  [ASTM C 991, Type I, or NAIMA 202] [ASTM C 991, Type II], glass-fiber-blanket insulation; 0.5-lb/cu. ft. (8-kg/cu. m) density; 2-inch- (50-mm-) wide, continuous, vapor-tight edge tabs; and with a flame-spread index of 25 or less.

NAIMA recommends that metal building insulation have a vapor-retarder facing with a permeance not greater than 0.10 perm (5.75 ng/Pa x s x sq. m).  Facing selection may also be affected by light reflectivity and cold-weather workability.

1. Vapor-Retarder Facing:  ASTM C 1136, with permeance not greater than 0.02 perm (1.15 ng/Pa x s x sq. m) when tested according to ASTM E 96, Desiccant Method:

Retain one of five options in first subparagraph below or delete all and insert manufacturer's proprietary product.  Fifth option has premium cost but offers very high puncture resistance.

a. Composition:  [Polypropylene faced, scrim reinforced, and kraft-paper backing] [Foil faced, scrim reinforced, and kraft-paper backing with vapor-retarder coating] [Polypropylene faced, scrim reinforced, and foil backing] [Vinyl faced, scrim reinforced, and foil backing] [Vinyl faced, scrim reinforced, and polyester backing] <Insert facing>.

2. Insulation Retainer Strips:  0.019-inch- (0.48-mm-) thick, formed, galvanized-steel or PVC retainer clips colored to match insulation facing.

3. Thermal Spacer Blocks:  Fabricated from extruded polystyrene, 1 inch (25 mm) thick.

2.3 UNDERLAYMENT MATERIALS

Retain appropriate paragraphs in this article for metal roof panels applied directly over metal deck or solid sheathing.  Most metal roof panel manufacturers recommend self-adhering sheet underlayment at eaves, valleys, and other areas vulnerable to leakage, and No. 30 felts over remainder of roof.

Self-adhering, polymer-modified underlayments listed in first paragraph below are suitable for higher temperatures associated with metal roofing.  Revise if high-temperature underlayments are not required.  Verify acceptability of use on slopes less than 2:12 with underlayment manufacturer.

A. Self-Adhering, High-Temperature Sheet:  30 to 40 mils (0.76 to 1.0 mm) thick minimum, consisting of slip-resisting, polyethylene-film top surface laminated to layer of butyl or SBS-modified asphalt adhesive, with release-paper backing; cold applied.  Provide primer when recommended by underlayment manufacturer.

1. Thermal Stability:  Stable after testing at 240 deg F (116 deg C); ASTM D 1970.

2. Low-Temperature Flexibility:  Passes after testing at minus 20 deg F (29 deg C); ASTM D 1970.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

3. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Carlisle Coatings & Waterproofing Inc., Div. of Carlisle Companies Inc.; CCW WIP 300HT.

b. Grace Construction Products; a unit of Grace, W. R. & Co.; Ultra.

c. Henry Company; Blueskin PE200 HT.

d. Metal-Fab Manufacturing, LLC; MetShield.

e. Owens Corning; WeatherLock Metal High Temperature Underlayment.

f. <Insert manufacturer's name; product name or designation>.

Retain first option in first paragraph below unless otherwise recommended by metal roof panel manufacturer.

B. Felts:  ASTM D 226, [Type II (No. 30)] [Type I (No. 15)], asphalt-saturated organic felts.

Sheet in paragraph below is used to separate metal roof panels from underlayment.

C. Slip Sheet:  Manufacturer's recommended slip sheet, of type required for application.

2.4 SUBSTRATE BOARDS

Retain one of three substrate boards below or delete this article if not required.  Substrate boards may be used as model-building-code-required thermal barriers, separating foam insulation from steel or wood deck.  They may also be used over steel deck as part of a fire-resistance-rated roofing system or to provide a smooth substrate for a vapor retarder.

A. Gypsum Board:  Type X, of thickness indicated, with water-resistant-treated core and with water-repellent paper bonded to core's face, back, and long edges.  ASTM C 1396/C 1396M.

B. Glass-Mat Gypsum Sheathing Board:  ASTM C 1177/C 1177M.

1. Type and Thickness:  [Regular, 1/2 inch (13 mm)] [Type X, 5/8 inch (16 mm)].

2. Product:  Subject to compliance with requirements, provide Dens-Dek by Georgia-Pacific Corporation.

C. Perlite Board:  ASTM C 728, 1 inch (25 mm) thick.

D. Substrate-Board Fasteners:  Factory-coated steel fasteners and metal or plastic plates complying with corrosion-resistance provisions in FMG 4470, designed for fastening substrate board to substrate.

2.5 MISCELLANEOUS METAL FRAMING

Retain this article for board insulation installed between Z-shaped furring and for metal soffit panels installed over furring.  Cold-formed framing, such as purlins, are typically specified in Division 5 Section "Cold-Formed Metal Framing." Additional framing materials may also be inserted in this article for slope conversion, sometimes called "retrofit," systems.

See "Miscellaneous Metal Framing" Article in the Evaluations for a discussion of corrosion-resistant coatings on components.  First option in first paragraph below is minimum permitted by ASTM C 645; second option gives greater corrosion resistance.

A. Miscellaneous Metal Framing, General:  ASTM C 645, cold-formed metallic-coated steel sheet, [ASTM A 653/A 653M, G40 (Z120) hot-dip galvanized] [ASTM A 653/A 653M, G60 (Z180) hot-dip galvanized] or coating with equivalent corrosion resistance unless otherwise indicated.

B. Hat-Shaped, Rigid Furring Channels:

1. Nominal Thickness:  [As indicated] [As required to meet performance requirements] [0.025 inch (0.64 mm)] [0.040 inch (1.02 mm)] <Insert thickness>.

2. Depth:  [As indicated] [7/8 inch (22 mm)] [1-1/2 inches (38 mm)] <Insert depth>.

C. Cold-Rolled Furring Channels:  Minimum 1/2-inch- (13-mm-) wide flange.

1. Nominal Thickness:  [As indicated] [As required to meet performance requirements] [0.064 inch (1.63 mm)] <Insert thickness>.

2. Depth:  [As indicated] [3/4 inch (19 mm)] <Insert depth>.

3. Furring Brackets:  Adjustable, corrugated-edge type of steel sheet with nominal thickness of 0.040 inch (1.02 mm).

4. Tie Wire:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062-inch- (1.57-mm-) diameter wire, or double strand of 0.048-inch- (1.22-mm-) diameter wire.

Retain first paragraph below for metal roof panels installed over unfaced board insulation.  Z-shaped furring is available in 1-, 1-1/2-, 2-, 2-1/2-, and 3-inch (25-, 38-, 51-, 64-, and 76-mm) depths.

D. Z-Shaped Furring:  With slotted or nonslotted web, face flange of 1-1/4 inches (32 mm), wall attachment flange of 7/8 inch (22 mm), and depth required to fit insulation thickness indicated.

1. Nominal Thickness:  [As indicated] [As required to meet performance requirements] [0.025 inch (0.64 mm)] <Insert thickness>.

E. Fasteners for Miscellaneous Metal Framing:  Of type, material, size, corrosion resistance, holding power, and other properties required to fasten miscellaneous metal framing members to substrates.

2.6 MISCELLANEOUS MATERIALS

A. Panel Fasteners:  Self-tapping screws, bolts, nuts, self-locking rivets and bolts, end-welded studs, and other suitable fasteners designed to withstand design loads.  Provide exposed fasteners with heads matching color of metal roof panels by means of plastic caps or factory-applied coating.  Provide EPDM, PVC, or neoprene sealing washers.

B. Bituminous Coating:  Cold-applied asphalt mastic, SSPC-Paint 12, compounded for 15-mil (0.4-mm) dry film thickness per coat.  Provide inert-type noncorrosive compound free of asbestos fibers, sulfur components, and other deleterious impurities.

Profile requirements in metal roof panel articles below are often better shown graphically than described verbally.  Coordinate with Drawings.

Refer to the tables at the end of the Evaluations for a list of manufacturers' products organized according to panel type, rib shape, sizes, materials, construction, and other pertinent features.  Use these tables in combination with manufacturers' catalogs or product data to retain options or insert characteristics.

Copy metal roof panel articles and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

2.7 EXPOSED-FASTENER, LAP-SEAM METAL ROOF PANELS

A. General:  Provide factory-formed metal roof panels designed to be installed by lapping side edges of adjacent panels and mechanically attaching panels to supports using exposed fasteners in side laps.  Include accessories required for weathertight installation.

B. Corrugated-Profile, Exposed-Fastener Metal Roof Panels <Insert drawing designation>:  Formed with alternating curved ribs spaced at 2.67 inches (68 mm) o.c. across width of panel.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Alcoa Inc.

c. CENTRIA Architectural Systems.

d. Copper Sales, Inc.

e. Fabral.

f. Flexospan Steel Buildings, Inc.

g. Galvamet; Galvacer Building Systems.

h. MBCI; a division of NCI Building Systems, L. P.

i. McElroy Metal, Inc.

j. Metal Sales Manufacturing Corporation.

k. Metecno-Morin Corporation; Division of Metecno Inc.

l. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Panel Coverage:  [21.3 inches (541 mm)] [29.3 inches (744 mm)] [34.67 inches (881 mm)] [37.3 inches (947 mm)] [42.67 inches (1084 mm)] [45.3 inches (1151 mm)] <Insert dimension>.

7. Panel Height:  [0.5 inch (13 mm)] [0.875 inch (22 mm)] <Insert dimension>.

C. Tapered-Rib-Profile, Exposed-Fastener Metal Roof Panels <Insert drawing designation>:  Formed with raised, trapezoidal major ribs and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major ribs.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Architectural Metal Systems.

c. Berridge Manufacturing Company.

d. Butler Manufacturing; a BlueScope Steel company.

e. CENTRIA Architectural Systems.

f. Copper Sales, Inc.

g. Fabral.

h. Flexospan Steel Buildings, Inc.

i. Galvamet; Galvacer Building Systems.

j. MBCI; a division of NCI Building Systems, L. P.

k. McElroy Metal, Inc.

l. Metal Sales Manufacturing Corporation.

m. Metecno-Morin; Division of Metecno Inc.

n. Petersen Aluminum Corporation.

o. Steelox Systems, L.L.C.

p. United Steel Deck Inc.; Subsidiary of Bouras Industries Inc.

q. VICWEST; Div. of Jenisys Engineered Products.

r. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Material:  Copper sheet, [16-oz./sq. ft. weight (0.55-mm thickness)] [20-oz./sq. ft. weight (0.68-mm thickness)].

a. Exterior Finish:  [Brushed satin (lacquered)] [Mirror polished] <Insert finish>.

Insert requirements for stainless-steel sheet if required; verify availability with manufacturers.

7. Major-Rib Spacing:  [6 inches (152 mm)] [8 inches (203 mm)] [9 inches (229 mm)] [12 inches (305 mm)] <Insert dimension> o.c.

8. Panel Coverage:  [24 inches (610 mm)] [36 inches (914 mm)] <Insert dimension>.

9. Panel Height:  [0.625 inch (16 mm)] [0.75 inch (19 mm)] [1.0 inch (25 mm)] [1.25 inches (32 mm)] [1.5 inches (38 mm)] <Insert dimension>.

D. Vee-Rib-Profile, Exposed-Fastener Metal Roof Panels <Insert drawing designation>:  Formed with raised, V-shaped ribs and recesses that are approximately same size, evenly spaced across panel width, and with rib/recess sides angled at approximately 45 degrees.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Alcoa Inc.

c. Berridge Manufacturing Company.

d. CENTRIA Architectural Systems.

e. Fabral.

f. Flexospan Steel Buildings, Inc.

g. MBCI; a division of NCI Building Systems, L. P.

h. Metal Sales Manufacturing Corporation.

i. Metecno-Morin; Division of Metecno Inc.

j. United Steel Deck Inc.; Subsidiary of Bouras Industries Inc.

k. VICWEST; Div. of Jenisys Engineered Products.

l. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] [0.064-inch (1.63-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] [0.064-inch (1.63-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Insert requirements for stainless-steel sheet if required; verify availability with manufacturers.

6. Rib Spacing:  [5.3 inches (135 mm)] [7.2 inches (183 mm)] [12 inches (305 mm)] <Insert dimension> o.c.

7. Panel Coverage:  [30 inches (762 mm)] [32 inches (813 mm)] [36 inches (914 mm)] [40 inches (1016 mm)] <Insert dimension>.

8. Panel Height:  [1.375 inches (35 mm)] [1.5 inches (38 mm)] [1.75 inches (44 mm)] [2.0 inches (51 mm)] [3.0 inches (76 mm)] <Insert dimension>.

E. Box-Rib-Profile, Exposed-Fastener Metal Roof Panels <Insert drawing designation>:  Formed with raised, box-shaped ribs that are wider than recesses, evenly spaced across panel width, and with rib/recess sides angled 60 degrees or more.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Alcoa Inc.

b. Fabral.

c. MBCI; a division of NCI Building Systems, L. P.

d. Metal Sales Manufacturing Corporation.

e. United Steel Deck Inc.; Subsidiary of Bouras Industries Inc.

f. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Rib Spacing:  [2.67 inches (68 mm)] [4.0 inches (102 mm)] [5.3 inches (135 mm)] [6.0 inches (152 mm)] <Insert dimension> o.c.

7. Panel Coverage:  [24 inches (610 mm)] [28 inches (711 mm)] [30 inches (762 mm)] [32 inches (813 mm)] [36 inches (914 mm)] <Insert dimension>.

8. Panel Height:  [0.625 inch (16 mm)] [1.0 inch (25 mm)] [1.5 inches (38 mm)] [2.0 inches (51 mm)] <Insert dimension>.

F. Deep-Box-Rib-Profile, Exposed-Fastener Metal Roof Panels <Insert drawing designation>:  Formed with raised, box-shaped ribs that are wider than recesses, evenly spaced across panel width, and with rib/recess sides angled more than 60 degrees.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. CENTRIA Architectural Systems.

b. Fabral.

c. Metal Sales Manufacturing Corporation.

d. Metecno-Morin; Division of Metecno Inc.

e. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] [0.064-inch (1.63-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] [0.064-inch (1.63-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Rib Spacing:  [12 inches (305 mm)] <Insert dimension> o.c.

7. Panel Coverage:  [24 inches (610 mm)] <Insert dimension>.

8. Panel Height:  [3 inches (76 mm)] [4 inches (102 mm)] <Insert dimension>.

2.8 CONCEALED-FASTENER, LAP-SEAM METAL ROOF PANELS

A. General:  Provide factory-formed metal roof panels designed to be installed by lapping and interconnecting side edges of adjacent panels and mechanically attaching through panel to supports using concealed fasteners[ and factory-applied sealant] in side laps.  Include accessories required for weathertight installation.

B. Tapered-Rib-Profile, Concealed-Fastener Metal Roof Panels <Insert drawing designation>:  Formed with raised, trapezoidal major rib at panel edge and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major rib and panel edge.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Alcoa Inc.

c. McElroy Metal, Inc.

d. Metal Sales Manufacturing Corporation.

e. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Panel Coverage:  [12 inches (305 mm)] [16 inches (406 mm)] [18 inches (457 mm)] <Insert dimension>.

7. Panel Height:  [1.0 inch (25 mm)] [1.5 inches (38 mm)] [1.75 inches (44 mm)] <Insert dimension>.

C. Standing-Seam-Profile, Concealed-Fastener Metal Roof Panels <Insert drawing designation>:  Formed with raised, curved-top, standing-seam-shaped major rib at panel edge and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major rib and panel edge.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Cheney Flashing Company.

b. Copper Sales, Inc.

c. Dimensional Metals, Inc.

d. Englert, Inc.

e. Metal Fab Manufacturing.

f. Metal Sales Manufacturing Corporation.

g. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Material:  Copper sheet, [16-oz./sq. ft. weight (0.55-mm thickness)] [20-oz./sq. ft. weight (0.68-mm thickness)].

a. Exterior Finish:  [Brushed satin (lacquered)] [Mirror polished] <Insert finish>.

Insert requirements for stainless-steel sheet if required; verify availability with manufacturers.

7. Panel Coverage:  [10 inches (254 mm)] [12 inches (305 mm)] [16 inches (406 mm)] [18 inches (457 mm)] <Insert dimension>.

8. Panel Height:  [1.0 inch (25 mm)] [1.25 inches (32 mm)] [1.5 inches (38 mm)] <Insert dimension>.

D. Batten-Seam-Profile, Concealed-Fastener Metal Roof Panels <Insert drawing designation>:  Formed with raised, batten-seam-shaped major rib at panel edge and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major rib and panel edge.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Berridge Manufacturing Company.

b. Cheney Flashing Company.

c. Englert, Inc.

d. Merchant & Evans.

e. Metal Sales Manufacturing Corporation.

f. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Panel Coverage:  [10 inches (254 mm)] [12 inches (305 mm)] [14 inches (356 mm)] [15 inches (381 mm)] [18 inches (457 mm)] [24 inches (610 mm)] [36 inches (914 mm)] <Insert dimension>.

7. Panel Height:  [0.75 inch (19 mm)] [1.25 inches (32 mm)] [1.5 inches (38 mm)] <Insert dimension>.

8. Batten Width:  [1.5 inches (38 mm)] [2.0 inches (51 mm)] <Insert dimension>.

If required, insert requirements for multirib roof panels attached to supports with proprietary fastening system available from Morin.

2.9 STANDING-SEAM METAL ROOF PANELS

A. General:  Provide factory-formed metal roof panels designed to be installed by lapping and interconnecting raised side edges of adjacent panels with joint type indicated and mechanically attaching panels to supports using concealed clips in side laps.  Include clips, cleats, pressure plates, and accessories required for weathertight installation.

1. Steel Panel Systems:  Unless more stringent requirements are indicated, comply with ASTM E 1514.

2. Aluminum Panel Systems:  Unless more stringent requirements are indicated, comply with ASTM E 1637.

B. Vertical-Rib, Snap-Joint, Standing-Seam Metal Roof Panels <Insert drawing designation>:  Formed with vertical ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between ribs; designed for sequential installation by mechanically attaching panels to supports using concealed clips located under one side of panels and engaging opposite edge of adjacent panels, and snapping panels together.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Architectural Building Components.

c. Architectural Metal Systems.

d. Architectural Roofing and Siding, Inc.

e. Butler Manufacturing; a BlueScope Steel company.

f. CENTRIA Architectural Systems.

g. Dimensional Metals, Inc.

h. Englert, Inc.

i. Fabral.

j. IMETCO.

k. Integris Metals.

l. MBCI; a division of NCI Building Systems, L. P.

m. McElroy Metal, Inc.

n. Merchant & Evans.

o. Metal-Fab Manufacturing, LLC.

p. Metal Sales Manufacturing Corporation.

q. Metecno-Morin; Division of Metecno Inc.

r. Modern Metal Systems, Inc.

s. Petersen Aluminum Corporation.

t. Ultra Seam Incorporated.

u. VICWEST; Div. of Jenisys Engineered Products.

v. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Material:  Copper sheet, [16-oz./sq. ft. weight (0.55-mm thickness)] [20-oz./sq. ft. weight (0.68-mm thickness)].

a. Exterior Finish:  [Brushed satin (lacquered)] [Mirror polished] <Insert finish>.

If required, insert requirements for stainless steel.  Verify availability with manufacturers.

Retain first subparagraph below if required.  Batten is optional feature with some manufacturers; verify availability.

7. Batten:  Same material, finish, and color as roof panels.

8. Clips:  [Fixed] [Floating to accommodate thermal movement].

Retain one of first two subparagraphs below.  Retain steel clips for steel roof panels, stainless-steel clips for aluminum or copper panels.

a. Material:  [0.028-inch- (0.71-mm-)] [0.064-inch- (1.63-mm-)] nominal thickness, [zinc-coated (galvanized)] [or] [aluminum-zinc alloy-coated] steel sheet.

b. Material:  [0.025-inch- (0.64-mm-)] [0.062-inch- (1.59-mm-)] thick, stainless-steel sheet.

9. Panel Coverage:  [10 inches (254 mm)] [12 inches (305 mm)] [14 inches (356 mm)] [16 inches (406 mm)] [18 inches (457 mm)] [24 inches (610 mm)] <Insert dimension>.

10. Panel Height:  [1.0 inch (25 mm)] [1.5 inches (38 mm)] [1.75 inches (44 mm)] <Insert dimension>.

C. Vertical-Rib, Seamed-Joint, Standing-Seam Metal Roof Panels <Insert drawing designation>:  Formed with vertical ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between ribs; designed for sequential installation by mechanically attaching panels to supports using concealed clips located under one side of panels and engaging opposite edge of adjacent panels, and mechanically seaming panels together.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Architectural Building Components.

c. Architectural Metal Systems.

d. Architectural Roofing and Siding, Inc.

e. ATAS International, Inc.

f. Berridge Manufacturing Company.

g. Butler Manufacturing; a BlueScope Steel company.

h. CENTRIA Architectural Systems.

i. Copper Sales, Inc.

j. Dimensional Metals, Inc.

k. Englert, Inc.

l. Fabral.

m. Flexospan Steel Buildings, Inc.

n. Integris Metals.

o. MBCI; a division of NCI Building Systems, L. P.

p. McElroy Metal, Inc.

q. Merchant & Evans.

r. Metal-Fab Manufacturing, LLC.

s. Metal Sales Manufacturing Corporation.

t. Metecno-Morin; Division of Metecno Inc.

u. Petersen Aluminum Corporation.

v. Steelox Systems, L.L.C.

w. Ultra Seam Incorporated.

x. United Steel Deck Inc.; Subsidiary of Bouras Industries Inc.

y. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Material:  Copper sheet, [16-oz./sq. ft. weight (0.55-mm thickness)] [20-oz./sq. ft. weight (0.68-mm thickness)].

a. Exterior Finish:  [Brushed satin (lacquered)] [Mirror polished] <Insert finish>.

If required, insert requirements for stainless steel.  Verify availability with manufacturers.

Retain first subparagraph below if required.  Batten is optional feature with some manufacturers; verify availability.

7. Batten:  Same material, finish, and color as roof panels.

8. Clips:  [Fixed] [Floating to accommodate thermal movement].

Retain one of first two subparagraphs below.  Retain steel clips for steel roof panels, stainless-steel clips for aluminum or copper panels.

a. Material:  [0.028-inch- (0.71-mm-)] [0.064-inch- (1.63-mm-)] nominal thickness, [zinc-coated (galvanized)] [or] [aluminum-zinc alloy-coated] steel sheet.

b. Material:  [0.025-inch- (0.64-mm-)] [0.062-inch- (1.59-mm-)] thick, stainless-steel sheet.

9. Joint Type:  [Single folded] [Double folded] [As standard with manufacturer].

10. Panel Coverage:  [12 inches (305 mm)] [14 inches (356 mm)] [16 inches (406 mm)] [18 inches (457 mm)] [20 inches (508 mm)] [24 inches (610 mm)] <Insert dimension>.

11. Panel Height:  [1.5 inches (38 mm)] [2.0 inches (51 mm)] [2.5 inches (64 mm)] <Insert dimension>.

D. Trapezoidal-Rib, Snap-Joint, Standing-Seam Metal Roof Panels <Insert drawing designation>:  Formed with raised trapezoidal ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between ribs; designed for sequential installation by mechanically attaching panels to supports using concealed clips located under one side of panels and engaging opposite edge of adjacent panels, and snapping panels together.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Galvamet; Galvacer Building Systems.

c. MBCI; a division of NCI Building Systems, L. P.

d. McElroy Metal, Inc.

e. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Clips:  [Fixed] [Floating to accommodate thermal movement].

a. Material:  [0.028-inch- (0.71-mm-)] [0.064-inch- (1.63-mm-)] nominal thickness, [zinc-coated (galvanized)] [or] [aluminum-zinc alloy-coated] steel sheet.

6. Panel Coverage:  [12 inches (305 mm)] [18 inches (457 mm)] [24 inches (610 mm)] <Insert dimension>.

7. Panel Height:  [3 inches (76 mm)] <Insert dimension>.

E. Trapezoidal-Rib, Seamed-Joint, Standing-Seam Metal Roof Panels <Insert drawing designation>:  Formed with raised trapezoidal ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between ribs; designed for sequential installation by mechanically attaching panels to supports using concealed clips located under one side of panels and engaging opposite edge of adjacent panels, and mechanically seaming panels together.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Galvamet; Galvacer Building Systems.

b. MBCI; a division of NCI Building Systems, L. P.

c. Metal Sales Manufacturing Corporation.

d. Metecno-Morin; Division of Metecno Inc.

e. Steelox Systems, L.L.C.

f. VICWEST; Div. of Jenisys Engineered Products.

g. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

If required, insert requirements for aluminum.  Verify availability with manufacturers.

5. Clips:  [Fixed] [Floating to accommodate thermal movement].

a. Material:  [0.028-inch- (0.71-mm-)] [0.064-inch- (1.63-mm-)] nominal thickness, [zinc-coated (galvanized)] [or] [aluminum-zinc alloy-coated] steel sheet.

6. Joint Type:  [Single folded] [Double folded] [As standard with manufacturer].

7. Panel Coverage:  [12 inches (305 mm)] [18 inches (457 mm)] [24 inches (610 mm)] <Insert dimension>.

8. Panel Height:  [2.7 inches (69 mm)] [3.0 inches (76 mm)] <Insert dimension>.

F. Integral-Standing-Seam Metal Roof Panels <Insert drawing designation>:  Formed with integral ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between ribs; designed for sequential installation by mechanically attaching panels to supports using concealed clips located under one side of panels and lapping and interconnecting side edges of adjacent panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. ATAS International, Inc.

c. Cheney Flashing Company.

d. Petersen Aluminum Corporation.

e. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Material:  Copper sheet, [16-oz./sq. ft. weight (0.55-mm thickness)] [20-oz./sq. ft. weight (0.68-mm thickness)].

a. Exterior Finish:  [Brushed satin (lacquered)] [Mirror polished] <Insert finish>.

If required, insert requirements for stainless steel.  Verify availability with manufacturers.

7. Clips:  [Fixed] [Floating to accommodate thermal movement].

Retain one of first two subparagraphs below.  Retain steel clips for steel roof panels, stainless-steel clips for aluminum or copper panels.

a. Material:  [0.028-inch- (0.71-mm-)] [0.064-inch- (1.63-mm-)] nominal thickness, [zinc-coated (galvanized)] [or] [aluminum-zinc alloy-coated] steel sheet.

b. Material:  [0.025-inch- (0.64-mm-)] [0.062-inch- (1.59-mm-)] thick, stainless-steel sheet.

8. Panel Coverage:  [12 inches (305 mm)] [16 inches (406 mm)] [18 inches (457 mm)] <Insert dimension>.

9. Panel Height:  [1.0 inch (25 mm)] [1.5 inches (38 mm)] [2.0 inches (51 mm)] <Insert dimension>.

2.10 BATTEN-SEAM METAL ROOF PANELS

A. General:  Provide factory-formed metal roof panel assembly designed to be installed by covering vertical side edges of adjacent panels with battens and mechanically attaching panels to supports using concealed clips.  Include battens and accessories required for weathertight installation.

Revise first paragraph below to allow push-on-type battens held in place by integral vinyl insert; these are available only from Berridge.

B. Narrow-Profile, Snap-on-Batten-Seam Metal Roof Panels <Insert drawing designation>:  Formed with vertical ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between ribs; designed for independent installation by mechanically attaching panels to supports using concealed clips located under 1 side of panels and engaging opposite edge of adjacent panels, and installation of 3/8-to-1/2-inch- (10-to-13-mm-) wide, snap-on battens over panel joints.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Architectural Building Components.

c. ATAS International, Inc.

d. CENTRIA Architectural Systems.

e. Copper Sales, Inc.

f. Fabral.

g. Fashion, Inc.

h. IMETCO.

i. Integris Metals.

j. MBCI; a division of NCI Building Systems, L. P.

k. McElroy Metal, Inc.

l. Merchant & Evans.

m. Metal-Fab Manufacturing, LLC.

n. Metal Sales Manufacturing Corporation.

o. Petersen Aluminum Corporation.

p. Ultra Seam Incorporated.

q. <Insert manufacturer's name>.

3. Panel Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Panel Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Panel Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Panel Material:  Copper sheet, [16-oz./sq. ft. weight (0.55-mm thickness)] [20-oz./sq. ft. weight (0.68-mm thickness)].

a. Exterior Finish:  [Brushed satin (lacquered)] [Mirror polished] <Insert finish>.

If required, insert requirements for stainless steel.  Verify availability with manufacturers.

7. Batten Material:  [Same material, finish, and color as roof panels] <Insert material and finish requirements>.

8. Clips:  [One] [Two] piece.

Retain one of first two subparagraphs below.  Retain steel clips for steel roof panels, stainless-steel clips for aluminum or copper panels.

a. Material:  [0.028-inch- (0.71-mm-)] [0.064-inch- (1.63-mm-)] nominal thickness, [zinc-coated (galvanized)] [or] [aluminum-zinc alloy-coated] steel sheet.

b. Material:  [0.025-inch- (0.64-mm-)] [0.062-inch- (1.59-mm-)] thick, stainless-steel sheet.

Retain first subparagraph below if required.

9. Sealant:  Factory applied [in top] [on each side] of battens.

10. Panel Coverage:  [12 inches (305 mm)] [14 inches (356 mm)] [16 inches (406 mm)] [18 inches (457 mm)] [20 inches (508 mm)] <Insert dimension>.

11. Batten Height:  [1.0 inch (25 mm)] [1.25 inches (32 mm)] [1.5 inches (38 mm)] [1.75 inches (44 mm)] [2.0 inches (51 mm)] <Insert dimension>.

C. Wide-Profile, Snap-on-Batten-Seam Metal Roof Panels <Insert drawing designation>:  Formed with vertical ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between ribs; designed for independent installation by mechanically attaching panels to supports using concealed clips located between and engaging edges of adjacent panels, and installing snap-on battens over panel joints.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Architectural Building Components.

c. Architectural Roofing and Siding, Inc.

d. ATAS International, Inc.

e. CENTRIA Architectural Systems.

f. Copper Sales, Inc.

g. Dimensional Metals, Inc.

h. Fabral.

i. Fashion, Inc.

j. IMETCO.

k. MBCI; a division of NCI Building Systems, L. P.

l. McElroy Metal, Inc.

m. Merchant & Evans.

n. Metal-Fab Manufacturing, LLC.

o. Metal Sales Manufacturing Corporation.

p. Petersen Aluminum Corporation.

q. <Insert manufacturer's name>.

3. Panel Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Panel Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Panel Material:  Aluminum sheet, [0.024 inch (0.061 mm)] [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Panel Material:  Copper sheet, [16-oz./sq. ft. weight (0.55-mm thickness)] [20-oz./sq. ft. weight (0.68-mm thickness)].

a. Exterior Finish:  [Brushed satin (lacquered)] [Mirror polished] <Insert finish>.

If required, insert requirements for stainless steel.  Verify availability with manufacturers.

7. Batten Material:  [Same material, finish, and color as roof panels] <Insert material and finish requirements>.

8. Clips:  One piece.

Retain one of first two subparagraphs below.  Retain steel clips for steel roof panels, stainless-steel clips for aluminum panels.

a. Material:  [0.028-inch- (0.71-mm-)] [0.064-inch- (1.63-mm-)] nominal thickness, [zinc-coated (galvanized)] [or] [aluminum-zinc alloy-coated] steel sheet.

b. Material:  [0.025-inch- (0.64-mm-)] [0.062-inch- (1.59-mm-)] thick, stainless-steel sheet.

Retain first subparagraph below if required.  Verify availability with manufacturers.

9. Sealant:  Factory applied on each side of battens.

10. Panel Coverage:  [12 inches (305 mm)] [14 inches (356 mm)] [16 inches (406 mm)] [18 inches (457 mm)] [22 inches (559 mm)] [24 inches (610 mm)] <Insert dimension>.

11. Batten Height:  [1.0 inch (25 mm)] [1.5 inches (38 mm)] [1.75 inches (44 mm)] [1.88 inches (48 mm)] [2.0 inches (51 mm)] <Insert dimension>.

D. Seamed-Batten Metal Roof Panels <Insert drawing designation>:  Formed with vertical ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [smooth, flat pan] between ribs; designed for sequential installation by mechanically attaching panels to supports using concealed clips located under one side of panels and engaging opposite edge of adjacent panels, and installing mechanically seamed battens over panel joints.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. CENTRIA Architectural Systems.

b. Englert, Inc.

c. IMETCO.

d. Integris Metals.

e. <Insert manufacturer's name>.

3. Panel Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Panel Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Panel Material:  Aluminum sheet, [0.024 inch (0.061 mm)] [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Panel Material:  Copper sheet, [16-oz./sq. ft. weight (0.55-mm thickness)] [20-oz./sq. ft. weight (0.68-mm thickness)].

a. Exterior Finish:  [Brushed satin (lacquered)] [Mirror polished] <Insert finish>.

If required, insert requirements for stainless steel.  Verify availability with manufacturers.

7. Batten Material:  [Same material, finish, and color as roof panels] <Insert material and finish requirements>.

8. Clips:  [One] [Two] piece.

Retain one of first two subparagraphs below.  Retain steel clips for steel roof panels, stainless-steel clips for aluminum or copper panels.

a. Material:  [0.028-inch- (0.71-mm-)] [0.064-inch- (1.63-mm-)] nominal thickness, [zinc-coated (galvanized)] [or] [aluminum-zinc alloy-coated] steel sheet.

b. Material:  [0.025-inch- (0.64-mm-)] [0.062-inch- (1.59-mm-)] thick, stainless-steel sheet.

Retain first subparagraph below if required.  Verify availability with manufacturers.

9. Sealant:  Factory applied on each side of clips under battens.

10. Panel Coverage:  [12 inches (305 mm)] [16 inches (406 mm)] [18 inches (457 mm)] <Insert dimension>.

11. Batten Height:  [2.0 inches (51 mm)] [2.375 inches (60 mm)] [3.0 inches (76 mm)] <Insert dimension>.

2.11 HORIZONTAL-SEAM (BERMUDA-TYPE) METAL ROOF PANELS

A. Horizontal-Seam (Bermuda-Type) Metal Roof Panels <Insert drawing designation>:  Formed with horizontal seam at panel edges and smooth, flat pan; designed to be installed in sequential installation by engaging lower edge of each panel to upper edge of panel below and mechanically attaching panels to supports using concealed clips located under upper edge of panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Berridge Manufacturing Company.

c. Copper Sales, Inc.

d. <Insert manufacturer's name>.

3. Material:  Zinc-coated (galvanized) steel sheet, 0.028-inch (0.71-mm) nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Material:  Aluminum-zinc alloy-coated steel sheet, [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum sheet, 0.032 inch (0.81 mm) thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] <Insert finish>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Material:  Copper sheet, [16-oz./sq. ft. weight (0.55-mm thickness)] [20-oz./sq. ft. weight (0.68-mm thickness)].

a. Exterior Finish:  [Brushed satin (lacquered)] [Mirror polished].

7. Clips:  One piece.

Retain one of first two subparagraphs below.  Retain steel clips for steel roof panels, stainless-steel clips for aluminum or copper panels.

a. Material:  0.028-inch- (0.71-mm-) nominal thickness, [zinc-coated (galvanized)] [or] [aluminum-zinc alloy-coated] steel sheet.

b. Material:  0.025-inch- (0.64-mm-) thick, stainless-steel sheet.

Retain first subparagraph below if required.  Verify availability with manufacturers.

8. Seal:  Factory-applied sealant or vinyl weatherseal in seam.

9. Exposure:  [9.5 inches (241 mm)] [11 inches (279 mm)] <Insert dimension> nominal.

10. Seam Height:  [1.0 inch (25 mm)] [1.5 inches (38 mm)] <Insert dimension>.

2.12 FOAMED-INSULATION-CORE METAL ROOF PANELS

A. General:  Provide factory-formed and -assembled metal roof panels fabricated from two sheets of metal with insulation core foamed-in-place during fabrication with joints between panels designed to form weathertight seals.  Include accessories required for weathertight installation.

1. Panel Performance:

a. Flatwise Tensile Strength:  30 psi (200 kPa) when tested according to ASTM C 297/C 297M.

b. Humid Aging:  Volume increase not greater than 6.0 percent and no delamination or metal corrosion when tested for 7 days at 140 deg F (60 deg C) and 100 percent relative humidity according to ASTM D 2126.

c. Heat Aging:  Volume increase not greater than 2.0 percent and no delamination, surface blistering, or permanent bowing when tested for 7 days at 200 deg F (93 deg C) according to ASTM D 2126.

d. Cold Aging:  Volume decrease not more than 1.0 percent and no delamination, surface blistering, or permanent bowing when tested for 7 days at minus 20 deg F (29 deg C) according to ASTM D 2126.

e. Fatigue:  No evidence of delamination, core cracking, or permanent bowing when tested to a 20-lbf/sq. ft. (958-kPa) positive and negative wind load and with deflection of L/180 for 2 million cycles.

f. Autoclave:  No delamination when exposed to 2-psi (13.8-kPa) pressure at a temperature of 212 deg F (100 deg C) for 2-1/2 hours.

g. Fire-Test-Response Characteristics:  Class A according to ASTM E 108.

2. Insulation Core:  Modified isocyanurate or polyurethane foam using a non-CFC blowing agent, with maximum flame-spread and smoke-developed indexes of 25 and 450, respectively.

a. Closed-Cell Content:  90 percent when tested according to ASTM D 2856.

b. Density:  2.0 to 2.6 lb/cu. ft. (32 to 42 kg/cu. m) when tested according to ASTM D 1622.

c. Compressive Strength:  Minimum 20 psi (140 kPa) when tested according to ASTM D 1621.

d. Shear Strength:  26 psi (179 kPa) when tested according to ASTM C 273.

B. Lap-Seam-Profile, Foamed-Insulation-Core Metal Roof Panels <Insert drawing designation>:  Formed for lapping side edges of adjacent panels and mechanically attaching to supports using exposed fasteners in side laps.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Architectural Metal Systems.

b. Coldmatic Building Systems.

c. Galvamet; Galvacer Building Systems.

d. Insulated Panel Systems; a division of NCI Building Systems, L.P.

e. Metecno-Aluma Shield; Division of Metecno Inc.

f. Metl-Span.

g. <Insert manufacturer's name>.

3. Facings:  Fabricate panel with exterior and interior facings of same material and thickness.

a. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

c. Exterior Facing Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

d. Interior Facing Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Retain first subparagraph below if required.  Batten is optional feature with some manufacturers; verify availability.

4. Batten:  Same material, finish, and color as exterior facings of roof panels.

5. Panel Coverage:  [24 inches (610 mm)] [30 inches (762 mm)] [36 inches (914 mm)] [39.6 inches (1000 mm)] [40 inches (1016 mm)] [44.5 inches (1130 mm)] <Insert dimension>.

6. Panel Thickness:  [1.0 inch (25 mm)] [1.5 inches (38 mm)] [2.0 inches (51 mm)] [2.5 inches (64 mm)] [3.0 inches (76 mm)] [4.0 inches (102 mm)] [5.0 inches (127 mm)] [6.0 inches (152 mm)] <Insert dimension>.

Coordinate thermal resistance value in subparagraph below with panel thickness in last subparagraph above.

7. Thermal-Resistance Value (R-Value):  <Insert R-value>.

C. Standing-Seam-Profile, Foamed-Insulation-Core Metal Roof Panels <Insert drawing designation>:  Formed with vertical tongue-and-groove ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between ribs; designed for sequential installation by interlocking tongue-and-groove panel edges and mechanically attaching panels to supports using concealed clips located between and engaging edges of adjacent panels, and mechanically seaming panels together.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Architectural Metal Systems.

b. Butler Manufacturing; a BlueScope Steel company.

c. Insulated Panel Systems; a division of NCI Building Systems, L.P.

d. Metl-Span.

e. <Insert manufacturer's name>.

3. Facings:  Fabricate panel with exterior and interior facings of same material and thickness.

a. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

c. Exterior Facing Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

d. Interior Facing Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Joint Type:  [Single folded] [Double folded] [As standard with manufacturer].

5. Panel Coverage:  [36 inches (914 mm)] [42 inches (1067 mm)] <Insert dimension>.

6. Panel Thickness:  [2.0 inches (51 mm)] [2.5 inches (64 mm)] [3.0 inches (76 mm)] [4.0 inches (102 mm)] [5.0 inches (127 mm)] [6.0 inches (152 mm)] <Insert dimension>.

Coordinate thermal resistance value in subparagraph below with panel thickness in last subparagraph above.

7. Thermal-Resistance Value (R-Value):  <Insert R-value>.

D. Batten-Seam-Profile, Foamed-Insulation-Core Metal Roof Panels <Insert drawing designation>:  Formed with vertical or tapered tongue-and-groove ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between ribs; designed for sequential installation by interlocking tongue-and-groove panel edges and mechanically attaching panels to supports using concealed clips located between and engaging edges of adjacent panels, and installing snap-on battens over panel joints.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. CENTRIA Architectural Systems.

b. Metl-Span.

c. <Insert manufacturer's name>.

3. Facings:  Fabricate panel with exterior and interior facings of same material and thickness.

a. Material:  Zinc-coated (galvanized) steel sheet, 0.022-inch (0.56-mm) nominal thickness.

b. Material:  Aluminum-zinc alloy-coated steel sheet, 0.022-inch (0.56-mm) nominal thickness.

c. Exterior Facing Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

d. Interior Facing Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

1) Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Batten:  Same material, finish, and color as exterior facings of roof panels.

5. Clips:  One piece; [0.064-inch- (1.63-mm-)] [0.097-inch- (2.50-mm-)] nominal thickness, [zinc-coated (galvanized)] [or] [aluminum-zinc alloy-coated] steel sheet.

6. Panel Coverage:  [36 inches (914 mm)] [39.6 inches (1000 mm)] <Insert dimension>.

7. Panel Thickness:  [1.75 inches (44 mm)] [2.0 inches (51 mm)] [2.5 inches (64 mm)] [3.0 inches (76 mm)] [4.0 inches (102 mm)] [5.0 inches (127 mm)] [6.0 inches (152 mm)] <Insert dimension>.

Coordinate thermal resistance value in first subparagraph below with panel thickness in last subparagraph above.

8. Thermal-Resistance Value (R-Value):  <Insert R-value>.

2.13 METAL SOFFIT PANELS

Some metal soffit panels can be used for fasciae, mansards, and equipment screens, as well as for soffits; verify applications with manufacturers.

A. General:  Provide factory-formed metal soffit panels designed to be installed by lapping and interconnecting side edges of adjacent panels and mechanically attaching through panel to supports using concealed fasteners[ and factory-applied sealant] in side laps.  Include accessories required for weathertight installation.

B. Metal Soffit Panels:  Match profile and material of metal roof panels.

1. Finish:  [Match finish and color of metal roof panels] [Match finish and color of metal wall panels] [As indicated on Drawings].

Retain subparagraph below if required.  Verify availability with manufacturers.

2. Sealant:  Factory applied within interlocking joint.

Retain paragraph above or one or more metal soffit panel paragraphs below.  Delete remainder of article if retaining above and metal soffit panels are required to match metal roof panels.

Not all manufacturers offer perforated panels; verify availability.

C. Flush-Profile Metal Soffit Panels <Insert drawing designation>:  [Solid] [Perforated] panels formed with vertical panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between panel edges; with flush joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. AEP-Span.

b. Architectural Building Components.

c. ATAS International, Inc.

d. Berridge Manufacturing Company.

e. CENTRIA Architectural Systems.

f. Copper Sales, Inc.

g. Dimensional Metals, Inc.

h. Englert, Inc.

i. Fabral.

j. IMETCO.

k. MBCI; a division of NCI Building Systems, L. P.

l. McElroy Metal, Inc.

m. Merchant & Evans.

n. Metal-Fab Manufacturing, LLC.

o. Metal Sales Manufacturing Corporation.

p. Petersen Aluminum Corporation.

q. Ultra Seam Incorporated.

r. <Insert manufacturer's name>.

3. Material:  Same material, finish, and color as metal roof panels.

Retain subparagraph above or one of first four subparagraphs below.

4. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal roof panels] [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum-zinc alloy-coated steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal roof panels] [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal roof panels] [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

7. Material:  Copper sheet, [16-oz./sq. ft. weight (0.55-mm thickness)] [20-oz./sq. ft. weight (0.68-mm thickness)].

a. Exterior Finish:  [Brushed satin (lacquered)] [Mirror polished].

If required, insert requirements for stainless steel.  Verify availability with manufacturers.

8. Panel Coverage:  [8 inches (203 mm)] [12 inches (305 mm)] [16 inches (406 mm)] [20 inches (508 mm)] <Insert dimension>.

9. Panel Height:  [0.875 inch (22 mm)] [1.0 inch (25 mm)] [1.5 inches (38 mm)] [3.0 inches (76 mm)] <Insert dimension>.

Retain subparagraph below if required.  Verify availability with manufacturers.

10. Sealant:  Factory applied within interlocking joint.

Not all manufacturers offer perforated panels; verify availability.

D. Reveal-Joint-Profile Metal Soffit Panels <Insert drawing designation>:  [Solid] [Perforated] panels formed with vertical panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between panel edges; with recessed reveal joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. ATAS International, Inc.

b. Cheney Flashing Company.

c. Copper Sales, Inc.

d. Merchant & Evans.

e. Metal Fab Manufacturing, LLC.

f. Petersen Aluminum Corporation.

g. <Insert manufacturer's name>.

3. Material:  Same material, finish, and color as metal roof panels.

Retain subparagraph above or one of first three subparagraphs below.

4. Material:  Zinc-coated (galvanized) steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] [0.040-inch (1.02-mm)] [0.052-inch (1.32-mm)] nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal roof panels] [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum-zinc alloy-coated steel sheet, 0.028-inch (0.71-mm) nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal roof panels] [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Material:  Aluminum sheet, [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal roof panels] [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

7. Material:  Copper sheet, [16-oz./sq. ft. weight (0.55-mm thickness)] [20-oz./sq. ft. weight (0.68-mm thickness)].

a. Exterior Finish:  [Brushed satin (lacquered)] [Mirror polished] <Insert finish>.

If required, insert requirements for stainless steel.  Verify availability with manufacturers.

8. Panel Coverage:  [8 inches (203 mm)] [12 inches (305 mm)] [16 inches (406 mm)] [20 inches (508 mm)] <Insert dimension>.

9. Panel Height:  [0.75 inch (19 mm)] [1.0 inch (25 mm)] [1.5 inches (38 mm)] <Insert dimension>.

Not all manufacturers offer perforated panels; verify availability.

E. V-Groove-Profile Metal Soffit Panels <Insert drawing designation>:  [Solid] [Perforated] panels formed with vertical panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between panel edges; with V-groove joint between panels.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. ATAS International, Inc.

b. Berridge Manufacturing Company.

c. CENTRIA Architectural Systems.

d. Dimensional Metals, Inc.

e. Englert, Inc.

f. Fabral.

g. IMETCO.

h. Petersen Aluminum Corporation.

i. <Insert manufacturer's name>.

3. Material:  Same material, finish, and color as metal roof panels.

Retain subparagraph above or one of first three subparagraphs below.

4. Material:  Zinc-coated (galvanized) steel sheet, 0.028-inch (0.71-mm) nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal roof panels] [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Material:  Aluminum-zinc alloy-coated steel sheet, 0.028-inch (0.71-mm) nominal thickness.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal roof panels] [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

6. Material:  Aluminum sheet, [0.024 inch (0.65 mm)] [0.032 inch (0.81 mm)] thick.

a. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Siliconized polyester] [Plastisol] <Insert finish>.

b. Color:  [Match finish and color of metal roof panels] [Match finish and color of metal wall panels] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

7. Panel Coverage:  [6 inches (152 mm)] [12 inches (305 mm)] [14 inches (356 mm)] <Insert dimension>.

8. Panel Height:  [0.375 inch (10 mm)] [0.44 inch (11 mm)] [0.50 inch (13 mm)] [0.625 inch (16 mm)] <Insert dimension>.

2.14 ACCESSORIES

In this article, retain accessories required and coordinate with those specified in Division 7 Section "Sheet Metal Flashing and Trim."

Revise first paragraph below with specific requirements if necessary.

A. Roof Panel Accessories:  Provide components approved by roof panel manufacturer and as required for a complete metal roof panel assembly including trim, copings, fasciae, corner units, ridge closures, clips, flashings, sealants, gaskets, fillers, closure strips, and similar items.  Match material and finish of metal roof panels unless otherwise indicated.

1. Closures:  Provide closures at eaves and ridges, fabricated of same metal as metal roof panels.

2. Closure Strips:  Closed-cell, expanded, cellular, rubber or crosslinked, polyolefin-foam or closed-cell laminated polyethylene; minimum 1-inch- (25-mm-) thick, flexible closure strips; cut or premolded to match metal roof panel profile.  Provide closure strips where indicated or necessary to ensure weathertight construction.

3. Backing Plates:  Provide metal backing plates at panel end splices, fabricated from material recommended by manufacturer.

B. Flashing and Trim:  Formed from same material as roof panels, prepainted with coil coating, minimum [0.018 inch (0.45 mm)] <Insert thickness> thick.  Provide flashing and trim as required to seal against weather and to provide finished appearance.  Locations include, but are not limited to, eaves, rakes, corners, bases, framed openings, ridges, fasciae, and fillers.  Finish flashing and trim with same finish system as adjacent metal roof panels.

If required, insert special requirements for ridge closures, corner units, copings, fasciae, and fillers.

C. Gutters:  Formed from same material roof panels.  Match profile of gable trim, complete with end pieces, outlet tubes, and other special pieces as required.  Fabricate in minimum 96-inch- (2400-mm-) long sections, of size and metal thickness according to SMACNA's "Architectural Sheet Metal Manual."  Furnish gutter supports spaced a maximum of 36 inches (900 mm) o.c., fabricated from same metal as gutters.  Provide wire ball strainers of compatible metal at outlets.  Finish gutters to match [metal roof panels] [roof fascia and rake trim].

D. Downspouts:  Formed from same material as roof panels.  Fabricate in 10-foot- (3-m-) long sections, complete with formed elbows and offsets, of size and metal thickness according to SMACNA's "Architectural Sheet Metal Manual".  Finish downspouts to match gutters.

E. Roof Curbs:  Fabricated from same material as roof panels, minimum [0.048 inch (1.2 mm)] <Insert thickness> thick; with bottom of skirt profiled to match roof panel profiles, and welded top box and integral full-length cricket.  Fabricate curb subframing of minimum 0.0598-inch- (1.5-mm-) thick, angle-, C-, or Z-shaped steel sheet.  Fabricate curb and subframing to withstand indicated loads, of size and height indicated.  Finish roof curbs to match metal roof panels.

Retain subparagraph below if required.

1. Insulate roof curb with 1-inch- (25-mm-) thick, rigid insulation.

2.15 SNOW GUARDS

Snow guards are not provided by metal roof panel manufacturers.

A. Snow Guards:  Prefabricated, noncorrosive units designed to be installed without penetrating metal roof panels, and complete with predrilled holes, clamps, or hooks for anchoring.

Retain one of five snow guard subparagraphs below.  Coordinate with metal panel type and profile.  Because each snow guard product is unique, insert manufacturer's proprietary requirements.

1. Surface-Mounted, Plastic, Stop-Type Snow Guards:  [Clear] [Integral color] polycarbonate stops designed for attachment to pan surface of metal roof panels using construction adhesive, silicone or polyurethane sealant, or adhesive tape.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Berger Bros. Co.; <Insert product name or designation>.

2) Chemlink; <Insert product name or designation>

3) Polar Blox; <Insert product name or designation>.

4) SNOBLOX; <Insert product name or designation>.

5) Sno-Gem, Inc.; <Insert product name or designation>.

6) Snojax Inc.; <Insert product name or designation>.

7) <Insert manufacturer's name; product name or designation>.

2. Surface-Mounted, Metal, Stop-Type Snow Guards:  Cast-aluminum stops designed for attachment to pan surface of metal roof panel using construction adhesive, silicone or polyurethane sealant, or adhesive tape.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Berger Bros. Co.; <Insert product name or designation>.

2) Mullane, M. J. Company, Inc.; <Insert product name or designation>.

3) Precision Molding Co. Inc.; <Insert product name or designation>

4) Sno-Gem, Inc.; <Insert product name or designation>.

5) Zaleski Snow-Guards & Roofing Specialties; <Insert product name or designation>.

6) <Insert manufacturer's name; product name or designation>.

Retain first subparagraph below for copper roof panels.

3. Surface-Mounted, Copper, Stop-Type Snow Guards:  Bronze-alloy stops designed for attachment to pan surface of copper roof panel using solder.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Berger Bros. Co.; <Insert product name or designation>.

2) Mullane, M. J. Company, Inc.; <Insert product name or designation>.

3) Roofers Edge; <Insert product name or designation>

4) Sno-Gem, Inc.; <Insert product name or designation>.

5) Zaleski Snow-Guards & Roofing Specialties; <Insert product name or designation>.

6) <Insert manufacturer's name; product name or designation>.

4. Seam-Mounted, Stop-Type Snow Guards:  [Cast-aluminum] [Malleable-iron] [Clear polycarbonate] [Colored polycarbonate] stops designed for attachment to vertical ribs of standing-seam metal roof panels with stainless-steel set screws.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Alpine SnowGuards, Div. of Vermont Slate & Copper Services, Inc.; <Insert product name or designation>.

2) Berger Bros. Co.; <Insert product name or designation>.

3) Polar Blox; <Insert product name or designation>.

4) <Insert manufacturer's name; product name or designation>.

5. Seam-Mounted, Bar-Type Snow Guards:  [Aluminum] [or] [stainless-steel] rods or bars held in place by stainless-steel clamps attached to vertical ribs of standing-seam metal roof panels.

a. Aluminum Finish:  [Mill] [Clear anodized] <Insert finish>.

b. Stainless-Steel Finish:  [Mill] [No. 2B] [No. 4] <Insert finish>.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

c. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Alpine SnowGuards, Div. of Vermont Slate & Copper Services, Inc.; <Insert product name or designation>.

2) LMCurbs; <Insert product name or designation>.

3) Metal Roof Innovations, Ltd.; <Insert product name or designation>.
4) Riddell & Company, Inc.; <Insert product name or designation>.

5) Snow Management Systems, a division of Contek, Inc.; <Insert product name or designation>.

6) TRA-MAGE, Inc.; <Insert product name or designation>.

7) <Insert manufacturer's name; product name or designation>.

2.16 FABRICATION

Insert unique general fabrication requirements, if any, to suit Project.

A. Fabricate and finish metal roof panels and accessories at the factory to greatest extent possible, by manufacturer's standard procedures and processes and as necessary to fulfill indicated performance requirements.  Comply with indicated profiles and with dimensional and structural requirements.

B. Provide panel profile, including major ribs and intermediate stiffening ribs, if any, for full length of panel.

Retain first paragraph below if gaskets or sealants are factory installed.

C. Fabricate metal roof panel side laps with factory-installed captive gaskets or separator strips that provide a tight seal and prevent metal-to-metal contact, in a manner that will seal weathertight and minimize noise from movements within panel assembly.

D. Sheet Metal Accessories:  Fabricate flashing and trim to comply with recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to the design, dimensions, metal, and other characteristics of item indicated.

1. Form exposed sheet metal accessories that are without excessive oil canning, buckling, and tool marks and that are true to line and levels indicated, with exposed edges folded back to form hems.

2. End Seams for Aluminum:  Fabricate nonmoving seams with flat-lock seams.  Form seams and seal with epoxy seam sealer.  Rivet joints for additional strength.

3. End Seams for Other Than Aluminum:  Fabricate nonmoving seams with flat-lock seams.  Tin edges to be seamed, form seams, and solder.

4. Sealed Joints:  Form nonexpansion but movable joints in metal to accommodate elastomeric sealant to comply with SMACNA standards.

5. Conceal fasteners and expansion provisions where possible.  Exposed fasteners are not allowed on faces of accessories exposed to view.

6. Fabricate cleats and attachment devices of size and metal thickness recommended by SMACNA's "Architectural Sheet Metal Manual" or by metal roof panel manufacturer for application, but not less than thickness of metal being secured.

2.17 FINISHES

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical and painted finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Noticeable variations in same piece are not acceptable.  Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances, metal roof panel supports, and other conditions affecting performance of the Work.

Retain one or both of first two paragraphs below.

B. Examine primary and secondary roof framing to verify that rafters, purlins, angles, channels, and other structural panel support members and anchorages have been installed within alignment tolerances required by metal roof panel manufacturer.

C. Examine solid roof sheathing to verify that sheathing joints are supported by framing or blocking and that installation is within flatness tolerances required by metal roof panel manufacturer.

D. Examine roughing-in for components and systems penetrating metal roof panels to verify actual locations of penetrations relative to seam locations of metal roof panels before metal roof panel installation.

Retain paragraph below if required.

E. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of the Work.

F. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Clean substrates of substances harmful to insulation, including removing projections capable of interfering with insulation attachment.

Retain first paragraph below if required to separate foam-plastic insulation from interior.

B. Substrate Board:  Install substrate boards over roof [deck] [sheathing] on entire roof surface.  Attach with substrate-board fasteners.

1. Install substrate board with long joints in continuous straight lines, perpendicular to roof slopes with end joints staggered between rows.  Tightly butt substrate boards together.

2. Comply with [UL] [FMG] requirements for fire-rated construction.

C. Miscellaneous Framing:  Install subpurlins, eave angles, furring, and other miscellaneous roof panel support members and anchorage according to metal roof panel manufacturer's written instructions.

Furring channels must be wire tied to supports in most fire-resistance-rated assemblies.  Verify requirements of assemblies and revise subparagraph below to suit Project.

1. Soffit Framing:  Wire tie[ or clip] furring channels to supports[, as required to comply with requirements for assemblies indicated].

3.3 UNDERLAYMENT INSTALLATION

Retain this article for metal roof panels applied over solid roof sheathing.

A. Self-Adhering Sheet Underlayment:  Apply primer if required by manufacturer.  Comply with temperature restrictions of underlayment manufacturer for installation.  Apply at locations indicated [below] [on Drawings], wrinkle free, in shingle fashion to shed water, and with end laps of not less than 6 inches (150 mm) staggered 24 inches (600 mm) between courses.  Overlap side edges not less than 3-1/2 inches (90 mm).[  Extend underlayment into gutter trough.] Roll laps with roller.  Cover underlayment within 14 days.

Revise list below to suit Project or delete if indicated on Drawings.  If inserting dimensions, note that many self-adhering sheet underlayments are manufactured in 36-inch- (914-mm-) wide rolls.

1. Roof perimeter for a distance up from eaves of [24 inches (600 mm)] [36 inches (914 mm)] <Insert dimension> beyond interior wall line.

2. Valleys, from lowest point to highest point, for a distance on each side of [18 inches (460 mm)] <Insert dimension>.  Overlap ends of sheets not less than 6 inches (150 mm).

3. Rake edges for a distance of [18 inches (460 mm)] <Insert dimension>.

4. Hips and ridges for a distance on each side of [12 inches (300 mm)] <Insert dimension>.

5. Roof to wall intersections for a distance from wall of [18 inches (460 mm)] <Insert dimension>.

6. Around dormers, chimneys, skylights, and other penetrating elements for a distance from element of [18 inches (460 mm)] <Insert dimension>.

B. Felt Underlayment:  Apply at locations indicated [below] [on Drawings], in shingle fashion to shed water, and with lapped joints of not less than 2 inches (50 mm).

Retain one of two subparagraphs below or delete if indicated on Drawings.

1. Apply over entire roof surface.

2. Apply on roof not covered by self-adhering sheet underlayment.  Lap over edges of self-adhering sheet underlayment not less than 3 inches (75 mm), in shingle fashion to shed water.

C. Apply slip sheet over underlayment before installing metal roof panels.

D. Install flashings to cover underlayment to comply with requirements specified in Division 7 Section "Sheet Metal Flashing and Trim."

3.4 THERMAL INSULATION INSTALLATION

Retain this article if insulation is required.

Retain first paragraph below if polyethylene vapor retarder is required beneath insulation.

A. Polyethylene Vapor Retarder:  Extend vapor retarder to extremities of areas to be protected from vapor transmission.  Repair tears or punctures immediately before concealment by other work.

Retain first paragraph below for metal roof panels supported by roof deck or solid roof sheathing.

B. Board Insulation:  Extend insulation in thickness indicated to cover entire roof.  Comply with installation requirements in Division 7 Section "Building Insulation."

1. Erect insulation and hold in place with Z-shaped furring members spaced [24 inches (610 mm)] [600 mm] o.c.  Securely attach narrow flanges of furring members to roof deck with screws spaced 24 inches (600 mm) o.c.

Retain paragraph below for metal roof panels supported by purlins.

C. Blanket Insulation:  Install insulation concurrently with metal roof panel installation, in thickness indicated to cover entire roof, according to manufacturer's written instructions and as follows:

1. Set vapor-retarder-faced units with vapor retarder [to warm side] [in location indicated] <Insert location> of construction unless otherwise indicated.  Do not obstruct ventilation spaces.

2. Tape joints and ruptures in vapor retarder and seal each continuous area of insulation to surrounding construction to ensure airtight installation.

3. Install blankets straight and true in one-piece lengths with both sets of facing tabs sealed.  Comply with the following installation method:

Retain one of four installation subparagraphs below with last subparagraph above.

a. Over-Framing Installation:  Extend insulation and vapor retarder over and perpendicular to top flange of secondary framing members.  Hold in place by panels fastened to secondary framing.

First subparagraph below accommodates thicker insulation with no compression at purlins; however, thermal bridging occurs through panels in direct contact with structure.  Thermal spacer blocks can be added if required.

b. Between-Purlin Installation:  Extend insulation and vapor retarder between purlins.  Carry vapor-retarder facing tabs up and over purlin, overlapping adjoining facing of next insulation course maintaining continuity of retarder.  Hold in place with bands and crossbands below insulation.

First subparagraph below accommodates thicker insulation with compression occurring at structure.  Thermal spacer blocks can be added to retard heat transfer at these locations.

c. Over-Purlin-with-Spacer-Block Installation:  Extend insulation and vapor retarder over and perpendicular to top flange of secondary framing members.  Install layer of filler insulation over first layer to fill space formed by roof panel standoffs.  Hold in place by panels fastened to standoffs.

First subparagraph below accommodates thicker insulation with no compression.

d. Two-Layers-between-Purlin-with-Spacer-Block Installation:  Extend insulation and vapor retarder between purlins.  Carry vapor-retarder facing tabs up and over purlins, overlapping adjoining facing of next insulation course maintaining continuity of retarder.  Install layer of filler insulation over first layer to fill space between purlins formed by thermal spacer blocks.  Hold in place with bands and crossbands below insulation.

4. Retainer Strips:  Install retainer strips at each longitudinal insulation joint, straight and taut, nesting with secondary framing to hold insulation in place.

Retain subparagraph below if thermal bridging is a concern.

5. Thermal Spacer Blocks:  Where metal roof panels attach directly to purlins, install thermal spacer blocks.

3.5 METAL ROOF PANEL INSTALLATION, GENERAL

A. Provide metal roof panels of full length from eave to ridge unless otherwise indicated or restricted by shipping limitations.

Retain first paragraph below to allow thermal movement for panels.  Delete for fixed panels.

B. Thermal Movement.  Rigidly fasten metal roof panels to structure at one and only one location for each panel.  Allow remainder of panel to move freely for thermal expansion and contraction.  Predrill panels for fasteners.

1. Point of Fixity:  Fasten each panel along a single line of fixing located at [eave] [ridge] [center of panel length] [locations indicated on Drawings] <Insert location>.

2. Avoid attaching accessories through roof panels in a manner that will inhibit thermal movement.

C. Install metal roof panels as follows:

1. Commence metal roof panel installation and install minimum of [300 sq. ft. (27.8 sq. m.)] <Insert size> in presence of factory-authorized representative.

2. Field cutting of metal panels by torch is not permitted.

Retain first subparagraph below if metal roof panels are installed over purlins.

3. Install panels perpendicular to purlins.

4. Locate and space fastenings in uniform vertical and horizontal alignment.

5. Provide metal closures at [rake edges] [rake walls] [and] each side of ridge[ and hip] caps.

6. Flash and seal metal roof panels with weather closures at eaves, rakes, and perimeter of all openings.

7. Install ridge[ and hip] caps as metal roof panel work proceeds.

Retain first subparagraph below if end splices are allowed.

8. End Splices:  Locate panel end splices over, but not attached to, structural supports.  Stagger panel end splices to avoid a four-panel splice condition.

9. Install metal flashing to allow moisture to run over and off metal roof panels.

D. Fasteners:

1. Steel Roof Panels:  Use stainless-steel fasteners for surfaces exposed to the exterior and galvanized-steel fasteners for surfaces exposed to the interior.

2. Aluminum Roof Panels:  Use aluminum or stainless-steel fasteners for surfaces exposed to the exterior and aluminum or galvanized-steel fasteners for surfaces exposed to the interior.

3. Copper Roof Panels:  Use copper, stainless-steel, or hardware-bronze fasteners.

Retain first paragraph below for metal panel systems that anchor to substrates with a clip system.

E. Anchor Clips:  Anchor metal roof panels and other components of the Work securely in place, using manufacturer's approved fasteners according to manufacturers' written instructions.

F. Metal Protection:  Where dissimilar metals will contact each other or corrosive substrates, protect against galvanic action by painting contact surfaces with bituminous coating, by applying rubberized-asphalt underlayment to each contact surface, or by other permanent separation as recommended by metal roof panel manufacturer.

1. Coat back side of roof panels with bituminous coating where roof panels will contact wood, ferrous metal, or cementitious construction.

G. Joint Sealers:  Install gaskets, joint fillers, and sealants where indicated and where required for weatherproof performance of metal roof panel assemblies.  Provide types of gaskets, fillers, and sealants indicated or, if not indicated, types recommended by metal roof panel manufacturer.

1. Seal metal roof panel end laps with double beads of tape or sealant, full width of panel.  Seal side joints where recommended by metal roof panel manufacturer.

Retain subparagraph below if joint-sealant work is part of this Section.

2. Prepare joints and apply sealants to comply with requirements in Division 7 Section "Joint Sealants."

3.6 METAL ROOF PANEL INSTALLATION

A. Lap-Seam Metal Roof Panels:  Fasten metal roof panels to supports with fasteners at each lapped joint at location and spacing recommended by manufacturer.

1. Apply panels and associated items for neat and weathertight enclosure.  Avoid "panel creep" or application not true to line.

2. Lap ribbed or fluted sheets one full rib corrugation.

3. Provide metal-backed neoprene or EPDM washers under heads of exposed fasteners bearing on weather side of metal roof panels.

4. Locate and space exposed fasteners in uniform vertical and horizontal alignment.  Use proper tools to obtain controlled uniform compression for positive seal without rupture of washer.

5. Install screw fasteners with power tools having controlled torque adjusted to compress washer tightly without damage to washer, screw threads, or panels.  Install screws in predrilled holes.

6. Provide sealant tape at lapped joints of metal roof panels and between panels and protruding equipment, vents, and accessories.

7. Apply a continuous ribbon of sealant tape to weather-side surface of fastenings on end laps, and on side laps of nesting-type panels; on side laps of corrugated nesting-type, ribbed, or fluted panels; and elsewhere as needed to make panels weatherproof to driving rains.

8. At panel end splices, nest panels with minimum 6-inch (150-mm) end lap, sealed with butyl-rubber sealant and fastened together by interlocking clamping plates.

B. Standing-Seam Metal Roof Panels:  Fasten metal roof panels to supports with concealed clips at each standing-seam joint at location, spacing, and with fasteners recommended by manufacturer.

1. Install clips to supports with self-tapping fasteners.

2. Install pressure plates at locations indicated in manufacturer's written installation instructions.

Retain one of two subparagraphs below; coordinate with products selected in Part 2.

3. Snap Joint:  Nest standing seams and fasten together by interlocking and completely engaging factory-applied sealant.

4. Seamed Joint:  Crimp standing seams with manufacturer-approved, motorized seamer tool so clip, metal roof panel, and factory-applied sealant are completely engaged.

C. Batten-Seam Metal Roof Panels:  Fasten metal roof panels to supports with concealed clips at each batten-seam joint at location, spacing, and with fasteners recommended by manufacturer.

1. Install clips to supports with self-drilling fasteners.

2. Apply battens to metal roof panel seams, fully engaged to provide weathertight joints.

D. Horizontal-Seam (Bermuda-Type) Metal Roof Panels:  Fasten metal roof panels to supports with concealed clips at each horizontal-seam joint at location, spacing, and with fasteners recommended by manufacturer.  Start at eave and work upward toward ridge.

1. Install clips to supports with self-drilling fasteners.

3.7 FOAMED-INSULATION-CORE METAL ROOF PANEL INSTALLATION

A. General:  Apply continuous ribbon of sealant to panel joint on concealed side of insulated metal roof panels as vapor seal; apply sealant to panel joint on exposed side of panels for weather seal.

B. Lap-Seam, Foamed-Insulation-Core Metal Roof Panels:  Fasten insulated metal roof panels to supports with fasteners at each lapped joint at location and spacing recommended by manufacturer.

1. Lap ribbed or fluted sheets one full rib corrugation.  Apply panels and associated items for neat and weathertight enclosure.  Avoid "panel creep" or application not true to line.

2. Provide metal-backed washers under heads of exposed fasteners bearing on weather side of insulated metal roof panels.

3. Locate and space exposed fasteners in uniform vertical and horizontal alignment.  Use proper tools to obtain controlled uniform compression for positive seal without rupture of washer.

4. Provide sealant tape at lapped joints of insulated metal roof panels and between panels and protruding equipment, vents, and accessories.

5. Apply a continuous ribbon of sealant tape to panel side laps and elsewhere as needed to make panels weatherproof to driving rains.

Retain subparagraph below if required; coordinate with products retained in Part 2.

6. Apply snap-on battens to insulated metal roof panel seams to conceal fasteners.

C. Standing-Seam, Foamed-Insulation-Core Metal Roof Panels:  Fasten insulated metal roof panels to supports with concealed clips at each standing-seam joint at location, spacing, and with fasteners recommended by manufacturer.

1. Install clips to supports with self-tapping fasteners.

2. Seamed Joint:  Crimp standing seams with manufacturer-approved, motorized seamer tool so cleat, insulated metal roof panel, and factory-applied side-lap sealant are completely engaged.

D. Batten-Seam, Foamed-Insulation-Core Metal Roof Panels:  Fasten insulated metal roof panels to supports with concealed clips at each batten-seam joint at location, spacing, and with fasteners recommended by manufacturer.

1. Apply battens to insulated metal roof panel seams, fully engaged to provide weathertight joints.

3.8 METAL SOFFIT PANEL INSTALLATION

A. In addition to complying with requirements in "Metal Roof Panel Installation, General" Article, install metal soffit panels to comply with requirements in this article.

B. Metal Soffit Panels:  Provide metal soffit panels full width of soffits.  Install panels perpendicular to support framing.

1. Flash and seal panels with weather closures where metal soffit panels meet walls and at perimeter of all openings.

C. Metal Fascia Panels:  Align bottom of panels and fasten with blind rivets, bolts, or self-tapping screws.  Flash and seal panels with weather closures where fasciae meet soffits, along lower panel edges, and at perimeter of all openings.

3.9 ACCESSORY INSTALLATION

Revise first paragraph below to suit Project.  Delete items not required.

A. General:  Install accessories with positive anchorage to building and weathertight mounting and provide for thermal expansion.  Coordinate installation with flashings and other components.

1. Install components required for a complete metal roof panel assembly including trim, copings, ridge closures, seam covers, flashings, sealants, gaskets, fillers, closure strips, and similar items.

B. Flashing and Trim:  Comply with performance requirements, manufacturer's written installation instructions, and SMACNA's "Architectural Sheet Metal Manual."  Provide concealed fasteners where possible, and set units true to line and level as indicated.  Install work with laps, joints, and seams that will be permanently watertight and weather resistant.

1. Install exposed flashing and trim that is without excessive oil canning, buckling, and tool marks and that is true to line and levels indicated, with exposed edges folded back to form hems.  Install sheet metal flashing and trim to fit substrates and to result in waterproof and weather-resistant performance.

2. Expansion Provisions:  Provide for thermal expansion of exposed flashing and trim.  Space movement joints at a maximum of 10 feet (3 m) with no joints allowed within 24 inches (600 mm) of corner or intersection.  Where lapped expansion provisions cannot be used or would not be sufficiently weather resistant and waterproof, form expansion joints of intermeshing hooked flanges, not less than 1 inch (25 mm) deep, filled with mastic sealant (concealed within joints).

C. Gutters:  Join sections with riveted and soldered or lapped and sealed joints.  Attach gutters to eave with gutter hangers spaced not more than 36 inches (914 mm) o.c. using manufacturer's standard fasteners.  Provide end closures and seal watertight with sealant.  Provide for thermal expansion.

D. Downspouts:  Join sections with telescoping joints.  Provide fasteners designed to hold downspouts securely 1 inch (25 mm) away from walls; locate fasteners at top and bottom and at approximately 60 inches (1500 mm) o.c. in between.

Retain one of two subparagraphs below.

1. Provide elbows at base of downspouts to direct water away from building.

2. Connect downspouts to underground drainage system indicated.

E. Roof Curbs:  Install curbs at locations indicated on Drawings.  Install flashing around bases where they meet metal roof panels.

F. Pipe Flashing:  Form flashing around pipe penetration and metal roof panels.  Fasten and seal to metal roof panels as recommended by manufacturer.

3.10 SNOW GUARD INSTALLATION

A. Stop-Type Snow Guards:  Attach snow guards to metal roof panels with adhesive, sealant, or adhesive tape, as recommended by manufacturer.  Do not use fasteners that will penetrate metal roof panels.

Delete last option in subparagraph below if retaining standing-seam-mounted, stop-type snow guards.

1. Provide <Insert number> rows of snow guards, at locations indicated on Drawings, spaced <Insert dimension> apart, beginning <Insert dimension> up from gutter[, with each snow guard centered between panel ribs].

B. Bar-Type Snow Guards:  Attach bar supports to vertical ribs of standing-seam metal roof panels with clamps or set screws.  Do not use fasteners that will penetrate metal roof panels.

1. Provide <Insert number> rows of snow guards, at locations indicated on Drawings, spaced <Insert dimension> apart, beginning <Insert dimension> up from gutter.

3.11 ERECTION TOLERANCES

Generally retain this article only for sophisticated or highly finished metal roof panel assemblies.

A. Installation Tolerances:  Shim and align metal roof panel units within installed tolerance of 1/4 inch in 20 feet (6 mm in 6 m) on slope and location lines as indicated and within 1/8-inch (3-mm) offset of adjoining faces and of alignment of matching profiles.

If less-stringent tolerances are desired, consider inserting installation tolerances from MCA's "Guide Specification for Residential Metal Roofing."

3.12 FIELD QUALITY CONTROL

Retain first paragraph below for assemblies requiring weathertight warranty.

A. Manufacturer's Field Service:  Engage a factory-authorized service representative to inspect metal roof panel installation, including accessories.  Report results in writing.

B. Remove and replace applications of metal roof panels where inspections indicate that they do not comply with specified requirements.

C. Additional inspections, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

3.13 CLEANING

A. Remove temporary protective coverings and strippable films, if any, as metal roof panels are installed unless otherwise indicated in manufacturer's written installation instructions.  On completion of metal roof panel installation, clean finished surfaces as recommended by metal roof panel manufacturer.  Maintain in a clean condition during construction.

B. Replace metal roof panels that have been damaged or have deteriorated beyond successful repair by finish touchup or similar minor repair procedures.

END OF SECTION 07411

METAL ROOF PANELS
07411 - 1

