Copyright 2006 AIA
MASTERSPEC Full Length
02/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 07415 - COMPOSITE WALL PANELS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section includes metal-faced composite wall panels.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 5 Section "Cold-Formed Metal Framing" for cold-formed metal framing supporting metal-faced composite wall panels.

2. Division 7 Section "Metal Wall Panels" for through-the-face-fastened metal wall panels and metal soffit and fascia panels.

3. Division 7 Section "Insulated-Core Metal Wall Panels" for foamed-insulation core, laminated-insulation core, and honeycomb-core metal wall panels.

4. Division 7 Section "Metal Plate Wall Panels" for solid metal plate wall panels.

5. Division 7 Section "Sheet Metal Flashing and Trim" for field-formed flashings and other sheet metal work not part of metal-faced composite wall panel assemblies.

If alternates apply to Work of this Section, insert brief paragraphs here to alert Contractor and reference appropriate Division 1 Section for specific details.

1.3 DEFINITION

Retain definition remaining after this Section has been edited.

A. Metal-Faced Composite Wall Panel Assembly:  Metal-faced composite wall panels, attachment system components, miscellaneous metal framing, and accessories necessary for a complete weathertight wall system.

1.4 PERFORMANCE REQUIREMENTS

A. General Performance:  Metal-faced composite wall panel assemblies shall comply with performance requirements without failure due to defective manufacture, fabrication, installation, or other defects in construction.

Retain first paragraph below if Contractor is required to assume responsibility for design.

B. Delegated Design:  Design metal-faced composite wall panel assembly, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

Revise rate of air leakage in first paragraph below to suit Project.

C. Air Infiltration:  Air leakage through assembly of not more than [0.06 cfm/sq. ft. (0.3 L/s per sq. m)] <Insert rate> of wall area when tested according to ASTM E 283 at the following test-pressure difference:

Value in subparagraph below is ASTM E 283 default; revise to suit Project.  1.57 lbf/sq. ft. (75 Pa) is equivalent to a 25-mph (40-km/h) wind.

1. Test-Pressure Difference:  [1.57 lbf/sq. ft. (75 Pa)] <Insert pressure>.

First paragraph below refers to static-pressure test method, which is method most frequently specified.  ASTM E 331 indicates that "water contained within drainage flashings, gutters, and sills is not considered failure."

D. Water Penetration Under Static Pressure:  No water penetration when tested according to ASTM E 331 at the following test-pressure difference:

Revise value in subparagraph below to suit Project.  6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

1. Test-Pressure Difference:  [6.24 lbf/sq. ft. (300 Pa)] <Insert pressure>.

ASTM E 330 in first paragraph below is for composite panels with multiple-layer construction that span structural supports.

E. Structural Performance:  Provide metal-faced composite wall panel assemblies capable of withstanding the effects of the following loads and stresses within limits and under conditions indicated, based on testing according to ASTM E 330:

Requirements under each set of performance criteria below are examples only.  Insert design loads to suit Project.  Consult a structural engineer experienced in engineering metal-faced composite wall panel assemblies of type indicated to quantify design loads.  Verify compliance with codes.

1. Wind Loads:  Determine loads based on the following minimum design wind pressures:

Retain one of first two subparagraphs below.  If retaining second, indicate pressures on appropriate elevation Drawings.

a. Uniform pressure of [20 lbf/sq. ft. (957 Pa)] [30 lbf/sq. ft. (1436 Pa)] <Insert design wind pressure>, acting inward or outward.

b. Uniform pressure as indicated on Drawings.

2. Deflection Limits:  Metal-faced composite wall panel assemblies shall withstand wind loads with horizontal deflections no greater than [1/175 of the span at the perimeter and 1/60 of the span anywhere in the panel] <Insert deflection>.

F. Thermal Movements:  Allow for thermal movements from ambient and surface temperature changes by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.  Base calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change (Range):  [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

1.5 SUBMITTALS

First four paragraphs below are defined in Division 1 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for each type of metal-faced composite wall panel and accessory.

B. Shop Drawings:  Show fabrication and installation layouts of metal-faced composite wall panels; details of edge conditions, joints, panel profiles, corners, anchorages, attachment system, trim, flashings, closures, and accessories; and special details.  Distinguish among factory-, shop-, and field-assembled work.

1. Accessories:  Include details of the following items, at a scale of not less than 1-1/2 inches per 12 inches (1:10):

Revise list below to suit Project.

a. Flashing and trim.

b. Anchorage systems.

C. Samples for Initial Selection:  For each type of metal-faced composite wall panel indicated with factory-applied color finishes.

1. Include similar Samples of trim and accessories involving color selection.

2. Include manufacturer's color charts consisting of strips of cured sealants showing the full range of colors available for each sealant exposed to view.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

D. Samples for Verification:  For each type of exposed finish required, prepared on Samples of size indicated below:

Sample in first subparagraph below may be difficult to obtain if custom color is specified.

1. Metal-Faced Composite Wall Panels:  [Minimum 12 x 12 inches (300 x 300 mm)] <Insert sample size>.  Include fasteners, closures, and other metal-faced composite wall panel accessories.

a. Composite Panels:  Include four-way joint.

2. Trim and Closures:  12 inches (300 mm) long.  Include fasteners and other exposed accessories.

3. Accessories:  12-inch- (300-mm-) long Samples for each type of accessory.

4. Exposed Gaskets:  12 inches (300 mm) long.

5. Exposed Sealants:  For each type and color of joint sealant required.  Install joint sealants in 1/2-inch- (13-mm-) wide joints formed between two 6-inch- (150-mm-) long strips of material matching the appearance of metal-faced composite wall panels adjacent to joint sealants.

First paragraph below is defined in Division 1 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

E. Delegated-Design Submittal:  For metal-faced composite wall panel assembly indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Remaining paragraphs are defined in Division 1 Section "Submittal Procedures" as "Informational Submittals."

Retain first paragraph below if Drawings do not include detailed exterior elevations or if Project involves unusual coordination requirements.

F. Coordination Drawings:  Exterior elevations, drawn to scale, on which the following items are shown and coordinated with each other, using input from installers of the items involved:

Revise subparagraphs below to suit Project.

1. Wall panels and attachments.

2. [Girts] [Stud framing].

3. Wall-mounted items including doors, windows, louvers, and lighting fixtures.

4. Penetrations of wall by pipes and utilities.

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For [professional engineer] [and] [testing agency].

H. Compatibility and Adhesion Test Reports:  From sealant manufacturer, indicating the following:

1. Materials forming joint substrates and joint-sealant backings have been tested for compatibility and adhesion with joint sealants.

2. Interpretation of test results and written recommendations for primers and substrate preparation needed for adhesion.

I. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for each product.

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

J. Field quality-control reports.

K. Maintenance Data:  For metal wall panels to include in maintenance manuals.

Retain paragraph below if desired.  Submittal of sample warranty provides Architect or Owner an opportunity to further verify that warranty coverage meets requirements.

L. Warranties:  Samples of special warranties.

1.6 QUALITY ASSURANCE

Retain first paragraph below if Contractor selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.  Qualification requirements are in addition to those specified in Division 1 Section "Quality Requirements," which also includes the definition for "NRTL" (nationally recognized testing laboratory).

A. Testing Agency Qualifications:  Qualified according to ASTM E 329 for testing indicated.

B. Source Limitations:  Obtain each type of metal-faced composite wall panel from single source from single manufacturer.

Retain first paragraph below for testing of wet sealants for metal-faced composite wall panels.

C. Preconstruction Compatibility and Adhesion Testing:  Submit samples of materials that will contact joint sealants to joint-sealant manufacturers for testing indicated in subparagraphs below:

1. Use manufacturer's standard test methods to determine whether priming and other specific joint preparation techniques are required to obtain rapid, optimum adhesion of joint sealants to joint substrates.

Retain first subparagraph below if unusual environmental conditions are likely to exist during installation that could affect sealant performance.

a. Perform tests under environmental conditions replicating those that will exist during installation.

2. Submit no fewer than nine pieces of each type of material, including joint substrates, shims, joint-sealant backings, secondary seals, and miscellaneous materials.

3. Schedule enough time for testing and analyzing results to prevent delaying the Work.

4. For materials failing tests, obtain joint-sealant manufacturer's written instructions for corrective measures, including use of specially formulated primers.

Retain first paragraph below only if products specified in Part 2 are part of a fire-resistance-rated assembly.  Indicate rating, testing agency, and testing agency's design designation on Drawings.

D. Fire-Resistance Ratings:  Where indicated, provide metal-faced composite wall panels identical to those of assemblies tested for fire resistance per ASTM E 119 by a qualified testing agency.  Identify products with appropriate markings of applicable testing agency.

1. Indicate design designations from UL's "Fire Resistance Directory" or from the listings of another qualified testing agency.

E. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for fabrication and installation.

Retain first subparagraph below for large-scale mockup.  Indicate portion of wall represented by mockup on Drawings or draw mockup as separate element.  Revise to suit Project or if larger mockup is needed for field-performance testing.

1. Build mockup of typical [wall] [corner] panel[, including soffit,] as shown on Drawings; approximately [one bay wide by one story high] <Insert size> by full thickness, including supports, attachments, and accessories.

a. Include four-way joint for metal-faced composite wall panels.

2. Conduct water-spray test of mockup of metal-faced composite wall panel assembly, testing for water penetration according to AAMA 501.2.

Retain first subparagraph below if mockups are not only for establishing appearance factors.

3. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

4. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

F. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

Retain subparagraphs below if additional requirements are necessary; include information about conference.

1. Meet with Owner, Architect, Owner's insurer if applicable, testing and inspecting agency representative, metal-faced composite wall panel Installer, metal-faced composite wall panel manufacturer's representative, structural-support Installer, and installers whose work interfaces with or affects metal-faced composite wall panels including installers of doors, windows, and louvers.

2. Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

3. Review methods and procedures related to metal-faced composite wall panel installation, including manufacturer's written instructions.

4. Examine support conditions for compliance with requirements, including alignment between and attachment to structural members.

5. Review flashings, special siding details, wall penetrations, openings, and condition of other construction that will affect metal-faced composite wall panels.

6. Review governing regulations and requirements for insurance, certificates, and tests and inspections if applicable.

7. Review temporary protection requirements for metal-faced composite wall panel assembly during and after installation.

8. Review wall panel observation and repair procedures after metal-faced composite wall panel installation.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Deliver components, sheets, metal-faced composite wall panels, and other manufactured items so as not to be damaged or deformed.  Package metal-faced composite wall panels for protection during transportation and handling.

B. Unload, store, and erect metal-faced composite wall panels in a manner to prevent bending, warping, twisting, and surface damage.

C. Store metal-faced composite wall panels vertically, covered with suitable weathertight and ventilated covering.  Store metal-faced composite wall panels to ensure dryness, with positive slope for drainage of water.  Do not store metal-faced composite wall panels in contact with other materials that might cause staining, denting, or other surface damage.  Do not allow storage space to exceed 120 deg F (49 deg C).

D. Retain strippable protective covering on metal-faced composite wall panel for period of panel installation.

1.8 PROJECT CONDITIONS

A. Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit assembly of metal-faced composite wall panels to be performed according to manufacturer's written instructions and warranty requirements.

B. Field Measurements:  Verify locations of structural members and wall opening dimensions by field measurements before metal-faced composite wall panel fabrication and indicate measurements on Shop Drawings.

1.9 COORDINATION

A. Coordinate metal-faced composite wall panel assemblies with rain drainage work, flashing, trim, and construction of studs, soffits, and other adjoining work to provide a leakproof, secure, and noncorrosive installation.

1.10 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of metal-faced composite wall panel assemblies that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures, including rupturing, cracking, or puncturing.

b. Deterioration of metals and other materials beyond normal weathering.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2 articles.

2. Warranty Period:  [Two] <Insert number> years from date of Substantial Completion.

Delete paragraph below if metal-faced composite wall panels are left unfinished.

B. Special Warranty on Panel Finishes:  Manufacturer's standard form in which manufacturer agrees to repair finish or replace metal-faced composite wall panels that show evidence of deterioration of factory-applied finishes within specified warranty period.

Coordinate first subparagraph below with finishes retained in Part 2.

1. Exposed Panel Finish:  Deterioration includes, but is not limited to, the following:

a. Color fading more than 5 Hunter units when tested according to ASTM D 2244.

b. Chalking in excess of a No. 8 rating when tested according to ASTM D 4214.

c. Cracking, checking, peeling, or failure of paint to adhere to bare metal.

Verify available warranties for metal-faced composite wall panel finishes with manufacturers listed in Part 2 articles.  20-year period is for fluoropolymer finish and is maximum included with manufacturers' published data.  Longer periods for premium finishes may be available.

2. Finish Warranty Period:  [20] <Insert number> years from date of Substantial Completion.

Insert requirements for special weathertightness warranty here if desired.  Panel manufacturers do not typically offer such warranties on wall systems.

PART 2 -  PRODUCTS

2.1 PANEL MATERIALS

Finishes for panel materials in this article are specified with materials below rather than in a separate "Finishes " Article because coil-coated materials are finished prior to forming panels.

A. Aluminum Sheet:  Coil-coated sheet, ASTM B 209 (ASTM B 209M), alloy as standard with manufacturer, with temper as required to suit forming operations and structural performance required.

1. Surface:  [Smooth, flat] [Embossed] finish.

Retain one finish from either "Exposed Coil-Coated Finishes" or "Exposed Anodized Finishes" subparagraphs below.  Verify availability of finishes for products specified.  If retaining more than one, indicate location of each on Drawings or by inserts.  To obtain a proprietary finish system, insert names of coating manufacturers and products.

2. Exposed Coil-Coated Finishes:

Revise or insert additional testing requirements in first six subparagraphs below if performance levels indicated in AAMA 620 are not sufficient.  See Evaluations.

a. Two-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

b. Three-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

c. Four-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat and clear coats.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

d. Mica Fluoropolymer:  AAMA 620.  2-coat fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

e. Metallic Fluoropolymer:  AAMA 620.  3-coat fluoropolymer finish with suspended metallic flakes containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

f. FEVE Fluoropolymer:  AAMA 620.  2-coat fluoropolymer finish containing 100 percent FEVE resin in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

3. Exposed Anodized Finishes:

Retain one of two options in first subparagraph below.  Class II finish is standard with many manufacturers; Class I finish is heavy anodized.  Verify availability with manufacturers.

a. Clear Anodic Finish:  AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

Retain one of two options in first subparagraph below.  Verify availability with manufacturers.

b. Color Anodic Finish:  AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

Finish in subparagraph below is frequently used as a factory finish for interior surfaces.

4. Concealed Finish:  Apply pretreatment and manufacturer's standard white or light-colored acrylic or polyester backer finish, consisting of prime coat and wash coat with a minimum total dry film thickness of 0.5 mil (0.013 mm).

B. Copper Sheet:  ASTM B 370, cold-rolled copper sheet, H00 temper.

1. Exposed Finish:  Apply the following finish, as specified or indicated on Drawings.

Retain one of four subparagraphs below.

a. Natural.

b. Brushed Satin:  CDA M32-06x (Mechanical Finish:  directionally textured, medium satin; Coating:  clear organic, air drying, as specified below):

c. Mirror Polished:  CDA M22-06x (Mechanical Finish:  buffed, specular; Coating:  clear organic, air drying, as specified below):

Retain first subparagraph below with one of last two subparagraphs above.

1) Clear, Organic Coating:  Clear, air-drying, acrylic lacquer specially developed for coating copper-alloy products, applied by air spray in 2 coats per manufacturer's written instructions, with interim drying, to a total thickness of 1 mil (0.025 mm).

d. Pre-patinated:  ASTM B 882.  Copper sheets artificially aged by chemical reaction to convert surface to inorganic crystalline structure with color range and durability of naturally formed patina.

C. Panel Sealants:

1. Joint Sealant:  ASTM C 920; elastomeric polyurethane, polysulfide, or silicone sealant; of type, grade, class, and use classifications required to seal joints in metal-faced composite wall panels and remain weathertight; and as recommended in writing by panel manufacturer.

2.2 MISCELLANEOUS METAL FRAMING

See "Miscellaneous Metal Framing" Article in the Evaluations for a discussion of corrosion-resistant coatings on components.  First option in first paragraph below is minimum permitted by ASTM C 645; second option gives greater corrosion resistance.

A. Miscellaneous Metal Framing, General:  ASTM C 645, cold-formed metallic-coated steel sheet, [ASTM A 653/A 653M, G40 (Z120) hot-dip galvanized] [ASTM A 653/A 653M, G60 (Z180) hot-dip galvanized] or coating with equivalent corrosion resistance unless otherwise indicated.

Retain any of six paragraphs below.  Revise to suit Project.

B. Subgirts:  Manufacturer's standard C- or Z-shaped sections 0.064-inch (1.63-mm) nominal thickness.

C. Zee Clips:  0.079-inch (2.01-mm) nominal thickness.

D. Base or Sill [Angles] [Channels]:  0.079-inch (2.01-mm) nominal thickness.

E. Hat-Shaped, Rigid Furring Channels:

1. Nominal Thickness:  [As indicated] [As required to meet performance requirements] [0.025 inch (0.64 mm)] [0.040 inch (1.02 mm)] <Insert thickness>.

2. Depth:  [As indicated] [7/8 inch (22 mm)] [1-1/2 inches (38 mm)] <Insert depth>.

F. Cold-Rolled Furring Channels:  Minimum 1/2-inch- (13-mm-) wide flange.

1. Nominal Thickness:  [As indicated] [As required to meet performance requirements] [0.064 inch (1.63 mm)] <Insert thickness>.

2. Depth:  [As indicated] [3/4 inch (19 mm)] <Insert depth>.

3. Furring Brackets:  Adjustable, corrugated-edge type of steel sheet with nominal thickness of 0.040 inch (1.02 mm).

4. Tie Wire:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062-inch- (1.57-mm-) diameter wire, or double strand of 0.048-inch- (1.22-mm-) diameter wire.

G. Fasteners for Miscellaneous Metal Framing:  Of type, material, size, corrosion resistance, holding power, and other properties required to fasten miscellaneous metal framing members to substrates.

2.3 MISCELLANEOUS MATERIALS

A. Aluminum Extrusions:  ASTM B 221 (ASTM B 221M), alloy and temper recommended by manufacturer for type of use and finish indicated.

B. Fasteners:  Self-tapping screws, bolts, nuts, self-locking rivets and bolts, end-welded studs, and other suitable fasteners designed to withstand design loads.  Provide exposed fasteners with heads matching color of metal-faced composite wall panels by means of plastic caps or factory-applied coating.  Provide EPDM, PVC, or neoprene sealing washers.

2.4 METAL-FACED COMPOSITE WALL PANELS <Insert drawing designation>

Refer to the table at the end of the Evaluations for a list of manufacturers' products.  Use this table in combination with manufacturers' catalogs or product data to select options or insert characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

A. General:  Provide factory-formed and -assembled, metal-faced composite wall panels fabricated from two metal facings bonded, using no glues or adhesives, to solid, extruded thermoplastic core; formed into profile for installation method indicated.  Include attachment system components and accessories required for weathertight system.

Retain first subparagraph below for applications that require noncombustible construction.

1. Fire-Retardant Core:  Noncombustible, with the following surface-burning characteristics as determined by testing identical products per ASTM E 84 by UL or another testing and inspecting agency acceptable to authorities having jurisdiction:

a. Flame-Spread Index:  25 or less.

b. Smoke-Developed Index:  450 or less.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

2. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Alcan Composites USA Inc.; [Alucobond] [Alucobond Plus].

b. Alcoa Inc.; Reynobond [PE] [FR].

c. ALPOLIC, Division of Mitsubishi Chemical America, Inc.; [ALPOLIC] [ALPOLIC/fr] [ALPOLIC Copper].

d. CENTRIA Architectural Systems; Formabond Wall System.

e. Citadel Architectural Products, Inc., Envelope 2000 [(RS)] [(RR)].

f. Copper Sales, Inc.; UNA-FAB [Series 1000] [Series 1500].

g. Protean Construction Products, Inc.; ACM 100.

h. <Insert manufacturer's name; product name or designation>.

B. Aluminum-Faced Composite Wall Panels <Insert drawing designation>:  Formed with 0.020-inch- (0.50-mm-) thick, [coil-coated] [anodized] aluminum sheet facings.

1. Panel Thickness:  [0.118 inch (3 mm)] [0.157 inch (4 mm)] [0.197 inch (5 mm)] [0.236 inch (6 mm)] [As indicated on Drawings].

2. Core:  [Standard] [Fire retardant].

3. Exterior Finish:  [2-coat fluoropolymer] [3-coat fluoropolymer] [4-coat fluoropolymer] [Mica fluoropolymer] [Metallic fluoropolymer] [FEVE fluoropolymer] [Clear anodized] [Color anodized] <Insert finish>.

a. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

C. Copper-Faced Composite Wall Panels <Insert drawing designation>:  Formed with 16-oz./sq. ft. (0.55-mm-thick) copper sheet facings.

1. Panel Thickness:  [0.118 inch (3 mm)] [0.157 inch (4 mm)] [0.197 inch (5 mm)] [0.236 inch (6 mm)] [As indicated on Drawings].

2. Core:  [Standard] [Fire retardant].

3. Exterior Finish:  [Mill] [Acrylic finish for maintaining an "aged" finish] [Acrylic finish for maintaining a "penny-bright" finish] [Pre-patinated].

Retain first option in paragraph below with aluminum-faced panels; retain second option with copper-faced panels.

D. Attachment System Components:  Formed from [extruded aluminum] [material compatible with panel facing].

Adjust components in subparagraph below to suit Project and to coordinate with installation method specified in Part 3.

1. Include manufacturer's standard [perimeter extrusions with integral weather stripping] [panel stiffeners] [panel clips] [and] [anchor channels].

2.5 ACCESSORIES

In this article, retain accessories required.  Coordinate accessories retained with those specified in Division 7 Section "Sheet Metal Flashing and Trim."

Revise first paragraph below with specific requirements if necessary.

A. Wall Panel Accessories:  Provide components required for a complete metal-faced composite wall panel assembly including trim, copings, fasciae, mullions, sills, corner units, clips, flashings, sealants, gaskets, fillers, closure strips, and similar items.  Match material and finish of metal-faced composite wall panels unless otherwise indicated.

B. Flashing and Trim:  Formed from 0.018-inch- (0.46-mm-) minimum thickness, zinc-coated (galvanized) steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating.  Provide flashing and trim as required to seal against weather and to provide finished appearance.  Locations include, but are not limited to, bases, drips, sills, jambs, corners, endwalls, framed openings, rakes, fasciae, parapet caps, soffits, reveals, and fillers.  Finish flashing and trim with same finish system as adjacent metal-faced composite wall panels.

2.6 FABRICATION

Insert unique general fabrication requirements, if any, to suit Project.

A. General:  Fabricate and finish metal-faced composite wall panels and accessories at the factory to greatest extent possible, by manufacturer's standard procedures and processes, as necessary to fulfill indicated performance requirements demonstrated by laboratory testing.  Comply with indicated profiles and with dimensional and structural requirements.

B. Fabricate metal-faced composite wall panels in a manner that eliminates condensation on interior side of panel and with joints between panels designed to form weathertight seals.

C. Metal-Faced Composite Wall Panels:  Factory form panels in a [continuous process with no glues or adhesives] [batch process by laminating each sheet using glues or adhesives] between dissimilar materials.  Trim and square edges of sheets with no displacement of face sheets or protrusion of core material.

1. Form panel lines, breaks, and angles to be sharp and true, with surfaces free from warp and buckle.

2. Fabricate panels with sharply cut edges, with no displacement of face sheets or protrusion of core material.

3. Fabricate panels with panel stiffeners, as required to comply with deflection limits, attached to back of panels with structural silicone sealant or bond tape.

4. Dimensional Tolerances:

a. Panel Bow:  0.8 percent maximum of panel length or width.

b. Squareness:  0.25 inch (5 mm) maximum.

D. Sheet Metal Accessories:  Fabricate flashing and trim to comply with recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to design, dimensions, metal, and other characteristics of item indicated.

1. Form exposed sheet metal accessories that are without excessive oil canning, buckling, and tool marks and that are true to line and levels indicated, with exposed edges folded back to form hems.

2. Seams for Aluminum:  Fabricate nonmoving seams with flat-lock seams.  Form seams and seal with epoxy seam sealer.  Rivet joints for additional strength.

3. Seams for Other Than Aluminum:  Fabricate nonmoving seams in accessories with flat-lock seams.  Tin edges to be seamed, form seams, and solder.

4. Sealed Joints:  Form nonexpansion but movable joints in metal to accommodate elastomeric sealant to comply with SMACNA standards.

5. Conceal fasteners and expansion provisions where possible.  Exposed fasteners are not allowed on faces of accessories exposed to view.

6. Fabricate cleats and attachment devices from same material as accessory being anchored or from compatible, noncorrosive metal recommended by metal-faced composite wall panel manufacturer.

a. Size:  As recommended by SMACNA's "Architectural Sheet Metal Manual" or metal-faced composite wall panel manufacturer for application, but not less than thickness of metal being secured.

2.7 GENERAL FINISH REQUIREMENTS

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical and painted finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Noticeable variations in same piece are not acceptable.  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances, metal-faced composite wall panel supports, and other conditions affecting performance of the Work.

Retain one or both of first two subparagraphs below.

1. Examine wall framing to verify that girts, angles, channels, studs, and other structural panel support members and anchorage have been installed within alignment tolerances required by metal-faced composite wall panel manufacturer.

2. Examine wall sheathing to verify that sheathing joints are supported by framing or blocking and that installation is within flatness tolerances required by metal-faced composite wall panel manufacturer.

Retain subparagraph below for rainscreen or other cavity systems that depend on weather-resistant sheathing paper to prevent air infiltration or water penetration.

3. Verify that weather-resistant sheathing paper has been installed over sheathing or backing substrate to prevent air infiltration or water penetration.

B. Examine roughing-in for components and systems penetrating metal-faced composite wall panels to verify actual locations of penetrations relative to seam locations of panels before panel installation.

Retain first paragraph below if required.

C. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of the Work.

D. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Miscellaneous Framing:  Install subgirts, base angles, sills, furring, and other miscellaneous wall panel support members and anchorage according to ASTM C 754 and metal-faced composite wall panel manufacturer's written instructions.

3.3 METAL-FACED COMPOSITE WALL PANEL INSTALLATION

A. General:  Install metal-faced composite wall panels according to manufacturer's written instructions in orientation, sizes, and locations indicated on Drawings.  Install panels perpendicular to girts and subgirts unless otherwise indicated.  Anchor panels and other components of the Work securely in place, with provisions for thermal and structural movement.

1. Commence metal-faced composite wall panel installation and install minimum of [300 sq. ft. (27.8 sq. m)] <Insert size> in presence of factory-authorized representative.

2. Shim or otherwise plumb substrates receiving metal-faced composite wall panels.

3. Flash and seal metal-faced composite wall panels at perimeter of all openings.  Do not begin installation until weather barrier and flashings that will be concealed by panels are installed.

4. Install flashing and trim as metal-faced composite wall panel work proceeds.

5. Apply elastomeric sealant continuously between metal base channel (sill angle) and concrete, and elsewhere as indicated or, if not indicated, as necessary for waterproofing.

6. Provide weathertight escutcheons for pipe and conduit penetrating exterior walls.

B. Fasteners:

1. Aluminum Wall Panels:  Use aluminum or stainless-steel fasteners for surfaces exposed to the exterior and aluminum or galvanized-steel fasteners for surfaces exposed to the interior.

2. Copper Wall Panels:  Use copper, stainless-steel, or hardware-bronze fasteners.

C. Metal Protection:  Where dissimilar metals will contact each other or corrosive substrates, protect against galvanic action as recommended by metal-faced composite wall panel manufacturer.

D. Joint Sealers:  Install gaskets, joint fillers, and sealants where indicated and where required for weathertight performance of metal-faced composite wall panel assemblies.  Provide types of gaskets, fillers, and sealants indicated or, if not indicated, types recommended by panel manufacturer.

Retain subparagraph below if joint-sealant work is part of this Section.

1. Prepare joints and apply sealants to comply with requirements in Division 7 Section "Joint Sealants."

E. Attachment System Installation, General:  Install attachment system required to support metal-faced composite wall panels and to provide a complete weathertight wall system, including subgirts, perimeter extrusions, tracks, drainage channels, panel clips, and anchor channels.

1. Include attachment to supports, panel-to-panel joinery, panel-to-dissimilar-material joinery, and panel-system joint seals.

2. Do not begin installation until weather barrier and flashings that will be concealed by composite panels are installed.

Retain one of four installation methods below.  Manufacturers may offer multiple installation methods on same panel.  Verify availability with manufacturers.

F. Clip Installation:  Attach panel clips to supports at each metal-faced composite wall panel joint at locations, spacings, and with fasteners recommended by manufacturer.  Attach routed-and-returned flanges of wall panels to panel clips with manufacturer's standard fasteners.

1. Seal horizontal and vertical joints between adjacent panels with sealant backing and sealant.  Install sealant backing and sealant according to requirements specified in Division 7 Section "Joint Sealants."

G. Track-Support Installation:  Provide manufacturer's standard horizontal and vertical tracks that provide support and complete secondary drainage system, draining to the exterior at horizontal joints.  Install support system at locations, spacings, and with fasteners recommended by manufacturer.  Attach panels to wall by interlocking tracks with perimeter extrusions attached to wall panels.  Fully engage integral gaskets and leave horizontal and vertical joints with open reveal.

Retain one of first two subparagraphs below.

1. Attach routed-and-returned flanges of wall panels to perimeter extrusions with manufacturer's standard fasteners.

First subparagraph below describes Alcoa's "Reynobond" panels.

2. Attach flush wall panels to perimeter extrusions by engaging panel edges and by attaching with manufacturer's standard structural silicone adhesive.

3. Install wall panels to allow individual panels to "free float" and be installed and removed without disturbing adjacent panels.

4. Do not apply sealants to joints unless otherwise indicated on Drawings.

First paragraph below describes Copper Sales' "UNA-FAB Series 1500" panels.

H. Subgirt-and-Spline Installation:  Provide manufacturer's standard subgirts and splines that provide support and complete secondary drainage system, draining to the exterior at horizontal joints.  Install support system at locations, spacings, and with fasteners recommended by manufacturer.  Attach wall panels by interlocking perimeter extrusions attached to routed-and-returned flanges of wall panels with subgirts and splines.  Fully engage integral subgirt-and-spline gaskets and leave horizontal and vertical joints with open reveal.

1. Install wall panels to allow individual panels to "free float" and be installed and removed without disturbing adjacent panels.

2. Do not apply sealants to joints unless otherwise indicated on Drawings.

See Evaluations for discussion of rainscreen principle.

I. Rainscreen-Principle Installation:  Provide manufacturer's standard pressure-equalized, rainscreen-principle system with vertical channel that provides support and complete secondary drainage system, draining at base of wall.  Notch vertical channel to receive support pins.  Install vertical channels supported by channel brackets or adjuster angles and at locations, spacings, and with fasteners recommended by manufacturer.  Attach wall panels by engaging horizontal support pins into notches in vertical channels and into flanges of wall panels.  Leave horizontal and vertical joints with open reveal.

1. Install wall panels to allow individual panels to "free float" and be installed and removed without disturbing adjacent panels.

2. Do not apply sealants to joints unless otherwise indicated on Drawings.

3.4 ACCESSORY INSTALLATION

Revise first paragraph below to suit Project.  Delete items not required.

A. General:  Install accessories with positive anchorage to building and weathertight mounting and provide for thermal expansion.  Coordinate installation with flashings and other components.

1. Install components required for a complete metal-faced composite wall panel assembly including trim, copings, corners, seam covers, flashings, sealants, gaskets, fillers, closure strips, and similar items.

B. Flashing and Trim:  Comply with performance requirements, manufacturer's written installation instructions, and SMACNA's "Architectural Sheet Metal Manual."  Provide concealed fasteners where possible, and set units true to line and level as indicated.  Install work with laps, joints, and seams that will be permanently watertight and weather resistant.

1. Install exposed flashing and trim that is without excessive oil canning, buckling, and tool marks and that is true to line and levels indicated, with exposed edges folded back to form hems.  Install sheet metal flashing and trim to fit substrates and to result in waterproof and weather-resistant performance.

2. Expansion Provisions:  Provide for thermal expansion of exposed flashing and trim.  Space movement joints at a maximum of 10 feet (3 m) with no joints allowed within 24 inches (610 mm) of corner or intersection.  Where lapped expansion provisions cannot be used or would not be sufficiently weather resistant and waterproof, form expansion joints of intermeshing hooked flanges, not less than 1 inch (25 mm) deep, filled with mastic sealant (concealed within joints).

3.5 ERECTION TOLERANCES

A. Installation Tolerances:  Shim and align metal-faced composite wall panel units within installed tolerance of 1/4 inch in 20 feet (6 mm in 6 m), nonaccumulative, on level, plumb, and location lines as indicated and within 1/8-inch (3-mm) offset of adjoining faces and of alignment of matching profiles.

3.6 FIELD QUALITY CONTROL

Retain first paragraph below to identify who shall perform tests and inspections.  If retaining second option, retain "Field quality-control reports" Paragraph in "Submittals" Article.

A. Testing Agency:  [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

If retaining first paragraph below, indicate test areas on Drawings.

B. Water Penetration:  Test areas of installed system indicated on Drawings for compliance with system performance requirements according to ASTM E 1105 at minimum differential pressure of 20 percent of inward-acting, wind-load design pressure as defined by SEI/ASCE 7, but not less than 6.24 lbf/sq. ft. (300 Pa).

Retain inexpensive test specified in first paragraph below to check system's resistance to water penetration.  Revise test area requirements indicated to suit Project.

C. Water-Spray Test:  After completing the installation of 75-foot- (23-m-) by-2-story minimum area of metal-faced composite wall panel assembly, test assembly for water penetration according to AAMA 501.2 in a 2-bay area directed by Architect.

Retain first paragraph below to require a factory-authorized service representative to perform inspections, tests, and adjustments.

D. Manufacturer's Field Service:  Engage a factory-authorized service representative to inspect, test, and adjust completed metal-faced composite wall panel installation, including accessories.

See Division 1 Section "Quality Requirements" for retesting and reinspecting requirements and Division 1 Section "Execution Requirements" for requirements for correcting the Work.

E. Metal-faced composite wall panels will be considered defective if they do not pass tests and inspections.

F. Additional tests and inspections, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

G. Prepare test and inspection reports.

3.7 CLEANING

A. Remove temporary protective coverings and strippable films, if any, as metal-faced composite wall panels are installed unless otherwise indicated in manufacturer's written installation instructions.  On completion of metal-faced composite wall panel installation, clean finished surfaces as recommended by panel manufacturer.  Maintain in a clean condition during construction.

B. After metal-faced composite wall panel installation, clear weep holes and drainage channels of obstructions, dirt, and sealant.

C. Replace metal-faced composite wall panels that have been damaged or have deteriorated beyond successful repair by finish touchup or similar minor repair procedures.

END OF SECTION 07415

COMPOSITE WALL PANELS
07415 - 1

