Copyright 2006 AIA
MASTERSPEC Full Length
05/06

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 07610 - SHEET METAL ROOFING
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Flat-seam metal roofing, custom fabricated.

2. Standing-seam metal roofing, [custom fabricated] [on-site, roll formed].

3. Batten-seam metal roofing, [custom fabricated] [on-site, roll formed].

4. Horizontal-seam (Bermuda-type) metal roofing, custom fabricated.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 7 Section "Building Insulation" for roof insulation and sheet vapor retarders separate from self-adhering underlayments.

2. Division 7 Section "Metal Roof Panels" for factory-formed [metal roof panels] [ and] [metal soffit panels].

3. Division 7 Section "Sheet Metal Flashing and Trim" for [gutters,] [downspouts,] [fasciae,] [copings,] and flashings that are not part of sheet metal roofing.

Retain either last subparagraph above or first subparagraph below for fasciae and copings that are not part of sheet metal roofing.

4. Division 7 Section "Manufactured Roof Specialties" for manufactured [fasciae] [and] [copings] that are not part of sheet metal roofing.

5. Division 7 Section "Roof Accessories" for manufactured roof accessories.

6. Division 7 Section "Joint Sealants" for field-applied sealants adjoining sheet metal roofing.

1.3 PERFORMANCE REQUIREMENTS

A. General Performance:  Sheet metal roofing system including, but not limited to, metal roof panels, cleats, clips, anchors and fasteners, sheet metal flashing integral with sheet metal roofing, fascia panels, trim[, battens], underlayment, and accessories shall comply with requirements indicated without failure due to defective manufacture, fabrication, installation, or other defects in construction.  Sheet metal roofing shall remain watertight.

B. Thermal Movements:  Provide sheet metal roofing that allows for thermal movements from ambient and surface temperature changes.  Base calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values (for aluminum in particular) in subparagraph below are suitable for most of the U.S.

1. Temperature Change (Range):  [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

Retain paragraph below if required for LEED-NC Credit SS 7.2.  First option is minimum for roofs with slopes of 2:12 or less; second option is minimum for roofs with slopes steeper than 2:12.

C. Energy Performance:  Provide metal roofing with solar reflectance index not less than [78] [29] when calculated according to ASTM E 1980 based on testing identical products by a qualified testing agency.

Insert additional performance requirements below; verify system compliance with manufacturers.

1.4 SUBMITTALS

First five paragraphs below are defined in Division 1 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for each manufactured product and accessory.

B. LEED Submittal:

Retain subparagraph below if roof materials are required to comply with requirements for LEED-NC Credit SS 7.2; coordinate with requirements selected in Part 2 for roof finishes.

1. Product Test Reports for Credit SS 7.2:  For roof panels, indicating that panels comply with Solar Reflectance Index requirement.

C. Shop Drawings:  Show fabrication and installation layouts of sheet metal roofing, including plans, elevations, expansion joint locations, and keyed details.  Distinguish between shop- and field-assembled work.  Include the following:

1. Details for forming sheet metal roofing, including seams and dimensions.

2. Details for joining and securing sheet metal roofing, including layout of fasteners, cleats, clips, and other attachments.  Include pattern of seams.

3. Details of termination points and assemblies, including fixed points.

4. Details of expansion joints, including showing direction of expansion and contraction.

5. Details of roof penetrations.

6. Details of edge conditions, including eaves, ridges, valleys, rakes, crickets, and counterflashings.

7. Details of special conditions.

8. Details of connections to adjoining work.

Revise subparagraph below to suit Project.  Delete requirement for large-scale details if manufacturer's product data are adequate.  Sheet metal roofing fabricators do not custom form all types of accessories.

9. Detail the following accessory items, at a scale of not less than [1-1/2 inches per 12 inches (1:10)] [3 inches per 12 inches (1:5)] <Insert scale>:

a. Flashing and trim.

b. Gutters and downspouts as they relate to adjacent sheet metal roofing.

c. Roof curbs.

d. Snow guards.

D. Samples for Initial Selection:  For each type of sheet metal roofing indicated, with factory-applied color finishes.

1. Include similar Samples of trim and accessories involving color selection.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

E. Samples for Verification:  For each type of exposed finish required, prepared on Samples of size indicated below:

Retain first subparagraph below if sheet metal roofing is prefinished or if appearance is of significant visual importance.  If custom color is specified, Sample in first subparagraph may be nearly impossible to obtain.  Generally retain first option for custom sheet metal roofing, second option for roll-formed roofing, and third option for batten-seam roofing.  See discussion of these terms in the Evaluations.

1. Sheet Metal Roofing:  12 inches (300 mm) long by actual width of unit, including finished seam and in required profile.  Include fasteners, [cleats,] [clips,] [battens,] and other attachments.

2. Trim and Metal Closures:  12 inches (300 mm) long and in required profile.  Include fasteners and other exposed accessories.

3. Snow Guards:  Full-size Sample.

4. Other Accessories:  12-inch- (300-mm-) long Samples for each type of other accessory.

Remaining paragraphs are defined in Division 1 Section "Submittal Procedures" as "Informational Submittals."

Retain first paragraph below if Drawings do not include detailed roof plans or if Project involves unusual coordination requirements.

F. Coordination Drawings:  Roof plans drawn to scale with coordinated details for penetrations and roof-mounted items.  Show the following:

Revise subparagraphs below to suit Project.

1. Sheet metal roofing and attachments.

2. Roof-mounted items including roof hatches, equipment supports, pipe supports and penetrations, lighting fixtures, snow guards, and items mounted on roof curbs.

Retain first paragraph below for on-site, roll-formed sheet metal roofing fabricated with UL-certified, portable roll-forming equipment.  Certificates are issued for six-month periods and must be recertified every six months.

G. Portable Roll-Forming Equipment Certificate:  Issued by UL for equipment manufacturer's portable roll-forming equipment capable of producing panels that comply with UL requirements.  Show expiration date no earlier than two months after scheduled completion of sheet metal roofing.

1. Submit certificates indicating recertification of equipment whose certification has expired during the construction period.

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

H. Qualification Data:  For qualified [Installer] [fabricator].

I. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for each product.

J. Maintenance Data:  For roofing sheet metals and accessories to include in maintenance manuals.

K. Warranties:  Sample of special warranties.

1.5 QUALITY ASSURANCE

A. Custom-Fabricated Sheet Metal Roofing Fabricator Qualifications:  Shop that employs skilled workers who custom fabricate sheet metal roofing similar to that required for this Project and whose products have a record of successful in-service performance.

B. Roll-Formed Sheet Metal Roofing Fabricator Qualifications:  Fabricator authorized by portable roll-forming equipment manufacturer to fabricate and install sheet metal roofing units required for this Project, and who maintains current UL certification of its portable roll-forming equipment.

Retain first paragraph below if UL-certified, portable roll-forming equipment is required for on-site, roll-formed sheet metal roofing.

C. UL-Certified, Portable Roll-Forming Equipment:  UL-certified,  portable roll-forming equipment capable of producing roofing panels for sheet metal roofing assemblies that comply with UL 580 for [Class 30] [Class 60] [Class 90] wind-uplift resistance.  Maintain UL certification of portable roll-forming equipment for duration of sheet metal roofing work.

Retain one or both of first two paragraphs below.

D. Sheet Metal Roofing Standard:  Comply with SMACNA's "Architectural Sheet Metal Manual" unless more stringent requirements are specified or shown on Drawings.

E. Copper Roofing Standard:  Comply with CDA's "Copper in Architecture Handbook."  Conform to dimensions and profiles shown unless more stringent requirements are indicated.

F. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for fabrication and installation.

Retain first subparagraph below for large-scale mockup.  Indicate portion of roof represented by mockup on Drawings or draw mockup as separate element.

1. Build mockup of typical roof area and eave[, including fascia,] [and soffit] as shown on Drawings; approximately [48 inches (1200 mm)] [12 feet (3.5 m)] <Insert dimension> square by full thickness, including attachments[, underlayment,] and accessories.

Retain first subparagraph below for limited mockups.

2. Build mockups for typical roof area only, including accessories.

a. Size:  [12 feet (3.5 m) long by 6 feet (1.75 m)] <Insert dimension>.

b. [Each type of exposed seam and seam termination] <Insert mockup item>.

3. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

4. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Consider retaining first paragraph below if roofing installation is large or complicated.  A preliminary roofing conference would precede a preinstallation conference and focus on roof deck construction and planning activities of roofing Installer.

G. Preliminary Roofing Conference:  Before starting roof [deck] [sheathing] construction, conduct conference at Project site.  Comply with requirements for preinstallation conferences in Division 1 Section "Project Management and Coordination."

Insert additional requirements in subparagraph below to suit Project.

1. Review methods and procedures related to roof [deck] [sheathing] construction and sheet metal roofing including, but not limited to, items listed for the Preinstallation Conference.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.  Preinstallation conference is used with or without preliminary roofing conference in paragraph above.  Revise requirements to suit Project.

H. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1. Meet with Owner, Architect, Owner's insurer if applicable, sheet metal roofing Installer[, portable roll-forming equipment manufacturer's representative for sheet metal roofing,] and [metal deck] [sheathing] Installer, and installers whose work interfaces with or affects sheet metal roofing including installers of roof accessories and roof-mounted equipment.

2. Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

3. Review methods and procedures related to sheet metal roofing installation[, including portable roll-forming equipment manufacturer's written instructions].

4. Examine [metal deck] [sheathing] conditions for compliance with requirements, including flatness and attachment to structural members.

5. Review structural loading limitations of [metal deck] [sheathing] during and after roofing installation.

6. Review flashings, special roofing details, roof drainage, roof penetrations, equipment curbs, and condition of other construction that will affect sheet metal roofing.

7. Review governing regulations and requirements for insurance, certificates, and testing and inspecting if applicable.

8. Review temporary protection requirements for sheet metal roofing during and after roofing installation.

9. Review roof observation and repair procedures after sheet metal roofing installation.

10. Document proceedings, including corrective measures and actions required, and furnish copy of record to each participant.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Do not store sheet metal roofing materials in contact with other materials that might cause staining, denting, or other surface damage.  Store sheet metal roofing materials away from uncured concrete and masonry.

B. Protect strippable protective covering on sheet metal roofing from exposure to sunlight and high humidity, except to the extent necessary for the period of sheet metal roofing installation.

1.7 COORDINATION

A. Coordinate installation of roof curbs, equipment supports, and roof penetrations, which are specified in other Sections.

B. Coordinate sheet metal roofing with rain drainage work, flashing, trim, and construction of [metal decks,] [sheathing,] parapets, walls, and other adjoining work to provide a leakproof, secure, and noncorrosive installation.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

If retaining first paragraph below, use or revise sample warranty form at the end of this Section.  Alternatively, insert copy of local roofing contractor association's warranty form or use another form as advised by Owner's counsel.  Revise below to reflect scope of special warranty.

A. Special Warranty:  Warranty form at the end of this Section in which Installer agrees to repair or replace components of sheet metal roofing that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures, including but not limited to rupturing, cracking, or puncturing.

b. Wrinkling or buckling.

c. Loose parts.

d. Failure to remain weathertight, including uncontrolled water leakage.

e. Deterioration of metals, metal finishes, and other materials beyond normal weathering, including non-uniformity of color or finish.

f. Galvanic action between sheet metal roofing and dissimilar materials.

Warranty period in subparagraph below is an example only.  Verify available warranties consistent with local practice and insert number.

2. Warranty Period:  [Two] <Insert number> years from date of Substantial Completion.

Retain paragraph below only for factory-coated sheet metal.  Delete if metal is left uncoated or field finished.  Coordinate with finishes retained in Part 2.

B. Special Warranty on Finishes:  Manufacturer's standard form in which manufacturer agrees to repair finish or replace sheet metal roofing that shows evidence of deterioration of factory-applied finishes within specified warranty period.

Coordinate first subparagraph below with finishes retained in Part 2.

1. Exposed Panel Finish:  Deterioration includes, but is not limited to, the following:

a. Color fading more than 5 Hunter units when tested according to ASTM D 2244.

b. Chalking in excess of a No. 8 rating when tested according to ASTM D 4214.

c. Cracking, checking, peeling, or failure of paint to adhere to bare metal.

Verify available warranties and warranty periods for sheet metal roofing finishes with manufacturers listed in Part 2 articles.  20-year or longer periods are for fluoropolymer finishes and are included with manufacturers' published data; 10-year period is usually available for siliconized polyester.  Longer periods for premium finishes may be available.

2. Finish Warranty Period:  [20] [10] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 ROOFING SHEET METALS

Finishes for roofing sheet metals are specified with materials in this article rather than in a separate "Finishes" Article.

A. General:  Protect mechanical and other finishes on exposed surfaces from damage by applying a strippable, temporary protective film before shipping.

B. Metallic-Coated Steel Sheet:  Restricted flatness steel sheet, metallic coated by the hot-dip process and prepainted by the coil-coating process to comply with ASTM A 755/A 755M.

Retain one or both of first two subparagraphs below.  Coordinate with products specified.

1. Zinc-Coated (Galvanized) Steel Sheet:  ASTM A 653/A 653M, G90 (Z275) coating designation; structural quality.

2. Aluminum-Zinc Alloy-Coated Steel Sheet:  ASTM A 792/A 792M, Class AZ50 coating designation, Grade 40 (Class AZM150 coating designation, Grade 275); structural quality.

3. Thickness:  Nominal [0.022 inch (0.56 mm)] [0.028 inch (0.71 mm)] <Insert thickness> unless otherwise indicated.

Retain first subparagraph below for batten-seam sheet metal roofing.

a. Batten Caps:  Nominal 0.028 inch (0.71 mm) thick.

Second option in first subparagraph below may diminish oil-canning effect.

4. Surface:  [Smooth, flat] [Embossed].

5. Exposed Coil-Coated Finish:

Retain one of first eight subparagraphs below.  Verify availability of finishes for products specified.  If retaining more than one, indicate location of each on Drawings or by inserts.  To obtain a proprietary finish system, insert names of coating manufacturers and products.  See discussion of these finishes in the Evaluations in Division 7 Section "Metal Roof Panels."

Revise or insert additional testing requirements in first six subparagraphs below if performance levels indicated in AAMA 621 are insufficient.

a. Two-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

b. Three-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

c. Four-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat and clear coats.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

d. Mica Fluoropolymer:  AAMA 621.  Two-coat fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

e. Metallic Fluoropolymer:  AAMA 621.  Three-coat fluoropolymer finish with suspended metallic flakes containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

f. FEVE Fluoropolymer:  AAMA 621.  Two-coat fluoropolymer finish containing 100 percent fluorinated ethylene vinyl ether resin in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Finish in first subparagraph below is usually an economy system though newer, more expensive formulations can provide performance approaching that of high-performance organic coatings.

g. Siliconized Polyester:  Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

Finish in first subparagraph below is used for industrial applications where high corrosion resistance is required.

h. Plastisol:  Epoxy primer and vinyl plastisol topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 3.8 mils (0.97 mm) for topcoat.

Most manufacturers offer a variety of colors.  To obtain exact finish, insert names of coating manufacturers and products.  If more than one color is required, insert subparagraphs below for each color and indicate location of each on Drawings.

6. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Finish in subparagraph below is frequently retained as a factory finish for interior surfaces.

7. Concealed Finish:  Pretreat with manufacturer's standard white or light-colored acrylic or polyester-backer finish, consisting of prime coat and wash coat with a minimum total dry film thickness of 0.5 mil (0.013 mm).

C. Aluminum Sheet:  ASTM B 209 (ASTM B 209M), alloy as standard with manufacturer for finish required, with temper as required to suit forming operations and performance required.

1. Thickness:  [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] unless otherwise indicated.

Retain first subparagraph below for batten-seam sheet metal roofing.

a. Batten Caps:  0.050 inch (1.27 mm) thick.

Select finish from options in first subparagraph below if required; options are listed from most basic to better as-milled finish.

2. As-Milled Finish:  [Mill] [One-side bright mill] [Standard one-side bright] [Standard two-side bright] finish.

Retain first subparagraph below if required; delete for coil-coated finishes.  Alclad finish mill-laminates two alloy sheets together and offers better corrosion resistance than mill finish, but is softer and more vulnerable to scratching and creasing during brake forming.

3. Alclad Finish:  Metallurgically bonded surfacing to both sides, forming a composite aluminum sheet with reflective luster.

Second option in first subparagraph below may diminish oil-canning effect.

4. Surface:  [Smooth, flat] [Embossed].

Retain first subparagraph below for field painting aluminum sheet.  Field painting is specified in Division 9 Section "Exterior Painting."

5. Factory Prime Coating:  Where painting after installation is indicated, pretreat with white or light-colored, factory-applied, baked-on epoxy primer coat; minimum dry film thickness of 0.2 mil (0.005 mm).

Retain first subparagraph below for factory-coil-coated finish.

6. Exposed Coil-Coated Finish:

Retain one of first eight subparagraphs below.  Verify availability of finishes for products specified.  If retaining more than one, indicate location of each on Drawings or by inserts.  To obtain a proprietary finish system, insert names of coating manufacturers and products.  See discussion of these finishes in the Evaluations in Division 7 Section "Metal Roof Panels."

Revise or insert additional testing requirements in first six subparagraphs below if performance levels indicated in AAMA 620 are insufficient.

a. Two-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

b. Three-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

c. Four-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat and clear coats.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

d. Mica Fluoropolymer:  AAMA 620.  Two-coat fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

e. Metallic Fluoropolymer:  AAMA 620.  Three-coat fluoropolymer finish with suspended metallic flakes containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

f. FEVE Fluoropolymer:  AAMA 620.  Two-coat fluoropolymer finish containing 100 percent fluorinated ethylene vinyl ether resin in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Finish in first subparagraph below is usually an economy system though newer, more expensive formulations can provide performance approaching that of high-performance organic coatings.

g. Siliconized Polyester:  Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

Finish in first subparagraph below is used for industrial applications where high corrosion resistance is required.

h. Plastisol:  Epoxy primer and vinyl plastisol topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 3.8 mil (0.97 mm) for topcoat.

Retain first subparagraph below for factory-coil-coated finish.

Most manufacturers offer a variety of colors.  To obtain exact finish, insert names of coating manufacturers and products.  If more than one color is required, insert subparagraphs below for each color and indicate location of each on Drawings.

7. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Finish in subparagraph below is frequently retained as a factory finish for interior surfaces of coil-coated sheet.  Usually delete for other finishes.

8. Concealed Finish:  Pretreat with manufacturer's standard white or light-colored acrylic or polyester-backer finish, consisting of prime coat and wash coat with a minimum total dry film thickness of 0.5 mil (0.013 mm).

D. Copper Sheet:  ASTM B 370, cold-rolled copper sheet, H00 temper, [16 oz./sq. ft. (0.55 mm thick)] [20 oz./sq. ft. (0.70 mm thick)] <Insert weight (thickness)> unless otherwise indicated.

Retain first subparagraph below for batten-seam sheet metal roofing.

1. Batten Caps:  20 oz./sq. ft. (0.70 mm thick).

Retain one of three subparagraphs below.  Retain first for natural-color copper finish that will weather and change color naturally over time.  If retaining more than one finish, indicate location of each on Drawings.

2. Non-Patinated Exposed Finish:  Mill

Finish in first subparagraph below will not weather naturally due to the application of clear organic coating.

3. Non-Patinated Exposed, Lacquered Finish:  Finish designations for copper alloys comply with the system defined in NAAMM's "Metal Finishes Manual for Architectural and Metal Products."

Retain one of first two subparagraphs below.

a. Brushed Satin (Lacquered):  M32-06x (Mechanical Finish:  directionally textured, medium satin; with clear organic coating); coating of "Incralac" [waterborne] [solvent-borne] methyl methacrylate copolymer lacquer with UV inhibitor, applied by air spray in two coats per manufacturer's written instructions to a total thickness of 1 mil (0.025 mm).

b. Mirror Polished (Lacquered):  M22-06x (Mechanical Finish:  buffed, specular; with clear organic coating); coating of "Incralac" [waterborne] [solvent-borne] air-drying, methyl methacrylate copolymer lacquer with UV inhibitor, applied by air spray in two coats per manufacturer's written instructions to a total thickness of 1 mil (0.025 mm).

Retain subparagraph below for pre-patinated finishes, which will reduce non-uniform weathering of exposed copper sheet.  Verdigris is the ultimate, light-green color of aged copper.

4. Pre-Patinated Copper-Sheet Finish:  [Dark brown] [Verdigris] <Insert color>, pre-patinated according to ASTM B 882.

E. Zinc-Tin Alloy-Coated Copper Sheet:  ASTM B 370, cold-rolled copper sheet, H00 temper, coated on both sides with a zinc-tin alloy (50 percent zinc, 50 percent tin).

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Revere Copper Products, Inc.; FreedomGray.

b. <Insert manufacturer's name; product name or designation>.

2. Weight (Thickness):  [16-oz./sq. ft. (0.55-mm)] [20-oz./sq. ft. (0.70-mm)] <Insert weight (thickness)> uncoated weight (thickness), with 0.787-mil (0.020-mm) coating thickness applied to each side.

Retain subparagraph below for batten-seam sheet metal roofing.

a. Batten Caps:  20-oz./sq. ft. (0.70-mm) uncoated weight (thickness), with 0.787-mil (0.020-mm) coating thickness applied to each side unless otherwise indicated.

Uncoated stainless steel is not listed as a metal roof-covering type in the 2003 IBC.  Before retaining first paragraph below, verify compliance with authorities having jurisdiction.

F. Stainless-Steel Sheet:  ASTM A 240/A 240M or ASTM A 666, Type 304, dead soft, fully annealed.

1. Thickness:  [0.016 inch (0.40 mm)] [0.019 inch (0.48 mm)] unless otherwise indicated.

Retain first subparagraph below for batten-seam sheet metal roofing.

a. Batten Caps:  0.019 inch (0.48 mm) thick.

Second option in first subparagraph below may diminish oil-canning effect.

2. Surface:  [Smooth, flat] [Embossed].

3. Finish:  [2D (dull, cold rolled)] [2B (bright, cold rolled)] [3 (coarse, polished directional satin)] [4 (polished directional satin)].

a. Remove tool and die marks and stretch lines or blend into finish.

b. Grind and polish surfaces to produce uniform, directionally textured, polished finish indicated, free of cross scratches.  Run grain with long dimension of each piece.

c. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

For first paragraph below, if product is installed on steel deck, the manufacturer advises that the unsupported space between flutes cannot exceed 2 inches (51 mm).

G. Zinc-Tin Alloy-Coated Stainless-Steel Sheet:  ASTM A 240/A 240M, Type 304, dead-soft, fully annealed stainless-steel sheet, coated on both sides with a zinc-tin alloy (50 percent zinc, 50 percent tin), with factory-applied gray preweathering.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Follansbee Steel; TCS II.

b. <Insert manufacturer's name; product name or designation>.

Follansbee Steel recommends not less than 0.015-inch (0.38-mm) thickness for sheet metal roofing and not less than 0.018-inch (0.46-mm) thickness for fasciae.  Third option in first subparagraph below is only available in 36-inch (914-mm) width.

2. Thickness:  [0.015-inch (0.38-mm)] [0.018-inch (0.46-mm)] [0.024-inch (0.61-mm)] minimum uncoated thickness, with 0.787-mil (0.020-mm) coating thickness applied to each side.

Retain subparagraph below for batten-seam sheet metal roofing.

a. Batten Caps:  0.018-inch- (0.46-mm-) minimum uncoated thickness, with 0.787-mil (0.020-mm) coating thickness applied to each side unless otherwise indicated.

For first paragraph below, the manufacturer advises that the product can be installed only on a wood deck that has not been chemically treated and can have only rosin-sized building paper (slip sheet) as an underlayment.  The 2003 IBC, however, requires roofing felts for underlayment.  Verify underlayment requirements at the Project location before retaining this type of roof covering.  Retain option if field-applied finish is retained.

H. Zinc-Tin Alloy-Coated Steel Sheet:  ASTM A 625/A 625M; single-reduced, black-steel sheet, coated on both sides with a zinc-tin alloy (50 percent zinc, 50 percent tin)[, with factory-applied shop coat].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Follansbee Steel; Terne II.

b. <Insert manufacturer's name; product name or designation>.

2. Thickness:  [0.012-inch (0.31-mm)] [0.014-inch (0.36-mm)] uncoated thickness, with 0.787-mil (0.020-mm) coating thickness applied to each side.

Retain first subparagraph below for batten-seam sheet metal roofing.

a. Batten Caps:  0.014-inch (0.36-mm) uncoated thickness, with 0.787-mil (0.020-mm) coating thickness applied to each side unless otherwise indicated.

Retain one of two subparagraphs below.  Manufacturers offer a variety of standard colors and may offer custom colors; verify with manufacturer.  If more than one color is required, insert subparagraphs below for each color and indicate location of each on Drawings.

3. Exposed Coil-Coated Finish:  Manufacturer's standard two-coat fluoropolymer complying with performance requirements in AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Follansbee Steel; KlassicKolors.

2) <Insert manufacturer's name; product name or designation>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Retain subparagraph below for field-applied underside priming and exposed painted finish on zinc-tin alloy-coated steel sheet.  Zinc-tin alloy-coated stainless-steel sheet is typically not painted.

4. Field-Applied Finish:  Manufacturer's standard waterborne acrylic emulsion paint primer and finish coat.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

a. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

1) Follansbee Steel; Rapidri.

2) <Insert manufacturer's name; product name or designation>.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

Zinc is not listed as a metal roof-covering type in the 2003 IBC.  Before retaining first paragraph below, verify compliance with authorities having jurisdiction.  Zinc sheet is available without manufacturer's protective back coating, but installation assembly and materials are more demanding.  Revise if zinc sheet without manufacturer's protective back coating is required.

I. Zinc Sheet:  Zinc, 99 percent pure, alloyed with a maximum of 1 percent copper and titanium; with manufacturer's standard factory-applied, flexible, protective back coating.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

The two manufacturers listed below offer zinc complying with European standard DIN EN 988, which is similar to ASTM B 69, alloy Z41121.

a. Rheinzink America Inc.; RHEINZINK ProRoofing.

b. Umicore Building Products USA Inc.; VM ZINC PLUS.

c. <Insert manufacturer's name; product name or designation>.

2. Thickness:  [0.027 inch (0.70 mm)] [0.032 inch (0.80 mm)] unless otherwise indicated.

Retain first subparagraph below for batten-seam sheet metal roofing.

a. Batten Caps:  0.032 inch (0.80 mm) thick.

"Preweathered black" option in subparagraph below is available only from Umicore; it advises that the finish may eventually lighten and should not be used in salt-spray environments.

3. Finish:  [Bright rolled] [Preweathered gray] [Preweathered black].

Titanium is not listed as a metal roof-covering type in the 2003 IBC.  Before retaining paragraph below, verify compliance with authorities having jurisdiction.

J. Titanium Sheet:  ASTM B 265, Grade 1.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first subparagraph and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Titanium Metals Corporation; Architectural Applications Group.

b. <Insert manufacturer's name>.

2. Thickness:  [0.015 inch (0.38 mm)] [0.020 inch (0.51 mm)] <Insert dimension> unless otherwise indicated.

Retain first subparagraph below for batten-seam sheet metal roofing.

a. Batten Caps:  0.020 inch (0.51 mm) thick.

Second option in first subparagraph below may diminish oil-canning effect; however, titanium's surface hardness resists deep embossing.

3. Surface:  [Smooth, flat] [Embossed].

4. Finish:  [Low] [Medium] matte.

Retain subparagraph below if colored titanium is required.  Verify availability with manufacturers.  See Evaluations.

5. Color Anodic Finish (Light-Interference Phenomenon):  [Silver] [Gold] [Purple] [Blue] [Match Architect's sample] [As selected by Architect from manufacturer's full range of colors and color densities] <Insert color>.

2.2 UNDERLAYMENT MATERIALS

Retain applicable paragraphs in this article for sheet metal roofing applied directly over metal deck or solid sheathing.  SMACNA recommends No. 30 felt or self-adhering sheet underlayment.  Rosin-sized building paper should be used as a slip sheet over other types of underlayment materials.  Zinc-tin alloy-coated stainless steel can be applied over any of these underlayment materials.  According to the manufacturer, zinc-tin alloy-coated steel can be installed over rosin-sized building paper as the only underlayment.

A. Polyethylene Sheet:  6-mil- (0.15-mm-) thick polyethylene sheet complying with ASTM D 4397.

Retain first option in first paragraph below unless otherwise recommended by sheet metal roofing manufacturer.

B. Felts:  ASTM D 226, [Type II (No. 30)] [Type I (No. 15)], asphalt-saturated organic felts.

Self-adhering underlayment in first paragraph below is suitable for higher temperatures associated with metal roofing.  This underlayment is used to resist leaks from roof areas where ice dams may form.  Revise if high-temperature underlayment is not required.  Slopes are typically limited to not less than 2:12 according to manufacturers' published literature.  Verify acceptability of use on shallower slopes with underlayment manufacturer.

C. Self-Adhering, High-Temperature Sheet:  Minimum 30 to 40 mils (0.76 to 1.0 mm) thick, consisting of slip-resisting polyethylene-film top surface laminated to layer of butyl or SBS-modified asphalt adhesive, with release-paper backing; cold applied.  Provide primer when recommended by underlayment manufacturer.

1. Thermal Stability:  ASTM D 1970; stable after testing at 240 deg F (116 deg C).

2. Low-Temperature Flexibility:  ASTM D 1970; passes after testing at minus 20 deg F (29 deg C).

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

3. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Carlisle Coatings & Waterproofing Inc.; CCW WIP 300HT.

b. Grace Construction Products, a unit of W. R. Grace & Co.; Ultra.

c. Henry Company; Blueskin PE200 HT.

d. Metal-Fab Manufacturing, LLC; MetShield.

e. Owens Corning; WeatherLock Metal High-Temperature Underlayment.

f. <Insert manufacturer's name; product name or designation>.

Retain paragraph below for separating sheet metal roofing from underlayment.  Generally, 5-lb/100 sq. ft. (0.24-kg/sq. m) rosin-sized paper is not available.  See Evaluations.

D. Slip Sheet:  Building paper, 3-lb/100 sq. ft. (0.16-kg/sq. m) minimum, rosin sized.

2.3 MISCELLANEOUS MATERIALS

A. General:  Provide materials and types of fasteners, solder, welding rods, protective coatings, separators, sealants, and other miscellaneous items as required for a complete roofing system and as recommended by fabricator for sheet metal roofing.

Retain first paragraph below for batten-seam or horizontal-seam (Bermuda-type) sheet metal roofing with wood battens unless battens are specified in Division 6 Section "Rough Carpentry."

B. Wood Battens:  Lumber complying with requirements in Division 6 Section "[Rough Carpentry] [Miscellaneous Carpentry]" and treated with exterior-type fire retardant.

Retain first paragraph below for on-site, roll-formed, standing-seam sheet metal roofing with snap-on seams.

C. Snap-On Seams:  Provide snap-on seams integrated with panel-edge profile as recommended by portable roll-forming equipment manufacturer to produce sheet metal roofing assemblies that comply with UL 580 for wind-uplift resistance classification specified in "Quality Assurance" Article.

Retain first paragraph below for on-site, roll-formed, batten-seam sheet metal roofing with snap-on batten caps.

D. Snap-on Batten Caps:  Provide batten clips integrated with snap-on caps as recommended by portable roll-forming equipment manufacturer to produce sheet metal roofing assemblies that comply with UL 580 for wind-uplift resistance classification specified in "Quality Assurance" Article.

E. Fasteners:  Wood screws, annular-threaded nails, self-tapping screws, self-locking rivets and bolts, and other suitable fasteners designed to withstand design loads.

Retain applicable materials in eight subparagraphs below.

1. General:

a. Exposed Fasteners:  Heads matching color of sheet metal roofing using plastic caps or factory-applied coating.

b. Fasteners for Flashing and Trim:  Blind fasteners or self-drilling screws, gasketed, with hex-washer head.

c. Blind Fasteners:  High-strength aluminum or stainless-steel rivets suitable for metal being fastened.

2. Fasteners for [Zinc-Coated] [Aluminum-Zinc Alloy-Coated] Steel Sheet:  Hot-dip galvanized steel according to ASTM A 153/A 153M, ASTM F 2329, or Series 300 stainless steel.

3. Fasteners for Aluminum Sheet:  Aluminum or Series 300 stainless steel.

4. Fasteners for [Copper] [Zinc-Tin Alloy-Coated Copper] Sheet:  Copper, hardware bronze, or Series 300 stainless steel.

5. Fasteners for Stainless-Steel Sheet:  Series 300 stainless steel.

6. Fasteners for Zinc-Tin Alloy-Coated [Steel] [Stainless-Steel] Sheet:  Series 300 stainless steel.

7. Fasteners for Zinc Sheet:  Hot-dip galvanized steel according to ASTM A 153/A 153M, ASTM F 2329, or Series 300 stainless steel.

8. Fasteners for Titanium Sheet:  Titanium or Series 300 stainless steel.

F. Solder:

Retain applicable materials in five subparagraphs below.  Soldering requires removal of painted, coated, or lacquered finishes.

Although the EPA appears not to have regulations restricting lead used for sheet roofing, state and local restrictions and public-opinion concerns may exist.  OSHA has restrictions that apply to workers using lead.  Revise solder compositions below if required.  See discussion of lead in the "Roofing Sheet Metals" Article in the Evaluations.

1. For Zinc-Coated (Galvanized) Steel:  ASTM B 32, Grade Sn50, 50 percent tin and 50 percent lead or Grade Sn60, 60 percent tin and 40 percent lead.

2. For Copper:  ASTM B 32, Grade Sn50, 50 percent tin and 50 percent lead.

3. For Stainless Steel:  ASTM B 32, Grade Sn60, with an acid flux of type recommended by stainless-steel sheet manufacturer.

4. For Zinc-Tin Alloy-Coated [Steel] [Stainless Steel] [Copper]:  ASTM B 32, 100 percent tin.

5. For Zinc:  ASTM B 32, 40 percent tin and 60 percent lead with low antimony, as recommended by manufacturer.

G. Sealant Tape:  Pressure-sensitive, 100 percent solids, gray polyisobutylene compound sealant tape with release-paper backing.  Provide permanently elastic, nonsag, nontoxic, nonstaining tape 1/2 inch (13 mm) wide and 1/8 inch (3 mm) thick.

Revise first paragraph below if sealant of specific type, grade, class, and use is required.  Retain fourth option and delete first three options if portable roll-forming equipment is used.

H. Elastomeric Sealant:  ASTM C 920, elastomeric [polyurethane] [polysulfide] [silicone] polymer sealant [as recommended by portable roll-forming equipment manufacturer for installation indicated]; low modulus; of type, grade, class, and use classifications required to seal joints in sheet metal roofing and remain watertight.

Retain first paragraph below for expansion joints with limited movement.

I. Butyl Sealant:  ASTM C 1311, single-component, solvent-release butyl rubber sealant; polyisobutylene plasticized; heavy bodied for hooked-type expansion joints with limited movement.

J. Bituminous Coating:  Cold-applied asphalt emulsion complying with ASTM D 1187.

2.4 ACCESSORIES

Retain required accessories in this article.  Coordinate accessories retained with those specified in Division 7 Section "Sheet Metal Flashing and Trim."

Revise first paragraph below with specific requirements if necessary.

A. Sheet Metal Accessories:  Provide components required for a complete sheet metal roofing assembly including trim, copings, fasciae, corner units, clips, flashings, sealants, gaskets, fillers, metal closures, closure strips, and similar items.  Match material and finish of sheet metal roofing unless otherwise indicated.

Retain first subparagraph below for on-site, roll-formed roofing.

1. Provide accessories as recommended by portable roll-forming equipment manufacturer to produce sheet metal roofing assemblies that comply with UL 580 for wind-uplift resistance classification specified in "Quality Assurance" Article.

Retain first subparagraph below for custom-fabricated sheet metal roofing.

2. Cleats:  For mechanically seaming into joints and formed from the following materials:

Retain applicable materials in five subparagraphs below.  Revere recommends that cleats for copper roofing be the same weight as the roofing metal.

a. [Metallic-Coated Steel] [Aluminum] Roofing:  [0.0250-inch- (0.64-mm-)] <Insert thickness> thick stainless steel.

b. [Copper] [Zinc-Tin Alloy-Coated Copper] Roofing:  [16-oz./sq. ft. (0.55-mm)] <Insert weight (thickness)> copper sheet.

c. [Stainless-Steel] [Titanium] Roofing:  [0.0250-inch- (0.64-mm-)] <Insert thickness> thick stainless steel.

d. [Zinc-Tin Alloy-Coated Stainless-Steel] [Zinc-Tin Alloy-Coated Steel] Roofing:  Manufacturer's preformed cleats or cleats fabricated from manufacturer's thickest flat-stock sheet.

e. Zinc Roofing:  Manufacturer's preformed stainless-steel cleats.

Retain first subparagraph below for standing-seam or batten-seam, roll-formed sheet metal roofing.

3. Clips:  Minimum 0.0625-inch- (1.6-mm-) thick, stainless-steel panel clips designed to withstand negative-load requirements.

4. Backing Plates:  Plates at roofing splices, fabricated from material recommended by SMACNA.

5. Closure Strips:  Closed-cell, expanded, cellular, rubber or crosslinked, polyolefin foam or closed-cell laminated polyethylene; minimum 1-inch- (25-mm-) thick, flexible-closure strips; cut or premolded to match sheet metal roofing profile.  Provide closure strips where indicated or necessary to ensure weathertight construction.

If needed, insert special requirements for ridge closures, corner units, copings, fasciae, and fillers.

6. Flashing and Trim:  Formed from same material and with same finish as sheet metal roofing, minimum [0.018 inch (0.46 mm)] <Insert thickness> thick.

Pipe flashing in first paragraph below is not designed for high-temperature applications.

B. Pipe Flashing:  Premolded, EPDM pipe collar with flexible aluminum ring bonded to base.

Consider retaining paragraph below for custom curbs matching the roofing.  If manufactured roof curbs in Division 7 Section "Roof Accessories" are also required, indicate location of each type on Drawings.

C. Roof Curbs:  Fabricated from same material and finish as sheet metal roofing, minimum thickness [matching the sheet metal roofing] <Insert thickness>; with bottom of skirt profiled to match roof panel profiles; with weatherproof top box and integral full-length cricket.  Fabricate curb subframing of nominal [0.062-inch- (1.59-mm-)] <Insert thickness> thick, angle-, C-, or Z-shaped galvanized steel or stainless-steel sheet.  Fabricate curb and subframing to withstand indicated loads of size and height indicated.  Coordinate dimensions with rough-in information or Shop Drawings of equipment to be supported.

Retain first subparagraph below if required.  Insert type of rigid insulation if required for specific thermal properties.

1. Insulate curbs with [1-inch- (25-mm-)] <Insert thickness> thick, rigid insulation.

Retain subparagraph below if required.  Insert other features if required.

2. Install wood nailers at tops of curbs.

2.5 SNOW GUARDS

Snow guards are not provided by sheet metal roofing fabricators.

A. Snow Guards, General:  Prefabricated, noncorrosive units designed to be installed without penetrating sheet metal roofing; complete with predrilled holes, clamps, or hooks for anchoring.

Retain one of five paragraphs below or insert another type of snow guard.  Coordinate with sheet metal roofing type and profile.  Because each snow-guard product is unique, insert manufacturer's proprietary requirements.

B. Surface-Mounted, Plastic, Stop-Type Snow Guards:  [Clear] [Integral-color] polycarbonate stops designed for attachment to panel surface of sheet metal roofing using construction adhesive, silicone or polyurethane sealant, or adhesive tape.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Berger Bros. Co.; <Insert product name or designation>.

b. Chemlink, Inc.; <Insert product name or designation>.

c. Polar Blox; <Insert product name or designation>.

d. SNOBLOX; <Insert product name or designation>.

e. Sno-Gem, Inc.; <Insert product name or designation>.

f. Snojax Inc.; <Insert product name or designation>.

g. <Insert manufacturer's name; product name or designation>.

C. Surface-Mounted, Metal, Stop-Type Snow Guards:  Cast-aluminum stops designed for attachment to panel surface of sheet metal roofing using construction adhesive, silicone or polyurethane sealant, or adhesive tape.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Berger Bros. Co.; <Insert product name or designation>.

b. Mullane, M. J. Company, Inc.; <Insert product name or designation>.

c. Precision Molding Co., Inc.; <Insert product name or designation>.

d. Sno-Gem, Inc.; <Insert product name or designation>.

e. Zaleski Snow-Guards & Roofing Specialties; <Insert product name or designation>.

f. <Insert manufacturer's name; product name or designation>.

Retain first paragraph below for copper roofing.

D. Surface-Mounted, Copper, Stop-Type Snow Guards:  Bronze-alloy stops designed for attachment to panel surface of copper roofing using solder.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Berger Bros. Co.; <Insert product name or designation>.

b. Mullane, M. J. Company, Inc.; <Insert product name or designation>.

c. Roofers Edge; <Insert product name or designation>.

d. Sno-Gem, Inc.; <Insert product name or designation>.

e. Zaleski Snow-Guards & Roofing Specialties; <Insert product name or designation>.

f. <Insert manufacturer's name; product name or designation>.

E. Seam-Mounted, Stop-Type Snow Guards:  [Cast-aluminum] [Malleable-iron] [Clear polycarbonate] [Colored polycarbonate] stops designed for attachment to vertical ribs of standing-seam sheet metal roofing with stainless-steel set screws.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Alpine SnowGuards, a division of Vermont Slate & Copper Services, Inc.; <Insert product name or designation>.

b. Berger Bros. Co.; <Insert product name or designation>.

c. Polar Blox; <Insert product name or designation>.

d. <Insert manufacturer's name; product name or designation>.

F. Seam-Mounted, Bar-Type Snow Guards:  Rail- or fence-type assembly consisting of [aluminum] [or] [stainless-steel] rods, bars, or pipe held in place by stainless-steel clamps attached to vertical ribs of standing-seam sheet metal roofing.

1. Aluminum Finish:  [Mill] [Clear anodized] <Insert finish>.

2. Stainless-Steel Finish:  [Mill] [Enamel] <Insert finish>.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

3. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Alpine SnowGuards; a division of Vermont Slate & Copper Services, Inc.; <Insert product name or designation>.

b. LMCurbs; <Insert product name or designation>.

c. Metal Roof Innovations, Ltd.; <Insert product name or designation>.

d. Riddell & Company, Inc.; <Insert product name or designation>.

e. Snow Management Systems; a division of Contek, Inc.; <Insert product name or designation>.

f. TRA Mage Inc.; <Insert product name or designation>.

g. <Insert manufacturer's name; product name or designation>.

2.6 FABRICATION

Retain one of first two paragraphs below.  First is for custom-fabricated sheet metal roofing; second is for on-site, roll-formed sheet metal roofing.

A. General:  Custom fabricate sheet metal roofing to comply with details shown and recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to the design, dimensions (panel width and seam height), geometry, metal thickness, and other characteristics of installation indicated.  Fabricate sheet metal roofing and accessories at the shop to greatest extent possible.

1. Flat-Seam Roofing:  Form flat-seam panels from metal sheets 20 by 28 inches (510 by 710 mm) with 1/2-inch (13-mm) notched and folded edges.

2. Standing-Seam Roofing:  Form standing-seam panels with finished seam height [of 1 inch (25 mm)] [of 1-1/2 inches (38 mm)] [as indicated] <Insert dimension>.

3. Batten-Seam Roofing:  Form batten-seam panels with sides turned up [2-1/8 inches (54 mm)] [as indicated] <Insert dimension> with 1/2-inch (13-mm) flange turned toward center of pan.

4. Horizontal-Seam (Bermuda-Type) Roofing:  Form horizontal-seam (Bermuda-type) panels with upper edges turned up and extending above batten 1/2 inch (13 mm).

B. General:  Fabricate roll-formed sheet metal roofing panels with UL-certified, portable roll-forming equipment capable of producing roofing panels for sheet metal roofing assemblies that comply with UL 580 for wind-uplift resistance classification specified in "Quality Assurance" Article.  Fabricate roll-formed sheet metal according to equipment manufacturer's written instructions and to comply with details shown.

Consider retaining one of first two paragraphs below to control fabrication tolerances.  Retain first paragraph for sophisticated or highly finished sheet metal roofing assemblies.  Second paragraph has more lenient tolerances suitable for residential roofing.

C. Fabrication Tolerances:  Fabricate sheet metal roofing that is capable of installation to a tolerance of 1/4 inch in 20 feet (6 mm in 6 m) on slope and location lines as indicated and within 1/8-inch (3-mm) offset of adjoining faces and of alignment of matching profiles.

D. Fabrication Tolerances:  Fabricate sheet metal roofing that is capable of installation to tolerances specified in MCA's "Guide Specification for Residential Metal Roofing."

E. Form exposed sheet metal work to fit substrates without excessive oil canning, buckling, and tool marks; true to line and levels indicated; and with exposed edges folded back to form hems.

1. Lay out sheet metal roofing so transverse seams, if required, are made in direction of flow with higher panels overlapping lower panels.

Retain first subparagraph below to prevent complicated seam intersections.  12 inches (300 mm) is the minimum recommended in "The NRCA Roofing and Waterproofing Manual."

2. Offset transverse seams from each other [12 inches (300 mm)] <Insert dimension> minimum.

3. Fold and cleat eaves and transverse seams in the shop.

4. Form and fabricate sheets, seams, strips, cleats, valleys, ridges, edge treatments, integral flashings, and other components of metal roofing to profiles, patterns, and drainage arrangements shown on Drawings and as required for leakproof construction.

F. Expansion Provisions:  Fabricate sheet metal roofing to allow for expansion in running work sufficient to prevent leakage, damage, and deterioration of the Work.  Where lapped expansion provisions cannot be used, form expansion joints of intermeshing hooked flanges, not less than 1 inch (25 mm) deep, filled with butyl sealant concealed within joints.

G. Sealant Joints:  Where movable, nonexpansion-type joints are indicated or required to produce weathertight seams, form metal to provide for proper installation of elastomeric sealant in compliance with SMACNA standards.

H. Metal Protection:  Where dissimilar metals will contact each other, protect against galvanic action by painting contact surfaces with bituminous coating, by applying self-adhering sheet underlayment to each contact surface, or by other permanent separation as recommended by fabricator of sheet metal roofing or manufacturers of the metals in contact.

Insert specific list of metals to be separated and protected as required for the Work shown on Drawings.

I. Sheet Metal Accessories:  Custom fabricate flashings and trim to comply with recommendations in SMACNA's "Architectural Sheet Metal Manual" that apply to design, dimensions, metal, and other characteristics of item indicated.  Obtain field measurements for accurate fit before shop fabrication.

1. Form exposed sheet metal accessories without excessive oil canning, buckling, and tool marks and true to line and levels indicated, with exposed edges folded back to form hems.

Retain applicable subparagraphs below and revise to suit Project.

Retain one of first two subparagraphs below.  Retain first subparagraph for metals being soldered.  Soldering requires removal of painted, coated, or lacquered finishes.  Retain second subparagraph for aluminum, titanium, and metals with painted, coated, or lacquered finishes.  If required, retain rivet option for aluminum and zinc sheets.

2. Seams:  Fabricate nonmoving seams with flat-lock seams.  Tin edges to be seamed, form seams, and solder.

3. Seams:  Fabricate nonmoving seams with flat-lock seams.  Form seams and seal with elastomeric sealant unless otherwise recommended by sealant manufacturer for intended use.[  Rivet joints where necessary for strength.]

4. Sealed Joints:  Form nonexpansion but movable joints in metal to accommodate elastomeric sealant.

5. Conceal fasteners and expansion provisions where possible.  Exposed fasteners are not allowed on faces of accessories exposed to view.

6. Fabricate cleats and attachment devices of sizes as recommended by SMACNA's "Architectural Sheet Metal Manual" for application, but not less than thickness of metal being secured.

Retain paragraph below if required to prevent galvanic corrosion between graphite and aluminum or aluminum-zinc alloy-coated steel.  See "Metal Considerations" Article in the Evaluations.

J. Do not use graphite pencils to mark metal surfaces.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances, substrate, and other conditions affecting performance of the Work.

1. Examine solid roof sheathing to verify that sheathing joints are supported by framing or blocking, that tops of fasteners are flush with surface, and that installation is within flatness tolerances required for finished roofing installation.

2. Verify that substrate is sound, dry, smooth, clean, sloped for drainage, and completely anchored, and that provision has been made for drainage, flashings, and penetrations through sheet metal roofing.

Retain first paragraph below if required.

B. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of the Work.

C. Examine roughing-in for components and systems penetrating sheet metal roofing to verify actual locations of penetrations relative to seam locations of sheet metal roofing before installation.

D. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Lay out and [nail battens to wood sheathing] [screw battens to wood sheathing] [screw battens to metal deck] before installation of sheet metal roofing.

Retain first subparagraph below for custom sheet metal roofing.  Retain second subparagraph if UL-classified, wind-uplift resistance for on-site, roll-formed sheet metal roofing is required.

1. Space fasteners not more than [18 inches (457 mm)] <Insert dimension> o.c.

2. Space fasteners as required by portable roll-forming equipment manufacturer for specified UL classification for wind-uplift resistance.

Retain paragraph below for zinc-tin alloy-coated steel roofing with field-applied finish, installed at a slope less than 3:12.

B. Zinc-Tin Alloy-Coated Steel Roofing:  For roofing with 3:12 slopes or less, paint underside of shop-coated, zinc-tin alloy-coated steel, before installation, with zinc-tin alloy-coated steel primer, applied at a dry film thickness of not less than 2.5 mils (0.06 mm).  Comply with manufacturer's written instructions.  This is in addition to the shop coating.

3.3 UNDERLAYMENT INSTALLATION

Retain this article for sheet metal roofing applied over solid roof sheathing.  Retain paragraphs below to suit Project.

A. Polyethylene Sheet:  Install polyethylene sheet on roof sheathing under sheet metal roofing.  Use adhesive for anchorage to minimize use of mechanical fasteners under sheet metal roofing.  Apply at locations indicated on Drawings, in shingle fashion to shed water, with lapped and taped joints of not less than 2 inches (50 mm).

B. Felt Underlayment:  Install felt underlayment on roof sheathing under sheet metal roofing.  Use adhesive for temporary anchorage to minimize use of mechanical fasteners under sheet metal roofing.  Apply at locations indicated, in shingle fashion to shed water, with lapped joints of not less than 2 inches (50 mm).

Retain one of two subparagraphs below or delete if extent is indicated on Drawings.

1. Apply from eave to ridge.

2. Apply on roof not covered by self-adhering sheet underlayment.  Lap edges of self-adhering sheet underlayment not less than 3 inches (75 mm), in shingle fashion to shed water.

C. Self-Adhering Sheet Underlayment:  Install self-adhering sheet underlayment, wrinkle free, on roof sheathing under sheet metal roofing.  Apply primer if required by underlayment manufacturer.  Comply with temperature restrictions of underlayment manufacturer for installation; use primer rather than nails for installing underlayment at low temperatures.  Apply [over entire roof] [at locations indicated], in shingle fashion to shed water, with end laps of not less than 6 inches (150 mm) staggered 24 inches (600 mm) between courses.  Overlap side edges not less than 3-1/2 inches (90 mm).  Roll laps with roller.  Cover underlayment within 14 days.

Revise subparagraphs below to suit Project or delete if indicated on Drawings.  If inserting dimensions, note that many self-adhering sheet underlayments are manufactured in 36-inch- (914-mm-) wide rolls.

1. Roof perimeter for a distance up from eaves of [24 inches (600 mm)] [36 inches (900 mm)] <Insert dimension> beyond interior wall line.

2. Valleys, from lowest to highest point, for a distance on each side of [18 inches (460 mm)] <Insert dimension>.  Overlap ends of sheets not less than 6 inches (150 mm).

3. Rake edges for a distance of [18 inches (460 mm)] <Insert dimension>.

4. Hips and ridges for a distance on each side of [12 inches (300 mm)] <Insert dimension>.

5. Roof to wall intersections for a distance from wall of [18 inches (460 mm)] <Insert dimension>.

6. Around dormers, chimneys, skylights, and other penetrating elements for a distance from element of [18 inches (460 mm)] <Insert dimension>.

D. Install flashings to cover underlayment to comply with requirements in Division 7 Section "Sheet Metal Flashing and Trim."

E. Apply slip sheet before installing sheet metal roofing.

3.4 INSTALLATION, GENERAL

A. General:  Anchor sheet metal roofing and other components of the Work securely in place, with provisions for thermal and structural movement.  Install fasteners, solder, welding rods, protective coatings, separators, sealants, and other miscellaneous items as required for a complete roofing system and as recommended by fabricator for sheet metal roofing.

1. Field cutting of sheet metal roofing by torch is not permitted.

2. Provide metal closures at [peaks] [rake edges] [rake walls] [eaves] [and] each side of ridge[ and hip] caps.

3. Flash and seal sheet metal roofing with closure strips at eaves, rakes, and perimeter of all openings.  Fasten with self-tapping screws.

4. Locate and space fastenings in uniform vertical and horizontal alignment.  Predrill panels for fasteners.

5. Install ridge[ and hip] caps as sheet metal roofing work proceeds.

6. Locate roofing splices over, but not attached to, structural supports.  Stagger roofing splices and end laps to avoid a four-panel lap splice condition.  Install backing plates at roofing splices.

7. Install sealant tape where indicated.

8. Lap metal flashing over sheet metal roofing to allow moisture to run over and off the material.

Retain subparagraph below if required to prevent galvanic corrosion between graphite and aluminum or aluminum-zinc alloy-coated steel.  See "Metal Considerations" Article in the Evaluations.

9. Do not use graphite pencils to mark metal surfaces.

Retain first paragraph below to allow thermal movement for panels in a predetermined direction.  Delete for fixed panels.

B. Thermal Movement.  Rigidly fasten metal roof panels to structure at only one location for each panel.  Allow remainder of panel to move freely for thermal expansion and contraction.

1. Point of Fixity:  Fasten each panel along a single line of fixing located at [eave] [ridge] [center of panel length] [locations indicated on Drawings] <Insert location>.

2. Avoid attaching accessories through roof panels in a manner that will inhibit thermal movement.

C. Fasteners:  Use fasteners of sizes that will penetrate [wood sheathing not less than 1-1/4 inches (32 mm) for nails and not less than 3/4 inch (19 mm) for wood screws] [metal decking not less than recommended by fastener manufacturer to achieve maximum pull-out resistance] <Insert size requirement>.

D. Metal Protection:  Where dissimilar metals will contact each other or corrosive substrates, protect against galvanic action by painting contact surfaces with bituminous coating, by applying self-adhering sheet underlayment to each contact surface, or by other permanent separation as recommended by SMACNA.

1. Coat back side of [uncoated aluminum] [and] [stainless-steel] sheet metal roofing with bituminous coating where roofing will contact wood, ferrous metal, or cementitious construction.

E. Conceal fasteners and expansion provisions where possible in exposed work and locate to minimize possibility of leakage.  Cover and seal fasteners and anchors as required for a tight installation.

F. Fasciae:  Align bottom of sheet metal roofing and fasten with blind rivets, bolts, or self-tapping screws.  Flash and seal sheet metal roofing with closure strips where fasciae meet soffits, along lower panel edges, and at perimeter of all openings.

3.5 CUSTOM-FABRICATED SHEET METAL ROOFING INSTALLATION

A. Fabricate and install work with lines and corners of exposed units true and accurate.  Form exposed faces flat and free of buckles, excessive waves, and avoidable tool marks, considering temper and reflectivity of metal.  Provide uniform, neat seams with minimum exposure of solder, welds, and sealant.  Fold back sheet metal to form a hem on concealed side of exposed edges unless otherwise indicated.

1. Install cleats to hold sheet metal panels in position.  Attach each cleat with two fasteners to prevent rotation.

2. Fasten cleats not more than 12 inches (300 mm) o.c.  Bend tabs over fastener head.

3. Provide expansion-type cleats and clips for roof panels that exceed 30 feet (9.1 m) in length.

B. Seal joints as shown and as required for watertight construction.  For roofing with 3:12 slopes or less, use cleats at transverse seams.

1. Where sealant-filled joints are used, embed hooked flanges of joint members not less than 1 inch (25 mm) into sealant.  Form joints to completely conceal sealant.  When ambient temperature at time of installation is moderate, between 40 and 70 deg F (4 and 21 deg C), set joint members for 50 percent movement each way.  Adjust setting proportionately for installation at higher ambient temperatures.  Do not install sealant-type joints at temperatures below 40 deg F (4 deg C).

2. Prepare joints and apply sealants to comply with requirements in Division 7 Section "Joint Sealants."

C. Soldered Joints:  Clean surfaces to be soldered, removing oils and foreign matter.  Pre-tin edges of sheets to be soldered to a width of 1-1/2 inches (38 mm), except reduce pre-tinning where pre-tinned surface would show in completed Work.

Retain metals in first two subparagraphs below that are specified in Part 2 and revise to suit Project.  Soldering requires removal of painted, coated, or lacquered finishes.  Although unusual, zinc-coated (galvanized) steel, a type of metallic-coated steel, may be soldered.

1. Do not solder [metallic-coated steel] [aluminum] [and] [titanium] sheet.

2. Do not pre-tin [zinc-tin alloy-coated stainless steel] [and] [zinc-tin alloy-coated copper].

3. Do not use torches for soldering.  Heat surfaces to receive solder and flow solder into joint.  Fill joint completely.  Completely remove flux and spatter from exposed surfaces.

4. Stainless-Steel Roofing:  Tin edges of uncoated sheets, using solder for stainless steel and acid flux.  Promptly remove acid flux residue from metal after tinning and soldering.  Comply with solder manufacturer's recommended methods for cleaning and neutralization.

5. Copper Roofing:  Tin edges of uncoated copper sheets, using solder for copper.

Retain first paragraph below if required for aluminum or zinc sheet.

D. Rivets:  Rivet joints in [uncoated aluminum] [zinc] where indicated and where necessary for strength.

Retain one or more of first four paragraphs below to describe the seaming method(s) required.

E. Flat-Seam Roofing:  Attach flat-seam metal panels to substrate with cleats, starting at eave and working upward toward ridge.  After panels are in place, mallet seams and solder.

1. Attach roofing panels with cleats spaced not more than 24 inches (610 mm) o.c. <Insert cleat spacing>.  Lock and solder panels to base flashing.

2. Attach edge flashing to face of roof edge with continuous cleat fastened to roof substrate at [12 inches (305 mm)] <Insert cleat spacing> o.c.  Lock panels to edge flashing and [solder] [apply sealant].

F. Standing-Seam Roofing:  Attach standing-seam metal panels to substrate with cleats, double fastened at [12 inches (305 mm)] <Insert cleat spacing> o.c.  Install panels reaching from eave to ridge before moving to adjacent panels.  Before panels are interlocked, apply continuous bead of sealant to top of flange of lower panel.  Lock standing seams by folding over twice so cleat and panel edges are completely engaged.

1. Lock each panel to panel below with [soldered] [sealed] transverse seam.

Retain one of first two subparagraphs below.  Retain first subparagraph for all areas except those subject to ice dams.  Retain second subparagraph for eaves subject to ice dams if designing according to Figure 6-16 in SMACNA's "Architectural Sheet Metal Manual."  Include detail on Drawings.

2. Loose-lock panels at eave edges to continuous cleats and flanges at roof edge at gutters.

3. Loose-lock panels at eave edges to continuous edge flashing exposed 24 inches (610 mm) from roof edge.  Attach edge flashing to face of roof edge with continuous cleat fastened to roof substrate at [12 inches (305 mm)] <Insert cleat spacing> o.c.  Lock panels to edge flashing.

4. [Leave seams upright] [Fold over seams] after locking at ridges and hips.

G. Batten-Seam Roofing:  Attach batten-seam metal panels to substrate with cleats, starting at eave and working upward toward ridge.  Hold cleats in place with battens and fold edges of cleats over to hold panels.  After panels are in place and before batten cap is installed, apply continuous bead of sealant to top of flanges of each panel.  Install batten cap covering batten and panel edges and fold batten cap and panel together so batten cap and panel edges are completely engaged.

1. Hook each panel to panel below with [soldered] [sealed] transverse seam.

Retain first subparagraph below unless battens are tapered inward toward roof substrate to provide expansion capability.

2. Splay upturned edges of panels away from base of battens to provide expansion capability.

3. Close batten ends with metal closures.  Fold together with panel edges and end of batten cap.

Retain one of two subparagraphs below.  Retain first subparagraph for all areas except those subject to ice dams.  Retain second subparagraph for eaves subject to ice dams if designing according to Figure 6-16 in SMACNA's "Architectural Sheet Metal Manual."  Include detail in Drawings.

4. Loose-lock panels at eave edges to continuous cleats and flanges at roof edge at gutters.

5. Loose-lock panels at eave edges to continuous edge flashing exposed 24 inches (610 mm) from roof edge.  Attach edge flashing to face of roof edge with continuous cleat fastened to roof substrate at [12 inches (305 mm)] <Insert cleat spacing> o.c.  Lock panels to edge flashing.

H. Horizontal-Seam (Bermuda-Type) Roofing:  Attach horizontal-seam metal panels to substrate with cleats, starting at eave and working upward toward ridge.  Attach cleats to battens, spaced at [8 inches (203 mm)] <Insert cleat spacing> o.c.  Lock lower edge of each panel to upper edge of panel below, folding seam over to engage cleat and panel edges.  After first fold, mallet seams against batten, leaving joint slightly angled to form drip.

1. Hook end of each panel to adjacent panel with [soldered] [sealed] cross seam.

2. Hook panel at eave edge to continuous cleat.

3. Join ridges and hips with a standing seam and [leave seams upright] [fold over seams] after locking.

Retain paragraph below for field painting zinc-tin alloy-coated steel roofing.

I. Field Painting:  Paint exposed surfaces of zinc-tin alloy-coated steel with one coat of zinc-tin alloy-coated steel primer and one coat of zinc-tin alloy-coated steel finish coat as soon as possible after installation; apply each coat at a dry film thickness of not less than 2.5 mils (0.06 mm).  Comply with manufacturer's written instructions.

3.6 ON-SITE, ROLL-FORMED SHEET METAL ROOFING INSTALLATION

Retain this article for sheet metal roofing fabricated from UL-certified equipment.

A. General:  Install on-site, roll-formed sheet metal roofing fabricated from UL-certified equipment to comply with equipment manufacturer's written instructions for UL wind-uplift resistance class indicated.  Provide sheet metal roofing of full length from eave to ridge unless otherwise restricted by on-site or shipping limitations.

B. Standing-Seam Sheet Metal Roofing:  Fasten sheet metal roofing to supports with concealed clips at each standing-seam joint at location, at spacing, and with fasteners recommended by manufacturer of portable roll-forming equipment.

1. Install clips to substrate with self-tapping fasteners.

2. Install pressure plates at locations indicated in equipment manufacturer's written installation instructions.

3. Before panels are joined, apply continuous bead of sealant to top of flange of lower panel.

Retain one of two subparagraphs below; coordinate with products selected in Part 2.

4. Snap-On Seam:  Nest standing seams and fasten together by interlocking and completely engaging field-applied sealant.

5. Seamed Joint:  Crimp standing seams with manufacturer-approved motorized seamer tool so cleat, sheet metal roofing, and field-applied sealant are completely engaged.

C. Batten-Seam Sheet Metal Roofing:  Fasten sheet metal roofing to supports with concealed clips at each batten-seam joint at location, at spacing, and with fasteners recommended by manufacturer of portable roll-forming equipment.

1. Install clips to substrate with self-drilling fasteners.

2. After panels are in place and before batten cap is installed, apply continuous bead of sealant to top of flange of each panel.

3. Apply snap-on batten caps to sheet metal roofing seams, fully engaged to provide weathertight joints.

D. Seal joints as shown and as required for watertight construction.  For roofing with 3:12 slopes or less, use cleats at transverse seams.

1. Where sealant-filled joints are used, embed hooked flanges of joint members not less than 1 inch (25 mm) into sealant.  Form joints to completely conceal sealant.  When ambient temperature at time of installation is moderate, between 40 and 70 deg F (4 and 21 deg C), set joint members for 50 percent movement either way.  Adjust setting proportionately for installation at higher ambient temperatures.  Do not install sealant-type joints at temperatures below 40 deg F (4 deg C).

2. Prepare joints and apply sealants to comply with requirements in Division 7 Section "Joint Sealants."

3.7 ACCESSORY INSTALLATION

Revise first paragraph below to suit Project.  Delete items not required.

A. General:  Install accessories with positive anchorage to building and weathertight mounting and provide for thermal expansion.  Coordinate installation with flashings and other components.

1. Install components required for a complete sheet metal roofing assembly including trim, copings, seam covers, flashings, sealants, gaskets, fillers, metal closures, closure strips, and similar items.

Retain subparagraph below if accessories specified in referenced Section are to be installed under the Work of this Section.

2. Install accessories integral to sheet metal roofing that are specified in Division 7 Section "Sheet Metal Flashing and Trim" to comply with that Section's requirements.

B. Flashing and Trim:  Comply with performance requirements, manufacturer's written installation instructions, and SMACNA's "Architectural Sheet Metal Manual."  Provide concealed fasteners where possible, and set units true to line and level as indicated.  Install work with laps, joints, and seams that will be permanently watertight and weather resistant.

1. Install flashing and trim as required to seal against weather and to provide finished appearance.  Locations include, but are not limited to, eaves, rakes, corners, bases, framed openings, ridges, fasciae, and fillers.

2. Install continuous strip of self-adhering underlayment at edge of continuous flashing overlapping self-adhering underlayment, where "continuous seal strip" is indicated in SMACNA's "Architectural Sheet Metal Manual," and where indicated on Drawings.

3. Install exposed flashing and trim without excessive oil canning, buckling, and tool marks and true to line and levels indicated, with exposed edges folded back to form hems.  Install sheet metal flashing and trim to fit substrates and to result in waterproof and weather-resistant performance.

4. Expansion Provisions:  Provide for thermal expansion of exposed flashing and trim.  Space movement joints at a maximum of 10 feet (3 m) with no joints allowed within 24 inches (600 mm) of corner or intersection.  Where lapped expansion provisions cannot be used or would not be sufficiently weather resistant and waterproof, form expansion joints of intermeshing hooked flanges, not less than 1 inch (25 mm) deep, and filled with butyl sealant concealed within joints.

C. Pipe Flashing:  Form flashing around pipe penetration and sheet metal roofing.  Fasten and seal to sheet metal roofing as recommended by SMACNA.

D. Roof Curbs:  Install curbs at locations indicated on Drawings.  Install flashing around bases where they meet sheet metal roofing.

E. Stop-Type Snow Guards:  Attach snow guards to sheet metal roofing with adhesive or adhesive tape, as recommended by manufacturer.  Do not use fasteners that will penetrate sheet metal roofing.

Retain last option in subparagraph below unless retaining standing-seam-mounted, stop-type snow guards.

1. Provide <Insert number> rows of snow guards, at locations indicated on Drawings, spaced <Insert dimension> apart, beginning <Insert dimension> up from roof edge at gutter[, with each snow guard centered between sheet metal roofing ribs].

F. Bar-Type Snow Guards:  Attach bar supports to vertical ribs of standing-seam sheet metal roofing with clamps or set screws.  Do not use fasteners that will penetrate sheet metal roofing.

1. Provide <Insert number> rows of snow guards, at locations indicated on Drawings, spaced <Insert dimension> apart, beginning <Insert dimension> up from roof edge at gutter.

3.8 ERECTION TOLERANCES

Consider retaining one of first two paragraphs below to control installation tolerances.  Retain first paragraph for sophisticated or highly finished sheet metal roofing assemblies.  Second paragraph has more lenient tolerances suitable for residential roofing.

A. Installation Tolerances:  Shim and align sheet metal roofing within installed tolerance of 1/4 inch in 20 feet (6 mm in 6 m) on slope and location lines as indicated and within 1/8-inch (3-mm) offset of adjoining faces and of alignment of matching profiles.

B. Installation Tolerances:  Shim and align sheet metal roofing within installed tolerances specified in MCA's "Guide Specification for Residential Metal Roofing."

3.9 CLEANING AND PROTECTION

Retain first paragraph below for metallic-coated steel, copper, zinc-tin alloy-coated stainless steel, zinc-tin alloy-coated copper, and zinc roofing unless the metal is painted, coated, or lacquered.

A. Clean exposed metal surfaces of substances that interfere with uniform oxidation and weathering.

Retain first paragraph below for soldered joints.

B. Clean and neutralize flux materials.  Clean off excess solder.

C. Clean off excess sealants.

D. Remove temporary protective coverings and strippable films as sheet metal roofing is installed unless otherwise indicated in manufacturer's written installation instructions.  On completion of sheet metal roofing installation, clean finished surfaces as recommended by sheet metal roofing manufacturer.  Maintain sheet metal roofing in a clean condition during construction.

E. Replace sheet metal roofing components that have been damaged or have deteriorated beyond successful repair by finish touchup or similar minor repair procedures.

3.10 ROOFING INSTALLER'S WARRANTY

Retain or delete this article or include another roofing Installer's warranty form if required.  Coordinate with Part 1 "Warranty" Article.  Another sample layout of this warranty is included in the Evaluations.

A. WHEREAS <Insert name> of <Insert address>, herein called the "Roofing Installer," has performed roofing and associated work ("work") on the following project:

1. Owner:  <Insert name of Owner>.

2. Address:  <Insert address>.

3. Building Name/Type:  <Insert information>.

4. Address:  <Insert address>.

5. Area of Work:  <Insert information>.

6. Acceptance Date:  <Insert date>.

7. Warranty Period:  <Insert time>.

8. Expiration Date:  <Insert date>.

B. AND WHEREAS Roofing Installer has contracted (either directly with Owner or indirectly as a subcontractor) to warrant said work against leaks and faulty or defective materials and workmanship for designated Warranty Period,

C. NOW THEREFORE Roofing Installer hereby warrants, subject to terms and conditions herein set forth, that during Warranty Period he will, at his own cost and expense, make or cause to be made such repairs to or replacements of said work as are necessary to correct faulty and defective work and as are necessary to maintain said work in a watertight condition.

D. This Warranty is made subject to the following terms and conditions:

1. Specifically excluded from this Warranty are damages to work and other parts of the building, and to building contents, caused by:

a. Lightning;

Insert required wind speed below.

b. Peak gust wind speed exceeding <Insert wind speed> mph (m/sec);

c. Fire;

d. Failure of roofing system substrate, including cracking, settlement, excessive deflection, deterioration, and decomposition;

e. Faulty construction of parapet walls, copings, chimneys, skylights, vents, equipment supports, and other edge conditions and penetrations of the work;

f. Vapor condensation on bottom of roofing; and

g. Activity on roofing by others, including construction contractors, maintenance personnel, other persons, and animals, whether authorized or unauthorized by Owner.

2. When work has been damaged by any of foregoing causes, Warranty shall be null and void until such damage has been repaired by Roofing Installer and until cost and expense thereof have been paid by Owner or by another responsible party so designated.

3. Roofing Installer is responsible for damage to work covered by this Warranty but is not liable for consequential damages to building or building contents resulting from leaks or faults or defects of work.

4. During Warranty Period, if Owner allows alteration of work by anyone other than Roofing Installer, including cutting, patching, and maintenance in connection with penetrations, attachment of other work, and positioning of anything on roof, this Warranty shall become null and void on date of said alterations, but only to the extent said alterations affect work covered by this Warranty.  If Owner engages Roofing Installer to perform said alterations, Warranty shall not become null and void unless Roofing Installer, before starting said work, shall have notified Owner in writing, showing reasonable cause for claim, that said alterations would likely damage or deteriorate work, thereby reasonably justifying a limitation or termination of this Warranty.

5. During Warranty Period, if original use of roof is changed and it becomes used for, but was not originally specified for, a promenade, work deck, spray-cooled surface, flooded basin, or other use or service more severe than originally specified, this Warranty shall become null and void on date of said change, but only to the extent said change affects work covered by this Warranty.

6. Owner shall promptly notify Roofing Installer of observed, known, or suspected leaks, defects, or deterioration and shall afford reasonable opportunity for Roofing Installer to inspect work and to examine evidence of such leaks, defects, or deterioration.

7. This Warranty is recognized to be the only warranty of Roofing Installer on said work and shall not operate to restrict or cut off Owner from other remedies and resources lawfully available to Owner in cases of roofing failure.  Specifically, this Warranty shall not operate to relieve Roofing Installer of responsibility for performance of original work according to requirements of the Contract Documents, regardless of whether Contract was a contract directly with Owner or a subcontract with Owner's General Contractor.

E. IN WITNESS THEREOF, this instrument has been duly executed this <Insert day> day of <Insert month>, <Insert year>.

1. Authorized Signature:  <Insert signature>.

2. Name:  <Insert name>.

3. Title:  <Insert title>.

END OF SECTION 07610

SHEET METAL ROOFING
07610 - 1

