Copyright 2005 AIA
MASTERSPEC Full Length
11/05

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 08351 - FOLDING DOORS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Accordion folding doors.

2. Panel folding doors.

3. Bifold doors.

4. Bifold mirror doors.

5. Fire-rated folding doors.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 5 Section "Metal Fabrications" for support of and blocking for partition tracks, jamb conditions, pocket doors, motor operators, and controls; and for prepunching metal support members.

2. Division 6 Section "Rough Carpentry" for support of and blocking for partition tracks, jamb conditions, pocket doors, motor operators, and controls.

3. Division 8 Section "Access Doors and Frames" for access panels to controls of fire-rated folding doors.

4. Division 10 Section "Operable Panel Partitions" for large-size, acoustically rated[ and fire-rated], flat panel operable partitions.

5. Division 10 Section "Accordion Folding Partitions" for large-size, acoustically rated, accordion folding partitions.

6. Division 13 Section "Fire Alarm" for fire-alarm and activating signaling systems.

Retain subparagraph below for fire-rated folding doors or if gravity-operated, fire-rated folding doors are not required.  Retaining requirements for gravity-operated, fire-rated folding doors risks a proprietary specification.

7. Division 16 Sections for electrical service and connections.

1.3 SUBMITTALS

First six paragraphs below are defined in Division 1 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.[  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for folding doors.]

Retain first paragraph below for complex installations; retain options for fire-rated folding doors to suit Project.

B. Shop Drawings:  For folding doors.  Include plans, elevations, sections, details, attachments to other work, clearances required for operation, [electronic operating and control mechanisms,] [access requirements,] [pockets and pocket doors,] and accessory items.  Show blocking.

Retain first subparagraph below for fire-rated folding doors.

1. Fire-Release System:  Describe system, including testing and resetting instructions.

Retain subparagraph below if fire-rated folding door equipment includes wiring.

2. Wiring Diagrams:  For power, signal, and control wiring.

C. Setting Drawings:  For anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors that are to be embedded in [concrete] [or] [masonry], and for cutouts required in other work, including support-beam punching template.

Samples in first paragraph below are not usually required for fire-rated folding doors that have only standard finishes; retain if required.

D. Samples for Initial Selection:  For units with factory-applied color finishes.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

E. Samples for Verification:  For each type of folding door indicated and for each type of exposed finish required, in manufacturer's standard sizes.

Retain first paragraph below if more than one type or location is required.

F. Product Schedule:  For folding doors.[  Use same designations indicated on Drawings.]

Remaining paragraphs are defined in Division 1 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For qualified Installer.

H. Product Certificates:  For the following, from manufacturer:

1. Each type of fire-rated folding door.

Retain subparagraph below if required and retain option if applicable.  Applied coverings or facings may not be permitted on fire-rated folding doors.

2. Each type of finish, covering, or facing for[ fire-rated] folding doors.

Retain first paragraph below if deleting last subparagraph above and test reports from a qualified testing agency are required.

I. Material Test Reports:  For each type of finish, covering, or facing indicated.

Retain first paragraph below if deleting "Product Certificates" Paragraph above or if both product certificates and test reports are required.

J. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for fire-rated folding doors.

Retain paragraph above and first paragraph below for fire-rated folding doors.  Insert specific model code organization below or revise if report must be from another source.

K. Research/Evaluation Reports:  For fire-rated folding doors, from <Insert applicable model code organization>.

Retain options in paragraph below for fire-rated folding doors.

L. [Operation and ]Maintenance Data:  For folding doors to include in [emergency, operation, and ]maintenance manuals.  In addition to items specified in Division 1 Section "Operation and Maintenance Data," include the following:

1. Finishes, coverings, or facings for folding doors, including finishes for exposed trim and accessories.  Include precautions for cleaning materials and methods that could be detrimental to finishes and performance.

Retain option in first subparagraph below for fire-rated folding doors.

2. Hardware, track, carriers, seals,[ fire release,] and other operating components.

Retain subparagraph below for electric operation.

3. Electric operator.

1.4 QUALITY ASSURANCE

Retain first paragraph below for manufacturer-authorized Installer of fire-rated folding doors.

A. Installer Qualifications:  Manufacturer's authorized representative who is trained and approved for installation of units required for this Project.

Usually retain first paragraph below for folding doors; revise if local requirements differ or are more stringent.  Verify that applied finishes, facings, or coverings comply with these requirements.

B. Surface-Burning Characteristics:  As determined by testing identical products according to ASTM E 84 by a qualified testing agency.  Identify products with appropriate markings of applicable testing agency.

1. Flame-Spread Index:  [25] <Insert value> or less.

2. Smoke-Developed Index:  [50] [450] <Insert value> or less.

Retain first paragraph below for fire-rated folding doors.

C. Fire-Rated Folding Door Assemblies:  Assemblies complying with NFPA 80 that are listed and labeled by a qualified testing agency, for fire-protection ratings indicated, based on testing according to [NFPA 252] [UBC Standard 7-2] [UL 10B] <Insert test method>.

Retain subparagraph below if fire-rated folding doors exceed a length of 12 feet (3.6 m) and a height of 10 feet (3 m) and if acceptable to authorities having jurisdiction.

1. Oversize Fire-Rated Folding Doors:  For units exceeding sizes of tested assemblies, provide certification by a qualified testing agency that doors comply with standard construction requirements for tested and labeled fire-rated door assemblies except for size.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

D. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.5 PROJECT CONDITIONS

A. Environmental Limitations:  Do not deliver or install folding doors until spaces are enclosed and weathertight, wet work in spaces is complete and dry, and temporary HVAC system is operating and maintaining ambient temperature and humidity conditions at occupancy levels during the remainder of the construction period.

B. Field Measurements:  Verify actual dimensions of openings by field measurements before fabrication

PART 2 -  PRODUCTS

2.1 ACCORDION FOLDING DOORS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 1 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. Curtition, Inc.

2. FolDoor; Holcomb & Hoke Mfg. Co., Inc.

3. Hufcor, Inc.

4. KWIK-WALL Company.

5. Moderco Inc.

6. Modernfold, Inc; a DORMA Group company.

7. Panelfold Inc.

8. <Insert manufacturer's name>.

B. General:  Top-supported, horizontal-sliding, manually operated accordion folding doors, with chain controlling the spacing and extension of pantographic or X-type accordion folding frames.  Inner and outer covers are continuous surface facings that attach to and completely cover the folding frames and are pleated as the door is retracted.

C. Outer Covering:  Of type indicated below, complying with indicated surface-burning characteristics; attached to door support frames in a concealed manner at sufficient intervals to prevent sagging and separation and to permit on-site removal and repair, with vertical seams located in valleys and material hemmed at top and bottom.

Retain facing in three subparagraphs below or revise to suit Project.  Verify compliance with requirements of authorities having jurisdiction for surface-burning characteristics.

1. Vinyl reinforced with woven backing weighing not less than [20 oz./linear yd. (567 g/m)] <Insert weight>.

a. Color, Texture, and Pattern:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color, texture, and pattern>.

2. Fabric weighing not less than [16 oz./linear yd. (496 g/m)] <Insert weight>, treated to resist stains.

a. Color, Texture, and Pattern:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color, texture, and pattern>.

3. Manufacturer's standard nonwoven carpet, needle punched with fused fibers to prevent unraveling.

a. Color, Texture, and Pattern:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color, texture, and pattern>.

D. Sweep Seals:  Manufacturer's standard top and bottom sweep seals on [both] [one] side(s).

E. Carriers:  Four-wheel carriers at lead post and two-wheel carriers at intermediate spacing, as necessary for size and weight of partition, to ensure secure, easy, and quiet operation.

1. Doors 96 Inches (2438 mm) High or Less:  Nylon wheels on steel shafts.

2. Doors More Than 96 Inches (2438 mm) High:  Ball-bearing wheels with nylon tread and steel shafts.

F. Tracks:  Manufacturer's standard metal track made of extruded aluminum or formed steel with factory-applied, corrosion-resistant finish.  Limit track deflection, independent of structural supporting system, to no more than 80 percent of bottom clearance.  Design and fabricate track to support accordion folding doors and enable their operation without damage to track, folding unit, or adjacent surfaces; complying with the following requirements:

Retain features in subparagraphs below if required.

1. Head Trim:  Prefinished wood molding for surface-mounted tracks.

2. Center stop for center-opening partitions.

3. Galvanized-steel sheet or aluminum subchannel for forming pocket for recessed suspension track.

4. Metal ceiling contact guard to protect finished ceiling surface from damage by moving top sweep seals; with finish matching other exposed metal.

5. Curved track sections with ceiling clips to accommodate configuration indicated.

6. Glide switch to divert door to auxiliary track.

7. Pivot switch to change track direction.

8. Cross-track switch to allow one door to cross another.

G. Hardware:  Manufacturer's standard heavy-duty, manually operated metal pulls and latches as follows:

1. Finish:  [Clear-anodized aluminum] [Satin stainless steel] [Dull chromium-finish brass] [Dull chromium-finish steel].

2. Latch:  Operable from [both] [one] side(s) of closed door[ with coin-slot release on opposite side].

3. Lock:  [Manufacturer's standard key-operated cylinder lock, operable from both sides] [Manufacturer's standard key-operated cylinder lock, operable from one side; privacy lock on other side] [Deadlock to receive cylinder, operable from both sides.  Refer to Division 8 Section "Door Hardware" for cylinder requirements] [Deadlock to receive cylinder, operable from both sides.  Refer to Division 8 Section "Door Hardware (Scheduled by Describing Products)" for cylinder requirements] <Insert requirements>.

Bolts in subparagraph below are used to hold door in partially open position.

4. Foot bolts on lead post where indicated.  Secure to post to avoid interference with seals.

H. Jamb Molding:  Manufacturer's standard wood or metal molding at closing jamb as required for light-tight jamb closure.

I. Lead Posts and Jamb Posts:  Not less than 0.048-inch- (1.2-mm-) thick [steel] [extruded aluminum], formed for rigidity and light seal at supporting construction.

1. Nonferrous jamb strip for single-operating partitions to ensure tight closure by engaging rubber bumper on lead post.

J. Meeting Post:  [Fixed single jamb for single-stacked doors] [Center meeting post for center-opening doors].

K. Stacking:  Tiebacks to maintain door in stacked position.

Select configuration from options in first paragraph below or delete paragraph and show configuration on Drawings.

L. Stacking Configuration:  Stack [single doors at one end of opening] [center-opening doors at both ends of opening] [doors in pockets with hinged pocket doors].

M. Opening Size:  [As indicated on Drawings] <Insert size>.

2.2 PANEL FOLDING DOORS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 1 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. American Folding Door Company, Inc.

2. FolDoor; Holcomb & Hoke Mfg. Co., Inc.

3. Panelfold Inc.

4. Won-Door Corporation.

5. Woodfold-Marco Mfg., Inc.

6. <Insert manufacturer's name>.

B. General:  Top-supported, horizontal-sliding, manually operated panel folding doors, with panels joined by continuous hinge connectors for the full height of panels.

C. Core Material and Thickness:  Manufacturer's standard.

D. Panel Width:  [4-inch (100-mm)] [5-inch (125-mm)] [6-inch (150-mm)] [8-inch (200-mm)] <Insert dimension> nominal width.

E. Panel Facing:  Facings that comply with indicated surface-burning characteristics.

Retain facing in four subparagraphs below or revise to suit Project.  Verify compliance with requirements of authorities having jurisdiction for surface-burning characteristics.

1. Vinyl Facing:  Vinyl not less than [7 mils (0.175 mm)] <Insert thickness> thick, factory bonded to core.

a. Color and Texture:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color and texture>.

2. Vinyl Facing with Woven Backing:  Vinyl reinforced with woven backing weighing not less than [12 oz./linear yd. (372 g/m)] <Insert weight>, factory bonded to core.

a. Color and Texture:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color and texture>.

3. Plastic-Laminate Facing:  Grade VGS, high-pressure plastic laminate complying with NEMA LD 3; adhesive applied under pressure to core.

a. Color, Texture, and Pattern:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color, texture, and pattern>.

4. Wood-Veneer Facing:  <Insert species> wood veneer, laminated to core, with manufacturer's standard [clear] [stained] transparent finish.

Retain subparagraph below only if retaining option for stained transparent finish in subparagraph above.

a. Stain Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

F. Carriers:  Four-wheel carriers at lead post and two-wheel carriers at intermediate spacing, as necessary for size and weight of partition, to ensure secure, easy, and quiet operation.

1. Panels 5 Inches (125 mm) Wide or Less:  Nylon wheels and axles.

2. Panels More Than 5 Inches (125 mm) Wide:  Ball-bearing wheels with nylon tread and steel shafts.

G. Tracks:  Manufacturer's standard [surface-mounted] [recessed], extruded-aluminum or steel track with factory-applied, corrosion-resistant finish.  Limit track deflection, independent of structural supporting system, to no more than 80 percent of bottom clearance.  Design and fabricate track to support operation without damage to track, folding unit, or adjacent surfaces; complying with the following requirements:

Retain features in subparagraphs below if required.

1. Prefinished ceiling guard/channel for recessed tracks.

2. Center stop for biparting partitions.

3. Galvanized-steel sheet or aluminum subchannel for forming pocket for recessed suspension track.

4. Nonferrous jamb strip for single-operating partitions to ensure tight closure by engaging rubber bumper on lead post.

5. Curved track sections to accommodate configuration indicated.

6. Glide switch to divert door to auxiliary track.

7. Pivot switch to change track direction.

8. Cross-track switch to allow one door to cross another.

H. Hinge Connector:  Manufacturer's standard extruded-vinyl hinge connector.

1. Color:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] [Match or coordinate with facing color] <Insert color>.

I. Hardware:  Manufacturer's standard heavy-duty, manually operated metal pulls and latches as follows:

1. Finish:  [Clear-anodized aluminum] [Satin stainless steel] [Dull chromium-finish brass] [Dull chromium-finish steel].

2. Latch:  Operable from [both] [one] side(s) of closed door.

3. Lock:  [Manufacturer's standard key-operated cylinder lock, operable from both sides] [Manufacturer's standard key-operated cylinder lock, operable from one side; privacy lock on other side] [Deadlock to receive cylinder, operable from both sides.  Refer to Division 8 Section "Door Hardware" for cylinder requirements] [Deadlock to receive cylinder, operable from both sides.  Refer to Division 8 Section "Door Hardware (Scheduled by Describing Products)" for cylinder requirements] <Insert requirements>.

Bolts in subparagraph below are used to anchor door in partially open position.

4. Foot bolts on lead post where indicated.  Secure to post to avoid interference with seals.

J. Jamb Molding:  Manufacturer's standard wood or metal molding at closing jamb as required for light-tight jamb closure.

1. Wood:  Match species and finish of panel facing.

2. Metal:  Manufacturer's standard finish.

Retain first paragraph below if applicable.

K. Wood Track Molding:  Manufacturer's standard wood molding on each side of surface-mounted track to match species and finish of panel facings.  Install with tight, hairline joints with all fasteners concealed.

L. Meeting Post:  [Fixed single jamb for single-stacked doors] [Center meeting post for biparting doors].

M. Stacking:  Tiebacks to maintain door in stacked position.

2.3 BIFOLD DOORS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 1 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. Dunbarton Corporation; Slimfold Products Division.

2. <Insert manufacturer's name>.

B. General:  Metal folding doors hinged together in pairs and supported on pivots at jamb, with floor and overhead track and door guide pins.

C. Metal Panels:  Sizes as indicated, formed from nominal 0.024-inch- (0.6-mm-) thick, cold-rolled steel sheet.  Channel form vertical edges and weld cross bracing to panel and channel-formed edges.

1. Surface Profile:  [Fully louvered] [Flush] [Paneled] [Louvered and paneled] <Insert profile>.

2. Configuration:  [Two] [Four]-panel bifold.

3. Sheet Metal Texture:  [Smooth] [Simulated leather].

Retain first subparagraph below for areas with high humidity or corrosive atmosphere.

4. Protective Finish:  Hot-dip galvanized coating applied to panels, stiffeners, hinges, and decorative trim.

5. Baked Finish:  Baked-enamel factory finish in [white] [ivory] [custom color as selected by Architect] <Insert color>.

D. Hardware:  Manufacturer's standard felt pads, screws, and pulls in standard finish.  Hinges, pivots, and manufacturer's standard wheels factory installed and as follows:

1. Hinges:  3 self-aligning hinges.

2. Guides and Pivots:  Not less than 5/16-inch- (7.9-mm-) diameter, adjustable screw-type, weight-bearing, zinc-plated pivot rod held in place by nylon rod clamp assemblies; with not less than 1/4-inch- (6.4-mm-) diameter, spring-loaded, self-aligning, zinc-plated steel guide rods and top pivot rods held in place by nylon sleeves.

3. Track:  [Prefinished rolled steel with baked-enamel paint finish] [Aluminum extrusion, Alloy 6063-T5, 0.05 inch (1.3 mm) thick, with manufacturer's standard metal finish].

2.4 BIFOLD MIRROR DOORS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 1 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. Dunbarton Corporation; Slimfold Products Division.

2. <Insert manufacturer's name>.

B. General:  Folding doors hinged together in pairs and supported on pivots at jamb, with floor and overhead track and door guide pins.

Retain one of first two paragraphs below.  Dunbarton fabricates mirrored bifold doors of three constructions:  one in which mirrored glass is adhered to steel panel, another in which perimeter of mirrored glass is attached to aluminum frame, and a third in which perimeter of mirrored glass is attached to steel frame.

C. Steel-Panel Door Construction:  Sizes as indicated, flush profile, formed from nominal 0.024-inch- (0.6-mm-) thick, cold-rolled steel sheet.  Channel form vertical edges and weld cross bracing to panel- and channel-formed edges.  Attach mirrored glass facing to steel sheet by means of mechanically attached channels at top and bottom and by dual-faced cushion tape.

1. Configuration:  [Two] [Four]-panel bifold.

Retain first subparagraph below for areas with high humidity or corrosive atmosphere.

2. Protective Finish:  Hot-dip galvanized coating applied to panels, stiffeners, hinges, and decorative trim.

3. Baked Finish:  Baked-enamel factory finish in [white] [custom color as selected by Architect] <Insert color>.

D. Metal-Framed Door Construction:  [Aluminum] [Steel] stiles and mechanically fitted rails with screw-attached stiffeners and with mirrored-glass facing attached securely to frames.

1. Panel Style:  [Exposed] [Concealed] frame.

2. Configuration:  [Two] [Four]-panel bifold.

3. Baked Finish:  Electrostatically applied, baked-enamel factory finish in [white] [custom color as selected by Architect] <Insert color>.

Retain last subparagraph above or subparagraph below.

4. Bright, Reflective Metallic Finish:  [Chrome] [Gold] [Selected by Architect from manufacturer's full range] <Insert finish>.

Revise first paragraph below if tinted mirrored glass is required and is available from door manufacturer.

E. Mirror Facing:  [Smooth] [Beveled]-edged, silvered, mirrored, film-backed safety glass complying with 16 CFR 1201 for Category II safety glass; with ASTM C 1036 for Type I (transparent, flat), Class 1(clear), Quality q2 (mirror) annealed float glass; with the following:

1. Glass Thickness:  [3 mm thick for doors up to 84 inches (2133 mm) in height] [4 mm thick for doors with height more than 84 inches (2133 mm)].

2. Edge Protection:  Vertical mirror edges protected by [metal] [Mylar] trim.

3. Film-Backed Safety Mirrors:  Apply film backing with pressure-sensitive adhesive coating over mirror-backing paint as recommended in writing by film-backing manufacturer to produce a surface free of bubbles, blisters, and other imperfections.

F. Hardware:  Manufacturer's standard felt pads, screws, and pulls in standard finish.  Hinges, pivots, and manufacturer's standard wheels factory installed and as follows:

1. Hinges:  3 self-aligning hinges.

Retain one of three subparagraphs below.

2. Guides and Pivots:  Manufacturer's standard.

3. Guides and Pivots:  Spring-loaded, zinc-plated steel guides and tops, and adjustable bottom pivot pins with nylon bushings and tips.

Guides and pivots in subparagraph below are better quality than those in subparagraphs above but are not available for all types of bifold mirror doors.

4. Guides and Pivots:  Not less than 5/16-inch- (7.9-mm-) diameter, adjustable screw-type, weight-bearing, zinc-plated pivot rod held in place by nylon rod clamp assemblies; with not less than 1/4-inch- (6.4-mm-) diameter, spring-loaded, self-aligning, zinc-plated steel guide rods and top pivot rods held in place by nylon sleeves.

G. Track:  [Prefinished rolled steel with baked-enamel paint finish] [Aluminum extrusion, Alloy 6063-T5, 0.05 inch (1.3 mm) thick, with manufacturer's standard metal finish].

2.5 FIRE-RATED FOLDING DOORS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain first paragraph and list of manufacturers below.  See Division 1 Section "Product Requirements."

A. Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. McKeon Rolling Steel Door Company, Inc.

2. Won-Door Corporation.

3. <Insert manufacturer's name>.

Both McKeon and Won-Door manufacture electrically operated, fire-rated folding doors; only McKeon manufactures gravity-operated, fire-rated folding doors.

B. General:  [Electrically] [Gravity-] operated, automatic- or self-closing, UL- or ITS-listed, [biparting ]folding fire-rated assembly; top supported from overhead track or dual tracks without floor guides; complete with hardware, seals, track, closing devices, releasing devices, controls, [pocket doors, ]and accessories necessary for intended operation and complying with the following requirements:

1. Assembly remains in normal open (stacked) position.  Signal from fire-alarm system initiates self-closing operation.

2. Controls allow manual operation in either conventional or emergency mode.  When opened manually during emergency mode, control mechanism automatically closes assembly.

3. <Insert requirements>.

C. Fire Rating:  [1] [1-1/2] [3] <Insert number> hour(s).

Both McKeon and Won-Door manufacture fire-rated folding doors from steel sheet panels; only McKeon manufactures fire-rated folding doors from stainless-steel sheet panels.

D. Panel Construction:  [Formed-steel] [Formed stainless-steel] sheet panels connected by [formed-steel] [formed stainless-steel] hinges.

Retain first paragraph below only for Won-Door's 3-hour-rated "Model 180."

E. Fire Insulation:

1. Cover interior surface of both series of panels in parallel panel doors with continuous fire-resistive blanket secured to each panel with metal clip system.

2. Extend fire insulation from bottom edge of panels to tracks and meet at interior centers of fixed jamb and lead post, forming an effective fire barrier.

F. Perimeter Seals and Closures:  Manufacturer's standard vinyl or neoprene vertical seals, horizontal top and bottom seals, and closures identical to products tested for fire rating indicated, and forming an effective smoke and draft seal.

G. Track and Trolley System:  1 track or 2 parallel steel tracks on 8-inch (200-mm) centers, with ball-bearing roller trolleys and adjustable steel hanger rods for overhead support; designed for type of operation, size, and weight of fire-rated folding door indicated.  Provide a continuous system of track sections and accessories identical to products tested for fire rating indicated, to accommodate configuration and layout indicated for door operation and storage.

Both McKeon and Won-Door manufacture steel lead posts; only McKeon manufactures stainless-steel lead posts.

H. Lead Posts:  Formed from not less than 0.026-inch (0.66-mm-) thick [steel] [stainless-steel] sheet, connected to door panels by specially adapted panels and equipped with manufacturer's standard handle on each side.

Retain first paragraph below for electric operators; revise if retaining gravity-operated system.

I. Electric Operators and Controls:

1. Operators:  Factory-assembled power-drive unit consisting of motor,[ remote-located] control panel, limit switches, torque-limiting devices, clutch, reversing magnetic motor operator, leading-edge obstruction detectors, and key-switch control for conventional operation.

a. Motor:  [1/2 hp] <Insert horsepower>, controlled by reversing magnetic starter and equipped with overload protection.

b. Limit Switches:  To prevent overtravel.

c. Roller Chain or Cable:  Connected to lead posts by means of vertical stabilizer bar assembly.

d. Drive Mechanism:  Protected by torque limiter and emergency clutch.

e. Travel Speed:  18 inches (450 mm) per second, maximum; 6 inches (150 mm) per second, minimum.

2. In case of fire, closing system is activated by building's fire- and smoke-detection equipment and automatically closes fire-rated folding doors.

3. Electrical Service:  Equip for [120 V, single phase, 60-cycle ac] <Insert service requirements>.

4. Battery:  Electrical current connects through relay to battery charger that continuously charges 12-V dc battery and automatically maintains battery at capacity.  Automatic audible signal device sounds off if battery falls below or exceeds proper charge, power loss has occurred, or high-ac line voltage has been experienced.

5. Leading-Edge Obstruction Detector:

a. Equip with pressure-sensitive leading edge that, on contact with an obstruction, causes door to stop and pause before attempting to re-close.

Retain first subparagraph below for pocket doors.

b. Disable leading-edge obstruction detector until fire-rated folding door has opened pocket door.

6. Fire-rated folding doors can be manually opened at any time by pushing against leading edge.

7. Audible alarm sounds at automatic closing of door.

J. Accessories:

1. Vision panels.

Show location(s) and multiple units on Drawings or insert requirements in subparagraph above and first subparagraph below.  Exit hardware below is optional feature; retain if required.  Revise if swing doors, available only from McKeon, are required.

2. Exit Hardware:  Located on both sides of fire-rated folding door.  In emergency mode, slight pressure on hardware causes door to open a minimum of 32 inches (812 mm), pause for 3 seconds, and then automatically close.  Furnish hardware that can be field programmable to allow automatic opening distances of up to the entire opening width.  In conventional mode, hardware is used to operate door and move it back into storage pocket.

3. <Insert accessory>.

K. Finishes:

1. Baked-enamel finish for panels and hinges in colors selected by Architect from manufacturer's full range.

2. Manufacturer's standard finish for handles.

Pocket door for storage pocket is not typically provided by fire-rated folding door manufacturer; however, requirements need to be coordinated.  Retain paragraph below if required.

L. Pocket Door:

1. Solid-core pocket doors with [reverse-action spring] [continuous] hinge; 90-degree minimum swing.

2. Face Finish:  [Match adjacent finishes] <Insert finishes>.

3. Magnetic Catch:  Holding force of no more than 30 lbf (133 N).

4. Maximum Opening Force:  50 lbf (222 N).

5. Bumper on interior side of pocket door as required by fire-rated folding door manufacturer to prevent interference with opening or retracting operation of fire-rated folding door.

6. Coordinate pocket door sizes with fire-rated folding door manufacturer.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of folding doors.

Retain first paragraph below for fire-rated folding doors.

B. Verify that headers are level with finished floor to within plus or minus 1/16-inch (1.6-mm) tolerance over the length of opening.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. For folding doors supported by or anchored to permanent construction, advise installers of specific requirements for placement of anchorage devices.  Furnish installers of other work with templates and drawings showing locations of anchorage devices and similar items.

Retain paragraph below for fire-rated folding doors.

B. In path of fire-rated folding doors, level floor with header to tolerance of plus or minus 1/16 inch (1.6 mm) across opening; grind or fill floor as necessary.

3.3 INSTALLATION

A. General:  Install folding doors complying with manufacturer's written installation instructions.  Install track in one piece.

Verify requirement in subparagraph below with authorities having jurisdiction.

1. Comply with NFPA 80 for installing fire-rated folding doors.

B. Standard Floor Clearances:  1/4 to 3/4 inch (6.4 to 19 mm) maximum (above floor finish).

Verify requirement in subparagraph below with authorities having jurisdiction.

1. Comply with NFPA 80 for clearances required for fire-rated folding doors.

Retain paragraph below for fire-rated folding doors.

C. Coordinate provisions for electrical service, sensing devices, and final connections for fire-rated folding doors.

3.4 ADJUSTING

A. Adjust units as necessary to ensure smooth, quiet operation without warping or binding.  Adjust hardware to function smoothly.  Confirm that latches engage accurately and securely without forcing or binding.

Retain subparagraph below for fire-rated folding doors.

1. Fire-Rated Folding Doors:  Verify that all operations are functional and comply with requirements of authorities having jurisdiction.

Retain paragraph below for pocket doors.

B. Pocket Doors:  Adjust to operate smoothly and easily, without binding or warping.  Adjust hardware to function smoothly.  Confirm that latches and locks engage accurately and securely without forcing or binding.

3.5 DEMONSTRATION

Retain this article for fire-rated folding doors.

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain fire-rated folding doors.

END OF SECTION 08351

FOLDING DOORS
08351 - 1

