Copyright 2002 AIA
MASTERSPEC Full Length
08/02 (R 05/06)

Copyright 2002 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 08830 - MIRRORS
Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following types of silvered flat glass mirrors.

Adjust list below to suit Project.

1. Annealed monolithic glass mirrors.

2. [Film-backed] [Laminated] [Tempered] glass mirrors qualifying as safety glazing.

B. Related Sections include the following:

List below only products that the reader might expect to find in this Section but are specified elsewhere.

1. Division 8 Section "Glazing" for glass with reflective coatings used for vision and spandrel lites.

2. Division 10 Section "Toilet and Bath Accessories" for metal-framed mirrors.

1.3 DEFINITIONS

A. Deterioration of Mirrors:  Defects developed from normal use that are attributable to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning mirrors contrary to mirror manufacturer's written instructions.  Defects include discoloration, black spots, and clouding of the silver film.

1.4 PERFORMANCE REQUIREMENTS

A. Provide mirrors that will not fail under normal usage.  Failure includes glass breakage and deterioration attributable to defective manufacture, fabrication, and installation.

1.5 SUBMITTALS

A. Product Data:  For the following:

Most mirror manufacturers do not publish standard Product Data and will have to prepare the description required in first subparagraph below if this submittal requirement is to be enforced.  Nevertheless, if requirements are inserted for either double-coated mirrors or mirrors with a copper-free silver coating, retaining below will be needed to verify compliance with such requirements.

1. Mirrors.  Include description of materials and process used to produce each type of silvered flat glass mirror specified that indicates sources of glass, glass coating components, edge sealer, and quality-control provisions.

2. Mirror mastic.

3. Mirror hardware.

B. LEED Submittal:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives.

1. Product Data for Credit EQ 4.1:  For adhesives, including printed statement of VOC content.

C. Shop Drawings:  Include mirror elevations, edge details, mirror hardware, and attachments to other work.

D. Samples:  For each type of mirror product required, in the form indicated below:

1. Mirrors, 12 inches (300 mm) square, including edge treatment on 2 adjoining edges.

2. Mirror clips.

3. Mirror trim, 12 inches (300 mm) long.

E. Product Certificates:  For each type of mirror[ and mirror mastic], signed by product manufacturer.

Coordinate paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

F. Qualification Data:  For Installer.

Delete first paragraph below if mirror mastics are not specified for installation of mirrors.

G. Mirror Mastic Compatibility Test Reports:  From mirror manufacturer indicating that mirror mastic was tested for compatibility and adhesion with mirror backing [paint] [film] and substrates on which mirrors are installed.

H. Warranty:  Special warranty specified in this Section.

1.6 QUALITY ASSURANCE

If retaining first paragraph below, verify with prospective installers that they can comply with glazier certification requirements.  NGA is currently considering making changes in its certification program.

A. Installer Qualifications:  An experienced installer who has completed mirror glazing similar in material, design, and extent to that indicated for this Project; whose work has resulted in mirror installations with a record of successful in-service performance; and who employs glass installers for this Project who are certified under NGA's Glazier Certification Program as Level 2 (Senior Glaziers) or Level 3 (Master Glaziers).

B. Source Limitations for Mirrors:  Obtain mirrors from one source for each type of mirror indicated.

C. Source Limitations for Mirror Glazing Accessories:  Obtain mirror glazing accessories from one source for each type of accessory indicated.

D. Glazing Publications:  Comply with the following published recommendations:

1. GANA's "Glazing Manual" unless more stringent requirements are indicated.  Refer to this publication for definitions of glass and glazing terms not otherwise defined in this Section or in referenced standards.

2. GANA Mirror Division's "Mirrors, Handle with Extreme Care: Tips for the Professional on the Care and Handling of Mirrors."

Delete paragraph below if mirrors required for Project do not need safety glass.

E. Safety Glazing Products:  For [film-backed] [laminated] [tempered] mirrors, provide products complying with testing requirements in 16 CFR 1201 for Category II materials.

Delete paragraph below if no adhesive applications of mirrors.

F. Preconstruction Mirror Mastic Compatibility Test:  Submit mirror mastic products to mirror manufacturer for testing to determine compatibility of mastic with mirror backing [paint] [film] and substrates on which mirrors are installed.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Protect mirrors according to mirror manufacturer's written instructions and as needed to prevent damage to mirrors from condensation, temperature changes, direct exposure to sun, or other causes.

B. Comply with mirror manufacturer's written instructions for shipping, storing, and handling mirrors as needed to prevent deterioration of silvering, damage to edges, and abrasion of glass surfaces and applied coatings.  Store indoors, protected from moisture including condensation.

1.8 PROJECT CONDITIONS

A. Environmental Limitations:  Do not install mirrors until ambient temperature and humidity conditions are maintained at levels indicated for final occupancy.

1.9 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

A. Special Warranty:  Manufacturer's standard form, made out to Owner and signed by mirror manufacturer agreeing to replace mirrors that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below:

Before retaining requirement that warranty begins on date of Substantial Completion, verify warranty availability and extent of warranty periods with manufacturers selected.  Manufacturers offer standard warranties for mirrors that begin on date of manufacture, which is typically stamped on back of mirror.

1. Warranty Period:  [Five] <Insert number> years from date of [Substantial Completion] [manufacture].

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering mirrors that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide mirrors by one of the following:

Mirror manufacturers listed below are members of GANA Mirror Division. Some of those listed may only offer mirrors in stock sheets for fabrication into cut sizes, while others provide both stock sheets and cut sizes.

1. Arch Aluminum & Glass Co., Inc.

2. Gardner Glass Products.

3. Gilded Mirrors, Inc.

4. Guardian Industries Corp.

5. Independent Mirror Industries, Inc.

6. Lenoir Mirror Company.

7. Messer Industries, Inc.

8. Stroupe Mirror Co., Inc.

9. Sunshine Mirror.

10. Virginia Mirror Company, Inc.

11. VVP America, Inc.; Binswanger Mirror Products.

12. Walker Glass Co., Ltd.

13. <Insert manufacturer's name.>

2.2 SILVERED FLAT GLASS MIRROR MATERIALS

See ASTM C 1503 for intended use recommendations based on thickness.  Mirror Select Quality may only be available in 6-mm thickness.

A. Clear Glass Mirrors:  ASTM C 1503, Mirror [Select] [Glazing] Quality.

1. Nominal Thickness:  [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <As indicated>.

B. Tinted Glass Mirrors:  ASTM C 1503, Mirror Glazing Quality.

1. Nominal Thickness:  [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <As indicated>.

Before specifying color in subparagraph below, verify availability with manufacturers selected.

2. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

See Evaluations for discussion on effect of tempering on mirror distortion.

C. Tempered [Clear] [Tinted] Glass Mirrors:  Comply with ASTM C 1503, Mirror Glazing Quality, for blemish requirements in annealed float glass before silver coating is applied, for coating requirements, and with other requirements not affected by tempering process; and comply with ASTM C 1048 for Kind FT, Condition A, tempered float glass before silver coating is applied.

1. Nominal Thickness:  [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <As indicated>.

Retain subparagraph below only if tinted glass mirror is retained above.  Before specifying, verify availability of colors with manufacturers selected.

2. Tint Color:  ["Azurlite" by PPG Industries, Inc.] [Blue-green] [Bronze] ["EverGreen" by Pilkington Building Products North America] [Green] [Gray] ["Versalux Blue 2000" by Visteon] ["Versalux Blue" by Visteon] <Insert color>.

Delete paragraph below if no laminated mirrors.

D. Annealed Float Glass for Inner Lite of Laminated Mirrors:  ASTM C 1036, Type I (transparent flat glass), Quality-Q3; Class 1 (clear).

2.3 MISCELLANEOUS MATERIALS

A. Setting Blocks:  Elastomeric material with a Type A Shore durometer hardness of 85, plus or minus 5.

B. Edge Sealer:  Coating compatible with glass coating and approved by mirror manufacturer for use in protecting against silver deterioration at mirrored glass edges.

GANA Mirror Division recommends that where mastic is used to position mirrors initially on a surface, mechanical devices should also be used.  Various mastic products are available.  Retain names of manufacturers only after verifying with both mirror manufacturer and mastic manufacturer that mastics proposed for use are compatible with mirror's protective coating and substrates on which mirror will be installed.

C. Mirror Mastic:  An adhesive setting compound, produced specifically for setting mirrors and certified by both mirror manufacturer and mastic manufacturer as compatible with glass coating and substrates on which mirrors will be installed.

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Gunther Mirror Mastics.

b. Palmer Products Corporation.

c. <Insert manufacturer's name.>

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for multipurpose construction adhesives.

3. VOC Content:  Not more than [70] <insert number> g/L when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

2.4 MIRROR HARDWARE

A. Top and Bottom Aluminum J-Channels:  Aluminum extrusions with a return deep enough to produce a glazing channel to accommodate mirrors of thickness indicated and in lengths required to cover bottom and top edges of each mirror in a single piece.

First two subparagraphs below are examples of product descriptions, which vary slightly in dimensions, from different manufacturers.  As an alternative, delete descriptions and either retain product designations and manufacturers' names or insert others.

1. Bottom Trim:  J-channels formed with front leg and back leg not less than 3/8 and 7/8 inch (9.5 and 22 mm) in height, respectively, and a thickness of not less than [0.04 inch (1.0 mm)] [0.05 inch (1.3 mm)].

2. Top Trim:  J-channels formed with front leg and back leg not less than 5/8 and 1 inch (16 and 25 mm) in height, respectively, and a thickness of not less than [0.04 inch (1.0 mm)] [0.062 inch (1.57 mm)].

3. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

4. Products:  Subject to compliance with requirements, provide one of the following:

a. Bottom Trim:

1) Laurence, C. R. Co., Inc.; CRL Standard "J" Channel.

2) Sommer & Maca Industries, Inc.; Medium Gauge Aluminum Shallow Nose "J" Moulding Lower Bar.

First product below is 0.05 inch (1.3 mm) thick.

3) Sommer & Maca Industries, Inc.; Heavy Gauge Aluminum Shallow Nose "J" Moulding Lower Bar.

4) <Insert manufacturer's name; product name or designation.>

b. Top Trim:

1) Laurence, C. R. Co., Inc.; CRL Deep "J" Channel.

2) Sommer & Maca Industries, Inc.; Medium Gauge Aluminum Deep Nose "J" Moulding Upper Bar.

First product below is 0.062 inch (1.57 mm) thick.

3) Sommer & Maca Industries, Inc.; Heavy Gauge Aluminum Deep Nose "J" Moulding Lower Bar.

4) <Insert manufacturer's name; product name or designation.>

Proprietary products described in first two subparagraphs below have the advantage over J-channels above by not leaving an opening between top edge of mirror and web of J-channel.

5. Bottom Trim:  J-channels formed with front leg and back leg not less than 5/16 and 3/4 inch (7.9 and 19 mm) in height, respectively.

6. Top Trim:  Formed with front leg with a height of 5/16 inch (7.9 mm) and back leg designed to fit into the pocket created by wall-mounted aluminum cleat.

7. Product:  Subject to compliance with requirements, provide the following:

a. Bottom Trim:  C. R. Laurence Co., Inc.; D638 FHA Type "J" Channel.

b. Top Trim:  C. R. Laurence Co., Inc.; D 1638 Top Channel.

c. Cleat:  C. R. Laurence Co., Inc.; D 1637M Mirror Mount System Cleat.

B. Mirror Bottom Clips:  [As indicated] <Insert description or product designation, finish, and manufacturer's name>.

C. Mirror Top Clips:  [As indicated] <Insert description or product designation, finish, and manufacturer's name>.

D. Plated Steel Hardware:  Formed-steel shapes with plated finish indicated.

1. Profile:  As indicated.

2. Finish:  <Insert manufacturer's finish designation and name.>

E. Fasteners:  Fabricated of same basic metal and alloy as fastened metal and matching it in finished color and texture where fasteners are exposed.

F. Anchors and Inserts:  Provide devices as required for mirror hardware installation.  Provide toothed or lead-shield expansion-bolt devices for drilled-in-place anchors.  Provide galvanized anchors and inserts for applications on inside face of exterior walls and where indicated.

2.5 FABRICATION

A. Mirror Sizes:  To suit Project conditions, [and before tempering, ]cut mirrors to final sizes and shapes.

B. Cutouts:  Fabricate cutouts[ before tempering] for notches and holes in mirrors without marring visible surfaces.  Locate and size cutouts so they fit closely around penetrations in mirrors.

Paragraph and subparagraphs below do not apply to tempered glass mirrors.

C. Mirror Edge Treatment:  [Flat polished edge] [Rounded polished edge] [Beveled polished edge of width shown].

1. Seal edges of mirrors after edge treatment to prevent chemical or atmospheric penetration of glass coating.

Retain subparagraph below if cutting to size and edge treatment must be performed in factory.  Verify availability because not all manufacturers will do this.

2. Require mirror manufacturer to perform edge treatment and sealing in factory immediately after cutting to final sizes.

Revise paragraph and subparagraphs below if coating is to be applied on other surfaces or if laminated mirrors will be exposed on both sides with glass coating applied to second surface of each lite.  See Evaluations.

D. Laminated Safety Mirrors:  Provide laminated mirrors fabricated to produce units complying with ASTM C 1172, Kind LM, and the following:

1. Glass Lites:  Outer lite of mirror glass with silver coating on second surface and inner lite of clear float glass.

2. Interlayer Material:  Mirror manufacturer's standard 0.030-inch- (0.76-mm-) thick, polyvinyl-butyral interlayer with a proven record of showing no tendency to delaminate from, or cause damage to, silver coating.

3. Laminating Process:  Laminate glass using laminator's standard heat-plus-pressure process to produce glass free from foreign substances, air or glass pockets, and other defects.

4. Seal edges of laminated units to comply with written requirements of interlayer manufacturer.

Glass in paragraph below is an alternative to laminated units for door and wall applications where back is concealed.

E. Film-Backed Safety Mirrors:  Apply film backing with pressure-sensitive adhesive coating over mirror backing paint as recommended in writing by film-backing manufacturer to produce a surface free of bubbles, blisters, and other imperfections.  Use adhesives and film backing compatible with mirror backing paint as certified by mirror manufacturer.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, over which mirrors are to be mounted, with Installer present, for compliance with installation tolerances, substrate preparation, and other conditions affecting performance.

1. Verify compatibility with and suitability of substrates, including compatibility of mirror mastic with existing finishes or primers.

2. Proceed with mirror installation only after unsatisfactory conditions have been corrected and surfaces are dry.

3.2 PREPARATION

Delete this Article if no mastic installations.

A. Comply with mastic manufacturer's written installation instructions for preparation of substrates, including coating surfaces with mastic manufacturer's special bond coating where applicable.

3.3 INSTALLATION

A. General:  Install mirrors to comply with mirror manufacturer's written instructions and with referenced GANA publications.  Mount mirrors accurately in place in a manner that avoids distorting reflected images.

B. Provide a minimum air space of 1/8 inch (3 mm) between back of mirrors and mounting surface for air circulation between back of mirrors and face of mounting surface.

Where mastic applications are specified for wall mirrors, GANA Mirror Division recommends use of mirror hardware, with or without mastic, to support mirror weight at bottom edge and to prevent mirror at top edge from coming away from wall.

C. For wall-mounted mirrors, install mirrors with [mastic and ]mirror hardware.

1. Attach mirror hardware securely to mounting surfaces with mechanical fasteners installed with anchors or inserts as applicable.  Install fasteners so heads do not impose point loads on backs of mirrors.

Revise three subparagraphs below to suit mirror hardware specified in "Mirror Hardware" Article.

2. For mirror hardware in the form of continuous J-channels at bottom, provide setting blocks 1/8 inch (3 mm) thick by 4 inches (100 mm) long at quarter points.  To prevent trapping water, provide, between setting blocks, 2 slotted weeps not less than 1/4 inch (6.4 mm) wide by 3/8 inch (9.5 mm) long.

3. For mirror hardware in the form of a continuous J-channel at bottom and continuous top trim at top, fasten J-channel directly to wall and attach top trim to continuous cleat fastened directly to wall.

Delete subparagraph above or below if not applicable.

4. For metal or plastic clips, place a felt or plastic pad between mirror and each clip to prevent spalling of mirror edges.

Retain one or more of four subparagraphs and associated subparagraphs below to suit types of installations required.  If more than one type of installation is required, indicate location of each here and on Drawings.  If not retaining requirement for symmetrical and even spacing, indicate locations of clips on Drawings.

5. Where indicated, install mirror hardware in the form of [J-channels] <Insert hardware type specified in "Mirror Hardware" Article> that are fabricated in single lengths to fit and cover top and bottom edges of mirrors.

6. Where indicated, install bottom trim and top clips.  Fabricate bottom trim in single lengths to fit and cover bottom edges of mirrors.  Locate top clips [where indicated] [so they are symmetrically placed and evenly spaced].

7. Where indicated, install bottom and top clips [at locations indicated] [symmetrically placed and evenly spaced].

Delete subparagraph and associated subparagraphs below if mirrors are to be installed without use of mastic.

8. Install mastic as follows:

a. Apply barrier coat to mirror backing where approved in writing by manufacturers of mirrors and backing material.

b. Apply mastic to comply with mastic manufacturer's written instructions for coverage and to allow air circulation between back of mirrors and face of mounting surface.

c. After mastic is applied, align mirrors and press into place while maintaining a minimum air space of 1/8 inch (3 mm) between back of mirrors and mounting surface.

3.4 CLEANING AND PROTECTION

A. Protect mirrors from breakage and contaminating substances resulting from construction operations.

B. Do not permit edges of mirrors to be exposed to standing water.

C. Maintain environmental conditions that will prevent mirrors from being exposed to moisture from condensation or other sources for continuous periods of time.

END OF SECTION 08830END OF SECTION 08830

MIRRORS
08830 - 1

