Copyright 2004 AIA
MASTERSPEC Full Length
08/04 (R 05/06)

Copyright 2004 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 09215 - GYPSUM VENEER PLASTERING
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Gypsum veneer plaster and gypsum base for veneer plaster.

2. Gypsum veneer plaster over cementitious backer units.

3. Gypsum veneer plaster over masonry surfaces.

4. Gypsum veneer plaster over monolithic concrete surfaces.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 5 Section "Cold-Formed Metal Framing" for load-bearing steel framing.

2. Division 6 Section "[Rough Carpentry] [Miscellaneous Carpentry]" for wood framing and furring.

3. Division 7 Section "Building Insulation" for insulation installed in gypsum veneer plaster assemblies.

4. Division 9 Section "Non-Load-Bearing Steel Framing" for non-load-bearing steel framing and other components of gypsum veneer plaster assemblies.

5. Division 9 Section "Gypsum Board Shaft-Wall Assemblies" for non-load-bearing steel framing, gypsum liner panels, gypsum board, and other components of shaft-wall assemblies.

Delete first subparagraph below if cementitious tile backer units are specified in this Section.

6. Division 9 Section "Ceramic Tile" for cementitious backer units installed as substrates for ceramic tile.

7. Division 15 Section "Electric Heating Cables" for electric heating cable system with radiant-heat gypsum veneer plaster ceilings.

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated.

Generally delete first paragraph below and detail control joints or special reveals and trim and indicate their locations on Drawings.

B. Shop Drawings:  Show locations, fabrication, and installation of control joints, and reveals and trim; include plans, elevations, sections, details of components, and attachments to other work.

C. Samples:  For the following products:

Retain first subparagraph below if special reveals and trim types and profiles are required.  Generally delete for standard-type trims selected at Contractor's option.

1. Trim Accessories:  Full-size Sample in 12-inch (300-mm) length for each trim accessory.

2. Textured Finishes:  [Manufacturer's standard size] <Insert size> for each textured finish and on rigid backing.

D. LEED Submittals:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives.

1. Product Data for Credit EQ 4.1:  For adhesives, including printed statement of VOC content.

Retain subparagraph and associated subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2; coordinate with requirements for materials in Part 2.

2. Product Data for Credit MR 4.1[ and MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a. Include statement indicating costs for each product having recycled content.

1.4 QUALITY ASSURANCE

Only USG Corporation offers a single source, which includes cementitious base units.

A. Source Limitations:  Obtain gypsum veneer plaster products, including [gypsum base for veneer plaster,] [cementitious base units,] joint reinforcing tape, and embedding material, from a single manufacturer.

Retain paragraph below if gypsum base is part of fire-resistance-rated assemblies.  Indicate design designations of specific assemblies on Drawings.

B. Fire-Resistance-Rated Assemblies:  Provide materials and construction identical to those tested in assembly indicated according to ASTM E 119 by a testing and inspecting agency.

Retain paragraph below if gypsum base is part of STC-rated assemblies.  Indicate design designations of specific assemblies on Drawings.

C. STC-Rated Assemblies:  Provide materials and construction identical to those tested in assembly indicated according to ASTM E 90 and classified according to ASTM E 413 by a testing and inspecting agency.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

D. Mockups:  Provide a full-thickness finish mockup for each type and finish of gypsum veneer plaster and substrate to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Architect will select representative surfaces and conditions for application of each type of gypsum veneer plaster and substrate.

2. Provide mockups of [ceilings] [and] [partitions] in sizes of at least 100 sq. ft. (9 sq. m).

3. Apply gypsum veneer plaster, according to requirements for the completed Work, after permanent lighting and other environmental services have been activated.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

4. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

1.5 DELIVERY, STORAGE, AND HANDLING

A. Deliver materials in original packages, containers, and bundles bearing brand name and identification of manufacturer or supplier.

B. Store materials inside under cover and keep them dry and protected against damage from weather, direct sunlight, surface contamination, corrosion, construction traffic, and other causes.

C. Stack panels flat on leveled supports off floor or slab to prevent sagging.

1.6 PROJECT CONDITIONS

A. Environmental Limitations:  Comply with ASTM C 843 requirements or gypsum veneer plaster manufacturer's written recommendations, whichever are more stringent.

B. Room Temperatures:  Maintain not less than 55 deg F (13 deg C) or more than 80 deg F (27 deg C) for 7 days before application of [gypsum base and ] gypsum veneer plaster, continuously during application, and after application until veneer plaster is dry.

C. Avoid conditions that result in gypsum veneer plaster drying too rapidly.

1. Distribute heat evenly; prevent concentrated or uneven heat on veneer plaster.

2. Maintain relative humidity levels, for prevailing ambient temperature, that produce normal drying conditions.

3. Ventilate building spaces in a manner that prevents drafts of air from contacting surfaces during veneer plaster application until it is dry.

D. Do not install panels that are wet, moisture damaged, or mold damaged.

1. Indications that panels are wet or moisture damaged include, but are not limited to, discoloration, sagging, and irregular shape.

2. Indications that panels are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

PART 2 -  PRODUCTS

2.1 GYPSUM VENEER PLASTER MATERIALS

Indicate veneer plaster substrates on Drawings.  If substrate determines veneer plaster type required, insert applicable substrate descriptions under each type.

One-component systems are generally not recommended for masonry substrates; consult manufacturers for recommendations.

A. One-Component Gypsum Veneer Plaster:  ASTM C 587, formulated for application directly over substrate without use of separate base-coat material.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. G-P Gypsum; [Cameo] [DensArmor Cote Interior] Veneer Plaster.

b. National Gypsum Company; [Uni-Kal] [X-KALibur] Plaster.

c. USG Corporation; Diamond Interior Finish Plaster.

d. <Insert manufacturer's name; product name or designation.>

B. High-Strength, One-Component Gypsum Veneer Plaster:  ASTM C 587, ready-mixed, smooth, finish-coat veneer plaster containing mill-mixed, fine silica sand; with a compressive strength of 3000 psi (20 MPa) when tested according to ASTM C 472; and formulated for application directly over substrate without use of separate base-coat material.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. USG Corporation; Imperial Finish Plaster.

b. <Insert manufacturer's name; product name or designation.>

G-P Gypsum does not manufacture two-component gypsum veneer plaster.

C. Two-Component Gypsum Veneer Plaster:  ASTM C 587, with separate formulations; one for base-coat and one for finish-coat application over substrates.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. National Gypsum Company:

1) Base Coat:  Kal-Kote Plaster Base.

2) Smooth Finish Coat:  [Kal-Kote Smooth Finish] [Uni-Kal Plaster] [X-KALibur Plaster].

Retain last subparagraph above for ready-mixed smooth plaster finish or first subparagraph below for ready-mixed, textured plaster finish.

3) Textured Finish Coat:  Kal-Kote Texture Finish.

b. USG Corporation:

1) Base Coat:  Diamond Veneer Basecoat Plaster.

2) Smooth Finish Coat:  [Diamond Interior Finish Plaster] [RED TOP Finish Plaster] <Insert product name>.

Retain last subparagraph above for ready-mixed smooth plaster finish or first subparagraph below for job-aggregated texture plaster finish.

3) Textured Finish Coat:  Job-Aggregated Diamond Interior Finish.

c. <Insert manufacturer's name; product name or designation.>

G-P Gypsum and National Gypsum do not manufacture high-strength, two-component gypsum veneer plaster.

D. High-Strength, Two-Component Gypsum Veneer Plaster:  ASTM C 587, ready-mixed, base-coat plaster and smooth finish-coat veneer plaster containing mill-mixed, fine silica sand; with a compressive strength of 3000 psi (20 MPa) when tested according to ASTM C 472.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. USG Corporation:

1) Base Coat:  Imperial Basecoat Plaster.

2) Smooth Finish Coat:  Imperial Finish Plaster.

b. <Insert manufacturer's name; product name or designation.>

Delete paragraph and subparagraphs below if no radiant-heat gypsum veneer plaster applications.  If retaining, detail radiant-heat, two-component gypsum veneer plaster on Drawings and coordinate with Division 15 for electric heating cables.  Consult manufacturers for recommendations.

E. Radiant-Heat, Two-Component Gypsum Veneer Plaster:  ASTM C 587, and approved in writing by gypsum veneer plaster manufacturer for application with embedded electric heating cables.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

Retain subparagraph and associated subparagraphs below for ready-mixed applications.

a. National Gypsum Company:

1) Base Coat:  [Kal-Kote] [Two-Way Hardwall] Base Plaster.

2) Finish Coat:  Kal-Kote [Smooth] [Texture] Finish.

Delete subparagraphs and associated subparagraphs below if no job-aggregated texture plaster finish.

b. USG Corporation:

1) Base Coat:  Job-Aggregated Diamond Interior Finish Plaster.

2) Finish Coat:  Job-Aggregated Diamond Interior Finish Plaster.

c. <Insert manufacturer's name; product name or designation.>

Revise subparagraph below to suit products selected.

3. Provide [ready-mixed] [or] [job-aggregated] components, as standard for manufacturer, to comply with manufacturer's written recommendations.

Retain subparagraph below for job-aggregated texture plaster applications only; revise to suit products selected.  Use of aggregate is limited to some veneer plasters by USG.

4. Aggregate:  For job-aggregated [base coat] [and] texture finish coat, provide white silica sand passing a No. 30 (0.6-mm) sieve.

2.2 PANEL PRODUCTS

Retain first paragraph below to specify recycled content if required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  Recycled content of gypsum board varies greatly; consult manufacturers before inserting requirement.  An alternative method of meeting LEED Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 1 Section "LEED Requirements" that gives Contractor option and responsibility for determining how LEED Credit MR 4.1 and MR 4.2 requirement will be met.

A. Recycled Content:  Provide gypsum panel products with recycled content such that postconsumer recycled content plus one-half of preconsumer recycled content constitutes a minimum of <Insert number> percent by weight.

B. Panel Size:  Provide in maximum lengths and widths available that will minimize joints in each area and that correspond with support system indicated.

C. Gypsum Base for Veneer Plaster:  ASTM C 588/C 588M.

1. Regular Type:  [In thickness indicated] [1/2 inch (13 mm) thick, unless otherwise indicated] <Insert thickness>.

2. Type X:  [In thickness indicated] [5/8 inch (16 mm) thick] <Insert thickness>.

3. Foil-Backed, Regular-Type Core:  [In thickness indicated] [1/2 inch (13 mm) thick, unless otherwise indicated] <Insert thickness>.

4. Type C:  [In thickness indicated] [5/8 inch (16 mm) thick] [1/2 inch (13 mm) thick] <Insert thickness>.

Subparagraph below specifies National Gypsum's "Hi-Abuse Brand Kal-Kore" and USG's "Imperial Brand Abuse-Resistant (AR) Gypsum Base" plaster bases.

5. Abuse-Resistant Base:  With specially reinforced core for greater resistance to surface indentation, [5/8-inch (16-mm) thick, Type X core] [1/2-inch (13-mm) thick, regular-type core] <Insert thickness and core type>.

First subparagraph below specifies National Gypsum's "Hi-Impact Brand Kal-Kore" plaster base.

6. High-Impact Base:  With Type X core, plastic film laminated to back side for greater resistance to through-penetration (impact resistance), and [in thickness indicated] [5/8 inch (16 mm) thick] <Insert thickness>.

a. Plastic-Film Thickness:  [0.010 inch (0.254 mm)] [0.020 inch (0.508 mm)] [0.030 inch (0.762 mm)] [0.081 inch (2.057 mm)].

First subparagraph below specifies G-P Gypsum's "DensArmor Plus" moisture- and mold-resistant plaster base.

7. Moisture- and Mold-Resistant Base:  With moisture- and mold-resistant core, glass-mat facing on both sides of panel, and [in thickness indicated] [5/8-inch (16-mm) thick, Type X core] [1/2-inch (13-mm) thick, regular-type core] <Insert thickness>.

a. Mold Resistance:  ASTM D 3273; no mold growth after four weeks' exposure.

Backing panels for multilayer applications may be gypsum base or board.

D. Backing Panels for Multilayer Applications:  ASTM C 588/C 588M gypsum base or ASTM C 36/C 36M gypsum board, as recommended by gypsum veneer plaster manufacturer, for application method and thicknesses indicated.

1. Core:  Matching face layer, unless otherwise indicated.

2. Thickness:  Matching face layer, unless otherwise indicated.

Retain paragraph below for cementitious backer units if not specified in another Division 9 Section.

E. Cementitious Backer Units:  ANSI A118.9, [in thickness indicated] [1/2 inch (13 mm) thick] <Insert thickness>.

2.3 TRIM ACCESSORIES

A. Standard Trim:  ASTM C 1047, provided or approved by manufacturer for use in gypsum veneer plaster applications indicated.

1. Material:  [Galvanized or aluminum-coated steel sheet, rolled zinc, plastic, or paper-faced galvanized steel sheet] [Galvanized or aluminum-coated steel sheet or rolled zinc] [Plastic] [Paper-faced galvanized steel sheet].

2. Shapes:

a. Cornerbead.

b. Bullnose bead.

c. LC-Bead:  J-shaped; exposed long flange receives joint compound.

d. L-Bead:  L-shaped; exposed long flange receives joint compound.

e. U-Bead:  J-shaped; exposed short flange does not receive joint compound.

f. Curved-Edge Cornerbead:  With notched or flexible flanges.

g. Control joints.

Show dimensions and profiles of special aluminum trim on Drawings.

B. Aluminum Trim:  Extruded accessories of profiles and dimensions indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Fry Reglet Corporation.

b. Gordon Inc.

c. Pittcon Industries.

d. <Insert manufacturer's name.>

3. Aluminum:  Alloy and temper with not less than the strength and durability properties of ASTM B 221 (ASTM B 221M), Alloy 6063-T5.

Standard finishes for aluminum trim vary among manufacturers and can also depend on specific trim profile.  Custom finishes are also available, including baked-enamel, color anodic, and fluoropolymer finishes.  Consult manufacturer's product literature and verify availability before specifying.

4. Finish:  Manufacturer's standard [Architectural Class II, Clear Anodic Finish AA-M12C22A31, complying with AAMA 611] [chemical conversion coat finish] [prime paint finish] <Insert requirements>.

2.4 JOINT REINFORCING MATERIALS

A. General:  Comply with joint strength requirements in ASTM C 587 and with gypsum veneer plaster manufacturer's written recommendations for each application indicated.

B. Joint Tape:

See "Gypsum Base Panels" Article in the Evaluations for discussion of joint-tape materials.

1. Gypsum Base for Veneer Plaster:  [As recommended by gypsum veneer plaster manufacturer for applications indicated] [Paper] [Open-mesh, glass fiber].

2. Cementitious Backer Units:  As recommended by cementitious backer unit manufacturer.

Revise paragraph and subparagraphs below to suit Project.  See "Gypsum Base Panels" Article in the Evaluations.

C. Embedding Material for Joint Tape:

1. Gypsum Base for Veneer Plaster:  As recommended by gypsum veneer plaster manufacturer for use with joint-tape material and gypsum veneer plaster applications indicated.

2. Cementitious Backer Units:  As recommended by cementitious backer unit manufacturer for applications indicated.

2.5 AUXILIARY MATERIALS

A. General:  Provide auxiliary materials that comply with referenced product standards and manufacturer's written recommendations.

Retain paragraph below for monolithic concrete and masonry substrates, abuse-resistant base panels, and cementitious backer units.

B. Bonding Agent:  ASTM C 631, polyvinyl acetate.

Delete first paragraph and subparagraph below if no multilayer applications.

C. Laminating Adhesive:  Adhesive or joint compound recommended by manufacturer for directly adhering gypsum base face-layer panels to backing-layer panels in multilayer construction.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for gypsum board and panel adhesives.

1. Use adhesives that have a VOC content of 50 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

D. Steel Drill Screws:  ASTM C 1002, unless otherwise indicated.

Delete subparagraph below if panels are not attached to cold-formed metal framing specified in Division 5.

1. Use screws complying with ASTM C 954 for fastening panels to steel members from 0.033 to 0.112 inch (0.84 to 2.84 mm) thick.

Delete first paragraph below if no cementitious backer units.

E. For fastening cementitious backer units, use screws of type and size recommended by panel manufacturer.

F. Sound Attenuation Blankets:  ASTM C 665, Type I (blankets without membrane facing), produced by combining thermosetting resins with mineral fibers manufactured from glass, slag wool, or rock wool.

1. Fire-Resistance-Rated Assemblies:  Comply with mineral-fiber requirements of assembly.

Retain subparagraph below to specify recycled content if required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  An alternative method of meeting LEED Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 1 Section "LEED Requirements" that gives Contractor option and responsibility for determining how LEED Credit MR 4.1 and MR 4.2 requirement will be met.

2. Recycled Content:  Provide blankets with recycled content such that postconsumer recycled content plus one-half of preconsumer recycled content constitutes a minimum of <Insert number> percent by weight.

G. Acoustical Sealant:  As specified in Division 7 Section "Joint Sealants."

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.

1. Provide sealants that have a VOC content of [250] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain paragraph below for patch repair of monolithic concrete substrates.

H. Patching Mortar:  Dry-pack patching mortar, consisting of 1 part portland cement to 2-1/2 parts fine aggregate passing a No. 16 (1.18-mm) sieve, using only enough water for handling and placing.

2.6 GYPSUM VENEER PLASTER MIXES

A. Mechanically mix gypsum veneer plaster materials to comply with ASTM C 843 and with gypsum veneer plaster manufacturer's written recommendations.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance.

B. Examine panels before installation.  Reject panels that are wet, moisture damaged, or mold damaged.

Delete paragraph below if no radiant-heat plaster ceilings.  If retaining, edit to suit Project.

C. Radiant-Heat Gypsum Veneer Plaster Ceilings:  Verify that electric heating cables are installed taut and do not sag below ceiling substrate.  Verify that cable connectors and non-heating leads are [embedded (countersunk) into, but not through, gypsum base panel] [securely attached to concrete ceiling].

Delete first paragraph below if no masonry substrates.

D. Verify that mortar joints are struck flush.

E. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

Delete paragraph and subparagraphs below if not applicable.

A. Monolithic Concrete Substrates:  Prepare according to gypsum veneer plaster manufacturer's written recommendations and as follows:

1. Clean surfaces to remove dust, loose particles, grease, oil, incompatible curing compounds, form-release agents, and other foreign matter and deposits that could impair bond with gypsum veneer plaster.

2. Remove ridges and protrusions greater than 1/8 inch (3 mm) and fill depressions greater than 1/4 inch (6 mm) with patching mortar.  Allow to set and dry.

3. Apply bonding agent on dry and cured concrete substrates.

Delete paragraph and subparagraphs below if not applicable.  If retaining, insert requirements for filling joints or other surface imperfections; consult manufacturers for recommendations.

B. Masonry Substrates:  Prepare according to gypsum veneer plaster manufacturer's written recommendations and as follows:

1. Clean surfaces to remove dirt, grease, oil, and other foreign matter and deposits that could impair bond with gypsum veneer plaster.

2. Apply bonding agent on dry masonry substrates.

3.3 INSTALLING PANELS, GENERAL

A. Gypsum Base for Veneer Plaster:  Apply according to ASTM C 844 unless manufacturer's written recommendations are more stringent.

Degraded paper facing can adversely affect bond between gypsum base and veneer plaster.  See "Gypsum Base Panels" Article in the Evaluations.

1. Do not allow gypsum base to degrade from exposure to sunlight as evidenced by fading of paper facing.

2. Erection Tolerance:  No more than 1/16-inch (1.6-mm) offsets between planes of gypsum base panels, and 1/8 inch in 8 feet (3 mm in 2.4 m) noncumulative, for level, plumb, warp, and bow.

B. Install sound attenuation blankets before installing gypsum base for veneer plaster unless blankets are readily installed after panels have been installed on one side.

C. Install ceiling panels across framing to minimize the number of abutting end joints and to avoid abutting end joints in the central area of each ceiling.  Stagger abutting end joints of adjacent panels not less than one framing member.

D. Install panels with face side out.  Butt panels together for a light contact at edges and ends with not more than 1/16 inch (1.6 mm) of open space between panels.  Do not force into place.

E. Locate edge and end joints over supports except in ceiling applications where intermediate supports or back-blocking is provided behind end joints.  Do not place tapered edges against cut edges or ends.  Stagger vertical joints on opposite sides of partitions.  Do not make joints, other than control joints, at corners of framed openings.

F. Attach panels to steel studs so leading edge or end of each panel is attached to open (unsupported) edges of stud flanges first.

G. Attach panels to framing provided at openings and cutouts.

H. Form control joints with space between edges of adjoining panels.

I. Cover both sides of steel stud partition framing with panels in concealed spaces, including above ceilings, except in internally braced chases.

1. Unless concealed application is indicated or required for sound, fire, air, or smoke ratings, coverage may be accomplished with scraps of not less than 8 sq. ft. (0.74 sq. m) in area.

2. Fit panels around ducts, pipes, and conduits.

3. Where partitions intersect open concrete coffers, concrete joists, and other structural members projecting below underside of floor/roof slabs and decks, cut panels to fit profile formed by coffers, joists, and other structural members; allow 1/4- to 3/8-inch- (6.4- to 9.5-mm-) wide joints; seal joints with acoustical sealant.

Retain first paragraph below for wood framing.  This application is recommended by manufacturers, particularly for directly attached ceilings.

J. Wood Framing:  Install panels over wood framing, with "floating" internal corner construction.  Do not attach panels across the flat grain of wide-dimension lumber, including floor joists and headers.  "Float" panels over these members or provide control joints to counteract wood shrinkage.

K. STC-Rated Assemblies:  Seal construction at perimeters, behind control joints, and at openings and penetrations with a continuous bead of acoustical sealant.  Install acoustical sealant at both faces of partitions at perimeters and through penetrations.  Comply with ASTM C 919 and with manufacturer's written recommendations for locating edge trim and closing off sound-flanking paths around or through assemblies, including sealing partitions above acoustical ceilings.

L. Fastener Spacing:  Comply with ASTM C 844, manufacturer's written recommendations, and fire-resistance-rating requirements.

Subparagraph below is an ASTM C 844 requirement for single-ply gypsum base installation; retain or revise to suit Project and requirements of authorities having jurisdiction.

1. Space screws a maximum of 12 inches (305 mm) o.c. along framing members for wall or ceiling application.

Subparagraph below is a USG recommendation for installation of cementitious backer units; retain and edit to suit Project conditions.

2. Space fasteners in cementitious backer units a maximum of [8 inches (200 mm) o.c. along framing members for wall applications] [and] [6 inches (150 mm) o.c. along framing members for ceiling applications].

3.4 INSTALLING PANELS

A. Install gypsum base panels for veneer plaster in the following locations:

1. Regular Type:  [As indicated on Drawings] [Vertical surfaces, unless otherwise indicated].

2. Ceiling Type:  [As indicated on Drawings] [Ceiling surfaces].

3. Type X:  [As indicated on Drawings] [Where required for fire-resistance-rated assembly] [Vertical surfaces, unless otherwise indicated] <Insert requirements>.

4. Type C:  [As indicated on Drawings] [Where required for specific fire-resistance-rated assembly indicated] <Insert requirements>.

5. Foil-Backed, Regular-Type Core:  [As indicated on Drawings] <Insert requirements>.

6. Abuse-Resistant Base:  [As indicated on Drawings] <Insert requirements>.

7. High-Impact Base:  [As indicated on Drawings] <Insert requirements>.

8. Moisture- and Mold-Resistant Base:  [As indicated on Drawings] <Insert requirements>.

B. Single-Layer Application:

Delete first subparagraph below if no single-layer gypsum veneer plaster ceilings.

1. On ceilings, apply gypsum base panels before wall panels, to the greatest extent possible and at right angles to framing, unless otherwise indicated.

2. On walls, apply gypsum base panels [vertically and parallel] [horizontally and perpendicular] to framing, unless otherwise indicated or required by fire-resistance-rated assembly, and minimize end joints.

a. Stagger abutting end joints not less than one framing member in alternate courses of panels.

Usually retain first subparagraph below if vertical application of gypsum base panels is specified.

b. At stairwells and other walls higher than 30 feet (9.0 m), install gypsum base panels horizontally unless otherwise indicated or required by fire-resistance-rated assembly.

3. On Z-furring, apply gypsum base panels vertically (parallel to framing) with no end joints.  Locate edge joints over furring members.

Delete paragraph below if no multilayer gypsum veneer plaster ceilings.

C. Multilayer Application on Ceilings:  Apply backing panels for ceilings before applying backing panels for partitions; apply gypsum-base face layers in same sequence.  Apply backing panels at right angles to framing members and offset gypsum-base face-layer joints a minimum of 16 inches (400 mm) from parallel backing panel joints, unless otherwise required by fire-resistance-rated assembly.

Revise first paragraph and subparagraph below if wall conditions permit economical use of horizontal application of backing panels and gypsum-base face layers are laminated to backing panels.

D. Multilayer Application on Partitions:  Apply backing panels indicated and gypsum-base face layers vertically (parallel to framing) with joints of backing panels located over stud or furring members and gypsum-base face-layer joints offset at least one stud or furring member from backing-panel joints, unless otherwise required by fire-resistance-rated assembly.  Stagger joints on opposite sides of partitions.

1. Z-Furring:  Apply backing panels vertically (parallel to framing) and gypsum-base face layer either vertically or horizontally (perpendicular to framing) with vertical joints offset at least one furring member.  Locate edge joints of backing panels over furring members.

E. Single-Layer Fastening Methods:  Apply gypsum base panels to supports with steel drill screws.

First option in paragraph below is required for some fire-resistance-rated assemblies.

F. Multilayer Fastening Methods:  Fasten backing panels [and gypsum-base face layers separately to supports with screws] [with screws; fasten gypsum-base face layers with adhesive and supplementary fasteners].

Delete first paragraph below if no curved partitions.

G. Curved Partitions:  Comply with gypsum base manufacturer's written installation recommendations.

H. Cementitious Backer Units:  Install according to ANSI A108.11.

Retain subparagraph below if cementitious backer units abut thinner gypsum base panels in same plane, or vice versa, and detail these conditions on Drawings.

1. Where cementitious backer units abut other types of panels in same plane, shim surfaces to produce a uniform plane across panel surfaces.

3.5 INSTALLING TRIM ACCESSORIES

A. General:  For trim with back flanges intended for fasteners, attach to framing with same fasteners used for panels.  Otherwise, attach trim according to manufacturer's written instructions.

Generally retain first option in first paragraph below and show joints on Drawings.  See "Crack Control" Article in the Evaluations for discussion of control joints.

B. Control Joints:  Install [at locations indicated on Drawings] [according to ASTM C 844 and in specific locations approved by Architect].

C. Trim:  Install in the following locations:

1. Cornerbead:  Use at outside corners[, unless otherwise indicated].

2. Bullnose Bead:  Use [at outside corners] [where indicated] <Insert requirements>.

3. LC-Bead:  Use [at exposed panel edges] <Insert requirements>.

4. L-Bead:  Use [where indicated] <Insert requirements>.

5. U-Bead:  Use [at exposed panel edges] [where indicated] <Insert requirements>.

6. Curved-Edge Cornerbead:  Use at curved openings.

Delete paragraph and subparagraphs below if no aluminum trim accessories or if not applicable to products selected.

D. Aluminum Trim:

1. Install aluminum trim according to manufacturer's written recommendations.

2. Apply and embed joint tape over flanges of aluminum trim accessories if recommended by trim manufacturer.

3.6 INSTALLING JOINT REINFORCEMENT

A. Gypsum Base for Veneer Plaster:  Reinforce interior angles and flat joints with joint tape and embedding material to comply with ASTM C 843 and with gypsum veneer plaster manufacturer's written recommendations.

Delete paragraph below if abuse-resistant base panels are not specified in this Section.

B. Abuse-Resistant Base:  Reinforce joints between abuse-resistant panels with joint tape and embedding material according to panel manufacturer's written recommendations.

Delete paragraph below if impact-resistant base panels are not specified in this Section.

C. Impact-Resistant Base:  Reinforce joints between impact-resistant panels with joint tape and embedding material according to panel manufacturer's written recommendations.

Delete paragraph below if moisture- and mold-resistant base panels are not specified in this Section.

D. Moisture- and Mold-Resistant Base:  Reinforce joints between moisture- and mold-resistant panels with joint tape and embedding material according to panel manufacturer's written recommendations.

Delete paragraph below if cementitious backer units are not specified in this Section.  If cementitious backer units are used as veneer plaster substrate, retain and revise to suit Project.

E. Cementitious Backer Units:  Reinforce joints between cementitious backer units with joint tape and embedding material according to unit manufacturer's written recommendations.

3.7 GYPSUM VENEER PLASTERING

Edit first paragraph below to suit Project.

A. Bonding Agent:  Apply bonding agent on dry [monolithic concrete] [masonry] [abuse-resistant base panels] [cementitious backer units] <Insert substrate> according to gypsum veneer plaster manufacturer's written recommendations.

B. Gypsum Veneer Plaster Application:  Comply with ASTM C 843 and with veneer plaster manufacturer's written recommendations.

Retain subparagraph below for regular and high-strength, one-component gypsum veneer plaster.  Include double-back option for monolithic concrete substrates.

1. One-Component Gypsum Veneer Plaster:  Trowel apply base coat over substrate to uniform thickness of 1/16 to 3/32 inch (1.6 to 2.4 mm).  Fill all voids and imperfections.[  Allow plaster to set, then scratch and immediately double back with gypsum veneer plaster to uniform total thickness of 3/16 inch (4.8 mm).]

Retain first subparagraph and associated subparagraphs below for regular and high-strength, two-component gypsum veneer plaster.

2. Two-Component Gypsum Veneer Plaster:

a. Base Coat:  Trowel apply base coat over substrate to uniform thickness of 1/16 to 3/32 inch (1.6 to 2.4 mm).  Fill all voids and imperfections.

b. Finish Coat:  Trowel apply finish-coat plaster over base-coat plaster to uniform thickness of 1/16 to 3/32 inch (1.6 to 2.4 mm).

3. Where gypsum veneer plaster abuts only metal door frames, windows, and other units, groove finish coat to eliminate spalling.

See "Gypsum Base Panels" Article in the Evaluations.

4. Do not apply veneer plaster to gypsum base if paper facing has degraded from exposure to sunlight.  Before applying veneer plaster, use remedial methods to restore bonding capability to degraded paper facing according to manufacturer's written recommendations [and as approved by Architect].

Delete first paragraph and subparagraphs below if no radiant-heat plaster ceilings.

C. Radiant-Heat, Two-Component Gypsum Veneer Plaster Ceilings:  Comply with ASTM C 843 and with radiant-heat veneer plaster manufacturer's written recommendations.

1. Base Coat:  Apply plaster base coat to sufficiently cover electric heating cables.  Trowel plaster parallel in direction of cables to uniform thickness of 3/16 inch (4.8 mm).  Completely cover cables.

2. Finish Coat:  After base coat has developed sufficient bond, apply finish coat.  Trowel plaster to uniform thickness of 1/16 to 3/32 inch (1.6 to 2.4 mm).

D. Concealed Surfaces:  Do not omit gypsum veneer plaster behind cabinets, furniture, furnishings, and similar removable items.  Omit veneer plaster in the following areas where it will be concealed from view in the completed Work unless otherwise indicated or required to maintain fire-resistance and STC ratings:

Edit list below to suit Project.

1. Above suspended ceilings.

2. Behind wood paneling.

3. <Insert requirements.>

Retain applicable finishes in paragraph below.  Coordinate with products selected in Part 2.  If retaining more than one finish, indicate locations of each on Drawings or in schedules.

E. Gypsum Veneer Plaster Finish:  [Smooth-troweled finish, unless otherwise indicated] [Textured finish matching Architect's sample and approved mockups] <Insert textured finish requirements>.

3.8 PROTECTION

A. Protect installed gypsum veneer plaster from damage from weather, condensation, construction, and other causes during remainder of the construction period.

B. Remove and replace gypsum veneer plaster and gypsum base panels that are wet, moisture damaged, or mold damaged.

1. Indications that gypsum base panels are wet or moisture damaged include, but are not limited to, discoloration, sagging, and irregular shape.

2. Indications that gypsum base panels are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

END OF SECTION 09215END OF SECTION 09215

GYPSUM VENEER PLASTERING
09215 - 1

