Copyright 2002 AIA
MASTERSPEC Full Length
11/02 (R 05/06)

Copyright 2002, The American Institute of Architects (AIA)

SECTION 09385 - DIMENSION STONE TILE
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Dimension stone tile and related setting materials applied to [floors] [and] [walls].

2. Stone thresholds.

3. Cementitious backer units installed as part of dimension stone tile installation.

4. Metal edge strips installed as part of dimension stone tile installation.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 3 Section "Cast-in-Place Concrete" for monolithic slab finishes specified for tile substrates.

2. Division 7 Section "Joint Sealants" for sealing joints in stone tile with elastomeric sealants.

Delete subparagraph below if cementitious backer units are specified in this Section.

3. Division 9 Section "Gypsum Veneer Plaster" for cementitious backer units.

Delete first option in first subparagraph below if cementitious backer units are used and are specified in this Section.

4. Division 9 Section "Gypsum Board Assemblies" for [cementitious backer units] [glass-mat, water-resistant backer board].

5. Division 9 Section "Stone Paving and Flooring" for stone paving and flooring other than dimension stone tile.

Delete subparagraph below if stone base is in the form of tile.

6. Division 9 Section "Interior Stone Facing" for stone base in the form of running trim rather than tile.

If allowances, unit prices, or alternates apply to Work of this Section, insert brief paragraphs here to alert Contractor and reference appropriate Division 1 Sections for specific details.  Coordinate description with applicable paragraphs in Parts 2 and 3.

1.3 DEFINITIONS

Retain terms that remain after this Section has been edited.

First definition below is based on definitions in ASTM C 119 and in MIA's "Dimension Stone Design Manual."

A. Dimension Stone Tile:  Modular stone units less than 3/4 inch (20 mm) thick.

B. Module Size:  Actual tile size plus joint width.

Delete finish paragraphs below not required.  Not all finishes below are available for all stone varieties.

Visual test for polished finish in first paragraph below requires surface flatness that cannot be measured with a straightedge.

C. Polished Finish:  Smooth finish that produces sharp, mirrorlike reflections.  Reflected images of overhead fluorescent tubes have straight lines without visible distortion when viewed at arm's length.

D. Honed Finish:  Smooth, nonreflective finish similar to that produced by grinding with a 400- to 1200-grit abrasive; with a gap not exceeding 0.005 inch (0.13 mm), when faces are tested for flatness with a 24-inch (600-mm) straightedge.

E. Sand-Rubbed Finish:  Uniform, fine-textured surface similar to that produced by grinding with a 40-grit abrasive; with a gap not exceeding 1/32 inch (0.8 mm), when faces are tested for flatness with a 24-inch (600-mm) straightedge.

Profile depth of thermal-finished stone varies, depending on stone selected.  Flatness in paragraph below is suitable for specifying most stone; increase or decrease allowable gap to suit stone selected and Project requirements.

F. Thermal Finish:  Uniform, coarse-textured surface produced by thermal shock; with a gap not exceeding [3/16 inch (5 mm)] <Insert gap>, when faces are tested for flatness with a 24-inch (600-mm) straightedge.

Flatness in paragraph below is suitable for specifying most slate; increase or decrease allowable gap to suit stone selected and Project requirements.

G. Natural-Cleft Finish:  Uneven surface produced by splitting stone along a natural cleavage plane; without visible tool marks and with a gap not exceeding [3/16 inch (5 mm)] <Insert gap>, when faces are tested for flatness with a 24-inch (600-mm) straightedge.

1.4 SUBMITTALS

A. Product Data:  For each type of product indicated.

Delete first paragraph below if tile installations are not complex enough to justify Shop Drawings.

B. Shop Drawings:  Show locations of each type of stone tile and tile pattern.  Show widths, details, and locations of expansion, contraction, control, and isolation joints in substrates and finished stone tile surfaces.[  Show stone thresholds.]

C. Samples for Initial Selection:  For each type of grout indicated and accessories involving color selection.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain paragraph and subparagraphs below with or without above.  Revise list of Samples to correspond with products specified.

D. Samples for Verification:

Retain one or more of first three subparagraphs below.

1. Full-size units of each type of stone tile[ in each finish required].

Samples in subparagraph below may be a good alternative to mockups.  Samples below will generally be smaller than most mockups but have the advantage that they can be submitted before Project is ready for constructing a mockup.

2. Assembled Samples with grouted joints for each type of stone tile[ and for each finish required], at least [36 inches (900 mm) square] <Insert size> and mounted on a rigid panel.  Use grout of type and in color(s) approved for completed Work.

Division 1 Section "Submittal Procedures" requires that Samples for verification "show the full range of color and texture variations expected," but this requirement may not be adequate for stone varieties that exhibit wide variations in color and veining.  First subparagraph below should provide better control.

3. Range Samples consisting of at least [two] [three] [four] [five] <Insert number> full-size units of each type of stone tile, exhibiting extremes of the full range of color and other visual characteristics expected.  Range Samples establish the standard by which individual tiles[ and thresholds] will be judged.

4. Stone thresholds in 6-inch (150-mm) lengths.

5. Metal edge strips in 6-inch (150-mm) lengths.

Retain paragraph and subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives and sealants.

E. LEED Submittal:

1. Product Data for Credit EQ 4.1:  For [adhesives] [and] [sealants], including printed statement of VOC content.

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements."

F. Qualification Data:  For Installer.

G. Maintenance Data:  For dimension stone tile to include in maintenance manuals.

1.5 QUALITY ASSURANCE

Delete first paragraph below if not required by size of Project.

A. Supplier Qualifications:  A firm experienced in supplying products similar to those indicated for the Project and with a record of successful in-service performance.

B. Source Limitations for Stone Tile[ and Thresholds]:  Obtain each type of stone product through one source from a single producer.

Subparagraph below may help provide consistent appearance for each stone variety among tiles with different finishes and thresholds but may not always be practical or necessary.  Unless large quantities of a variety of stone are used, tiles and possibly thresholds may be stock items, in which case the supplier will have no control over which quarry location and possibly even quarry the material comes from.  For varieties that exhibit a high degree of consistency, below may not be necessary.

1. Obtain each variety of stone, regardless of product, size, and finish, from same location in a single quarry with resources to provide materials of consistent quality in appearance and physical properties.

C. Source Limitations for Setting and Grouting Materials:  Obtain each type of manufactured product through one source from a single manufacturer.

Delete subparagraph below if no aggregates are added at Project site.

1. For aggregates added at Project site, obtain from one source or producer.

D. Source Limitations for Other Products:  Obtain each of the following products specified in this Section through one source from a single manufacturer:

Delete products below not retained in Part 2 and insert those that are added.

1. Joint sealants.

2. Cementitious backer units.

3. Metal edge strips.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

E. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects[ and set quality standards for materials and execution].

Division 1 Section "Quality Requirements" states "build mockups in location and of size indicated or, if not indicated, as directed." Consider inserting size and location requirements in two subparagraphs below or showing on Drawings.

1. Build mockup of[ each type of] floor tile installation.

2. Build mockup of[ each type of] wall tile installation.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

F. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

1.6 DELIVERY, STORAGE, AND HANDLING

A. Deliver materials to Project site in factory wrappings, clearly labeled with identification of manufacturer and lot number.

B. Store tile and cementitious materials on elevated platforms, under cover, and in a dry location.

C. Store aggregates where grading and other required characteristics can be maintained and contamination avoided.

D. Store [liquid latexes] [and] [emulsion adhesives] in unopened containers and protected from freezing.

1.7 PROJECT CONDITIONS

A. Environmental Limitations:  Do not install stone tile until construction in spaces is complete and ambient temperature and humidity conditions are maintained at the levels indicated in referenced standards and manufacturer's written instructions.

1.8 SEQUENCING AND SCHEDULING

A. Sequence stone tile installation with other work to minimize possibility of damage and soiling during remainder of construction period.

B. Install stone tile and accessories only after other finishing operations, including painting, have been completed.

1.9 EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A. Furnish extra materials described below that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Revise subparagraph below to suit Project.  5 percent may be advisable for custom installations.

1. Dimension Stone Tile:  [Furnish quantity of full-size units equal to 3 percent of amount installed, for each type, composition, color, pattern, and size indicated.]

Select option in subparagraph above and delete subparagraph below, or delete option above and retain below.

a. <Insert, in separate subparagraphs, stone tile type designation or description and quantity required for each category of stone tile for which extra material is required.>

PART 2 -  PRODUCTS

2.1 STONE PRODUCTS

Retain one of three paragraphs and associated subparagraphs below.  Retain first for nonproprietary specification, second for semiproprietary specification, or third for proprietary specification.  Refer to Division 1 Section "Product Requirements."

A. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, those indicated.

B. Varieties and Sources:  Subject to compliance with requirements for each stone product type, provide one of the stone varieties indicated.

Retain subparagraph below with either paragraph above if more than one finish is used for same stone.

1. Where two or more stone product types listed in the paragraphs below are identical except for size or finish, provide same variety from same source for each type.

Delete subparagraph below if thresholds are not required or are a different variety than tile.

2. Where threshold types are identical to tile types except for size or finish, provide same variety from same source for each type.

C. Varieties and Sources:  Subject to compliance with requirements, provide stone varieties from sources indicated.

Select first option in paragraph below for floors with normal foot traffic; second option, for commercial floors, stairs, and other floors with heavy foot traffic.  Verify that stone varieties selected comply with requirement specified or revise minimum value.  Most slate has a value of 8 or less.

D. Abrasion Resistance:  Provide stone with a value of not less than [10] [12] <Insert value>, as determined per ASTM C 1353 or ASTM C 241.

Revise paragraph below to suit Project.  Some stones selected for specific appearance characteristics may be unable to comply with below.

E. Provide stone products that are free of defects impairing their function for use indicated, including cracks, seams, and starts.

Delete paragraph and subparagraph below if stone varieties selected do not have a directional pattern.  If more than one type of stone is used and it is not clear whether a variety has a directional pattern, it may be better to delete below and indicate pattern orientation requirements in stone tile and threshold schedules.

F. Pattern Orientation:  For stone varieties with a directional pattern, provide tile with pattern [oriented parallel to one side of tile] [randomly oriented at various angles to sides of tiles].

1. For stone varieties that exhibit a directional pattern, provide thresholds with pattern [oriented parallel to] [oriented at an angle of 45 degrees or less to] [randomly oriented at various angles to] long edges of thresholds.

Copy and re-edit paragraph and subparagraphs below for each stone tile type required.  Delete inapplicable subparagraphs.  Insert number to complete designation for each stone tile type retained below.  Use this designation on Drawings to show where each stone tile type is required.

G. Stone Tile Type[ ST-<#>]:

Generally retain one of first seven subparagraphs below.  If acceptable varieties and sources of stone are specified and substitutions are not allowed, verify that stone selected can comply with requirements in appropriate subparagraph.  Retaining applicable subparagraphs below can help ensure that stone supplied is sound enough for intended use.

1. Stone Type: Granite, complying with ASTM C 615.

2. Stone Type:Limestone, complying with ASTM C 568, Classification [II (Medium Density)] [III (High Density)].

Revise first subparagraph below if marble variety selected does not comply with ASTM C 503. If using marble that does not comply, consider inserting some physical property requirements that stone selected can comply with and that will help ensure that stone supplied is sound enough for intended use.

3. Stone Type:Marble, complying with ASTM C 503, Classification [I, Calcite] [II, Dolomite].

4. Stone Type:  Quartz-basedstone, complying with ASTM C 616, Classification [I, Sandstone] [II, Quartzitic Sandstone] [III, Quartzite].

5. Stone Type:Serpentine, complying with ASTM C 1526, Classification [I, Exterior] [II, Interior].

6. Stone Type:Slate, complying with ASTM C 629, Classification [I, Exterior] [II, Interior].

7. Stone Type:Travertine, complying with ASTM C 1527, Classification [I, Exterior] [II, Interior].

8. Varieties and Sources:

a. <Insert name of variety and producer, distributor, or importer.>

Select applicable cut in first subparagraph below; delete if stone selected has no veining.

9. Cut:  [Vein] [Fleuri] cut.

10. Finish:  [Polished] [Honed] [Sand rubbed] [Thermal] [Natural cleft] [As indicated] [Match Architect's sample].

11. Edges:  [Square] [Beveled] [Eased].

12. Module Size:  [6 by 6 inches (152 by 152 mm)] [6 by 12 inches (152 by 305)] [12 by 12 inches (305 by 305 mm)] [300 by 300 mm] [18 by 18 inches (457 by 457 mm)] [500 by 500 mm] [As indicated].

13. Nominal Tile Thickness:  [1/4 inch (6 mm)] [3/8 inch (10 mm)] [1/2 inch (13 mm)] [5/8 inch (16 mm)].

14. Joint Width:  [Hand tight] [1/16 inch (1.5 mm)] [1/8 inch (3 mm)] [1/4 inch (6 mm)] [3/8 inch (10 mm)] [1/2 inch (13 mm)].

Copy and re-edit paragraph and subparagraphs below for each stone threshold type required.  Delete inapplicable subparagraphs.  Insert number to complete designation for each stone threshold type retained below.  Use this designation on Drawings to show where each stone threshold type is required.

H. Stone Threshold Type[ TH-<#>]:

Generally retain one of first seven subparagraphs below.  If acceptable varieties and sources of stone are specified and substitutions are not allowed, verify that stone selected can comply with requirements in appropriate subparagraph.  Retaining applicable subparagraphs below can help ensure that stone supplied is sound enough for intended use.

1. Stone Type: Granite, complying with ASTM C 615.

2. Stone Type:Limestone, complying with ASTM C 568, Classification [II (Medium Density)] [III (High Density)].

Revise first subparagraph below if marble variety selected does not comply with ASTM C 503. If using marble that does not comply, consider inserting some physical property requirements that stone selected can comply with and that will help ensure that stone supplied is sound enough for intended use.

3. Stone Type:Marble, complying with ASTM C 503, Classification [I, Calcite] [II, Dolomite].

4. Stone Type:  Quartz-basedstone, complying with ASTM C 616, Classification [I, Sandstone] [II, Quartzitic Sandstone] [III, Quartzite].

5. Stone Type:Serpentine, complying with ASTM C 1526, Classification [I, Exterior] [II, Interior].

6. Stone Type:Slate, complying with ASTM C 629, Classification [I, Exterior] [II, Interior].

7. Stone Type:Travertine, complying with ASTM C 1527, Classification [I, Exterior] [II, Interior].

8. Varieties and Sources:

a. <Insert name of variety and producer, distributor, or importer.>

Select applicable cut in first subparagraph below; delete if stone selected has no veining.

9. Cut:  [Vein] [Fleuri] cut.

10. Finish:  [Polished] [Honed] [Sand rubbed] [Thermal] [Natural cleft] [As indicated] [Match Architect's sample].

11. Edges:  [Square] [Beveled] [Eased] [As indicated].

12. Nominal Threshold Thickness:  [1/4 inch (6 mm)] [3/8 inch (10 mm)] [1/2 inch (13 mm)] [5/8 inch (16 mm)] [3/4 inch (19 mm)].

2.2 SETTING AND GROUTING MATERIALS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

If retaining one of two paragraphs and list of manufacturers below, delete those manufacturers that do not offer setting materials specified in this Article.  See tables in the Evaluations in Division 9 Section "Ceramic Tile" for a list of manufacturers according to product types.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Atlas Minerals & Chemicals, Inc.

2. Boiardi Products Corporation.

3. Bonsal, W. R., Company.

4. Bostik Findley.

5. C-Cure.

6. Custom Building Products.

7. DAP Inc.

8. Jamo Inc.

9. Laticrete International, Inc.

10. MAPEI Corp.

11. SGM.

12. Summitville Tiles, Inc.

13. TEC Incorporated; H. B. Fuller Company.

14. <Insert manufacturer's name.>

Retain setting and grouting materials in this Article as required for installation methods selected; delete others.  For proprietary products, coordinate with list of manufacturers.

C. Portland Cement Mortar (Thickset) Installation Materials:  ANSI A108.1A and as specified below:

1. Cleavage Membrane:  Asphalt felt, ASTM D 226, Type I (No. 15); or polyethylene sheeting, ASTM D 4397, 4.0 mils (0.1 mm) thick.

Retain subparagraph below for reinforcing mortar bed.

2. Reinforcing Wire Fabric:  Galvanized, welded wire fabric, 2 by 2 inches (50.8 by 50.8 mm) by 0.062-inch (1.57-mm) diameter; comply with ASTM A 185 and ASTM A 82 except for minimum wire size.

Retain subparagraph and associated subparagraphs below for portland cement plaster scratch coat.  Delete if scratch coat is specified in Division 9 Section "Portland Cement Plaster."

3. Expanded Metal Lath:  Diamond-mesh lath complying with ASTM C 847.

a. Base Metal and Finish for Interior Applications:  Uncoated or zinc-coated (galvanized) steel sheet, with uncoated steel sheet painted after fabrication into lath.

Delete subparagraph above or first subparagraph below if not applicable.

b. Base Metal and Finish for Exterior Applications:  Zinc-coated (galvanized) steel sheet.

c. Configuration over Studs and Furring:  Flat.

Delete subparagraph above or first subparagraph below if not applicable.

d. Configuration over Solid Surfaces:  Self-furring.

e. Weight:  [2.5 lb/sq. yd. (1.4 kg/sq. m)] [3.4 lb/sq. yd. (1.8 kg/sq. m)].

Retain subparagraph below if latex additive is required to improve flexibility and other properties of mortar setting bed.

4. Latex Additive:  [Manufacturer's standard] [acrylic-resin] [or] [styrene-butadiene-rubber] water emulsion, serving as replacement for part or all of gaging water, of type specifically recommended by latex-additive manufacturer for use with field-mixed portland cement and aggregate mortar bed.

D. Dry-Set Portland Cement Mortar (Thin Set):  ANSI A118.1.

See Evaluations for difference between normal and nonsagging mortar.

1. For wall applications, provide nonsagging mortar that complies with Paragraph C-4.6.1 in addition to other requirements in ANSI A118.1.

Some manufacturers produce medium-bed, dry-set mortars.  Insert here if required, with wording similar to that used below for medium-bed, latex-portland cement mortar.

E. Latex-Portland Cement Mortar (Thin Set):  ANSI A118.4, consisting of the following:

Retain either subparagraph below.

1. Prepackaged dry-mortar mix containing dry, redispersible, ethylene vinyl acetate additive to which only water must be added at Project site.

2. Prepackaged dry-mortar mix combined with [acrylic-resin] [or] [styrene-butadiene-rubber] liquid-latex additive.

Retain subparagraph below with either subparagraph above.  See Evaluations for difference between normal and nonsagging mortar.

a. For wall applications, provide nonsagging mortar that complies with Paragraph F-4.6.1 in addition to other requirements in ANSI A118.4.

ANSI A118.4 does not recognize medium-bed mortars.

F. Medium-Bed, Latex-Portland Cement Mortar:  Provide materials composed as follows, with physical properties equaling or exceeding those required for thin-set mortars based on testing of medium-bed specimens according to ANSI A118.4:

Retain either subparagraph below.

1. Prepackaged dry-mortar mix containing dry, redispersible, ethylene vinyl acetate additive to which only water must be added at Project site.

2. Prepackaged dry-mortar mix combined with [acrylic-resin] [or] [styrene-butadiene-rubber] liquid-latex additive.

Product in paragraph below is preferred setting material for certain types of stone that are prone to warping due to water absorption from various types of mortars and from water-emulsion organic adhesives (although below is water cleanable, it contains very little water).  See Evaluations.  Retain option if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for ceramic tile adhesives8.

G. Water-Cleanable Epoxy Adhesive:  ANSI A118.3, water-cleanable, tile-setting epoxy adhesive[, with a VOC content of 65 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24)].

Type II organic adhesive is also available but is suitable only for interior ceilings and walls subject to dry, light service or limited water exposure.  Retain option in paragraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for ceramic tile adhesives.

H. Organic Adhesive:  ANSI A136.1, Type I[, with a VOC content of 65 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24)].

Retain types of grout in five paragraphs and associated subparagraphs below to suit Project.  Avoid sand-portland cement grout and commercial sanded grouts for tile with honed or polished finish.  Sanded grout is generally used for tile installed with joint widths 1/8 inch (3.2 mm) or wider, and unsanded grout for tile installed with joint widths 1/8 inch (3.2 mm) or narrower.  Coordinate with grout types specified in Part 3 "Stone Floor Tile Installation Schedule" and "Stone Wall Tile Installation Schedule" articles.

I. Sand-Portland Cement Grout:  ANSI A108.10, composed of white or gray cement and white or colored aggregate as required to produce required color.

Delete paragraph above if only prepackaged products are acceptable.  Grout above is field-mixed portland cement and fine-graded sand that is not included in ANSI A118.6 but whose materials are covered in ANSI A108.10.  Retain one or more of first three paragraphs and associated subparagraphs below if only prepackaged products are allowed or if unsanded grout is required.

J. Standard Sanded Cement Grout:  ANSI A118.6.

K. Standard Unsanded Cement Grout:  ANSI A118.6.

L. Polymer-Modified Tile Grout:  ANSI A118.7.

Retain one of three subparagraphs below with paragraph above.

1. Polymer Type:  Ethylene vinyl acetate, in dry, redispersible form, prepackaged with other dry ingredients.

2. Polymer Type:  [Acrylic resin] [or] [styrene-butadiene rubber] in liquid-latex form for addition to prepackaged dry-grout mix.

3. Polymer Type:  Either ethylene vinyl acetate, in dry, redispersible form, prepackaged with other dry ingredients, or acrylic resin or styrene-butadiene rubber in liquid-latex form for addition to prepackaged dry-grout mix.

Product in paragraph below is more resistant to staining than portland cement-based grouts.  Product below is also the preferred grout for certain types of stone that are prone to warping due to water absorption from setting materials and grouts.  (Although below is water cleanable, it contains very little water.) See Evaluations.

M. Water-Cleanable Epoxy Grout:  ANSI A118.3, chemical-resistant, water-cleanable, tile-setting and -grouting epoxy.

2.3 ELASTOMERIC SEALANTS

Delete this Article if sealant work is specified in Division 7 Section "Joint Sealants."

A. Provide manufacturer's standard chemically curing, elastomeric sealants of base polymer and characteristics indicated below that comply with applicable requirements in Division 7 Section "Joint Sealants."

Coordinate types of joint sealant retained below with applicable subparagraph titles used in Part 2 'Elastomeric Joint Sealants" Article in Division 7 Section "Joint Sealants" in which various elastomeric-sealant types are specified.  Include designations such as "ES-<#>" if they are retained in "Part 2 "Elastomeric Joint Sealants" Article in the "Joint Sealants" Section.

Silicone sealant in subparagraph below is suitable for joints in nontraffic surfaces only.  Acid-curing silicone sealants may etch polished marble.

1. Single-component, mildew-resistant, [neutral] [acid]-curing silicone sealant[ ES-<#>].

Pourable sealant in first subparagraph below is suitable only for joints in traffic surfaces.

2. Multicomponent, pourable urethane sealant[ ES-<#>].

3. Single-component, nonsag urethane sealant[ ES-<#>].

Retain paragraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.

B. Use sealants that have a VOC content of [250] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Revise paragraph below if color matching is not possible with sealant products selected, which may be the case with mildew-resistant sealant from some manufacturers.

C. Colors:  Provide colors of exposed sealants to match colors of grout in tile adjoining sealed joints, unless otherwise indicated.

2.4 CEMENTITIOUS BACKER UNITS

Delete this Article if no cementitious backer units or if they are specified in Division 9 Section "Gypsum Veneer Plaster" or "Gypsum Board Assemblies."

A. Provide cementitious backer units complying with ANSI A118.9 in maximum lengths available to minimize end-to-end butt joints.

Coordinate thickness below with products selected.  1/4-inch (6.4-mm) thickness is available from C-Cure and Custom Building.  1/2-inch (12.7-mm) thickness is available from all manufacturers listed.  5/8-inch (15.9-mm) thickness is available from USG Corporation.

1. Thickness:  [1/4 inch (6.4 mm)] [1/2 inch (12.7 mm)] [Manufacturer's standard thickness, but not less than 1/4 inch (6.4 mm)] [5/8 inch (15.9 mm)] [As indicated].

Coordinate width in either subparagraph below with products selected or delete width requirement for Contractor's option.

2. Width:  [32 inches (813 mm)] [36 inches (915 mm)] [48 inches (1219 mm)] [Manufacturer's standard width, but not less than 32 inches (813 mm)].

Select subparagraph above for IP products with equivalent metric dimensions or subparagraph below for products manufactured to metric sizes.

3. Width:  [800 mm] [900 mm] [1200 mm] [Manufacturer's standard width, but not less than 800 mm].

B. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

C. Products:  Subject to compliance with requirements, provide one of the following:

1. C-Cure; C-Cure Board 990.

2. Custom Building Products; Wonderboard.

3. FinPan, Inc.;Util-A-Crete Concrete Backer Board.

4. USG Corporation; DUROCK Cement Board.

5. <Insert manufacturer's name; product name or designation.>

2.5 MISCELLANEOUS MATERIALS

Delete this Article if no miscellaneous materials.

Delete first paragraph below if no concrete substrates.

A. Trowelable Underlayments and Patching Compounds:  Latex-modified, portland cement-based formulation provided or approved by manufacturer of tile-setting materials for installations indicated.

B. Primer-Sealer for Wood Subfloors:  Product recommended by tile-setting material manufacturer.

If waterproofing or crack-suppression membranes are required, copy requirements from Division 9 Section "Ceramic Tile" and insert here.

Retain paragraph below if metal edge strips are required at junction with other floor finishes; revise if metal-edge control joints are required.

C. Metal Edge Strips:  Angle or L-shape, height to match tile and setting-bed thickness; metallic or combination of metal and PVC or neoprene base, designed specifically for flooring applications, and [half-hard brass] [white zinc alloy] [nickel silver] [stainless steel; ASTM A 666, 300 Series] exposed-edge material with [polished] [satin] [dull] finish.

Delete first paragraph below if temporary protective coating is not required.

D. Protective Coating:  Liquid grout-release coating that is formulated to protect exposed surfaces of stone tile against adherence of mortar and grout; compatible with stone, mortar, and grout products; easily removable after grouting is completed without damaging grout or stone tile; and recommended for use as temporary protective coating for stone tile.

Delete subparagraph below if floor sealer is not used.

1. Floor sealer, complying with "Floor Sealer" Paragraph below, may be used provided it is recommended by manufacturer for use as a grout release.

E. Cleaner:  A neutral cleaner capable of removing soil and residue without harming stone tile and grout surfaces, specifically approved for materials and installations indicated by stone tile producers and grout manufacturers.

Delete paragraph and subparagraphs below if no floors or if floors are to be left unsealed.

F. Floor Sealer:  Colorless, slip- and stain-resistant sealer, not affecting color or physical properties of stone surfaces as recommended by stone tile producers for application indicated.

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Bostik Findley.

b. Custom Building Products.

c. Hillyard, Inc.

d. HMK Stone Care System.

e. Summitville Tiles, Inc.

f. <Insert manufacturer's name.>

2.6 FABRICATION

A. Facial Dimensions of Stone Tiles with [Polished] [or] [Honed] Faces:  Do not vary facial dimensions from specified dimensions by more than plus or minus 1/64 inch (0.4 mm).

B. Facial Dimensions of Stone Tiles with [Sand-Rubbed] [Natural-Cleft] [or] [Thermal-Finished] Faces:  Do not vary facial dimensions from specified dimensions by more than plus or minus 1/32 inch (0.8 mm).

Tolerance below is suitable for thin-set applications; most polished and honed finish tiles are more precisely gaged.  Revise to suit Project.

C. Thickness of Stone Tiles with [Polished] [Honed] [or] [Sand-Rubbed] Finish:  Do not vary from specified thickness by more than plus or minus 1/32 inch (0.8 mm).

If retaining first paragraph below, select one of two options for tolerance.  First requires gaged backs; second is typical of natural-cleft stone with ungaged backs.  Coordinate selection with setting method.

D. Thickness of Stone Tiles with [Natural-Cleft] [or] [Thermal] Finish:  Do not vary average thickness of each tile from specified thickness by more than plus or minus [1/32 inch (0.8 mm)] [1/16 inch (1.6 mm)].

E. Joint Surfaces:  Except for specified beveled or eased edges, if any, dress joint surfaces square for full depth of tile.

Tolerance below is suitable for thin-set applications; backs of most tiles are more precisely dressed.  Revise to suit Project.

F. Backs of Pieces:  Gage units by dressing backs of pieces smooth and flat.  When tested with a 24-inch (600-mm) straightedge, gap shall not exceed 1/32 inch (0.8 mm).

Retain subparagraph below if ungaged slate is used.  Revise tolerance if required and if setting method will allow.

1. Natural-cleft stone need not be gaged if gap does not exceed 1/16 inch (1.6 mm) when tested with a 24-inch (600-mm) straightedge on backs of units.

Delete paragraph and subparagraph below if no thresholds.

G. Thresholds:  Fabricate to size and profile as indicated or required to provide transition between adjacent floor finishes.

Revise subparagraph below as necessary or delete if accessibility for people with disabilities is not required.  Where difference in floor levels exceeds 1/2 inch (13 mm), a ramp with a slope not exceeding 1:12 must be used for accessibility for people with disabilities; show ramps on Drawings.

1. Bevel edges of thresholds at 1:2 slope, aligning lower edge of bevel with adjacent floor finish.  Limit height of bevel to 1/2 inch (13 mm) or less, and finish bevel to match face of threshold.

2.7 MIXING MORTARS AND GROUTS

A. Mix mortars and grouts to comply with referenced standards and mortar and grout manufacturers' written instructions.

B. Add materials, water, and additives in accurate proportions.

C. Obtain and use type of mixing equipment, mixer speeds, mixing containers, mixing time, and other procedures to produce mortars and grouts of uniform quality with optimum performance characteristics for installations indicated.

PART 3 -  EXECUTION

3.1 EXAMINATION

Coordinate substrate tolerances, finish, and curing methods specified in Division 3 Section "Cast-in-Place Concrete" with requirements in ANSI A108 Series of tile installation standards.

A. Examine substrates, areas, and conditions where stone tile will be installed, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of installed tile.

1. Verify that substrates for setting tile are firm, dry, and clean; free of oil, waxy films, and curing compounds; and within flatness tolerances required by referenced ANSI A108 Series of tile installation standards for installations indicated.

2. Verify that installation of grounds, anchors, recessed frames, electrical and mechanical units of work, and similar items located in or behind tile has been completed before installing tile.

3. Verify that joints and cracks in tile substrates are coordinated with tile joint locations; if not coordinated, consult Architect to adjust joint locations.

4. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Remove surface-applied finishes and adhesives from substrates.

Delete paragraph above if Project is not a renovation.  Retain first paragraph below with or without above.

B. Remove coatings that are incompatible with tile-setting materials from substrates, including curing compounds and other substances that contain soap, wax, oil, or silicone.

C. For concrete substrates for tile floors installed with [adhesives] [or] [thin-set mortar], correct conditions that do not comply with flatness tolerances specified in referenced ANSI A108 Series of tile installation standards.

1. Fill cracks, holes, and depressions with trowelable leveling and patching compound according to tile-setting material manufacturer's written instructions.  Use product specifically recommended by tile-setting material manufacturer.

2. Remove protrusions, bumps, and ridges by sanding or grinding.

Delete paragraph below if no wood subfloors.

D. Apply primer-sealer to wood and plywood subfloors when recommended by tile-setting material manufacturer.

Retain paragraph and subparagraphs below for critical work or show locations of tile joints on Drawings.

E. Lay out tile patterns by marking joint lines on substrates to verify joint placement at edges, corners, doors, and other critical elements.

1. Notify Architect seven days in advance of dates and times when layout will be done.

2. Obtain Architect's approval of layout before starting tile installation.

For extremely critical work with highly variable stone, retain paragraph and subparagraphs below instead of paragraph and subparagraphs above.  Procedure below generally only works for small areas with suitable adjacent workspace for organizing materials.

F. Lay out tiles on substrates or on an adjacent surface to establish placement of individual tiles for balance of color and pattern variations.

1. Notify Architect seven days in advance of dates and times when layout will be done.

2. Architect may relocate specific stones with other stones of same type and will determine final location of each tile within indicated patterns.

3. Identify each tile with a temporary number marked on face of tile that corresponds with an identical number marked on a layout drawing, and obtain Architect's approval before starting tile installation.

Delete paragraph below if not required.

G. Field-Applied Temporary Protective Coating:  Where indicated or needed to prevent grout from staining or adhering to exposed stone tile surfaces, precoat them with continuous film of temporary protective coating, taking care not to coat unexposed tile surfaces.

3.3 INSTALLATION, GENERAL

A. ANSI Tile Installation Standards:  Comply with requirements of ANSI A108 that apply to types of setting and grouting materials and to methods indicated.

1. For tile floors, follow procedures in ANSI A108 for providing 95 percent mortar coverage.

B. TCA Installation Guidelines:  Comply with TCA's "Handbook for Ceramic Tile Installation" and TCA installation methods indicated.

C. Wipe backs of tiles with a damp cloth to remove dirt and dust before units are installed.

Delete first paragraph below if not applicable or if cementitious backer units are specified in Division 9 Section "Gypsum Veneer Plaster" or "Gypsum Board Assemblies."

D. At showers, tubs, and where indicated, install cementitious backer units and treat joints to comply with ANSI A108.11 and manufacturer's written instructions for type of application indicated.

E. Extend tile work into recesses and under or behind equipment and fixtures to form complete covering without interruptions, unless otherwise indicated.  Terminate work neatly at obstructions, edges, and corners without disrupting pattern or joint alignments.

F. Accurately form intersections and returns.  Perform cutting and drilling of tile without marring visible surfaces.  Fit tile closely to electrical outlets, piping, fixtures, and other penetrations so plates, collars, or covers overlap tile.

Delete first two options in paragraph below if tile selected has straight edges.  Retain third option and detail special conditions, such as outside corners, on Drawings or describe in a separate paragraph, if they are to be finished differently than factory-fabricated edges.

G. Finish cut tile edges that will not be concealed by other construction by grinding and honing cut surfaces [and beveling edges] [and easing edges] to match factory-fabricated edges[, unless otherwise indicated].

Delete first paragraph below if tile joint locations are shown on Drawings.

H. Jointing Pattern:  Lay tile in grid pattern, unless otherwise indicated.  Align joints when adjoining tiles on floor, base, walls, and trim are same size.  Lay out tile work and center tile fields in both directions in each space or on each wall area.  Adjust to minimize tile cutting.

I. Match tiles within each space by selecting tiles to achieve uniformity of color and pattern.  Reject or relocate tiles that do not match color and pattern of adjacent tiles.

Select paragraph above or below to suit colors and patterns of stone varieties selected.  Delete both if tile layout requirement was retained in "Preparation" Article.

J. Mix tiles to achieve a uniformly random distribution of color shadings and patterns.

Delete paragraph and subparagraphs below if stone varieties selected do not have a directional pattern.

K. Pattern Orientation:  For stone varieties with directional pattern, orient pattern as [indicated.] [directed by Architect.] [follows:]

1. Orient tiles that have pattern parallel to one side with pattern [running in the direction of the longest dimension of the space in which they occur] [arranged in alternating directions in checkerboard fashion].

2. Orient tiles that have pattern at various angles to sides with pattern [oriented at an angle of 45 degrees or less to the direction of the longest dimension of the space in which they occur] [randomly oriented].

Refer to TCA's "Handbook for Ceramic Tile Installation" and to ANSI A108 Series of tile installation standards for data on expansion joints.  Both require joint locations to be indicated on Drawings.  There is no substitute for showing all joints on Drawings.

L. Expansion Joints:  Locate expansion joints and other sealant-filled joints, including control, contraction, and isolation joints, where indicated during installation of setting materials, mortar beds, and tile.  Do not saw-cut joints after installing tiles.

1. Locate joints in tile surfaces directly above joints in concrete substrates.

Delete subparagraph below if joint sealants are specified in referenced Division 7 Section.

2. Prepare joints and apply elastomeric sealants to comply with requirements in Division 7 Section "Joint Sealants."

Retain applicable subparagraphs from four below if more than one sealant is required or provide similar information in installation schedules.

3. Use single-component, mildew-resistant, [neutral] [acid]-curing silicone sealant[ ES-<#>] for joints in walls.

4. Use single-component, nonsag urethane sealant[ ES-<#>] for joints in walls.

Select one of two subparagraphs above for wall applications and one of two subparagraphs below for floor applications.

5. Use multicomponent, pourable urethane sealant[ ES-<#>] for joints in floors.

6. Use single-component, nonsag urethane sealant[ ES-<#>] for joints in floors.

3.4 INSTALLATION TOLERANCES

A. Variation from Plumb:  For vertical joints, external corners, and other conspicuous lines, do not exceed 1/8 inch in 8 feet (3 mm in 2400 mm).

Delete paragraph above and first paragraph below if tile is not used on walls.  Revise above to suit height of tile on walls.  MIA does not recommend installing individually set stone tile above 8 feet (2.4 m) on walls.

B. Variation in Level:  For horizontal joints and other conspicuous lines, do not exceed 1/4 inch in 20 feet (6 mm in 6 m), or 1/2 inch (12 mm) maximum.

C. Variation in Surface Plane of Flooring:  Do not exceed 1/8 inch in 10 feet (3 mm in 3 m) from level or slope indicated when tested with a 10-foot (3-m) straightedge.

D. Variation in Plane between Adjacent Units (Lipping):  Do not exceed the following differences between faces of adjacent units as measured from a straightedge parallel to tiled surface:

1. Units with Polished Faces:  1/64 inch (0.4 mm).

2. Units with Honed Faces:  [1/64 inch (0.4 mm)] [1/32 inch (0.8 mm)].

3. Units with Sand-Rubbed Faces:  1/32 inch (0.8 mm).

4. Units with Thermal-Finished Faces:  Depth of thermal finish or 3/16 inch (5 mm), whichever is less.

5. Units with Natural-Cleft Faces:  Depth of natural-cleft finish or 3/16 inch (5 mm), whichever is less.

E. Variation in Joint Width:  Do not vary joint thickness more than 1/16 inch (1.6 mm) or one-fourth of nominal joint width, whichever is less.

F. Hand-Tight Joints:  Do not exceed [1/64 inch (0.4 mm)] [1/32 inch (0.8 mm)].

3.5 ADJUSTING AND CLEANING

A. Remove and replace material that is stained or otherwise damaged or that does not match adjoining tile.  Provide new matching units, installed as specified and in a manner to eliminate evidence of replacement.

Revise paragraph below to suit Project.

B. Clean stone tiles after setting and grouting is complete; use procedures recommended by stone producer and manufacturer for types of application indicated.

Delete paragraph below if no flooring or if sealer is not required.

C. Apply sealer to cleaned stone tile flooring, according to sealer manufacturer's written instructions.

3.6 PROTECTION

Delete this Article if stone tile is not used on floors.

A. Prohibit foot and wheel traffic from tiled floors for at least seven days after grouting is completed.

B. Protect stone tile flooring during construction period with kraft paper or other heavy covering of type that will not stain or discolor stone.

C. Before inspection for Substantial Completion, remove protective covering and clean surfaces using procedures and materials recommended by grout and stone manufacturers.

If Project does not require enough different types of stone or setting beds to justify using schedules, move requirements for installation methods to Part 3 "Installation, General" Article, and delete schedules below.

See Editing Instruction No. 2 in the Evaluations for suggested ways of editing installation schedules below.  It is advisable to have a copy of TCA's "Handbook for Ceramic Tile Installation" at hand while editing schedules below.

3.7 STONE FLOOR TILE INSTALLATION SCHEDULE

Insert number to complete installation designations below.  Use these designations on Drawings to show where floor tile is required.

If retaining first paragraph below, select one of three ANSI standards.  ANSI A108.1A is wet-set method, ANSI A108.1B is cured-bed method, and ANSI A108.1C allows Contractor choice of using either method.

A. Stone Floor Tile Installation[ SFTI-<#>]:  Exterior floor installation on concrete; cement mortar bed (thickset) bonded to concrete; TCA F101 and [ANSI A108.1A] [ANSI A108.1B] [ANSI A108.1C].

1. Stone Tile Type:  <Insert stone tile type designation.>

Retain one thin-set mortar from first subparagraph below if ANSI A108.1B or ANSI A108.1C is selected in paragraph above; delete if ANSI A108.1A is selected.

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

B. Stone Floor Tile Installation[ SFTI-<#>]:  Exterior floor installation on concrete; thin-set mortar; TCA F102 and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

If retaining paragraph below, select one of three ANSI standards.  ANSI A108.1A is wet-set method, ANSI A108.1B is cured-bed method, and ANSI A108.1C allows Contractor choice of using either method.

C. Stone Floor Tile Installation[ SFTI-<#>]:  Interior floor installation on concrete; cement mortar bed (thickset) with cleavage membrane; TCA F111 and [ANSI A108.1A] [ANSI A108.1B] [ANSI A108.1C].

1. Stone Tile Type:  <Insert stone tile type designation.>

Retain one thin-set mortar from first subparagraph below if ANSI A108.1B or ANSI A108.1C is selected in paragraph above; delete if ANSI A108.1A is selected.

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

If retaining first paragraph below, select one of three ANSI standards.  ANSI A108.1A is wet-set method, ANSI A108.1B is cured-bed method, and ANSI A108.1C allows Contractor choice of using either method.

D. Stone Floor Tile Installation[ SFTI-<#>]:  Interior floor installation on concrete; cement mortar bed (thickset) bonded to concrete; TCA F112 and [ANSI A108.1A] [ANSI A108.1B] [ANSI A108.1C].

1. Stone Tile Type:  <Insert stone tile type designation.>

Retain one thin-set mortar from first subparagraph below if ANSI A108.1B or ANSI A108.1C is selected in paragraph above; delete if ANSI A108.1A is selected.

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

E. Stone Floor Tile Installation[ SFTI-<#>]:  Interior floor installation on concrete; thin-set mortar; TCA F113 and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

If retaining first paragraph below, select one of three ANSI standards.  ANSI A108.1A is wet-set method, ANSI A108.1B is cured-bed method, and ANSI A108.1C allows Contractor choice of using either method.

F. Stone Floor Tile Installation[ SFTI-<#>]:  Interior floor installation on concrete; cement mortar bed (thickset) with cleavage membrane;water-cleanable epoxy grout; TCA F114 and [ANSI A108.1A] [ANSI A108.1B] [ANSI A108.1C].

1. Stone Tile Type:  <Insert stone tile type designation.>

Retain one thin-set mortar from first subparagraph below if ANSI A108.1B or ANSI A108.1C is selected in paragraph above; delete if ANSI A108.1A is selected.

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  Water-cleanable epoxy grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

G. Stone Floor Tile Installation[ SFTI-<#>]:  Interior floor installation on concrete; thin-set mortar;water-cleanable epoxy grout; TCA F115 and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  Water-cleanable epoxy grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

H. Stone Floor Tile Installation[ SFTI-<#>]:  Interior floor installation on concrete; [organic] [water-cleanable epoxy] adhesive; TCA F116 and ANSI A108.4.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

3. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

I. Stone Floor Tile Installation[ SFTI-<#>]:  Interior floor installation on concrete; water-cleanable epoxy adhesive; water-cleanable epoxy grout; TCA F131 and ANSI A108.6.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Grout:  Water-cleanable epoxy grout.

3. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

J. Stone Floor Tile Installation[ SFTI-<#>]:  Interior floor installation on concrete; water-cleanable epoxy adhesive on cured cement mortar bed [bonded to concrete subfloor] [installed over cleavage membrane]; water-cleanable epoxy grout; TCA F132 and ANSI A108.6.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Grout:  Water-cleanable epoxy grout.

3. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

If retaining first paragraph below, select one of three ANSI standards.  ANSI A108.1A is wet-set method, ANSI A108.1B is cured-bed method, and ANSI A108.1C allows Contractor choice of using either method.

K. Stone Floor Tile Installation[ SFTI-<#>]:  Interior floor installation on wood; cement mortar bed (thickset) with cleavage membrane; TCA F141 and [ANSI A108.1A] [ANSI A108.1B] [ANSI A108.1C].

1. Stone Tile Type:  <Insert stone tile type designation.>

Retain one thin-set mortar from first subparagraph below if ANSI A108.1B or ANSI A108.1C is selected in paragraph above; delete if ANSI A108.1A is selected.

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

L. Stone Floor Tile Installation[ SFTI-<#>]:  Interior floor installation on wood; organic adhesive; TCA F142 and ANSI A108.4.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Grout:  [Polymer-modified sanded grout] [Polymer-modified unsanded grout] [Water-cleanable epoxy grout].

3. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

M. Stone Floor Tile Installation[ SFTI-<#>]:  Interior floor installation on wood; water-cleanable epoxy adhesive; water-cleanable epoxy grout; TCA F143 and ANSI A108.6.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Grout:  Water-cleanable epoxy grout.

3. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

N. Stone Floor Tile Installation[ SFTI-<#>]:  Interior floor installation on cementitious backer units over wood; thin-set mortar; TCA F144 and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

3.8 STONE WALL TILE INSTALLATION SCHEDULE

Insert number to complete installation designations below.  Use these designations on Drawings to show where wall tile is required.

If retaining first paragraph below, select one of three ANSI standards.  ANSI A108.1A is wet-set method, ANSI A108.1B is cured-bed method, and ANSI A108.1C allows Contractor choice of using either method.

A. Stone Wall Tile Installation[ SWTI-<#>]:  [Exterior] [or] [interior] wall installation over masonry or concrete; cement mortar bed (thickset); TCA W201 and [ANSI A108.1A] [ANSI A108.1B] [ANSI A108.1C].

1. Stone Tile Type:  <Insert stone tile type designation.>

Subparagraph below is optional with ANSI A108.1A and ANSI A108.1C; if retaining either standard, select one mortar type or delete subparagraph if unmodified portland cement is acceptable.  Also delete if ANSI A108.1B is selected.

2. Bond Coat Mortar for Wet-Set Method:  [Dry-set] [Latex-] portland cement mortar.

Retain one thin-set mortar from first subparagraph below if ANSI A108.1B or ANSI A108.1C is selected in paragraph above; delete if ANSI A108.1A is selected.

3. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

4. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

5. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

B. Stone Wall Tile Installation[ SWTI-<#>]:  [Exterior] [or] [interior] wall installation over sound, dimensionally stable masonry or concrete; thin-set mortar; TCA W202 and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

If retaining paragraph below, select one of three ANSI standards.  ANSI A108.1A is wet-set method, ANSI A108.1B is cured-bed method, and ANSI A108.1C allows Contractor choice of using either method.

C. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall installation over clean, sound, dimensionally stable masonry or concrete; cement mortar bed (thickset) bonded to substrate; TCA W211 and [ANSI A108.1A] [ANSI A108.1B] [ANSI A108.1C].

1. Stone Tile Type:  <Insert stone tile type designation.>

Subparagraph below is optional with ANSI A108.1A and ANSI A108.1C; if retaining either standard, select one mortar type or delete subparagraph if unmodified portland cement is acceptable.  Also delete if ANSI A108.1B is selected.

2. Bond Coat Mortar for Wet-Set Method:  [Dry-set] [Latex-] portland cement mortar.

Retain one thin-set mortar from first subparagraph below if ANSI A108.1B or ANSI A108.1C is selected in paragraph above; delete if ANSI A108.1A is selected.

3. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

4. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

5. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

If retaining paragraph below, select one of three ANSI standards.  ANSI A108.1A is wet-set method, ANSI A108.1B is cured-bed method, and ANSI A108.1C allows Contractor choice of using either method.

D. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall installation over solid backing and solid anchorage for metal lath; cement mortar bed (thickset); TCA W221 and [ANSI A108.1A] [ANSI A108.1B] [ANSI A108.1C].

1. Stone Tile Type:  <Insert stone tile type designation.>

Subparagraph below is optional with ANSI A108.1A and ANSI A108.1C; if retaining either standard, select one mortar type or delete subparagraph if unmodified portland cement is acceptable.  Also delete if ANSI A108.1B is selected.

2. Bond Coat Mortar for Wet-Set Method:  [Dry-set] [Latex-] portland cement mortar.

Retain one thin-set mortar from first subparagraph below if ANSI A108.1B or ANSI A108.1C is selected in paragraph above; delete if ANSI A108.1A is selected.

3. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

4. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

5. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

If retaining first paragraph below, select one of three ANSI standards.  ANSI A108.1A is wet-set method, ANSI A108.1B is cured-bed method, and ANSI A108.1C allows Contractor choice of using either method.

E. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall installation over solid backing and solid anchorage for metal lath; one-coat cement mortar bed (thickset); TCA W222 and [ANSI A108.1A] [ANSI A108.1B] [ANSI A108.1C].

1. Stone Tile Type:  <Insert stone tile type designation.>

Subparagraph below is optional with ANSI A108.1A and ANSI A108.1C; if retaining either standard, select one mortar type or delete subparagraph if unmodified portland cement is acceptable.  Also delete if ANSI A108.1B is selected.

2. Bond Coat Mortar for Wet-Set Method:  [Dry-set] [Latex-] portland cement mortar.

Retain one thin-set mortar from first subparagraph below if ANSI A108.1B or ANSI A108.1C is selected in paragraph above; delete if ANSI A108.1A is selected.

3. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

4. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

5. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

F. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall installation over solid backing; organic adhesive; TCA W223 and ANSI A108.4.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

3. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

G. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall installation over wood studs or furring; cement mortar bed (thickset); TCA W231 and ANSI A108.1A.

1. Stone Tile Type:  <Insert stone tile type designation.>

First subparagraph below is optional with ANSI A108.1A; select one mortar type or delete subparagraph if unmodified portland cement is acceptable.

2. Bond Coat Mortar for Wet-Set Method:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

H. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall installation over metal studs; cement mortar bed (thickset); TCA W241 and ANSI A108.1B.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

I. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall installation over gypsum board on metal studs; organic adhesive; TCA W242 and ANSI A108.4.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Grout:  Polymer-modified [sanded] [unsanded] grout.

3. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

J. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall installation over gypsum board; thin-set mortar; TCA W243 and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

K. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall installation over cementitious backer units; thin-set mortar; TCA W244 and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

L. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall installation over glass-mat, water-resistant backer board; [thin-set mortar] [organic adhesive]; TCA W245 and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

Delete first subparagraph below if organic adhesive is used.

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

M. Stone Wall Tile Installation[ SWTI-<#>]:  Interior bathtub wall installation over wood studs; cement mortar bed (thickset); TCA B411 and ANSI A108.1A.

1. Stone Tile Type:  <Insert stone tile type designation.>

First subparagraph below is optional with ANSI A108.1A; select one mortar type or delete subparagraph if unmodified portland cement is acceptable.

2. Bond Coat Mortar for Wet-Set Method:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

N. Stone Wall Tile Installation[ SWTI-<#>]:  Interior bathtub wall installation over metal studs; cement mortar bed (thickset); TCA B411, TCA W241, and ANSI A108.1B.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

O. Stone Wall Tile Installation[ SWTI-<#>]:  Interior bathtub wall installation over cementitious backer units; thin-set mortar; TCA B412 and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

P. Stone Wall Tile Installation[ SWTI-<#>]:  Interior bathtub wall installation over water-resistant gypsum board; thin-set mortar; TCA B413, TCA W243, and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

Q. Stone Wall Tile Installation[ SWTI-<#>]:  Interior bathtub wall installation over glass-mat, water-resistant backer board; [thin-set mortar] [organic adhesive]; TCA B419, TCA W245, and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

Delete first subparagraph below if organic adhesive is used.

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

If retaining first paragraph below, select one of three ANSI standards.  ANSI A108.1A is wet-set method, ANSI A108.1B is cured-bed method, and ANSI A108.1C allows Contractor choice of using either method.

R. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall and shower-receptor installation over solid backing; cement mortar bed (thickset); TCA B414, TCA W221, and [ANSI A108.1A] [ANSI A108.1B] [ANSI A108.1C].

1. Stone Tile Type:  <Insert stone tile type designation.>

Subparagraph below is optional with ANSI A108.1A and ANSI A108.1C; if retaining either standard, select one mortar type or delete subparagraph if unmodified portland cement is acceptable.  Also delete if ANSI A108.1B is selected.

2. Bond Coat Mortar for Wet-Set Method:  [Dry-set] [Latex-] portland cement mortar.

Retain one thin-set mortar from first subparagraph below if ANSI A108.1B or ANSI A108.1C is selected in paragraph above; delete if ANSI A108.1A is selected.

3. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

4. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

5. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

S. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall and shower-receptor installation over wood studs; cement mortar bed (thickset); TCA B414, TCA W231, and ANSI A108.1A.

1. Stone Tile Type:  <Insert stone tile type designation.>

First subparagraph below is optional with ANSI A108.1A; select one mortar type or delete subparagraph if unmodified portland cement is acceptable.

2. Bond Coat Mortar for Wet-Set Method:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

T. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall and shower-receptor installation over metal studs; cement mortar bed (thickset); TCA B414, TCA W241, and ANSI A108.1B.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

U. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall and shower-receptor installation over cementitious backer units; thin-set mortar; TCA B415, TCA W244, and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

V. Stone Wall Tile Installation[ SWTI-<#>]:  Interior wall and shower-receptor installation over glass-mat, water-resistant backer board; thin-set mortar; TCA B420, TCA W245, and ANSI A108.5.

1. Stone Tile Type:  <Insert stone tile type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

3. Grout:  [Sand-portland cement] [Standard sanded cement] [Standard unsanded cement] [Polymer-modified sanded] [Polymer-modified unsanded] grout.

4. Grout Color:  [Match Architect's sample] [As selected by Architect from manufacturer's full range] [Match <Insert manufacturer's name and color designation>].

Insert other schedules for countertops, etc.

3.9 STONE THRESHOLD INSTALLATION SCHEDULE

Insert number to complete installation designations below.  Use these designations on Drawings to show where each threshold type is required.

A. Stone Threshold Installation[ STHI-<#>]:  Exterior installation on concrete; thin-set mortar; TCA F102 and ANSI A108.5.

1. Stone Threshold Type:  <Insert stone threshold type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

B. Stone Threshold Installation[ STHI-<#>]:  Interior installation on concrete; thin-set mortar; TCA F113 and ANSI A108.5.

1. Stone Threshold Type:  <Insert stone threshold type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

C. Stone Threshold Installation[ STHI-<#>]:  Interior installation on concrete; [organic] [water-cleanable epoxy] adhesive; TCA F116 and ANSI A108.4.

1. Stone Threshold Type:  <Insert stone threshold type designation.>

D. Stone Threshold Installation[ STHI-<#>]:  Interior installation on concrete; water-cleanable epoxy adhesive; TCA F131 and ANSI A108.6.

1. Stone Threshold Type:  <Insert stone threshold type designation.>

E. Stone Threshold Installation[ STHI-<#>]:  Interior installation on wood; organic adhesive; TCA F142 and ANSI A108.4.

1. Stone Threshold Type:  <Insert stone threshold type designation.>

F. Stone Threshold Installation[ STHI-<#>]:  Interior installation on wood; water-cleanable epoxy adhesive; TCA F143 and ANSI A108.6.

1. Stone Threshold Type:  <Insert stone threshold type designation.>

G. Stone Threshold Installation[ STHI-<#>]:  Interior installation on cementitious backer units over wood; thin-set mortar; TCA F144 and ANSI A108.5.

1. Stone Threshold Type:  <Insert stone threshold type designation.>

2. Thin-Set Mortar:  [Dry-set] [Latex-] portland cement mortar.

END OF SECTION 09385END OF SECTION 09385

DIMENSION STONE TILE
09385 - 1

