Copyright 2004 AIA
MASTERSPEC
11/04

Copyright 2004 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 09547 - LINEAR METAL CEILINGS
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section includes strip linear metal pans and suspension systems for ceilings.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 9 Section "Acoustical Panel Ceilings" for ceilings consisting of mineral-base and glass-fiber-base acoustical panels and exposed suspension systems.

2. Division 9 Section "Acoustical Tile Ceilings" for ceilings consisting of mineral-base acoustical tiles used with concealed suspension systems, stapling, or adhesive bonding.

3. Division 9 Section "Acoustical Metal Pan Ceilings" for clip-in, lay-in, snap-in, and torsion-spring-hinged metal pan ceilings with exposed suspension systems.

4. Division 9 Section "Suspended Decorative Grids."

Retain subparagraph below if ceiling manufacturer's units are not added to this Section.

5. Divisions 13, 15, and 16 Sections for light fixtures, sprinklers, and air-distribution components.

Retain paragraph below if cast-in-place attachment devices are required for Project or if piercing or rolled-in hanger tabs are not specified in Division 5 Section "Steel Deck" for floor deck.

C. Products furnished, but not installed under this Section, include anchors, clips, and other ceiling attachment devices to be cast in concrete at ceilings.

1.3 DEFINITIONS

Retain definitions remaining after this Section has been edited.

A. LR:  Light Reflectance coefficient.

B. NRC:  Noise Reduction Coefficient.

1.4 PERFORMANCE REQUIREMENTS

Delete this article if no exterior ceiling systems.

Some linear metal pans and suspension systems may be suitable for exterior use and for unconditioned interior spaces and interior spaces with severe or extreme conditions.  Verify the suitability of exterior ceiling installations with manufacturers, perform engineering analysis or delegate the responsibility to a qualified professional engineer, and carefully evaluate materials and coatings before retaining this article.  See the Evaluations.

A. Structural Performance:  Exterior linear metal ceilings shall withstand exterior exposure and the effects of gravity loads and the following loads and stresses without showing permanent deformation of ceiling system components including pans and suspension system; noise or metal fatigue caused by vibration, deflection, and displacement of ceiling units; or permanent damage to fasteners and anchors.

Insert specific loads determined by Project's structural engineer in subparagraph below or indicate on Drawings.  Model building codes and SEI/ASCE 7 set criteria for building components and claddings subject to wind loads.  Verify requirements of authorities having jurisdiction.

1. Wind Load:  Uniform pressure [of 20 lbf/sq. ft. (960 Pa)] [of 30 lbf/sq. ft. (1436 Pa)] [as indicated on Drawings] <Insert pressure>, acting inward or outward.

B. Thermal Movements:  Allow for thermal movements from ambient and surface temperature changes.  Base calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change (Range):  [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

1.5 SUBMITTALS

First four paragraphs below are defined in Division 1 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.

Retain first paragraph below if products are required to withstand specific design loads and other criteria and Architect either has delegated design responsibility to Contractor or wants to review structural data as another way to verify product's compliance with performance requirements.

B. Performance Data:  For installed products indicated to comply with design loads and other criteria, include structural analysis and other analytical data signed and sealed by the qualified professional engineer responsible for their preparation.

C. Samples for Initial Selection:  For components with factory-applied color and other decorative finishes.

Delete "Samples for Initial Selection" Paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

D. Samples for Verification:  For each component indicated and for each exposed finish required, prepared on Samples of size indicated below:

1. Linear Metal Pan:  Set of 12-inch- (300-mm-) long Samples of each type and color and a 12-inch- (300-mm-) long spliced section.

2. Suspension System Members:  12-inch- (300-mm-) long Sample of each type.

3. Exposed Molding and Trim:  Set of 12-inch- (300-mm-) long Samples of each type, finish, and color.

4. Filler Strips:  Set of 12-inch- (300-mm-) long Samples of each type, finish, and color.

5. Sound Absorber:  12 inches (300 mm) long.

6. End Cap:  Full size.

Remaining paragraphs are defined in Division 1 Section "Submittal Procedures" as "Informational Submittals."

Retain first paragraph below if Drawings do not include detailed plans or if Project involves unusual coordination requirements.

E. Coordination Drawings:  Reflected ceiling plans, drawn to scale, on which the following items are shown and coordinated with each other, using input from installers of the items involved:

Revise subparagraphs below to suit Project.

1. Linear pattern.

2. Joint pattern.

3. Ceiling suspension members.

4. Method of attaching hangers to building structure.

Retain first subparagraph below if cast-in-place attachment devices are required for Project.

a. Furnish layouts for cast-in-place anchors, clips, and other ceiling attachment devices whose installation is specified in other Sections.

5. Ceiling-mounted items including light fixtures, diffusers, grilles, speakers, sprinklers, and access panels.

6. Ceiling perimeter and penetrations through ceiling; trim and moldings.

7. Minimum Drawing Scale:  [1/4 inch = 1 foot (1:48)] [1/8 inch = 1 foot (1:96)] [1:50] [1:100] <Insert scale>.

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

F. Qualification Data:  For[ professional engineer and] testing agency.

G. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for each linear metal ceiling.

Retain option in first paragraph below if required by the International Building Code.

H. Evaluation Reports:  For linear metal ceiling and components[ and anchor type].

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

I. Field quality-control reports.

J. Maintenance Data:  For finishes to include in maintenance manuals.

1.6 QUALITY ASSURANCE

Retain first paragraph below if Contractor or manufacturer selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.  Qualification requirements are in addition to those specified in Division 1 Section "Quality Requirements," which also includes the definition for "NRTL" (nationally recognized testing laboratory).

A. Acoustical Testing Agency Qualifications:  An independent testing laboratory or an NVLAP-accredited laboratory with the experience and capability to conduct the testing indicated.  NVLAP-accredited laboratories must document accreditation, based on a "Certificate of Accreditation" and a "Scope of Accreditation" listing the test methods specified.

B. Source Limitations:  Obtain each set of linear metal pans and suspension systems from one source with resources to provide products of consistent quality in appearance, physical properties, and performance.

Add requirements for fire-rated design of UL or other agency, to suit Project.  See Evaluations and consult manufacturers.  Chicago Metallic Corporation and USG Interiors have tested fire-rated assemblies.

Retain option in first paragraph below or insert another.  Class A systems have a flame-spread index not exceeding 25 and a smoke-developed index not exceeding 50, Class B systems have a flame-spread index not exceeding 75 on face side, and Class C systems have a flame-spread index not exceeding 200 on face side.

C. Surface-Burning Characteristics:  Complying with ASTM E 1264 for [Class A] <Insert class> materials, as determined by testing identical products according to ASTM E 84 by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.

D. Seismic Standard:  Provide linear metal ceilings designed and installed to withstand the effects of earthquake motions according to the following:

Verify requirements of authorities having jurisdiction as to which of first five subparagraphs below to reference if any.

1. Standard for Ceiling Suspension Systems Requiring Seismic Restraint:  Comply with ASTM E 580.

2. CISCA's Recommendations for Acoustical Ceilings:  Comply with CISCA's "Recommendations for Direct-Hung Acoustical Tile and Lay-in Panel Ceilings - Seismic Zones 0-2."

3. CISCA's Guidelines for Systems Requiring Seismic Restraint:  Comply with CISCA's "Guidelines for Seismic Restraint of Direct-Hung Suspended Ceiling Assemblies - Seismic Zones 3 & 4."

4. UBC Standard 25-2, "Metal Suspension Systems for Acoustical Tile and for Lay-in Panel Ceilings."

5. SEI/ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 9, "Earthquake Loads."

6. <Insert requirement of authorities having jurisdiction>.

E. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

1. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

F. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Deliver linear metal pans, suspension system components, and accessories to Project site in original, unopened packages and store them in a fully enclosed, conditioned space where they will be protected against damage from moisture, humidity, temperature extremes, direct sunlight, surface contamination, and other causes.

B. Handle linear metal pans, suspension system components, and accessories carefully to avoid damaging units and finishes in any way.

1.8 PROJECT CONDITIONS

Retain this article to comply with manufacturer's written instructions; delete or revise if exterior installations are specified.  Limitations in paragraph below are necessary for best results in many locations.

A. Environmental Limitations:  Do not install linear metal ceilings until spaces are enclosed and weathertight, wet work in spaces is complete and dry, work above ceilings is complete, and ambient temperature and humidity conditions are maintained at the levels indicated for Project when occupied for its intended use.

1.9 COORDINATION

A. Coordinate layout and installation of linear metal pans and suspension system with other construction that penetrates ceilings or is supported by them, including light fixtures, HVAC equipment, fire-suppression system, and partition assemblies.

1.10 EXTRA MATERIALS

A. Furnish extra materials that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Revise subparagraph below to suit Project.  If preferred, replace percentage with a specific number of metal pans and pieces of each suspension component and their lengths.

1. Linear Metal Ceiling Components:  Quantity of each pan, carrier, accessory, and exposed molding and trim equal to [2] <Insert number> percent of quantity installed.

PART 2 -  PRODUCTS

2.1 LINEAR METAL CEILING PANS

Delete first paragraph below if ceiling pans are not specified by reference to ASTM E 1264 for purposes of specifying type, acoustical ratings, and light reflectance.

A. Acoustical Metal Pan Standard:  Provide manufacturer's standard linear metal pans of configuration indicated that comply with ASTM E 1264 classifications as designated by types, acoustical ratings, and light reflectances unless otherwise indicated.

Subparagraph below represents standard mounting referenced in ASTM E 1264.  Revise if testing units with another mounting method is required for Project.

1. Mounting Method for Measuring NRC:  Type E-400; plenum mounting in which face of test specimen is 15-3/4 inches (400 mm) away from test surface per ASTM E 795.

B. Sheet Metal Characteristics:  For metal components exposed to view in the completed Work, provide materials with smooth, flat surfaces without blemishes.  Do not use materials with exposed pitting, seam marks, roller marks, roughness, stains, or discolorations.

Select applicable sheet metal material(s) from three subparagraphs below.

1. Aluminum Sheet:  Roll-formed aluminum sheet, complying with ASTM B 209 (ASTM B 209M); alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated.

2. Steel Sheet:  Commercial-quality, cold-rolled, carbon-steel sheet; stretcher leveled; with protective coating complying with ASTM C 635.

ASTM C 635 includes requirements for coatings and finishes for suspension system components.  USG no longer uses electrolytic zinc-coated steel.  Contact USG for information about its protective coating.

a. Painted Finishes:  Electrolytic zinc-coated steel complying with ASTM A 591/A 591M, 40Z (12G) coating; surface treatment as recommended by finish manufacturer for type of use and finish indicated.

Retain or revise subparagraph above for painted finishes or subparagraph below for chemical/mechanical finishes.  See Table 2 in the Evaluations and verify availability of finishes with manufacturers.

b. Chemical/Mechanical Finishes:  Uncoated steel sheet complying with ASTM A 1008/A 1008M with luster or bright finish as required by finisher for applying electroplating or other metallic-finishing processes.

Stainless steel is available from most manufacturers as a custom, rather than a standard, product.  Some manufacturers offer only Type 430, which is a general-purpose ferritic stainless steel with less corrosion resistance than the 300-Series austenitic alloys.  See Evaluations.

3. Stainless-Steel Sheet:  Complying with ASTM A 240/A 240M, [Type 304] [Type 430].

C. Pan Fabrication:  Manufacturer's standard units of size, profile, and edge treatment indicated, formed from metal indicated to snap on and be securely retained on carriers without separate fasteners, and finished to comply with requirements indicated.

D. Pan Splices:  Construction same as pans, in lengths 8 to 12 inches (200 to 300 mm); with manufacturer's standard finish.

E. End Caps:  [Metal matching pans] [Plastic] [Manufacturer's standard material]; fabricated to fit and conceal exposed ends of pans.

F. Filler Strips:  [Metal matching pans] [Plastic] [Manufacturer's standard material]; fabricated to uninterruptedly close voids between pans.

G. Moldings and Trim:  Provide manufacturer's standard moldings and trim for exposed members, and as indicated or required, for edges and penetrations of ceiling, around fixtures, at changes in ceiling height, and for other conditions; of same metal and finish as linear metal ceiling pans.

Retain first paragraph below for sound-absorbent fabric; retain second paragraph for pads to reduce noise within a closed space.  Coordinate with acoustical performance requirements if any.

H. Sound-Absorbent Fabric Layer:  Provide fabric layer, sized to fit concealed surface of pan, and consisting of black, nonwoven, nonflammable, sound-absorbent material with surface-burning characteristics for flame-spread index of 25 or less and smoke-developed index of 50 or less, as determined by testing per ASTM E 84.

Verify availability of sound-absorbent fabric with manufacturer.  Retain subparagraph below if standard with manufacturer.

1. Bond fabric layer to pan in the factory with manufacturer's standard nonflammable adhesive.

I. Sound-Absorbent Pads:  Provide width and length to completely fill between carriers, joined at center of panel, with surface-burning characteristics for flame-spread index of 25 or less and smoke-developed index of 50 or less, as determined by testing per ASTM E 84, and to comply with the following requirements:

Verify availability of wrap material and of pad material, thickness, and density with manufacturer.

1. Plastic Sheet-Wrapped Mineral-Fiber Insulation:  Pads consisting of nonrigid, PVC plastic sheet encapsulating unfaced mineral-fiber insulation complying with ASTM C 553, Type I, II, or III, and as follows:

a. Mineral-Fiber Type and Thickness:  Glass fiber; [1 inch (25 mm)] [1-1/2 inches (38 mm)] [3 inches (76 mm)] <Insert thickness>.

Revise subparagraph above if mineral-wool fiber rather than glass fiber is required.  Coordinate thickness retained above and density retained in first subparagraph below with acoustical performance requirements if any.

b. Mineral-Fiber Density:  [3/4 lb/cu. ft. (12 kg/cu. m)] [1 lb/cu. ft. (16 kg/cu. m)] [1-1/2 lb/cu. ft. (24 kg/cu. m)] <Insert density>.

c. Plastic Sheet Thickness and Color:  Not less than 0.003 inch (0.076 mm); [clear] [flat black] [white].

Retain subparagraph above or first subparagraph below.

d. Plastic Sheet Thickness and Color:  <Insert requirements>.

Verify availability of unwrapped pad material with manufacturer and verify suitability for indoor air and environmental quality of Project.

2. Unwrapped, Glass-Fiber Insulation:  Black-coated, unfaced, glass-fiber insulation complying with ASTM C 553, Type I, II, or III, not less than 1-lb/cu. ft. (16-kg/cu. m) density, treated to be nondusting, and as follows:

a. Thickness:  [1 inch (25 mm)] [1-1/2 inches (38 mm)] <Insert thickness>.

2.2 METAL SUSPENSION SYSTEMS

A. Metal Suspension Systems Standard:  Provide ceiling manufacturer's standard metal suspension systems of types and finishes indicated that comply with applicable ASTM C 635 requirements.

B. Suspension Systems:  Provide systems complete with carriers, splice sections, connector clips, alignment clips, leveling clips, hangers, molding, trim, retention clips, load-resisting struts, fixture adapters, and other suspension components required to support ceiling units and other ceiling-supported construction.

C. Attachment Devices:  Size for five times the design load indicated in ASTM C 635, Table 1, Direct Hung, unless otherwise indicated.

First subparagraph below does not apply to power-actuated fasteners.  Delete if no anchorage to concrete is required or if power-actuated fasteners are acceptable.  Verify safety factor with Project's structural engineer.  Revise testing methods below if required by authorities having jurisdiction.

1. Cast-in-Place and Postinstalled Anchors in Concrete:  Anchors of type and material indicated below, with holes or loops for attaching hangers of type indicated and with capability to sustain, without failure, a load equal to [five] <Insert safety factor> times that imposed by ceiling construction, as determined by testing per ASTM E 488 or ASTM E 1512 as applicable, conducted by a qualified testing and inspecting agency.

Select type of anchors from options in first subparagraph below; verify suitability with Project's structural engineer.

a. Type:  [Cast-in-place] [Postinstalled expansion] [Postinstalled bonded] anchors.

Retain one of three subparagraphs below or, if more than one is required, indicate location of each on Drawings.  Zinc plating of class indicated protects against corrosion from an indoor atmosphere subject to rare condensation and minimum wear or abrasion; revise thickness to suit more corrosive conditions or retain requirements for stainless steel or nickel-copper alloy, depending on conditions.  If postinstalled expansion anchors are used to attach nickel-copper-alloy wire hangers and braces, consider retaining nickel-copper anchors after verifying availability with manufacturers.

b. Corrosion Protection:  Carbon-steel components zinc plated to comply with ASTM B 633, Class Fe/Zn 5 (0.005 mm) for Class SC service condition (mild).

c. Corrosion Protection:  Stainless-steel components complying with ASTM F 593 and ASTM F 594, Group 1 Alloy 304 or 316 for bolts; Alloy 304 or 316 for anchors.

d. Corrosion Protection:  Components fabricated from nickel-copper-alloy rods complying with ASTM B 164 for UNS No. N04400 alloy.

Delete subparagraph below if power-actuated fasteners are not allowed.  Verify safety factor with Project's structural engineer.

2. Power-Actuated Fasteners in Concrete:  Fastener system of type suitable for application indicated, fabricated from corrosion-resistant materials, with clips or other accessory devices for attaching hangers of type indicated, and with capability to sustain, without failure, a load equal to [10] <Insert safety factor> times that imposed by ceiling construction, as determined by testing per ASTM E 1190, conducted by a qualified testing and inspecting agency.

D. Wire Hangers, Braces, and Ties:  Provide wire complying with the following requirements:

Retain one of first three subparagraphs below unless more than one type of wire is required.  If more than one type of wire is required, indicate location of each on Drawings.  See Evaluations for discussion on corrosion resistance of hangers and fasteners.  Revise hangers to strap type if required by authorities having jurisdiction or by local union regulations.

1. Zinc-Coated, Carbon-Steel Wire:  ASTM A 641/A 641M, Class 1 zinc coating, soft temper.

2. Stainless-Steel Wire:  ASTM A 580/A 580M, Type 304, nonmagnetic.

3. Nickel-Copper-Alloy Wire:  ASTM B 164, nickel-copper-alloy UNS No. N04400.

Retain second option in subparagraph below if required by authorities having jurisdiction or if desired for extra security and quality (including corrosion allowance).  Because larger sizes are difficult to work with, their use could result in poor leveling tolerance.

4. Size:  Select wire diameter so its stress at 3 times the hanger design load indicated in ASTM C 635, Table 1, Direct Hung will be less than yield stress of wire, but provide not less than [0.106-inch- (2.69-mm-)] [0.135-inch- (3.5-mm-)] <Insert dimension> diameter wire.

E. [Hanger Rods] [Flat Hangers]:  Mild steel, zinc coated or protected with rust-inhibitive paint.

Delete hanger types in paragraph above and first paragraph below if not required.  Insert sizes here or show on Drawings.

F. Angle Hangers:  Angles with legs not less than 7/8 inch (22 mm) wide; formed from 0.04-inch- (1.0-mm-) thick, galvanized-steel sheet complying with ASTM A 653/A 653M, G90 (Z275) coating designation; with bolted connections and 5/16-inch- (8-mm-) diameter bolts.

G. Carriers:  Factory finished [with matte-black baked finish] <Insert finish description>.

Retain at least one of five subparagraphs below for carriers.  Verify manufacturer's written instructions for exterior installations and other potentially corrosive environments.

1. Main Carriers:  Aluminum, not less than 0.240-inch (6.0-mm) rolled sheet, alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, complying with ASTM B 209 (ASTM B 209M).

2. Main Carriers:  Steel, not less than 0.0209-inch (0.53-mm) nominal thickness, cold-rolled sheet, with factory-applied protective coating, complying with ASTM C 635.

Retain first two subparagraphs below to suit products selected.  USG no longer uses electrolytic zinc-coated steel.  Contact USG for information about its protective coating.

a. Electrolytic Zinc-Coated Steel:  ASTM A 591/A 591M, not less than [80Z (24G)] <Insert coating designation> zinc coating.

b. Hot-Dip Galvanized Steel:  ASTM A 653/A 653M, not less than [G60 (Z180)] <Insert coating designation> zinc coating.

Verify availability of items in three subparagraphs below with manufacturer.

3. Adaptable Carriers:  Manufacturer's standard carriers for direct attachment to existing suspended tees.

Delete subparagraph above if no existing suspension system.  Delete first subparagraph below if no radiused applications.

4. Flexible Radial Carriers:  Manufacturer's standard radial carriers.

Retain subparagraph below if ceiling size is not dimensioned in standard nominal increments of 4 inches (100 mm).

5. Expansion Carriers:  Manufacturer's standard carriers allowing for irregularities or other unusual space conditions.

H. Carrier Splices:  Same metal, profile, and finish as indicated for carriers.

I. Stabilizer Channels, Tees, and Bars:  Manufacturer's standard components for stabilizing main carriers at regular intervals and at light fixtures, air-distribution equipment, access doors, and other equipment; spaced as standard with manufacturer for use indicated; and factory finished with matte-black baked finish.

Retain first paragraph below if required.  Coordinate with manufacturer's requirements and authorities having jurisdiction.

J. Seismic Struts:  Manufacturer's standard compression struts designed to accommodate seismic forces.

K. Exterior Bracing Channels and Angles:  Cold-rolled steel, hot-dip galvanized to comply with ASTM A 653/A 653M, G60 (Z180) coating designation; size and profile as required to withstand wind load.

Retain paragraph above and first paragraph below for exterior installations to comply with uplift and lateral bracing requirements for wind load.  Coordinate with other requirements of manufacturer.

L. Hold-Down Clips:  Manufacturer's standard hold-down clips spaced as standard with manufacturer.

Retain paragraph below if nonstandard edge moldings are required to suit Project.  Describe products here and insert names of products and manufacturers.  Show profiles and locations on Drawings.

M. Edge Moldings and Trim:  Provide exposed members as indicated or required to comply with seismic requirements of authorities having jurisdiction, to conceal edges of penetrations through ceiling, to conceal ends of pans and carriers, for fixture trim and adapters, for fasciae at changes in ceiling height, and for other conditions; of metal and finish matching linear metal pans or extruded plastic unless otherwise indicated.

1. For Circular Penetrations of Ceiling:  Fabricate edge moldings to diameter required to fit penetration exactly.

2. <Insert requirements>.

First three articles below are examples of linear metal pans and suspension systems for linear metal ceilings.

2.3 ALUMINUM PANS AND SUSPENSION SYSTEM FOR LINEAR METAL CEILING <Insert drawing designation>

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use same designation for both the aluminum pans and the suspension system selected that together make up the ceiling.  Use these designations on Drawings to identify each ceiling.

A. Aluminum Pans and Suspension System:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. American Decorative Ceilings; <Insert product name or designation>.

b. Ceilings Plus; <Insert product name or designation>.

c. Chicago Metallic Corporation; <Insert product name or designation>.

d. Hunter Douglas Architectural Products, Inc.; <Insert product name or designation>.

e. Simplex Ceilings, a division of Intalite Inc.; <Insert product name or designation>.

f. USG Interiors, Inc.; <Insert product name or designation>.

g. <Insert manufacturer's name; product name or designation>.

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert manufacturer's name>.

B. Classification:  Units complying with ASTM E 1264 for [Type XIII, aluminum strips with mineral- or glass-fiber-base backing; Form 1, perforated] [Type XIII, aluminum strips with mineral- or glass-fiber-base backing; Form 2, unperforated] [Type XX, other types described as perforated aluminum strips with sound-absorbent fabric backing] <Insert Type XX description>.

1. Pattern:  <Insert pattern designation for perforated pans and any requirements for perforation alignment, hole shape and size, holes per square foot or inch, and percent open area>.

C. Pan Thickness:  Not less than [0.018 inch (0.46 mm)] [0.022 inch (0.56 mm)] [0.024 inch (0.6 mm)] [0.025 inch (0.65 mm)] [0.027 inch (0.7 mm)] [0.032 inch (0.8 mm)] [0.040 inch (1.0 mm)] <Insert thickness>.

D. Pan Edge Detail:  [Beveled] [Square] [Round] [Manufacturer's standard edge detail].

E. Linear Module Width and Pan Face Width:  [2-inch (51-mm) module width and 1-1/4-inch (32-mm) face width] [4-inch (102-mm) module width and 3-1/4-inch (83-mm) face width] [6-inch (152-mm) module width and 5-1/4-inch (133-mm) face width] [8-inch (203-mm) module width and 7-1/4-inch (184-mm) face width] [100-mm module width and 80-mm face width] [200-mm module width and 180-mm face width] [300-mm module width and 280-mm face width] [As indicated on Drawings] <Insert dimensions>.

F. Pan Depth:  [5/8 inch (16 mm) deep] [3/4 inch (19 mm) deep] [Not less than 1 to 1-1/2 inches (25 to 38 mm) deep] [15 mm deep] [As indicated] <Insert depth>.

G. Pan Face Finish:  [Mill] [Lacquered mill] [Clear anodized] [Clear mirror-anodized] [Painted white] [Painted to match color indicated by product designation] [Painted to match Architect's sample] [Painted in color selected from manufacturer's full range] [High-performance organic coating in color selected from manufacturer's full range] [Bright-reflective finish selected from manufacturer's full range] <Insert finish>.

H. End Cap, Finish of Exposed Portions:  [Matte black] [To match pan] [Manufacturer's standard finish].

I. Filler Strip Design:  [Recessed] [Flush] [An integral extension of pan profile] [Expansion, for use with expansion carriers] [Slotted, for air diffusion].

J. Filler Strip, Finish of Exposed Portions:  [Matte black] [To match pan].

Retain first paragraph below if applicable.  Values are examples of units with baked white finish.

K. LR:  Not less than [0.70] [0.75] <Insert LR>.

Retain first paragraph below if unperforated pans are not specified.  Coordinate option retained with perforation pattern and sound absorber selected.

L. NRC:  Not less than [0.65] [0.75] [0.95] <Insert NRC>.

M. Suspension-System Main-Carrier Material:  [Aluminum] [Electrolytic zinc-coated steel] [Hot-dip galvanized steel] [Manufacturer's standard material and protective finish].

2.4 STEEL PANS AND SUSPENSION SYSTEM FOR LINEAR METAL CEILING <Insert drawing designation>

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use same designation for both the steel pans and the suspension system selected that together make up the ceiling.  Use these designations on Drawings to identify each ceiling.

A. Steel Pans and Suspension System:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Ceilings Plus; <Insert product name or designation>.

b. Chicago Metallic Corporation; <Insert product name or designation>.

c. Hunter Douglas Architectural Products, Inc.; <Insert product name or designation>.

d. USG Interiors, Inc.; <Insert product name or designation>.

e. <Insert manufacturer's name; product name or designation>.

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert manufacturer's name>.

B. Classification:  Units complying with ASTM E 1264 for [Type XIII, steel strips with mineral- or glass-fiber-base backing; Form 1, perforated] [Type XIII, steel strips with mineral- or glass-fiber-base backing; Form 2, unperforated] [Type XX, other types described as perforated steel strips with sound-absorbent fabric backing] <Insert Type XX description>.

1. Pattern:  <Insert pattern designation for perforated pans and any requirements for perforation alignment, hole shape and size, holes per square foot or inch, and percent open area>.

C. Pan Thickness:  Not less than [0.015 inch (0.4 mm)] [0.020 inch (0.5 mm)] [0.024 inch (0.6 mm)] [0.030 inch (0.75 mm)] <Insert thickness>.

D. Pan Edge Detail:  [Beveled] [Square] [Round] [Manufacturer's standard edge detail].

E. Linear Module Width and Pan Face Width:  [2-inch (51-mm) module width and 1-1/4-inch (32-mm) face width] [4-inch (102-mm) module width and 3-1/4-inch (83-mm) face width] [6-inch (152-mm) module width and 5-1/4-inch (133-mm) face width] [8-inch (203-mm) module width and 7-1/4-inch (184-mm) face width] [As indicated on Drawings] <Insert dimensions>.

F. Pan Depth:  [5/8 inch (16 mm) deep] [3/4 inch (19 mm) deep] [Not less than 1 to 1-1/2 inches (25 to 38 mm) deep] [15 mm deep] [As indicated] <Insert depth>.

G. Pan Face Finish:  [Painted white] [Painted to match color indicated by product designation] [Painted to match Architect's sample] [Painted in color selected from manufacturer's full range] [Electroplated finish selected from manufacturer's full range] <Insert finish>.

H. End Cap, Finish of Exposed Portions:  [Matte black] [To match pan] [Manufacturer's standard finish].

I. Filler Strip Design:  [Recessed] [Flush] [An integral extension of pan profile] [Expansion, for use with expansion carriers] [Slotted, for air diffusion].

J. Filler Strip, Finish of Exposed Portions:  [Matte black] [To match pan].

Retain first paragraph below if applicable.  Values are examples of units with baked white finish.

K. LR:  Not less than [0.70] [0.75] <Insert LR>.

Retain first paragraph below if unperforated pans are not specified.  Coordinate option retained with perforation pattern and sound absorber selected.

L. NRC:  Not less than [0.65] [0.75] [0.95] <Insert NRC>.

M. Suspension-System Main-Carrier Material:  [Aluminum] [Electrolytic zinc-coated steel] [Hot-dip galvanized steel] [Manufacturer's standard material and protective finish].

2.5 STAINLESS-STEEL PANS AND SUSPENSION SYSTEM FOR LINEAR METAL CEILING <Insert drawing designation>

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use same designation for both the stainless-steel pans and the suspension system selected that together make up the ceiling.  Use these designations on Drawings to identify each ceiling.

A. Stainless-Steel Pans and Suspension System:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. American Decorative Ceilings; <Insert product name or designation>.

b. Ceilings Plus; <Insert product name or designation>.

c. <Insert manufacturer's name; product name or designation>.

2. Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

a. <Insert manufacturer's name>.

B. Classification:  Units complying with ASTM E 1264 for [Type XIII, stainless-steel strips with mineral- or glass-fiber-base backing; Form 1, perforated] [Type XIII, stainless-steel strips with mineral- or glass-fiber-base backing; Form 2, unperforated] [Type XX, other types described as perforated stainless-steel strips with sound-absorbent fabric backing] <Insert Type XX description>.

1. Pattern:  <Insert pattern designation for perforated pans and any requirements for perforation alignment, hole shape and size, holes per square foot, and percent open area>.

C. Pan Thickness:  Not less than [0.016 inch (0.396 mm)] [0.019 inch (0.475 mm)] <Insert thickness>.

D. Pan Edge Detail:  [Manufacturer's standard edge detail] <Insert edge detail>.

E. Linear Module Width and Pan Face Width:  [2-inch (51-mm) module width and 1-1/4-inch (32-mm) face width] [4-inch (102-mm) module width and 3-1/4-inch (83-mm) face width] [6-inch (152-mm) module width and 5-1/4-inch (133-mm) face width] [8-inch (203-mm) module width and 7-1/4-inch (184-mm) face width] [As indicated on Drawings] <Insert dimensions>.

F. Pan Depth:  [5/8 inch (16 mm) deep] [As indicated] <Insert depth>.

G. Pan Face Finish:  [Brushed, directional polish] [Satin, directional polish] [Mirrorlike reflective, nondirectional polish] <Insert finish>.

H. End Cap, Finish of Exposed Portions:  [Matte black] [To match pan] [Manufacturer's standard finish].

I. Filler Strip Design:  [Recessed] [Flush] [An integral extension of pan profile] [Expansion, for use with expansion carriers] [Slotted, for air diffusion].

J. Filler Strip, Finish of Exposed Portions:  [Matte black] [To match pan].

Retain first paragraph below if unperforated pans are not specified.  Coordinate option retained with perforation pattern and sound absorber selected.

K. NRC:  Not less than [0.65] [0.75] [0.95] <Insert NRC>.

L. Suspension-System Main-Carrier Material:  [Aluminum] [Electrolytic zinc-coated steel] [Hot-dip galvanized steel] [Manufacturer's standard material and protective finish].

2.6 ACCESSORIES

A. Access Panels:  For access at locations indicated, provide door hinge assembly, retainer clip, and retainer bar, assembled with ceiling panels and carrier sections into access doors of required size, permitting upward or downward opening.

2.7 GENERAL FINISH REQUIREMENTS

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Noticeable variations in same piece are not acceptable.  Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

2.8 ALUMINUM FINISHES

Retain finishes in paragraphs below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom anodized finish is required and availability is verified.

A. Mill Finish:  AA-M10C10.

B. Lacquered Mill Finish:  AA-M10C10R1x with manufacturer's standard clear, organic coating.

C. Clear Anodic Finish:  AAMA 611, AA-M12C22A31, Class II, 0.010 mm or thicker.

D. Clear Mirror Anodic Finish:  AA-M21C12A212, 0.005 mm or thicker.

E. Color-Coated Finish:  Manufacturer's standard[ powder-coat] baked paint finish complying with coating manufacturer's written instructions for surface preparation, pretreatment, application, baking, and minimum dry film thickness.

F. High-Performance Organic Finish:  2-coat fluoropolymer finish complying with [AAMA 2604] [AAMA 2605] and containing not less than [50] [70] percent PVDF resin by weight in color coat.  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

G. Bright-Reflective Finish:  Manufacturer's standard chemical/mechanical bright-reflective metallic finish complying with finish manufacturer's written instructions for surface preparation, pretreatment, process, protective coating, and minimum thickness to produce a finish uniform in appearance and free of blisters, pits, roughness, nodules, burning, cracks, unfinished areas, and other visible defects.

2.9 GALVANIZED-STEEL SHEET FINISHES

A. Color-Coated Finish:  Manufacturer's standard[ powder-coat] baked paint finish complying with coating manufacturer's written instructions for surface preparation, pretreatment, application, baking, and minimum dry film thickness.

2.10 STEEL SHEET FINISHES

A. Electroplated Finish:  Electroplating process complying with finish manufacturer's written instructions for surface preparation, pretreatment, process, and minimum thickness to produce a coating uniform in appearance and free of blisters, pits, roughness, nodules, burning, cracks, unplated areas, and other visible defects.

B. Bright-Reflective Finish:  Manufacturer's standard chemical/mechanical bright-reflective metallic finish complying with finish manufacturer's written instructions for surface preparation, pretreatment, process, protective coating, and minimum thickness to produce a finish uniform in appearance and free of blisters, pits, roughness, nodules, burning, cracks, unfinished areas, and other visible defects.

2.11 STAINLESS-STEEL FINISHES

A. Surface Preparation:  Remove tool and die marks and stretch lines, or blend into finish.

B. Polished Finishes:  Grind and polish surfaces to produce uniform finish, free of cross scratches.

Retain first subparagraph below for directional finishes.

1. Run grain of directional finishes with long dimension of each piece.

2. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, including structural framing and substrates to which linear metal ceilings attach or abut, with Installer present, for compliance with requirements specified in this and other Sections that affect ceiling installation and anchorage and with requirements for installation tolerances and other conditions affecting performance of linear metal ceilings.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Measure each ceiling area and establish layout of linear metal pans to balance border widths at opposite edges of each ceiling.  Avoid using less-than-half-width or -length pans at borders, and comply with layout shown on reflected ceiling plans and Coordination Drawings.

3.3 INSTALLATION

A. Comply with [ASTM C 636] [UBC Standard 25-2] and seismic requirement indicated, per manufacturer's written instructions and CISCA's "Ceiling Systems Handbook."

B. Suspend ceiling hangers from building's structural members and as follows:

1. Install hangers plumb and free from contact with insulation or other objects within ceiling plenum that are not part of supporting structure or of ceiling suspension system.

2. Splay hangers only where required to miss obstructions; offset resulting horizontal forces by bracing, countersplaying, or other equally effective means.

3. Where width of ducts and other construction within ceiling plenum produces hanger spacings that interfere with location of hangers at spacings required to support standard suspension system members, install supplemental suspension members and hangers in form of trapezes or equivalent devices.

4. Secure wire hangers to ceiling suspension members and to supports above with a minimum of three tight turns.  Connect hangers directly either to structures or to inserts, eye screws, or other devices that are secure and appropriate for substrate to which hangers are attached and for type of hanger involved.

Delete subparagraph above or first subparagraph below unless both types of hangers are required and their locations are indicated on Drawings or by inserts.

5. Secure flat, angle, channel, and rod hangers to structure, including intermediate framing members, by attaching to inserts, eye screws, or other devices that are secure and appropriate for both structure to which hangers are attached and type of hanger involved.  Install hangers in a manner that will not cause them to deteriorate or fail due to age, corrosion, or elevated temperatures.

Delete any of first four subparagraphs below that refer to inapplicable construction types.  Revise first subparagraph if power-actuated fasteners are not allowed.

6. Do not support ceilings directly from permanent metal forms or floor deck.  Fasten hangers to cast-in-place hanger inserts, postinstalled mechanical or adhesive anchors, or power-actuated fasteners that extend through forms into concrete.

7. When steel framing does not permit installation of hanger wires at spacing required, install carrying channels or other supplemental support for attachment of hanger wires.

8. Do not attach hangers to steel deck tabs.

Revise first subparagraph below if structural members are spaced too far apart for hangers and another method is required.  For alternatives that may need to be detailed on Drawings, consult structural engineer and refer to CISCA's guidelines.  See SDI Publication No. 29 and the Evaluations in Division 5 Section "Steel Deck."

9. Do not attach hangers to steel roof deck.  Attach hangers to structural members.

10. Space hangers not more than 48 inches (1200 mm) o.c. along each member supported directly from hangers unless otherwise indicated; provide hangers not more than 8 inches (200 mm) from ends of each member.

11. Size supplemental suspension members and hangers to support ceiling loads within performance limits established by referenced standards and publications.

First paragraph below is based on requirements of the Division of the State Architect in California, for ceilings in hospitals and schools.  Revise or delete if not required.

C. Secure bracing wires to ceiling suspension members and to supports with a minimum of four tight turns.  Suspend bracing from building's structural members as required for hangers but without attaching to permanent metal forms, steel deck, or steel deck tabs.  Fasten bracing wires into concrete with cast-in-place or postinstalled anchors.

D. Install edge moldings and trim of type indicated at perimeter of linear metal ceiling area and where necessary to conceal edges and ends of linear metal pans.

1. Screw attach moldings to substrate at intervals not more than 16 inches (400 mm) o.c. and not more than 3 inches (75 mm) from ends, leveling with ceiling suspension system to a tolerance of 1/8 inch in 12 feet (3.2 mm in 3.6 m).  Miter corners accurately and connect securely.

Delete subparagraph below or revise if exposed fasteners are allowed.

2. Do not use exposed fasteners, including pop rivets, on moldings and trim.

E. Install suspension system carriers so they are aligned and securely interlocked with one another.  Remove and replace dented, bent, or kinked members.

F. Cut linear metal pans for accurate fit at borders and at interruptions and penetrations by other work through ceilings.  Stiffen edges of cut units as required to eliminate evidence of buckling or variations in flatness exceeding referenced standards for stretcher-leveled metal sheet.

G. Install linear metal pans in coordination with suspension system and exposed moldings and trim.

Revise first subparagraph below if joints are not parallel to room axis.

1. Align joints in adjacent courses to form uniform, straight joints parallel to room axis in both directions unless otherwise indicated.

2. Fit adjoining units to form flush, tight joints.  Scribe and cut units for accurate fit at borders and around construction penetrating ceiling.

3. Install pans with butt joints using internal pan splices and in the following joint configuration:

Select one of five subparagraphs below.

a. Aligned.

b. Aligned, every other pan length.

c. Staggered a minimum of 12 inches (300 mm).

d. Random.

e. As indicated.

Retain first subparagraph below if applicable.  Show locations of directionally textured metal pans and trim on Drawings or by inserts.

4. Install directionally textured metal pans in directions indicated.

5. Where metal pan ends are visible, install end caps unless trim is indicated.

Retain first subparagraph below if applicable.  Show locations of filler strips on Drawings or by inserts.

6. Install filler strips where indicated.

Usually delete two subparagraphs below if only unperforated patterns are specified.  Delete first subparagraph if acoustical fabric is bonded to pan in factory.

7. Install sound-absorbent fabric layers in perforated metal pans.

8. Install sound-absorbent pads at right angle to perforated metal pans so pads do not hang unsupported.

H. Install hold-down clips where indicated.

3.4 FIELD QUALITY CONTROL

Retain this article if applicable.  SEI/ASCE 7 requires special inspections for suspended ceiling systems in Seismic Design Categories D, E, and F; verify requirements of authorities having jurisdiction.

Retain first option in first paragraph below if Owner engages special inspector.  Consider retaining second option if authorities having jurisdiction allow Contractor to engage special inspector.  If retaining second option, retain "Field quality-control reports" Paragraph in "Submittals" Article.

A. Special Inspections:  [Owner will engage] [Engage] a qualified special inspector to perform the following special inspections:

1. Suspended ceiling system.

2. Hangers, anchors, and fasteners.

3. <Insert special inspections>.

Retain first paragraph below, with or without above, to identify who shall perform tests and inspections.  If retaining second option below, retain "Field quality-control reports" Paragraph in "Submittals" Article.

B. Testing Agency:  [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

Testing requirements in first paragraph below are examples and apply only to ceilings with hangers attached to concrete by power-actuated fasteners and postinstalled anchors.  Retain or revise to suit Project and requirements of authorities having jurisdiction.

C. Tests and Inspections:  Testing and inspecting of completed installations of acoustical panel ceiling hangers and anchors and fasteners shall take place in successive stages, in areas of extent and using methods as follows.  Do not proceed with installations of acoustical panel ceiling hangers for the next area until test results for previously completed installations of acoustical panel ceiling hangers show compliance with requirements.

1. Extent of Each Test Area:  When installation of ceiling suspension systems on each floor has reached 20 percent completion but no panels have been installed.

Verify loads in two subparagraphs below with structural engineer based on ceiling loads and seismic zone where Project is located.  CISCA's "Guidelines for Seismic Restraint of Direct-Hung Suspended Ceiling Assemblies - Seismic Zones 3 & 4" requires hanger wire attachment devices to be "capable of supporting 100 lbf (445 N)."

a. Within each test area, testing agency will select 1 of every 10 power-actuated fasteners and postinstalled anchors used to attach hangers to concrete and will test them for 200 lbf (890 N) of tension; it will also select one of every 2 postinstalled anchors used to attach bracing wires to concrete and will test them for 440 lbf (1957 N) of tension.

b. When testing discovers fasteners and anchors that do not comply with requirements, testing agency will test those anchors not previously tested until 20 pass consecutively and then will resume initial testing frequency.

See Division 1 Section "Quality Requirements" for retesting and reinspecting requirements and Division 1 Section "Execution Requirements" for correcting the Work.

D. Acoustical panel ceiling hangers and anchors and fasteners will be considered defective if they do not pass tests and inspections.

E. Prepare test and inspection reports.

Insert other field quality-control procedures required for Project.

3.5 CLEANING

A. Clean exposed surfaces of linear metal ceilings, including trim and edge moldings after removing strippable, temporary protective covering if any.  Comply with manufacturer's written instructions for stripping of temporary protective covering, cleaning, and touchup of minor finish damage.  Remove and replace ceiling components that cannot be successfully cleaned and repaired to permanently eliminate evidence of damage, including dented and bent units.

END OF SECTION 09547

LINEAR METAL CEILINGS
09547 - 1

