Copyright 2003 AIA
MASTERSPEC
02/03

Copyright 2003, The American Institute of Architects (AIA)

SECTION 09635 - BRICK FLOORING
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Brick flooring set on thickset mortar bed.

2. Brick flooring set in thin-set mortar directly on concrete.

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

1. Division 2 Section "Unit Pavers" for brick pavers installed in pavement applications (exterior) rather than as flooring (interior).

2. Division 7 Section "[Self-Adhering Sheet Waterproofing] [Elastomeric Sheet Waterproofing] [Thermoplastic Sheet Waterproofing] [Cold Fluid-Applied Waterproofing] [Hot Fluid-Applied Waterproofing]" for waterproofing under brick flooring.

3. Division 7 Section "Joint Sealants" for sealing control and expansion joints in brick flooring with elastomeric sealants.

4. Division 9 Section "Chemical-Resistant Brick Flooring" for brick flooring set with chemical-resistant materials.

1.3 SUBMITTALS

A. Product Data:  For materials other than water and aggregates.

Select paragraph above or first paragraph and list below.  If retaining below, edit list to correlate with products retained in Part 2.

B. Product Data:  For the following:

1. Brick.

2. Packaged mortar mixes.

3. Packaged grout mixes.

4. Mortar and grout additives.

5. Sealer.

6. Floor wax.

C. Samples for Initial Selection:  For each type of brick indicated.

Delete subparagraph below if flooring is ungrouted or grout color approval is not required.

1. Include similar Samples of grout and accessories involving color selection.

Delete paragraph and subparagraph above if colors and other characteristics are preselected and specified or scheduled.  Retain paragraph and subparagraphs below with or without above.

D. Samples for Verification:  Full-size units of each type of brick indicated.

Delete subparagraph below if flooring is limited to ungrouted applications.

1. Provide Samples with joints grouted and cured.

Delete subparagraph below if sealer and wax are not used.

2. Provide brick Samples with one-half of exposed traffic surface sealed and waxed.

Delete paragraph below if requirement for preconstruction compatibility and adhesion testing is deleted or if latex additive is not used.

E. Compatibility and Adhesion Test Reports:  From latex-additive manufacturer for mortar and grout containing latex additives.

1.4 QUALITY ASSURANCE

A. Source Limitations:  Obtain each type of brick, joint material, and setting material from one source with resources to provide materials and products of consistent quality in appearance and physical properties.

Delete paragraph and subparagraph below if latex additives are not specified or if testing is considered unnecessary.

B. Preconstruction Compatibility and Adhesion Testing:  Submit to latex-additive manufacturer, for testing as indicated below, samples of flooring materials that will contact or affect mortar and grout that contain latex additives.

1. Use manufacturer's standard test methods to determine whether mortar and grout materials will obtain optimum adhesion with, and will be nonstaining to, installed brick and other materials constituting brick flooring installation.

Delete paragraph and subparagraphs below if not required.  If retained, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

C. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Delete subparagraph below if sealer and wax are not used.

1. Apply sealer and wax over one-half of mockup's traffic surface.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

2. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

D. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

1.5 DELIVERY, STORAGE, AND HANDLING

A. Store brick on elevated platforms in a dry location.  If units are not stored in an enclosed location, cover tops and sides of stacks with waterproof sheeting, securely tied.

B. Store cementitious materials on elevated platforms, under cover, and in a dry location.  Do not use cementitious materials that have become damp.

C. Store aggregates where grading and other required characteristics can be maintained and contamination avoided.

Delete paragraph below if no liquid-latex compounds are used.

D. Store liquids in tightly closed containers protected from freezing.

1.6 PROJECT CONDITIONS

A. Environmental Limitations:  Do not set brick flooring when air temperature or material temperature is below 40 deg F (4.4 deg C).  Maintain minimum ambient temperature of 40 deg F (4.4 deg C) during installation and for 48 hours after completion.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

Lists below are examples only.

1. Brick Pavers:

a. Acme Brick Company.

b. Belden Brick Company (The).

c. Boral Bricks, Inc.

d. Canada Brick.

e. Endicott Clay Products Co.

f. General Shale Brick.

g. Glen-Gery Corporation.

h. Hastings Pavement Company, Inc.

i. Interstate Brick Co.; Division of Pacific Coast Building Products, Inc.

j. I-XL Industries Ltd.

k. Pine Hall Brick.

l. Redland Brick Inc.; Subsidiary of Belden Brick Company (The).

m. Richtex Brick.

n. Whitacre-Greer.

o. <Insert manufacturer's name.>

2. Latex-Portland Cement Mortars and Grouts:

a. Atlas Minerals & Chemicals, Inc.

b. Boiardi Products Corporation.

c. Bonsal, W. R., Company.

d. Bostik Findley Inc.

e. C-Cure.

f. Custom Building Products.

g. DAP Inc.

h. Laticrete International, Inc.

i. MAPEI Corp.

j. SGM.

k. Summitville Tiles, Inc.

l. TEC Incorporated; H. B. Fuller Company.

m. <Insert manufacturer's name.>

2.2 COLORS AND TEXTURES

Retain one requirement from options in this Article.  If retaining first requirement, indicate colors and textures in a separate schedule.

A. Colors and Textures:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

2.3 BRICK PAVERS

Select one weather class, traffic type, and application in first paragraph below.  Class SX is for exposure to freezing weather, and Class MX is for exterior uses that do not expose brick to freezing.  Class NX is for interior locations.  Type I is for driveways and entrances to public and commercial buildings exposed to extensive abrasion; Type II is for exterior walkways and floors in restaurants and stores exposed to intermediate traffic; Type III is for floors and patios exposed to low traffic, as in single-family homes.  Application PS is normal tolerance for mortared joint installation; Application PX is close tolerance for ungrouted joints; Application PA is nonuniform sized for decorative effect.  If retaining Application PA, specify tolerances.

A. Brick Pavers:  Light-traffic paving brick; ASTM C 902, Class [SX] [MX] [NX], Type [I] [II] [III], Application [PS] [PX] [PA].  Provide brick without frogs or cores in surfaces exposed to view in the completed Work.

B. Size:  As indicated.

Retain paragraph above and show dimensions on Drawings, or delete and select from options in two subparagraphs below.  Verify availability of sizes with manufacturers.

C. Size:  Actual dimensions as follows:

1. Thickness:  [1-1/4 inches (32 mm)] [1-5/8 inches (41 mm)] [2-1/4 inches (57 mm)].

2. Face Dimensions:  [3-5/8 by 7-5/8 inches (92 by 194 mm)] [4 by 8 inches (102 by 203 mm)] [3-5/8 by 11-5/8 inches (92 by 295 mm)] [7-5/8 by 7-5/8 inches (194 by 194 mm)].

Delete paragraph below if not required.  Values are based on suggestion in ADAAG appendix.  Verify that selected brick meets criteria before retaining.  See Evaluations.

D. Slip Resistance:  Static coefficient of friction of at least 0.6 where used on level surfaces and 0.8 where used on ramps when tested according to ASTM C 1028.

Generally retain paragraph below if latex-modified mortar or grout is used.  Temporary protective coating prevents staining.

E. Temporary Protective Coating:  Precoat exposed surfaces of brick pavers[ at factory] with a continuous film of a temporary protective coating that is compatible with brick, mortar, and grout products and can be removed without damaging grout or brick.  Do not coat unexposed brick surfaces; handle brick to prevent coated surfaces from contacting backs or edges of other units.  If, despite these precautions, coating does contact bonding surfaces of brick, remove coating from bonding surfaces before setting brick.

2.4 MORTAR SETTING-BED MATERIALS

A. Portland Cement:  ASTM C 150, Type I or II.

Delete paragraph below if portland cement-lime mortar is not retained under mortar mixes.

B. Hydrated Lime:  ASTM C 207, Type S.

Revise paragraph below for latex-modified portland cement mortar bed if latex-additive manufacturer requires coarser aggregate complying with ASTM C 33.

C. Aggregate:  ASTM C 144.

Retain paragraph below for slurry bond coat and latex-modified portland cement mortar bed.  Additive is available in either concentrated or prediluted form.  Concentrated form is used with water; prediluted is added without water.  Select one or both options below.  Some manufacturers do not identify type of latex additive in their product literature.

D. Latex Additive:  [Styrene-butadiene-rubber] [or] [acrylic-resin] water emulsion serving as replacement for part or all of gaging water, of type specifically recommended by manufacturer for use with job-mixed portland cement and aggregate, and not containing a retarder.

Retain paragraph below for work over wood subfloor or for isolation of portland cement setting bed from concrete subfloor.  See Evaluations.

E. Cleavage Membrane:  Asphalt-saturated felt, ASTM D 226, Type I (No. 15); or polyethylene sheeting, ASTM D 4397, 4.0 mils (0.1 mm) thick.

Retain paragraph below for portland cement setting beds over cleavage membrane.  ASTM A 82 specifies minimum wire size of 0.08 inch (2 mm).  Revise below if thicker wire is required.

F. Reinforcing Wire Fabric:  Galvanized, welded wire fabric, 2 by 2 inches (50.8 by 50.8 mm) by 0.062-inch (1.57-mm) diameter; comply with ASTM A 185 and ASTM A 82, except for minimum wire size.

Retain paragraph and subparagraphs below if cured mortar-bed installation method is specified.  See Evaluations.

G. Thin-Set Materials:  For setting floor brick on cured mortar bed, use latex-portland cement mortar complying with ANSI A118.4[, and consisting of the following:] [.]

Select one of two subparagraphs below if retaining paragraph above.  Delete both subparagraphs, and first option in paragraph above, for Contractor's option.

1. Prepackaged Dry-Mortar Mix:  Factory-prepared mixture of portland cement; dry, redispersible, ethylene vinyl acetate additive; and other ingredients to which only water needs to be added at Project site.

2. Mixture of Dry-Mortar Mix and Latex Additive:  Mixture of prepackaged dry-mortar mix and [styrene-butadiene-rubber] [or] [acrylic-resin] liquid-latex additive.

2.5 GROUT MATERIALS

Delete this Article if no grouted joints.

A. Portland Cement:  ASTM C 150, Type I or II.

1. Color:  Natural color or white as required to produce joint color indicated.

Retain paragraph and subparagraph above and paragraph and applicable subparagraph below if job-mixed grout is used without latex additive.  Delete all if packaged products are exclusively specified.

B. Aggregate:  ASTM C 144.

1. White Aggregate:  Natural white sand or ground white stone.

Retain subparagraph above or below if grout color is determined solely by cement and aggregate colors without adding pigments.  Revise to indicate specific aggregates and cement if known.

2. Colored Aggregate:  Ground marble, granite, or other sound stone; selected to produce required grout color.

Retain paragraph below with two paragraphs and applicable subparagraphs above if job-mixed pigmented grout is used.  See Evaluations.

C. Colored Mortar Pigments for Grout:  Natural and synthetic iron and chromium oxides, compounded for use in mortar and grout mixes.  Use only pigments that have proved through testing and experience to be satisfactory for use in portland cement grout.

Retain one of two paragraphs and associated subparagraphs below if packaged grout is used instead of job-mixed grout or if job-mixed polymer-modified portland cement grout is used.

D. Standard Sanded Cement Grout:  ANSI A118.6, color as indicated.

E. Polymer-Modified Grout:  ANSI A118.7.

1. Packaged, dry grout mix consisting of portland cement, graded aggregate, and ethylene vinyl acetate in the form of a reemulsifiable powder to which only water is added at Project site.

Delete subparagraph above or below, or delete both, for Contractor's option.  Water emulsion is available in either concentrated or prediluted form.  Concentrated form is used with water; prediluted is added without water.  Select one or both options below.  Some manufacturers do not identify type of latex additive in their product literature.

2. Dry grout mixture indicated below combined at Project site with [styrene butadiene rubber] [or] [acrylic resin] in liquid-latex form serving as replacement for part or all of gaging water.

Retain one of two subparagraphs and associated subparagraphs below if retaining subparagraph above.  See Evaluations.

a. Dry Grout Mixture:  Factory-mixed, sanded grout complying with ANSI A118.6 and recommended by liquid-latex manufacturer, in color indicated.  Use liquid latex without retarder.

b. Dry Grout Mixture:  Factory-mixed or job-mixed sanded grout consisting of the following:

1) Portland Cement:  ASTM C 150, Type I or II, of natural color or white as required to produce color indicated.

2) Aggregate:  ASTM C 144, graded to comply with liquid-latex manufacturer's requirements.

Retain one of two subparagraphs below if grout color is produced from a selection of cement and aggregates, with or without adding pigments.

a) White Aggregate:  Natural white sand or ground white stone.

b) Colored Aggregate:  Ground marble, granite, or other sound stone; selected to produce required grout color.

Delete subparagraph below if grout color is produced entirely by cement and aggregate colors.

3) Colored Mortar Pigments for Grout:  Natural and synthetic iron and chromium oxides, compounded for use in mortar and grout mixes.  Use only pigments that have proved through testing and experience to be satisfactory for use in portland cement grout.

Retain paragraph below for job-mixed grout and prepackaged grout formulations that only require adding water.  Delete if liquid latex is limited to emulsions of styrene-butadiene-rubber or prediluted acrylic formulations.

F. Water:  Potable.

2.6 FLOOR-FINISH MATERIALS

Delete sealer below if not required.

A. Sealer:  Acrylic-based, slip-resistant, water-emulsion floor finish complying with ASTM D 4078 and specifically recommended by sealer manufacturer for use intended.

B. Floor Wax:  Formulated for use over sealer indicated, acceptable to sealer manufacturer, and specifically recommended by floor-wax manufacturer for use intended.

Below is standard criterion for slip resistance of floor polishes.

1. Slip Resistance:  Provide floor wax with static coefficient of friction of at least 0.5 when tested according to ASTM D 2047.

2.7 MIXES

Correlate mixes in this Article with materials and products retained in articles specifying mortar setting-bed and joint materials and their installation.

A. General:  Comply with referenced standards and with manufacturers' written instructions for mix proportions, mixing equipment, mixer speeds, mixing containers, mixing times, and other procedures needed to produce setting-bed and joint materials of uniform quality and with optimum performance characteristics.  Discard mortars and grout when they have reached their initial set.

Select one of two types in paragraph below.  BIA Technical Notes 14 indicates that both types are suitable for interior applications, with Type S preferred for reinforced applications where maximum tensile-bond strength is needed.

B. Portland Cement-Lime Setting-Bed Mortar:  Type [S] [N] complying with ASTM C 270, Proportion Specification.

Delete paragraph above or below.  See Evaluations.

C. Latex-Modified Portland Cement Setting-Bed Mortar:  Proportion and mix portland cement, aggregate, and liquid latex for setting bed to comply with directions of liquid-latex manufacturer and as necessary to produce stiff mixture with a moist surface when bed is ready to receive brick.

Retain paragraph below if mortar bed is installed directly over concrete.  Latex additive can be used with either latex-modified mortar or unmodified portland cement mortar; water should only be used with unmodified portland cement mortar.

D. Mortar-Bed Bond Coat:  Mix neat cement and [latex additive] [water] to a creamy consistency.

Retain paragraph below with either latex-modified portland cement mortar or unmodified portland cement-lime mortar if workable mortar-bed installation method is specified.  See Evaluations.

E. Latex-Modified Portland Cement Slurry Bond Coat:  Proportion and mix portland cement, aggregate, and liquid latex for slurry bond coat to comply with directions of liquid-latex manufacturer.

Retain paragraph below if cured mortar-bed installation method is specified.  See Evaluations.

F. Thin-Set Mortar:  Proportion and mix thin-set mortar ingredients per directions of liquid-latex manufacturer.

Delete three paragraphs and associated subparagraphs below if brick is laid with ungrouted joints.

G. Job-Mixed Portland Cement Grout:  Proportion and mix job-mixed portland cement and aggregate grout to match setting-bed mortar, except omit hydrated lime and use enough water to produce a pourable mixture.

Select paragraph above for job-mixed grout without polymer additive or paragraph below for job-mixed grout with liquid-latex additive.

H. Job-Mixed Polymer-Modified Portland Cement Grout:  Add liquid-latex additive to dry grout mix in proportion and concentration recommended by liquid-latex manufacturer.  Proportion cement and aggregate to comply with directions of latex-additive manufacturer.

Retain one of two subparagraphs below with either paragraph above for job-mixed colored grout.

1. Pigmented Grout:  Select and proportion pigments with other ingredients to produce color required.  Do not exceed pigment-to-cement ratio of 1 to 10, by weight.

2. Colored-Aggregate Grout:  Produce color required by combining colored aggregates with portland cement of selected color.

Retain one of two paragraphs and associated subparagraphs above for job-mixed grout or paragraph below if packaged, polymer-modified grout is used.

I. Packaged, Polymer-Modified Grout Mix:  Proportion and mix grout ingredients according to grout manufacturer's written instructions.

PART 3 -  EXECUTION

3.1 EXAMINATION

Coordinate conditions required by Work of this Section with requirements in Section where substrate is specified.

A. Examine surfaces indicated to receive brick flooring, with Installer present, for compliance with requirements for maximum moisture content, installation tolerances, and other conditions affecting performance.

1. Proceed with installation only after unsatisfactory conditions have been corrected.

Delete Article above and below for loose-laid applications.

3.2 PREPARATION OF SUBFLOOR

Coordinate this Article with requirements in other Sections in which subfloors are specified.  For concrete subfloor, retain requirement in Division 3 Section "Cast-in-Place Concrete" that forbids use of curing and sealing compounds on surfaces to be covered by ceramic tile, but revise to include brick flooring.

A. Sweep subfloor to remove dirt, dust, debris, and loose particles.

B. Remove substances, from subfloor, that could impair mortar bond, including curing and sealing compounds, form oil, and laitance.

3.3 INSTALLATION, GENERAL

A. Do not use bricks with chips, cracks, voids, discolorations, or other defects that might be visible or cause staining in finished work.

B. Mix bricks from several pallets or cubes, as they are placed, to produce uniform blend of colors and textures.

C. Cut bricks with motor-driven masonry saw equipment to provide clean, sharp, unchipped edges.  Cut units to provide pattern indicated and to fit adjoining work neatly.  Use full units without cutting where possible.  Hammer cutting is not acceptable.

Select one of five patterns in first paragraph below or revise to suit Project.

D. Joint Pattern:  [Running bond] [Herringbone] [Basket weave] [As indicated] [Match existing brick flooring joint pattern].

E. Hand-Tight Joints:  Set brick with hand-tight joints[ where indicated].

Delete paragraph above or first paragraph below.  Retain above if brick flooring is set with hand-tight joints; retain below if joints are grouted.  Below are examples only.  Select tolerance to suit manufacturing tolerances of pavers; Application PA brick pavers will require large tolerances.

F. Spaced Joint Widths:  Provide nominal [3/8-inch (10-mm)] [1/2-inch (13-mm)] joint width with variations not exceeding plus or minus [1/16 inch (1.6 mm)] [1/8 inch (3 mm)] [, unless otherwise indicated].

G. Finished-Surface Tolerances:  Do not exceed 1/32-inch (1-mm) brick-to-brick offset from flush (lippage) nor 1/8 inch in 10 feet (3 mm in 3 m) from level, or indicated slope, for finished surface of brick flooring.

Delete paragraph above or first paragraph below.  Retain above if uniform level or slopes to drains are critical.  Retain below when nominal control of floor surface is acceptable.

H. Finished-Surface Tolerances:  Do not exceed 1/16-inch (1.6-mm) brick-to-brick offset from flush (lippage) nor 1/8 inch in 24 inches (3 mm in 600 mm) and 1/4 inch in 10 feet (6 mm in 3 m) from level, or indicated slope, for finished surface of brick flooring.

I. Expansion and Control Joints:  Provide for sealant-filled joints at locations and of widths indicated.  Provide joint filler as backing for sealant-filled joints where indicated.  Install joint filler before setting brick flooring.  Sealant materials and installation are specified in Division 7 Section "Joint Sealants."

3.4 THICKSET MORTARED BRICK FLOORING

Retain this Article for brick flooring set in portland cement mortar bed with a thickness of between 3/4 and 1-1/4 inches (19 and 32 mm).

Retain paragraph and subparagraphs below for mortar bed bonded to concrete subfloor.  Delete if brick is installed over cleavage membrane.

A. Apply mortar bed to concrete subfloors to comply with the following requirements:

1. Saturate concrete subfloor with clean water several hours before placing setting bed.  Remove surface water about one hour before placing setting bed.

2. Apply mortar-bed bond coat over surface of concrete subfloor about 15 minutes before placing mortar bed.  Do not exceed 1/16-inch (1.6-mm) thickness for bond coat.  Limit area of bond coat to avoid its drying out before placing setting bed.

3. Apply mortar bed over bond coat immediately after applying bond coat.  Spread and screed setting bed to uniform thickness at elevations required for accurate setting of brick to finished elevations indicated.

4. Brick Wet Set on Workable Mortar Bed:  Mix and place only that amount of mortar bed that can be covered with brick before initial set.  Cut back, bevel edge, and discard setting-bed material that has reached initial set before placing brick.

Select subparagraph above or below, or retain both for Contractor's option.  Below is considered minimum per ANSI A108.1B for mortar bed under tile, with longer cure considered desirable.  Revise if longer cure is required.

5. Brick Set on Cured Mortar Bed:  Cure mortar bed for not less than 20 hours at 70 deg F (21 deg C).

Retain paragraph and subparagraphs below for mortar bed applied over cleavage membrane.  Delete if bonded mortar bed is the only method required.

B. Apply mortar bed over cleavage membrane to comply with the following requirements:

1. Place cleavage membrane over subfloor surfaces indicated to receive brick flooring, lapped at least 4 inches (100 mm) at joints.

2. Place reinforcing wire fabric over membrane, lapped at joints by at least one full mesh and supported so mesh becomes embedded in the middle of setting bed.  Hold edges back from vertical surfaces approximately 1/2 inch (13 mm).

3. Place mortar bed over cleavage membrane with reinforcing wire fabric fully embedded in middle of setting bed.  Spread and screed setting bed to uniform thickness at elevations required for accurate setting of brick to finished elevations indicated.

4. Brick Wet Set on Workable Mortar Bed:  Mix and place only that amount of mortar bed that can be covered with brick before initial set.  Cut back, bevel edge, and discard setting-bed material that has reached initial set before placing brick.

Select subparagraph above or below, or retain both for Contractor's option.  Below is considered minimum per ANSI A108.1B for mortar bed under tile, with longer cure considered desirable.  Revise if longer cure is required.

5. Brick Set on Cured Mortar Bed:  Cure mortar bed for not less than 20 hours at 70 deg F (21 deg C).

Retain three paragraphs and associated subparagraphs below for Contractor's option to use either workable-bed method or cured-bed method.

C. Install brick either in workable mortar bed or in thin-set mortar bond coat over cured mortar bed at Contractor's option.

Delete paragraph and subparagraphs below if brick is specified to be installed over cured mortar bed.

D. Install brick in workable mortar bed to comply with the following requirements:

1. Wet brick before laying if the initial rate of absorption exceeds 30 g/30 sq. in. (30 g/194 sq. cm) per minute when tested per ASTM C 67.  Allow brick to absorb the water so it is damp but not wet at the time of laying.

2. Place brick before initial set of mortar occurs.  Immediately before placing brick on setting bed, apply uniform 1/16-inch- (1.6-mm-) thick, slurry bond coat to bed or to back of each brick with a flat trowel.

3. Tamp or beat brick with a wooden block or rubber mallet to obtain full contact with setting bed and to bring finished surfaces within indicated tolerances.  Set each brick in a single operation before initial set of mortar; do not return to areas already set and disturb bricks for purposes of realigning finished surfaces or adjusting joints.

Delete paragraph and subparagraphs below if brick is specified to be installed in workable mortar bed.

E. Install brick in thin-set mortar bond coat over cured mortar bed to comply with the following requirements:

1. Wet brick before laying if the initial rate of absorption exceeds 30 g/30 sq. in. (30 g/194 sq. cm) per minute when tested per ASTM C 67.  Allow brick to absorb the water so it is damp but not wet at the time of laying.

2. Apply thin-set mortar bond coat to setting bed with notched trowel complying with admixture manufacturer's specifications for notch depth and configuration and in heavy enough layer to provide a minimum mortar-bed thickness of 3/32 to 1/8 inch (2.5 to 3 mm) after bricks are fully embedded.  Key the mortar into setting bed with flat side of trowel and comb with notched side of trowel in one direction.  Apply only as much mortar as can be covered with brick before initial set (15 to 30 minutes).

3. Place brick while bond coat is still tacky and before initial set takes place.  Immediately before placing brick on setting bed, apply skim coat of thin-set mortar to back of brick.  Place brick by sliding in direction perpendicular to combed ridges and tamp or beat brick with a small beating block to obtain full contact with setting bed and to bring finished surfaces within indicated tolerances; do not return to areas already set and disturb bricks for purposes of realigning finished surfaces or adjusting joints.

3.5 THIN-SET MORTARED BRICK FLOORING

Delete this Article if no thin-set brick flooring, i.e., brick set directly on concrete subfloor without mortar bed.  See Evaluations.

A. Install brick flooring on concrete subfloor with thin-set mortar to comply with the following requirements:

1. Wet brick before laying if the initial rate of absorption exceeds 30 g/30 sq. in. (30 g/194 sq. cm) per minute when tested per ASTM C 67.  Allow brick to absorb the water so it is damp but not wet at the time of laying.

2. Apply thin-set mortar to substrate with notched trowel complying with admixture manufacturer's specifications for notch depth and configuration and in heavy enough layer to provide a minimum mortar-bed thickness of 3/32 to 1/8 inch (2.5 to 3 mm) after bricks are fully embedded.  Key the mortar into substrate with flat side of trowel and comb with notched side of trowel in one direction.  Apply only as much mortar as can be covered with brick before initial set (15 to 30 minutes).

3. Place brick while mortar is still tacky and before initial set takes place.  Immediately before placing brick, apply skim coat of thin-set mortar to back of brick.  Place brick by sliding in direction perpendicular to combed ridges and tamp or beat brick with a small beating block to obtain full contact with mortar and to bring finished surfaces within indicated tolerances; do not return to areas already set and disturb bricks for purposes of realigning finished surfaces or adjusting joints.

3.6 JOINT TREATMENT

Delete this Article if loose-laid installation is retained (joint treatment is included with installation requirements for that method).

A. Hand-Tight Joints:  Sweep dry mixture of portland cement and sand into joints and then fog surface with water to set mixture.

Retain paragraph above only for hand-tight joints.  Retain three paragraphs below for grouted joints.

B. Grouted Joints:  Grout brick joints complying with ANSI A108.10.

C. Grout joints as soon as possible after initial set of setting bed.  Force grout into joints, taking care not to smear grout on adjoining brick and other surfaces.  After initial set of grout, finish joints by tooling to produce a slightly concave polished joint, free from drying cracks.

D. Cure grout by maintaining in a damp condition for seven days, unless otherwise recommended by grout or liquid-latex manufacturer.

3.7 REPAIR, POINTING, CLEANING, AND PROTECTION

A. Remove and replace brick that is loose, chipped, broken, stained, or otherwise damaged or that does not match adjoining brick as intended.  Provide new brick to match adjoining brick and install in same manner as original brick, with same joint treatment and with no evidence of replacement.

Delete paragraph below if hand-tight joints are specified.

B. Pointing:  During tooling of joints, enlarge voids or holes and completely fill with mortar or grout.  Point up joints at sealant joints to provide a neat, uniform appearance, properly prepared for sealant application.

Delete paragraph below for loose-laid applications.

C. Cleaning:  Remove excess mortar and grout from exposed brick surfaces; wash and scrub clean.

Delete subparagraph below if not applicable.

1. Remove protective coating as recommended by protective coating manufacturer and acceptable to brick and grout manufacturers.  Trap and remove coating to prevent it from clogging drains.

Delete paragraph below if not required.

D. Sealing and Waxing:  After floor has been cleaned and is thoroughly dry, seal and wax traffic surface of brick flooring in a manner that results in a clear, uniform appearance.  Apply sealer and wax in the number of coats and by application methods that comply with written directions of manufacturer of each product.  Do not apply wax until sealer has dried.

END OF SECTION 09635

BRICK FLOORING
09635 - 14

