Copyright 2004 AIA
MASTERSPEC Full Length
08/04 (R 05/06)

Copyright 2004 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 09751 - INTERIOR STONE FACING
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following interior applications of dimension stone:

Adjust list below to suit Project.

1. Wall paneling.

2. Wainscot paneling.

3. Column facing.

4. Window stools.

5. Base.

6. Trim.

7. Benches.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

Delete one or both subparagraphs below if inserts installed in concrete or masonry are not required.

1. Division 3 Section "Cast-in-Place Concrete" for installing concrete inserts for anchoring interior stone facing.

2. Division 4 Section "Unit Masonry Assemblies" for installing masonry inserts for anchoring interior stone facing.

Retain second option in first subparagraph below if stone types for all stonework Sections are described in Section below.  Using one stone schedule helps ensure uniformity of stone supplied under different Sections.

3. Division 4 Section "Dimension Stone Cladding" for [exterior stone facing] [and] [descriptions of stone types required by this Section].

4. Division 7 Section "Joint Sealants" for sealing expansion joints in interior stone facing.

5. Division 9 Section "Dimension Stone Tile" for stone floor and wall tile.

6. Division 9 Section "Stone Paving and Flooring" for stone flooring.

1.3 PERFORMANCE REQUIREMENTS

Retain this Article if interior stone facing is required by building code to resist seismic forces and Installer is to design anchoring system.  Delete if anchoring systems are fully detailed on Drawings or if authorities having jurisdiction require structural engineer of record to take full responsibility for structural design.  See Evaluations.

A. General:  Design stone anchors and anchoring systems according to ASTM C 1242.

Revise paragraph and subparagraph below to indicate specific loads determined by Project's structural engineer or refer to loads on Drawings.  Model building codes and ASCE 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

B. Seismic Performance:  Provide interior stone facing system capable of withstanding the effects of earthquake motions determined according to [ASCE 7, "Minimum Design Loads for Buildings and Other Structures."] <Insert applicable code requirement.>

1. Seismic Design Criteria:  <Insert criteria, such as seismic coefficient, component importance factor, etc.>

1.4 SUBMITTALS

A. Product Data:  For the following:

Adjust list below to suit Project.

1. Each variety of stone.[ Include data on physical properties required by referenced ASTM standards.]

2. Stone installation materials and other manufactured products.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify product's compliance with performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

1. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Delete subparagraph below if not applicable.

2. Include large-scale shaded drawings of [decorative surfaces] [and] [inscriptions].

C. Samples for Initial Selection:  For joint materials involving color selection.

Delete paragraph above if colors are preselected and specified or scheduled.  Retain paragraph and subparagraphs below with or without above.  Samples may serve to define acceptable range of colors, patterns, etc., if other methods cannot be used due to cost.

D. Samples for Verification:

Division 1 Section "Submittal Procedures" requires that Samples for verification "show the full range of color and texture variations expected," but this requirement may not be adequate for stone varieties that exhibit variations in color and veining.  First subparagraph below should provide better control.

1. For each stone type indicated, in sets of Samples not less than 12 inches (300 mm) square.  Include [two] [three] [four] [five] <Insert number> or more Samples in each set and show the full range of variations in appearance characteristics expected in completed Work.[  Samples will establish the standard by which stone will be judged.]

2. For each color of [grout] [pointing mortar] [and] [sealant] required.

Delete subparagraph below if not applicable.  If retaining, usually include more specific description of required Samples or indicate on Drawings the area of work to be represented by Samples.

3. For [carving] [and] [inscriptions].

Retain paragraph and subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives and sealants.

E. LEED Submittal:

1. Product Data for Credit EQ 4.1:  For [adhesives] [and] [sealants], including printed statement of VOC content.

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

F. Qualification Data:  For [Installer] [fabricator] [professional engineer].

G. Sealant Compatibility Test Report:  From sealant manufacturer, complying with requirements in Division 7 Section "Joint Sealants" and indicating that sealants will not stain or damage stone.

H. Maintenance Data:  For interior stone facing to include in maintenance manuals.  Include Product Data for stone-care products used or recommended by Installer and names, addresses, and telephone numbers of local sources for products.

1.5 QUALITY ASSURANCE

Delete paragraph below if not required by Project size, fabrication, or installation details.

A. Fabricator Qualifications:  Shop that employs skilled workers who custom-fabricate interior stone facing similar in material, design, and extent to that indicated for this Project, whose work has resulted in applications with a record of successful in-service performance.

Usually retain one of two paragraphs below.  Generally retain first for undivided responsibility if Contractor is required to assume responsibility for engineering.  Delete both if not required by Project size, fabrication, or installation details.

B. Installer Qualifications:  Fabricator of interior stone facing.

C. Installer Qualifications:  An installer who employs experienced stone setters who are skilled in installing interior stone facing similar in material, design, and extent to that indicated for this Project, whose work has resulted in applications with a record of successful in-service performance.

Two subparagraphs below may be retained with either paragraph above.  Delete second option in first subparagraph and delete second subparagraph below if Contractor is not required to assume responsibility for engineering.

1. Installer's responsibilities include[ fabricating and] installing interior stone facing, including anchoring system[, and providing professional engineering services needed to assume engineering responsibility].

2. Engineering Responsibility:  Preparation of Shop Drawings and comprehensive engineering analysis by a qualified professional engineer.

Delete third option in first paragraph below if no other stone Sections are used or if other Sections do not require same stone varieties.

D. Source Limitations for Stone:  Obtain[ each variety of] stone, [regardless of finish, ]from a single quarry[, whether specified in this Section or in another Section,] with resources to provide materials of consistent quality in appearance and physical properties.

Delete subparagraph below if not applicable.

1. For stone types that include same list of varieties and sources, provide same variety from same source for each.

Delete subparagraph below if not required.  Examination of blocks is usually only done for large installations and involves traveling to quarry or to shop where blocks are sawed into slabs, which is frequently not the fabrication shop.

2. Make quarried blocks available for Architect to examine for appearance characteristics.

Delete subparagraph and associated subparagraphs below if not required.  When blocks are not selected at the quarry, below may allow some control over range of color and other visual characteristics.  Supplier must have adequate stock of slabs to allow selection, or procedure below will not be beneficial.  Retaining below may add cost because supplier may increase prices to account for rejected slabs.

3. Make stone slabs available for Architect to examine for appearance characteristics.

a. Architect will select aesthetically acceptable slabs[ and will indicate aesthetically unacceptable portions of slabs].

b. Segregate slabs selected for use on Project and mark backs indicating approval.

Subparagraph below may be advantageous for stone that is highly variable; otherwise, delete it.

c. Mark and photograph aesthetically unacceptable portions of slabs as directed by Architect.

E. Source Limitations for Other Materials:  Obtain each type of grout, stone accessory, sealant, and other material through one source from a single manufacturer.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

F. Mockups:  Build mockups to demonstrate aesthetic effects and set quality standards for materials and execution.

Retain subparagraph below for large-scale mockup or include in Division 1 Section "Quality Requirements." Indicate on Drawings' portion of wall represented by mockup or draw mockup as separate element.

1. Build mockup of typical wall area as shown on Drawings.

Retain subparagraph below for limited mockups.

2. Build mockups for the following kinds of interior stone facing:

First five subparagraphs below are examples only.  Revise to suit Project or indicate extent of each type on Drawings.

a. Typical interior stone wall paneling, about 72 inches (1800 mm) long by 96 inches (2400 mm) high.

b. Typical interior stone wainscot paneling[ with wainscot cap], about 72 inches (1800 mm) long by full wainscot height.

c. Stone base, about 72 inches (1800 mm) long.

d. Typical stone window stool.

e. Typical column facing, one complete column.

f. Grouting or pointing of joints.

3. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless such deviations are specifically approved by Architect in writing.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

4. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Lift stone with wide-belt slings; do not use wire rope or ropes that might cause staining.  Move stone, if required, using dollies with cushioned wood supports.

B. Store stone on wood A-frames or pallets with nonstaining separators and nonstaining, waterproof covers.  Ventilate under covers to prevent condensation.

C. Store cementitious materials on elevated platforms, under cover, and in a dry location.  Do not use cementitious materials that have become damp.

1.7 PROJECT CONDITIONS

Delete first paragraph below if no adhesives, grout, mortar, or sealants are used.  Retain option if portland cement grout or mortar is used.

A. Maintain air and material temperatures to comply with requirements of installation material manufacturers, but not less than 50 deg F (10 deg C)[ during installation and for 7 days after completion].

B. Field Measurements:  Verify dimensions of construction to receive interior stone facing by field measurements before fabrication and indicate measurements on Shop Drawings.

Delete subparagraph below if not allowed.

1. Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabrication without field measurements.  Coordinate construction to ensure that actual dimensions correspond to established dimensions.

1.8 COORDINATION

Delete first paragraph below if not applicable.

A. Coordinate installation of inserts that are to be embedded in concrete or masonry and similar items to be used by interior stone facing Installer for anchoring and supporting interior stone facing.  Furnish setting drawings, templates, and directions for installing such items and deliver to Project site in time for installation.

B. Time delivery and installation of interior stone facing to avoid extended on-site storage and to coordinate with work adjacent to interior stone facing.

PART 2 -  PRODUCTS

2.1 STONE

Retain this Article and delete first eight articles below if stone varieties and sources are specified in Division 4 Section "Dimension Stone Cladding." Specifying all stone types in one Section helps ensure uniformity of stone supplied under different Sections.

A. Varieties and Sources:  Subject to compliance with requirements, provide stone of varieties and from sources complying with Division 4 Section "Dimension Stone Cladding."

Delete "Stone" Article and retain one or more of first eight articles below to describe stone types used if stone types are not specified in Division 4 Section "Dimension Stone Cladding." If articles describing stone types are retained here and only one type from each category is required, the generic name can be retained and used on Drawings instead of a stone-type designation; otherwise, copy and re-edit Article selected for each type required, inserting a different stone-type designation each time.

2.2 GRANITE <Insert drawing designation>

Some varieties of granite that are suitable for interior use do not comply with ASTM C 615; verify that granite selected will comply before retaining paragraph below.

A. Granite:  Comply with ASTM C 615.

Paragraph below is an example of a generic description that can be retained and edited for a nonproprietary specification.  For a more explicit specification, delete and list varieties and sources.

B. Description:  Uniform, [fine] [medium]-grained, [white] [pink] [gray] [black] <Insert color> stone[ without veining].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of three paragraphs and list below.  See Division 1 Section "Product Requirements."

C. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

D. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

E. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

Delete paragraph below if variety selected has no veining.

F. Cut:  [Vein] [Fleuri] cut.

Delete subparagraph below if vein cut is not selected.

1. Orientation of Veining:  [Horizontal] [Vertical] [As indicated].

Delete first paragraph below if not applicable.

G. Cut stone from one block or contiguous, matched blocks in which natural markings occur.

H. Finish:  [polished] [Honed] [Thermal] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

I. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.3 LIMESTONE <Insert drawing designation>

A. Limestone:  Comply with ASTM C 568.

Usually select one of three options in subparagraph below.  If varieties and sources are named, specifying a classification may be unnecessary but would provide additional quality control and a salient characteristic to use in determining if another variety or source is equivalent.  First option generally applies to very porous limestone, such as shell limestone; second, to oolitic and some dolomitic limestone; and third, to dolomitic limestone.  See Evaluations.

1. Classification:  [I Low] [II Medium] [III High]-Density.

Usually delete subparagraph below and name varieties and sources instead.  Descriptions can be used for a generic specification, but must be coordinated with classifications selected above.  See Evaluations.

2. Description:  [Dolomitic] [Oolitic] [Shell] limestone.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of three paragraphs and list below.  See Division 1 Section "Product Requirements."

B. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

C. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

D. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

Delete three paragraphs and list above and retain paragraph below if Indiana limestone is required.  If retaining below, retain "II Medium-Density" and "Oolitic" options above.  Revise below if stone from a particular quarry is required.

E. Variety and Sources:  Indiana oolitic limestone quarried in Lawrence, Monroe, or Owen Counties, Indiana.

If retaining Indiana limestone above, retain paragraph below and select one grade and color.  Delete if Indiana limestone is not used.  Select and Standard grades are hard to get in large sizes; gray is more plentiful than buff.  Verify availability with producers.

F. Indiana Oolitic Limestone Grade and Color:  [Select, buff] [Select, gray] [Standard, buff] [Standard, gray] [Rustic, buff] [Rustic, gray] [Variegated], according to grade and color classification established by ILI.

Delete paragraph below if variety selected, such as Indiana limestone, has no veining.

G. Cut:  [Vein] [Fleuri] cut.

Delete subparagraph below if vein cut is not selected.

1. Orientation of Veining:  [Horizontal] [Vertical] [As indicated].

Delete first paragraph below if not applicable.  Matched blocks are not possible with Indiana limestone.

H. Cut stone from one block or contiguous, matched blocks in which natural markings occur.

I. Finish, Matching Standard ILI Finish:  [Smooth finish] [Machine tooled, 4 bats per 1 inch (25 mm)] [Machine tooled, 6 bats per 1 inch (25 mm)] [Machine tooled, 8 bats per 1 inch (25 mm)] [As indicated] <Insert finish>.

Select paragraph above or below.  Retain above for Indiana limestone, below for other varieties.

J. Finish:  [Smooth] [Sand rubbed] [Machine tooled, 4 bats per 1 inch (25 mm)] [Machine tooled, 6 bats per 1 inch (25 mm)] [Machine tooled, 8 bats per 1 inch (25 mm)] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

K. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.4 MARBLE <Insert drawing designation>

Many varieties of marble that are suitable for interior use do not comply with ASTM C 503; verify that marble selected will comply before retaining paragraph below.

A. Marble:  Comply with ASTM C 503.

Paragraph below is an example of a generic description that can be retained and edited for a nonproprietary specification.  For a more explicit specification, delete and list varieties and sources below.  Below describes a crystalline calcite marble; revise to describe other varieties of marble if required.

B. Description:  Uniform, fine- to medium-grained, [white] <Insert color> stone with only slight veining.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of first three paragraphs and list below.  See Division 1 Section "Product Requirements."

C. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

D. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

E. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

F. Cut:  [Vein] [Fleuri] cut.

Delete subparagraph below if vein cut is not selected.

1. Orientation of Veining:  [Horizontal] [Vertical] [As indicated].

Delete first paragraph below if not applicable.

G. Cut stone from one block or contiguous, matched blocks in which natural markings occur.

H. Finish:  [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

I. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.5 QUARTZ-BASED STONE <Insert drawing designation>

A. Quartz-Based Stone:  Comply with ASTM C 616, Classification [I Sandstone] [II Quartzitic Sandstone] [III Quartzite].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of first three paragraphs and list below.  See Division 1 Section "Product Requirements."

B. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

C. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

D. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

E. Finish:  [Sand rubbed] [Natural cleft] [Thermal] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

F. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.6 SERPENTINE <Insert drawing designation>

If retaining this Article, select one of two classifications in paragraph below.  Classification I Exterior requires lower absorption and higher strength; verify that serpentine selected complies with this classification before retaining.

A. Serpentine:  Comply with ASTM C 1526, Classification [I Exterior] [II Interior].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of three paragraphs and list below.  See Division 1 Section "Product Requirements."

B. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

C. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

D. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

Delete first paragraph below if not applicable.

E. Cut stone from one block or contiguous, matched blocks in which natural markings occur.

F. Finish:  [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

G. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.7 SLATE <Insert drawing designation>

If retaining this Article, select one of two classifications in paragraph below.  Classification I Exterior requires lower absorption and better acid resistance in addition to higher strength; verify that slate selected complies with this classification before retaining.

A. Slate:  Comply with ASTM C 629, Classification [I Exterior] [II Interior], with a fine, even grain[ and unfading color,] from clear, sound stock.

Subparagraph below is an example of a generic description that can be retained and edited for a nonproprietary specification.  For a more explicit specification, delete and list varieties and sources below.

1. Color:  [Black] [Blue-black] [Gray] [Blue-gray] [Green] [Purple] [Mottled purple and green] [Red].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of first three paragraphs and list below.  See Division 1 Section "Product Requirements."

B. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

C. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

D. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

E. Finish:  [Honed] [Sand rubbed] [Natural cleft] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

F. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.8 TRAVERTINE <Insert drawing designation>

If retaining this Article, select one of two classifications in paragraph below.  Classification I Exterior requires higher strength; verify that travertine selected complies with this classification before retaining.

A. Travertine:  Comply with ASTM C 1527, Classification [I Exterior] [II Interior].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of three paragraphs and list below.  See Division 1 Section "Product Requirements."

B. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

C. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

D. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

Usually select vein cut in paragraph below.

E. Cut:  [Vein] [Fleuri] cut.

Delete subparagraph below if vein cut is not selected.

1. Orientation of Veining:  [Horizontal] [Vertical] [As indicated].

Delete paragraph below if not applicable.

F. Cut stone from one block or contiguous, matched blocks in which natural markings occur.

Delete first paragraph below if filling is not required.

G. Filling:  Fill pores on faces of stone with cementitious filler of color [selected by Architect] [matching Architect's sample].

H. Finish:  [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

I. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.9 OTHER STONE <Insert drawing designation>

A. Provide sound natural stone as follows:

1. Maximum Absorption per ASTM C 97:  <Insert value.>

2. Minimum Compressive Strength per ASTM C 170:  <Insert value.>

3. Minimum Flexural Strength per ASTM C 880:  <Insert value.>

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming varieties and sources, retain one of first three paragraphs and list below.  See Division 1 Section "Product Requirements."

B. Available Varieties and Sources:  Subject to compliance with requirements, stone varieties that may be incorporated into the Work include, but are not limited to, the following:

C. Varieties and Sources:  Subject to compliance with requirements, provide one of the following:

D. Variety and Source:  Subject to compliance with requirements, provide the following:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers.>

E. Finish:  [Polished] [Honed] [Sand rubbed] [Natural cleft] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

F. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.10 SETTING MATERIALS

Retain paragraph below for standard setting of stone in locations where moisture is not a concern.  For wet areas, use mortar for setting spots.

A. Molding Plaster:  ASTM C 59/C 59M.

Retain first three paragraphs and associated subparagraph below if mortar is used for setting spots.

B. Portland Cement:  ASTM C 150, Type I or II.

Retain subparagraph below if recommended by stone source to limit staining.

1. Low-Alkali Cement:  Not more than 0.60 percent total alkali when tested according to ASTM C 114.

C. Hydrated Lime:  ASTM C 207, Type S.

D. Aggregate:  ASTM C 144.

E. Water:  Potable.

F. Adhesives, General:  Use only adhesives formulated for stone and ceramic tile and recommended by their manufacturer for the application indicated.

Adhesive in paragraph below can be used for adhering stone base to gypsum board partitions; water-cleanable epoxy adhesive has higher bond strength.  Retain option if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for ceramic tile adhesives.

G. Organic Adhesive:  ANSI A136.1, Type I[, with a VOC content of 65 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24)].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming manufacturers, retain one of two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Boiardi Products Corporation.

b. Bostik Findley Inc.

c. C-Cure.

d. Custom Building Products.

e. DAP Inc.

f. Laticrete International, Inc.

g. MAPEI Corp.

h. TEC Incorporated; H. B. Fuller Company.

i. <Insert manufacturer's name.>

Adhesive in paragraph below can be used for adhering stone base to gypsum board partitions or to interior stone facing.  Adhesive below is also the preferred setting material for certain types of stone that are prone to warping due to water absorption from various types of mortars and from water-emulsion organic adhesives.  (Although below is water cleanable, it contains very little water.) Retain option if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for ceramic tile adhesives.

H. Water-Cleanable Epoxy Adhesive:  ANSI A118.3[, with a VOC content of 65 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24)].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming manufacturers, retain one of two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Bonsal, W. R. Company.

b. Bonstone Materials Corporation.

c. C-Cure.

d. Custom Building Products.

e. Laticrete International, Inc.

f. MAPEI Corp.

g. Summitville Tiles, Inc.

h. <Insert manufacturer's name.>

Retain paragraph and subparagraphs below if joints are required for window stools, base, or trim and are bonded rather than grouted, pointed, or sealant filled.  Retain last option below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for ceramic tile adhesives.

I. Stone Adhesive:  2-part, [epoxy-resin] [or] [polyester-resin] stone adhesive with an initial set time of not more than 2 hours at 70 deg F (21 deg C)[, and with a VOC content of 65 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24)].

1. Color:  [Clear] [Match stone].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming manufacturers and products, retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

2. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

3. Products:  Subject to compliance with requirements, provide one of the following:

a. Epoxy Adhesive:  Akemi North America; Akepox.

b. Epoxy Adhesive:  Axson North America, Inc., Wood & Stone Company; Akabond Epoxy.

c. Epoxy Adhesive:  Bonstone Materials Corporation; Touchstone Last Patch.

d. Epoxy Adhesive:  Bonstone Materials Corporation; Touchstone Ratio Pac Clear Gel Epoxy.

e. Epoxy Adhesive: <Insert manufacturer's name; product name or designation.>

f. Polyester Adhesive:  Akemi North America; Platinum Clear Polyester Adhesive.

g. Polyester Adhesive:  Axson North America, Inc., Wood & Stone Company; Wood & Stone Polyester.

h. Polyester Adhesive:  Bonstone Materials Corporation; Gripstone L-200KG.

i. Polyester Adhesive: <Insert manufacturer's name; product name or designation.>

2.11 GROUT

Delete this Article if grouts are not used.  Grouts may be used for stone joints less than 3/16 inch (5 mm) wide; wider joints should be pointed with mortar.

A. Grout Colors:  [Match stone] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Select types of grout from five paragraphs below.  Coordinate with installation requirements.  Insert colors for each type of grout or indicate in a schedule.

B. Sand-Portland Cement Grout:  ANSI A108.10, composed of white or gray cement and white or colored aggregate as required to produce required color.

Grout in paragraph above is a Project-site mix of portland cement and fine sand; delete if only factory-prepared products are allowed.  Retain one or more of four grouts in four paragraphs below if factory-prepared products are used.  Unsanded grout should be used for joints with polished stone, especially softer stones such as marble; sand can scratch the stone when grout is spread and wiped.  Sanded grout is generally used for joints 1/8 inch (3 mm) and wider; and unsanded grout, for joints 1/8 inch (3 mm) and narrower.

C. Standard Sanded Cement Grout:  ANSI A118.6.

D. Standard Unsanded Cement Grout:  ANSI A118.6.

Polymer-modified tile grout is available either sanded or unsanded.

E. Polymer-Modified Tile Grout:  ANSI A118.7.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming manufacturers, retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

Manufacturers in list below offer factory-mixed grouts with dry polymer additives, latex emulsions, or both.  See the Evaluations in Division 9 Section "Ceramic Tile" for additional information.

a. Boiardi Products Corporation.

b. Bonsal, W. R. Company.

c. Bostik Findley Inc.

d. C-Cure.

e. Custom Building Products.

f. DAP Inc.

g. Laticrete International, Inc.

h. MAPEI Corp.

i. Summitville Tiles, Inc.

j. TEC Incorporated; H. B. Fuller Company.

k. <Insert manufacturer's name.>

3. Polymer Type:  Ethylene vinyl acetate, in dry, redispersible form, prepackaged with other dry ingredients.

4. Polymer Type:  [Acrylic resin] [or] [styrene-butadiene rubber] in liquid-latex form for addition to prepackaged dry-grout mix.

5. Polymer Type:  Either ethylene vinyl acetate, in dry, redispersible form, prepackaged with other dry ingredients, or acrylic resin or styrene-butadiene rubber in liquid-latex form for addition to prepackaged dry-grout mix.

6. Grout Type:  [Sanded] [Unsanded].

Product in paragraph below is more resistant to staining than portland cement-based grouts.  Product below is also the preferred grout for certain types of stone that are prone to warping due to water absorption from setting materials and grouts.  (Although below is water cleanable, it contains very little water.) See Evaluations.

F. Water-Cleanable Epoxy Grout:  ANSI A118.3, chemical-resistant, water-cleanable, tile-setting and -grouting epoxy.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming manufacturers, retain one of two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Boiardi Products Corporation.

b. Bonsal, W. R. Company.

c. Bostik Findley Inc.

d. C-Cure.

e. Custom Building Products.

f. Laticrete International, Inc.

g. MAPEI Corp.

h. Summitville Tiles, Inc.

i. TEC Incorporated; H. B. Fuller Company.

j. <Insert manufacturer's name.>

2.12 POINTING MORTAR MATERIALS

Delete this Article if no pointing mortar.  Otherwise, retain listed products below for types of pointing mortar used.  Pointing mortar should be used instead of grout for joints 3/16 inch (5 mm) and wider.  Unsanded grout should be used with polished stone, especially softer stones such as marble; sand can scratch the stone when grout is spread and wiped.

A. Portland Cement:  ASTM C 150, Type I or II.  Provide natural color or white cement as required to produce mortar color indicated.

Retain subparagraph below if recommended by stone source to limit staining.

1. Low-Alkali Cement:  Not more than 0.60 percent total alkali when tested according to ASTM C 114.

B. Hydrated Lime:  ASTM C 207, Type S.

C. Portland Cement-Lime Mix:  Packaged blend of portland cement complying with ASTM C 150, Type I or III, and hydrated lime complying with ASTM C 207, Type S.

Mix in first paragraph below allows better control of color than does job-mixed, portland cement-lime mortar with pigment added.  Delete if grout is used instead of pointing mortar.

D. Colored Portland Cement-Lime Mix:  Packaged blend of portland cement complying with ASTM C 150, Type I or Type III; hydrated lime complying with ASTM C 207, Type S; and mortar pigments.  Use a mix of formulation required to produce color indicated or, if not indicated, as selected from manufacturer's standard formulations.  Pigments shall not exceed 10 percent of portland cement by weight.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming manufacturers and products, retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Essroc, Italcementi Group; [Capitol PCL Blend] [or] [Saylor's Plus].

b. Holcim (US) Inc.; Rainbow Mortamix Custom Color Cement/Lime.

c. Lafarge North America Inc.; Eaglebond.

d. Lehigh Cement Company; Lehigh Custom Color Portland/Lime Cement.

e. <Insert manufacturer's name; product name or designation.>

E. Aggregate:  ASTM C 144, except with 100 percent passing No. 16 (1.18-mm) sieve.

Retain subparagraph below for white mortar.

1. White Aggregates:  Natural white sand or ground white stone.

Retain subparagraph below for colored-aggregate mortar.

2. Colored Aggregates:  Natural-colored sand or ground marble, granite, or other durable stone; of color necessary to produce required mortar color.

Retain first paragraph below for colored portland cement-lime mix or for pigments added at Project site.  Verify that pigments have a successful history of use with stone variety selected.  Delete if grout is used instead of pointing mortar.

F. Mortar Pigments:  Natural and synthetic iron oxides, compounded for use in mortar mixes.  Use only pigments with a record of satisfactory performance in mortar and containing no carbon black.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Bayer, Industrial Chemicals Division; Bayferrox Iron Oxide Pigments.

b. Davis Colors; True Tone Mortar Colors.

c. Solomon Colors; SGS Mortar Colors.

d. <Insert manufacturer's name; product name or designation.>

G. Water:  Potable.

2.13 SEALANTS

A. Joint Sealants:  Manufacturer's standard sealants of characteristics indicated below that comply with applicable requirements in Division 7 Section "Joint Sealants" and will not stain the stone they are applied to.

Coordinate types of joint sealant retained below with applicable subparagraph titles used in Part 2 "Elastomeric Joint Sealants" Article in Division 7 Section "Joint Sealants" in which various elastomeric-sealant types are specified.  Include designations such as "ES-<#>" if they are retained in Part 2 "Elastomeric Joint Sealants" Article in the "Joint Sealants" Section.

Acid-curing silicone sealants may etch polished marble.  Before retaining products, verify that they will not stain stone.

1. Single-component, mildew-resistant, [neutral] [acid]-curing silicone sealant[ ES-<#>].

2. Single-component, nonsag urethane sealant[ ES-<#>].

3. Latex Sealant[ LS-<#>].

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.

4. VOC Content:  [250] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Revise subparagraph below if color matching is not possible with sealant products selected, which may be the case with mildew-resistant sealant from some manufacturers.

5. Colors:  Provide colors of exposed sealants to match colors of grout in stone adjoining sealed joints, unless otherwise indicated.

Retain paragraph below with one of two options for stone set with anchors other than wire tiebacks.  If sealant-filled joints are used, using same sealant eliminates compatibility problems.  If selecting first option, delete subparagraphs and list of manufacturers and products.  See the Evaluations in Division 7 Section "Joint Sealants" for more information.

B. Sealant for Filling Kerfs:  [Same sealant used for joints in dimension stone] [Manufacturer's standard chemically curing, elastomeric sealants of base polymer and characteristics indicated below that comply with applicable requirements in Division 7 Section "Joint Sealants" and that do not stain stone].

1. Single-component, nonsag, urethane sealant; Class 25, Use T (traffic), and Use M (masonry).

Verify suitability of sealant in subparagraph below before retaining.  Silicone sealants often stain porous, light-colored stone.

2. Single-component, nonsag, neutral-curing, medium to high modulus, silicone sealant; Class 25, Use NT (nontraffic), and Use M (masonry).

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.

3. VOC Content:  [250] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

4. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

5. Products:  Subject to compliance with requirements, provide one of the following:

Three products in list below are urethane sealants.

a. Sika Corporation, Inc.; Sikaflex - 1a.

b. Sonneborn, Division of ChemRex; NP 1.

c. Sonneborn, Division of ChemRex; Ultra.

First product in list below is a silicone sealant.

d. Tremco Incorporated, Sealant/Waterproofing Division; Spectrem 2.

e. Tremco Incorporated, Sealant/Waterproofing Division; Vulkem 116.

f. <Insert manufacturer's name; product name or designation.>

2.14 STONE ANCHORS AND ATTACHMENTS

A. Fabricate anchors from stainless steel, ASTM A 240/A 240M, Type 304.

1. Fasteners for Stainless-Steel Anchors:  Annealed stainless-steel bolts, nuts, and washers; ASTM F 593 (ASTM F 738M) for bolts and ASTM F 594 (ASTM F 836M) for nuts, Alloy Group 1 (A1).

B. Fabricate dowels from stainless steel, ASTM A 276, Type 304.

Retain paragraph and subparagraph below if required.

C. Fabricate anchors from extruded aluminum, ASTM B 221 (ASTM B 221M), alloy and temper as required to support loads imposed without exceeding allowable design stresses, but not less than strength and durability properties of Alloy 6063-T6.

1. Fasteners for Extruded-Aluminum Anchors:  Annealed stainless-steel bolts, nuts, and washers; ASTM F 593 (ASTM F 738M) for bolts and ASTM F 594 (ASTM F 836M) for nuts, Alloy Group 1 (A1).

Revise paragraph and subparagraph below if other finishes or materials are required or are acceptable.  Grids are also available in stainless steel or with factory-applied paint in lieu of hot-dip galvanized coating.

D. Anchor Support Grids:  Roll-formed steel channels, of size and shape required for application indicated, formed from galvanized steel sheet not less than 0.108 inch (2.8 mm) thick and complying with ASTM A 653/A 653M, G90 (Z275).

1. Fittings and Fasteners:  System manufacturer's standard components of design, size, and material required to securely attach grids to building structure and stone anchors to grids.  Fabricate components in contact with stone from same material specified for anchors.

No ASTM standard exists for wire used as a tie or anchor, but building codes do define wire gage or diameter and noncorrosive requirements.  See details in MIA's "Dimension Stone--Design Manual." Select only third option in paragraph below if staining might be a problem.

E. Wire Tiebacks:  [No. 9 AWG copper or copper-alloy] [or] [0.120-inch- (3.0-mm-) diameter, stainless-steel] wire.

Delete paragraph below if not applicable or if specified in Division 3 Section "Cast-in-Place Concrete."

F. Dovetail Slots:  Furnish dovetail slots with filler strips of slot size required to receive anchors provided, fabricated from 0.0336-inch- (0.85-mm-) thick, galvanized steel sheet complying with ASTM A 653/A 653M, G90 (Z275).

Surface-mounted anchors are an effective means of meeting seismic requirements without compromising fire ratings.  Systems that use grids or setting spots may project farther from wall surface than some that do not; verify dimensional requirements of various systems before editing.

G. Direct-Mount Anchoring Systems:  Stainless-steel[ or aluminum] stone anchors designed to be applied directly to wall surfaces[ or to metal grids].  System is secured to wall framing, furring, or sheet-metal reinforcing strips built into wall with[ stainless-steel] self-drilling screws.  Anchors fit into kerfs or holes in edges of interior stone facing panels[ and do not need setting spots].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming manufacturers and products, retain one of two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Products:  Subject to compliance with requirements, provide one of the following:

a. Halfen Anchoring Systems; Meadow-Burke.

b. Heckmann Building Products Inc.

c. Hohmann & Barnard, Inc.

d. <Insert manufacturer's name.>

2.15 STONE ACCESSORIES

A. Temporary Setting Shims:  Rigid plastic shims, nonstaining to stone, sized to suit joint thickness.

Delete first paragraph below if direct-mount anchoring systems are not used.

B. Setting Shims for Direct-Mount Anchoring Systems:  Strips of resilient plastic or neoprene, nonstaining to stone, of thickness needed to prevent point loading of stone on anchors and of depths to suit anchors without intruding into required depths of pointing materials.

C. Cleaner:  Stone cleaner specifically formulated for stone types, finishes, and applications indicated, as recommended by stone producer.  Do not use cleaning compounds containing acids, caustics, harsh fillers, or abrasives.

Delete paragraph and subparagraphs below if not required or recommended for stone type.

D. Stone Sealer:  Colorless, stain-resistant sealer that does not affect color or physical properties of stone surfaces, as recommended by stone producer for application indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  If naming manufacturers, retain one of two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

1. Available Manufacturers:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

a. Bostik Findley Inc.

b. Custom Building Products.

c. Hillyard, Inc.

d. HMK Stone Care System.

e. Miracle Sealants Company.

f. Stonecare International.

g. Summitville Tiles, Inc.

h. <Insert manufacturer's name.>

2.16 STONE FABRICATION, GENERAL

A. Select stone for intended use to prevent fabricated units from containing cracks, seams, and starts that could impair structural integrity or function.

Delete subparagraph below if stone varieties used do not require repairs.

1. Repairs that are characteristic of the varieties specified are acceptable provided they do not impair structural integrity or function and are not aesthetically unpleasing, as judged by Architect.

B. Fabricate interior stone facing in sizes and shapes required to comply with requirements indicated, including details on Drawings and Shop Drawings.

Retain applicable references in three subparagraphs below.  No specific reference for slate or sandstone currently exists, but related information is included in MIA's "Dimension Stone--Design Manual." Data are also available from product sources and fabricators.

1. For granite, comply with recommendations in NBGQA's "Specifications for Architectural Granite."

2. For marble, comply with recommendations in MIA's "Dimension Stone--Design Manual."

3. For limestone, comply with recommendations in ILI's "Indiana Limestone Handbook."

C. Cut stone to produce pieces of thickness, size, and shape indicated and to comply with fabrication and construction tolerances recommended by applicable stone association.

Delete first subparagraph below if not applicable.

1. Where items are installed with adhesive or where edges of stone is visible in the finished work, make items uniform in thickness and of identical thickness for each type of item; gage back of stone if necessary.

2. Clean sawed backs of stones to remove rust stains and iron particles.

3. Dress joints straight and at right angle to face, unless otherwise indicated.

4. Cut and drill sinkages and holes in stone for anchors, supports, and lifting devices as indicated or needed to set stone securely in place; shape beds to fit supports.

5. Provide openings, reveals, and similar features as needed to accommodate adjacent work.

Delete first paragraph and subparagraphs below if not applicable.

D. Fabricate molded work to produce stone shapes with a uniform profile throughout entire unit length and with precisely formed arris slightly eased to prevent snipping, and matched at joints between units.

Retain subparagraphs below for polished or honed granite and marble.  Delete if no moldings or if moldings are simple, flat shapes with chamfered or eased edges.

1. Produce moldings with machines having abrasive shaping wheels made to reverse contour of molding shape; do not sculpt moldings.

2. Miter moldings at corners, unless otherwise indicated, with edges of miters slightly eased at outside corners.

E. Finish exposed faces and edges of stone to comply with requirements indicated for finish of each type of stone required and to match approved Samples and mockups.

F. Carefully inspect finished stone units at fabrication plant for compliance with requirements for appearance, material, and fabrication.  Replace defective units.

1. Grade and mark stone for overall uniform appearance when assembled in place.  Natural variations in appearance are acceptable if installed stone units match range of colors and other appearance characteristics represented in approved Samples[ and mockups].

2.17 STONE [PANELING] [AND] [COLUMN FACING]

Usually delete paragraph and subparagraphs below.  Review and approval of actual panel layout can provide a high degree of control over aesthetic effect, but can also add considerable cost.

A. Arrange panels in shop or other suitable space in proposed orientation and sequence for examination by Architect.  Mark units with temporary sequence numbers to indicate position in proposed layout.

1. Lay out one elevation at a time if approved by Architect.

2. Notify Architect seven days in advance of date and time when layout will be available for viewing.

3. Provide lighting of similar type and level as that of final installation for viewing layout, unless otherwise approved by Architect.

4. Rearrange panels as directed by Architect until layout is approved.

Retain first subparagraph below for maximum flexibility in rearranging layout.  If all units are not cut from modular-size panels or if more than one unit is cut from a single modular-size panel, some exceptions may have to be allowed.

5. Do not trim nonmodular-size units to less than modular size until after Architect's approval of layout, unless otherwise approved by Architect.

6. Mark backs of units and Shop Drawings with sequence numbers based on approved layout.  Mark backs of units to indicate orientation of units in completed Work.

Select size from paragraph below or revise to suit Project.  3/4 inch (20 mm) is minimum thickness for granite, marble, and serpentine, and is typical for most interior paneling.  1 inch (25 mm) is minimum thickness for interior panels of slate and travertine.  Minimum thickness of limestone and quartz-based stone depends on the variety used.  Large panels require thicker stone, and ceiling heights more than 96 inches (2400 mm) require thicker panels or intermediate support.

B. Nominal Thickness:  [3/4 inch (20 mm)] [7/8 inch (21 mm)] [1 inch (25 mm)] [1-1/4 inches (32 mm)] [2 inches (50 mm)], unless otherwise indicated.

Options in first paragraph below are examples only.  Retain one or revise to suit Project.  Back checking of interior stone facing less than 1 inch (25 mm) thick is not a preferred method to allow clearance of substrate projections.

C. Maintain minimum clearances of [3/4 inch (20 mm)] [1 inch (25 mm)] between backs of panels and structural members, fireproofing if any, backup walls, and other work behind stone.  Do not back check stone less than 1 inch (25 mm) thick.

D. Joints:  [1/16-inch- (1.5-mm-) wide grouted] [1/8-inch- (3-mm-) wide grouted] [1/8-inch- (3-mm-) wide, sealant-filled] [1/4-inch- (6-mm-) wide, mortar-pointed] [1/4-inch- (6-mm-) wide, sealant-filled] [3/8-inch- (10-mm-) wide, mortar-pointed] [3/8-inch- (10-mm-) wide, sealant-filled] <Insert width and description> joints.

Paragraph below is an example only.  Usually delete and detail corners on Drawings.  Delete for stone varieties not mitered.

E. Quirk-miter corners, unless otherwise indicated.  Install anchorage in top and bottom bed joints of corner units.

Delete paragraph below if no inscriptions or carved surfaces.  Revise below by replacing the words "Shop Drawings" with the word "model," and modify Part 1 "Submittals" Article accordingly if extremely complex decorative carving is required.  Depending on nature and extent of carving involved, it may be necessary to develop an allowance for this work and specify providers.

F. Carve and cut [inscriptions] [and] [decorative surfaces] according to Shop Drawings.  Use skilled stone carvers experienced in the successful performance of work similar to that indicated.

Alternative in paragraph below is less expensive than above; it also does not have depth of relief of above.

G. Abrasively etch [inscriptions] [and] [decorative surfaces] according to Shop Drawings.

Laser etching in paragraph below produces virtually no relief but can be used to reproduce photographic images on polished stone.

H. Laser etch [inscriptions] [and] [decorative surfaces] according to Shop Drawings.

Delete paragraph and subparagraphs below if no marble or other stone with natural markings that allow pattern arrangement.

I. Pattern Arrangement:  Fabricate and arrange panels with veining and other natural markings to comply with the following requirements:

Select one of four subparagraphs below.  First three apply only to vein-cut stone (cut perpendicular to bedding plane); fourth also applies to fleuri cut (cut parallel to bedding plane).

1. Arrange panels with veining horizontal.

2. Arrange panels with veining vertical.

3. Arrange panels with veining as indicated on Drawings.

4. Arrange panels in blend pattern.

Retain applicable requirement(s) in six subparagraphs below for vein-cut stone (cut perpendicular to bedding plane).  Complement pattern description with drawing indications as required.

5. Book match units, single-course height.

Subparagraph below is only suitable for paneling that is two courses high.

6. Book match units, both vertically and horizontally.

First subparagraph below is suitable for paneling that is two or more courses high.

7. Book match units in each course.  No matching is required between successive courses.

8. Slip match units, single-course height.

Subparagraph below is only suitable for paneling that is two courses high.

9. Slip match units, both vertically and horizontally.

Subparagraph below is suitable for paneling that is two or more courses high.

10. Slip match units in each course.  No matching is required between successive courses.

2.18 STONE [WINDOW STOOLS] [BASE] [AND] [TRIM]

A. Window Stools:

1. Nominal Thickness:  [3/4 inch (20 mm)] [7/8 inch (22 mm)] [1-1/4 inches (32 mm)], unless otherwise indicated.

2. Edge Detail:  [Straight, slightly eased at corners] [3/8-inch (10-mm) bevel at top edge, bottom corner slightly eased] [3/8-inch (10-mm) radius at top edge, bottom corner slightly eased] [3/4-inch (20-mm) bullnose] [1-1/2-inch (40-mm) laminated bullnose] [As indicated].

3. Ends:  Extend stools beyond opening same distance as stool overhang and finish ends to match exposed edge.

If stools are long enough to require joints, retain subparagraph below and show locations of joints on Drawings.

4. Joints:  [1/16-inch- (1.5-mm-) wide grouted joints] [1/8-inch- (3-mm-) wide grouted joints] [1/8-inch- (3-mm-) wide, sealant-filled joints] [Bonded joints, 1/32 inch (0.8 mm) or less in width].

Retain subparagraph below if window stools are assembled with bonded joints in shop.  If units are too long to be shop assembled, delete below and retain paragraph in Part 3 that specifies assembly during setting.

5. Assemble window stools by bonding joints with stone adhesive.  Mask areas adjacent to joints to prevent adhesive smears.  Clamp units to temporary bracing to ensure that window stools are properly aligned and joints are minimum width.

B. Base:

1. Nominal Thickness:  [3/4 inch (20 mm)] [7/8 inch (22 mm)] [1-1/4 inches (32 mm)], unless otherwise indicated.

2. Top-Edge Detail:  [Straight, slightly eased at corner] [3/8-inch (10-mm) bevel] [3/4-inch (20-mm) radius] [3/8-inch (10-mm) radius] [As indicated].

3. Ends:  [Butt ends into casings] [Butt ends into opening frames] [Return ends to depth of adjacent finish with edge detail same as top edge], unless otherwise indicated.

4. Joints:  [1/16-inch- (1.5-mm-) wide grouted joints] [1/8-inch- (3-mm-) wide grouted joints] [1/8-inch- (3-mm-) wide, sealant-filled joints] [Bonded joints, 1/32 inch (0.8 mm) or less in width].

Usually delete subparagraph below and show locations of joints on Drawings.

a. Locate joints at midpoints between adjacent paneling joints, unless otherwise indicated.

C. Flat Trim:

1. Nominal Thickness:  [3/4 inch (20 mm)] [7/8 inch (22 mm)] [1-1/4 inches (32 mm)] [1-1/2 inches (40 mm)], unless otherwise indicated.

2. Edge Detail:  [Straight, slightly eased at corners] [3/8-inch (10-mm) bevels] [3/4-inch (20-mm) radii] [3/8-inch (10-mm) radii] [As indicated].

Retain subparagraph below and show locations of joints on Drawings.

3. Joints:  [1/16-inch- (1.5-mm-) wide grouted joints] [1/8-inch- (3-mm-) wide grouted joints] [1/8-inch- (3-mm-) wide, sealant-filled joints] [Bonded joints, 1/32 inch (0.8 mm) or less in width].

D. Molded Trim:

1. Profile:  Match [profiles indicated on Drawings] [existing].

Retain subparagraph below and show locations of joints on Drawings.

2. Joints:  [1/16-inch- (1.5-mm-) wide grouted joints] [1/8-inch- (3-mm-) wide grouted joints] [1/8-inch- (3-mm-) wide, sealant-filled joints] [Bonded joints, 1/32 inch (0.8 mm) or less in width].

2.19 STONE BENCHES

A. Tops:

1. Nominal Thickness:  [3/4 inch (20 mm)] [7/8 inch (22 mm)] [1-1/4 inches (32 mm)] [1-1/2 inches (40 mm)] [2 inches (50 mm)], unless otherwise indicated.

2. Edge Detail:  [Straight, slightly eased at corners] [3/8-inch (10-mm) bevel at top edge, bottom corner slightly eased] [3/8-inch (10-mm) radius at top edge, bottom corner slightly eased] [3/8-inch (10-mm) bevel at top and bottom edges] [full bullnose] [As indicated].

3. Corner Detail:  [Match top edge] [Square, slightly eased] [As indicated].

4. Bottom Surface Finish:  [Smooth] <Insert finish>.

Retain one of two paragraphs and associated subparagraphs below depending on design of benches, or delete both and show design on Drawings.

B. Pedestals:

1. Nominal Thickness:  [4 inches (100 mm)] <Insert thickness>, unless otherwise indicated.

2. Edge Detail:  [Straight, slightly eased at corners] [3/8-inch (10-mm) bevel at corners] [3/8-inch (10-mm) radius at corners] [full bullnose] [As indicated].

C. Base:  Stone facing applied to [concrete] [masonry].

1. Nominal Stone Thickness:  [3/4 inch (20 mm)] [7/8 inch (22 mm)] [1-1/4 inches (32 mm)], unless otherwise indicated.

Retain subparagraph below and show locations of joints on Drawings.

2. Joints:  [1/16-inch- (1.5-mm-) wide grouted] [1/8-inch- (3-mm-) wide grouted] [1/4-inch- (6-mm-) wide, mortar-pointed] [3/8-inch- (10-mm-) wide, mortar-pointed] <Insert width and description> joints.

2.20 MIXES

Delete first paragraph below if not applicable.

A. Spotting Plaster:  Stiff mix of molding plaster and water.

B. Mortar:  Comply with referenced standards and with manufacturers' written instructions for mix proportions, mixing equipment, mixer speeds, mixing containers, mixing time, and other procedures needed to produce mortar of uniform quality and with optimum performance characteristics.

1. Do not use admixtures, including pigments, air-entraining agents, accelerators, retarders, water-repellent agents, antifreeze compounds, or other admixtures, unless otherwise indicated.  Do not use calcium chloride.

2. Combine and thoroughly mix cementitious materials, water, and aggregates in a mechanical batch mixer, unless otherwise indicated.  Discard mortar when it has reached initial set.

Retain first paragraph below if setting mortar is used.

C. Setting Mortar:  Comply with ASTM C 270, Proportion Specification.

Select one of two options in first subparagraph below or retain second subparagraph.  Setting mortar does not need to be very strong because it primarily acts as a shim, holding the stone out from the wall.  Mortar with a low portland cement content will shrink less as it sets.

1. Type:  [N] [O].

2. Mix Proportions:  1 part portland cement and 2-1/2 to 4 parts lime with aggregate ratio of 2-1/4 to 3 times volume of cement and lime.

D. Pointing Mortar:  Comply with ASTM C 270, Proportion Specification, for types of mortar indicated.  Provide pointing mortar mixed to match Architect's sample and complying with the following:

Select one of three subparagraphs below.  Ratio in first applies only to pigment types listed under materials.  Other pigments, if inserted, may require different limitations.

1. Pigmented Pointing Mortar:  Select and proportion pigments with other ingredients to produce color required.  Do not exceed pigment-to-cement ratio of 1:10, by weight.

2. Packaged Portland Cement-Lime Mix Mortar:  Use portland cement-lime mix of selected color.

3. Colored-Aggregate Pointing Mortar:  Produce color required by combining colored aggregates with portland cement of selected color.

Select one of two options in first subparagraph below or retain second subparagraph.  Pointing mortar does not need to be very strong unless it is subject to vandalism or is supporting the weight of stone panels above.  Mortar with a low portland cement content will shrink less as it sets, minimizing cracking.

4. Type:  [N] [O].

5. Mix Proportions:  1 part portland cement and 2-1/2 to 4 parts lime with aggregate ratio of 2-1/4 to 3 times volume of cement and lime.

Delete paragraph below if not required due to joint size.

E. Grout:  Comply with mixing requirements of referenced ANSI standards and with manufacturer's written instructions.

PART 3 -  EXECUTION

3.1 EXAMINATION

Coordinate conditions required by Work of this Section with requirements in other Sections in which substrates are specified.

A. Examine surfaces indicated to receive interior stone facing and conditions under which interior stone facing will be installed, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance.

1. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of interior stone facing.

Delete subparagraph above if not required.  Always retain below.

2. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Clean dirty or stained stone surfaces by removing soil, stains, and foreign materials before setting.  Clean stone by thoroughly scrubbing with fiber brushes and then drenching with clear water.  Use only mild cleaning compounds that contain no caustic or harsh materials or abrasives.

3.3 SETTING OF STONE, GENERAL

Retain or revise requirements in this Article to suit Project; delete others.

A. Do necessary field cutting as stone is set.  Use power saws with diamond blades to cut stone.  Cut lines straight and true, with edges eased slightly to prevent snipping.

B. Contiguous Work:  Provide reveals and openings as required to accommodate contiguous work.

C. Set stone to comply with requirements indicated on Drawings and Shop Drawings.  Install anchors, supports, fasteners, and other attachments indicated or necessary to secure stone in place.  Shim and adjust anchors, supports, and accessories to set stone accurately in locations indicated, with edges and faces aligned according to established relationships and indicated tolerances.

D. Erect stone units level, plumb, and true with uniform joint widths.  Use temporary shims to maintain joint width.

E. Provide expansion, control, and pressure-relieving joints of widths and at locations indicated.

1. Sealing of expansion, control, and pressure-relieving joints is specified in Division 7 Section "Joint Sealants."

Delete subparagraph above if sealing of joints is specified in this Section.  Delete subparagraph below if no plaster- or mortar-set stone.

2. Keep expansion, control, and pressure-relieving joints free of plaster, mortar, grout, and other rigid materials.

3.4 CONSTRUCTION TOLERANCES

Tolerances in this Article are more stringent than those published by the BIA for unit masonry and are generally appropriate for smooth-finished interior stone facing.  Revise paragraphs below for natural-cleft, thermal, and similar finishes.  Retain, delete, or revise to suit Project.

A. Variation from Plumb:  For vertical lines and surfaces, do not exceed 1/8 inch in 96 inches (3 mm in 2400 mm), 1/4 inch (6 mm) maximum.

B. Variation from Level:  For lintels, sills, chair rails, horizontal bands, horizontal grooves, and other conspicuous lines, do not exceed 1/8 inch in 10 feet (3 mm in 3 m), 1/4 inch in 20 feet (6 mm in 6 m), 3/8 inch (10 mm) maximum.

C. Variation of Linear Building Line:  For position shown in plan and related portion of walls and partitions, do not exceed 1/8 inch in 96 inches (3 mm in 2400 mm), 1/4 inch in 20 feet (6 mm in 6 m), 3/8 inch (10 mm) maximum.

D. Variation in Cross-Sectional Dimensions:  For thickness of walls from dimensions indicated, do not exceed plus or minus 1/8 inch (3 mm).

E. Variation in Joint Width:  Do not vary joint thickness more than 1/16 inch (1.5 mm) or 1/4 of nominal joint width, whichever is less.

F. Variation in Plane between Adjacent Stone Units (Lipping):  Do not exceed 1/32-inch (0.8-mm) difference between planes of adjacent units.

3.5 INSTALLATION OF STONE [PANELING] [AND] [COLUMN FACING]

Delete paragraph and subparagraph below if direct-mount anchoring system is used without setting spots.

A. Set units firmly against setting spots.  Locate setting spots at anchors and spaced not more than 18 inches (450 mm) apart across back of unit, but provide no fewer than 1 setting spot per 2 sq. ft. (0.18 sq. m), unless otherwise indicated.

Retain subparagraph below if interior stone facing is subject to moisture, including condensation.

1. Moisture Exposure:  Use portland cement mortar for setting spots where stone is applied to inside face of exterior walls and at other locations where stone or cavity will be exposed to moisture.

Retain first paragraph and subparagraphs below if direct-mount anchoring system is used.

B. Set units on direct-mount anchoring system with anchors securely attached to stone and to backup surfaces.  Comply with recommendations in ASTM C 1242.

1. Provide compressible filler in ends of dowel holes and bottoms of kerfs to prevent end bearing of dowels and anchor tabs on stone.  Fill remainder of anchor holes and kerfs with sealant indicated for filling kerfs.

2. Set stone supported on clips or continuous angles on resilient setting shims.  Use material of thickness required to maintain uniform joint widths and to prevent point loading of stone on anchors.  Hold shims back from face of stone a distance at least equal to width of joint.

C. Minimum Anchors:  Provide anchors at a maximum of 24 inches (600 mm) o.c. around perimeter of interior stone facing panels with a minimum of 4 anchors per panel.

Paragraph above is based on the 2003 International Building Code for exterior veneer panels not more than 20 sq. ft. (1.86 sq. m) in area; paragraph below is based on MIA's "Dimension Stone--Design Manual" for interior stone facing.  Retain either and revise to suit Project.

D. Minimum Anchors:  Provide a minimum of 4 anchors per panel up to 12 sq. ft. (1.1 sq. m) in face area, plus a minimum of 2 additional anchors for each additional 8 sq. ft. (0.7 sq. m).

Delete paragraph below if all joints are filled with sealant.

E. [Grout] [Point] joints after setting.

3.6 INSTALLATION OF STONE [WINDOW STOOLS] [BASE] [AND] [TRIM]

A. Stone Window Stools:  Set stone window stools on masonry in a full bed of mortar.

Select paragraph above or below, or both, if stone window stools are used.

B. Stone Window Stools:  Set stone window stools on wood or metal framing or wood blocking in a full bed of [organic] [water-cleanable epoxy] adhesive.  Hold adhesive back from exposed edges of joints to allow for [grouting] [pointing with sealant].

Retain paragraph below if window stools are assembled with bonded joints at Project site.

C. Where window stools are too long to be installed in one piece, assemble by bonding joints with stone adhesive as units are set.  Mask areas adjacent to joints to prevent adhesive smears.  Clamp units in place to ensure that window stools are properly aligned and joints are minimum width.

Delete paragraph below if joints are not required or if bonded joints are used.

D. Where joints are indicated in window stools maintain alignment across joints.  Use temporary shims as necessary to maintain joint width.

Retain paragraph below for base and trim applied over interior stone facing.

E. Stone [Base] [and] [Trim] at Walls with Stone Paneling:  Set units by adhering to interior stone facing with water-cleanable epoxy adhesive.  Hold adhesive back from exposed edges of joints to allow for grouting.

Delete paragraph above and retain first paragraph below for base and trim set adjacent to rather than applied over interior stone facing.

F. Stone [Base] [and] [Trim] at Walls with Stone Paneling:  Set units firmly against setting spots.  Located setting spots at anchors and spaced not more than 18 inches (450 mm) apart, unless otherwise indicated.  Provide no fewer than 2 anchors per piece for stone trim up to 48 inches (1200 mm) in length, plus 1 additional anchor for each additional 24 inches (600 mm) of length.

G. Stone [Base] [and] [Trim] at Walls without Stone Paneling:  Adhere units to plywood backing with full spread of water-cleanable epoxy adhesive.  Hold adhesive back from exposed edges of joints to allow for grouting.

For best work, select paragraph above and use plywood strips, slightly narrower than stone units, in place of gypsum board.  Select paragraph below for cost saving and for fire-rated partitions; reinforce gypsum board behind base and trim with metal bridging or fire-retardant wood blocking.

H. Stone [Base] [and] [Trim] at Walls without Stone Paneling:  Adhere units to gypsum board with full spread of [organic] [water-cleanable epoxy] adhesive.  Hold adhesive back from exposed edges of joints to allow for grouting.

Retain paragraph below if stone base and trim are assembled with bonded joints at Project site.

I. Assemble stone [base] [and] [trim] by bonding joints with stone adhesive as units are set.  Mask areas adjacent to joints to prevent adhesive smears.  Clamp units in place to ensure that surfaces are properly aligned and joints are minimum width.

Delete paragraph below if all joints are filled with sealant.

J. [Grout] [Point] joints after setting.

3.7 INSTALLATION OF STONE BENCHES

Select one of two paragraphs below if stone pedestals are used.  Mortar may allow for more variation in substrate.

A. Stone Pedestals:  Set pedestals on [concrete subfloor] [stone flooring] <Insert construction> in a full bed of mortar.  Anchor pedestals with no fewer than two [1/4-inch (6-mm)] [3/8-inch (10-mm)] <Insert size> dowels, extending not les than [2 inches (50 mm)] <Insert dimension> into pedestals and [2 inches (50 mm)] [4 inches (100 mm)] <Insert dimension> into floor construction.  Solidly fill space around dowels with mortar.

B. Stone Pedestals:  Set pedestals on [stone flooring] <Insert construction> in a full bed of water-cleanable epoxy adhesive.  Anchor pedestals with no fewer than two [1/4-inch (6-mm)] [3/8-inch (10-mm)] <Insert size> dowels, extending not les than [2 inches (50 mm)] <Insert dimension> into pedestals and [2 inches (50 mm)] <Insert dimension> into floor construction.  Solidly fill space around dowels with adhesive.  Hold adhesive back from exposed edges to allow for grouting.

Select one of two paragraphs below.

C. Stone Bench Tops:  Set tops on [pedestals] [concrete or masonry bases] in a full bed of mortar.  Anchor tops with no fewer than two [1/4-inch (6-mm)] [3/8-inch (10-mm)] <Insert size> dowels, extending not les than [2 inches (50 mm)] <Insert dimension> into [pedestals] [bases] and half of thickness into the tops.  Solidly fill space around dowels with mortar.

D. Stone Bench Tops:  Set stone bench tops on [pedestals] [concrete or masonry bases] in a full bed of water-cleanable epoxy adhesive.  Anchor tops with no fewer than two [1/4-inch (6-mm)] [3/8-inch (10-mm)] <Insert size> dowels, extending not les than [2 inches (50 mm)] <Insert dimension> into [pedestals] [bases] and half of thickness into the tops.  Solidly fill space around dowels with adhesive.  Hold adhesive back from exposed edges of joints to allow for grouting.

Retain paragraph below if stone-faced concrete or masonry bases are used rather than stone pedestals.  Mortar may allow for more variation in substrate.

E. Stone Base:  Apply stone facing to concrete or masonry bases by setting in a full spread of [mortar] [water-cleanable epoxy adhesive].

Subparagraph below may be retained for units set in mortar.

1. Provide no fewer than 2 anchors per piece for stone base up to 48 inches (1200 mm) in length, plus 1 additional anchor for each additional 24 inches (600 mm) of length.

Delete subparagraph below if units are set in mortar.

2. Hold adhesive back from exposed edges of joints to allow for grouting.

3.8 GROUTING JOINTS

A. Grout stone to comply with ANSI A108.10.

Delete two subparagraphs below unless both sanded and unsanded grouts were retained in Part 2.  Sanded grout should not be used for joints with polished stone, especially softer stones such as marble; sand can scratch the stone when grout is spread and wiped.

1. Use sanded grout mixture for joints wider than 1/8 inch (3 mm).

2. Use unsanded grout mixture for joints 1/8 inch (3 mm) and narrower.

B. Remove temporary shims before grouting.

C. Tool joints uniformly and smoothly with plastic tool.

3.9 POINTING JOINTS WITH MORTAR

A. Prepare stone-joint surfaces for pointing with mortar by removing temporary shims, dust, and mortar particles.  Where setting spots occur at joints, rake out excess setting mortar or plaster to a depth of not less than 1/2 inch (13 mm).

B. Point stone joints by placing pointing mortar in layers not more than 3/8 inch (10 mm).  Compact each layer thoroughly and allow to become thumbprint hard before applying next layer.  Apply mortar first to areas where depths are greater than surrounding areas until a uniform depth is formed.

C. Tool joints when pointing mortar is thumbprint hard.  Use a round jointer having a diameter 1/8 inch (3 mm) larger than width of joint.

3.10 JOINT-SEALANT INSTALLATION

Delete this Article if sealing joints is not specified in this Section.

A. Prepare joints and apply sealants of type and at locations indicated to comply with applicable requirements in Division 7 Section "Joint Sealants." Remove temporary shims before applying sealants.

3.11 ADJUSTING AND CLEANING

A. In-Progress Cleaning:  Clean interior stone facing as work progresses.  Remove adhesive, grout, mortar, and sealant smears immediately.

B. Remove and replace interior stone facing of the following description:

1. Broken, chipped, stained, or otherwise damaged stone.  Stone may be repaired if methods and results are approved by Architect.

2. Defective stone facing.

3. Defective joints, including misaligned joints.

4. Interior stone facing and joints not matching approved Samples and mockups.

5. Interior stone facing not complying with other requirements indicated.

C. Replace in a manner that results in interior stone facing's matching approved Samples and mockups, complying with other requirements, and showing no evidence of replacement.

Revise the words "six days" in paragraph below to minimum needed for curing mortar and sealants as applicable.

D. Clean interior stone facing no fewer than six days after completion of grouting and pointing, using clean water and soft rags or stiff-bristle fiber brushes.  Do not use wire brushes, acid-type cleaning agents, cleaning compounds with caustic or harsh fillers, or other materials or methods that could damage stone.

Delete paragraph below if not required or recommended for stone type.

E. Sealer Application:  Apply stone sealer to comply with stone producer's and sealer manufacturer's written instructions and recommendations.

3.12 PROTECTION

A. Protect stone surfaces, edges, and corners from construction damage.  Use securely fastened untreated wood, plywood, or heavy cardboard to prevent damage.

B. Before inspection for Substantial Completion, remove protective coverings and clean surfaces.

END OF SECTION 09751END OF SECTION 09751

INTERIOR STONE FACING
09751 - 1

