Copyright 2001 AIA
MASTERSPEC
05/01

Copyright 2001, The American Institute of Architects (AIA)

SECTION 10410 - DIRECTORIES
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. [Nonilluminated] [Illuminated], message-strip directories.

2. [Nonilluminated] [Illuminated], changeable-letter directories.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 5 Section "Ornamental Metal" for custom enclosures for directories.

2. Division 6 Section "Interior Architectural Woodwork" for custom enclosures for directories.

3. Division 10 Section "Visual Display Surfaces" for tackboards.

4. Division 10 Section "Bulletin Boards and Display Cases" for bulletin boards and display cases with tackable surfaces.

5. Division 10 Section "Signs" for [panel-sign-type directories] [dimensional letters] [plaques].

6. Division 16 Sections for wiring and other electrical work associated with illuminated directories.

If alternates apply to Work of this Section, insert brief paragraph here to alert Contractor and reference appropriate Division 1 Section for specific details.

1.3 PERFORMANCE REQUIREMENTS

A. Structural Performance:  Provide exterior directories capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Requirements under each set of performance criteria below are examples only.  Revise to suit Project.  Consult a structural engineer experienced in engineering exterior directories of type indicated to quantify design loads applicable to Project.  Verify compliance with codes.  See Evaluations.

1. Wind Loads:  Determine loads based on the following minimum design wind pressures:

a. Uniform pressure of <Insert number> lbf/sq. ft. (<Insert number> Pa), acting inward or outward.

Delete subparagraph above or below.  If retaining below, indicate pressures on appropriate elevation Drawings.

b. Uniform pressure as indicated on Drawings.

Revise first paragraph below to indicate specific loads determined by Project's structural engineer or refer to loads indicated on Drawings.  Model building codes and ASCE 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

B. Seismic Performance:  Provide directories capable of withstanding the effects of earthquake motions determined according to [ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 9, "Earthquake Loads."] <Insert applicable code requirement.>

C. Thermal Movements:  Provide exterior directories that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of connections, and other detrimental effects.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

1.4 SUBMITTALS

A. Product Data:  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for directories.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor of if structural data are required as another way to verify product's compliance with performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

1. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Retain subparagraph below if illuminated units are required.

2. Wiring Diagrams:  Power, signal, and control wiring for illuminated units.

C. Samples for Initial Selection:  For units with factory-applied color finishes as follows:

1. Fabric swatches for letterboards.

2. Section of header panel for color selection.

Delete paragraph and subparagraphs above if colors and other characteristics are preselected and specified or scheduled.  Retain paragraph and subparagraphs below with or without above.

D. Samples for Verification:  For each type of directory indicated as follows:

1. Letterboards:  Not less than 8-1/2 by 11 inches (215 by 280 mm), mounted on substrate indicated for final Work.  Include one panel for each type, color, and texture required.

2. Trim:  6-inch- (152-mm-) long sections of each trim profile[ including corner section].

3. Message Strips:  Full-size Samples of message strips in color selected with sample of specified typography.

4. Letters:  Full-size Samples of changeable letters of each size specified.

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

E. Qualification Data:  For [Installer] [professional engineer].

F. Maintenance Data:  For illuminated directories to include in maintenance manuals.

G. Warranty:  Special warranty specified in this Section.

H. Other Action Submittals:  As follows:

1. Message-Strip Schedule:  Layout of each message strip showing letter size, font, spacing, indents, and copy.

1.5 QUALITY ASSURANCE

Retain first paragraph and subparagraph below for projects with freestanding or other unusual building directories that need special expertise in installation.

A. Installer Qualifications:  An authorized representative of directory manufacturer for installation and maintenance of units required for this Project.

Ten days in subparagraph below is the industry standard, but less time is possible.

1. Installer shall be capable of providing replacement message strips within [10] <Insert number> working days of receipt of an order.

B. Source Limitations:  Obtain directories through one source from a single manufacturer.

C. Product Options:  Information on Drawings and in Specifications establishes requirements for directories' aesthetic effects and performance characteristics.  Aesthetic effects are indicated by dimensions, arrangements, alignment, and profiles of components and assemblies as they relate to sightlines, to one another, and to adjoining construction.  Performance characteristics are indicated by criteria subject to verification by one or more methods including field testing and in-service performance.

Retain paragraph above or below.  Retain below to allow drawing details based on one manufacturer's product to establish requirements and still allow competition.  Coordinate with Division 1 requirements.

D. Product Options:  Drawings indicate size, profiles, and dimensional requirements of directories and are based on the specific system indicated.  Refer to Division 1 Section "Product Requirements."

Retain subparagraph below with either "Product Options" Paragraph above or revise to suit Project.

1. Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If modifications are proposed, submit comprehensive explanatory data to Architect for review.

Delete paragraph below if no illuminated directories.

E. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

Delete below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

F. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

1.6 PROJECT CONDITIONS

Delete this Article if no recessed directories are required.

A. Field Measurements:  Verify recessed openings by field measurements before fabrication and indicate measurements on Shop Drawings.

Delete below if not allowed.

1. Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish opening dimensions and proceed with fabricating directories without field measurements.  Coordinate wall construction to ensure that actual opening dimensions correspond to established dimensions.

1.7 COORDINATION

A. Coordinate installation of anchorage for directories.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of directories that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures of cabinets or frames.

b. Faulty operation of hardware[ or illumination system].

c. Deterioration of metals, metal finishes, and other materials beyond normal weathering.

Verify available warranties for units and components and insert number below.

2. Warranty Period:  [Five] <Insert number> years from date of Substantial Completion.

1.9 EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A. Furnish extra materials described below that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Revise below to suit Project.  Replace percentage with a specific number of message strips.

1. Message Strips:  Full-size, blank strips equal to [10] <Insert number> percent of amount installed for each size indicated, but no fewer than [20] <Insert number> strips.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which manufacturers and products, or manufacturers only, are named.  See Division 1 Section "Product Requirements" for an explanation of the terms "Available Manufacturers," "Manufacturers," and "Basis-of-Design Product" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

2. Manufacturers:  Subject to compliance with requirements, provide products by one of the manufacturers specified.

3. Basis-of-Design Product:  The design for each type of directory is based on the product named.  Subject to compliance with requirements, provide either the named product or a comparable product by one of the other manufacturers specified.

2.2 MATERIALS

A. Aluminum:  Alloy and temper recommended by aluminum producer and manufacturer for type of use and finish indicated, and as follows:

1. Sheet:  ASTM B 209 (ASTM B 209M).

2. Extruded Shapes:  ASTM B 221 (ASTM B 221M), Alloy 6063.

B. Stainless-Steel Sheet:  ASTM A 666, Type 304.

Retain paragraph below for brassy-yellow color.  Verify availability and color matching.

C. Copper-Alloy Brass Sheet:  ASTM B 36/B 36M, alloy UNS No. C26000 (cartridge brass, 70 percent copper).

Retain first paragraph below for bronze look.  Alloy below is not true tin-bronze.  Verify availability and color matching.

D. Copper-Alloy Bronze Sheet:  ASTM B 36/B 36M, alloy UNS No. C28000 (muntz metal, 60 percent copper).

E. Clear Float Glass:  ASTM C 1036, Type I, Class 1, Quality q3, and 6 mm thick, unless otherwise indicated.

F. Gray-Tinted Float Glass:  ASTM C 1036; Type I (transparent glass, flat); Class 2 (tinted, heat absorbing, and light reducing); Quality q3 (glazing select); 6-mm-thick, gray-tinted monolithic glass with a maximum luminous transmittance of 14 percent.

G. Bronze-Tinted Float Glass:  ASTM C 1036; Type I (transparent glass, flat); Class 2 (tinted, heat absorbing, and light reducing); Quality q3 (glazing select); 6-mm-thick, bronze-tinted monolithic glass with a maximum luminous transmittance of 44 percent.

If needed for rear-illuminated, message-strip directories, insert laminated glass.

H. Clear Tempered Glass:  ASTM C 1048, Kind FT, Condition A, Type I, Class 1 (clear), Quality q3, with exposed edges seamed before tempering, and 6 mm thick, unless otherwise indicated.

I. Tinted Tempered Glass:  ASTM C 1048, Kind FT, Condition A, Type I, Class 2 (tinted), tint as indicated, Quality q3, with exposed edges seamed before tempering, and 6 mm thick, unless otherwise indicated.

J. Clear Acrylic Sheet:  ASTM D 4802, Category A-1 (cell-cast sheet), with Finish 1 (smooth or polished), and 6 mm thick, unless otherwise indicated; colorless sheet with visible light transmittance of 92 percent measured per ASTM D 1003.

K. Bronze-Tinted Acrylic Sheet:  ASTM D 4802, Category A-1 (cell-cast sheet), with Finish 1 (smooth or polished), and 6 mm thick, unless otherwise indicated.

L. Translucent Acrylic Sheet:  ASTM D 4802, Category A-1 (cell-cast sheet), with Finish 1 (smooth or polished), and 6 mm thick, unless otherwise indicated; white colored sheet of density required to produce uniform brightness and minimum halation effects.

M. Opaque Acrylic Sheet:  ASTM D 4802, Category A-1 (cell-cast sheet), with Finish 1 (smooth or polished), and 6 mm thick, unless otherwise indicated; colors as indicated.

If needed, insert abrasion-resistant-coated acrylic sheet and polycarbonate sheet.

N. Fasteners:  Provide screws, bolts, and other fastening devices made from same material as items being fastened, except provide hot-dip galvanized, stainless-steel, or aluminum fasteners for exterior applications.  Provide types, sizes, and lengths to suit installation conditions.  Use security fasteners where exposed to view.

2.3 MESSAGE-STRIP DIRECTORIES

Copy paragraphs and subparagraphs below and re-edit them to suit Project.

Insert drawing designation for each product retained below.  Use these designations on Drawings to show where each product is required.

A. Nonilluminated, Message-Strip Directory <Insert drawing designation>:  Factory-fabricated unit consisting of changeable message strips held in place by retainer frame enclosed in manufacturer's standard 1-1/2-to-2-inch- (38-to-50-mm-) deep perimeter frame; with aluminum-sheet rear cover panel and glazed cover.

Retain "Basis-of-Design Product" or "(Available )Manufacturers" Subparagraph and list below.  Retain "Basis-of-Design Product" Subparagraph and list below with "Basis-of-Design Product" Subparagraph in Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. Allenite Signs; Division of Allen Marking Products, Inc.

b. Andco Industries Corporation.

c. APCO Graphics, Inc.

d. ASI Sign Systems, Inc.

e. Bass Bulletin and Directory Board Co.; Div. of Bass Industries Inc.

f. Best Manufacturing Co.

g. Nelson-Harkins Industries.

h. Poblocki & Sons.

i. Tablet & Ticket Co. (The).

j. Vomar Products, Inc.

k. <Insert manufacturer's name.>

Select one of first four subparagraphs and associated subparagraphs below or insert another design.

3. Profiled Frame:  Removable, clear acrylic sheet held in place by perimeter frame; with 4-inch- (100-mm-) high, molded-opaque-acrylic or molded-fiberglass profiled frame at top and bottom.

a. Profiled-Frame Shape:  [Square] [Radius] [Bevel].

b. Profiled-Frame Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors].

c. Header Panel:  Provide copy on top profiled frame that complies with requirements indicated on [Drawings] [artwork supplied on electronic media by Architect] for size, style, spacing, content, height, location, material, and colors of graphics.

d. Divider Color:  [Same as message strips] [Match Architect's sample] [As selected by Architect from full range of industry colors].

4. Reveal Frame and Nonsectional Cover:  Glazing held in cover frame mounted on full-length, concealed continuous hinge to form reveal between outer edge of cover frame and inner edge of perimeter frame.  Provide nonsectional, one-piece cover for access to message strips[ and header panel], equipped with cylinder lock.

a. Perimeter Frame:  [Extruded aluminum] [Brass] [Bronze].

b. Perimeter Frame Profile:  [Square] [Quarter round] [Beveled].

c. Perimeter Frame Corners:  [Square] [Radius].

d. Cover Frame:  Same material and finish as perimeter frame.

1) Hinge Location:  [Side] [Top].

e. Glazing:  [Clear float glass] [Clear tempered glass] [Bronze-tinted tempered glass] [Gray-tinted tempered glass] [Clear acrylic sheet].

f. Header Panel:  Provide copy that complies with requirements indicated on [Drawings] [artwork supplied on electronic media by Architect] for size, style, spacing, content, height, location, material, and colors of graphics.

g. Divider Color:  [Same as message strips] [Match Architect's sample] [As selected by Architect from full range of industry colors].

5. Sectional Frame and Cover:  Individual, glazed section covers, each in its own frame, containing single column of message strips.  Provide perimeter frame for entire unit[ and separate divider frame between header panel and message-strip columns].  Mount section covers with concealed pivot hinges or continuous hinges and equip with concealed lock.

a. Perimeter Frame:  [Extruded aluminum] [Brass] [Bronze].

b. Perimeter Frame Profile:  [Square] [Quarter round] [Beveled].

c. Perimeter Frame Corners:  [Square] [Radius].

d. Cover Frame:  Same material and finish as perimeter frame.

e. Glazing:  [Clear float glass] [Clear tempered glass] [Bronze-tinted tempered glass] [Gray-tinted tempered glass] [Clear acrylic sheet].

f. Header Panel:  Provide copy that complies with requirements indicated on [Drawings] [artwork supplied on electronic media by Architect] for size, style, spacing, content, height, location, material, and colors of graphics.

6. Modular Frame and Cover:  Individual modular units containing single column of message strips.  Provide each modular unit with its own perimeter frame and lift-off glazed cover that snaps into place, and equipped with concealed lock.

a. Perimeter Frame:  [Extruded aluminum] [Brass] [Bronze].

b. Perimeter Frame Profile:  [Square] [Quarter round] [Beveled].

c. Perimeter Frame Corners:  [Square] [Radius].

d. Cover Frame:  Same material and finish as perimeter frame.

e. Glazing:  [Clear float glass] [Clear tempered glass] [Bronze-tinted tempered glass] [Gray-tinted tempered glass] [Clear acrylic sheet].

f. Header Panel:  [At top of each message-strip column] [Separate modular unit for entire directory].

1) Provide copy that complies with requirements indicated on [Drawings] [artwork supplied on electronic media by Architect] for size, style, spacing, content, height, location, material, and colors of graphics.

7. Aluminum Finish:  [Clear anodic] [Color anodic] [Baked enamel].

Retain one color from options in first subparagraph below with color anodic or baked-enamel finish above.  First four options are for color anodic finish and may vary in color range and availability among manufacturers.  Last two options are for color anodic or baked-enamel finish.

a. Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

8. Brass Finish:  [Buffed] [Medium satin] [Fine matte] [Statuary conversion coating].

9. Bronze Finish:  [Buffed] [Medium satin] [Fine matte] [Statuary conversion coating].

Retain one of first four subparagraphs and associated subparagraphs below.

10. Applied-Copy Changeable Message Strips:  Screen-printed copy or vinyl copy applied to [7-inch- (175-mm-)] [14-inch- (350-mm-)] long, opaque acrylic strips.

11. Engraved Changeable Message Strips:  Machine- or laser-engraved copy in [7-inch- (175-mm-)] [14-inch- (350-mm-)] long, interchangeable, interlocking, acrylic or high-pressure plastic-laminate strips with contrasting core.

12. Magnetic Changeable Message Strips:  Screen-printed copy or vinyl copy laminated to [7-inch- (175-mm-)] [14-inch- (350-mm-)] long, flexible magnetic tape.

If needed, revise subparagraph below for digitally generated paper inserts or machine labels.

13. Film-Insert Changeable Message Strips:  Removable message strips fabricated from plastic film with [vinyl] [screen-printed] lettering, held in [7-inch- (175-mm-)] [14-inch- (350-mm-)] long, interchangeable, interlocking plastic carriers.

Retain first five subparagraphs below with any of four types of message strips above.

a. Message-Strip Color:  [Black] [Gray] [Brown] [White] [As selected by Architect from full range of industry colors and color densities].

b. Message-Strip Height:  [1/2 inch (13 mm)] [1 inch (25 mm)] [As indicated on Drawings] <Insert height>.

c. Letter Height:  [3/16 inch (5 mm)] [1/4 inch (6 mm)] [3/8 inch (9.5 mm)] <Insert height>.

d. Letter Style:  [Helvetica Medium] [Clarendon Medium] [Optima Bold] [As selected by Architect] <Insert style>.

e. Letter Color:  [White] [Black] [Gray] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

f. Letter Case:  [All capitals] [Initial capitals] [Capitals and lowercase] [As typed].

Delete first subparagraph below if not required.  Revise if magnetic message strips are required.

14. Graphics Panel:  Screen-printed graphics or vinyl graphics laminated to opaque acrylic sheet; held in place by interchangeable, interlocking plastic carrier.  Provide graphics that comply with requirements indicated on [Drawings] [artwork supplied on electronic media by Architect] for size, style, spacing, content, height, location, material, and colors.

15. Width:  [24 inches (610 mm)] [As indicated on Drawings] <Insert dimension>.

16. Height:  [36 inches (914 mm)] [As indicated on Drawings] <Insert dimension>.

If needed, insert requirement for integral capping angle for recessed installations.

17. Mounting:  [Recessed] [Semirecessed] [Surface mounted] [Single pedestal] [Double, T-shaped pedestal] [Panel pedestal].

18. Mounting Height:  [As indicated on Drawings] <Insert dimension>.

B. Rear-Illuminated, Message-Strip Directory <Insert drawing designation>:  Factory-fabricated unit consisting of changeable message strips held in place by retainer frame enclosed in manufacturer's standard 4-to-6-inch- (100-to-150-mm-) deep perimeter frame; with glazed cover, aluminum-sheet rear cover panel, and concealed illumination system.

Retain "Basis-of-Design Product" or "(Available )Manufacturers" Subparagraph and list below.  Retain "Basis-of-Design Product" Subparagraph and list below with "Basis-of-Design Product" Subparagraph in Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or first subparagraph below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. Andco Industries Corporation.

b. APCO Graphics, Inc.

c. ASI Sign Systems, Inc.

d. Bass Bulletin and Directory Board Co.; Div. of Bass Industries Inc.

e. Nelson-Harkins Industries.

f. Poblocki & Sons.

g. Tablet & Ticket Co. (The).

h. Vomar Products, Inc.

i. <Insert manufacturer's name.>

3. Reveal Frame and Nonsectional Cover:  Glazing held in cover frame mounted on full-length, concealed continuous hinge to form reveal between outer edge of cover frame and inner edge of perimeter frame.  Provide nonsectional, one-piece cover for access to message strips[ and header panel], equipped with concealed lock.

a. Perimeter Frame:  [Extruded aluminum] [Brass] [Bronze] [Stainless steel].

b. Perimeter Frame Profile:  [Square] [Quarter round] [Beveled].

c. Perimeter Frame Corners:  [Square] [Radius].

d. Cover Frame:  Same material and finish as perimeter frame.

1) Hinge Location:  [Side] [Top].

e. Glazing:  [Gray-tinted float glass] [Gray-tinted tempered glass] [Bronze-tinted acrylic sheet].

f. Header Panel:  Provide copy that complies with requirements indicated on [Drawings] [artwork supplied on electronic media by Architect] for size, style, spacing, content, height, location, material, and colors of graphics.

g. Divider Color:  Same as message strips.

4. Floating-Glass Cover:  Unframed glazing mounted on full-length, concealed continuous hinge [to form reveal between outer edge of glazing and inner edge] [so glazing conceals front] of perimeter frame.  Provide nonsectional, one-piece cover for access to message strips[ and header panel], equipped with concealed lock.

a. Perimeter Frame:  [Extruded aluminum] [Brass] [Bronze] [Stainless steel] with square profile and corners.

b. Glazing:  [Gray-tinted float glass] [Gray-tinted tempered glass] [Bronze-tinted acrylic sheet].

c. Hinge Location:  [Side] [Top].

d. Header Panel:  Provide copy that complies with requirements indicated on [Drawings] [artwork supplied on electronic media by Architect] for size, style, spacing, content, height, location, material, and colors of graphics.

e. Divider Color:  Same as message strips.

5. Aluminum Finish:  [Clear anodic] [Color anodic] [Plated].

Retain one color from options in first subparagraph below with color anodic finish above.  First four options may vary in color range and availability among manufacturers.

a. Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black] [Gold] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

b. Plating:  [Satin bronze] [Mirror bronze] [Bright chrome] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

6. Brass Finish:  [Buffed] [Medium satin] [Fine matte] [Statuary conversion coating].

7. Bronze Finish:  [Buffed] [Medium satin] [Fine matte] [Statuary conversion coating].

8. Stainless-Steel Finish:  No. [4] [8].

Select one of two subparagraphs and associated subparagraphs below.

9. Film-Insert Message Strips:  Removable, black, negative-film message strips in [7-inch- (175-mm-)] [14-inch- (350-mm-)] long, interchangeable, interlocking plastic carriers.

10. Engraved Changeable Message Strips:  Machine- or laser-engraved copy in [7-inch- (175-mm-)] [14-inch- (350-mm-)] long, interchangeable, interlocking, black, acrylic strips with transparent core.

Retain four subparagraphs below with either type of message strips above.

a. Message-Strip Height:  [3/8 inch (9.5 mm)] [1/2 inch (13 mm)] [5/8 inch (16 mm)] [3/4 inch (19 mm)] [1 inch (25 mm)] [As indicated on Drawings] <Insert size>.

b. Letter Height:  [3/16 inch (5 mm)] [1/4 inch (6 mm)] [3/8 inch (9.5 mm)] [1/2 inch (13 mm)] [5/8 inch (16 mm)] <Insert height>.

c. Letter Style:  [Helvetica Medium] [Clarendon Medium] [Optima Bold] [News Gothic] [As selected by Architect] <Insert style>.

d. Letter Case:  [All capitals] [Initial capitals] [Capitals and lowercase] [As typed].

Delete two subparagraphs below if not required.  Panel for security intercom is also available.

11. Graphics Panel:  Same material and color as changeable message strips.  Provide graphics that comply with requirements indicated on [Drawings] [artwork supplied on electronic media by Architect] for size, style, spacing, content, height, location, material, and colors.

12. Header Panel:  Same material and color as changeable message strips.  Provide copy that complies with requirements indicated on [Drawings] [artwork supplied on electronic media by Architect] for size, style, spacing, content, height, location, material, and colors.

Revise first subparagraph and associated subparagraph below to suit Project.

13. Rear-Illumination System:  Provide removable and accessible fluorescent-strip fixture system with reflective interior surfaces for uniform illumination of message strips[ and header panel] with minimum halation and without light leaks.  Include lamps and internal wiring with single concealed electrical connection to building system.  Coordinate electrical characteristics with power supply provided.

a. Ballasts:  Low-temperature, high-power-factor, low-energy, fluorescent lamp ballasts that comply with CBMA standards and carry its label.[  Provide exterior ballasts for exterior directories.]

14. Width:  [As indicated on Drawings] <Insert dimension>.

15. Height:  [As indicated on Drawings] <Insert dimension>.

If needed, insert requirement for integral capping angle for recessed installations.

16. Mounting:  [Recessed] [Semirecessed] [Surface mounted] [Single pedestal] [Double pedestal] [Panel pedestal] [As indicated on Drawings].

17. Mounting Height:  [As indicated on Drawings] <Insert dimension>.

Insert special requirements such as access to lighting fixtures, method of removing and replacing message strips, and special graphic requirements.

2.4 CHANGEABLE-LETTER DIRECTORIES

Copy paragraphs and subparagraphs below and re-edit them to suit Project.

Insert drawing designation for each product retained below.  Use these designations on Drawings to show where each product is required.

Removable letterboards in paragraph below are often used for menu displays.

A. Open-Face, Changeable-Letter Directory <Insert drawing designation>:  Factory-fabricated unit consisting of manufacturer's standard, 1-inch- (25-mm-) deep perimeter frame surrounding [fixed] [removable] letterboard with open face.

Retain "Basis-of-Design Product" or "(Available )Manufacturers" Subparagraph and list below.  Retain "Basis-of-Design Product" Subparagraph and list below with "Basis-of-Design Product" Subparagraph in Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. A-1 Visual Systems.

b. ADP/Lemco, Inc.

c. Bass Bulletin and Directory Board Co.; Div. of Bass Industries Inc.

d. Claridge Products & Equipment, Inc.

e. Ghent Manufacturing Inc.

f. Marsh Industries, Inc.

g. Nelson-Harkins Industries.

h. Peter Pepper Products, Inc.

i. <Insert manufacturer's name.>

Retain one of first two subparagraphs and associated subparagraphs below.

3. Aluminum Perimeter Frame:  Extruded aluminum with [clear anodic] [color anodic] [baked-enamel] finish.

a. Perimeter Frame Shape:  [Square] [Half round] [Quarter round].

b. Perimeter Frame Corners:  [Square] [Radius].

Retain one color from options in first subparagraph below with color anodic or baked-enamel finish above.  First four options are for color anodic finish and may vary in color range and availability among manufacturers.  Last two options are for color anodic or baked-enamel finish.

c. Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

4. Wood Perimeter Frame:  [Red oak] [Walnut] with [natural lacquered] [oiled] [stained] finish.

a. Perimeter Frame Shape:  [Square] [Half round] [Quarter round].

b. Perimeter Frame Corners:  [Square] [Radius].

First option in first subparagraph below is most common; second is recommended for exterior use.  Revise if nongrooved cork surface is required.

5. Letterboard:  Manufacturer's standard [felt] [vinyl] [rubber]-covered panel material, with grooves spaced at 1/4 inch (6 mm) o.c. to receive changeable letters.

a. Color:  [Black] [Red] [As selected by Architect from full range of industry colors] <Insert color>.

6. Letters:  Molded plastic with tabs for engaging grooves in letterboard.  Provide manufacturer's standard assortment of not less than [300] <Insert number> letters for each size, style, color, and case required; include letters, numbers, and characters.  Package letters in compartmentalized carrying box.

a. Height:  [3/8 inch (9.5 mm)] [1/2 inch (13 mm)] [3/4 inch (19 mm)] [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (50 mm)] [3 inches (75 mm)] <Insert height> to top of capitals.

b. Style:  [Helvetica] [Gothic] [Roman] [As selected by Architect] <Insert style>.

c. Color:  [White] [Black] [As selected by Architect from full range of industry colors] <Insert color>.

d. Case:  [All capitals] [Capitals and lowercase].

Delete first subparagraph and associated subparagraphs below if not required.

7. Header Panel:  [Nonilluminated; with opaque,] [Illuminated; with translucent,] acrylic sheet panel set within overall perimeter frame; with matching frame that separates header panel from letterboard.

For header panels required to comply with ADA's Accessibility Guidelines, indicate colors that produce a light-on-dark or dark-on-light contrast between characters and their background.

a. Graphic Content and Style:  Provide header panel copy that complies with requirements indicated on [Drawings] [artwork supplied on electronic media by Architect] for size, style, spacing, content, height, location, material, and colors.

b. Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors].

8. Width:  [24 inches (610 mm)] [As indicated on Drawings] <Insert dimension>.

9. Height:  [36 inches (914 mm)] [As indicated on Drawings] <Insert dimension>.

10. Mounting:  [Recessed] [Semirecessed] [Surface mounted] [Single pedestal] [Double, T-shaped pedestal] [Panel pedestal].

11. Mounting Height:  [As indicated on Drawings] <Insert dimension>.

Revise paragraph below if lift-off back, instead of accessible front, is required.

B. Enclosed-Face, Changeable-Letter Directory <Insert drawing designation>:  Factory-fabricated unit consisting of manufacturer's standard, 2-inch- (50-mm-) deep perimeter frame with [fixed] [removable] letterboard on back inside surface and with [glazed doors] [lift-off, glazed cover].

Retain "Basis-of-Design Product" or "(Available )Manufacturers" Subparagraph and list below.  Retain "Basis-of-Design Product" Subparagraph and list below with "Basis-of-Design Product" Subparagraph in Part 2 "Manufacturers" Article.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

Delete subparagraph above or below.  Retain list of manufacturers with either subparagraph.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

2. [Available ]Manufacturers:

a. A-1 Visual Systems.

b. AARCO Products, Inc.

c. ADP/Lemco, Inc.

d. Andco Industries Corporation.

e. APCO Graphics, Inc.

f. ASI Sign Systems, Inc.

g. Bass Bulletin and Directory Board Co.; Div. of Bass Industries Inc.

h. Best Manufacturing Co.

i. Best-Rite Manufacturing.

j. Claridge Products & Equipment, Inc.

k. Ghent Manufacturing Inc.

l. Marsh Industries, Inc.

m. Nelson-Harkins Industries.

n. Peter Pepper Products, Inc.

o. Poblocki & Sons.

p. PolyVision Corporation.

q. Tablet & Ticket Co. (The).

r. Vomar Products, Inc.

s. <Insert manufacturer's name.>

Retain one of first two subparagraphs and associated subparagraphs below.

3. Aluminum Perimeter Frame:  Extruded aluminum[, with weather-resistant backing for exterior use].

a. Perimeter Frame Profile:  [Square] [Half round] [Quarter round].

b. Perimeter Frame Corners:  [Square] [Radius].

c. Finish:  [Clear anodic] [Color anodic] [Baked enamel].

Retain one color from options in first subparagraph below with color anodic or baked-enamel finish above.  First four options are for color anodic finish and may vary in color range and availability among manufacturers.  Last two options are for color anodic or baked-enamel finish.

d. Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

4. Wood Perimeter Frame:  [Red oak] [Walnut] with [natural lacquered] [oiled] [stained] finish.

a. Perimeter Frame Profile:  [Square] [Half round] [Quarter round].

b. Perimeter Frame Corners:  [Square] [Radius].

Retain one of three subparagraphs and associated subparagraphs below.  Sliding doors are typical for directories 36 inches (900 mm) wide or wider; 1 hinged door is typical for narrower directories.

5. Glazed, Sliding Doors:  Unframed, clear-tempered-glass doors supported on nylon or ball-bearing rollers in extruded-aluminum top and bottom track, with plastic top guide and rubber bumpers.  Equip each door with ground finger pull and adjustable cylinder lock with two keys.

a. Number of Doors:  [Two] [Three] [As indicated on Drawings] <Insert number>.

6. Glazed, Hinged Doors:  Clear [acrylic sheet] [tempered glass] set in door frame equipped with full-height continuous hinge and cylinder lock with two keys.[  Provide factory-applied weather stripping on doors for exterior use.]

a. Door Frame:  Same material and finish as perimeter frame.

b. Number of Doors:  [One] [Two] [Three] [As indicated on Drawings] <Insert number>.

7. Lift-off Cover:  Clear [acrylic sheet] [tempered glass] set in frame that snaps into place.  Fabricate frame from same material and finish as perimeter frame.

Delete subparagraph and associated subparagraphs below if not required.

8. Header Panel:  [Nonilluminated; with opaque,] [Illuminated; with translucent,] acrylic sheet panel set within overall perimeter frame; with matching frame that separates header panel from letterboard.

For header panels required to comply with ADA's Accessibility Guidelines, indicate colors that produce a light-on-dark or dark-on-light contrast between characters and their background.

a. Graphic Content and Style:  Provide header panel copy that complies with requirements indicated on [Drawings] [artwork supplied on electronic media by Architect] for size, style, spacing, content, height, location, material, and colors.

b. Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors].

Delete subparagraph and associated subparagraph below if not required.  Illumination systems are available for bulletin board cabinets whether or not they have header panels.

9. Illumination System:  Concealed top-lighting system consisting of fluorescent-strip fixtures.  Include lamps and internal wiring with single, concealed electrical connection to building system.  Coordinate electrical characteristics with power supply provided.

a. Ballasts:  Low-temperature, high-power-factor, low-energy, fluorescent lamp ballasts that comply with CBMA standards and carry its label.[  Provide exterior ballasts for exterior directories.]

First option in first subparagraph below is most common; second is recommended for exterior use.  Revise if nongrooved cork surface or steel backing for magnetic letters is required.

10. Letterboard:  Manufacturer's standard [felt] [vinyl] [rubber]-covered panel material, with grooves spaced at 1/4 inch (6 mm) o.c. to receive changeable letters.

a. Color:  [Black] [Red] [As selected by Architect from full range of industry colors] <Insert color>.

11. Letters:  Molded plastic with tabs for engaging grooves in letterboard.  Provide manufacturer's standard assortment of not less than [300] <Insert number> characters for each size, style, color, and case required; include letters, numbers, and characters.  Package letters in compartmentalized carrying box.

a. Height:  [3/8 inch (9.5 mm)] [1/2 inch (13 mm)] [3/4 inch (19 mm)] [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (50 mm)] [3 inches (75 mm)] <Insert height> to top of capitals.

b. Style:  [Helvetica] [Gothic] [Roman] [As selected by Architect] <Insert style>.

c. Color:  [White] [Black] [As selected by Architect from full range of industry colors] <Insert color>.

d. Case:  [All capitals] [Capitals and lowercase].

12. Width:  [24 inches (610 mm)] [As indicated on Drawings] <Insert dimension>.

13. Height:  [36 inches (914 mm)] [As indicated on Drawings] <Insert dimension>.

14. Mounting:  [Recessed] [Semirecessed] [Surface mounted] [Single pedestal] [Double, T-shaped pedestal].

Retain first two subparagraphs below only for pedestal-mounted units.

a. Pedestal:  Same material and finish as perimeter frame.

b. Number of Sides:  [Single sided, with black back-panel] [Double sided] with 62-inch (1575-mm) overall height.

15. Mounting Height:  [As indicated on Drawings] <Insert dimension>.

2.5 FABRICATION

A. Fabricate directories to requirements indicated for dimensions, design, and thickness and finish of materials.  Use metals and shapes of thickness and reinforcing to produce flat surfaces, free of oil canning, and to impart strength for size, design, and application indicated.

B. Fabricate directory cabinets and door frames with reinforced corners, mitered and welded to a hairline fit, with no exposed fasteners.  Provide structural reinforcement to prevent racking and misalignment.

C. Fabricate exterior directories with vents to permit evaporation of moisture trapped inside.

D. Message-Strip Directories:  Provide blank message strips for each carrier in entire directory.

Delete paragraph above or first paragraph below.  Below requires a schedule or indication on Drawings.

E. Message-Strip Directories:  Provide message strips with wording and other designations for the locations where wording is indicated.  Include blank message strips as needed to fill out remainder of directory.

F. Provide adjustable foot glides for freestanding directories.

G. Provide hold-open arms for doors of top-hinged directories.

2.6 FINISHES, GENERAL

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C. Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

2.7 ALUMINUM FINISHES

A. Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

Retain finishes below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom finish is required and availability is verified.

B. Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

Above is standard finish with many manufacturers; below is heavy-anodized finish.  Verify availability with manufacturers selected.

C. Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

D. Class II, Color Anodic Finish:  AA-M12C22A32/A34 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, integrally colored or electrolytically deposited color coating 0.010 mm or thicker) complying with AAMA 611.

Delete paragraph above or first paragraph below.  Verify availability with manufacturers selected.

E. Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

F. Baked-Enamel Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Apply baked enamel complying with paint manufacturer's written instructions for cleaning, conversion coating, and painting.

Subparagraph below references AAMA standard for pigmented organic coating on extrusions.

1. Organic Coating:  Thermosetting, modified-acrylic enamel primer/topcoat system complying with AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm), medium gloss.

G. High-Performance Organic Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Subparagraph below references AAMA standard for high-performance organic coating on extrusions and panels.  Revise if specific products are required.

1. Fluoropolymer 2-Coat System:  Manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight; complying with AAMA 2604.

For exact finish, insert names of coating manufacturers and products.

2.8 STAINLESS-STEEL FINISHES

A. General:  Remove tool and die marks and stretch lines or blend into finish.

Delete subparagraph below if no directionally textured finishes are retained.

1. Grind and polish surfaces to produce uniform, directionally textured, polished finish indicated, free of cross scratches.  Run grain with long dimension of each piece.

Retain one finish from first two paragraphs below.  Sheet finish designations below are frequently used to specify finishes applied after fabrication.

B. Bright, Directional Polish:  No. 4 finish.

C. Mirrorlike Reflective, Nondirectional Polish:  No. 8 finish.

D. When polishing is completed, passivate and rinse surfaces.  Remove embedded foreign matter and leave surfaces chemically clean.

2.9 COPPER-ALLOY FINISHES

A. Finish designations prefixed by CDA comply with the system established by the Copper Development Association for designating copper-alloy finish systems, as defined in NAAMM's "Metal Finishes Manual for Architectural and Metal Products."

Retain or revise finishes below.  If more than one finish is required, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom finish is required and availability is verified.

B. Buffed Finish:  CDA M21 (Mechanical Finish:  buffed, smooth specular).

C. Medium-Satin Finish:  CDA M32 (Mechanical Finish:  directionally textured, medium satin).

D. Fine-Matte Finish:  CDA M42 (Mechanical Finish:  nondirectional finish, fine matte).

E. Statuary Conversion Coating over Satin Finish:  CDA-M32-C55 (Mechanical Finish:  directionally textured, medium satin; Chemical Finish:  conversion coating, sulfide).

Subparagraph below is preferred method of specifying because wide variations in color are possible.

1. Color:  Match Architect's sample.

Insert other finishes if required.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine walls, with Installer present, for compliance with requirements for installation tolerances, surface conditions of wall, and other conditions affecting performance of work.

Delete subparagraph below if not required.

1. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of work.

B. Examine roughing-in for electrical power system to verify actual locations of connections before installation of illuminated directories.

C. Examine walls and partitions for proper backing for directories.

D. Examine walls and partitions for suitable framing depth where recessed directories will be installed.

E. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

Delete this Article if only freestanding directories are required.

A. Prepare recesses for directories as required by type and size of unit.

3.3 INSTALLATION

A. General:  Install directories in locations and at mounting heights indicated on Drawings, or if not indicated, at heights indicated below. Keep perimeter lines straight, level, and plumb.  Provide grounds, clips, backing materials, adhesives, brackets, anchors, trim, and accessories necessary for complete installation.

1. Mounting Height:  [72 inches (1829 mm)] <Insert dimension> above finished floor to top of directory.

B. Recessed Directories:  Attach directories to wall framing with fasteners at 16 inches (400 mm) o.c.  Attach aluminum trim over edges of recessed directories and conceal grounds and clips.

C. Surface-Mounted Directories:  Attach directories to wall surfaces with concealed clips, hangers, or grounds fastened at not less than 16 inches (400 mm) o.c.  Secure both top and bottom of directories to walls.

D. Freestanding Directories:  Install directories in locations indicated.  Adjust floor glides so directories are level and plumb.

E. Comply with requirements in Division 16 Sections for connecting illuminated directories.

1. After installation is complete, install new fluorescent lamps.

3.4 ADJUSTING AND CLEANING

A. Adjust directory doors to operate smoothly without warp or bind and contact points meet accurately.  Lubricate operating hardware as recommended by manufacturer.

B. Touch up factory-applied finishes to restore damaged or soiled areas.

END OF SECTION 10410

DIRECTORIES
10410 - 1

