Copyright 2001 AIA
MASTERSPEC Full Length
08/01 (R 05/06)

Copyright 2001 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 11460 - UNIT KITCHENS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes factory-fabricated and -assembled unit kitchens with [metal] [laminate-clad] [wood] cabinets, countertops, fixtures, appliances, and accessories.

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

1. Division 11 Section "Residential Appliances" for standard manufactured residential kitchen appliances.

2. Division 12 Section "Kitchen Casework" for stock manufactured kitchen casework and countertops.

3. Division 15 Section "Fuel Gas Piping" for gas connections to unit kitchen appliances.

4. Division 15 Section "Plumbing Fixtures" for kitchen sinks [waste disposers] [and] [instant-hot-water dispensers] furnished as plumbing fixtures.

5. Division 15 Section "Metal Ducts" for ducted extensions and fans for [exhaust hoods] [and] [range hoods] of unit kitchens.

6. Division 15 plumbing Sections for plumbing services and connections to unit kitchen appliances and fixtures.

7. Division 16 electrical Sections for wiring and other electrical work associated with connecting unit kitchens and appliances.

If alternates or allowances apply to Work of this Section, insert brief paragraphs here to alert Contractor and reference appropriate Division 1 Sections for specific details.

1.3 SUBMITTALS

A. Product Data:  Include construction details, material descriptions, dimensions of individual components and profiles, finishes, furnished specialties, and accessories.

1. Include rated capacities, operating characteristics, and utility requirements of appliances.

B. Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Retain subparagraph below if equipment includes wiring.

1. Wiring Diagrams:  Power, signal, and control wiring.

C. Samples for Initial Selection:  For units with factory-applied color finishes.

Delete paragraph above if colors are preselected and specified or scheduled.  Retain first paragraph and subparagraphs below with or without above.

D. Samples for Verification:  For each type of exposed finish required, prepared on Samples of size indicated below.

1. Metal finish for cabinets[ and countertops], 8 by 10 inches (200 by 250 mm).

2. Wood finish for cabinets, 8 by 10 inches (200 by 250 mm).

3. Plastic laminate for [cabinets] [countertops] [cabinets and countertops], 8 by 10 inches (200 by 250 mm).

4. Solid surfacing for countertops, 6 inches (150 mm) square.

5. One full-size unit of each type of exposed hardware.

E. LEED Submittals:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

1. Product Data for Credit EQ 4.4:  For composite wood products, documentation indicating that product contains no urea formaldehyde.

Retain subparagraph below and "Forest Certification" Paragraph in "Quality Assurance" Article if cabinets and countertops are required to be made from certified wood for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

2. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that cabinets[ and countertops] comply with forest certification requirements.  Include evidence that manufacturer is certified for chain of custody by an FSC-accredited certification body.

a. Include statement indicating costs for each certified wood product.

Retain subparagraph below if ENERGY STAR rated appliances are required for LEED-CI Credit EA 1.4.

3. Product Data for Credit EA 1.4:  For appliances, documentation indicating that products are ENERGY STAR rated.

F. Product Certificates:  For each type of unit kitchen, signed by product manufacturer.

Retain first paragraph below if "Manufacturer Qualifications" Paragraph is retained in "Quality Assurance" Article.

G. Manufacturer Certificate:  Signed by manufacturer certifying that it complies with requirements.

H. Maintenance Data:  For unit kitchen appliances to include in maintenance manuals.

I. Warranty:  Special warranty specified in this Section.

1.4 QUALITY ASSURANCE

A. Manufacturer Qualifications:  A qualified manufacturer that fabricates unit kitchens and their components.  Manufacturers that only assemble components obtained from other sources are not acceptable.

B. Source Limitations:  Obtain unit kitchens through one source from a single manufacturer.

Retain paragraph below to allow drawing details based on one manufacturer's product to establish requirements and still allow competition.  Coordinate with Division 1 requirements.

C. Product Options:  Drawings indicate size, profiles, and dimensional requirements of unit kitchens and are based on the specific system indicated.  Refer to Division 1 Section "Product Requirements."

Revise subparagraph below to suit Project.

1. Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If modifications are proposed, submit comprehensive explanatory data to Architect for review.

Generally retain first option in first paragraph below for private projects; third option for Federal, state, and local government projects.  Second option is often referenced by building codes.  Verify requirements with authorities having jurisdiction.

D. Regulatory Requirements:  Where unit kitchens are indicated to comply with accessibility requirements, comply with [the U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA), Accessibility Guidelines for Buildings and Facilities (ADAAG)."] [ICC A117.1.] [FED-STD-795, "Uniform Federal Accessibility Standards."] <Insert local regulation.>

1. Provide operating controls for appliances that do not require tight grasping, pinching, or twisting of the wrist, and that operate with a force of not more than 5 lbf (22.2 N).

Retain first paragraph below if cabinets and countertops are required to be made from certified wood for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.  Verify availability of products that comply before retaining.

E. Forest Certification:  Provide cabinets[ and countertops] made from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC 1.2, "Principles and Criteria."

F. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

1. Built-in Refrigerators:  Listed and labeled for recessed installation.  Mount label to be visible after installation of unit; include electrical rating, type of refrigerant, and minimum installation clearances.

2. Refrigerated Unit Kitchens[ and Wet Bars]:  Listed and labeled for entire unit as a single integrated system.  Mount label to be visible after installation of unit; include electrical rating, type of refrigerant, and minimum installation clearances.

G. [Wood] [Laminate-Clad] Cabinet Fabrication Standard:

Select one of first two subparagraphs below, or retain all three.  First standard is by Cervitor Kitchens; second, by Dwyer Products Corp.  Certification by KCMA does not require that manufacturer be a member of KCMA.  It does require testing and in-plant inspection by a KCMA-authorized independent agency.

1. AWI 400B, Custom grade.

2. KCMA A161.1.  Provide cabinets with KCMA's "Certified Cabinet" seal affixed to a semiexposed location of each unit and showing compliance with standard.

3. Either fabrication standard above.

H. Appliance Standards:

1. Refrigerators and Freezers:  UL 250.

2. Electric Ranges:  UL 858.

3. Microwave Ovens:  UL 923.

4. Gas-Burning Appliances:  ANSI Z21 Series, and carry the design certification seal of AGA.

Retain subparagraph below if ENERGY STAR rated appliances are required for LEED-CI Credit EA 1.4.

I. ENERGY STAR Rating:  Provide appliances that qualify for the EPA/DOE ENERGY STAR product labeling program.

1.5 DELIVERY, STORAGE, AND HANDLING

A. Deliver factory-assembled units, individually factory packaged and protected.  Label with manufacturer's name, product name, and model number.

B. Do not deliver unit kitchens until spaces to receive them are clean, dry, and ready for their installation.

1.6 PROJECT CONDITIONS

A. Environmental Limitations:  Do not install unit kitchens until spaces are enclosed and weatherproof, wet work in spaces is complete and dry, work above ceilings is complete, and ambient temperature and humidity conditions are maintained at the levels indicated for Project when occupied for its intended use.

B. Field Measurements:  Verify the following by field measurements and indicate measurements on Shop Drawings:

1. Concealed framing, blocking, and reinforcements that support unit kitchens before they are enclosed.

2. Actual locations of walls, columns, and other construction contiguous with unit kitchens.

Delete subparagraph below if not allowed.

3. Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish dimensions of contiguous walls, columns, and other construction; also of concealed framing, blocking, and reinforcements and proceed with fabricating unit kitchens without field measurements.  Coordinate wall and other contiguous construction to ensure that actual recessed opening dimensions correspond to established dimensions.

1.7 COORDINATION

A. Coordinate sizes and locations of framing, blocking, furring, reinforcements, and other related units of work specified in other Sections to ensure that unit kitchens can be supported and installed as indicated.

B. Coordinate wiring requirements and current characteristics of unit kitchens with building electrical system.  See Division 16 Sections.

C. Coordinate layout and installation of plumbing, mechanical, and electrical services for unit kitchens.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of unit kitchens[ or appliances] that fail in materials or workmanship within specified warranty period.

Verify available warranties for units and components and insert number below.  Most manufacturers offer a one-year warranty on their products and limited warranties of varying duration on individual appliance components of the unit kitchen.

1. Warranty Period for Refrigerators:  [Five] <Insert number> years from date of Substantial Completion for sealed refrigeration system that includes compressor, condenser, evaporator, and connecting tubing.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Delete this Article if manufacturers and products are named in the Unit Kitchen Schedule at end of Part 3.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Acme Kitchenettes Corp.

2. Cervitor Kitchens, Inc.

3. Dwyer Products Corp.

4. <Insert manufacturer's name.>

2.2 MATERIALS

Delete materials not required by other Part 2 articles.

A. Cold-Rolled Steel Sheet:  ASTM A 1008, Commercial Steel (CS) Type B, suitable for exposed applications.

B. Porcelain-Enamel-Finished Steel Sheet:  ASTM A 424, enameling-grade steel, uncoated thickness indicated; with exposed face and edges coated with primer, ground coat, and color cover coat; and concealed face coated with primer and ground coat; acid resistant.

C. Stainless-Steel Sheet:  ASTM A 666, Type 304.

If retaining paragraph below and low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4, retain option prohibiting urea formaldehyde.

D. Medium-Density Fiberboard:  ANSI A208.2, Grade MD[, made with binder containing no urea formaldehyde].

If retaining first paragraph below and low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4, retain option prohibiting urea formaldehyde.

E. Particleboard:  ANSI A208.1, Grade M-2, minimum 45-lb/cu. ft. (720-kg/cu. m) density [, made with binder containing no urea formaldehyde].

F. Softwood Plywood:  Exterior, DOC PS 1.

If retaining first paragraph below and low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4, retain option prohibiting urea formaldehyde.

G. Hardwood Plywood:  HPVA HP-1, Type I[, made with adhesive containing no urea formaldehyde].

H. Solid Wood:  Clear hardwood lumber of species indicated, free of defects, selected for compatible grain and color, and kiln dried to 7 percent moisture content.

I. High-Pressure Decorative Laminate:  NEMA LD 3.

J. Thermoset Decorative Overlay:  Thermally fused, melamine-impregnated decorative paper complying with LMA SAT-1.

K. Solid-Surfacing Material:  Homogenous solid sheets fabricated from reacted monomers and resins, mineral fillers, and pigments; in thickness indicated; complying with ISSFA-2.

Retain applicable cabinet materials from first three articles below.  Coordinate with products selected because not all models are available in all materials or construction.  Acme offers only laminate-clad cabinets; Cervitor and Dwyer offer metal, laminate-clad, and wood cabinets.

2.3 METAL CABINETS

A. Steel Base Cabinets:  Fabricate frames and sides from 0.0269-inch- (0.7-mm-) thick cold-rolled steel sheet; welded and reinforced with internal gussets and bracing; with baked-enamel finish.

Retain one of two subparagraphs below.  High-pressure decorative laminate is available only from Dwyer.

1. Door and Drawer Fronts:  0.0269-inch- (0.7-mm-) thick cold-rolled steel sheet, textured or smooth; welded, reinforced, and sound-deadened; with baked-enamel finish.

2. Door and Drawer Fronts:  High-pressure decorative laminate, Grade VGS, bonded to exterior and interior faces of 5/8-inch- (16-mm-) thick particleboard; with PVC edging or matching laminate.

Retain paragraph and subparagraph below if entire cabinet construction is stainless steel.

B. Stainless-Steel Base Cabinets:  Fabricate frames and sides from 0.0375-inch- (0.95-mm-) thick stainless-steel sheet; welded and reinforced with internal gussets and bracing.

1. Door and Drawer Fronts:  0.0375-inch- (0.95-mm-) thick stainless-steel sheet; welded, reinforced, and sound-deadened.

Normally delete undercounter storage cabinet below if retaining built-in oven.

C. Undercounter Storage Cabinet:  Same material and finish as base cabinets, with adjustable shelf and drawer or with two drawers.

Delete wall cabinets below if not required.

D. Wall Cabinets:  Same material and finish as base cabinets, with flush double bottoms and adjustable shelves.

1. Wall Shields:  Fabricated from [textured, cold-rolled steel sheet with baked-enamel finish, color to match cabinets] [textured, cold-rolled steel sheet with baked-enamel finish, color to match countertop] [stainless-steel sheet].  Provide wall shields for back wall[ and side walls] between countertop splash and wall cabinets.

E. Shelves:  Manufacturer's standard rolled-front shelves, [fixed,] [adjustable,] of same material and finish as cabinets.

Revise paragraph below if stainless-steel or plastic pulls are required.  Verify availability with manufacturers.

F. Wire Pulls:  [Brushed-chrome] [Polished-chrome] [Brushed-brass] [Polished-brass] <Insert metal and type of finish> finish.

2.4 LAMINATE-CLAD CABINETS

Retain applicable cabinet materials in this Article.  Revise wire pulls if stainless-steel or plastic pulls are required.  Coordinate with products selected because not all models are available in all materials or construction.

A. Framed-Style Base Cabinets:

1. Face Frames:  3/4-inch- (19-mm-) thick plywood or solid wood.

2. Back Panels:  3/8-inch- (10-mm-) thick particleboard with thermoset decorative laminate bonded to inside surface.

3. Top, Bottom, and End Panels:  3/8-inch- (10-mm-) thick particleboard with thermoset decorative laminate bonded to both sides.

Retain one of first two subparagraphs and associated subparagraph below.  Fiberboard is available from Cervitor and Dwyer; particleboard, from Acme, Cervitor, and Dwyer.  Vinyl film in first subparagraph is typically known as "Thermofoil."

4. Door and Drawer Fronts:  3/4-inch- (19-mm-) thick medium-density fiberboard with 16-mil- (0.4-mm-) thick vinyl film bonded to exposed surfaces and thermoset decorative overlay bonded to inside surfaces.

a. Wire Pulls:  [Brushed-chrome] [Polished-chrome] [Brushed-brass] [Polished-brass] <Insert metal and type of finish> finish.

5. Door and Drawer Fronts:  5/8-inch- (16-mm-) thick particleboard with thermoset decorative laminate bonded to both sides.

a. Wire Pulls:  [Brushed-chrome] [Polished-chrome] [Brushed-brass] [Polished-brass] <Insert metal and type of finish> finish.

6. Drawers:  Four sided, with 1/2-inch- (13-mm-) thick particleboard fronts, backs, and sides, and 1/4-inch- (6-mm-) thick particleboard bottom.

7. Shelves:  5/8-inch- (16-mm-) thick particleboard with thermoset decorative laminate bonded to both sides and PVC edges.

B. Frameless-Style Base Cabinets:

1. Back Panels:  1/4-inch- (6-mm-) thick plywood or particleboard with thermoset decorative laminate bonded to inside surface.

2. Top and Bottom Panels:  3/4-inch- (19-mm-) thick particleboard with thermoset decorative laminate bonded to both sides.

3. End Panels:  5/8-inch- (16-mm-) thick particleboard with thermoset decorative laminate bonded to both sides.

Retain one of first three subparagraphs and associated subparagraph below.  Plywood is available from Cervitor; particleboard, from Acme and Dwyer.

4. Door and Drawer Fronts:  3/4-inch- (19-mm-) thick plywood with Grade HGS high-pressure decorative laminate bonded to front and edges, and Grade CLS high-pressure decorative laminate to inside surface.

a. Wire Pulls:  [Brushed-chrome] [Polished-chrome] [Brushed-brass] [Polished-brass] <Insert metal and type of finish> finish.

5. Door and Drawer Fronts:  5/8-inch- (16-mm-) thick particleboard with thermoset decorative laminate bonded to both sides.

a. Wire Pulls:  [Brushed-chrome] [Polished-chrome] [Brushed-brass] [Polished-brass] <Insert metal and type of finish> finish.

Fronts below are often called "Eurostyle." Pulls are not required.

6. Door and Drawer Fronts:  5/8-inch- (16-mm-) thick particleboard with thermoset decorative laminate bonded to both sides.  Provide continuous bevel edge at tops and bottoms of doors and bottom of drawer fronts in [wood-grain laminate] [solid wood].

7. Drawers:  Four sided, with 1/2-inch- (13-mm-) thick particleboard fronts, backs, and sides, and 1/4-inch- (6-mm-) thick particleboard bottom.

8. Shelves:  3/4-inch- (19-mm-) thick particleboard with thermoset decorative laminate bonded to both sides and PVC edges.

Delete wall cabinets below if not required.

C. Wall Cabinets:  Same material and finish as base cabinets, with adjustable shelves.

1. Wall Shields:  Fabricated from [high-pressure decorative laminate of grade and color to match cabinets] [high-pressure decorative laminate of grade and color to match countertop] [stainless-steel sheet].  Provide wall shields for back wall[ and side walls] between countertop splash and wall cabinets.

D. Scribe Strips for Recessed Cabinets:  Same material, finish, and color as cabinet.

2.5 WOOD CABINETS

Verify availability of wood species in paragraph below with manufacturers.

A. Base Cabinets:  [Birch] [Maple] [Oak] [Cherry] [Ash].

1. Face Frames:  3/4-inch- (19-mm-) thick hardwood-veneer plywood or solid wood.

2. Back Panels:  3/8-inch- (10-mm-) thick particleboard with thermoset decorative laminate bonded to inside surface.

3. Top, Bottom, and End Panels:  3/8-inch- (10-mm-) thick particleboard with thermoset decorative laminate bonded to both sides.

4. Shelves:  5/8-inch- (16-mm-) thick particleboard with thermoset decorative laminate bonded to both sides and PVC edges.

Retain one of two subparagraphs below.  Plywood is available from Cervitor; solid wood, from Acme and Dwyer.

5. Door and Drawer Fronts:  5/8-inch- (16-mm-) thick hardwood-veneer plywood with matching hardwood edges.

6. Door and Drawer Fronts:  3/4-inch- (19-mm-) thick solid wood stiles and rails, with solid wood center panels.

Delete wall cabinets below if not required.

B. Wall Cabinets:  Same material and finish as base cabinets, with adjustable shelves.

1. Wall Shields:  Fabricated from [high-pressure decorative laminate of grade and color to match countertop] [stainless-steel sheet].  Provide wall shields for back wall[ and side walls] between countertop splash and wall cabinets.

C. Scribe Strips for Recessed Cabinets:  Same material, finish, and color as cabinet.

Revise paragraph below if stainless-steel or plastic pulls are required, or delete.  Verify availability with manufacturers.

D. Wire Pulls:  [Brushed-chrome] [Polished-chrome] [Brushed-brass] [Polished-brass] <Insert metal and type of finish> finish.

2.6 COUNTERTOPS

Retain first paragraph and subparagraphs below if sink is integrally formed with countertop.

A. Countertop and Integral Sink:  Seamless, one-piece countertop and sink with integral embossed drainboard and backsplash[ and side splashes].

Retain applicable countertop material from subparagraphs below.  Dwyer is the only manufacturer that offers porcelain-enamel-finished steel as a standard countertop; other manufacturers offer it as an option.

1. Stainless Steel:  0.0375-inch- (0.95-mm-) thick sheet bonded to 3/4-inch (19-mm) plywood.

2. Porcelain-Enamel-Finished Steel:  0.0677 inch (1.7 mm) thick.

3. Solid-Surfacing Material:  Minimum 1/2 inch (13 mm) thick.

B. Countertop[ for Drop-in Sink]:  Seamless, one-piece countertop with integral backsplash[ and side splashes].

1. Stainless Steel:  0.0375-inch- (0.95-mm-) thick sheet bonded to 3/4-inch (19-mm) plywood.

Select one of two subparagraphs below if laminate countertops are required.  First is offered by Cervitor; second, by Dwyer.

2. High-Pressure Decorative Laminate:  Grade HGS, bonded to 3/4-inch (19-mm) plywood.

3. High-Pressure Decorative Laminate:  Grade HGP, post-formed, bonded to 3/4-inch (19-mm) particleboard with Grade BKL unfinished backing sheet bonded to reverse side.

C. Countertop[ for Undercounter-Mounted Sink]:  Seamless, 1-piece countertop with integral backsplash[ and side splashes]; fabricated from 1/2-inch- (13-mm-) thick solid-surfacing material.

2.7 FIXTURES

Sink sizes vary among manufacturers.  Add specific sizes in this Article or indicate in the Unit Kitchen Schedule at end of Part 3.  For accessibility by people with disabilities, verify maximum depth of sinks with authorities having jurisdiction.

A. Stainless-Steel Drop-in Sinks:  [0.0500 inch (1.3 mm)] [0.0375 inch (0.95 mm)] thick; seamless; single compartment.

B. Porcelain-Enamel-Finished Steel Drop-in Sinks:  0.0428 inch (1.1 mm) thick; seamless; single compartment.

C. Undercounter-Mounted Sinks:  Solid-surfacing material; seamless; single compartment.

Coordinate paragraph below with Mechanical Engineer.

D. Supplies:  [NPS 3/8 (DN 12)] [NPS 1/2 (DN 15)] chrome-plated copper with stops.

Retain one of two sink faucets below.  Single-lever control is most common with manufacturers.  Gooseneck spouts are typically provided with wet bars.

E. Sink Faucet:  Single-lever control; [polished chrome-plated mixing] [European-style, pull-out spray] faucet with limited-swing spout and aerator.

F. Sink Faucet:  Separate hot and cold controls[ with wrist-blade handles]; polished chrome-plated mixing faucet with limited-swing [spout] [gooseneck spout] and aerator.

Select applicable sink outlet from first two paragraphs below.

G. Sink Outlet with Disposer:  3-1/2-inch- (89-mm-) diameter outlet.

H. Sink Outlet without Disposer:  3-1/2-inch- (89-mm-) diameter outlet with stainless-steel cup strainer and 1-1/2-inch- (38-mm-) diameter tailpiece.

I. Drain Piping:  NPS 1-1/2 (DN 40) chrome-plated cast-brass trap, tubular brass waste to wall, and wall escutcheon.

J. Bar Sink Outlet:  2-inch- (51-mm-) diameter outlet with stainless-steel grid strainer.

K. Disposers:  Continuous-feed, household, food-waste disposers.  Include 115-V ac, 1725-rpm, 1/2-hp motor with overload protection and reset button; 3-conductor, grounded power cord; wall switch; corrosion-resistant chamber with jam-resistant, cutlery- or stainless-steel grinder or shredder; NPS 1-1/2 (DN 40) outlet; quick-mounting, stainless-steel sink flange; antisplash guard; and combination cover/stopper.

L. Hot-Water Dispensers:  Household type with instant on-off control; insulated, corrosion-resistant-metal storage tank that is open to atmosphere; electric, 115-V ac, heating element; 3-conductor, grounded power cord; chrome-plated faucet or spout; removable strainer; thermostat control for water temperature up to 190 deg F (88 deg C); thermal-overload protection; and minimum 1/2-gal. (1.9-L) tank capacity dispensing approximately 60 cups (240 mL) of water per hour.

2.8 APPLIANCES

Retain applicable appliances in this Article.  Insert unit kitchen manufacturer's name and appliance designation if specific model is required.

A. Built-in Refrigerators:  Fabricated with 1-piece seamless steel or ABS plastic inner liner; refrigerator compartment with slide-out or removable shelves and meat tray; adjustable automatic temperature control; door with magnetic gaskets and storage shelves; interior light; closed compartment for 25-lb- (11-kg-) minimum storage of prefrozen food and 2 ice cube trays; 115-V ac.

Select capacity in first subparagraph below to suit Project.  See Evaluations.

1. Minimum Capacity:  [3.2 cu. ft. (0.091 cu. m)] [5.5 cu. ft. (0.156 cu. m)] [6.0 cu. ft. (0.169 cu. m)] <Insert capacity>.

2. Defrost System:  [Automatic defrost timer] [Push button or manual].

3. Compressor:  Cushion-mounted, self-oiling, and hermetically sealed compressor; fan or gravity cooled.

Delete subparagraph below if not required.

4. Finish Panel:  Manufacturer's standard door trim kit with filler panel or integral finish panel; match material and finish of base cabinets.

B. Freestanding, Upright Refrigerator-Freezers:  Two-door combination unit with 1-piece seamless steel or ABS plastic inner liner; automatic defrost; closed freezer compartment with 2 adjustable shelves[ and 2 ice cube trays]; full-width vegetable crisper; dairy compartment; interior light; adjustable automatic temperature control; door with magnetic gaskets and storage shelves; 115-V ac, with 3-conductor, grounded power cord.

Capacity in first option in subparagraph below is available from Dwyer; capacity in second, from Cervitor.

1. Minimum Capacity:  [12-cu. ft. (0.340-cu. m) refrigerator capacity with 100-lb (45-kg)] [14-cu. ft. (0.396-cu. m) refrigerator capacity with 125-lb (57-kg)] [<Insert refrigerator capacity> with <Insert freezer capacity>] freezer capacity.

Icemaker below is an option.  Delete if not required.  If retaining, delete ice cube trays in paragraph above.

2. Icemaker:  Built-in automatic unit.

Delete subparagraph below if not required.

3. Finish Panel:  Manufacturer's standard door trim kit with filler panel or integral finish panel; match material and finish of base cabinets.

Capacities in first two options in first paragraph below are available from Cervitor; capacity in third, from Cervitor and Dwyer.

C. Automatic Icemakers:  Built-in undercounter unit; capable of producing [22 lb (10 kg) of ice per day; with 12-lb (5.4-kg)] [35 lb (15.9 kg) of ice per day; with 26-lb (11.8-kg)] [50 lb (22.6 kg) of ice per day; with 35-lb (15.9-kg)] storage bin; 115-V ac, with 3-conductor, grounded power cord; with plumbed water supply.

D. Electric Cooktops:  Porcelain-enamel-finished steel; coil-element burners with removable rings and reflector bowls, infinitely adjustable heating controls, and individual signal lights; with wiring terminated at factory-installed junction box.

Burners in first two subparagraphs below are available from Cervitor; burners in third, from Acme, Cervitor, and Dwyer.

1. Cooktop Burner:  One element rated at [900 W; 115] [1250 W; 208/240]-V ac.

2. Cooktop Burners:  One element rated at 550 W, and one element rated at 950 W; 115-V ac.

3. Cooktop Burners:  Two elements, each rated at 1250 W; [115] [208/240]-V ac.

Burners below are available from Dwyer.

4. Cooktop Burners:  Two elements rated at 1250 W, and one element rated at 2100 W; 208/240-V ac.

E. Built-in Electric Ovens:  Porcelain-enamel-finished steel exterior surfaces; coil-element burners with removable rings and reflector bowls, infinitely adjustable heating controls, and individual signal lights.  Oven interior fabricated from 1-piece porcelain-enamel-finished steel with rounded corners, with "Bake" and "Broil" oven elements, automatic heat control, signal light, and removable wire oven rack; textured baked-enamel- or porcelain-enamel-finished steel oven door; 208/240-V ac, with wiring terminated at factory-installed junction box.

1. Cooktop Burners:  Three elements, each rated at 1250 W.

2. Oven Elements:  [1500 W bake; 2000 W broil] [Manufacturer's standard].

Ranges below are available from Dwyer.

F. Freestanding Electric Ranges:  Porcelain-enamel-finished steel exterior surfaces; coil-element burners with removable rings and reflector bowls, infinitely adjustable heating controls, and individual signal lights.  Oven interior fabricated from 1-piece porcelain-enamel-finished steel with rounded corners, with "Bake" and "Broil" oven elements, automatic heat control, signal light, two removable wire oven racks, and porcelain-on-steel broiler pan; textured baked-enamel- or porcelain-enamel-finished steel oven door; 208/240-V ac, with wiring terminated at factory-installed junction box.

1. Cooktop Burners:  Three elements, each rated at 1250 W, and one element rated at 2100 W.

2. Oven Elements:  Manufacturer's standard.

Revise associated subparagraphs of first three paragraphs below if LP gas is required.

G. Gas Cooktops:  Porcelain-enamel-finished steel; surface burners with removable cast-iron grates, lift-out burner bowls, and 115-V ac electronic ignition; with wiring terminated at factory-installed junction box, and burner control panel mounted at front of unit.

1. Cooktop Burners:  Two elements, each rated at [8000 Btu (8440 kJ)] [10,000 Btu (10 550 kJ)] for natural gas.

First option in paragraph below is available from Cervitor; second, from Acme.

H. Built-in Gas Ovens:  [Stainless-steel] [Porcelain-enamel-finished steel] exterior surfaces; surface burners with removable cast-iron grates, lift-out burner bowls, and 115-V ac electronic ignition; with wiring terminated at factory-installed junction box.  Oven interior fabricated from porcelain-enamel-finished steel with rounded corners; removable wire oven rack, automatic heat control, and combination surface burner and oven control panel mounted above oven door at front of unit.

Retain one of first two subparagraphs below.  Burners in first subparagraph are available from Cervitor; burners in second, from Acme.

1. Cooktop Burners:  Three elements, each rated at 5000 Btu (5275 kJ) for natural gas.

2. Cooktop Burners:  Four elements, each rated at 9000 Btu (9495 kJ) for natural gas.

3. Oven Burner:  Rated at [9000 Btu (9495 kJ)] [18,000 Btu (18 990 kJ)] for natural gas.

Ranges below are available from Dwyer in lieu of built-in gas oven.

I. Freestanding Gas Ranges:  Porcelain-enamel-finished steel exterior surfaces; surface burners with removable grates, lift-out burner bowls, and 115-V ac electronic ignition; with 3-conductor, grounded power cord.  Oven interior fabricated from porcelain-enamel-finished steel with rounded corners; two removable wire oven racks, porcelain-on-steel broiler pan, automatic heat control, and combination surface burner and oven control panel mounted above oven door at front of unit.

1. Cooktop Burners:  Four elements, each rated at 9000 Btu (9495 kJ) for natural gas.

2. Oven Burner:  Rated at 18,000 Btu (18 990 kJ) for natural gas.

Capacity in first option in first paragraph below is available from Cervitor and Dwyer; capacity in second, from Acme and Cervitor.  Acme also offers a 1.0-cu. ft. (0.28-cu. m) capacity model.

J. Freestanding Microwave Ovens:  [0.7-cu. ft. (0.020-cu. m) capacity with 600 W] [0.8-cu. ft. (0.023-cu. m) capacity with 700 W] cooking power; electronic touch controls, variable power control, digital clock timer, interior light, turntable, and tempered glass door; 115-V ac, with 3-conductor, grounded power cord.

K. Built-in Microwave Ovens with Exhaust Hood:  Undercabinet mounted, minimum 1.0-cu. ft. (0.028-cu. m) capacity with 800 W cooking power; electronic touch controls, variable power control, digital clock timer, interior light, turntable, tempered glass door, and exhaust hood with integral light and 2-speed fan control; 115-V ac, with 3-conductor, grounded power cord.

Retain one of two subparagraphs below.  Verify availability of ventilating-type exhaust hood with manufacturers.

1. Exhaust Hood:  Recirculating, nonventing type, with replaceable charcoal filter.

2. Exhaust Hood:  Ventilating type, with permanent washable filter.  Provide exhaust duct and [wall] [roof] cap and shutter.  Refer to Division 15 Section "Metal Ducts."

Ovens below are available from Cervitor and Dwyer.

L. Built-in Microwave/Convection Ovens with Exhaust Hood:  Undercabinet mounted, minimum 1.0-cu. ft. (0.028-cu. m) capacity with 800 W cooking power; electronic touch controls, variable power control, digital clock timer, interior light, turntable, convection rack, tempered glass door, and exhaust hood with integral light and 2-speed fan control; 115-V ac, with 3-conductor, grounded power cord.

Retain one of two subparagraphs below.  Verify availability of ventilating-type exhaust hood with manufacturers.

1. Exhaust Hood:  Recirculating, nonventing type, with replaceable charcoal filter.

2. Exhaust Hood:  Ventilating type, with permanent washable filter.  Provide exhaust duct and [wall] [roof] cap and shutter.  Refer to Division 15 Section "Metal Ducts."

Retain first paragraph and subparagraph below if ducted exhaust hood is required; retain second paragraph if recirculating hood is required.  Coordinate with microwave oven vent option above.  Verify acceptability of recirculating hoods with authorities having jurisdiction.

M. Ventilating Exhaust Hoods:  Undercabinet mounted, 24 inches (610 mm) wide, [stainless] [baked-enamel] steel; 2-speed fan control, permanent washable filter, and built-in lighting; 115-V ac, with wiring terminated at factory-installed junction box.

1. Provide exhaust duct and [wall] [roof] cap and shutter.  Refer to Division 15 Section "Metal Ducts."

N. Recirculating, Nonventilating Exhaust Hoods:  Undercabinet mounted, 24 inches (610 mm) wide, [stainless] [baked-enamel] steel; 2-speed fan control, replaceable charcoal filter, and built-in lighting; 115-V ac, with wiring terminated at factory-installed junction box.

O. Dishwashers:  Built-in undercounter unit, [18 inches (457 mm) wide] [24 inches (610 mm) wide] [width as indicated]; multiple wash cycles, coated roll-out racks, detergent dispenser, and insulated cavity walls and door; 115-V ac, with wiring terminated at factory-installed junction box.

P. Automatic Coffeemakers:  Stainless steel, with capacity for 3 pots of coffee; automatic brewing, nonstick warmer plates, and lighted on-off switch; 115-V ac, with 3-conductor, grounded power cord; designed for permanent installation in countertop, with plumbed water supply.  Provide glass coffee decanters in number to match capacity.

If needed, add other appliances such as water chillers.  Verify availability with manufacturers.

2.9 ACCESSORIES

Usually retain locks in first paragraph below only for wet bars.

A. Locks:  Brass cylinder type; furnish two keys per lock.  Provide [where indicated] [on base cabinet doors] [on refrigerator].

B. Fluorescent Light Fixtures:  Surface mounted to underside of overhead cabinet; with 15 W lamp, on-off switch, grounded convenience receptacle, and translucent plastic lens.

C. Cutlery Drawers:  Concealed drawer in undercounter storage compartment with pull-out divided tray.

D. Cutting Boards:  Pull-out hardwood board.

Heat shields below are available from Cervitor.

E. Heat Shields:  Minimum 12 inches high by 24 inches (305 mm high by 610 mm) wide, 0.025-inch- (0.65-mm-) thick stainless steel over 1/4-inch- (6-mm-) thick board insulation.

If needed, add other accessories such as closing lids.

2.10 FABRICATION

A. General:  Factory fabricate and assemble unit kitchens, with base cabinets[, sink,] [, refrigerator,] and countertop shipping as a one-piece assembly.  Securely fasten components, fixtures, and appliances together.

Revise subparagraph below if specific hardware design styles or products are available and required.

1. Provide manufacturer's standard hardware including concealed, adjustable plated-steel hinges; steel drawer slides with nylon rollers; and catches and rubber bumpers on doors and drawers.  Unless otherwise indicated, provide chromium-plated metal or satin-finished stainless steel for exposed hardware.

Retain one of three paragraphs and associated subparagraph below or delete all if accessible unit kitchens are not required.

Units below are available from Acme and Cervitor.

B. Accessible Units:  Fabricate unit kitchens with 1-piece countertop that extends over open space located under sink and over adjacent refrigerator at height of 34 inches (864 mm) above finished floor.

1. Provide manufacturer's standard panels to enclose plumbing under countertop, of same material and finish as cabinets.

Countertops below are available from Cervitor.

C. Adjustable, Accessible Countertops:  Fabricate unit kitchen with 2-piece countertop that allows countertop over sink, including backsplash, side splashes, and sink assembly, to be adjusted between 28 and 40 inches (710 and 1016 mm) above finished floor.

Retain one of three options in paragraph below.  Provision in first option is available from Acme and Dwyer; provision in second, from Cervitor; provision in third allows manufacturer to use its own standard method.  See Evaluations.

D. Removable, Accessible Cabinets:  Fabricate cabinet under sink to allow cabinet removal without disconnecting plumbing by [an open back that provides] [removable cabinet doors and snap-out base platform that provide] [manufacturer's standard method that provides] access to plumbing and electrical connections.

If needed, insert pull-out workspace available from Cervitor.

2.11 FINISHES

A. Steel Finishes:  Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

1. Baked-Enamel Finish:  Immediately after cleaning and pretreating, apply manufacturer's standard two-coat, baked-enamel finish consisting of prime coat and thermosetting topcoat.

B. Stainless-Steel Finishes:  Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.  Remove tool and die marks and stretch lines or blend into finish.  Grind and polish surfaces to produce uniform, directionally textured, polished finish indicated, free of cross scratches.  Run grain with long dimension of each piece.  Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

Finish below is standard.  Verify availability of other stainless-steel finishes with manufacturers.

1. Bright, Directional Polish:  No. 4 finish.

C. Wood Finishes:  Factory finished with manufacturer's standard stain, sealer, and clear finish coat.  Defer only final touchup until after installation.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine walls and floors, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of work.

Delete subparagraph below if not required.

1. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of work.

B. Examine walls and partitions for proper backing for unit kitchens.

Retain mechanical system in first paragraph below for ducts connected to exhaust hoods.

C. Examine roughing-in for electrical power [plumbing] [and] [mechanical] system(s) to verify actual locations of connections before installation of unit kitchens.

D. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. General:  Install level, plumb, and true; shim as required, using concealed shims. Provide fasteners, clips, backing materials, brackets, anchors, fillers, scribes, trim, and accessories necessary for complete installation.

1. Anchor unit kitchens at ends and at intervals recommended by manufacturer, but not more than 36 inches (910 mm) o.c.  Install anchors through backup reinforcing plates, channels, or blocking as required to prevent material distortion, using concealed fasteners.

B. Comply with requirements specified in Division 15 for connecting unit kitchens to [plumbing] [and] [mechanical] system(s).

C. Comply with requirements specified in Division 16 for connecting unit kitchens to electrical power system.

3.3 ADJUSTING AND CLEANING

A. Test, adjust, and verify operation of each appliance, plumbing fixture, and component of unit kitchens.  Repair or replace items found to be defective or operating below rated capacity.

B. Verify that operating parts work freely and fit neatly, and that clearances are adequate to properly and freely operate appliances.

C. Clean, lubricate, and adjust hardware.  Adjust doors and latches to operate easily without binding.[ Verify that locking devices operate properly.]

D. After completing unit kitchen installation, remove protective coverings if any.

E. Repair or replace damaged parts, dents, buckles, abrasions, and other defects affecting appearance or serviceability.  Touch up factory-applied finishes to restore damaged or soiled areas.

3.4 UNIT KITCHEN SCHEDULE

If manufacturers and products are named in this Article, delete Part 2 "Manufacturers" Article.

Delete schedule if not required; if retaining, do not duplicate requirements inserted in Part 2.  Refer to a completed example in the Evaluations for an explanation of how to use schedules.

Copy paragraphs and subparagraphs below and re-edit them to suit Project.

Insert drawing designation for each product retained below.  Use these designations on Drawings to show where each product is required.

A. Unit Kitchen <Insert drawing designation>:

Retain one of first three subparagraphs and lists below.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following manufacturers:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

3. Products:  Subject to compliance with requirements, provide one of the following:

a. Acme Kitchenettes Corp.; <Insert product name or designation>.

b. Cervitor Kitchens, Inc.; <Insert product name or designation>.

c. Dwyer Products Corp.; <Insert product name or designation>.

d. <Insert manufacturer's name; product name or designation.>

4. Cabinets:  [Steel, with matching door and drawer fronts] [Steel, with laminate-clad door and drawer fronts] [Stainless steel] [Framed-style laminate clad] [Frameless-style laminate clad] [Wood].

a. Wall Cabinets:  [Required] [Not required].

1) Wall Shields:  [High-pressure decorative laminate] [Stainless steel] on back[ and sides].

Delete subparagraph below for stainless-steel cabinets.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

Retain one of three countertop subparagraphs and associated subparagraphs below.

5. Countertop for Integral Sink:  [Stainless steel] [Porcelain-enamel-finished steel] [Solid-surfacing material].

6. Countertop:  [Stainless steel] [High-pressure decorative laminate] [Post-formed, high-pressure decorative laminate].

a. Drop-in Sink:  [Stainless] [Porcelain-enamel] steel.

7. Countertop:  Solid-surfacing material.

a. Undercounter Sink:  [Stainless] [Porcelain-enamel] steel.

Retain first subparagraph below with any of three countertop subparagraphs above unless stainless steel is selected.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

8. Fixtures:

a. Sink Faucet:  [Single-lever control; swing spout] [Single-lever control; European style with pull-out spray] [Separate hot and cold controls, swing spout] [Separate hot and cold controls, gooseneck spout].

b. Disposer.

c. Hot-water dispenser.

9. Appliances:

a. Refrigerator:  [Built-in] [Freestanding].

b. Automatic icemaker.

c. Cooktop:  [Electric] [Gas].

d. Built-in Oven:  [Electric] [Gas].

e. Freestanding Range:  [Electric] [Gas].

f. Microwave Oven:  [Freestanding] [Built-in with exhaust hood] [Built-in microwave/convection with exhaust hood].

g. Exhaust Hood:  [Ventilating] [Recirculating, nonventilating] type.

h. Dishwasher.

i. Automatic coffeemaker.

10. Accessories:  [Locks] [fluorescent light fixture] [cutlery drawer] [cutting board] [and] [heat shields].

B. Wet Bar <Insert drawing designation>:

Retain one of first three subparagraphs and lists below.

1. Basis-of-Design Product:  <Insert manufacturer's name; product name or designation> or a comparable product by one of the following manufacturers:

a. <Insert, in separate subparagraphs, manufacturer's name.>

2. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

3. Products:  Subject to compliance with requirements, provide one of the following:

a. Acme Kitchenettes Corp.; <Insert product name or designation>.

b. Cervitor Kitchens, Inc.; <Insert product name or designation>.

c. Dwyer Products Corp.; <Insert product name or designation>.

d. <Insert manufacturer's name; product name or designation.>

4. Cabinets:  [Steel, with matching door and drawer fronts] [Steel, with laminate-clad door and drawer fronts] [Stainless steel] [Framed-style laminate clad] [Frameless-style laminate clad] [Wood].

a. Wall Cabinets:  [Required] [Not required].

1) Wall Shields:  [High-pressure decorative laminate] [Stainless steel] on back[ and sides].

Delete subparagraph below for stainless-steel cabinets.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

Retain one of three countertop subparagraphs and associated subparagraphs below.

5. Countertop for Integral Sink:  [Stainless steel] [Porcelain-enamel-finished steel] [Solid-surfacing material].

6. Countertop:  [Stainless steel] [High-pressure decorative laminate] [Post-formed, high-pressure decorative laminate].

a. Drop-in Sink:  [Stainless] [Porcelain-enamel] steel.

7. Countertop:  Solid-surfacing material.

a. Undercounter Sink:  [Stainless] [Porcelain-enamel] steel.

Retain first subparagraph below with any of three countertop subparagraphs above unless stainless steel is selected.

b. Color:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

8. Fixtures:

a. Sink Faucet:  [Single-lever control; swing spout] [Single-lever control; European style with pull-out spray] [Separate hot and cold controls, swing spout] [Separate hot and cold controls, gooseneck spout].

b. Disposer.

c. Hot-water dispenser.

9. Appliances:

a. Refrigerator, built-in.

b. Automatic icemaker.

c. Microwave Oven:  [Freestanding] [Built-in].

d. Automatic coffeemaker.

END OF SECTION 11460END OF SECTION 11460

UNIT KITCHENS
11460 - 1

