Copyright 2004 AIA
MASTERSPEC Full Length
02/04 (R 05/06)

Copyright 2004 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 13038 - SAUNAS
Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

Modular saunas are freestanding rooms delivered to the site as factory-fabricated panels ready for final assembly.  Precut saunas are field built using materials and components provided in kit form.  See Evaluations for discussion.

A. This Section includes [modular] [precut] saunas.

B. Related Sections include the following:

List below only products that the reader might expect to find in this Section but are specified elsewhere.

Retain three subparagraphs below for precut saunas if applicable.  Delete for modular saunas.

1. Division 6 Section "[Rough Carpentry] [Miscellaneous Carpentry]" for wood framing, furring, sheathing, blocking, shims, and hanging strips required for precut sauna components.

Delete option in first subparagraph below if vapor retarders are provided as part of this Section.

2. Division 7 Section "Building Insulation" for insulation[ and vapor retarders] in walls and ceilings that back precut saunas.

3. Division 9 Section "Non-Load-Bearing Steel Framing" for steel framing required for precut sauna components.

1.3 DEFINITIONS

Retain abbreviations that remain after this Section has been edited.

A. Inspection agencies, and the abbreviations used to reference them, include the following:

Coordinate list below with product lists and delete those not referenced.  Insert others to suit Project.

1. RIS:  Redwood Inspection Service.

2. WCLIB:  West Coast Lumber Inspection Bureau.

3. WWPA:  Western Wood Products Association.

1.4 SUBMITTALS

A. Product Data:  Include construction details, material descriptions, dimensions of individual components and profiles, sauna heater rated capacities, and accessories.

B. Shop Drawings:  Include dimensioned plans, elevations, sections, and large-scale details.

1. Show sauna heater dimensions, mounting location, required clearances, and controls.

2. Include methods of connection for sauna heater, lighting, and controls.

Retain subparagraph below for precut units.

3. Show field measurements, locations and sizes of blocking and reinforcements, and attachments to other work.

Retain subparagraph below for modular units.

4. Indicate method of joining panels.

C. Samples:  For each exposed wood member, full board width by 12 inches (305 mm) long.

D. LEED Submittals:

Retain subparagraph below if composite wood materials are used and low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

1. Product Data for Credit EQ 4.4:  For composite wood products, documentation indicating that product contains no urea formaldehyde.

Retain subparagraph and associated subparagraph below if wood used to produce saunas is required to be certified for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.

2. Certificates for Credit MR 7:  Chain-of-custody certificates certifying that wood and wood-based materials comply with forest certification requirements.  Include evidence that manufacturer is certified for chain of custody by an FSC-accredited certification body.

a. Include statement indicating costs for each certified wood product.

E. Operation and Maintenance Data:  For sauna heaters to include in operation and maintenance manuals.

F. Warranty:  Special warranty specified in this Section.

1.5 QUALITY ASSURANCE

A. Source Limitations:  Obtain saunas components through one source from a single manufacturer.

B. Safety Glass:  Category II materials complying with testing requirements in 16 CFR 1201.

C. Electrical Components, Devices, and Accessories:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction, and marked for intended use.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

D. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

1.6 DELIVERY, STORAGE, AND HANDLING

A. Store sauna materials and components flat and blocked off the ground.

B. Store saunas in areas where temperature and relative humidity are maintained at occupancy levels.

1.7 PROJECT CONDITIONS

A. Environmental Limitations:  Do not install saunas until building is enclosed, wet work in spaces is complete and dry, and HVAC system is operating and will maintain temperature and relative humidity at occupancy levels during the remainder of the construction period.

Retain paragraph and subparagraph below for precut saunas.

B. Field Measurements:  Verify openings and dimensions for precut saunas by field measurements before fabrication and indicate measurements on Shop Drawings.

1. Locate concealed framing, blocking, and reinforcements that support precut saunas by field measurements before being enclosed and indicate measurements on Shop Drawings.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Section "Product Requirements.~4$ Division 1 Section "Product Requirements."

This Article is an example only.  Verify available warranties and length of warranty period with manufacturers selected.

A. Special Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of sauna heaters that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Faulty operation of heating element, controls, and safety mechanisms.

b. Deterioration or corrosion of metals or metal finishes.

Verify available warranties for units and components and insert number in subparagraph below.

2. Warranty Period:  [Five] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of two paragraphs and list of manufacturers in this Article.  See Section "Product Requirements."~4$ Division 1 Section "Product Requirements."

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Airmist, Inc.

2. Amerec Sauna and Steam.

3. Am-Finn Sauna Company.

4. Baltic Leisure.

5. Finlandia Sauna Products, Inc.

6. Finnleo Sauna and Steam.

7. Helo Sauna & Steam.

8. McCoy Sauna and Steam.

9. Nordic Sauna.

10. Steamist; Div. of Steamaster Co., Inc.

11. Sussman Lifestyle Group.

12. <Insert manufacturer's name.>

2.2 MATERIALS

Retain first paragraph below if saunas are required to be made from certified wood for LEED-NC or LEED-CI Credit MR 7, which requires that a minimum of 50 percent of wood-based materials be certified.  See Evaluations.

A. Certified Wood Materials:  Provide saunas made from wood and wood-based materials that are produced from wood obtained from forests certified by an FSC-accredited certification body to comply with FSC 1.2, "Principles and Criteria."

B. Wood Species and Grades:  Provide lumber of grades indicated according to DOC PS 20 and the ALSC National Grading Rule provisions of the grading agency indicated.

1. Western Red Cedar:  WCLIB or WWPA; Clear Heart.

2. Redwood:  RIS; Clear All Heart, VG (Vertical Grain).

3. Douglas Fir:  WCLIB or WWPA; Superior, VG (Vertical Grain).

4. Western Hemlock:  WCLIB or WWPA; B & Btr - 1 & 2 Clear, VG (Vertical Grain).

5. Alaska Yellow Cedar:  WCLIB or WWPA; B & Btr - 1 & 2 Clear.

6. <Insert species and grade.>

C. Softwood Plywood:  DOC PS 1.

If retaining first paragraph below and low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4, retain option prohibiting urea formaldehyde.

D. Hardwood Plywood:  HPVA HP-1[, made with adhesive containing no urea formaldehyde].

E. Tempered Float Glass:  ASTM C 1048, Kind FT (fully tempered), Condition A (uncoated), Type I (transparent glass, flat), Quality Q3 (glazing select), Class [1 (clear)] [2 (tinted, heat absorbing, and light reducing)]; manufactured by horizontal (roller-hearth) process, with exposed edges seamed before tempering.

F. Insulating Glass:  Preassembled units consisting of sealed lites of tempered float glass separated by a dehydrated interspace, and complying with ASTM E 774 for Class CBA units.

G. Fasteners:  Stainless steel or hot-dip galvanized.

Retain paragraph below for precut saunas if vapor retarder is provided as part of this Section.

H. Vapor Retarder:  Laminated aluminum foil and kraft-paper vapor barrier with water-vapor transmission rate of no more than 0.006 perms (0.34 ng/Pa x s x sq. m) as tested according to ASTM E 96.

2.3 SAUNAS

Select one type of sauna from two paragraphs and associated subparagraphs below.  See discussion in Evaluations.

A. Modular Saunas:  Provide manufacturer's standard, prefabricated, demountable, panelized system complete with framing, insulation, vapor retarder, prehung door, and trim; designed to be freestanding.

1. Framing:  2-by-2-inch-nominal (38-by-38-mm-actual), kiln-dried, Douglas fir.

2. Insulation:  3-1/2-inch (89-mm) fiberglass batt with integral foil face or with separate foil vapor retarder.

3. Exterior Wall Finish:  [Same wood species as interior paneling] [11/32-inch- (8.7-mm-) thick, Grade B, rough-sawn mahogany hardwood plywood] [Prepared to receive gypsum board] <Insert wall finish>.

Retain option in paragraph below if vapor retarder is provided as part of this Section.

B. Precut Saunas:  Provide manufacturer's standard precut components, [vapor retarder, ]prehung door, and trim; designed for installation over existing framing.

Retain applicable paragraphs below with either modular or precut saunas.

C. Interior Wall and Ceiling Paneling:  1-by-4-inch-nominal (19-by-89-mm-actual), V-joint, tongue-and-groove wood boards of species and grade indicated; sanded smooth; kiln dried to no more than 12 percent moisture content.

1. Wood Species:  [Western red cedar] [Redwood] [Western hemlock] [Alaska yellow cedar] <Insert species>.

Revise paragraph below, if desired, to substitute synthetic flooring material available from Finlandia, plastic mat available from Amerec, or other flooring products.

D. Flooring:  Manufacturer's standard removable, 1-by-4-inch-nominal (19-by-89-mm-actual) wood duckboards, of same species as interior paneling, spaced not more than 1/2 inch (13 mm) apart and mounted on preservative-pressure-treated wood sleepers.

Select one type of door from first two paragraphs and associated subparagraphs below.  First type includes both flush and stile-and-rail doors.  For safety, all doors require a vision panel.

E. Wood Doors:  Manufacturer's standard prehung door assembly as follows:

1. Door Wood Species:  [Douglas fir] [Western red cedar] [Redwood] [Same wood species as interior paneling].

2. Jamb, Casing, and Threshold Wood Species:  [Western red cedar] [Redwood].

Retain 36-inch- (914-mm-) wide door in first subparagraph below if sauna requires accessibility for people with disabilities.

3. Size:  [24 by 80 inch (610 by 2032 mm)] [36 by 80 inch (914 by 2032 mm)] <Insert size>.

4. Glass Vision Panel:  Insulating-glass unit made from 2 lites of 3.0-mm-thick, [clear,] [bronze-tinted,] tempered glass with 1/4-inch (6.4-mm) airspace.

Retain subparagraph below for doors with decorative etched glass.  Verify availability and designs with manufacturer.

a. Provide decorative etched glass door panel showing [manufacturer's standard design] <Insert design>.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.4.

5. Provide door that is not assembled with adhesive containing urea formaldehyde and contains no composite wood products made with urea formaldehyde.

F. All-Glass Doors:  Manufacturer's standard prehung door assembly of 5/16-inch- (8-mm-) thick, [clear] [bronze-tinted], tempered glass; mounted on 2-inch- (51-mm-) thick, [western red cedar] <Insert species> jambs and head.

Retain subparagraph below for doors with decorative etched glass.  Verify availability and designs with manufacturer.

1. Provide decorative etched glass door panel showing [manufacturer's standard design] <Insert design>.

Retain 36-inch- (914-mm-) wide door in subparagraph below if sauna requires accessibility for people with disabilities.

2. Size:  [24 by 80 inch (610 by 2032 mm)] [36 by 80 inch (914 by 2032 mm)] <Insert size>.

G. Door Hardware:  Provide [one pair of brass butt hinges, one self-closing brass center hinge,] [one and one-half pairs of brass butt hinges, one ball catch,] and two wood door pulls of same wood species as interior paneling for each door.

H. Sidelights:  Insulating-glass units made from 2 lites of 3.0-mm-thick, [clear,] [bronze-tinted,] tempered glass with 1/4-inch (6.4-mm) airspace.  Provide jamb and casing of [western red cedar] [redwood] [same wood species as interior paneling].

I. Benches:  Fabricate from S4S, [1-by-4-inch-nominal (19-by-89-mm-actual)] [2-by-2-inch-nominal (38-by-38-mm-actual)] wood, spaced not more than 1/2 inch (13 mm) apart and supported by 2-by-4-inch-nominal (38-by-89-mm-actual) wood framing; of same wood species as interior paneling.

Retain option in paragraph below for modular saunas.

J. Base, Corner, [Fascia, ]and Cove Trim:  Same wood species as interior paneling.

2.4 HEATERS AND CONTROLS

Revise this Article for wood-burning or gas units if required.  Electric units are most common.

A. Sauna Heater:  Manufacturer's standard electric convection unit with stainless-steel elements, stainless-steel interior, [baked-enamel] [stainless-steel] exterior, and wire protective top grill.  Provide heat-tested, shatter-resistant igneous rocks that are in direct contact with and completely cover heating-unit coils.

1. Capacity:  [Determined by manufacturer for sauna size indicated] <Insert capacity in kilowatts>.

2. Power Supply:  [120] [208] [240]-V ac.

3. Mounting:  [Wall mounted with bracket] [Corner mounted with bracket] [Floor mounted with integral floor stand or legs] [As indicated].

Retain one of three subparagraphs and associated subparagraphs below.  Revise list of features for each type of control to suit Project.  Verify availability with manufacturer.  Shutoff timer is necessary for all types of controls in commercial installations where attendant is not present.

4. Built-in Mechanical Controls:  Manufacturer's standard system mounted integral with heater unit, with thermostat and the following features:

a. Dial timer that automatically shuts off heater after [30] [60] minutes.

b. Dial time-delay that allows heater to be preset up to nine hours in advance.

5. Remote Mechanical Controls:  Manufacturer's standard system designed for [surface] [recessed] wall mounting, with thermostat and the following features:

a. Heater switch.

b. Light switch.

c. Heat-indicator light.

d. Adjustable temperature control.

e. Dial timer that automatically shuts off heater after [30] [60] minutes.

f. Dial time-delay that allows heater to be preset up to [nine hours] [12 hours] [24 hours] [seven days] in advance, with manual override.

6. Remote Digital Controls:  Manufacturer's standard system designed for [surface] [recessed] wall mounting, with touch-pad controls, LED display, thermostat, and the following features:

a. Heater switch.

b. Light switch.

c. Heat-indicator light.

d. Adjustable temperature control.

e. Programmable time and temperature for heater startup and shutdown.

f. Preset temperature lock.

2.5 ACCESSORIES

Retain, revise, or delete accessories in this Article to suit Project.  Verify availability with manufacturer.  Indicate whether more than one is required.

A. Provide the following accessories.  Provide wood accessories of [same wood species as interior paneling] <Insert wood species>, unless otherwise indicated.

1. Wood guardrail for heater, of dimensions required by listing.

2. Wood-slat backrest for each bench.

3. Sloping wood-slat headrest.

4. Arched wood-slat leg rest.

Hygrometer in first subparagraph below measures relative humidity.

5. [Thermometer, 4-inch (102-mm)] [Hygrometer, 4-inch (102-mm)] [Combination thermometer/hygrometer, 5-inch (127-mm)] diameter, with chrome casing.

6. Wood light valance with low-voltage light fixture.

7. Wall-mounted light fixture, rated for damp locations; brushed satin aluminum with white glass globe.

8. Wood bucket, 1-gal. (4-L) capacity, with [plastic] [stainless-steel] liner and wood ladle.

9. Copper bucket with wood handle, 1-gal. (4-L) capacity, with wood-handled copper ladle.

10. Wood clothes hanger with [two] [three] [four] pegs.

11. Wood-handled body brush with natural bristles.

2.6 FABRICATION

A. Fabricate saunas to dimensions, profiles, and details indicated.  Sand boards smooth and ease edges to a radius of not less than 1/16 inch (1.6 mm).

B. Shop cut openings, to maximum extent possible, to receive hardware, electrical work, vents, and similar items.  Locate openings accurately and use templates or roughing-in diagrams to produce accurately sized and shaped openings.  Sand edges of cutouts to remove splinters and burrs.

C. Nail- or screw- and glue bench components together from bottom side.

D. Countersink or conceal all metal fasteners.

E. Secure glass in wood frames with removable stops.

Retain option in paragraph below for modular saunas.

F. Flush mount junction boxes for heater, control panel, and light fixtures[, with concealed connecting electrical conduit in modular sauna panels].

Retain paragraph and subparagraphs below for modular saunas.

G. Modular Saunas:  Complete fabrication of modular sauna panels, including assembly and hardware application, to maximum extent possible, before shipment to Project site.  Disassemble components only as necessary for shipment and installation.

1. Trial fit panels at fabrication shop.  Install dowels, screws, bolted connectors, cam locks, and other fastening devices that can be removed after trial fitting.  Verify that parts fit as intended and check measurements of assemblies against field measurements indicated on Shop Drawings before disassembling for shipment.

Retain subparagraph below for accessible modular saunas.

2. Accessible Modular Saunas:  Fabricate framing and panels to eliminate thresholds and permit accessible entry.

PART 3 -  EXECUTION

3.1 EXAMINATION

Retain option in first paragraph below for precut saunas.

A. Examine [walls, ceilings, and ]floors for suitable conditions where saunas are to be installed.

B. Examine roughing-in for electrical systems to verify actual locations of electrical connections before heater installation.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Condition paneling to average prevailing humidity conditions in installation areas before installation.

3.3 INSTALLATION OF MODULAR SAUNAS

Retain this Article for modular saunas.

A. Complete field assembly with joining methods recommended in writing by manufacturer.

B. Set saunas level, plumb, and securely in place.  Anchor as required for secure installation.

3.4 INSTALLATION OF PRECUT SAUNAS

Retain this Article for precut saunas.

A. Install sauna according to manufacturers' written instructions.

B. Install sauna components level, plumb, true, and straight with no distortions.  Shim, as required, with concealed shims.  Install level, plumb, and to a true plane to a tolerance of 1/8 inch in 96 inches (3 mm in 2400 mm).  Install with no more than 1/16 inch in 96-inch (1.6 mm in 2400-mm) vertical cup or bow.

C. Install interior paneling [vertically] [horizontally] and anchor to supporting substrate with blind nailing through tongue and groove.  Do not use face fastening.  Install with fewest joints possible, using full-length pieces.

3.5 CONNECTIONS

A. Connect electrical power service to power distribution system according to requirements specified in Division 16.  Connect according to NFPA 70 and local regulations.

3.6 ADJUSTING

A. Adjust sauna door to close securely without binding.  Adjust door to operate at room temperature and at sauna operating temperature.

B. Replace sauna components and exposed paneling that are damaged or do not comply with requirements.

3.7 DEMONSTRATION

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain sauna heaters and controls.  Refer to Division 1Section "Demonstration and Training."

END OF SECTION 13038END OF SECTION 13038

SAUNAS
13038 - 1

