Copyright 2002 AIA
MASTERSPEC
08/02 (R 11/03)

Copyright 2002 (R 11/03) by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 13125 - METAL BUILDING SYSTEMS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes metal building systems that consist of integrated sets of mutually dependent components including structural framing [, roof panels] [, wall panels] [, soffit panels] [, doors] [, windows] and accessories.

B. Related Sections include the following:

List below only products, construction, and equipment that the reader might expect to find in this Section but are specified elsewhere.

1. Division 3 Section "Cast-in-Place Concrete" for concrete foundations, slabs, and anchor-bolt installation.

2. Division 4 Section "Unit Masonry Assemblies" for [exterior] [and] [load-bearing] walls fabricated from concrete masonry units.

Delete subparagraph below if panel insulation is specified in this Section.

3. Division 7 Section "Building Insulation" for insulation installed in metal [roof] [and] [wall] panel assemblies.

Delete first two subparagraphs below if all metal roof and wall panels are specified in this Section.

4. Division 7 Section "Metal Roof Panels" for factory-formed metal roof panels.

5. Division 7 Section "Metal Wall Panels" for factory-formed metal wall panels.

6. Division 7 Section "Roof Accessories" for [roof hatches] [and] [roof curbs].

Delete first subparagraph below if all doors and frames are specified in this Section.

7. Division 8 Section "[Steel Doors and Frames] [Custom Steel Doors and Frames]."

8. Division 8 Section "Overhead Coiling Doors."

9. Division 8 Section "Sectional Overhead Doors."

Delete first two subparagraphs below if all windows are specified in this Section.

10. Division 8 Section "Steel Windows."

11. Division 8 Section "Aluminum Windows."

12. Division 8 Section "[Unit Skylights] [Metal-Framed Skylights]."

Delete first subparagraph below if all door hardware is specified in this Section.

13. Division 8 Section "Door Hardware" for hardware to the extent not specified in this Section.

14. Division 8 Section "Glazing" for [materials and installation requirements for glazing lites in personnel doors] [installation requirements for glazing windows] specified in this Section.

15. Division 9 Section "Gypsum Board Assemblies" for installing gypsum board as part of metal panel assemblies.

16. Division 9 painting Sections for finish painting of shop-primed structural framing.

Delete subparagraph below if all louvers are specified in this Section.

17. Division 10 Section "Louvers and Vents" for metal louvers.

If alternates, allowances, or unit prices apply to Work of this Section, insert brief paragraphs here to alert Contractor and reference appropriate Division 1 Sections for specific details.

1.3 DEFINITIONS

First five definitions below are from MBMA's "Metal Building Systems Manual," with additional clarification added in parentheses.

A. Bay:  Dimension between main frames measured normal to frame (at centerline of frame) for interior bays, and dimension from centerline of first interior main frame measured normal to end wall (outside face of end-wall girt) for end bays.

B. Building Length:  Dimension of the building measured perpendicular to main framing from end wall to end wall (outside face of girt to outside face of girt).

C. Building Width:  Dimension of the building measured parallel to main framing from sidewall to sidewall (outside face of girt to outside face of girt).

D. Clear Span:  Distance between supports of beams, girders, or trusses (measured from lowest level of connecting area of a column and a rafter frame or knee).

E. Eave Height:  Vertical dimension from finished floor to eave (the line along the sidewall formed by intersection of the planes of the roof and wall).

F. Clear Height under Structure:  Vertical dimension from finished floor to lowest point of any part of primary or secondary structure, not including crane supports, located within clear span.

G. Terminology Standard:  Refer to MBMA's "Metal Building Systems Manual" for definitions of terms for metal building system construction not otherwise defined in this Section or in referenced standards.

1.4 SYSTEM DESCRIPTION

First option in paragraph below allows manufacturers to use their own standard fabrications.

A. General:  Provide a complete, integrated set of[ metal building system manufacturer's standard] mutually dependent components and assemblies that form a metal building system capable of withstanding structural and other loads, thermally induced movement, and exposure to weather without failure or infiltration of water into building interior.  Include primary and secondary framing, [metal roof panels,] [metal wall panels,] and accessories complying with requirements indicated.

1. Provide metal building system of size and with spacings, slopes, and spans indicated.

Revise paragraph and subparagraphs below to correlate with information about design indicated on Drawings.

B. Primary Frame Type:

Retain one or more of six subparagraphs below.

1. Rigid Clear Span:  Solid-member, structural-framing system without interior columns.

2. Rigid Modular:  Solid-member, structural-framing system with interior columns.

3. Truss-Frame Clear Span:  Truss-member, structural-framing system without interior columns.

4. Truss-Frame Modular:  Truss-member, structural-framing system with interior columns.

5. Long Bay:  Solid- or truss-member, structural-framing system without interior columns.

6. Lean To:  Solid- or truss-member, structural-framing system without interior columns, designed to be partially supported by another structure.

Retain one of first two paragraphs below.  Load-bearing end walls (columns and rafters) in first paragraph are generally more economical than frames.  Second paragraph allows future expansion of building without replacing end frame.

C. End-Wall Framing:  Manufacturer's standard, for buildings not required to be expandable, consisting of [primary frame, capable of supporting one-half of a bay design load, and end-wall columns] [load-bearing end-wall and corner columns, and rafters].

D. End-Wall Framing:  Engineer end walls to be expandable.  Provide primary frame, capable of supporting full-bay design loads, and end-wall columns.

E. Secondary Frame Type:  Manufacturer's standard purlins and joists and [flush-framed] [partially inset-framed] [exterior-framed (bypass)] girts.

Manufacturers can custom design metal buildings to almost any eave height to suit Project.  Dimensions in paragraph below are common.  Use of manufacturer's standard height usually results in lowest cost.

F. Eave Height:  [16 feet (4.9 m)] [20 feet (6.1 m)] [24 feet (7.3 m)] [28 feet (8.5 m)] [Manufacturer's standard height, as indicated by nominal height on Drawings] <Insert dimension>.

Manufacturers can custom design metal buildings to almost any bay spacing to suit Project.  Dimensions in paragraph below are common.  Allowing manufacturers to determine most efficient bay spacing usually results in lowest cost; however, additional frames may be required that may be objectionable.

G. Bay Spacing:  [20 feet (6.1 m)] [25 feet (7.6 m)] [30 feet (9.1 m)] [As determined by manufacturer] <Insert dimension>.

Manufacturers can custom design metal buildings to almost any roof slope to suit Project.  Slopes in paragraph below are common.  Use of manufacturer's standard roof slope usually results in lowest cost.

H. Roof Slope:  [1/4 inch per 12 inches (1:48)] [1/2 inch per 12 inches (1:24)] [1 inch per 12 inches (1:12)] [4 inches per 12 inches (1:3)] [Manufacturer's standard for frame type required] <Insert slope>.

Revise two paragraphs below if roof or wall system uses metal panels from Division 7 Sections.

I. Roof System:  Manufacturer's standard [vertical-rib, standing-seam] [trapezoidal-rib standing-seam] [lap-seam] metal roof panels[ with insulation].

If retaining more than one option in paragraph below, indicate location of each on Drawings.

J. Exterior Wall System:  Manufacturer's standard [field-assembled, insulated] [field-assembled, uninsulated] [factory-assembled, insulated] metal wall panels.

Insert other requirements to suit Project (e.g., brick masonry for custom-designed exterior elevations).

1.5 SYSTEM PERFORMANCE REQUIREMENTS

Retain paragraph and subparagraphs below or indicate structural performance requirements on Drawings.  If requirements in MBMA's "Metal Building Systems Manual" are used as design criteria, verify that they meet local building code requirements.

A. Structural Performance:  Provide metal building systems capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

1. Engineer metal building systems according to procedures in MBMA's "Metal Building Systems Manual."

Requirements under each set of performance criteria below are examples only.  Revise to suit Project.  Consult a structural engineer experienced in engineering assemblies of type indicated to quantify design loads applicable to Project.  Verify compliance with codes.

If retaining first subparagraph below, indicate minimum loads on Drawings.  Include applicable live, dead, snow, collateral, seismic, wind, and uplift loads and load combinations.

2. Design Loads:  As indicated on Drawings.

3. Design Loads:  As required by [MBMA's "Metal Building Systems Manual."] [ASCE 7, "Minimum Design Loads for Buildings and Other Structures."] <Insert applicable code requirement.>

Retain one of two subparagraphs above or delete both and retain first six subparagraphs and associated subparagraph below.  Add specific loads and factors to suit Project.

4. Live Loads:  Include vertical loads induced by the building occupancy indicated on Drawings.  Include loads induced by maintenance workers, materials, and equipment for roof live loads.

Revise first subparagraph below to indicate a specific code-related occupancy group if not indicated on Drawings.

a. Building Occupancy:  [As indicated on Drawings] <Insert occupancy>.

5. Roof Snow Loads:  Include vertical loads induced by the weight of snow, as determined by 50-year, mean-recurrence-interval ground snow load at Project site of <Insert load>.  Allow for unbalanced and drift loads.

6. Wind Loads:  Include horizontal loads induced by a basic wind speed corresponding to a [10] [50]-year, mean-recurrence interval at Project site of <Insert wind speed>.

7. Collateral Loads:  Include additional dead loads other than the weight of metal building system for permanent items such as sprinklers, mechanical systems, electrical systems, and ceilings.

Delete first subparagraph below if no cranes or equipment.

8. Auxiliary Loads:  Include dynamic live loads, such as those generated by cranes and materials-handling equipment indicated on Drawings.

9. Load Combinations:  Design metal building systems to withstand the most critical effects of load factors and load combinations as required by [MBMA's "Metal Building Systems Manual."] [ASCE 7, "Minimum Design Loads for Buildings and Other Structures."] <Insert applicable code requirement.>

Retain first subparagraph and associated subparagraphs below with or without loads above.

10. Deflection Limits:  Engineer assemblies to withstand design loads with deflections no greater than the following:

Deflections in first four subparagraphs below are examples only.  Purlins and rafters supporting plaster ceilings generally require deflection limit of 1/360 of the span.  Masonry walls may require deflection limits of 1/600 or 1/720.  Verify limits with authorities having jurisdiction; manufacturer's standards are typically less stringent.

a. Purlins and Rafters:  Vertical deflection of [1/180] [1/240] <Insert limit> of the span.

b. Girts:  Horizontal deflection of [1/180] [1/240] <Insert limit> of the span.

c. Metal Roof Panels:  Vertical deflection of [1/180] [1/240] <Insert limit> of the span.

d. Metal Wall Panels:  Horizontal deflection of [1/180] [1/240] <Insert limit> of the span.

11. Design secondary framing system to accommodate deflection of primary building structure and construction tolerances, and to maintain clearances at openings.

Although ASTM E 1592 applies to all types of single-sheet metal roof panels, only the standing-seam metal roof panels from most manufacturers can meet the following requirement.

12. Provide metal panel assemblies capable of withstanding the effects of loads and stresses indicated, based on testing according to ASTM E 1592.

Revise first paragraph below to indicate specific loads determined by Project's structural engineer or refer to loads indicated on Drawings.  Model building codes and ASCE 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

B. Seismic Performance:  Design and engineer metal building systems capable of withstanding the effects of earthquake motions determined according to [ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 9, "Earthquake Loads."] <Insert applicable code requirement.>

C. Thermal Movements:  Provide metal panel systems that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below are suitable for most of the U.S.  Revise to suit local conditions.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

ASHRAE/IESNA 90.1, 1999 edition, includes maximum U-factors for opaque elements of overall assemblies and minimum R-values for insulation of metal buildings, depending on the climate where Project is located.

D. Thermal Performance:  Provide insulated metal panel assemblies with the following maximum U-factors and minimum R-values for opaque elements when tested according to ASTM C 1363 or ASTM C 518:

1. Metal Roof Panel Assemblies:

a. U-Factor:  <Insert U-factor.>

b. R-Value:  <Insert R-value.>

2. Metal Wall Panel Assemblies:

a. U-Factor:  <Insert U-factor.>

b. R-Value:  <Insert R-value.>

Pressure differences in two paragraphs below are examples only.  Revise to suit Project.  Value shown for the test-pressure difference for metal roof panels is for roofs with slope less than or equal to 30 degrees.

E. Air Infiltration for Metal Roof Panels:  Air leakage through assembly of not more than [0.06 cfm/sq. ft. (0.3 L/s per sq. m)] <Insert rate> of roof area when tested according to ASTM E 1680 at negative test-pressure difference of [1.57 lbf/sq. ft. (75 Pa)] <Insert pressure difference>.

F. Air Infiltration for Metal Wall Panels:  Air leakage through assembly of not more than [0.06 cfm/sq. ft. (0.3 L/s per sq. m)] <Insert rate> of wall area when tested according to ASTM E 283 at static-air-pressure difference of [6.24 lbf/sq. ft. (300 Pa)] <Insert pressure difference>.

Pressure differences in two paragraphs below are examples only.  Revise to suit Project.  Value shown for the test-pressure difference for metal roof panels is for roofs with slope less than or equal to 30 degrees.  Test pressure of 20 percent of wind-load design pressure for metal wall panels provides satisfactory performance in most parts of U.S.  Locations where high winds and heavy rains frequently occur simultaneously require higher test pressures.

G. Water Penetration for Metal Roof Panels:  No water penetration when tested according to ASTM E 1646 at test-pressure difference of [2.86 lbf/sq. ft. (137 Pa)] <Insert pressure difference>.

H. Water Penetration for Metal Wall Panels:  No water penetration when tested according to ASTM E 331 at a minimum differential pressure of [20] <Insert number> percent of inward-acting, wind-load design pressure of not less than [6.24 lbf/sq. ft. (300 Pa)] <Insert pressure difference> and not more than 12 lbf/sq. ft. (575 Pa).

Delete paragraph below if UL class roof is not required.  Verify that products are listed in UL's "Roofing Materials & Systems Directory."

I. Wind-Uplift Resistance:  Provide metal roof panel assemblies that comply with UL 580 for Class [30] [60] [90].

If fire resistance is required, indicate on Drawings both the fire-resistance rating of each assembly and the designations of testing and inspecting agency that has established the assembly's fire-test-response characteristics.

1.6 SUBMITTALS

A. Product Data:  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for each type of the following metal building system components:

1. Structural-framing system.

2. Metal roof panels.

3. Metal wall panels[ and metal liner panels].

4. Translucent panels.

5. Insulation and vapor retarders.

6. Flashing and trim.

7. Doors.

8. Windows.

9. Accessories.

B. Shop Drawings:  For the following metal building system components.  Include plans, elevations, sections, details, and attachments to other work.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify product's compliance with performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

1. For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Usually retain remaining subparagraphs and associated subparagraphs.

2. Anchor-Bolt Plans:  Submit anchor-bolt plans before foundation work begins.  Include location, diameter, and projection of anchor bolts required to attach metal building to foundation.  Indicate column reactions at each location.

3. Structural-Framing Drawings:  Show complete fabrication of primary and secondary framing; include provisions for openings.  Indicate welds and bolted connections, distinguishing between shop and field applications.  Include transverse cross-sections.

a. Show provisions for attaching [roof curbs] [service walkways] [platforms] [and] [pipe racks].

4. Metal [Roof] [and] [Wall] Panel Layout Drawings:  Show layouts of metal panels including methods of support.  Include details of edge conditions, joints, panel profiles, corners, anchorages, trim, flashings, closures, and special details.  Distinguish between factory- and field-assembled work; show locations of exposed fasteners.

Metal building manufacturers' layout drawings often do not include the items in first subparagraph below.  Retain if Contractor must add this information, or delete.

a. Show roof-mounted items including roof hatches, equipment supports, pipe supports and penetrations, lighting fixtures, snow guards, and items mounted on roof curbs.

b. Show wall-mounted items including doors, windows, louvers, and lighting fixtures.

c. Show translucent panels.

Delete subparagraph and associated subparagraphs below for large-scale details if Product Data from manufacturer are adequate.  Delete specific scale if not required.

5. Accessory Drawings:  Include details of the following items, at a scale of not less than [1-1/2 inches per 12 inches (1:8)] <Insert scale>:

a. Flashing and trim.

b. Gutters.

c. Downspouts.

d. Roof ventilators.

e. Louvers.

f. Service walkways.

C. Samples for Initial Selection:  For each type of building component with factory-applied color finish.

Delete paragraph above if colors are preselected and specified or scheduled.  Retain paragraph and subparagraphs below with or without above.

D. Samples for Verification:  For each type of exposed finish required, prepared on Samples of sizes indicated below.

1. Metal [Roof] [and] [Wall] Panels:  Nominal 12 inches (300 mm) long by actual panel width.  Include fasteners, closures, and other exposed panel accessories.

2. Translucent Panels:  Nominal 12 inches (300 mm) long by actual panel width.

3. Flashing and Trim:  Nominal 12 inches (300 mm) long.  Include fasteners and other exposed accessories.

4. Vapor Retarders:  Nominal 6-inch- (150-mm-) square Samples.

5. Windows:  Full-size, nominal 12-inch- (300-mm-) long frame Samples showing typical profile.

6. Accessories:  Nominal 12-inch- (300-mm-) long Samples for each type of accessory.

E. Product Certificates:  For each type of metal building system, signed by product manufacturer.

Letter of Design Certification below is useful in ensuring compliance with requirements and in comparing competitive quotes from several manufacturers.  MBMA's "Metal Building Systems Manual" expressly excludes compliance with codes, except as noted in Letter of Design Certification.

1. Letter of Design Certification:  Signed and sealed by a qualified professional engineer.  Include the following:

a. Name and location of Project.

b. Order number.

c. Name of manufacturer.

d. Name of Contractor.

e. Building dimensions including width, length, height, and roof slope.

f. Indicate compliance with AISC standards for hot-rolled steel and AISI standards for cold-rolled steel, including edition dates of each standard.

g. Governing building code and year of edition.

h. Design Loads:  Include dead load, roof live load, collateral loads, roof snow load, deflection, wind loads/speeds and exposure, seismic design category or effective peak velocity-related acceleration/peak acceleration, and auxiliary loads (cranes).

i. Load Combinations:  Indicate that loads were applied acting simultaneously with concentrated loads, according to governing building code.

j. Building-Use Category:  Indicate category of building use and its effect on load importance factors.

k. AISC Certification for Category MB:  Include statement that metal building system and components were designed and produced in an AISC-Certified Facility by an AISC-Certified Manufacturer.

F. Welding certificates.

Retain paragraph below if retaining "Erector Qualifications" Paragraph in "Quality Assurance" Article.

G. Erector Certificate:  Signed by manufacturer certifying that erector complies with requirements.

Retain paragraph below if retaining "Manufacturer Qualifications" Paragraph in "Quality Assurance" Article.

H. Manufacturer Certificate:  Signed by manufacturer certifying that products comply with requirements.

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

I. Qualification Data:  For [Erector] [manufacturer] [professional engineer] [land surveyor] [testing agency].

J. Material Test Reports:  Signed by manufacturers certifying that the following products comply with requirements:

Edit list below to suit Project.

1. Structural steel including chemical and physical properties.

2. Bolts, nuts, and washers including mechanical properties and chemical analysis.

3. Tension-control, high-strength, bolt-nut-washer assemblies.

4. Shop primers.

5. Nonshrink grout.

Retain paragraph below if Contractor is responsible for source quality-control testing.

K. Source quality-control test reports.

Retain first paragraph below if Contractor is responsible for field quality-control testing.

L. Field quality-control test reports.

M. Product Test Reports:  Based on evaluation of comprehensive tests performed by manufacturer and witnessed by a qualified testing agency, for insulation and vapor retarders.  Include reports for thermal resistance, fire-test-response characteristics, water-vapor transmission, and water absorption.

Delete paragraph below if survey is not required or if provided by Owner.  If retaining, include "Land Surveyor Qualifications" Paragraph in "Quality Assurance" Article.

N. Surveys:  Show final elevations and locations of major members.  Indicate discrepancies between actual installation and the Contract Documents.  Have surveyor who performed surveys certify their accuracy.

Delete option in first paragraph below if door hardware is specified in Division 8 Section "Door Hardware."

O. Maintenance Data:  For metal panel finishes[ and door hardware] to include in maintenance manuals.

P. Warranties:  Special warranties specified in this Section.

Q. Other Action Submittals:

1. Door Schedule:  For doors and frames.  Use same designations indicated on Drawings.  Include details of reinforcement.

Delete two subparagraphs below if hardware and keying are included in Division 8 Section "Door Hardware."

a. Door Hardware Schedule:  Include details of fabrication and assembly of door hardware.  Organize schedule into door hardware sets indicating complete designations of every item required for each door or opening.

b. Keying Schedule:  Detail Owner's final keying instructions for locks.  Include schematic keying diagram and index each key set to unique door designations.

1.7 QUALITY ASSURANCE

A. Erector Qualifications:  An experienced erector who has specialized in erecting and installing work similar in material, design, and extent to that indicated for this Project and who is acceptable to manufacturer.

B. Manufacturer Qualifications:  A qualified manufacturer[ and member of MBMA].

1. AISC Certification for Category MB:  An AISC-Certified Manufacturer that designs and produces metal building systems and components in an AISC-Certified Facility.

2. Engineering Responsibility:  Preparation of Shop Drawings and comprehensive engineering analysis by a qualified professional engineer.

C. Land Surveyor Qualifications:  A professional land surveyor who is legally qualified to practice in jurisdiction where Project is located and who is experienced in providing surveying services of the kind indicated.

Retain paragraph below if Contractor or manufacturer selects testing agency.

D. Testing Agency Qualifications:  An independent agency qualified according to ASTM E 329 for testing indicated, as documented according to ASTM E 548.

Metal building system manufacturers often obtain secondary components and accessories from other manufacturers.

E. Source Limitations:  Obtain primary metal building system components, including structural framing and metal panel assemblies, through one source from a single manufacturer.

Retain paragraph below to allow drawing details based on one manufacturer's product to establish requirements and still allow competition.  Coordinate with Division 1 requirements.

F. Product Options:  Drawings indicate size, profiles, and dimensional requirements of metal building system and are based on the specific system indicated.  Refer to Division 1 Section "Product Requirements."

Revise subparagraph below to suit Project.

1. Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If modifications are proposed, submit comprehensive explanatory data to Architect for review.

Retain "Welding certificates" Paragraph in "Submittals" Article with first paragraph below.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

G. Welding:  Qualify procedures and personnel according to AWS D1.1, "Structural Welding Code--Steel," and AWS D1.3, "Structural Welding Code--Sheet Steel."

H. Structural Steel:  Comply with AISC's "Specification for Structural Steel Buildings--Allowable Stress Design, Plastic Design," or AISC's "Load and Resistance Factor Design Specification for Structural Steel Buildings," for design requirements and allowable stresses.

I. Cold-Formed Steel:  Comply with AISI's "Specification for the Design of Cold-Formed Steel Structural Members," or AISI's "Load and Resistance Factor Design Specification for Steel Structural Members," for design requirements and allowable stresses.

J. Fire-Resistance Ratings:  Where indicated, provide metal panel assemblies identical to those of assemblies tested for fire resistance per ASTM E 119 by a testing and inspecting agency acceptable to authorities having jurisdiction.

Pass-fail test in subparagraph below is for measuring combustibility that is referenced in codes to determine if elementary products are noncombustible.  Retain for mineral-fiber insulation in field-assembled metal panels; only some unfaced materials pass this test.

1. Combustion Characteristics:  ASTM E 136.

Revise first subparagraph below if only assemblies tested by one or more specifically named testing and inspecting agencies are acceptable.  Indicate rating, testing agency, and testing agency's design designation on Drawings.

2. Fire-Resistance Ratings:  Indicated by design designations from UL's "Fire Resistance Directory" or from the listings of another testing and inspecting agency.

3. Metal panels shall be identified with appropriate markings of applicable testing and inspecting agency.

K. Surface-Burning Characteristics:  Provide field-insulated metal panels having thermal insulation [and vapor-retarder-facing ]materials with the following surface-burning characteristics as determined by testing identical products per ASTM E 84 by UL or another testing and inspecting agency acceptable to authorities having jurisdiction:

1. Flame-Spread Index:  25 or less, unless otherwise indicated.

2. Smoke-Developed Index:  450 or less, unless otherwise indicated.

Delete first paragraph and subparagraphs below if not required.  Usually delete mockups, unless required for complex wall metal panels.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

L. Mockups:  Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Subparagraph below is an example only; revise to suit Project.

1. Build mockup of typical corner wall metal panel[, including soffit,] as shown on Drawings; approximately 48 inches (1200 mm) square by full thickness, including insulation, supports, attachments, and accessories.

Delete subparagraphs below if mockups are only for establishing appearance factors.

2. Approval of mockups is also for other material and construction qualities specifically approved by Architect in writing.

3. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless such deviations are specifically approved by Architect in writing.

M. Pre-Erection Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."  Review methods and procedures related to metal building systems including, but not limited to, the following:

Delete subparagraphs below if not required.  If retaining, revise to include product-specific requirements.  Identify specific participants not mentioned in Division 1 or insert additional requirements to suit Project.

1. Inspect and discuss condition of foundations and other preparatory work performed by other trades.

2. Review structural load limitations.

3. Review and finalize construction schedule and verify availability of materials, Erector's personnel, equipment, and facilities needed to make progress and avoid delays.

Coordinate first subparagraph below with Division 1 Section "Quality Requirements" and with "Source Quality Control" and "Field Quality Control" articles in this Section.  Expand requirements to suit Project.

4. Review required testing, inspecting, and certifying procedures.

5. Review weather and forecasted weather conditions and procedures for unfavorable conditions.

Insert agenda items not listed in Division 1 Section "Project Management and Coordination."

N. Preinstallation Roof Assembly Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."  Review methods and procedures related to metal roof panel assemblies including, but not limited to, the following:

1. Examine purlin and rafter conditions for compliance with requirements, including flatness and attachment to structural members.

2. Review structural limitations of purlins and rafters during and after roofing.

3. Review flashings, special roof details, roof drainage, roof penetrations, equipment curbs, and condition of other construction that will affect metal roof panels.

4. Review temporary protection requirements for metal roof panel assembly during and after installation.

5. Review roof observation and repair procedures after metal roof panel installation.

O. Preinstallation Wall Assembly Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."  Review methods and procedures related to metal wall panel assemblies including, but not limited to, the following:

1. Examine support conditions for compliance with requirements, including alignment between and attachment to structural members.

2. Review structural limitations of girts and columns during and after wall panel installation.

3. Review flashings, special siding details, wall penetrations, openings, and condition of other construction that will affect metal wall panels.

4. Review temporary protection requirements for metal wall panel assembly during and after installation.

5. Review wall observation and repair procedures after metal wall panel installation.

1.8 DELIVERY, STORAGE, AND HANDLING

A. Deliver components, sheets, panels, and other manufactured items so as not to be damaged or deformed.  Package metal panels for protection during transportation and handling.

B. Unload, store, and erect metal panels in a manner to prevent bending, warping, twisting, and surface damage.

C. Stack metal panels horizontally on platforms or pallets, covered with suitable weathertight and ventilated covering.  Store metal panels to ensure dryness and with positive slope for drainage of water.  Do not store metal panels in contact with other materials that might cause staining, denting, or other surface damage.

Retain paragraph and subparagraphs below for foam-plastic insulation.

D. Protect foam-plastic insulation as follows:

1. Do not expose to sunlight, except to extent necessary for period of installation and concealment.

2. Protect against ignition at all times.  Do not deliver foam-plastic insulation materials to Project site before installation time.

3. Complete installation and concealment of plastic materials as rapidly as possible in each area of construction.

1.9 PROJECT CONDITIONS

A. Weather Limitations:  Proceed with installation only when weather conditions permit metal panels to be installed according to manufacturers' written instructions and warranty requirements.

B. Field Measurements:

Delete subparagraphs below if not allowed.

1. Established Dimensions for Foundations:  Comply with established dimensions on approved anchor-bolt plans, establishing foundation dimensions and proceeding with fabricating structural framing without field measurements.  Coordinate anchor-bolt installation to ensure that actual anchorage dimensions correspond to established dimensions.

2. Established Dimensions for Metal Panels:  Where field measurements cannot be made without delaying the Work, either establish framing and opening dimensions and proceed with fabricating metal panels without field measurements, or allow for field trimming metal panels.  Coordinate construction to ensure that actual building dimensions, locations of structural members, and openings correspond to established dimensions.

1.10 COORDINATION

A. Coordinate size and location of concrete foundations and casting of anchor-bolt inserts into foundation walls and footings.  Concrete, reinforcement, and formwork requirements are specified in Division 3 Section "Cast-in-Place Concrete."

B. Coordinate installation of [roof curbs] [equipment supports] [and] [roof penetrations], which are specified in Division 7 Section "Roof Accessories."

C. Coordinate metal panel assemblies with rain drainage work, flashing, trim, and construction of supports and other adjoining work to provide a leakproof, secure, and noncorrosive installation.

1.11 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

Delete first paragraph and subparagraphs below if metal panels are left unfinished.

A. Special Warranty on Metal Panel Finishes:  Manufacturer's standard form in which manufacturer agrees to repair finish or replace metal panels that show evidence of deterioration of factory-applied finishes within specified warranty period.

1. Siliconized Polyester Finish:  Deterioration includes, but is not limited to, the following:

a. Color fading more than 15 Hunter units when tested according to ASTM D 2244.

b. Chalking in excess of a No. 2 rating when tested according to ASTM D 4214.

c. Cracking, checking, peeling, or failure of paint to adhere to bare metal.

2. Fluoropolymer Finish:  Deterioration includes, but is not limited to, the following:

a. Color fading more than 5 Hunter units when tested according to ASTM D 2244.

b. Chalking in excess of a No. 8 rating when tested according to ASTM D 4214.

c. Cracking, checking, peeling, or failure of paint to adhere to bare metal.

Verify available warranties for metal panel finishes and insert number below.  20-year period is common for fluoropolymer finish; 25- and 30-year periods are available from some manufacturers.  10-year period is usually available for siliconized polyester.

3. Finish Warranty Period:  [20] [10] <Insert number> years from date of Substantial Completion.

B. Special Weathertightness Warranty for Standing-Seam Metal Roof Panels:  Manufacturer's standard form in which manufacturer agrees to repair or replace standing-seam, metal roof panel assemblies that fail to remain weathertight, including leaks, within specified warranty period.

Verify available warranties for metal roof panels and insert number below.  20-year period is maximum included with manufacturers' published data.

1. Warranty Period:  [20] <Insert number> years from date of Substantial Completion.

Insert requirements for extra materials such as metal roof and wall panels, trim, and accessories if required.  Verify with Owner because these materials can present storage difficulties.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

Because there are significant differences between manufacturers' systems, metal building system Specifications are usually developed to satisfy design requirements of a single manufacturer.  Other manufacturers' systems should be evaluated to ensure that they are suitable for Project.

C. Basis-of-Design Product:  The design for metal building systems is based on <Insert manufacturer's name and product>.  Subject to compliance with requirements, provide the named product or a comparable product by one of the following:

Manufacturers listed below are examples; each one manufactures a complete line of metal building systems.  Exceptions may apply in some areas.  Verify availability before editing.  Add local manufacturers whose systems are also acceptable.

1. Alliance Steel, Inc.

2. American Buildings Company.

3. American Steel Building Company, Inc.; Division of NCI Building Systems, LLP.

4. Behlen Mfg. Co.

5. Butler Manufacturing Company.

6. Ceco Building Systems; Division of Robertson-Ceco Corporation.

7. Crown Metal Buildings, Inc.

8. Garco Building Systems.

9. Gulf States Manufacturers, Inc.

10. Mesco Metal Buildings; Division of NCI Building Systems, LLP.

11. Metallic Metal Building Company; Division of NCI Building Systems, LLP.

12. Package Industries, Inc.

13. Southern Structures, Inc.

14. Spirco Manufacturing; Division of Metal Building Products, Inc.

15. Star Building Systems; Division of Robertson-Ceco Corporation.

16. Steelox Systems Inc.

17. United Structures of America, Inc.

18. VP Buildings, Inc.; a United Dominion Company.

19. <Insert manufacturer's name.>

2.2 STRUCTURAL-FRAMING MATERIALS

Retain and revise this Article to suit Project.

A. W-Shapes:  ASTM A 992/A 992M; ASTM A 572/A 572M, Grade 50 or 55 (345 or 380); or ASTM A 529/A 529M, Grade 50 or 55 (345 or 380).

B. Channels, Angles, M-Shapes, and S-Shapes:  ASTM A 36/A 36M; ASTM A 572/A 572M, Grade 50 or 55 (345 or 380); or ASTM A 529/A 529M, Grade 50 or 55 (345 or 380).

C. Plate and Bar:  ASTM A 36/A 36M; ASTM A 572/A 572M, Grade 50 or 55 (345 or 380); or ASTM A 529/A 529M, Grade 50 or 55 (345 or 380).

Usually retain first two paragraphs below only for interior columns of rigid modular or truss-frame modular framing systems.

D. Steel Pipe:  ASTM A 53/A 53M, Type E or S, Grade B.

E. Cold-Formed Hollow Structural Sections:  ASTM A 500, Grade B or C, structural tubing.

F. Structural-Steel Sheet:  Hot-rolled, ASTM A 1011/A 1011M, Structural Steel (SS), Grades 30 through 55 (205 through 380), or High-Strength Low Alloy Steel (HSLAS), Grades 45 through 70 (310 through 480); or cold-rolled, ASTM A 1008/A 1008M, Structural Steel (SS), Grades 25 through 80 (170 through 550), or High-Strength Low Alloy Steel (HSLAS), Grades 45 through 70 (310 through 480).

G. Metallic-Coated Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grades 33 through 80 (230 through 550) or High-Strength Low Alloy Steel (HSLAS), Grades 50 through 80 (340 through 550); with G60 (Z180) coating designation; mill phosphatized.

Retain paragraph and subparagraphs below for secondary framing if required.

H. Metallic-Coated Steel Sheet Prepainted with Coil Coating:  Steel sheet metallic coated by the hot-dip process and prepainted by the coil-coating process to comply with ASTM A 755/A 755M.

Retain one or both subparagraphs below.  Coordinate with products specified.

1. Zinc-Coated (Galvanized) Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grades 33 through 80 (230 through 550) or High-Strength Low Alloy Steel (HSLAS), Grades 50 through 80 (340 through 550); with G90 (Z275) coating designation.

2. Aluminum-Zinc Alloy-Coated Steel Sheet:  ASTM A 792/A 792M, Structural Steel (SS),  Grade 50 or 80 (340 or 550); with Class AZ50 (AZM150) coating.

Retain paragraph below instead of built-up steel plates or structural-steel shapes if required for primary structural framing.  Coordinate with requirements in "Structural Framing" Article.

I. Joist Girders:  Manufactured according to "Standard Specifications for Joist Girders," in SJI's "Standard Specifications, Load Tables, and Weight Tables for Steel Joists and Joist Girders," with steel-angle, top- and bottom-chord members; with end- and top-chord arrangements as indicated and required for primary framing.

Retain first paragraph below instead of cold-formed steel sheet if required for rafters or purlins.  Coordinate with requirements in "Structural Framing" Article.

J. Steel Joists:  Manufactured according to "Standard Specifications for Open Web Steel Joists, K-Series," in SJI's "Standard Specifications, Load Tables, and Weight Tables for Steel Joists and Joist Girders," with steel-angle, top- and bottom-chord members; with end- and top-chord arrangements as indicated and required for secondary framing.

K. Non-High-Strength Bolts, Nuts, and Washers:  ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6), carbon-steel, hex-head bolts; ASTM A 563 (ASTM A 563M) carbon-steel hex nuts; and ASTM F 844 plain (flat) steel washers.

1. Finish:  [Plain] [Hot-dip zinc coating, ASTM A 153/A 153M, Class C] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

L. High-Strength Bolts, Nuts, and Washers:  ASTM A 325 (ASTM A 325M), Type 1, heavy hex steel structural bolts; ASTM A 563 (ASTM A 563M) heavy hex carbon-steel nuts; and ASTM F 436 (ASTM F 436M) hardened carbon-steel washers.

1. Finish:  [Plain] [Hot-dip zinc coating, ASTM A 153/A 153M, Class C] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

Retain subparagraph and associated subparagraph below if required.  Tension-control (twist-off) bolt assemblies correspond to strength of ASTM A 325 (ASTM A 325M) bolts.

2. Tension-Control, High-Strength Bolt-Nut-Washer Assemblies:  ASTM F 1852, Type 1, heavy-hex-head steel structural bolts with splined ends.

a. Finish:  [Plain] [Mechanically deposited zinc coating, ASTM B 695, Class 50] [Mechanically deposited zinc coating, ASTM B 695, Class 50, baked epoxy coated].

Retain option in paragraph below if applicable.  Indicate locations if using bolts below for some connections and ASTM A 325 (ASTM A 325M) bolts in paragraph above for others.

M. High-Strength Bolts, Nuts, and Washers:  ASTM A 490 (ASTM A 490M), Type 1, heavy hex steel structural bolts[ or tension-control, bolt-nut-washer assemblies with splined ends]; ASTM A 563 (ASTM A 563M) heavy hex carbon-steel nuts; and ASTM F 436 (ASTM F 436M) hardened carbon-steel washers, plain.

Select appropriate materials from paragraph and subparagraphs below or revise if other materials are required.  AISC uses the generic term "anchor rods" to include unheaded rods and headed bolts.  Plate washers are used with oversized base-plate holes to resist nut pull-through and transfer shear from base plate to anchor rod.

N. Unheaded Anchor Rods:  [ASTM F 1554, Grade 36] [ASTM A 572/A 572M, Grade 50 (345)] [ASTM A 36/A 36M] [ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6)].

1. Configuration:  Straight.

2. Nuts:  ASTM A 563 (ASTM A 563M) [heavy ]hex carbon steel.

3. Plate Washers:  ASTM A 36/A 36M carbon steel.

4. Washers:  ASTM F 436 (ASTM F 436M) hardened carbon steel.

5. Finish:  [Plain] [Hot-dip zinc coating, ASTM A 153/A 153M, Class C] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

Select appropriate materials from first paragraph and subparagraphs below or revise if other materials are required.  AISC uses the generic term "anchor rods" to include unheaded rods and headed bolts.  Plate washers are used with oversized base-plate holes to resist nut pull-through and transfer shear from base plate to anchor rod.

O. Headed Anchor Rods:  [ASTM F 1554, Grade 36] [ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6)], straight.

1. Nuts:  ASTM A 563 (ASTM A 563M) [heavy ]hex carbon steel.

2. Plate Washers:  ASTM A 36/A 36M carbon steel.

3. Washers:  ASTM F 436 (ASTM F 436M) hardened carbon steel.

4. Finish:  [Plain] [Hot-dip zinc coating, ASTM A 153/A 153M, Class C] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

P. Threaded Rods:  [ASTM A 193/A 193M] [ASTM A 572/A 572M, Grade 50 (345)] [ASTM A 36/A 36M] [ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6)].

1. Nuts:  ASTM A 563 (ASTM A 563M) [heavy ]hex carbon steel.

2. Washers:  [ASTM F 436 (ASTM F 436M) hardened] [ASTM A 36/A 36M] carbon steel.

3. Finish:  [Plain] [Hot-dip zinc coating, ASTM A 153/A 153M, Class C] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

Verify that primer in paragraph below is compatible with fireproofing if required.  See Evaluations.

Q. Primer:  SSPC-Paint 15, Type I, red oxide.

2.3 MATERIALS FOR FIELD-ASSEMBLED METAL PANELS

Finishes for metal panel materials in this Article are specified with materials below rather than in a separate "Finishes, General" Article because "Finishes, General" Article is primarily for finishes applied after fabrication.  Coil-coated materials are already finished before they arrive at fabricator's facility.

A. Metallic-Coated Steel Sheet Prepainted with Coil Coating:  Steel sheet metallic coated by the hot-dip process and prepainted by the coil-coating process to comply with ASTM A 755/A 755M.

Retain one or both subparagraphs below.  Coordinate with products specified.

1. Zinc-Coated (Galvanized) Steel Sheet:  ASTM A 653/A 653M, Structural Steel (SS), Grades 33 through 80 (230 through 550), with G90 (Z275) coating designation.

2. Aluminum-Zinc Alloy-Coated Steel Sheet:  ASTM A 792/A 792M, Structural Steel (SS), Grade 50 or 80 (340 or 550); with Class AZ50 (AZM150) coating designation.

Coil coatings are specified in "Metal Roof Panels" and "Metal Wall Panels" articles.  If metal roof panels have a different surface than metal wall panels, insert that information in first subparagraph below.

3. Surface:  [Smooth, flat] [Embossed] finish.

4. Exposed Finishes:  Apply the following coil coating, as specified or indicated on Drawings:

Select one or more coatings, which are generally listed from lowest to highest performance, from first four subparagraphs and associated subparagraphs below.

a. Acrylic-Enamel Coating:  Epoxy primer and acrylic-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

b. Siliconized-Polyester Coating:  Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil (0.005 mm) for primer and 0.8 mil (0.02 mm) for topcoat.

First subparagraph below references AAMA standard for high-performance organic coating spray-applied on aluminum extrusions and panels.  Manufacturers of metallic-coated steel sheet also use this standard for both spray-applied and coil-coated fluoropolymer finishes.  Revise if specific products are required.  AAMA 2604 provides a 5-year performing finish; AAMA 2605, 10 years.  See Evaluations.

c. High-Performance Organic Finish (2-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with [AAMA 2604] [AAMA 2605] and with coating and resin manufacturers' written instructions, except as modified below:

1) Humidity Resistance:  [1000] [2000] hours.

2) Salt-Spray Resistance:  [1000] [2000] hours.

Delete subparagraph and associated subparagraphs above or below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.

d. High-Performance Organic Finish (3-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coatings; Organic Coating:  manufacturer's standard 3-coat, thermocured system consisting of specially formulated inhibitive primer, fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight), with a minimum total dry film thickness of 1.5 mil (0.038 mm).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturers' written instructions, except as modified below:

1) Humidity Resistance:  [1000] [2000] hours.

2) Salt-Spray Resistance:  [1000] [2000] hours.

e. Concealed Finish:  Apply pretreatment and manufacturer's standard white or light-colored backer finish, consisting of prime coat and wash coat with a total minimum dry film thickness of 0.5 mil (0.013 mm).

2.4 THERMAL INSULATION FOR FIELD-ASSEMBLED METAL PANELS

Delete this Article if not required.  If retaining, indicate thicknesses on Drawings.

Retain one of six insulation materials below.  Many metal building system manufacturers do not provide insulation as part of their metal building package; verify availability.  Even for those that do, the specifier may elect instead to specify insulation in Division 7 Section "Building Insulation."

Metal building insulation below is the most common type of insulation used for metal building systems, especially if it is to be exposed on the interior.  Type I insulation is unfaced; Type II is faced.

A. Metal Building Insulation:  [ASTM C 991, Type I, or NAIMA 202] [ASTM C 991, Type II], glass-fiber-blanket insulation; 0.5-lb/cu. ft. (8-kg/cu. m) density; 2-inch- (50-mm-) wide, continuous, vapor-tight edge tabs; and with a flame-spread index of 25 or less.

Verify type of insulation needed to obtain a fire-resistance rating if required.

B. Mineral-Fiber-Blanket Insulation:  ASTM C 665, type indicated below; consisting of fibers manufactured from [glass, slag wool, or rock wool] [glass] [slag or rock wool].

1. Type I (blankets without membrane covering), passing ASTM E 136 for combustion characteristics.

2. Type II (blankets with nonreflective membrane covering), Category 1 (membrane is a vapor retarder), Class A (membrane-faced surface with a flame-spread index of 25 or less).

3. Type III (blankets with reflective membrane covering), Category 1 (membrane is a vapor retarder), Class A (membrane-faced surface with a flame-spread index of 25 or less).

Board insulations in first four paragraphs below are typically adhered directly to backs of metal wall panels and covered on the interior side with metal liner panels acting as a thermal barrier.

C. Unfaced, Polyisocyanurate Board Insulation:  ASTM C 591, Type II, compressive strength of 35 psi (240 kPa), with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, based on tests performed.

D. Faced, Polyisocyanurate Board Insulation:  ASTM C 1289, Type [I (foil facing), Class 1 or 2] [II (asphalt felt or glass-fiber mat facing)], with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, based on tests performed on unfaced core.

E. Extruded-Polystyrene Board Insulation:  ASTM C 578, Type IV, 1.60-lb/cu. ft. (26-kg/cu. m) minimum density, unless otherwise indicated; with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively.

F. Molded-Polystyrene Board Insulation:  ASTM C 578, Type [I, 0.9 lb/cu. ft. (15 kg/cu. m)] [II, 1.35 lb/cu. ft. (22 kg/cu. m)], with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively.

Vapor-retarder facing in paragraph below is for blanket insulation or for metal building insulation.  It is often provided separately and may be laminated to insulation before arriving at Project site or installed concurrently with insulation.  NAIMA recommends that metal building insulation have a vapor-retarder facing with a permeance not greater than 0.10 perm (5.75 ng/Pa x s x sq. m).  Facing selection may also be affected by light reflectivity and cold-weather workability.

G. Vapor-Retarder Facing:  ASTM C 1136, with permeance not greater than 0.02 perm (1.15 ng/Pa x s x sq. m) when tested according to ASTM E 96, Desiccant Method.

Select one of four compositions below or delete all and insert manufacturer's proprietary product.

1. Composition:  White metallized-polypropylene film facing, fiberglass scrim reinforcement, and kraft-paper backing.

2. Composition:  Aluminum foil facing, elastomeric barrier coating, fiberglass scrim reinforcement, and kraft-paper backing.

3. Composition:  White [polypropylene] [vinyl] film facing, fiberglass scrim reinforcement, and metallized-polyester film backing.

Composition below is one of the most expensive facings but offers very high puncture resistance.

4. Composition:  White polypropylene film facing and fiberglass-polyester blend fabric backing.

Retain first paragraph below with blanket insulation that is to be left exposed to the interior.

H. Retainer Strips:  0.019-inch- (0.5-mm-) thick, formed, galvanized steel or PVC retainer clips colored to match insulation facing.

I. Vapor-Retarder Tape:  Pressure-sensitive tape of type recommended by vapor-retarder manufacturer for sealing joints and penetrations in vapor retarder.

2.5 DOOR AND FRAME MATERIALS

A. Cold-Rolled Steel Sheet:  ASTM A 1008/A 1008M, Commercial Steel (CS), Type B, suitable for exposed applications.

B. Hot-Rolled Steel Sheet:  ASTM A 1011/A 1011M, Commercial Steel (CS), Type B; free of scale, pitting, or surface defects; pickled and oiled.

C. Metallic-Coated Steel Sheet:  ASTM A 653/A 653M, Commercial Steel (CS), Type B; with G60 (Z180) zinc (galvanized) or A60 (ZF180) zinc-iron-alloy (galvannealed) coating designation.

2.6 MISCELLANEOUS MATERIALS

A. Fasteners:  Self-tapping screws, bolts, nuts, self-locking rivets and bolts, end-welded studs, and other suitable fasteners designed to withstand design loads.  Provide fasteners with heads matching color of materials being fastened by means of plastic caps or factory-applied coating.

1. Fasteners for Metal Roof Panels:  Self-drilling or self-tapping, zinc-plated, hex-head carbon-steel screws, with a stainless-steel cap or zinc-aluminum-alloy head and EPDM or neoprene sealing washer.

2. Fasteners for Metal Wall Panels:  Self-drilling or self-tapping, zinc-plated, hex-head carbon-steel screws, with nylon or polypropylene washer.

Retain one or both subparagraphs above, or delete both and retain first subparagraph below if corrosion resistance is required.

3. Fasteners for Metal [Roof] [and] [Wall] Panels:  Self-drilling Type 410 stainless-steel or self-tapping Type 304 stainless-steel or zinc-alloy-steel hex washer head, with EPDM or PVC washer under heads of fasteners bearing on weather side of metal panels.

4. Fasteners for Flashing and Trim:  Blind fasteners or self-drilling screws with hex washer head.

5. Blind Fasteners:  High-strength aluminum or stainless-steel rivets.

B. Bituminous Coating:  Cold-applied asphalt mastic, SSPC-Paint 12, compounded for 15-mil (0.4-mm) dry film thickness per coat.  Provide inert-type noncorrosive compound free of asbestos fibers, sulfur components, and other deleterious impurities.

Retain paragraph below for use with foamed-insulation core metal panels to provide increased impact resistance.  Delete and insert other backer boards, such as plywood, if required.

C. Backer Board:  Hardboard complying with AHA A135.4, Class 1 tempered, [1/8 inch (3 mm)] [1/4 inch (6 mm)] thick, unless otherwise indicated.

Retain first paragraph below if rated wall construction, units requiring internal boards for structural stability or acoustical ratings, or thermal barrier for board insulation is required.

D. Gypsum Board:  Type X, of thicknesses indicated, complying with ASTM C 442/C 442M or ASTM C 36/C 36M.

E. Nonmetallic, Shrinkage-Resistant Grout:  ASTM C 1107, factory-packaged, nonmetallic aggregate grout, noncorrosive, nonstaining, mixed with water to consistency suitable for application and a 30-minute working time.

F. Metal Panel Sealants:

1. Sealant Tape:  Pressure-sensitive, 100 percent solids, gray polyisobutylene compound sealant tape with release-paper backing.  Provide permanently elastic, nonsag, nontoxic, nonstaining tape of manufacturer's standard size.

2. Joint Sealant:  ASTM C 920; one-part elastomeric polyurethane, polysulfide, or silicone-rubber sealant; of type, grade, class, and use classifications required to seal joints in metal panels and remain weathertight; and as recommended by metal building system manufacturer.

2.7 FABRICATION, GENERAL

A. General:  Design components and field connections required for erection to permit easy assembly.

1. Mark each piece and part of the assembly to correspond with previously prepared erection drawings, diagrams, and instruction manuals.

2. Fabricate structural framing to produce clean, smooth cuts and bends.  Punch holes of proper size, shape, and location.  Members shall be free of cracks, tears, and ruptures.

B. Tolerances:  Comply with MBMA's "Metal Building Systems Manual":  Chapter IV, Section 9, "Fabrication and Erection Tolerances."

C. Metal Panels:  Fabricate and finish metal panels at the factory to greatest extent possible, by manufacturer's standard procedures and processes, as necessary to fulfill indicated performance requirements.  Comply with indicated profiles and with dimensional and structural requirements.

1. Provide panel profile, including major ribs and intermediate stiffening ribs, if any, for full length of metal panel.

2.8 STRUCTURAL FRAMING

Refer to the tables for metal building structural systems at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalog or product data to insert series, type, model, and designations of other characteristics.

A. General:

1. Primary Framing:  Shop fabricate framing components to indicated size and section with baseplates, bearing plates, stiffeners, and other items required for erection welded into place.  Cut, form, punch, drill, and weld framing for bolted field assembly.

a. Make shop connections by welding or by using high-strength bolts.

b. Join flanges to webs of built-up members by a continuous submerged arc-welding process.

c. Brace compression flange of primary framing with steel angles or cold-formed structural tubing between frame web and purlin or girt web, so flange compressive strength is within allowable limits for any combination of loadings.

Revise first subparagraph below if other types of attachment are permitted.  Welded clips on roof rafters may not be allowed by authorities having jurisdiction.

d. Weld clips to frames for attaching secondary framing members.

e. Shop Priming:  Prepare surfaces for shop priming according to SSPC-SP 2.  Shop prime primary structural members with specified primer after fabrication.

2. Secondary Framing:  Shop fabricate framing components to indicated size and section by roll-forming or break-forming, with baseplates, bearing plates, stiffeners, and other plates required for erection welded into place.  Cut, form, punch, drill, and weld secondary framing for bolted field connections to primary framing.

a. Make shop connections by welding or by using non-high-strength bolts.

b. Shop Priming:  Prepare uncoated surfaces for shop priming according to SSPC-SP 2.  Shop prime uncoated secondary structural members with specified primer after fabrication.

Review the remainder of this Article for compliance with design concept and revise to suit Project.  Consult manufacturers for standard framing details.

B. Primary Framing:  Manufacturer's standard structural primary framing system, designed to withstand required loads and specified requirements.  Primary framing includes transverse and lean-to frames; rafter, rake, and canopy beams; sidewall, intermediate, end-wall, and corner columns; and wind bracing.

1. General:  Provide frames with attachment plates, bearing plates, and splice members.  Factory drill for field-bolted assembly.  Provide frame span and spacing indicated.

Delete subparagraph below if not allowed.

a. Slight variations in span and spacing may be acceptable if necessary to meet manufacturer's standard, as approved by Architect.

Retain one of five subparagraphs below.

2. Rigid Clear-Span Frames:  I-shaped frame sections fabricated from shop-welded, built-up steel plates or structural-steel shapes.  Interior columns are not permitted.

3. Rigid Modular Frames:  I-shaped frame sections fabricated from shop-welded, built-up steel plates or structural-steel shapes.  Provide interior columns fabricated from round steel pipe or tube, or shop-welded, built-up steel plates.

4. Truss-Frame, Clear-Span Frames:  Rafter frames fabricated from joist girders, and I-shaped column sections fabricated from shop-welded, built-up steel plates or structural-steel shapes.

5. Truss-Frame Modular Frames:  Rafter frames fabricated from joist girders, and I-shaped column sections fabricated from shop-welded, built-up steel plates or structural-steel shapes.  Provide interior columns fabricated from round steel pipe or tube, or shop-welded, built-up steel plates.

Steel joist rafters are typically used with long-bay frames in subparagraph below.

6. Long-Bay Frames:  I-shaped frame sections fabricated from shop-welded, built-up steel plates or structural-steel shapes.  Provide interior columns fabricated from round steel pipes or tubes, or shop-welded, built-up steel plates.

Delete first subparagraph below if Drawings adequately indicate requirements.

7. Frame Configuration:  [Single gable] [One-directional sloped] [Lean to, with high side connected to, and supported by, another structure] [Multiple gable] [Load-bearing-wall type] [Multistory].

8. Exterior Column Type:  [Uniform depth] [Tapered].

9. Rafter Type:  [Uniform depth] [Tapered].

Retain first paragraph and subparagraphs below if required or delete if half-load primary frames are used.  Retain columns only and delete rafters if full-load frames are used.

C. End-Wall Framing:  Manufacturer's standard primary end-wall framing fabricated for field-bolted assembly to comply with the following:

1. End-Wall and Corner Columns:  I-shaped sections fabricated from structural-steel shapes; shop-welded, built-up steel plates; or C-shaped, cold-formed, structural-steel sheet; with minimum thickness of 0.0598 inch (1.5 mm).

2. End-Wall Rafters:  C-shaped, cold-formed, structural-steel sheet; with minimum thickness of 0.0598 inch (1.5 mm); or I-shaped sections fabricated from shop-welded, built-up steel plates or structural-steel shapes.

D. Secondary Framing:  Manufacturer's standard secondary framing members, including purlins, girts, eave struts, flange bracing, base members, gable angles, clips, headers, jambs, and other miscellaneous structural members.  Fabricate framing from cold-formed, structural-steel sheet or roll-formed, metallic-coated steel sheet prepainted with coil coating, unless otherwise indicated, to comply with the following:

Retain one of two purlins below or retain both if required.

1. Purlins:  C- or Z-shaped sections; fabricated from minimum 0.0598-inch- (1.5-mm-) thick steel sheet, built-up steel plates, or structural-steel shapes; minimum 2-1/2-inch- (64-mm-) wide flanges.

Delete depths in subparagraph below if retaining Part 1 "System Description" Article and depths are determined by manufacturer.  Verify availability with manufacturers selected.  Insert manufacturer's proprietary size if required.

a. Depth:  [6-1/2 inches (165 mm)] [8 inches (203 mm)] [8-1/2 inches (216 mm)] [9 inches (229 mm)] [9-1/2 inches (241 mm)] [10 inches (254 mm)] [11-1/2 inches (292 mm)] [12 inches (305 mm)] [14 inches (356 mm)] [As indicated] [As required to comply with system performance requirements] <Insert dimension>.

2. Purlins:  Steel joists of depths indicated.

3. Girts:  C- or Z-shaped sections; fabricated from minimum 0.0598-inch- (1.5-mm-) thick steel sheet, built-up steel plates, or structural-steel shapes.  Form ends of Z-sections with stiffening lips angled 40 to 50 degrees to flange and with minimum 2-1/2-inch- (64-mm-) wide flanges.

Delete depths in subparagraph below if retaining Part 1 "System Description" Article and depths are determined by manufacturer.  Verify availability with manufacturers selected.  Insert manufacturer's proprietary size if required.

a. Depth:  [6-1/2 inches (165 mm)] [8 inches (203 mm)] [8-1/2 inches (216 mm)] [9 inches (229 mm)] [9-1/2 inches (241 mm)] [10 inches (254 mm)] [As indicated] [As required to comply with system performance requirements] <Insert dimension>.

4. Eave Struts:  Unequal-flange, C-shaped sections; fabricated from 0.0598-inch- (1.5-mm-) thick steel sheet, built-up steel plates, or structural-steel shapes; to provide adequate backup for metal panels.

5. Flange Bracing:  Minimum 2-by-2-by-1/8-inch (51-by-51-by-3-mm) structural-steel angles or 1-inch (25-mm) diameter, cold-formed structural tubing to stiffen primary frame flanges.

6. Sag Bracing:  Minimum 1-by-1-by-1/8-inch (25-by-25-by-3-mm) structural-steel angles.

Revise first subparagraph below if channel shape is required instead of base angles.

7. Base or Sill Angles:  Minimum 3-by-2-by-0.0598-inch (76-by-51-by-1.5-mm) zinc-coated (galvanized) steel sheet.

8. Purlin and Girt Clips:  Minimum 0.0598-inch- (1.5-mm-) thick, steel sheet.  Provide galvanized clips where clips are connected to galvanized framing members.

9. Secondary End-Wall Framing:  Manufacturer's standard sections fabricated from minimum 0.0598-inch- (1.5-mm-) thick, [zinc-coated (galvanized) steel sheet] [structural-steel sheet].

10. Framing for Openings:  Channel shapes; fabricated from minimum 0.0598-inch- (1.5-mm-) thick, cold-formed, structural-steel sheet or structural-steel shapes.  Frame head and jamb of door openings, and head, jamb, and sill of other openings.

11. Miscellaneous Structural Members:  Manufacturer's standard sections fabricated from cold-formed, structural-steel sheet; built-up steel plates; or zinc-coated (galvanized) steel sheet; designed to withstand required loads.

E. Canopy Framing:  Manufacturer's standard structural-framing system, designed to withstand required loads, fabricated from shop-welded, built-up steel plates or structural-steel shapes.  Provide frames with attachment plates and splice members, factory drilled for field-bolted assembly.

Retain one or more of four options in subparagraph below.  First option is a continuation of roof at eave; second is a continuation of roof over end wall; third is attached at sidewall or end wall, at or below eave.

1. Type:  [Straight-beam, eave type] [Purlin-extension type] [Tapered-beam, below-eave type] [As indicated].

F. Bracing:  Provide adjustable wind bracing as follows:

Retain one of six subparagraphs below, or retain more than one and seventh subparagraph if type of bracing is manufacturer's option.

1. Rods:  ASTM A 36/A 36M; ASTM A 572/A 572M, Grade 50 (345); or ASTM A 529/A 529M, Grade 50 (345); minimum 1/2-inch- (13-mm-) diameter steel; threaded full length or threaded a minimum of 6 inches (152 mm) at each end.

2. Cable:  ASTM A 475, 1/4-inch- (6-mm-) diameter, extra-high-strength grade, Class B zinc-coated, 7-strand steel; with threaded end anchors.

3. Angles:  Fabricated from structural-steel shapes to match primary framing, of size required to withstand design loads.

4. Rigid Portal Frames:  Fabricate from shop-welded, built-up steel plates or structural-steel shapes to match primary framing; of size required to withstand design loads.

5. Fixed-Base Columns:  Fabricate from shop-welded, built-up steel plates or structural-steel shapes to match primary framing; of size required to withstand design loads.

6. Diaphragm Action of Metal Panels:  Design metal building to resist wind forces through diaphragm action of metal panels.

Retain subparagraph below if retaining two or more subparagraphs above.  Bracing below costs less but transfers design control to manufacturer.

7. Bracing:  Provide wind bracing using any method specified above, at manufacturer's option.

G. Bolts:  Provide plain finish bolts for structural-framing components that are primed or finish painted.  Provide [zinc-plated] [or] [hot-dipped galvanized] bolts for structural-framing components that are galvanized.

H. Factory-Primed Finish:  Apply specified primer immediately after cleaning and pretreating.

1. Prime primary, secondary, and end-wall structural-framing members to a minimum dry film thickness of 1 mil (0.025 mm).

a. Prime secondary steel framing formed from uncoated steel sheet to a minimum dry film thickness of 0.5 mil (0.013 mm) on each side.

2. Prime galvanized members with specified primer, after phosphoric acid pretreatment.

If required, insert requirements for crane runway beams, supports, and bracing; mezzanine framing and decking; and floor framing for multistory applications.

Profile requirements in metal panel articles below are often better described graphically than verbally.  If profiles are indicated on Drawings, delete profile descriptions and retain types of metals and metal thicknesses.

Copy paragraphs and subparagraphs in each Article below and re-edit them to suit Project.

Insert drawing designation for each metal panel product retained below.  Use these designations on Drawings to show where each product is required.

Unless colors are preselected and specified or scheduled, retain one of two options in each "Color" Subparagraph with finish selected for each type of metal panel.  Most manufacturers offer a variety of colors.

2.9 METAL ROOF PANELS

Refer to the table for metal roof panels at the end of the Evaluations for a list of manufacturers' products.  Use this table in combination with manufacturers' catalog or product data to insert series, type, model, and designations of other characteristics.

This Article includes metal building system manufacturers' standard metal roof panels.  Other types of metal roof panels and custom metal panels should be specified in Division 7 Section "Metal Roof Panels."

Retain one or more metal roof panels from first three paragraphs and associated subparagraphs below.  Revise to suit Project, such as adding yield strength.

A. Vertical-Rib, Standing-Seam Metal Roof Panels <Insert drawing designation>:  Formed with vertical ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between ribs; designed for sequential installation by mechanically attaching panels to supports using concealed clips located under one side of panels and engaging opposite edge of adjacent panels.

1. Material:  [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.0159 inch (0.40 mm)] [0.0209 inch (0.55 mm)] [0.0269 inch (0.70 mm)] thick.

a. Exterior Finish:  [Fluoropolymer] [Siliconized polyester].

b. Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

2. Clips:  Manufacturer's standard, [fixed type] [floating type to accommodate thermal movement]; fabricated from [zinc-coated (galvanized) steel] [aluminum-zinc alloy-coated steel] [stainless-steel] [zinc-coated (galvanized) steel, aluminum-zinc alloy-coated steel, or stainless-steel] sheet.

3. Joint Type:  Panels snapped together.

Retain subparagraph above or first subparagraph below.

4. Joint Type:  Mechanically seamed, [single folded] [double folded] [folded as standard with manufacturer].

5. Panel Coverage:  [16 inches (406 mm)] <Insert dimension>.

6. Panel Height:  [2 inches (51 mm)] <Insert dimension>.

7. Uplift Rating:  UL [30] [60] [90].

B. Trapezoidal-Rib, Standing-Seam Metal Roof Panels <Insert drawing designation>:  Formed with raised trapezoidal ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between ribs; designed for sequential installation by mechanically attaching panels to supports using concealed clips located under one side of panels and engaging opposite edge of adjacent panels.

1. Material:  [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.0159 inch (0.40 mm)] [0.0209 inch (0.55 mm)] [0.0269 inch (0.70 mm)] thick.

a. Exterior Finish:  [Fluoropolymer] [Siliconized polyester].

b. Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

If required, insert requirements for aluminum.  Verify availability with manufacturers.

2. Clips:  Manufacturer's standard, [fixed type] [floating type to accommodate thermal movement]; fabricated from [zinc-coated (galvanized) steel] [aluminum-zinc alloy-coated steel] [stainless-steel] [zinc-coated (galvanized) steel, aluminum-zinc alloy-coated steel, or stainless-steel] sheet.

3. Joint Type:  Panels snapped together.

Retain subparagraph above or first subparagraph below.

4. Joint Type:  Mechanically seamed, [single folded] [double folded] [folded as standard with manufacturer].

5. Panel Coverage:  [24 inches (610 mm)] <Insert dimension>.

6. Panel Height:  [3 inches (76 mm)] <Insert dimension>.

7. Uplift Rating:  UL [30] [60] [90].

C. Tapered-Rib-Profile, Lap-Seam Metal Roof Panels <Insert drawing designation>:  Formed with raised, trapezoidal major ribs and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major ribs; designed to be field assembled by lapping side edges of adjacent panels and mechanically attaching panels to supports using exposed fasteners in side laps.

1. Material:  [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.0159 inch (0.40 mm)] [0.0209 inch (0.55 mm)] [0.0269 inch (0.70 mm)] thick.

a. Exterior Finish:  [Fluoropolymer] [Siliconized polyester] [Plastisol].

b. Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

2. Major-Rib Spacing:  [6 inches (152 mm)] [12 inches (305 mm)] <Insert dimension> o.c.

3. Panel Coverage:  [36 inches (914 mm)] <Insert dimension>.

4. Panel Height:  [0.75 inch (19 mm)] [1.125 inches (29 mm)] [1.188 inches (30 mm)] [1.25 inches (32 mm)] [1.5 inches (38 mm)] <Insert dimension>.

Retain paragraph below if insulated system is required and insulation must be concealed.

D. Tapered-Rib-Profile, Metal Liner Panels <Insert drawing designation>:  Formed with raised, trapezoidal major ribs and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major ribs; designed to be field assembled by lapping side edges of adjacent panels and mechanically attaching panels to supports using exposed fasteners in side laps.

1. Material:  [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.0159 inch (0.40 mm)] [0.0209 inch (0.55 mm)] [0.0269 inch (0.70 mm)] thick.

a. Exterior Finish:  [Fluoropolymer] [Siliconized polyester].

b. Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

2. Major-Rib Spacing:  [6 inches (152 mm)] [12 inches (305 mm)] <Insert dimension> o.c.

3. Panel Coverage:  [36 inches (914 mm)] <Insert dimension>.

4. Panel Height:  [1.25 inches (32 mm)] [1.5 inches (38 mm)] <Insert dimension>.

2.10 FIELD-ASSEMBLED METAL WALL PANELS

Refer to the table for uninsulated metal wall panels at the end of the Evaluations for a list of manufacturers' products.  Use this table in combination with manufacturers' catalog or product data to insert series, type, model, and designations of other characteristics.

This Article includes metal building system manufacturers' standard metal wall panels.  Other types of metal wall panels and custom metal panels should be specified in Division 7 Section "Metal Wall Panels."

Retain one or more metal wall panels from first three paragraphs and associated subparagraphs below.  Revise to suit Project, such as adding yield strength.

A. Tapered-Rib-Profile, Exposed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with raised, trapezoidal major ribs and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major ribs; designed to be field assembled by lapping side edges of adjacent panels and mechanically attaching panels to supports using exposed fasteners in side laps.

1. Material:  [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.0159 inch (0.40 mm)] [0.0209 inch (0.55 mm)] [0.0269 inch (0.70 mm)] thick.

a. Exterior Finish:  [Fluoropolymer] [Siliconized polyester].

b. Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

2. Major-Rib Spacing:  [6 inches (152 mm)] [12 inches (305 mm)] <Insert dimension> o.c.

3. Panel Coverage:  [36 inches (914 mm)] <Insert dimension>.

4. Panel Height:  [0.75 inch (19 mm)] [1.125 inches (29 mm)] [1.188 inches (30 mm)] [1.25 inches (32 mm)] [1.5 inches (38 mm)] <Insert dimension>.

B. Reverse-Rib-Profile, Exposed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with recessed, trapezoidal major valleys and [intermediate stiffening valleys symmetrically spaced] [flat pan] between major valleys; designed to be field assembled by lapping side edges of adjacent panels and mechanically attaching panels to supports using exposed fasteners in side laps.

1. Material:  [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.0159 inch (0.40 mm)] [0.0209 inch (0.55 mm)] [0.0269 inch (0.70 mm)] thick.

a. Exterior Finish:  [Fluoropolymer] [Siliconized polyester] [Plastisol].

b. Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

2. Major-Rib Spacing:  [12 inches (305 mm)] <Insert dimension> o.c.

3. Panel Coverage:  [36 inches (914 mm)] <Insert dimension>.

4. Panel Height:  [1.125 inches (29 mm)] [1.188 inches (30 mm)] [1.25 inches (32 mm)] [1.5 inches (38 mm)] <Insert dimension>.

C. Concealed-Fastener Metal Wall Panels <Insert drawing designation>:  Formed with vertical panel edges and [a single wide recess, centered between panel edges] [flush surface]; with flush joint between panels; with 1-inch- (25-mm-) wide flange for attaching interior finish; designed to be field assembled by lapping and interconnecting side edges of adjacent panels and mechanically attaching through panel to supports using concealed fasteners[ and factory-applied sealant] in side laps.

1. Material:  [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.0209 inch (0.55 mm)] [0.0269 inch (0.70 mm)] thick.

a. Exterior Finish:  [Fluoropolymer] [Siliconized polyester] [Plastisol].

b. Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

2. Panel Coverage:  [16 inches (406 mm)] <Insert dimension>.

3. Panel Height:  [3 inches (76 mm)] <Insert dimension>.

Retain one of two paragraphs and associated subparagraphs below if insulated system is required and insulation must be concealed.

D. Tapered-Rib-Profile, Metal Liner Panels <Insert drawing designation>:  Formed with raised, trapezoidal major ribs and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major ribs; designed to be field assembled by lapping side edges of adjacent panels and mechanically attaching panels to supports using exposed fasteners in side laps.

1. Material:  [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.0159 inch (0.40 mm)] [0.0209 inch (0.55 mm)] [0.0269 inch (0.70 mm)] thick.

a. Exterior Finish:  [Siliconized polyester] [Acrylic enamel].

b. Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

2. Major-Rib Spacing:  [6 inches (152 mm)] [12 inches (305 mm)] <Insert dimension> o.c.

3. Panel Coverage:  [36 inches (914 mm)] <Insert dimension>.

4. Panel Height:  [1.25 inches (32 mm)] [1.5 inches (38 mm)] <Insert dimension>.

E. Flush-Profile, Metal Liner Panels <Insert drawing designation>:  [Solid] [Perforated] panels formed with vertical panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between panel edges; with flush joint between panels; designed for interior side of field-assembled metal wall panel assemblies and field assembled by lapping and interconnecting side edges of adjacent panels and mechanically attaching through panel to supports using concealed fasteners[ and factory-applied sealant] in side laps.

1. Material:  [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.0209 inch (0.55 mm)] [0.0269 inch (0.70 mm)] thick.

a. Exterior Finish:  [Siliconized polyester] [Polyester] [Acrylic enamel].

b. Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

Delete first subparagraph below if not required.

2. Sound Absorption:  NRC not less than [0.65] [0.85] [1.00] <Insert rating> when tested according to ASTM C 423.

3. Panel Coverage:  [12 inches (305 mm)] <Insert dimension>.

4. Panel Height:  [1.5 inches (38 mm)] <Insert dimension>.

2.11 FOAMED-INSULATION-CORE METAL WALL PANELS

Refer to the table for insulated metal wall panels at the end of the Evaluations for a list of manufacturers' products.  Use this table in combination with manufacturers' catalog or product data to insert series, type, model, and designations of other characteristics.

This Article includes metal building system manufacturers' standard insulated metal wall panels.  Other types of metal wall panels and custom metal panels should be specified in Division 7 Section "Metal Wall Panels."

Products in this Article are factory assembled.

A. General:  Provide factory-formed and -assembled metal wall panels fabricated from two metal facing sheets and an insulation core foamed in place during fabrication, with joints between panels designed to form weathertight seals.  Include accessories required for weathertight installation.

1. Panel Performance:

a. Flatwise Tensile Strength:  30 psi (200 kPa) when tested according to ASTM C 297.

b. Humid Aging:  Volume increase not greater than 6.0 percent and no delamination or metal corrosion when tested for 7 days at 140 deg F (60 deg C) and 100 percent relative humidity according to ASTM D 2126.

c. Heat Aging:  Volume increase not greater than 2.0 percent and no delamination, surface blistering, or permanent bowing when tested for 7 days at 200 deg F (93 deg C) according to ASTM D 2126.

d. Cold Aging:  Volume decrease not more than 1.0 percent and no delamination, surface blistering, or permanent bowing when tested for 7 days at minus 20 deg F (29 deg C) according to ASTM D 2126.

e. Fatigue:  No evidence of delamination, core cracking, or permanent bowing when tested to a 20-lbf/sq. ft. (958-kPa) positive and negative wind load and with deflection of L/180 for 2 million cycles.

f. Autoclave:  No delamination when exposed to 2-psi (13.8-kPa) pressure at a temperature of 212 deg F (100 deg C) for 2-1/2 hours.

g. Fire-Test-Response Characteristics:  Class A according to ASTM E 108.

2. Isocyanurate Insulation-Core Performance:

a. Density:  2.0 to 2.6 lb/cu. ft. (32 to 42 kg/cu. m) when tested according to ASTM D 1622.

b. Compressive Strength:  Minimum 20 psi (140 kPa) when tested according to ASTM D 1621.

c. Shear Strength:  26 psi (179 kPa) when tested according to ASTM C 273.

B. Concealed-Fastener, Foamed-Insulation-Core Metal Wall Panels <Insert drawing designation>:  Formed with tongue-and-groove panel edges; designed for sequential installation by interlocking panel edges and mechanically attaching panels to supports using concealed clips or fasteners.

1. Facings:  Fabricate panel with exterior and interior facings of same material and thickness.

a. Material:  [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.0159 inch (0.40 mm)] [0.0209 inch (0.55 mm)] [0.0269 inch (0.70 mm)] thick.

b. Exterior Facing Finish:  [Fluoropolymer] [Siliconized polyester].

1) Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

c. Interior Facing Finish:  Manufacturer's standard siliconized polyester.

d. Exterior Surface:  [Smooth, flat] [Striated] [Shallow ribs] [Shallow V grooves].

2. Isocyanurate Insulation:  Modified isocyanurate foam using a non-CFC blowing agent, board or foamed-in-place type as indicated, with maximum flame-spread and smoke-developed indexes of 25 and 450, respectively.

a. Closed-Cell Content:  90 percent when tested according to ASTM D 2856.

3. Panel Coverage:  [36 inches (914 mm)] [42 inches (1067 mm)] <Insert dimension> nominal.

4. Panel Thickness:  [2 inches (51 mm)] [2.5 inches (64 mm)] [3 inches (76 mm)] [4 inches (102 mm)] [5 inches (127 mm)] [6 inches (152 mm)] <Insert dimension>.

5. Thermal-Resistance Value (R-Value):  <Insert R-value.>

2.12 TRANSLUCENT PANELS

Delete paragraph and subparagraphs below if not required.

A. Fire-Test-Response Characteristics:  Provide panels with the following surface-burning characteristics as determined by testing identical products per ASTM E 84 by UL or another testing and inspecting agency acceptable to authorities having jurisdiction:

1. Flame Spread:  25 or less.

2. Smoke Developed:  450 or less.

Retain one of first two paragraphs and associated subparagraphs below.  "Limited flammability" is not a fire-hazard classification but indicates material is less flammable than general-purpose material.

B. Uninsulated Translucent Panels:  Glass-fiber-reinforced polyester, translucent plastic; complying with ASTM D 3841, Type [CC1 (limited flammability)] [CC2 (general purpose)], Grade 1 (weather resistant); smooth finish on both sides.  Match profile of adjacent metal panels.

Verify panel weights in first two subparagraphs below with manufacturers.

1. Roof Panel Weight:  Not less than 8 oz./sq. ft. (2441 g/sq. m).

2. Wall Panel Weight:  Not less than 6 oz./sq. ft. (1831 g/sq. m).

3. Light Transmittance:  Not less than [55] <Insert percentage> percent according to ASTM D 1494.

4. Metal Edge:  Fabricate full length of each side of panel with metal edge for seaming into standing-seam roof panel joint.

5. Color:  [White] <Insert color>.

C. Insulated Translucent Panels:  Fabricate insulating units of 2 sheets of glass-fiber-reinforced polyester, translucent plastic separated by an air space; complying with ASTM D 3841, Type [CC1 (limited flammability)] [CC2 (general purpose)], Grade 1 (weather resistant); smooth finish on both sides.  Match profile of adjacent metal panels.

Verify panel weights in first two subparagraphs below with manufacturers.

1. Exterior Panel Weight:  Not less than [8 oz./sq. ft. (2441 g/sq. m)] [6 oz./sq. ft. (1831 g/sq. m)].

2. Interior Panel Weight:  Not less than [8 oz./sq. ft. (2441 g/sq. m)] [6 oz./sq. ft. (1831 g/sq. m)] [4 oz./sq. ft. (1221 g/sq. m)].

3. Light Transmittance:  Not less than [42] <Insert percentage> percent according to ASTM D 1494.

4. Metal Edge:  Fabricate full length of each side of panel with metal edge for seaming into standing-seam roof panel joint.

5. Color:  [White] <Insert color>.

D. Mastic for Translucent Panels:  Nonstaining, saturated vinyl polymer as recommended by translucent panel manufacturer for sealing laps.

2.13 METAL SOFFIT PANELS

This Article includes metal building system manufacturers' standard metal soffit panels.  Other types of metal soffit panels and custom metal panels should be specified in Division 7 Section "Metal Roof Panels" or "Metal Wall Panels."

A. General:  Provide factory-formed metal soffit panels designed to be field assembled by lapping and interconnecting side edges of adjacent panels and mechanically attaching through panel to supports using concealed fasteners[ and factory-applied sealant] in side laps.  Include accessories required for weathertight installation.

B. Metal Soffit Panels:  Match profile and material of metal [roof] [wall] panels.

1. Finish:  [Match finish and color of metal roof panels] [Match finish and color of metal wall panels] [As indicated on Drawings].

Retain paragraph and subparagraph above or one or both paragraphs and associated subparagraphs below.  Delete remainder of this Article if retaining above and metal soffit panels are required to match metal roof or wall panels.

C. Tapered-Rib-Profile, Exposed-Fastener Metal Soffit Panels <Insert drawing designation>:  Formed with raised, trapezoidal major ribs and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major ribs; designed to be field assembled by lapping side edges of adjacent panels and mechanically attaching panels to supports using exposed fasteners in side laps.

1. Material:  [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.0159 inch (0.40 mm)] [0.0209 inch (0.55 mm)] [0.0269 inch (0.70 mm)] thick.

a. Exterior Finish:  [Fluoropolymer] [Siliconized polyester].

b. Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

2. Major-Rib Spacing:  [6 inches (152 mm)] [12 inches (305 mm)] <Insert dimension> o.c.

3. Panel Coverage:  [36 inches (914 mm)] <Insert dimension>.

4. Panel Height:  [0.75 inch (19 mm)] [1.125 inches (29 mm)] [1.188 inches (30 mm)] [1.25 inches (32 mm)] [1.5 inches (38 mm)] <Insert dimension>.

D. Concealed-Fastener Metal Soffit Panels <Insert drawing designation>:  Formed with vertical panel edges and [a single wide recess, centered between panel edges] [flush surface]; with flush joint between panels; with 1-inch- (25-mm-) wide flange for attaching interior finish; designed to be field assembled by lapping and interconnecting side edges of adjacent panels and mechanically attaching through panel to supports using concealed fasteners[ and factory-applied sealant] in side laps.

1. Material:  [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.0209 inch (0.55 mm)] [0.0269 inch (0.70 mm)] thick.

a. Exterior Finish:  [Fluoropolymer] [Siliconized polyester] [Plastisol].

b. Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

2. Panel Coverage:  [12 inches (305 mm)] [16 inches (406 mm)] <Insert dimension>.

3. Panel Height:  [1 inch (25 mm)] [1.5 inches (38 mm)] <Insert dimension>.

2.14 DOORS AND FRAMES

Delete paragraph and subparagraphs below if not required.

A. Fire-Rated Personnel Door Assemblies:  Assemblies complying with NFPA 80 that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire ratings indicated, based on testing according to NFPA 252.

Revise subparagraph below if positive-pressure testing is required.

1. Test Pressure:  Test at atmospheric pressure.

Delete subparagraph below if not applicable or not acceptable to authorities having jurisdiction.

2. Oversize Fire-Rated Door Assemblies:  For units exceeding sizes of tested assemblies, provide certification by a testing agency acceptable to authorities having jurisdiction that doors comply with standard construction requirements for tested and labeled fire-rated door assemblies except for size.

Delete first paragraph and subparagraphs below if personnel doors are specified with other doors in a Division 8 Section.  Personnel doors below are standard with metal building system manufacturers.

B. Swinging Personnel Doors and Frames:  Metal building system manufacturer's standard doors and frames; prepared and reinforced at strike and hinges to receive factory- and field-applied hardware according to ANSI/DHI A115 Series.

If required, revise subparagraph below to include compliance with SDI for types, styles, and design requirements.  Only a limited number of manufacturers provide doors that meet SDI standards.

1. Steel Doors:  1-3/4 inches (44 mm) thick; fabricated from 0.0329-inch- (0.85-mm-) uncoated thickness, metallic-coated steel face sheets; of styles indicated; [seamless] [hemmed] at both vertical edges; with 0.0528-inch- (1.35-mm-) uncoated thickness, inverted metallic-coated steel channels welded to face sheets at top and bottom of door.

Retain one of three subparagraphs below.

a. Core:  Kraft honeycomb with U-factor rating of at least 0.47 Btu/sq. ft. x h x deg F (2.67 W/sq. m x K).

b. Core:  Polystyrene foam with U-factor rating of at least 0.16 Btu/sq. ft. x h x deg F (0.91 W/sq. m x K).

c. Core:  Polyurethane foam with U-factor rating of at least 0.07 Btu/sq. ft. x h x deg F (0.40 W/sq. m x K).

Retain first two subparagraphs below if doors have glazed panel.

d. Glazing Frames:  Steel frames to receive field-installed glass.

e. Glazing:  As specified in Division 8 Section "Glazing."

2. Steel Frames:  Fabricate 2-inch- (51-mm-) wide face frames from 0.0528-inch- (1.35-mm-) uncoated thickness, metallic-coated steel sheet.

a. Type:  [Knocked down for field assembly] [Factory welded].

3. Fabricate concealed stiffeners, reinforcement, edge channels, and moldings from either cold- or hot-rolled steel sheet.

Delete subparagraph and associated subparagraphs below if door hardware is specified with other door hardware in a Division 8 Section.  Hardware below is minimum usually provided by manufacturers.  Revise to suit Project.  Establish hardware sets if more than one type or use of door is required.

4. Hardware:  Comply with ANSI/DHI A115 Series and as follows:

a. Provide hardware for each door leaf, as follows:

Hinges for exterior doors should be fabricated from stainless steel or brass; metal building system manufacturers only offer steel hinges.  Revise subparagraph below to suit Project.

1) Hinges:  Three [plain] [antifriction]-bearing, standard weight, full-mortise, stainless-steel or bronze, template-type hinges; 4-1/2 by 4-1/2 inches (114 by 114 mm), with nonremovable pin.

Standard lockset in subparagraph below is usually cylindrical type.

2) Lockset:  [Key-in-knob cylindrical] [Key-in-lever cylindrical] [Mortise, with lever handle] type.

Delete first subparagraph below if not required.

3) Panic Device:  Touch-bar or push-bar type.

4) Threshold:  Extruded aluminum.

5) Silencers:  Pneumatic rubber; three silencers on strike jambs of single door frames and two silencers on heads of double door frames.

6) Closer:  Surface-applied, standard-duty hydraulic type.

7) Weather Stripping:  Vinyl applied to head and jambs, with vinyl sweep at sill.

b. Provide each pair of double doors with the following hardware in addition to that specified for each leaf:

1) Astragal:  Removable type.

2) Surface Bolts:  Top and bottom of inactive door.

5. Anchors and Accessories:  Manufacturer's standard units, galvanized according to ASTM A 123/A 123M.

6. Fabrication:  Fabricate doors and frames to be rigid; neat in appearance; and free from defects, warp, or buckle.  Provide continuous welds on exposed joints; grind, dress, and make welds smooth, flush, and invisible.

7. Finishes for Personnel Doors and Frames:

a. Surface Preparation:  Clean surfaces with nonpetroleum solvent so surfaces are free of oil and other contaminants.  After cleaning, apply a conversion coating suited to the organic coating to be applied over it.  Clean welds, mechanical connections, and abraded areas, and apply galvanizing repair paint specified below to comply with ASTM A 780.

1) Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

Retain one of two subparagraphs and associated subparagraph below.  Verify availability of baked-enamel finish with manufacturers.

b. Factory Priming for Field-Painted Finish:  Where field painting after installation is indicated, apply the primer specified below immediately after cleaning and pretreating.

Revise first subparagraph below if another primer is required.  Coordinate with Division 9 painting Sections.

1) Shop Primer:  Manufacturer's standard, fast-curing, lead- and chromate-free primer complying with ANSI A250.10 acceptance criteria.

c. Baked-Enamel Finish:  Immediately after cleaning and pretreating, apply manufacturer's standard 2-coat, baked-enamel finish consisting of prime coat and thermosetting topcoat, with a minimum dry film thickness of 1 mil (0.025 mm) for topcoat.

Horizontal-sliding doors are not available from all manufacturers; verify availability.

C. Horizontal-Sliding Doors:  Manufacturer's standard horizontal-sliding door assembly including structural frame, door panels, brackets, guides, tracks, hardware, and installation accessories.

1. Door Frames:  Channels and zees; fabricated from minimum 0.0528-inch- (1.35-mm-) uncoated thickness, metallic-coated steel sheet or structural-steel shapes.

2. Door Panels:  Same material and finish as metal wall panels.

3. Hardware:  Manufacturer's standard metallic-coated steel track, bottom guides, lock angles for side closure, and brackets.  Support each door leaf by two four-wheel trolleys.  Provide metallic-coated steel handle for each leaf, and slide bolt or padlock hasp.  Flash top of track with metallic-coated steel sheet hood.

Overhead coiling and sectional overhead service doors are not provided by metal building system manufacturers.  They should be specified in Division 8.

Insert requirements for hangar doors if required.

2.15 WINDOWS

A. Aluminum Windows:  Metal building system manufacturer's standard, with self-flashing mounting fins, and as follows:

1. Type, Performance Class, and Performance Grade:  Comply with AAMA/NWWDA 101/I.S.2 and as follows:

Retain one or more types of units from three subparagraphs below.  Revise performance class and grade to suit Project.

a. Horizontal-Sliding Units:  [HS-LC25] [HS-C30] <Insert designation>.

b. Single-Hung Units:  [H-LC25] [H-C30] <Insert designation>.

c. Fixed Units:  [F-LC25] [F-C30] <Insert designation>.

2. Aluminum Extrusions:  ASTM B 221 (ASTM B 221M), alloy and temper recommended by manufacturer for strength, corrosion resistance, and application of required finish, but not less than 0.062-inch (1.6-mm) thickness at any location for main frame and sash members.

Retain subparagraph below if required to minimize condensation in cold climates.

a. Thermally Improved Construction:  Fabricate window units with an integral, concealed, low-conductance thermal barrier; located between exterior materials and window members exposed on interior side; in a manner that eliminates direct metal-to-metal contact.

Delete first subparagraph below if not required.

3. Mullions:  Between adjacent windows, fabricated of extruded aluminum matching finish of window units.

4. Fasteners, Anchors, and Clips:  Aluminum, nonmagnetic stainless steel, or other noncorrosive material, compatible with aluminum window members, trim, hardware, anchors, and other components of window units.  Fasteners shall not be exposed, except for attaching hardware.

a. Reinforcement:  Where fasteners screw-anchor into aluminum less than 0.125 inch (3.2 mm) thick, reinforce interior with aluminum or nonmagnetic stainless steel to receive screw threads, or provide standard, noncorrosive, pressed-in, splined grommet nuts.

5. Hardware:  Manufacturer's standard; of aluminum, stainless steel, die-cast steel, malleable iron, or bronze; including the following:

Retain applicable hardware types from list below.

a. Cam-action sweep sash lock and keeper at meeting rails.

b. Spring-loaded, snap-type lock at jambs.

c. Pole-operated, cam-action locking device on meeting rail where rail is more than 72 inches (1830 mm) above floor.

d. Lift handles for single-hung units.

e. Nylon sash rollers for horizontal-sliding units.

f. Steel or bronze operating arms.

Retain two subparagraphs below for horizontal-sliding and single-hung units.

6. Sliding-Type Weather Stripping:  Woven-pile weather stripping of wool, polypropylene, or nylon pile and resin-impregnated backing fabric; complying with AAMA 701/702.

7. Insect Screens:  Provide removable insect screen on each operable exterior sash, with screen frame finished to match window unit, and as follows:

Retain one of three screen fabrics below.

a. Aluminum Wire Fabric:  18-by-18 (1.1-by-1.1-mm), 18-by-16 (1.1-by-1.3-mm), or 18-by-14 (1.1-by-1.5-mm) mesh of 0.013-inch- (0.3-mm-) diameter, coated aluminum wire; complying with FS RR-W-365, Type VII.

b. Glass-Fiber Mesh Fabric:  18-by-16 (1.1-by-1.3-mm) or 18-by-14 (1.1-by-1.5-mm) mesh of PVC-coated, glass-fiber threads; woven and fused to form a fabric mesh; complying with ASTM D 3656.

c. Fabric:  Manufacturer's standard aluminum wire or glass-fiber-mesh fabric.

Select one of two finishes below or revise to suit Project.

8. Finish:  Mill.

Metal building system manufacturers' standard color for baked-enamel finish is bronze.

9. Baked-Enamel Finish:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  acid-chromate-fluoride-phosphate conversion coating; Organic Coating:  as specified below).  Apply baked enamel complying with paint manufacturer's written instructions for cleaning, conversion coating, and painting.

First subparagraph below references AAMA standard for pigmented organic coating on extrusions and panels.

a. Organic Coating:  Thermosetting, modified-acrylic enamel primer/topcoat system complying with AAMA 2603 except with a minimum dry film thickness of 0.7 mil (0.02 mm), medium gloss.

1) Color:  [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range].

If needed, insert requirements for steel windows.  Aluminum windows are most common with manufacturers.

B. Glazing:  Comply with requirements specified in Division 8 Section "Glazing."

Retain paragraph above or paragraph and subparagraphs below.

C. Glazing:

Retain one of more types of glass from six subparagraphs below.  Materials below are standard with metal building system manufacturers.  If retaining more than one, indicate location of each on Drawings.

1. Clear Float Glass:  ASTM C 1036, Type I, Class 1, Quality-Q3, 3 mm thick.

2. Tempered Float Glass:  ASTM C 1048, Kind HS or FT, Condition A, Type I, Quality-Q3, Class 1 (clear), 3 mm thick.

3. Tinted Float Glass:  ASTM C 1036, Type I, Class 2, Quality-Q3, 3 mm thick, [manufacturer's standard color] <Insert color>.

4. Patterned Float Glass:  ASTM C 1036, Type II, Class 1 (clear), Form 3 (patterned), Quality-Q7, Pattern P3 (random), 3 mm thick.

5. Insulating Glass:  Units complying with ASTM E 774 for Class CBA units and consisting of two lites of 2.5-mm-thick clear float glass separated by a dehydrated air space, with a total overall unit thickness of 7/16 inch (11 mm).  Seal with manufacturer's standard sealant.

6. Safety Glass:  Category I and II materials complying with testing requirements in 16 CFR 1201.

Delete first subparagraph below if not applicable.  Not all manufacturers participate in third-party testing programs.

a. Subject to compliance with requirements, permanently mark safety glass with certification label of the Safety Glazing Certification Council or another certification agency acceptable to authorities having jurisdiction.

7. Glazing Stops:  Screw-applied or snap-on glazing stops coordinated with Division 8 Section "Glazing" and glazing system indicated.  Match material and finish of window frames.

Retain subparagraph below unless preglazing is impractical.  Occasionally, anchorage system will not permit preglazing.

8. Factory-Glazed Fabrication:  Glaze window units in the factory to greatest extent possible and practical for applications indicated.  Comply with requirements in Division 8 Section "Glazing."

2.16 ACCESSORIES

This Article includes metal building system manufacturers' standard accessories.  If more stringent requirements are needed, delete Article and insert reference to specific Division 7 Sections in "Related Sections" Paragraph in Part 1 "Summary" Article,.

Retain accessories below required to suit Project.

A. General:  Provide accessories as standard with metal building system manufacturer and as specified.  Fabricate and finish accessories at the factory to greatest extent possible, by manufacturer's standard procedures and processes.  Comply with indicated profiles and with dimensional and structural requirements.

1. Form exposed sheet metal accessories that are without excessive oil canning, buckling, and tool marks and that are true to line and levels indicated, with exposed edges folded back to form hems.

B. Roof Panel Accessories:  Provide components required for a complete metal roof panel assembly including copings, fasciae, corner units, ridge closures, clips, sealants, gaskets, fillers, closure strips, and similar items.  Match material and finish of metal roof panels, unless otherwise indicated.

1. Closures:  Provide closures at eaves and ridges, fabricated of same material as metal roof panels.

Retain first two subparagraphs below only with standing-seam metal roof panels.

2. Clips:  Manufacturer's standard, formed from [steel sheet] [stainless-steel sheet], designed to withstand negative-load requirements.

3. Cleats:  Manufacturer's standard, mechanically seamed cleats formed from [steel sheet] [stainless-steel sheet or nylon-coated aluminum sheet].

4. Backing Plates:  Provide metal backing plates at panel end splices, fabricated from material recommended by manufacturer.

5. Closure Strips:  Closed-cell, expanded, cellular, rubber or crosslinked, polyolefin-foam or closed-cell laminated polyethylene; minimum 1-inch- (25-mm-) thick, flexible closure strips; cut or premolded to match metal roof panel profile.  Provide closure strips where indicated or necessary to ensure weathertight construction.

Retain subparagraph below if thermal bridging is a concern.

6. Thermal Spacer Blocks:  Where metal panels attach directly to purlins, provide thermal spacer blocks of thickness required to provide 1 inch (25 mm) standoff; fabricated from extruded polystyrene.

C. Wall Panel Accessories:  Provide components required for a complete metal wall panel assembly including copings, fasciae, mullions, sills, corner units, clips, sealants, gaskets, fillers, closure strips, and similar items.  Match material and finish of metal wall panels, unless otherwise indicated.

1. Closures:  Provide closures at eaves and rakes, fabricated of same material as metal wall panels.

Delete first subparagraph below if not required; some manufacturers do not provide backing plates for wall panels.

2. Backing Plates:  Provide metal backing plates at panel end splices, fabricated from material recommended by manufacturer.

3. Closure Strips:  Closed-cell, expanded, cellular, rubber or crosslinked, polyolefin-foam or closed-cell laminated polyethylene; minimum 1-inch- (25-mm-) thick, flexible closure strips; cut or premolded to match metal wall panel profile.  Provide closure strips where indicated or necessary to ensure weathertight construction.

D. Flashing and Trim:  Formed from minimum 0.0159-inch- (0.40-mm-) thick, metallic-coated steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating; finished to match adjacent metal panels.

1. Provide flashing and trim as required to seal against weather and to provide finished appearance.  Locations include, but are not limited to, eaves, rakes, corners, bases, framed openings, ridges, fasciae, and fillers.

Retain second option in subparagraph below if head and jambs of doors are subject to excessive impact.  Painted subframing is often more durable.

2. Opening Trim:  Minimum [0.0159-inch- (0.40-mm-)] [0.0269-inch- (0.70-mm-)] thick, metallic-coated steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating.  Trim head and jamb of door openings, and head, jamb, and sill of other openings.

E. Gutters:  Formed from minimum 0.0159-inch- (0.40-mm-) thick, metallic-coated steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating; finished to match roof fascia and rake trim.  Match profile of gable trim, complete with end pieces, outlet tubes, and other special pieces as required.  Fabricate in minimum 96-inch- (2438-mm-) long sections, sized according to SMACNA's "Architectural Sheet Metal Manual."

1. Gutter Supports:  Fabricated from same material and finish as gutters; spaced 36 inches (900 mm) o.c.

2. Strainers:  Bronze, copper, or aluminum wire ball type at outlets.

F. Downspouts:  Formed from 0.0159-inch- (0.4-mm-) thick, zinc-coated (galvanized) steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating; finished to match metal wall panels.  Fabricate in minimum 10-foot- (3-m-) long sections, complete with formed elbows and offsets.

1. Mounting Straps:  Fabricated from same material and finish as gutters; spaced 10 feet (3 m) o.c.

G. Roof Ventilators:  Gravity type, complete with hardware, flashing, closures, and fittings.

Retain one of two subparagraphs and associated subparagraphs below.

1. Circular-Revolving Type:  Minimum [20-inch- (508-mm-)] <Insert dimension> diameter throat opening; fabricated from minimum 0.0209-inch- (0.55-mm-) thick, metallic-coated steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating; finished to match metal roof panels; with matching base and rain cap.

a. Type:  [Directional] [Stationary] revolving.

b. Bird Screening:  Galvanized steel, 1/2-inch- (13-mm-) square mesh, 0.041-inch (1.04-mm) wire, or aluminum, 1/2-inch- (13-mm-) square mesh, 0.063-inch (1.6-mm) wire.

Retain first subparagraph below if required.

c. Dampers:  Spring-loaded, butterfly type; pull-chain operation; with pull chain of length required to reach within 36 inches (914 mm) above floor.

d. Reinforce and brace units, with joints properly formed and edges beaded to be watertight under normal positive-pressure conditions.

e. Mount ventilators on square-to-round bases for ridge or on-slope mounting, designed to match roof pitch and roll formed to match metal roof panel profile.

2. Continuous or Sectional-Ridge Type:  Factory-engineered and -fabricated, continuous unit; fabricated from minimum 0.0159-inch- (0.4-mm-) thick, metallic-coated steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating; finished to match metal roof panels.  Fabricated in minimum 10-foot- (3-m-) long sections.  Provide throat size and total length indicated, complete with side baffles, ventilator assembly, end caps, splice plates, and reinforcing diaphragms.

a. Bird Screening:  Galvanized steel, 1/2-inch- (13-mm-) square mesh, 0.041-inch (1.04-mm) wire, or aluminum, 1/2-inch- (13-mm-) square mesh, 0.063-inch (1.6-mm) wire.

Retain first subparagraph below if required.

b. Dampers:  Manually operated, spring-loaded, vertically rising type; chain and worm gear operator; with chain of length required to reach within 36 inches (914 mm) above floor.

c. Throat Size:  [9 inches (229 mm)] [12 inches (305 mm)] [9 or 12 inches (229 or 305 mm), as standard with manufacturer, and as required to comply with ventilation requirements].

Delete paragraph below if louvers are specified in Division 10 Section "Louvers and Vents."  Manufacturers' standard sizes are typically 3 by 3 feet (0.9 by 0.9 m), 3 by 4 feet (0.9 by 1.2 m), and 4 by 4 feet (1.2 by 1.2 m).  Verify availability with manufacturers selected.

H. Louvers:  Size and design indicated; self-framing and self-flashing.  Fabricate welded frames from minimum 0.0428-inch- (1.1-mm-) thick, metallic-coated steel sheet; finished to match metal wall panels.  Form blades from 0.0329-inch- (0.85-mm-) thick, metallic-coated steel sheet; folded or beaded at edges, set at an angle that excludes driving rains, and secured to frames by riveting or welding.  Fabricate louvers with equal blade spacing to produce uniform appearance.

Retain one of two "Blades" subparagraphs below.  If retaining both, indicate location of each on Drawings.

1. Blades:  Fixed.

2. Blades:  Adjustable type, with weather-stripped edges, and manually operated by hand crank or pull chain.

3. Free Area:  Not less than [7.0 sq. ft. (0.65 sq. m)] <Insert free area> for 48-inch- (1220-mm-) wide by 48-inch- (1220-mm-) high louver.

4. Bird Screening:  Galvanized steel, 1/2-inch- (13-mm-) square mesh, 0.041-inch (1.04-mm) wire; with rewirable frames, removable and secured with clips, fabricated of same kind and form of metal and with same finish as for louvers.

Interior mounting is for interior face of fixed louvers; exterior mounting is for exterior or interior face of adjustable louvers.

a. Mounting:  [Interior] [Exterior] face of louvers.

5. Vertical Mullions:  Provide mullions at spacings recommended by manufacturer, or 72 inches (1830 mm) o.c., whichever is less.

Delete paragraph and subparagraphs below if roof curbs are specified in Division 7 Section "Roof Accessories."  Not all manufacturers provide roof curbs; verify availability.

I. Roof Curbs:  Fabricated from minimum 0.0428-inch- (1.1-mm-) thick, metallic-coated steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating; finished to match metal roof panels; with welded top box and bottom skirt, and integral full-length cricket; capable of withstanding indicated loads and of size and height indicated.

1. Curb Subframing:  Minimum 0.0528-inch- (1.35-mm-) thick, angle-, C-, or Z-shaped steel sheet.

Retain subparagraph below if required.

2. Insulation:  1-inch- (25-mm-) thick, rigid type.

Snow guards are not provided by metal building system manufacturers.

J. Snow Guards:  Prefabricated, noncorrosive units designed to be installed without penetrating roof panel, with predrilled holes and clamps or hooks for anchoring.

Retain one type of snow guard from two subparagraphs and associated subparagraphs below.  Because each snow-guard product is unique, insert manufacturer's proprietary requirements.

1. Plastic-Type Guard:  Polycarbonate, designed for attachment to roof surface using silicone or polyurethane sealant or adhesive tape, as recommended by manufacturer.

a. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

b. Products:  Subject to compliance with requirements, provide one of the following:

1) Polar Blox, Inc.; Polar Blox.

2) Sno-Gem, Inc.; SNO-GEM.

3) Snojax, Inc.; SNOJAX.

4) <Insert manufacturer's name.>

2. Metal-Type Guard:  Consisting of aluminum or stainless-steel rods or bars held in place by supports clamped to vertical ribs of standing-seam roof.

a. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

b. Products:  Subject to compliance with requirements, provide one of the following:

1) LMCurbs; S-5! SnoFence.

2) Riddell & Company, Inc.; Snobar.

3) Snow Management Systems; Vermont Snowguard.

4) <Insert manufacturer's name.>

Service walkways are not available from all manufacturers.

K. Service Walkways:  Fabricated from 0.0428-inch- (1.1-mm-) thick, metallic-coated steel plank grating; with slip-resistant pattern; [18-inch (457-mm)] [24-inch (610-mm)] [36-inch (914-mm)] overall width.  Support walkways on framing system anchored to metal roof panels without penetrating panels; with predrilled holes and clamps or hooks for anchoring.

Pipe flashing below is not designed for high-temperature applications.

L. Pipe Flashing:  Premolded, EPDM pipe collar with flexible aluminum ring bonded to base.

2.17 FINISHES, GENERAL

A. Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

2.18 SOURCE QUALITY CONTROL

Retain one of first two paragraphs and associated subparagraphs below.  Retain first paragraph if authorities having jurisdiction do not require that Owner engage a special inspector.  See "Testing and Inspecting Considerations" Article in the Evaluations.

A. Testing Agency:  [Owner will engage] [Engage] a qualified testing and inspecting agency to perform the following tests and inspections and to submit reports.

Some model codes require that special inspections be performed for steel frame construction.  Revise this Article to suit requirements of authorities having jurisdiction.  First paragraph below uses the term "Special Inspector," which is consistent with the IBC.  Change this term to match that used to identify the entity as defined by authorities having jurisdiction.

B. Special Inspector:  Owner will engage a qualified special inspector to perform the following tests and inspections and to submit reports.  Special Inspector will verify that manufacturer maintains detailed fabrication and quality-control procedures and will review the completeness and adequacy of those procedures to perform the Work.

Retain subparagraph and associated subparagraph below and delete "Tests and Inspections" Paragraph if requiring AISC-certified manufacturers and if authorities having jurisdiction approve fabrication work without special inspections.  If retaining, also retain "Manufacturer Qualifications" Paragraph in Part 1 "Quality Assurance" Article.

1. Special inspections will not be required if fabrication is performed by a manufacturer registered and approved by authorities having jurisdiction to perform such Work without special inspection.

a. After fabrication, submit certificate of compliance with copy to authorities having jurisdiction certifying that Work was performed according to Contract requirements.

C. Tests and Inspections:

RCSC prescribes inspection for snug-tightened joints and testing and inspection for each method of pretensioning joints.

1. Bolted Connections:  Shop-bolted connections shall be[ tested and] inspected according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts."

2. Welded Connections:  In addition to visual inspection, shop-welded connections shall be tested and inspected according to AWS D1.1 and the following inspection procedures, at inspector's option:

Select applicable nondestructive testing methods from four subparagraphs below.  Revise to indicate extent of weld inspections if applicable and to add alternative acceptance criteria to AWS D1.1 if required.

a. Liquid Penetrant Inspection:  ASTM E 165.

b. Magnetic Particle Inspection:  ASTM E 709; performed on root pass and on finished weld.  Cracks or zones of incomplete fusion or penetration will not be accepted.

c. Ultrasonic Inspection:  ASTM E 164.

d. Radiographic Inspection:  ASTM E 94.

D. Correct deficiencies in Work that test reports and inspections indicate do not comply with the Contract Documents.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, areas, and conditions, with Erector present, for compliance with requirements for installation tolerances and other conditions affecting performance of work.

Delete subparagraph below if not required.

1. For the record, prepare written report, endorsed by Erector, listing conditions detrimental to performance of work.

B. Before erection proceeds, survey elevations and locations of concrete- and masonry-bearing surfaces and locations of anchor rods, bearing plates, and other embedments to receive structural framing, with Erector present, for compliance with requirements and metal building system manufacturer's tolerances.

1. Engage land surveyor to perform surveying.

C. Proceed with erection only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Clean and prepare surfaces to be painted according to manufacturer's written instructions for each particular substrate condition.

B. Provide temporary shores, guys, braces, and other supports during erection to keep structural framing secure, plumb, and in alignment against temporary construction loads and loads equal in intensity to design loads.  Remove temporary supports when permanent structural framing, connections, and bracing are in place, unless otherwise indicated.

3.3 ERECTION OF STRUCTURAL FRAMING

A. Erect metal building system according to manufacturer's written erection instructions and erection drawings.

B. Do not field cut, drill, or alter structural members without written approval from metal building system manufacturer's professional engineer.

C. Set structural framing accurately in locations and to elevations indicated and according to AISC specifications referenced in this Section.  Maintain structural stability of frame during erection.

Add leveling plates to first paragraph below if required.

D. Base[ and Bearing] Plates:  Clean concrete- and masonry-bearing surfaces of bond-reducing materials, and roughen surfaces prior to setting plates.  Clean bottom surface of plates.

1. Set plates for structural members on wedges, shims, or setting nuts as required.

2. Tighten anchor rods after supported members have been positioned and plumbed.  Do not remove wedges or shims but, if protruding, cut off flush with edge of plate before packing with grout.

3. Promptly pack grout solidly between bearing surfaces and plates so no voids remain.  Neatly finish exposed surfaces; protect grout and allow to cure.  Comply with manufacturer's written installation instructions for shrinkage-resistant grouts.

E. Align and adjust structural framing before permanently fastening.  Before assembly, clean bearing surfaces and other surfaces that will be in permanent contact with framing.  Perform necessary adjustments to compensate for discrepancies in elevations and alignment.

1. Level and plumb individual members of structure.

Review subparagraph below with structural engineer and revise to suit Project.  Delete if not required.

2. Make allowances for difference between temperature at time of erection and mean temperature when structure will be completed and in service.

F. Primary Framing and End Walls:  Erect framing true to line, level, plumb, rigid, and secure.  Level baseplates to a true even plane with full bearing to supporting structures, set with double-nutted anchor bolts.  Use grout to obtain uniform bearing and to maintain a level base-line elevation.  Moist cure grout for not less than seven days after placement.

In turn-of-the-nut method in publication referenced in subparagraph below, bolts must first be snug tight, which is defined as the full effect of a man using an ordinary spud wrench.  Nuts are then turned an additional one-third of a turn to produce minimum allowed tension.  Refer to RCSC for specific requirements.

1. Make field connections using high-strength bolts installed according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts" for type of bolt and type of joint specified.

a. Joint Type:  Snug tightened or pretensioned.

G. Secondary Framing:  Erect framing true to line, level, plumb, rigid, and secure.  Fasten secondary framing to primary framing using clips with field connections using non-high-strength bolts.

1. Provide rake or gable purlins with tight-fitting closure channels and fasciae.

2. Locate and space wall girts to suit openings such as doors and windows.

Delete first subparagraph below if no canopy.

3. Locate canopy framing as indicated.

4. Provide supplemental framing at entire perimeter of openings, including doors, windows, louvers, ventilators, and other penetrations of roof and walls.

Retain first paragraph and subparagraphs below if steel joist purlins are required; otherwise, delete.

H. Steel Joists[ and Joist Girders]:  Install joists[, girders,] and accessories plumb, square, and true to line; securely fasten to supporting construction according to SJI's "Standard Specifications, Load Tables, and Weight Tables for Steel Joists and Joist Girders," joist manufacturer's written recommendations, and requirements in this Section.

1. Before installation, splice joists delivered to Project site in more than one piece.

2. Space, adjust, and align joists accurately in location before permanently fastening.

3. Install temporary bracing and erection bridging, connections, and anchors to ensure that joists are stabilized during construction.

4. Bolt joists to supporting steel framework using carbon-steel bolts, unless otherwise indicated.

Retain subparagraph above or first subparagraph below.

5. Bolt joists to supporting steel framework using high-strength structural bolts, unless otherwise indicated.  Comply with RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts" for high-strength structural bolt installation and tightening requirements.

6. Install and connect bridging concurrently with joist erection, before construction loads are applied.  Anchor ends of bridging lines at top and bottom chords if terminating at walls or beams.

I. Bracing:  Install bracing in roof and sidewalls where indicated on erection drawings.

1. Tighten rod and cable bracing to avoid sag.

2. Locate interior end-bay bracing only where indicated.

J. Framing for Openings:  Provide shapes of proper design and size to reinforce openings and to carry loads and vibrations imposed, including equipment furnished under mechanical and electrical work.  Securely attach to structural framing.

K. Erection Tolerances:  Maintain erection tolerances of structural framing within AISC's "Code of Standard Practice for Steel Buildings and Bridges."

3.4 METAL PANEL INSTALLATION, GENERAL

A. Examination:  Examine primary and secondary framing to verify that structural panel support members and anchorages have been installed within alignment tolerances required by manufacturer.

1. Examine roughing-in for components and systems penetrating metal panels to verify actual locations of penetrations relative to seam locations of metal panels before metal panel installation.

B. General:  Anchor metal panels and other components of the Work securely in place, with provisions for thermal and structural movement.

1. Field cut metal panels as required for doors, windows, and other openings.  Cut openings as small as possible, neatly to size required, and without damage to adjacent metal panel finishes.

a. Field cutting of metal panels by torch is not permitted unless approved in writing by manufacturer.

2. Install metal panels perpendicular to structural supports, unless otherwise indicated.

3. Flash and seal metal panels with weather closures at perimeter of openings and similar elements.  Fasten with self-tapping screws.

4. Locate and space fastenings in uniform vertical and horizontal alignment.

5. Locate metal panel splices over, but not attached to, structural supports with end laps in alignment.  Stagger panel splices and end laps to avoid a four-panel lap splice condition.

6. Lap metal flashing over metal panels to allow moisture to run over and off the material.

C. Lap-Seam Metal Panels:  Install screw fasteners with power tools having controlled torque adjusted to compress neoprene washer tightly without damage to washer, screw threads, or metal panels.  Install screws in predrilled holes.

1. Arrange and nest side-lap joints so prevailing winds blow over, not into, lapped joints.  Lap ribbed or fluted sheets one full rib corrugation.  Apply metal panels and associated items for neat and weathertight enclosure.  Avoid "panel creep" or application not true to line.

D. Metal Protection:  Where dissimilar metals will contact each other or corrosive substrates, protect against galvanic action by painting contact surfaces with bituminous coating, by applying rubberized-asphalt underlayment to each contact surface, or by other permanent separation as recommended by metal roof panel manufacturer.

E. Joint Sealers:  Install gaskets, joint fillers, and sealants where indicated and where required for weatherproof performance of metal panel assemblies.  Provide types of gaskets, fillers, and sealants indicated or, if not indicated, types recommended by metal panel manufacturer.

1. Seal metal panel end laps with double beads of tape or sealant, full width of panel.  Seal side joints where recommended by metal panel manufacturer.

Delete subparagraph below if joint-sealant work is not part of this Section.

2. Prepare joints and apply sealants to comply with requirements in Division 7 Section "Joint Sealants."

3.5 METAL ROOF PANEL INSTALLATION

A. General:  Provide metal roof panels of full length from eave to ridge, unless otherwise indicated or restricted by shipping limitations.

1. Install ridge[ and hip] caps as metal roof panel work proceeds.

2. Flash and seal metal roof panels with weather closures at eaves and rakes.  Fasten with self-tapping screws.

B. Field-Assembled, Standing-Seam Metal Roof Panels:  Fasten metal roof panels to supports with concealed clips at each standing-seam joint at location, spacing, and with fasteners recommended by manufacturer.

1. Install clips to supports with self-tapping fasteners.

2. Install pressure plates at locations indicated in manufacturer's written installation instructions.

3. Snap Joint:  Nest standing seams and fasten together by interlocking and completely engaging factory-applied sealant.

Retain subparagraph above or first subparagraph below; coordinate with products selected in Part 2.

4. Seamed Joint:  Crimp standing seams with manufacturer-approved motorized seamer tool so clip, metal roof panel, and factory-applied sealant are completely engaged.

5. Rigidly fasten eave end of metal roof panels and allow ridge end free movement due to thermal expansion and contraction.  Predrill panels for fasteners.

6. Provide metal closures at [peaks] [rake edges] [rake walls] [and] each side of ridge[ and hip] caps.

C. Field-Assembled, Lap-Seam Metal Roof Panels:  Fasten metal roof panels to supports with exposed fasteners at each lapped joint at location and spacing recommended by manufacturer.

1. Provide metal-backed washers under heads of exposed fasteners bearing on weather side of metal roof panels.

2. Provide sealant tape at lapped joints of metal roof panels and between panels and protruding equipment, vents, and accessories.

3. Apply a continuous ribbon of sealant tape to weather-side surface of fastenings on end laps and on side laps of nesting-type metal panels; on side laps of ribbed or fluted metal panels; and elsewhere as needed to make metal panels weatherproof to driving rains.

4. At metal panel splices, nest panels with minimum 6-inch (152-mm) end lap, sealed with butyl-rubber sealant and fastened together by interlocking clamping plates.

D. Metal Fascia Panels:  Align bottom of metal panels and fasten with blind rivets, bolts, or self-tapping screws.  Flash and seal metal panels with weather closures where fasciae meet soffits, along lower panel edges, and at perimeter of all openings.

Generally retain paragraph below only for highly finished metal roof panel assemblies.

E. Metal Roof Panel Installation Tolerances:  Shim and align metal roof panels within installed tolerance of 1/4 inch in 20 feet (6 mm in 6 m) on slope and location lines as indicated and within 1/8-inch (3-mm) offset of adjoining faces and of alignment of matching profiles.

3.6 METAL WALL PANEL INSTALLATION

A. General:  Install metal wall panels in orientation, sizes, and locations indicated on Drawings.  Install panels perpendicular to girts, extending full height of building, unless otherwise indicated.  Anchor metal wall panels and other components of the Work securely in place, with provisions for thermal and structural movement.

1. Unless otherwise indicated, begin metal panel installation at corners with center of rib lined up with line of framing.

2. Shim or otherwise plumb substrates receiving metal wall panels.

3. When two rows of metal panels are required, lap panels 4 inches (102 mm) minimum.

4. When building height requires two rows of metal panels at gable ends, align lap of gable panels over metal wall panels at eave height.

5. Rigidly fasten base end of metal wall panels and allow eave end free movement due to thermal expansion and contraction.  Predrill panels.

6. Flash and seal metal wall panels with weather closures at eaves, rakes, and at perimeter of all openings.  Fasten with self-tapping screws.

7. Install screw fasteners in predrilled holes.

8. Install flashing and trim as metal wall panel work proceeds.

9. Apply elastomeric sealant continuously between metal base channel (sill angle) and concrete, and elsewhere as indicated, or if not indicated, as necessary for waterproofing.

10. Align bottom of metal wall panels and fasten with blind rivets, bolts, or self-tapping screws.

11. Provide weatherproof escutcheons for pipe and conduit penetrating exterior walls.

B. Field-Assembled, Metal Wall Panels:  Install metal wall panels on exterior side of girts.  Attach metal wall panels to supports with fasteners as recommended by manufacturer.

1. Field-Insulated Assemblies:  Install thermal insulation as specified.  Install metal liner panels over insulation on interior side of girts at locations indicated.  Fasten with exposed fasteners as recommended by manufacturer.

C. Factory-Assembled, Insulated Metal Wall Panels:  Install insulated metal wall panels on exterior side of girts.  Attach panels to supports at each panel joint with concealed clip and fasteners at maximum 42 inches (1067 mm) o.c., but spaced not more than as recommended by manufacturer.  Fully engage tongue and groove of adjacent insulated metal wall panels.

1. Install clips to supports with self-tapping fasteners.

2. Apply continuous ribbon of sealant to panel joint on concealed side of insulated metal wall panels as vapor seal; apply sealant to panel joint on exposed side of panels for weather seal.

Generally retain paragraph below only for highly finished metal wall panel assemblies.

D. Installation Tolerances:  Shim and align metal wall panels within installed tolerance of 1/4 inch in 20 feet (6 mm in 6 m), nonaccumulative, on level, plumb, and location lines as indicated and within 1/8-inch (3-mm) offset of adjoining faces and of alignment of matching profiles.

3.7 TRANSLUCENT PANEL INSTALLATION

A. Translucent Panels:  Attach translucent panels to structural framing with fasteners according to manufacturer's written instructions.  Install panels perpendicular to supports, unless otherwise indicated.  Anchor translucent panels securely in place, with provisions for thermal and structural movement.

1. Provide end laps of not less than 6 inches (152 mm) and side laps of not less than 1-1/2-inch (38-mm) corrugations for metal roof panels.

2. Provide end laps of not less than 4 inches (102 mm) and side laps of not less than 1-1/2-inch (38-mm) corrugations for metal wall panels.

3. Align horizontal laps with adjacent metal panels.

4. Seal intermediate end laps and side laps of translucent panels with translucent mastic.

3.8 METAL SOFFIT PANEL INSTALLATION

A. Provide metal soffit panels full width of soffits.  Install panels perpendicular to support framing.

B. Flash and seal metal soffit panels with weather closures where panels meet walls and at perimeter of all openings.

3.9 THERMAL INSULATION INSTALLATION FOR FIELD-ASSEMBLED METAL PANELS

Delete this Article if insulation is not required or if only factory-assembled, insulated metal wall panels are used.

A. General:  Install insulation concurrently with metal wall panel installation, in thickness indicated to cover entire wall, according to manufacturer's written instructions.

1. Set vapor-retarder-faced units with vapor retarder to warm side of construction, unless otherwise indicated.  Do not obstruct ventilation spaces, except for firestopping.

Delete subparagraph above and first subparagraph below if no units are furnished with vapor-retarder faces.

2. Tape joints and ruptures in vapor retarder, and seal each continuous area of insulation to surrounding construction to ensure airtight installation.

3. Install factory-laminated, vapor-retarder-faced blankets straight and true in one-piece lengths with both sets of facing tabs sealed to provide a complete vapor retarder.

Retain subparagraph above or below.

4. Install blankets straight and true in one-piece lengths.  Install vapor retarder over insulation with both sets of facing tabs sealed to provide a complete vapor retarder.

B. Blanket Roof Insulation:  Comply with the following installation method:

Retain one of four installation subparagraphs below.  If needed, insert requirements for "Simple Saver System" by Thermal Design Inc., which consists of steel straps and polyethylene liner fabric supporting insulation that is the full depth of purlins.

1. Over-Framing Installation:  Extend insulation and vapor retarder over and perpendicular to top flange of secondary framing members.  Hold in place by metal roof panels fastened to secondary framing.

Subparagraph below accommodates thicker insulation with no compression at purlins; however, thermal bridging occurs through metal roof panels in direct contact with structure.  Thermal spacer blocks can be added if required.

2. Between-Purlin Installation:  Extend insulation and vapor retarder between purlins.  Carry vapor-retarder facing tabs up and over purlin, overlapping adjoining facing of next insulation course maintaining continuity of retarder.  Hold in place with bands and crossbands below insulation.

Subparagraph below accommodates thicker insulation with compression occurring at structure.  Thermal spacer blocks can be added to retard heat transfer at these locations.

3. Over-Purlin-with-Spacer-Block Installation:  Extend insulation and vapor retarder over and perpendicular to top flange of secondary framing members.  Install layer of filler insulation over first layer to fill space formed by metal roof panel standoffs.  Hold in place by panels fastened to standoffs.

First subparagraph below accommodates thicker insulation with no compression.

4. Two-Layers-between-Purlin-with-Spacer-Block Installation:  Extend insulation and vapor retarder between purlins.  Carry vapor-retarder facing tabs up and over purlin, overlapping adjoining facing of next insulation course maintaining continuity of retarder.  Install layer of filler insulation over first layer to fill space between purlins formed by thermal spacer blocks.  Hold in place with bands and crossbands below insulation.

5. Retainer Strips:  Install retainer strips at each longitudinal insulation joint, straight and taut, nesting with secondary framing to hold insulation in place.

Retain subparagraph below if thermal bridging is a concern.

6. Thermal Spacer Blocks:  Where metal roof panels attach directly to purlins, install thermal spacer blocks.

Retain one of two paragraphs and associated subparagraphs below for walls.

C. Blanket Wall Insulation:  Extend insulation and vapor retarder over and perpendicular to top flange of secondary framing members.  Hold in place by metal wall panels fastened to secondary framing.

1. Retainer Strips:  Install retainer strips at each longitudinal insulation joint, straight and taut, nesting with secondary framing to hold insulation in place.

2. Sound-Absorption Insulation:  Where sound-absorption requirement is indicated for metal liner panels, cover insulation with polyethylene film and provide inserts of wire mesh to form acoustical spacer grid.

D. Board Wall Insulation:  Extend board insulation in field-assembled metal wall panel assembly in thickness indicated to cover entire wall.  Comply with installation requirements in Division 7 Section "Building Insulation."

Revise subparagraph below if gypsum board thermal barrier is required instead of metal liner panel, or include in Division 9 Section "Gypsum Board Assemblies."  Gypsum board also requires additional metal supports.

1. Retain insulation in place by adhesive within integral pockets within metal wall panels, or metal clips and straps spaced at intervals recommended by insulation manufacturer to hold insulation securely in place.  Maintain cavity width between insulation and metal liner panel of dimension indicated.

3.10 DOOR AND FRAME INSTALLATION

Retain door types in this Article that are specified in Part 2.

A. General:  Install doors and frames plumb, rigid, properly aligned, and securely fastened in place according to manufacturer's written instructions.  Coordinate installation with wall flashings and other components.  Seal perimeter of each door frame with elastomeric sealant used for metal wall panels.

B. Personnel Doors and Frames:  Install doors and frames according to ANSI A250.8.  Shim as necessary to comply with DHI A115.IG.  Fit non-fire-rated doors accurately in their respective frames, with the following clearances:

1. Between Doors and Frames at Jambs and Head:  1/8 inch (3 mm).

2. Between Edges of Pairs of Doors:  1/8 inch (3 mm).

3. At Door Sills with Threshold:  3/8 inch (9.5 mm).

4. At Door Sills without Threshold:  3/4 inch (19.1 mm).

Retain subparagraph below if required.

5. At fire-rated openings, install frames according to, and doors with clearances specified in, NFPA 80.

C. Sliding Service Doors:  Bolt support angles to opening head members through factory-punched holes.  Bolt door tracks to support angles at maximum 24 inches (610 mm) o.c.  Set doors and operating equipment with necessary hardware, jamb and head mold stops, continuous hood flashing, anchors, inserts, hangers, and equipment supports.

Delete paragraph below if doors are preglazed.

D. Field Glazing:  Comply with installation requirements in Division 8 Section "Glazing."

Delete paragraph and subparagraphs below if hardware is specified in Division 8 Section "Door Hardware."

E. Door Hardware:  Mount units at heights indicated in DHI's "Recommended Locations for Architectural Hardware for Standard Steel Doors and Frames."

1. Install surface-mounted items after finishes have been completed on substrates involved.

2. Set units level, plumb, and true to line and location.  Adjust and reinforce attachment substrates as necessary for proper installation and operation.

3. Drill and countersink units that are not factory prepared for anchorage fasteners.  Space fasteners and anchors according to industry standards.

4. Set thresholds for exterior doors in full bed of butyl-rubber or polyisobutylene mastic sealant complying with requirements specified in Division 7 Section "Joint Sealants."

3.11 WINDOW INSTALLATION

Delete this Article if windows are specified in a Division 8 Section.

A. General:  Install windows plumb, rigid, properly aligned, without warp or rack of frames or sash, and securely fastened in place according to manufacturer's written instructions.  Coordinate installation with wall flashings and other components.  Seal perimeter of each window frame with elastomeric sealant used for metal wall panels.

1. Separate dissimilar materials from sources of corrosion or electrolytic action at points of contact with other materials by complying with requirements specified in "Dissimilar Materials" Paragraph in Appendix B in AAMA/NWWDA 101/I.S.2.

B. Set sill members in bed of sealant or with gaskets, as indicated, for weathertight construction.

C. Install windows and components to drain condensation, water penetrating joints, and moisture migrating within windows to the exterior.

D. Mount screens direct to frames with tapped screw clips.

Delete paragraph below for factory-glazed windows.

E. Field Glazing:  Comply with installation requirements in Division 8 Section "Glazing."

3.12 ACCESSORY INSTALLATION

A. General:  Install accessories with positive anchorage to building and weathertight mounting, and provide for thermal expansion.  Coordinate installation with flashings and other components.

1. Install components required for a complete metal roof panel assembly including trim, copings, ridge closures, seam covers, flashings, sealants, gaskets, fillers, closure strips, and similar items.

2. Install components for a complete metal wall panel assembly including trim, copings, corners, seam covers, flashings, sealants, gaskets, fillers, closure strips, and similar items.

3. Where dissimilar metals will contact each other or corrosive substrates, protect against galvanic action by painting contact surfaces with bituminous coating, by applying rubberized-asphalt underlayment to each contact surface, or by other permanent separation as recommended by manufacturer.

B. Flashing and Trim:  Comply with performance requirements, manufacturer's written installation instructions, and SMACNA's "Architectural Sheet Metal Manual."  Provide concealed fasteners where possible, and set units true to line and level as indicated.  Install work with laps, joints, and seams that will be permanently watertight and weather resistant.

1. Install exposed flashing and trim that is without excessive oil canning, buckling, and tool marks and that is true to line and levels indicated, with exposed edges folded back to form hems.  Install sheet metal flashing and trim to fit substrates and to result in waterproof and weather-resistant performance.

2. Expansion Provisions:  Provide for thermal expansion of exposed flashing and trim.  Space movement joints at a maximum of 10 feet (3 m) with no joints allowed within 24 inches (600 mm) of corner or intersection.  Where lapped or bayonet-type expansion provisions cannot be used or would not be sufficiently weather resistant and waterproof, form expansion joints of intermeshing hooked flanges, not less than 1 inch (25 mm) deep, filled with mastic sealant (concealed within joints).

C. Gutters:  Join sections with riveted and soldered or lapped and sealed joints.  Attach gutters to eave with gutter hangers spaced not more than 4 feet (1.2 m) o.c. using manufacturer's standard fasteners.  Provide end closures and seal watertight with sealant.  Provide for thermal expansion.

D. Downspouts:  Join sections with 1-1/2-inch (38-mm) telescoping joints.  Provide fasteners designed to hold downspouts securely 1 inch (25 mm) away from walls; locate fasteners at top and bottom and at approximately 60 inches (1500 mm) o.c. in between.

Retain one of two subparagraphs below.

1. Provide elbows at base of downspouts to direct water away from building.

2. Tie downspouts to underground drainage system indicated.

E. Circular Roof Ventilators:  Set ventilators complete with necessary hardware, anchors, dampers, weather guards, rain caps, and equipment supports.  Mount ventilators on flat level base.  Install preformed filler strips at base to seal ventilator to metal roof panels.

F. Continuous Roof Ventilators:  Set ventilators complete with necessary hardware, anchors, dampers, weather guards, rain caps, and equipment supports.  Join sections with splice plates and end-cap skirt assemblies where required to achieve indicated length.  Install preformed filler strips at base to seal ventilator to metal roof panels.

Delete first paragraph and subparagraphs below if louvers are specified in Division 10 Section "Louvers and Vents."

G. Louvers:  Locate and place louver units level, plumb, and at indicated alignment with adjacent work.

1. Use concealed anchorages where possible.  Provide brass or lead washers fitted to screws where required to protect metal surfaces and to make a weathertight connection.

2. Provide perimeter reveals and openings of uniform width for sealants and joint fillers.

3. Protect galvanized- and nonferrous-metal surfaces from corrosion or galvanic action by applying a heavy coating of bituminous paint on surfaces that will be in contact with concrete, masonry, or dissimilar metals.

4. Install concealed gaskets, flashings, joint fillers, and insulation as louver installation progresses, where weathertight louver joints are required.  Comply with Division 7 Section "Joint Sealants" for sealants applied during louver installation.

H. Roof Curbs:  Install curbs at locations indicated on Drawings.  Install flashing around bases where they meet metal roof panels.

I. Pipe Flashing:  Form flashing around pipe penetration and metal roof panels.  Fasten and seal to panel as recommended by manufacturer.

3.13 FIELD QUALITY CONTROL

Retain one of first two paragraphs below.  Retain first paragraph if authorities having jurisdiction do not require that the Owner engage a special inspector.  See "Testing and Inspecting Considerations" Article in the Evaluations.

A. Testing Agency:  [Owner will engage] [Engage] a qualified testing and inspecting agency to perform the following tests and inspections and to submit reports.

B. Special Inspector:  Owner will engage a qualified special inspector to perform the following tests and inspections and to submit reports.

C. Tests and Inspections:

RCSC prescribes inspection for snug-tightened joints and testing and inspection for each method of pretensioning joints.

1. High-Strength, Field-Bolted Connections:  Connections shall be[ tested and] inspected during installation according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts."

2. Welded Connections:  In addition to visual inspection, field-welded connections shall be tested and inspected according to AWS D1.1 and the following inspection procedures, at inspector's option:

Select applicable nondestructive testing methods from four subparagraphs below.  Revise to indicate extent of weld inspections if applicable and to add alternative acceptance criteria to AWS D1.1 if required.

a. Liquid Penetrant Inspection:  ASTM E 165.

b. Magnetic Particle Inspection:  ASTM E 709; performed on root pass and on finished weld.  Cracks or zones of incomplete fusion or penetration will not be accepted.

c. Ultrasonic Inspection:  ASTM E 164.

d. Radiographic Inspection:  ASTM E 94.

D. Correct deficiencies in Work that test reports and inspections indicate do not comply with the Contract Documents.

3.14 ADJUSTING

A. Doors:  After completing installation, test and adjust doors to operate easily, free of warp, twist, or distortion.

Delete paragraph and subparagraph below if door hardware is specified in Division 8 Section "Door Hardware."

B. Door Hardware:  Adjust and check each operating item of door hardware and each door to ensure proper operation and function of every unit.  Replace units that cannot be adjusted to operate as intended.

Subparagraph below is from the U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA) Accessibility Guidelines (ADAAG)."

1. Door Closers:  Adjust door closers to compensate for final operation of heating and ventilating equipment.  Adjust sweep period so that, from an open position of 70 degrees, the door will take at least 3 seconds to move to a point 3 inches (76 mm) from the latch, measured to the leading edge of the door.

Delete paragraph below if windows are fixed or if they are specified in a Division 8 Section.

C. Windows:  Adjust operating sashes and ventilators, screens, hardware, and accessories for a tight fit at contact points and weather stripping for smooth operation and weathertight closure.  Lubricate hardware and moving parts.

Revise paragraph and subparagraph below if louvers are specified in Division 10 Section "Louvers and Vents."

D. [Roof Ventilators] [and] [Adjustable Louvers]:  After completing installation, including work by other trades, lubricate, test, and adjust units to operate easily, free of warp, twist, or distortion as needed to provide fully functioning units.

Retain subparagraph below for adjustable louvers.

1. Adjust louver blades to be weathertight when in closed position.

3.15 CLEANING AND PROTECTION

Retain first paragraph below if galvanized items are required.

A. Repair damaged galvanized coatings on galvanized items with galvanized repair paint according to ASTM A 780 and manufacturer's written instructions.

B. Remove and replace glass that has been broken, chipped, cracked, abraded, or damaged during construction period.

C. Touchup Painting:  After erection, promptly clean, prepare, and prime or reprime field connections, rust spots, and abraded surfaces of prime-painted structural framing[, bearing plates,] and accessories.

1. Clean and prepare surfaces by SSPC-SP 2, "Hand Tool Cleaning," or SSPC-SP 3, "Power Tool Cleaning."

2. Apply a compatible primer of same type as shop primer used on adjacent surfaces.

Delete paragraph and subparagraphs above and retain first paragraph below if touchup painting is required for Project but is not part of the Work of this Section.

D. Touchup Painting:  Cleaning and touchup painting are specified in Division 9 painting Sections.

E. Metal Panels:  Remove temporary protective coverings and strippable films, if any, as metal panels are installed.  On completion of metal panel installation, clean finished surfaces as recommended by metal panel manufacturer.  Maintain in a clean condition during construction.

1. Replace metal panels that have been damaged or have deteriorated beyond successful repair by finish touchup or similar minor repair procedures.

F. Doors and Frames:  Immediately after installation, sand smooth rusted or damaged areas of prime coat and apply touchup of compatible air-drying primer.

1. Immediately before final inspection, remove protective wrappings from doors and frames.

Delete paragraph below if windows are specified in a Division 8 Section.

G. Windows:  Clean metal surfaces immediately after installing windows.  Avoid damaging protective coatings and finishes.  Remove excess sealants, glazing materials, dirt, and other substances.  Clean factory-glazed glass immediately after installing windows.

Delete paragraph and subparagraphs below if louvers are specified in Division 10 Section "Louvers and Vents."

H. Louvers:  Clean exposed surfaces that are not protected by temporary covering, to remove fingerprints and soil during construction period.  Do not let soil accumulate until final cleaning.

1. Restore louvers damaged during installation and construction period so no evidence remains of corrective work.  If results of restoration are unsuccessful, as determined by Architect, remove damaged units and replace with new units.

a. Touch up minor abrasions in finishes with air-dried coating that matches color and gloss of, and is compatible with, factory-applied finish coating.

3.16 DEMONSTRATION

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain operable accessories.  Refer to Division 1 Section "[Closeout Procedures] [Demonstration and Training]."

END OF SECTION 13125

METAL BUILDING SYSTEMS
13125 - 1

