GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

SECTION 01100 - SUMMARY
PART 1 -  GENERAL

1.1 PROJECT IDENTIFICATION

A. Project Name and Location:

Insert project name and address matching the project name and location in the title block on the drawings.

B. Project Summary Description:  The project includes but is not limited to the following Work:

Insert brief project description.

Retain one of the two following paragraphs as applicable.

C. The project was designed by the General Services Administration.

If applicable, substitute "Engineer" for "Architect" in the following paragraph.

D. Architect:  The term AArchitect@ refers to the project designer .  The Architect=s status relative to the construction will be delineated in writing by the Contracting Officer prior to the pre-construction conference.  The project was designed by:

Insert name and address of Architect.

Retain the following paragraph if project is managed for the Government by a Construction Manager.

E. Construction Manager:  The Construction Manager's status relative to the construction will be delineated in writing by the Contracting Officer prior to the pre-construction conference.  The Construction Manager is:

Insert Construction Manager's company name, address, telephone number and contact person's name.

F. The Contracting Officer for the project is:

Insert name, address, telephone number and fax number of Contracting Officer.

Insert additional similar paragraphs if appropriate for the Contracting Officer's Representative and other Government personnel with primary project responsibilities.

Retain the following article if phased construction is required; revise as required to suit project conditions.  Delete article if project phasing, including completion times, is described in Division 0 Section Supplementary Conditions."

1.2 WORK SEQUENCE

A. The work shall be conducted in phases, in the following order, with an earlier phase substantially complete before beginning the next phase.

Insert lapsed completion time from start of project.

B. Phase 1:  The following work shall be substantially complete, ready for occupancy, within <Insert days> calendar days after notice to proceed:

Insert description of phase work

Repeat the paragraph above, inserting correct phase number and adding lapsed time and description of work for each additional phase.  For last phase use the following paragraph.

C. Phase <Insert phase number>:  The remaining work, as well as the subsequent phases, shall be complete at the time of completion of construction.

Retain the following article if work of the contract depends on successful completion of work performed under other contracts or vice versa.  Delete article if work under other contracts, including timing, is described in Division 0 Section Supplementary Conditions."

1.3 WORK UNDER OTHER CONTRACTS

A. The Contractor shall cooperate with other contractors performing related work, including providing labor, materials and other costs necessary to satisfactorily coordinate the Contract work with work performed under other contracts.

Retain the following paragraph when work of other contracts is expected to be complete before work of this contract begins.  Revise as required to suit project conditions.

B. Preceding Work:  Separate contract work has been awarded by the Government for performance of certain construction operations that are expected to be substantially complete before the Work of this Contract begins.  Follow-on activities under this Contract shall be satisfactorily conducted to protect and, if indicated, to complete the related preceding separate Contract work.

Insert a description of related work performed under a preceding separate contract.

1. A separate contract has been awarded for <Insert description of separate contract work>.

Insert the appropriate information in the following sub-subparagraphs.  Add other sub-subparagraphs with timing or other information required for satisfactory coordination.

a. Contractor: <Insert Contractor name>.

b. Contract Number: <Insert Contractor Number>.

c. Contracting Officer: <Insert name of Contracting Officer>.

Repeat the subparagraph above with sub-subparagraphs for each additional separate contract to be complete before this Work begins.

Retain the following paragraph when work of other contracts will be conducted concurrently with the Work of this Contract.  Revise as required to suit project conditions.

C. Concurrent Work:  Separate contract work has been awarded by the Government for performance of certain construction operations that will be conducted simultaneously with the Work of this contract.  Interface work under this Contract shall be satisfactorily conducted in compliance with the schedule requirements of the related concurrent separate contract work.

Insert a description of related work performed under a concurrent separate contract.

1. A separate contract has been awarded for <Insert description of separate contract work>.

Insert the appropriate information in the following sub-subparagraphs.  Add other sub-subparagraphs with timing or other information required for satisfactory coordination.

a. Contractor:  <Insert Contractor name>.

b. Contract Number:  <Insert Contractor Number>.

c. Contracting Officer:  <Insert name of Contracting Officer>.

Repeat the subparagraph above with sub-subparagraphs for each additional separate contract to be conducted concurrently with the Work of this Contract.

Retain the following paragraph when work under future contracts depends on successful completion of Work performed under this Contract.  Revise as required to suit project conditions.

D. Future Work:  Separate contract work has been awarded by the Government for additional work to be performed at the site after Substantial Completion of the Work of this Contract.  Preparatory activities under this Contract shall be satisfactorily completed prior to the scheduled related future separate contract work.

Insert a description of related work performed under a future separate contract.

1. A separate contract has been awarded for <Insert description of future separate contract work>.

Insert the appropriate information in the following sub-subparagraphs.  Add other sub-subparagraphs with timing or other information required for satisfactory coordination.

a. Contractor:  <Insert Contractor name>.

b. Contract Number:  <Insert Contract Number>.

c. Contracting Officer:  <Insert name of Contracting Officer>.

Repeat the subparagraph above with sub-subparagraphs for each additional separate contract for future work.

Retain the following article if the Government is to furnish any property, such as equipment, for the Contractor's installation.  Delete article if Government-furnished property is listed and described in Division 0 Section Supplementary Conditions."

1.4 SCHEDULE OF GOVERNMENT-FURNISHED PROPERTY

A. The project includes the following Government furnished property to be installed by the Contractor:

Insert schedule, including item identification, quantity and sufficient descriptive data for the Contractor's installation purposes.

Retain the following article for unusual provisions that effect the entire project but do not belong elsewhere in the specifications.

1.5 MISCELLANEOUS PROVISIONS

The following sample paragraphs may apply; delete or retain and revise as required to suit project conditions.

A. Work in the extension of existing conditions shall correspond in all respects with the existing conditions to which it connects, or to similar existing conditions, in materials, workmanship and finish.

B. Alterations to Existing Conditions:  Existing conditions shall be cut, drilled, removed, temporarily removed, or removed and replaced, as necessary for performance of Work under the Contract.

1. Replacements of existing conditions that are removed shall match similar existing conditions.

2. Unless otherwise indicated, existing structural members shall not be cut or altered without authorization by the Contracting Officer.

3. Conditions remaining in place, which are damaged or defaced during the Work, shall be restored to the condition existing at time of award of Contract.

4. Discolored or unfinished surfaces exposed by removal of existing conditions, that are indicated to be final exposed surfaces, shall be refinished or replaced as necessary to produce uniform and harmonious contiguous surfaces.

If applicable, select one of the 3 following paragraphs and revise as required to suit project conditions.

C. Existing structures will remain in place.

D. Existing structures have been or will be removed, at no expense to the Contractor, to top of foundation walls or ground level, unless otherwise indicated.

E. Existing structures shall be removed to top of foundation walls or ground level, unless otherwise indicated.

If applicable, select one of the 4 following paragraphs and revise as required to suit project conditions.

F. Existing utility services with related meters and equipment will remain in place.

G. Existing utility services with related meters and equipment have been removed at no expense to the Contractor.D.Existing utility services with related meters and equipment will be removed at no expense to the Contractor, by the appropriate utility company or the Government, upon 30 calendar days written notification from the Contractor.

If the Contractor is to contact the utility companies directly, insert the name of the company, name of contact individual and telephone number for each utility.

H. Existing utility services shall be disconnected and removed to the extent indicated.

I. Outside Utility Connections:  Underground and overhead utility services shall be provided complete to all points of connection indicated, and any "Limit of Contract" lines or other general limits indicated shall not apply to utility services and connections outside of these lines or limits.

J. Removed items indicated to remain the property of the Government shall be stored on site where directed by the Contracting Officer.

Retain the following paragraph if computer-recognition of year-2000 after year-1999 remains an issue; delete paragraph if all work occurs after year-2000.

K. Year 2000 Compliance:  Work provided, furnished or installed shall be free from defects or errors related to date data; shall not generate any incorrect or invalid date-related interfaces or results; and shall not impair, impact or damage equipment, material or Work on or related to the Project due to any such defect or incorrect date data.

PART 2 -  PRODUCTS (Not Applicable)

PART 3 -  EXECUTION (Not Applicable)

END OF SECTION 01100

SUMMARY
01100 - 5

