GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

SECTION 01140 - WORK RESTRICTIONS
This section consists of examples illustrating possible Section content.  Revise sample paragraphs as required to suit project conditions, or delete Section if no specific work restrictions apply.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

Usually delete following article if project is not located on a currently active Government site or in an occupied building.

1.2 CONTRACTOR USE OF PREMISES

Retain the following paragraph only if the Contracting Officer or the Contracting Officer's Representative intends to conduct a pre-construction survey with the Contractor.

A. The Contracting Officer or Contracting Officer's Representative will conduct a pre-construction survey with the Contractor to review and document the existing conditions surrounding the project premises prior to the beginning of any construction activity.

Retain one of the following two paragraphs as applicable.  Revise as required for project conditions.

B. During the construction period, the Contractor shall have full use of the premises for construction operations, including full use of the site, limited only by the Government's right to perform work or retain other contractors to perform work on portions of the project.

C. The Contractor shall limit use of the premises to the work in areas indicated, to allow for Government occupancy and public use.

Retain the following subparagraphs that apply.  Revise as required to suit project conditions.

1. Confine operations at the site to areas indicated.  Do not disturb portions of the site beyond the areas in which Work is indicated.

2. Keep driveways and entrances serving the premises clear and available at all times to the Government, Government employees and visitors.  Do not use these areas for parking or storage of materials.

3. Schedule deliveries to minimize space and time requirements for storage of material and equipment on site.

4. Maintain existing building in a safe and weathertight condition throughout the construction period.  Repair damage caused by construction operations.  Take precautions to protect the building, its occupants and the public during the construction period.

5. Keep public areas, such as hallways, stairs, lobbies and toilet rooms, free from accumulation of waste material, rubbish, construction debris and construction materials.

Retain one of the two following subparagraphs, or delete if storage space is shown on the drawings.

6. Space on the premises will be made available for the Contractor's storage and related activities, provided that its use will not interfere with operations of the Government.  Arrange and gain approval for use of this space through the Contracting Officer.

7. Space on the premises will not be made available for the Contractor's storage and related activities.

8. Use of the existing loading dock facilities will be shared with Government activities on a first-come-first-served, wait-your-turn basis.

9. Existing materials and equipment that are removed as part of the construction operations, and that are not reused or designated to be salvaged as Government or other's property, shall become the property of the Contractor and shall be removed from the site.  Storage or sale of excess salvageable materials and equipment is not permitted on site.

10. Pollution producing equipment shall not be located near air intakes where airborne smoke or fumes could be drawn into the building.

Retain one of the following two subparagraphs, or delete both if parking is not a problem.  In second subparagraph, insert number of Contractor parking spaces.

11. No parking will be available on site during working hours of the building occupants.  The Contractor and Contractor's employees shall make their own arrangements for vehicle parking off site.

12. ______ parking spaces will be made available on site during working hours of the building occupants.  The Contractor and Contractor's employees shall make their own arrangements for additional vehicle parking off site.

Delete the following article if Government will not occupy the project until after construction.

1.3 GOVERNMENT OCCUPANCY

Retain one of the two following paragraphs as applicable.  Revise as required for project conditions.

A. The Government will occupy the site and the existing building during the entire period of construction.  Cooperate with the Government's representatives during construction operations to minimize conflicts and facilitate Government usage.  Perform the Work in a manner that does not interfere with the Government's operations.

B. The Government reserves the right to occupy and to place and install equipment in completed areas of the building prior to Substantial Completion, provided such occupancy does not interfere with completion of the Work.  The Government's installation of equipment and partial occupancy shall not constitute acceptance of the total Work.

1. Prior to partial Government occupancy, mechanical and electrical systems for the space shall be fully operational, and required inspections and tests shall be successfully completed.  Upon occupancy, the Government will operate and maintain mechanical and electrical systems serving the occupied portions of the building.

2. Upon occupancy, the Government will assume responsibility for maintenance and custodial service for the occupied portions of the building.

3. The warranty period for the occupied portion of the building only will commence on the date of occupancy by the Government.

Delete the following article if no restrictions will be placed on the Contractor's working hours.

1.4 WORKING HOURS

The following sample paragraphs may be used to establish limitations and other requirements for working hours.  Edit, revise or rewrite as appropriate for project conditions.  If paragraph A is used, insert the hours of Government occupation for the existing facilities.

A. Government Occupied Hours:  Government personnel are scheduled to occupy the building during the following hours on weekdays, Monday through Friday, except for established Government Holidays:  <Insert hours>:<Insert minutes>AM to <Insert hours>:<Insert minutes>PM.

B. Government Unoccupied Hours:  Government personnel are not scheduled to occupy the building during times not indicated as Government Occupied Hours.

C. Contractor's General Working Hours:  The Contractor working hours shall be generally established to occur during Government Occupied Hours.

Retain the following two paragraphs if paragraph C above is used and some work is required to be performed outside occupied hours.

D. Contractor's Required Working Hours:  The following work shall be performed during Government Unoccupied Hours:

Add subparagraphs to list this work, usually involving excessive noise, dust or other disruptive activity, that must be performed after occupied hours.  If necessary, add further limiting hours, such as for activities where the noise may be disruptive to nearby residences in the evening.

Revise time of advanced approval if other than 48 hours is required.

E. Work accomplished during Government Unoccupied Hours shall be performed at no additional cost to the Government.  Contractor shall submit a proposed schedule and gain the Contracting Officer's approval at least 48 hours before proceeding with any work during Government Unoccupied Hours.

Add paragraphs as necessary to include any specific requirements, such as the following example for suspension of work (insert dates).

F. Temporary Suspension of Work:  The Contractor shall suspend work during the period of <Insert date> and <Insert date>.  Contractor shall not be entitled to an adjustment of the Contract price or time of performance as a result of this suspension of work.

PART 2 -  PRODUCTS (Not Applicable)

PART 3 -  EXECUTION (Not Applicable)

END OF SECTION 01140

WORK RESTRICTIONS
01140 - 1

