GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

Retain this section if allowances are included in the project pricing.

SECTION 01210 - ALLOWANCES
PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Certain materials, equipment or other work are specified in the Contract Documents by allowance to defer selection of actual materials, equipment or other work to a later date when additional information is available for evaluation.

Retain one of the three following paragraphs, depending on the method or methods used to describe an allowance amount.

B. An allowance amount is stated as a lump sum.

C. An allowance amount is stated as a unit price for an indicated quantity with the unit price multiplied by the indicated quantity establishing a lump sum.

D. An allowance amount is stated as a lump sum, or is stated as a unit price for an indicated quantity with the unit price multiplied by the indicated quantity establishing a lump sum.

E. An allowance amount shall be included in the contract price, and the contract price will be adjusted by change order for the difference between the allowance amount and the actual approved amount for the work.

Include the following paragraph and subparagraphs where an allowance with a unit price is included.

F. For an allowance stated as a unit price, the actual quantity and calculation of the actual amount shall be approved by the Contracting Officer after completion and acceptance of the allowance work, based on the following information when applicable.

1. Invoices or delivery slips.

2. Credit from manufacturer or supplier for unused material.

3. In-place measurements provided by the Contractor, the allowance subcontractor and the Contracting Officer's Representative, either individually or collectively.

4. Other relevant data.

1.3 PROCEDURES

A. At the earliest practical date after award of the Contract, the Contractor shall notify the Contracting Officer of the date when the final selection must be completed for material, equipment or other work described by an allowance, to avoid delaying the total project Work.

B. When notified by the Contracting Officer of the selection of the specific material, equipment or other work, the Contractor shall secure competitive bids for the work of the allowance.

1. Bids shall be based on drawings, specifications and other information provided by the Contracting Officer.

2. The Contractor and the Contracting Officer shall set an agreed date and time for receipt of bids.

3. Each bid shall be addressed and delivered to the Contractor in a sealed envelope.

4. Bids received by the Contractor by the date and time for receipt of bids shall be opened at that time, and the Contractor shall forward one copy of each bid, along with a certified statement that each was received in a sealed envelope prior to the time for receipt of bids, to the Contracting Officer.

5. Any bid received by the Contractor after the time for receipt of bids shall not be opened, but shall be time-stamped on the envelope and forwarded to the Contracting Officer in the original sealed envelope.

C. The Contractor shall award the subcontract for the allowance work in the bid amount to the bidder acceptable to both the Contractor and the Contracting Officer.

Retain the following article if an allowance covers only the purchase of material or equipment.  This is typical.

1.4 ALLOWANCE FOR PURCHASE

A. An allowance for the purchase of material or equipment shall cover only the cost of the material or equipment delivered to the site, less applicable trade discounts.

B. Contractor's costs for unloading and handling at the site, labor and other installation costs, overhead, profit and other expenses contemplated for the total allowance work shall be included in the contract price but not in the allowance amount.

Retain the following article only if an allowance covers the full work.  This may include special system installations or services such as inspection and testing.

1.5 ALLOWANCE FOR FULL WORK

A. An allowance for the described full work shall cover all costs contemplated for the work, except the Contractor's overhead, profit and related expenses for coordination with the subcontractor.

B. Contractor's overhead, profit and related expenses for coordination with the subcontractor shall be included in the contract price but not in the allowance amount.

Retain the following paragraph if both purchase and full work allowances are included.

C. Unless the description of an allowance specifically limits the amount to the purchase of material or equipment, the allowance shall include the full work.

1.6 SUBMITTALS

A. Submit subcontract bids for allowance work, as specified, for the Contracting Officer's selection and approval.

B. When requested by the Contracting Officer, submit invoices or delivery slips, credit slips, measurements and other data showing actual quantities in fulfillment of allowance work.

PART 2 -  PRODUCTS (Not Applicable)

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Promptly upon delivery, examine materials and equipment covered by an allowance for damage or defects.

B. Replace damaged or defective materials and equipment with specified products without damage or defects.

3.2 PREPARATION

A. Coordinate materials, equipment and their installation for the allowance work with related material, equipment and installations for complete integration and interfacing of the allowance and related work.

3.3 SCHEDULE OF ALLOWANCES

The following sample paragraphs are intended to be guides for the specific project allowances.  Insert amount, unit and quantity where applicable, item or work description, and specification section(s).

The following is a purchase allowance with a lump sum.  This is the most typical type.

A. Allowance No. 1:  Include the sum of $ <Insert amount> for the purchase of <Insert item description>, as specified in <Insert Section number and title> , and as shown on the Drawings.

The following is a purchase allowance with a unit price where the quantity is stated in the allowance description.  Insert both quantity and item description after purchase of"

B. Allowance No. 2:  Include a unit price of $ <Insert amount> per <Insert unit of measure> for the purchase of <Insert item description> , as specified in <Insert Section number and title> .

The following is a purchase allowance with a unit price where the quantity is either specified elsewhere, or shown on the drawings, or can be derived from the drawings.

C. Allowance No. 3:  Include a unit price of $ <Insert amount> per <Insert unit of measure> for the purchase of <Insert item description> , as specified in <Insert Section number and title> , and as shown on the Drawings.

The following is a full work allowance with a lump sum.

D. Allowance No. 4:  Include the sum of $ <Insert amount> for <Insert item description> , as specified in <Insert Section number and title> , and as shown on the Drawings.

The following is a full work allowance with a unit price where the quantity is stated in the allowance description. Insert both quantity and work description after for".

E. Allowance No. 5:  Include a unit price of $ <Insert amount> per <Insert unit of measure> for <Insert item description> , as specified in <Insert Section number and title> .

The following is a full work allowance with a unit price where the quantity is either specified elsewhere or shown on the drawings, or can be derived from the drawings.

F. Allowance No. 6:  Include a unit price of $ <Insert amount> per <Insert unit of measure> for <Insert item description> , as specified in <Insert section number and title> , and as shown on the Drawings.

END OF SECTION 01210

ALLOWANCES
01210 - 1

