GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

SECTION 01310 - PROJECT MANAGEMENT AND COORDINATION
PART 1 -  GENERAL

1.1 SUMMARY

A. This section includes certain administrative provisions for managing and coordinating construction operations, including but not limited to the following:

1. General project coordination.

2. Coordination drawings.

3. Conservation.

4. Administrative and supervisory personnel.

5. Conferences and meetings.

Retain the following subparagraph only if utility work is included in the project

6. Utility service interruptions.

7. Cleaning and protection.

1.2 GENERAL PROJECT COORDINATION

A. Coordination of Trades:  Coordinate construction operations included in the various sections of the Specifications to provide an efficient and orderly installation of each part of the Work.  Coordinate construction operations included under different sections of the Specifications that depend on each other for proper installation, connection or operation.

1. Schedule construction operations in the sequence required to obtain the best results where the installation of one part of the Work depends on installation of other components before or after that part.

2. Coordinate installation of different components to provide maximum accessibility for required maintenance, service, testing and repair.

3. Accommodate items scheduled for later installation.

Revise the following subparagraph to delete and/or add components applicable to the project.

4. Provide for coordinated incorporation of Art and Architecture elements, Contractor's accepted Value Engineering proposals and Change Orders.

B. Notification:  Where necessary, prepare and distribute memoranda to each party involved, outlining special procedures required for coordination.  When applicable, include notices, reports and meeting minutes as part of the memoranda.

C. Administrative Procedures:  Coordinate scheduling and timing of administrative procedures with other construction activities to avoid conflicts and promote orderly progress of the Work.  Administrative procedures include but are not limited to the following:

1. Preparation of schedules.

2. Installation and removal of temporary facilities.

3. Delivery and processing of submittals.

4. Progress meetings.

5. Project closeout activities.

Retain the following article unless installation coordinations can be covered completely by shop drawing submittals only.

1.3 COORDINATION DRAWINGS

A. Prepare coordination drawings where careful coordination is needed for installation of products and materials fabricated by separate entities, and prepare coordination drawings where limited space availability necessitates maximum utilization of the space for efficient installation of different components.

1. Show the relationship of components shown on separate shop drawings.

2. Indicate required installation sequences.

3. Provide vertical and horizontal dimensions necessary to locate each component and avoid conflicts within the space.

4. Comply with shop drawing requirements for sheet size and submittal methods specified in Division 1 Section "Submittal Procedures."

Usually retain one or both of the following paragraphs.  Revise to suit project.

B. Refer to Division 15 Section "Basic Mechanical Requirements" and Division 16 Section "Basic Electrical Requirements" for specific coordination drawing requirements for mechanical and electrical installations.

C. Provide coordination drawings for equipment and system installations in mechanical and electrical rooms and spaces where two or more entities will provide the work and separate shop drawings are insufficient to show coordination.

Add additional paragraphs to describe other coordination drawings required for the project.

1.4 CONSERVATION

A. Consider conservation of energy, water and materials in the conduct of construction operation.  Salvage materials and equipment involved in the performance of, but not incorporated into, the Work.

B. Energy Conservation Plan:  Develop a program to minimize use of energy.  Program shall minimally include the following:

1. Designation of a energy conservation officer.

2. Identification of energy conservation measures to reduce energy usage.

3. Establishment of energy usage goals for the project.

4. Means for enforcing energy conservation measures.

C. Implementation of Energy Conservation Plan:  Contractor's energy conservation officer shall provide on-site instruction of workers in the methods to conserve energy, and shall manage the process for the duration of the Contract.

Retain the following two subparagraphs for large projects that warrant a high level of energy monitoring.

1. Contractor shall initiate the plan by issuing notices to the parties of the project, installation of meters or other instruments to record usage where practical, and other measures to encourage energy conservation.

2. The energy conservation officer shall report monthly, in writing, the measures taken to effect energy conservation, records or estimates of usage and savings, and other points of interest.  Copies of each report shall be distributed to each significant party of the project, including the Contracting Officer.

Retain the following two paragraphs with their subparagraphs if recycling is a requirement.  Revise as necessary to suit project.

D. Waste Management Plan:  Establish a program to maximize recycling of waste materials.  Program shall minimally include the following:

1. Designation of a waste management coordinator.

2. Identification of recyclable materials.

3. Identification of available local recycling firms and agencies to receive recyclable materials.

4. Establishment of quantity goals for collection of each recyclable material.

5. Designation of one or more locations on the project site for collection, sorting and temporary storage of recyclable materials.

6. Means and schedule for transporting and delivery of recyclable materials to recycling firms and agencies.

E. Implementation of the Waste Management Plan:  Contractor's waste management coordinator shall provide on-site instruction of workers in the identification, separation and handling of recyclable materials, and shall manage the process for the duration of the Contract.

1. Contractor shall lay out and define specific areas to facilitate separation of materials for recycling, and shall maintain collection bins clearly marked to avoid contamination of the recyclable materials.

2. The waste management coordinator shall report monthly, in writing, the quantity of each recyclable material collected during the previous month and cumulatively to date, compared to the quantity goal, and other points of interest.  Copies of each report shall be distributed to each significant party of the project, including the Contracting Officer.

1.5 ADMINISTRATIVE AND SUPERVISORY PERSONNEL

A. In addition to the Project superintendent, the Contractor shall provide other administrative and supervisory personnel as required for proper performance of the Work.

Retain the following paragraph with subparagraphs only for large complex projects.  Revise to suit project.

B. Project Coordinator:  Provide a full-time project coordinator, experienced in the administration and supervision of building construction, including mechanical and electrical work.  The project coordinator shall be authorized to act as the coordinator of construction activities, including but not limited to the following:

1. Scheduling and sequencing of Work.

2. Sharing access to work spaces.

3. Installations.

4. Protection of work.

5. Cutting and patching.

6. Selections for compatibility.

7. Preparation of coordination of drawings.

8. Inspection and tests.

9. Temporary services and facilities.

In addition to the paragraph above, retain the following paragraph with subparagraphs only for large complex projects with extensive mechanical and electrical requirements.  Revise to suit project.  Delete shall be licensed to practice as a professional engineer in the location of the project, and" in the second sentence if this is not required.

C. Mechanical and Electrical Coordinator:  Provide a full-time mechanical and electrical coordinator, experienced in the coordination of mechanical and electrical construction of the types required for the project, and experienced in coordination of mechanical and electrical construction with other operations.  The mechanical and electrical coordinator shall be licensed to practice as a professional engineer in the location of the project, and shall be authorized to act as the coordinator for mechanical and electrical activities, including but not limited to the following:

1. Scheduling and sequencing of mechanical and electrical activities.

2. Sharing access to mechanical and electrical work spaces.

3. Integration of mechanical and electrical work into limited spaces available for mechanical and electrical installations.

4. Protection of mechanical and electrical work.

5. Cutting and patching for mechanical and electrical work.

6. Tolerances for mechanical and electrical work.

7. Preparation of mechanical and electrical coordination drawings.

8. Mechanical and electrical inspections and tests.

9. Utilization of mechanical and electrical temporary services and facilities.

D. Safety and Health Officer:  Provide a safety and health officer whose duties shall consist of developing and implementing safety and health programs specified in Division 1 Section "Safety and Health."

E. Energy Conservation Officer:  Provide an energy conservation officer whose duties shall consist of developing and implementing a program for minimizing use of energy on the site.

Retain the following paragraph if the provisions for a Waste Management Plan are retained in this section.

F. Waste Management Coordinator:  Provide a waste management coordinator whose duties shall consist of developing and implementing a program for maximizing recycling of waste.

Add any other specific coordinators required for the project.

Revise the following article, paragraphs and subparagraphs as necessary to suit project.

1.6 CONFERENCES AND MEETINGS

A. Preconstruction Conference:  The Contracting Officer shall schedule a preconstruction conference before starting construction at a time and place convenient to the Contractor.  Conference shall review responsibilities and personnel assignments.

1. Attendees:  Participants at the conference shall be familiar with the project, shall be authorized to conclude matters relating to the Work, and shall minimally include representatives of the following parties:

Edit the following list as required.  Add Construction Manager and other project personnel as appropriate.

a. Contracting Officer.

b. Architect.

c. Major design consultants.

d. Contractor.

e. Major subcontractors.

f. Major suppliers.

g. Other concerned parties.

2. Agenda:  Subjects for discussion shall include items of significance that could effect progress, including but not limited to the following:

a. Tentative construction schedule.

b. Critical work sequencing.

c. Designation of responsible personnel.

d. Procedures for processing field decisions and Change Orders.

e. Procedures for processing Applications for Payment.

f. Distribution of Contract Documents.

g. Submittal of Shop Drawings, Product Data, and Samples.

h. Preparation of Record Documents.

i. Use of the premises.

j. Parking availability.

k. Office, work, and storage areas.

l. Equipment deliveries and priorities.

m. Safety procedures.

n. First aid.

o. Security.

p. Housekeeping and progress cleaning.

q. Working hours.

3. Reporting:  No later than 3 calendar days after the conference, the Contractor shall distribute minutes of the conference to each party present and to other concerned parties, including the Contracting Officer.

Retain the following paragraphs with subparagraphs where the project work requires one or more preinstallation conferences.  Revise to suit project.

B. Preinstallation Conferences:  The Contractor shall conduct a preinstallation conference at the Project Site before each construction activity that requires coordination with other construction.

1. Attendees:  In addition to the Contractor's representative, the installer and representatives of manufacturers and fabricators involved in or affected by the installation, and its coordination or integration with other materials and installations that have preceded or will follow, shall attend.  Prior to conferences, advise the Contracting Officer of scheduled conference dates.

2. Agenda:  Review the progress of other construction activities and preparations for the particular activity under consideration at each preinstallation conference, including requirements for the following.

a. Contract Documents.

b. Options.

c. Related Change Orders, including accepted Value Engineering proposals.

d. Purchases.

e. Deliveries.

f. Submittals.

g. Review of mockups.

h. Possible conflicts.

i. Compatibility problems.

j. Time schedules.

k. Weather limitations.

l. Manufacturer's recommendations.

m. Warranty requirements.

n. Compatibility of materials.

o. Acceptability of substrates.

p. Temporary facilities and controls.

q. Space and access limitations.

r. Governing regulations.

s. Safety.

t. Testing and inspecting requirements.

u. Required performance results.

v. Protection.

3. Reporting:  Record significant discussions and agreements and disagreements of each conference.  No later than 3 calendar days after each conference, the Contractor shall distribute minutes of the conference to each party present and to other concerned parties, including the Contracting Officer.

4. Do not proceed with the installation if the conference cannot be successfully concluded.  Initiate whatever actions are necessary to resolve impediments to the performance of the work, and reconvene the conference at the earliest feasible date.

C. Progress Meetings:  The Contracting Officer's Representative shall conduct progress meetings at the Project Site at regular intervals.  Dates of meetings shall be coordinated with preparation of the payment request.

1. Attendees:  In addition to the Contractor's and Contracting Officer's representatives, each subcontractor, supplier, or other entity concerned with current progress or involved in planning, coordination, or performance of future activities shall be represented.  All participants at the conference shall be familiar with the Project and authorized to conclude matters relating to the Work.

2. Agenda:  Review and correct or approve minutes of the previous progress meeting.  Review other items of significance that could affect progress.  Include topics for discussion as appropriate to the status of the Project.

a. Contractor's Construction Schedule:  Review progress since the last meeting.  Determine where each activity is in relation to the Contractor's Construction Schedule, whether on time or ahead or behind schedule.  Determine how construction behind schedule will be expedited; secure commitments from parties involved to do so.  Discuss whether schedule revisions are required to insure that current and subsequent activities will be completed within the Contract Time.

b. Review the present and future needs of each entity present, including but not limited to the following:

1) Interface requirements.

2) Time.

3) Sequences of operations.

4) Status of submittals.

5) Deliveries.

6) Off-site fabrication.

7) Access.

8) Site utilization.

9) Temporary facilities and controls.

10) Hours of work.

11) Hazards and risks.

12) Housekeeping and progress cleaning.

13) Quality and work standards.

14) Change Orders.

15) Documentation of information for payment requests.

16) Updating of Record Documents.

3. Reporting:  No later than 3 calendar days after each meeting, the Contractor shall distribute minutes of the meeting to each party present and to other concerned parties, including the Contracting Officer.  Include a brief summary, in narrative form, of progress since the previous meeting and report.

4. Schedule Updating:  The Contractor shall revise the Contractor's Construction Schedule after each progress meeting where revisions to the schedule have been made or recognized.  The revised schedule shall be issued concurrently with the report of each meeting.

Retain the following paragraph with subparagraphs only for large complex projects with unusual circumstances that require tighter than normal control.  Revise to suit project.

D. Coordination Meetings:  The Contractor shall conduct project coordination meetings at regular intervals, to verify detailed coordination procedures for the upcoming construction operations in order to avoid potential problems and misunderstandings.

1. Frequency of Meetings:  Weekly.

2. Attendees:  In addition to the Contractor's and Contracting Officer's representatives, each subcontractor, supplier or other entity involved in coordination or planning construction activities shall be represented.  All participants shall be authorized to conclude matters relating to the Work.

3. Agenda:  Review the plans and requirements of each entity present, including but not limited to the subjects listed for Progress Meetings.

4. Reporting:  No later than 3 calendar days after each meeting, the Contractor shall distribute minutes of meeting to each party present and to other concerned parties, including the Contracting Officer.

Retain the following article where project involves utility disruptions to existing occupied facilities.  Revise to suit project.

1.7 UTILITY SERVICE INTERRUPTIONS

A. Utility Service Interruption Plan:  Contractor shall submit a utility service interruption plan for the project.  Plan shall include dates and times of each scheduled interruption, with estimated period of outage, list of existing equipment that will be affected by the interruption, proposed sequence of equipment shut-down and start-up, and responsible personnel.

1. Keep interruptions and periods of interruption to a minimum.

Revise the following subparagraphs as necessary to suit project.  Add any additional requirements.

2. Schedule interruptions during times when the facility is unoccupied.

3. Plan must be approved in writing by the Building Manager and the Contracting Officer or the Contracting Officer's representative.  If not approved, consult with the Building Manager, and revise and resubmit the plan until approved.

B. Coordination of Interruptions:  Sufficiently in advance of each scheduled utility interruption, the Contractor shall issue a notice to all affected parties,  confirming each provision of the interruption, or canceling and rescheduling.  Coordinate with the Building Manager and Contracting Officer's representative, and confirm that the responsible personnel are prepared to execute the shut-down and start-up of affected existing equipment, prior to each interruption.

Add subparagraphs as necessary to include any specific requirements of the project.

1.8 SUBMITTALS

A. Coordination Drawings:  Comply with the shop drawing requirements specified in Division 1 Section "Submittal Procedures."

B. Energy Conservation:  Within 15 calendar days after commencement of construction, submit the energy conservation plan, followed by monthly implementation reports.

Retain the following paragraph if Waste Management is included in the project.

C. Waste Management:  Within 15 calendar days after commencement of construction, submit the waste management plan, followed by monthly implementation reports.

D. Staff Names:  Within 15 calendar days after commencement of construction, submit a list of principal staff assignments, including the superintendent and other primary personnel at the Project site.  Identify individuals by name, duties and responsibilities, home address, and business and home telephone numbers.

1. Post copies of this list in the project meeting room, temporary field office and at each temporary telephone location.

E. Conference and Meeting Minutes:  Within times specified for reporting, distribute minutes to concerned parties.

Retain the following paragraph if utility service interruptions article is retained.  Revise to suit project.

F. Utility Service Interruptions:  No later than 15 calendar days prior to the first planned interruption, submit the utility service interruption plan, followed by confirmed scheduled shut-down notices at least 3 calendar days prior to each interruption.

PART 2 -  PRODUCTS (Not applicable)

PART 3 -  EXECUTION

3.1 GENERAL COORDINATION PROVISIONS

A. Inspection of Conditions:  Prior to installations, require the installer of each major component to inspect both the substrate and conditions under which work is to be performed.

1. Do not proceed until unsatisfactory conditions have been corrected in an acceptable manner.

2. Coordinate temporary enclosures with required inspections and tests to minimize the necessity of uncovering completed construction for that purpose.

B. Construction in Progress:  Keep construction in progress, and adjoining materials in place, clean during handling and installation .  Apply protective coverings where required for protection from damage or deterioration.

C. Completed Construction:  Clean completed construction, and provide maintenance, as frequently as necessary to prevent damage or soiling or other deterioration through the remainder of the construction period.  Adjust and lubricate operable components as necessary to assure operability without damage.

D. Limiting Exposures:  Supervise construction operations to prevent exposure of any part of construction, completed or in progress, to harmful, dangerous, damaging or otherwise deleterious conditions during the construction period.  Such conditions include but are not limited to the following:

Revise following list as required for the project.

1. Excessive static or dynamic loading.

2. Excessive internal or external pressures.

3. Excessively high or low temperatures.

4. Thermal shock.

5. Excessively high or low humidity.

6. Pollution and air contamination.

7. Water or ice.

8. Chemicals and solvents.

9. Light.

10. Radiation.

11. Puncture.

12. Abrasion.

13. Heavy traffic.

14. Soiling, staining, and corrosion.

15. Bacteria.

16. Rodent and inset infestation.

17. Combustion.

18. Electrical current.

19. High-speed operation.

20. Improper lubrication.

21. Unusual wear or other misuse.

22. Contact between incompatible materials.

23. Destructive testing.

24. Misalignment.

25. Excessive weathering.

26. Unprotected storage.

27. Improper shipping or handling.

28. Theft or vandalism.

END OF SECTION 01310

PROJECT MANAGEMENT AND COORDINATION
01310 - 1

