GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

SECTION 01330 - SUBMITTAL PROCEDURES
PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes certain administrative and procedural requirements for shop drawings, coordination drawings, schedules, samples and certain other quality assurance submittals.

B. This section does not include requirements for the following submittals:

Delete subparagraphs where referenced section is not included.

1. Inspection and test reports specified in Division 1 Section "Quality Control."

2. Warranties specified in Division 1 Section "Product Requirements."

3. Closeout submittals specified in Division 1 Section "Closeout Procedures."

4. Record documents specified in Division 1 Section "Project Record Documents."

5. Operation, maintenance and instruction manuals specified in Division 1 Section "Operation and Maintenance Documentation."

6. Reports, schedules and other submittals specified in Division 1 Section "Construction Progress Documentation".

C. For clarity purposes, shop drawings, coordination drawings and schedules are further categorized as follows:

1. Shop drawings include drawings and schedules specifically prepared for the project, except for coordination drawings.

2. Coordination drawings are specified in Division 1 Section "Project Management and Coordination."

3. Product data includes manufacturer's standard catalogs, pamphlets and other printed materials, and includes but is not limited to the following:

a. Product specifications.

b. Installation instructions.

c. Color charts.

d. Catalog cuts.

e. Rough-in diagrams and templates.

f. Wiring diagrams.

g. Performance curves.

h. Operational range diagrams.

i. Mill reports.

D. Samples may include samples of such scale to allow delivery for review, as well as field samples or mock-ups of full-size physical examples erected on-site or elsewhere, o establish a true-scale standard by which the corresponding work will be judged or a standard for compliance testing.

E. Other quality assurance submittals include materials specifically prepared for the project, except drawings and schedules, and include but are not limited to the following:

1. Design data and calculations.

2. Certifications of compliance or conformance.

3. Manufacturer's instructions and field reports.

1.2 GENERAL SUBMITTAL REQUIREMENTS

Revise the number of calendar days in the second sentence of the following paragraph if required to suit project.

A. Coordination:  Coordinate preparation and processing of submittals with performance of construction activities and with the Submittal Schedule specified in Division 1 Section "Construction Progress Documentation". Submittals shall be transmitted to the Contracting Officer's designated representative within 30 calendar days after receipt of notice to proceed, unless the approved Submittal Schedule specifically provides for a later submission.  Transmit each submittal sufficiently in advance of the scheduled performance of related construction activities to avoid delaying the Work, allowing for the review times specified for submittals in Division 1 Section "Construction Progress Documentation" and elsewhere in the Contract documents.

1. Coordinate each submittal with other submittals and related activities that require sequential scheduling, to allow for testing, purchase, fabrication and product delivery in a timely manner.

2. Schedule transmittal of different categories of submittals for the same element of Work and for different elements of related parts of the Work at the same time.

3. Allow sufficient time for submittal review, corrections following the initial review and resubmittal review before activities scheduled after the submittal approval.

4. Any resubmission required after Government review shall be made within 10 calendar days after return of the submittal, unless specifically authorized otherwise by the Contracting Officer.

5. Submittals which are determined to be incomplete or otherwise substandard will be returned to the Contractor with no further review.  Delays due to incomplete or rejected submittals will not be excused.

6. Construction will not be allowed to proceed if submittals are not received in a timely manner.  Failure by the Contractor to provide the required submittals in a timely manner will not result in an extension to the Contractor's Construction Schedule.

7. Failure by the Contractor to provide the required submittals in a timely manner may result in progress payment requests being returned to the Contractor until submittals are up-to-date.

B. Submittal Preparation:  Identify and prepare drawings and samples as specified in the Construction Contract Clauses.  Minimally include the following on a permanent label for other submittals:

1. Project name and number.

2. Date.

3. Name, address and telephone number of firm or entity that prepared the submittal.

4. Name and address of the Contractor.

5. Name of the manufacturer.

6. Number and title of appropriate specification section.

7. Drawing number and detail references, as appropriate.

Select english or metric measurements in the following subparagraph.

8. Space to record Contractor's review and approval markings, and for Contracting Officer's or Contraction Officer's Representative's action; approximately 5 by 5 inches (250 by 250 mm).

C. Submittal Transmittal:  Package each submittal for transmission and handling.  Transmit each submittal from the Contractor to the Contracting Officer or Contracting Officer's representative by use of a transmittal form.  Minimally include the following information on the transmittal form.

1. Project name and number.

2. Date.

3. Destination (To:).

4. Source (From:).

5. Names of subcontractor, manufacturer and supplier, as applicable.

6. Category of submittal.

7. Description of submittal

8. Number and title of appropriate specification section.

9. Submittal number, including means to separately identify initial submittal and each resubmittal.

10. Certification by Contractor stating that submittal complies with the Contract Documents, or statement of deviations from the requirements of the Contract Documents including minor variations and limitations.  Deviations may be listed on an attached sheet referenced on the transmittal form.

11. Signature of transmitter.

1.3 SHOP DRAWINGS AND COORDINATION DRAWINGS

A. Submit originally prepared information, drawn accurately to scale.  Do not reproduce Contract Documents or copy standard printed materials as the basis for Shop Drawings and Coordination Drawings.

B. Minimally include the following information on Shop Drawings and Coordination Drawings:

1. Dimensions.

2. Identification of products and materials.

3. Compliance with specified standards.

4. Notation of coordination requirements.

5. Notation of dimensions established by field measurements, if any.

6. Highlighted or encircled deviations from the Contract Documents, if any.

Select english or metric measurements in the following subparagraph.

C. Sheet size:  Except for templates, patterns and similar full-size drawings, submit Shop Drawings and Coordination Drawings on sheets of at least 8-1/2 by 11 inches (215 by 280 mm) but no larger than 30 by 40 inches (750 by 1000 mm).

Edit numbers of prints in the following two paragraphs and subparagraphs, if required to suit project.

D. Submittals:  Unless otherwise indicated, submit one correctable, translucent, reproducible print and two blue-line or black-line prints of each drawing submittal.  Reproducible print will be marked with action taken and returned.E.  Distribution:  When submittal is approved, Contractor shall prepare final blue-line or black-line print copies from the approved reproducible print, for the following purposes.

1. One print shall be marked and retained as a "Record Document."

2. Unless otherwise requested, two prints shall be provided to the Contracting Officer.

3. Additional prints shall be provided to the entities involved in the effected construction.

1.4 PRODUCT DATA

A. Collect Product Data into a single submittal for each system or element of construction.  Mark each copy to show specific product choices and options applicable to the project.  Product Data shall include the following information, where applicable:

1. Manufacturer's printed recommendations.

2. Compliance with recognized trade association standards.

3. Compliance with recognized testing standards.

4. Applicability of testing agency labels and seals.

5. Notation of dimensions verified for fit by field measurements.

6. Notation of coordination requirements.

B. Preliminary Submittal:  Prior to submittal of complete Product Data, submit a preliminary single copy of that part of Product Data when selection of options is required, such as for color charts.  Preliminary submittal will be returned, with selection noted, for the Contractor's use in subsequent submittals.

Edit numbers of copies in the following two paragraphs and subparagraphs, if required to suit project.

C. Submittals:  Unless otherwise indicated, submit not less than 4 copies of each Product Data submittal.  Two copies will be retained, and the remaining copies will be marked with action taken and returned.

D. Distribution:  When submittal is approved, Contractor shall distribute approved copies for the following purposes:

1. One copy shall be marked and retained as a "Record Document."

2. Additional copies shall be provided to the manufacturers, subcontractors, suppliers, installers, governing authorities and others as required for performance of the applicable construction activities.

1.5 SAMPLES

A. Submit full-size, fully fabricated samples, cured and finished in the manner specified.  Samples shall be physically identical to the material or product proposed for use.

B. Mount, display, or package samples to facilitate review of kind, color, pattern, texture and other qualities indicated, as a final check of these characteristics with other elements and for comparison of these characteristics with those of the actual component delivered and installed.

C. Where variation in color, pattern, texture or other characteristic is inherent in the material or product, submit at least 3 multiple units that show approximate limits of the variations.

D. Refer to other specification sections for requirements for samples that illustrate workmanship, fabrication techniques, details of assembly, connections, operations and similar construction characteristics.

E. Refer to other specification sections for samples to be returned to the Contractor for incorporation in the Work.  Such samples must be in undamaged condition at time of use.

F. Preliminary Submittal:  Where color, pattern, texture or similar characteristics are specified to be selected from a manufacturer's range of standard choices, submit a preliminary single set sample of available choices prior to submittal of the complete sample.  Preliminary submittal will be returned, with selection noted, for the Contractor's use in subsequent submittals.

Edit numbers of copies in the following two paragraphs and subparagraphs, if required to suit project.

G. Submittals:  Unless otherwise indicated and except for field samples or mock-ups of full-size physical examples erected on-site or elsewhere, submit not less than 3 sets of each sample submittal.  One copy will be marked with action taken and returned. Comply with requirements in the individual specification section for field samples and mockups.

H. Distribution:  Except for field samples or mockups, when submittal is approved, Contractor shall distribute approved copies for the following purposes:

1. One copy shall be marked and retained as a "Record Document" at the Project Site, and shall be available for comparison throughout the course of construction activity.

2. Additional copies shall be provided to manufacturers, subcontractors, suppliers, installers, governing authorities and others as required for performance of the applicable construction activities.

1.6 OTHER QUALITY ASSURANCE SUBMITTALS

A. Submit other quality assurance submittals in compliance with requirements in the individual specification sections.

B. Certifications: Submit notarized certifications from the party certifying compliance with specified requirements. Certifications shall be signed by an officer or other individual authorized to sign documents on behalf of the company certifying compliance.

Add paragraphs for any special submittals not covered otherwise.

1.7 REVIEW ACTION ON SUBMITTALS

A. Except for submittals for the record or for information or for another purpose where no action and return is required, the Contracting Officer or the Contracting Officer's authorized representative will review submittals and mark returned copies to indicate action taken.

B. Compliance with specified characteristics is the Contractor's responsibility, and is not part of the Contracting Officer's review and indication of action taken.  No matter what review action is taken, final acceptance will depend on full compliance with the Contract Documents.

C. Submittals that do not contain an appropriate marking of approval by the Contracting Officer or Contracting Officer's representative shall not be used for construction.

D. Action Stamp:  Each submittal will be stamped with a uniform action stamp. The stamp shall be marked to indicate one of the following actions taken:

1. Final Unrestricted Release:  Where marked "Approved", the work covered by the submittalmay proceed, provided it complies with the requirements of the Contract Documents.

2. Final But Restricted Release:  Where marked "Approved As Noted", the work covered by the submittal may proceed, provided it complies with the notations or corrections on the submittal and with the requirements of the Contract Documents.

3. Return for Resubmittal:  Where marked "Not Approved, Revise and Resubmit", do not proceed with the work covered by the submittal, including purchasing, fabrication, delivery or any other activity.  Revise or prepare a new submittal according to the notations on the submittal or on the return transmittal.  Resubmit without delay, repeating as necessary to obtain a final release action mark.

4. No Action:  Where a submittal is for the record or for information or for another purpose not requiring review action, the submittal may not be returned or may be returned and marked "Action Not Required."

PART 2 -  PRODUCTS (Not Applicable)

PART 3 -  EXECUTION (Not Applicable)

END OF SECTION 01330

SUBMITTAL PROCEDURES
01330 - 1

