GSA SUPPLEMENT TO MASTERSPEC
GSA
9/99

SECTION 01400 - QUALITY CONTROL
PART 1 -  GENERAL

1.1 SUMMARY

A. This section includes administrative and procedural requirements for quality control services to verify quality assurance requirements specified in the Construction Contract Clauses, individual specification sections and elsewhere in the Contract Documents.

B. The quality control services include tests, inspections and related actions, including reports, performed by the Contractor, independent agencies or governing authorities.  These testing and inspection services are required for customized fabrication and installation procedures.

C. Specific quality control requirements for individual construction activities are included in the sections that specify those construction activities.

Retain the following subparagraph if one or more test, inspection or other quality control service can not be logically included in only one technical section that specifies the related construction activities, and Division 1 Section "System Quality Assurance" is included for this purpose.  Otherwise, delete the subparagraph.

D. Other quality control requirements for coordinated or systematic construction activities not related principally to a single individual section are specified in Division 1 Section "System Quality Assurance".

E. These services do not relieve the Contractor of responsibility for compliance with Contract Document requirements, and do not limit the Contractor's quality control procedures that facilitate compliance with Contract Document requirements.

4. Requirements for the Contractor to provide quality control services required by the Contracting Officer or authorities having jurisdiction are not limited by the provisions of this section.

1.2 GOVERNING REGULATIONS AND AUTHORITIES

A. Obtain copies of applicable regulations and make these available at the Project site for reference.

Retain the following paragraph if special regulations that are not referenced elsewhere apply to the project.  Otherwise, delete the paragraph.

B. In addition to regulations specified elsewhere, comply with the following regulations:

C. If paragraph above is included, add subparagraphs listing each special regulation with an explanation to clarify its purpose.

1.3 RESPONSIBILITIES

A. Contractor Responsibilities:  Unless specifically indicated otherwise, the Contractor shall provide for tests, inspections and other quality control services specified or required by authorities having jurisdiction.  Costs for these services are included in the Contract price.

B. Where individual sections specifically indicate that certain tests, inspections or other quality control services are to be provided by a testing agency, the Contractor shall employ and pay for a qualified independent testing agency to perform the quality control services.

C. Contractor shall submit each testing agency's firm name, and credentials to perform the specified services, to the Government for the Contracting Officer's approval at least 15 calendar days before scheduled inspections or tests.

Retain the following paragraph only if the Government will provide some of the testing.  Otherwise, delete the paragraph.

D. Government Responsibilities:  Where individual sections specifically indicate that certain tests, inspections or other quality control services are the Government's responsibility, the Government will employ and pay for a qualified independent testing agency to perform those services.

E. Retesting:  The Contractor is responsible for retesting, including repeated inspections and other services, where results of the initial tests, inspections or other quality control services indicate noncompliance with the requirements of the Contract Document, regardless of whether or not the original test, inspection or service was the Contractor's responsibility.  Costs for retesting, and for revising or replacing noncomplying construction, shall be the Contractor's responsibility.

F. Associated Services:  The Contractor shall cooperate with agencies and others performing required tests, inspections and other quality control services, and shall provide reasonable auxiliary services as requested.  Contractor shall notify the testing and inspection entities sufficiently in advance of operations to permit their timely assignment of personnel.  Auxiliary services include but are not limited to the following:

G. Provide access to the work.

H. Furnish incidental labor and facilities necessary to facilitate inspections and tests.

I. Take adequate quantities of representative samples of materials that require testing or assist the agency in taking samples.

1. Provide facilities for storage and curing of test samples.

2. Deliver samples to testing laboratories.

3. Provide the agency with a preliminary design mix proposed for material mixes that that require control by the testing agency.

4. Provide security and protection of samples and test equipment at the Project site.

J. Duties of the Testing Agency:  An independent testing agency engaged to perform tests, inspections and other quality control services shall cooperate with the Contracting Officer's representative and the Contractor in performance of the agency's duties.

K. The agency shall provide qualified personnel to perform required inspections and tests.

L. The agency shall notify the Contracting Officer's representative and the Contractor of irregularities or deficiencies observed in the Work during performance of their services.

M. The agency is not authorized to release, revoke, alter or enlarge requirements of the Contract Documents or approve or accept any portion of the Work.

N. The agency shall not perform any duties of the Contractor.

O. Coordination:  The Contractor shall coordinate the sequence of activities to accommodate required services with a minimum of delay.

P. Activities shall be coordinated to avoid the necessity of removing and replacing construction to accommodate inspections and tests.

Q. The Contractor shall be responsible for scheduling times for inspections, tests, taking samples and similar activities.

1.4 QUALIFICATIONS OF INDEPENDENT TESTING AGENCIES

A. A qualified independent testing agency shall be an accredited entity engaged to perform tests or inspections, either at the Project site or elsewhere, and to report on and, if required, to interpret results of those tests or inspections.

B. Testing agencies shall be acceptable to the Contracting Officer.

C. Edit the following two paragraphs if required to suit the project.  Add additional paragraphs for additional qualifications not included in the individual sections specifying the work.

D. Unless other accreditation is specifically specified in the applicable individual section, each testing agency shall be prequalified as complying with the American Council of Independent Laboratories "Recommended Requirements for Independent Laboratory Qualifications", or shall be recognized by the Occupational Safety and Health Administration (OSHA) in accordance with 29 CFR Part 1910.7 to test and approve equipment or materials for their safe intended use.  Each testing agency shall specialize in the types of tests or inspections to be performed.

E. Testing agencies shall be authorized by authorities having jurisdiction to operate in the jurisdiction where the project is located.

1.5 SUBMITTALS

A. Reports:  The Contractor, or the testing agency where they perform the services, shall submit a certified written report, in duplicate, of each test, inspection or other quality control service to the Contracting Officer.

1.6 Submit additional copies of each written report directly to the governing authority, when directed by the authority.

A. Written reports shall include but not be limited to the following:

1. Date of issue.

2. Project title and number.

3. Name, address, and telephone number of testing agency.

4. Dates and locations of samples and tests or inspections.

5. Names of individuals making the test or inspection.

6. Designation of the work and test method.

7. Identifications of product and specification section.

8. Complete test or inspection data.

9. Test results and an interpretation of test results.

10. Ambient conditions at the time of sample taking and testing.

11. Comments or professional opinion on whether tested or inspected Work complies with Contract Document requirements.

12. Name and signature of laboratory inspector.

13. Recommendations on retesting.

B. Permits, Licenses, and Certificates:  For the Government's records, submit copies of permits, licenses, certifications, inspection reports, releases, jurisdictional settlements, notices, receipts for fee payments, judgements, correspondence, records, and similar documents, established for compliance with standards and regulations bearing on performance of the Work.

PART 2 -  PRODUCTS (Not applicable)

PART 3 -  EXECUTION

3.1 REPAIR AND PROTECTION

A. Upon completion of testing, inspection, sample taking and other quality control services, repair damaged construction and restore substrates and finishes.  Comply with the requirements of the Contract Document, including Division 1 Section "Cutting and Patching."

B. Protect construction exposed by or for quality control service activities, and protect repaired construction.

C. Repair and protection is the Contractor's responsibility, regardless of the assignment of responsibility for testing, inspection or other quality control services.

END OF SECTION 01400

QUALITY CONTROL
01400 - 1

